## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9002e-14 | 3.908e-14 | 6.7738e-14 | 8.8581e-14 | -3.3869e-14 | -5.2106e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5471e-12 | 180 | -180 | 1.5929e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -2.6051e-15 | 5.2108e-15 | -3.1264e-14 | 7.8158e-15 | -1.4258e-19 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.6102e-12 | -180 | 180 | 1.5929e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1685e-14 | 7.8162e-15 | 5.2108e-15 | -5.2106e-14 | 7.8158e-15 | -1.4258e-19 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.6068e-12 | -180 | 180 | 1.5929e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -5.2106e-15 | -5.2106e-15 | 1.0421e-14 | 1.0421e-14 | 0 | -5.8574e-28 | 1.3027e-14 | -5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.6102e-12 | -180 | 180 | 1.6068e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9002e-14 | 3.908e-14 | 6.7738e-14 | 8.8581e-14 | -3.3869e-14 | -5.2106e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.5471e-12 | 180 | -180 | 1.5929e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -2.6051e-15 | 5.2108e-15 | -3.1264e-14 | 7.8158e-15 | -1.4258e-19 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.6102e-12 | -180 | 180 | 1.5929e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1685e-14 | 7.8162e-15 | 5.2108e-15 | -5.2106e-14 | 7.8158e-15 | -1.4258e-19 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.6068e-12 | -180 | 180 | 1.5929e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -5.2106e-15 | -5.2106e-15 | 1.0421e-14 | 1.0421e-14 | 0 | -5.8574e-28 | 1.3027e-14 | -5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.6102e-12 | -180 | 180 | 1.6068e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | -9.5546e-10 | -3.075e-09 | 2.6053e-14 | 9.5547e-10 | 3.075e-09 | -2.3448e-14 | 4.0277e-09 | -3.5666e-10 | 2.3448e-14 | -4.0277e-09 | 3.5666e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8431e-13 | -140.8543 | 122.4159 | 4.9674e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.189e-10 | -2.6053e-15 | 1.3426e-09 | -1.189e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 5.0192e-13 | -140.8543 | 122.4159 | 4.9674e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.185e-10 | 1.025e-09 | -5.2106e-15 | -3.1849e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.189e-10 | -5.2106e-15 | 1.3426e-09 | -1.189e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 5.0092e-13 | -140.8543 | 122.4159 | 4.9674e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | -2.1572e-15 | 2.6634e-15 | -6.5133e-15 | 1.0745e-14 | -8.8779e-16 | -3.4234e-29 | 9.6663e-15 | -4.1942e-15 | 2.6053e-15 | -2.6759e-15 | 1.3981e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 5.0192e-13 | -140.8543 | 122.4159 | 5.0092e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | -9.5546e-10 | -3.075e-09 | 2.6053e-14 | 9.5547e-10 | 3.075e-09 | -2.3448e-14 | 4.0277e-09 | -3.5666e-10 | 2.3448e-14 | -4.0277e-09 | 3.5666e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8431e-13 | -140.8543 | 122.4159 | 4.9674e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.189e-10 | -2.6053e-15 | 1.3426e-09 | -1.189e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 5.0192e-13 | -140.8543 | 122.4159 | 4.9674e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.185e-10 | 1.025e-09 | -5.2106e-15 | -3.1849e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.189e-10 | -5.2106e-15 | 1.3426e-09 | -1.189e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 5.0092e-13 | -140.8543 | 122.4159 | 4.9674e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | -2.1572e-15 | 2.6634e-15 | -6.5133e-15 | 1.0745e-14 | -8.8779e-16 | -3.4234e-29 | 9.6663e-15 | -4.1942e-15 | 2.6053e-15 | -2.6759e-15 | 1.3981e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 5.0192e-13 | -140.8543 | 122.4159 | 5.0092e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 4.1448e-14 | -2.3685e-15 | -9.4739e-15 | -4.0263e-14 | 9.4746e-15 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -2.8422e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.9236e-13 | -180 | 180 | 1.0504e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.0658e-14 | 2.3688e-15 | 2.3685e-15 | 1.1842e-14 | -2.2923e-19 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0583e-12 | -180 | 180 | 1.0504e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.5395e-14 | 2.3688e-15 | -8.684e-29 | 1.6579e-14 | -2.2923e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0668e-12 | -180 | 180 | 1.0504e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7498e-28 | 5.9212e-15 | -7.1054e-15 | -8.82e-29 | -3.5527e-15 | 7.1054e-15 | -9.4739e-15 | -7.1054e-15 | 4.737e-15 | 4.737e-15 | 4.737e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0583e-12 | -180 | 180 | 1.0668e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 4.1448e-14 | -2.3685e-15 | -9.4739e-15 | -4.0263e-14 | 9.4746e-15 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -2.8422e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.9236e-13 | -180 | 180 | 1.0504e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.0658e-14 | 2.3688e-15 | 2.3685e-15 | 1.1842e-14 | -2.2923e-19 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0583e-12 | -180 | 180 | 1.0504e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.5395e-14 | 2.3688e-15 | -8.684e-29 | 1.6579e-14 | -2.2923e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0668e-12 | -180 | 180 | 1.0504e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7498e-28 | 5.9212e-15 | -7.1054e-15 | -8.82e-29 | -3.5527e-15 | 7.1054e-15 | -9.4739e-15 | -7.1054e-15 | 4.737e-15 | 4.737e-15 | 4.737e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0583e-12 | -180 | 180 | 1.0668e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | -8.0024e-10 | -2.5674e-09 | 1.0362e-14 | 8.0025e-10 | 2.5674e-09 | 7.1054e-15 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.8013e-13 | -141.4824 | 122.8363 | 3.9242e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | 2.6675e-10 | 8.558e-10 | 5.9212e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 4.0554e-29 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9103e-13 | -141.4824 | 122.8363 | 3.9242e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | 2.6675e-10 | 8.558e-10 | 5.6251e-15 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9596e-13 | -141.4824 | 122.8363 | 3.9242e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.4909e-15 | 2.0094e-16 | 8.8818e-16 | -2.2434e-15 | -1.4862e-15 | -6.0615e-30 | -3.1295e-15 | -3.1136e-16 | 2.3685e-15 | 8.4384e-15 | -3.1643e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9103e-13 | -141.4824 | 122.8363 | 3.9596e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | -8.0024e-10 | -2.5674e-09 | 1.0362e-14 | 8.0025e-10 | 2.5674e-09 | 7.1054e-15 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.8013e-13 | -141.4824 | 122.8363 | 3.9242e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | 2.6675e-10 | 8.558e-10 | 5.9212e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 4.0554e-29 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9103e-13 | -141.4824 | 122.8363 | 3.9242e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | 2.6675e-10 | 8.558e-10 | 5.6251e-15 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9596e-13 | -141.4824 | 122.8363 | 3.9242e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.4909e-15 | 2.0094e-16 | 8.8818e-16 | -2.2434e-15 | -1.4862e-15 | -6.0615e-30 | -3.1295e-15 | -3.1136e-16 | 2.3685e-15 | 8.4384e-15 | -3.1643e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9103e-13 | -141.4824 | 122.8363 | 3.9596e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018812 | 0.018812 | 0.018812 | 0.014114 | 0.014114 | 0.014114 | 0.21722 | 0.21722 | 0.21722 | 0.16298 | 0.16298 | 0.16298 | -6.7102e-13 | 0.20706 | -0.20356 | 0.00085865 | -0.1547 | 0.15335 | -3.1478e-14 | -0.28305 | -0.33471 | 0.00034175 | 0.21256 | 0.25161 | -97.1703 | -97.1703 | -97.1703 | 82.7748 | 82.7748 | 82.7748 | 0 | 1.6145 | 1.8035 | 0.0056705 | 1.6131 | 1.808 | 0 | -150.9839 | 141.5225 | 104.4779 | -151.1788 | 141.4143
Line_1 | 0.0023528 | 0.0023528 | 0.0023528 | 0.007057 | 0.007057 | 0.007057 | 0.027168 | 0.027168 | 0.027168 | 0.081488 | 0.081488 | 0.081488 | 0.00018402 | -0.025766 | 0.025582 | -0.00042932 | 0.077348 | -0.076674 | 7.3321e-05 | 0.035437 | 0.041974 | -0.00017087 | -0.10628 | -0.12581 | 82.7446 | 82.7446 | 82.7446 | -97.2252 | -97.2252 | -97.2252 | 0.0072911 | 1.6127 | 1.8093 | 0.0056705 | 1.6131 | 1.808 | 104.4692 | -151.2346 | 141.3834 | 104.4779 | -151.1788 | 141.4143
Line_2 | 0.0023528 | 0.0023528 | 0.0023528 | 0.007057 | 0.007057 | 0.007057 | 0.027168 | 0.027168 | 0.027168 | 0.081488 | 0.081488 | 0.081488 | 0.00018402 | -0.025766 | 0.025582 | -0.00042932 | 0.077348 | -0.076674 | 7.3321e-05 | 0.035437 | 0.041974 | -0.00017087 | -0.10628 | -0.12581 | 82.7446 | 82.7446 | 82.7446 | -97.2252 | -97.2252 | -97.2252 | 0.0072911 | 1.6127 | 1.8093 | 0.0056705 | 1.6131 | 1.808 | 104.4692 | -151.2346 | 141.3834 | 104.4779 | -151.1788 | 141.4143
Line_3 | 0.0023528 | 0.0023528 | 0.0023528 | 0.0023528 | 0.0023528 | 0.0023528 | 0.027168 | 0.027168 | 0.027168 | 0.027168 | 0.027168 | 0.027168 | -0.00018402 | 0.025766 | -0.025582 | -0.00018402 | 0.025766 | -0.025582 | -7.3321e-05 | -0.035437 | -0.041974 | -7.3321e-05 | -0.035437 | -0.041974 | -97.2554 | -97.2554 | -97.2554 | -97.2554 | -97.2554 | -97.2554 | 0.0072911 | 1.6127 | 1.8093 | 0.0072911 | 1.6127 | 1.8093 | 104.4692 | -151.2346 | 141.3834 | 104.4692 | -151.2346 | 141.3834

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018812 | 0.018812 | 0.018812 | 0.014114 | 0.014114 | 0.014114 | 0.21722 | 0.21722 | 0.21722 | 0.16298 | 0.16298 | 0.16298 | -6.7102e-13 | 0.20706 | -0.20356 | 0.00085865 | -0.1547 | 0.15335 | -3.1478e-14 | -0.28305 | -0.33471 | 0.00034175 | 0.21256 | 0.25161 | -97.1703 | -97.1703 | -97.1703 | 82.7748 | 82.7748 | 82.7748 | 0 | 1.6145 | 1.8035 | 0.0056705 | 1.6131 | 1.808 | 0 | -150.9839 | 141.5225 | 104.4779 | -151.1788 | 141.4143
Line_1 | 0.0023528 | 0.0023528 | 0.0023528 | 0.007057 | 0.007057 | 0.007057 | 0.027168 | 0.027168 | 0.027168 | 0.081488 | 0.081488 | 0.081488 | 0.00018402 | -0.025766 | 0.025582 | -0.00042932 | 0.077348 | -0.076674 | 7.3321e-05 | 0.035437 | 0.041974 | -0.00017087 | -0.10628 | -0.12581 | 82.7446 | 82.7446 | 82.7446 | -97.2252 | -97.2252 | -97.2252 | 0.0072911 | 1.6127 | 1.8093 | 0.0056705 | 1.6131 | 1.808 | 104.4692 | -151.2346 | 141.3834 | 104.4779 | -151.1788 | 141.4143
Line_2 | 0.0023528 | 0.0023528 | 0.0023528 | 0.007057 | 0.007057 | 0.007057 | 0.027168 | 0.027168 | 0.027168 | 0.081488 | 0.081488 | 0.081488 | 0.00018402 | -0.025766 | 0.025582 | -0.00042932 | 0.077348 | -0.076674 | 7.3321e-05 | 0.035437 | 0.041974 | -0.00017087 | -0.10628 | -0.12581 | 82.7446 | 82.7446 | 82.7446 | -97.2252 | -97.2252 | -97.2252 | 0.0072911 | 1.6127 | 1.8093 | 0.0056705 | 1.6131 | 1.808 | 104.4692 | -151.2346 | 141.3834 | 104.4779 | -151.1788 | 141.4143
Line_3 | 0.0023528 | 0.0023528 | 0.0023528 | 0.0023528 | 0.0023528 | 0.0023528 | 0.027168 | 0.027168 | 0.027168 | 0.027168 | 0.027168 | 0.027168 | -0.00018402 | 0.025766 | -0.025582 | -0.00018402 | 0.025766 | -0.025582 | -7.3321e-05 | -0.035437 | -0.041974 | -7.3321e-05 | -0.035437 | -0.041974 | -97.2554 | -97.2554 | -97.2554 | -97.2554 | -97.2554 | -97.2554 | 0.0072911 | 1.6127 | 1.8093 | 0.0072911 | 1.6127 | 1.8093 | 104.4692 | -151.2346 | 141.3834 | 104.4692 | -151.2346 | 141.3834

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010394 | 0.010394 | 0.010394 | 0.0077984 | 0.0077984 | 0.0077984 | 0.12002 | 0.12002 | 0.12002 | 0.090048 | 0.090048 | 0.090048 | -0.00029433 | 0.11472 | -0.11336 | 0.00052557 | -0.085897 | 0.085221 | 0.059311 | -0.11581 | -0.13209 | -0.044396 | 0.086914 | 0.099292 | -94.0827 | -94.0827 | -94.0827 | 85.8625 | 85.8625 | 85.8625 | 0.49419 | 1.3582 | 1.4503 | 0.49306 | 1.357 | 1.4531 | -3.7983 | -139.353 | 135.2808 | -3.4593 | -139.4746 | 135.2234
Line_1 | 0.0013 | 0.0013 | 0.0013 | 0.0038992 | 0.0038992 | 0.0038992 | 0.015011 | 0.015011 | 0.015011 | 0.045024 | 0.045024 | 0.045024 | 0.00010401 | -0.014314 | 0.01421 | -0.00026278 | 0.042948 | -0.042611 | -0.0073958 | 0.014486 | 0.016565 | 0.022198 | -0.043457 | -0.049646 | 85.8322 | 85.8322 | 85.8322 | -94.1375 | -94.1375 | -94.1375 | 0.49274 | 1.3567 | 1.4539 | 0.49306 | 1.357 | 1.4531 | -3.362 | -139.5095 | 135.207 | -3.4593 | -139.4746 | 135.2234
Line_2 | 0.0013 | 0.0013 | 0.0013 | 0.0038992 | 0.0038992 | 0.0038992 | 0.015011 | 0.015011 | 0.015011 | 0.045024 | 0.045024 | 0.045024 | 0.00010401 | -0.014314 | 0.01421 | -0.00026278 | 0.042948 | -0.042611 | -0.0073958 | 0.014486 | 0.016565 | 0.022198 | -0.043457 | -0.049646 | 85.8322 | 85.8322 | 85.8322 | -94.1375 | -94.1375 | -94.1375 | 0.49274 | 1.3567 | 1.4539 | 0.49306 | 1.357 | 1.4531 | -3.362 | -139.5095 | 135.207 | -3.4593 | -139.4746 | 135.2234
Line_3 | 0.0013 | 0.0013 | 0.0013 | 0.0013 | 0.0013 | 0.0013 | 0.015011 | 0.015011 | 0.015011 | 0.015011 | 0.015011 | 0.015011 | -0.00010401 | 0.014314 | -0.01421 | -0.00010401 | 0.014314 | -0.01421 | 0.0073958 | -0.014486 | -0.016565 | 0.0073958 | -0.014486 | -0.016565 | -94.1678 | -94.1678 | -94.1678 | -94.1678 | -94.1678 | -94.1678 | 0.49274 | 1.3567 | 1.4539 | 0.49274 | 1.3567 | 1.4539 | -3.362 | -139.5095 | 135.207 | -3.362 | -139.5095 | 135.207

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010394 | 0.010394 | 0.010394 | 0.0077984 | 0.0077984 | 0.0077984 | 0.12002 | 0.12002 | 0.12002 | 0.090048 | 0.090048 | 0.090048 | -0.00029433 | 0.11472 | -0.11336 | 0.00052557 | -0.085897 | 0.085221 | 0.059311 | -0.11581 | -0.13209 | -0.044396 | 0.086914 | 0.099292 | -94.0827 | -94.0827 | -94.0827 | 85.8625 | 85.8625 | 85.8625 | 0.49419 | 1.3582 | 1.4503 | 0.49306 | 1.357 | 1.4531 | -3.7983 | -139.353 | 135.2808 | -3.4593 | -139.4746 | 135.2234
Line_1 | 0.0013 | 0.0013 | 0.0013 | 0.0038992 | 0.0038992 | 0.0038992 | 0.015011 | 0.015011 | 0.015011 | 0.045024 | 0.045024 | 0.045024 | 0.00010401 | -0.014314 | 0.01421 | -0.00026278 | 0.042948 | -0.042611 | -0.0073958 | 0.014486 | 0.016565 | 0.022198 | -0.043457 | -0.049646 | 85.8322 | 85.8322 | 85.8322 | -94.1375 | -94.1375 | -94.1375 | 0.49274 | 1.3567 | 1.4539 | 0.49306 | 1.357 | 1.4531 | -3.362 | -139.5095 | 135.207 | -3.4593 | -139.4746 | 135.2234
Line_2 | 0.0013 | 0.0013 | 0.0013 | 0.0038992 | 0.0038992 | 0.0038992 | 0.015011 | 0.015011 | 0.015011 | 0.045024 | 0.045024 | 0.045024 | 0.00010401 | -0.014314 | 0.01421 | -0.00026278 | 0.042948 | -0.042611 | -0.0073958 | 0.014486 | 0.016565 | 0.022198 | -0.043457 | -0.049646 | 85.8322 | 85.8322 | 85.8322 | -94.1375 | -94.1375 | -94.1375 | 0.49274 | 1.3567 | 1.4539 | 0.49306 | 1.357 | 1.4531 | -3.362 | -139.5095 | 135.207 | -3.4593 | -139.4746 | 135.2234
Line_3 | 0.0013 | 0.0013 | 0.0013 | 0.0013 | 0.0013 | 0.0013 | 0.015011 | 0.015011 | 0.015011 | 0.015011 | 0.015011 | 0.015011 | -0.00010401 | 0.014314 | -0.01421 | -0.00010401 | 0.014314 | -0.01421 | 0.0073958 | -0.014486 | -0.016565 | 0.0073958 | -0.014486 | -0.016565 | -94.1678 | -94.1678 | -94.1678 | -94.1678 | -94.1678 | -94.1678 | 0.49274 | 1.3567 | 1.4539 | 0.49274 | 1.3567 | 1.4539 | -3.362 | -139.5095 | 135.207 | -3.362 | -139.5095 | 135.207

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016987 | 0.016987 | 0.016987 | 0.012745 | 0.012745 | 0.012745 | 0.19614 | 0.19614 | 0.19614 | 0.14716 | 0.14716 | 0.14716 | 9.2152e-14 | 0.17107 | -0.1656 | 0.0013442 | -0.12732 | 0.12521 | 2.4276e-13 | -0.22909 | -0.27462 | 0.00027894 | 0.17192 | 0.20655 | -97.7025 | -97.7025 | -97.7025 | 82.1922 | 82.1922 | 82.1922 | 0 | 1.4577 | 1.635 | 0.0093288 | 1.4537 | 1.6413 | 0 | -150.9523 | 141.2077 | 93.9151 | -151.2852 | 140.9683
Line_1 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0063724 | 0.0063724 | 0.0063724 | 0.024532 | 0.024532 | 0.024532 | 0.073582 | 0.073582 | 0.073582 | 0.00028808 | -0.02119 | 0.020902 | -0.00067212 | 0.063661 | -0.062605 | 5.9997e-05 | 0.028652 | 0.034467 | -0.00013947 | -0.085962 | -0.10328 | 82.1341 | 82.1341 | 82.1341 | -97.8078 | -97.8078 | -97.8078 | 0.011995 | 1.4526 | 1.6431 | 0.0093288 | 1.4537 | 1.6413 | 93.8985 | -151.3806 | 140.9002 | 93.9151 | -151.2852 | 140.9683
Line_2 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0063724 | 0.0063724 | 0.0063724 | 0.024532 | 0.024532 | 0.024532 | 0.073582 | 0.073582 | 0.073582 | 0.00028808 | -0.02119 | 0.020902 | -0.00067212 | 0.063661 | -0.062605 | 5.9997e-05 | 0.028652 | 0.034467 | -0.00013947 | -0.085962 | -0.10328 | 82.1341 | 82.1341 | 82.1341 | -97.8078 | -97.8078 | -97.8078 | 0.011995 | 1.4526 | 1.6431 | 0.0093288 | 1.4537 | 1.6413 | 93.8985 | -151.3806 | 140.9002 | 93.9151 | -151.2852 | 140.9683
Line_3 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0021246 | 0.024532 | 0.024532 | 0.024532 | 0.024532 | 0.024532 | 0.024532 | -0.00028808 | 0.02119 | -0.020902 | -0.00028808 | 0.02119 | -0.020902 | -5.9997e-05 | -0.028652 | -0.034467 | -5.9997e-05 | -0.028652 | -0.034467 | -97.8659 | -97.8659 | -97.8659 | -97.8659 | -97.8659 | -97.8659 | 0.011995 | 1.4526 | 1.6431 | 0.011995 | 1.4526 | 1.6431 | 93.8985 | -151.3806 | 140.9002 | 93.8985 | -151.3806 | 140.9002

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016987 | 0.016987 | 0.016987 | 0.012745 | 0.012745 | 0.012745 | 0.19614 | 0.19614 | 0.19614 | 0.14716 | 0.14716 | 0.14716 | 9.2152e-14 | 0.17107 | -0.1656 | 0.0013442 | -0.12732 | 0.12521 | 2.4276e-13 | -0.22909 | -0.27462 | 0.00027894 | 0.17192 | 0.20655 | -97.7025 | -97.7025 | -97.7025 | 82.1922 | 82.1922 | 82.1922 | 0 | 1.4577 | 1.635 | 0.0093288 | 1.4537 | 1.6413 | 0 | -150.9523 | 141.2077 | 93.9151 | -151.2852 | 140.9683
Line_1 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0063724 | 0.0063724 | 0.0063724 | 0.024532 | 0.024532 | 0.024532 | 0.073582 | 0.073582 | 0.073582 | 0.00028808 | -0.02119 | 0.020902 | -0.00067212 | 0.063661 | -0.062605 | 5.9997e-05 | 0.028652 | 0.034467 | -0.00013947 | -0.085962 | -0.10328 | 82.1341 | 82.1341 | 82.1341 | -97.8078 | -97.8078 | -97.8078 | 0.011995 | 1.4526 | 1.6431 | 0.0093288 | 1.4537 | 1.6413 | 93.8985 | -151.3806 | 140.9002 | 93.9151 | -151.2852 | 140.9683
Line_2 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0063724 | 0.0063724 | 0.0063724 | 0.024532 | 0.024532 | 0.024532 | 0.073582 | 0.073582 | 0.073582 | 0.00028808 | -0.02119 | 0.020902 | -0.00067212 | 0.063661 | -0.062605 | 5.9997e-05 | 0.028652 | 0.034467 | -0.00013947 | -0.085962 | -0.10328 | 82.1341 | 82.1341 | 82.1341 | -97.8078 | -97.8078 | -97.8078 | 0.011995 | 1.4526 | 1.6431 | 0.0093288 | 1.4537 | 1.6413 | 93.8985 | -151.3806 | 140.9002 | 93.9151 | -151.2852 | 140.9683
Line_3 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0021246 | 0.0021246 | 0.024532 | 0.024532 | 0.024532 | 0.024532 | 0.024532 | 0.024532 | -0.00028808 | 0.02119 | -0.020902 | -0.00028808 | 0.02119 | -0.020902 | -5.9997e-05 | -0.028652 | -0.034467 | -5.9997e-05 | -0.028652 | -0.034467 | -97.8659 | -97.8659 | -97.8659 | -97.8659 | -97.8659 | -97.8659 | 0.011995 | 1.4526 | 1.6431 | 0.011995 | 1.4526 | 1.6431 | 93.8985 | -151.3806 | 140.9002 | 93.8985 | -151.3806 | 140.9002

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0094257 | 0.0094257 | 0.0094257 | 0.0070719 | 0.0070719 | 0.0070719 | 0.10884 | 0.10884 | 0.10884 | 0.08166 | 0.08166 | 0.08166 | -0.00040578 | 0.095014 | -0.092923 | 0.00078545 | -0.071004 | 0.069982 | 0.048658 | -0.094514 | -0.10924 | -0.036421 | 0.070867 | 0.082173 | -94.4794 | -94.4794 | -94.4794 | 85.4153 | 85.4153 | 85.4153 | 0.44708 | 1.2313 | 1.3177 | 0.44611 | 1.2285 | 1.3218 | -4.0015 | -139.3281 | 135.1342 | -3.3492 | -139.5294 | 134.9961
Line_1 | 0.0011789 | 0.0011789 | 0.0011789 | 0.003536 | 0.003536 | 0.003536 | 0.013613 | 0.013613 | 0.013613 | 0.04083 | 0.04083 | 0.04083 | 0.00015681 | -0.011829 | 0.011672 | -0.00039272 | 0.035502 | -0.034991 | -0.0060671 | 0.011806 | 0.013714 | 0.01821 | -0.035434 | -0.041086 | 85.3572 | 85.3572 | 85.3572 | -94.5847 | -94.5847 | -94.5847 | 0.44584 | 1.2277 | 1.3229 | 0.44611 | 1.2285 | 1.3218 | -3.1622 | -139.587 | 134.9567 | -3.3492 | -139.5294 | 134.9961
Line_2 | 0.0011789 | 0.0011789 | 0.0011789 | 0.003536 | 0.003536 | 0.003536 | 0.013613 | 0.013613 | 0.013613 | 0.04083 | 0.04083 | 0.04083 | 0.00015681 | -0.011829 | 0.011672 | -0.00039272 | 0.035502 | -0.034991 | -0.0060671 | 0.011806 | 0.013714 | 0.01821 | -0.035434 | -0.041086 | 85.3572 | 85.3572 | 85.3572 | -94.5847 | -94.5847 | -94.5847 | 0.44584 | 1.2277 | 1.3229 | 0.44611 | 1.2285 | 1.3218 | -3.1622 | -139.587 | 134.9567 | -3.3492 | -139.5294 | 134.9961
Line_3 | 0.0011789 | 0.0011789 | 0.0011789 | 0.0011789 | 0.0011789 | 0.0011789 | 0.013613 | 0.013613 | 0.013613 | 0.013613 | 0.013613 | 0.013613 | -0.00015681 | 0.011829 | -0.011672 | -0.00015681 | 0.011829 | -0.011672 | 0.0060671 | -0.011806 | -0.013714 | 0.0060671 | -0.011806 | -0.013714 | -94.6428 | -94.6428 | -94.6428 | -94.6428 | -94.6428 | -94.6428 | 0.44584 | 1.2277 | 1.3229 | 0.44584 | 1.2277 | 1.3229 | -3.1622 | -139.587 | 134.9567 | -3.1622 | -139.587 | 134.9567

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0094257 | 0.0094257 | 0.0094257 | 0.0070719 | 0.0070719 | 0.0070719 | 0.10884 | 0.10884 | 0.10884 | 0.08166 | 0.08166 | 0.08166 | -0.00040578 | 0.095014 | -0.092923 | 0.00078545 | -0.071004 | 0.069982 | 0.048658 | -0.094514 | -0.10924 | -0.036421 | 0.070867 | 0.082173 | -94.4794 | -94.4794 | -94.4794 | 85.4153 | 85.4153 | 85.4153 | 0.44708 | 1.2313 | 1.3177 | 0.44611 | 1.2285 | 1.3218 | -4.0015 | -139.3281 | 135.1342 | -3.3492 | -139.5294 | 134.9961
Line_1 | 0.0011789 | 0.0011789 | 0.0011789 | 0.003536 | 0.003536 | 0.003536 | 0.013613 | 0.013613 | 0.013613 | 0.04083 | 0.04083 | 0.04083 | 0.00015681 | -0.011829 | 0.011672 | -0.00039272 | 0.035502 | -0.034991 | -0.0060671 | 0.011806 | 0.013714 | 0.01821 | -0.035434 | -0.041086 | 85.3572 | 85.3572 | 85.3572 | -94.5847 | -94.5847 | -94.5847 | 0.44584 | 1.2277 | 1.3229 | 0.44611 | 1.2285 | 1.3218 | -3.1622 | -139.587 | 134.9567 | -3.3492 | -139.5294 | 134.9961
Line_2 | 0.0011789 | 0.0011789 | 0.0011789 | 0.003536 | 0.003536 | 0.003536 | 0.013613 | 0.013613 | 0.013613 | 0.04083 | 0.04083 | 0.04083 | 0.00015681 | -0.011829 | 0.011672 | -0.00039272 | 0.035502 | -0.034991 | -0.0060671 | 0.011806 | 0.013714 | 0.01821 | -0.035434 | -0.041086 | 85.3572 | 85.3572 | 85.3572 | -94.5847 | -94.5847 | -94.5847 | 0.44584 | 1.2277 | 1.3229 | 0.44611 | 1.2285 | 1.3218 | -3.1622 | -139.587 | 134.9567 | -3.3492 | -139.5294 | 134.9961
Line_3 | 0.0011789 | 0.0011789 | 0.0011789 | 0.0011789 | 0.0011789 | 0.0011789 | 0.013613 | 0.013613 | 0.013613 | 0.013613 | 0.013613 | 0.013613 | -0.00015681 | 0.011829 | -0.011672 | -0.00015681 | 0.011829 | -0.011672 | 0.0060671 | -0.011806 | -0.013714 | 0.0060671 | -0.011806 | -0.013714 | -94.6428 | -94.6428 | -94.6428 | -94.6428 | -94.6428 | -94.6428 | 0.44584 | 1.2277 | 1.3229 | 0.44584 | 1.2277 | 1.3229 | -3.1622 | -139.587 | 134.9567 | -3.1622 | -139.587 | 134.9567

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010508 | 0.010508 | 0.010508 | 0.0078843 | 0.0078843 | 0.0078843 | 0.12134 | 0.12134 | 0.12134 | 0.09104 | 0.09104 | 0.09104 | 0.001091 | -1.2371e-13 | -3.1761e-14 | -0.00068908 | 0.00026794 | 0.00026794 | -0.19277 | -1.1443e-13 | 1.6457e-13 | 0.14474 | 0.00010664 | 0.00010664 | 87.7678 | 87.7678 | 87.7678 | -92.2871 | -92.2871 | -92.2871 | 1.5887 | 0 | 0 | 1.5898 | 0.0031676 | 0.0031676 | -1.908 | 0 | 0 | -2.0143 | -70.584 | -70.584
Line_1 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0039422 | 0.0039422 | 0.0039422 | 0.015177 | 0.015177 | 0.015177 | 0.04552 | 0.04552 | 0.04552 | -0.00011485 | 5.7422e-05 | 5.7422e-05 | 0.00034454 | -0.00013397 | -0.00013397 | 0.024133 | 2.288e-05 | 2.288e-05 | -0.072369 | -5.3321e-05 | -5.3321e-05 | -92.3173 | -92.3173 | -92.3173 | 87.7129 | 87.7129 | 87.7129 | 1.5902 | 0.0040729 | 0.0040729 | 1.5898 | 0.0031676 | 0.0031676 | -2.0447 | -70.5927 | -70.5927 | -2.0143 | -70.584 | -70.584
Line_2 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0039422 | 0.0039422 | 0.0039422 | 0.015177 | 0.015177 | 0.015177 | 0.04552 | 0.04552 | 0.04552 | -0.00011485 | 5.7422e-05 | 5.7422e-05 | 0.00034454 | -0.00013397 | -0.00013397 | 0.024133 | 2.288e-05 | 2.288e-05 | -0.072369 | -5.3321e-05 | -5.3321e-05 | -92.3173 | -92.3173 | -92.3173 | 87.7129 | 87.7129 | 87.7129 | 1.5902 | 0.0040729 | 0.0040729 | 1.5898 | 0.0031676 | 0.0031676 | -2.0447 | -70.5927 | -70.5927 | -2.0143 | -70.584 | -70.584
Line_3 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0013143 | 0.015177 | 0.015177 | 0.015177 | 0.015177 | 0.015177 | 0.015177 | 0.00011484 | -5.7422e-05 | -5.7422e-05 | 0.00011484 | -5.7422e-05 | -5.7422e-05 | -0.024133 | -2.288e-05 | -2.288e-05 | -0.024133 | -2.288e-05 | -2.288e-05 | 87.6827 | 87.6827 | 87.6827 | 87.6827 | 87.6827 | 87.6827 | 1.5902 | 0.0040729 | 0.0040729 | 1.5902 | 0.0040729 | 0.0040729 | -2.0447 | -70.5927 | -70.5927 | -2.0447 | -70.5927 | -70.5927

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010508 | 0.010508 | 0.010508 | 0.0078843 | 0.0078843 | 0.0078843 | 0.12134 | 0.12134 | 0.12134 | 0.09104 | 0.09104 | 0.09104 | 0.001091 | -1.2371e-13 | -3.1761e-14 | -0.00068908 | 0.00026794 | 0.00026794 | -0.19277 | -1.1443e-13 | 1.6457e-13 | 0.14474 | 0.00010664 | 0.00010664 | 87.7678 | 87.7678 | 87.7678 | -92.2871 | -92.2871 | -92.2871 | 1.5887 | 0 | 0 | 1.5898 | 0.0031676 | 0.0031676 | -1.908 | 0 | 0 | -2.0143 | -70.584 | -70.584
Line_1 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0039422 | 0.0039422 | 0.0039422 | 0.015177 | 0.015177 | 0.015177 | 0.04552 | 0.04552 | 0.04552 | -0.00011485 | 5.7422e-05 | 5.7422e-05 | 0.00034454 | -0.00013397 | -0.00013397 | 0.024133 | 2.288e-05 | 2.288e-05 | -0.072369 | -5.3321e-05 | -5.3321e-05 | -92.3173 | -92.3173 | -92.3173 | 87.7129 | 87.7129 | 87.7129 | 1.5902 | 0.0040729 | 0.0040729 | 1.5898 | 0.0031676 | 0.0031676 | -2.0447 | -70.5927 | -70.5927 | -2.0143 | -70.584 | -70.584
Line_2 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0039422 | 0.0039422 | 0.0039422 | 0.015177 | 0.015177 | 0.015177 | 0.04552 | 0.04552 | 0.04552 | -0.00011485 | 5.7422e-05 | 5.7422e-05 | 0.00034454 | -0.00013397 | -0.00013397 | 0.024133 | 2.288e-05 | 2.288e-05 | -0.072369 | -5.3321e-05 | -5.3321e-05 | -92.3173 | -92.3173 | -92.3173 | 87.7129 | 87.7129 | 87.7129 | 1.5902 | 0.0040729 | 0.0040729 | 1.5898 | 0.0031676 | 0.0031676 | -2.0447 | -70.5927 | -70.5927 | -2.0143 | -70.584 | -70.584
Line_3 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0013143 | 0.015177 | 0.015177 | 0.015177 | 0.015177 | 0.015177 | 0.015177 | 0.00011484 | -5.7422e-05 | -5.7422e-05 | 0.00011484 | -5.7422e-05 | -5.7422e-05 | -0.024133 | -2.288e-05 | -2.288e-05 | -0.024133 | -2.288e-05 | -2.288e-05 | 87.6827 | 87.6827 | 87.6827 | 87.6827 | 87.6827 | 87.6827 | 1.5902 | 0.0040729 | 0.0040729 | 1.5902 | 0.0040729 | 0.0040729 | -2.0447 | -70.5927 | -70.5927 | -2.0447 | -70.5927 | -70.5927

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072271 | 0.0072271 | 0.0072271 | 0.0054224 | 0.0054224 | 0.0054224 | 0.083451 | 0.083451 | 0.083451 | 0.062612 | 0.062612 | 0.062612 | 0.00065833 | -0.062436 | 0.062293 | -0.00045329 | 0.046988 | -0.046607 | -0.11985 | 0.023577 | 0.0050981 | 0.089974 | -0.017594 | -0.0038193 | 88.3762 | 88.3762 | 88.3762 | -91.6787 | -91.6787 | -91.6787 | 1.4362 | 0.79973 | 0.74896 | 1.437 | 0.80135 | 0.74688 | -1.3091 | -112.3114 | 93.0548 | -1.39 | -112.2065 | 93.0061
Line_1 | 0.00090392 | 0.00090392 | 0.00090392 | 0.0027112 | 0.0027112 | 0.0027112 | 0.010438 | 0.010438 | 0.010438 | 0.031306 | 0.031306 | 0.031306 | -7.7448e-05 | 0.0078406 | -0.0077631 | 0.00022664 | -0.023494 | 0.023304 | 0.015001 | -0.0029264 | -0.00063839 | -0.044987 | 0.0087971 | 0.0019097 | -91.709 | -91.709 | -91.709 | 88.3213 | 88.3213 | 88.3213 | 1.4372 | 0.80181 | 0.74628 | 1.437 | 0.80135 | 0.74688 | -1.4132 | -112.1766 | 92.9921 | -1.39 | -112.2065 | 93.0061
Line_2 | 0.00090392 | 0.00090392 | 0.00090392 | 0.0027112 | 0.0027112 | 0.0027112 | 0.010438 | 0.010438 | 0.010438 | 0.031306 | 0.031306 | 0.031306 | -7.7448e-05 | 0.0078406 | -0.0077631 | 0.00022664 | -0.023494 | 0.023304 | 0.015001 | -0.0029264 | -0.00063839 | -0.044987 | 0.0087971 | 0.0019097 | -91.709 | -91.709 | -91.709 | 88.3213 | 88.3213 | 88.3213 | 1.4372 | 0.80181 | 0.74628 | 1.437 | 0.80135 | 0.74688 | -1.4132 | -112.1766 | 92.9921 | -1.39 | -112.2065 | 93.0061
Line_3 | 0.00090392 | 0.00090392 | 0.00090392 | 0.00090392 | 0.00090392 | 0.00090392 | 0.010438 | 0.010438 | 0.010438 | 0.010438 | 0.010438 | 0.010438 | 7.7446e-05 | -0.0078406 | 0.0077631 | 7.7446e-05 | -0.0078406 | 0.0077631 | -0.015001 | 0.0029264 | 0.00063839 | -0.015001 | 0.0029264 | 0.00063839 | 88.2911 | 88.2911 | 88.2911 | 88.2911 | 88.2911 | 88.2911 | 1.4372 | 0.80181 | 0.74628 | 1.4372 | 0.80181 | 0.74628 | -1.4132 | -112.1766 | 92.9921 | -1.4132 | -112.1766 | 92.9921

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072271 | 0.0072271 | 0.0072271 | 0.0054224 | 0.0054224 | 0.0054224 | 0.083451 | 0.083451 | 0.083451 | 0.062612 | 0.062612 | 0.062612 | 0.00065833 | -0.062436 | 0.062293 | -0.00045329 | 0.046988 | -0.046607 | -0.11985 | 0.023577 | 0.0050981 | 0.089974 | -0.017594 | -0.0038193 | 88.3762 | 88.3762 | 88.3762 | -91.6787 | -91.6787 | -91.6787 | 1.4362 | 0.79973 | 0.74896 | 1.437 | 0.80135 | 0.74688 | -1.3091 | -112.3114 | 93.0548 | -1.39 | -112.2065 | 93.0061
Line_1 | 0.00090392 | 0.00090392 | 0.00090392 | 0.0027112 | 0.0027112 | 0.0027112 | 0.010438 | 0.010438 | 0.010438 | 0.031306 | 0.031306 | 0.031306 | -7.7448e-05 | 0.0078406 | -0.0077631 | 0.00022664 | -0.023494 | 0.023304 | 0.015001 | -0.0029264 | -0.00063839 | -0.044987 | 0.0087971 | 0.0019097 | -91.709 | -91.709 | -91.709 | 88.3213 | 88.3213 | 88.3213 | 1.4372 | 0.80181 | 0.74628 | 1.437 | 0.80135 | 0.74688 | -1.4132 | -112.1766 | 92.9921 | -1.39 | -112.2065 | 93.0061
Line_2 | 0.00090392 | 0.00090392 | 0.00090392 | 0.0027112 | 0.0027112 | 0.0027112 | 0.010438 | 0.010438 | 0.010438 | 0.031306 | 0.031306 | 0.031306 | -7.7448e-05 | 0.0078406 | -0.0077631 | 0.00022664 | -0.023494 | 0.023304 | 0.015001 | -0.0029264 | -0.00063839 | -0.044987 | 0.0087971 | 0.0019097 | -91.709 | -91.709 | -91.709 | 88.3213 | 88.3213 | 88.3213 | 1.4372 | 0.80181 | 0.74628 | 1.437 | 0.80135 | 0.74688 | -1.4132 | -112.1766 | 92.9921 | -1.39 | -112.2065 | 93.0061
Line_3 | 0.00090392 | 0.00090392 | 0.00090392 | 0.00090392 | 0.00090392 | 0.00090392 | 0.010438 | 0.010438 | 0.010438 | 0.010438 | 0.010438 | 0.010438 | 7.7446e-05 | -0.0078406 | 0.0077631 | 7.7446e-05 | -0.0078406 | 0.0077631 | -0.015001 | 0.0029264 | 0.00063839 | -0.015001 | 0.0029264 | 0.00063839 | 88.2911 | 88.2911 | 88.2911 | 88.2911 | 88.2911 | 88.2911 | 1.4372 | 0.80181 | 0.74628 | 1.4372 | 0.80181 | 0.74628 | -1.4132 | -112.1766 | 92.9921 | -1.4132 | -112.1766 | 92.9921

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095357 | 0.0095357 | 0.0095357 | 0.0071545 | 0.0071545 | 0.0071545 | 0.11011 | 0.11011 | 0.11011 | 0.082613 | 0.082613 | 0.082613 | 0.0017248 | -8.8349e-14 | 1.503e-13 | -0.0010894 | 0.00042361 | 0.00042361 | -0.15874 | 1.1853e-13 | 1.9314e-14 | 0.11918 | 8.7903e-05 | 8.7903e-05 | 87.3949 | 87.3949 | 87.3949 | -92.7105 | -92.7105 | -92.7105 | 1.4417 | 0 | 0 | 1.4427 | 0.0052369 | 0.0052369 | -1.9826 | 0 | 0 | -2.1867 | -80.9875 | -80.9875
Line_1 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0035773 | 0.0035773 | 0.0035773 | 0.013772 | 0.013772 | 0.013772 | 0.041307 | 0.041307 | 0.041307 | -0.00018157 | 9.0785e-05 | 9.0785e-05 | 0.00054471 | -0.00021181 | -0.00021181 | 0.019872 | 1.8907e-05 | 1.8907e-05 | -0.059591 | -4.3952e-05 | -4.3952e-05 | -92.7685 | -92.7685 | -92.7685 | 87.2896 | 87.2896 | 87.2895 | 1.443 | 0.0067336 | 0.0067336 | 1.4427 | 0.0052369 | 0.0052369 | -2.245 | -81.0041 | -81.0041 | -2.1867 | -80.9875 | -80.9875
Line_2 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0035773 | 0.0035773 | 0.0035773 | 0.013772 | 0.013772 | 0.013772 | 0.041307 | 0.041307 | 0.041307 | -0.00018157 | 9.0785e-05 | 9.0785e-05 | 0.00054471 | -0.00021181 | -0.00021181 | 0.019872 | 1.8907e-05 | 1.8907e-05 | -0.059591 | -4.3952e-05 | -4.3952e-05 | -92.7685 | -92.7685 | -92.7685 | 87.2896 | 87.2896 | 87.2895 | 1.443 | 0.0067336 | 0.0067336 | 1.4427 | 0.0052369 | 0.0052369 | -2.245 | -81.0041 | -81.0041 | -2.1867 | -80.9875 | -80.9875
Line_3 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0011927 | 0.013772 | 0.013772 | 0.013772 | 0.013772 | 0.013772 | 0.013772 | 0.00018157 | -9.0785e-05 | -9.0785e-05 | 0.00018157 | -9.0785e-05 | -9.0785e-05 | -0.019872 | -1.8907e-05 | -1.8907e-05 | -0.019872 | -1.8907e-05 | -1.8907e-05 | 87.2315 | 87.2315 | 87.2315 | 87.2315 | 87.2315 | 87.2315 | 1.443 | 0.0067336 | 0.0067336 | 1.443 | 0.0067336 | 0.0067336 | -2.245 | -81.0041 | -81.0041 | -2.245 | -81.0041 | -81.0041

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095357 | 0.0095357 | 0.0095357 | 0.0071545 | 0.0071545 | 0.0071545 | 0.11011 | 0.11011 | 0.11011 | 0.082613 | 0.082613 | 0.082613 | 0.0017248 | -8.8349e-14 | 1.503e-13 | -0.0010894 | 0.00042361 | 0.00042361 | -0.15874 | 1.1853e-13 | 1.9314e-14 | 0.11918 | 8.7903e-05 | 8.7903e-05 | 87.3949 | 87.3949 | 87.3949 | -92.7105 | -92.7105 | -92.7105 | 1.4417 | 0 | 0 | 1.4427 | 0.0052369 | 0.0052369 | -1.9826 | 0 | 0 | -2.1867 | -80.9875 | -80.9875
Line_1 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0035773 | 0.0035773 | 0.0035773 | 0.013772 | 0.013772 | 0.013772 | 0.041307 | 0.041307 | 0.041307 | -0.00018157 | 9.0785e-05 | 9.0785e-05 | 0.00054471 | -0.00021181 | -0.00021181 | 0.019872 | 1.8907e-05 | 1.8907e-05 | -0.059591 | -4.3952e-05 | -4.3952e-05 | -92.7685 | -92.7685 | -92.7685 | 87.2896 | 87.2896 | 87.2895 | 1.443 | 0.0067336 | 0.0067336 | 1.4427 | 0.0052369 | 0.0052369 | -2.245 | -81.0041 | -81.0041 | -2.1867 | -80.9875 | -80.9875
Line_2 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0035773 | 0.0035773 | 0.0035773 | 0.013772 | 0.013772 | 0.013772 | 0.041307 | 0.041307 | 0.041307 | -0.00018157 | 9.0785e-05 | 9.0785e-05 | 0.00054471 | -0.00021181 | -0.00021181 | 0.019872 | 1.8907e-05 | 1.8907e-05 | -0.059591 | -4.3952e-05 | -4.3952e-05 | -92.7685 | -92.7685 | -92.7685 | 87.2896 | 87.2896 | 87.2895 | 1.443 | 0.0067336 | 0.0067336 | 1.4427 | 0.0052369 | 0.0052369 | -2.245 | -81.0041 | -81.0041 | -2.1867 | -80.9875 | -80.9875
Line_3 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0011927 | 0.0011927 | 0.013772 | 0.013772 | 0.013772 | 0.013772 | 0.013772 | 0.013772 | 0.00018157 | -9.0785e-05 | -9.0785e-05 | 0.00018157 | -9.0785e-05 | -9.0785e-05 | -0.019872 | -1.8907e-05 | -1.8907e-05 | -0.019872 | -1.8907e-05 | -1.8907e-05 | 87.2315 | 87.2315 | 87.2315 | 87.2315 | 87.2315 | 87.2315 | 1.443 | 0.0067336 | 0.0067336 | 1.443 | 0.0067336 | 0.0067336 | -2.245 | -81.0041 | -81.0041 | -2.245 | -81.0041 | -81.0041

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065669 | 0.0065669 | 0.0065669 | 0.0049271 | 0.0049271 | 0.0049271 | 0.075828 | 0.075828 | 0.075828 | 0.056893 | 0.056893 | 0.056893 | 0.001015 | -0.051078 | 0.050881 | -0.00069702 | 0.038551 | -0.037968 | -0.098901 | 0.019394 | 0.0042249 | 0.074244 | -0.014439 | -0.0031983 | 88.0574 | 88.0574 | 88.0574 | -92.048 | -92.048 | -92.048 | 1.3043 | 0.72052 | 0.67331 | 1.305 | 0.72357 | 0.66973 | -1.3547 | -112.7336 | 92.804 | -1.5101 | -112.5806 | 92.7671
Line_1 | 0.00082135 | 0.00082135 | 0.00082135 | 0.0024635 | 0.0024635 | 0.0024635 | 0.0094841 | 0.0094841 | 0.0094841 | 0.028446 | 0.028446 | 0.028446 | -0.00011917 | 0.0064385 | -0.0063193 | 0.00034851 | -0.019275 | 0.018984 | 0.012378 | -0.0023984 | -0.0005376 | -0.037122 | 0.0072193 | 0.0015992 | -92.1061 | -92.1061 | -92.1061 | 87.952 | 87.952 | 87.952 | 1.3052 | 0.72444 | 0.66871 | 1.305 | 0.72357 | 0.66973 | -1.5545 | -112.5372 | 92.7566 | -1.5101 | -112.5806 | 92.7671
Line_2 | 0.00082135 | 0.00082135 | 0.00082135 | 0.0024635 | 0.0024635 | 0.0024635 | 0.0094841 | 0.0094841 | 0.0094841 | 0.028446 | 0.028446 | 0.028446 | -0.00011917 | 0.0064385 | -0.0063193 | 0.00034851 | -0.019275 | 0.018984 | 0.012378 | -0.0023984 | -0.0005376 | -0.037122 | 0.0072193 | 0.0015992 | -92.1061 | -92.1061 | -92.1061 | 87.952 | 87.952 | 87.952 | 1.3052 | 0.72444 | 0.66871 | 1.305 | 0.72357 | 0.66973 | -1.5545 | -112.5372 | 92.7566 | -1.5101 | -112.5806 | 92.7671
Line_3 | 0.00082135 | 0.00082135 | 0.00082135 | 0.00082135 | 0.00082135 | 0.00082135 | 0.0094841 | 0.0094841 | 0.0094841 | 0.0094841 | 0.0094841 | 0.0094841 | 0.00011917 | -0.0064385 | 0.0063193 | 0.00011917 | -0.0064385 | 0.0063193 | -0.012378 | 0.0023984 | 0.0005376 | -0.012378 | 0.0023984 | 0.0005376 | 87.8939 | 87.8939 | 87.8939 | 87.8939 | 87.8939 | 87.8939 | 1.3052 | 0.72444 | 0.66871 | 1.3052 | 0.72444 | 0.66871 | -1.5545 | -112.5372 | 92.7566 | -1.5545 | -112.5372 | 92.7566

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065669 | 0.0065669 | 0.0065669 | 0.0049271 | 0.0049271 | 0.0049271 | 0.075828 | 0.075828 | 0.075828 | 0.056893 | 0.056893 | 0.056893 | 0.001015 | -0.051078 | 0.050881 | -0.00069702 | 0.038551 | -0.037968 | -0.098901 | 0.019394 | 0.0042249 | 0.074244 | -0.014439 | -0.0031983 | 88.0574 | 88.0574 | 88.0574 | -92.048 | -92.048 | -92.048 | 1.3043 | 0.72052 | 0.67331 | 1.305 | 0.72357 | 0.66973 | -1.3547 | -112.7336 | 92.804 | -1.5101 | -112.5806 | 92.7671
Line_1 | 0.00082135 | 0.00082135 | 0.00082135 | 0.0024635 | 0.0024635 | 0.0024635 | 0.0094841 | 0.0094841 | 0.0094841 | 0.028446 | 0.028446 | 0.028446 | -0.00011917 | 0.0064385 | -0.0063193 | 0.00034851 | -0.019275 | 0.018984 | 0.012378 | -0.0023984 | -0.0005376 | -0.037122 | 0.0072193 | 0.0015992 | -92.1061 | -92.1061 | -92.1061 | 87.952 | 87.952 | 87.952 | 1.3052 | 0.72444 | 0.66871 | 1.305 | 0.72357 | 0.66973 | -1.5545 | -112.5372 | 92.7566 | -1.5101 | -112.5806 | 92.7671
Line_2 | 0.00082135 | 0.00082135 | 0.00082135 | 0.0024635 | 0.0024635 | 0.0024635 | 0.0094841 | 0.0094841 | 0.0094841 | 0.028446 | 0.028446 | 0.028446 | -0.00011917 | 0.0064385 | -0.0063193 | 0.00034851 | -0.019275 | 0.018984 | 0.012378 | -0.0023984 | -0.0005376 | -0.037122 | 0.0072193 | 0.0015992 | -92.1061 | -92.1061 | -92.1061 | 87.952 | 87.952 | 87.952 | 1.3052 | 0.72444 | 0.66871 | 1.305 | 0.72357 | 0.66973 | -1.5545 | -112.5372 | 92.7566 | -1.5101 | -112.5806 | 92.7671
Line_3 | 0.00082135 | 0.00082135 | 0.00082135 | 0.00082135 | 0.00082135 | 0.00082135 | 0.0094841 | 0.0094841 | 0.0094841 | 0.0094841 | 0.0094841 | 0.0094841 | 0.00011917 | -0.0064385 | 0.0063193 | 0.00011917 | -0.0064385 | 0.0063193 | -0.012378 | 0.0023984 | 0.0005376 | -0.012378 | 0.0023984 | 0.0005376 | 87.8939 | 87.8939 | 87.8939 | 87.8939 | 87.8939 | 87.8939 | 1.3052 | 0.72444 | 0.66871 | 1.3052 | 0.72444 | 0.66871 | -1.5545 | -112.5372 | 92.7566 | -1.5545 | -112.5372 | 92.7566