## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | 1.8237e-14 | -3.1264e-14 | 5.2106e-14 | -7.8155e-15 | 2.6054e-14 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | -1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3445e-13 | 180 | -180 | 9.7518e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.8237e-14 | 1.0421e-14 | -5.2106e-15 | -7.8161e-15 | -1.5632e-14 | -8.9213e-29 | -1.9211e-09 | 1.9211e-09 | -8.8686e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8098e-13 | -180 | 180 | 9.7518e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6051e-15 | 1.9012e-19 | -5.2106e-15 | 1.3026e-14 | -1.5632e-14 | -9.0085e-29 | -1.9211e-09 | 1.9211e-09 | -8.8686e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9056e-13 | -180 | 180 | 9.7518e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | -5.1565e-25 | -1.0421e-14 | -1.0421e-14 | -5.2106e-15 | 0 | -1.5632e-14 | -5.2106e-15 | -1.8017e-28 | 7.816e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8098e-13 | -180 | 180 | 9.9056e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | 1.8237e-14 | -3.1264e-14 | 5.2106e-14 | -7.8155e-15 | 2.6054e-14 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | -1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3445e-13 | 180 | -180 | 9.7518e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.8237e-14 | 1.0421e-14 | -5.2106e-15 | -7.8161e-15 | -1.5632e-14 | -8.9213e-29 | -1.9211e-09 | 1.9211e-09 | -8.8686e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8098e-13 | -180 | 180 | 9.7518e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6051e-15 | 1.9012e-19 | -5.2106e-15 | 1.3026e-14 | -1.5632e-14 | -9.0085e-29 | -1.9211e-09 | 1.9211e-09 | -8.8686e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.9056e-13 | -180 | 180 | 9.7518e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | -5.1565e-25 | -1.0421e-14 | -1.0421e-14 | -5.2106e-15 | 0 | -1.5632e-14 | -5.2106e-15 | -1.8017e-28 | 7.816e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8098e-13 | -180 | 180 | 9.9056e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6935e-14 | -9.5547e-10 | -3.075e-09 | 1.4329e-14 | 9.5548e-10 | 3.075e-09 | 1.0421e-14 | 4.0277e-09 | -3.5663e-10 | -1.3027e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.3975e-13 | -140.8543 | 122.4159 | 3.5298e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.185e-10 | 1.025e-09 | -1.1724e-14 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 5.2106e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.5748e-13 | -140.8543 | 122.4159 | 3.5298e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 3.185e-10 | 1.025e-09 | -1.3027e-14 | -3.185e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1888e-10 | 5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.6192e-13 | -140.8543 | 122.4159 | 3.5298e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 1.4977e-15 | -4.7045e-15 | -1.3027e-15 | 1.44e-14 | 7.6334e-15 | 2.6053e-15 | 6.9303e-15 | -4.9492e-15 | -8.2285e-30 | -5.4119e-15 | 1.2695e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.5748e-13 | -140.8543 | 122.4159 | 3.6192e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6935e-14 | -9.5547e-10 | -3.075e-09 | 1.4329e-14 | 9.5548e-10 | 3.075e-09 | 1.0421e-14 | 4.0277e-09 | -3.5663e-10 | -1.3027e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.3975e-13 | -140.8543 | 122.4159 | 3.5298e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.185e-10 | 1.025e-09 | -1.1724e-14 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 5.2106e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.5748e-13 | -140.8543 | 122.4159 | 3.5298e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 3.185e-10 | 1.025e-09 | -1.3027e-14 | -3.185e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1888e-10 | 5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.6192e-13 | -140.8543 | 122.4159 | 3.5298e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 1.4977e-15 | -4.7045e-15 | -1.3027e-15 | 1.44e-14 | 7.6334e-15 | 2.6053e-15 | 6.9303e-15 | -4.9492e-15 | -8.2285e-30 | -5.4119e-15 | 1.2695e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.5748e-13 | -140.8543 | 122.4159 | 3.6192e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 3.4343e-14 | 1.8948e-14 | -7.1054e-15 | -2.25e-14 | -1.421e-14 | -2.8422e-14 | 4.7631e-09 | -4.7631e-09 | 2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2641e-13 | -180 | 180 | 7.3234e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -2.25e-14 | 4.7373e-15 | 1.1842e-14 | 2.4869e-14 | -2.2922e-19 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2297e-13 | -180 | 180 | 7.3234e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.7763e-14 | -9.4736e-15 | 1.4211e-14 | 2.0132e-14 | 9.4737e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.248e-13 | -180 | 180 | 7.3234e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -4.737e-15 | 9.4739e-15 | -2.3685e-15 | 4.737e-15 | 1.8183e-24 | 2.9886e-29 | 7.1054e-15 | 4.737e-15 | -9.4739e-15 | -7.1054e-15 | 9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2297e-13 | -180 | 180 | 7.248e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 3.4343e-14 | 1.8948e-14 | -7.1054e-15 | -2.25e-14 | -1.421e-14 | -2.8422e-14 | 4.7631e-09 | -4.7631e-09 | 2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2641e-13 | -180 | 180 | 7.3234e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | -2.25e-14 | 4.7373e-15 | 1.1842e-14 | 2.4869e-14 | -2.2922e-19 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2297e-13 | -180 | 180 | 7.3234e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.7763e-14 | -9.4736e-15 | 1.4211e-14 | 2.0132e-14 | 9.4737e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.248e-13 | -180 | 180 | 7.3234e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -4.737e-15 | 9.4739e-15 | -2.3685e-15 | 4.737e-15 | 1.8183e-24 | 2.9886e-29 | 7.1054e-15 | 4.737e-15 | -9.4739e-15 | -7.1054e-15 | 9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2297e-13 | -180 | 180 | 7.248e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-14 | -8.0024e-10 | -2.5674e-09 | -1.2138e-14 | 8.0024e-10 | 2.5674e-09 | -1.1842e-14 | 3.4014e-09 | -3.4066e-10 | 1.1842e-14 | -3.4014e-09 | 3.4066e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7007e-13 | -141.4824 | 122.8363 | 2.6212e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6674e-10 | 8.558e-10 | 2.3685e-15 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5447e-13 | -141.4824 | 122.8363 | 2.6212e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6251e-15 | 2.6674e-10 | 8.558e-10 | 5.3291e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5482e-13 | -141.4824 | 122.8363 | 2.6212e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.193e-16 | -6.8244e-16 | -2.3685e-15 | 0 | 3.977e-15 | 1.0519e-29 | 2.8102e-15 | -4.4097e-15 | -1.0534e-29 | 0 | 4.7718e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5447e-13 | -141.4824 | 122.8363 | 2.5482e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-14 | -8.0024e-10 | -2.5674e-09 | -1.2138e-14 | 8.0024e-10 | 2.5674e-09 | -1.1842e-14 | 3.4014e-09 | -3.4066e-10 | 1.1842e-14 | -3.4014e-09 | 3.4066e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7007e-13 | -141.4824 | 122.8363 | 2.6212e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6674e-10 | 8.558e-10 | 2.3685e-15 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5447e-13 | -141.4824 | 122.8363 | 2.6212e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6251e-15 | 2.6674e-10 | 8.558e-10 | 5.3291e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5482e-13 | -141.4824 | 122.8363 | 2.6212e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.193e-16 | -6.8244e-16 | -2.3685e-15 | 0 | 3.977e-15 | 1.0519e-29 | 2.8102e-15 | -4.4097e-15 | -1.0534e-29 | 0 | 4.7718e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5447e-13 | -141.4824 | 122.8363 | 2.5482e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020419 | 0.020419 | 0.020419 | 0.01532 | 0.01532 | 0.01532 | 0.23578 | 0.23578 | 0.23578 | 0.1769 | 0.1769 | 0.1769 | -4.722e-13 | 0.21694 | -0.21282 | 0.0010116 | -0.16197 | 0.16038 | -9.5921e-14 | -0.29852 | -0.4293 | 0.00040264 | 0.22422 | 0.32265 | -106.9254 | -106.9254 | -106.9254 | 73.0197 | 73.0197 | 73.0197 | 0 | 1.5651 | 2.0322 | 0.006155 | 1.5636 | 2.0368 | 0 | -160.9192 | 136.7054 | 94.7228 | -161.1377 | 136.5896
Line_1 | 0.0025539 | 0.0025539 | 0.0025539 | 0.00766 | 0.00766 | 0.00766 | 0.029489 | 0.029489 | 0.029489 | 0.08845 | 0.08845 | 0.08845 | 0.0002168 | -0.026972 | 0.026755 | -0.00050582 | 0.080984 | -0.080189 | 8.6385e-05 | 0.037383 | 0.05382 | -0.00020132 | -0.11211 | -0.16133 | 72.9895 | 72.9895 | 72.9895 | -106.9803 | -106.9803 | -106.9803 | 0.007914 | 1.5632 | 2.0381 | 0.006155 | 1.5636 | 2.0368 | 94.7141 | -161.2002 | 136.5565 | 94.7228 | -161.1377 | 136.5896
Line_2 | 0.0025539 | 0.0025539 | 0.0025539 | 0.00766 | 0.00766 | 0.00766 | 0.029489 | 0.029489 | 0.029489 | 0.08845 | 0.08845 | 0.08845 | 0.0002168 | -0.026972 | 0.026755 | -0.00050582 | 0.080984 | -0.080189 | 8.6385e-05 | 0.037383 | 0.05382 | -0.00020132 | -0.11211 | -0.16133 | 72.9895 | 72.9895 | 72.9895 | -106.9803 | -106.9803 | -106.9803 | 0.007914 | 1.5632 | 2.0381 | 0.006155 | 1.5636 | 2.0368 | 94.7141 | -161.2002 | 136.5565 | 94.7228 | -161.1377 | 136.5896
Line_3 | 0.0025539 | 0.0025539 | 0.0025539 | 0.0025539 | 0.0025539 | 0.0025539 | 0.029489 | 0.029489 | 0.029489 | 0.029489 | 0.029489 | 0.029489 | -0.0002168 | 0.026972 | -0.026755 | -0.0002168 | 0.026972 | -0.026755 | -8.6385e-05 | -0.037383 | -0.05382 | -8.6385e-05 | -0.037383 | -0.05382 | -107.0105 | -107.0105 | -107.0105 | -107.0105 | -107.0105 | -107.0105 | 0.007914 | 1.5632 | 2.0381 | 0.007914 | 1.5632 | 2.0381 | 94.7141 | -161.2002 | 136.5565 | 94.7141 | -161.2002 | 136.5565

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020419 | 0.020419 | 0.020419 | 0.01532 | 0.01532 | 0.01532 | 0.23578 | 0.23578 | 0.23578 | 0.1769 | 0.1769 | 0.1769 | -4.722e-13 | 0.21694 | -0.21282 | 0.0010116 | -0.16197 | 0.16038 | -9.5921e-14 | -0.29852 | -0.4293 | 0.00040264 | 0.22422 | 0.32265 | -106.9254 | -106.9254 | -106.9254 | 73.0197 | 73.0197 | 73.0197 | 0 | 1.5651 | 2.0322 | 0.006155 | 1.5636 | 2.0368 | 0 | -160.9192 | 136.7054 | 94.7228 | -161.1377 | 136.5896
Line_1 | 0.0025539 | 0.0025539 | 0.0025539 | 0.00766 | 0.00766 | 0.00766 | 0.029489 | 0.029489 | 0.029489 | 0.08845 | 0.08845 | 0.08845 | 0.0002168 | -0.026972 | 0.026755 | -0.00050582 | 0.080984 | -0.080189 | 8.6385e-05 | 0.037383 | 0.05382 | -0.00020132 | -0.11211 | -0.16133 | 72.9895 | 72.9895 | 72.9895 | -106.9803 | -106.9803 | -106.9803 | 0.007914 | 1.5632 | 2.0381 | 0.006155 | 1.5636 | 2.0368 | 94.7141 | -161.2002 | 136.5565 | 94.7228 | -161.1377 | 136.5896
Line_2 | 0.0025539 | 0.0025539 | 0.0025539 | 0.00766 | 0.00766 | 0.00766 | 0.029489 | 0.029489 | 0.029489 | 0.08845 | 0.08845 | 0.08845 | 0.0002168 | -0.026972 | 0.026755 | -0.00050582 | 0.080984 | -0.080189 | 8.6385e-05 | 0.037383 | 0.05382 | -0.00020132 | -0.11211 | -0.16133 | 72.9895 | 72.9895 | 72.9895 | -106.9803 | -106.9803 | -106.9803 | 0.007914 | 1.5632 | 2.0381 | 0.006155 | 1.5636 | 2.0368 | 94.7141 | -161.2002 | 136.5565 | 94.7228 | -161.1377 | 136.5896
Line_3 | 0.0025539 | 0.0025539 | 0.0025539 | 0.0025539 | 0.0025539 | 0.0025539 | 0.029489 | 0.029489 | 0.029489 | 0.029489 | 0.029489 | 0.029489 | -0.0002168 | 0.026972 | -0.026755 | -0.0002168 | 0.026972 | -0.026755 | -8.6385e-05 | -0.037383 | -0.05382 | -8.6385e-05 | -0.037383 | -0.05382 | -107.0105 | -107.0105 | -107.0105 | -107.0105 | -107.0105 | -107.0105 | 0.007914 | 1.5632 | 2.0381 | 0.007914 | 1.5632 | 2.0381 | 94.7141 | -161.2002 | 136.5565 | 94.7141 | -161.2002 | 136.5565

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0090547 | 0.0090547 | 0.0090547 | 0.0067936 | 0.0067936 | 0.0067936 | 0.10455 | 0.10455 | 0.10455 | 0.078445 | 0.078445 | 0.078445 | -0.046114 | 0.10792 | -0.060996 | 0.034833 | -0.080803 | 0.045856 | 0.048732 | -0.043133 | -0.14872 | -0.036451 | 0.032364 | 0.11171 | -122.0094 | -122.0094 | -122.0094 | 57.9357 | 57.9357 | 57.9357 | 0.6417 | 1.1116 | 1.5374 | 0.64271 | 1.1096 | 1.5393 | 11.4095 | -143.7947 | 125.6904 | 11.6355 | -143.8916 | 125.6172
Line_1 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0033968 | 0.0033968 | 0.0033968 | 0.013077 | 0.013077 | 0.013077 | 0.039223 | 0.039223 | 0.039223 | 0.0058194 | -0.013463 | 0.007644 | -0.017416 | 0.040401 | -0.022928 | -0.0060695 | 0.0053917 | 0.018629 | 0.018225 | -0.016182 | -0.055853 | 57.9055 | 57.9055 | 57.9055 | -122.0643 | -122.0643 | -122.0643 | 0.64301 | 1.109 | 1.5399 | 0.64271 | 1.1096 | 1.5393 | 11.6999 | -143.9193 | 125.5964 | 11.6355 | -143.8916 | 125.6172
Line_2 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0033968 | 0.0033968 | 0.0033968 | 0.013077 | 0.013077 | 0.013077 | 0.039223 | 0.039223 | 0.039223 | 0.0058194 | -0.013463 | 0.007644 | -0.017416 | 0.040401 | -0.022928 | -0.0060695 | 0.0053917 | 0.018629 | 0.018225 | -0.016182 | -0.055853 | 57.9055 | 57.9055 | 57.9055 | -122.0643 | -122.0643 | -122.0643 | 0.64301 | 1.109 | 1.5399 | 0.64271 | 1.1096 | 1.5393 | 11.6999 | -143.9193 | 125.5964 | 11.6355 | -143.8916 | 125.6172
Line_3 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0011325 | 0.013077 | 0.013077 | 0.013077 | 0.013077 | 0.013077 | 0.013077 | -0.0058194 | 0.013463 | -0.007644 | -0.0058194 | 0.013463 | -0.007644 | 0.0060695 | -0.0053917 | -0.018629 | 0.0060695 | -0.0053917 | -0.018629 | -122.0945 | -122.0945 | -122.0945 | -122.0945 | -122.0945 | -122.0945 | 0.64301 | 1.109 | 1.5399 | 0.64301 | 1.109 | 1.5399 | 11.6999 | -143.9193 | 125.5964 | 11.6999 | -143.9193 | 125.5964

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0090547 | 0.0090547 | 0.0090547 | 0.0067936 | 0.0067936 | 0.0067936 | 0.10455 | 0.10455 | 0.10455 | 0.078445 | 0.078445 | 0.078445 | -0.046114 | 0.10792 | -0.060996 | 0.034833 | -0.080803 | 0.045856 | 0.048732 | -0.043133 | -0.14872 | -0.036451 | 0.032364 | 0.11171 | -122.0094 | -122.0094 | -122.0094 | 57.9357 | 57.9357 | 57.9357 | 0.6417 | 1.1116 | 1.5374 | 0.64271 | 1.1096 | 1.5393 | 11.4095 | -143.7947 | 125.6904 | 11.6355 | -143.8916 | 125.6172
Line_1 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0033968 | 0.0033968 | 0.0033968 | 0.013077 | 0.013077 | 0.013077 | 0.039223 | 0.039223 | 0.039223 | 0.0058194 | -0.013463 | 0.007644 | -0.017416 | 0.040401 | -0.022928 | -0.0060695 | 0.0053917 | 0.018629 | 0.018225 | -0.016182 | -0.055853 | 57.9055 | 57.9055 | 57.9055 | -122.0643 | -122.0643 | -122.0643 | 0.64301 | 1.109 | 1.5399 | 0.64271 | 1.1096 | 1.5393 | 11.6999 | -143.9193 | 125.5964 | 11.6355 | -143.8916 | 125.6172
Line_2 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0033968 | 0.0033968 | 0.0033968 | 0.013077 | 0.013077 | 0.013077 | 0.039223 | 0.039223 | 0.039223 | 0.0058194 | -0.013463 | 0.007644 | -0.017416 | 0.040401 | -0.022928 | -0.0060695 | 0.0053917 | 0.018629 | 0.018225 | -0.016182 | -0.055853 | 57.9055 | 57.9055 | 57.9055 | -122.0643 | -122.0643 | -122.0643 | 0.64301 | 1.109 | 1.5399 | 0.64271 | 1.1096 | 1.5393 | 11.6999 | -143.9193 | 125.5964 | 11.6355 | -143.8916 | 125.6172
Line_3 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0011325 | 0.0011325 | 0.013077 | 0.013077 | 0.013077 | 0.013077 | 0.013077 | 0.013077 | -0.0058194 | 0.013463 | -0.007644 | -0.0058194 | 0.013463 | -0.007644 | 0.0060695 | -0.0053917 | -0.018629 | 0.0060695 | -0.0053917 | -0.018629 | -122.0945 | -122.0945 | -122.0945 | -122.0945 | -122.0945 | -122.0945 | 0.64301 | 1.109 | 1.5399 | 0.64301 | 1.109 | 1.5399 | 11.6999 | -143.9193 | 125.5964 | 11.6999 | -143.9193 | 125.5964

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018443 | 0.018443 | 0.018443 | 0.013838 | 0.013838 | 0.013838 | 0.21296 | 0.21296 | 0.21296 | 0.15978 | 0.15978 | 0.15978 | 3.2328e-14 | 0.17874 | -0.17229 | 0.0015847 | -0.13285 | 0.13036 | 1.8932e-13 | -0.24024 | -0.35356 | 0.00032883 | 0.18033 | 0.26584 | -107.8911 | -107.8911 | -107.8911 | 72.0036 | 72.0036 | 72.0036 | 0 | 1.4061 | 1.8468 | 0.010129 | 1.4018 | 1.853 | 0 | -161.2419 | 136.1293 | 83.7265 | -161.6171 | 135.8812
Line_1 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0069188 | 0.0069188 | 0.0069188 | 0.026636 | 0.026636 | 0.026636 | 0.079892 | 0.079892 | 0.079892 | 0.00033961 | -0.022102 | 0.021762 | -0.00079233 | 0.066426 | -0.065181 | 7.0728e-05 | 0.030055 | 0.044353 | -0.00016441 | -0.090166 | -0.13292 | 71.9455 | 71.9455 | 71.9455 | -107.9964 | -107.9964 | -107.9964 | 0.013024 | 1.4006 | 1.8548 | 0.010129 | 1.4018 | 1.853 | 83.7099 | -161.7246 | 135.8105 | 83.7265 | -161.6171 | 135.8812
Line_2 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0069188 | 0.0069188 | 0.0069188 | 0.026636 | 0.026636 | 0.026636 | 0.079892 | 0.079892 | 0.079892 | 0.00033961 | -0.022102 | 0.021762 | -0.00079233 | 0.066426 | -0.065181 | 7.0728e-05 | 0.030055 | 0.044353 | -0.00016441 | -0.090166 | -0.13292 | 71.9455 | 71.9455 | 71.9455 | -107.9964 | -107.9964 | -107.9964 | 0.013024 | 1.4006 | 1.8548 | 0.010129 | 1.4018 | 1.853 | 83.7099 | -161.7246 | 135.8105 | 83.7265 | -161.6171 | 135.8812
Line_3 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0023068 | 0.026636 | 0.026636 | 0.026636 | 0.026636 | 0.026636 | 0.026636 | -0.00033961 | 0.022102 | -0.021762 | -0.00033961 | 0.022102 | -0.021762 | -7.0728e-05 | -0.030055 | -0.044353 | -7.0728e-05 | -0.030055 | -0.044353 | -108.0545 | -108.0545 | -108.0545 | -108.0545 | -108.0545 | -108.0545 | 0.013024 | 1.4006 | 1.8548 | 0.013024 | 1.4006 | 1.8548 | 83.7099 | -161.7246 | 135.8105 | 83.7099 | -161.7246 | 135.8105

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018443 | 0.018443 | 0.018443 | 0.013838 | 0.013838 | 0.013838 | 0.21296 | 0.21296 | 0.21296 | 0.15978 | 0.15978 | 0.15978 | 3.2328e-14 | 0.17874 | -0.17229 | 0.0015847 | -0.13285 | 0.13036 | 1.8932e-13 | -0.24024 | -0.35356 | 0.00032883 | 0.18033 | 0.26584 | -107.8911 | -107.8911 | -107.8911 | 72.0036 | 72.0036 | 72.0036 | 0 | 1.4061 | 1.8468 | 0.010129 | 1.4018 | 1.853 | 0 | -161.2419 | 136.1293 | 83.7265 | -161.6171 | 135.8812
Line_1 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0069188 | 0.0069188 | 0.0069188 | 0.026636 | 0.026636 | 0.026636 | 0.079892 | 0.079892 | 0.079892 | 0.00033961 | -0.022102 | 0.021762 | -0.00079233 | 0.066426 | -0.065181 | 7.0728e-05 | 0.030055 | 0.044353 | -0.00016441 | -0.090166 | -0.13292 | 71.9455 | 71.9455 | 71.9455 | -107.9964 | -107.9964 | -107.9964 | 0.013024 | 1.4006 | 1.8548 | 0.010129 | 1.4018 | 1.853 | 83.7099 | -161.7246 | 135.8105 | 83.7265 | -161.6171 | 135.8812
Line_2 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0069188 | 0.0069188 | 0.0069188 | 0.026636 | 0.026636 | 0.026636 | 0.079892 | 0.079892 | 0.079892 | 0.00033961 | -0.022102 | 0.021762 | -0.00079233 | 0.066426 | -0.065181 | 7.0728e-05 | 0.030055 | 0.044353 | -0.00016441 | -0.090166 | -0.13292 | 71.9455 | 71.9455 | 71.9455 | -107.9964 | -107.9964 | -107.9964 | 0.013024 | 1.4006 | 1.8548 | 0.010129 | 1.4018 | 1.853 | 83.7099 | -161.7246 | 135.8105 | 83.7265 | -161.6171 | 135.8812
Line_3 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0023068 | 0.0023068 | 0.026636 | 0.026636 | 0.026636 | 0.026636 | 0.026636 | 0.026636 | -0.00033961 | 0.022102 | -0.021762 | -0.00033961 | 0.022102 | -0.021762 | -7.0728e-05 | -0.030055 | -0.044353 | -7.0728e-05 | -0.030055 | -0.044353 | -108.0545 | -108.0545 | -108.0545 | -108.0545 | -108.0545 | -108.0545 | 0.013024 | 1.4006 | 1.8548 | 0.013024 | 1.4006 | 1.8548 | 83.7099 | -161.7246 | 135.8105 | 83.7099 | -161.7246 | 135.8105

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081964 | 0.0081964 | 0.0081964 | 0.0061496 | 0.0061496 | 0.0061496 | 0.094644 | 0.094644 | 0.094644 | 0.07101 | 0.07101 | 0.07101 | -0.037791 | 0.088737 | -0.049672 | 0.028722 | -0.066313 | 0.037412 | 0.039884 | -0.034663 | -0.1225 | -0.029807 | 0.025949 | 0.092043 | -122.3998 | -122.3998 | -122.3998 | 57.4949 | 57.4949 | 57.4949 | 0.58054 | 1.0066 | 1.3967 | 0.58292 | 1.0028 | 1.3992 | 11.057 | -143.7364 | 125.5282 | 11.4329 | -143.8763 | 125.3748
Line_1 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0030748 | 0.0030748 | 0.0030748 | 0.011837 | 0.011837 | 0.011837 | 0.035505 | 0.035505 | 0.035505 | 0.0048079 | -0.011044 | 0.006236 | -0.014361 | 0.033156 | -0.018706 | -0.0049609 | 0.0043177 | 0.015353 | 0.014903 | -0.012975 | -0.046021 | 57.4368 | 57.4368 | 57.4368 | -122.5051 | -122.5051 | -122.5051 | 0.58361 | 1.0017 | 1.3999 | 0.58292 | 1.0028 | 1.3992 | 11.5396 | -143.9164 | 125.331 | 11.4329 | -143.8763 | 125.3748
Line_2 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0030748 | 0.0030748 | 0.0030748 | 0.011837 | 0.011837 | 0.011837 | 0.035505 | 0.035505 | 0.035505 | 0.0048079 | -0.011044 | 0.006236 | -0.014361 | 0.033156 | -0.018706 | -0.0049609 | 0.0043177 | 0.015353 | 0.014903 | -0.012975 | -0.046021 | 57.4368 | 57.4368 | 57.4368 | -122.5051 | -122.5051 | -122.5051 | 0.58361 | 1.0017 | 1.3999 | 0.58292 | 1.0028 | 1.3992 | 11.5396 | -143.9164 | 125.331 | 11.4329 | -143.8763 | 125.3748
Line_3 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0010252 | 0.011837 | 0.011837 | 0.011837 | 0.011837 | 0.011837 | 0.011837 | -0.0048079 | 0.011044 | -0.006236 | -0.0048079 | 0.011044 | -0.006236 | 0.0049609 | -0.0043177 | -0.015353 | 0.0049609 | -0.0043177 | -0.015353 | -122.5632 | -122.5632 | -122.5632 | -122.5632 | -122.5632 | -122.5632 | 0.58361 | 1.0017 | 1.3999 | 0.58361 | 1.0017 | 1.3999 | 11.5396 | -143.9164 | 125.331 | 11.5396 | -143.9164 | 125.331

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081964 | 0.0081964 | 0.0081964 | 0.0061496 | 0.0061496 | 0.0061496 | 0.094644 | 0.094644 | 0.094644 | 0.07101 | 0.07101 | 0.07101 | -0.037791 | 0.088737 | -0.049672 | 0.028722 | -0.066313 | 0.037412 | 0.039884 | -0.034663 | -0.1225 | -0.029807 | 0.025949 | 0.092043 | -122.3998 | -122.3998 | -122.3998 | 57.4949 | 57.4949 | 57.4949 | 0.58054 | 1.0066 | 1.3967 | 0.58292 | 1.0028 | 1.3992 | 11.057 | -143.7364 | 125.5282 | 11.4329 | -143.8763 | 125.3748
Line_1 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0030748 | 0.0030748 | 0.0030748 | 0.011837 | 0.011837 | 0.011837 | 0.035505 | 0.035505 | 0.035505 | 0.0048079 | -0.011044 | 0.006236 | -0.014361 | 0.033156 | -0.018706 | -0.0049609 | 0.0043177 | 0.015353 | 0.014903 | -0.012975 | -0.046021 | 57.4368 | 57.4368 | 57.4368 | -122.5051 | -122.5051 | -122.5051 | 0.58361 | 1.0017 | 1.3999 | 0.58292 | 1.0028 | 1.3992 | 11.5396 | -143.9164 | 125.331 | 11.4329 | -143.8763 | 125.3748
Line_2 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0030748 | 0.0030748 | 0.0030748 | 0.011837 | 0.011837 | 0.011837 | 0.035505 | 0.035505 | 0.035505 | 0.0048079 | -0.011044 | 0.006236 | -0.014361 | 0.033156 | -0.018706 | -0.0049609 | 0.0043177 | 0.015353 | 0.014903 | -0.012975 | -0.046021 | 57.4368 | 57.4368 | 57.4368 | -122.5051 | -122.5051 | -122.5051 | 0.58361 | 1.0017 | 1.3999 | 0.58292 | 1.0028 | 1.3992 | 11.5396 | -143.9164 | 125.331 | 11.4329 | -143.8763 | 125.3748
Line_3 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0010252 | 0.0010252 | 0.011837 | 0.011837 | 0.011837 | 0.011837 | 0.011837 | 0.011837 | -0.0048079 | 0.011044 | -0.006236 | -0.0048079 | 0.011044 | -0.006236 | 0.0049609 | -0.0043177 | -0.015353 | 0.0049609 | -0.0043177 | -0.015353 | -122.5632 | -122.5632 | -122.5632 | -122.5632 | -122.5632 | -122.5632 | 0.58361 | 1.0017 | 1.3999 | 0.58361 | 1.0017 | 1.3999 | 11.5396 | -143.9164 | 125.331 | 11.5396 | -143.9164 | 125.331

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010817 | 0.010817 | 0.010817 | 0.0081155 | 0.0081155 | 0.0081155 | 0.1249 | 0.1249 | 0.1249 | 0.09371 | 0.09371 | 0.09371 | 0.0011559 | -3.5794e-14 | -4.1822e-14 | -0.00073008 | 0.00028388 | 0.00028388 | -0.20424 | -6.927e-14 | 6.5998e-14 | 0.15335 | 0.00011299 | 0.00011299 | 85.3357 | 85.3357 | 85.3357 | -94.7191 | -94.7191 | -94.7191 | 1.6353 | 0 | 0 | 1.6365 | 0.0032605 | 0.0032605 | -4.34 | 0 | 0 | -4.4463 | -73.0161 | -73.0161
Line_1 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0040577 | 0.0040577 | 0.0040577 | 0.015622 | 0.015622 | 0.015622 | 0.046855 | 0.046855 | 0.046855 | -0.00012168 | 6.0839e-05 | 6.0839e-05 | 0.00036504 | -0.00014194 | -0.00014194 | 0.025569 | 2.4241e-05 | 2.4241e-05 | -0.076675 | -5.6494e-05 | -5.6494e-05 | -94.7494 | -94.7494 | -94.7494 | 85.2809 | 85.2809 | 85.2809 | 1.6368 | 0.0041923 | 0.0041923 | 1.6365 | 0.0032605 | 0.0032605 | -4.4767 | -73.0247 | -73.0247 | -4.4463 | -73.0161 | -73.0161
Line_2 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0040577 | 0.0040577 | 0.0040577 | 0.015622 | 0.015622 | 0.015622 | 0.046855 | 0.046855 | 0.046855 | -0.00012168 | 6.0839e-05 | 6.0839e-05 | 0.00036504 | -0.00014194 | -0.00014194 | 0.025569 | 2.4241e-05 | 2.4241e-05 | -0.076675 | -5.6494e-05 | -5.6494e-05 | -94.7494 | -94.7494 | -94.7494 | 85.2809 | 85.2809 | 85.2809 | 1.6368 | 0.0041923 | 0.0041923 | 1.6365 | 0.0032605 | 0.0032605 | -4.4767 | -73.0247 | -73.0247 | -4.4463 | -73.0161 | -73.0161
Line_3 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0013529 | 0.015622 | 0.015622 | 0.015622 | 0.015622 | 0.015622 | 0.015622 | 0.00012168 | -6.0839e-05 | -6.0839e-05 | 0.00012168 | -6.0839e-05 | -6.0839e-05 | -0.025569 | -2.4241e-05 | -2.4241e-05 | -0.025569 | -2.4241e-05 | -2.4241e-05 | 85.2506 | 85.2506 | 85.2506 | 85.2506 | 85.2506 | 85.2506 | 1.6368 | 0.0041923 | 0.0041923 | 1.6368 | 0.0041923 | 0.0041923 | -4.4767 | -73.0247 | -73.0247 | -4.4767 | -73.0247 | -73.0247

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010817 | 0.010817 | 0.010817 | 0.0081155 | 0.0081155 | 0.0081155 | 0.1249 | 0.1249 | 0.1249 | 0.09371 | 0.09371 | 0.09371 | 0.0011559 | -3.5794e-14 | -4.1822e-14 | -0.00073008 | 0.00028388 | 0.00028388 | -0.20424 | -6.927e-14 | 6.5998e-14 | 0.15335 | 0.00011299 | 0.00011299 | 85.3357 | 85.3357 | 85.3357 | -94.7191 | -94.7191 | -94.7191 | 1.6353 | 0 | 0 | 1.6365 | 0.0032605 | 0.0032605 | -4.34 | 0 | 0 | -4.4463 | -73.0161 | -73.0161
Line_1 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0040577 | 0.0040577 | 0.0040577 | 0.015622 | 0.015622 | 0.015622 | 0.046855 | 0.046855 | 0.046855 | -0.00012168 | 6.0839e-05 | 6.0839e-05 | 0.00036504 | -0.00014194 | -0.00014194 | 0.025569 | 2.4241e-05 | 2.4241e-05 | -0.076675 | -5.6494e-05 | -5.6494e-05 | -94.7494 | -94.7494 | -94.7494 | 85.2809 | 85.2809 | 85.2809 | 1.6368 | 0.0041923 | 0.0041923 | 1.6365 | 0.0032605 | 0.0032605 | -4.4767 | -73.0247 | -73.0247 | -4.4463 | -73.0161 | -73.0161
Line_2 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0040577 | 0.0040577 | 0.0040577 | 0.015622 | 0.015622 | 0.015622 | 0.046855 | 0.046855 | 0.046855 | -0.00012168 | 6.0839e-05 | 6.0839e-05 | 0.00036504 | -0.00014194 | -0.00014194 | 0.025569 | 2.4241e-05 | 2.4241e-05 | -0.076675 | -5.6494e-05 | -5.6494e-05 | -94.7494 | -94.7494 | -94.7494 | 85.2809 | 85.2809 | 85.2809 | 1.6368 | 0.0041923 | 0.0041923 | 1.6365 | 0.0032605 | 0.0032605 | -4.4767 | -73.0247 | -73.0247 | -4.4463 | -73.0161 | -73.0161
Line_3 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0013529 | 0.0013529 | 0.015622 | 0.015622 | 0.015622 | 0.015622 | 0.015622 | 0.015622 | 0.00012168 | -6.0839e-05 | -6.0839e-05 | 0.00012168 | -6.0839e-05 | -6.0839e-05 | -0.025569 | -2.4241e-05 | -2.4241e-05 | -0.025569 | -2.4241e-05 | -2.4241e-05 | 85.2506 | 85.2506 | 85.2506 | 85.2506 | 85.2506 | 85.2506 | 1.6368 | 0.0041923 | 0.0041923 | 1.6368 | 0.0041923 | 0.0041923 | -4.4767 | -73.0247 | -73.0247 | -4.4767 | -73.0247 | -73.0247

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067439 | 0.0067439 | 0.0067439 | 0.0050598 | 0.0050598 | 0.0050598 | 0.077872 | 0.077872 | 0.077872 | 0.058426 | 0.058426 | 0.058426 | 0.02603 | -0.070654 | 0.045074 | -0.019496 | 0.053123 | -0.033691 | -0.10643 | 0.0029011 | 0.024132 | 0.079875 | -0.002082 | -0.018094 | 69.5535 | 69.5535 | 69.5535 | -110.5013 | -110.5013 | -110.5013 | 1.407 | 0.90808 | 0.65656 | 1.4072 | 0.90994 | 0.65454 | -6.7028 | -112.7977 | 97.7172 | -6.7847 | -112.7456 | 97.7374
Line_1 | 0.00084348 | 0.00084348 | 0.00084348 | 0.0025299 | 0.0025299 | 0.0025299 | 0.0097397 | 0.0097397 | 0.0097397 | 0.029213 | 0.029213 | 0.029213 | -0.0032518 | 0.0088612 | -0.0056094 | 0.0097479 | -0.026562 | 0.016845 | 0.013316 | -0.0003403 | -0.0030172 | -0.039937 | 0.001041 | 0.009047 | -110.5316 | -110.5316 | -110.5316 | 69.4987 | 69.4987 | 69.4987 | 1.4073 | 0.91047 | 0.65396 | 1.4072 | 0.90994 | 0.65454 | -6.8082 | -112.7308 | 97.7433 | -6.7847 | -112.7456 | 97.7374
Line_2 | 0.00084348 | 0.00084348 | 0.00084348 | 0.0025299 | 0.0025299 | 0.0025299 | 0.0097397 | 0.0097397 | 0.0097397 | 0.029213 | 0.029213 | 0.029213 | -0.0032518 | 0.0088612 | -0.0056094 | 0.0097479 | -0.026562 | 0.016845 | 0.013316 | -0.0003403 | -0.0030172 | -0.039937 | 0.001041 | 0.009047 | -110.5316 | -110.5316 | -110.5316 | 69.4987 | 69.4987 | 69.4987 | 1.4073 | 0.91047 | 0.65396 | 1.4072 | 0.90994 | 0.65454 | -6.8082 | -112.7308 | 97.7433 | -6.7847 | -112.7456 | 97.7374
Line_3 | 0.00084348 | 0.00084348 | 0.00084348 | 0.00084348 | 0.00084348 | 0.00084348 | 0.0097397 | 0.0097397 | 0.0097397 | 0.0097397 | 0.0097397 | 0.0097397 | 0.0032518 | -0.0088612 | 0.0056094 | 0.0032518 | -0.0088612 | 0.0056094 | -0.013316 | 0.0003403 | 0.0030172 | -0.013316 | 0.0003403 | 0.0030172 | 69.4684 | 69.4684 | 69.4684 | 69.4684 | 69.4684 | 69.4684 | 1.4073 | 0.91047 | 0.65396 | 1.4073 | 0.91047 | 0.65396 | -6.8082 | -112.7308 | 97.7433 | -6.8082 | -112.7308 | 97.7433

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067439 | 0.0067439 | 0.0067439 | 0.0050598 | 0.0050598 | 0.0050598 | 0.077872 | 0.077872 | 0.077872 | 0.058426 | 0.058426 | 0.058426 | 0.02603 | -0.070654 | 0.045074 | -0.019496 | 0.053123 | -0.033691 | -0.10643 | 0.0029011 | 0.024132 | 0.079875 | -0.002082 | -0.018094 | 69.5535 | 69.5535 | 69.5535 | -110.5013 | -110.5013 | -110.5013 | 1.407 | 0.90808 | 0.65656 | 1.4072 | 0.90994 | 0.65454 | -6.7028 | -112.7977 | 97.7172 | -6.7847 | -112.7456 | 97.7374
Line_1 | 0.00084348 | 0.00084348 | 0.00084348 | 0.0025299 | 0.0025299 | 0.0025299 | 0.0097397 | 0.0097397 | 0.0097397 | 0.029213 | 0.029213 | 0.029213 | -0.0032518 | 0.0088612 | -0.0056094 | 0.0097479 | -0.026562 | 0.016845 | 0.013316 | -0.0003403 | -0.0030172 | -0.039937 | 0.001041 | 0.009047 | -110.5316 | -110.5316 | -110.5316 | 69.4987 | 69.4987 | 69.4987 | 1.4073 | 0.91047 | 0.65396 | 1.4072 | 0.90994 | 0.65454 | -6.8082 | -112.7308 | 97.7433 | -6.7847 | -112.7456 | 97.7374
Line_2 | 0.00084348 | 0.00084348 | 0.00084348 | 0.0025299 | 0.0025299 | 0.0025299 | 0.0097397 | 0.0097397 | 0.0097397 | 0.029213 | 0.029213 | 0.029213 | -0.0032518 | 0.0088612 | -0.0056094 | 0.0097479 | -0.026562 | 0.016845 | 0.013316 | -0.0003403 | -0.0030172 | -0.039937 | 0.001041 | 0.009047 | -110.5316 | -110.5316 | -110.5316 | 69.4987 | 69.4987 | 69.4987 | 1.4073 | 0.91047 | 0.65396 | 1.4072 | 0.90994 | 0.65454 | -6.8082 | -112.7308 | 97.7433 | -6.7847 | -112.7456 | 97.7374
Line_3 | 0.00084348 | 0.00084348 | 0.00084348 | 0.00084348 | 0.00084348 | 0.00084348 | 0.0097397 | 0.0097397 | 0.0097397 | 0.0097397 | 0.0097397 | 0.0097397 | 0.0032518 | -0.0088612 | 0.0056094 | 0.0032518 | -0.0088612 | 0.0056094 | -0.013316 | 0.0003403 | 0.0030172 | -0.013316 | 0.0003403 | 0.0030172 | 69.4684 | 69.4684 | 69.4684 | 69.4684 | 69.4684 | 69.4684 | 1.4073 | 0.91047 | 0.65396 | 1.4073 | 0.91047 | 0.65396 | -6.8082 | -112.7308 | 97.7433 | -6.8082 | -112.7308 | 97.7433

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009823 | 0.009823 | 0.009823 | 0.00737 | 0.00737 | 0.00737 | 0.11343 | 0.11343 | 0.11343 | 0.085102 | 0.085102 | 0.085102 | 0.0018303 | -9.9604e-14 | 1.0139e-13 | -0.001156 | 0.00044952 | 0.00044952 | -0.16844 | 5.8789e-14 | 5.6906e-14 | 0.12647 | 9.3278e-05 | 9.3278e-05 | 84.8434 | 84.8434 | 84.8434 | -95.262 | -95.262 | -95.262 | 1.4851 | 0 | 0 | 1.4862 | 0.0053947 | 0.0053947 | -4.5341 | 0 | 0 | -4.7382 | -83.539 | -83.539
Line_1 | 0.0012286 | 0.0012286 | 0.0012286 | 0.003685 | 0.003685 | 0.003685 | 0.014187 | 0.014187 | 0.014187 | 0.042551 | 0.042551 | 0.042551 | -0.00019268 | 9.6337e-05 | 9.6337e-05 | 0.00057802 | -0.00022476 | -0.00022476 | 0.021087 | 2.0063e-05 | 2.0063e-05 | -0.063235 | -4.6639e-05 | -4.6639e-05 | -95.3201 | -95.3201 | -95.3201 | 84.738 | 84.738 | 84.738 | 1.4865 | 0.0069364 | 0.0069364 | 1.4862 | 0.0053947 | 0.0053947 | -4.7966 | -83.5556 | -83.5556 | -4.7382 | -83.539 | -83.539
Line_2 | 0.0012286 | 0.0012286 | 0.0012286 | 0.003685 | 0.003685 | 0.003685 | 0.014187 | 0.014187 | 0.014187 | 0.042551 | 0.042551 | 0.042551 | -0.00019268 | 9.6337e-05 | 9.6337e-05 | 0.00057802 | -0.00022476 | -0.00022476 | 0.021087 | 2.0063e-05 | 2.0063e-05 | -0.063235 | -4.6639e-05 | -4.6639e-05 | -95.3201 | -95.3201 | -95.3201 | 84.738 | 84.738 | 84.738 | 1.4865 | 0.0069364 | 0.0069364 | 1.4862 | 0.0053947 | 0.0053947 | -4.7966 | -83.5556 | -83.5556 | -4.7382 | -83.539 | -83.539
Line_3 | 0.0012286 | 0.0012286 | 0.0012286 | 0.0012286 | 0.0012286 | 0.0012286 | 0.014187 | 0.014187 | 0.014187 | 0.014187 | 0.014187 | 0.014187 | 0.00019267 | -9.6337e-05 | -9.6337e-05 | 0.00019267 | -9.6337e-05 | -9.6337e-05 | -0.021087 | -2.0063e-05 | -2.0063e-05 | -0.021087 | -2.0063e-05 | -2.0063e-05 | 84.6799 | 84.6799 | 84.6799 | 84.6799 | 84.6799 | 84.6799 | 1.4865 | 0.0069364 | 0.0069364 | 1.4865 | 0.0069364 | 0.0069364 | -4.7966 | -83.5556 | -83.5556 | -4.7966 | -83.5556 | -83.5556

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009823 | 0.009823 | 0.009823 | 0.00737 | 0.00737 | 0.00737 | 0.11343 | 0.11343 | 0.11343 | 0.085102 | 0.085102 | 0.085102 | 0.0018303 | -9.9604e-14 | 1.0139e-13 | -0.001156 | 0.00044952 | 0.00044952 | -0.16844 | 5.8789e-14 | 5.6906e-14 | 0.12647 | 9.3278e-05 | 9.3278e-05 | 84.8434 | 84.8434 | 84.8434 | -95.262 | -95.262 | -95.262 | 1.4851 | 0 | 0 | 1.4862 | 0.0053947 | 0.0053947 | -4.5341 | 0 | 0 | -4.7382 | -83.539 | -83.539
Line_1 | 0.0012286 | 0.0012286 | 0.0012286 | 0.003685 | 0.003685 | 0.003685 | 0.014187 | 0.014187 | 0.014187 | 0.042551 | 0.042551 | 0.042551 | -0.00019268 | 9.6337e-05 | 9.6337e-05 | 0.00057802 | -0.00022476 | -0.00022476 | 0.021087 | 2.0063e-05 | 2.0063e-05 | -0.063235 | -4.6639e-05 | -4.6639e-05 | -95.3201 | -95.3201 | -95.3201 | 84.738 | 84.738 | 84.738 | 1.4865 | 0.0069364 | 0.0069364 | 1.4862 | 0.0053947 | 0.0053947 | -4.7966 | -83.5556 | -83.5556 | -4.7382 | -83.539 | -83.539
Line_2 | 0.0012286 | 0.0012286 | 0.0012286 | 0.003685 | 0.003685 | 0.003685 | 0.014187 | 0.014187 | 0.014187 | 0.042551 | 0.042551 | 0.042551 | -0.00019268 | 9.6337e-05 | 9.6337e-05 | 0.00057802 | -0.00022476 | -0.00022476 | 0.021087 | 2.0063e-05 | 2.0063e-05 | -0.063235 | -4.6639e-05 | -4.6639e-05 | -95.3201 | -95.3201 | -95.3201 | 84.738 | 84.738 | 84.738 | 1.4865 | 0.0069364 | 0.0069364 | 1.4862 | 0.0053947 | 0.0053947 | -4.7966 | -83.5556 | -83.5556 | -4.7382 | -83.539 | -83.539
Line_3 | 0.0012286 | 0.0012286 | 0.0012286 | 0.0012286 | 0.0012286 | 0.0012286 | 0.014187 | 0.014187 | 0.014187 | 0.014187 | 0.014187 | 0.014187 | 0.00019267 | -9.6337e-05 | -9.6337e-05 | 0.00019267 | -9.6337e-05 | -9.6337e-05 | -0.021087 | -2.0063e-05 | -2.0063e-05 | -0.021087 | -2.0063e-05 | -2.0063e-05 | 84.6799 | 84.6799 | 84.6799 | 84.6799 | 84.6799 | 84.6799 | 1.4865 | 0.0069364 | 0.0069364 | 1.4865 | 0.0069364 | 0.0069364 | -4.7966 | -83.5556 | -83.5556 | -4.7966 | -83.5556 | -83.5556

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061202 | 0.0061202 | 0.0061202 | 0.0045919 | 0.0045919 | 0.0045919 | 0.07067 | 0.07067 | 0.07067 | 0.053022 | 0.053022 | 0.053022 | 0.021781 | -0.05779 | 0.03672 | -0.016288 | 0.043537 | -0.027348 | -0.087625 | 0.0024995 | 0.019738 | 0.06575 | -0.0017594 | -0.014823 | 69.2586 | 69.2586 | 69.2586 | -110.8467 | -110.8467 | -110.8467 | 1.2777 | 0.81851 | 0.5899 | 1.2775 | 0.82177 | 0.58668 | -6.7824 | -113.218 | 97.5175 | -6.933 | -113.1609 | 97.6115
Line_1 | 0.00076547 | 0.00076547 | 0.00076547 | 0.0022959 | 0.0022959 | 0.0022959 | 0.0088389 | 0.0088389 | 0.0088389 | 0.026511 | 0.026511 | 0.026511 | -0.0027181 | 0.0072663 | -0.0045482 | 0.0081441 | -0.021768 | 0.013674 | 0.01096 | -0.00028422 | -0.0024739 | -0.032875 | 0.00087972 | 0.0074116 | -110.9048 | -110.9048 | -110.9048 | 69.1533 | 69.1533 | 69.1533 | 1.2775 | 0.8227 | 0.58576 | 1.2775 | 0.82177 | 0.58668 | -6.9761 | -113.1448 | 97.6386 | -6.933 | -113.1609 | 97.6115
Line_2 | 0.00076547 | 0.00076547 | 0.00076547 | 0.0022959 | 0.0022959 | 0.0022959 | 0.0088389 | 0.0088389 | 0.0088389 | 0.026511 | 0.026511 | 0.026511 | -0.0027181 | 0.0072663 | -0.0045482 | 0.0081441 | -0.021768 | 0.013674 | 0.01096 | -0.00028422 | -0.0024739 | -0.032875 | 0.00087972 | 0.0074116 | -110.9048 | -110.9048 | -110.9048 | 69.1533 | 69.1533 | 69.1533 | 1.2775 | 0.8227 | 0.58576 | 1.2775 | 0.82177 | 0.58668 | -6.9761 | -113.1448 | 97.6386 | -6.933 | -113.1609 | 97.6115
Line_3 | 0.00076547 | 0.00076547 | 0.00076547 | 0.00076547 | 0.00076547 | 0.00076547 | 0.0088389 | 0.0088389 | 0.0088389 | 0.0088389 | 0.0088389 | 0.0088389 | 0.0027181 | -0.0072663 | 0.0045482 | 0.0027181 | -0.0072663 | 0.0045482 | -0.01096 | 0.00028422 | 0.0024739 | -0.01096 | 0.00028422 | 0.0024739 | 69.0952 | 69.0952 | 69.0952 | 69.0952 | 69.0952 | 69.0952 | 1.2775 | 0.8227 | 0.58576 | 1.2775 | 0.8227 | 0.58576 | -6.9761 | -113.1448 | 97.6386 | -6.9761 | -113.1448 | 97.6386

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061202 | 0.0061202 | 0.0061202 | 0.0045919 | 0.0045919 | 0.0045919 | 0.07067 | 0.07067 | 0.07067 | 0.053022 | 0.053022 | 0.053022 | 0.021781 | -0.05779 | 0.03672 | -0.016288 | 0.043537 | -0.027348 | -0.087625 | 0.0024995 | 0.019738 | 0.06575 | -0.0017594 | -0.014823 | 69.2586 | 69.2586 | 69.2586 | -110.8467 | -110.8467 | -110.8467 | 1.2777 | 0.81851 | 0.5899 | 1.2775 | 0.82177 | 0.58668 | -6.7824 | -113.218 | 97.5175 | -6.933 | -113.1609 | 97.6115
Line_1 | 0.00076547 | 0.00076547 | 0.00076547 | 0.0022959 | 0.0022959 | 0.0022959 | 0.0088389 | 0.0088389 | 0.0088389 | 0.026511 | 0.026511 | 0.026511 | -0.0027181 | 0.0072663 | -0.0045482 | 0.0081441 | -0.021768 | 0.013674 | 0.01096 | -0.00028422 | -0.0024739 | -0.032875 | 0.00087972 | 0.0074116 | -110.9048 | -110.9048 | -110.9048 | 69.1533 | 69.1533 | 69.1533 | 1.2775 | 0.8227 | 0.58576 | 1.2775 | 0.82177 | 0.58668 | -6.9761 | -113.1448 | 97.6386 | -6.933 | -113.1609 | 97.6115
Line_2 | 0.00076547 | 0.00076547 | 0.00076547 | 0.0022959 | 0.0022959 | 0.0022959 | 0.0088389 | 0.0088389 | 0.0088389 | 0.026511 | 0.026511 | 0.026511 | -0.0027181 | 0.0072663 | -0.0045482 | 0.0081441 | -0.021768 | 0.013674 | 0.01096 | -0.00028422 | -0.0024739 | -0.032875 | 0.00087972 | 0.0074116 | -110.9048 | -110.9048 | -110.9048 | 69.1533 | 69.1533 | 69.1533 | 1.2775 | 0.8227 | 0.58576 | 1.2775 | 0.82177 | 0.58668 | -6.9761 | -113.1448 | 97.6386 | -6.933 | -113.1609 | 97.6115
Line_3 | 0.00076547 | 0.00076547 | 0.00076547 | 0.00076547 | 0.00076547 | 0.00076547 | 0.0088389 | 0.0088389 | 0.0088389 | 0.0088389 | 0.0088389 | 0.0088389 | 0.0027181 | -0.0072663 | 0.0045482 | 0.0027181 | -0.0072663 | 0.0045482 | -0.01096 | 0.00028422 | 0.0024739 | -0.01096 | 0.00028422 | 0.0024739 | 69.0952 | 69.0952 | 69.0952 | 69.0952 | 69.0952 | 69.0952 | 1.2775 | 0.8227 | 0.58576 | 1.2775 | 0.8227 | 0.58576 | -6.9761 | -113.1448 | 97.6386 | -6.9761 | -113.1448 | 97.6386