## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -7.816e-14 | 30.1766 | -15.8685 | 7.2949e-14 | -23.0225 | 23.0225 | -1.0421e-14 | 3.131 | 13.1032 | 2.0843e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 1.2025e-12 | -161.8563 | 152.6723 | 1.2437e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -1.5632e-14 | -1.5632e-14 | -3.6475e-14 | 2.8659e-14 | 1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2609e-12 | -180 | 180 | 1.2437e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1264e-14 | -1.5632e-14 | -1.5632e-14 | -4.6896e-14 | 2.8659e-14 | 1.0421e-14 | 6.8604e-28 | -1.9211e-09 | 1.9211e-09 | -1.018e-27 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2573e-12 | -180 | 180 | 1.2437e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 7.816e-15 | 2.5232e-25 | -5.2106e-15 | 1.3027e-14 | 1.2616e-25 | -1.0421e-14 | 5.2106e-15 | 1.0421e-14 | -1.1434e-28 | -5.2106e-15 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2609e-12 | -180 | 180 | 1.2573e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -7.816e-14 | 30.1766 | -15.8685 | 7.2949e-14 | -23.0225 | 23.0225 | -1.0421e-14 | 3.131 | 13.1032 | 2.0843e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 1.2025e-12 | -161.8563 | 152.6723 | 1.2437e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -1.5632e-14 | -1.5632e-14 | -3.6475e-14 | 2.8659e-14 | 1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2609e-12 | -180 | 180 | 1.2437e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1264e-14 | -1.5632e-14 | -1.5632e-14 | -4.6896e-14 | 2.8659e-14 | 1.0421e-14 | 6.8604e-28 | -1.9211e-09 | 1.9211e-09 | -1.018e-27 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2573e-12 | -180 | 180 | 1.2437e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 7.816e-15 | 2.5232e-25 | -5.2106e-15 | 1.3027e-14 | 1.2616e-25 | -1.0421e-14 | 5.2106e-15 | 1.0421e-14 | -1.1434e-28 | -5.2106e-15 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2609e-12 | -180 | 180 | 1.2573e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -3.3869e-14 | 19.0761 | -0.30087 | 2.8659e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.7208e-13 | -138.0936 | 121.2196 | 4.9081e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.734e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | 4.5304e-29 | -1.3544e-09 | 3.8389e-10 | -2.6053e-15 | 1.3544e-09 | -3.8388e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.9816e-13 | -142.8673 | 128.239 | 4.9081e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.7341e-10 | 1.0337e-09 | -1.3027e-14 | -4.734e-10 | -1.0337e-09 | 6.77e-29 | -1.3544e-09 | 3.8389e-10 | -5.2106e-15 | 1.3544e-09 | -3.8389e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.9628e-13 | -142.8673 | 128.239 | 4.9081e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -9.9311e-15 | 4.9421e-15 | 0 | 1.2308e-14 | -3.8945e-15 | -2.6053e-15 | 2.3287e-14 | 3.8945e-15 | 0 | -6.0837e-15 | 4.9421e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.9816e-13 | -142.8673 | 128.239 | 4.9628e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -3.3869e-14 | 19.0761 | -0.30087 | 2.8659e-14 | -17.4596 | 1.9173 | -1.5632e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.7208e-13 | -138.0936 | 121.2196 | 4.9081e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.734e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | 4.5304e-29 | -1.3544e-09 | 3.8389e-10 | -2.6053e-15 | 1.3544e-09 | -3.8388e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.9816e-13 | -142.8673 | 128.239 | 4.9081e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.7341e-10 | 1.0337e-09 | -1.3027e-14 | -4.734e-10 | -1.0337e-09 | 6.77e-29 | -1.3544e-09 | 3.8389e-10 | -5.2106e-15 | 1.3544e-09 | -3.8389e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.9628e-13 | -142.8673 | 128.239 | 4.9081e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -9.9311e-15 | 4.9421e-15 | 0 | 1.2308e-14 | -3.8945e-15 | -2.6053e-15 | 2.3287e-14 | 3.8945e-15 | 0 | -6.0837e-15 | 4.9421e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.9816e-13 | -142.8673 | 128.239 | 4.9628e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -4.737e-15 | 26.5997 | -7.1734 | 2.3685e-15 | -16.8865 | 16.8865 | 3.3159e-14 | -0.51586 | 11.9957 | -3.3159e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 7.3239e-13 | -160.7833 | 141.207 | 7.8593e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9754e-28 | -1.4211e-14 | 2.3686e-15 | -1.9493e-28 | 1.4211e-14 | 4.7369e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9643e-13 | -180 | 180 | 7.8593e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3234e-28 | -1.4211e-14 | 2.3686e-15 | -2.3685e-15 | 1.4211e-14 | 4.7369e-15 | -2.3685e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0396e-13 | -180 | 180 | 7.8593e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.737e-15 | -2.3685e-15 | 6.6468e-29 | -2.3685e-15 | 7.1054e-15 | 9.4739e-15 | -4.737e-15 | 1.3418e-25 | -4.737e-15 | 1.1842e-14 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9643e-13 | -180 | 180 | 8.0396e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -4.737e-15 | 26.5997 | -7.1734 | 2.3685e-15 | -16.8865 | 16.8865 | 3.3159e-14 | -0.51586 | 11.9957 | -3.3159e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 7.3239e-13 | -160.7833 | 141.207 | 7.8593e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9754e-28 | -1.4211e-14 | 2.3686e-15 | -1.9493e-28 | 1.4211e-14 | 4.7369e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9643e-13 | -180 | 180 | 7.8593e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3234e-28 | -1.4211e-14 | 2.3686e-15 | -2.3685e-15 | 1.4211e-14 | 4.7369e-15 | -2.3685e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0396e-13 | -180 | 180 | 7.8593e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.737e-15 | -2.3685e-15 | 6.6468e-29 | -2.3685e-15 | 7.1054e-15 | 9.4739e-15 | -4.737e-15 | 1.3418e-25 | -4.737e-15 | 1.1842e-14 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9643e-13 | -180 | 180 | 8.0396e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.1842e-15 | 15.3932 | 0.73601 | -2.3685e-15 | -13.0917 | 1.5655 | 9.4739e-15 | 2.3135 | 11.9328 | -9.4739e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.0585e-13 | -138.1765 | 119.7467 | 3.235e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.7979e-10 | 8.2616e-10 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | -4.737e-15 | -1.0532e-09 | 4.5325e-10 | 2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.2581e-13 | -142.5584 | 131.6989 | 3.235e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.7979e-10 | 8.2616e-10 | 3.5527e-15 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.3052e-13 | -142.5584 | 131.6989 | 3.235e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0404e-29 | 3.5863e-15 | 4.8025e-16 | -2.7326e-29 | -1.8042e-15 | -2.8716e-15 | -7.1054e-15 | -3.9544e-15 | -5.3905e-16 | 4.737e-15 | 3.0855e-15 | -5.4592e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.2581e-13 | -142.5584 | 131.6989 | 3.3052e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.1842e-15 | 15.3932 | 0.73601 | -2.3685e-15 | -13.0917 | 1.5655 | 9.4739e-15 | 2.3135 | 11.9328 | -9.4739e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.0585e-13 | -138.1765 | 119.7467 | 3.235e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.7979e-10 | 8.2616e-10 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | -4.737e-15 | -1.0532e-09 | 4.5325e-10 | 2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.2581e-13 | -142.5584 | 131.6989 | 3.235e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.7979e-10 | 8.2616e-10 | 3.5527e-15 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.3052e-13 | -142.5584 | 131.6989 | 3.235e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0404e-29 | 3.5863e-15 | 4.8025e-16 | -2.7326e-29 | -1.8042e-15 | -2.8716e-15 | -7.1054e-15 | -3.9544e-15 | -5.3905e-16 | 4.737e-15 | 3.0855e-15 | -5.4592e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.2581e-13 | -142.5584 | 131.6989 | 3.3052e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2313 | 0.018001 | 0.018001 | 1.2284 | 0.013751 | 0.013751 | 14.2182 | 0.20786 | 0.20786 | 14.1846 | 0.15879 | 0.15879 | 2.4252 | 0.20665 | -0.18709 | 2.3596e-11 | -0.1505 | 0.15003 | 1.3169 | -0.24523 | -0.28776 | -2.4702e-11 | 0.20312 | 0.23781 | -48.1575 | -96.1658 | -96.1658 | 131.9867 | 83.4148 | 83.4148 | 0.1941 | 1.5428 | 1.6513 | 0 | 1.5921 | 1.7709 | -19.6562 | -146.0454 | 140.8046 | 0 | -150.0494 | 141.1679
Line_1 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0068756 | 0.0068756 | 0.0068756 | 0.02647 | 0.02647 | 0.02647 | 0.079393 | 0.079393 | 0.079393 | 3.8833e-05 | -0.025067 | 0.025029 | -1.9105e-13 | 0.075249 | -0.075016 | 1.5449e-05 | 0.033863 | 0.039673 | -7.5396e-15 | -0.10156 | -0.11891 | 83.3845 | 83.3845 | 83.3845 | -96.5852 | -96.5852 | -96.5852 | 0.0015789 | 1.5917 | 1.7721 | 0 | 1.5921 | 1.7709 | 105.0789 | -150.1043 | 141.1378 | 0 | -150.0494 | 141.1679
Line_2 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0068756 | 0.0068756 | 0.0068756 | 0.02647 | 0.02647 | 0.02647 | 0.079393 | 0.079393 | 0.079393 | 3.8833e-05 | -0.025067 | 0.025029 | -1.9105e-13 | 0.075249 | -0.075016 | 1.5449e-05 | 0.033863 | 0.039673 | -7.5396e-15 | -0.10156 | -0.11891 | 83.3845 | 83.3845 | 83.3845 | -96.5852 | -96.5852 | -96.5852 | 0.0015789 | 1.5917 | 1.7721 | 0 | 1.5921 | 1.7709 | 105.0789 | -150.1043 | 141.1378 | 0 | -150.0494 | 141.1679
Line_3 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0022923 | 0.02647 | 0.02647 | 0.02647 | 0.02647 | 0.02647 | 0.02647 | -3.8833e-05 | 0.025067 | -0.025029 | -3.8833e-05 | 0.025067 | -0.025029 | -1.5449e-05 | -0.033863 | -0.039673 | -1.5449e-05 | -0.033863 | -0.039673 | -96.6155 | -96.6155 | -96.6155 | -96.6155 | -96.6155 | -96.6155 | 0.0015789 | 1.5917 | 1.7721 | 0.0015789 | 1.5917 | 1.7721 | 105.0789 | -150.1043 | 141.1378 | 105.0789 | -150.1043 | 141.1378

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2313 | 0.018001 | 0.018001 | 1.2284 | 0.013751 | 0.013751 | 14.2182 | 0.20786 | 0.20786 | 14.1846 | 0.15879 | 0.15879 | 2.4252 | 0.20665 | -0.18709 | 2.3596e-11 | -0.1505 | 0.15003 | 1.3169 | -0.24523 | -0.28776 | -2.4702e-11 | 0.20312 | 0.23781 | -48.1575 | -96.1658 | -96.1658 | 131.9867 | 83.4148 | 83.4148 | 0.1941 | 1.5428 | 1.6513 | 0 | 1.5921 | 1.7709 | -19.6562 | -146.0454 | 140.8046 | 0 | -150.0494 | 141.1679
Line_1 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0068756 | 0.0068756 | 0.0068756 | 0.02647 | 0.02647 | 0.02647 | 0.079393 | 0.079393 | 0.079393 | 3.8833e-05 | -0.025067 | 0.025029 | -1.9105e-13 | 0.075249 | -0.075016 | 1.5449e-05 | 0.033863 | 0.039673 | -7.5396e-15 | -0.10156 | -0.11891 | 83.3845 | 83.3845 | 83.3845 | -96.5852 | -96.5852 | -96.5852 | 0.0015789 | 1.5917 | 1.7721 | 0 | 1.5921 | 1.7709 | 105.0789 | -150.1043 | 141.1378 | 0 | -150.0494 | 141.1679
Line_2 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0068756 | 0.0068756 | 0.0068756 | 0.02647 | 0.02647 | 0.02647 | 0.079393 | 0.079393 | 0.079393 | 3.8833e-05 | -0.025067 | 0.025029 | -1.9105e-13 | 0.075249 | -0.075016 | 1.5449e-05 | 0.033863 | 0.039673 | -7.5396e-15 | -0.10156 | -0.11891 | 83.3845 | 83.3845 | 83.3845 | -96.5852 | -96.5852 | -96.5852 | 0.0015789 | 1.5917 | 1.7721 | 0 | 1.5921 | 1.7709 | 105.0789 | -150.1043 | 141.1378 | 0 | -150.0494 | 141.1679
Line_3 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0022923 | 0.0022923 | 0.02647 | 0.02647 | 0.02647 | 0.02647 | 0.02647 | 0.02647 | -3.8833e-05 | 0.025067 | -0.025029 | -3.8833e-05 | 0.025067 | -0.025029 | -1.5449e-05 | -0.033863 | -0.039673 | -1.5449e-05 | -0.033863 | -0.039673 | -96.6155 | -96.6155 | -96.6155 | -96.6155 | -96.6155 | -96.6155 | 0.0015789 | 1.5917 | 1.7721 | 0.0015789 | 1.5917 | 1.7721 | 105.0789 | -150.1043 | 141.1378 | 105.0789 | -150.1043 | 141.1378

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73362 | 0.010725 | 0.010725 | 0.73189 | 0.0081929 | 0.0081929 | 8.4712 | 0.12384 | 0.12384 | 8.4511 | 0.094603 | 0.094603 | 3.4964 | 0.12272 | -0.11228 | -2.636 | -0.091269 | 0.088126 | 3.1614 | -0.11151 | -0.13267 | -2.6809 | 0.090515 | 0.10799 | -47.135 | -95.1434 | -95.1434 | 133.0092 | 84.4373 | 84.4373 | 0.55644 | 1.3389 | 1.4034 | 0.44488 | 1.3587 | 1.4733 | -5.0152 | -137.4043 | 134.6141 | -1.5063 | -140.3251 | 135.22
Line_1 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0040964 | 0.0040964 | 0.0040964 | 0.015771 | 0.015771 | 0.015771 | 0.047302 | 0.047302 | 0.047302 | 0.00051378 | -0.015209 | 0.014695 | -0.0014886 | 0.045634 | -0.044063 | -0.0069927 | 0.015086 | 0.018015 | 0.020991 | -0.045257 | -0.053993 | 84.407 | 84.407 | 84.407 | -95.5627 | -95.5627 | -95.5627 | 0.4446 | 1.3584 | 1.4742 | 0.44488 | 1.3587 | 1.4733 | -1.3908 | -140.3615 | 135.2022 | -1.5063 | -140.3251 | 135.22
Line_2 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0040964 | 0.0040964 | 0.0040964 | 0.015771 | 0.015771 | 0.015771 | 0.047302 | 0.047302 | 0.047302 | 0.00051378 | -0.015209 | 0.014695 | -0.0014886 | 0.045634 | -0.044063 | -0.0069927 | 0.015086 | 0.018015 | 0.020991 | -0.045257 | -0.053993 | 84.407 | 84.407 | 84.407 | -95.5627 | -95.5627 | -95.5627 | 0.4446 | 1.3584 | 1.4742 | 0.44488 | 1.3587 | 1.4733 | -1.3908 | -140.3615 | 135.2022 | -1.5063 | -140.3251 | 135.22
Line_3 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0013658 | 0.015771 | 0.015771 | 0.015771 | 0.015771 | 0.015771 | 0.015771 | -0.00051378 | 0.015209 | -0.014695 | -0.00051378 | 0.015209 | -0.014695 | 0.0069927 | -0.015086 | -0.018015 | 0.0069927 | -0.015086 | -0.018015 | -95.593 | -95.593 | -95.593 | -95.593 | -95.593 | -95.593 | 0.4446 | 1.3584 | 1.4742 | 0.4446 | 1.3584 | 1.4742 | -1.3908 | -140.3615 | 135.2022 | -1.3908 | -140.3615 | 135.2022

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73362 | 0.010725 | 0.010725 | 0.73189 | 0.0081929 | 0.0081929 | 8.4712 | 0.12384 | 0.12384 | 8.4511 | 0.094603 | 0.094603 | 3.4964 | 0.12272 | -0.11228 | -2.636 | -0.091269 | 0.088126 | 3.1614 | -0.11151 | -0.13267 | -2.6809 | 0.090515 | 0.10799 | -47.135 | -95.1434 | -95.1434 | 133.0092 | 84.4373 | 84.4373 | 0.55644 | 1.3389 | 1.4034 | 0.44488 | 1.3587 | 1.4733 | -5.0152 | -137.4043 | 134.6141 | -1.5063 | -140.3251 | 135.22
Line_1 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0040964 | 0.0040964 | 0.0040964 | 0.015771 | 0.015771 | 0.015771 | 0.047302 | 0.047302 | 0.047302 | 0.00051378 | -0.015209 | 0.014695 | -0.0014886 | 0.045634 | -0.044063 | -0.0069927 | 0.015086 | 0.018015 | 0.020991 | -0.045257 | -0.053993 | 84.407 | 84.407 | 84.407 | -95.5627 | -95.5627 | -95.5627 | 0.4446 | 1.3584 | 1.4742 | 0.44488 | 1.3587 | 1.4733 | -1.3908 | -140.3615 | 135.2022 | -1.5063 | -140.3251 | 135.22
Line_2 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0040964 | 0.0040964 | 0.0040964 | 0.015771 | 0.015771 | 0.015771 | 0.047302 | 0.047302 | 0.047302 | 0.00051378 | -0.015209 | 0.014695 | -0.0014886 | 0.045634 | -0.044063 | -0.0069927 | 0.015086 | 0.018015 | 0.020991 | -0.045257 | -0.053993 | 84.407 | 84.407 | 84.407 | -95.5627 | -95.5627 | -95.5627 | 0.4446 | 1.3584 | 1.4742 | 0.44488 | 1.3587 | 1.4733 | -1.3908 | -140.3615 | 135.2022 | -1.5063 | -140.3251 | 135.22
Line_3 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0013658 | 0.0013658 | 0.015771 | 0.015771 | 0.015771 | 0.015771 | 0.015771 | 0.015771 | -0.00051378 | 0.015209 | -0.014695 | -0.00051378 | 0.015209 | -0.014695 | 0.0069927 | -0.015086 | -0.018015 | 0.0069927 | -0.015086 | -0.018015 | -95.593 | -95.593 | -95.593 | -95.593 | -95.593 | -95.593 | 0.4446 | 1.3584 | 1.4742 | 0.4446 | 1.3584 | 1.4742 | -1.3908 | -140.3615 | 135.2022 | -1.3908 | -140.3615 | 135.2022

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.013 | 0.01616 | 0.01616 | 1.0106 | 0.012478 | 0.012478 | 11.6966 | 0.1866 | 0.1866 | 11.669 | 0.14409 | 0.14409 | 3.1477 | 0.17551 | -0.14639 | -9.7104e-12 | -0.12447 | 0.12373 | 0.86601 | -0.19108 | -0.22004 | -2.3096e-12 | 0.16848 | 0.1946 | -42.744 | -95.1405 | -95.1405 | 137.4149 | 83.9934 | 83.9934 | 0.27911 | 1.3904 | 1.4163 | 0 | 1.4538 | 1.6004 | -27.3611 | -142.5726 | 141.2237 | 0 | -149.5517 | 141.5445
Line_1 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0062392 | 0.0062392 | 0.0062392 | 0.02402 | 0.02402 | 0.02402 | 0.072044 | 0.072044 | 0.072044 | 6.1395e-05 | -0.020716 | 0.020654 | 2.4276e-14 | 0.062233 | -0.061865 | 1.2721e-05 | 0.028078 | 0.032474 | 5.6641e-14 | -0.084242 | -0.0973 | 83.9353 | 83.9353 | 83.9353 | -96.0066 | -96.0066 | -96.0066 | 0.0026104 | 1.4527 | 1.6023 | 0 | 1.4538 | 1.6004 | 95.6417 | -149.6452 | 141.4775 | 0 | -149.5517 | 141.5445
Line_2 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0062392 | 0.0062392 | 0.0062392 | 0.02402 | 0.02402 | 0.02402 | 0.072044 | 0.072044 | 0.072044 | 6.1395e-05 | -0.020716 | 0.020654 | 2.4276e-14 | 0.062233 | -0.061865 | 1.2721e-05 | 0.028078 | 0.032474 | 5.6641e-14 | -0.084242 | -0.0973 | 83.9353 | 83.9353 | 83.9353 | -96.0066 | -96.0066 | -96.0066 | 0.0026104 | 1.4527 | 1.6023 | 0 | 1.4538 | 1.6004 | 95.6417 | -149.6452 | 141.4775 | 0 | -149.5517 | 141.5445
Line_3 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0020802 | 0.02402 | 0.02402 | 0.02402 | 0.02402 | 0.02402 | 0.02402 | -6.1395e-05 | 0.020716 | -0.020654 | -6.1395e-05 | 0.020716 | -0.020654 | -1.2721e-05 | -0.028078 | -0.032474 | -1.2721e-05 | -0.028078 | -0.032474 | -96.0647 | -96.0647 | -96.0647 | -96.0647 | -96.0647 | -96.0647 | 0.0026104 | 1.4527 | 1.6023 | 0.0026104 | 1.4527 | 1.6023 | 95.6417 | -149.6452 | 141.4775 | 95.6417 | -149.6452 | 141.4775

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.013 | 0.01616 | 0.01616 | 1.0106 | 0.012478 | 0.012478 | 11.6966 | 0.1866 | 0.1866 | 11.669 | 0.14409 | 0.14409 | 3.1477 | 0.17551 | -0.14639 | -9.7104e-12 | -0.12447 | 0.12373 | 0.86601 | -0.19108 | -0.22004 | -2.3096e-12 | 0.16848 | 0.1946 | -42.744 | -95.1405 | -95.1405 | 137.4149 | 83.9934 | 83.9934 | 0.27911 | 1.3904 | 1.4163 | 0 | 1.4538 | 1.6004 | -27.3611 | -142.5726 | 141.2237 | 0 | -149.5517 | 141.5445
Line_1 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0062392 | 0.0062392 | 0.0062392 | 0.02402 | 0.02402 | 0.02402 | 0.072044 | 0.072044 | 0.072044 | 6.1395e-05 | -0.020716 | 0.020654 | 2.4276e-14 | 0.062233 | -0.061865 | 1.2721e-05 | 0.028078 | 0.032474 | 5.6641e-14 | -0.084242 | -0.0973 | 83.9353 | 83.9353 | 83.9353 | -96.0066 | -96.0066 | -96.0066 | 0.0026104 | 1.4527 | 1.6023 | 0 | 1.4538 | 1.6004 | 95.6417 | -149.6452 | 141.4775 | 0 | -149.5517 | 141.5445
Line_2 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0062392 | 0.0062392 | 0.0062392 | 0.02402 | 0.02402 | 0.02402 | 0.072044 | 0.072044 | 0.072044 | 6.1395e-05 | -0.020716 | 0.020654 | 2.4276e-14 | 0.062233 | -0.061865 | 1.2721e-05 | 0.028078 | 0.032474 | 5.6641e-14 | -0.084242 | -0.0973 | 83.9353 | 83.9353 | 83.9353 | -96.0066 | -96.0066 | -96.0066 | 0.0026104 | 1.4527 | 1.6023 | 0 | 1.4538 | 1.6004 | 95.6417 | -149.6452 | 141.4775 | 0 | -149.5517 | 141.5445
Line_3 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0020802 | 0.0020802 | 0.02402 | 0.02402 | 0.02402 | 0.02402 | 0.02402 | 0.02402 | -6.1395e-05 | 0.020716 | -0.020654 | -6.1395e-05 | 0.020716 | -0.020654 | -1.2721e-05 | -0.028078 | -0.032474 | -1.2721e-05 | -0.028078 | -0.032474 | -96.0647 | -96.0647 | -96.0647 | -96.0647 | -96.0647 | -96.0647 | 0.0026104 | 1.4527 | 1.6023 | 0.0026104 | 1.4527 | 1.6023 | 95.6417 | -149.6452 | 141.4775 | 95.6417 | -149.6452 | 141.4775

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62768 | 0.010014 | 0.010014 | 0.6262 | 0.0077322 | 0.0077322 | 7.2479 | 0.11563 | 0.11563 | 7.2308 | 0.089284 | 0.089284 | 3.1345 | 0.10824 | -0.090834 | -1.9268 | -0.07952 | 0.073924 | 2.3082 | -0.089766 | -0.11166 | -1.9657 | 0.076876 | 0.096107 | -43.8807 | -96.2772 | -96.2772 | 136.2782 | 82.8567 | 82.8567 | 0.53707 | 1.2161 | 1.2449 | 0.38067 | 1.2388 | 1.358 | -7.5134 | -135.9477 | 134.5959 | 1.8505 | -141.1748 | 135.2897
Line_1 | 0.001289 | 0.001289 | 0.001289 | 0.0038661 | 0.0038661 | 0.0038661 | 0.014884 | 0.014884 | 0.014884 | 0.044642 | 0.044642 | 0.044642 | 0.00091496 | -0.013246 | 0.012331 | -0.0026566 | 0.03976 | -0.036962 | -0.0055903 | 0.012807 | 0.016039 | 0.016785 | -0.038438 | -0.048053 | 82.7986 | 82.7986 | 82.7986 | -97.1433 | -97.1433 | -97.1433 | 0.38059 | 1.2379 | 1.3592 | 0.38067 | 1.2388 | 1.358 | 2.0938 | -141.2367 | 135.2451 | 1.8505 | -141.1748 | 135.2897
Line_2 | 0.001289 | 0.001289 | 0.001289 | 0.0038661 | 0.0038661 | 0.0038661 | 0.014884 | 0.014884 | 0.014884 | 0.044642 | 0.044642 | 0.044642 | 0.00091496 | -0.013246 | 0.012331 | -0.0026566 | 0.03976 | -0.036962 | -0.0055903 | 0.012807 | 0.016039 | 0.016785 | -0.038438 | -0.048053 | 82.7986 | 82.7986 | 82.7986 | -97.1433 | -97.1433 | -97.1433 | 0.38059 | 1.2379 | 1.3592 | 0.38067 | 1.2388 | 1.358 | 2.0938 | -141.2367 | 135.2451 | 1.8505 | -141.1748 | 135.2897
Line_3 | 0.001289 | 0.001289 | 0.001289 | 0.001289 | 0.001289 | 0.001289 | 0.014884 | 0.014884 | 0.014884 | 0.014884 | 0.014884 | 0.014884 | -0.00091496 | 0.013246 | -0.012331 | -0.00091496 | 0.013246 | -0.012331 | 0.0055903 | -0.012807 | -0.016039 | 0.0055903 | -0.012807 | -0.016039 | -97.2014 | -97.2014 | -97.2014 | -97.2014 | -97.2014 | -97.2014 | 0.38059 | 1.2379 | 1.3592 | 0.38059 | 1.2379 | 1.3592 | 2.0938 | -141.2367 | 135.2451 | 2.0938 | -141.2367 | 135.2451

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62768 | 0.010014 | 0.010014 | 0.6262 | 0.0077322 | 0.0077322 | 7.2479 | 0.11563 | 0.11563 | 7.2308 | 0.089284 | 0.089284 | 3.1345 | 0.10824 | -0.090834 | -1.9268 | -0.07952 | 0.073924 | 2.3082 | -0.089766 | -0.11166 | -1.9657 | 0.076876 | 0.096107 | -43.8807 | -96.2772 | -96.2772 | 136.2782 | 82.8567 | 82.8567 | 0.53707 | 1.2161 | 1.2449 | 0.38067 | 1.2388 | 1.358 | -7.5134 | -135.9477 | 134.5959 | 1.8505 | -141.1748 | 135.2897
Line_1 | 0.001289 | 0.001289 | 0.001289 | 0.0038661 | 0.0038661 | 0.0038661 | 0.014884 | 0.014884 | 0.014884 | 0.044642 | 0.044642 | 0.044642 | 0.00091496 | -0.013246 | 0.012331 | -0.0026566 | 0.03976 | -0.036962 | -0.0055903 | 0.012807 | 0.016039 | 0.016785 | -0.038438 | -0.048053 | 82.7986 | 82.7986 | 82.7986 | -97.1433 | -97.1433 | -97.1433 | 0.38059 | 1.2379 | 1.3592 | 0.38067 | 1.2388 | 1.358 | 2.0938 | -141.2367 | 135.2451 | 1.8505 | -141.1748 | 135.2897
Line_2 | 0.001289 | 0.001289 | 0.001289 | 0.0038661 | 0.0038661 | 0.0038661 | 0.014884 | 0.014884 | 0.014884 | 0.044642 | 0.044642 | 0.044642 | 0.00091496 | -0.013246 | 0.012331 | -0.0026566 | 0.03976 | -0.036962 | -0.0055903 | 0.012807 | 0.016039 | 0.016785 | -0.038438 | -0.048053 | 82.7986 | 82.7986 | 82.7986 | -97.1433 | -97.1433 | -97.1433 | 0.38059 | 1.2379 | 1.3592 | 0.38067 | 1.2388 | 1.358 | 2.0938 | -141.2367 | 135.2451 | 1.8505 | -141.1748 | 135.2897
Line_3 | 0.001289 | 0.001289 | 0.001289 | 0.001289 | 0.001289 | 0.001289 | 0.014884 | 0.014884 | 0.014884 | 0.014884 | 0.014884 | 0.014884 | -0.00091496 | 0.013246 | -0.012331 | -0.00091496 | 0.013246 | -0.012331 | 0.0055903 | -0.012807 | -0.016039 | 0.0055903 | -0.012807 | -0.016039 | -97.2014 | -97.2014 | -97.2014 | -97.2014 | -97.2014 | -97.2014 | 0.38059 | 1.2379 | 1.3592 | 0.38059 | 1.2379 | 1.3592 | 2.0938 | -141.2367 | 135.2451 | 2.0938 | -141.2367 | 135.2451

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010228 | 3.9161 | 3.5255 | 0.0078135 | 3.9165 | 3.5248 | 0.11811 | 45.2194 | 40.7092 | 0.090223 | 45.2233 | 40.701 | 0.0025745 | 10.4166 | 4.5535 | -0.00015046 | 7.8872e-11 | 8.8151e-11 | -0.17922 | 7.2127 | 9.3122 | 0.14236 | -6.4397e-11 | 1.7095e-11 | 88.5088 | -172.0849 | 17.0032 | -91.9106 | 7.9501 | -163.0343 | 1.5176 | 0.28019 | 0.25463 | 1.5779 | 0 | 0 | -0.66816 | -137.3851 | 80.9455 | -1.85 | 0 | 0
Line_1 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0039068 | 0.0039068 | 0.0039068 | 0.01504 | 0.01504 | 0.01504 | 0.045111 | 0.045111 | 0.045111 | -2.5078e-05 | 1.2538e-05 | 1.2538e-05 | 7.5229e-05 | -4.9815e-14 | -4.9538e-14 | 0.023737 | 4.9879e-06 | 4.9879e-06 | -0.07118 | -8.8515e-14 | 8.6318e-14 | -91.9408 | -91.9408 | -91.9408 | 88.0895 | 88.0895 | 88.0895 | 1.5782 | 0.00089716 | 0.00089715 | 1.5779 | 0 | 0 | -1.8803 | -70.2464 | -70.2464 | -1.85 | 0 | 0
Line_2 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0039068 | 0.0039068 | 0.0039068 | 0.01504 | 0.01504 | 0.01504 | 0.045111 | 0.045111 | 0.045111 | -2.5078e-05 | 1.2538e-05 | 1.2538e-05 | 7.5229e-05 | -4.9815e-14 | -4.9538e-14 | 0.023737 | 4.9879e-06 | 4.9879e-06 | -0.07118 | -8.8515e-14 | 8.6318e-14 | -91.9408 | -91.9408 | -91.9408 | 88.0895 | 88.0895 | 88.0895 | 1.5782 | 0.00089716 | 0.00089715 | 1.5779 | 0 | 0 | -1.8803 | -70.2464 | -70.2464 | -1.85 | 0 | 0
Line_3 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0013025 | 0.01504 | 0.01504 | 0.01504 | 0.01504 | 0.01504 | 0.01504 | 2.5075e-05 | -1.2538e-05 | -1.2538e-05 | 2.5075e-05 | -1.2538e-05 | -1.2538e-05 | -0.023737 | -4.9879e-06 | -4.9879e-06 | -0.023737 | -4.9879e-06 | -4.9879e-06 | 88.0592 | 88.0592 | 88.0592 | 88.0592 | 88.0592 | 88.0592 | 1.5782 | 0.00089716 | 0.00089715 | 1.5782 | 0.00089716 | 0.00089715 | -1.8803 | -70.2464 | -70.2464 | -1.8803 | -70.2464 | -70.2464

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010228 | 3.9161 | 3.5255 | 0.0078135 | 3.9165 | 3.5248 | 0.11811 | 45.2194 | 40.7092 | 0.090223 | 45.2233 | 40.701 | 0.0025745 | 10.4166 | 4.5535 | -0.00015046 | 7.8872e-11 | 8.8151e-11 | -0.17922 | 7.2127 | 9.3122 | 0.14236 | -6.4397e-11 | 1.7095e-11 | 88.5088 | -172.0849 | 17.0032 | -91.9106 | 7.9501 | -163.0343 | 1.5176 | 0.28019 | 0.25463 | 1.5779 | 0 | 0 | -0.66816 | -137.3851 | 80.9455 | -1.85 | 0 | 0
Line_1 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0039068 | 0.0039068 | 0.0039068 | 0.01504 | 0.01504 | 0.01504 | 0.045111 | 0.045111 | 0.045111 | -2.5078e-05 | 1.2538e-05 | 1.2538e-05 | 7.5229e-05 | -4.9815e-14 | -4.9538e-14 | 0.023737 | 4.9879e-06 | 4.9879e-06 | -0.07118 | -8.8515e-14 | 8.6318e-14 | -91.9408 | -91.9408 | -91.9408 | 88.0895 | 88.0895 | 88.0895 | 1.5782 | 0.00089716 | 0.00089715 | 1.5779 | 0 | 0 | -1.8803 | -70.2464 | -70.2464 | -1.85 | 0 | 0
Line_2 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0039068 | 0.0039068 | 0.0039068 | 0.01504 | 0.01504 | 0.01504 | 0.045111 | 0.045111 | 0.045111 | -2.5078e-05 | 1.2538e-05 | 1.2538e-05 | 7.5229e-05 | -4.9815e-14 | -4.9538e-14 | 0.023737 | 4.9879e-06 | 4.9879e-06 | -0.07118 | -8.8515e-14 | 8.6318e-14 | -91.9408 | -91.9408 | -91.9408 | 88.0895 | 88.0895 | 88.0895 | 1.5782 | 0.00089716 | 0.00089715 | 1.5779 | 0 | 0 | -1.8803 | -70.2464 | -70.2464 | -1.85 | 0 | 0
Line_3 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0013025 | 0.0013025 | 0.01504 | 0.01504 | 0.01504 | 0.01504 | 0.01504 | 0.01504 | 2.5075e-05 | -1.2538e-05 | -1.2538e-05 | 2.5075e-05 | -1.2538e-05 | -1.2538e-05 | -0.023737 | -4.9879e-06 | -4.9879e-06 | -0.023737 | -4.9879e-06 | -4.9879e-06 | 88.0592 | 88.0592 | 88.0592 | 88.0592 | 88.0592 | 88.0592 | 1.5782 | 0.00089716 | 0.00089715 | 1.5782 | 0.00089716 | 0.00089715 | -1.8803 | -70.2464 | -70.2464 | -1.8803 | -70.2464 | -70.2464

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073824 | 1.2043 | 1.1192 | 0.0056394 | 1.205 | 1.1179 | 0.085245 | 13.9056 | 12.9238 | 0.065119 | 13.9139 | 12.9086 | 0.0029971 | 8.392 | 6.7788 | -0.001489 | -7.2442 | -6.2441 | -0.11941 | 7.6244 | 7.5609 | 0.09405 | -7.3053 | -6.2044 | 87.9116 | -156.5709 | 48.4416 | -92.5078 | 23.5048 | -131.6168 | 1.4012 | 0.81538 | 0.78574 | 1.4445 | 0.73942 | 0.68191 | -0.65068 | -114.315 | 96.5634 | -1.6008 | -111.2547 | 93.2001
Line_1 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0028197 | 0.0028197 | 0.0028197 | 0.010855 | 0.010855 | 0.010855 | 0.032559 | 0.032559 | 0.032559 | -0.00024996 | 0.0076087 | -0.0073587 | 0.00074449 | -0.022798 | 0.022092 | 0.015681 | -0.0025731 | -0.00073751 | -0.047025 | 0.0077374 | 0.0022082 | -92.5381 | -92.5381 | -92.5381 | 87.4922 | 87.4922 | 87.4922 | 1.4447 | 0.73991 | 0.68128 | 1.4445 | 0.73942 | 0.68191 | -1.6248 | -111.2222 | 93.1852 | -1.6008 | -111.2547 | 93.2001
Line_2 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0028197 | 0.0028197 | 0.0028197 | 0.010855 | 0.010855 | 0.010855 | 0.032559 | 0.032559 | 0.032559 | -0.00024996 | 0.0076087 | -0.0073587 | 0.00074449 | -0.022798 | 0.022092 | 0.015681 | -0.0025731 | -0.00073751 | -0.047025 | 0.0077374 | 0.0022082 | -92.5381 | -92.5381 | -92.5381 | 87.4922 | 87.4922 | 87.4922 | 1.4447 | 0.73991 | 0.68128 | 1.4445 | 0.73942 | 0.68191 | -1.6248 | -111.2222 | 93.1852 | -1.6008 | -111.2547 | 93.2001
Line_3 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0009401 | 0.010855 | 0.010855 | 0.010855 | 0.010855 | 0.010855 | 0.010855 | 0.00024996 | -0.0076087 | 0.0073587 | 0.00024996 | -0.0076087 | 0.0073587 | -0.015681 | 0.0025731 | 0.00073751 | -0.015681 | 0.0025731 | 0.00073751 | 87.4619 | 87.4619 | 87.4619 | 87.4619 | 87.4619 | 87.4619 | 1.4447 | 0.73991 | 0.68128 | 1.4447 | 0.73991 | 0.68128 | -1.6248 | -111.2222 | 93.1852 | -1.6248 | -111.2222 | 93.1852

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073824 | 1.2043 | 1.1192 | 0.0056394 | 1.205 | 1.1179 | 0.085245 | 13.9056 | 12.9238 | 0.065119 | 13.9139 | 12.9086 | 0.0029971 | 8.392 | 6.7788 | -0.001489 | -7.2442 | -6.2441 | -0.11941 | 7.6244 | 7.5609 | 0.09405 | -7.3053 | -6.2044 | 87.9116 | -156.5709 | 48.4416 | -92.5078 | 23.5048 | -131.6168 | 1.4012 | 0.81538 | 0.78574 | 1.4445 | 0.73942 | 0.68191 | -0.65068 | -114.315 | 96.5634 | -1.6008 | -111.2547 | 93.2001
Line_1 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0028197 | 0.0028197 | 0.0028197 | 0.010855 | 0.010855 | 0.010855 | 0.032559 | 0.032559 | 0.032559 | -0.00024996 | 0.0076087 | -0.0073587 | 0.00074449 | -0.022798 | 0.022092 | 0.015681 | -0.0025731 | -0.00073751 | -0.047025 | 0.0077374 | 0.0022082 | -92.5381 | -92.5381 | -92.5381 | 87.4922 | 87.4922 | 87.4922 | 1.4447 | 0.73991 | 0.68128 | 1.4445 | 0.73942 | 0.68191 | -1.6248 | -111.2222 | 93.1852 | -1.6008 | -111.2547 | 93.2001
Line_2 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0028197 | 0.0028197 | 0.0028197 | 0.010855 | 0.010855 | 0.010855 | 0.032559 | 0.032559 | 0.032559 | -0.00024996 | 0.0076087 | -0.0073587 | 0.00074449 | -0.022798 | 0.022092 | 0.015681 | -0.0025731 | -0.00073751 | -0.047025 | 0.0077374 | 0.0022082 | -92.5381 | -92.5381 | -92.5381 | 87.4922 | 87.4922 | 87.4922 | 1.4447 | 0.73991 | 0.68128 | 1.4445 | 0.73942 | 0.68191 | -1.6248 | -111.2222 | 93.1852 | -1.6008 | -111.2547 | 93.2001
Line_3 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0009401 | 0.0009401 | 0.010855 | 0.010855 | 0.010855 | 0.010855 | 0.010855 | 0.010855 | 0.00024996 | -0.0076087 | 0.0073587 | 0.00024996 | -0.0076087 | 0.0073587 | -0.015681 | 0.0025731 | 0.00073751 | -0.015681 | 0.0025731 | 0.00073751 | 87.4619 | 87.4619 | 87.4619 | 87.4619 | 87.4619 | 87.4619 | 1.4447 | 0.73991 | 0.68128 | 1.4447 | 0.73991 | 0.68128 | -1.6248 | -111.2222 | 93.1852 | -1.6248 | -111.2222 | 93.1852

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009192 | 3.276 | 2.9823 | 0.0070978 | 3.2766 | 2.9815 | 0.10614 | 37.8285 | 34.4368 | 0.081958 | 37.8343 | 34.4273 | 0.0037151 | 13.3757 | 6.9121 | -0.00023838 | -1.4841e-10 | 1.2213e-11 | -0.14257 | 3.4324 | 8.2411 | 0.11747 | -1.3961e-10 | -1.8578e-10 | 89.0773 | -164.0637 | 25.1526 | -91.7888 | 15.9719 | -154.8845 | 1.3437 | 0.36504 | 0.31234 | 1.4333 | 0 | 0 | 0.56997 | -149.6713 | 75.1648 | -1.6725 | 0 | 0
Line_1 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0035489 | 0.0035489 | 0.0035489 | 0.013663 | 0.013663 | 0.013663 | 0.040979 | 0.040979 | 0.040979 | -3.9731e-05 | 1.9864e-05 | 1.9864e-05 | 0.00011919 | -1.9304e-13 | 1.9063e-13 | 0.019587 | 4.116e-06 | 4.116e-06 | -0.058737 | 1.0695e-13 | 1.1303e-13 | -91.8469 | -91.8469 | -91.8469 | 88.2112 | 88.2112 | 88.2112 | 1.4336 | 0.0014848 | 0.0014848 | 1.4333 | 0 | 0 | -1.7307 | -80.1405 | -80.1405 | -1.6725 | 0 | 0
Line_2 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0035489 | 0.0035489 | 0.0035489 | 0.013663 | 0.013663 | 0.013663 | 0.040979 | 0.040979 | 0.040979 | -3.9731e-05 | 1.9864e-05 | 1.9864e-05 | 0.00011919 | -1.9304e-13 | 1.9063e-13 | 0.019587 | 4.116e-06 | 4.116e-06 | -0.058737 | 1.0695e-13 | 1.1303e-13 | -91.8469 | -91.8469 | -91.8469 | 88.2112 | 88.2112 | 88.2112 | 1.4336 | 0.0014848 | 0.0014848 | 1.4333 | 0 | 0 | -1.7307 | -80.1405 | -80.1405 | -1.6725 | 0 | 0
Line_3 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0011832 | 0.013663 | 0.013663 | 0.013663 | 0.013663 | 0.013663 | 0.013663 | 3.9728e-05 | -1.9864e-05 | -1.9864e-05 | 3.9728e-05 | -1.9864e-05 | -1.9864e-05 | -0.019587 | -4.116e-06 | -4.116e-06 | -0.019587 | -4.116e-06 | -4.116e-06 | 88.1531 | 88.1531 | 88.1531 | 88.1531 | 88.1531 | 88.1531 | 1.4336 | 0.0014848 | 0.0014848 | 1.4336 | 0.0014848 | 0.0014848 | -1.7307 | -80.1405 | -80.1405 | -1.7307 | -80.1405 | -80.1405

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.009192 | 3.276 | 2.9823 | 0.0070978 | 3.2766 | 2.9815 | 0.10614 | 37.8285 | 34.4368 | 0.081958 | 37.8343 | 34.4273 | 0.0037151 | 13.3757 | 6.9121 | -0.00023838 | -1.4841e-10 | 1.2213e-11 | -0.14257 | 3.4324 | 8.2411 | 0.11747 | -1.3961e-10 | -1.8578e-10 | 89.0773 | -164.0637 | 25.1526 | -91.7888 | 15.9719 | -154.8845 | 1.3437 | 0.36504 | 0.31234 | 1.4333 | 0 | 0 | 0.56997 | -149.6713 | 75.1648 | -1.6725 | 0 | 0
Line_1 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0035489 | 0.0035489 | 0.0035489 | 0.013663 | 0.013663 | 0.013663 | 0.040979 | 0.040979 | 0.040979 | -3.9731e-05 | 1.9864e-05 | 1.9864e-05 | 0.00011919 | -1.9304e-13 | 1.9063e-13 | 0.019587 | 4.116e-06 | 4.116e-06 | -0.058737 | 1.0695e-13 | 1.1303e-13 | -91.8469 | -91.8469 | -91.8469 | 88.2112 | 88.2112 | 88.2112 | 1.4336 | 0.0014848 | 0.0014848 | 1.4333 | 0 | 0 | -1.7307 | -80.1405 | -80.1405 | -1.6725 | 0 | 0
Line_2 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0035489 | 0.0035489 | 0.0035489 | 0.013663 | 0.013663 | 0.013663 | 0.040979 | 0.040979 | 0.040979 | -3.9731e-05 | 1.9864e-05 | 1.9864e-05 | 0.00011919 | -1.9304e-13 | 1.9063e-13 | 0.019587 | 4.116e-06 | 4.116e-06 | -0.058737 | 1.0695e-13 | 1.1303e-13 | -91.8469 | -91.8469 | -91.8469 | 88.2112 | 88.2112 | 88.2112 | 1.4336 | 0.0014848 | 0.0014848 | 1.4333 | 0 | 0 | -1.7307 | -80.1405 | -80.1405 | -1.6725 | 0 | 0
Line_3 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0011832 | 0.0011832 | 0.013663 | 0.013663 | 0.013663 | 0.013663 | 0.013663 | 0.013663 | 3.9728e-05 | -1.9864e-05 | -1.9864e-05 | 3.9728e-05 | -1.9864e-05 | -1.9864e-05 | -0.019587 | -4.116e-06 | -4.116e-06 | -0.019587 | -4.116e-06 | -4.116e-06 | 88.1531 | 88.1531 | 88.1531 | 88.1531 | 88.1531 | 88.1531 | 1.4336 | 0.0014848 | 0.0014848 | 1.4336 | 0.0014848 | 0.0014848 | -1.7307 | -80.1405 | -80.1405 | -1.7307 | -80.1405 | -80.1405

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068221 | 1.0572 | 0.97282 | 0.0052678 | 1.0579 | 0.97163 | 0.078775 | 12.2076 | 11.2331 | 0.060828 | 12.2154 | 11.2194 | 0.0049347 | 7.1724 | 5.5695 | -0.0025974 | -5.5851 | -4.7149 | -0.098755 | 5.4871 | 6.1051 | 0.080289 | -5.6336 | -4.6845 | 87.2133 | -154.1777 | 49.9261 | -93.6528 | 25.8983 | -130.1332 | 1.2552 | 0.73975 | 0.73567 | 1.3206 | 0.64942 | 0.59241 | 0.073964 | -116.7605 | 97.5529 | -1.7999 | -108.8542 | 94.6814
Line_1 | 0.00087815 | 0.00087815 | 0.00087815 | 0.0026339 | 0.0026339 | 0.0026339 | 0.01014 | 0.01014 | 0.01014 | 0.030414 | 0.030414 | 0.030414 | -0.00043562 | 0.0063674 | -0.0059318 | 0.0012987 | -0.01906 | 0.017827 | 0.013386 | -0.001718 | -0.00087445 | -0.040145 | 0.005179 | 0.0026115 | -93.7108 | -93.7108 | -93.7109 | 86.3472 | 86.3473 | 86.3472 | 1.3208 | 0.6504 | 0.59131 | 1.3206 | 0.64942 | 0.59241 | -1.847 | -108.8103 | 94.6752 | -1.7999 | -108.8542 | 94.6814
Line_2 | 0.00087815 | 0.00087815 | 0.00087815 | 0.0026339 | 0.0026339 | 0.0026339 | 0.01014 | 0.01014 | 0.01014 | 0.030414 | 0.030414 | 0.030414 | -0.00043562 | 0.0063674 | -0.0059318 | 0.0012987 | -0.01906 | 0.017827 | 0.013386 | -0.001718 | -0.00087445 | -0.040145 | 0.005179 | 0.0026115 | -93.7108 | -93.7108 | -93.7109 | 86.3472 | 86.3473 | 86.3472 | 1.3208 | 0.6504 | 0.59131 | 1.3206 | 0.64942 | 0.59241 | -1.847 | -108.8103 | 94.6752 | -1.7999 | -108.8542 | 94.6814
Line_3 | 0.00087815 | 0.00087815 | 0.00087815 | 0.00087815 | 0.00087815 | 0.00087815 | 0.01014 | 0.01014 | 0.01014 | 0.01014 | 0.01014 | 0.01014 | 0.00043562 | -0.0063674 | 0.0059318 | 0.00043562 | -0.0063674 | 0.0059318 | -0.013386 | 0.001718 | 0.00087445 | -0.013386 | 0.001718 | 0.00087445 | 86.2892 | 86.2892 | 86.2892 | 86.2892 | 86.2892 | 86.2892 | 1.3208 | 0.6504 | 0.59131 | 1.3208 | 0.6504 | 0.59131 | -1.847 | -108.8103 | 94.6752 | -1.847 | -108.8103 | 94.6752

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068221 | 1.0572 | 0.97282 | 0.0052678 | 1.0579 | 0.97163 | 0.078775 | 12.2076 | 11.2331 | 0.060828 | 12.2154 | 11.2194 | 0.0049347 | 7.1724 | 5.5695 | -0.0025974 | -5.5851 | -4.7149 | -0.098755 | 5.4871 | 6.1051 | 0.080289 | -5.6336 | -4.6845 | 87.2133 | -154.1777 | 49.9261 | -93.6528 | 25.8983 | -130.1332 | 1.2552 | 0.73975 | 0.73567 | 1.3206 | 0.64942 | 0.59241 | 0.073964 | -116.7605 | 97.5529 | -1.7999 | -108.8542 | 94.6814
Line_1 | 0.00087815 | 0.00087815 | 0.00087815 | 0.0026339 | 0.0026339 | 0.0026339 | 0.01014 | 0.01014 | 0.01014 | 0.030414 | 0.030414 | 0.030414 | -0.00043562 | 0.0063674 | -0.0059318 | 0.0012987 | -0.01906 | 0.017827 | 0.013386 | -0.001718 | -0.00087445 | -0.040145 | 0.005179 | 0.0026115 | -93.7108 | -93.7108 | -93.7109 | 86.3472 | 86.3473 | 86.3472 | 1.3208 | 0.6504 | 0.59131 | 1.3206 | 0.64942 | 0.59241 | -1.847 | -108.8103 | 94.6752 | -1.7999 | -108.8542 | 94.6814
Line_2 | 0.00087815 | 0.00087815 | 0.00087815 | 0.0026339 | 0.0026339 | 0.0026339 | 0.01014 | 0.01014 | 0.01014 | 0.030414 | 0.030414 | 0.030414 | -0.00043562 | 0.0063674 | -0.0059318 | 0.0012987 | -0.01906 | 0.017827 | 0.013386 | -0.001718 | -0.00087445 | -0.040145 | 0.005179 | 0.0026115 | -93.7108 | -93.7108 | -93.7109 | 86.3472 | 86.3473 | 86.3472 | 1.3208 | 0.6504 | 0.59131 | 1.3206 | 0.64942 | 0.59241 | -1.847 | -108.8103 | 94.6752 | -1.7999 | -108.8542 | 94.6814
Line_3 | 0.00087815 | 0.00087815 | 0.00087815 | 0.00087815 | 0.00087815 | 0.00087815 | 0.01014 | 0.01014 | 0.01014 | 0.01014 | 0.01014 | 0.01014 | 0.00043562 | -0.0063674 | 0.0059318 | 0.00043562 | -0.0063674 | 0.0059318 | -0.013386 | 0.001718 | 0.00087445 | -0.013386 | 0.001718 | 0.00087445 | 86.2892 | 86.2892 | 86.2892 | 86.2892 | 86.2892 | 86.2892 | 1.3208 | 0.6504 | 0.59131 | 1.3208 | 0.6504 | 0.59131 | -1.847 | -108.8103 | 94.6752 | -1.847 | -108.8103 | 94.6752