## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -7.2949e-14 | 28.4108 | -10.6145 | 6.2528e-14 | -23.0719 | 15.9534 | -2.6053e-14 | 4.32 | 15.8719 | 3.1264e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 1.0075e-12 | -154.8648 | 140.2623 | 1.044e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 2.6053e-14 | -13.0085 | 13.0085 | -3.1264e-14 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | 1.0421e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 1.0603e-12 | 180 | -180 | 1.044e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.6053e-14 | -7.0974 | 5.911 | -3.6475e-14 | 7.6906 | -5.3178 | 4.8051e-28 | 1.2523 | -2.5984 | 5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 1.0567e-12 | -173.5168 | 172.7598 | 1.044e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -9.6102e-29 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | 5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 1.0603e-12 | 180 | -180 | 1.0567e-12 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -7.2949e-14 | 28.4108 | -10.6145 | 6.2528e-14 | -23.0719 | 15.9534 | -2.6053e-14 | 4.32 | 15.8719 | 3.1264e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 1.0075e-12 | -154.8648 | 140.2623 | 1.044e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 2.6053e-14 | -13.0085 | 13.0085 | -3.1264e-14 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | 1.0421e-14 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 1.0603e-12 | 180 | -180 | 1.044e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.6053e-14 | -7.0974 | 5.911 | -3.6475e-14 | 7.6906 | -5.3178 | 4.8051e-28 | 1.2523 | -2.5984 | 5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 1.0567e-12 | -173.5168 | 172.7598 | 1.044e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -9.6102e-29 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | 5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 1.0603e-12 | 180 | -180 | 1.0567e-12 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.6053e-14 | 17.8002 | 0.06044 | 2.3448e-14 | -16.4209 | 1.3189 | -1.5632e-14 | 3.9189 | 14.5607 | 1.5632e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 4.4559e-13 | -136.625 | 120.7211 | 4.6346e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 1.0421e-14 | -10.3342 | 1.4923 | -1.3027e-14 | 10.9473 | -0.87927 | -5.2106e-15 | -0.87368 | -7.9682 | 2.6053e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 4.7168e-13 | -144.2087 | 131.5665 | 4.6346e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 1.3027e-14 | -5.3204 | 0.59289 | -1.5632e-14 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | -1.2644e-28 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 4.6965e-13 | -142.4927 | 129.0741 | 4.6346e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -2.6053e-15 | -5.1671 | 0.74615 | 2.6053e-15 | 5.3204 | -0.59289 | -2.6053e-15 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 4.7168e-13 | -144.2087 | 131.5665 | 4.6965e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.6053e-14 | 17.8002 | 0.06044 | 2.3448e-14 | -16.4209 | 1.3189 | -1.5632e-14 | 3.9189 | 14.5607 | 1.5632e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 4.4559e-13 | -136.625 | 120.7211 | 4.6346e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 1.0421e-14 | -10.3342 | 1.4923 | -1.3027e-14 | 10.9473 | -0.87927 | -5.2106e-15 | -0.87368 | -7.9682 | 2.6053e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 4.7168e-13 | -144.2087 | 131.5665 | 4.6346e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 1.3027e-14 | -5.3204 | 0.59289 | -1.5632e-14 | 5.4736 | -0.43963 | -2.6053e-15 | -0.61073 | -4.158 | -1.2644e-28 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 4.6965e-13 | -142.4927 | 129.0741 | 4.6346e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -2.6053e-15 | -5.1671 | 0.74615 | 2.6053e-15 | 5.3204 | -0.59289 | -2.6053e-15 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 4.7168e-13 | -144.2087 | 131.5665 | 4.6965e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 4.737e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | 2.1316e-14 | -0.29866 | 13.6553 | -1.8948e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 5.6402e-13 | -153.068 | 126.0805 | 5.9701e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | 3.5527e-15 | -8.8871 | 8.8871 | -1.1842e-15 | 11.9007 | -5.8735 | -1.1842e-14 | 4.6513 | -4.6513 | 7.1054e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 6.0111e-13 | -180 | 180 | 5.9701e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -5.9212e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | -2.3685e-15 | 1.8804 | -2.7709 | 2.3685e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 6.0975e-13 | -172.2653 | 170.7242 | 5.9701e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 7.1054e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | -9.4739e-15 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 6.0111e-13 | -180 | 180 | 6.0975e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 4.737e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | 2.1316e-14 | -0.29866 | 13.6553 | -1.8948e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 5.6402e-13 | -153.068 | 126.0805 | 5.9701e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | 3.5527e-15 | -8.8871 | 8.8871 | -1.1842e-15 | 11.9007 | -5.8735 | -1.1842e-14 | 4.6513 | -4.6513 | 7.1054e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 6.0111e-13 | -180 | 180 | 5.9701e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -5.9212e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | -2.3685e-15 | 1.8804 | -2.7709 | 2.3685e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 6.0975e-13 | -172.2653 | 170.7242 | 5.9701e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 7.1054e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | -9.4739e-15 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 6.0111e-13 | -180 | 180 | 6.0975e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -4.1448e-15 | 14.2512 | 1.4266 | 4.1448e-15 | -12.3717 | 0.45296 | 7.1054e-15 | 1.9064 | 11.2087 | -9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.8311e-13 | -136.4258 | 118.7019 | 3.0026e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -2.9606e-15 | -7.4125 | 1.1373 | 2.9606e-15 | 8.2478 | -0.30197 | -1.5619e-29 | -0.036791 | -6.2383 | -2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 3.0227e-13 | -143.7605 | 136.2873 | 3.0026e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.3291e-15 | -3.9151 | 0.35982 | 5.3291e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 3.0664e-13 | -141.9705 | 132.2872 | 3.0026e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 2.9606e-15 | -3.7062 | 0.56866 | -4.1448e-15 | 3.9151 | -0.35982 | -2.3685e-15 | -0.018396 | -3.1192 | 2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 3.0227e-13 | -143.7605 | 136.2873 | 3.0664e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -4.1448e-15 | 14.2512 | 1.4266 | 4.1448e-15 | -12.3717 | 0.45296 | 7.1054e-15 | 1.9064 | 11.2087 | -9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.8311e-13 | -136.4258 | 118.7019 | 3.0026e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -2.9606e-15 | -7.4125 | 1.1373 | 2.9606e-15 | 8.2478 | -0.30197 | -1.5619e-29 | -0.036791 | -6.2383 | -2.3685e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 3.0227e-13 | -143.7605 | 136.2873 | 3.0026e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.3291e-15 | -3.9151 | 0.35982 | 5.3291e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 3.0664e-13 | -141.9705 | 132.2872 | 3.0026e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 2.9606e-15 | -3.7062 | 0.56866 | -4.1448e-15 | 3.9151 | -0.35982 | -2.3685e-15 | -0.018396 | -3.1192 | 2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 3.0227e-13 | -143.7605 | 136.2873 | 3.0664e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1082 | 0.016797 | 0.016797 | 1.1056 | 0.012972 | 0.012972 | 12.7964 | 0.19395 | 0.19395 | 12.7661 | 0.14979 | 0.14979 | 3.2538 | 0.19278 | -0.17537 | -1.2872 | -0.14348 | 0.14056 | 1.7869 | -0.21878 | -0.25066 | -0.71648 | 0.18187 | 0.20953 | -46.1657 | -94.9499 | -94.9499 | 133.9787 | 84.4385 | 84.4385 | 0.29009 | 1.5034 | 1.5773 | 0.11539 | 1.5466 | 1.6844 | -17.3916 | -143.5642 | 140.0715 | -16.9194 | -147.2909 | 140.5847
Line_1 | 0.73287 | 0.0021954 | 0.0021954 | 0.73567 | 0.0065189 | 0.0065189 | 8.4625 | 0.02535 | 0.02535 | 8.4947 | 0.075274 | 0.075274 | 1.1694e-11 | -0.023694 | 0.024351 | 0.85753 | 0.072259 | -0.070459 | -1.3263e-11 | 0.032271 | 0.037215 | 0.47487 | -0.091279 | -0.10542 | 134.362 | 84.1251 | 84.1251 | -45.8956 | -95.657 | -95.657 | 0 | 1.5793 | 1.7544 | 0.11539 | 1.5466 | 1.6844 | 0 | -149.588 | 140.927 | -16.9194 | -147.2909 | 140.5847
Line_2 | 0.36715 | 0.0022284 | 0.0022284 | 0.36992 | 0.0064531 | 0.0064531 | 4.2395 | 0.025731 | 0.025731 | 4.2715 | 0.074514 | 0.074514 | -0.21145 | -0.024569 | 0.024172 | 0.42962 | 0.071226 | -0.070097 | -0.11953 | 0.031821 | 0.037073 | 0.2416 | -0.090596 | -0.10412 | 134.2253 | 83.8503 | 83.8503 | -46.2711 | -95.465 | -95.465 | 0.057294 | 1.5624 | 1.72 | 0.11539 | 1.5466 | 1.6844 | -16.2949 | -148.4778 | 140.7452 | -16.9194 | -147.2909 | 140.5847
Line_3 | 0.36434 | 0.0021954 | 0.0021954 | 0.36715 | 0.0022284 | 0.0022284 | 4.207 | 0.02535 | 0.02535 | 4.2395 | 0.025731 | 0.025731 | 5.7674e-12 | 0.023694 | -0.024351 | 0.21145 | 0.024569 | -0.024172 | -6.6336e-12 | -0.032271 | -0.037215 | 0.11953 | -0.031821 | -0.037073 | 134.7601 | -95.8749 | -95.8749 | -45.7747 | -96.1497 | -96.1497 | 0 | 1.5793 | 1.7544 | 0.057294 | 1.5624 | 1.72 | 0 | -149.588 | 140.927 | -16.2949 | -148.4778 | 140.7452

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1082 | 0.016797 | 0.016797 | 1.1056 | 0.012972 | 0.012972 | 12.7964 | 0.19395 | 0.19395 | 12.7661 | 0.14979 | 0.14979 | 3.2538 | 0.19278 | -0.17537 | -1.2872 | -0.14348 | 0.14056 | 1.7869 | -0.21878 | -0.25066 | -0.71648 | 0.18187 | 0.20953 | -46.1657 | -94.9499 | -94.9499 | 133.9787 | 84.4385 | 84.4385 | 0.29009 | 1.5034 | 1.5773 | 0.11539 | 1.5466 | 1.6844 | -17.3916 | -143.5642 | 140.0715 | -16.9194 | -147.2909 | 140.5847
Line_1 | 0.73287 | 0.0021954 | 0.0021954 | 0.73567 | 0.0065189 | 0.0065189 | 8.4625 | 0.02535 | 0.02535 | 8.4947 | 0.075274 | 0.075274 | 1.1694e-11 | -0.023694 | 0.024351 | 0.85753 | 0.072259 | -0.070459 | -1.3263e-11 | 0.032271 | 0.037215 | 0.47487 | -0.091279 | -0.10542 | 134.362 | 84.1251 | 84.1251 | -45.8956 | -95.657 | -95.657 | 0 | 1.5793 | 1.7544 | 0.11539 | 1.5466 | 1.6844 | 0 | -149.588 | 140.927 | -16.9194 | -147.2909 | 140.5847
Line_2 | 0.36715 | 0.0022284 | 0.0022284 | 0.36992 | 0.0064531 | 0.0064531 | 4.2395 | 0.025731 | 0.025731 | 4.2715 | 0.074514 | 0.074514 | -0.21145 | -0.024569 | 0.024172 | 0.42962 | 0.071226 | -0.070097 | -0.11953 | 0.031821 | 0.037073 | 0.2416 | -0.090596 | -0.10412 | 134.2253 | 83.8503 | 83.8503 | -46.2711 | -95.465 | -95.465 | 0.057294 | 1.5624 | 1.72 | 0.11539 | 1.5466 | 1.6844 | -16.2949 | -148.4778 | 140.7452 | -16.9194 | -147.2909 | 140.5847
Line_3 | 0.36434 | 0.0021954 | 0.0021954 | 0.36715 | 0.0022284 | 0.0022284 | 4.207 | 0.02535 | 0.02535 | 4.2395 | 0.025731 | 0.025731 | 5.7674e-12 | 0.023694 | -0.024351 | 0.21145 | 0.024569 | -0.024172 | -6.6336e-12 | -0.032271 | -0.037215 | 0.11953 | -0.031821 | -0.037073 | 134.7601 | -95.8749 | -95.8749 | -45.7747 | -96.1497 | -96.1497 | 0 | 1.5793 | 1.7544 | 0.057294 | 1.5624 | 1.72 | 0 | -149.588 | 140.927 | -16.2949 | -148.4778 | 140.7452

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68798 | 0.010428 | 0.010428 | 0.68635 | 0.0080531 | 0.0080531 | 7.9441 | 0.12041 | 0.12041 | 7.9253 | 0.092989 | 0.092989 | 3.57 | 0.11961 | -0.10901 | -2.8125 | -0.090469 | 0.085922 | 3.0586 | -0.10598 | -0.12501 | -2.6346 | 0.086453 | 0.10303 | -45.9738 | -94.7581 | -94.7581 | 134.1706 | 84.6303 | 84.6303 | 0.59176 | 1.3272 | 1.3775 | 0.48626 | 1.3457 | 1.4427 | -5.3854 | -136.3017 | 134.1539 | -2.6999 | -139.0694 | 134.8048
Line_1 | 0.45497 | 0.0013629 | 0.0013629 | 0.45671 | 0.004047 | 0.004047 | 5.2536 | 0.015738 | 0.015738 | 5.2736 | 0.046731 | 0.046731 | -1.546 | -0.015099 | 0.014738 | 1.8753 | 0.045536 | -0.043093 | -1.5531 | 0.015173 | 0.018142 | 1.749 | -0.04337 | -0.05185 | 134.5538 | 84.3169 | 84.3169 | -45.7038 | -95.4652 | -95.4652 | 0.41712 | 1.3602 | 1.4852 | 0.48626 | 1.3457 | 1.4427 | -0.31403 | -140.8237 | 135.2286 | -2.6999 | -139.0694 | 134.8048
Line_2 | 0.22793 | 0.0013834 | 0.0013834 | 0.22965 | 0.0040061 | 0.0040061 | 2.6319 | 0.015974 | 0.015974 | 2.6518 | 0.046259 | 0.046259 | -0.85413 | -0.015539 | 0.014731 | 0.9372 | 0.044933 | -0.042829 | -0.82599 | 0.015012 | 0.018171 | 0.88563 | -0.043083 | -0.051183 | 134.4171 | 84.0421 | 84.0421 | -46.0793 | -95.2732 | -95.2732 | 0.45145 | 1.3526 | 1.4644 | 0.48626 | 1.3457 | 1.4427 | -1.5424 | -139.9692 | 135.0111 | -2.6999 | -139.0694 | 134.8048
Line_3 | 0.22618 | 0.0013629 | 0.0013629 | 0.22793 | 0.0013834 | 0.0013834 | 2.6118 | 0.015738 | 0.015738 | 2.6319 | 0.015974 | 0.015974 | -0.7739 | 0.015099 | -0.014738 | 0.85413 | 0.015539 | -0.014731 | -0.76675 | -0.015173 | -0.018142 | 0.82599 | -0.015012 | -0.018171 | 134.9519 | -95.6831 | -95.6831 | -45.5829 | -95.9579 | -95.9579 | 0.41712 | 1.3602 | 1.4852 | 0.45145 | 1.3526 | 1.4644 | -0.31403 | -140.8237 | 135.2286 | -1.5424 | -139.9692 | 135.0111

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68798 | 0.010428 | 0.010428 | 0.68635 | 0.0080531 | 0.0080531 | 7.9441 | 0.12041 | 0.12041 | 7.9253 | 0.092989 | 0.092989 | 3.57 | 0.11961 | -0.10901 | -2.8125 | -0.090469 | 0.085922 | 3.0586 | -0.10598 | -0.12501 | -2.6346 | 0.086453 | 0.10303 | -45.9738 | -94.7581 | -94.7581 | 134.1706 | 84.6303 | 84.6303 | 0.59176 | 1.3272 | 1.3775 | 0.48626 | 1.3457 | 1.4427 | -5.3854 | -136.3017 | 134.1539 | -2.6999 | -139.0694 | 134.8048
Line_1 | 0.45497 | 0.0013629 | 0.0013629 | 0.45671 | 0.004047 | 0.004047 | 5.2536 | 0.015738 | 0.015738 | 5.2736 | 0.046731 | 0.046731 | -1.546 | -0.015099 | 0.014738 | 1.8753 | 0.045536 | -0.043093 | -1.5531 | 0.015173 | 0.018142 | 1.749 | -0.04337 | -0.05185 | 134.5538 | 84.3169 | 84.3169 | -45.7038 | -95.4652 | -95.4652 | 0.41712 | 1.3602 | 1.4852 | 0.48626 | 1.3457 | 1.4427 | -0.31403 | -140.8237 | 135.2286 | -2.6999 | -139.0694 | 134.8048
Line_2 | 0.22793 | 0.0013834 | 0.0013834 | 0.22965 | 0.0040061 | 0.0040061 | 2.6319 | 0.015974 | 0.015974 | 2.6518 | 0.046259 | 0.046259 | -0.85413 | -0.015539 | 0.014731 | 0.9372 | 0.044933 | -0.042829 | -0.82599 | 0.015012 | 0.018171 | 0.88563 | -0.043083 | -0.051183 | 134.4171 | 84.0421 | 84.0421 | -46.0793 | -95.2732 | -95.2732 | 0.45145 | 1.3526 | 1.4644 | 0.48626 | 1.3457 | 1.4427 | -1.5424 | -139.9692 | 135.0111 | -2.6999 | -139.0694 | 134.8048
Line_3 | 0.22618 | 0.0013629 | 0.0013629 | 0.22793 | 0.0013834 | 0.0013834 | 2.6118 | 0.015738 | 0.015738 | 2.6319 | 0.015974 | 0.015974 | -0.7739 | 0.015099 | -0.014738 | 0.85413 | 0.015539 | -0.014731 | -0.76675 | -0.015173 | -0.018142 | 0.82599 | -0.015012 | -0.018171 | 134.9519 | -95.6831 | -95.6831 | -45.5829 | -95.9579 | -95.9579 | 0.41712 | 1.3602 | 1.4852 | 0.45145 | 1.3526 | 1.4644 | -0.31403 | -140.8237 | 135.2286 | -1.5424 | -139.9692 | 135.0111

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.86732 | 0.014653 | 0.014653 | 0.86528 | 0.011506 | 0.011506 | 10.0149 | 0.16919 | 0.16919 | 9.9913 | 0.13285 | 0.13285 | 3.8253 | 0.1573 | -0.13545 | -1.5142 | -0.11632 | 0.11328 | 1.0735 | -0.16517 | -0.17857 | -0.43637 | 0.14555 | 0.16092 | -38.6307 | -92.6214 | -92.6214 | 141.5285 | 86.1686 | 86.1686 | 0.39671 | 1.3481 | 1.3247 | 0.15772 | 1.4024 | 1.4813 | -22.9552 | -139.0184 | 140.1978 | -22.3954 | -145.2009 | 141.0253
Line_1 | 0.57361 | 0.0019638 | 0.0019638 | 0.57577 | 0.0057985 | 0.0057985 | 6.6235 | 0.022676 | 0.022676 | 6.6484 | 0.066955 | 0.066955 | -4.3988e-12 | -0.019076 | 0.020082 | 1.0084 | 0.058858 | -0.056827 | -6.4782e-13 | 0.026731 | 0.029769 | 0.28769 | -0.073162 | -0.081286 | 141.9963 | 85.5635 | 85.5635 | -38.3193 | -94.0171 | -94.0171 | 0 | 1.4482 | 1.5836 | 0.15772 | 1.4024 | 1.4813 | 0 | -148.9243 | 141.5599 | -22.3954 | -145.2009 | 141.0253
Line_2 | 0.28736 | 0.0020098 | 0.0020098 | 0.28951 | 0.0057071 | 0.0057071 | 3.3181 | 0.023207 | 0.023207 | 3.343 | 0.0659 | 0.0659 | -0.24893 | -0.020265 | 0.01978 | 0.50585 | 0.057458 | -0.056453 | -0.073937 | 0.026105 | 0.029579 | 0.14868 | -0.072386 | -0.079638 | 141.8236 | 85.0415 | 85.0415 | -38.7741 | -93.6427 | -93.6427 | 0.078261 | 1.424 | 1.5333 | 0.15772 | 1.4024 | 1.4813 | -21.634 | -147.1364 | 141.2706 | -22.3954 | -145.2009 | 141.0253
Line_3 | 0.28519 | 0.0019638 | 0.0019638 | 0.28736 | 0.0020098 | 0.0020098 | 3.293 | 0.022676 | 0.022676 | 3.3181 | 0.023207 | 0.023207 | -2.1897e-12 | 0.019076 | -0.020082 | 0.24893 | 0.020265 | -0.01978 | -3.0325e-13 | -0.026731 | -0.029769 | 0.073937 | -0.026105 | -0.029579 | 142.4895 | -94.4365 | -94.4365 | -38.1764 | -94.9585 | -94.9585 | 0 | 1.4482 | 1.5836 | 0.078261 | 1.424 | 1.5333 | 0 | -148.9243 | 141.5599 | -21.634 | -147.1364 | 141.2706

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.86732 | 0.014653 | 0.014653 | 0.86528 | 0.011506 | 0.011506 | 10.0149 | 0.16919 | 0.16919 | 9.9913 | 0.13285 | 0.13285 | 3.8253 | 0.1573 | -0.13545 | -1.5142 | -0.11632 | 0.11328 | 1.0735 | -0.16517 | -0.17857 | -0.43637 | 0.14555 | 0.16092 | -38.6307 | -92.6214 | -92.6214 | 141.5285 | 86.1686 | 86.1686 | 0.39671 | 1.3481 | 1.3247 | 0.15772 | 1.4024 | 1.4813 | -22.9552 | -139.0184 | 140.1978 | -22.3954 | -145.2009 | 141.0253
Line_1 | 0.57361 | 0.0019638 | 0.0019638 | 0.57577 | 0.0057985 | 0.0057985 | 6.6235 | 0.022676 | 0.022676 | 6.6484 | 0.066955 | 0.066955 | -4.3988e-12 | -0.019076 | 0.020082 | 1.0084 | 0.058858 | -0.056827 | -6.4782e-13 | 0.026731 | 0.029769 | 0.28769 | -0.073162 | -0.081286 | 141.9963 | 85.5635 | 85.5635 | -38.3193 | -94.0171 | -94.0171 | 0 | 1.4482 | 1.5836 | 0.15772 | 1.4024 | 1.4813 | 0 | -148.9243 | 141.5599 | -22.3954 | -145.2009 | 141.0253
Line_2 | 0.28736 | 0.0020098 | 0.0020098 | 0.28951 | 0.0057071 | 0.0057071 | 3.3181 | 0.023207 | 0.023207 | 3.343 | 0.0659 | 0.0659 | -0.24893 | -0.020265 | 0.01978 | 0.50585 | 0.057458 | -0.056453 | -0.073937 | 0.026105 | 0.029579 | 0.14868 | -0.072386 | -0.079638 | 141.8236 | 85.0415 | 85.0415 | -38.7741 | -93.6427 | -93.6427 | 0.078261 | 1.424 | 1.5333 | 0.15772 | 1.4024 | 1.4813 | -21.634 | -147.1364 | 141.2706 | -22.3954 | -145.2009 | 141.0253
Line_3 | 0.28519 | 0.0019638 | 0.0019638 | 0.28736 | 0.0020098 | 0.0020098 | 3.293 | 0.022676 | 0.022676 | 3.3181 | 0.023207 | 0.023207 | -2.1897e-12 | 0.019076 | -0.020082 | 0.24893 | 0.020265 | -0.01978 | -3.0325e-13 | -0.026731 | -0.029769 | 0.073937 | -0.026105 | -0.029579 | 142.4895 | -94.4365 | -94.4365 | -38.1764 | -94.9585 | -94.9585 | 0 | 1.4482 | 1.5836 | 0.078261 | 1.424 | 1.5333 | 0 | -148.9243 | 141.5599 | -21.634 | -147.1364 | 141.2706

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5694 | 0.0096196 | 0.0096196 | 0.56806 | 0.0075535 | 0.0075535 | 6.5749 | 0.11108 | 0.11108 | 6.5594 | 0.08722 | 0.08722 | 3.2316 | 0.10378 | -0.08785 | -2.2363 | -0.078604 | 0.071554 | 2.0898 | -0.084441 | -0.1015 | -1.807 | 0.07254 | 0.089112 | -41.0971 | -95.0878 | -95.0878 | 139.0621 | 83.7022 | 83.7022 | 0.58532 | 1.2045 | 1.2085 | 0.43831 | 1.2263 | 1.3103 | -8.2066 | -134.2201 | 134.0362 | -1.998 | -139.0002 | 134.9387
Line_1 | 0.37658 | 0.0012892 | 0.0012892 | 0.378 | 0.0038068 | 0.0038068 | 4.3484 | 0.014887 | 0.014887 | 4.3648 | 0.043957 | 0.043957 | -1.0585 | -0.013099 | 0.012499 | 1.4912 | 0.039733 | -0.035916 | -1.0646 | 0.013144 | 0.016243 | 1.1985 | -0.03643 | -0.045027 | 139.5299 | 83.0971 | 83.0971 | -40.7857 | -96.4835 | -96.4835 | 0.34526 | 1.2465 | 1.3767 | 0.43831 | 1.2263 | 1.3103 | 4.6937 | -142.0017 | 135.518 | -1.998 | -139.0002 | 134.9387
Line_2 | 0.18865 | 0.0013194 | 0.0013194 | 0.19007 | 0.0037468 | 0.0037468 | 2.1784 | 0.015235 | 0.015235 | 2.1947 | 0.043264 | 0.043264 | -0.63597 | -0.01374 | 0.012427 | 0.74501 | 0.038871 | -0.035639 | -0.5668 | 0.012866 | 0.016276 | 0.60854 | -0.03611 | -0.044085 | 139.3572 | 82.575 | 82.575 | -41.2405 | -96.1092 | -96.1092 | 0.39107 | 1.2355 | 1.3441 | 0.43831 | 1.2263 | 1.3103 | 1.0655 | -140.5435 | 135.2139 | -1.998 | -139.0002 | 134.9387
Line_3 | 0.18723 | 0.0012892 | 0.0012892 | 0.18865 | 0.0013194 | 0.0013194 | 2.1619 | 0.014887 | 0.014887 | 2.1784 | 0.015235 | 0.015235 | -0.53082 | 0.013099 | -0.012499 | 0.63597 | 0.01374 | -0.012427 | -0.52475 | -0.013144 | -0.016243 | 0.5668 | -0.012866 | -0.016276 | 140.0231 | -96.9029 | -96.9029 | -40.6428 | -97.4249 | -97.4249 | 0.34526 | 1.2465 | 1.3767 | 0.39107 | 1.2355 | 1.3441 | 4.6937 | -142.0017 | 135.518 | 1.0655 | -140.5435 | 135.2139

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5694 | 0.0096196 | 0.0096196 | 0.56806 | 0.0075535 | 0.0075535 | 6.5749 | 0.11108 | 0.11108 | 6.5594 | 0.08722 | 0.08722 | 3.2316 | 0.10378 | -0.08785 | -2.2363 | -0.078604 | 0.071554 | 2.0898 | -0.084441 | -0.1015 | -1.807 | 0.07254 | 0.089112 | -41.0971 | -95.0878 | -95.0878 | 139.0621 | 83.7022 | 83.7022 | 0.58532 | 1.2045 | 1.2085 | 0.43831 | 1.2263 | 1.3103 | -8.2066 | -134.2201 | 134.0362 | -1.998 | -139.0002 | 134.9387
Line_1 | 0.37658 | 0.0012892 | 0.0012892 | 0.378 | 0.0038068 | 0.0038068 | 4.3484 | 0.014887 | 0.014887 | 4.3648 | 0.043957 | 0.043957 | -1.0585 | -0.013099 | 0.012499 | 1.4912 | 0.039733 | -0.035916 | -1.0646 | 0.013144 | 0.016243 | 1.1985 | -0.03643 | -0.045027 | 139.5299 | 83.0971 | 83.0971 | -40.7857 | -96.4835 | -96.4835 | 0.34526 | 1.2465 | 1.3767 | 0.43831 | 1.2263 | 1.3103 | 4.6937 | -142.0017 | 135.518 | -1.998 | -139.0002 | 134.9387
Line_2 | 0.18865 | 0.0013194 | 0.0013194 | 0.19007 | 0.0037468 | 0.0037468 | 2.1784 | 0.015235 | 0.015235 | 2.1947 | 0.043264 | 0.043264 | -0.63597 | -0.01374 | 0.012427 | 0.74501 | 0.038871 | -0.035639 | -0.5668 | 0.012866 | 0.016276 | 0.60854 | -0.03611 | -0.044085 | 139.3572 | 82.575 | 82.575 | -41.2405 | -96.1092 | -96.1092 | 0.39107 | 1.2355 | 1.3441 | 0.43831 | 1.2263 | 1.3103 | 1.0655 | -140.5435 | 135.2139 | -1.998 | -139.0002 | 134.9387
Line_3 | 0.18723 | 0.0012892 | 0.0012892 | 0.18865 | 0.0013194 | 0.0013194 | 2.1619 | 0.014887 | 0.014887 | 2.1784 | 0.015235 | 0.015235 | -0.53082 | 0.013099 | -0.012499 | 0.63597 | 0.01374 | -0.012427 | -0.52475 | -0.013144 | -0.016243 | 0.5668 | -0.012866 | -0.016276 | 140.0231 | -96.9029 | -96.9029 | -40.6428 | -97.4249 | -97.4249 | 0.34526 | 1.2465 | 1.3767 | 0.39107 | 1.2355 | 1.3441 | 4.6937 | -142.0017 | 135.518 | 1.0655 | -140.5435 | 135.2139

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096327 | 3.382 | 3.05 | 0.0074392 | 3.3824 | 3.0492 | 0.11123 | 39.0522 | 35.2178 | 0.0859 | 39.0566 | 35.2092 | 0.00062463 | 13.0104 | 5.6895 | 0.00052564 | -5.2027 | -2.272 | -0.16459 | 8.7744 | 11.8208 | 0.13187 | -3.5322 | -4.7055 | 89.6302 | -168.163 | 21.6494 | -90.9814 | 11.8736 | -158.3894 | 1.4798 | 0.40184 | 0.3725 | 1.5352 | 0.16101 | 0.14841 | -0.15237 | -134.1668 | 85.9472 | -1.2098 | -133.9531 | 85.8377
Line_1 | 0.001259 | 2.2558 | 2.0314 | 0.0037384 | 2.2552 | 2.0323 | 0.014538 | 26.0472 | 23.4565 | 0.043168 | 26.0408 | 23.4674 | 0.00021599 | 4.7967e-11 | 5.4644e-11 | -0.00015368 | 3.4701 | 1.5126 | 0.022852 | -4.0666e-11 | 9.2596e-12 | -0.066271 | 2.3533 | 3.1371 | -91.2948 | 11.9653 | -158.4858 | 88.9231 | -168.0961 | 21.5788 | 1.572 | 0 | 0 | 1.5352 | 0.16101 | 0.14841 | -1.8363 | 0 | 0 | -1.2098 | -133.9531 | 85.8377
Line_2 | 0.0012779 | 1.1277 | 1.016 | 0.0037007 | 1.1272 | 1.0169 | 0.014756 | 13.0218 | 11.7312 | 0.042732 | 13.0158 | 11.7417 | -1.13e-05 | -0.86708 | -0.37756 | -0.00037196 | 1.7326 | 0.75941 | 0.022927 | -0.59343 | -0.7793 | -0.065601 | 1.179 | 1.5684 | -91.5696 | 11.9333 | -158.4522 | 89.1151 | -168.1869 | 21.6743 | 1.5537 | 0.080689 | 0.073816 | 1.5352 | 0.16101 | 0.14841 | -1.5413 | -133.679 | 85.6984 | -1.2098 | -133.9531 | 85.8377
Line_3 | 0.001259 | 1.1283 | 1.015 | 0.0012779 | 1.1277 | 1.016 | 0.014538 | 13.0286 | 11.7198 | 0.014756 | 13.0218 | 11.7312 | -0.00021599 | 2.3959e-11 | 2.7294e-11 | 1.1297e-05 | 0.86708 | 0.37756 | -0.022852 | -2.038e-11 | 4.6733e-12 | -0.022927 | 0.59343 | 0.7793 | 88.7052 | 12.0587 | -158.5841 | 88.4304 | -168.0667 | 21.5478 | 1.572 | 0 | 0 | 1.5537 | 0.080689 | 0.073816 | -1.8363 | 0 | 0 | -1.5413 | -133.679 | 85.6984

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096327 | 3.382 | 3.05 | 0.0074392 | 3.3824 | 3.0492 | 0.11123 | 39.0522 | 35.2178 | 0.0859 | 39.0566 | 35.2092 | 0.00062463 | 13.0104 | 5.6895 | 0.00052564 | -5.2027 | -2.272 | -0.16459 | 8.7744 | 11.8208 | 0.13187 | -3.5322 | -4.7055 | 89.6302 | -168.163 | 21.6494 | -90.9814 | 11.8736 | -158.3894 | 1.4798 | 0.40184 | 0.3725 | 1.5352 | 0.16101 | 0.14841 | -0.15237 | -134.1668 | 85.9472 | -1.2098 | -133.9531 | 85.8377
Line_1 | 0.001259 | 2.2558 | 2.0314 | 0.0037384 | 2.2552 | 2.0323 | 0.014538 | 26.0472 | 23.4565 | 0.043168 | 26.0408 | 23.4674 | 0.00021599 | 4.7967e-11 | 5.4644e-11 | -0.00015368 | 3.4701 | 1.5126 | 0.022852 | -4.0666e-11 | 9.2596e-12 | -0.066271 | 2.3533 | 3.1371 | -91.2948 | 11.9653 | -158.4858 | 88.9231 | -168.0961 | 21.5788 | 1.572 | 0 | 0 | 1.5352 | 0.16101 | 0.14841 | -1.8363 | 0 | 0 | -1.2098 | -133.9531 | 85.8377
Line_2 | 0.0012779 | 1.1277 | 1.016 | 0.0037007 | 1.1272 | 1.0169 | 0.014756 | 13.0218 | 11.7312 | 0.042732 | 13.0158 | 11.7417 | -1.13e-05 | -0.86708 | -0.37756 | -0.00037196 | 1.7326 | 0.75941 | 0.022927 | -0.59343 | -0.7793 | -0.065601 | 1.179 | 1.5684 | -91.5696 | 11.9333 | -158.4522 | 89.1151 | -168.1869 | 21.6743 | 1.5537 | 0.080689 | 0.073816 | 1.5352 | 0.16101 | 0.14841 | -1.5413 | -133.679 | 85.6984 | -1.2098 | -133.9531 | 85.8377
Line_3 | 0.001259 | 1.1283 | 1.015 | 0.0012779 | 1.1277 | 1.016 | 0.014538 | 13.0286 | 11.7198 | 0.014756 | 13.0218 | 11.7312 | -0.00021599 | 2.3959e-11 | 2.7294e-11 | 1.1297e-05 | 0.86708 | 0.37756 | -0.022852 | -2.038e-11 | 4.6733e-12 | -0.022927 | 0.59343 | 0.7793 | 88.7052 | 12.0587 | -158.5841 | 88.4304 | -168.0667 | 21.5478 | 1.572 | 0 | 0 | 1.5537 | 0.080689 | 0.073816 | -1.8363 | 0 | 0 | -1.5413 | -133.679 | 85.6984

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071372 | 1.1455 | 1.0573 | 0.005512 | 1.1461 | 1.0561 | 0.082414 | 13.2271 | 12.2088 | 0.063647 | 13.2346 | 12.1948 | 0.0021661 | 8.2933 | 6.3372 | -0.0013127 | -7.2556 | -5.8698 | -0.11382 | 7.1235 | 7.5279 | 0.090497 | -6.8195 | -6.3265 | 88.5736 | -155.9877 | 48.5317 | -92.038 | 24.0869 | -131.5275 | 1.3813 | 0.82654 | 0.80599 | 1.422 | 0.75238 | 0.70769 | -0.33615 | -115.3269 | 98.4399 | -1.207 | -112.688 | 95.6174
Line_1 | 0.00093285 | 0.7653 | 0.70196 | 0.00277 | 0.76449 | 0.70337 | 0.010772 | 8.837 | 8.1055 | 0.031985 | 8.8276 | 8.1219 | -0.00016918 | -4.3903 | -3.6949 | 0.0007355 | 4.8444 | 3.9058 | 0.015607 | -4.3999 | -3.6887 | -0.045477 | 4.5435 | 4.2168 | -92.3514 | 24.2714 | -131.6701 | 87.8665 | -155.852 | 48.4253 | 1.449 | 0.70336 | 0.64413 | 1.422 | 0.75238 | 0.70769 | -1.7304 | -110.6662 | 93.2816 | -1.207 | -112.688 | 95.6174
Line_2 | 0.00094686 | 0.38243 | 0.35135 | 0.002742 | 0.38166 | 0.35273 | 0.010933 | 4.416 | 4.0571 | 0.031662 | 4.407 | 4.073 | -0.00031318 | -2.3087 | -1.8996 | 0.00057723 | 2.4112 | 1.9639 | 0.015693 | -2.2371 | -1.9752 | -0.04502 | 2.276 | 2.1098 | -92.6262 | 24.2074 | -131.6211 | 88.0585 | -156.0353 | 48.5665 | 1.4356 | 0.72799 | 0.67546 | 1.422 | 0.75238 | 0.70769 | -1.4829 | -111.6947 | 94.4974 | -1.207 | -112.688 | 95.6174
Line_3 | 0.00093285 | 0.38328 | 0.3499 | 0.00094686 | 0.38243 | 0.35135 | 0.010772 | 4.4257 | 4.0403 | 0.010933 | 4.416 | 4.0571 | 0.00016918 | -2.2059 | -1.8371 | 0.00031318 | 2.3087 | 1.8996 | -0.015607 | -2.1964 | -1.8433 | -0.015693 | 2.2371 | 1.9752 | 87.6486 | 24.4584 | -131.8153 | 87.3738 | -155.7926 | 48.3789 | 1.449 | 0.70336 | 0.64413 | 1.4356 | 0.72799 | 0.67546 | -1.7304 | -110.6662 | 93.2816 | -1.4829 | -111.6947 | 94.4974

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071372 | 1.1455 | 1.0573 | 0.005512 | 1.1461 | 1.0561 | 0.082414 | 13.2271 | 12.2088 | 0.063647 | 13.2346 | 12.1948 | 0.0021661 | 8.2933 | 6.3372 | -0.0013127 | -7.2556 | -5.8698 | -0.11382 | 7.1235 | 7.5279 | 0.090497 | -6.8195 | -6.3265 | 88.5736 | -155.9877 | 48.5317 | -92.038 | 24.0869 | -131.5275 | 1.3813 | 0.82654 | 0.80599 | 1.422 | 0.75238 | 0.70769 | -0.33615 | -115.3269 | 98.4399 | -1.207 | -112.688 | 95.6174
Line_1 | 0.00093285 | 0.7653 | 0.70196 | 0.00277 | 0.76449 | 0.70337 | 0.010772 | 8.837 | 8.1055 | 0.031985 | 8.8276 | 8.1219 | -0.00016918 | -4.3903 | -3.6949 | 0.0007355 | 4.8444 | 3.9058 | 0.015607 | -4.3999 | -3.6887 | -0.045477 | 4.5435 | 4.2168 | -92.3514 | 24.2714 | -131.6701 | 87.8665 | -155.852 | 48.4253 | 1.449 | 0.70336 | 0.64413 | 1.422 | 0.75238 | 0.70769 | -1.7304 | -110.6662 | 93.2816 | -1.207 | -112.688 | 95.6174
Line_2 | 0.00094686 | 0.38243 | 0.35135 | 0.002742 | 0.38166 | 0.35273 | 0.010933 | 4.416 | 4.0571 | 0.031662 | 4.407 | 4.073 | -0.00031318 | -2.3087 | -1.8996 | 0.00057723 | 2.4112 | 1.9639 | 0.015693 | -2.2371 | -1.9752 | -0.04502 | 2.276 | 2.1098 | -92.6262 | 24.2074 | -131.6211 | 88.0585 | -156.0353 | 48.5665 | 1.4356 | 0.72799 | 0.67546 | 1.422 | 0.75238 | 0.70769 | -1.4829 | -111.6947 | 94.4974 | -1.207 | -112.688 | 95.6174
Line_3 | 0.00093285 | 0.38328 | 0.3499 | 0.00094686 | 0.38243 | 0.35135 | 0.010772 | 4.4257 | 4.0403 | 0.010933 | 4.416 | 4.0571 | 0.00016918 | -2.2059 | -1.8371 | 0.00031318 | 2.3087 | 1.8996 | -0.015607 | -2.1964 | -1.8433 | -0.015693 | 2.2371 | 1.9752 | 87.6486 | 24.4584 | -131.8153 | 87.3738 | -155.7926 | 48.3789 | 1.449 | 0.70336 | 0.64413 | 1.4356 | 0.72799 | 0.67546 | -1.7304 | -110.6662 | 93.2816 | -1.4829 | -111.6947 | 94.4974

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0083998 | 2.7287 | 2.5026 | 0.0065957 | 2.7293 | 2.5018 | 0.096993 | 31.5085 | 28.898 | 0.07616 | 31.5147 | 28.8885 | 0.00016348 | 15.3819 | 8.2827 | 0.0010447 | -6.1605 | -3.2993 | -0.12568 | 3.7226 | 9.8804 | 0.10474 | -1.5179 | -3.9245 | 91.2737 | -157.082 | 32.7618 | -89.9363 | 22.9543 | -147.2752 | 1.2957 | 0.50228 | 0.44615 | 1.3753 | 0.20133 | 0.17748 | 1.3483 | -143.4774 | 82.7888 | -0.50773 | -143.2045 | 82.6713
Line_1 | 0.0011258 | 1.8208 | 1.6661 | 0.003324 | 1.8199 | 1.6673 | 0.012999 | 21.0244 | 19.2388 | 0.038383 | 21.0145 | 19.2524 | 0.00033079 | -9.9262e-11 | -4.9493e-12 | -0.00035539 | 4.1085 | 2.1974 | 0.018568 | -7.6185e-11 | -1.147e-10 | -0.052786 | 1.0099 | 2.6167 | -90.5414 | 23.0493 | -147.3701 | 89.878 | -157.0144 | 32.6936 | 1.4286 | 0 | 0 | 1.3753 | 0.20133 | 0.17748 | -1.562 | 0 | 0 | -0.50773 | -143.2045 | 82.6713
Line_2 | 0.0011521 | 0.91014 | 0.83339 | 0.0032717 | 0.90934 | 0.83451 | 0.013303 | 10.5094 | 9.6232 | 0.037778 | 10.5002 | 9.6361 | 2.9317e-06 | -1.0289 | -0.54646 | -0.00068927 | 2.052 | 1.102 | 0.018652 | -0.2591 | -0.64805 | -0.051951 | 0.50797 | 1.3079 | -91.0634 | 23.0156 | -147.3366 | 90.2524 | -157.1082 | 32.7873 | 1.402 | 0.10096 | 0.088089 | 1.3753 | 0.20133 | 0.17748 | -1.0724 | -142.8499 | 82.5249 | -0.50773 | -143.2045 | 82.6713
Line_3 | 0.0011258 | 0.91106 | 0.83214 | 0.0011521 | 0.91014 | 0.83339 | 0.012999 | 10.52 | 9.6087 | 0.013303 | 10.5094 | 9.6232 | -0.0003308 | -4.9732e-11 | -2.3746e-12 | -2.9338e-06 | 1.0289 | 0.54646 | -0.018568 | -3.8037e-11 | -5.7289e-11 | -0.018652 | 0.2591 | 0.64805 | 89.4586 | 23.1466 | -147.4674 | 88.9366 | -156.9844 | 32.6634 | 1.4286 | 0 | 0 | 1.402 | 0.10096 | 0.088089 | -1.562 | 0 | 0 | -1.0724 | -142.8499 | 82.5249

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0083998 | 2.7287 | 2.5026 | 0.0065957 | 2.7293 | 2.5018 | 0.096993 | 31.5085 | 28.898 | 0.07616 | 31.5147 | 28.8885 | 0.00016348 | 15.3819 | 8.2827 | 0.0010447 | -6.1605 | -3.2993 | -0.12568 | 3.7226 | 9.8804 | 0.10474 | -1.5179 | -3.9245 | 91.2737 | -157.082 | 32.7618 | -89.9363 | 22.9543 | -147.2752 | 1.2957 | 0.50228 | 0.44615 | 1.3753 | 0.20133 | 0.17748 | 1.3483 | -143.4774 | 82.7888 | -0.50773 | -143.2045 | 82.6713
Line_1 | 0.0011258 | 1.8208 | 1.6661 | 0.003324 | 1.8199 | 1.6673 | 0.012999 | 21.0244 | 19.2388 | 0.038383 | 21.0145 | 19.2524 | 0.00033079 | -9.9262e-11 | -4.9493e-12 | -0.00035539 | 4.1085 | 2.1974 | 0.018568 | -7.6185e-11 | -1.147e-10 | -0.052786 | 1.0099 | 2.6167 | -90.5414 | 23.0493 | -147.3701 | 89.878 | -157.0144 | 32.6936 | 1.4286 | 0 | 0 | 1.3753 | 0.20133 | 0.17748 | -1.562 | 0 | 0 | -0.50773 | -143.2045 | 82.6713
Line_2 | 0.0011521 | 0.91014 | 0.83339 | 0.0032717 | 0.90934 | 0.83451 | 0.013303 | 10.5094 | 9.6232 | 0.037778 | 10.5002 | 9.6361 | 2.9317e-06 | -1.0289 | -0.54646 | -0.00068927 | 2.052 | 1.102 | 0.018652 | -0.2591 | -0.64805 | -0.051951 | 0.50797 | 1.3079 | -91.0634 | 23.0156 | -147.3366 | 90.2524 | -157.1082 | 32.7873 | 1.402 | 0.10096 | 0.088089 | 1.3753 | 0.20133 | 0.17748 | -1.0724 | -142.8499 | 82.5249 | -0.50773 | -143.2045 | 82.6713
Line_3 | 0.0011258 | 0.91106 | 0.83214 | 0.0011521 | 0.91014 | 0.83339 | 0.012999 | 10.52 | 9.6087 | 0.013303 | 10.5094 | 9.6232 | -0.0003308 | -4.9732e-11 | -2.3746e-12 | -2.9338e-06 | 1.0289 | 0.54646 | -0.018568 | -3.8037e-11 | -5.7289e-11 | -0.018652 | 0.2591 | 0.64805 | 89.4586 | 23.1466 | -147.4674 | 88.9366 | -156.9844 | 32.6634 | 1.4286 | 0 | 0 | 1.402 | 0.10096 | 0.088089 | -1.562 | 0 | 0 | -1.0724 | -142.8499 | 82.5249

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064755 | 0.98822 | 0.9027 | 0.0050847 | 0.98881 | 0.90167 | 0.074773 | 11.411 | 10.4235 | 0.058713 | 11.4177 | 10.4116 | 0.0030495 | 7.1918 | 5.2356 | -0.0019809 | -5.8115 | -4.5201 | -0.091815 | 4.7809 | 6.0132 | 0.07564 | -4.8724 | -4.8181 | 88.7194 | -152.0948 | 50.9654 | -92.4906 | 27.9787 | -129.0942 | 1.2286 | 0.75681 | 0.76491 | 1.2888 | 0.66421 | 0.63453 | 0.62174 | -118.4798 | 99.9195 | -0.99046 | -112.0442 | 97.7333
Line_1 | 0.00086786 | 0.66048 | 0.5991 | 0.0025625 | 0.65962 | 0.60045 | 0.010021 | 7.6265 | 6.9178 | 0.02959 | 7.6166 | 6.9335 | -0.00027159 | -3.2703 | -2.691 | 0.0011218 | 3.8803 | 3.0074 | 0.013316 | -3.2776 | -2.6864 | -0.038117 | 3.2461 | 3.211 | -93.0957 | 28.1676 | -129.2387 | 87.3237 | -151.959 | 50.8581 | 1.3291 | 0.6071 | 0.54966 | 1.2888 | 0.66421 | 0.63453 | -1.9272 | -106.7681 | 95.7123 | -0.99046 | -112.0442 | 97.7333
Line_2 | 0.00088817 | 0.33 | 0.29992 | 0.0025222 | 0.32919 | 0.30122 | 0.010256 | 3.8105 | 3.4632 | 0.029123 | 3.8012 | 3.4781 | -0.00049865 | -1.7881 | -1.4234 | 0.000859 | 1.9312 | 1.5127 | 0.013415 | -1.6327 | -1.473 | -0.037523 | 1.6263 | 1.607 | -93.6177 | 28.1009 | -129.1888 | 87.6981 | -152.1462 | 51.0009 | 1.309 | 0.63545 | 0.59147 | 1.2888 | 0.66421 | 0.63453 | -1.4889 | -109.5017 | 96.7931 | -0.99046 | -112.0442 | 97.7333
Line_3 | 0.00086786 | 0.33092 | 0.2985 | 0.00088817 | 0.33 | 0.29992 | 0.010021 | 3.8211 | 3.4468 | 0.010256 | 3.8105 | 3.4632 | 0.00027159 | -1.644 | -1.3373 | 0.00049865 | 1.7881 | 1.4234 | -0.013316 | -1.6367 | -1.3419 | -0.013415 | 1.6327 | 1.473 | 86.9043 | 28.3603 | -129.3861 | 86.3823 | -151.8991 | 50.8112 | 1.3291 | 0.6071 | 0.54966 | 1.309 | 0.63545 | 0.59147 | -1.9272 | -106.7681 | 95.7123 | -1.4889 | -109.5017 | 96.7931

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064755 | 0.98822 | 0.9027 | 0.0050847 | 0.98881 | 0.90167 | 0.074773 | 11.411 | 10.4235 | 0.058713 | 11.4177 | 10.4116 | 0.0030495 | 7.1918 | 5.2356 | -0.0019809 | -5.8115 | -4.5201 | -0.091815 | 4.7809 | 6.0132 | 0.07564 | -4.8724 | -4.8181 | 88.7194 | -152.0948 | 50.9654 | -92.4906 | 27.9787 | -129.0942 | 1.2286 | 0.75681 | 0.76491 | 1.2888 | 0.66421 | 0.63453 | 0.62174 | -118.4798 | 99.9195 | -0.99046 | -112.0442 | 97.7333
Line_1 | 0.00086786 | 0.66048 | 0.5991 | 0.0025625 | 0.65962 | 0.60045 | 0.010021 | 7.6265 | 6.9178 | 0.02959 | 7.6166 | 6.9335 | -0.00027159 | -3.2703 | -2.691 | 0.0011218 | 3.8803 | 3.0074 | 0.013316 | -3.2776 | -2.6864 | -0.038117 | 3.2461 | 3.211 | -93.0957 | 28.1676 | -129.2387 | 87.3237 | -151.959 | 50.8581 | 1.3291 | 0.6071 | 0.54966 | 1.2888 | 0.66421 | 0.63453 | -1.9272 | -106.7681 | 95.7123 | -0.99046 | -112.0442 | 97.7333
Line_2 | 0.00088817 | 0.33 | 0.29992 | 0.0025222 | 0.32919 | 0.30122 | 0.010256 | 3.8105 | 3.4632 | 0.029123 | 3.8012 | 3.4781 | -0.00049865 | -1.7881 | -1.4234 | 0.000859 | 1.9312 | 1.5127 | 0.013415 | -1.6327 | -1.473 | -0.037523 | 1.6263 | 1.607 | -93.6177 | 28.1009 | -129.1888 | 87.6981 | -152.1462 | 51.0009 | 1.309 | 0.63545 | 0.59147 | 1.2888 | 0.66421 | 0.63453 | -1.4889 | -109.5017 | 96.7931 | -0.99046 | -112.0442 | 97.7333
Line_3 | 0.00086786 | 0.33092 | 0.2985 | 0.00088817 | 0.33 | 0.29992 | 0.010021 | 3.8211 | 3.4468 | 0.010256 | 3.8105 | 3.4632 | 0.00027159 | -1.644 | -1.3373 | 0.00049865 | 1.7881 | 1.4234 | -0.013316 | -1.6367 | -1.3419 | -0.013415 | 1.6327 | 1.473 | 86.9043 | 28.3603 | -129.3861 | 86.3823 | -151.8991 | 50.8112 | 1.3291 | 0.6071 | 0.54966 | 1.309 | 0.63545 | 0.59147 | -1.9272 | -106.7681 | 95.7123 | -1.4889 | -109.5017 | 96.7931