## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.4026e-14 | 3.0551e-15 | 8.2214e-22 | 3.9236e-14 | -3.055e-15 | 1.6443e-21 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.3236e-14 | 5.3295e-15 | 5.2107e-15 | -4.8025e-14 | -5.3294e-15 | -5.2106e-15 | 3.2019e-09 | -3.2019e-09 | 5.2106e-15 | -3.2019e-09 | 3.2019e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2214e-22 | 1.4816e-14 | -1.0185e-15 | -5.2106e-15 | -9.6048e-15 | 1.0186e-15 | -5.2106e-15 | 6.4036e-10 | -6.4035e-10 | 5.2107e-15 | -6.4036e-10 | 6.4034e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.5815e-14 | -4.0733e-15 | 5.2106e-15 | -4.1025e-14 | -6.348e-15 | 8.2214e-22 | 2.5615e-09 | -2.5615e-09 | -8.2214e-22 | -2.5615e-09 | 2.5615e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.4026e-14 | 3.0551e-15 | 8.2214e-22 | 3.9236e-14 | -3.055e-15 | 1.6443e-21 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.3236e-14 | 5.3295e-15 | 5.2107e-15 | -4.8025e-14 | -5.3294e-15 | -5.2106e-15 | 3.2019e-09 | -3.2019e-09 | 5.2106e-15 | -3.2019e-09 | 3.2019e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2214e-22 | 1.4816e-14 | -1.0185e-15 | -5.2106e-15 | -9.6048e-15 | 1.0186e-15 | -5.2106e-15 | 6.4036e-10 | -6.4035e-10 | 5.2107e-15 | -6.4036e-10 | 6.4034e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.5815e-14 | -4.0733e-15 | 5.2106e-15 | -4.1025e-14 | -6.348e-15 | 8.2214e-22 | 2.5615e-09 | -2.5615e-09 | -8.2214e-22 | -2.5615e-09 | 2.5615e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6443e-21 | -2.3603e-14 | 8.2666e-15 | -1.0421e-14 | 3.1419e-14 | -1.3477e-14 | -1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.2813e-14 | 1.0539e-14 | -5.2106e-15 | -3.4997e-14 | -1.5749e-14 | -5.2106e-15 | 3.2019e-09 | -3.2019e-09 | 5.2107e-15 | -3.2019e-09 | 3.2019e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.4815e-14 | 4.1919e-15 | -1.5632e-14 | 3.422e-15 | -1.9824e-14 | -1.0421e-14 | 6.4037e-10 | -6.4036e-10 | 5.2107e-15 | -6.4037e-10 | 6.4036e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 4.1024e-14 | -4.0745e-15 | -8.2214e-22 | -3.0603e-14 | 4.0745e-15 | 2.4664e-21 | 2.5615e-09 | -2.5615e-09 | -5.2106e-15 | -2.5615e-09 | 2.5615e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6443e-21 | -2.3603e-14 | 8.2666e-15 | -1.0421e-14 | 3.1419e-14 | -1.3477e-14 | -1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.2813e-14 | 1.0539e-14 | -5.2106e-15 | -3.4997e-14 | -1.5749e-14 | -5.2106e-15 | 3.2019e-09 | -3.2019e-09 | 5.2107e-15 | -3.2019e-09 | 3.2019e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.4815e-14 | 4.1919e-15 | -1.5632e-14 | 3.422e-15 | -1.9824e-14 | -1.0421e-14 | 6.4037e-10 | -6.4036e-10 | 5.2107e-15 | -6.4037e-10 | 6.4036e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 4.1024e-14 | -4.0745e-15 | -8.2214e-22 | -3.0603e-14 | 4.0745e-15 | 2.4664e-21 | 2.5615e-09 | -2.5615e-09 | -5.2106e-15 | -2.5615e-09 | 2.5615e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 8.9715e-15 | 1.1914e-14 | 2.3685e-15 | -1.8661e-15 | -4.8082e-15 | 3.9611e-21 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -3.8994e-15 | -5.6449e-15 | 7.1054e-15 | 1.1005e-14 | 8.0137e-15 | 4.737e-15 | 2.6462e-09 | -2.6462e-09 | -1.4211e-14 | -2.6462e-09 | 2.6462e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.6748e-16 | 7.6579e-16 | 4.737e-15 | 2.201e-15 | 6.3397e-15 | -9.4739e-15 | 5.2923e-10 | -5.2923e-10 | 4.7369e-15 | -5.2922e-10 | 5.2923e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.6984e-15 | -8.7792e-15 | 2.3684e-15 | 7.6197e-15 | 8.7793e-15 | 1.4211e-14 | 2.1169e-09 | -2.1169e-09 | -1.8948e-14 | -2.117e-09 | 2.1169e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 8.9715e-15 | 1.1914e-14 | 2.3685e-15 | -1.8661e-15 | -4.8082e-15 | 3.9611e-21 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -3.8994e-15 | -5.6449e-15 | 7.1054e-15 | 1.1005e-14 | 8.0137e-15 | 4.737e-15 | 2.6462e-09 | -2.6462e-09 | -1.4211e-14 | -2.6462e-09 | 2.6462e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.6748e-16 | 7.6579e-16 | 4.737e-15 | 2.201e-15 | 6.3397e-15 | -9.4739e-15 | 5.2923e-10 | -5.2923e-10 | 4.7369e-15 | -5.2922e-10 | 5.2923e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.6984e-15 | -8.7792e-15 | 2.3684e-15 | 7.6197e-15 | 8.7793e-15 | 1.4211e-14 | 2.1169e-09 | -2.1169e-09 | -1.8948e-14 | -2.117e-09 | 2.1169e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 5.4196e-15 | 7.1775e-15 | -2.3685e-15 | -1.8668e-15 | -7.1774e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 3.9611e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3684e-15 | -2.7164e-15 | -5.6462e-15 | -4.7369e-15 | 6.2693e-15 | 5.6464e-15 | -1.8948e-14 | 2.6462e-09 | -2.6462e-09 | 4.737e-15 | -2.6462e-09 | 2.6462e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.3855e-15 | 7.6553e-16 | 7.1054e-15 | 6.9382e-15 | 3.9715e-15 | -9.4739e-15 | 5.2922e-10 | -5.2923e-10 | 4.7369e-15 | -5.2923e-10 | 5.2923e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-14 | 4.2217e-15 | -1.6748e-15 | -1.1842e-14 | -6.689e-16 | 6.4119e-15 | -9.4739e-15 | 2.1169e-09 | -2.1169e-09 | 1.9805e-20 | -2.1169e-09 | 2.1169e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 5.4196e-15 | 7.1775e-15 | -2.3685e-15 | -1.8668e-15 | -7.1774e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 3.9611e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3684e-15 | -2.7164e-15 | -5.6462e-15 | -4.7369e-15 | 6.2693e-15 | 5.6464e-15 | -1.8948e-14 | 2.6462e-09 | -2.6462e-09 | 4.737e-15 | -2.6462e-09 | 2.6462e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.3855e-15 | 7.6553e-16 | 7.1054e-15 | 6.9382e-15 | 3.9715e-15 | -9.4739e-15 | 5.2922e-10 | -5.2923e-10 | 4.7369e-15 | -5.2923e-10 | 5.2923e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-14 | 4.2217e-15 | -1.6748e-15 | -1.1842e-14 | -6.689e-16 | 6.4119e-15 | -9.4739e-15 | 2.1169e-09 | -2.1169e-09 | 1.9805e-20 | -2.1169e-09 | 2.1169e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3726e-19 | -1.5243e-14 | 3.9619e-15 | -8.4149e-19 | -2.0848e-12 | 2.0848e-12 | 2.9127e-19 | 1.9211e-09 | -1.9211e-09 | -2.6222e-19 | 8.2806e-13 | -8.1227e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1815e-19 | -5.0513e-13 | 4.9385e-13 | 1.2622e-18 | 1.7173e-12 | -1.7083e-12 | 2.6018e-19 | 9.6076e-10 | -9.6076e-10 | 3.9311e-19 | 9.599e-10 | -9.5988e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4846e-19 | -1.191e-12 | 1.1798e-12 | 1.4025e-19 | 3.8159e-13 | -3.6354e-13 | -9.0759e-20 | 9.6104e-10 | -9.6105e-10 | 4.371e-20 | 9.6043e-10 | -9.6042e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7846e-19 | 5.2824e-13 | -5.2599e-13 | 8.1304e-19 | 1.1961e-12 | -1.2029e-12 | 2.1289e-19 | 9.6035e-10 | -9.6036e-10 | 2.1156e-19 | 9.601e-10 | -9.6009e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3726e-19 | -1.5243e-14 | 3.9619e-15 | -8.4149e-19 | -2.0848e-12 | 2.0848e-12 | 2.9127e-19 | 1.9211e-09 | -1.9211e-09 | -2.6222e-19 | 8.2806e-13 | -8.1227e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1815e-19 | -5.0513e-13 | 4.9385e-13 | 1.2622e-18 | 1.7173e-12 | -1.7083e-12 | 2.6018e-19 | 9.6076e-10 | -9.6076e-10 | 3.9311e-19 | 9.599e-10 | -9.5988e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4846e-19 | -1.191e-12 | 1.1798e-12 | 1.4025e-19 | 3.8159e-13 | -3.6354e-13 | -9.0759e-20 | 9.6104e-10 | -9.6105e-10 | 4.371e-20 | 9.6043e-10 | -9.6042e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7846e-19 | 5.2824e-13 | -5.2599e-13 | 8.1304e-19 | 1.1961e-12 | -1.2029e-12 | 2.1289e-19 | 9.6035e-10 | -9.6036e-10 | 2.1156e-19 | 9.601e-10 | -9.6009e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3975e-18 | -6.2172e-15 | -3.2138e-14 | -6.3307e-18 | -2.0758e-12 | 2.1209e-12 | 3.9515e-18 | 1.9211e-09 | -1.9211e-09 | -5.7554e-18 | 8.4385e-13 | -8.4837e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0284e-17 | -4.9611e-13 | 5.119e-13 | 9.4967e-18 | 1.7173e-12 | -1.7173e-12 | -9.8063e-18 | 9.6076e-10 | -9.6078e-10 | 8.6311e-18 | 9.5992e-10 | -9.5988e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.093e-18 | -1.2001e-12 | 1.2159e-12 | 1.0551e-18 | 3.7256e-13 | -3.9964e-13 | -2.8375e-18 | 9.6104e-10 | -9.6105e-10 | 9.5927e-19 | 9.6042e-10 | -9.6042e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.4143e-18 | 5.3727e-13 | -5.3501e-13 | 7.2177e-18 | 1.1893e-12 | -1.1848e-12 | -8.022e-18 | 9.6035e-10 | -9.6037e-10 | 6.6187e-18 | 9.6012e-10 | -9.6008e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3975e-18 | -6.2172e-15 | -3.2138e-14 | -6.3307e-18 | -2.0758e-12 | 2.1209e-12 | 3.9515e-18 | 1.9211e-09 | -1.9211e-09 | -5.7554e-18 | 8.4385e-13 | -8.4837e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0284e-17 | -4.9611e-13 | 5.119e-13 | 9.4967e-18 | 1.7173e-12 | -1.7173e-12 | -9.8063e-18 | 9.6076e-10 | -9.6078e-10 | 8.6311e-18 | 9.5992e-10 | -9.5988e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.093e-18 | -1.2001e-12 | 1.2159e-12 | 1.0551e-18 | 3.7256e-13 | -3.9964e-13 | -2.8375e-18 | 9.6104e-10 | -9.6105e-10 | 9.5927e-19 | 9.6042e-10 | -9.6042e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.4143e-18 | 5.3727e-13 | -5.3501e-13 | 7.2177e-18 | 1.1893e-12 | -1.1848e-12 | -8.022e-18 | 9.6035e-10 | -9.6037e-10 | 6.6187e-18 | 9.6012e-10 | -9.6008e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0563e-18 | -5.0729e-15 | -5.5023e-17 | -1.1648e-18 | -3.3229e-12 | 3.3229e-12 | 3.0993e-19 | 1.5877e-09 | -1.5877e-09 | -3.2167e-19 | 6.5431e-13 | -7.0149e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3829e-20 | -8.1531e-13 | 8.1839e-13 | 1.7472e-18 | 2.7301e-12 | -2.7342e-12 | 2.1935e-20 | 7.94e-10 | -7.9404e-10 | 4.8193e-19 | 7.9331e-10 | -7.9328e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6769e-19 | -1.8901e-12 | 1.8932e-12 | 1.9412e-19 | 5.8461e-13 | -5.8461e-13 | -1.2767e-19 | 7.9423e-10 | -7.9425e-10 | 5.362e-20 | 7.9375e-10 | -7.9373e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7673e-20 | 8.2357e-13 | -8.1639e-13 | 1.0913e-18 | 1.8974e-12 | -1.9056e-12 | 1.7952e-20 | 7.9368e-10 | -7.937e-10 | 2.9736e-19 | 7.9347e-10 | -7.9345e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0563e-18 | -5.0729e-15 | -5.5023e-17 | -1.1648e-18 | -3.3229e-12 | 3.3229e-12 | 3.0993e-19 | 1.5877e-09 | -1.5877e-09 | -3.2167e-19 | 6.5431e-13 | -7.0149e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3829e-20 | -8.1531e-13 | 8.1839e-13 | 1.7472e-18 | 2.7301e-12 | -2.7342e-12 | 2.1935e-20 | 7.94e-10 | -7.9404e-10 | 4.8193e-19 | 7.9331e-10 | -7.9328e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6769e-19 | -1.8901e-12 | 1.8932e-12 | 1.9412e-19 | 5.8461e-13 | -5.8461e-13 | -1.2767e-19 | 7.9423e-10 | -7.9425e-10 | 5.362e-20 | 7.9375e-10 | -7.9373e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7673e-20 | 8.2357e-13 | -8.1639e-13 | 1.0913e-18 | 1.8974e-12 | -1.9056e-12 | 1.7952e-20 | 7.9368e-10 | -7.937e-10 | 2.9736e-19 | 7.9347e-10 | -7.9345e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0813e-18 | -6.0978e-15 | 1.0202e-14 | -5.6997e-18 | -3.3198e-12 | 3.3147e-12 | 3.3349e-18 | 1.5877e-09 | -1.5877e-09 | -4.863e-18 | 6.5431e-13 | -6.8918e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.3519e-18 | -8.2454e-13 | 8.2044e-13 | 8.5514e-18 | 2.7332e-12 | -2.7301e-12 | -8.2977e-18 | 7.94e-10 | -7.9402e-10 | 7.2913e-18 | 7.933e-10 | -7.9329e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.735e-18 | -1.8911e-12 | 1.9034e-12 | 9.4994e-19 | 5.7948e-13 | -5.8871e-13 | -2.3986e-18 | 7.9422e-10 | -7.9426e-10 | 8.1056e-19 | 7.9374e-10 | -7.9372e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8345e-18 | 8.1229e-13 | -8.2049e-13 | 6.3836e-18 | 1.9025e-12 | -1.8912e-12 | -6.7873e-18 | 7.9368e-10 | -7.9368e-10 | 5.5932e-18 | 7.9346e-10 | -7.9347e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0813e-18 | -6.0978e-15 | 1.0202e-14 | -5.6997e-18 | -3.3198e-12 | 3.3147e-12 | 3.3349e-18 | 1.5877e-09 | -1.5877e-09 | -4.863e-18 | 6.5431e-13 | -6.8918e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.3519e-18 | -8.2454e-13 | 8.2044e-13 | 8.5514e-18 | 2.7332e-12 | -2.7301e-12 | -8.2977e-18 | 7.94e-10 | -7.9402e-10 | 7.2913e-18 | 7.933e-10 | -7.9329e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.735e-18 | -1.8911e-12 | 1.9034e-12 | 9.4994e-19 | 5.7948e-13 | -5.8871e-13 | -2.3986e-18 | 7.9422e-10 | -7.9426e-10 | 8.1056e-19 | 7.9374e-10 | -7.9372e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8345e-18 | 8.1229e-13 | -8.2049e-13 | 6.3836e-18 | 1.9025e-12 | -1.8912e-12 | -6.7873e-18 | 7.9368e-10 | -7.9368e-10 | 5.5932e-18 | 7.9346e-10 | -7.9347e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0234e-15 | -1.2888e-14 | -1.4383e-14 | 1.3953e-17 | 1.6489e-15 | 2.8632e-14 | -1.3819e-14 | -2.0387e-14 | -8.1313e-15 | -9.2937e-18 | 4.1738e-14 | -2.4686e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5072e-06 | 5.9799e-06 | 4.0965e-06 | 3.5072e-06 | 5.9799e-06 | 4.0965e-06 | -102.3406 | 117.7003 | -30.5178 | -102.34 | 117.6997 | -30.517
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5079e-15 | -2.8149e-15 | 5.4818e-14 | -1.5229e-15 | -8.3773e-15 | -4.0591e-14 | -6.9117e-15 | 8.0247e-14 | -4.6207e-15 | -6.9017e-15 | -5.889e-14 | -3.7743e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5071e-06 | 5.9799e-06 | 4.0967e-06 | 3.5072e-06 | 5.9799e-06 | 4.0965e-06 | -102.3376 | 117.6977 | -30.5146 | -102.34 | 117.6997 | -30.517
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5036e-15 | -5.0627e-15 | 1.6665e-14 | -1.5141e-15 | -6.1594e-15 | -2.4245e-15 | -6.9147e-15 | 2.459e-14 | -4.2745e-15 | -6.9076e-15 | -3.2359e-15 | -4.111e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5072e-06 | 5.9799e-06 | 4.0966e-06 | 3.5072e-06 | 5.9799e-06 | 4.0965e-06 | -102.3395 | 117.6993 | -30.5166 | -102.34 | 117.6997 | -30.517
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5147e-15 | -3.3603e-15 | 4.5271e-14 | -1.5194e-15 | -7.8258e-15 | -3.1048e-14 | -6.9071e-15 | 6.6334e-14 | -4.5408e-15 | -6.904e-15 | -4.4977e-14 | -3.8578e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5071e-06 | 5.9799e-06 | 4.0967e-06 | 3.5072e-06 | 5.9799e-06 | 4.0966e-06 | -102.3376 | 117.6977 | -30.5146 | -102.3395 | 117.6993 | -30.5166

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0234e-15 | -1.2888e-14 | -1.4383e-14 | 1.3953e-17 | 1.6489e-15 | 2.8632e-14 | -1.3819e-14 | -2.0387e-14 | -8.1313e-15 | -9.2937e-18 | 4.1738e-14 | -2.4686e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5072e-06 | 5.9799e-06 | 4.0965e-06 | 3.5072e-06 | 5.9799e-06 | 4.0965e-06 | -102.3406 | 117.7003 | -30.5178 | -102.34 | 117.6997 | -30.517
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5079e-15 | -2.8149e-15 | 5.4818e-14 | -1.5229e-15 | -8.3773e-15 | -4.0591e-14 | -6.9117e-15 | 8.0247e-14 | -4.6207e-15 | -6.9017e-15 | -5.889e-14 | -3.7743e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5071e-06 | 5.9799e-06 | 4.0967e-06 | 3.5072e-06 | 5.9799e-06 | 4.0965e-06 | -102.3376 | 117.6977 | -30.5146 | -102.34 | 117.6997 | -30.517
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5036e-15 | -5.0627e-15 | 1.6665e-14 | -1.5141e-15 | -6.1594e-15 | -2.4245e-15 | -6.9147e-15 | 2.459e-14 | -4.2745e-15 | -6.9076e-15 | -3.2359e-15 | -4.111e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5072e-06 | 5.9799e-06 | 4.0966e-06 | 3.5072e-06 | 5.9799e-06 | 4.0965e-06 | -102.3395 | 117.6993 | -30.5166 | -102.34 | 117.6997 | -30.517
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5147e-15 | -3.3603e-15 | 4.5271e-14 | -1.5194e-15 | -7.8258e-15 | -3.1048e-14 | -6.9071e-15 | 6.6334e-14 | -4.5408e-15 | -6.904e-15 | -4.4977e-14 | -3.8578e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5071e-06 | 5.9799e-06 | 4.0967e-06 | 3.5072e-06 | 5.9799e-06 | 4.0966e-06 | -102.3376 | 117.6977 | -30.5146 | -102.3395 | 117.6993 | -30.5166

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0159e-15 | -1.2882e-14 | -1.4381e-14 | 1.3786e-17 | 1.6416e-15 | 2.8625e-14 | -1.3812e-14 | -2.0385e-14 | -8.1257e-15 | -9.247e-18 | 4.1731e-14 | -2.5389e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.505e-06 | 5.9788e-06 | 4.0954e-06 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | -102.318 | 117.71 | -30.5326 | -102.3173 | 117.7093 | -30.5318
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5042e-15 | -2.8281e-15 | 5.4803e-14 | -1.5192e-15 | -8.3657e-15 | -4.0581e-14 | -6.908e-15 | 8.0232e-14 | -4.6338e-15 | -6.8981e-15 | -5.8881e-14 | -3.7628e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.505e-06 | 5.9789e-06 | 4.0957e-06 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | -102.3149 | 117.7074 | -30.5294 | -102.3173 | 117.7093 | -30.5318
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4999e-15 | -5.0658e-15 | 1.6659e-14 | -1.5104e-15 | -6.1578e-15 | -2.425e-15 | -6.9112e-15 | 2.4584e-14 | -4.2777e-15 | -6.9041e-15 | -3.2365e-15 | -4.1094e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | -102.3169 | 117.7089 | -30.5314 | -102.3173 | 117.7093 | -30.5318
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5111e-15 | -3.3711e-15 | 4.5258e-14 | -1.5156e-15 | -7.8167e-15 | -3.1041e-14 | -6.9033e-15 | 6.6322e-14 | -4.5515e-15 | -6.9005e-15 | -4.497e-14 | -3.8486e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.505e-06 | 5.9789e-06 | 4.0957e-06 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | -102.3149 | 117.7074 | -30.5294 | -102.3169 | 117.7089 | -30.5314

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0159e-15 | -1.2882e-14 | -1.4381e-14 | 1.3786e-17 | 1.6416e-15 | 2.8625e-14 | -1.3812e-14 | -2.0385e-14 | -8.1257e-15 | -9.247e-18 | 4.1731e-14 | -2.5389e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.505e-06 | 5.9788e-06 | 4.0954e-06 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | -102.318 | 117.71 | -30.5326 | -102.3173 | 117.7093 | -30.5318
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5042e-15 | -2.8281e-15 | 5.4803e-14 | -1.5192e-15 | -8.3657e-15 | -4.0581e-14 | -6.908e-15 | 8.0232e-14 | -4.6338e-15 | -6.8981e-15 | -5.8881e-14 | -3.7628e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.505e-06 | 5.9789e-06 | 4.0957e-06 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | -102.3149 | 117.7074 | -30.5294 | -102.3173 | 117.7093 | -30.5318
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4999e-15 | -5.0658e-15 | 1.6659e-14 | -1.5104e-15 | -6.1578e-15 | -2.425e-15 | -6.9112e-15 | 2.4584e-14 | -4.2777e-15 | -6.9041e-15 | -3.2365e-15 | -4.1094e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | -102.3169 | 117.7089 | -30.5314 | -102.3173 | 117.7093 | -30.5318
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5111e-15 | -3.3711e-15 | 4.5258e-14 | -1.5156e-15 | -7.8167e-15 | -3.1041e-14 | -6.9033e-15 | 6.6322e-14 | -4.5515e-15 | -6.9005e-15 | -4.497e-14 | -3.8486e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.505e-06 | 5.9789e-06 | 4.0957e-06 | 3.505e-06 | 5.9788e-06 | 4.0955e-06 | -102.3149 | 117.7074 | -30.5294 | -102.3169 | 117.7089 | -30.5314

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6976e-16 | -2.0742e-15 | 6.566e-15 | 1.2772e-17 | 5.9235e-15 | -1.0797e-14 | -6.0257e-15 | 3.245e-15 | 1.081e-15 | -1.8451e-18 | -3.0631e-15 | 4.0587e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0504e-06 | 1.8148e-06 | 1.6465e-06 | 1.0505e-06 | 1.8148e-06 | -86.4885 | 2.5862 | 129.3487 | -86.486 | 2.5888 | 129.3455
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8866e-16 | 1.1799e-14 | -2.0083e-14 | 1.7451e-16 | -7.9476e-15 | 1.5875e-14 | -3.0132e-15 | -5.0301e-15 | 9.3492e-15 | -3.0113e-15 | 5.199e-15 | -4.1972e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6464e-06 | 1.0508e-06 | 1.8146e-06 | 1.6465e-06 | 1.0505e-06 | 1.8148e-06 | -86.4762 | 2.5945 | 129.3357 | -86.486 | 2.5888 | 129.3455
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9237e-16 | 3.8989e-15 | -5.711e-15 | 1.8277e-16 | -5.0471e-17 | 1.4877e-15 | -3.0139e-15 | -9.3208e-16 | 3.9244e-15 | -3.0125e-15 | 1.1093e-15 | 1.219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0505e-06 | 1.8147e-06 | 1.6465e-06 | 1.0505e-06 | 1.8148e-06 | -86.4841 | 2.5899 | 129.3436 | -86.486 | 2.5888 | 129.3455
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.824e-16 | 9.8233e-15 | -1.6482e-14 | 1.7779e-16 | -5.9737e-15 | 1.2277e-14 | -3.0123e-15 | -4.0103e-15 | 7.997e-15 | -3.0118e-15 | 4.1775e-15 | -2.8441e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6464e-06 | 1.0508e-06 | 1.8146e-06 | 1.6465e-06 | 1.0505e-06 | 1.8147e-06 | -86.4762 | 2.5945 | 129.3357 | -86.4841 | 2.5899 | 129.3436

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6976e-16 | -2.0742e-15 | 6.566e-15 | 1.2772e-17 | 5.9235e-15 | -1.0797e-14 | -6.0257e-15 | 3.245e-15 | 1.081e-15 | -1.8451e-18 | -3.0631e-15 | 4.0587e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0504e-06 | 1.8148e-06 | 1.6465e-06 | 1.0505e-06 | 1.8148e-06 | -86.4885 | 2.5862 | 129.3487 | -86.486 | 2.5888 | 129.3455
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8866e-16 | 1.1799e-14 | -2.0083e-14 | 1.7451e-16 | -7.9476e-15 | 1.5875e-14 | -3.0132e-15 | -5.0301e-15 | 9.3492e-15 | -3.0113e-15 | 5.199e-15 | -4.1972e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6464e-06 | 1.0508e-06 | 1.8146e-06 | 1.6465e-06 | 1.0505e-06 | 1.8148e-06 | -86.4762 | 2.5945 | 129.3357 | -86.486 | 2.5888 | 129.3455
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9237e-16 | 3.8989e-15 | -5.711e-15 | 1.8277e-16 | -5.0471e-17 | 1.4877e-15 | -3.0139e-15 | -9.3208e-16 | 3.9244e-15 | -3.0125e-15 | 1.1093e-15 | 1.219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0505e-06 | 1.8147e-06 | 1.6465e-06 | 1.0505e-06 | 1.8148e-06 | -86.4841 | 2.5899 | 129.3436 | -86.486 | 2.5888 | 129.3455
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.824e-16 | 9.8233e-15 | -1.6482e-14 | 1.7779e-16 | -5.9737e-15 | 1.2277e-14 | -3.0123e-15 | -4.0103e-15 | 7.997e-15 | -3.0118e-15 | 4.1775e-15 | -2.8441e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6464e-06 | 1.0508e-06 | 1.8146e-06 | 1.6465e-06 | 1.0505e-06 | 1.8147e-06 | -86.4762 | 2.5945 | 129.3357 | -86.4841 | 2.5899 | 129.3436

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7581e-16 | -2.0694e-15 | 6.5673e-15 | 1.2752e-17 | 5.9175e-15 | -1.0803e-14 | -6.0197e-15 | 3.2463e-15 | 1.0857e-15 | -1.8031e-18 | -3.0692e-15 | 4.0526e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6449e-06 | 1.0499e-06 | 1.8154e-06 | 1.6449e-06 | 1.05e-06 | 1.8153e-06 | -86.4276 | 2.5161 | 129.3874 | -86.4251 | 2.5187 | 129.3843
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9171e-16 | 1.1788e-14 | -2.0095e-14 | 1.7752e-16 | -7.9382e-15 | 1.5883e-14 | -3.0102e-15 | -5.0426e-15 | 9.3386e-15 | -3.0083e-15 | 5.2067e-15 | -4.1878e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6449e-06 | 1.0504e-06 | 1.8151e-06 | 1.6449e-06 | 1.05e-06 | 1.8153e-06 | -86.4153 | 2.5245 | 129.3744 | -86.4251 | 2.5187 | 129.3843
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9539e-16 | 3.8963e-15 | -5.7154e-15 | 1.8579e-16 | -4.9087e-17 | 1.4873e-15 | -3.0109e-15 | -9.3649e-16 | 3.9217e-15 | -3.0095e-15 | 1.1089e-15 | 1.2204e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6449e-06 | 1.0501e-06 | 1.8153e-06 | 1.6449e-06 | 1.05e-06 | 1.8153e-06 | -86.4232 | 2.5198 | 129.3823 | -86.4251 | 2.5187 | 129.3843
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8544e-16 | 9.8146e-15 | -1.6493e-14 | 1.808e-16 | -5.9662e-15 | 1.2282e-14 | -3.0093e-15 | -4.0208e-15 | 7.9883e-15 | -3.0087e-15 | 4.1832e-15 | -2.8367e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6449e-06 | 1.0504e-06 | 1.8151e-06 | 1.6449e-06 | 1.0501e-06 | 1.8153e-06 | -86.4153 | 2.5245 | 129.3744 | -86.4232 | 2.5198 | 129.3823

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7581e-16 | -2.0694e-15 | 6.5673e-15 | 1.2752e-17 | 5.9175e-15 | -1.0803e-14 | -6.0197e-15 | 3.2463e-15 | 1.0857e-15 | -1.8031e-18 | -3.0692e-15 | 4.0526e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6449e-06 | 1.0499e-06 | 1.8154e-06 | 1.6449e-06 | 1.05e-06 | 1.8153e-06 | -86.4276 | 2.5161 | 129.3874 | -86.4251 | 2.5187 | 129.3843
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9171e-16 | 1.1788e-14 | -2.0095e-14 | 1.7752e-16 | -7.9382e-15 | 1.5883e-14 | -3.0102e-15 | -5.0426e-15 | 9.3386e-15 | -3.0083e-15 | 5.2067e-15 | -4.1878e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6449e-06 | 1.0504e-06 | 1.8151e-06 | 1.6449e-06 | 1.05e-06 | 1.8153e-06 | -86.4153 | 2.5245 | 129.3744 | -86.4251 | 2.5187 | 129.3843
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9539e-16 | 3.8963e-15 | -5.7154e-15 | 1.8579e-16 | -4.9087e-17 | 1.4873e-15 | -3.0109e-15 | -9.3649e-16 | 3.9217e-15 | -3.0095e-15 | 1.1089e-15 | 1.2204e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6449e-06 | 1.0501e-06 | 1.8153e-06 | 1.6449e-06 | 1.05e-06 | 1.8153e-06 | -86.4232 | 2.5198 | 129.3823 | -86.4251 | 2.5187 | 129.3843
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8544e-16 | 9.8146e-15 | -1.6493e-14 | 1.808e-16 | -5.9662e-15 | 1.2282e-14 | -3.0093e-15 | -4.0208e-15 | 7.9883e-15 | -3.0087e-15 | 4.1832e-15 | -2.8367e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6449e-06 | 1.0504e-06 | 1.8151e-06 | 1.6449e-06 | 1.0501e-06 | 1.8153e-06 | -86.4153 | 2.5245 | 129.3744 | -86.4232 | 2.5198 | 129.3823