## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7317e-14 | 6.7738e-14 | 3.1264e-14 | 4.1685e-14 | -4.9501e-14 | -3.6474e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.5006e-12 | 180 | -180 | 2.5845e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.5632e-14 | -1.0421e-14 | -5.2106e-15 | 2.3448e-14 | 1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.6068e-12 | -180 | 180 | 2.5845e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.5632e-14 | -2.0842e-14 | -1.0421e-14 | 3.3869e-14 | 1.5632e-14 | -2.3814e-28 | -1.9211e-09 | 1.9212e-09 | -4.7009e-28 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.6185e-12 | -180 | 180 | 2.5845e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.5632e-14 | 1.0421e-14 | -5.2106e-15 | -1.0421e-14 | -5.2106e-15 | -1.0421e-14 | -1.5632e-14 | -1.0319e-24 | 5.2106e-15 | 1.5632e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.6068e-12 | -180 | 180 | 2.6185e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7317e-14 | 6.7738e-14 | 3.1264e-14 | 4.1685e-14 | -4.9501e-14 | -3.6474e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.5006e-12 | 180 | -180 | 2.5845e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.5632e-14 | -1.0421e-14 | -5.2106e-15 | 2.3448e-14 | 1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.6068e-12 | -180 | 180 | 2.5845e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.5632e-14 | -2.0842e-14 | -1.0421e-14 | 3.3869e-14 | 1.5632e-14 | -2.3814e-28 | -1.9211e-09 | 1.9212e-09 | -4.7009e-28 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.6185e-12 | -180 | 180 | 2.5845e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.5632e-14 | 1.0421e-14 | -5.2106e-15 | -1.0421e-14 | -5.2106e-15 | -1.0421e-14 | -1.5632e-14 | -1.0319e-24 | 5.2106e-15 | 1.5632e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.6068e-12 | -180 | 180 | 2.6185e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -9.5544e-10 | -3.075e-09 | 1.3027e-14 | 9.5545e-10 | 3.075e-09 | 7.816e-15 | 4.0277e-09 | -3.5664e-10 | -1.3027e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 6.3337e-13 | -140.8543 | 122.4159 | 6.6448e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.1848e-10 | 1.025e-09 | -7.816e-15 | -3.1846e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1888e-10 | 7.816e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 6.7171e-13 | -140.8543 | 122.4159 | 6.6448e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.1848e-10 | 1.025e-09 | -6.5133e-15 | -3.1847e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1889e-10 | 5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 6.7612e-13 | -140.8543 | 122.4159 | 6.6448e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | -1.1782e-15 | 2.6634e-15 | -3.908e-15 | 6.7705e-15 | -3.5512e-15 | -2.6053e-15 | -3.8146e-15 | -4.1942e-15 | -4.6116e-29 | -3.0555e-15 | 5.5923e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 6.7171e-13 | -140.8543 | 122.4159 | 6.7612e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -9.5544e-10 | -3.075e-09 | 1.3027e-14 | 9.5545e-10 | 3.075e-09 | 7.816e-15 | 4.0277e-09 | -3.5664e-10 | -1.3027e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 6.3337e-13 | -140.8543 | 122.4159 | 6.6448e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.1848e-10 | 1.025e-09 | -7.816e-15 | -3.1846e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1888e-10 | 7.816e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 6.7171e-13 | -140.8543 | 122.4159 | 6.6448e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.1848e-10 | 1.025e-09 | -6.5133e-15 | -3.1847e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1889e-10 | 5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 6.7612e-13 | -140.8543 | 122.4159 | 6.6448e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | -1.1782e-15 | 2.6634e-15 | -3.908e-15 | 6.7705e-15 | -3.5512e-15 | -2.6053e-15 | -3.8146e-15 | -4.1942e-15 | -4.6116e-29 | -3.0555e-15 | 5.5923e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 6.7171e-13 | -140.8543 | 122.4159 | 6.7612e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0479e-28 | 2.4869e-14 | 4.7369e-15 | -2.3685e-15 | -2.3684e-14 | -2.3678e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.7922e-13 | -180 | 180 | 9.9377e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6e-28 | -8.2894e-15 | 3.0474e-19 | -8.2161e-29 | 9.4737e-15 | 2.3682e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.6765e-13 | -180 | 180 | 9.9377e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.3026e-14 | 3.0474e-19 | 7.1054e-15 | 1.4211e-14 | 2.3682e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.806e-13 | -180 | 180 | 9.9377e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.0658e-14 | -2.3685e-15 | -9.4739e-15 | -8.2897e-15 | 2.3685e-15 | 1.2e-28 | -2.6053e-14 | -4.737e-15 | -1.6214e-28 | 1.4211e-14 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.6765e-13 | -180 | 180 | 9.806e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0479e-28 | 2.4869e-14 | 4.7369e-15 | -2.3685e-15 | -2.3684e-14 | -2.3678e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.7922e-13 | -180 | 180 | 9.9377e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6e-28 | -8.2894e-15 | 3.0474e-19 | -8.2161e-29 | 9.4737e-15 | 2.3682e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.6765e-13 | -180 | 180 | 9.9377e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.3026e-14 | 3.0474e-19 | 7.1054e-15 | 1.4211e-14 | 2.3682e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.806e-13 | -180 | 180 | 9.9377e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.0658e-14 | -2.3685e-15 | -9.4739e-15 | -8.2897e-15 | 2.3685e-15 | 1.2e-28 | -2.6053e-14 | -4.737e-15 | -1.6214e-28 | 1.4211e-14 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.6765e-13 | -180 | 180 | 9.806e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | -8.0024e-10 | -2.5674e-09 | 4.4409e-15 | 8.0024e-10 | 2.5674e-09 | 2.3685e-15 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6637e-13 | -141.4824 | 122.8363 | 5.6061e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6676e-10 | 8.5579e-10 | -1.1842e-15 | -2.6675e-10 | -8.5579e-10 | 0 | -1.1338e-09 | 1.1355e-10 | -1.1587e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.4429e-13 | -141.4824 | 122.8363 | 5.6061e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6251e-15 | 2.6675e-10 | 8.558e-10 | 5.6251e-15 | -2.6674e-10 | -8.5579e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.502e-13 | -141.4824 | 122.8363 | 5.6061e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.033e-15 | 3.2013e-15 | 4.5002e-15 | -6.2172e-15 | -6.9376e-15 | -1.2056e-15 | -4.737e-15 | -7.9453e-18 | -1.5061e-15 | 7.1054e-15 | 4.7021e-15 | 1.8681e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.4429e-13 | -141.4824 | 122.8363 | 5.502e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | -8.0024e-10 | -2.5674e-09 | 4.4409e-15 | 8.0024e-10 | 2.5674e-09 | 2.3685e-15 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6637e-13 | -141.4824 | 122.8363 | 5.6061e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6676e-10 | 8.5579e-10 | -1.1842e-15 | -2.6675e-10 | -8.5579e-10 | 0 | -1.1338e-09 | 1.1355e-10 | -1.1587e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.4429e-13 | -141.4824 | 122.8363 | 5.6061e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6251e-15 | 2.6675e-10 | 8.558e-10 | 5.6251e-15 | -2.6674e-10 | -8.5579e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.502e-13 | -141.4824 | 122.8363 | 5.6061e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.033e-15 | 3.2013e-15 | 4.5002e-15 | -6.2172e-15 | -6.9376e-15 | -1.2056e-15 | -4.737e-15 | -7.9453e-18 | -1.5061e-15 | 7.1054e-15 | 4.7021e-15 | 1.8681e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.4429e-13 | -141.4824 | 122.8363 | 5.502e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020557 | 0.020557 | 0.020557 | 0.015424 | 0.015424 | 0.015424 | 0.23738 | 0.23738 | 0.23738 | 0.1781 | 0.1781 | 0.1781 | -2.9529e-13 | 0.22818 | -0.224 | 0.0010254 | -0.17044 | 0.16882 | 9.6638e-14 | -0.36471 | -0.37302 | 0.00040812 | 0.27388 | 0.28044 | -91.0518 | -91.0518 | -91.0518 | 88.8933 | 88.8933 | 88.8933 | 0 | 1.8124 | 1.833 | 0.0061968 | 1.8113 | 1.8379 | 0 | -149.02 | 147.9623 | 110.5964 | -149.2128 | 147.8451
Line_1 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0077119 | 0.0077119 | 0.0077119 | 0.029689 | 0.029689 | 0.029689 | 0.08905 | 0.08905 | 0.08905 | 0.00021976 | -0.028387 | 0.028168 | -0.0005127 | 0.085218 | -0.084412 | 8.7561e-05 | 0.045661 | 0.046784 | -0.00020406 | -0.13694 | -0.14022 | 88.8631 | 88.8631 | 88.8631 | -91.1067 | -91.1067 | -91.1067 | 0.0079677 | 1.8109 | 1.8393 | 0.0061968 | 1.8113 | 1.8379 | 110.5877 | -149.2679 | 147.8117 | 110.5964 | -149.2128 | 147.8451
Line_2 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0077119 | 0.0077119 | 0.0077119 | 0.029689 | 0.029689 | 0.029689 | 0.08905 | 0.08905 | 0.08905 | 0.00021976 | -0.028387 | 0.028168 | -0.0005127 | 0.085218 | -0.084412 | 8.7561e-05 | 0.045661 | 0.046784 | -0.00020406 | -0.13694 | -0.14022 | 88.8631 | 88.8631 | 88.8631 | -91.1067 | -91.1067 | -91.1067 | 0.0079677 | 1.8109 | 1.8393 | 0.0061968 | 1.8113 | 1.8379 | 110.5877 | -149.2679 | 147.8117 | 110.5964 | -149.2128 | 147.8451
Line_3 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0025712 | 0.029689 | 0.029689 | 0.029689 | 0.029689 | 0.029689 | 0.029689 | -0.00021976 | 0.028387 | -0.028168 | -0.00021976 | 0.028387 | -0.028168 | -8.7561e-05 | -0.045661 | -0.046784 | -8.7561e-05 | -0.045661 | -0.046784 | -91.1369 | -91.1369 | -91.1369 | -91.1369 | -91.1369 | -91.1369 | 0.0079677 | 1.8109 | 1.8393 | 0.0079677 | 1.8109 | 1.8393 | 110.5877 | -149.2679 | 147.8117 | 110.5877 | -149.2679 | 147.8117

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020557 | 0.020557 | 0.020557 | 0.015424 | 0.015424 | 0.015424 | 0.23738 | 0.23738 | 0.23738 | 0.1781 | 0.1781 | 0.1781 | -2.9529e-13 | 0.22818 | -0.224 | 0.0010254 | -0.17044 | 0.16882 | 9.6638e-14 | -0.36471 | -0.37302 | 0.00040812 | 0.27388 | 0.28044 | -91.0518 | -91.0518 | -91.0518 | 88.8933 | 88.8933 | 88.8933 | 0 | 1.8124 | 1.833 | 0.0061968 | 1.8113 | 1.8379 | 0 | -149.02 | 147.9623 | 110.5964 | -149.2128 | 147.8451
Line_1 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0077119 | 0.0077119 | 0.0077119 | 0.029689 | 0.029689 | 0.029689 | 0.08905 | 0.08905 | 0.08905 | 0.00021976 | -0.028387 | 0.028168 | -0.0005127 | 0.085218 | -0.084412 | 8.7561e-05 | 0.045661 | 0.046784 | -0.00020406 | -0.13694 | -0.14022 | 88.8631 | 88.8631 | 88.8631 | -91.1067 | -91.1067 | -91.1067 | 0.0079677 | 1.8109 | 1.8393 | 0.0061968 | 1.8113 | 1.8379 | 110.5877 | -149.2679 | 147.8117 | 110.5964 | -149.2128 | 147.8451
Line_2 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0077119 | 0.0077119 | 0.0077119 | 0.029689 | 0.029689 | 0.029689 | 0.08905 | 0.08905 | 0.08905 | 0.00021976 | -0.028387 | 0.028168 | -0.0005127 | 0.085218 | -0.084412 | 8.7561e-05 | 0.045661 | 0.046784 | -0.00020406 | -0.13694 | -0.14022 | 88.8631 | 88.8631 | 88.8631 | -91.1067 | -91.1067 | -91.1067 | 0.0079677 | 1.8109 | 1.8393 | 0.0061968 | 1.8113 | 1.8379 | 110.5877 | -149.2679 | 147.8117 | 110.5964 | -149.2128 | 147.8451
Line_3 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0025712 | 0.0025712 | 0.029689 | 0.029689 | 0.029689 | 0.029689 | 0.029689 | 0.029689 | -0.00021976 | 0.028387 | -0.028168 | -0.00021976 | 0.028387 | -0.028168 | -8.7561e-05 | -0.045661 | -0.046784 | -8.7561e-05 | -0.045661 | -0.046784 | -91.1369 | -91.1369 | -91.1369 | -91.1369 | -91.1369 | -91.1369 | 0.0079677 | 1.8109 | 1.8393 | 0.0079677 | 1.8109 | 1.8393 | 110.5877 | -149.2679 | 147.8117 | 110.5877 | -149.2679 | 147.8117

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016544 | 0.016544 | 0.016544 | 0.012413 | 0.012413 | 0.012413 | 0.19103 | 0.19103 | 0.19103 | 0.14333 | 0.14333 | 0.14333 | 0.022869 | 0.17109 | -0.19126 | -0.016465 | -0.1279 | 0.14399 | 0.040123 | -0.27607 | -0.24184 | -0.029856 | 0.20727 | 0.18185 | -84.603 | -84.603 | -84.603 | 95.3421 | 95.3421 | 95.3421 | 0.24175 | 1.7002 | 1.614 | 0.23788 | 1.6993 | 1.6183 | -24.2848 | -142.8148 | 147.0583 | -23.5343 | -142.9803 | 146.97
Line_1 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0062063 | 0.0062063 | 0.0062063 | 0.023893 | 0.023893 | 0.023893 | 0.071664 | 0.071664 | 0.071664 | -0.0027105 | -0.021308 | 0.024019 | 0.0082325 | 0.063951 | -0.071994 | -0.0049658 | 0.034554 | 0.03034 | 0.014928 | -0.10364 | -0.090925 | 95.3119 | 95.3119 | 95.3119 | -84.6579 | -84.6579 | -84.6579 | 0.23678 | 1.6991 | 1.6196 | 0.23788 | 1.6993 | 1.6183 | -23.3151 | -143.0276 | 146.9448 | -23.5343 | -142.9803 | 146.97
Line_2 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0062063 | 0.0062063 | 0.0062063 | 0.023893 | 0.023893 | 0.023893 | 0.071664 | 0.071664 | 0.071664 | -0.0027105 | -0.021308 | 0.024019 | 0.0082325 | 0.063951 | -0.071994 | -0.0049658 | 0.034554 | 0.03034 | 0.014928 | -0.10364 | -0.090925 | 95.3119 | 95.3119 | 95.3119 | -84.6579 | -84.6579 | -84.6579 | 0.23678 | 1.6991 | 1.6196 | 0.23788 | 1.6993 | 1.6183 | -23.3151 | -143.0276 | 146.9448 | -23.5343 | -142.9803 | 146.97
Line_3 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0020692 | 0.023893 | 0.023893 | 0.023893 | 0.023893 | 0.023893 | 0.023893 | 0.0027105 | 0.021308 | -0.024019 | 0.0027105 | 0.021308 | -0.024019 | 0.0049658 | -0.034554 | -0.03034 | 0.0049658 | -0.034554 | -0.03034 | -84.6881 | -84.6881 | -84.6881 | -84.6881 | -84.6881 | -84.6881 | 0.23678 | 1.6991 | 1.6196 | 0.23678 | 1.6991 | 1.6196 | -23.3151 | -143.0276 | 146.9448 | -23.3151 | -143.0276 | 146.9448

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016544 | 0.016544 | 0.016544 | 0.012413 | 0.012413 | 0.012413 | 0.19103 | 0.19103 | 0.19103 | 0.14333 | 0.14333 | 0.14333 | 0.022869 | 0.17109 | -0.19126 | -0.016465 | -0.1279 | 0.14399 | 0.040123 | -0.27607 | -0.24184 | -0.029856 | 0.20727 | 0.18185 | -84.603 | -84.603 | -84.603 | 95.3421 | 95.3421 | 95.3421 | 0.24175 | 1.7002 | 1.614 | 0.23788 | 1.6993 | 1.6183 | -24.2848 | -142.8148 | 147.0583 | -23.5343 | -142.9803 | 146.97
Line_1 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0062063 | 0.0062063 | 0.0062063 | 0.023893 | 0.023893 | 0.023893 | 0.071664 | 0.071664 | 0.071664 | -0.0027105 | -0.021308 | 0.024019 | 0.0082325 | 0.063951 | -0.071994 | -0.0049658 | 0.034554 | 0.03034 | 0.014928 | -0.10364 | -0.090925 | 95.3119 | 95.3119 | 95.3119 | -84.6579 | -84.6579 | -84.6579 | 0.23678 | 1.6991 | 1.6196 | 0.23788 | 1.6993 | 1.6183 | -23.3151 | -143.0276 | 146.9448 | -23.5343 | -142.9803 | 146.97
Line_2 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0062063 | 0.0062063 | 0.0062063 | 0.023893 | 0.023893 | 0.023893 | 0.071664 | 0.071664 | 0.071664 | -0.0027105 | -0.021308 | 0.024019 | 0.0082325 | 0.063951 | -0.071994 | -0.0049658 | 0.034554 | 0.03034 | 0.014928 | -0.10364 | -0.090925 | 95.3119 | 95.3119 | 95.3119 | -84.6579 | -84.6579 | -84.6579 | 0.23678 | 1.6991 | 1.6196 | 0.23788 | 1.6993 | 1.6183 | -23.3151 | -143.0276 | 146.9448 | -23.5343 | -142.9803 | 146.97
Line_3 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0020692 | 0.0020692 | 0.023893 | 0.023893 | 0.023893 | 0.023893 | 0.023893 | 0.023893 | 0.0027105 | 0.021308 | -0.024019 | 0.0027105 | 0.021308 | -0.024019 | 0.0049658 | -0.034554 | -0.03034 | 0.0049658 | -0.034554 | -0.03034 | -84.6881 | -84.6881 | -84.6881 | -84.6881 | -84.6881 | -84.6881 | 0.23678 | 1.6991 | 1.6196 | 0.23678 | 1.6991 | 1.6196 | -23.3151 | -143.0276 | 146.9448 | -23.3151 | -143.0276 | 146.9448

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018636 | 0.018636 | 0.018636 | 0.013983 | 0.013983 | 0.013983 | 0.2152 | 0.2152 | 0.2152 | 0.16146 | 0.16146 | 0.16146 | 1.1945e-13 | 0.1896 | -0.18302 | 0.001618 | -0.14105 | 0.13851 | 1.0325e-13 | -0.29867 | -0.30765 | 0.00033576 | 0.22416 | 0.23141 | -91.3804 | -91.3804 | -91.3804 | 88.5143 | 88.5143 | 88.5143 | 0 | 1.6439 | 1.6635 | 0.010235 | 1.6403 | 1.6704 | 0 | -148.9715 | 147.8715 | 100.2372 | -149.3057 | 147.6121
Line_1 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0069913 | 0.0069913 | 0.0069913 | 0.026915 | 0.026915 | 0.026915 | 0.080729 | 0.080729 | 0.080729 | 0.00034676 | -0.023474 | 0.023127 | -0.00080902 | 0.070525 | -0.069254 | 7.2218e-05 | 0.03736 | 0.038616 | -0.00016788 | -0.11208 | -0.1157 | 88.4562 | 88.4562 | 88.4562 | -91.4857 | -91.4857 | -91.4857 | 0.01316 | 1.6393 | 1.6723 | 0.010235 | 1.6403 | 1.6704 | 100.2206 | -149.4015 | 147.5382 | 100.2372 | -149.3057 | 147.6121
Line_2 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0069913 | 0.0069913 | 0.0069913 | 0.026915 | 0.026915 | 0.026915 | 0.080729 | 0.080729 | 0.080729 | 0.00034676 | -0.023474 | 0.023127 | -0.00080902 | 0.070525 | -0.069254 | 7.2218e-05 | 0.03736 | 0.038616 | -0.00016788 | -0.11208 | -0.1157 | 88.4562 | 88.4562 | 88.4562 | -91.4857 | -91.4857 | -91.4857 | 0.01316 | 1.6393 | 1.6723 | 0.010235 | 1.6403 | 1.6704 | 100.2206 | -149.4015 | 147.5382 | 100.2372 | -149.3057 | 147.6121
Line_3 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0023309 | 0.026915 | 0.026915 | 0.026915 | 0.026915 | 0.026915 | 0.026915 | -0.00034676 | 0.023474 | -0.023127 | -0.00034676 | 0.023474 | -0.023127 | -7.2218e-05 | -0.03736 | -0.038616 | -7.2218e-05 | -0.03736 | -0.038616 | -91.5438 | -91.5438 | -91.5438 | -91.5438 | -91.5438 | -91.5438 | 0.01316 | 1.6393 | 1.6723 | 0.01316 | 1.6393 | 1.6723 | 100.2206 | -149.4015 | 147.5382 | 100.2206 | -149.4015 | 147.5382

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018636 | 0.018636 | 0.018636 | 0.013983 | 0.013983 | 0.013983 | 0.2152 | 0.2152 | 0.2152 | 0.16146 | 0.16146 | 0.16146 | 1.1945e-13 | 0.1896 | -0.18302 | 0.001618 | -0.14105 | 0.13851 | 1.0325e-13 | -0.29867 | -0.30765 | 0.00033576 | 0.22416 | 0.23141 | -91.3804 | -91.3804 | -91.3804 | 88.5143 | 88.5143 | 88.5143 | 0 | 1.6439 | 1.6635 | 0.010235 | 1.6403 | 1.6704 | 0 | -148.9715 | 147.8715 | 100.2372 | -149.3057 | 147.6121
Line_1 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0069913 | 0.0069913 | 0.0069913 | 0.026915 | 0.026915 | 0.026915 | 0.080729 | 0.080729 | 0.080729 | 0.00034676 | -0.023474 | 0.023127 | -0.00080902 | 0.070525 | -0.069254 | 7.2218e-05 | 0.03736 | 0.038616 | -0.00016788 | -0.11208 | -0.1157 | 88.4562 | 88.4562 | 88.4562 | -91.4857 | -91.4857 | -91.4857 | 0.01316 | 1.6393 | 1.6723 | 0.010235 | 1.6403 | 1.6704 | 100.2206 | -149.4015 | 147.5382 | 100.2372 | -149.3057 | 147.6121
Line_2 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0069913 | 0.0069913 | 0.0069913 | 0.026915 | 0.026915 | 0.026915 | 0.080729 | 0.080729 | 0.080729 | 0.00034676 | -0.023474 | 0.023127 | -0.00080902 | 0.070525 | -0.069254 | 7.2218e-05 | 0.03736 | 0.038616 | -0.00016788 | -0.11208 | -0.1157 | 88.4562 | 88.4562 | 88.4562 | -91.4857 | -91.4857 | -91.4857 | 0.01316 | 1.6393 | 1.6723 | 0.010235 | 1.6403 | 1.6704 | 100.2206 | -149.4015 | 147.5382 | 100.2372 | -149.3057 | 147.6121
Line_3 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0023309 | 0.0023309 | 0.026915 | 0.026915 | 0.026915 | 0.026915 | 0.026915 | 0.026915 | -0.00034676 | 0.023474 | -0.023127 | -0.00034676 | 0.023474 | -0.023127 | -7.2218e-05 | -0.03736 | -0.038616 | -7.2218e-05 | -0.03736 | -0.038616 | -91.5438 | -91.5438 | -91.5438 | -91.5438 | -91.5438 | -91.5438 | 0.01316 | 1.6393 | 1.6723 | 0.01316 | 1.6393 | 1.6723 | 100.2206 | -149.4015 | 147.5382 | 100.2206 | -149.4015 | 147.5382

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015006 | 0.015006 | 0.015006 | 0.011259 | 0.011259 | 0.011259 | 0.17328 | 0.17328 | 0.17328 | 0.13001 | 0.13001 | 0.13001 | 0.018624 | 0.1423 | -0.15665 | -0.012879 | -0.10603 | 0.11831 | 0.03312 | -0.22633 | -0.19989 | -0.024658 | 0.16983 | 0.15041 | -84.9465 | -84.9465 | -84.9465 | 94.9482 | 94.9482 | 94.9482 | 0.21929 | 1.5429 | 1.4657 | 0.21398 | 1.54 | 1.472 | -24.2964 | -142.7876 | 146.9681 | -22.6299 | -143.0747 | 146.7607
Line_1 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0056294 | 0.0056294 | 0.0056294 | 0.021672 | 0.021672 | 0.021672 | 0.065003 | 0.065003 | 0.065003 | -0.0020928 | -0.017654 | 0.019747 | 0.0064394 | 0.053015 | -0.059154 | -0.0041023 | 0.028304 | 0.025104 | 0.012329 | -0.084917 | -0.075205 | 94.8901 | 94.8901 | 94.8901 | -85.0518 | -85.0518 | -85.0518 | 0.2125 | 1.5392 | 1.4738 | 0.21398 | 1.54 | 1.472 | -22.138 | -143.1569 | 146.7016 | -22.6299 | -143.0747 | 146.7607
Line_2 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0056294 | 0.0056294 | 0.0056294 | 0.021672 | 0.021672 | 0.021672 | 0.065003 | 0.065003 | 0.065003 | -0.0020928 | -0.017654 | 0.019747 | 0.0064394 | 0.053015 | -0.059154 | -0.0041023 | 0.028304 | 0.025104 | 0.012329 | -0.084917 | -0.075205 | 94.8901 | 94.8901 | 94.8901 | -85.0518 | -85.0518 | -85.0518 | 0.2125 | 1.5392 | 1.4738 | 0.21398 | 1.54 | 1.472 | -22.138 | -143.1569 | 146.7016 | -22.6299 | -143.0747 | 146.7607
Line_3 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0018769 | 0.021672 | 0.021672 | 0.021672 | 0.021672 | 0.021672 | 0.021672 | 0.0020928 | 0.017654 | -0.019747 | 0.0020928 | 0.017654 | -0.019747 | 0.0041023 | -0.028304 | -0.025104 | 0.0041023 | -0.028304 | -0.025104 | -85.1099 | -85.1099 | -85.1099 | -85.1099 | -85.1099 | -85.1099 | 0.2125 | 1.5392 | 1.4738 | 0.2125 | 1.5392 | 1.4738 | -22.138 | -143.1569 | 146.7016 | -22.138 | -143.1569 | 146.7016

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015006 | 0.015006 | 0.015006 | 0.011259 | 0.011259 | 0.011259 | 0.17328 | 0.17328 | 0.17328 | 0.13001 | 0.13001 | 0.13001 | 0.018624 | 0.1423 | -0.15665 | -0.012879 | -0.10603 | 0.11831 | 0.03312 | -0.22633 | -0.19989 | -0.024658 | 0.16983 | 0.15041 | -84.9465 | -84.9465 | -84.9465 | 94.9482 | 94.9482 | 94.9482 | 0.21929 | 1.5429 | 1.4657 | 0.21398 | 1.54 | 1.472 | -24.2964 | -142.7876 | 146.9681 | -22.6299 | -143.0747 | 146.7607
Line_1 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0056294 | 0.0056294 | 0.0056294 | 0.021672 | 0.021672 | 0.021672 | 0.065003 | 0.065003 | 0.065003 | -0.0020928 | -0.017654 | 0.019747 | 0.0064394 | 0.053015 | -0.059154 | -0.0041023 | 0.028304 | 0.025104 | 0.012329 | -0.084917 | -0.075205 | 94.8901 | 94.8901 | 94.8901 | -85.0518 | -85.0518 | -85.0518 | 0.2125 | 1.5392 | 1.4738 | 0.21398 | 1.54 | 1.472 | -22.138 | -143.1569 | 146.7016 | -22.6299 | -143.0747 | 146.7607
Line_2 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0056294 | 0.0056294 | 0.0056294 | 0.021672 | 0.021672 | 0.021672 | 0.065003 | 0.065003 | 0.065003 | -0.0020928 | -0.017654 | 0.019747 | 0.0064394 | 0.053015 | -0.059154 | -0.0041023 | 0.028304 | 0.025104 | 0.012329 | -0.084917 | -0.075205 | 94.8901 | 94.8901 | 94.8901 | -85.0518 | -85.0518 | -85.0518 | 0.2125 | 1.5392 | 1.4738 | 0.21398 | 1.54 | 1.472 | -22.138 | -143.1569 | 146.7016 | -22.6299 | -143.0747 | 146.7607
Line_3 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0018769 | 0.0018769 | 0.021672 | 0.021672 | 0.021672 | 0.021672 | 0.021672 | 0.021672 | 0.0020928 | 0.017654 | -0.019747 | 0.0020928 | 0.017654 | -0.019747 | 0.0041023 | -0.028304 | -0.025104 | 0.0041023 | -0.028304 | -0.025104 | -85.1099 | -85.1099 | -85.1099 | -85.1099 | -85.1099 | -85.1099 | 0.2125 | 1.5392 | 1.4738 | 0.2125 | 1.5392 | 1.4738 | -22.138 | -143.1569 | 146.7016 | -22.138 | -143.1569 | 146.7016

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010748 | 0.010748 | 0.010748 | 0.0080641 | 0.0080641 | 0.0080641 | 0.12411 | 0.12411 | 0.12411 | 0.093116 | 0.093116 | 0.093116 | 0.0011413 | -4.5206e-14 | -5.2811e-14 | -0.00072087 | 0.0002803 | 0.0002803 | -0.20166 | -9.3995e-14 | 8.9987e-14 | 0.15141 | 0.00011156 | 0.00011156 | 89.4855 | 89.4855 | 89.4855 | -90.5693 | -90.5693 | -90.5693 | 1.6249 | 0 | 0 | 1.6261 | 0.0032399 | 0.0032399 | -0.19019 | 0 | 0 | -0.29653 | -68.8663 | -68.8663
Line_1 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0040321 | 0.0040321 | 0.0040321 | 0.015523 | 0.015523 | 0.015523 | 0.046558 | 0.046558 | 0.046558 | -0.00012015 | 6.0071e-05 | 6.0071e-05 | 0.00036043 | -0.00014015 | -0.00014015 | 0.025246 | 2.3935e-05 | 2.3935e-05 | -0.075707 | -5.5781e-05 | -5.5781e-05 | -90.5996 | -90.5996 | -90.5996 | 89.4307 | 89.4307 | 89.4307 | 1.6264 | 0.0041658 | 0.0041658 | 1.6261 | 0.0032399 | 0.0032399 | -0.3269 | -68.8749 | -68.8749 | -0.29653 | -68.8663 | -68.8663
Line_2 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0040321 | 0.0040321 | 0.0040321 | 0.015523 | 0.015523 | 0.015523 | 0.046558 | 0.046558 | 0.046558 | -0.00012015 | 6.0071e-05 | 6.0071e-05 | 0.00036043 | -0.00014015 | -0.00014015 | 0.025246 | 2.3935e-05 | 2.3935e-05 | -0.075707 | -5.5781e-05 | -5.5781e-05 | -90.5996 | -90.5996 | -90.5996 | 89.4307 | 89.4307 | 89.4307 | 1.6264 | 0.0041658 | 0.0041658 | 1.6261 | 0.0032399 | 0.0032399 | -0.3269 | -68.8749 | -68.8749 | -0.29653 | -68.8663 | -68.8663
Line_3 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0013443 | 0.015523 | 0.015523 | 0.015523 | 0.015523 | 0.015523 | 0.015523 | 0.00012014 | -6.0071e-05 | -6.0071e-05 | 0.00012014 | -6.0071e-05 | -6.0071e-05 | -0.025246 | -2.3935e-05 | -2.3935e-05 | -0.025246 | -2.3935e-05 | -2.3935e-05 | 89.4004 | 89.4004 | 89.4004 | 89.4004 | 89.4004 | 89.4004 | 1.6264 | 0.0041658 | 0.0041658 | 1.6264 | 0.0041658 | 0.0041658 | -0.3269 | -68.8749 | -68.8749 | -0.3269 | -68.8749 | -68.8749

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010748 | 0.010748 | 0.010748 | 0.0080641 | 0.0080641 | 0.0080641 | 0.12411 | 0.12411 | 0.12411 | 0.093116 | 0.093116 | 0.093116 | 0.0011413 | -4.5206e-14 | -5.2811e-14 | -0.00072087 | 0.0002803 | 0.0002803 | -0.20166 | -9.3995e-14 | 8.9987e-14 | 0.15141 | 0.00011156 | 0.00011156 | 89.4855 | 89.4855 | 89.4855 | -90.5693 | -90.5693 | -90.5693 | 1.6249 | 0 | 0 | 1.6261 | 0.0032399 | 0.0032399 | -0.19019 | 0 | 0 | -0.29653 | -68.8663 | -68.8663
Line_1 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0040321 | 0.0040321 | 0.0040321 | 0.015523 | 0.015523 | 0.015523 | 0.046558 | 0.046558 | 0.046558 | -0.00012015 | 6.0071e-05 | 6.0071e-05 | 0.00036043 | -0.00014015 | -0.00014015 | 0.025246 | 2.3935e-05 | 2.3935e-05 | -0.075707 | -5.5781e-05 | -5.5781e-05 | -90.5996 | -90.5996 | -90.5996 | 89.4307 | 89.4307 | 89.4307 | 1.6264 | 0.0041658 | 0.0041658 | 1.6261 | 0.0032399 | 0.0032399 | -0.3269 | -68.8749 | -68.8749 | -0.29653 | -68.8663 | -68.8663
Line_2 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0040321 | 0.0040321 | 0.0040321 | 0.015523 | 0.015523 | 0.015523 | 0.046558 | 0.046558 | 0.046558 | -0.00012015 | 6.0071e-05 | 6.0071e-05 | 0.00036043 | -0.00014015 | -0.00014015 | 0.025246 | 2.3935e-05 | 2.3935e-05 | -0.075707 | -5.5781e-05 | -5.5781e-05 | -90.5996 | -90.5996 | -90.5996 | 89.4307 | 89.4307 | 89.4307 | 1.6264 | 0.0041658 | 0.0041658 | 1.6261 | 0.0032399 | 0.0032399 | -0.3269 | -68.8749 | -68.8749 | -0.29653 | -68.8663 | -68.8663
Line_3 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0013443 | 0.0013443 | 0.015523 | 0.015523 | 0.015523 | 0.015523 | 0.015523 | 0.015523 | 0.00012014 | -6.0071e-05 | -6.0071e-05 | 0.00012014 | -6.0071e-05 | -6.0071e-05 | -0.025246 | -2.3935e-05 | -2.3935e-05 | -0.025246 | -2.3935e-05 | -2.3935e-05 | 89.4004 | 89.4004 | 89.4004 | 89.4004 | 89.4004 | 89.4004 | 1.6264 | 0.0041658 | 0.0041658 | 1.6264 | 0.0041658 | 0.0041658 | -0.3269 | -68.8749 | -68.8749 | -0.3269 | -68.8749 | -68.8749

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095479 | 0.0095479 | 0.0095479 | 0.0071636 | 0.0071636 | 0.0071636 | 0.11025 | 0.11025 | 0.11025 | 0.082719 | 0.082719 | 0.082719 | -0.0067164 | -0.077283 | 0.0849 | 0.0051365 | 0.058224 | -0.063487 | -0.1725 | 0.025693 | -0.012329 | 0.12952 | -0.019134 | 0.0092776 | 93.1432 | 93.1432 | 93.1432 | -86.9116 | -86.9116 | -86.9116 | 1.5658 | 0.73871 | 0.77815 | 1.567 | 0.74091 | 0.77566 | 0.91355 | -105.2465 | 84.8804 | 0.81732 | -105.1033 | 84.7744
Line_1 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0035818 | 0.0035818 | 0.0035818 | 0.013789 | 0.013789 | 0.013789 | 0.041359 | 0.041359 | 0.041359 | 0.00085539 | 0.0097183 | -0.010574 | -0.0025682 | -0.029112 | 0.031744 | 0.021596 | -0.0031803 | 0.0015452 | -0.06476 | 0.0095668 | -0.0046388 | -86.9419 | -86.9419 | -86.9419 | 93.0884 | 93.0884 | 93.0884 | 1.5674 | 0.74155 | 0.77495 | 1.567 | 0.74091 | 0.77566 | 0.78984 | -105.0626 | 84.744 | 0.81732 | -105.1033 | 84.7744
Line_2 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0035818 | 0.0035818 | 0.0035818 | 0.013789 | 0.013789 | 0.013789 | 0.041359 | 0.041359 | 0.041359 | 0.00085539 | 0.0097183 | -0.010574 | -0.0025682 | -0.029112 | 0.031744 | 0.021596 | -0.0031803 | 0.0015452 | -0.06476 | 0.0095668 | -0.0046388 | -86.9419 | -86.9419 | -86.9419 | 93.0884 | 93.0884 | 93.0884 | 1.5674 | 0.74155 | 0.77495 | 1.567 | 0.74091 | 0.77566 | 0.78984 | -105.0626 | 84.744 | 0.81732 | -105.1033 | 84.7744
Line_3 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0011942 | 0.013789 | 0.013789 | 0.013789 | 0.013789 | 0.013789 | 0.013789 | -0.0008554 | -0.0097183 | 0.010574 | -0.0008554 | -0.0097183 | 0.010574 | -0.021596 | 0.0031803 | -0.0015452 | -0.021596 | 0.0031803 | -0.0015452 | 93.0581 | 93.0581 | 93.0581 | 93.0581 | 93.0581 | 93.0581 | 1.5674 | 0.74155 | 0.77495 | 1.5674 | 0.74155 | 0.77495 | 0.78984 | -105.0626 | 84.744 | 0.78984 | -105.0626 | 84.744

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095479 | 0.0095479 | 0.0095479 | 0.0071636 | 0.0071636 | 0.0071636 | 0.11025 | 0.11025 | 0.11025 | 0.082719 | 0.082719 | 0.082719 | -0.0067164 | -0.077283 | 0.0849 | 0.0051365 | 0.058224 | -0.063487 | -0.1725 | 0.025693 | -0.012329 | 0.12952 | -0.019134 | 0.0092776 | 93.1432 | 93.1432 | 93.1432 | -86.9116 | -86.9116 | -86.9116 | 1.5658 | 0.73871 | 0.77815 | 1.567 | 0.74091 | 0.77566 | 0.91355 | -105.2465 | 84.8804 | 0.81732 | -105.1033 | 84.7744
Line_1 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0035818 | 0.0035818 | 0.0035818 | 0.013789 | 0.013789 | 0.013789 | 0.041359 | 0.041359 | 0.041359 | 0.00085539 | 0.0097183 | -0.010574 | -0.0025682 | -0.029112 | 0.031744 | 0.021596 | -0.0031803 | 0.0015452 | -0.06476 | 0.0095668 | -0.0046388 | -86.9419 | -86.9419 | -86.9419 | 93.0884 | 93.0884 | 93.0884 | 1.5674 | 0.74155 | 0.77495 | 1.567 | 0.74091 | 0.77566 | 0.78984 | -105.0626 | 84.744 | 0.81732 | -105.1033 | 84.7744
Line_2 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0035818 | 0.0035818 | 0.0035818 | 0.013789 | 0.013789 | 0.013789 | 0.041359 | 0.041359 | 0.041359 | 0.00085539 | 0.0097183 | -0.010574 | -0.0025682 | -0.029112 | 0.031744 | 0.021596 | -0.0031803 | 0.0015452 | -0.06476 | 0.0095668 | -0.0046388 | -86.9419 | -86.9419 | -86.9419 | 93.0884 | 93.0884 | 93.0884 | 1.5674 | 0.74155 | 0.77495 | 1.567 | 0.74091 | 0.77566 | 0.78984 | -105.0626 | 84.744 | 0.81732 | -105.1033 | 84.7744
Line_3 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0011942 | 0.0011942 | 0.013789 | 0.013789 | 0.013789 | 0.013789 | 0.013789 | 0.013789 | -0.0008554 | -0.0097183 | 0.010574 | -0.0008554 | -0.0097183 | 0.010574 | -0.021596 | 0.0031803 | -0.0015452 | -0.021596 | 0.0031803 | -0.0015452 | 93.0581 | 93.0581 | 93.0581 | 93.0581 | 93.0581 | 93.0581 | 1.5674 | 0.74155 | 0.77495 | 1.5674 | 0.74155 | 0.77495 | 0.78984 | -105.0626 | 84.744 | 0.78984 | -105.0626 | 84.744

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0097634 | 0.0097634 | 0.0097634 | 0.0073254 | 0.0073254 | 0.0073254 | 0.11274 | 0.11274 | 0.11274 | 0.084586 | 0.084586 | 0.084586 | 0.0018082 | -1.0194e-13 | 1.0448e-13 | -0.0011421 | 0.00044409 | 0.00044409 | -0.16641 | 5.6765e-14 | 5.8735e-14 | 0.12494 | 9.2152e-05 | 9.2152e-05 | 89.1789 | 89.1789 | 89.1789 | -90.9264 | -90.9264 | -90.9264 | 1.4761 | 0 | 0 | 1.4772 | 0.005362 | 0.005362 | -0.19851 | 0 | 0 | -0.40267 | -79.2034 | -79.2034
Line_1 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0036627 | 0.0036627 | 0.0036627 | 0.014101 | 0.014101 | 0.014101 | 0.042293 | 0.042293 | 0.042293 | -0.00019035 | 9.5173e-05 | 9.5173e-05 | 0.00057104 | -0.00022204 | -0.00022204 | 0.020832 | 1.9821e-05 | 1.9821e-05 | -0.062472 | -4.6076e-05 | -4.6076e-05 | -90.9845 | -90.9845 | -90.9845 | 89.0736 | 89.0736 | 89.0736 | 1.4775 | 0.0068944 | 0.0068944 | 1.4772 | 0.005362 | 0.005362 | -0.46098 | -79.22 | -79.22 | -0.40267 | -79.2034 | -79.2034
Line_2 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0036627 | 0.0036627 | 0.0036627 | 0.014101 | 0.014101 | 0.014101 | 0.042293 | 0.042293 | 0.042293 | -0.00019035 | 9.5173e-05 | 9.5173e-05 | 0.00057104 | -0.00022204 | -0.00022204 | 0.020832 | 1.9821e-05 | 1.9821e-05 | -0.062472 | -4.6076e-05 | -4.6076e-05 | -90.9845 | -90.9845 | -90.9845 | 89.0736 | 89.0736 | 89.0736 | 1.4775 | 0.0068944 | 0.0068944 | 1.4772 | 0.005362 | 0.005362 | -0.46098 | -79.22 | -79.22 | -0.40267 | -79.2034 | -79.2034
Line_3 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0012211 | 0.014101 | 0.014101 | 0.014101 | 0.014101 | 0.014101 | 0.014101 | 0.00019035 | -9.5173e-05 | -9.5173e-05 | 0.00019035 | -9.5173e-05 | -9.5173e-05 | -0.020832 | -1.9821e-05 | -1.9821e-05 | -0.020832 | -1.9821e-05 | -1.9821e-05 | 89.0155 | 89.0155 | 89.0155 | 89.0155 | 89.0155 | 89.0155 | 1.4775 | 0.0068944 | 0.0068944 | 1.4775 | 0.0068944 | 0.0068944 | -0.46098 | -79.22 | -79.22 | -0.46098 | -79.22 | -79.22

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0097634 | 0.0097634 | 0.0097634 | 0.0073254 | 0.0073254 | 0.0073254 | 0.11274 | 0.11274 | 0.11274 | 0.084586 | 0.084586 | 0.084586 | 0.0018082 | -1.0194e-13 | 1.0448e-13 | -0.0011421 | 0.00044409 | 0.00044409 | -0.16641 | 5.6765e-14 | 5.8735e-14 | 0.12494 | 9.2152e-05 | 9.2152e-05 | 89.1789 | 89.1789 | 89.1789 | -90.9264 | -90.9264 | -90.9264 | 1.4761 | 0 | 0 | 1.4772 | 0.005362 | 0.005362 | -0.19851 | 0 | 0 | -0.40267 | -79.2034 | -79.2034
Line_1 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0036627 | 0.0036627 | 0.0036627 | 0.014101 | 0.014101 | 0.014101 | 0.042293 | 0.042293 | 0.042293 | -0.00019035 | 9.5173e-05 | 9.5173e-05 | 0.00057104 | -0.00022204 | -0.00022204 | 0.020832 | 1.9821e-05 | 1.9821e-05 | -0.062472 | -4.6076e-05 | -4.6076e-05 | -90.9845 | -90.9845 | -90.9845 | 89.0736 | 89.0736 | 89.0736 | 1.4775 | 0.0068944 | 0.0068944 | 1.4772 | 0.005362 | 0.005362 | -0.46098 | -79.22 | -79.22 | -0.40267 | -79.2034 | -79.2034
Line_2 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0036627 | 0.0036627 | 0.0036627 | 0.014101 | 0.014101 | 0.014101 | 0.042293 | 0.042293 | 0.042293 | -0.00019035 | 9.5173e-05 | 9.5173e-05 | 0.00057104 | -0.00022204 | -0.00022204 | 0.020832 | 1.9821e-05 | 1.9821e-05 | -0.062472 | -4.6076e-05 | -4.6076e-05 | -90.9845 | -90.9845 | -90.9845 | 89.0736 | 89.0736 | 89.0736 | 1.4775 | 0.0068944 | 0.0068944 | 1.4772 | 0.005362 | 0.005362 | -0.46098 | -79.22 | -79.22 | -0.40267 | -79.2034 | -79.2034
Line_3 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0012211 | 0.0012211 | 0.014101 | 0.014101 | 0.014101 | 0.014101 | 0.014101 | 0.014101 | 0.00019035 | -9.5173e-05 | -9.5173e-05 | 0.00019035 | -9.5173e-05 | -9.5173e-05 | -0.020832 | -1.9821e-05 | -1.9821e-05 | -0.020832 | -1.9821e-05 | -1.9821e-05 | 89.0155 | 89.0155 | 89.0155 | 89.0155 | 89.0155 | 89.0155 | 1.4775 | 0.0068944 | 0.0068944 | 1.4775 | 0.0068944 | 0.0068944 | -0.46098 | -79.22 | -79.22 | -0.46098 | -79.22 | -79.22

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0086737 | 0.0086737 | 0.0086737 | 0.0065078 | 0.0065078 | 0.0065078 | 0.10016 | 0.10016 | 0.10016 | 0.075145 | 0.075145 | 0.075145 | -0.0047952 | -0.063156 | 0.069379 | 0.0037519 | 0.047765 | -0.051717 | -0.1424 | 0.021119 | -0.010054 | 0.10692 | -0.015686 | 0.0075204 | 92.8313 | 92.8313 | 92.8313 | -87.274 | -87.274 | -87.274 | 1.4226 | 0.66491 | 0.69995 | 1.4237 | 0.66903 | 0.69547 | 0.90268 | -105.6586 | 84.5857 | 0.71631 | -105.454 | 84.4524
Line_1 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0032539 | 0.0032539 | 0.0032539 | 0.012527 | 0.012527 | 0.012527 | 0.037573 | 0.037573 | 0.037573 | 0.00062407 | 0.0079818 | -0.0086059 | -0.0018759 | -0.023882 | 0.025858 | 0.017828 | -0.0026033 | 0.0012484 | -0.05346 | 0.0078429 | -0.0037602 | -87.3321 | -87.3321 | -87.3321 | 92.726 | 92.726 | 92.726 | 1.424 | 0.67021 | 0.69419 | 1.4237 | 0.66903 | 0.69547 | 0.66309 | -105.3961 | 84.4141 | 0.71631 | -105.454 | 84.4524
Line_2 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0032539 | 0.0032539 | 0.0032539 | 0.012527 | 0.012527 | 0.012527 | 0.037573 | 0.037573 | 0.037573 | 0.00062407 | 0.0079818 | -0.0086059 | -0.0018759 | -0.023882 | 0.025858 | 0.017828 | -0.0026033 | 0.0012484 | -0.05346 | 0.0078429 | -0.0037602 | -87.3321 | -87.3321 | -87.3321 | 92.726 | 92.726 | 92.726 | 1.424 | 0.67021 | 0.69419 | 1.4237 | 0.66903 | 0.69547 | 0.66309 | -105.3961 | 84.4141 | 0.71631 | -105.454 | 84.4524
Line_3 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0010849 | 0.012527 | 0.012527 | 0.012527 | 0.012527 | 0.012527 | 0.012527 | -0.00062407 | -0.0079818 | 0.0086059 | -0.00062407 | -0.0079818 | 0.0086059 | -0.017828 | 0.0026033 | -0.0012484 | -0.017828 | 0.0026033 | -0.0012484 | 92.6679 | 92.6679 | 92.6679 | 92.6679 | 92.6679 | 92.6679 | 1.424 | 0.67021 | 0.69419 | 1.424 | 0.67021 | 0.69419 | 0.66309 | -105.3961 | 84.4141 | 0.66309 | -105.3961 | 84.4141

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0086737 | 0.0086737 | 0.0086737 | 0.0065078 | 0.0065078 | 0.0065078 | 0.10016 | 0.10016 | 0.10016 | 0.075145 | 0.075145 | 0.075145 | -0.0047952 | -0.063156 | 0.069379 | 0.0037519 | 0.047765 | -0.051717 | -0.1424 | 0.021119 | -0.010054 | 0.10692 | -0.015686 | 0.0075204 | 92.8313 | 92.8313 | 92.8313 | -87.274 | -87.274 | -87.274 | 1.4226 | 0.66491 | 0.69995 | 1.4237 | 0.66903 | 0.69547 | 0.90268 | -105.6586 | 84.5857 | 0.71631 | -105.454 | 84.4524
Line_1 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0032539 | 0.0032539 | 0.0032539 | 0.012527 | 0.012527 | 0.012527 | 0.037573 | 0.037573 | 0.037573 | 0.00062407 | 0.0079818 | -0.0086059 | -0.0018759 | -0.023882 | 0.025858 | 0.017828 | -0.0026033 | 0.0012484 | -0.05346 | 0.0078429 | -0.0037602 | -87.3321 | -87.3321 | -87.3321 | 92.726 | 92.726 | 92.726 | 1.424 | 0.67021 | 0.69419 | 1.4237 | 0.66903 | 0.69547 | 0.66309 | -105.3961 | 84.4141 | 0.71631 | -105.454 | 84.4524
Line_2 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0032539 | 0.0032539 | 0.0032539 | 0.012527 | 0.012527 | 0.012527 | 0.037573 | 0.037573 | 0.037573 | 0.00062407 | 0.0079818 | -0.0086059 | -0.0018759 | -0.023882 | 0.025858 | 0.017828 | -0.0026033 | 0.0012484 | -0.05346 | 0.0078429 | -0.0037602 | -87.3321 | -87.3321 | -87.3321 | 92.726 | 92.726 | 92.726 | 1.424 | 0.67021 | 0.69419 | 1.4237 | 0.66903 | 0.69547 | 0.66309 | -105.3961 | 84.4141 | 0.71631 | -105.454 | 84.4524
Line_3 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0010849 | 0.0010849 | 0.012527 | 0.012527 | 0.012527 | 0.012527 | 0.012527 | 0.012527 | -0.00062407 | -0.0079818 | 0.0086059 | -0.00062407 | -0.0079818 | 0.0086059 | -0.017828 | 0.0026033 | -0.0012484 | -0.017828 | 0.0026033 | -0.0012484 | 92.6679 | 92.6679 | 92.6679 | 92.6679 | 92.6679 | 92.6679 | 1.424 | 0.67021 | 0.69419 | 1.424 | 0.67021 | 0.69419 | 0.66309 | -105.3961 | 84.4141 | 0.66309 | -105.3961 | 84.4141