## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.2106e-14 | 30.1766 | -15.8685 | 3.6475e-14 | -23.0225 | 23.0225 | 1.5632e-14 | 3.131 | 13.1032 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 2.4035e-12 | -161.8563 | 152.6723 | 2.49e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5716e-28 | -2.8659e-14 | 5.2107e-15 | -2.0843e-14 | 3.3869e-14 | -5.2106e-15 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.5134e-12 | -180 | 180 | 2.49e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8659e-14 | -5.2106e-15 | -1.5632e-14 | 4.429e-14 | 5.2106e-15 | 0 | -1.9211e-09 | 1.9211e-09 | -6.7935e-28 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.5249e-12 | -180 | 180 | 2.49e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8574e-28 | 7.816e-15 | 5.2106e-15 | -1.5632e-14 | -1.8777e-25 | -1.0421e-14 | -1.5632e-14 | -1.8237e-14 | -1.5632e-14 | 1.5632e-14 | 7.816e-15 | 1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.5134e-12 | -180 | 180 | 2.5249e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.2106e-14 | 30.1766 | -15.8685 | 3.6475e-14 | -23.0225 | 23.0225 | 1.5632e-14 | 3.131 | 13.1032 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 2.4035e-12 | -161.8563 | 152.6723 | 2.49e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5716e-28 | -2.8659e-14 | 5.2107e-15 | -2.0843e-14 | 3.3869e-14 | -5.2106e-15 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.5134e-12 | -180 | 180 | 2.49e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8659e-14 | -5.2106e-15 | -1.5632e-14 | 4.429e-14 | 5.2106e-15 | 0 | -1.9211e-09 | 1.9211e-09 | -6.7935e-28 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.5249e-12 | -180 | 180 | 2.49e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8574e-28 | 7.816e-15 | 5.2106e-15 | -1.5632e-14 | -1.8777e-25 | -1.0421e-14 | -1.5632e-14 | -1.8237e-14 | -1.5632e-14 | 1.5632e-14 | 7.816e-15 | 1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.5134e-12 | -180 | 180 | 2.5249e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 1.0421e-14 | -17.4596 | 1.9173 | 2.6053e-15 | 3.9919 | 15.2185 | -2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 8.3059e-13 | -138.0936 | 121.2196 | 8.6781e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.3027e-14 | -4.7337e-10 | -1.0337e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.3027e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 8.7697e-13 | -142.8673 | 128.239 | 8.6781e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -1.5632e-14 | -4.7337e-10 | -1.0337e-09 | -7.816e-15 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8388e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 8.8219e-13 | -142.8673 | 128.239 | 8.6781e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 8.6017e-15 | -2.9948e-15 | -2.6053e-15 | 9.8372e-15 | -3.8945e-15 | -5.2106e-15 | -1.1886e-15 | -6.3655e-15 | 5.2106e-15 | -2.8203e-15 | 4.9421e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 8.7697e-13 | -142.8673 | 128.239 | 8.8219e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 1.0421e-14 | -17.4596 | 1.9173 | 2.6053e-15 | 3.9919 | 15.2185 | -2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 8.3059e-13 | -138.0936 | 121.2196 | 8.6781e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.3027e-14 | -4.7337e-10 | -1.0337e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.3027e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 8.7697e-13 | -142.8673 | 128.239 | 8.6781e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -1.5632e-14 | -4.7337e-10 | -1.0337e-09 | -7.816e-15 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8388e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 8.8219e-13 | -142.8673 | 128.239 | 8.6781e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 8.6017e-15 | -2.9948e-15 | -2.6053e-15 | 9.8372e-15 | -3.8945e-15 | -5.2106e-15 | -1.1886e-15 | -6.3655e-15 | 5.2106e-15 | -2.8203e-15 | 4.9421e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 8.7697e-13 | -142.8673 | 128.239 | 8.8219e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 7.1054e-15 | 26.5997 | -7.1734 | -9.4739e-15 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.4745e-13 | -160.7833 | 141.207 | 6.5226e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -7.1053e-15 | -2.3684e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 2.6963e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.2642e-13 | -180 | 180 | 6.5226e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -7.1053e-15 | -7.1053e-15 | 4.737e-15 | 7.1054e-15 | 7.1054e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 5.3926e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.3872e-13 | -180 | 180 | 6.5226e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.3396e-25 | -2.3685e-15 | -2.3685e-15 | -5.3582e-25 | 2.3685e-15 | 2.5895e-29 | -2.3685e-15 | 4.737e-15 | -2.6403e-29 | 9.4739e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.2642e-13 | -180 | 180 | 6.3872e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 7.1054e-15 | 26.5997 | -7.1734 | -9.4739e-15 | -16.8865 | 16.8865 | 1.4211e-14 | -0.51586 | 11.9957 | -1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.4745e-13 | -160.7833 | 141.207 | 6.5226e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -7.1053e-15 | -2.3684e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 2.6963e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.2642e-13 | -180 | 180 | 6.5226e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -7.1053e-15 | -7.1053e-15 | 4.737e-15 | 7.1054e-15 | 7.1054e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 5.3926e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.3872e-13 | -180 | 180 | 6.5226e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.3396e-25 | -2.3685e-15 | -2.3685e-15 | -5.3582e-25 | 2.3685e-15 | 2.5895e-29 | -2.3685e-15 | 4.737e-15 | -2.6403e-29 | 9.4739e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.2642e-13 | -180 | 180 | 6.3872e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 2.9606e-15 | 15.3932 | 0.73601 | -1.7764e-15 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.354e-13 | -138.1765 | 119.7467 | 4.3161e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2615e-10 | 2.9606e-15 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | -1.0532e-09 | 4.5326e-10 | 4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1671e-13 | -142.5584 | 131.6989 | 4.3161e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2615e-10 | 2.9606e-15 | -4.7979e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | 2.2302e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.2234e-13 | -142.5584 | 131.6989 | 4.3161e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 4.246e-15 | 2.3914e-15 | -1.7764e-15 | -7.4803e-15 | -1.9111e-15 | -4.737e-15 | 1.0177e-15 | 5.9982e-15 | 7.1054e-15 | 3.2062e-15 | -6.5373e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1671e-13 | -142.5584 | 131.6989 | 4.2234e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 2.9606e-15 | 15.3932 | 0.73601 | -1.7764e-15 | -13.0917 | 1.5655 | 4.737e-15 | 2.3135 | 11.9328 | -4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.354e-13 | -138.1765 | 119.7467 | 4.3161e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2615e-10 | 2.9606e-15 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | -1.0532e-09 | 4.5326e-10 | 4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1671e-13 | -142.5584 | 131.6989 | 4.3161e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2615e-10 | 2.9606e-15 | -4.7979e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5326e-10 | 2.2302e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.2234e-13 | -142.5584 | 131.6989 | 4.3161e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 4.246e-15 | 2.3914e-15 | -1.7764e-15 | -7.4803e-15 | -1.9111e-15 | -4.737e-15 | 1.0177e-15 | 5.9982e-15 | 7.1054e-15 | 3.2062e-15 | -6.5373e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1671e-13 | -142.5584 | 131.6989 | 4.2234e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48478 | 0.020125 | 0.020125 | 0.48001 | 0.015163 | 0.015163 | 5.5978 | 0.23238 | 0.23238 | 5.5427 | 0.17508 | 0.17508 | 0.38768 | 0.22954 | -0.21321 | 5.4464e-12 | -0.16707 | 0.1665 | 0.20644 | -0.34909 | -0.35015 | -3.9926e-12 | 0.26665 | 0.26945 | -73.1128 | -90.1366 | -90.1366 | 107.0503 | 89.5189 | 89.5189 | 0.078464 | 1.7979 | 1.7641 | 0 | 1.7972 | 1.8091 | -45.0777 | -146.8106 | 148.5251 | 0 | -148.4125 | 147.8061
Line_1 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0075814 | 0.0075814 | 0.0075814 | 0.029187 | 0.029187 | 0.029187 | 0.087542 | 0.087542 | 0.087542 | 4.7215e-05 | -0.027827 | 0.02778 | -1.0102e-13 | 0.083534 | -0.083251 | 1.8784e-05 | 0.044456 | 0.044952 | 3.422e-14 | -0.13333 | -0.13473 | 89.4887 | 89.4887 | 89.4887 | -90.4811 | -90.4811 | -90.4811 | 0.001741 | 1.7969 | 1.8105 | 0 | 1.7972 | 1.8091 | 111.183 | -148.4671 | 147.7733 | 0 | -148.4125 | 147.8061
Line_2 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0075814 | 0.0075814 | 0.0075814 | 0.029187 | 0.029187 | 0.029187 | 0.087542 | 0.087542 | 0.087542 | 4.7215e-05 | -0.027827 | 0.02778 | -1.0102e-13 | 0.083534 | -0.083251 | 1.8784e-05 | 0.044456 | 0.044952 | 3.422e-14 | -0.13333 | -0.13473 | 89.4887 | 89.4887 | 89.4887 | -90.4811 | -90.4811 | -90.4811 | 0.001741 | 1.7969 | 1.8105 | 0 | 1.7972 | 1.8091 | 111.183 | -148.4671 | 147.7733 | 0 | -148.4125 | 147.8061
Line_3 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0025277 | 0.029187 | 0.029187 | 0.029187 | 0.029187 | 0.029187 | 0.029187 | -4.7215e-05 | 0.027827 | -0.02778 | -4.7215e-05 | 0.027827 | -0.02778 | -1.8784e-05 | -0.044456 | -0.044952 | -1.8784e-05 | -0.044456 | -0.044952 | -90.5113 | -90.5113 | -90.5113 | -90.5113 | -90.5113 | -90.5113 | 0.001741 | 1.7969 | 1.8105 | 0.001741 | 1.7969 | 1.8105 | 111.183 | -148.4671 | 147.7733 | 111.183 | -148.4671 | 147.7733

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48478 | 0.020125 | 0.020125 | 0.48001 | 0.015163 | 0.015163 | 5.5978 | 0.23238 | 0.23238 | 5.5427 | 0.17508 | 0.17508 | 0.38768 | 0.22954 | -0.21321 | 5.4464e-12 | -0.16707 | 0.1665 | 0.20644 | -0.34909 | -0.35015 | -3.9926e-12 | 0.26665 | 0.26945 | -73.1128 | -90.1366 | -90.1366 | 107.0503 | 89.5189 | 89.5189 | 0.078464 | 1.7979 | 1.7641 | 0 | 1.7972 | 1.8091 | -45.0777 | -146.8106 | 148.5251 | 0 | -148.4125 | 147.8061
Line_1 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0075814 | 0.0075814 | 0.0075814 | 0.029187 | 0.029187 | 0.029187 | 0.087542 | 0.087542 | 0.087542 | 4.7215e-05 | -0.027827 | 0.02778 | -1.0102e-13 | 0.083534 | -0.083251 | 1.8784e-05 | 0.044456 | 0.044952 | 3.422e-14 | -0.13333 | -0.13473 | 89.4887 | 89.4887 | 89.4887 | -90.4811 | -90.4811 | -90.4811 | 0.001741 | 1.7969 | 1.8105 | 0 | 1.7972 | 1.8091 | 111.183 | -148.4671 | 147.7733 | 0 | -148.4125 | 147.8061
Line_2 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0075814 | 0.0075814 | 0.0075814 | 0.029187 | 0.029187 | 0.029187 | 0.087542 | 0.087542 | 0.087542 | 4.7215e-05 | -0.027827 | 0.02778 | -1.0102e-13 | 0.083534 | -0.083251 | 1.8784e-05 | 0.044456 | 0.044952 | 3.422e-14 | -0.13333 | -0.13473 | 89.4887 | 89.4887 | 89.4887 | -90.4811 | -90.4811 | -90.4811 | 0.001741 | 1.7969 | 1.8105 | 0 | 1.7972 | 1.8091 | 111.183 | -148.4671 | 147.7733 | 0 | -148.4125 | 147.8061
Line_3 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0025277 | 0.0025277 | 0.029187 | 0.029187 | 0.029187 | 0.029187 | 0.029187 | 0.029187 | -4.7215e-05 | 0.027827 | -0.02778 | -4.7215e-05 | 0.027827 | -0.02778 | -1.8784e-05 | -0.044456 | -0.044952 | -1.8784e-05 | -0.044456 | -0.044952 | -90.5113 | -90.5113 | -90.5113 | -90.5113 | -90.5113 | -90.5113 | 0.001741 | 1.7969 | 1.8105 | 0.001741 | 1.7969 | 1.8105 | 111.183 | -148.4671 | 147.7733 | 111.183 | -148.4671 | 147.7733

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39225 | 0.016284 | 0.016284 | 0.38839 | 0.012269 | 0.012269 | 4.5293 | 0.18803 | 0.18803 | 4.4847 | 0.14167 | 0.14167 | 0.98322 | 0.17374 | -0.18291 | -0.72433 | -0.12722 | 0.14164 | 0.88326 | -0.26503 | -0.23132 | -0.73869 | 0.20195 | 0.17817 | -67.5768 | -84.6007 | -84.6007 | 112.5862 | 95.0549 | 95.0549 | 0.29181 | 1.6854 | 1.5684 | 0.23069 | 1.6848 | 1.6067 | -25.6423 | -141.3536 | 147.0642 | -21.8517 | -142.7362 | 146.5717
Line_1 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0061343 | 0.0061343 | 0.0061343 | 0.023616 | 0.023616 | 0.023616 | 0.070833 | 0.070833 | 0.070833 | -0.0024319 | -0.021195 | 0.023627 | 0.0073945 | 0.06361 | -0.07082 | -0.0048471 | 0.033667 | 0.029726 | 0.014571 | -0.10098 | -0.089086 | 95.0246 | 95.0246 | 95.0246 | -84.9451 | -84.9451 | -84.9451 | 0.22963 | 1.6846 | 1.6079 | 0.23069 | 1.6848 | 1.6067 | -21.6191 | -142.7833 | 146.5467 | -21.8517 | -142.7362 | 146.5717
Line_2 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0061343 | 0.0061343 | 0.0061343 | 0.023616 | 0.023616 | 0.023616 | 0.070833 | 0.070833 | 0.070833 | -0.0024319 | -0.021195 | 0.023627 | 0.0073945 | 0.06361 | -0.07082 | -0.0048471 | 0.033667 | 0.029726 | 0.014571 | -0.10098 | -0.089086 | 95.0246 | 95.0246 | 95.0246 | -84.9451 | -84.9451 | -84.9451 | 0.22963 | 1.6846 | 1.6079 | 0.23069 | 1.6848 | 1.6067 | -21.6191 | -142.7833 | 146.5467 | -21.8517 | -142.7362 | 146.5717
Line_3 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0020452 | 0.023616 | 0.023616 | 0.023616 | 0.023616 | 0.023616 | 0.023616 | 0.0024319 | 0.021195 | -0.023627 | 0.0024319 | 0.021195 | -0.023627 | 0.0048471 | -0.033667 | -0.029726 | 0.0048471 | -0.033667 | -0.029726 | -84.9754 | -84.9754 | -84.9754 | -84.9754 | -84.9754 | -84.9754 | 0.22963 | 1.6846 | 1.6079 | 0.22963 | 1.6846 | 1.6079 | -21.6191 | -142.7833 | 146.5467 | -21.6191 | -142.7833 | 146.5467

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39225 | 0.016284 | 0.016284 | 0.38839 | 0.012269 | 0.012269 | 4.5293 | 0.18803 | 0.18803 | 4.4847 | 0.14167 | 0.14167 | 0.98322 | 0.17374 | -0.18291 | -0.72433 | -0.12722 | 0.14164 | 0.88326 | -0.26503 | -0.23132 | -0.73869 | 0.20195 | 0.17817 | -67.5768 | -84.6007 | -84.6007 | 112.5862 | 95.0549 | 95.0549 | 0.29181 | 1.6854 | 1.5684 | 0.23069 | 1.6848 | 1.6067 | -25.6423 | -141.3536 | 147.0642 | -21.8517 | -142.7362 | 146.5717
Line_1 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0061343 | 0.0061343 | 0.0061343 | 0.023616 | 0.023616 | 0.023616 | 0.070833 | 0.070833 | 0.070833 | -0.0024319 | -0.021195 | 0.023627 | 0.0073945 | 0.06361 | -0.07082 | -0.0048471 | 0.033667 | 0.029726 | 0.014571 | -0.10098 | -0.089086 | 95.0246 | 95.0246 | 95.0246 | -84.9451 | -84.9451 | -84.9451 | 0.22963 | 1.6846 | 1.6079 | 0.23069 | 1.6848 | 1.6067 | -21.6191 | -142.7833 | 146.5467 | -21.8517 | -142.7362 | 146.5717
Line_2 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0061343 | 0.0061343 | 0.0061343 | 0.023616 | 0.023616 | 0.023616 | 0.070833 | 0.070833 | 0.070833 | -0.0024319 | -0.021195 | 0.023627 | 0.0073945 | 0.06361 | -0.07082 | -0.0048471 | 0.033667 | 0.029726 | 0.014571 | -0.10098 | -0.089086 | 95.0246 | 95.0246 | 95.0246 | -84.9451 | -84.9451 | -84.9451 | 0.22963 | 1.6846 | 1.6079 | 0.23069 | 1.6848 | 1.6067 | -21.6191 | -142.7833 | 146.5467 | -21.8517 | -142.7362 | 146.5717
Line_3 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0020452 | 0.0020452 | 0.023616 | 0.023616 | 0.023616 | 0.023616 | 0.023616 | 0.023616 | 0.0024319 | 0.021195 | -0.023627 | 0.0024319 | 0.021195 | -0.023627 | 0.0048471 | -0.033667 | -0.029726 | 0.0048471 | -0.033667 | -0.029726 | -84.9754 | -84.9754 | -84.9754 | -84.9754 | -84.9754 | -84.9754 | 0.22963 | 1.6846 | 1.6079 | 0.22963 | 1.6846 | 1.6079 | -21.6191 | -142.7833 | 146.5467 | -21.6191 | -142.7833 | 146.5467

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43199 | 0.018164 | 0.018164 | 0.42774 | 0.013715 | 0.013715 | 4.9881 | 0.20974 | 0.20974 | 4.9391 | 0.15837 | 0.15837 | 0.5903 | 0.19444 | -0.16883 | -3.0938e-12 | -0.13759 | 0.1367 | 0.15882 | -0.2842 | -0.28101 | -1.0571e-12 | 0.21889 | 0.21972 | -69.8484 | -89.4968 | -89.4968 | 110.3317 | 89.8282 | 89.8282 | 0.12255 | 1.6418 | 1.563 | 0 | 1.6326 | 1.634 | -54.7895 | -145.1178 | 149.5057 | 0 | -148.019 | 147.9391
Line_1 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0068574 | 0.0068574 | 0.0068574 | 0.0264 | 0.0264 | 0.0264 | 0.079183 | 0.079183 | 0.079183 | 7.4167e-05 | -0.0229 | 0.022826 | 4.052e-14 | 0.068797 | -0.068352 | 1.5368e-05 | 0.036482 | 0.036665 | 3.3246e-14 | -0.10945 | -0.10986 | 89.7701 | 89.7701 | 89.7701 | -90.1718 | -90.1718 | -90.1718 | 0.002869 | 1.6316 | 1.636 | 0 | 1.6326 | 1.634 | 101.4765 | -148.1133 | 147.8663 | 0 | -148.019 | 147.9391
Line_2 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0068574 | 0.0068574 | 0.0068574 | 0.0264 | 0.0264 | 0.0264 | 0.079183 | 0.079183 | 0.079183 | 7.4167e-05 | -0.0229 | 0.022826 | 4.052e-14 | 0.068797 | -0.068352 | 1.5368e-05 | 0.036482 | 0.036665 | 3.3246e-14 | -0.10945 | -0.10986 | 89.7701 | 89.7701 | 89.7701 | -90.1718 | -90.1718 | -90.1718 | 0.002869 | 1.6316 | 1.636 | 0 | 1.6326 | 1.634 | 101.4765 | -148.1133 | 147.8663 | 0 | -148.019 | 147.9391
Line_3 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0264 | 0.0264 | 0.0264 | 0.0264 | 0.0264 | 0.0264 | -7.4167e-05 | 0.0229 | -0.022826 | -7.4167e-05 | 0.0229 | -0.022826 | -1.5368e-05 | -0.036482 | -0.036665 | -1.5368e-05 | -0.036482 | -0.036665 | -90.2299 | -90.2299 | -90.2299 | -90.2299 | -90.2299 | -90.2299 | 0.002869 | 1.6316 | 1.636 | 0.002869 | 1.6316 | 1.636 | 101.4765 | -148.1133 | 147.8663 | 101.4765 | -148.1133 | 147.8663

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43199 | 0.018164 | 0.018164 | 0.42774 | 0.013715 | 0.013715 | 4.9881 | 0.20974 | 0.20974 | 4.9391 | 0.15837 | 0.15837 | 0.5903 | 0.19444 | -0.16883 | -3.0938e-12 | -0.13759 | 0.1367 | 0.15882 | -0.2842 | -0.28101 | -1.0571e-12 | 0.21889 | 0.21972 | -69.8484 | -89.4968 | -89.4968 | 110.3317 | 89.8282 | 89.8282 | 0.12255 | 1.6418 | 1.563 | 0 | 1.6326 | 1.634 | -54.7895 | -145.1178 | 149.5057 | 0 | -148.019 | 147.9391
Line_1 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0068574 | 0.0068574 | 0.0068574 | 0.0264 | 0.0264 | 0.0264 | 0.079183 | 0.079183 | 0.079183 | 7.4167e-05 | -0.0229 | 0.022826 | 4.052e-14 | 0.068797 | -0.068352 | 1.5368e-05 | 0.036482 | 0.036665 | 3.3246e-14 | -0.10945 | -0.10986 | 89.7701 | 89.7701 | 89.7701 | -90.1718 | -90.1718 | -90.1718 | 0.002869 | 1.6316 | 1.636 | 0 | 1.6326 | 1.634 | 101.4765 | -148.1133 | 147.8663 | 0 | -148.019 | 147.9391
Line_2 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0068574 | 0.0068574 | 0.0068574 | 0.0264 | 0.0264 | 0.0264 | 0.079183 | 0.079183 | 0.079183 | 7.4167e-05 | -0.0229 | 0.022826 | 4.052e-14 | 0.068797 | -0.068352 | 1.5368e-05 | 0.036482 | 0.036665 | 3.3246e-14 | -0.10945 | -0.10986 | 89.7701 | 89.7701 | 89.7701 | -90.1718 | -90.1718 | -90.1718 | 0.002869 | 1.6316 | 1.636 | 0 | 1.6326 | 1.634 | 101.4765 | -148.1133 | 147.8663 | 0 | -148.019 | 147.9391
Line_3 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0022863 | 0.0264 | 0.0264 | 0.0264 | 0.0264 | 0.0264 | 0.0264 | -7.4167e-05 | 0.0229 | -0.022826 | -7.4167e-05 | 0.0229 | -0.022826 | -1.5368e-05 | -0.036482 | -0.036665 | -1.5368e-05 | -0.036482 | -0.036665 | -90.2299 | -90.2299 | -90.2299 | -90.2299 | -90.2299 | -90.2299 | 0.002869 | 1.6316 | 1.636 | 0.002869 | 1.6316 | 1.636 | 101.4765 | -148.1133 | 147.8663 | 101.4765 | -148.1133 | 147.8663

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34938 | 0.014691 | 0.014691 | 0.34595 | 0.011092 | 0.011092 | 4.0343 | 0.16963 | 0.16963 | 3.9946 | 0.12808 | 0.12808 | 0.96365 | 0.14743 | -0.14513 | -0.5737 | -0.10553 | 0.11559 | 0.69867 | -0.21428 | -0.18715 | -0.58714 | 0.16443 | 0.14655 | -65.0528 | -84.7012 | -84.7012 | 115.1272 | 94.6238 | 94.6238 | 0.29504 | 1.5333 | 1.3961 | 0.2055 | 1.5255 | 1.4572 | -29.1097 | -140.1731 | 147.505 | -19.2094 | -142.6831 | 146.3594
Line_1 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0055461 | 0.0055461 | 0.0055461 | 0.021351 | 0.021351 | 0.021351 | 0.064041 | 0.064041 | 0.064041 | -0.0017204 | -0.017572 | 0.019292 | 0.0053178 | 0.052767 | -0.057794 | -0.0040053 | 0.027403 | 0.024459 | 0.012038 | -0.082215 | -0.073273 | 94.5657 | 94.5657 | 94.5657 | -85.3762 | -85.3762 | -85.3762 | 0.20416 | 1.5246 | 1.459 | 0.2055 | 1.5255 | 1.4572 | -18.6791 | -142.7645 | 146.3007 | -19.2094 | -142.6831 | 146.3594
Line_2 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0055461 | 0.0055461 | 0.0055461 | 0.021351 | 0.021351 | 0.021351 | 0.064041 | 0.064041 | 0.064041 | -0.0017204 | -0.017572 | 0.019292 | 0.0053178 | 0.052767 | -0.057794 | -0.0040053 | 0.027403 | 0.024459 | 0.012038 | -0.082215 | -0.073273 | 94.5657 | 94.5657 | 94.5657 | -85.3762 | -85.3762 | -85.3762 | 0.20416 | 1.5246 | 1.459 | 0.2055 | 1.5255 | 1.4572 | -18.6791 | -142.7645 | 146.3007 | -19.2094 | -142.6831 | 146.3594
Line_3 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0018491 | 0.021351 | 0.021351 | 0.021351 | 0.021351 | 0.021351 | 0.021351 | 0.0017204 | 0.017572 | -0.019292 | 0.0017204 | 0.017572 | -0.019292 | 0.0040053 | -0.027403 | -0.024459 | 0.0040053 | -0.027403 | -0.024459 | -85.4343 | -85.4343 | -85.4343 | -85.4343 | -85.4343 | -85.4343 | 0.20416 | 1.5246 | 1.459 | 0.20416 | 1.5246 | 1.459 | -18.6791 | -142.7645 | 146.3007 | -18.6791 | -142.7645 | 146.3007

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34938 | 0.014691 | 0.014691 | 0.34595 | 0.011092 | 0.011092 | 4.0343 | 0.16963 | 0.16963 | 3.9946 | 0.12808 | 0.12808 | 0.96365 | 0.14743 | -0.14513 | -0.5737 | -0.10553 | 0.11559 | 0.69867 | -0.21428 | -0.18715 | -0.58714 | 0.16443 | 0.14655 | -65.0528 | -84.7012 | -84.7012 | 115.1272 | 94.6238 | 94.6238 | 0.29504 | 1.5333 | 1.3961 | 0.2055 | 1.5255 | 1.4572 | -29.1097 | -140.1731 | 147.505 | -19.2094 | -142.6831 | 146.3594
Line_1 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0055461 | 0.0055461 | 0.0055461 | 0.021351 | 0.021351 | 0.021351 | 0.064041 | 0.064041 | 0.064041 | -0.0017204 | -0.017572 | 0.019292 | 0.0053178 | 0.052767 | -0.057794 | -0.0040053 | 0.027403 | 0.024459 | 0.012038 | -0.082215 | -0.073273 | 94.5657 | 94.5657 | 94.5657 | -85.3762 | -85.3762 | -85.3762 | 0.20416 | 1.5246 | 1.459 | 0.2055 | 1.5255 | 1.4572 | -18.6791 | -142.7645 | 146.3007 | -19.2094 | -142.6831 | 146.3594
Line_2 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0055461 | 0.0055461 | 0.0055461 | 0.021351 | 0.021351 | 0.021351 | 0.064041 | 0.064041 | 0.064041 | -0.0017204 | -0.017572 | 0.019292 | 0.0053178 | 0.052767 | -0.057794 | -0.0040053 | 0.027403 | 0.024459 | 0.012038 | -0.082215 | -0.073273 | 94.5657 | 94.5657 | 94.5657 | -85.3762 | -85.3762 | -85.3762 | 0.20416 | 1.5246 | 1.459 | 0.2055 | 1.5255 | 1.4572 | -18.6791 | -142.7645 | 146.3007 | -19.2094 | -142.6831 | 146.3594
Line_3 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0018491 | 0.0018491 | 0.021351 | 0.021351 | 0.021351 | 0.021351 | 0.021351 | 0.021351 | 0.0017204 | 0.017572 | -0.019292 | 0.0017204 | 0.017572 | -0.019292 | 0.0040053 | -0.027403 | -0.024459 | 0.0040053 | -0.027403 | -0.024459 | -85.4343 | -85.4343 | -85.4343 | -85.4343 | -85.4343 | -85.4343 | 0.20416 | 1.5246 | 1.459 | 0.20416 | 1.5246 | 1.459 | -18.6791 | -142.7645 | 146.3007 | -18.6791 | -142.7645 | 146.3007

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010638 | 3.7215 | 3.7015 | 0.008015 | 3.7219 | 3.7009 | 0.12284 | 42.9725 | 42.7416 | 0.092549 | 42.9773 | 42.7348 | 0.001788 | 7.6066 | 6.7969 | -0.00015832 | 7.3472e-11 | 7.5292e-11 | -0.1971 | 7.1358 | 9.14 | 0.1498 | -4.2828e-11 | 3.5107e-11 | 90.1728 | -169.8255 | 14.2769 | -90.1717 | 10.2144 | -165.7627 | 1.6046 | 0.24271 | 0.26649 | 1.6186 | 0 | 0 | 0.69251 | -126.6546 | 67.6407 | -0.11114 | 0 | 0
Line_1 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0040075 | 0.0040075 | 0.0040075 | 0.015428 | 0.015428 | 0.015428 | 0.046275 | 0.046275 | 0.046275 | -2.6388e-05 | 1.3193e-05 | 1.3193e-05 | 7.9159e-05 | -3.1096e-14 | -5.7106e-14 | 0.024976 | 5.2485e-06 | 5.2485e-06 | -0.074898 | -8.6126e-14 | 6.9504e-14 | -90.202 | -90.202 | -90.202 | 89.8283 | 89.8283 | 89.8283 | 1.6189 | 0.00092029 | 0.00092029 | 1.6186 | 0 | 0 | -0.14143 | -68.5076 | -68.5076 | -0.11114 | 0 | 0
Line_2 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0040075 | 0.0040075 | 0.0040075 | 0.015428 | 0.015428 | 0.015428 | 0.046275 | 0.046275 | 0.046275 | -2.6388e-05 | 1.3193e-05 | 1.3193e-05 | 7.9159e-05 | -3.1096e-14 | -5.7106e-14 | 0.024976 | 5.2485e-06 | 5.2485e-06 | -0.074898 | -8.6126e-14 | 6.9504e-14 | -90.202 | -90.202 | -90.202 | 89.8283 | 89.8283 | 89.8283 | 1.6189 | 0.00092029 | 0.00092029 | 1.6186 | 0 | 0 | -0.14143 | -68.5076 | -68.5076 | -0.11114 | 0 | 0
Line_3 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0013361 | 0.015428 | 0.015428 | 0.015428 | 0.015428 | 0.015428 | 0.015428 | 2.6385e-05 | -1.3193e-05 | -1.3193e-05 | 2.6385e-05 | -1.3193e-05 | -1.3193e-05 | -0.024976 | -5.2485e-06 | -5.2485e-06 | -0.024976 | -5.2485e-06 | -5.2485e-06 | 89.798 | 89.798 | 89.798 | 89.798 | 89.798 | 89.798 | 1.6189 | 0.00092029 | 0.00092029 | 1.6189 | 0.00092029 | 0.00092029 | -0.14143 | -68.5076 | -68.5076 | -0.14143 | -68.5076 | -68.5076

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010638 | 3.7215 | 3.7015 | 0.008015 | 3.7219 | 3.7009 | 0.12284 | 42.9725 | 42.7416 | 0.092549 | 42.9773 | 42.7348 | 0.001788 | 7.6066 | 6.7969 | -0.00015832 | 7.3472e-11 | 7.5292e-11 | -0.1971 | 7.1358 | 9.14 | 0.1498 | -4.2828e-11 | 3.5107e-11 | 90.1728 | -169.8255 | 14.2769 | -90.1717 | 10.2144 | -165.7627 | 1.6046 | 0.24271 | 0.26649 | 1.6186 | 0 | 0 | 0.69251 | -126.6546 | 67.6407 | -0.11114 | 0 | 0
Line_1 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0040075 | 0.0040075 | 0.0040075 | 0.015428 | 0.015428 | 0.015428 | 0.046275 | 0.046275 | 0.046275 | -2.6388e-05 | 1.3193e-05 | 1.3193e-05 | 7.9159e-05 | -3.1096e-14 | -5.7106e-14 | 0.024976 | 5.2485e-06 | 5.2485e-06 | -0.074898 | -8.6126e-14 | 6.9504e-14 | -90.202 | -90.202 | -90.202 | 89.8283 | 89.8283 | 89.8283 | 1.6189 | 0.00092029 | 0.00092029 | 1.6186 | 0 | 0 | -0.14143 | -68.5076 | -68.5076 | -0.11114 | 0 | 0
Line_2 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0040075 | 0.0040075 | 0.0040075 | 0.015428 | 0.015428 | 0.015428 | 0.046275 | 0.046275 | 0.046275 | -2.6388e-05 | 1.3193e-05 | 1.3193e-05 | 7.9159e-05 | -3.1096e-14 | -5.7106e-14 | 0.024976 | 5.2485e-06 | 5.2485e-06 | -0.074898 | -8.6126e-14 | 6.9504e-14 | -90.202 | -90.202 | -90.202 | 89.8283 | 89.8283 | 89.8283 | 1.6189 | 0.00092029 | 0.00092029 | 1.6186 | 0 | 0 | -0.14143 | -68.5076 | -68.5076 | -0.11114 | 0 | 0
Line_3 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0013361 | 0.0013361 | 0.015428 | 0.015428 | 0.015428 | 0.015428 | 0.015428 | 0.015428 | 2.6385e-05 | -1.3193e-05 | -1.3193e-05 | 2.6385e-05 | -1.3193e-05 | -1.3193e-05 | -0.024976 | -5.2485e-06 | -5.2485e-06 | -0.024976 | -5.2485e-06 | -5.2485e-06 | 89.798 | 89.798 | 89.798 | 89.798 | 89.798 | 89.798 | 1.6189 | 0.00092029 | 0.00092029 | 1.6189 | 0.00092029 | 0.00092029 | -0.14143 | -68.5076 | -68.5076 | -0.14143 | -68.5076 | -68.5076

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0094668 | 1.1079 | 1.172 | 0.0071326 | 1.1089 | 1.1706 | 0.10931 | 12.793 | 13.533 | 0.08236 | 12.8045 | 13.5169 | -0.0052969 | 6.7781 | 7.6265 | 0.0048731 | -6.1307 | -6.8588 | -0.16912 | 6.6383 | 7.9101 | 0.12848 | -6.2014 | -6.7929 | 93.3543 | -150.4407 | 41.057 | -86.9902 | 29.6685 | -139.0346 | 1.5479 | 0.7416 | 0.81193 | 1.5611 | 0.68103 | 0.71417 | 1.5603 | -106.0374 | 87.1026 | 0.83763 | -105.0031 | 85.6891
Line_1 | 0.001189 | 0.001189 | 0.001189 | 0.0035663 | 0.0035663 | 0.0035663 | 0.013729 | 0.013729 | 0.013729 | 0.04118 | 0.04118 | 0.04118 | 0.00081149 | 0.0089039 | -0.0097154 | -0.0024366 | -0.02667 | 0.029169 | 0.021422 | -0.0028825 | 0.0012484 | -0.064238 | 0.0086723 | -0.0037474 | -87.0205 | -87.0205 | -87.0205 | 93.0098 | 93.0098 | 93.0098 | 1.5614 | 0.68166 | 0.71345 | 1.5611 | 0.68103 | 0.71417 | 0.81014 | -104.9591 | 85.6572 | 0.83763 | -105.0031 | 85.6891
Line_2 | 0.001189 | 0.001189 | 0.001189 | 0.0035663 | 0.0035663 | 0.0035663 | 0.013729 | 0.013729 | 0.013729 | 0.04118 | 0.04118 | 0.04118 | 0.00081149 | 0.0089039 | -0.0097154 | -0.0024366 | -0.02667 | 0.029169 | 0.021422 | -0.0028825 | 0.0012484 | -0.064238 | 0.0086723 | -0.0037474 | -87.0205 | -87.0205 | -87.0205 | 93.0098 | 93.0098 | 93.0098 | 1.5614 | 0.68166 | 0.71345 | 1.5611 | 0.68103 | 0.71417 | 0.81014 | -104.9591 | 85.6572 | 0.83763 | -105.0031 | 85.6891
Line_3 | 0.001189 | 0.001189 | 0.001189 | 0.001189 | 0.001189 | 0.001189 | 0.013729 | 0.013729 | 0.013729 | 0.013729 | 0.013729 | 0.013729 | -0.00081149 | -0.0089039 | 0.0097154 | -0.00081149 | -0.0089039 | 0.0097154 | -0.021422 | 0.0028825 | -0.0012484 | -0.021422 | 0.0028825 | -0.0012484 | 92.9795 | 92.9795 | 92.9795 | 92.9795 | 92.9795 | 92.9795 | 1.5614 | 0.68166 | 0.71345 | 1.5614 | 0.68166 | 0.71345 | 0.81014 | -104.9591 | 85.6572 | 0.81014 | -104.9591 | 85.6572

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0094668 | 1.1079 | 1.172 | 0.0071326 | 1.1089 | 1.1706 | 0.10931 | 12.793 | 13.533 | 0.08236 | 12.8045 | 13.5169 | -0.0052969 | 6.7781 | 7.6265 | 0.0048731 | -6.1307 | -6.8588 | -0.16912 | 6.6383 | 7.9101 | 0.12848 | -6.2014 | -6.7929 | 93.3543 | -150.4407 | 41.057 | -86.9902 | 29.6685 | -139.0346 | 1.5479 | 0.7416 | 0.81193 | 1.5611 | 0.68103 | 0.71417 | 1.5603 | -106.0374 | 87.1026 | 0.83763 | -105.0031 | 85.6891
Line_1 | 0.001189 | 0.001189 | 0.001189 | 0.0035663 | 0.0035663 | 0.0035663 | 0.013729 | 0.013729 | 0.013729 | 0.04118 | 0.04118 | 0.04118 | 0.00081149 | 0.0089039 | -0.0097154 | -0.0024366 | -0.02667 | 0.029169 | 0.021422 | -0.0028825 | 0.0012484 | -0.064238 | 0.0086723 | -0.0037474 | -87.0205 | -87.0205 | -87.0205 | 93.0098 | 93.0098 | 93.0098 | 1.5614 | 0.68166 | 0.71345 | 1.5611 | 0.68103 | 0.71417 | 0.81014 | -104.9591 | 85.6572 | 0.83763 | -105.0031 | 85.6891
Line_2 | 0.001189 | 0.001189 | 0.001189 | 0.0035663 | 0.0035663 | 0.0035663 | 0.013729 | 0.013729 | 0.013729 | 0.04118 | 0.04118 | 0.04118 | 0.00081149 | 0.0089039 | -0.0097154 | -0.0024366 | -0.02667 | 0.029169 | 0.021422 | -0.0028825 | 0.0012484 | -0.064238 | 0.0086723 | -0.0037474 | -87.0205 | -87.0205 | -87.0205 | 93.0098 | 93.0098 | 93.0098 | 1.5614 | 0.68166 | 0.71345 | 1.5611 | 0.68103 | 0.71417 | 0.81014 | -104.9591 | 85.6572 | 0.83763 | -105.0031 | 85.6891
Line_3 | 0.001189 | 0.001189 | 0.001189 | 0.001189 | 0.001189 | 0.001189 | 0.013729 | 0.013729 | 0.013729 | 0.013729 | 0.013729 | 0.013729 | -0.00081149 | -0.0089039 | 0.0097154 | -0.00081149 | -0.0089039 | 0.0097154 | -0.021422 | 0.0028825 | -0.0012484 | -0.021422 | 0.0028825 | -0.0012484 | 92.9795 | 92.9795 | 92.9795 | 92.9795 | 92.9795 | 92.9795 | 1.5614 | 0.68166 | 0.71345 | 1.5614 | 0.68166 | 0.71345 | 0.81014 | -104.9591 | 85.6572 | 0.81014 | -104.9591 | 85.6572

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096372 | 3.1195 | 3.1233 | 0.0072766 | 3.1201 | 3.1225 | 0.11128 | 36.0204 | 36.0643 | 0.084022 | 36.0277 | 36.055 | 0.0028075 | 9.9575 | 9.6152 | -0.00025054 | -1.3492e-10 | 3.3194e-11 | -0.16131 | 4.2012 | 7.3113 | 0.12347 | -1.3466e-10 | -1.893e-10 | 90.544 | -161.861 | 22.5137 | -90.131 | 18.1809 | -157.5271 | 1.4498 | 0.30004 | 0.33493 | 1.4694 | 0 | 0 | 1.5411 | -138.9852 | 59.7625 | -0.014727 | 0 | 0
Line_1 | 0.001213 | 0.001213 | 0.001213 | 0.0036383 | 0.0036383 | 0.0036383 | 0.014007 | 0.014007 | 0.014007 | 0.042011 | 0.042011 | 0.042011 | -4.1757e-05 | 2.0877e-05 | 2.0877e-05 | 0.00012527 | -1.9851e-13 | 1.8876e-13 | 0.020586 | 4.3259e-06 | 4.3259e-06 | -0.061733 | 1.0003e-13 | 1.2049e-13 | -90.1891 | -90.1891 | -90.1891 | 89.869 | 89.869 | 89.869 | 1.4697 | 0.0015222 | 0.0015222 | 1.4694 | 0 | 0 | -0.07287 | -78.4827 | -78.4827 | -0.014727 | 0 | 0
Line_2 | 0.001213 | 0.001213 | 0.001213 | 0.0036383 | 0.0036383 | 0.0036383 | 0.014007 | 0.014007 | 0.014007 | 0.042011 | 0.042011 | 0.042011 | -4.1757e-05 | 2.0877e-05 | 2.0877e-05 | 0.00012527 | -1.9851e-13 | 1.8876e-13 | 0.020586 | 4.3259e-06 | 4.3259e-06 | -0.061733 | 1.0003e-13 | 1.2049e-13 | -90.1891 | -90.1891 | -90.1891 | 89.869 | 89.869 | 89.869 | 1.4697 | 0.0015222 | 0.0015222 | 1.4694 | 0 | 0 | -0.07287 | -78.4827 | -78.4827 | -0.014727 | 0 | 0
Line_3 | 0.001213 | 0.001213 | 0.001213 | 0.001213 | 0.001213 | 0.001213 | 0.014007 | 0.014007 | 0.014007 | 0.014007 | 0.014007 | 0.014007 | 4.1755e-05 | -2.0877e-05 | -2.0877e-05 | 4.1755e-05 | -2.0877e-05 | -2.0877e-05 | -0.020586 | -4.3259e-06 | -4.3259e-06 | -0.020586 | -4.3259e-06 | -4.3259e-06 | 89.8109 | 89.8109 | 89.8109 | 89.8109 | 89.8109 | 89.8109 | 1.4697 | 0.0015222 | 0.0015222 | 1.4697 | 0.0015222 | 0.0015222 | -0.07287 | -78.4827 | -78.4827 | -0.07287 | -78.4827 | -78.4827

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096372 | 3.1195 | 3.1233 | 0.0072766 | 3.1201 | 3.1225 | 0.11128 | 36.0204 | 36.0643 | 0.084022 | 36.0277 | 36.055 | 0.0028075 | 9.9575 | 9.6152 | -0.00025054 | -1.3492e-10 | 3.3194e-11 | -0.16131 | 4.2012 | 7.3113 | 0.12347 | -1.3466e-10 | -1.893e-10 | 90.544 | -161.861 | 22.5137 | -90.131 | 18.1809 | -157.5271 | 1.4498 | 0.30004 | 0.33493 | 1.4694 | 0 | 0 | 1.5411 | -138.9852 | 59.7625 | -0.014727 | 0 | 0
Line_1 | 0.001213 | 0.001213 | 0.001213 | 0.0036383 | 0.0036383 | 0.0036383 | 0.014007 | 0.014007 | 0.014007 | 0.042011 | 0.042011 | 0.042011 | -4.1757e-05 | 2.0877e-05 | 2.0877e-05 | 0.00012527 | -1.9851e-13 | 1.8876e-13 | 0.020586 | 4.3259e-06 | 4.3259e-06 | -0.061733 | 1.0003e-13 | 1.2049e-13 | -90.1891 | -90.1891 | -90.1891 | 89.869 | 89.869 | 89.869 | 1.4697 | 0.0015222 | 0.0015222 | 1.4694 | 0 | 0 | -0.07287 | -78.4827 | -78.4827 | -0.014727 | 0 | 0
Line_2 | 0.001213 | 0.001213 | 0.001213 | 0.0036383 | 0.0036383 | 0.0036383 | 0.014007 | 0.014007 | 0.014007 | 0.042011 | 0.042011 | 0.042011 | -4.1757e-05 | 2.0877e-05 | 2.0877e-05 | 0.00012527 | -1.9851e-13 | 1.8876e-13 | 0.020586 | 4.3259e-06 | 4.3259e-06 | -0.061733 | 1.0003e-13 | 1.2049e-13 | -90.1891 | -90.1891 | -90.1891 | 89.869 | 89.869 | 89.869 | 1.4697 | 0.0015222 | 0.0015222 | 1.4694 | 0 | 0 | -0.07287 | -78.4827 | -78.4827 | -0.014727 | 0 | 0
Line_3 | 0.001213 | 0.001213 | 0.001213 | 0.001213 | 0.001213 | 0.001213 | 0.014007 | 0.014007 | 0.014007 | 0.014007 | 0.014007 | 0.014007 | 4.1755e-05 | -2.0877e-05 | -2.0877e-05 | 4.1755e-05 | -2.0877e-05 | -2.0877e-05 | -0.020586 | -4.3259e-06 | -4.3259e-06 | -0.020586 | -4.3259e-06 | -4.3259e-06 | 89.8109 | 89.8109 | 89.8109 | 89.8109 | 89.8109 | 89.8109 | 1.4697 | 0.0015222 | 0.0015222 | 1.4697 | 0.0015222 | 0.0015222 | -0.07287 | -78.4827 | -78.4827 | -0.07287 | -78.4827 | -78.4827

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00857 | 0.97037 | 1.0255 | 0.0064708 | 0.97129 | 1.0242 | 0.098958 | 11.2049 | 11.8415 | 0.074718 | 11.2155 | 11.8267 | -0.002701 | 5.6201 | 6.4182 | 0.0034213 | -4.7046 | -5.2489 | -0.13836 | 4.8888 | 6.2605 | 0.10583 | -4.7597 | -5.1984 | 93.3349 | -148.6838 | 43.0888 | -87.3401 | 31.4277 | -137.0042 | 1.3984 | 0.66478 | 0.75716 | 1.4171 | 0.59671 | 0.62465 | 2.2165 | -107.6644 | 87.3762 | 0.80829 | -103.2388 | 87.7187
Line_1 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0032354 | 0.0032354 | 0.0032354 | 0.012456 | 0.012456 | 0.012456 | 0.037359 | 0.037359 | 0.037359 | 0.00056896 | 0.0071667 | -0.0077356 | -0.0017107 | -0.02144 | 0.02325 | 0.017646 | -0.0020253 | 0.00066571 | -0.052915 | 0.0061068 | -0.00201 | -87.3982 | -87.3982 | -87.3982 | 92.6599 | 92.6599 | 92.6599 | 1.4174 | 0.59791 | 0.62335 | 1.4171 | 0.59671 | 0.62465 | 0.75509 | -103.1788 | 87.6832 | 0.80829 | -103.2388 | 87.7187
Line_2 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0032354 | 0.0032354 | 0.0032354 | 0.012456 | 0.012456 | 0.012456 | 0.037359 | 0.037359 | 0.037359 | 0.00056896 | 0.0071667 | -0.0077356 | -0.0017107 | -0.02144 | 0.02325 | 0.017646 | -0.0020253 | 0.00066571 | -0.052915 | 0.0061068 | -0.00201 | -87.3982 | -87.3982 | -87.3982 | 92.6599 | 92.6599 | 92.6599 | 1.4174 | 0.59791 | 0.62335 | 1.4171 | 0.59671 | 0.62465 | 0.75509 | -103.1788 | 87.6832 | 0.80829 | -103.2388 | 87.7187
Line_3 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0010787 | 0.012456 | 0.012456 | 0.012456 | 0.012456 | 0.012456 | 0.012456 | -0.00056896 | -0.0071667 | 0.0077356 | -0.00056896 | -0.0071667 | 0.0077356 | -0.017646 | 0.0020253 | -0.00066572 | -0.017646 | 0.0020253 | -0.00066572 | 92.6018 | 92.6018 | 92.6018 | 92.6018 | 92.6018 | 92.6018 | 1.4174 | 0.59791 | 0.62335 | 1.4174 | 0.59791 | 0.62335 | 0.75509 | -103.1788 | 87.6832 | 0.75509 | -103.1788 | 87.6832

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00857 | 0.97037 | 1.0255 | 0.0064708 | 0.97129 | 1.0242 | 0.098958 | 11.2049 | 11.8415 | 0.074718 | 11.2155 | 11.8267 | -0.002701 | 5.6201 | 6.4182 | 0.0034213 | -4.7046 | -5.2489 | -0.13836 | 4.8888 | 6.2605 | 0.10583 | -4.7597 | -5.1984 | 93.3349 | -148.6838 | 43.0888 | -87.3401 | 31.4277 | -137.0042 | 1.3984 | 0.66478 | 0.75716 | 1.4171 | 0.59671 | 0.62465 | 2.2165 | -107.6644 | 87.3762 | 0.80829 | -103.2388 | 87.7187
Line_1 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0032354 | 0.0032354 | 0.0032354 | 0.012456 | 0.012456 | 0.012456 | 0.037359 | 0.037359 | 0.037359 | 0.00056896 | 0.0071667 | -0.0077356 | -0.0017107 | -0.02144 | 0.02325 | 0.017646 | -0.0020253 | 0.00066571 | -0.052915 | 0.0061068 | -0.00201 | -87.3982 | -87.3982 | -87.3982 | 92.6599 | 92.6599 | 92.6599 | 1.4174 | 0.59791 | 0.62335 | 1.4171 | 0.59671 | 0.62465 | 0.75509 | -103.1788 | 87.6832 | 0.80829 | -103.2388 | 87.7187
Line_2 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0032354 | 0.0032354 | 0.0032354 | 0.012456 | 0.012456 | 0.012456 | 0.037359 | 0.037359 | 0.037359 | 0.00056896 | 0.0071667 | -0.0077356 | -0.0017107 | -0.02144 | 0.02325 | 0.017646 | -0.0020253 | 0.00066571 | -0.052915 | 0.0061068 | -0.00201 | -87.3982 | -87.3982 | -87.3982 | 92.6599 | 92.6599 | 92.6599 | 1.4174 | 0.59791 | 0.62335 | 1.4171 | 0.59671 | 0.62465 | 0.75509 | -103.1788 | 87.6832 | 0.80829 | -103.2388 | 87.7187
Line_3 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0010787 | 0.012456 | 0.012456 | 0.012456 | 0.012456 | 0.012456 | 0.012456 | -0.00056896 | -0.0071667 | 0.0077356 | -0.00056896 | -0.0071667 | 0.0077356 | -0.017646 | 0.0020253 | -0.00066572 | -0.017646 | 0.0020253 | -0.00066572 | 92.6018 | 92.6018 | 92.6018 | 92.6018 | 92.6018 | 92.6018 | 1.4174 | 0.59791 | 0.62335 | 1.4174 | 0.59791 | 0.62335 | 0.75509 | -103.1788 | 87.6832 | 0.75509 | -103.1788 | 87.6832