## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.7738e-14 | 30.1766 | -15.8685 | 6.2528e-14 | -23.0225 | 23.0225 | 1.0421e-14 | 3.131 | 13.1032 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.3921e-13 | -161.8563 | 152.6723 | 8.2681e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.5632e-14 | 1.5632e-14 | -1.0421e-14 | 2.8659e-14 | -1.5632e-14 | 7.5573e-29 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3099e-13 | -180 | 180 | 8.2681e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -2.6053e-14 | 1.5632e-14 | -2.0843e-14 | 2.8659e-14 | -1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.332e-13 | -180 | 180 | 8.2681e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2106e-15 | -5.2106e-15 | 5.2106e-15 | 7.816e-15 | 1.2606e-25 | 1.0421e-14 | -2.6053e-15 | -5.2106e-15 | -1.0421e-14 | 2.6053e-15 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3099e-13 | -180 | 180 | 8.332e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.7738e-14 | 30.1766 | -15.8685 | 6.2528e-14 | -23.0225 | 23.0225 | 1.0421e-14 | 3.131 | 13.1032 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.3921e-13 | -161.8563 | 152.6723 | 8.2681e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.5632e-14 | 1.5632e-14 | -1.0421e-14 | 2.8659e-14 | -1.5632e-14 | 7.5573e-29 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3099e-13 | -180 | 180 | 8.2681e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -2.6053e-14 | 1.5632e-14 | -2.0843e-14 | 2.8659e-14 | -1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.332e-13 | -180 | 180 | 8.2681e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2106e-15 | -5.2106e-15 | 5.2106e-15 | 7.816e-15 | 1.2606e-25 | 1.0421e-14 | -2.6053e-15 | -5.2106e-15 | -1.0421e-14 | 2.6053e-15 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3099e-13 | -180 | 180 | 8.332e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -4.429e-14 | 19.0761 | -0.30087 | 3.908e-14 | -17.4596 | 1.9173 | 5.2106e-15 | 3.9919 | 15.2185 | -7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.7575e-13 | -138.0936 | 121.2196 | 3.6813e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.7339e-10 | 1.0337e-09 | -1.0421e-14 | -4.7339e-10 | -1.0338e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.0421e-14 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7037e-13 | -142.8673 | 128.239 | 3.6813e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0338e-09 | -1.3027e-14 | -4.7339e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.6987e-13 | -142.8673 | 128.239 | 3.6813e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 5.7344e-15 | -5.9897e-15 | -2.6053e-15 | 7.7623e-15 | -5.8417e-15 | -1.0421e-14 | -7.9238e-16 | -1.2731e-14 | 7.816e-15 | 3.3104e-15 | 7.4131e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7037e-13 | -142.8673 | 128.239 | 3.6987e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -4.429e-14 | 19.0761 | -0.30087 | 3.908e-14 | -17.4596 | 1.9173 | 5.2106e-15 | 3.9919 | 15.2185 | -7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.7575e-13 | -138.0936 | 121.2196 | 3.6813e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.7339e-10 | 1.0337e-09 | -1.0421e-14 | -4.7339e-10 | -1.0338e-09 | -1.3027e-14 | -1.3544e-09 | 3.8386e-10 | 1.0421e-14 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7037e-13 | -142.8673 | 128.239 | 3.6813e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0338e-09 | -1.3027e-14 | -4.7339e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.6987e-13 | -142.8673 | 128.239 | 3.6813e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 5.7344e-15 | -5.9897e-15 | -2.6053e-15 | 7.7623e-15 | -5.8417e-15 | -1.0421e-14 | -7.9238e-16 | -1.2731e-14 | 7.816e-15 | 3.3104e-15 | 7.4131e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.7037e-13 | -142.8673 | 128.239 | 3.6987e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.8948e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | 2.3685e-14 | -0.51586 | 11.9957 | -2.3685e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.7525e-13 | -160.7833 | 141.207 | 7.3522e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.0658e-14 | -2.3684e-15 | 1.4211e-14 | 1.4211e-14 | 2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4579e-13 | -180 | 180 | 7.3522e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.1841e-15 | -7.1053e-15 | 1.1842e-14 | 9.4739e-15 | 7.1054e-15 | -1.8009e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2608e-13 | -180 | 180 | 7.3522e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.3685e-15 | 8.0509e-25 | 2.3685e-15 | 4.737e-15 | 2.3685e-15 | -9.4739e-15 | 1.4211e-14 | 1.4211e-14 | 4.737e-15 | -1.1842e-14 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4579e-13 | -180 | 180 | 7.2608e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.8948e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | 2.3685e-14 | -0.51586 | 11.9957 | -2.3685e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.7525e-13 | -160.7833 | 141.207 | 7.3522e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.0658e-14 | -2.3684e-15 | 1.4211e-14 | 1.4211e-14 | 2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4579e-13 | -180 | 180 | 7.3522e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.1841e-15 | -7.1053e-15 | 1.1842e-14 | 9.4739e-15 | 7.1054e-15 | -1.8009e-28 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2608e-13 | -180 | 180 | 7.3522e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.3685e-15 | 8.0509e-25 | 2.3685e-15 | 4.737e-15 | 2.3685e-15 | -9.4739e-15 | 1.4211e-14 | 1.4211e-14 | 4.737e-15 | -1.1842e-14 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4579e-13 | -180 | 180 | 7.2608e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.3291e-15 | 15.3932 | 0.73601 | -4.737e-15 | -13.0917 | 1.5655 | 1.8948e-14 | 2.3135 | 11.9328 | -1.6579e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.444e-13 | -138.1765 | 119.7467 | 3.6362e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7979e-10 | 8.2616e-10 | 7.1054e-15 | -4.7979e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.6401e-13 | -142.5584 | 131.6989 | 3.6362e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2897e-15 | 4.7979e-10 | 8.2616e-10 | 8.2897e-15 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.5505e-13 | -142.5584 | 131.6989 | 3.6362e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.4639e-15 | 2.6364e-15 | -2.3685e-15 | 2.5082e-15 | -4.8025e-16 | -7.1054e-15 | 1.8867e-15 | 1.382e-15 | 4.737e-15 | -2.5464e-15 | 5.3905e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.6401e-13 | -142.5584 | 131.6989 | 3.5505e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.3291e-15 | 15.3932 | 0.73601 | -4.737e-15 | -13.0917 | 1.5655 | 1.8948e-14 | 2.3135 | 11.9328 | -1.6579e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.444e-13 | -138.1765 | 119.7467 | 3.6362e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 4.7979e-10 | 8.2616e-10 | 7.1054e-15 | -4.7979e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.6401e-13 | -142.5584 | 131.6989 | 3.6362e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2897e-15 | 4.7979e-10 | 8.2616e-10 | 8.2897e-15 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.5505e-13 | -142.5584 | 131.6989 | 3.6362e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.4639e-15 | 2.6364e-15 | -2.3685e-15 | 2.5082e-15 | -4.8025e-16 | -7.1054e-15 | 1.8867e-15 | 1.382e-15 | 4.737e-15 | -2.5464e-15 | 5.3905e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.6401e-13 | -142.5584 | 131.6989 | 3.5505e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61286 | 0.019676 | 0.019676 | 0.60833 | 0.014851 | 0.014851 | 7.0766 | 0.2272 | 0.2272 | 7.0243 | 0.17148 | 0.17148 | 0.61342 | 0.22581 | -0.20705 | 8.1774e-12 | -0.16361 | 0.16306 | 0.32872 | -0.33011 | -0.33459 | -6.5923e-12 | 0.25428 | 0.25999 | -69.1924 | -90.5936 | -90.5936 | 110.9642 | 88.9985 | 88.9985 | 0.098345 | 1.7603 | 1.7318 | 0 | 1.7633 | 1.7897 | -41.0064 | -146.2201 | 147.6571 | 0 | -148.2441 | 146.9033
Line_1 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0074254 | 0.0074254 | 0.0074254 | 0.028586 | 0.028586 | 0.028586 | 0.085741 | 0.085741 | 0.085741 | 4.5292e-05 | -0.02725 | 0.027205 | -1.2267e-13 | 0.081803 | -0.081531 | 1.8019e-05 | 0.042393 | 0.043373 | 3.729e-14 | -0.12714 | -0.13 | 88.9683 | 88.9683 | 88.9683 | -91.0015 | -91.0015 | -91.0015 | 0.0017052 | 1.7629 | 1.791 | 0 | 1.7633 | 1.7897 | 110.6627 | -148.2985 | 146.8711 | 0 | -148.2441 | 146.9033
Line_2 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0074254 | 0.0074254 | 0.0074254 | 0.028586 | 0.028586 | 0.028586 | 0.085741 | 0.085741 | 0.085741 | 4.5292e-05 | -0.02725 | 0.027205 | -1.2267e-13 | 0.081803 | -0.081531 | 1.8019e-05 | 0.042393 | 0.043373 | 3.729e-14 | -0.12714 | -0.13 | 88.9683 | 88.9683 | 88.9683 | -91.0015 | -91.0015 | -91.0015 | 0.0017052 | 1.7629 | 1.791 | 0 | 1.7633 | 1.7897 | 110.6627 | -148.2985 | 146.8711 | 0 | -148.2441 | 146.9033
Line_3 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0024757 | 0.028586 | 0.028586 | 0.028586 | 0.028586 | 0.028586 | 0.028586 | -4.5292e-05 | 0.02725 | -0.027205 | -4.5292e-05 | 0.02725 | -0.027205 | -1.8019e-05 | -0.042393 | -0.043373 | -1.8019e-05 | -0.042393 | -0.043373 | -91.0317 | -91.0317 | -91.0317 | -91.0317 | -91.0317 | -91.0317 | 0.0017052 | 1.7629 | 1.791 | 0.0017052 | 1.7629 | 1.791 | 110.6627 | -148.2985 | 146.8711 | 110.6627 | -148.2985 | 146.8711

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61286 | 0.019676 | 0.019676 | 0.60833 | 0.014851 | 0.014851 | 7.0766 | 0.2272 | 0.2272 | 7.0243 | 0.17148 | 0.17148 | 0.61342 | 0.22581 | -0.20705 | 8.1774e-12 | -0.16361 | 0.16306 | 0.32872 | -0.33011 | -0.33459 | -6.5923e-12 | 0.25428 | 0.25999 | -69.1924 | -90.5936 | -90.5936 | 110.9642 | 88.9985 | 88.9985 | 0.098345 | 1.7603 | 1.7318 | 0 | 1.7633 | 1.7897 | -41.0064 | -146.2201 | 147.6571 | 0 | -148.2441 | 146.9033
Line_1 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0074254 | 0.0074254 | 0.0074254 | 0.028586 | 0.028586 | 0.028586 | 0.085741 | 0.085741 | 0.085741 | 4.5292e-05 | -0.02725 | 0.027205 | -1.2267e-13 | 0.081803 | -0.081531 | 1.8019e-05 | 0.042393 | 0.043373 | 3.729e-14 | -0.12714 | -0.13 | 88.9683 | 88.9683 | 88.9683 | -91.0015 | -91.0015 | -91.0015 | 0.0017052 | 1.7629 | 1.791 | 0 | 1.7633 | 1.7897 | 110.6627 | -148.2985 | 146.8711 | 0 | -148.2441 | 146.9033
Line_2 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0074254 | 0.0074254 | 0.0074254 | 0.028586 | 0.028586 | 0.028586 | 0.085741 | 0.085741 | 0.085741 | 4.5292e-05 | -0.02725 | 0.027205 | -1.2267e-13 | 0.081803 | -0.081531 | 1.8019e-05 | 0.042393 | 0.043373 | 3.729e-14 | -0.12714 | -0.13 | 88.9683 | 88.9683 | 88.9683 | -91.0015 | -91.0015 | -91.0015 | 0.0017052 | 1.7629 | 1.791 | 0 | 1.7633 | 1.7897 | 110.6627 | -148.2985 | 146.8711 | 0 | -148.2441 | 146.9033
Line_3 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0024757 | 0.0024757 | 0.028586 | 0.028586 | 0.028586 | 0.028586 | 0.028586 | 0.028586 | -4.5292e-05 | 0.02725 | -0.027205 | -4.5292e-05 | 0.02725 | -0.027205 | -1.8019e-05 | -0.042393 | -0.043373 | -1.8019e-05 | -0.042393 | -0.043373 | -91.0317 | -91.0317 | -91.0317 | -91.0317 | -91.0317 | -91.0317 | 0.0017052 | 1.7629 | 1.791 | 0.0017052 | 1.7629 | 1.791 | 110.6627 | -148.2985 | 146.8711 | 110.6627 | -148.2985 | 146.8711

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46775 | 0.015018 | 0.015018 | 0.4643 | 0.011335 | 0.011335 | 5.4011 | 0.17341 | 0.17341 | 5.3612 | 0.13088 | 0.13088 | 1.4058 | 0.1606 | -0.16843 | -1.0436 | -0.11745 | 0.13105 | 1.2656 | -0.23074 | -0.20086 | -1.0633 | 0.17698 | 0.1562 | -63.4106 | -84.8119 | -84.8119 | 116.746 | 94.7803 | 94.7803 | 0.35021 | 1.6212 | 1.5117 | 0.2779 | 1.6229 | 1.5578 | -21.4152 | -139.9724 | 145.2067 | -17.7187 | -141.651 | 144.7844
Line_1 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0056673 | 0.0056673 | 0.0056673 | 0.021818 | 0.021818 | 0.021818 | 0.06544 | 0.06544 | 0.06544 | -0.0022908 | -0.019568 | 0.021859 | 0.0069591 | 0.058723 | -0.065524 | -0.0055924 | 0.029503 | 0.026061 | 0.016802 | -0.08849 | -0.0781 | 94.75 | 94.75 | 94.75 | -85.2197 | -85.2197 | -85.2197 | 0.27699 | 1.6226 | 1.559 | 0.2779 | 1.6229 | 1.5578 | -17.5256 | -141.6959 | 144.7617 | -17.7187 | -141.651 | 144.7844
Line_2 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0056673 | 0.0056673 | 0.0056673 | 0.021818 | 0.021818 | 0.021818 | 0.06544 | 0.06544 | 0.06544 | -0.0022908 | -0.019568 | 0.021859 | 0.0069591 | 0.058723 | -0.065524 | -0.0055924 | 0.029503 | 0.026061 | 0.016802 | -0.08849 | -0.0781 | 94.75 | 94.75 | 94.75 | -85.2197 | -85.2197 | -85.2197 | 0.27699 | 1.6226 | 1.559 | 0.2779 | 1.6229 | 1.5578 | -17.5256 | -141.6959 | 144.7617 | -17.7187 | -141.651 | 144.7844
Line_3 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0018895 | 0.021818 | 0.021818 | 0.021818 | 0.021818 | 0.021818 | 0.021818 | 0.0022908 | 0.019568 | -0.021859 | 0.0022908 | 0.019568 | -0.021859 | 0.0055924 | -0.029503 | -0.026061 | 0.0055924 | -0.029503 | -0.026061 | -85.25 | -85.25 | -85.25 | -85.25 | -85.25 | -85.25 | 0.27699 | 1.6226 | 1.559 | 0.27699 | 1.6226 | 1.559 | -17.5256 | -141.6959 | 144.7617 | -17.5256 | -141.6959 | 144.7617

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46775 | 0.015018 | 0.015018 | 0.4643 | 0.011335 | 0.011335 | 5.4011 | 0.17341 | 0.17341 | 5.3612 | 0.13088 | 0.13088 | 1.4058 | 0.1606 | -0.16843 | -1.0436 | -0.11745 | 0.13105 | 1.2656 | -0.23074 | -0.20086 | -1.0633 | 0.17698 | 0.1562 | -63.4106 | -84.8119 | -84.8119 | 116.746 | 94.7803 | 94.7803 | 0.35021 | 1.6212 | 1.5117 | 0.2779 | 1.6229 | 1.5578 | -21.4152 | -139.9724 | 145.2067 | -17.7187 | -141.651 | 144.7844
Line_1 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0056673 | 0.0056673 | 0.0056673 | 0.021818 | 0.021818 | 0.021818 | 0.06544 | 0.06544 | 0.06544 | -0.0022908 | -0.019568 | 0.021859 | 0.0069591 | 0.058723 | -0.065524 | -0.0055924 | 0.029503 | 0.026061 | 0.016802 | -0.08849 | -0.0781 | 94.75 | 94.75 | 94.75 | -85.2197 | -85.2197 | -85.2197 | 0.27699 | 1.6226 | 1.559 | 0.2779 | 1.6229 | 1.5578 | -17.5256 | -141.6959 | 144.7617 | -17.7187 | -141.651 | 144.7844
Line_2 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0056673 | 0.0056673 | 0.0056673 | 0.021818 | 0.021818 | 0.021818 | 0.06544 | 0.06544 | 0.06544 | -0.0022908 | -0.019568 | 0.021859 | 0.0069591 | 0.058723 | -0.065524 | -0.0055924 | 0.029503 | 0.026061 | 0.016802 | -0.08849 | -0.0781 | 94.75 | 94.75 | 94.75 | -85.2197 | -85.2197 | -85.2197 | 0.27699 | 1.6226 | 1.559 | 0.2779 | 1.6229 | 1.5578 | -17.5256 | -141.6959 | 144.7617 | -17.7187 | -141.651 | 144.7844
Line_3 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0018895 | 0.0018895 | 0.021818 | 0.021818 | 0.021818 | 0.021818 | 0.021818 | 0.021818 | 0.0022908 | 0.019568 | -0.021859 | 0.0022908 | 0.019568 | -0.021859 | 0.0055924 | -0.029503 | -0.026061 | 0.0055924 | -0.029503 | -0.026061 | -85.25 | -85.25 | -85.25 | -85.25 | -85.25 | -85.25 | 0.27699 | 1.6226 | 1.559 | 0.27699 | 1.6226 | 1.559 | -17.5256 | -141.6959 | 144.7617 | -17.5256 | -141.6959 | 144.7617

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54076 | 0.017721 | 0.017721 | 0.53677 | 0.013419 | 0.013419 | 6.2441 | 0.20462 | 0.20462 | 6.1981 | 0.15495 | 0.15495 | 0.91582 | 0.19178 | -0.16264 | -4.8819e-12 | -0.13461 | 0.13376 | 0.24821 | -0.26669 | -0.2659 | -1.3706e-12 | 0.20838 | 0.21153 | -65.2997 | -89.8728 | -89.8728 | 114.8731 | 89.3278 | 89.3278 | 0.15196 | 1.6053 | 1.5233 | 0 | 1.601 | 1.6152 | -50.1355 | -144.1528 | 148.6753 | 0 | -147.8107 | 147.0214
Line_1 | 0.002237 | 0.002237 | 0.002237 | 0.0067097 | 0.0067097 | 0.0067097 | 0.025831 | 0.025831 | 0.025831 | 0.077477 | 0.077477 | 0.077477 | 7.1006e-05 | -0.022404 | 0.022333 | 4.7671e-14 | 0.067306 | -0.06688 | 1.4713e-05 | 0.03473 | 0.0353 | 4.1773e-14 | -0.10419 | -0.10577 | 89.2697 | 89.2697 | 89.2697 | -90.6722 | -90.6722 | -90.6722 | 0.0028072 | 1.6 | 1.6171 | 0 | 1.601 | 1.6152 | 100.9761 | -147.9044 | 146.9498 | 0 | -147.8107 | 147.0214
Line_2 | 0.002237 | 0.002237 | 0.002237 | 0.0067097 | 0.0067097 | 0.0067097 | 0.025831 | 0.025831 | 0.025831 | 0.077477 | 0.077477 | 0.077477 | 7.1006e-05 | -0.022404 | 0.022333 | 4.7671e-14 | 0.067306 | -0.06688 | 1.4713e-05 | 0.03473 | 0.0353 | 4.1773e-14 | -0.10419 | -0.10577 | 89.2697 | 89.2697 | 89.2697 | -90.6722 | -90.6722 | -90.6722 | 0.0028072 | 1.6 | 1.6171 | 0 | 1.601 | 1.6152 | 100.9761 | -147.9044 | 146.9498 | 0 | -147.8107 | 147.0214
Line_3 | 0.002237 | 0.002237 | 0.002237 | 0.002237 | 0.002237 | 0.002237 | 0.025831 | 0.025831 | 0.025831 | 0.025831 | 0.025831 | 0.025831 | -7.1006e-05 | 0.022404 | -0.022333 | -7.1006e-05 | 0.022404 | -0.022333 | -1.4713e-05 | -0.03473 | -0.0353 | -1.4713e-05 | -0.03473 | -0.0353 | -90.7303 | -90.7303 | -90.7303 | -90.7303 | -90.7303 | -90.7303 | 0.0028072 | 1.6 | 1.6171 | 0.0028072 | 1.6 | 1.6171 | 100.9761 | -147.9044 | 146.9498 | 100.9761 | -147.9044 | 146.9498

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54076 | 0.017721 | 0.017721 | 0.53677 | 0.013419 | 0.013419 | 6.2441 | 0.20462 | 0.20462 | 6.1981 | 0.15495 | 0.15495 | 0.91582 | 0.19178 | -0.16264 | -4.8819e-12 | -0.13461 | 0.13376 | 0.24821 | -0.26669 | -0.2659 | -1.3706e-12 | 0.20838 | 0.21153 | -65.2997 | -89.8728 | -89.8728 | 114.8731 | 89.3278 | 89.3278 | 0.15196 | 1.6053 | 1.5233 | 0 | 1.601 | 1.6152 | -50.1355 | -144.1528 | 148.6753 | 0 | -147.8107 | 147.0214
Line_1 | 0.002237 | 0.002237 | 0.002237 | 0.0067097 | 0.0067097 | 0.0067097 | 0.025831 | 0.025831 | 0.025831 | 0.077477 | 0.077477 | 0.077477 | 7.1006e-05 | -0.022404 | 0.022333 | 4.7671e-14 | 0.067306 | -0.06688 | 1.4713e-05 | 0.03473 | 0.0353 | 4.1773e-14 | -0.10419 | -0.10577 | 89.2697 | 89.2697 | 89.2697 | -90.6722 | -90.6722 | -90.6722 | 0.0028072 | 1.6 | 1.6171 | 0 | 1.601 | 1.6152 | 100.9761 | -147.9044 | 146.9498 | 0 | -147.8107 | 147.0214
Line_2 | 0.002237 | 0.002237 | 0.002237 | 0.0067097 | 0.0067097 | 0.0067097 | 0.025831 | 0.025831 | 0.025831 | 0.077477 | 0.077477 | 0.077477 | 7.1006e-05 | -0.022404 | 0.022333 | 4.7671e-14 | 0.067306 | -0.06688 | 1.4713e-05 | 0.03473 | 0.0353 | 4.1773e-14 | -0.10419 | -0.10577 | 89.2697 | 89.2697 | 89.2697 | -90.6722 | -90.6722 | -90.6722 | 0.0028072 | 1.6 | 1.6171 | 0 | 1.601 | 1.6152 | 100.9761 | -147.9044 | 146.9498 | 0 | -147.8107 | 147.0214
Line_3 | 0.002237 | 0.002237 | 0.002237 | 0.002237 | 0.002237 | 0.002237 | 0.025831 | 0.025831 | 0.025831 | 0.025831 | 0.025831 | 0.025831 | -7.1006e-05 | 0.022404 | -0.022333 | -7.1006e-05 | 0.022404 | -0.022333 | -1.4713e-05 | -0.03473 | -0.0353 | -1.4713e-05 | -0.03473 | -0.0353 | -90.7303 | -90.7303 | -90.7303 | -90.7303 | -90.7303 | -90.7303 | 0.0028072 | 1.6 | 1.6171 | 0.0028072 | 1.6 | 1.6171 | 100.9761 | -147.9044 | 146.9498 | 100.9761 | -147.9044 | 146.9498

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41365 | 0.013555 | 0.013555 | 0.4106 | 0.010265 | 0.010265 | 4.7764 | 0.15652 | 0.15652 | 4.7411 | 0.11853 | 0.11853 | 1.3542 | 0.13714 | -0.13301 | -0.81484 | -0.097946 | 0.10685 | 0.98691 | -0.18535 | -0.16252 | -0.83302 | 0.14386 | 0.12942 | -60.5948 | -85.1679 | -85.1679 | 119.578 | 94.0327 | 94.0327 | 0.35083 | 1.4731 | 1.3417 | 0.24578 | 1.4683 | 1.4159 | -24.5118 | -138.6716 | 145.5349 | -14.7901 | -141.7186 | 144.4907
Line_1 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0051325 | 0.0051325 | 0.0051325 | 0.019759 | 0.019759 | 0.019759 | 0.059265 | 0.059265 | 0.059265 | -0.0015207 | -0.016311 | 0.017831 | 0.0046997 | 0.048973 | -0.053424 | -0.0045897 | 0.023974 | 0.021602 | 0.013787 | -0.07193 | -0.064711 | 93.9746 | 93.9746 | 93.9746 | -85.9673 | -85.9673 | -85.9673 | 0.2447 | 1.4675 | 1.4176 | 0.24578 | 1.4683 | 1.4159 | -14.3567 | -141.796 | 144.4363 | -14.7901 | -141.7186 | 144.4907
Line_2 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0051325 | 0.0051325 | 0.0051325 | 0.019759 | 0.019759 | 0.019759 | 0.059265 | 0.059265 | 0.059265 | -0.0015207 | -0.016311 | 0.017831 | 0.0046997 | 0.048973 | -0.053424 | -0.0045897 | 0.023974 | 0.021602 | 0.013787 | -0.07193 | -0.064711 | 93.9746 | 93.9746 | 93.9746 | -85.9673 | -85.9673 | -85.9673 | 0.2447 | 1.4675 | 1.4176 | 0.24578 | 1.4683 | 1.4159 | -14.3567 | -141.796 | 144.4363 | -14.7901 | -141.7186 | 144.4907
Line_3 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0017112 | 0.019759 | 0.019759 | 0.019759 | 0.019759 | 0.019759 | 0.019759 | 0.0015207 | 0.016311 | -0.017831 | 0.0015207 | 0.016311 | -0.017831 | 0.0045897 | -0.023974 | -0.021602 | 0.0045897 | -0.023974 | -0.021602 | -86.0254 | -86.0254 | -86.0254 | -86.0254 | -86.0254 | -86.0254 | 0.2447 | 1.4675 | 1.4176 | 0.2447 | 1.4675 | 1.4176 | -14.3567 | -141.796 | 144.4363 | -14.3567 | -141.796 | 144.4363

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41365 | 0.013555 | 0.013555 | 0.4106 | 0.010265 | 0.010265 | 4.7764 | 0.15652 | 0.15652 | 4.7411 | 0.11853 | 0.11853 | 1.3542 | 0.13714 | -0.13301 | -0.81484 | -0.097946 | 0.10685 | 0.98691 | -0.18535 | -0.16252 | -0.83302 | 0.14386 | 0.12942 | -60.5948 | -85.1679 | -85.1679 | 119.578 | 94.0327 | 94.0327 | 0.35083 | 1.4731 | 1.3417 | 0.24578 | 1.4683 | 1.4159 | -24.5118 | -138.6716 | 145.5349 | -14.7901 | -141.7186 | 144.4907
Line_1 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0051325 | 0.0051325 | 0.0051325 | 0.019759 | 0.019759 | 0.019759 | 0.059265 | 0.059265 | 0.059265 | -0.0015207 | -0.016311 | 0.017831 | 0.0046997 | 0.048973 | -0.053424 | -0.0045897 | 0.023974 | 0.021602 | 0.013787 | -0.07193 | -0.064711 | 93.9746 | 93.9746 | 93.9746 | -85.9673 | -85.9673 | -85.9673 | 0.2447 | 1.4675 | 1.4176 | 0.24578 | 1.4683 | 1.4159 | -14.3567 | -141.796 | 144.4363 | -14.7901 | -141.7186 | 144.4907
Line_2 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0051325 | 0.0051325 | 0.0051325 | 0.019759 | 0.019759 | 0.019759 | 0.059265 | 0.059265 | 0.059265 | -0.0015207 | -0.016311 | 0.017831 | 0.0046997 | 0.048973 | -0.053424 | -0.0045897 | 0.023974 | 0.021602 | 0.013787 | -0.07193 | -0.064711 | 93.9746 | 93.9746 | 93.9746 | -85.9673 | -85.9673 | -85.9673 | 0.2447 | 1.4675 | 1.4176 | 0.24578 | 1.4683 | 1.4159 | -14.3567 | -141.796 | 144.4363 | -14.7901 | -141.7186 | 144.4907
Line_3 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0017112 | 0.0017112 | 0.019759 | 0.019759 | 0.019759 | 0.019759 | 0.019759 | 0.019759 | 0.0015207 | 0.016311 | -0.017831 | 0.0015207 | 0.016311 | -0.017831 | 0.0045897 | -0.023974 | -0.021602 | 0.0045897 | -0.023974 | -0.021602 | -86.0254 | -86.0254 | -86.0254 | -86.0254 | -86.0254 | -86.0254 | 0.2447 | 1.4675 | 1.4176 | 0.2447 | 1.4675 | 1.4176 | -14.3567 | -141.796 | 144.4363 | -14.3567 | -141.796 | 144.4363

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010561 | 3.7383 | 3.6876 | 0.0079709 | 3.7387 | 3.687 | 0.12195 | 43.1663 | 42.5803 | 0.09204 | 43.1706 | 42.5733 | 0.0021072 | 7.8912 | 6.5705 | -0.00015658 | 7.6887e-11 | 7.8116e-11 | -0.19389 | 6.9774 | 9.3238 | 0.14815 | -4.459e-11 | 3.3577e-11 | 90.0948 | -170.3476 | 14.8233 | -90.3131 | 9.6917 | -165.2158 | 1.59 | 0.24402 | 0.26788 | 1.6097 | 0 | 0 | 0.71747 | -128.8643 | 69.6511 | -0.2525 | 0 | 0
Line_1 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0039854 | 0.0039854 | 0.0039854 | 0.015343 | 0.015343 | 0.015343 | 0.04602 | 0.04602 | 0.04602 | -2.6099e-05 | 1.3048e-05 | 1.3048e-05 | 7.829e-05 | -3.2571e-14 | -5.7036e-14 | 0.024702 | 5.1909e-06 | 5.1909e-06 | -0.074076 | -8.8973e-14 | 7.2072e-14 | -90.3433 | -90.3433 | -90.3433 | 89.6869 | 89.6869 | 89.6869 | 1.61 | 0.00091522 | 0.00091522 | 1.6097 | 0 | 0 | -0.28278 | -68.6489 | -68.6489 | -0.2525 | 0 | 0
Line_2 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0039854 | 0.0039854 | 0.0039854 | 0.015343 | 0.015343 | 0.015343 | 0.04602 | 0.04602 | 0.04602 | -2.6099e-05 | 1.3048e-05 | 1.3048e-05 | 7.829e-05 | -3.2571e-14 | -5.7036e-14 | 0.024702 | 5.1909e-06 | 5.1909e-06 | -0.074076 | -8.8973e-14 | 7.2072e-14 | -90.3433 | -90.3433 | -90.3433 | 89.6869 | 89.6869 | 89.6869 | 1.61 | 0.00091522 | 0.00091522 | 1.6097 | 0 | 0 | -0.28278 | -68.6489 | -68.6489 | -0.2525 | 0 | 0
Line_3 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0013288 | 0.015343 | 0.015343 | 0.015343 | 0.015343 | 0.015343 | 0.015343 | 2.6096e-05 | -1.3048e-05 | -1.3048e-05 | 2.6096e-05 | -1.3048e-05 | -1.3048e-05 | -0.024702 | -5.1909e-06 | -5.1909e-06 | -0.024702 | -5.1909e-06 | -5.1909e-06 | 89.6567 | 89.6567 | 89.6567 | 89.6567 | 89.6567 | 89.6567 | 1.61 | 0.00091522 | 0.00091522 | 1.61 | 0.00091522 | 0.00091522 | -0.28278 | -68.6489 | -68.6489 | -0.28278 | -68.6489 | -68.6489

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010561 | 3.7383 | 3.6876 | 0.0079709 | 3.7387 | 3.687 | 0.12195 | 43.1663 | 42.5803 | 0.09204 | 43.1706 | 42.5733 | 0.0021072 | 7.8912 | 6.5705 | -0.00015658 | 7.6887e-11 | 7.8116e-11 | -0.19389 | 6.9774 | 9.3238 | 0.14815 | -4.459e-11 | 3.3577e-11 | 90.0948 | -170.3476 | 14.8233 | -90.3131 | 9.6917 | -165.2158 | 1.59 | 0.24402 | 0.26788 | 1.6097 | 0 | 0 | 0.71747 | -128.8643 | 69.6511 | -0.2525 | 0 | 0
Line_1 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0039854 | 0.0039854 | 0.0039854 | 0.015343 | 0.015343 | 0.015343 | 0.04602 | 0.04602 | 0.04602 | -2.6099e-05 | 1.3048e-05 | 1.3048e-05 | 7.829e-05 | -3.2571e-14 | -5.7036e-14 | 0.024702 | 5.1909e-06 | 5.1909e-06 | -0.074076 | -8.8973e-14 | 7.2072e-14 | -90.3433 | -90.3433 | -90.3433 | 89.6869 | 89.6869 | 89.6869 | 1.61 | 0.00091522 | 0.00091522 | 1.6097 | 0 | 0 | -0.28278 | -68.6489 | -68.6489 | -0.2525 | 0 | 0
Line_2 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0039854 | 0.0039854 | 0.0039854 | 0.015343 | 0.015343 | 0.015343 | 0.04602 | 0.04602 | 0.04602 | -2.6099e-05 | 1.3048e-05 | 1.3048e-05 | 7.829e-05 | -3.2571e-14 | -5.7036e-14 | 0.024702 | 5.1909e-06 | 5.1909e-06 | -0.074076 | -8.8973e-14 | 7.2072e-14 | -90.3433 | -90.3433 | -90.3433 | 89.6869 | 89.6869 | 89.6869 | 1.61 | 0.00091522 | 0.00091522 | 1.6097 | 0 | 0 | -0.28278 | -68.6489 | -68.6489 | -0.2525 | 0 | 0
Line_3 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0013288 | 0.0013288 | 0.015343 | 0.015343 | 0.015343 | 0.015343 | 0.015343 | 0.015343 | 2.6096e-05 | -1.3048e-05 | -1.3048e-05 | 2.6096e-05 | -1.3048e-05 | -1.3048e-05 | -0.024702 | -5.1909e-06 | -5.1909e-06 | -0.024702 | -5.1909e-06 | -5.1909e-06 | 89.6567 | 89.6567 | 89.6567 | 89.6567 | 89.6567 | 89.6567 | 1.61 | 0.00091522 | 0.00091522 | 1.61 | 0.00091522 | 0.00091522 | -0.28278 | -68.6489 | -68.6489 | -0.28278 | -68.6489 | -68.6489

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0090589 | 1.115 | 1.1712 | 0.0068373 | 1.1159 | 1.1699 | 0.1046 | 12.8755 | 13.5244 | 0.07895 | 12.8857 | 13.5087 | -0.0052748 | 6.9081 | 7.6015 | 0.0049492 | -6.2082 | -6.8488 | -0.15881 | 6.6624 | 7.973 | 0.12124 | -6.2773 | -6.7869 | 93.4821 | -151.873 | 42.4595 | -86.9258 | 28.2318 | -137.6266 | 1.5191 | 0.7454 | 0.81453 | 1.5369 | 0.68516 | 0.71376 | 1.5798 | -107.9102 | 88.8259 | 0.7365 | -106.4513 | 87.1133
Line_1 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0034186 | 0.0034186 | 0.0034186 | 0.013161 | 0.013161 | 0.013161 | 0.039475 | 0.039475 | 0.039475 | 0.00082397 | 0.00851 | -0.009334 | -0.0024746 | -0.025491 | 0.028023 | 0.020214 | -0.0030055 | 0.00097444 | -0.060618 | 0.0090397 | -0.002926 | -86.9561 | -86.9561 | -86.9561 | 93.0742 | 93.0742 | 93.0742 | 1.5372 | 0.68575 | 0.71307 | 1.5369 | 0.68516 | 0.71376 | 0.70977 | -106.4081 | 87.0841 | 0.7365 | -106.4513 | 87.1133
Line_2 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0034186 | 0.0034186 | 0.0034186 | 0.013161 | 0.013161 | 0.013161 | 0.039475 | 0.039475 | 0.039475 | 0.00082397 | 0.00851 | -0.009334 | -0.0024746 | -0.025491 | 0.028023 | 0.020214 | -0.0030055 | 0.00097444 | -0.060618 | 0.0090397 | -0.002926 | -86.9561 | -86.9561 | -86.9561 | 93.0742 | 93.0742 | 93.0742 | 1.5372 | 0.68575 | 0.71307 | 1.5369 | 0.68516 | 0.71376 | 0.70977 | -106.4081 | 87.0841 | 0.7365 | -106.4513 | 87.1133
Line_3 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0011398 | 0.013161 | 0.013161 | 0.013161 | 0.013161 | 0.013161 | 0.013161 | -0.00082398 | -0.00851 | 0.009334 | -0.00082398 | -0.00851 | 0.009334 | -0.020214 | 0.0030056 | -0.00097444 | -0.020214 | 0.0030056 | -0.00097444 | 93.0439 | 93.0439 | 93.0439 | 93.0439 | 93.0439 | 93.0439 | 1.5372 | 0.68575 | 0.71307 | 1.5372 | 0.68575 | 0.71307 | 0.70977 | -106.4081 | 87.0841 | 0.70977 | -106.4081 | 87.0841

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0090589 | 1.115 | 1.1712 | 0.0068373 | 1.1159 | 1.1699 | 0.1046 | 12.8755 | 13.5244 | 0.07895 | 12.8857 | 13.5087 | -0.0052748 | 6.9081 | 7.6015 | 0.0049492 | -6.2082 | -6.8488 | -0.15881 | 6.6624 | 7.973 | 0.12124 | -6.2773 | -6.7869 | 93.4821 | -151.873 | 42.4595 | -86.9258 | 28.2318 | -137.6266 | 1.5191 | 0.7454 | 0.81453 | 1.5369 | 0.68516 | 0.71376 | 1.5798 | -107.9102 | 88.8259 | 0.7365 | -106.4513 | 87.1133
Line_1 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0034186 | 0.0034186 | 0.0034186 | 0.013161 | 0.013161 | 0.013161 | 0.039475 | 0.039475 | 0.039475 | 0.00082397 | 0.00851 | -0.009334 | -0.0024746 | -0.025491 | 0.028023 | 0.020214 | -0.0030055 | 0.00097444 | -0.060618 | 0.0090397 | -0.002926 | -86.9561 | -86.9561 | -86.9561 | 93.0742 | 93.0742 | 93.0742 | 1.5372 | 0.68575 | 0.71307 | 1.5369 | 0.68516 | 0.71376 | 0.70977 | -106.4081 | 87.0841 | 0.7365 | -106.4513 | 87.1133
Line_2 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0034186 | 0.0034186 | 0.0034186 | 0.013161 | 0.013161 | 0.013161 | 0.039475 | 0.039475 | 0.039475 | 0.00082397 | 0.00851 | -0.009334 | -0.0024746 | -0.025491 | 0.028023 | 0.020214 | -0.0030055 | 0.00097444 | -0.060618 | 0.0090397 | -0.002926 | -86.9561 | -86.9561 | -86.9561 | 93.0742 | 93.0742 | 93.0742 | 1.5372 | 0.68575 | 0.71307 | 1.5369 | 0.68516 | 0.71376 | 0.70977 | -106.4081 | 87.0841 | 0.7365 | -106.4513 | 87.1133
Line_3 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0011398 | 0.0011398 | 0.013161 | 0.013161 | 0.013161 | 0.013161 | 0.013161 | 0.013161 | -0.00082398 | -0.00851 | 0.009334 | -0.00082398 | -0.00851 | 0.009334 | -0.020214 | 0.0030056 | -0.00097444 | -0.020214 | 0.0030056 | -0.00097444 | 93.0439 | 93.0439 | 93.0439 | 93.0439 | 93.0439 | 93.0439 | 1.5372 | 0.68575 | 0.71307 | 1.5372 | 0.68575 | 0.71307 | 0.70977 | -106.4081 | 87.0841 | 0.70977 | -106.4081 | 87.0841

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095532 | 3.1332 | 3.1122 | 0.0072344 | 3.1338 | 3.1114 | 0.11031 | 36.179 | 35.9362 | 0.083535 | 36.1857 | 35.927 | 0.0032734 | 10.2905 | 9.3672 | -0.00024764 | -1.3621e-10 | 3.0636e-11 | -0.15796 | 3.891 | 7.6406 | 0.12204 | -1.3623e-10 | -1.8981e-10 | 90.5333 | -162.4117 | 23.0856 | -90.2661 | 17.6293 | -156.9545 | 1.4323 | 0.30409 | 0.33638 | 1.4609 | 0 | 0 | 1.7205 | -141.6996 | 62.2891 | -0.14984 | 0 | 0
Line_1 | 0.001206 | 0.001206 | 0.001206 | 0.0036172 | 0.0036172 | 0.0036172 | 0.013925 | 0.013925 | 0.013925 | 0.041768 | 0.041768 | 0.041768 | -4.1275e-05 | 2.0636e-05 | 2.0636e-05 | 0.00012382 | -1.9795e-13 | 1.8856e-13 | 0.020348 | 4.2759e-06 | 4.2759e-06 | -0.061019 | 1.0129e-13 | 1.2004e-13 | -90.3242 | -90.3242 | -90.3242 | 89.7339 | 89.7339 | 89.7339 | 1.4612 | 0.0015134 | 0.0015134 | 1.4609 | 0 | 0 | -0.20798 | -78.6178 | -78.6178 | -0.14984 | 0 | 0
Line_2 | 0.001206 | 0.001206 | 0.001206 | 0.0036172 | 0.0036172 | 0.0036172 | 0.013925 | 0.013925 | 0.013925 | 0.041768 | 0.041768 | 0.041768 | -4.1275e-05 | 2.0636e-05 | 2.0636e-05 | 0.00012382 | -1.9795e-13 | 1.8856e-13 | 0.020348 | 4.2759e-06 | 4.2759e-06 | -0.061019 | 1.0129e-13 | 1.2004e-13 | -90.3242 | -90.3242 | -90.3242 | 89.7339 | 89.7339 | 89.7339 | 1.4612 | 0.0015134 | 0.0015134 | 1.4609 | 0 | 0 | -0.20798 | -78.6178 | -78.6178 | -0.14984 | 0 | 0
Line_3 | 0.001206 | 0.001206 | 0.001206 | 0.001206 | 0.001206 | 0.001206 | 0.013925 | 0.013925 | 0.013925 | 0.013925 | 0.013925 | 0.013925 | 4.1272e-05 | -2.0636e-05 | -2.0636e-05 | 4.1272e-05 | -2.0636e-05 | -2.0636e-05 | -0.020348 | -4.2759e-06 | -4.2759e-06 | -0.020348 | -4.2759e-06 | -4.2759e-06 | 89.6758 | 89.6758 | 89.6758 | 89.6758 | 89.6758 | 89.6758 | 1.4612 | 0.0015134 | 0.0015134 | 1.4612 | 0.0015134 | 0.0015134 | -0.20798 | -78.6178 | -78.6178 | -0.20798 | -78.6178 | -78.6178

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095532 | 3.1332 | 3.1122 | 0.0072344 | 3.1338 | 3.1114 | 0.11031 | 36.179 | 35.9362 | 0.083535 | 36.1857 | 35.927 | 0.0032734 | 10.2905 | 9.3672 | -0.00024764 | -1.3621e-10 | 3.0636e-11 | -0.15796 | 3.891 | 7.6406 | 0.12204 | -1.3623e-10 | -1.8981e-10 | 90.5333 | -162.4117 | 23.0856 | -90.2661 | 17.6293 | -156.9545 | 1.4323 | 0.30409 | 0.33638 | 1.4609 | 0 | 0 | 1.7205 | -141.6996 | 62.2891 | -0.14984 | 0 | 0
Line_1 | 0.001206 | 0.001206 | 0.001206 | 0.0036172 | 0.0036172 | 0.0036172 | 0.013925 | 0.013925 | 0.013925 | 0.041768 | 0.041768 | 0.041768 | -4.1275e-05 | 2.0636e-05 | 2.0636e-05 | 0.00012382 | -1.9795e-13 | 1.8856e-13 | 0.020348 | 4.2759e-06 | 4.2759e-06 | -0.061019 | 1.0129e-13 | 1.2004e-13 | -90.3242 | -90.3242 | -90.3242 | 89.7339 | 89.7339 | 89.7339 | 1.4612 | 0.0015134 | 0.0015134 | 1.4609 | 0 | 0 | -0.20798 | -78.6178 | -78.6178 | -0.14984 | 0 | 0
Line_2 | 0.001206 | 0.001206 | 0.001206 | 0.0036172 | 0.0036172 | 0.0036172 | 0.013925 | 0.013925 | 0.013925 | 0.041768 | 0.041768 | 0.041768 | -4.1275e-05 | 2.0636e-05 | 2.0636e-05 | 0.00012382 | -1.9795e-13 | 1.8856e-13 | 0.020348 | 4.2759e-06 | 4.2759e-06 | -0.061019 | 1.0129e-13 | 1.2004e-13 | -90.3242 | -90.3242 | -90.3242 | 89.7339 | 89.7339 | 89.7339 | 1.4612 | 0.0015134 | 0.0015134 | 1.4609 | 0 | 0 | -0.20798 | -78.6178 | -78.6178 | -0.14984 | 0 | 0
Line_3 | 0.001206 | 0.001206 | 0.001206 | 0.001206 | 0.001206 | 0.001206 | 0.013925 | 0.013925 | 0.013925 | 0.013925 | 0.013925 | 0.013925 | 4.1272e-05 | -2.0636e-05 | -2.0636e-05 | 4.1272e-05 | -2.0636e-05 | -2.0636e-05 | -0.020348 | -4.2759e-06 | -4.2759e-06 | -0.020348 | -4.2759e-06 | -4.2759e-06 | 89.6758 | 89.6758 | 89.6758 | 89.6758 | 89.6758 | 89.6758 | 1.4612 | 0.0015134 | 0.0015134 | 1.4612 | 0.0015134 | 0.0015134 | -0.20798 | -78.6178 | -78.6178 | -0.20798 | -78.6178 | -78.6178

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081997 | 0.97805 | 1.0234 | 0.0062094 | 0.97886 | 1.0222 | 0.094682 | 11.2935 | 11.8178 | 0.0717 | 11.303 | 11.8034 | -0.0023156 | 5.7649 | 6.3795 | 0.0032569 | -4.778 | -5.227 | -0.12963 | 4.8771 | 6.3386 | 0.099997 | -4.8319 | -5.1797 | 93.3202 | -150.0834 | 44.4826 | -87.4792 | 30.023 | -135.6046 | 1.3694 | 0.66863 | 0.76098 | 1.3954 | 0.6012 | 0.62344 | 2.2969 | -109.8525 | 89.2983 | 0.65534 | -104.6555 | 89.1351
Line_1 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0031047 | 0.0031047 | 0.0031047 | 0.011952 | 0.011952 | 0.011952 | 0.03585 | 0.03585 | 0.03585 | 0.00054123 | 0.0068826 | -0.0074239 | -0.0016284 | -0.020592 | 0.022311 | 0.016673 | -0.0021119 | 0.00043567 | -0.049998 | 0.0063648 | -0.0013199 | -87.5373 | -87.5373 | -87.5373 | 92.5208 | 92.5208 | 92.5208 | 1.3957 | 0.60233 | 0.62218 | 1.3954 | 0.6012 | 0.62344 | 0.60349 | -104.596 | 89.1041 | 0.65534 | -104.6555 | 89.1351
Line_2 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0031047 | 0.0031047 | 0.0031047 | 0.011952 | 0.011952 | 0.011952 | 0.03585 | 0.03585 | 0.03585 | 0.00054123 | 0.0068826 | -0.0074239 | -0.0016284 | -0.020592 | 0.022311 | 0.016673 | -0.0021119 | 0.00043567 | -0.049998 | 0.0063648 | -0.0013199 | -87.5373 | -87.5373 | -87.5373 | 92.5208 | 92.5208 | 92.5208 | 1.3957 | 0.60233 | 0.62218 | 1.3954 | 0.6012 | 0.62344 | 0.60349 | -104.596 | 89.1041 | 0.65534 | -104.6555 | 89.1351
Line_3 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0010351 | 0.011952 | 0.011952 | 0.011952 | 0.011952 | 0.011952 | 0.011952 | -0.00054123 | -0.0068826 | 0.0074239 | -0.00054123 | -0.0068826 | 0.0074239 | -0.016673 | 0.0021119 | -0.00043568 | -0.016673 | 0.0021119 | -0.00043568 | 92.4627 | 92.4627 | 92.4627 | 92.4627 | 92.4627 | 92.4627 | 1.3957 | 0.60233 | 0.62218 | 1.3957 | 0.60233 | 0.62218 | 0.60349 | -104.596 | 89.1041 | 0.60349 | -104.596 | 89.1041

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081997 | 0.97805 | 1.0234 | 0.0062094 | 0.97886 | 1.0222 | 0.094682 | 11.2935 | 11.8178 | 0.0717 | 11.303 | 11.8034 | -0.0023156 | 5.7649 | 6.3795 | 0.0032569 | -4.778 | -5.227 | -0.12963 | 4.8771 | 6.3386 | 0.099997 | -4.8319 | -5.1797 | 93.3202 | -150.0834 | 44.4826 | -87.4792 | 30.023 | -135.6046 | 1.3694 | 0.66863 | 0.76098 | 1.3954 | 0.6012 | 0.62344 | 2.2969 | -109.8525 | 89.2983 | 0.65534 | -104.6555 | 89.1351
Line_1 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0031047 | 0.0031047 | 0.0031047 | 0.011952 | 0.011952 | 0.011952 | 0.03585 | 0.03585 | 0.03585 | 0.00054123 | 0.0068826 | -0.0074239 | -0.0016284 | -0.020592 | 0.022311 | 0.016673 | -0.0021119 | 0.00043567 | -0.049998 | 0.0063648 | -0.0013199 | -87.5373 | -87.5373 | -87.5373 | 92.5208 | 92.5208 | 92.5208 | 1.3957 | 0.60233 | 0.62218 | 1.3954 | 0.6012 | 0.62344 | 0.60349 | -104.596 | 89.1041 | 0.65534 | -104.6555 | 89.1351
Line_2 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0031047 | 0.0031047 | 0.0031047 | 0.011952 | 0.011952 | 0.011952 | 0.03585 | 0.03585 | 0.03585 | 0.00054123 | 0.0068826 | -0.0074239 | -0.0016284 | -0.020592 | 0.022311 | 0.016673 | -0.0021119 | 0.00043567 | -0.049998 | 0.0063648 | -0.0013199 | -87.5373 | -87.5373 | -87.5373 | 92.5208 | 92.5208 | 92.5208 | 1.3957 | 0.60233 | 0.62218 | 1.3954 | 0.6012 | 0.62344 | 0.60349 | -104.596 | 89.1041 | 0.65534 | -104.6555 | 89.1351
Line_3 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0010351 | 0.0010351 | 0.011952 | 0.011952 | 0.011952 | 0.011952 | 0.011952 | 0.011952 | -0.00054123 | -0.0068826 | 0.0074239 | -0.00054123 | -0.0068826 | 0.0074239 | -0.016673 | 0.0021119 | -0.00043568 | -0.016673 | 0.0021119 | -0.00043568 | 92.4627 | 92.4627 | 92.4627 | 92.4627 | 92.4627 | 92.4627 | 1.3957 | 0.60233 | 0.62218 | 1.3957 | 0.60233 | 0.62218 | 0.60349 | -104.596 | 89.1041 | 0.60349 | -104.596 | 89.1041