## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -4.1685e-14 | 28.4108 | -10.6145 | 3.1264e-14 | -23.0719 | 15.9534 | -1.5632e-14 | 4.32 | 15.8719 | 1.0421e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 1.0397e-12 | -154.8648 | 140.2623 | 1.035e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -5.2106e-15 | -13.0085 | 13.0085 | -1.5632e-14 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | -2.8238e-28 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 1.0353e-12 | 180 | -180 | 1.035e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 9.4148e-29 | -7.0974 | 5.911 | -1.5632e-14 | 7.6906 | -5.3178 | -5.2106e-15 | 1.2523 | -2.5984 | -5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 1.0352e-12 | -173.5168 | 172.7598 | 1.035e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -1.0421e-14 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | -1.883e-28 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 1.0353e-12 | 180 | -180 | 1.0352e-12 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -4.1685e-14 | 28.4108 | -10.6145 | 3.1264e-14 | -23.0719 | 15.9534 | -1.5632e-14 | 4.32 | 15.8719 | 1.0421e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 1.0397e-12 | -154.8648 | 140.2623 | 1.035e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -5.2106e-15 | -13.0085 | 13.0085 | -1.5632e-14 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | -2.8238e-28 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 1.0353e-12 | 180 | -180 | 1.035e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 9.4148e-29 | -7.0974 | 5.911 | -1.5632e-14 | 7.6906 | -5.3178 | -5.2106e-15 | 1.2523 | -2.5984 | -5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 1.0352e-12 | -173.5168 | 172.7598 | 1.035e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -1.0421e-14 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | -1.883e-28 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 1.0353e-12 | 180 | -180 | 1.0352e-12 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -1.3027e-14 | 17.8002 | 0.06044 | 1.3027e-14 | -16.4209 | 1.3189 | -1.5632e-14 | 3.9189 | 14.5607 | 1.8237e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 4.1918e-13 | -136.625 | 120.7211 | 4.0685e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 2.6053e-15 | -10.3342 | 1.4923 | -7.816e-15 | 10.9473 | -0.87927 | 2.6053e-15 | -0.87368 | -7.9682 | -5.5501e-29 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 4.0395e-13 | -144.2087 | 131.5665 | 4.0685e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 7.816e-15 | -5.3204 | 0.59289 | -1.3027e-14 | 5.4736 | -0.43963 | 2.6053e-15 | -0.61073 | -4.158 | -2.6053e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 4.0424e-13 | -142.4927 | 129.0741 | 4.0685e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -7.816e-15 | -5.1671 | 0.74615 | -1.8381e-29 | 5.3204 | -0.59289 | -5.5105e-29 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 4.0395e-13 | -144.2087 | 131.5665 | 4.0424e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -1.3027e-14 | 17.8002 | 0.06044 | 1.3027e-14 | -16.4209 | 1.3189 | -1.5632e-14 | 3.9189 | 14.5607 | 1.8237e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 4.1918e-13 | -136.625 | 120.7211 | 4.0685e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 2.6053e-15 | -10.3342 | 1.4923 | -7.816e-15 | 10.9473 | -0.87927 | 2.6053e-15 | -0.87368 | -7.9682 | -5.5501e-29 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 4.0395e-13 | -144.2087 | 131.5665 | 4.0685e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 7.816e-15 | -5.3204 | 0.59289 | -1.3027e-14 | 5.4736 | -0.43963 | 2.6053e-15 | -0.61073 | -4.158 | -2.6053e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 4.0424e-13 | -142.4927 | 129.0741 | 4.0685e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -7.816e-15 | -5.1671 | 0.74615 | -1.8381e-29 | 5.3204 | -0.59289 | -5.5105e-29 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 4.0395e-13 | -144.2087 | 131.5665 | 4.0424e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.3027e-14 | 24.6317 | -2.0295 | -1.3027e-14 | -17.851 | 8.8102 | 3.079e-14 | -0.29866 | 13.6553 | -3.079e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 9.0593e-13 | -153.068 | 126.0805 | 9.5296e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -9.4739e-15 | -8.8871 | 8.8871 | 9.4739e-15 | 11.9007 | -5.8735 | -2.3685e-14 | 4.6513 | -4.6513 | 1.8948e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 9.6571e-13 | -180 | 180 | 9.5296e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -5.1969 | 3.6901 | 7.1054e-15 | 5.9503 | -2.9367 | -1.4211e-14 | 1.8804 | -2.7709 | 1.4211e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 9.572e-13 | -172.2653 | 170.7242 | 9.5296e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -2.3685e-15 | -4.4435 | 4.4435 | 2.3685e-15 | 5.1969 | -3.6901 | -9.4739e-15 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 9.6571e-13 | -180 | 180 | 9.572e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.3027e-14 | 24.6317 | -2.0295 | -1.3027e-14 | -17.851 | 8.8102 | 3.079e-14 | -0.29866 | 13.6553 | -3.079e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 9.0593e-13 | -153.068 | 126.0805 | 9.5296e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -9.4739e-15 | -8.8871 | 8.8871 | 9.4739e-15 | 11.9007 | -5.8735 | -2.3685e-14 | 4.6513 | -4.6513 | 1.8948e-14 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 9.6571e-13 | -180 | 180 | 9.5296e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -7.1054e-15 | -5.1969 | 3.6901 | 7.1054e-15 | 5.9503 | -2.9367 | -1.4211e-14 | 1.8804 | -2.7709 | 1.4211e-14 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 9.572e-13 | -172.2653 | 170.7242 | 9.5296e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -2.3685e-15 | -4.4435 | 4.4435 | 2.3685e-15 | 5.1969 | -3.6901 | -9.4739e-15 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 9.6571e-13 | -180 | 180 | 9.572e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 2.9606e-15 | 14.2512 | 1.4266 | -4.1448e-15 | -12.3717 | 0.45296 | 1.4211e-14 | 1.9064 | 11.2087 | -1.4211e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 4.5022e-13 | -136.4258 | 118.7019 | 4.7045e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.1842e-14 | -7.4125 | 1.1373 | 1.0658e-14 | 8.2478 | -0.30197 | -4.737e-15 | -0.036791 | -6.2383 | 4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 4.7474e-13 | -143.7605 | 136.2873 | 4.7045e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -9.4739e-15 | -3.9151 | 0.35982 | 8.2897e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 4.716e-13 | -141.9705 | 132.2872 | 4.7045e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.3685e-15 | -3.7062 | 0.56866 | 2.3685e-15 | 3.9151 | -0.35982 | -7.1054e-15 | -0.018396 | -3.1192 | 7.1054e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 4.7474e-13 | -143.7605 | 136.2873 | 4.716e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 2.9606e-15 | 14.2512 | 1.4266 | -4.1448e-15 | -12.3717 | 0.45296 | 1.4211e-14 | 1.9064 | 11.2087 | -1.4211e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 4.5022e-13 | -136.4258 | 118.7019 | 4.7045e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.1842e-14 | -7.4125 | 1.1373 | 1.0658e-14 | 8.2478 | -0.30197 | -4.737e-15 | -0.036791 | -6.2383 | 4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 4.7474e-13 | -143.7605 | 136.2873 | 4.7045e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -9.4739e-15 | -3.9151 | 0.35982 | 8.2897e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 4.716e-13 | -141.9705 | 132.2872 | 4.7045e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -2.3685e-15 | -3.7062 | 0.56866 | 2.3685e-15 | 3.9151 | -0.35982 | -7.1054e-15 | -0.018396 | -3.1192 | 7.1054e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 4.7474e-13 | -143.7605 | 136.2873 | 4.716e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48916 | 0.019698 | 0.019698 | 0.48431 | 0.014852 | 0.014852 | 5.6483 | 0.22745 | 0.22745 | 5.5924 | 0.1715 | 0.1715 | 0.6446 | 0.22457 | -0.20837 | -0.24812 | -0.16407 | 0.1625 | 0.35262 | -0.34709 | -0.32822 | -0.13723 | 0.26283 | 0.25222 | -83.6468 | -87.5044 | -87.5044 | 96.3723 | 91.861 | 91.861 | 0.13008 | 1.8176 | 1.7093 | 0.050702 | 1.8067 | 1.7495 | -54.967 | -144.6014 | 150.0864 | -54.6814 | -146.1643 | 149.0685
Line_1 | 0.31548 | 0.0024825 | 0.0024825 | 0.32041 | 0.0074326 | 0.0074326 | 3.6428 | 0.028665 | 0.028665 | 3.6998 | 0.085824 | 0.085824 | 4.2761e-12 | -0.026837 | 0.027758 | 0.1642 | 0.082345 | -0.081095 | -1.8839e-12 | 0.044086 | 0.042633 | 0.090697 | -0.13139 | -0.12637 | 96.4757 | 91.5241 | 91.5241 | -83.5953 | -88.2415 | -88.2415 | 0 | 1.8005 | 1.7748 | 0.050702 | 1.8067 | 1.7495 | 0 | -147.1452 | 148.4567 | -54.6814 | -146.1643 | 149.0685
Line_2 | 0.15898 | 0.0024892 | 0.0024892 | 0.1639 | 0.0074194 | 0.0074194 | 1.8358 | 0.028742 | 0.028742 | 1.8926 | 0.085672 | 0.085672 | -0.039252 | -0.027545 | 0.027204 | 0.083917 | 0.081729 | -0.081403 | -0.022021 | 0.043909 | 0.042744 | 0.046534 | -0.13145 | -0.12585 | 96.4321 | 91.2191 | 91.2191 | -83.6909 | -88.0364 | -88.0364 | 0.024517 | 1.8034 | 1.7628 | 0.050702 | 1.8067 | 1.7495 | -54.2741 | -146.6806 | 148.7444 | -54.6814 | -146.1643 | 149.0685
Line_3 | 0.15403 | 0.0024825 | 0.0024825 | 0.15898 | 0.0024892 | 0.0024892 | 1.7786 | 0.028665 | 0.028665 | 1.8358 | 0.028742 | 0.028742 | 2.0858e-12 | 0.026837 | -0.027758 | 0.039252 | 0.027545 | -0.027204 | -9.2417e-13 | -0.044086 | -0.042633 | 0.022021 | -0.043909 | -0.042744 | 96.5952 | -88.4759 | -88.4759 | -83.5679 | -88.7809 | -88.7809 | 0 | 1.8005 | 1.7748 | 0.024517 | 1.8034 | 1.7628 | 0 | -147.1452 | 148.4567 | -54.2741 | -146.6806 | 148.7444

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48916 | 0.019698 | 0.019698 | 0.48431 | 0.014852 | 0.014852 | 5.6483 | 0.22745 | 0.22745 | 5.5924 | 0.1715 | 0.1715 | 0.6446 | 0.22457 | -0.20837 | -0.24812 | -0.16407 | 0.1625 | 0.35262 | -0.34709 | -0.32822 | -0.13723 | 0.26283 | 0.25222 | -83.6468 | -87.5044 | -87.5044 | 96.3723 | 91.861 | 91.861 | 0.13008 | 1.8176 | 1.7093 | 0.050702 | 1.8067 | 1.7495 | -54.967 | -144.6014 | 150.0864 | -54.6814 | -146.1643 | 149.0685
Line_1 | 0.31548 | 0.0024825 | 0.0024825 | 0.32041 | 0.0074326 | 0.0074326 | 3.6428 | 0.028665 | 0.028665 | 3.6998 | 0.085824 | 0.085824 | 4.2761e-12 | -0.026837 | 0.027758 | 0.1642 | 0.082345 | -0.081095 | -1.8839e-12 | 0.044086 | 0.042633 | 0.090697 | -0.13139 | -0.12637 | 96.4757 | 91.5241 | 91.5241 | -83.5953 | -88.2415 | -88.2415 | 0 | 1.8005 | 1.7748 | 0.050702 | 1.8067 | 1.7495 | 0 | -147.1452 | 148.4567 | -54.6814 | -146.1643 | 149.0685
Line_2 | 0.15898 | 0.0024892 | 0.0024892 | 0.1639 | 0.0074194 | 0.0074194 | 1.8358 | 0.028742 | 0.028742 | 1.8926 | 0.085672 | 0.085672 | -0.039252 | -0.027545 | 0.027204 | 0.083917 | 0.081729 | -0.081403 | -0.022021 | 0.043909 | 0.042744 | 0.046534 | -0.13145 | -0.12585 | 96.4321 | 91.2191 | 91.2191 | -83.6909 | -88.0364 | -88.0364 | 0.024517 | 1.8034 | 1.7628 | 0.050702 | 1.8067 | 1.7495 | -54.2741 | -146.6806 | 148.7444 | -54.6814 | -146.1643 | 149.0685
Line_3 | 0.15403 | 0.0024825 | 0.0024825 | 0.15898 | 0.0024892 | 0.0024892 | 1.7786 | 0.028665 | 0.028665 | 1.8358 | 0.028742 | 0.028742 | 2.0858e-12 | 0.026837 | -0.027758 | 0.039252 | 0.027545 | -0.027204 | -9.2417e-13 | -0.044086 | -0.042633 | 0.022021 | -0.043909 | -0.042744 | 96.5952 | -88.4759 | -88.4759 | -83.5679 | -88.7809 | -88.7809 | 0 | 1.8005 | 1.7748 | 0.024517 | 1.8034 | 1.7628 | 0 | -147.1452 | 148.4567 | -54.2741 | -146.6806 | 148.7444

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40242 | 0.016205 | 0.016205 | 0.39844 | 0.012219 | 0.012219 | 4.6468 | 0.18712 | 0.18712 | 4.6008 | 0.14109 | 0.14109 | 1.2113 | 0.16641 | -0.18448 | -0.93551 | -0.12227 | 0.14281 | 1.018 | -0.27676 | -0.21371 | -0.86429 | 0.20932 | 0.16471 | -75.9567 | -79.8142 | -79.8142 | 104.0625 | 99.5511 | 99.5511 | 0.34051 | 1.7258 | 1.5088 | 0.27683 | 1.7182 | 1.5452 | -35.9106 | -138.7958 | 149.3851 | -33.2036 | -140.1575 | 148.625
Line_1 | 0.25954 | 0.0020423 | 0.0020423 | 0.2636 | 0.0061147 | 0.0061147 | 2.9969 | 0.023582 | 0.023582 | 3.0438 | 0.070606 | 0.070606 | -0.5009 | -0.020071 | 0.02428 | 0.61924 | 0.061377 | -0.071321 | -0.50159 | 0.03508 | 0.027885 | 0.57145 | -0.10464 | -0.082557 | 104.1658 | 99.2142 | 99.2142 | -75.9051 | -80.5513 | -80.5513 | 0.23653 | 1.7138 | 1.5679 | 0.27683 | 1.7182 | 1.5452 | -30.7949 | -141.0101 | 148.1679 | -33.2036 | -140.1575 | 148.625
Line_2 | 0.13079 | 0.0020478 | 0.0020478 | 0.13484 | 0.0061039 | 0.0061039 | 1.5103 | 0.023646 | 0.023646 | 1.557 | 0.070482 | 0.070482 | -0.2788 | -0.020583 | 0.023925 | 0.31627 | 0.060895 | -0.071489 | -0.26787 | 0.034964 | 0.027987 | 0.29284 | -0.10467 | -0.082156 | 104.1223 | 98.9093 | 98.9093 | -76.0008 | -80.3463 | -80.3463 | 0.256 | 1.7158 | 1.5571 | 0.27683 | 1.7182 | 1.5452 | -32.0233 | -140.6065 | 148.383 | -33.2036 | -140.1575 | 148.625
Line_3 | 0.12672 | 0.0020423 | 0.0020423 | 0.13079 | 0.0020478 | 0.0020478 | 1.4632 | 0.023582 | 0.023582 | 1.5103 | 0.023646 | 0.023646 | -0.24507 | 0.020071 | -0.02428 | 0.2788 | 0.020583 | -0.023925 | -0.24439 | -0.03508 | -0.027885 | 0.26787 | -0.034964 | -0.027987 | 104.2854 | -80.7858 | -80.7858 | -75.8777 | -81.0907 | -81.0907 | 0.23653 | 1.7138 | 1.5679 | 0.256 | 1.7158 | 1.5571 | -30.7949 | -141.0101 | 148.1679 | -32.0233 | -140.6065 | 148.383

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40242 | 0.016205 | 0.016205 | 0.39844 | 0.012219 | 0.012219 | 4.6468 | 0.18712 | 0.18712 | 4.6008 | 0.14109 | 0.14109 | 1.2113 | 0.16641 | -0.18448 | -0.93551 | -0.12227 | 0.14281 | 1.018 | -0.27676 | -0.21371 | -0.86429 | 0.20932 | 0.16471 | -75.9567 | -79.8142 | -79.8142 | 104.0625 | 99.5511 | 99.5511 | 0.34051 | 1.7258 | 1.5088 | 0.27683 | 1.7182 | 1.5452 | -35.9106 | -138.7958 | 149.3851 | -33.2036 | -140.1575 | 148.625
Line_1 | 0.25954 | 0.0020423 | 0.0020423 | 0.2636 | 0.0061147 | 0.0061147 | 2.9969 | 0.023582 | 0.023582 | 3.0438 | 0.070606 | 0.070606 | -0.5009 | -0.020071 | 0.02428 | 0.61924 | 0.061377 | -0.071321 | -0.50159 | 0.03508 | 0.027885 | 0.57145 | -0.10464 | -0.082557 | 104.1658 | 99.2142 | 99.2142 | -75.9051 | -80.5513 | -80.5513 | 0.23653 | 1.7138 | 1.5679 | 0.27683 | 1.7182 | 1.5452 | -30.7949 | -141.0101 | 148.1679 | -33.2036 | -140.1575 | 148.625
Line_2 | 0.13079 | 0.0020478 | 0.0020478 | 0.13484 | 0.0061039 | 0.0061039 | 1.5103 | 0.023646 | 0.023646 | 1.557 | 0.070482 | 0.070482 | -0.2788 | -0.020583 | 0.023925 | 0.31627 | 0.060895 | -0.071489 | -0.26787 | 0.034964 | 0.027987 | 0.29284 | -0.10467 | -0.082156 | 104.1223 | 98.9093 | 98.9093 | -76.0008 | -80.3463 | -80.3463 | 0.256 | 1.7158 | 1.5571 | 0.27683 | 1.7182 | 1.5452 | -32.0233 | -140.6065 | 148.383 | -33.2036 | -140.1575 | 148.625
Line_3 | 0.12672 | 0.0020423 | 0.0020423 | 0.13079 | 0.0020478 | 0.0020478 | 1.4632 | 0.023582 | 0.023582 | 1.5103 | 0.023646 | 0.023646 | -0.24507 | 0.020071 | -0.02428 | 0.2788 | 0.020583 | -0.023925 | -0.24439 | -0.03508 | -0.027885 | 0.26787 | -0.034964 | -0.027987 | 104.2854 | -80.7858 | -80.7858 | -75.8777 | -81.0907 | -81.0907 | 0.23653 | 1.7138 | 1.5679 | 0.256 | 1.7158 | 1.5571 | -30.7949 | -141.0101 | 148.1679 | -32.0233 | -140.6065 | 148.383

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43685 | 0.017687 | 0.017687 | 0.43252 | 0.013363 | 0.013363 | 5.0443 | 0.20423 | 0.20423 | 4.9943 | 0.1543 | 0.1543 | 0.98706 | 0.18873 | -0.16391 | -0.37995 | -0.13461 | 0.13219 | 0.27807 | -0.2852 | -0.25723 | -0.10901 | 0.21613 | 0.2006 | -78.0837 | -85.4647 | -85.4647 | 101.9531 | 93.3322 | 93.3322 | 0.2033 | 1.6745 | 1.4935 | 0.079145 | 1.6502 | 1.5569 | -62.3504 | -141.9706 | 152.0304 | -62.0382 | -144.7521 | 149.9471
Line_1 | 0.28175 | 0.0022362 | 0.0022362 | 0.28615 | 0.00669 | 0.00669 | 3.2533 | 0.025822 | 0.025822 | 3.3042 | 0.077249 | 0.077249 | -2.1242e-12 | -0.021633 | 0.023041 | 0.25144 | 0.067757 | -0.065842 | -1.0064e-12 | 0.036321 | 0.034218 | 0.071847 | -0.10798 | -0.10065 | 102.1515 | 92.6956 | 92.6956 | -77.9848 | -86.8613 | -86.8613 | 0 | 1.6372 | 1.5976 | 0.079145 | 1.6502 | 1.5569 | 0 | -146.5257 | 148.7402 | -62.0382 | -144.7521 | 149.9471
Line_2 | 0.14198 | 0.0022451 | 0.0022451 | 0.14637 | 0.006673 | 0.006673 | 1.6395 | 0.025924 | 0.025924 | 1.6901 | 0.077054 | 0.077054 | -0.060109 | -0.022695 | 0.022175 | 0.1285 | 0.066856 | -0.066353 | -0.017651 | 0.036043 | 0.034381 | 0.037163 | -0.10816 | -0.099948 | 102.0678 | 92.1215 | 92.1215 | -78.1684 | -86.4739 | -86.4739 | 0.038212 | 1.643 | 1.5782 | 0.079145 | 1.6502 | 1.5569 | -61.5674 | -145.6814 | 149.3004 | -62.0382 | -144.7521 | 149.9471
Line_3 | 0.13757 | 0.0022362 | 0.0022362 | 0.14198 | 0.0022451 | 0.0022451 | 1.5885 | 0.025822 | 0.025822 | 1.6395 | 0.025924 | 0.025924 | -1.0391e-12 | 0.021633 | -0.023041 | 0.060109 | 0.022695 | -0.022175 | -4.8725e-13 | -0.036321 | -0.034218 | 0.017651 | -0.036043 | -0.034381 | 102.381 | -87.3044 | -87.3044 | -77.9322 | -87.8785 | -87.8785 | 0 | 1.6372 | 1.5976 | 0.038212 | 1.643 | 1.5782 | 0 | -146.5257 | 148.7402 | -61.5674 | -145.6814 | 149.3004

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43685 | 0.017687 | 0.017687 | 0.43252 | 0.013363 | 0.013363 | 5.0443 | 0.20423 | 0.20423 | 4.9943 | 0.1543 | 0.1543 | 0.98706 | 0.18873 | -0.16391 | -0.37995 | -0.13461 | 0.13219 | 0.27807 | -0.2852 | -0.25723 | -0.10901 | 0.21613 | 0.2006 | -78.0837 | -85.4647 | -85.4647 | 101.9531 | 93.3322 | 93.3322 | 0.2033 | 1.6745 | 1.4935 | 0.079145 | 1.6502 | 1.5569 | -62.3504 | -141.9706 | 152.0304 | -62.0382 | -144.7521 | 149.9471
Line_1 | 0.28175 | 0.0022362 | 0.0022362 | 0.28615 | 0.00669 | 0.00669 | 3.2533 | 0.025822 | 0.025822 | 3.3042 | 0.077249 | 0.077249 | -2.1242e-12 | -0.021633 | 0.023041 | 0.25144 | 0.067757 | -0.065842 | -1.0064e-12 | 0.036321 | 0.034218 | 0.071847 | -0.10798 | -0.10065 | 102.1515 | 92.6956 | 92.6956 | -77.9848 | -86.8613 | -86.8613 | 0 | 1.6372 | 1.5976 | 0.079145 | 1.6502 | 1.5569 | 0 | -146.5257 | 148.7402 | -62.0382 | -144.7521 | 149.9471
Line_2 | 0.14198 | 0.0022451 | 0.0022451 | 0.14637 | 0.006673 | 0.006673 | 1.6395 | 0.025924 | 0.025924 | 1.6901 | 0.077054 | 0.077054 | -0.060109 | -0.022695 | 0.022175 | 0.1285 | 0.066856 | -0.066353 | -0.017651 | 0.036043 | 0.034381 | 0.037163 | -0.10816 | -0.099948 | 102.0678 | 92.1215 | 92.1215 | -78.1684 | -86.4739 | -86.4739 | 0.038212 | 1.643 | 1.5782 | 0.079145 | 1.6502 | 1.5569 | -61.5674 | -145.6814 | 149.3004 | -62.0382 | -144.7521 | 149.9471
Line_3 | 0.13757 | 0.0022362 | 0.0022362 | 0.14198 | 0.0022451 | 0.0022451 | 1.5885 | 0.025822 | 0.025822 | 1.6395 | 0.025924 | 0.025924 | -1.0391e-12 | 0.021633 | -0.023041 | 0.060109 | 0.022695 | -0.022175 | -4.8725e-13 | -0.036321 | -0.034218 | 0.017651 | -0.036043 | -0.034381 | 102.381 | -87.3044 | -87.3044 | -77.9322 | -87.8785 | -87.8785 | 0 | 1.6372 | 1.5976 | 0.038212 | 1.643 | 1.5782 | 0 | -146.5257 | 148.7402 | -61.5674 | -145.6814 | 149.3004

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35695 | 0.014452 | 0.014452 | 0.35342 | 0.010919 | 0.010919 | 4.1217 | 0.16688 | 0.16688 | 4.0809 | 0.12608 | 0.12608 | 1.2672 | 0.13952 | -0.14417 | -0.85623 | -0.10059 | 0.11457 | 0.80047 | -0.22273 | -0.16729 | -0.68112 | 0.16849 | 0.13112 | -71.5622 | -78.9432 | -78.9432 | 108.4745 | 99.8537 | 99.8537 | 0.36365 | 1.5749 | 1.3233 | 0.2681 | 1.5564 | 1.381 | -39.2826 | -136.88 | 150.3035 | -33.0237 | -139.3084 | 148.7082
Line_1 | 0.23022 | 0.0018272 | 0.0018272 | 0.23382 | 0.0054665 | 0.0054665 | 2.6583 | 0.021099 | 0.021099 | 2.6999 | 0.063121 | 0.063121 | -0.39388 | -0.016282 | 0.019791 | 0.56696 | 0.050645 | -0.057134 | -0.39491 | 0.028278 | 0.022424 | 0.45 | -0.084183 | -0.065837 | 108.6729 | 99.2171 | 99.2171 | -71.4633 | -80.3398 | -80.3398 | 0.20981 | 1.5465 | 1.4175 | 0.2681 | 1.5564 | 1.381 | -26.2518 | -140.8502 | 147.7867 | -33.0237 | -139.3084 | 148.7082
Line_2 | 0.11601 | 0.0018345 | 0.0018345 | 0.1196 | 0.0054526 | 0.0054526 | 1.3396 | 0.021183 | 0.021183 | 1.381 | 0.062962 | 0.062962 | -0.23833 | -0.017039 | 0.019234 | 0.28927 | 0.049948 | -0.057432 | -0.21108 | 0.02809 | 0.022576 | 0.23111 | -0.084309 | -0.065283 | 108.5893 | 98.643 | 98.643 | -71.6469 | -79.9524 | -79.9524 | 0.23765 | 1.551 | 1.4001 | 0.2681 | 1.5564 | 1.381 | -29.88 | -140.1169 | 148.2135 | -33.0237 | -139.3084 | 148.7082
Line_3 | 0.11241 | 0.0018272 | 0.0018272 | 0.11601 | 0.0018345 | 0.0018345 | 1.298 | 0.021099 | 0.021099 | 1.3396 | 0.021183 | 0.021183 | -0.19308 | 0.016282 | -0.019791 | 0.23833 | 0.017039 | -0.019234 | -0.19205 | -0.028278 | -0.022424 | 0.21108 | -0.02809 | -0.022576 | 108.9025 | -80.7829 | -80.7829 | -71.4107 | -81.357 | -81.357 | 0.20981 | 1.5465 | 1.4175 | 0.23765 | 1.551 | 1.4001 | -26.2518 | -140.8502 | 147.7867 | -29.88 | -140.1169 | 148.2135

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35695 | 0.014452 | 0.014452 | 0.35342 | 0.010919 | 0.010919 | 4.1217 | 0.16688 | 0.16688 | 4.0809 | 0.12608 | 0.12608 | 1.2672 | 0.13952 | -0.14417 | -0.85623 | -0.10059 | 0.11457 | 0.80047 | -0.22273 | -0.16729 | -0.68112 | 0.16849 | 0.13112 | -71.5622 | -78.9432 | -78.9432 | 108.4745 | 99.8537 | 99.8537 | 0.36365 | 1.5749 | 1.3233 | 0.2681 | 1.5564 | 1.381 | -39.2826 | -136.88 | 150.3035 | -33.0237 | -139.3084 | 148.7082
Line_1 | 0.23022 | 0.0018272 | 0.0018272 | 0.23382 | 0.0054665 | 0.0054665 | 2.6583 | 0.021099 | 0.021099 | 2.6999 | 0.063121 | 0.063121 | -0.39388 | -0.016282 | 0.019791 | 0.56696 | 0.050645 | -0.057134 | -0.39491 | 0.028278 | 0.022424 | 0.45 | -0.084183 | -0.065837 | 108.6729 | 99.2171 | 99.2171 | -71.4633 | -80.3398 | -80.3398 | 0.20981 | 1.5465 | 1.4175 | 0.2681 | 1.5564 | 1.381 | -26.2518 | -140.8502 | 147.7867 | -33.0237 | -139.3084 | 148.7082
Line_2 | 0.11601 | 0.0018345 | 0.0018345 | 0.1196 | 0.0054526 | 0.0054526 | 1.3396 | 0.021183 | 0.021183 | 1.381 | 0.062962 | 0.062962 | -0.23833 | -0.017039 | 0.019234 | 0.28927 | 0.049948 | -0.057432 | -0.21108 | 0.02809 | 0.022576 | 0.23111 | -0.084309 | -0.065283 | 108.5893 | 98.643 | 98.643 | -71.6469 | -79.9524 | -79.9524 | 0.23765 | 1.551 | 1.4001 | 0.2681 | 1.5564 | 1.381 | -29.88 | -140.1169 | 148.2135 | -33.0237 | -139.3084 | 148.7082
Line_3 | 0.11241 | 0.0018272 | 0.0018272 | 0.11601 | 0.0018345 | 0.0018345 | 1.298 | 0.021099 | 0.021099 | 1.3396 | 0.021183 | 0.021183 | -0.19308 | 0.016282 | -0.019791 | 0.23833 | 0.017039 | -0.019234 | -0.19205 | -0.028278 | -0.022424 | 0.21108 | -0.02809 | -0.022576 | 108.9025 | -80.7829 | -80.7829 | -71.4107 | -81.357 | -81.357 | 0.20981 | 1.5465 | 1.4175 | 0.23765 | 1.551 | 1.4001 | -26.2518 | -140.8502 | 147.7867 | -29.88 | -140.1169 | 148.2135

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010505 | 3.1812 | 3.2328 | 0.0079204 | 3.1817 | 3.2321 | 0.1213 | 36.7337 | 37.3287 | 0.091457 | 36.7391 | 37.321 | -0.00039432 | 8.9517 | 9.0058 | 0.0009929 | -3.5795 | -3.6002 | -0.19384 | 8.392 | 11.8713 | 0.14701 | -3.3806 | -4.7234 | 91.824 | -165.9104 | 18.8507 | -88.8107 | 14.1354 | -161.1935 | 1.5981 | 0.33403 | 0.39917 | 1.6075 | 0.13401 | 0.15913 | 1.7075 | -122.7589 | 71.666 | 0.80238 | -122.5015 | 71.492
Line_1 | 0.0013239 | 2.122 | 2.1535 | 0.0039637 | 2.1214 | 2.1543 | 0.015287 | 24.5029 | 24.867 | 0.045769 | 24.4961 | 24.8761 | 0.00026185 | 4.5898e-11 | 5.1283e-11 | -0.00036536 | 2.388 | 2.3978 | 0.024663 | -3.1701e-11 | 1.9577e-11 | -0.073571 | 2.2526 | 3.1498 | -89.1475 | 14.2396 | -161.2939 | 91.0869 | -165.8299 | 18.773 | 1.6134 | 0 | 0 | 1.6075 | 0.13401 | 0.15913 | 0.24418 | 0 | 0 | 0.80238 | -122.5015 | 71.492
Line_2 | 0.0013274 | 1.0608 | 1.077 | 0.0039567 | 1.0603 | 1.0778 | 0.015328 | 12.2496 | 12.4359 | 0.045688 | 12.243 | 12.4449 | 1.7108e-05 | -0.59659 | -0.5993 | -0.00062754 | 1.1915 | 1.2023 | 0.024687 | -0.56837 | -0.78201 | -0.073439 | 1.128 | 1.5736 | -89.4525 | 14.2047 | -161.2603 | 91.292 | -165.934 | 18.8733 | 1.6106 | 0.067267 | 0.079226 | 1.6075 | 0.13401 | 0.15913 | 0.5078 | -122.1829 | 71.2747 | 0.80238 | -122.5015 | 71.492
Line_3 | 0.0013239 | 1.0615 | 1.0762 | 0.0013274 | 1.0608 | 1.077 | 0.015287 | 12.2568 | 12.4265 | 0.015328 | 12.2496 | 12.4359 | -0.00026185 | 2.293e-11 | 2.561e-11 | -1.7111e-05 | 0.59659 | 0.5993 | -0.024663 | -1.5899e-11 | 9.8281e-12 | -0.024687 | 0.56837 | 0.78201 | 90.8525 | 14.3439 | -161.3946 | 90.5475 | -165.7953 | 18.7397 | 1.6134 | 0 | 0 | 1.6106 | 0.067267 | 0.079226 | 0.24418 | 0 | 0 | 0.5078 | -122.1829 | 71.2747

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010505 | 3.1812 | 3.2328 | 0.0079204 | 3.1817 | 3.2321 | 0.1213 | 36.7337 | 37.3287 | 0.091457 | 36.7391 | 37.321 | -0.00039432 | 8.9517 | 9.0058 | 0.0009929 | -3.5795 | -3.6002 | -0.19384 | 8.392 | 11.8713 | 0.14701 | -3.3806 | -4.7234 | 91.824 | -165.9104 | 18.8507 | -88.8107 | 14.1354 | -161.1935 | 1.5981 | 0.33403 | 0.39917 | 1.6075 | 0.13401 | 0.15913 | 1.7075 | -122.7589 | 71.666 | 0.80238 | -122.5015 | 71.492
Line_1 | 0.0013239 | 2.122 | 2.1535 | 0.0039637 | 2.1214 | 2.1543 | 0.015287 | 24.5029 | 24.867 | 0.045769 | 24.4961 | 24.8761 | 0.00026185 | 4.5898e-11 | 5.1283e-11 | -0.00036536 | 2.388 | 2.3978 | 0.024663 | -3.1701e-11 | 1.9577e-11 | -0.073571 | 2.2526 | 3.1498 | -89.1475 | 14.2396 | -161.2939 | 91.0869 | -165.8299 | 18.773 | 1.6134 | 0 | 0 | 1.6075 | 0.13401 | 0.15913 | 0.24418 | 0 | 0 | 0.80238 | -122.5015 | 71.492
Line_2 | 0.0013274 | 1.0608 | 1.077 | 0.0039567 | 1.0603 | 1.0778 | 0.015328 | 12.2496 | 12.4359 | 0.045688 | 12.243 | 12.4449 | 1.7108e-05 | -0.59659 | -0.5993 | -0.00062754 | 1.1915 | 1.2023 | 0.024687 | -0.56837 | -0.78201 | -0.073439 | 1.128 | 1.5736 | -89.4525 | 14.2047 | -161.2603 | 91.292 | -165.934 | 18.8733 | 1.6106 | 0.067267 | 0.079226 | 1.6075 | 0.13401 | 0.15913 | 0.5078 | -122.1829 | 71.2747 | 0.80238 | -122.5015 | 71.492
Line_3 | 0.0013239 | 1.0615 | 1.0762 | 0.0013274 | 1.0608 | 1.077 | 0.015287 | 12.2568 | 12.4265 | 0.015328 | 12.2496 | 12.4359 | -0.00026185 | 2.293e-11 | 2.561e-11 | -1.7111e-05 | 0.59659 | 0.5993 | -0.024663 | -1.5899e-11 | 9.8281e-12 | -0.024687 | 0.56837 | 0.78201 | 90.8525 | 14.3439 | -161.3946 | 90.5475 | -165.7953 | 18.7397 | 1.6134 | 0 | 0 | 1.6106 | 0.067267 | 0.079226 | 0.24418 | 0 | 0 | 0.5078 | -122.1829 | 71.2747

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0094502 | 1.0293 | 1.1346 | 0.0071254 | 1.0301 | 1.1333 | 0.10912 | 11.8852 | 13.1012 | 0.082277 | 11.895 | 13.0866 | -0.01019 | 6.1549 | 7.7051 | 0.008151 | -5.6416 | -6.9301 | -0.16825 | 5.9472 | 8.1118 | 0.12763 | -5.596 | -7.0577 | 96.3655 | -150.3603 | 41.3362 | -84.2691 | 29.7603 | -138.7624 | 1.5446 | 0.72012 | 0.85396 | 1.5544 | 0.66804 | 0.75583 | 2.8995 | -106.3434 | 87.8091 | 2.0766 | -105.4722 | 86.7601
Line_1 | 0.001191 | 0.68821 | 0.7535 | 0.0035659 | 0.68724 | 0.75487 | 0.013752 | 7.9468 | 8.7007 | 0.041175 | 7.9355 | 8.7165 | 0.0014315 | -3.5492 | -4.2598 | -0.0039649 | 3.7696 | 4.6099 | 0.021413 | -3.5604 | -4.2488 | -0.063878 | 3.7273 | 4.7068 | -84.606 | 30.0312 | -138.9831 | 95.6284 | -150.1493 | 41.1641 | 1.5605 | 0.63262 | 0.6915 | 1.5544 | 0.66804 | 0.75583 | 1.5694 | -104.8788 | 85.9432 | 2.0766 | -105.4722 | 86.7601
Line_2 | 0.0011942 | 0.34385 | 0.3771 | 0.0035596 | 0.34291 | 0.37846 | 0.013789 | 3.9704 | 4.3544 | 0.041102 | 3.9595 | 4.3701 | 0.0012289 | -1.8298 | -2.2168 | -0.0041861 | 1.872 | 2.3202 | 0.021443 | -1.8234 | -2.2372 | -0.063751 | 1.8687 | 2.3509 | -84.911 | 29.9409 | -138.9097 | 95.8335 | -150.4209 | 41.3841 | 1.5576 | 0.65062 | 0.72329 | 1.5544 | 0.66804 | 0.75583 | 1.8089 | -105.1592 | 86.3531 | 2.0766 | -105.4722 | 86.7601
Line_3 | 0.001191 | 0.34485 | 0.37571 | 0.0011942 | 0.34385 | 0.3771 | 0.013752 | 3.982 | 4.3384 | 0.013789 | 3.9704 | 4.3544 | -0.0014315 | -1.7869 | -2.1158 | -0.0012289 | 1.8298 | 2.2168 | -0.021413 | -1.7757 | -2.1268 | -0.021443 | 1.8234 | 2.2372 | 95.394 | 30.301 | -139.2045 | 95.089 | -150.0591 | 41.0903 | 1.5605 | 0.63262 | 0.6915 | 1.5576 | 0.65062 | 0.72329 | 1.5694 | -104.8788 | 85.9432 | 1.8089 | -105.1592 | 86.3531

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0094502 | 1.0293 | 1.1346 | 0.0071254 | 1.0301 | 1.1333 | 0.10912 | 11.8852 | 13.1012 | 0.082277 | 11.895 | 13.0866 | -0.01019 | 6.1549 | 7.7051 | 0.008151 | -5.6416 | -6.9301 | -0.16825 | 5.9472 | 8.1118 | 0.12763 | -5.596 | -7.0577 | 96.3655 | -150.3603 | 41.3362 | -84.2691 | 29.7603 | -138.7624 | 1.5446 | 0.72012 | 0.85396 | 1.5544 | 0.66804 | 0.75583 | 2.8995 | -106.3434 | 87.8091 | 2.0766 | -105.4722 | 86.7601
Line_1 | 0.001191 | 0.68821 | 0.7535 | 0.0035659 | 0.68724 | 0.75487 | 0.013752 | 7.9468 | 8.7007 | 0.041175 | 7.9355 | 8.7165 | 0.0014315 | -3.5492 | -4.2598 | -0.0039649 | 3.7696 | 4.6099 | 0.021413 | -3.5604 | -4.2488 | -0.063878 | 3.7273 | 4.7068 | -84.606 | 30.0312 | -138.9831 | 95.6284 | -150.1493 | 41.1641 | 1.5605 | 0.63262 | 0.6915 | 1.5544 | 0.66804 | 0.75583 | 1.5694 | -104.8788 | 85.9432 | 2.0766 | -105.4722 | 86.7601
Line_2 | 0.0011942 | 0.34385 | 0.3771 | 0.0035596 | 0.34291 | 0.37846 | 0.013789 | 3.9704 | 4.3544 | 0.041102 | 3.9595 | 4.3701 | 0.0012289 | -1.8298 | -2.2168 | -0.0041861 | 1.872 | 2.3202 | 0.021443 | -1.8234 | -2.2372 | -0.063751 | 1.8687 | 2.3509 | -84.911 | 29.9409 | -138.9097 | 95.8335 | -150.4209 | 41.3841 | 1.5576 | 0.65062 | 0.72329 | 1.5544 | 0.66804 | 0.75583 | 1.8089 | -105.1592 | 86.3531 | 2.0766 | -105.4722 | 86.7601
Line_3 | 0.001191 | 0.34485 | 0.37571 | 0.0011942 | 0.34385 | 0.3771 | 0.013752 | 3.982 | 4.3384 | 0.013789 | 3.9704 | 4.3544 | -0.0014315 | -1.7869 | -2.1158 | -0.0012289 | 1.8298 | 2.2168 | -0.021413 | -1.7757 | -2.1268 | -0.021443 | 1.8234 | 2.2372 | 95.394 | 30.301 | -139.2045 | 95.089 | -150.0591 | 41.0903 | 1.5605 | 0.63262 | 0.6915 | 1.5576 | 0.65062 | 0.72329 | 1.5694 | -104.8788 | 85.9432 | 1.8089 | -105.1592 | 86.3531

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0094785 | 2.5728 | 2.6445 | 0.0071612 | 2.5735 | 2.6436 | 0.10945 | 29.7083 | 30.5358 | 0.08269 | 29.7166 | 30.5254 | -0.0006057 | 10.7709 | 12.0804 | 0.0015334 | -4.3171 | -4.8183 | -0.15791 | 4.3908 | 9.023 | 0.12035 | -1.7879 | -3.5768 | 93.3991 | -154.9653 | 30.1484 | -87.8041 | 25.0839 | -149.898 | 1.4428 | 0.39152 | 0.49379 | 1.4555 | 0.15724 | 0.19658 | 3.1793 | -132.7871 | 66.9049 | 1.466 | -132.4196 | 66.6899
Line_1 | 0.0011984 | 1.7171 | 1.7607 | 0.0035851 | 1.7161 | 1.7618 | 0.013838 | 19.827 | 20.3311 | 0.041398 | 19.8163 | 20.3439 | 0.00040436 | -9.25e-11 | 5.1758e-12 | -0.00056424 | 2.8796 | 3.2098 | 0.020258 | -7.2065e-11 | -1.211e-10 | -0.060254 | 1.1904 | 2.3857 | -88.4407 | 25.194 | -150.001 | 92.0025 | -154.8794 | 30.0677 | 1.4642 | 0 | 0 | 1.4555 | 0.15724 | 0.19658 | 0.41583 | 0 | 0 | 1.466 | -132.4196 | 66.6899
Line_2 | 0.0012031 | 0.85828 | 0.88066 | 0.0035761 | 0.85739 | 0.88174 | 0.013892 | 9.9106 | 10.169 | 0.041293 | 9.9003 | 10.1814 | 2.6414e-05 | -0.72172 | -0.79973 | -0.00096915 | 1.4375 | 1.6085 | 0.020283 | -0.30449 | -0.58943 | -0.060096 | 0.59749 | 1.1911 | -89.0147 | 25.1574 | -149.9668 | 92.3899 | -154.9896 | 30.1707 | 1.46 | 0.079039 | 0.097696 | 1.4555 | 0.15724 | 0.19658 | 0.91068 | -131.9681 | 66.4246 | 1.466 | -132.4196 | 66.6899
Line_3 | 0.0011984 | 0.85926 | 0.87951 | 0.0012031 | 0.85828 | 0.88066 | 0.013838 | 9.9219 | 10.1557 | 0.013892 | 9.9106 | 10.169 | -0.00040436 | -4.6358e-11 | 2.6941e-12 | -2.6416e-05 | 0.72172 | 0.79973 | -0.020258 | -3.5974e-11 | -6.0488e-11 | -0.020283 | 0.30449 | 0.58943 | 91.5593 | 25.3038 | -150.104 | 90.9853 | -154.8426 | 30.0332 | 1.4642 | 0 | 0 | 1.46 | 0.079039 | 0.097696 | 0.41583 | 0 | 0 | 0.91068 | -131.9681 | 66.4246

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0094785 | 2.5728 | 2.6445 | 0.0071612 | 2.5735 | 2.6436 | 0.10945 | 29.7083 | 30.5358 | 0.08269 | 29.7166 | 30.5254 | -0.0006057 | 10.7709 | 12.0804 | 0.0015334 | -4.3171 | -4.8183 | -0.15791 | 4.3908 | 9.023 | 0.12035 | -1.7879 | -3.5768 | 93.3991 | -154.9653 | 30.1484 | -87.8041 | 25.0839 | -149.898 | 1.4428 | 0.39152 | 0.49379 | 1.4555 | 0.15724 | 0.19658 | 3.1793 | -132.7871 | 66.9049 | 1.466 | -132.4196 | 66.6899
Line_1 | 0.0011984 | 1.7171 | 1.7607 | 0.0035851 | 1.7161 | 1.7618 | 0.013838 | 19.827 | 20.3311 | 0.041398 | 19.8163 | 20.3439 | 0.00040436 | -9.25e-11 | 5.1758e-12 | -0.00056424 | 2.8796 | 3.2098 | 0.020258 | -7.2065e-11 | -1.211e-10 | -0.060254 | 1.1904 | 2.3857 | -88.4407 | 25.194 | -150.001 | 92.0025 | -154.8794 | 30.0677 | 1.4642 | 0 | 0 | 1.4555 | 0.15724 | 0.19658 | 0.41583 | 0 | 0 | 1.466 | -132.4196 | 66.6899
Line_2 | 0.0012031 | 0.85828 | 0.88066 | 0.0035761 | 0.85739 | 0.88174 | 0.013892 | 9.9106 | 10.169 | 0.041293 | 9.9003 | 10.1814 | 2.6414e-05 | -0.72172 | -0.79973 | -0.00096915 | 1.4375 | 1.6085 | 0.020283 | -0.30449 | -0.58943 | -0.060096 | 0.59749 | 1.1911 | -89.0147 | 25.1574 | -149.9668 | 92.3899 | -154.9896 | 30.1707 | 1.46 | 0.079039 | 0.097696 | 1.4555 | 0.15724 | 0.19658 | 0.91068 | -131.9681 | 66.4246 | 1.466 | -132.4196 | 66.6899
Line_3 | 0.0011984 | 0.85926 | 0.87951 | 0.0012031 | 0.85828 | 0.88066 | 0.013838 | 9.9219 | 10.1557 | 0.013892 | 9.9106 | 10.169 | -0.00040436 | -4.6358e-11 | 2.6941e-12 | -2.6416e-05 | 0.72172 | 0.79973 | -0.020258 | -3.5974e-11 | -6.0488e-11 | -0.020283 | 0.30449 | 0.58943 | 91.5593 | 25.3038 | -150.104 | 90.9853 | -154.8426 | 30.0332 | 1.4642 | 0 | 0 | 1.46 | 0.079039 | 0.097696 | 0.41583 | 0 | 0 | 0.91068 | -131.9681 | 66.4246

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0084869 | 0.88683 | 0.97663 | 0.006412 | 0.88759 | 0.97548 | 0.097998 | 10.2402 | 11.2772 | 0.074039 | 10.249 | 11.2639 | -0.0078039 | 5.1079 | 6.6393 | 0.0066048 | -4.4068 | -5.5007 | -0.1362 | 4.1078 | 6.3193 | 0.10386 | -4.037 | -5.347 | 97.3405 | -147.5173 | 44.7378 | -83.8627 | 32.6078 | -135.3639 | 1.3921 | 0.6401 | 0.81278 | 1.4055 | 0.58312 | 0.68104 | 4.0612 | -108.7107 | 88.3234 | 2.4984 | -104.8997 | 88.8243
Line_1 | 0.001073 | 0.59315 | 0.64834 | 0.0032101 | 0.59219 | 0.64967 | 0.01239 | 6.8491 | 7.4864 | 0.037067 | 6.8381 | 7.5017 | 0.00121 | -2.6367 | -3.1534 | -0.0031311 | 2.9445 | 3.6588 | 0.017484 | -2.6452 | -3.1453 | -0.052005 | 2.6887 | 3.5658 | -84.4993 | 32.8851 | -135.586 | 95.9439 | -147.2996 | 44.5621 | 1.4145 | 0.5453 | 0.59492 | 1.4055 | 0.58312 | 0.68104 | 1.5419 | -102.0229 | 89.3402 | 2.4984 | -104.8997 | 88.8243
Line_2 | 0.0010772 | 0.29632 | 0.32452 | 0.0032019 | 0.2954 | 0.32582 | 0.012439 | 3.4216 | 3.7472 | 0.036973 | 3.411 | 3.7622 | 0.00089793 | -1.3959 | -1.7017 | -0.0034738 | 1.4623 | 1.8418 | 0.017518 | -1.3355 | -1.6757 | -0.051851 | 1.3483 | 1.7812 | -85.0733 | 32.7932 | -135.5129 | 96.3313 | -147.578 | 44.7838 | 1.4102 | 0.56461 | 0.63734 | 1.4055 | 0.58312 | 0.68104 | 1.9924 | -103.4742 | 89.0455 | 2.4984 | -104.8997 | 88.8243
Line_3 | 0.001073 | 0.29732 | 0.32316 | 0.0010772 | 0.29632 | 0.32452 | 0.01239 | 3.4332 | 3.7316 | 0.012439 | 3.4216 | 3.7472 | -0.00121 | -1.328 | -1.5657 | -0.00089793 | 1.3959 | 1.7017 | -0.017484 | -1.3195 | -1.5738 | -0.017518 | 1.3355 | 1.6757 | 95.5007 | 33.1605 | -135.808 | 94.9267 | -147.2068 | 44.4871 | 1.4145 | 0.5453 | 0.59492 | 1.4102 | 0.56461 | 0.63734 | 1.5419 | -102.0229 | 89.3402 | 1.9924 | -103.4742 | 89.0455

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0084869 | 0.88683 | 0.97663 | 0.006412 | 0.88759 | 0.97548 | 0.097998 | 10.2402 | 11.2772 | 0.074039 | 10.249 | 11.2639 | -0.0078039 | 5.1079 | 6.6393 | 0.0066048 | -4.4068 | -5.5007 | -0.1362 | 4.1078 | 6.3193 | 0.10386 | -4.037 | -5.347 | 97.3405 | -147.5173 | 44.7378 | -83.8627 | 32.6078 | -135.3639 | 1.3921 | 0.6401 | 0.81278 | 1.4055 | 0.58312 | 0.68104 | 4.0612 | -108.7107 | 88.3234 | 2.4984 | -104.8997 | 88.8243
Line_1 | 0.001073 | 0.59315 | 0.64834 | 0.0032101 | 0.59219 | 0.64967 | 0.01239 | 6.8491 | 7.4864 | 0.037067 | 6.8381 | 7.5017 | 0.00121 | -2.6367 | -3.1534 | -0.0031311 | 2.9445 | 3.6588 | 0.017484 | -2.6452 | -3.1453 | -0.052005 | 2.6887 | 3.5658 | -84.4993 | 32.8851 | -135.586 | 95.9439 | -147.2996 | 44.5621 | 1.4145 | 0.5453 | 0.59492 | 1.4055 | 0.58312 | 0.68104 | 1.5419 | -102.0229 | 89.3402 | 2.4984 | -104.8997 | 88.8243
Line_2 | 0.0010772 | 0.29632 | 0.32452 | 0.0032019 | 0.2954 | 0.32582 | 0.012439 | 3.4216 | 3.7472 | 0.036973 | 3.411 | 3.7622 | 0.00089793 | -1.3959 | -1.7017 | -0.0034738 | 1.4623 | 1.8418 | 0.017518 | -1.3355 | -1.6757 | -0.051851 | 1.3483 | 1.7812 | -85.0733 | 32.7932 | -135.5129 | 96.3313 | -147.578 | 44.7838 | 1.4102 | 0.56461 | 0.63734 | 1.4055 | 0.58312 | 0.68104 | 1.9924 | -103.4742 | 89.0455 | 2.4984 | -104.8997 | 88.8243
Line_3 | 0.001073 | 0.29732 | 0.32316 | 0.0010772 | 0.29632 | 0.32452 | 0.01239 | 3.4332 | 3.7316 | 0.012439 | 3.4216 | 3.7472 | -0.00121 | -1.328 | -1.5657 | -0.00089793 | 1.3959 | 1.7017 | -0.017484 | -1.3195 | -1.5738 | -0.017518 | 1.3355 | 1.6757 | 95.5007 | 33.1605 | -135.808 | 94.9267 | -147.2068 | 44.4871 | 1.4145 | 0.5453 | 0.59492 | 1.4102 | 0.56461 | 0.63734 | 1.5419 | -102.0229 | 89.3402 | 1.9924 | -103.4742 | 89.0455