## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 2.6053e-14 | 30.1766 | -15.8685 | -3.6475e-14 | -23.0225 | 23.0225 | -1.5632e-14 | 3.131 | 13.1032 | 1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.829e-13 | -161.8563 | 152.6723 | 8.8196e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.0421e-14 | 1.0421e-14 | 2.4062e-28 | 5.2106e-15 | -1.0421e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5673e-13 | -180 | 180 | 8.8196e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 1.0421e-14 | 1.0421e-14 | 5.2106e-15 | 5.2106e-15 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 8.0208e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5726e-13 | -180 | 180 | 8.8196e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3374e-28 | 1.8237e-14 | 1.2608e-25 | -2.0843e-14 | 2.6053e-15 | -5.2106e-15 | 1.5632e-14 | 5.2106e-15 | 5.2106e-15 | -1.0421e-14 | 2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5673e-13 | -180 | 180 | 8.5726e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 2.6053e-14 | 30.1766 | -15.8685 | -3.6475e-14 | -23.0225 | 23.0225 | -1.5632e-14 | 3.131 | 13.1032 | 1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.829e-13 | -161.8563 | 152.6723 | 8.8196e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.0421e-14 | 1.0421e-14 | 2.4062e-28 | 5.2106e-15 | -1.0421e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5673e-13 | -180 | 180 | 8.8196e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 1.0421e-14 | 1.0421e-14 | 5.2106e-15 | 5.2106e-15 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 8.0208e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5726e-13 | -180 | 180 | 8.8196e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3374e-28 | 1.8237e-14 | 1.2608e-25 | -2.0843e-14 | 2.6053e-15 | -5.2106e-15 | 1.5632e-14 | 5.2106e-15 | 5.2106e-15 | -1.0421e-14 | 2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5673e-13 | -180 | 180 | 8.5726e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | 7.816e-15 | 19.0761 | -0.30087 | -1.3027e-14 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.0275e-13 | -138.0936 | 121.2196 | 4.0055e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.734e-10 | 1.0337e-09 | 5.2106e-15 | -4.734e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9278e-13 | -142.8673 | 128.239 | 4.0055e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.734e-10 | 1.0337e-09 | 2.6053e-15 | -4.7339e-10 | -1.0337e-09 | -1.5632e-14 | -1.3544e-09 | 3.8386e-10 | 1.5632e-14 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9658e-13 | -142.8673 | 128.239 | 4.0055e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 5.2913e-15 | -8.9964e-16 | -2.6053e-15 | 1.6786e-15 | -2.9948e-15 | 1.8237e-14 | 6.5738e-15 | 1.1308e-14 | -2.0843e-14 | -8.9979e-15 | -6.3655e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9278e-13 | -142.8673 | 128.239 | 3.9658e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | 7.816e-15 | 19.0761 | -0.30087 | -1.3027e-14 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.0275e-13 | -138.0936 | 121.2196 | 4.0055e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.734e-10 | 1.0337e-09 | 5.2106e-15 | -4.734e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9278e-13 | -142.8673 | 128.239 | 4.0055e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.734e-10 | 1.0337e-09 | 2.6053e-15 | -4.7339e-10 | -1.0337e-09 | -1.5632e-14 | -1.3544e-09 | 3.8386e-10 | 1.5632e-14 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9658e-13 | -142.8673 | 128.239 | 4.0055e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 5.2913e-15 | -8.9964e-16 | -2.6053e-15 | 1.6786e-15 | -2.9948e-15 | 1.8237e-14 | 6.5738e-15 | 1.1308e-14 | -2.0843e-14 | -8.9979e-15 | -6.3655e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9278e-13 | -142.8673 | 128.239 | 3.9658e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.8422e-14 | 26.5997 | -7.1734 | -3.079e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 8.7992e-13 | -160.7833 | 141.207 | 8.6615e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -2.3684e-15 | -4.7369e-15 | 2.1316e-14 | 7.1054e-15 | 7.1054e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.5708e-13 | -180 | 180 | 8.6615e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 7.1055e-15 | -4.7369e-15 | 4.737e-15 | -2.3685e-15 | 2.3685e-15 | -2.8422e-14 | -1.5877e-09 | 1.5877e-09 | 2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.7166e-13 | -180 | 180 | 8.6615e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -4.737e-15 | -2.3685e-15 | 1.6579e-14 | 1.1842e-14 | 1.1842e-14 | 2.8422e-14 | 4.737e-15 | 4.737e-15 | -3.7896e-14 | -7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.5708e-13 | -180 | 180 | 8.7166e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.8422e-14 | 26.5997 | -7.1734 | -3.079e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 8.7992e-13 | -160.7833 | 141.207 | 8.6615e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -2.3684e-15 | -4.7369e-15 | 2.1316e-14 | 7.1054e-15 | 7.1054e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.5708e-13 | -180 | 180 | 8.6615e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 7.1055e-15 | -4.7369e-15 | 4.737e-15 | -2.3685e-15 | 2.3685e-15 | -2.8422e-14 | -1.5877e-09 | 1.5877e-09 | 2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.7166e-13 | -180 | 180 | 8.6615e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -4.737e-15 | -2.3685e-15 | 1.6579e-14 | 1.1842e-14 | 1.1842e-14 | 2.8422e-14 | 4.737e-15 | 4.737e-15 | -3.7896e-14 | -7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.5708e-13 | -180 | 180 | 8.7166e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.7764e-14 | 15.3932 | 0.73601 | -1.7764e-14 | -13.0917 | 1.5655 | -1.4211e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.4117e-13 | -138.1765 | 119.7467 | 4.311e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | 4.798e-10 | 8.2616e-10 | 8.8818e-15 | -4.798e-10 | -8.2616e-10 | -7.3677e-29 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1937e-13 | -142.5584 | 131.6989 | 4.311e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2434e-14 | 4.798e-10 | 8.2616e-10 | 1.125e-14 | -4.7979e-10 | -8.2616e-10 | 1.4211e-14 | -1.0532e-09 | 4.5326e-10 | -1.4211e-14 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1624e-13 | -142.5584 | 131.6989 | 4.311e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.112e-15 | -1.6759e-15 | -4.737e-15 | -3.2785e-15 | 4.3124e-15 | -1.1842e-14 | -1.6171e-15 | -2.4601e-15 | 1.1842e-14 | 8.657e-15 | 3.842e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1937e-13 | -142.5584 | 131.6989 | 4.1624e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 1.7764e-14 | 15.3932 | 0.73601 | -1.7764e-14 | -13.0917 | 1.5655 | -1.4211e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.4117e-13 | -138.1765 | 119.7467 | 4.311e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | 4.798e-10 | 8.2616e-10 | 8.8818e-15 | -4.798e-10 | -8.2616e-10 | -7.3677e-29 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1937e-13 | -142.5584 | 131.6989 | 4.311e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2434e-14 | 4.798e-10 | 8.2616e-10 | 1.125e-14 | -4.7979e-10 | -8.2616e-10 | 1.4211e-14 | -1.0532e-09 | 4.5326e-10 | -1.4211e-14 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1624e-13 | -142.5584 | 131.6989 | 4.311e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -2.112e-15 | -1.6759e-15 | -4.737e-15 | -3.2785e-15 | 4.3124e-15 | -1.1842e-14 | -1.6171e-15 | -2.4601e-15 | 1.1842e-14 | 8.657e-15 | 3.842e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.1937e-13 | -142.5584 | 131.6989 | 4.1624e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.5135 | 1.7568 | 1.7568 | 3.513 | 1.7573 | 1.7573 | 40.5705 | 20.2852 | 20.2852 | 40.5641 | 20.2916 | 20.2916 | 6.4121 | -7.2795 | 27.623 | 4.077e-10 | 8.8999 | -26.0266 | 7.291 | 13.5077 | -3.0914 | -3.7751e-10 | -11.6873 | 4.8894 | -64.5649 | 115.4351 | 115.4351 | 115.4578 | -64.6104 | -64.6104 |  | 0.23932 | 0.75643 | 1.3702 | 0 | 0.72395 | 1.3051 | -15.8949 | -126.2441 | 109.0494 | 0 | -117.3208 | 104.7501
Line_1 | 0.87893 | 0.87893 | 0.87893 | 0.87865 | 0.87865 | 0.87865 | 10.149 | 10.149 | 10.149 | 10.1458 | 10.1458 | 10.1458 | 2.8545 | 7.3105 | -10.1649 | 1.0209e-10 | -4.45 | 13.0133 | 1.1356 | -4.7063 | 3.5707 | -9.43e-11 | 5.8436 | -2.4447 | -64.6558 | -64.6558 | -64.6558 | 115.3896 | 115.3896 | 115.3896 |  | 0.30269 | 0.85667 | 1.0616 | 0 | 0.72395 | 1.3051 | -42.9614 | -97.4285 | 95.9888 | 0 | -117.3208 | 104.7501
Line_2 | 0.87893 | 0.87893 | 0.87893 | 0.87865 | 0.87865 | 0.87865 | 10.149 | 10.149 | 10.149 | 10.1458 | 10.1458 | 10.1458 | 2.8545 | 7.3105 | -10.1649 | 1.0209e-10 | -4.45 | 13.0133 | 1.1356 | -4.7063 | 3.5707 | -9.43e-11 | 5.8436 | -2.4447 | -64.6558 | -64.6558 | -64.6558 | 115.3896 | 115.3896 | 115.3896 |  | 0.30269 | 0.85667 | 1.0616 | 0 | 0.72395 | 1.3051 | -42.9614 | -97.4285 | 95.9888 | 0 | -117.3208 | 104.7501
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4346e-13 | 6.3099e-13 | -8.6401e-13 | 2.4807e-13 | 6.1551e-13 | -8.9031e-13 | 1.0048e-13 | -4.1784e-13 | 2.8352e-13 | 9.9123e-14 | -3.9536e-13 | 3.4143e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.30269 | 0.85667 | 1.0616 | 0.30269 | 0.85667 | 1.0616 | -42.9614 | -97.4285 | 95.9888 | -42.9614 | -97.4285 | 95.9888

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.5135 | 1.7568 | 1.7568 | 3.513 | 1.7573 | 1.7573 | 40.5705 | 20.2852 | 20.2852 | 40.5641 | 20.2916 | 20.2916 | 6.4121 | -7.2795 | 27.623 | 4.077e-10 | 8.8999 | -26.0266 | 7.291 | 13.5077 | -3.0914 | -3.7751e-10 | -11.6873 | 4.8894 | -64.5649 | 115.4351 | 115.4351 | 115.4578 | -64.6104 | -64.6104 |  | 0.23932 | 0.75643 | 1.3702 | 0 | 0.72395 | 1.3051 | -15.8949 | -126.2441 | 109.0494 | 0 | -117.3208 | 104.7501
Line_1 | 0.87893 | 0.87893 | 0.87893 | 0.87865 | 0.87865 | 0.87865 | 10.149 | 10.149 | 10.149 | 10.1458 | 10.1458 | 10.1458 | 2.8545 | 7.3105 | -10.1649 | 1.0209e-10 | -4.45 | 13.0133 | 1.1356 | -4.7063 | 3.5707 | -9.43e-11 | 5.8436 | -2.4447 | -64.6558 | -64.6558 | -64.6558 | 115.3896 | 115.3896 | 115.3896 |  | 0.30269 | 0.85667 | 1.0616 | 0 | 0.72395 | 1.3051 | -42.9614 | -97.4285 | 95.9888 | 0 | -117.3208 | 104.7501
Line_2 | 0.87893 | 0.87893 | 0.87893 | 0.87865 | 0.87865 | 0.87865 | 10.149 | 10.149 | 10.149 | 10.1458 | 10.1458 | 10.1458 | 2.8545 | 7.3105 | -10.1649 | 1.0209e-10 | -4.45 | 13.0133 | 1.1356 | -4.7063 | 3.5707 | -9.43e-11 | 5.8436 | -2.4447 | -64.6558 | -64.6558 | -64.6558 | 115.3896 | 115.3896 | 115.3896 |  | 0.30269 | 0.85667 | 1.0616 | 0 | 0.72395 | 1.3051 | -42.9614 | -97.4285 | 95.9888 | 0 | -117.3208 | 104.7501
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4346e-13 | 6.3099e-13 | -8.6401e-13 | 2.4807e-13 | 6.1551e-13 | -8.9031e-13 | 1.0048e-13 | -4.1784e-13 | 2.8352e-13 | 9.9123e-14 | -3.9536e-13 | 3.4143e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.30269 | 0.85667 | 1.0616 | 0.30269 | 0.85667 | 1.0616 | -42.9614 | -97.4285 | 95.9888 | -42.9614 | -97.4285 | 95.9888

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90306 | 0.45153 | 0.45153 | 0.90292 | 0.45167 | 0.45167 | 10.4276 | 5.2138 | 5.2138 | 10.426 | 5.2155 | 5.2155 | 6.54 | -1.6003 | 6.0024 | -6.1179 | 1.711 | -5.8991 | 6.598 | 5.0699 | -1.3236 | -6.113 | -4.9501 | 1.4394 | -49.9376 | 130.0624 | 130.0624 | 130.0851 | -49.9831 | -49.9831 |  | 0.89091 | 1.0197 | 1.1789 | 0.82951 | 1.0042 | 1.1643 | -4.6844 | -122.4198 | 117.627 | -4.9376 | -120.9154 | 116.3045
Line_1 | 0.22591 | 0.22591 | 0.22591 | 0.22584 | 0.22584 | 0.22584 | 2.6086 | 2.6086 | 2.6086 | 2.6077 | 2.6077 | 2.6077 | 1.7162 | 1.0463 | -2.7625 | -1.5284 | -0.85549 | 2.9496 | 1.6075 | -2.4001 | 0.79262 | -1.5308 | 2.475 | -0.71971 | -50.0285 | -50.0285 | -50.0285 | 130.0169 | 130.0169 | 130.0169 |  | 0.90145 | 1.0037 | 1.1017 | 0.82951 | 1.0042 | 1.1643 | -6.9016 | -116.4744 | 113.9623 | -4.9376 | -120.9154 | 116.3045
Line_2 | 0.22591 | 0.22591 | 0.22591 | 0.22584 | 0.22584 | 0.22584 | 2.6086 | 2.6086 | 2.6086 | 2.6077 | 2.6077 | 2.6077 | 1.7162 | 1.0463 | -2.7625 | -1.5284 | -0.85549 | 2.9496 | 1.6075 | -2.4001 | 0.79262 | -1.5308 | 2.475 | -0.71971 | -50.0285 | -50.0285 | -50.0285 | 130.0169 | 130.0169 | 130.0169 |  | 0.90145 | 1.0037 | 1.1017 | 0.82951 | 1.0042 | 1.1643 | -6.9016 | -116.4744 | 113.9623 | -4.9376 | -120.9154 | 116.3045
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.508e-13 | 8.8294e-14 | -2.3528e-13 | 1.4359e-13 | 9.0956e-14 | -2.3634e-13 | 1.3982e-13 | -2.0066e-13 | 6.6768e-14 | 1.38e-13 | -2.0332e-13 | 6.9153e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.90145 | 1.0037 | 1.1017 | 0.90145 | 1.0037 | 1.1017 | -6.9016 | -116.4744 | 113.9623 | -6.9016 | -116.4744 | 113.9623

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90306 | 0.45153 | 0.45153 | 0.90292 | 0.45167 | 0.45167 | 10.4276 | 5.2138 | 5.2138 | 10.426 | 5.2155 | 5.2155 | 6.54 | -1.6003 | 6.0024 | -6.1179 | 1.711 | -5.8991 | 6.598 | 5.0699 | -1.3236 | -6.113 | -4.9501 | 1.4394 | -49.9376 | 130.0624 | 130.0624 | 130.0851 | -49.9831 | -49.9831 |  | 0.89091 | 1.0197 | 1.1789 | 0.82951 | 1.0042 | 1.1643 | -4.6844 | -122.4198 | 117.627 | -4.9376 | -120.9154 | 116.3045
Line_1 | 0.22591 | 0.22591 | 0.22591 | 0.22584 | 0.22584 | 0.22584 | 2.6086 | 2.6086 | 2.6086 | 2.6077 | 2.6077 | 2.6077 | 1.7162 | 1.0463 | -2.7625 | -1.5284 | -0.85549 | 2.9496 | 1.6075 | -2.4001 | 0.79262 | -1.5308 | 2.475 | -0.71971 | -50.0285 | -50.0285 | -50.0285 | 130.0169 | 130.0169 | 130.0169 |  | 0.90145 | 1.0037 | 1.1017 | 0.82951 | 1.0042 | 1.1643 | -6.9016 | -116.4744 | 113.9623 | -4.9376 | -120.9154 | 116.3045
Line_2 | 0.22591 | 0.22591 | 0.22591 | 0.22584 | 0.22584 | 0.22584 | 2.6086 | 2.6086 | 2.6086 | 2.6077 | 2.6077 | 2.6077 | 1.7162 | 1.0463 | -2.7625 | -1.5284 | -0.85549 | 2.9496 | 1.6075 | -2.4001 | 0.79262 | -1.5308 | 2.475 | -0.71971 | -50.0285 | -50.0285 | -50.0285 | 130.0169 | 130.0169 | 130.0169 |  | 0.90145 | 1.0037 | 1.1017 | 0.82951 | 1.0042 | 1.1643 | -6.9016 | -116.4744 | 113.9623 | -4.9376 | -120.9154 | 116.3045
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.508e-13 | 8.8294e-14 | -2.3528e-13 | 1.4359e-13 | 9.0956e-14 | -2.3634e-13 | 1.3982e-13 | -2.0066e-13 | 6.6768e-14 | 1.38e-13 | -2.0332e-13 | 6.9153e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.90145 | 1.0037 | 1.1017 | 0.90145 | 1.0037 | 1.1017 | -6.9016 | -116.4744 | 113.9623 | -6.9016 | -116.4744 | 113.9623

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6017 | 1.3009 | 1.3009 | 2.6013 | 1.3013 | 1.3013 | 30.042 | 15.021 | 15.021 | 30.0373 | 15.0257 | 15.0257 | 6.7506 | 0.83472 | 20.5823 | -1.4657e-10 | 0.87451 | -18.905 | 4.0112 | 11.2985 | -5.6403 | -5.3849e-12 | -10.3107 | 6.6033 | -49.3782 | 130.6218 | 130.6218 | 130.6654 | -49.4654 | -49.4654 |  | 0.26138 | 0.75423 | 1.4208 | 0 | 0.68867 | 1.3327 | -18.6595 | -143.6035 | 115.2969 | 0 | -134.6175 | 111.281
Line_1 | 0.65083 | 0.65083 | 0.65083 | 0.65063 | 0.65063 | 0.65063 | 7.5152 | 7.5152 | 7.5152 | 7.5128 | 7.5128 | 7.5128 | 3.0051 | 3.4503 | -6.4554 | -3.6657e-11 | -0.43725 | 9.4525 | 0.62267 | -4.5336 | 3.911 | -1.4306e-12 | 5.1553 | -3.3016 | -49.5526 | -49.5526 | -49.5526 | 130.5346 | 130.5346 | 130.5346 |  | 0.40836 | 0.7581 | 1.0043 | 0 | 0.68867 | 1.3327 | -37.8462 | -102.2796 | 99.2382 | 0 | -134.6175 | 111.281
Line_2 | 0.65083 | 0.65083 | 0.65083 | 0.65063 | 0.65063 | 0.65063 | 7.5152 | 7.5152 | 7.5152 | 7.5128 | 7.5128 | 7.5128 | 3.0051 | 3.4503 | -6.4554 | -3.6657e-11 | -0.43725 | 9.4525 | 0.62267 | -4.5336 | 3.911 | -1.4306e-12 | 5.1553 | -3.3016 | -49.5526 | -49.5526 | -49.5526 | 130.5346 | 130.5346 | 130.5346 |  | 0.40836 | 0.7581 | 1.0043 | 0 | 0.68867 | 1.3327 | -37.8462 | -102.2796 | 99.2382 | 0 | -134.6175 | 111.281
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6135e-13 | 2.9711e-13 | -5.5457e-13 | 2.5227e-13 | 2.9871e-13 | -5.5381e-13 | 5.2619e-14 | -3.8257e-13 | 3.3878e-13 | 5.3547e-14 | -3.921e-13 | 3.3408e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.40836 | 0.7581 | 1.0043 | 0.40836 | 0.7581 | 1.0043 | -37.8462 | -102.2796 | 99.2382 | -37.8462 | -102.2796 | 99.2382

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6017 | 1.3009 | 1.3009 | 2.6013 | 1.3013 | 1.3013 | 30.042 | 15.021 | 15.021 | 30.0373 | 15.0257 | 15.0257 | 6.7506 | 0.83472 | 20.5823 | -1.4657e-10 | 0.87451 | -18.905 | 4.0112 | 11.2985 | -5.6403 | -5.3849e-12 | -10.3107 | 6.6033 | -49.3782 | 130.6218 | 130.6218 | 130.6654 | -49.4654 | -49.4654 |  | 0.26138 | 0.75423 | 1.4208 | 0 | 0.68867 | 1.3327 | -18.6595 | -143.6035 | 115.2969 | 0 | -134.6175 | 111.281
Line_1 | 0.65083 | 0.65083 | 0.65083 | 0.65063 | 0.65063 | 0.65063 | 7.5152 | 7.5152 | 7.5152 | 7.5128 | 7.5128 | 7.5128 | 3.0051 | 3.4503 | -6.4554 | -3.6657e-11 | -0.43725 | 9.4525 | 0.62267 | -4.5336 | 3.911 | -1.4306e-12 | 5.1553 | -3.3016 | -49.5526 | -49.5526 | -49.5526 | 130.5346 | 130.5346 | 130.5346 |  | 0.40836 | 0.7581 | 1.0043 | 0 | 0.68867 | 1.3327 | -37.8462 | -102.2796 | 99.2382 | 0 | -134.6175 | 111.281
Line_2 | 0.65083 | 0.65083 | 0.65083 | 0.65063 | 0.65063 | 0.65063 | 7.5152 | 7.5152 | 7.5152 | 7.5128 | 7.5128 | 7.5128 | 3.0051 | 3.4503 | -6.4554 | -3.6657e-11 | -0.43725 | 9.4525 | 0.62267 | -4.5336 | 3.911 | -1.4306e-12 | 5.1553 | -3.3016 | -49.5526 | -49.5526 | -49.5526 | 130.5346 | 130.5346 | 130.5346 |  | 0.40836 | 0.7581 | 1.0043 | 0 | 0.68867 | 1.3327 | -37.8462 | -102.2796 | 99.2382 | 0 | -134.6175 | 111.281
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6135e-13 | 2.9711e-13 | -5.5457e-13 | 2.5227e-13 | 2.9871e-13 | -5.5381e-13 | 5.2619e-14 | -3.8257e-13 | 3.3878e-13 | 5.3547e-14 | -3.921e-13 | 3.3408e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.40836 | 0.7581 | 1.0043 | 0.40836 | 0.7581 | 1.0043 | -37.8462 | -102.2796 | 99.2382 | -37.8462 | -102.2796 | 99.2382

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76797 | 0.38399 | 0.38399 | 0.76785 | 0.38411 | 0.38411 | 8.8678 | 4.4339 | 4.4339 | 8.8664 | 4.4353 | 4.4353 | 5.0115 | -0.7368 | 4.8146 | -4.426 | 0.89058 | -4.6706 | 4.7729 | 4.0057 | -1.301 | -4.4193 | -3.9193 | 1.3805 | -46.2912 | 133.7088 | 133.7088 | 133.7524 | -46.3784 | -46.3784 |  | 0.78043 | 0.91857 | 1.1248 | 0.70543 | 0.90619 | 1.0981 | -2.6886 | -125.8687 | 118.5876 | -1.2912 | -123.5765 | 117.155
Line_1 | 0.19211 | 0.19211 | 0.19211 | 0.19205 | 0.19205 | 0.19205 | 2.2183 | 2.2183 | 2.2183 | 2.2176 | 2.2176 | 2.2176 | 1.365 | 0.71025 | -2.0752 | -1.1045 | -0.44529 | 2.3353 | 1.1641 | -1.9053 | 0.74118 | -1.1079 | 1.9596 | -0.69027 | -46.4656 | -46.4656 | -46.4656 | 133.6216 | 133.6216 | 133.6216 |  | 0.80872 | 0.91664 | 0.99337 | 0.70543 | 0.90619 | 1.0981 | -6.0061 | -116.0217 | 113.88 | -1.2912 | -123.5765 | 117.155
Line_2 | 0.19211 | 0.19211 | 0.19211 | 0.19205 | 0.19205 | 0.19205 | 2.2183 | 2.2183 | 2.2183 | 2.2176 | 2.2176 | 2.2176 | 1.365 | 0.71025 | -2.0752 | -1.1045 | -0.44529 | 2.3353 | 1.1641 | -1.9053 | 0.74118 | -1.1079 | 1.9596 | -0.69027 | -46.4656 | -46.4656 | -46.4656 | 133.6216 | 133.6216 | 133.6216 |  | 0.80872 | 0.91664 | 0.99337 | 0.70543 | 0.90619 | 1.0981 | -6.0061 | -116.0217 | 113.88 | -1.2912 | -123.5765 | 117.155
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2138e-13 | 6.1136e-14 | -1.7539e-13 | 1.1374e-13 | 6.0915e-14 | -1.8034e-13 | 1.011e-13 | -1.6272e-13 | 5.8721e-14 | 9.7093e-14 | -1.6503e-13 | 6.5536e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.80872 | 0.91664 | 0.99337 | 0.80872 | 0.91664 | 0.99337 | -6.0061 | -116.0217 | 113.88 | -6.0061 | -116.0217 | 113.88

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76797 | 0.38399 | 0.38399 | 0.76785 | 0.38411 | 0.38411 | 8.8678 | 4.4339 | 4.4339 | 8.8664 | 4.4353 | 4.4353 | 5.0115 | -0.7368 | 4.8146 | -4.426 | 0.89058 | -4.6706 | 4.7729 | 4.0057 | -1.301 | -4.4193 | -3.9193 | 1.3805 | -46.2912 | 133.7088 | 133.7088 | 133.7524 | -46.3784 | -46.3784 |  | 0.78043 | 0.91857 | 1.1248 | 0.70543 | 0.90619 | 1.0981 | -2.6886 | -125.8687 | 118.5876 | -1.2912 | -123.5765 | 117.155
Line_1 | 0.19211 | 0.19211 | 0.19211 | 0.19205 | 0.19205 | 0.19205 | 2.2183 | 2.2183 | 2.2183 | 2.2176 | 2.2176 | 2.2176 | 1.365 | 0.71025 | -2.0752 | -1.1045 | -0.44529 | 2.3353 | 1.1641 | -1.9053 | 0.74118 | -1.1079 | 1.9596 | -0.69027 | -46.4656 | -46.4656 | -46.4656 | 133.6216 | 133.6216 | 133.6216 |  | 0.80872 | 0.91664 | 0.99337 | 0.70543 | 0.90619 | 1.0981 | -6.0061 | -116.0217 | 113.88 | -1.2912 | -123.5765 | 117.155
Line_2 | 0.19211 | 0.19211 | 0.19211 | 0.19205 | 0.19205 | 0.19205 | 2.2183 | 2.2183 | 2.2183 | 2.2176 | 2.2176 | 2.2176 | 1.365 | 0.71025 | -2.0752 | -1.1045 | -0.44529 | 2.3353 | 1.1641 | -1.9053 | 0.74118 | -1.1079 | 1.9596 | -0.69027 | -46.4656 | -46.4656 | -46.4656 | 133.6216 | 133.6216 | 133.6216 |  | 0.80872 | 0.91664 | 0.99337 | 0.70543 | 0.90619 | 1.0981 | -6.0061 | -116.0217 | 113.88 | -1.2912 | -123.5765 | 117.155
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2138e-13 | 6.1136e-14 | -1.7539e-13 | 1.1374e-13 | 6.0915e-14 | -1.8034e-13 | 1.011e-13 | -1.6272e-13 | 5.8721e-14 | 9.7093e-14 | -1.6503e-13 | 6.5536e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.80872 | 0.91664 | 0.99337 | 0.80872 | 0.91664 | 0.99337 | -6.0061 | -116.0217 | 113.88 | -6.0061 | -116.0217 | 113.88

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0669 | 4.3531 | 3.2714 | 2.0675 | 4.3538 | 3.27 | 23.866 | 50.2654 | 37.7748 | 23.8734 | 50.2738 | 37.7589 | 25.933 | 9.8545 | 5.5594 | -23.7067 | 2.9241e-10 | 2.8947e-10 | 11.903 | 11.1955 | 6.3042 | -9.4096 | -2.5901e-10 | -4.4356e-11 | -45.2381 | -179.3243 | 27.6645 | 134.7165 | 0.69688 | -152.3548 |  | 1.1956 | 0.29672 | 0.22251 | 1.0684 | 0 | 0 | -20.5835 | -130.6791 | 76.257 | -23.6345 | 0 | 0
Line_1 | 1.0341 | 1.0341 | 1.0341 | 1.0338 | 1.0338 | 1.0338 | 11.9405 | 11.9405 | 11.9405 | 11.9367 | 11.9367 | 11.9367 | -7.9022 | 3.9511 | 3.9511 | 11.8533 | 9.2469e-11 | -4.0269e-11 | -3.1438 | 1.5719 | 1.5719 | 4.7048 | 7.1897e-12 | -8.3363e-11 | 134.6711 | 134.6711 | 134.6711 | -45.2835 | -45.2835 | -45.2835 |  | 0.71225 | 0.35613 | 0.35613 | 1.0684 | 0 | 0 | -23.6345 | 156.3655 | 156.3655 | -23.6345 | 0 | 0
Line_2 | 1.0341 | 1.0341 | 1.0341 | 1.0338 | 1.0338 | 1.0338 | 11.9405 | 11.9405 | 11.9405 | 11.9367 | 11.9367 | 11.9367 | -7.9022 | 3.9511 | 3.9511 | 11.8533 | 9.2469e-11 | -4.0269e-11 | -3.1438 | 1.5719 | 1.5719 | 4.7048 | 7.1897e-12 | -8.3363e-11 | 134.6711 | 134.6711 | 134.6711 | -45.2835 | -45.2835 | -45.2835 |  | 0.71225 | 0.35613 | 0.35613 | 1.0684 | 0 | 0 | -23.6345 | 156.3655 | 156.3655 | -23.6345 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6382e-13 | 3.4215e-13 | 3.3423e-13 | -6.8836e-13 | 3.4283e-13 | 3.408e-13 | -2.5456e-13 | 1.3385e-13 | 1.41e-13 | -2.7697e-13 | 1.3539e-13 | 1.3076e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71225 | 0.35613 | 0.35613 | 0.71225 | 0.35613 | 0.35613 | -23.6345 | 156.3655 | 156.3655 | -23.6345 | 156.3655 | 156.3655

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0669 | 4.3531 | 3.2714 | 2.0675 | 4.3538 | 3.27 | 23.866 | 50.2654 | 37.7748 | 23.8734 | 50.2738 | 37.7589 | 25.933 | 9.8545 | 5.5594 | -23.7067 | 2.9241e-10 | 2.8947e-10 | 11.903 | 11.1955 | 6.3042 | -9.4096 | -2.5901e-10 | -4.4356e-11 | -45.2381 | -179.3243 | 27.6645 | 134.7165 | 0.69688 | -152.3548 |  | 1.1956 | 0.29672 | 0.22251 | 1.0684 | 0 | 0 | -20.5835 | -130.6791 | 76.257 | -23.6345 | 0 | 0
Line_1 | 1.0341 | 1.0341 | 1.0341 | 1.0338 | 1.0338 | 1.0338 | 11.9405 | 11.9405 | 11.9405 | 11.9367 | 11.9367 | 11.9367 | -7.9022 | 3.9511 | 3.9511 | 11.8533 | 9.2469e-11 | -4.0269e-11 | -3.1438 | 1.5719 | 1.5719 | 4.7048 | 7.1897e-12 | -8.3363e-11 | 134.6711 | 134.6711 | 134.6711 | -45.2835 | -45.2835 | -45.2835 |  | 0.71225 | 0.35613 | 0.35613 | 1.0684 | 0 | 0 | -23.6345 | 156.3655 | 156.3655 | -23.6345 | 0 | 0
Line_2 | 1.0341 | 1.0341 | 1.0341 | 1.0338 | 1.0338 | 1.0338 | 11.9405 | 11.9405 | 11.9405 | 11.9367 | 11.9367 | 11.9367 | -7.9022 | 3.9511 | 3.9511 | 11.8533 | 9.2469e-11 | -4.0269e-11 | -3.1438 | 1.5719 | 1.5719 | 4.7048 | 7.1897e-12 | -8.3363e-11 | 134.6711 | 134.6711 | 134.6711 | -45.2835 | -45.2835 | -45.2835 |  | 0.71225 | 0.35613 | 0.35613 | 1.0684 | 0 | 0 | -23.6345 | 156.3655 | 156.3655 | -23.6345 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6382e-13 | 3.4215e-13 | 3.3423e-13 | -6.8836e-13 | 3.4283e-13 | 3.408e-13 | -2.5456e-13 | 1.3385e-13 | 1.41e-13 | -2.7697e-13 | 1.3539e-13 | 1.3076e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71225 | 0.35613 | 0.35613 | 0.71225 | 0.35613 | 0.35613 | -23.6345 | 156.3655 | 156.3655 | -23.6345 | 156.3655 | 156.3655

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46427 | 1.1946 | 1.1197 | 0.46441 | 1.1949 | 1.1193 | 5.3609 | 13.7939 | 12.9288 | 5.3626 | 13.7973 | 12.9245 | 4.5417 | 11.447 | 4.4279 | -4.4278 | -10.7084 | -3.7743 | 3.8337 | 6.3533 | 9.7097 | -3.7115 | -5.5095 | -8.9681 | -45.0535 | -155.5799 | 47.2703 | 134.9011 | 24.4328 | -132.7364 |  | 1.1087 | 0.94911 | 0.82542 | 1.0774 | 0.87282 | 0.75283 | -4.8848 | -126.5486 | 112.756 | -5.128 | -128.3411 | 114.4391
Line_1 | 0.23228 | 0.23228 | 0.23228 | 0.23221 | 0.23221 | 0.23221 | 2.6821 | 2.6821 | 2.6821 | 2.6813 | 2.6813 | 2.6813 | -2.0138 | -0.077959 | 2.0917 | 2.2139 | 0.27539 | -1.8912 | -1.7788 | 2.4039 | -0.62507 | 1.8558 | -2.324 | 0.70566 | 134.8557 | 134.8557 | 134.8557 | -45.0989 | -45.0989 | -45.0989 |  | 1.0018 | 0.89672 | 0.81394 | 1.0774 | 0.87282 | 0.75283 | -3.6895 | -133.2868 | 118.2178 | -5.128 | -128.3411 | 114.4391
Line_2 | 0.23228 | 0.23228 | 0.23228 | 0.23221 | 0.23221 | 0.23221 | 2.6821 | 2.6821 | 2.6821 | 2.6813 | 2.6813 | 2.6813 | -2.0138 | -0.077959 | 2.0917 | 2.2139 | 0.27539 | -1.8912 | -1.7788 | 2.4039 | -0.62507 | 1.8558 | -2.324 | 0.70566 | 134.8557 | 134.8557 | 134.8557 | -45.0989 | -45.0989 | -45.0989 |  | 1.0018 | 0.89672 | 0.81394 | 1.0774 | 0.87282 | 0.75283 | -3.6895 | -133.2868 | 118.2178 | -5.128 | -128.3411 | 114.4391
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7255e-13 | -1.3382e-14 | 1.8201e-13 | -1.7038e-13 | -2.8615e-16 | 1.8069e-13 | -1.4104e-13 | 2.0882e-13 | -4.5636e-14 | -1.6258e-13 | 1.9794e-13 | -5.9474e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0018 | 0.89672 | 0.81394 | 1.0018 | 0.89672 | 0.81394 | -3.6895 | -133.2868 | 118.2178 | -3.6895 | -133.2868 | 118.2178

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46427 | 1.1946 | 1.1197 | 0.46441 | 1.1949 | 1.1193 | 5.3609 | 13.7939 | 12.9288 | 5.3626 | 13.7973 | 12.9245 | 4.5417 | 11.447 | 4.4279 | -4.4278 | -10.7084 | -3.7743 | 3.8337 | 6.3533 | 9.7097 | -3.7115 | -5.5095 | -8.9681 | -45.0535 | -155.5799 | 47.2703 | 134.9011 | 24.4328 | -132.7364 |  | 1.1087 | 0.94911 | 0.82542 | 1.0774 | 0.87282 | 0.75283 | -4.8848 | -126.5486 | 112.756 | -5.128 | -128.3411 | 114.4391
Line_1 | 0.23228 | 0.23228 | 0.23228 | 0.23221 | 0.23221 | 0.23221 | 2.6821 | 2.6821 | 2.6821 | 2.6813 | 2.6813 | 2.6813 | -2.0138 | -0.077959 | 2.0917 | 2.2139 | 0.27539 | -1.8912 | -1.7788 | 2.4039 | -0.62507 | 1.8558 | -2.324 | 0.70566 | 134.8557 | 134.8557 | 134.8557 | -45.0989 | -45.0989 | -45.0989 |  | 1.0018 | 0.89672 | 0.81394 | 1.0774 | 0.87282 | 0.75283 | -3.6895 | -133.2868 | 118.2178 | -5.128 | -128.3411 | 114.4391
Line_2 | 0.23228 | 0.23228 | 0.23228 | 0.23221 | 0.23221 | 0.23221 | 2.6821 | 2.6821 | 2.6821 | 2.6813 | 2.6813 | 2.6813 | -2.0138 | -0.077959 | 2.0917 | 2.2139 | 0.27539 | -1.8912 | -1.7788 | 2.4039 | -0.62507 | 1.8558 | -2.324 | 0.70566 | 134.8557 | 134.8557 | 134.8557 | -45.0989 | -45.0989 | -45.0989 |  | 1.0018 | 0.89672 | 0.81394 | 1.0774 | 0.87282 | 0.75283 | -3.6895 | -133.2868 | 118.2178 | -5.128 | -128.3411 | 114.4391
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7255e-13 | -1.3382e-14 | 1.8201e-13 | -1.7038e-13 | -2.8615e-16 | 1.8069e-13 | -1.4104e-13 | 2.0882e-13 | -4.5636e-14 | -1.6258e-13 | 1.9794e-13 | -5.9474e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0018 | 0.89672 | 0.81394 | 1.0018 | 0.89672 | 0.81394 | -3.6895 | -133.2868 | 118.2178 | -3.6895 | -133.2868 | 118.2178

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2353 | 3.5565 | 2.7517 | 1.2357 | 3.5574 | 2.7503 | 14.2643 | 41.0664 | 31.7743 | 14.2687 | 41.0774 | 31.7581 | 17.7867 | 12.6358 | 7.5488 | -16.2597 | -1.9411e-10 | -2.3633e-11 | 4.21 | 7.486 | 4.4519 | -3.3433 | -1.6604e-10 | -1.9671e-10 | -28.4689 | -167.1805 | 30.0504 | 151.4439 | 12.8463 | -149.9769 |  | 1.2814 | 0.35764 | 0.27581 | 1.1634 | 0 | 0 | -15.1524 | -136.5361 | 60.5802 | -16.9369 | 0 | 0
Line_1 | 0.61805 | 0.61805 | 0.61805 | 0.61785 | 0.61785 | 0.61785 | 7.1366 | 7.1366 | 7.1366 | 7.1344 | 7.1344 | 7.1344 | -5.4199 | 2.7099 | 2.7099 | 8.1298 | -6.216e-12 | -3.4942e-11 | -1.123 | 0.56152 | 0.56152 | 1.6717 | -4.3928e-11 | 2.7568e-11 | 151.3567 | 151.3567 | 151.3567 | -28.5561 | -28.5561 | -28.5561 |  | 0.77558 | 0.38779 | 0.38779 | 1.1634 | 0 | 0 | -16.9369 | 163.0631 | 163.0631 | -16.9369 | 0 | 0
Line_2 | 0.61805 | 0.61805 | 0.61805 | 0.61785 | 0.61785 | 0.61785 | 7.1366 | 7.1366 | 7.1366 | 7.1344 | 7.1344 | 7.1344 | -5.4199 | 2.7099 | 2.7099 | 8.1298 | -6.216e-12 | -3.4942e-11 | -1.123 | 0.56152 | 0.56152 | 1.6717 | -4.3928e-11 | 2.7568e-11 | 151.3567 | 151.3567 | 151.3567 | -28.5561 | -28.5561 | -28.5561 |  | 0.77558 | 0.38779 | 0.38779 | 1.1634 | 0 | 0 | -16.9369 | 163.0631 | 163.0631 | -16.9369 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6808e-13 | 2.315e-13 | 2.2961e-13 | -4.7122e-13 | 2.357e-13 | 2.3175e-13 | -9.9405e-14 | 5.2396e-14 | 4.1451e-14 | -9.0771e-14 | 4.7276e-14 | 4.848e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.77558 | 0.38779 | 0.38779 | 0.77558 | 0.38779 | 0.38779 | -16.9369 | 163.0631 | 163.0631 | -16.9369 | 163.0631 | 163.0631

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2353 | 3.5565 | 2.7517 | 1.2357 | 3.5574 | 2.7503 | 14.2643 | 41.0664 | 31.7743 | 14.2687 | 41.0774 | 31.7581 | 17.7867 | 12.6358 | 7.5488 | -16.2597 | -1.9411e-10 | -2.3633e-11 | 4.21 | 7.486 | 4.4519 | -3.3433 | -1.6604e-10 | -1.9671e-10 | -28.4689 | -167.1805 | 30.0504 | 151.4439 | 12.8463 | -149.9769 |  | 1.2814 | 0.35764 | 0.27581 | 1.1634 | 0 | 0 | -15.1524 | -136.5361 | 60.5802 | -16.9369 | 0 | 0
Line_1 | 0.61805 | 0.61805 | 0.61805 | 0.61785 | 0.61785 | 0.61785 | 7.1366 | 7.1366 | 7.1366 | 7.1344 | 7.1344 | 7.1344 | -5.4199 | 2.7099 | 2.7099 | 8.1298 | -6.216e-12 | -3.4942e-11 | -1.123 | 0.56152 | 0.56152 | 1.6717 | -4.3928e-11 | 2.7568e-11 | 151.3567 | 151.3567 | 151.3567 | -28.5561 | -28.5561 | -28.5561 |  | 0.77558 | 0.38779 | 0.38779 | 1.1634 | 0 | 0 | -16.9369 | 163.0631 | 163.0631 | -16.9369 | 0 | 0
Line_2 | 0.61805 | 0.61805 | 0.61805 | 0.61785 | 0.61785 | 0.61785 | 7.1366 | 7.1366 | 7.1366 | 7.1344 | 7.1344 | 7.1344 | -5.4199 | 2.7099 | 2.7099 | 8.1298 | -6.216e-12 | -3.4942e-11 | -1.123 | 0.56152 | 0.56152 | 1.6717 | -4.3928e-11 | 2.7568e-11 | 151.3567 | 151.3567 | 151.3567 | -28.5561 | -28.5561 | -28.5561 |  | 0.77558 | 0.38779 | 0.38779 | 1.1634 | 0 | 0 | -16.9369 | 163.0631 | 163.0631 | -16.9369 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6808e-13 | 2.315e-13 | 2.2961e-13 | -4.7122e-13 | 2.357e-13 | 2.3175e-13 | -9.9405e-14 | 5.2396e-14 | 4.1451e-14 | -9.0771e-14 | 4.7276e-14 | 4.848e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.77558 | 0.38779 | 0.38779 | 0.77558 | 0.38779 | 0.38779 | -16.9369 | 163.0631 | 163.0631 | -16.9369 | 163.0631 | 163.0631

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3812 | 1.0511 | 0.96888 | 0.38132 | 1.0516 | 0.9683 | 4.4017 | 12.1367 | 11.1877 | 4.4031 | 12.1424 | 11.181 | 3.8734 | 9.2526 | 3.7313 | -3.7254 | -8.1533 | -2.7934 | 2.5806 | 5.1095 | 7.0408 | -2.5021 | -4.4556 | -6.4844 | -39.9628 | -152.8249 | 48.4311 | 139.95 | 27.1933 | -131.5768 |  | 1.0574 | 0.87088 | 0.71225 | 1.0192 | 0.76519 | 0.63147 | -6.2899 | -123.9162 | 110.5099 | -6.1636 | -124.1509 | 115.1176
Line_1 | 0.19072 | 0.19072 | 0.19072 | 0.19066 | 0.19066 | 0.19066 | 2.2022 | 2.2022 | 2.2022 | 2.2015 | 2.2015 | 2.2015 | -1.6033 | 0.082309 | 1.521 | 1.8627 | 0.17314 | -1.2617 | -1.2008 | 1.7294 | -0.52863 | 1.251 | -1.6757 | 0.58384 | 139.8629 | 139.8629 | 139.8629 | -40.05 | -40.05 | -40.05 |  | 0.90959 | 0.78619 | 0.73119 | 1.0192 | 0.76519 | 0.63147 | -3.3061 | -132.862 | 120.6977 | -6.1636 | -124.1509 | 115.1176
Line_2 | 0.19072 | 0.19072 | 0.19072 | 0.19066 | 0.19066 | 0.19066 | 2.2022 | 2.2022 | 2.2022 | 2.2015 | 2.2015 | 2.2015 | -1.6033 | 0.082309 | 1.521 | 1.8627 | 0.17314 | -1.2617 | -1.2008 | 1.7294 | -0.52863 | 1.251 | -1.6757 | 0.58384 | 139.8629 | 139.8629 | 139.8629 | -40.05 | -40.05 | -40.05 |  | 0.90959 | 0.78619 | 0.73119 | 1.0192 | 0.76519 | 0.63147 | -3.3061 | -132.862 | 120.6977 | -6.1636 | -124.1509 | 115.1176
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3639e-13 | 7.121e-15 | 1.3589e-13 | -1.3838e-13 | 1.5332e-14 | 1.2475e-13 | -1.011e-13 | 1.4454e-13 | -4.5702e-14 | -1.0746e-13 | 1.4518e-13 | -4.7283e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.90959 | 0.78619 | 0.73119 | 0.90959 | 0.78619 | 0.73119 | -3.3061 | -132.862 | 120.6977 | -3.3061 | -132.862 | 120.6977

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3812 | 1.0511 | 0.96888 | 0.38132 | 1.0516 | 0.9683 | 4.4017 | 12.1367 | 11.1877 | 4.4031 | 12.1424 | 11.181 | 3.8734 | 9.2526 | 3.7313 | -3.7254 | -8.1533 | -2.7934 | 2.5806 | 5.1095 | 7.0408 | -2.5021 | -4.4556 | -6.4844 | -39.9628 | -152.8249 | 48.4311 | 139.95 | 27.1933 | -131.5768 |  | 1.0574 | 0.87088 | 0.71225 | 1.0192 | 0.76519 | 0.63147 | -6.2899 | -123.9162 | 110.5099 | -6.1636 | -124.1509 | 115.1176
Line_1 | 0.19072 | 0.19072 | 0.19072 | 0.19066 | 0.19066 | 0.19066 | 2.2022 | 2.2022 | 2.2022 | 2.2015 | 2.2015 | 2.2015 | -1.6033 | 0.082309 | 1.521 | 1.8627 | 0.17314 | -1.2617 | -1.2008 | 1.7294 | -0.52863 | 1.251 | -1.6757 | 0.58384 | 139.8629 | 139.8629 | 139.8629 | -40.05 | -40.05 | -40.05 |  | 0.90959 | 0.78619 | 0.73119 | 1.0192 | 0.76519 | 0.63147 | -3.3061 | -132.862 | 120.6977 | -6.1636 | -124.1509 | 115.1176
Line_2 | 0.19072 | 0.19072 | 0.19072 | 0.19066 | 0.19066 | 0.19066 | 2.2022 | 2.2022 | 2.2022 | 2.2015 | 2.2015 | 2.2015 | -1.6033 | 0.082309 | 1.521 | 1.8627 | 0.17314 | -1.2617 | -1.2008 | 1.7294 | -0.52863 | 1.251 | -1.6757 | 0.58384 | 139.8629 | 139.8629 | 139.8629 | -40.05 | -40.05 | -40.05 |  | 0.90959 | 0.78619 | 0.73119 | 1.0192 | 0.76519 | 0.63147 | -3.3061 | -132.862 | 120.6977 | -6.1636 | -124.1509 | 115.1176
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3639e-13 | 7.121e-15 | 1.3589e-13 | -1.3838e-13 | 1.5332e-14 | 1.2475e-13 | -1.011e-13 | 1.4454e-13 | -4.5702e-14 | -1.0746e-13 | 1.4518e-13 | -4.7283e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.90959 | 0.78619 | 0.73119 | 0.90959 | 0.78619 | 0.73119 | -3.3061 | -132.862 | 120.6977 | -3.3061 | -132.862 | 120.6977