## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.451e-29 | 2.0843e-14 | 1.0421e-14 | -1.5632e-14 | -2.6049e-15 | -1.0421e-14 | -5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0935e-13 | -180 | 180 | 7.1728e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8984e-28 | 2.0843e-14 | 1.0421e-14 | -1.0421e-14 | -2.6055e-15 | -1.0421e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9583e-13 | -180 | 180 | 7.1728e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.0495e-19 | 1.0421e-14 | 3.1264e-14 | 1.8237e-14 | -1.0421e-14 | 3.1264e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.8901e-13 | -180 | 180 | 7.1728e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6475e-14 | 3.1264e-14 | 0 | -4.6896e-14 | -1.5632e-14 | -1.0421e-14 | -1.0421e-14 | -1.5632e-14 | 0 | 2.0843e-14 | 1.3027e-14 | 1.113e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9583e-13 | -180 | 180 | 6.8901e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.451e-29 | 2.0843e-14 | 1.0421e-14 | -1.5632e-14 | -2.6049e-15 | -1.0421e-14 | -5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0935e-13 | -180 | 180 | 7.1728e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8984e-28 | 2.0843e-14 | 1.0421e-14 | -1.0421e-14 | -2.6055e-15 | -1.0421e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9583e-13 | -180 | 180 | 7.1728e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.0495e-19 | 1.0421e-14 | 3.1264e-14 | 1.8237e-14 | -1.0421e-14 | 3.1264e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.8901e-13 | -180 | 180 | 7.1728e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6475e-14 | 3.1264e-14 | 0 | -4.6896e-14 | -1.5632e-14 | -1.0421e-14 | -1.0421e-14 | -1.5632e-14 | 0 | 2.0843e-14 | 1.3027e-14 | 1.113e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9583e-13 | -180 | 180 | 6.8901e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -7.3076e-10 | -2.0393e-09 | -5.2106e-15 | 7.3077e-10 | 2.0393e-09 | -1.5632e-14 | 5.8225e-09 | -3.5561e-09 | 1.5632e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.7113e-13 | -164.9034 | 158.1097 | 5.7971e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.4359e-10 | 6.7976e-10 | 5.2106e-15 | -2.4357e-10 | -6.7976e-10 | 1.5632e-14 | -1.9408e-09 | 1.1853e-09 | -2.6053e-14 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.647e-13 | -164.9034 | 158.1097 | 5.7971e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7317e-14 | 2.4358e-10 | 6.7977e-10 | 4.6896e-14 | -2.4357e-10 | -6.7977e-10 | 3.1264e-14 | -1.9408e-09 | 1.1854e-09 | -3.6475e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.5281e-13 | -164.9034 | 158.1097 | 5.7971e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6475e-14 | 2.2418e-14 | 8.3722e-15 | -5.2106e-14 | -4.5532e-15 | -5.0083e-15 | -1.5632e-14 | 1.6081e-14 | -3.364e-15 | 1.0421e-14 | -7.9172e-15 | 1.1736e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.647e-13 | -164.9034 | 158.1097 | 5.5281e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -7.3076e-10 | -2.0393e-09 | -5.2106e-15 | 7.3077e-10 | 2.0393e-09 | -1.5632e-14 | 5.8225e-09 | -3.5561e-09 | 1.5632e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.7113e-13 | -164.9034 | 158.1097 | 5.7971e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.4359e-10 | 6.7976e-10 | 5.2106e-15 | -2.4357e-10 | -6.7976e-10 | 1.5632e-14 | -1.9408e-09 | 1.1853e-09 | -2.6053e-14 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.647e-13 | -164.9034 | 158.1097 | 5.7971e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7317e-14 | 2.4358e-10 | 6.7977e-10 | 4.6896e-14 | -2.4357e-10 | -6.7977e-10 | 3.1264e-14 | -1.9408e-09 | 1.1854e-09 | -3.6475e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.5281e-13 | -164.9034 | 158.1097 | 5.7971e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6475e-14 | 2.2418e-14 | 8.3722e-15 | -5.2106e-14 | -4.5532e-15 | -5.0083e-15 | -1.5632e-14 | 1.6081e-14 | -3.364e-15 | 1.0421e-14 | -7.9172e-15 | 1.1736e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.647e-13 | -164.9034 | 158.1097 | 5.5281e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-14 | 9.4738e-15 | 9.4738e-15 | -3.3159e-14 | -9.4731e-15 | -2.3677e-15 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.4448e-13 | -180 | 180 | 6.315e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.079e-14 | -9.4736e-15 | 3.3631e-19 | 2.8422e-14 | 9.4736e-15 | 7.1052e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1983e-13 | -180 | 180 | 6.315e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -4.7366e-15 | -4.7366e-15 | 2.3685e-14 | 9.4736e-15 | 7.1052e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1702e-13 | -180 | 180 | 6.315e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.1842e-15 | 1.0034e-24 | 2.3685e-15 | 3.5527e-15 | 7.1054e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | 2.5506e-29 | 2.3685e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1983e-13 | -180 | 180 | 6.1702e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-14 | 9.4738e-15 | 9.4738e-15 | -3.3159e-14 | -9.4731e-15 | -2.3677e-15 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.4448e-13 | -180 | 180 | 6.315e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.079e-14 | -9.4736e-15 | 3.3631e-19 | 2.8422e-14 | 9.4736e-15 | 7.1052e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1983e-13 | -180 | 180 | 6.315e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -4.7366e-15 | -4.7366e-15 | 2.3685e-14 | 9.4736e-15 | 7.1052e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1702e-13 | -180 | 180 | 6.315e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.1842e-15 | 1.0034e-24 | 2.3685e-15 | 3.5527e-15 | 7.1054e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | 2.5506e-29 | 2.3685e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1983e-13 | -180 | 180 | 6.1702e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3159e-14 | -5.5596e-10 | -1.5515e-09 | -3.079e-14 | 5.5596e-10 | 1.5515e-09 | -2.6053e-14 | 4.8331e-09 | -3.1089e-09 | 2.8422e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4618e-13 | -166.2936 | 160.6236 | 5.3144e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.8532e-10 | 5.1716e-10 | 1.6579e-14 | -1.8532e-10 | -5.1715e-10 | -2.3685e-15 | -1.6111e-09 | 1.0363e-09 | 7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.2277e-13 | -166.2936 | 160.6236 | 5.3144e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 1.8533e-10 | 5.1716e-10 | 1.1842e-14 | -1.8532e-10 | -5.1715e-10 | -9.4739e-15 | -1.6111e-09 | 1.0363e-09 | 1.1842e-14 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.2887e-13 | -166.2936 | 160.6236 | 5.3144e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.4219e-15 | 1.3644e-15 | 4.737e-15 | 5.9354e-15 | 5.8193e-15 | 7.1054e-15 | 3.8547e-15 | 3.8796e-15 | -7.1054e-15 | -3.4168e-17 | -2.0466e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.2277e-13 | -166.2936 | 160.6236 | 5.2887e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3159e-14 | -5.5596e-10 | -1.5515e-09 | -3.079e-14 | 5.5596e-10 | 1.5515e-09 | -2.6053e-14 | 4.8331e-09 | -3.1089e-09 | 2.8422e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4618e-13 | -166.2936 | 160.6236 | 5.3144e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.8532e-10 | 5.1716e-10 | 1.6579e-14 | -1.8532e-10 | -5.1715e-10 | -2.3685e-15 | -1.6111e-09 | 1.0363e-09 | 7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.2277e-13 | -166.2936 | 160.6236 | 5.3144e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 1.8533e-10 | 5.1716e-10 | 1.1842e-14 | -1.8532e-10 | -5.1715e-10 | -9.4739e-15 | -1.6111e-09 | 1.0363e-09 | 1.1842e-14 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.2887e-13 | -166.2936 | 160.6236 | 5.3144e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.4219e-15 | 1.3644e-15 | 4.737e-15 | 5.9354e-15 | 5.8193e-15 | 7.1054e-15 | 3.8547e-15 | 3.8796e-15 | -7.1054e-15 | -3.4168e-17 | -2.0466e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.2277e-13 | -166.2936 | 160.6236 | 5.2887e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9488e-09 | -7.3611e-10 | -7.3833e-10 | 2.9488e-09 | 7.361e-10 | 7.3834e-10 | -2.6318e-12 | -3.8544e-09 | 3.8531e-09 | 2.6422e-12 | 3.8544e-09 | -3.8531e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.4538e-10 | 2.4611e-10 | -9.8295e-10 | -2.4539e-10 | -2.4611e-10 | 8.7728e-13 | 1.2848e-09 | -1.2844e-09 | -8.6692e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8296e-10 | 2.4537e-10 | 2.4614e-10 | -9.8296e-10 | -2.4537e-10 | -2.4613e-10 | 8.911e-13 | 1.2848e-09 | -1.2844e-09 | -8.8074e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5882e-15 | 8.693e-15 | -1.2673e-14 | 5.6038e-15 | -1.3108e-14 | 1.181e-14 | -2.5913e-15 | -1.5697e-14 | -7.1017e-15 | 1.2089e-14 | 4.8462e-15 | 1.1614e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9488e-09 | -7.3611e-10 | -7.3833e-10 | 2.9488e-09 | 7.361e-10 | 7.3834e-10 | -2.6318e-12 | -3.8544e-09 | 3.8531e-09 | 2.6422e-12 | 3.8544e-09 | -3.8531e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.4538e-10 | 2.4611e-10 | -9.8295e-10 | -2.4539e-10 | -2.4611e-10 | 8.7728e-13 | 1.2848e-09 | -1.2844e-09 | -8.6692e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8296e-10 | 2.4537e-10 | 2.4614e-10 | -9.8296e-10 | -2.4537e-10 | -2.4613e-10 | 8.911e-13 | 1.2848e-09 | -1.2844e-09 | -8.8074e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5882e-15 | 8.693e-15 | -1.2673e-14 | 5.6038e-15 | -1.3108e-14 | 1.181e-14 | -2.5913e-15 | -1.5697e-14 | -7.1017e-15 | 1.2089e-14 | 4.8462e-15 | 1.1614e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1392e-09 | -1.401e-09 | -1.6861e-10 | 3.1392e-09 | 1.401e-09 | 1.6863e-10 | 1.423e-09 | -2.2257e-09 | 2.9372e-09 | -1.423e-09 | 2.2257e-09 | -2.9372e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.67e-10 | 5.621e-11 | -1.0464e-09 | -4.6701e-10 | -5.6201e-11 | -4.7433e-10 | 7.4189e-10 | -9.7907e-10 | 4.7433e-10 | -7.4188e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.67e-10 | 5.6219e-11 | -1.0464e-09 | -4.6701e-10 | -5.6211e-11 | -4.7432e-10 | 7.4188e-10 | -9.7907e-10 | 4.7432e-10 | -7.4188e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3541e-15 | -3.915e-15 | 4.8123e-16 | -4.7787e-15 | -6.7862e-16 | 3.3527e-15 | -4.4087e-15 | -4.5733e-15 | -1.0301e-14 | 6.1485e-15 | 4.9532e-15 | 6.2295e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1392e-09 | -1.401e-09 | -1.6861e-10 | 3.1392e-09 | 1.401e-09 | 1.6863e-10 | 1.423e-09 | -2.2257e-09 | 2.9372e-09 | -1.423e-09 | 2.2257e-09 | -2.9372e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.67e-10 | 5.621e-11 | -1.0464e-09 | -4.6701e-10 | -5.6201e-11 | -4.7433e-10 | 7.4189e-10 | -9.7907e-10 | 4.7433e-10 | -7.4188e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.67e-10 | 5.6219e-11 | -1.0464e-09 | -4.6701e-10 | -5.6211e-11 | -4.7432e-10 | 7.4188e-10 | -9.7907e-10 | 4.7432e-10 | -7.4188e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3541e-15 | -3.915e-15 | 4.8123e-16 | -4.7787e-15 | -6.7862e-16 | 3.3527e-15 | -4.4087e-15 | -4.5733e-15 | -1.0301e-14 | 6.1485e-15 | 4.9532e-15 | 6.2295e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4361e-09 | -6.0797e-10 | -6.1012e-10 | 2.4361e-09 | 6.0797e-10 | 6.1012e-10 | -2.4772e-12 | -3.1869e-09 | 3.1856e-09 | 2.4772e-12 | 3.1868e-09 | -3.1856e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0267e-10 | 2.0337e-10 | -8.1203e-10 | -2.0267e-10 | -2.0338e-10 | 8.1893e-13 | 1.0623e-09 | -1.0619e-09 | -8.2049e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0266e-10 | 2.0338e-10 | -8.1203e-10 | -2.0266e-10 | -2.0338e-10 | 8.2049e-13 | 1.0623e-09 | -1.0619e-09 | -8.2363e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9259e-16 | 3.0316e-15 | -2.0509e-15 | -2.3508e-15 | -4.4949e-15 | -2.0509e-15 | -7.8385e-16 | 4.7365e-15 | -3.9206e-16 | -2.354e-15 | -1.2673e-15 | -3.9206e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4361e-09 | -6.0797e-10 | -6.1012e-10 | 2.4361e-09 | 6.0797e-10 | 6.1012e-10 | -2.4772e-12 | -3.1869e-09 | 3.1856e-09 | 2.4772e-12 | 3.1868e-09 | -3.1856e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0267e-10 | 2.0337e-10 | -8.1203e-10 | -2.0267e-10 | -2.0338e-10 | 8.1893e-13 | 1.0623e-09 | -1.0619e-09 | -8.2049e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0266e-10 | 2.0338e-10 | -8.1203e-10 | -2.0266e-10 | -2.0338e-10 | 8.2049e-13 | 1.0623e-09 | -1.0619e-09 | -8.2363e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9259e-16 | 3.0316e-15 | -2.0509e-15 | -2.3508e-15 | -4.4949e-15 | -2.0509e-15 | -7.8385e-16 | 4.7365e-15 | -3.9206e-16 | -2.354e-15 | -1.2673e-15 | -3.9206e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.142e-09 | -1.7037e-10 | 2.6247e-09 | 1.142e-09 | 1.7037e-10 | 1.122e-09 | -1.9513e-09 | 2.5123e-09 | -1.122e-09 | 1.9513e-09 | -2.5123e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.749e-10 | 3.8067e-10 | 5.6791e-11 | -8.749e-10 | -3.8067e-10 | -5.6796e-11 | -3.7399e-10 | 6.5042e-10 | -8.3743e-10 | 3.7399e-10 | -6.5042e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.749e-10 | 3.8067e-10 | 5.6791e-11 | -8.749e-10 | -3.8067e-10 | -5.6796e-11 | -3.7399e-10 | 6.5042e-10 | -8.3743e-10 | 3.7399e-10 | -6.5043e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3712e-15 | 2.2874e-15 | 2.8013e-15 | 4.2243e-15 | -1.7625e-15 | -7.9473e-15 | 2.1551e-15 | -6.0846e-15 | -1.5426e-15 | -1.7895e-15 | -4.9317e-16 | 7.1144e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.142e-09 | -1.7037e-10 | 2.6247e-09 | 1.142e-09 | 1.7037e-10 | 1.122e-09 | -1.9513e-09 | 2.5123e-09 | -1.122e-09 | 1.9513e-09 | -2.5123e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.749e-10 | 3.8067e-10 | 5.6791e-11 | -8.749e-10 | -3.8067e-10 | -5.6796e-11 | -3.7399e-10 | 6.5042e-10 | -8.3743e-10 | 3.7399e-10 | -6.5042e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.749e-10 | 3.8067e-10 | 5.6791e-11 | -8.749e-10 | -3.8067e-10 | -5.6796e-11 | -3.7399e-10 | 6.5042e-10 | -8.3743e-10 | 3.7399e-10 | -6.5043e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3712e-15 | 2.2874e-15 | 2.8013e-15 | 4.2243e-15 | -1.7625e-15 | -7.9473e-15 | 2.1551e-15 | -6.0846e-15 | -1.5426e-15 | -1.7895e-15 | -4.9317e-16 | 7.1144e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9666e-09 | -7.4279e-10 | -7.4052e-10 | 2.9666e-09 | 7.4279e-10 | 7.4051e-10 | -2.6508e-12 | 3.8301e-09 | -3.8314e-09 | 2.6612e-12 | -3.83e-09 | 3.8314e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8886e-10 | 2.4759e-10 | 2.4685e-10 | -9.8886e-10 | -2.4758e-10 | -2.4685e-10 | 8.8591e-13 | -1.2767e-09 | 1.2771e-09 | -8.8244e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8886e-10 | 2.476e-10 | 2.4684e-10 | -9.8887e-10 | -2.476e-10 | -2.4684e-10 | 8.7205e-13 | -1.2767e-09 | 1.2771e-09 | -8.6859e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2035e-18 | -1.0407e-18 | 3.4633e-15 | -6.9214e-15 | 1.7318e-14 | -1.039e-14 | 1.7317e-14 | 3.4633e-15 | 1.0407e-18 | -1.7319e-14 | -5.1898e-15 | -3.1221e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9666e-09 | -7.4279e-10 | -7.4052e-10 | 2.9666e-09 | 7.4279e-10 | 7.4051e-10 | -2.6508e-12 | 3.8301e-09 | -3.8314e-09 | 2.6612e-12 | -3.83e-09 | 3.8314e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8886e-10 | 2.4759e-10 | 2.4685e-10 | -9.8886e-10 | -2.4758e-10 | -2.4685e-10 | 8.8591e-13 | -1.2767e-09 | 1.2771e-09 | -8.8244e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8886e-10 | 2.476e-10 | 2.4684e-10 | -9.8887e-10 | -2.476e-10 | -2.4684e-10 | 8.7205e-13 | -1.2767e-09 | 1.2771e-09 | -8.6859e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2035e-18 | -1.0407e-18 | 3.4633e-15 | -6.9214e-15 | 1.7318e-14 | -1.039e-14 | 1.7317e-14 | 3.4633e-15 | 1.0407e-18 | -1.7319e-14 | -5.1898e-15 | -3.1221e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2782e-09 | -1.9066e-09 | -3.133e-09 | 2.2782e-09 | 1.9066e-09 | 3.133e-09 | 7.1379e-10 | 4.3453e-09 | -7.9706e-10 | -7.1378e-10 | -4.3453e-09 | 7.9706e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.594e-10 | 6.3553e-10 | 1.0443e-09 | -7.594e-10 | -6.3552e-10 | -1.0443e-09 | -2.3792e-10 | -1.4484e-09 | 2.6567e-10 | 2.3793e-10 | 1.4484e-09 | -2.6567e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.594e-10 | 6.3553e-10 | 1.0444e-09 | -7.594e-10 | -6.3552e-10 | -1.0444e-09 | -2.3792e-10 | -1.4484e-09 | 2.6569e-10 | 2.3792e-10 | 1.4484e-09 | -2.6568e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7944e-16 | 6.8311e-15 | -6.506e-15 | -8.0828e-15 | 1.395e-15 | 7.8145e-15 | -4.0414e-15 | -4.7897e-17 | -5.1975e-15 | 5.5887e-16 | 4.0891e-15 | 1.6901e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2782e-09 | -1.9066e-09 | -3.133e-09 | 2.2782e-09 | 1.9066e-09 | 3.133e-09 | 7.1379e-10 | 4.3453e-09 | -7.9706e-10 | -7.1378e-10 | -4.3453e-09 | 7.9706e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.594e-10 | 6.3553e-10 | 1.0443e-09 | -7.594e-10 | -6.3552e-10 | -1.0443e-09 | -2.3792e-10 | -1.4484e-09 | 2.6567e-10 | 2.3793e-10 | 1.4484e-09 | -2.6567e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.594e-10 | 6.3553e-10 | 1.0444e-09 | -7.594e-10 | -6.3552e-10 | -1.0444e-09 | -2.3792e-10 | -1.4484e-09 | 2.6569e-10 | 2.3792e-10 | 1.4484e-09 | -2.6568e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7944e-16 | 6.8311e-15 | -6.506e-15 | -8.0828e-15 | 1.395e-15 | 7.8145e-15 | -4.0414e-15 | -4.7897e-17 | -5.1975e-15 | 5.5887e-16 | 4.0891e-15 | 1.6901e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4527e-09 | -6.1427e-10 | -6.121e-10 | 2.4527e-09 | 6.1426e-10 | 6.121e-10 | -2.5144e-12 | 3.164e-09 | -3.1652e-09 | 2.5113e-12 | -3.164e-09 | 3.1652e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1756e-10 | 2.0475e-10 | 2.0403e-10 | -8.1756e-10 | -2.0475e-10 | -2.0403e-10 | 8.4234e-13 | -1.0547e-09 | 1.0551e-09 | -8.3919e-13 | 1.0546e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1757e-10 | 2.0475e-10 | 2.0403e-10 | -8.1757e-10 | -2.0476e-10 | -2.0404e-10 | 8.2975e-13 | -1.0547e-09 | 1.0551e-09 | -8.329e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1021e-14 | -3.9351e-15 | -1.074e-18 | 4.7251e-15 | 4.7219e-15 | 4.7219e-15 | 1.5732e-14 | 3.1458e-15 | 3.1472e-15 | -1.2587e-14 | -3.1456e-15 | -3.1456e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4527e-09 | -6.1427e-10 | -6.121e-10 | 2.4527e-09 | 6.1426e-10 | 6.121e-10 | -2.5144e-12 | 3.164e-09 | -3.1652e-09 | 2.5113e-12 | -3.164e-09 | 3.1652e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1756e-10 | 2.0475e-10 | 2.0403e-10 | -8.1756e-10 | -2.0475e-10 | -2.0403e-10 | 8.4234e-13 | -1.0547e-09 | 1.0551e-09 | -8.3919e-13 | 1.0546e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1757e-10 | 2.0475e-10 | 2.0403e-10 | -8.1757e-10 | -2.0476e-10 | -2.0404e-10 | 8.2975e-13 | -1.0547e-09 | 1.0551e-09 | -8.329e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1021e-14 | -3.9351e-15 | -1.074e-18 | 4.7251e-15 | 4.7219e-15 | 4.7219e-15 | 1.5732e-14 | 3.1458e-15 | 3.1472e-15 | -1.2587e-14 | -3.1456e-15 | -3.1456e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9477e-09 | -1.5408e-09 | -2.507e-09 | 1.9477e-09 | 1.5408e-09 | 2.507e-09 | 5.6306e-10 | 3.6195e-09 | -8.2294e-10 | -5.6306e-10 | -3.6195e-09 | 8.2294e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1358e-10 | 8.3567e-10 | -6.4923e-10 | -5.1358e-10 | -8.3568e-10 | -1.8768e-10 | -1.2065e-09 | 2.7432e-10 | 1.8768e-10 | 1.2065e-09 | -2.7432e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1358e-10 | 8.3568e-10 | -6.4924e-10 | -5.1358e-10 | -8.3567e-10 | -1.8769e-10 | -1.2065e-09 | 2.7432e-10 | 1.8769e-10 | 1.2065e-09 | -2.7432e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4185e-15 | -9.9032e-15 | -3.2878e-15 | 1.0848e-15 | 2.3805e-15 | -4.7951e-15 | 8.9401e-15 | 7.2648e-15 | -1.7004e-15 | -1.0995e-14 | -3.9029e-16 | -5.4215e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9477e-09 | -1.5408e-09 | -2.507e-09 | 1.9477e-09 | 1.5408e-09 | 2.507e-09 | 5.6306e-10 | 3.6195e-09 | -8.2294e-10 | -5.6306e-10 | -3.6195e-09 | 8.2294e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1358e-10 | 8.3567e-10 | -6.4923e-10 | -5.1358e-10 | -8.3568e-10 | -1.8768e-10 | -1.2065e-09 | 2.7432e-10 | 1.8768e-10 | 1.2065e-09 | -2.7432e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1358e-10 | 8.3568e-10 | -6.4924e-10 | -5.1358e-10 | -8.3567e-10 | -1.8769e-10 | -1.2065e-09 | 2.7432e-10 | 1.8769e-10 | 1.2065e-09 | -2.7432e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4185e-15 | -9.9032e-15 | -3.2878e-15 | 1.0848e-15 | 2.3805e-15 | -4.7951e-15 | 8.9401e-15 | 7.2648e-15 | -1.7004e-15 | -1.0995e-14 | -3.9029e-16 | -5.4215e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837