## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 95.7106 | -84.2894 | 0 | 0.019661 | 0 | -35.6809
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019661 | 0.019661 | -35.6809 | -35.6809
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | -0.065 | 0.0975 | -0.07375 | 0.11062 | 95.7106 | -84.2894 | 0.019661 | 0.029492 | -35.6809 | -35.6809

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 95.7106 | -84.2894 | 0 | 0.019661 | 0 | -35.6809
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.019661 | 0.019661 | -35.6809 | -35.6809
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | -0.065 | 0.0975 | -0.07375 | 0.11062 | 95.7106 | -84.2894 | 0.019661 | 0.029492 | -35.6809 | -35.6809

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.7774 | 2.9074 | -7.3877 | 7.5352 | 95.7106 | -84.2894 | 0.78925 | 0.80766 | -14.8932 | -15.3882
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80766 | 0.80766 | -15.3882 | -15.3882
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | -1.4537 | 1.4862 | -3.7676 | 3.8045 | 95.7106 | -84.2894 | 0.80766 | 0.81689 | -15.3882 | -15.6274

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.7774 | 2.9074 | -7.3877 | 7.5352 | 95.7106 | -84.2894 | 0.78925 | 0.80766 | -14.8932 | -15.3882
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80766 | 0.80766 | -15.3882 | -15.3882
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | -1.4537 | 1.4862 | -3.7676 | 3.8045 | 95.7106 | -84.2894 | 0.80766 | 0.81689 | -15.3882 | -15.6274

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7534e-20 | 0 | -1.3413e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7534e-20 | 0 | -1.3413e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9608e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9608e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.40132 | -1.8382 | 1.6375 | 0.44465 | 1.8815 | -1.5942 | -4.0133 | -0.82954 | -1.1771 | 4.0625 | 0.8787 | 1.2263 | 95.7104 | -24.2892 | -144.2895 | -84.2896 | 155.7108 | 35.7105 | 1.21 | 0.605 | 0.605 | 1.226 | 0.62297 | 0.60337 | -1.411e-05 | 180 | 180 | -0.53595 | -179.2553 | 178.1418
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6674e-10 | 1.3849e-10 | 5.0369e-11 | -5.6674e-10 | -1.3849e-10 | -5.0391e-11 | 4.6267e-11 | 2.1595e-09 | -2.067e-09 | -4.6267e-11 | -2.1595e-09 | 2.067e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.226 | 0.62297 | 0.60337 | 1.226 | 0.62297 | 0.60337 | -0.53595 | -179.2553 | 178.1418 | -0.53595 | -179.2553 | 178.1418
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.22233 | -0.94074 | 0.79708 | 0.23316 | 0.95158 | -0.78625 | -2.0312 | -0.43935 | -0.61314 | 2.0435 | 0.45164 | 0.62543 | 95.7104 | -24.2892 | -144.2895 | -84.2896 | 155.7108 | 35.7105 | 1.226 | 0.62297 | 0.60337 | 1.2341 | 0.63199 | 0.6028 | -0.53595 | -179.2553 | 178.1418 | -0.79868 | -178.8989 | 177.2094

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.40132 | -1.8382 | 1.6375 | 0.44465 | 1.8815 | -1.5942 | -4.0133 | -0.82954 | -1.1771 | 4.0625 | 0.8787 | 1.2263 | 95.7104 | -24.2892 | -144.2895 | -84.2896 | 155.7108 | 35.7105 | 1.21 | 0.605 | 0.605 | 1.226 | 0.62297 | 0.60337 | -1.411e-05 | 180 | 180 | -0.53595 | -179.2553 | 178.1418
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6674e-10 | 1.3849e-10 | 5.0369e-11 | -5.6674e-10 | -1.3849e-10 | -5.0391e-11 | 4.6267e-11 | 2.1595e-09 | -2.067e-09 | -4.6267e-11 | -2.1595e-09 | 2.067e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.226 | 0.62297 | 0.60337 | 1.226 | 0.62297 | 0.60337 | -0.53595 | -179.2553 | 178.1418 | -0.53595 | -179.2553 | 178.1418
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.22233 | -0.94074 | 0.79708 | 0.23316 | 0.95158 | -0.78625 | -2.0312 | -0.43935 | -0.61314 | 2.0435 | 0.45164 | 0.62543 | 95.7104 | -24.2892 | -144.2895 | -84.2896 | 155.7108 | 35.7105 | 1.226 | 0.62297 | 0.60337 | 1.2341 | 0.63199 | 0.6028 | -0.53595 | -179.2553 | 178.1418 | -0.79868 | -178.8989 | 177.2094

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.40132 | -1.7685 | 0.24364 | 0.44466 | 1.8118 | -0.20031 | -4.0133 | -2.4792 | -2.0623 | 4.0625 | 2.5284 | 2.1115 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.21 | 0.91361 | 0.62299 | 1.226 | 0.93317 | 0.63628 | -1.0957e-05 | -149.7905 | 132.4483 | -0.53594 | -149.9144 | 131.1298
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6674e-10 | -6.9403e-11 | -1.0336e-09 | -5.6675e-10 | 6.9405e-11 | 1.0336e-09 | 4.6252e-11 | 1.877e-09 | -4.9539e-10 | -4.6252e-11 | -1.877e-09 | 4.9538e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.226 | 0.93317 | 0.63628 | 1.226 | 0.93317 | 0.63628 | -0.53594 | -149.9144 | 131.1298 | -0.53594 | -149.9144 | 131.1298
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.22233 | -0.90592 | 0.10015 | 0.23316 | 0.91675 | -0.08932 | -2.0312 | -1.2642 | -1.0557 | 2.0435 | 1.2765 | 1.068 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.226 | 0.93317 | 0.63628 | 1.2341 | 0.94295 | 0.64305 | -0.53594 | -149.9144 | 131.1298 | -0.79868 | -149.9744 | 130.4912

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.40132 | -1.7685 | 0.24364 | 0.44466 | 1.8118 | -0.20031 | -4.0133 | -2.4792 | -2.0623 | 4.0625 | 2.5284 | 2.1115 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.21 | 0.91361 | 0.62299 | 1.226 | 0.93317 | 0.63628 | -1.0957e-05 | -149.7905 | 132.4483 | -0.53594 | -149.9144 | 131.1298
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6674e-10 | -6.9403e-11 | -1.0336e-09 | -5.6675e-10 | 6.9405e-11 | 1.0336e-09 | 4.6252e-11 | 1.877e-09 | -4.9539e-10 | -4.6252e-11 | -1.877e-09 | 4.9538e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.226 | 0.93317 | 0.63628 | 1.226 | 0.93317 | 0.63628 | -0.53594 | -149.9144 | 131.1298 | -0.53594 | -149.9144 | 131.1298
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.22233 | -0.90592 | 0.10015 | 0.23316 | 0.91675 | -0.08932 | -2.0312 | -1.2642 | -1.0557 | 2.0435 | 1.2765 | 1.068 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.226 | 0.93317 | 0.63628 | 1.2341 | 0.94295 | 0.64305 | -0.53594 | -149.9144 | 131.1298 | -0.79868 | -149.9744 | 130.4912

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | 7.1054e-15 | 1.8948e-14 | 1.1843e-14 | 6.8182e-19 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4102e-13 | -180 | 180 | 7.0564e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5529e-15 | 2.3682e-15 | 2.3685e-15 | 4.7373e-15 | 3.0278e-19 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 7.0809e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7502e-28 | -2.2709e-19 | -7.1057e-15 | -1.1571e-28 | 2.3688e-15 | 9.4742e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 6.9981e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | 7.1054e-15 | 1.8948e-14 | 1.1843e-14 | 6.8182e-19 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4102e-13 | -180 | 180 | 7.0564e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5529e-15 | 2.3682e-15 | 2.3685e-15 | 4.7373e-15 | 3.0278e-19 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 7.0809e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7502e-28 | -2.2709e-19 | -7.1057e-15 | -1.1571e-28 | 2.3688e-15 | 9.4742e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 6.9981e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -9.1816e-10 | -2.5622e-09 | 1.3027e-14 | 9.1815e-10 | 2.5622e-09 | -7.1054e-15 | 4.2643e-09 | -1.4167e-09 | 4.737e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.3457e-13 | -151.709 | 135.0798 | 4.0971e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -3.0606e-10 | -8.5407e-10 | 2.3685e-15 | 3.0606e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7224e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0942e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.0605e-10 | -8.5406e-10 | 1.1842e-15 | 3.0605e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7223e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0387e-13 | -151.709 | 135.0798

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -9.1816e-10 | -2.5622e-09 | 1.3027e-14 | 9.1815e-10 | 2.5622e-09 | -7.1054e-15 | 4.2643e-09 | -1.4167e-09 | 4.737e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.3457e-13 | -151.709 | 135.0798 | 4.0971e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -3.0606e-10 | -8.5407e-10 | 2.3685e-15 | 3.0606e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7224e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0942e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.0605e-10 | -8.5406e-10 | 1.1842e-15 | 3.0605e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7223e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0387e-13 | -151.709 | 135.0798

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28269 | 0.29118 | 0.29225 | 0.28468 | 0.29033 | 0.29105 | 3.2642 | 3.3623 | 3.3746 | 3.2872 | 3.3525 | 3.3608 | -3.5583e-12 | -0.33558 | -0.46832 | 0.037334 | 0.40703 | 0.48981 | 1.2355e-11 | -4.0577 | -4.0609 | 0.046893 | 4.0897 | 4.1015 | 95.8369 | -25.3713 | -143.3337 | -84.2051 | 154.9867 | 36.3502 | 0 | 1.2109 | 1.2113 | 0.018234 | 1.2259 | 1.2291 | 0 | -120.0991 | 120.0879 | -32.7303 | -120.6971 | 119.54
Line_1 | 0.0020074 | 0.0020074 | 0.0020074 | 0 | 0 | 0 | 0.02318 | 0.02318 | 0.02318 | 0 | 0 | 0 | 0.00022684 | 0.024504 | -0.024719 | 6.0176e-11 | -5.6533e-10 | -5.8351e-10 | 0.00035664 | -0.01439 | -0.014164 | -3.8467e-11 | -6.1279e-11 | -4.0009e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.018234 | 1.2259 | 1.2291 | 0.017955 | 1.2257 | 1.2294 | -32.7303 | -120.6971 | 119.54 | -32.0839 | -120.7098 | 119.5377
Line_2 | 0.14234 | 0.14517 | 0.14553 | 0.14434 | 0.14434 | 0.14434 | 1.6436 | 1.6762 | 1.6804 | 1.6667 | 1.6667 | 1.6667 | -0.018667 | -0.20352 | -0.24491 | 0.029173 | 0.23926 | 0.23116 | -0.023447 | -2.0448 | -2.0507 | 0.035939 | 2.0423 | 2.0494 | 95.7949 | -25.0133 | -143.6498 | -84.2893 | 155.7104 | 35.7107 | 0.018234 | 1.2259 | 1.2291 | 0.027773 | 1.2338 | 1.2375 | -32.7303 | -120.6971 | 119.54 | -33.3563 | -120.9715 | 119.2752

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28269 | 0.29118 | 0.29225 | 0.28468 | 0.29033 | 0.29105 | 3.2642 | 3.3623 | 3.3746 | 3.2872 | 3.3525 | 3.3608 | -3.5583e-12 | -0.33558 | -0.46832 | 0.037334 | 0.40703 | 0.48981 | 1.2355e-11 | -4.0577 | -4.0609 | 0.046893 | 4.0897 | 4.1015 | 95.8369 | -25.3713 | -143.3337 | -84.2051 | 154.9867 | 36.3502 | 0 | 1.2109 | 1.2113 | 0.018234 | 1.2259 | 1.2291 | 0 | -120.0991 | 120.0879 | -32.7303 | -120.6971 | 119.54
Line_1 | 0.0020074 | 0.0020074 | 0.0020074 | 0 | 0 | 0 | 0.02318 | 0.02318 | 0.02318 | 0 | 0 | 0 | 0.00022684 | 0.024504 | -0.024719 | 6.0176e-11 | -5.6533e-10 | -5.8351e-10 | 0.00035664 | -0.01439 | -0.014164 | -3.8467e-11 | -6.1279e-11 | -4.0009e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.018234 | 1.2259 | 1.2291 | 0.017955 | 1.2257 | 1.2294 | -32.7303 | -120.6971 | 119.54 | -32.0839 | -120.7098 | 119.5377
Line_2 | 0.14234 | 0.14517 | 0.14553 | 0.14434 | 0.14434 | 0.14434 | 1.6436 | 1.6762 | 1.6804 | 1.6667 | 1.6667 | 1.6667 | -0.018667 | -0.20352 | -0.24491 | 0.029173 | 0.23926 | 0.23116 | -0.023447 | -2.0448 | -2.0507 | 0.035939 | 2.0423 | 2.0494 | 95.7949 | -25.0133 | -143.6498 | -84.2893 | 155.7104 | 35.7107 | 0.018234 | 1.2259 | 1.2291 | 0.027773 | 1.2338 | 1.2375 | -32.7303 | -120.6971 | 119.54 | -33.3563 | -120.9715 | 119.2752

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28636 | 0.29051 | 0.28918 | 0.28713 | 0.2899 | 0.28901 | 3.3065 | 3.3545 | 3.3391 | 3.3155 | 3.3474 | 3.3372 | -0.91169 | -0.38359 | -0.43237 | 0.95761 | 0.43579 | 0.4643 | -2.4432 | -4.0432 | -4.0177 | 2.4965 | 4.0827 | 4.0679 | 95.5559 | -24.6096 | -143.8145 | -84.392 | 155.4964 | 36.0274 | 0.78867 | 1.2107 | 1.2102 | 0.80647 | 1.2266 | 1.2269 | -14.9072 | -120.0293 | 120.0432 | -15.3782 | -120.5964 | 119.516
Line_1 | 0.00081572 | 0.00081572 | 0.00081572 | 0 | 0 | 0 | 0.0094191 | 0.0094191 | 0.0094191 | 0 | 0 | 0 | 0.0048294 | 0.0066769 | -0.011504 | 7.5184e-10 | -5.6931e-10 | -5.716e-10 | 0.0058634 | -0.0094284 | -0.001091 | -8.6221e-10 | -5.2049e-11 | -4.1642e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.80647 | 1.2266 | 1.2269 | 0.80635 | 1.2265 | 1.227 | -15.3782 | -120.5964 | 119.516 | -15.3734 | -120.6028 | 119.5179
Line_2 | 0.14356 | 0.14495 | 0.1445 | 0.14434 | 0.14434 | 0.14434 | 1.6577 | 1.6737 | 1.6686 | 1.6667 | 1.6667 | 1.6667 | -0.47881 | -0.2179 | -0.23215 | 0.49429 | 0.23563 | 0.23144 | -1.2482 | -2.0413 | -2.0339 | 1.2662 | 2.0441 | 2.0454 | 95.608 | -24.5036 | -143.9726 | -84.2893 | 155.7105 | 35.7106 | 0.80647 | 1.2266 | 1.2269 | 0.81558 | 1.2346 | 1.2351 | -15.3782 | -120.5964 | 119.516 | -15.6131 | -120.865 | 119.255

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28636 | 0.29051 | 0.28918 | 0.28713 | 0.2899 | 0.28901 | 3.3065 | 3.3545 | 3.3391 | 3.3155 | 3.3474 | 3.3372 | -0.91169 | -0.38359 | -0.43237 | 0.95761 | 0.43579 | 0.4643 | -2.4432 | -4.0432 | -4.0177 | 2.4965 | 4.0827 | 4.0679 | 95.5559 | -24.6096 | -143.8145 | -84.392 | 155.4964 | 36.0274 | 0.78867 | 1.2107 | 1.2102 | 0.80647 | 1.2266 | 1.2269 | -14.9072 | -120.0293 | 120.0432 | -15.3782 | -120.5964 | 119.516
Line_1 | 0.00081572 | 0.00081572 | 0.00081572 | 0 | 0 | 0 | 0.0094191 | 0.0094191 | 0.0094191 | 0 | 0 | 0 | 0.0048294 | 0.0066769 | -0.011504 | 7.5184e-10 | -5.6931e-10 | -5.716e-10 | 0.0058634 | -0.0094284 | -0.001091 | -8.6221e-10 | -5.2049e-11 | -4.1642e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.80647 | 1.2266 | 1.2269 | 0.80635 | 1.2265 | 1.227 | -15.3782 | -120.5964 | 119.516 | -15.3734 | -120.6028 | 119.5179
Line_2 | 0.14356 | 0.14495 | 0.1445 | 0.14434 | 0.14434 | 0.14434 | 1.6577 | 1.6737 | 1.6686 | 1.6667 | 1.6667 | 1.6667 | -0.47881 | -0.2179 | -0.23215 | 0.49429 | 0.23563 | 0.23144 | -1.2482 | -2.0413 | -2.0339 | 1.2662 | 2.0441 | 2.0454 | 95.608 | -24.5036 | -143.9726 | -84.2893 | 155.7105 | 35.7106 | 0.80647 | 1.2266 | 1.2269 | 0.81558 | 1.2346 | 1.2351 | -15.3782 | -120.5964 | 119.516 | -15.6131 | -120.865 | 119.255

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5096e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2546e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0 | 1.0009 | 1.0013 | 0.0026036 | 0.99892 | 1.0037 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3508e-12 | -1.5576e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4775e-11 | 2.6946e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3532e-12 | -1.5579e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4767e-11 | 2.6938e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5096e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2546e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0 | 1.0009 | 1.0013 | 0.0026036 | 0.99892 | 1.0037 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3508e-12 | -1.5576e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4775e-11 | 2.6946e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3532e-12 | -1.5579e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4767e-11 | 2.6938e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.62026 | 1.0007 | 1.0002 | 0.61938 | 1.0002 | 1.0014 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7202e-13 | -5.8161e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9072e-12 | 3.7653e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7323e-13 | -5.8203e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9058e-12 | 3.7688e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.62026 | 1.0007 | 1.0002 | 0.61938 | 1.0002 | 1.0014 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7202e-13 | -5.8161e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9072e-12 | 3.7653e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7323e-13 | -5.8203e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9058e-12 | 3.7688e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29465 | 0.28628 | 0.28519 | 0.29266 | 0.28707 | 0.28634 | 3.4023 | 3.3056 | 3.2931 | 3.3794 | 3.3148 | 3.3064 | -0.40256 | -1.0035e-11 | -1.0393e-11 | 0.45209 | 0.039669 | 0.041084 | -4.1049 | 6.3186e-12 | 5.8014e-12 | 4.1284 | 0.052383 | 0.04371 | 95.5898 | -23.1911 | -145.2671 | -84.3711 | 156.4413 | 35.0616 | 1.2123 | 0 | 0 | 1.229 | 0.019823 | 0.018143 | -0.011183 | 0 | 0 | -0.62055 | -150.6948 | 81.835
Line_1 | 0.0020037 | 0.0020037 | 0.0020037 | 0 | 0 | 0 | 0.023136 | 0.023136 | 0.023136 | 0 | 0 | 0 | -0.00017834 | -0.0002263 | 0.00041577 | -5.82e-10 | 6.8171e-11 | 5.499e-11 | -0.028433 | 0.00039891 | -5.7721e-05 | -5.4995e-11 | -3.9725e-11 | -4.501e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.229 | 0.019823 | 0.018143 | 1.2291 | 0.019873 | 0.017844 | -0.62055 | -150.6948 | 81.835 | -0.63546 | -149.7093 | 81.2881
Line_2 | 0.14633 | 0.14353 | 0.14317 | 0.14434 | 0.14434 | 0.14434 | 1.6897 | 1.6574 | 1.6532 | 1.6667 | 1.6667 | 1.6667 | -0.22604 | -0.019834 | -0.020542 | 0.23725 | 0.03003 | 0.031649 | -2.0642 | -0.026191 | -0.021855 | 2.0482 | 0.039284 | 0.033532 | 95.6289 | -23.5587 | -144.9384 | -84.2895 | 155.7108 | 35.7105 | 1.229 | 0.019823 | 0.018143 | 1.2371 | 0.029668 | 0.027665 | -0.62055 | -150.6948 | 81.835 | -0.8969 | -151.6848 | 82.3646

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29465 | 0.28628 | 0.28519 | 0.29266 | 0.28707 | 0.28634 | 3.4023 | 3.3056 | 3.2931 | 3.3794 | 3.3148 | 3.3064 | -0.40256 | -1.0035e-11 | -1.0393e-11 | 0.45209 | 0.039669 | 0.041084 | -4.1049 | 6.3186e-12 | 5.8014e-12 | 4.1284 | 0.052383 | 0.04371 | 95.5898 | -23.1911 | -145.2671 | -84.3711 | 156.4413 | 35.0616 | 1.2123 | 0 | 0 | 1.229 | 0.019823 | 0.018143 | -0.011183 | 0 | 0 | -0.62055 | -150.6948 | 81.835
Line_1 | 0.0020037 | 0.0020037 | 0.0020037 | 0 | 0 | 0 | 0.023136 | 0.023136 | 0.023136 | 0 | 0 | 0 | -0.00017834 | -0.0002263 | 0.00041577 | -5.82e-10 | 6.8171e-11 | 5.499e-11 | -0.028433 | 0.00039891 | -5.7721e-05 | -5.4995e-11 | -3.9725e-11 | -4.501e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.229 | 0.019823 | 0.018143 | 1.2291 | 0.019873 | 0.017844 | -0.62055 | -150.6948 | 81.835 | -0.63546 | -149.7093 | 81.2881
Line_2 | 0.14633 | 0.14353 | 0.14317 | 0.14434 | 0.14434 | 0.14434 | 1.6897 | 1.6574 | 1.6532 | 1.6667 | 1.6667 | 1.6667 | -0.22604 | -0.019834 | -0.020542 | 0.23725 | 0.03003 | 0.031649 | -2.0642 | -0.026191 | -0.021855 | 2.0482 | 0.039284 | 0.033532 | 95.6289 | -23.5587 | -144.9384 | -84.2895 | 155.7108 | 35.7105 | 1.229 | 0.019823 | 0.018143 | 1.2371 | 0.029668 | 0.027665 | -0.62055 | -150.6948 | 81.835 | -0.8969 | -151.6848 | 82.3646

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.291 | 0.28685 | 0.28819 | 0.29022 | 0.28746 | 0.28835 | 3.3601 | 3.3123 | 3.3278 | 3.3512 | 3.3193 | 3.3296 | -0.41461 | -0.93199 | -0.90552 | 0.4554 | 0.97049 | 0.95628 | -4.0475 | -2.4408 | -2.465 | 4.088 | 2.4974 | 2.5109 | 95.8626 | -23.9653 | -144.7655 | -84.188 | 155.9265 | 35.3933 | 1.2109 | 0.7888 | 0.78913 | 1.2274 | 0.80719 | 0.80695 | 0.013922 | -134.8639 | 105.0636 | -0.54444 | -135.3101 | 104.5436
Line_1 | 0.00081512 | 0.00081512 | 0.00081512 | 0 | 0 | 0 | 0.0094122 | 0.0094122 | 0.0094122 | 0 | 0 | 0 | -0.0048145 | -0.0026738 | 0.0074901 | -5.7416e-10 | 7.5125e-10 | 7.4954e-10 | -0.010502 | 0.0071114 | -0.0012589 | -4.7444e-11 | -8.5909e-10 | -8.6754e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.2274 | 0.80719 | 0.80695 | 1.2275 | 0.80719 | 0.80683 | -0.54444 | -135.3101 | 104.5436 | -0.54897 | -135.3001 | 104.5385
Line_2 | 0.14511 | 0.14373 | 0.14418 | 0.14434 | 0.14434 | 0.14434 | 1.6756 | 1.6596 | 1.6648 | 1.6667 | 1.6667 | 1.6667 | -0.2277 | -0.48525 | -0.47814 | 0.2339 | 0.49319 | 0.4965 | -2.044 | -1.2487 | -1.2554 | 2.046 | 1.2682 | 1.2662 | 95.812 | -24.0735 | -144.6067 | -84.2895 | 155.7106 | 35.7106 | 1.2274 | 0.80719 | 0.80695 | 1.2356 | 0.81641 | 0.81606 | -0.54444 | -135.3101 | 104.5436 | -0.8113 | -135.5404 | 104.2999

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.291 | 0.28685 | 0.28819 | 0.29022 | 0.28746 | 0.28835 | 3.3601 | 3.3123 | 3.3278 | 3.3512 | 3.3193 | 3.3296 | -0.41461 | -0.93199 | -0.90552 | 0.4554 | 0.97049 | 0.95628 | -4.0475 | -2.4408 | -2.465 | 4.088 | 2.4974 | 2.5109 | 95.8626 | -23.9653 | -144.7655 | -84.188 | 155.9265 | 35.3933 | 1.2109 | 0.7888 | 0.78913 | 1.2274 | 0.80719 | 0.80695 | 0.013922 | -134.8639 | 105.0636 | -0.54444 | -135.3101 | 104.5436
Line_1 | 0.00081512 | 0.00081512 | 0.00081512 | 0 | 0 | 0 | 0.0094122 | 0.0094122 | 0.0094122 | 0 | 0 | 0 | -0.0048145 | -0.0026738 | 0.0074901 | -5.7416e-10 | 7.5125e-10 | 7.4954e-10 | -0.010502 | 0.0071114 | -0.0012589 | -4.7444e-11 | -8.5909e-10 | -8.6754e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.2274 | 0.80719 | 0.80695 | 1.2275 | 0.80719 | 0.80683 | -0.54444 | -135.3101 | 104.5436 | -0.54897 | -135.3001 | 104.5385
Line_2 | 0.14511 | 0.14373 | 0.14418 | 0.14434 | 0.14434 | 0.14434 | 1.6756 | 1.6596 | 1.6648 | 1.6667 | 1.6667 | 1.6667 | -0.2277 | -0.48525 | -0.47814 | 0.2339 | 0.49319 | 0.4965 | -2.044 | -1.2487 | -1.2554 | 2.046 | 1.2682 | 1.2662 | 95.812 | -24.0735 | -144.6067 | -84.2895 | 155.7106 | 35.7106 | 1.2274 | 0.80719 | 0.80695 | 1.2356 | 0.81641 | 0.81606 | -0.54444 | -135.3101 | 104.5436 | -0.8113 | -135.5404 | 104.2999

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.4935e-13 | 1.2366e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3081e-14 | 1.0174e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 1.0021 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0114e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.207e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0112e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5319e-12 | 3.6816e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.4935e-13 | 1.2366e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3081e-14 | 1.0174e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 1.0021 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0114e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.207e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0112e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5319e-12 | 3.6816e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 1.0009 | 0.6204 | 0.62069 | 1.0016 | 0.62059 | 0.61962 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1628e-12 | 7.7541e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.143e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1645e-12 | 7.754e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1453e-12 | -6.2641e-10 | -6.3506e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 1.0009 | 0.6204 | 0.62069 | 1.0016 | 0.62059 | 0.61962 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1628e-12 | 7.7541e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.143e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1645e-12 | 7.754e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1453e-12 | -6.2641e-10 | -6.3506e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627