## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1746 | 2.1746 | 0 | 0 | 75.3295 | 75.3295 | 15.8173 | -8.4404 | 17.7707 | -9.4007 | -74.583 | 105.417 | 0.31582 | 0.16771 | -26.2547 | -26.5021
Line_1 | 2.4625 | 2.4625 | 0 | 4.9235 | 85.3023 | 85.3023 | 9.4594 | -1e-07 | 10.7328 | -1e-07 | -75.1106 | 104.8894 | 0.16771 | 0 | -26.5021 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | -0.50949 | 0.54199 | -0.66605 | 0.70292 | 100.9122 | -79.0878 | 0.16771 | 0.17752 | -26.5021 | -26.7222

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1746 | 2.1746 | 0 | 0 | 75.3295 | 75.3295 | 15.8173 | -8.4404 | 17.7707 | -9.4007 | -74.583 | 105.417 | 0.31582 | 0.16771 | -26.2547 | -26.5021
Line_1 | 2.4625 | 2.4625 | 0 | 4.9235 | 85.3023 | 85.3023 | 9.4594 | -1e-07 | 10.7328 | -1e-07 | -75.1106 | 104.8894 | 0.16771 | 0 | -26.5021 | 0
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | -0.50949 | 0.54199 | -0.66605 | 0.70292 | 100.9122 | -79.0878 | 0.16771 | 0.17752 | -26.5021 | -26.7222

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.87904 | 0.87904 | 0 | 0 | 30.4507 | 30.4507 | 19.686 | -18.4806 | 16.1842 | -14.8165 | -51.8286 | 128.1714 | 0.83691 | 0.77787 | -12.4045 | -13.1084
Line_1 | 1.1433 | 1.1433 | 0 | 2.286 | 39.6059 | 39.6059 | 21.647 | -19.6078 | 21.9215 | -19.6078 | -58.4694 | 121.5306 | 0.77787 | 0.70014 | -13.1084 | -13.4694
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | -1.5832 | 1.6157 | -3.5525 | 3.5894 | 100.9122 | -79.0878 | 0.77787 | 0.78726 | -13.1084 | -13.322

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.87904 | 0.87904 | 0 | 0 | 30.4507 | 30.4507 | 19.686 | -18.4806 | 16.1842 | -14.8165 | -51.8286 | 128.1714 | 0.83691 | 0.77787 | -12.4045 | -13.1084
Line_1 | 1.1433 | 1.1433 | 0 | 2.286 | 39.6059 | 39.6059 | 21.647 | -19.6078 | 21.9215 | -19.6078 | -58.4694 | 121.5306 | 0.77787 | 0.70014 | -13.1084 | -13.4694
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | -1.5832 | 1.6157 | -3.5525 | 3.5894 | 100.9122 | -79.0878 | 0.77787 | 0.78726 | -13.1084 | -13.322

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.9 | 1.8774 | 0.28867 | 1.9 | 1.8774 | 3.3333 | 21.9397 | 21.6786 | 3.3333 | 21.9397 | 21.6786 | -0.73059 | 16.8418 | -9.2984 | 0.77392 | -14.9645 | 11.1313 | -3.9652 | -0.21566 | 7.1184 | 4.0144 | 2.3456 | -5.0388 | 100.9121 | -160.2398 | 11.0214 | -79.0879 | 19.7602 | -168.9786 | 1.2096 | 0.7677 | 0.54018 | 1.2265 | 0.6904 | 0.56363 | 0.47238 | -160.9734 | 153.5856 | -1.3898e-05 | -169.1482 | 166.6665
Line_1 | 0 | 2.1326 | 2.1326 | 0 | 2.1326 | 2.1326 | 0 | 24.6247 | 24.6247 | 0 | 24.6247 | 24.6247 | 5.6883e-10 | 16.9588 | -12.2291 | -5.6885e-10 | -14.5939 | 14.5939 | -1.3798e-16 | -1.1971 | 6.5635 | 1.3799e-16 | 3.8803 | -3.8803 | 0 | -165.1105 | 14.8895 | 0 | 14.8895 | -165.1105 | 1.2265 | 0.6904 | 0.56363 | 1.2265 | 0.61325 | 0.61325 | -1.3898e-05 | -169.1482 | 166.6665 | -1.3899e-05 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.38696 | -0.99712 | 0.54889 | 0.3978 | 1.008 | -0.53806 | -2.0072 | -0.57428 | -0.76233 | 2.0195 | 0.58657 | 0.77463 | 100.9121 | -19.0876 | -139.0879 | -79.0879 | 160.9124 | 40.9121 | 1.2265 | 0.6904 | 0.56363 | 1.235 | 0.69972 | 0.56589 | -1.3898e-05 | -169.1482 | 166.6665 | -0.23135 | -168.8905 | 165.6961

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.9 | 1.8774 | 0.28867 | 1.9 | 1.8774 | 3.3333 | 21.9397 | 21.6786 | 3.3333 | 21.9397 | 21.6786 | -0.73059 | 16.8418 | -9.2984 | 0.77392 | -14.9645 | 11.1313 | -3.9652 | -0.21566 | 7.1184 | 4.0144 | 2.3456 | -5.0388 | 100.9121 | -160.2398 | 11.0214 | -79.0879 | 19.7602 | -168.9786 | 1.2096 | 0.7677 | 0.54018 | 1.2265 | 0.6904 | 0.56363 | 0.47238 | -160.9734 | 153.5856 | -1.3898e-05 | -169.1482 | 166.6665
Line_1 | 0 | 2.1326 | 2.1326 | 0 | 2.1326 | 2.1326 | 0 | 24.6247 | 24.6247 | 0 | 24.6247 | 24.6247 | 5.6883e-10 | 16.9588 | -12.2291 | -5.6885e-10 | -14.5939 | 14.5939 | -1.3798e-16 | -1.1971 | 6.5635 | 1.3799e-16 | 3.8803 | -3.8803 | 0 | -165.1105 | 14.8895 | 0 | 14.8895 | -165.1105 | 1.2265 | 0.6904 | 0.56363 | 1.2265 | 0.61325 | 0.61325 | -1.3898e-05 | -169.1482 | 166.6665 | -1.3899e-05 | 180 | 180
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.38696 | -0.99712 | 0.54889 | 0.3978 | 1.008 | -0.53806 | -2.0072 | -0.57428 | -0.76233 | 2.0195 | 0.58657 | 0.77463 | 100.9121 | -19.0876 | -139.0879 | -79.0879 | 160.9124 | 40.9121 | 1.2265 | 0.6904 | 0.56363 | 1.235 | 0.69972 | 0.56589 | -1.3898e-05 | -169.1482 | 166.6665 | -0.23135 | -168.8905 | 165.6961

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.18 | 1.088 | 0.28867 | 1.18 | 1.088 | 3.3333 | 13.6254 | 12.5627 | 3.3333 | 13.6254 | 12.5627 | -0.73059 | 13.114 | -2.3393 | 0.77393 | -12.39 | 2.9548 | -3.9652 | -0.071099 | 8.5162 | 4.0144 | 0.89261 | -7.8178 | 100.9121 | -143.7027 | 22.4276 | -79.0879 | 36.2973 | -157.5724 | 1.2096 | 0.96248 | 0.703 | 1.2265 | 0.91169 | 0.66527 | 0.47238 | -144.0133 | 127.7871 | -1.0962e-05 | -147.8233 | 133.1319
Line_1 | 0 | 1.3648 | 1.3648 | 0 | 1.3648 | 1.3648 | 0 | 15.7595 | 15.7595 | 0 | 15.7595 | 15.7595 | 5.6883e-10 | 14.2915 | -3.0407 | -5.6884e-10 | -13.3229 | 4.0093 | 2.0226e-14 | 1.4779 | 10.0337 | -2.0226e-14 | -0.37889 | -8.9347 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.2265 | 0.91169 | 0.66527 | 1.2265 | 0.84573 | 0.6214 | -1.0962e-05 | -147.8233 | 133.1319 | -1.0962e-05 | -152.0983 | 140.44
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.38696 | -0.95078 | 0.042945 | 0.3978 | 0.96161 | -0.032111 | -2.0072 | -1.1853 | -1.108 | 2.0195 | 1.1975 | 1.1202 | 100.9121 | -19.0876 | -139.0878 | -79.0879 | 160.9124 | 40.9122 | 1.2265 | 0.91169 | 0.66527 | 1.235 | 0.92151 | 0.67242 | -1.0962e-05 | -147.8233 | 133.1319 | -0.23135 | -147.8516 | 132.5541

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 1.18 | 1.088 | 0.28867 | 1.18 | 1.088 | 3.3333 | 13.6254 | 12.5627 | 3.3333 | 13.6254 | 12.5627 | -0.73059 | 13.114 | -2.3393 | 0.77393 | -12.39 | 2.9548 | -3.9652 | -0.071099 | 8.5162 | 4.0144 | 0.89261 | -7.8178 | 100.9121 | -143.7027 | 22.4276 | -79.0879 | 36.2973 | -157.5724 | 1.2096 | 0.96248 | 0.703 | 1.2265 | 0.91169 | 0.66527 | 0.47238 | -144.0133 | 127.7871 | -1.0962e-05 | -147.8233 | 133.1319
Line_1 | 0 | 1.3648 | 1.3648 | 0 | 1.3648 | 1.3648 | 0 | 15.7595 | 15.7595 | 0 | 15.7595 | 15.7595 | 5.6883e-10 | 14.2915 | -3.0407 | -5.6884e-10 | -13.3229 | 4.0093 | 2.0226e-14 | 1.4779 | 10.0337 | -2.0226e-14 | -0.37889 | -8.9347 | 0 | -153.7273 | 26.2727 | 0 | 26.2727 | -153.7273 | 1.2265 | 0.91169 | 0.66527 | 1.2265 | 0.84573 | 0.6214 | -1.0962e-05 | -147.8233 | 133.1319 | -1.0962e-05 | -152.0983 | 140.44
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.38696 | -0.95078 | 0.042945 | 0.3978 | 0.96161 | -0.032111 | -2.0072 | -1.1853 | -1.108 | 2.0195 | 1.1975 | 1.1202 | 100.9121 | -19.0876 | -139.0878 | -79.0879 | 160.9124 | 40.9122 | 1.2265 | 0.91169 | 0.66527 | 1.235 | 0.92151 | 0.67242 | -1.0962e-05 | -147.8233 | 133.1319 | -0.23135 | -147.8516 | 132.5541

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.4211e-14 | -10.3204 | 5.7933 | -1.4211e-14 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3672e-13 | -160.6232 | 142.7791 | 5.0509e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 8.3517e-29 | 10.3204 | -5.7933 | -4.1891e-29 | -8.0568 | 8.0568 | -9.4739e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0509e-13 | -168.5183 | 163.5938 | 5.0669e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6607e-10 | 2.3685e-15 | 1.296e-10 | 4.6607e-10 | -4.1758e-29 | 1.6587e-09 | -1.0759e-09 | -4.737e-15 | -1.6587e-09 | 1.0759e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0509e-13 | -168.5183 | 163.5938 | 4.9853e-13 | -168.5183 | 163.5938

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -1.8948e-14 | 12.5839 | -3.5297 | 1.4211e-14 | -10.3204 | 5.7933 | -1.4211e-14 | -0.58968 | 5.9402 | 9.4739e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.3672e-13 | -160.6232 | 142.7791 | 5.0509e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 8.3517e-29 | 10.3204 | -5.7933 | -4.1891e-29 | -8.0568 | 8.0568 | -9.4739e-15 | -1.9273 | 4.6026 | 4.737e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 5.0509e-13 | -168.5183 | 163.5938 | 5.0669e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.2959e-10 | -4.6607e-10 | 2.3685e-15 | 1.296e-10 | 4.6607e-10 | -4.1758e-29 | 1.6587e-09 | -1.0759e-09 | -4.737e-15 | -1.6587e-09 | 1.0759e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 5.0509e-13 | -168.5183 | 163.5938 | 4.9853e-13 | -168.5183 | 163.5938

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 1.0658e-14 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3761e-13 | -145.2178 | 124.345 | 3.1486e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 1.1842e-15 | 8.5078 | -1.5008 | -1.1842e-15 | -7.5079 | 2.5007 | -7.1054e-15 | 0.20683 | 5.9821 | 9.4739e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1486e-13 | -148.6211 | 134.0705 | 3.156e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8165e-10 | -8.5378e-10 | 2.3685e-15 | 3.8165e-10 | 8.5378e-10 | 0 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1486e-13 | -148.6211 | 134.0705 | 3.0952e-13 | -148.6211 | 134.0705

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -1.1842e-14 | 9.5076 | -0.501 | 1.0658e-14 | -8.5078 | 1.5008 | -9.4739e-15 | 0.79768 | 6.573 | 1.1842e-14 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.3761e-13 | -145.2178 | 124.345 | 3.1486e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 1.1842e-15 | 8.5078 | -1.5008 | -1.1842e-15 | -7.5079 | 2.5007 | -7.1054e-15 | 0.20683 | 5.9821 | 9.4739e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 3.1486e-13 | -148.6211 | 134.0705 | 3.156e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8165e-10 | -8.5378e-10 | 2.3685e-15 | 3.8165e-10 | 8.5378e-10 | 0 | 1.2935e-09 | -4.7578e-10 | 2.3685e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 3.1486e-13 | -148.6211 | 134.0705 | 3.0952e-13 | -148.6211 | 134.0705

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7203 | 0.29022 | 0.29312 | 1.7189 | 0.28952 | 0.29219 | 19.8647 | 3.3512 | 3.3846 | 19.8483 | 3.3431 | 3.3739 | 10.7832 | -0.66033 | -0.79553 | -5.5504 | 1.3009 | 0.77306 | 5.2517 | -4.002 | -4.0213 | -2.7108 | 3.7762 | 4.7021 | -56.4418 | -20.2631 | -138.2541 | 123.5828 | 160.0207 | 41.491 | 0.60379 | 1.2103 | 1.2111 | 0.31121 | 1.1947 | 1.4124 | -30.4744 | -119.6324 | 120.5556 | -30.3862 | -128.989 | 122.1546
Line_1 | 1.9867 | 0.0025385 | 0.0025385 | 1.9849 | 0 | 0 | 22.9408 | 0.029312 | 0.029312 | 22.9192 | 0 | 0 | 6.2319 | 0.031209 | -0.029697 | 8.4576e-12 | -6.4264e-10 | -2.9227e-09 | 3.4835 | -0.015886 | -0.028845 | 4.1401e-11 | -1.4927e-09 | 4.2252e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.31121 | 1.1947 | 1.4124 | 0 | 1.1927 | 1.5968 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7615
Line_2 | 0.14237 | 0.14485 | 0.14582 | 0.14434 | 0.14434 | 0.14434 | 1.644 | 1.6725 | 1.6837 | 1.6667 | 1.6667 | 1.6667 | -0.33918 | -0.65436 | -0.38496 | 0.35257 | 0.68897 | 0.36948 | -0.38303 | -1.888 | -2.3467 | 0.40191 | 1.8841 | 2.3393 | 101.1394 | -19.8732 | -138.5295 | -79.0877 | 160.9121 | 40.9122 | 0.31121 | 1.1947 | 1.4124 | 0.32078 | 1.2037 | 1.421 | -30.3862 | -128.989 | 122.1546 | -30.3461 | -129.1742 | 121.937

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7203 | 0.29022 | 0.29312 | 1.7189 | 0.28952 | 0.29219 | 19.8647 | 3.3512 | 3.3846 | 19.8483 | 3.3431 | 3.3739 | 10.7832 | -0.66033 | -0.79553 | -5.5504 | 1.3009 | 0.77306 | 5.2517 | -4.002 | -4.0213 | -2.7108 | 3.7762 | 4.7021 | -56.4418 | -20.2631 | -138.2541 | 123.5828 | 160.0207 | 41.491 | 0.60379 | 1.2103 | 1.2111 | 0.31121 | 1.1947 | 1.4124 | -30.4744 | -119.6324 | 120.5556 | -30.3862 | -128.989 | 122.1546
Line_1 | 1.9867 | 0.0025385 | 0.0025385 | 1.9849 | 0 | 0 | 22.9408 | 0.029312 | 0.029312 | 22.9192 | 0 | 0 | 6.2319 | 0.031209 | -0.029697 | 8.4576e-12 | -6.4264e-10 | -2.9227e-09 | 3.4835 | -0.015886 | -0.028845 | 4.1401e-11 | -1.4927e-09 | 4.2252e-10 | -59.5907 | -102.0123 | -102.0123 | 120.4587 | 0 | 0 | 0.31121 | 1.1947 | 1.4124 | 0 | 1.1927 | 1.5968 | -30.3862 | -128.989 | 122.1546 | 0 | -138.0784 | 123.7615
Line_2 | 0.14237 | 0.14485 | 0.14582 | 0.14434 | 0.14434 | 0.14434 | 1.644 | 1.6725 | 1.6837 | 1.6667 | 1.6667 | 1.6667 | -0.33918 | -0.65436 | -0.38496 | 0.35257 | 0.68897 | 0.36948 | -0.38303 | -1.888 | -2.3467 | 0.40191 | 1.8841 | 2.3393 | 101.1394 | -19.8732 | -138.5295 | -79.0877 | 160.9121 | 40.9122 | 0.31121 | 1.1947 | 1.4124 | 0.32078 | 1.2037 | 1.421 | -30.3862 | -128.989 | 122.1546 | -30.3461 | -129.1742 | 121.937

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76071 | 0.28982 | 0.29063 | 0.76004 | 0.28938 | 0.29025 | 8.7839 | 3.3465 | 3.3559 | 8.7762 | 3.3414 | 3.3515 | 6.8596 | -0.69749 | -0.766 | -5.7146 | 1.0559 | 0.73392 | 4.006 | -3.9891 | -3.9886 | -3.5774 | 3.9336 | 4.3509 | -42.5952 | -19.6602 | -138.61 | 137.439 | 160.4744 | 41.2489 | 0.90435 | 1.2101 | 1.2103 | 0.76822 | 1.2189 | 1.3165 | -12.31 | -119.578 | 120.5189 | -10.5141 | -124.5514 | 121.6743
Line_1 | 1.0059 | 0.0012853 | 0.0012853 | 1.005 | 0 | 0 | 11.6156 | 0.014842 | 0.014842 | 11.6046 | 0 | 0 | 6.6481 | 0.015702 | -0.015717 | -5.05 | -5.9177e-10 | -1.5867e-09 | 5.9522 | -0.0089841 | -0.011608 | -5.05 | -7.7365e-10 | 3.066e-10 | -52.353 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.76822 | 1.2189 | 1.3165 | 0.61543 | 1.2187 | 1.4061 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.14331 | 0.14472 | 0.14499 | 0.14434 | 0.14434 | 0.14434 | 1.6548 | 1.671 | 1.6742 | 1.6667 | 1.6667 | 1.6667 | -0.46571 | -0.52996 | -0.36595 | 0.47827 | 0.55269 | 0.36317 | -1.1829 | -1.9667 | -2.1735 | 1.2041 | 1.97 | 2.1783 | 100.9754 | -19.4701 | -138.7686 | -79.0877 | 160.9122 | 40.9122 | 0.76822 | 1.2189 | 1.3165 | 0.77737 | 1.2277 | 1.325 | -10.5141 | -124.5514 | 121.6743 | -10.7506 | -124.7591 | 121.447

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76071 | 0.28982 | 0.29063 | 0.76004 | 0.28938 | 0.29025 | 8.7839 | 3.3465 | 3.3559 | 8.7762 | 3.3414 | 3.3515 | 6.8596 | -0.69749 | -0.766 | -5.7146 | 1.0559 | 0.73392 | 4.006 | -3.9891 | -3.9886 | -3.5774 | 3.9336 | 4.3509 | -42.5952 | -19.6602 | -138.61 | 137.439 | 160.4744 | 41.2489 | 0.90435 | 1.2101 | 1.2103 | 0.76822 | 1.2189 | 1.3165 | -12.31 | -119.578 | 120.5189 | -10.5141 | -124.5514 | 121.6743
Line_1 | 1.0059 | 0.0012853 | 0.0012853 | 1.005 | 0 | 0 | 11.6156 | 0.014842 | 0.014842 | 11.6046 | 0 | 0 | 6.6481 | 0.015702 | -0.015717 | -5.05 | -5.9177e-10 | -1.5867e-09 | 5.9522 | -0.0089841 | -0.011608 | -5.05 | -7.7365e-10 | 3.066e-10 | -52.353 | -94.7746 | -94.7746 | 127.6964 | 0 | 0 | 0.76822 | 1.2189 | 1.3165 | 0.61543 | 1.2187 | 1.4061 | -10.5141 | -124.5514 | 121.6743 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.14331 | 0.14472 | 0.14499 | 0.14434 | 0.14434 | 0.14434 | 1.6548 | 1.671 | 1.6742 | 1.6667 | 1.6667 | 1.6667 | -0.46571 | -0.52996 | -0.36595 | 0.47827 | 0.55269 | 0.36317 | -1.1829 | -1.9667 | -2.1735 | 1.2041 | 1.97 | 2.1783 | 100.9754 | -19.4701 | -138.7686 | -79.0877 | 160.9122 | 40.9122 | 0.76822 | 1.2189 | 1.3165 | 0.77737 | 1.2277 | 1.325 | -10.5141 | -124.5514 | 121.6743 | -10.7506 | -124.7591 | 121.447

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9614e-11 | -4.967e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0474e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0726e-11 | -9.3535e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0187e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9614e-11 | -4.967e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0474e-11 | -1.5995e-09 | 6.1486e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0726e-11 | -9.3535e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0187e-10 | -8.0728e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1446e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0826e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4983e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1446e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0826e-12 | -4.8942e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4983e-10 | -4.6153e-10 | 1.7777e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29359 | 2.3074 | 1.6419 | 0.2923 | 2.307 | 1.6415 | 3.39 | 26.6431 | 18.9591 | 3.3752 | 26.6392 | 18.954 | -0.73728 | 12.6512 | 1.0971 | 1.1427 | -6.5482 | -0.65469 | -4.0402 | 1.8796 | 8.9274 | 4.4377 | -1.0758 | -4.6017 | 100.8124 | -179.2558 | 36.2693 | -79.2109 | 0.775 | -143.7729 | 1.2115 | 0.48005 | 0.47442 | 1.3577 | 0.24911 | 0.24523 | 0.4705 | -170.8054 | 119.2632 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0020431 | 2.5802 | 1.9284 | 0 | 2.5802 | 1.9272 | 0.023591 | 29.7936 | 22.2678 | 0 | 29.7939 | 22.253 | -0.00093128 | 7.2735 | 0.83126 | -2.177e-09 | -1.4042e-11 | -1.5256e-11 | -0.032015 | 1.4761 | 5.397 | -6.9323e-10 | 1.6206e-11 | 7.0209e-12 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 1.3577 | 0.24911 | 0.24523 | 1.4909 | 0 | 0 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0
Line_2 | 0.14597 | 0.14368 | 0.14338 | 0.14434 | 0.14434 | 0.14434 | 1.6856 | 1.659 | 1.6556 | 1.6667 | 1.6667 | 1.6667 | -0.57282 | -0.36287 | -0.086141 | 0.58026 | 0.37294 | 0.10114 | -2.2156 | -0.19778 | -0.39675 | 2.2025 | 0.21512 | 0.41042 | 100.8447 | -18.4878 | -139.6203 | -79.0879 | 160.9124 | 40.9121 | 1.3577 | 0.24911 | 0.24523 | 1.3666 | 0.25832 | 0.25362 | -3.6511 | -169.8955 | 118.1298 | -3.8474 | -169.1103 | 117.068

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29359 | 2.3074 | 1.6419 | 0.2923 | 2.307 | 1.6415 | 3.39 | 26.6431 | 18.9591 | 3.3752 | 26.6392 | 18.954 | -0.73728 | 12.6512 | 1.0971 | 1.1427 | -6.5482 | -0.65469 | -4.0402 | 1.8796 | 8.9274 | 4.4377 | -1.0758 | -4.6017 | 100.8124 | -179.2558 | 36.2693 | -79.2109 | 0.775 | -143.7729 | 1.2115 | 0.48005 | 0.47442 | 1.3577 | 0.24911 | 0.24523 | 0.4705 | -170.8054 | 119.2632 | -3.6511 | -169.8955 | 118.1298
Line_1 | 0.0020431 | 2.5802 | 1.9284 | 0 | 2.5802 | 1.9272 | 0.023591 | 29.7936 | 22.2678 | 0 | 29.7939 | 22.253 | -0.00093128 | 7.2735 | 0.83126 | -2.177e-09 | -1.4042e-11 | -1.5256e-11 | -0.032015 | 1.4761 | 5.397 | -6.9323e-10 | 1.6206e-11 | 7.0209e-12 | 88.0151 | 178.633 | 36.8858 | 0 | -1.3217 | -143.1615 | 1.3577 | 0.24911 | 0.24523 | 1.4909 | 0 | 0 | -3.6511 | -169.8955 | 118.1298 | -6.62 | 0 | 0
Line_2 | 0.14597 | 0.14368 | 0.14338 | 0.14434 | 0.14434 | 0.14434 | 1.6856 | 1.659 | 1.6556 | 1.6667 | 1.6667 | 1.6667 | -0.57282 | -0.36287 | -0.086141 | 0.58026 | 0.37294 | 0.10114 | -2.2156 | -0.19778 | -0.39675 | 2.2025 | 0.21512 | 0.41042 | 100.8447 | -18.4878 | -139.6203 | -79.0879 | 160.9124 | 40.9121 | 1.3577 | 0.24911 | 0.24523 | 1.3666 | 0.25832 | 0.25362 | -3.6511 | -169.8955 | 118.1298 | -3.8474 | -169.1103 | 117.068

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29142 | 0.91619 | 0.73518 | 0.29071 | 0.91618 | 0.73467 | 3.365 | 10.5792 | 8.4891 | 3.3568 | 10.5792 | 8.4832 | -0.73554 | 8.2667 | 4.9518 | 0.97209 | -7.2574 | -4.588 | -4.0068 | 4.1271 | 5.3976 | 4.2556 | -4.3183 | -4.3602 | 100.8751 | -162.1019 | 63.7537 | -79.1428 | 17.943 | -116.2854 | 1.2106 | 0.87338 | 0.86286 | 1.3004 | 0.79827 | 0.74611 | 0.47307 | -135.5715 | 111.2202 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.0011374 | 1.1598 | 1.0063 | 0 | 1.16 | 1.0054 | 0.013134 | 13.392 | 11.6199 | 0 | 13.3941 | 11.6088 | -0.00060426 | 8.2691 | 5.5782 | -1.395e-09 | -6.7276 | -5.0537 | -0.017069 | 6.7754 | 6.6369 | -3.6573e-10 | -6.7276 | -5.0537 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 1.3004 | 0.79827 | 0.74611 | 1.3744 | 0.71033 | 0.61565 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.14525 | 0.14394 | 0.14383 | 0.14434 | 0.14434 | 0.14434 | 1.6772 | 1.662 | 1.6608 | 1.6667 | 1.6667 | 1.6667 | -0.48681 | -0.50866 | -0.49118 | 0.49576 | 0.51367 | 0.50973 | -2.1261 | -1.2254 | -1.1376 | 2.1249 | 1.2441 | 1.1511 | 100.8871 | -18.7598 | -139.3906 | -79.0878 | 160.9123 | 40.9122 | 1.3004 | 0.79827 | 0.74611 | 1.3092 | 0.80761 | 0.75533 | -2.0097 | -131.3034 | 107.2563 | -2.2208 | -131.5219 | 107.0267

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29142 | 0.91619 | 0.73518 | 0.29071 | 0.91618 | 0.73467 | 3.365 | 10.5792 | 8.4891 | 3.3568 | 10.5792 | 8.4832 | -0.73554 | 8.2667 | 4.9518 | 0.97209 | -7.2574 | -4.588 | -4.0068 | 4.1271 | 5.3976 | 4.2556 | -4.3183 | -4.3602 | 100.8751 | -162.1019 | 63.7537 | -79.1428 | 17.943 | -116.2854 | 1.2106 | 0.87338 | 0.86286 | 1.3004 | 0.79827 | 0.74611 | 0.47307 | -135.5715 | 111.2202 | -2.0097 | -131.3034 | 107.2563
Line_1 | 0.0011374 | 1.1598 | 1.0063 | 0 | 1.16 | 1.0054 | 0.013134 | 13.392 | 11.6199 | 0 | 13.3941 | 11.6088 | -0.00060426 | 8.2691 | 5.5782 | -1.395e-09 | -6.7276 | -5.0537 | -0.017069 | 6.7754 | 6.6369 | -3.6573e-10 | -6.7276 | -5.0537 | 90.0178 | -170.6333 | 57.3027 | 0 | 9.4222 | -122.7323 | 1.3004 | 0.79827 | 0.74611 | 1.3744 | 0.71033 | 0.61565 | -2.0097 | -131.3034 | 107.2563 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.14525 | 0.14394 | 0.14383 | 0.14434 | 0.14434 | 0.14434 | 1.6772 | 1.662 | 1.6608 | 1.6667 | 1.6667 | 1.6667 | -0.48681 | -0.50866 | -0.49118 | 0.49576 | 0.51367 | 0.50973 | -2.1261 | -1.2254 | -1.1376 | 2.1249 | 1.2441 | 1.1511 | 100.8871 | -18.7598 | -139.3906 | -79.0878 | 160.9123 | 40.9122 | 1.3004 | 0.79827 | 0.74611 | 1.3092 | 0.80761 | 0.75533 | -2.0097 | -131.3034 | 107.2563 | -2.2208 | -131.5219 | 107.0267

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6132e-11 | -1.2604e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1365e-11 | -1.7196e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.259e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6457e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6132e-11 | -1.2604e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1365e-11 | -1.7196e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.259e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6457e-10 | -7.9772e-10 | -5.1755e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.1789e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.8261e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.4669e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5298e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.1789e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.8261e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.4669e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5298e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983