## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -3.5527e-15 | -8.1194e-21 | 2.1316e-14 | 4.7376e-15 | 6.8766e-19 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.541e-13 | -180 | 180 | 7.9684e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.1845e-15 | 4.7373e-15 | -9.4739e-15 | -2.2903e-19 | -4.7372e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.144e-13 | -180 | 180 | 7.9684e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1845e-15 | 3.0472e-19 | 1.3176e-28 | -2.2903e-19 | -2.2922e-19 | -3.2147e-29 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7766e-13 | -180 | 180 | 7.9684e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -3.5527e-15 | -8.1194e-21 | 2.1316e-14 | 4.7376e-15 | 6.8766e-19 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.541e-13 | -180 | 180 | 7.9684e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.1845e-15 | 4.7373e-15 | -9.4739e-15 | -2.2903e-19 | -4.7372e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.144e-13 | -180 | 180 | 7.9684e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1845e-15 | 3.0472e-19 | 1.3176e-28 | -2.2903e-19 | -2.2922e-19 | -3.2147e-29 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7766e-13 | -180 | 180 | 7.9684e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | -8.0023e-10 | -2.5674e-09 | 8.5857e-15 | 8.0024e-10 | 2.5674e-09 | -5.3068e-29 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0206e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6675e-10 | 8.558e-10 | -5.9212e-16 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3713e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | 2.6676e-10 | 8.558e-10 | 2.9606e-15 | -2.6675e-10 | -8.558e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2084e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | -8.0023e-10 | -2.5674e-09 | 8.5857e-15 | 8.0024e-10 | 2.5674e-09 | -5.3068e-29 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0206e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6675e-10 | 8.558e-10 | -5.9212e-16 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3713e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | 2.6676e-10 | 8.558e-10 | 2.9606e-15 | -2.6675e-10 | -8.558e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2084e-13 | -141.4824 | 122.8363 | 3.2897e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28709 | 0.28946 | 0.28948 | 0.28762 | 0.2892 | 0.28921 | 3.3151 | 3.3424 | 3.3426 | 3.3211 | 3.3394 | 3.3395 | 6.6719e-11 | 1.0904 | -1.3625 | 0.041769 | -1.0398 | 1.4002 | -2.4289e-11 | -3.2371 | -3.0838 | 0.04844 | 3.2843 | 3.1337 | 92.6746 | -27.6009 | -147.0577 | -87.3261 | 152.4897 | 32.8523 | 0 | 1.022 | 1.0086 | 0.019259 | 1.0316 | 1.0278 | 0 | -98.9856 | 99.1056 | -38.0968 | -99.9425 | 98.7765
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14381 | 0.1446 | 0.14461 | 1.6667 | 1.6667 | 1.6667 | 1.6606 | 1.6697 | 1.6698 | 0.031652 | -0.50281 | 0.70473 | -0.020884 | 0.51991 | -0.7001 | 0.036546 | 1.653 | 1.5786 | -0.02422 | -1.6422 | -1.5669 | -87.3279 | 152.6718 | 32.672 | 92.6739 | -27.5103 | -147.1477 | 0.029009 | 1.0367 | 1.0373 | 0.019259 | 1.0316 | 1.0278 | -38.2233 | -100.4099 | 98.6146 | -38.0968 | -99.9425 | 98.7765
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14381 | 0.1446 | 0.14461 | 1.6667 | 1.6667 | 1.6667 | 1.6606 | 1.6697 | 1.6698 | 0.031652 | -0.50281 | 0.70473 | -0.020884 | 0.51991 | -0.7001 | 0.036546 | 1.653 | 1.5786 | -0.02422 | -1.6422 | -1.5669 | -87.3279 | 152.6718 | 32.672 | 92.6739 | -27.5103 | -147.1477 | 0.029009 | 1.0367 | 1.0373 | 0.019259 | 1.0316 | 1.0278 | -38.2233 | -100.4099 | 98.6146 | -38.0968 | -99.9425 | 98.7765

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28709 | 0.28946 | 0.28948 | 0.28762 | 0.2892 | 0.28921 | 3.3151 | 3.3424 | 3.3426 | 3.3211 | 3.3394 | 3.3395 | 6.6719e-11 | 1.0904 | -1.3625 | 0.041769 | -1.0398 | 1.4002 | -2.4289e-11 | -3.2371 | -3.0838 | 0.04844 | 3.2843 | 3.1337 | 92.6746 | -27.6009 | -147.0577 | -87.3261 | 152.4897 | 32.8523 | 0 | 1.022 | 1.0086 | 0.019259 | 1.0316 | 1.0278 | 0 | -98.9856 | 99.1056 | -38.0968 | -99.9425 | 98.7765
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14381 | 0.1446 | 0.14461 | 1.6667 | 1.6667 | 1.6667 | 1.6606 | 1.6697 | 1.6698 | 0.031652 | -0.50281 | 0.70473 | -0.020884 | 0.51991 | -0.7001 | 0.036546 | 1.653 | 1.5786 | -0.02422 | -1.6422 | -1.5669 | -87.3279 | 152.6718 | 32.672 | 92.6739 | -27.5103 | -147.1477 | 0.029009 | 1.0367 | 1.0373 | 0.019259 | 1.0316 | 1.0278 | -38.2233 | -100.4099 | 98.6146 | -38.0968 | -99.9425 | 98.7765
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14381 | 0.1446 | 0.14461 | 1.6667 | 1.6667 | 1.6667 | 1.6606 | 1.6697 | 1.6698 | 0.031652 | -0.50281 | 0.70473 | -0.020884 | 0.51991 | -0.7001 | 0.036546 | 1.653 | 1.5786 | -0.02422 | -1.6422 | -1.5669 | -87.3279 | 152.6718 | 32.672 | 92.6739 | -27.5103 | -147.1477 | 0.029009 | 1.0367 | 1.0373 | 0.019259 | 1.0316 | 1.0278 | -38.2233 | -100.4099 | 98.6146 | -38.0968 | -99.9425 | 98.7765

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28841 | 0.28896 | 0.28865 | 0.2885 | 0.28887 | 0.28866 | 3.3303 | 3.3367 | 3.3331 | 3.3313 | 3.3356 | 3.3332 | -0.59101 | -0.041872 | -0.46641 | 0.63497 | 0.086086 | 0.50824 | -3.1918 | -3.6114 | -3.8598 | 3.2415 | 3.6594 | 3.9094 | 92.6362 | -27.3556 | -147.2647 | -87.3518 | 152.6536 | 32.7142 | 0.9747 | 1.0824 | 1.1664 | 0.99154 | 1.0974 | 1.1828 | -7.8542 | -118.0199 | 115.8451 | -8.435 | -118.694 | 115.3071
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14425 | 0.14443 | 0.14433 | 1.6667 | 1.6667 | 1.6667 | 1.6656 | 1.6678 | 1.6666 | 0.32917 | 0.054465 | 0.26351 | -0.31749 | -0.043043 | -0.25412 | 1.6339 | 1.8408 | 1.9673 | -1.6208 | -1.8297 | -1.9547 | -87.328 | 152.672 | 32.672 | 92.6482 | -27.3464 | -147.2858 | 1 | 1.1049 | 1.1909 | 0.99154 | 1.0974 | 1.1828 | -8.7186 | -119.0228 | 115.043 | -8.435 | -118.694 | 115.3071
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14425 | 0.14443 | 0.14433 | 1.6667 | 1.6667 | 1.6667 | 1.6656 | 1.6678 | 1.6666 | 0.32917 | 0.054465 | 0.26351 | -0.31749 | -0.043043 | -0.25412 | 1.6339 | 1.8408 | 1.9673 | -1.6208 | -1.8297 | -1.9547 | -87.328 | 152.672 | 32.672 | 92.6482 | -27.3464 | -147.2858 | 1 | 1.1049 | 1.1909 | 0.99154 | 1.0974 | 1.1828 | -8.7186 | -119.0228 | 115.043 | -8.435 | -118.694 | 115.3071

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28841 | 0.28896 | 0.28865 | 0.2885 | 0.28887 | 0.28866 | 3.3303 | 3.3367 | 3.3331 | 3.3313 | 3.3356 | 3.3332 | -0.59101 | -0.041872 | -0.46641 | 0.63497 | 0.086086 | 0.50824 | -3.1918 | -3.6114 | -3.8598 | 3.2415 | 3.6594 | 3.9094 | 92.6362 | -27.3556 | -147.2647 | -87.3518 | 152.6536 | 32.7142 | 0.9747 | 1.0824 | 1.1664 | 0.99154 | 1.0974 | 1.1828 | -7.8542 | -118.0199 | 115.8451 | -8.435 | -118.694 | 115.3071
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14425 | 0.14443 | 0.14433 | 1.6667 | 1.6667 | 1.6667 | 1.6656 | 1.6678 | 1.6666 | 0.32917 | 0.054465 | 0.26351 | -0.31749 | -0.043043 | -0.25412 | 1.6339 | 1.8408 | 1.9673 | -1.6208 | -1.8297 | -1.9547 | -87.328 | 152.672 | 32.672 | 92.6482 | -27.3464 | -147.2858 | 1 | 1.1049 | 1.1909 | 0.99154 | 1.0974 | 1.1828 | -8.7186 | -119.0228 | 115.043 | -8.435 | -118.694 | 115.3071
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14425 | 0.14443 | 0.14433 | 1.6667 | 1.6667 | 1.6667 | 1.6656 | 1.6678 | 1.6666 | 0.32917 | 0.054465 | 0.26351 | -0.31749 | -0.043043 | -0.25412 | 1.6339 | 1.8408 | 1.9673 | -1.6208 | -1.8297 | -1.9547 | -87.328 | 152.672 | 32.672 | 92.6482 | -27.3464 | -147.2858 | 1 | 1.1049 | 1.1909 | 0.99154 | 1.0974 | 1.1828 | -8.7186 | -119.0228 | 115.043 | -8.435 | -118.694 | 115.3071

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 0.0008956 | 0.0008956 | 0.0008956 | 0.015507 | 0.015507 | 0.015507 | 0.010342 | 0.010342 | 0.010342 | 1.2558e-13 | 0.013435 | -0.013406 | 7.1126e-06 | -0.0089551 | 0.0089459 | 1.0795e-13 | -0.0025913 | -0.0016102 | 1.4749e-06 | 0.0017159 | 0.0010889 | -87.9068 | -87.9067 | -87.9067 | 92.0061 | 92.0061 | 92.0061 | 0 | 0.88234 | 0.87073 | 0.0007024 | 0.88169 | 0.87143 | 0 | -98.8235 | 98.9421 | 103.7212 | -98.841 | 98.9459
Line_1 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3525e-13 | 1.6498e-10 | 1.971e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459
Line_2 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3526e-13 | 1.6498e-10 | 1.971e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 0.0008956 | 0.0008956 | 0.0008956 | 0.015507 | 0.015507 | 0.015507 | 0.010342 | 0.010342 | 0.010342 | 1.2558e-13 | 0.013435 | -0.013406 | 7.1126e-06 | -0.0089551 | 0.0089459 | 1.0795e-13 | -0.0025913 | -0.0016102 | 1.4749e-06 | 0.0017159 | 0.0010889 | -87.9068 | -87.9067 | -87.9067 | 92.0061 | 92.0061 | 92.0061 | 0 | 0.88234 | 0.87073 | 0.0007024 | 0.88169 | 0.87143 | 0 | -98.8235 | 98.9421 | 103.7212 | -98.841 | 98.9459
Line_1 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3525e-13 | 1.6498e-10 | 1.971e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459
Line_2 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3526e-13 | 1.6498e-10 | 1.971e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 0.0001876 | 0.0001876 | 0.0001876 | 0.0032483 | 0.0032483 | 0.0032483 | 0.0021662 | 0.0021662 | 0.0021662 | 0.0019059 | 0.0013099 | -0.0032145 | -0.0012687 | -0.00087599 | 0.0021446 | 0.0019322 | -0.0027304 | 0.00061379 | -0.0012904 | 0.0018195 | -0.000406 | -53.5306 | -53.5306 | -53.5306 | 126.3822 | 126.3823 | 126.3823 | 0.83553 | 0.93229 | 1.0075 | 0.83541 | 0.93225 | 1.0076 | -8.1375 | -117.9012 | 115.6593 | -8.1319 | -117.91 | 115.6625
Line_1 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2933e-10 | -3.886e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625
Line_2 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2934e-10 | -3.8859e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.7939e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 0.0001876 | 0.0001876 | 0.0001876 | 0.0032483 | 0.0032483 | 0.0032483 | 0.0021662 | 0.0021662 | 0.0021662 | 0.0019059 | 0.0013099 | -0.0032145 | -0.0012687 | -0.00087599 | 0.0021446 | 0.0019322 | -0.0027304 | 0.00061379 | -0.0012904 | 0.0018195 | -0.000406 | -53.5306 | -53.5306 | -53.5306 | 126.3822 | 126.3823 | 126.3823 | 0.83553 | 0.93229 | 1.0075 | 0.83541 | 0.93225 | 1.0076 | -8.1375 | -117.9012 | 115.6593 | -8.1319 | -117.91 | 115.6625
Line_1 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2933e-10 | -3.886e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625
Line_2 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2934e-10 | -3.8859e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.7939e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29116 | 0.28748 | 0.28741 | 0.29033 | 0.28788 | 0.28783 | 3.362 | 3.3195 | 3.3187 | 3.3524 | 3.3241 | 3.3235 | -0.0224 | 5.3163e-11 | 5.3282e-11 | 0.068222 | 0.041634 | 0.042591 | -1.6839 | -1.9016e-11 | -1.8336e-11 | 1.7294 | 0.050323 | 0.046895 | 92.6636 | -26.8952 | -147.7524 | -87.3339 | 152.9603 | 32.3895 | 0.5009 | 0 | 0 | 0.51626 | 0.019648 | 0.019061 | 1.9015 | 0 | 0 | 0.40705 | -156.6419 | 80.1428
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14517 | 0.14394 | 0.14391 | 1.6667 | 1.6667 | 1.6667 | 1.6762 | 1.6621 | 1.6618 | 0.045059 | 0.031397 | 0.032269 | -0.034111 | -0.020817 | -0.021296 | 0.87214 | 0.037778 | 0.035468 | -0.86469 | -0.025162 | -0.023447 | -87.3281 | 152.672 | 32.672 | 92.6661 | -27.0397 | -147.6105 | 0.52398 | 0.029473 | 0.028771 | 0.51626 | 0.019648 | 0.019061 | -0.28566 | -157.0575 | 80.3761 | 0.40705 | -156.6419 | 80.1428
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14517 | 0.14394 | 0.14391 | 1.6667 | 1.6667 | 1.6667 | 1.6762 | 1.6621 | 1.6618 | 0.045059 | 0.031397 | 0.032269 | -0.034111 | -0.020817 | -0.021296 | 0.87214 | 0.037778 | 0.035468 | -0.86469 | -0.025162 | -0.023447 | -87.3281 | 152.672 | 32.672 | 92.6661 | -27.0397 | -147.6105 | 0.52398 | 0.029473 | 0.028771 | 0.51626 | 0.019648 | 0.019061 | -0.28566 | -157.0575 | 80.3761 | 0.40705 | -156.6419 | 80.1428

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29116 | 0.28748 | 0.28741 | 0.29033 | 0.28788 | 0.28783 | 3.362 | 3.3195 | 3.3187 | 3.3524 | 3.3241 | 3.3235 | -0.0224 | 5.3163e-11 | 5.3282e-11 | 0.068222 | 0.041634 | 0.042591 | -1.6839 | -1.9016e-11 | -1.8336e-11 | 1.7294 | 0.050323 | 0.046895 | 92.6636 | -26.8952 | -147.7524 | -87.3339 | 152.9603 | 32.3895 | 0.5009 | 0 | 0 | 0.51626 | 0.019648 | 0.019061 | 1.9015 | 0 | 0 | 0.40705 | -156.6419 | 80.1428
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14517 | 0.14394 | 0.14391 | 1.6667 | 1.6667 | 1.6667 | 1.6762 | 1.6621 | 1.6618 | 0.045059 | 0.031397 | 0.032269 | -0.034111 | -0.020817 | -0.021296 | 0.87214 | 0.037778 | 0.035468 | -0.86469 | -0.025162 | -0.023447 | -87.3281 | 152.672 | 32.672 | 92.6661 | -27.0397 | -147.6105 | 0.52398 | 0.029473 | 0.028771 | 0.51626 | 0.019648 | 0.019061 | -0.28566 | -157.0575 | 80.3761 | 0.40705 | -156.6419 | 80.1428
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14517 | 0.14394 | 0.14391 | 1.6667 | 1.6667 | 1.6667 | 1.6762 | 1.6621 | 1.6618 | 0.045059 | 0.031397 | 0.032269 | -0.034111 | -0.020817 | -0.021296 | 0.87214 | 0.037778 | 0.035468 | -0.86469 | -0.025162 | -0.023447 | -87.3281 | 152.672 | 32.672 | 92.6661 | -27.0397 | -147.6105 | 0.52398 | 0.029473 | 0.028771 | 0.51626 | 0.019648 | 0.019061 | -0.28566 | -157.0575 | 80.3761 | 0.40705 | -156.6419 | 80.1428

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28895 | 0.28836 | 0.28872 | 0.28886 | 0.28847 | 0.2887 | 3.3365 | 3.3297 | 3.3338 | 3.3354 | 3.3309 | 3.3336 | -0.34899 | -0.81613 | -0.43392 | 0.39159 | 0.85893 | 0.47853 | -3.6081 | -3.1732 | -3.0131 | 3.6565 | 3.2236 | 3.0617 | 92.7123 | -27.3013 | -147.3951 | -87.3011 | 152.6898 | 32.6273 | 1.0864 | 0.98399 | 0.91312 | 1.1025 | 1.0015 | 0.92957 | -2.8125 | -131.7251 | 114.41 | -3.4139 | -132.2302 | 113.744
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14443 | 0.14423 | 0.14435 | 1.6667 | 1.6667 | 1.6667 | 1.6677 | 1.6655 | 1.6668 | 0.20566 | 0.44007 | 0.25128 | -0.19579 | -0.42946 | -0.23926 | 1.8395 | 1.6254 | 1.5428 | -1.8282 | -1.6118 | -1.5308 | -87.3281 | 152.672 | 32.672 | 92.6989 | -27.3102 | -147.3727 | 1.1106 | 1.0103 | 0.93786 | 1.1025 | 1.0015 | 0.92957 | -3.7075 | -132.4778 | 113.4209 | -3.4139 | -132.2302 | 113.744
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14443 | 0.14423 | 0.14435 | 1.6667 | 1.6667 | 1.6667 | 1.6677 | 1.6655 | 1.6668 | 0.20566 | 0.44007 | 0.25128 | -0.19579 | -0.42946 | -0.23926 | 1.8395 | 1.6254 | 1.5428 | -1.8282 | -1.6118 | -1.5308 | -87.3281 | 152.672 | 32.672 | 92.6989 | -27.3102 | -147.3727 | 1.1106 | 1.0103 | 0.93786 | 1.1025 | 1.0015 | 0.92957 | -3.7075 | -132.4778 | 113.4209 | -3.4139 | -132.2302 | 113.744

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28895 | 0.28836 | 0.28872 | 0.28886 | 0.28847 | 0.2887 | 3.3365 | 3.3297 | 3.3338 | 3.3354 | 3.3309 | 3.3336 | -0.34899 | -0.81613 | -0.43392 | 0.39159 | 0.85893 | 0.47853 | -3.6081 | -3.1732 | -3.0131 | 3.6565 | 3.2236 | 3.0617 | 92.7123 | -27.3013 | -147.3951 | -87.3011 | 152.6898 | 32.6273 | 1.0864 | 0.98399 | 0.91312 | 1.1025 | 1.0015 | 0.92957 | -2.8125 | -131.7251 | 114.41 | -3.4139 | -132.2302 | 113.744
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14443 | 0.14423 | 0.14435 | 1.6667 | 1.6667 | 1.6667 | 1.6677 | 1.6655 | 1.6668 | 0.20566 | 0.44007 | 0.25128 | -0.19579 | -0.42946 | -0.23926 | 1.8395 | 1.6254 | 1.5428 | -1.8282 | -1.6118 | -1.5308 | -87.3281 | 152.672 | 32.672 | 92.6989 | -27.3102 | -147.3727 | 1.1106 | 1.0103 | 0.93786 | 1.1025 | 1.0015 | 0.92957 | -3.7075 | -132.4778 | 113.4209 | -3.4139 | -132.2302 | 113.744
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14443 | 0.14423 | 0.14435 | 1.6667 | 1.6667 | 1.6667 | 1.6677 | 1.6655 | 1.6668 | 0.20566 | 0.44007 | 0.25128 | -0.19579 | -0.42946 | -0.23926 | 1.8395 | 1.6254 | 1.5428 | -1.8282 | -1.6118 | -1.5308 | -87.3281 | 152.672 | 32.672 | 92.6989 | -27.3102 | -147.3727 | 1.1106 | 1.0103 | 0.93786 | 1.1025 | 1.0015 | 0.92957 | -3.7075 | -132.4778 | 113.4209 | -3.4139 | -132.2302 | 113.744

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0014096 | 0.0014096 | 0.0014096 | 0.024407 | 0.024407 | 0.024407 | 0.016276 | 0.016276 | 0.016276 | 7.1355e-05 | -6.2226e-14 | 2.1526e-13 | -4.0522e-05 | 1.7619e-05 | 1.7619e-05 | -0.010408 | 2.1121e-13 | -5.2109e-14 | 0.0069441 | 3.6535e-06 | 3.6535e-06 | 91.5634 | 91.5633 | 91.5633 | -88.5238 | -88.5238 | -88.5238 | 0.42643 | 0 | 0 | 0.42665 | 0.0011055 | 0.0011055 | 1.9562 | 0 | 0 | 1.8106 | -76.8087 | -76.8087
Line_1 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6628e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8636e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087
Line_2 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8644e-11 | 3.3288e-12 | 1.4073e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0014096 | 0.0014096 | 0.0014096 | 0.024407 | 0.024407 | 0.024407 | 0.016276 | 0.016276 | 0.016276 | 7.1355e-05 | -6.2226e-14 | 2.1526e-13 | -4.0522e-05 | 1.7619e-05 | 1.7619e-05 | -0.010408 | 2.1121e-13 | -5.2109e-14 | 0.0069441 | 3.6535e-06 | 3.6535e-06 | 91.5634 | 91.5633 | 91.5633 | -88.5238 | -88.5238 | -88.5238 | 0.42643 | 0 | 0 | 0.42665 | 0.0011055 | 0.0011055 | 1.9562 | 0 | 0 | 1.8106 | -76.8087 | -76.8087
Line_1 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6628e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8636e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087
Line_2 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8644e-11 | 3.3288e-12 | 1.4073e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.00020017 | 0.00020017 | 0.00020017 | 0.0034659 | 0.0034659 | 0.0034659 | 0.0023113 | 0.0023113 | 0.0023113 | -0.0021684 | -0.00044662 | 0.0026164 | 0.001444 | 0.00030113 | -0.0017452 | -0.0024097 | 0.0028899 | -0.00069008 | 0.0016092 | -0.0019267 | 0.00045762 | 129.0448 | 129.0447 | 129.0447 | -51.0424 | -51.0424 | -51.0424 | 0.93531 | 0.84371 | 0.78073 | 0.93544 | 0.8437 | 0.78059 | -2.9382 | -132.17 | 114.2695 | -2.944 | -132.1593 | 114.2644
Line_1 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1414e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5148e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644
Line_2 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5148e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.00020017 | 0.00020017 | 0.00020017 | 0.0034659 | 0.0034659 | 0.0034659 | 0.0023113 | 0.0023113 | 0.0023113 | -0.0021684 | -0.00044662 | 0.0026164 | 0.001444 | 0.00030113 | -0.0017452 | -0.0024097 | 0.0028899 | -0.00069008 | 0.0016092 | -0.0019267 | 0.00045762 | 129.0448 | 129.0447 | 129.0447 | -51.0424 | -51.0424 | -51.0424 | 0.93531 | 0.84371 | 0.78073 | 0.93544 | 0.8437 | 0.78059 | -2.9382 | -132.17 | 114.2695 | -2.944 | -132.1593 | 114.2644
Line_1 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1414e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5148e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644
Line_2 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5148e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644