## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4317 | 3.4317 | 0 | 0 | 118.879 | 118.879 | 37.6072 | -19.2354 | 42.4775 | -21.6325 | -71.5367 | 108.4633 | 0.47723 | 0.2435 | -23.0566 | -23.1798
Line_1 | 3.5753 | 3.5753 | 6.9405 | 0 | 123.8505 | 123.8505 | -1e-07 | 19.9406 | -1e-07 | 22.625 | 108.2117 | -71.7883 | 0 | 0.2435 | 0 | -23.1798
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.73779 | -0.70529 | 1.0293 | -0.99244 | -77.7798 | 102.2202 | 0.25328 | 0.2435 | -23.4119 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4317 | 3.4317 | 0 | 0 | 118.879 | 118.879 | 37.6072 | -19.2354 | 42.4775 | -21.6325 | -71.5367 | 108.4633 | 0.47723 | 0.2435 | -23.0566 | -23.1798
Line_1 | 3.5753 | 3.5753 | 6.9405 | 0 | 123.8505 | 123.8505 | -1e-07 | 19.9406 | -1e-07 | 22.625 | 108.2117 | -71.7883 | 0 | 0.2435 | 0 | -23.1798
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.73779 | -0.70529 | 1.0293 | -0.99244 | -77.7798 | 102.2202 | 0.25328 | 0.2435 | -23.4119 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0386 | 1.0386 | 0 | 0 | 35.9798 | 35.9798 | 25.8989 | -24.216 | 22.1511 | -20.2417 | -48.4565 | 131.5435 | 0.94719 | 0.8772 | -7.9164 | -8.5649
Line_1 | 1.1666 | 1.1666 | 2.3096 | 0 | 40.4134 | 40.4134 | -23.6492 | 25.7724 | -21.9332 | 24.3422 | 128.0698 | -51.9302 | 0.79811 | 0.8772 | -9.0862 | -8.5649
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.5889 | -1.5564 | 4.1374 | -4.1006 | -77.7798 | 102.2202 | 0.88641 | 0.8772 | -8.7885 | -8.5649

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0386 | 1.0386 | 0 | 0 | 35.9798 | 35.9798 | 25.8989 | -24.216 | 22.1511 | -20.2417 | -48.4565 | 131.5435 | 0.94719 | 0.8772 | -7.9164 | -8.5649
Line_1 | 1.1666 | 1.1666 | 2.3096 | 0 | 40.4134 | 40.4134 | -23.6492 | 25.7724 | -21.9332 | 24.3422 | 128.0698 | -51.9302 | 0.79811 | 0.8772 | -9.0862 | -8.5649
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.5889 | -1.5564 | 4.1374 | -4.1006 | -77.7798 | 102.2202 | 0.88641 | 0.8772 | -8.7885 | -8.5649

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 2.9836 | 2.9673 | 0.28828 | 2.9836 | 2.9673 | 3.3288 | 34.4518 | 34.2634 | 3.3288 | 34.4518 | 34.2634 | -0.96997 | 28.5871 | -10.2685 | 1.0132 | -23.9581 | 14.847 | -3.7251 | 3.1824 | 16.1938 | 3.7742 | 2.0697 | -10.9989 | 105.2158 | -158.7721 | 15.6835 | -74.7842 | 21.2279 | -164.3165 | 1.1564 | 0.8349 | 0.55963 | 1.1739 | 0.698 | 0.53927 | 0.62086 | -152.4199 | 138.0622 | 0.18885 | -163.7096 | 159.1517
Line_1 | 0.14434 | 3.0971 | 3.0971 | 0.14434 | 3.0971 | 3.0971 | 1.6667 | 35.7623 | 35.7623 | 1.6667 | 35.7623 | 35.7623 | 0.61619 | -19.9338 | 20.2419 | -0.60535 | 24.9217 | -15.2541 | 1.8729 | 7.0773 | -6.1409 | -1.8606 | -1.418 | 11.8002 | -71.7884 | 19.547 | -163.1235 | 108.2116 | -160.453 | 16.8765 | 1.183 | 0.59149 | 0.59149 | 1.1739 | 0.698 | 0.53927 | -7.9887e-06 | 180 | 180 | 0.18885 | -163.7096 | 159.1517
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.97448 | -0.39625 | -0.40784 | -0.96365 | 0.40709 | 1.9259 | 0.664 | 0.8136 | -1.9136 | -0.6517 | -0.80131 | -77.78 | 162.2203 | 42.2201 | 102.22 | -17.7797 | -137.7799 | 1.1825 | 0.70752 | 0.54298 | 1.1739 | 0.698 | 0.53927 | -0.044689 | -163.5098 | 158.1877 | 0.18885 | -163.7096 | 159.1517

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 2.9836 | 2.9673 | 0.28828 | 2.9836 | 2.9673 | 3.3288 | 34.4518 | 34.2634 | 3.3288 | 34.4518 | 34.2634 | -0.96997 | 28.5871 | -10.2685 | 1.0132 | -23.9581 | 14.847 | -3.7251 | 3.1824 | 16.1938 | 3.7742 | 2.0697 | -10.9989 | 105.2158 | -158.7721 | 15.6835 | -74.7842 | 21.2279 | -164.3165 | 1.1564 | 0.8349 | 0.55963 | 1.1739 | 0.698 | 0.53927 | 0.62086 | -152.4199 | 138.0622 | 0.18885 | -163.7096 | 159.1517
Line_1 | 0.14434 | 3.0971 | 3.0971 | 0.14434 | 3.0971 | 3.0971 | 1.6667 | 35.7623 | 35.7623 | 1.6667 | 35.7623 | 35.7623 | 0.61619 | -19.9338 | 20.2419 | -0.60535 | 24.9217 | -15.2541 | 1.8729 | 7.0773 | -6.1409 | -1.8606 | -1.418 | 11.8002 | -71.7884 | 19.547 | -163.1235 | 108.2116 | -160.453 | 16.8765 | 1.183 | 0.59149 | 0.59149 | 1.1739 | 0.698 | 0.53927 | -7.9887e-06 | 180 | 180 | 0.18885 | -163.7096 | 159.1517
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.97448 | -0.39625 | -0.40784 | -0.96365 | 0.40709 | 1.9259 | 0.664 | 0.8136 | -1.9136 | -0.6517 | -0.80131 | -77.78 | 162.2203 | 42.2201 | 102.22 | -17.7797 | -137.7799 | 1.1825 | 0.70752 | 0.54298 | 1.1739 | 0.698 | 0.53927 | -0.044689 | -163.5098 | 158.1877 | 0.18885 | -163.7096 | 159.1517

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 1.5018 | 1.4089 | 0.28828 | 1.5018 | 1.4089 | 3.3288 | 17.3408 | 16.2686 | 3.3288 | 17.3408 | 16.2686 | -0.96998 | 17.6007 | -0.67121 | 1.0132 | -16.4279 | 1.7034 | -3.7251 | 1.5359 | 13.3074 | 3.7742 | -0.20525 | -12.1362 | 105.2159 | -140.6985 | 28.5355 | -74.7841 | 39.3015 | -151.4645 | 1.1564 | 1.0188 | 0.81902 | 1.1739 | 0.94743 | 0.7533 | 0.62087 | -135.7114 | 121.423 | 0.18885 | -139.9827 | 126.5253
Line_1 | 0.14434 | 1.5848 | 1.5495 | 0.14434 | 1.5848 | 1.5495 | 1.6667 | 18.3001 | 17.8923 | 1.6667 | 18.3001 | 17.8923 | 0.61619 | -15.9633 | 2.8274 | -0.60535 | 17.2694 | -1.5788 | 1.8729 | -0.059496 | -11.9689 | -1.8606 | 1.5414 | 13.3855 | -71.7883 | 34.9169 | -150.2017 | 108.2117 | -145.0831 | 29.7983 | 1.183 | 0.87232 | 0.68735 | 1.1739 | 0.94743 | 0.7533 | -5.6252e-06 | -144.8696 | 133.0893 | 0.18885 | -139.9827 | 126.5253
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.85234 | 0.13542 | -0.40784 | -0.84151 | -0.12458 | 1.9259 | 1.3484 | 1.2616 | -1.9136 | -1.3361 | -1.2493 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1825 | 0.95714 | 0.76131 | 1.1739 | 0.94743 | 0.7533 | -0.044687 | -140.0766 | 126.0936 | 0.18885 | -139.9827 | 126.5253

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 1.5018 | 1.4089 | 0.28828 | 1.5018 | 1.4089 | 3.3288 | 17.3408 | 16.2686 | 3.3288 | 17.3408 | 16.2686 | -0.96998 | 17.6007 | -0.67121 | 1.0132 | -16.4279 | 1.7034 | -3.7251 | 1.5359 | 13.3074 | 3.7742 | -0.20525 | -12.1362 | 105.2159 | -140.6985 | 28.5355 | -74.7841 | 39.3015 | -151.4645 | 1.1564 | 1.0188 | 0.81902 | 1.1739 | 0.94743 | 0.7533 | 0.62087 | -135.7114 | 121.423 | 0.18885 | -139.9827 | 126.5253
Line_1 | 0.14434 | 1.5848 | 1.5495 | 0.14434 | 1.5848 | 1.5495 | 1.6667 | 18.3001 | 17.8923 | 1.6667 | 18.3001 | 17.8923 | 0.61619 | -15.9633 | 2.8274 | -0.60535 | 17.2694 | -1.5788 | 1.8729 | -0.059496 | -11.9689 | -1.8606 | 1.5414 | 13.3855 | -71.7883 | 34.9169 | -150.2017 | 108.2117 | -145.0831 | 29.7983 | 1.183 | 0.87232 | 0.68735 | 1.1739 | 0.94743 | 0.7533 | -5.6252e-06 | -144.8696 | 133.0893 | 0.18885 | -139.9827 | 126.5253
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.85234 | 0.13542 | -0.40784 | -0.84151 | -0.12458 | 1.9259 | 1.3484 | 1.2616 | -1.9136 | -1.3361 | -1.2493 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1825 | 0.95714 | 0.76131 | 1.1739 | 0.94743 | 0.7533 | -0.044687 | -140.0766 | 126.0936 | 0.18885 | -139.9827 | 126.5253

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.4211e-14 | 23.4155 | -0.45749 | 1.6579e-14 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.0119e-13 | -150.1294 | 122.3252 | 4.4931e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 3.5527e-15 | 17.676 | -6.197 | 4.737e-15 | 7.0103 | -7.0103 | -4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.6525e-13 | -180 | 180 | 4.4931e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 2.4221e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 4.737e-15 | -1.5722e-09 | 8.3093e-10 | -4.737e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.3422e-13 | -161.1438 | 151.2099 | 4.4931e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.4211e-14 | 23.4155 | -0.45749 | 1.6579e-14 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 4.0119e-13 | -150.1294 | 122.3252 | 4.4931e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 3.5527e-15 | 17.676 | -6.197 | 4.737e-15 | 7.0103 | -7.0103 | -4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.6525e-13 | -180 | 180 | 4.4931e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 2.4221e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 4.737e-15 | -1.5722e-09 | 8.3093e-10 | -4.737e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.3422e-13 | -161.1438 | 151.2099 | 4.4931e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -9.4739e-15 | 13.7181 | 1.6719 | 1.0066e-14 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 4.1732e-29 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0674e-13 | -135.6599 | 118.3519 | 2.3754e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.0168e-29 | -10.3011 | 1.745 | 9.8193e-30 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.4597e-13 | -144.4405 | 138.2821 | 2.3754e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8964e-29 | 4.2826e-10 | 8.1277e-10 | 1.9639e-29 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.2937e-13 | -139.408 | 127.3216 | 2.3754e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -9.4739e-15 | 13.7181 | 1.6719 | 1.0066e-14 | -12.0096 | 0.036546 | -2.3685e-15 | 1.7406 | 10.8539 | 4.1732e-29 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0674e-13 | -135.6599 | 118.3519 | 2.3754e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.0168e-29 | -10.3011 | 1.745 | 9.8193e-30 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.4597e-13 | -144.4405 | 138.2821 | 2.3754e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8964e-29 | 4.2826e-10 | 8.1277e-10 | 1.9639e-29 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.2937e-13 | -139.408 | 127.3216 | 2.3754e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6361 | 0.28791 | 0.29296 | 2.6356 | 0.28788 | 0.29218 | 30.4388 | 3.3245 | 3.3828 | 30.4335 | 3.3242 | 3.3738 | 23.8455 | -0.6141 | -1.5307 | -12.054 | 1.5466 | 1.3599 | 11.8928 | -3.3159 | -3.7255 | -5.9926 | 3.1099 | 4.6735 | -44.0448 | -15.8101 | -134.3513 | 135.9723 | 164.3712 | 45.5587 | 0.87542 | 1.0144 | 1.1906 | 0.44232 | 1.0448 | 1.4427 | -17.5375 | -116.3023 | 113.3121 | -17.5935 | -132.0705 | 119.3344
Line_1 | 2.755 | 0.14434 | 0.14434 | 2.756 | 0.14394 | 0.14672 | 31.8119 | 1.6667 | 1.6667 | 31.824 | 1.662 | 1.6942 | 6.9399e-11 | 1.32 | 0.70695 | 12.4208 | -0.84943 | -0.80479 | -1.3311e-10 | 1.3617 | 2.7379 | 6.6235 | -1.5146 | -2.3079 | 134.3857 | 168.2116 | 48.2118 | -45.6625 | -12.7862 | -131.4416 | 0 | 1.1379 | 1.6966 | 0.44232 | 1.0448 | 1.4427 | 0 | -145.8969 | 123.7339 | -17.5935 | -132.0705 | 119.3344
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14287 | 0.1443 | 0.14586 | 1.6667 | 1.6667 | 1.6667 | 1.6498 | 1.6662 | 1.6842 | 0.37687 | 0.72735 | 0.54737 | -0.36682 | -0.69714 | -0.55513 | 0.65201 | 1.5991 | 2.3566 | -0.63083 | -1.5952 | -2.3656 | -77.7798 | 162.2201 | 42.2201 | 102.5838 | -18.4644 | -137.4589 | 0.45186 | 1.054 | 1.4516 | 0.44232 | 1.0448 | 1.4427 | -17.8082 | -132.2389 | 119.1439 | -17.5935 | -132.0705 | 119.3344

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6361 | 0.28791 | 0.29296 | 2.6356 | 0.28788 | 0.29218 | 30.4388 | 3.3245 | 3.3828 | 30.4335 | 3.3242 | 3.3738 | 23.8455 | -0.6141 | -1.5307 | -12.054 | 1.5466 | 1.3599 | 11.8928 | -3.3159 | -3.7255 | -5.9926 | 3.1099 | 4.6735 | -44.0448 | -15.8101 | -134.3513 | 135.9723 | 164.3712 | 45.5587 | 0.87542 | 1.0144 | 1.1906 | 0.44232 | 1.0448 | 1.4427 | -17.5375 | -116.3023 | 113.3121 | -17.5935 | -132.0705 | 119.3344
Line_1 | 2.755 | 0.14434 | 0.14434 | 2.756 | 0.14394 | 0.14672 | 31.8119 | 1.6667 | 1.6667 | 31.824 | 1.662 | 1.6942 | 6.9399e-11 | 1.32 | 0.70695 | 12.4208 | -0.84943 | -0.80479 | -1.3311e-10 | 1.3617 | 2.7379 | 6.6235 | -1.5146 | -2.3079 | 134.3857 | 168.2116 | 48.2118 | -45.6625 | -12.7862 | -131.4416 | 0 | 1.1379 | 1.6966 | 0.44232 | 1.0448 | 1.4427 | 0 | -145.8969 | 123.7339 | -17.5935 | -132.0705 | 119.3344
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14287 | 0.1443 | 0.14586 | 1.6667 | 1.6667 | 1.6667 | 1.6498 | 1.6662 | 1.6842 | 0.37687 | 0.72735 | 0.54737 | -0.36682 | -0.69714 | -0.55513 | 0.65201 | 1.5991 | 2.3566 | -0.63083 | -1.5952 | -2.3656 | -77.7798 | 162.2201 | 42.2201 | 102.5838 | -18.4644 | -137.4589 | 0.45186 | 1.054 | 1.4516 | 0.44232 | 1.0448 | 1.4427 | -17.8082 | -132.2389 | 119.1439 | -17.5935 | -132.0705 | 119.3344

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91658 | 0.28816 | 0.29014 | 0.91643 | 0.28815 | 0.28983 | 10.5837 | 3.3274 | 3.3502 | 10.582 | 3.3272 | 3.3466 | 9.3352 | -0.82875 | -1.1938 | -7.739 | 1.2303 | 1.1437 | 5.7202 | -3.5604 | -3.7301 | -5.0876 | 3.5105 | 4.1346 | -37.0906 | -15.1958 | -134.6015 | 142.9303 | 164.8768 | 45.3606 | 1.0345 | 1.0986 | 1.169 | 0.87521 | 1.118 | 1.2818 | -5.5924 | -118.2993 | 117.652 | -3.7487 | -124.4373 | 119.8978
Line_1 | 1.0295 | 0.14434 | 0.14434 | 1.0299 | 0.14419 | 0.14529 | 11.8875 | 1.6667 | 1.6667 | 11.8919 | 1.665 | 1.6776 | -6.312 | 0.90245 | 0.64577 | 8.142 | -0.70479 | -0.68098 | -5.5789 | 1.6734 | 2.2205 | 6.4833 | -1.7229 | -2.0398 | 137.7747 | 168.2117 | 48.2117 | -42.2779 | -12.189 | -131.6405 | 0.70865 | 1.1408 | 1.3875 | 0.87521 | 1.118 | 1.2818 | -0.75341 | -130.1254 | 121.996 | -3.7487 | -124.4373 | 119.8978
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14374 | 0.14433 | 0.14494 | 1.6667 | 1.6667 | 1.6667 | 1.6598 | 1.6666 | 1.6736 | 0.41194 | 0.54503 | 0.46689 | -0.40307 | -0.52555 | -0.46275 | 1.4147 | 1.7973 | 2.0996 | -1.3956 | -1.7876 | -2.0948 | -77.7798 | 162.2201 | 42.2202 | 102.3605 | -18.0544 | -137.6456 | 0.88409 | 1.1268 | 1.2905 | 0.87521 | 1.118 | 1.2818 | -4.0145 | -124.6501 | 119.6834 | -3.7487 | -124.4373 | 119.8978

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91658 | 0.28816 | 0.29014 | 0.91643 | 0.28815 | 0.28983 | 10.5837 | 3.3274 | 3.3502 | 10.582 | 3.3272 | 3.3466 | 9.3352 | -0.82875 | -1.1938 | -7.739 | 1.2303 | 1.1437 | 5.7202 | -3.5604 | -3.7301 | -5.0876 | 3.5105 | 4.1346 | -37.0906 | -15.1958 | -134.6015 | 142.9303 | 164.8768 | 45.3606 | 1.0345 | 1.0986 | 1.169 | 0.87521 | 1.118 | 1.2818 | -5.5924 | -118.2993 | 117.652 | -3.7487 | -124.4373 | 119.8978
Line_1 | 1.0295 | 0.14434 | 0.14434 | 1.0299 | 0.14419 | 0.14529 | 11.8875 | 1.6667 | 1.6667 | 11.8919 | 1.665 | 1.6776 | -6.312 | 0.90245 | 0.64577 | 8.142 | -0.70479 | -0.68098 | -5.5789 | 1.6734 | 2.2205 | 6.4833 | -1.7229 | -2.0398 | 137.7747 | 168.2117 | 48.2117 | -42.2779 | -12.189 | -131.6405 | 0.70865 | 1.1408 | 1.3875 | 0.87521 | 1.118 | 1.2818 | -0.75341 | -130.1254 | 121.996 | -3.7487 | -124.4373 | 119.8978
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14374 | 0.14433 | 0.14494 | 1.6667 | 1.6667 | 1.6667 | 1.6598 | 1.6666 | 1.6736 | 0.41194 | 0.54503 | 0.46689 | -0.40307 | -0.52555 | -0.46275 | 1.4147 | 1.7973 | 2.0996 | -1.3956 | -1.7876 | -2.0948 | -77.7798 | 162.2201 | 42.2202 | 102.3605 | -18.0544 | -137.6456 | 0.88409 | 1.1268 | 1.2905 | 0.87521 | 1.118 | 1.2818 | -4.0145 | -124.6501 | 119.6834 | -3.7487 | -124.4373 | 119.8978

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6315 | 0.0051528 | 0.0051528 | 1.6312 | 0.0042793 | 0.0042793 | 18.8385 | 0.059499 | 0.059499 | 18.8353 | 0.049413 | 0.049413 | 16.1395 | 0.052266 | -0.04736 | -8.0605 | -0.041904 | 0.040555 | 4.6749 | -0.013887 | -0.040247 | -2.3511 | 0.025268 | 0.04819 | -29.8844 | -104.8203 | -104.8203 | 150.1448 | 74.465 | 74.465 | 0.89195 | 0.90892 | 1.0446 | 0.44578 | 0.99028 | 1.2746 | -13.7305 | -119.7 | 115.5379 | -13.5943 | -136.6247 | 124.382
Line_1 | 1.6301 | 0 | 0 | 1.6307 | 0.0025613 | 0.0025613 | 18.8231 | 0 | 0 | 18.8302 | 0.029575 | 0.029575 | -2.3913e-11 | -1.1596e-09 | -3.0216e-09 | 8.0607 | 0.025191 | -0.024061 | 7.9589e-12 | -2.0915e-09 | 1.0165e-09 | 2.3422 | -0.014939 | -0.029021 | 150.2905 | 0 | 0 | -29.7969 | -105.9559 | -105.9559 | 0 | 1.1433 | 1.524 | 0.44578 | 0.99028 | 1.2746 | 0 | -149.9304 | 130.4806 | -13.5943 | -136.6247 | 124.382
Line_2 | 0 | 0 | 0 | 0.0017181 | 0.0017181 | 0.0017181 | 0 | 0 | 0 | 0.019839 | 0.019839 | 0.019839 | 8.6051e-10 | -1.1539e-10 | -1.2996e-09 | -0.00020267 | 0.016712 | -0.016494 | -3.8221e-10 | -1.0397e-09 | 3.5602e-10 | 0.0088415 | -0.010329 | -0.019169 | 0 | 0 | 0 | -104.9075 | -104.9075 | -104.9075 | 0.44568 | 0.98988 | 1.2751 | 0.44578 | 0.99028 | 1.2746 | -13.5262 | -136.6461 | 124.3672 | -13.5943 | -136.6247 | 124.382

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6315 | 0.0051528 | 0.0051528 | 1.6312 | 0.0042793 | 0.0042793 | 18.8385 | 0.059499 | 0.059499 | 18.8353 | 0.049413 | 0.049413 | 16.1395 | 0.052266 | -0.04736 | -8.0605 | -0.041904 | 0.040555 | 4.6749 | -0.013887 | -0.040247 | -2.3511 | 0.025268 | 0.04819 | -29.8844 | -104.8203 | -104.8203 | 150.1448 | 74.465 | 74.465 | 0.89195 | 0.90892 | 1.0446 | 0.44578 | 0.99028 | 1.2746 | -13.7305 | -119.7 | 115.5379 | -13.5943 | -136.6247 | 124.382
Line_1 | 1.6301 | 0 | 0 | 1.6307 | 0.0025613 | 0.0025613 | 18.8231 | 0 | 0 | 18.8302 | 0.029575 | 0.029575 | -2.3913e-11 | -1.1596e-09 | -3.0216e-09 | 8.0607 | 0.025191 | -0.024061 | 7.9589e-12 | -2.0915e-09 | 1.0165e-09 | 2.3422 | -0.014939 | -0.029021 | 150.2905 | 0 | 0 | -29.7969 | -105.9559 | -105.9559 | 0 | 1.1433 | 1.524 | 0.44578 | 0.99028 | 1.2746 | 0 | -149.9304 | 130.4806 | -13.5943 | -136.6247 | 124.382
Line_2 | 0 | 0 | 0 | 0.0017181 | 0.0017181 | 0.0017181 | 0 | 0 | 0 | 0.019839 | 0.019839 | 0.019839 | 8.6051e-10 | -1.1539e-10 | -1.2996e-09 | -0.00020267 | 0.016712 | -0.016494 | -3.8221e-10 | -1.0397e-09 | 3.5602e-10 | 0.0088415 | -0.010329 | -0.019169 | 0 | 0 | 0 | -104.9075 | -104.9075 | -104.9075 | 0.44568 | 0.98988 | 1.2751 | 0.44578 | 0.99028 | 1.2746 | -13.5262 | -136.6461 | 124.3672 | -13.5943 | -136.6247 | 124.382

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82377 | 0.0026018 | 0.0026018 | 0.82363 | 0.0021607 | 0.0021607 | 9.5121 | 0.030043 | 0.030043 | 9.5104 | 0.02495 | 0.02495 | 7.4946 | 0.028468 | -0.019621 | -5.436 | -0.023258 | 0.01647 | 4.5924 | -0.0035113 | -0.02339 | -3.9976 | 0.0062608 | 0.023266 | -37.5229 | -112.4588 | -112.4588 | 142.5063 | 66.8265 | 66.8265 | 0.92406 | 0.95477 | 1.0162 | 0.70951 | 0.96537 | 1.1425 | -6.0247 | -119.4902 | 117.5494 | -1.163 | -128.2399 | 121.5325
Line_1 | 0.8231 | 0 | 0 | 0.8234 | 0.0012933 | 0.0012933 | 9.5043 | 0 | 0 | 9.5079 | 0.014933 | 0.014933 | -3.3874 | -1.4696e-10 | -1.2874e-09 | 5.4386 | 0.013948 | -0.0097553 | -3.3874 | -1.0444e-09 | 3.86e-10 | 3.991 | -0.003645 | -0.013998 | 142.652 | 0 | 0 | -37.4354 | -113.5944 | -113.5944 | 0.50404 | 0.99859 | 1.2725 | 0.70951 | 0.96537 | 1.1425 | 7.652 | -136.5738 | 124.7454 | -1.163 | -128.2399 | 121.5325
Line_2 | 0 | 0 | 0 | 0.00086753 | 0.00086753 | 0.00086753 | 0 | 0 | 0 | 0.010017 | 0.010017 | 0.010017 | 7.5514e-10 | 8.6814e-11 | -5.995e-10 | -0.0025913 | 0.0093099 | -0.0067146 | -5.1817e-11 | -5.0762e-10 | 1.1138e-10 | 0.0066181 | -0.0026158 | -0.0092685 | 0 | 0 | 0 | -112.546 | -112.546 | -112.546 | 0.70955 | 0.96513 | 1.1427 | 0.70951 | 0.96537 | 1.1425 | -1.1413 | -128.2473 | 121.5233 | -1.163 | -128.2399 | 121.5325

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82377 | 0.0026018 | 0.0026018 | 0.82363 | 0.0021607 | 0.0021607 | 9.5121 | 0.030043 | 0.030043 | 9.5104 | 0.02495 | 0.02495 | 7.4946 | 0.028468 | -0.019621 | -5.436 | -0.023258 | 0.01647 | 4.5924 | -0.0035113 | -0.02339 | -3.9976 | 0.0062608 | 0.023266 | -37.5229 | -112.4588 | -112.4588 | 142.5063 | 66.8265 | 66.8265 | 0.92406 | 0.95477 | 1.0162 | 0.70951 | 0.96537 | 1.1425 | -6.0247 | -119.4902 | 117.5494 | -1.163 | -128.2399 | 121.5325
Line_1 | 0.8231 | 0 | 0 | 0.8234 | 0.0012933 | 0.0012933 | 9.5043 | 0 | 0 | 9.5079 | 0.014933 | 0.014933 | -3.3874 | -1.4696e-10 | -1.2874e-09 | 5.4386 | 0.013948 | -0.0097553 | -3.3874 | -1.0444e-09 | 3.86e-10 | 3.991 | -0.003645 | -0.013998 | 142.652 | 0 | 0 | -37.4354 | -113.5944 | -113.5944 | 0.50404 | 0.99859 | 1.2725 | 0.70951 | 0.96537 | 1.1425 | 7.652 | -136.5738 | 124.7454 | -1.163 | -128.2399 | 121.5325
Line_2 | 0 | 0 | 0 | 0.00086753 | 0.00086753 | 0.00086753 | 0 | 0 | 0 | 0.010017 | 0.010017 | 0.010017 | 7.5514e-10 | 8.6814e-11 | -5.995e-10 | -0.0025913 | 0.0093099 | -0.0067146 | -5.1817e-11 | -5.0762e-10 | 1.1138e-10 | 0.0066181 | -0.0026158 | -0.0092685 | 0 | 0 | 0 | -112.546 | -112.546 | -112.546 | 0.70955 | 0.96513 | 1.1427 | 0.70951 | 0.96537 | 1.1425 | -1.1413 | -128.2473 | 121.5233 | -1.163 | -128.2399 | 121.5325

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29191 | 3.7212 | 2.394 | 0.29125 | 3.7213 | 2.3936 | 3.3706 | 42.9691 | 27.6438 | 3.363 | 42.9702 | 27.6392 | -1.2083 | 30.7906 | -0.73912 | 1.6236 | -15.5877 | 0.29817 | -3.476 | 9.0362 | 16.0466 | 4.1011 | -4.6175 | -8.1221 | 104.9497 | -172.3871 | 35.4774 | -75.0159 | 7.6233 | -144.5359 | 1.0918 | 0.7468 | 0.58109 | 1.3116 | 0.37834 | 0.29406 | -4.2179 | -156.0316 | 128.1146 | -6.6145 | -155.876 | 127.5665
Line_1 | 0.14434 | 3.8529 | 2.5349 | 0.14606 | 3.8525 | 2.5362 | 1.6667 | 44.4898 | 29.2702 | 1.6865 | 44.4845 | 29.2852 | 1.1278 | 9.2076e-11 | 6.7773e-11 | -0.9175 | 16.0598 | -0.26161 | 2.2748 | -4.9801e-11 | 3.0296e-12 | -2.0127 | 5.0337 | 8.6076 | -71.7883 | 6.7485 | -144.2058 | 107.8916 | -173.279 | 35.8256 | 1.5234 | 0 | 0 | 1.3116 | 0.37834 | 0.29406 | -8.1592 | 0 | 0 | -6.6145 | -155.876 | 127.5665
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14557 | 0.14407 | 0.14339 | 1.6667 | 1.6667 | 1.6667 | 1.6809 | 1.6635 | 1.6557 | 0.7169 | 0.47993 | 0.050434 | -0.70612 | -0.47208 | -0.036555 | 2.0812 | 0.43374 | 0.50044 | -2.0884 | -0.41624 | -0.4855 | -77.7799 | 162.2203 | 42.2201 | 102.0668 | -17.2787 | -138.1276 | 1.3207 | 0.38813 | 0.30179 | 1.3116 | 0.37834 | 0.29406 | -6.787 | -155.6741 | 126.4653 | -6.6145 | -155.876 | 127.5665

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29191 | 3.7212 | 2.394 | 0.29125 | 3.7213 | 2.3936 | 3.3706 | 42.9691 | 27.6438 | 3.363 | 42.9702 | 27.6392 | -1.2083 | 30.7906 | -0.73912 | 1.6236 | -15.5877 | 0.29817 | -3.476 | 9.0362 | 16.0466 | 4.1011 | -4.6175 | -8.1221 | 104.9497 | -172.3871 | 35.4774 | -75.0159 | 7.6233 | -144.5359 | 1.0918 | 0.7468 | 0.58109 | 1.3116 | 0.37834 | 0.29406 | -4.2179 | -156.0316 | 128.1146 | -6.6145 | -155.876 | 127.5665
Line_1 | 0.14434 | 3.8529 | 2.5349 | 0.14606 | 3.8525 | 2.5362 | 1.6667 | 44.4898 | 29.2702 | 1.6865 | 44.4845 | 29.2852 | 1.1278 | 9.2076e-11 | 6.7773e-11 | -0.9175 | 16.0598 | -0.26161 | 2.2748 | -4.9801e-11 | 3.0296e-12 | -2.0127 | 5.0337 | 8.6076 | -71.7883 | 6.7485 | -144.2058 | 107.8916 | -173.279 | 35.8256 | 1.5234 | 0 | 0 | 1.3116 | 0.37834 | 0.29406 | -8.1592 | 0 | 0 | -6.6145 | -155.876 | 127.5665
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14557 | 0.14407 | 0.14339 | 1.6667 | 1.6667 | 1.6667 | 1.6809 | 1.6635 | 1.6557 | 0.7169 | 0.47993 | 0.050434 | -0.70612 | -0.47208 | -0.036555 | 2.0812 | 0.43374 | 0.50044 | -2.0884 | -0.41624 | -0.4855 | -77.7799 | 162.2203 | 42.2201 | 102.0668 | -17.2787 | -138.1276 | 1.3207 | 0.38813 | 0.30179 | 1.3116 | 0.37834 | 0.29406 | -6.787 | -155.6741 | 126.4653 | -6.6145 | -155.876 | 127.5665

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28992 | 1.1106 | 0.84396 | 0.28962 | 1.1107 | 0.84365 | 3.3477 | 12.8238 | 9.7452 | 3.3442 | 12.8256 | 9.7416 | -1.0627 | 11.5633 | 6.0457 | 1.3127 | -10.0488 | -5.6373 | -3.5951 | 6.2066 | 6.9778 | 3.8942 | -6.3733 | -5.6043 | 105.051 | -158.346 | 68.1387 | -74.9255 | 21.6687 | -111.8671 | 1.1198 | 1.0234 | 0.94739 | 1.2288 | 0.92779 | 0.81599 | -1.4161 | -130.1215 | 117.2324 | -3.5539 | -125.9469 | 112.9646
Line_1 | 0.14434 | 1.2264 | 0.97404 | 0.14511 | 1.2259 | 0.97492 | 1.6667 | 14.1611 | 11.2472 | 1.6755 | 14.1557 | 11.2574 | 0.8792 | -8.7247 | -5.6148 | -0.75719 | 10.5369 | 6.081 | 2.0352 | -7.8604 | -5.2227 | -1.9147 | 7.8399 | 6.8849 | -71.7883 | 17.4385 | -115.5939 | 108.0233 | -162.5976 | 64.4171 | 1.3302 | 0.82926 | 0.6818 | 1.2288 | 0.92779 | 0.81599 | -5.1526 | -120.5446 | 107.334 | -3.5539 | -125.9469 | 112.9646
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.1449 | 0.14428 | 0.14384 | 1.6667 | 1.6667 | 1.6667 | 1.6731 | 1.6659 | 1.6609 | 0.56776 | 0.49288 | 0.45923 | -0.5555 | -0.48812 | -0.44375 | 1.9832 | 1.4817 | 1.296 | -1.9795 | -1.4666 | -1.2806 | -77.7799 | 162.2202 | 42.2201 | 102.1214 | -17.5378 | -137.9232 | 1.2377 | 0.93691 | 0.825 | 1.2288 | 0.92779 | 0.81599 | -3.7554 | -126.1793 | 112.709 | -3.5539 | -125.9469 | 112.9646

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28992 | 1.1106 | 0.84396 | 0.28962 | 1.1107 | 0.84365 | 3.3477 | 12.8238 | 9.7452 | 3.3442 | 12.8256 | 9.7416 | -1.0627 | 11.5633 | 6.0457 | 1.3127 | -10.0488 | -5.6373 | -3.5951 | 6.2066 | 6.9778 | 3.8942 | -6.3733 | -5.6043 | 105.051 | -158.346 | 68.1387 | -74.9255 | 21.6687 | -111.8671 | 1.1198 | 1.0234 | 0.94739 | 1.2288 | 0.92779 | 0.81599 | -1.4161 | -130.1215 | 117.2324 | -3.5539 | -125.9469 | 112.9646
Line_1 | 0.14434 | 1.2264 | 0.97404 | 0.14511 | 1.2259 | 0.97492 | 1.6667 | 14.1611 | 11.2472 | 1.6755 | 14.1557 | 11.2574 | 0.8792 | -8.7247 | -5.6148 | -0.75719 | 10.5369 | 6.081 | 2.0352 | -7.8604 | -5.2227 | -1.9147 | 7.8399 | 6.8849 | -71.7883 | 17.4385 | -115.5939 | 108.0233 | -162.5976 | 64.4171 | 1.3302 | 0.82926 | 0.6818 | 1.2288 | 0.92779 | 0.81599 | -5.1526 | -120.5446 | 107.334 | -3.5539 | -125.9469 | 112.9646
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.1449 | 0.14428 | 0.14384 | 1.6667 | 1.6667 | 1.6667 | 1.6731 | 1.6659 | 1.6609 | 0.56776 | 0.49288 | 0.45923 | -0.5555 | -0.48812 | -0.44375 | 1.9832 | 1.4817 | 1.296 | -1.9795 | -1.4666 | -1.2806 | -77.7799 | 162.2202 | 42.2201 | 102.1214 | -17.5378 | -137.9232 | 1.2377 | 0.93691 | 0.825 | 1.2288 | 0.92779 | 0.81599 | -3.7554 | -126.1793 | 112.709 | -3.5539 | -125.9469 | 112.9646

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0033945 | 2.7781 | 2.0875 | 0.0028191 | 2.7784 | 2.0872 | 0.039196 | 32.0792 | 24.1048 | 0.032552 | 32.0818 | 24.1003 | 0.00028036 | 25.7367 | 3.076 | 8.2689e-05 | -12.8751 | -1.527 | -0.038381 | 2.4886 | 12.4416 | 0.038065 | -1.264 | -6.2057 | 86.3164 | -158.0202 | 41.6973 | -94.3983 | 21.9908 | -138.3145 | 0.97922 | 0.80603 | 0.53169 | 1.1694 | 0.40325 | 0.26518 | -3.2651 | -152.4972 | 117.8101 | -4.5227 | -152.4021 | 117.8622
Line_1 | 0 | 2.7796 | 2.0851 | 0.0016873 | 2.7789 | 2.0863 | 0 | 32.0962 | 24.0769 | 0.019484 | 32.0874 | 24.091 | -1.8146e-09 | -1.4916e-10 | -2.5983e-11 | 0.00011788 | 12.8778 | 1.524 | -4.6655e-10 | -1.2377e-10 | -1.4313e-10 | -0.022783 | 1.2595 | 6.2039 | 0 | 22.0429 | -138.3682 | 85.1808 | -157.9882 | 41.6637 | 1.3596 | 0 | 0 | 1.1694 | 0.40325 | 0.26518 | -5.37 | 0 | 0 | -4.5227 | -152.4021 | 117.8622
Line_2 | 0 | 0 | 0 | 0.0011319 | 0.0011319 | 0.0011319 | 0 | 0 | 0 | 0.013069 | 0.013069 | 0.013069 | -7.4003e-10 | 6.5281e-10 | 7.1324e-10 | -0.00020057 | -0.0027434 | 0.0029508 | -3.3939e-10 | -7.9151e-10 | -3.5784e-11 | -0.015282 | 0.0045 | 0.0018177 | 0 | 0 | 0 | 86.2292 | 86.2292 | 86.2292 | 1.1694 | 0.40337 | 0.26484 | 1.1694 | 0.40325 | 0.26518 | -4.5397 | -152.3546 | 117.8885 | -4.5227 | -152.4021 | 117.8622

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0033945 | 2.7781 | 2.0875 | 0.0028191 | 2.7784 | 2.0872 | 0.039196 | 32.0792 | 24.1048 | 0.032552 | 32.0818 | 24.1003 | 0.00028036 | 25.7367 | 3.076 | 8.2689e-05 | -12.8751 | -1.527 | -0.038381 | 2.4886 | 12.4416 | 0.038065 | -1.264 | -6.2057 | 86.3164 | -158.0202 | 41.6973 | -94.3983 | 21.9908 | -138.3145 | 0.97922 | 0.80603 | 0.53169 | 1.1694 | 0.40325 | 0.26518 | -3.2651 | -152.4972 | 117.8101 | -4.5227 | -152.4021 | 117.8622
Line_1 | 0 | 2.7796 | 2.0851 | 0.0016873 | 2.7789 | 2.0863 | 0 | 32.0962 | 24.0769 | 0.019484 | 32.0874 | 24.091 | -1.8146e-09 | -1.4916e-10 | -2.5983e-11 | 0.00011788 | 12.8778 | 1.524 | -4.6655e-10 | -1.2377e-10 | -1.4313e-10 | -0.022783 | 1.2595 | 6.2039 | 0 | 22.0429 | -138.3682 | 85.1808 | -157.9882 | 41.6637 | 1.3596 | 0 | 0 | 1.1694 | 0.40325 | 0.26518 | -5.37 | 0 | 0 | -4.5227 | -152.4021 | 117.8622
Line_2 | 0 | 0 | 0 | 0.0011319 | 0.0011319 | 0.0011319 | 0 | 0 | 0 | 0.013069 | 0.013069 | 0.013069 | -7.4003e-10 | 6.5281e-10 | 7.1324e-10 | -0.00020057 | -0.0027434 | 0.0029508 | -3.3939e-10 | -7.9151e-10 | -3.5784e-11 | -0.015282 | 0.0045 | 0.0018177 | 0 | 0 | 0 | 86.2292 | 86.2292 | 86.2292 | 1.1694 | 0.40337 | 0.26484 | 1.1694 | 0.40325 | 0.26518 | -4.5397 | -152.3546 | 117.8885 | -4.5227 | -152.4021 | 117.8622

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002101 | 1.0622 | 0.83662 | 0.0017449 | 1.0624 | 0.83628 | 0.024261 | 12.2658 | 9.6604 | 0.020148 | 12.2681 | 9.6565 | 0.0050614 | 9.9907 | 4.5934 | -0.0041707 | -7.8204 | -4.0373 | -0.023246 | 4.9831 | 6.5814 | 0.021625 | -5.324 | -5.0318 | 75.8793 | -157.4048 | 61.4027 | -104.8353 | 22.6113 | -118.6048 | 0.98063 | 0.91021 | 0.8308 | 1.0931 | 0.77116 | 0.66807 | -1.8374 | -130.8958 | 116.4902 | -3.9192 | -123.1423 | 112.6535
Line_1 | 0 | 1.0635 | 0.83458 | 0.0010444 | 1.0629 | 0.8356 | 0 | 12.2803 | 9.6369 | 0.012059 | 12.2729 | 9.6487 | -9.3539e-10 | -5.6552 | -3.4827 | 0.0025913 | 7.8263 | 4.0329 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012925 | 5.322 | 5.0286 | 0 | 22.6859 | -118.6333 | 74.7438 | -157.3585 | 61.3832 | 1.2067 | 0.65126 | 0.51108 | 1.0931 | 0.77116 | 0.66807 | -5.5691 | -112.3141 | 106.3667 | -3.9192 | -123.1423 | 112.6535
Line_2 | 0 | 0 | 0 | 0.00070056 | 0.00070056 | 0.00070056 | 0 | 0 | 0 | 0.0080894 | 0.0080894 | 0.0080894 | -3.826e-10 | 6.4247e-10 | 7.9328e-10 | 0.0015793 | -0.0059007 | 0.0043239 | -2.7475e-10 | -1.5462e-10 | -3.128e-10 | -0.0087004 | 0.0020242 | 0.0032419 | 0 | 0 | 0 | 75.7922 | 75.7922 | 75.7922 | 1.0931 | 0.77135 | 0.66787 | 1.0931 | 0.77116 | 0.66807 | -3.9307 | -123.134 | 112.6615 | -3.9192 | -123.1423 | 112.6535

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002101 | 1.0622 | 0.83662 | 0.0017449 | 1.0624 | 0.83628 | 0.024261 | 12.2658 | 9.6604 | 0.020148 | 12.2681 | 9.6565 | 0.0050614 | 9.9907 | 4.5934 | -0.0041707 | -7.8204 | -4.0373 | -0.023246 | 4.9831 | 6.5814 | 0.021625 | -5.324 | -5.0318 | 75.8793 | -157.4048 | 61.4027 | -104.8353 | 22.6113 | -118.6048 | 0.98063 | 0.91021 | 0.8308 | 1.0931 | 0.77116 | 0.66807 | -1.8374 | -130.8958 | 116.4902 | -3.9192 | -123.1423 | 112.6535
Line_1 | 0 | 1.0635 | 0.83458 | 0.0010444 | 1.0629 | 0.8356 | 0 | 12.2803 | 9.6369 | 0.012059 | 12.2729 | 9.6487 | -9.3539e-10 | -5.6552 | -3.4827 | 0.0025913 | 7.8263 | 4.0329 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012925 | 5.322 | 5.0286 | 0 | 22.6859 | -118.6333 | 74.7438 | -157.3585 | 61.3832 | 1.2067 | 0.65126 | 0.51108 | 1.0931 | 0.77116 | 0.66807 | -5.5691 | -112.3141 | 106.3667 | -3.9192 | -123.1423 | 112.6535
Line_2 | 0 | 0 | 0 | 0.00070056 | 0.00070056 | 0.00070056 | 0 | 0 | 0 | 0.0080894 | 0.0080894 | 0.0080894 | -3.826e-10 | 6.4247e-10 | 7.9328e-10 | 0.0015793 | -0.0059007 | 0.0043239 | -2.7475e-10 | -1.5462e-10 | -3.128e-10 | -0.0087004 | 0.0020242 | 0.0032419 | 0 | 0 | 0 | 75.7922 | 75.7922 | 75.7922 | 1.0931 | 0.77135 | 0.66787 | 1.0931 | 0.77116 | 0.66807 | -3.9307 | -123.134 | 112.6615 | -3.9192 | -123.1423 | 112.6535