## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4317 | 3.4317 | 0 | 0 | 118.879 | 118.879 | 37.6072 | -19.2354 | 42.4775 | -21.6325 | -71.5367 | 108.4633 | 0.47723 | 0.2435 | -23.0566 | -23.1798
Line_1 | 3.5753 | 3.5753 | 6.9405 | 0 | 123.8505 | 123.8505 | -1e-07 | 19.9406 | -1e-07 | 22.625 | 108.2117 | -71.7883 | 0 | 0.2435 | 0 | -23.1798
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.73779 | -0.70529 | 1.0293 | -0.99244 | -77.7798 | 102.2202 | 0.25328 | 0.2435 | -23.4119 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4317 | 3.4317 | 0 | 0 | 118.879 | 118.879 | 37.6072 | -19.2354 | 42.4775 | -21.6325 | -71.5367 | 108.4633 | 0.47723 | 0.2435 | -23.0566 | -23.1798
Line_1 | 3.5753 | 3.5753 | 6.9405 | 0 | 123.8505 | 123.8505 | -1e-07 | 19.9406 | -1e-07 | 22.625 | 108.2117 | -71.7883 | 0 | 0.2435 | 0 | -23.1798
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.73779 | -0.70529 | 1.0293 | -0.99244 | -77.7798 | 102.2202 | 0.25328 | 0.2435 | -23.4119 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0386 | 1.0386 | 0 | 0 | 35.9798 | 35.9798 | 25.8989 | -24.216 | 22.1511 | -20.2417 | -48.4565 | 131.5435 | 0.94719 | 0.8772 | -7.9164 | -8.5649
Line_1 | 1.1666 | 1.1666 | 2.3096 | 0 | 40.4134 | 40.4134 | -23.6492 | 25.7724 | -21.9332 | 24.3422 | 128.0698 | -51.9302 | 0.79811 | 0.8772 | -9.0862 | -8.5649
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.5889 | -1.5564 | 4.1374 | -4.1006 | -77.7798 | 102.2202 | 0.88641 | 0.8772 | -8.7885 | -8.5649

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0386 | 1.0386 | 0 | 0 | 35.9798 | 35.9798 | 25.8989 | -24.216 | 22.1511 | -20.2417 | -48.4565 | 131.5435 | 0.94719 | 0.8772 | -7.9164 | -8.5649
Line_1 | 1.1666 | 1.1666 | 2.3096 | 0 | 40.4134 | 40.4134 | -23.6492 | 25.7724 | -21.9332 | 24.3422 | 128.0698 | -51.9302 | 0.79811 | 0.8772 | -9.0862 | -8.5649
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.5889 | -1.5564 | 4.1374 | -4.1006 | -77.7798 | 102.2202 | 0.88641 | 0.8772 | -8.7885 | -8.5649

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 2.9836 | 2.9673 | 0.28828 | 2.9836 | 2.9673 | 3.3288 | 34.4518 | 34.2634 | 3.3288 | 34.4518 | 34.2634 | -0.96997 | 28.5871 | -10.2685 | 1.0132 | -23.9581 | 14.847 | -3.7251 | 3.1824 | 16.1938 | 3.7742 | 2.0697 | -10.9989 | 105.2158 | -158.7721 | 15.6835 | -74.7842 | 21.2279 | -164.3165 | 1.1564 | 0.8349 | 0.55963 | 1.1739 | 0.698 | 0.53927 | 0.62086 | -152.4199 | 138.0622 | 0.18885 | -163.7096 | 159.1517
Line_1 | 0.14434 | 3.0971 | 3.0971 | 0.14434 | 3.0971 | 3.0971 | 1.6667 | 35.7623 | 35.7623 | 1.6667 | 35.7623 | 35.7623 | 0.61619 | -19.9338 | 20.2419 | -0.60535 | 24.9217 | -15.2541 | 1.8729 | 7.0773 | -6.1409 | -1.8606 | -1.418 | 11.8002 | -71.7884 | 19.547 | -163.1235 | 108.2116 | -160.453 | 16.8765 | 1.183 | 0.59149 | 0.59149 | 1.1739 | 0.698 | 0.53927 | -7.9887e-06 | 180 | 180 | 0.18885 | -163.7096 | 159.1517
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.97448 | -0.39625 | -0.40784 | -0.96365 | 0.40709 | 1.9259 | 0.664 | 0.8136 | -1.9136 | -0.6517 | -0.80131 | -77.78 | 162.2203 | 42.2201 | 102.22 | -17.7797 | -137.7799 | 1.1825 | 0.70752 | 0.54298 | 1.1739 | 0.698 | 0.53927 | -0.044689 | -163.5098 | 158.1877 | 0.18885 | -163.7096 | 159.1517

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 2.9836 | 2.9673 | 0.28828 | 2.9836 | 2.9673 | 3.3288 | 34.4518 | 34.2634 | 3.3288 | 34.4518 | 34.2634 | -0.96997 | 28.5871 | -10.2685 | 1.0132 | -23.9581 | 14.847 | -3.7251 | 3.1824 | 16.1938 | 3.7742 | 2.0697 | -10.9989 | 105.2158 | -158.7721 | 15.6835 | -74.7842 | 21.2279 | -164.3165 | 1.1564 | 0.8349 | 0.55963 | 1.1739 | 0.698 | 0.53927 | 0.62086 | -152.4199 | 138.0622 | 0.18885 | -163.7096 | 159.1517
Line_1 | 0.14434 | 3.0971 | 3.0971 | 0.14434 | 3.0971 | 3.0971 | 1.6667 | 35.7623 | 35.7623 | 1.6667 | 35.7623 | 35.7623 | 0.61619 | -19.9338 | 20.2419 | -0.60535 | 24.9217 | -15.2541 | 1.8729 | 7.0773 | -6.1409 | -1.8606 | -1.418 | 11.8002 | -71.7884 | 19.547 | -163.1235 | 108.2116 | -160.453 | 16.8765 | 1.183 | 0.59149 | 0.59149 | 1.1739 | 0.698 | 0.53927 | -7.9887e-06 | 180 | 180 | 0.18885 | -163.7096 | 159.1517
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.97448 | -0.39625 | -0.40784 | -0.96365 | 0.40709 | 1.9259 | 0.664 | 0.8136 | -1.9136 | -0.6517 | -0.80131 | -77.78 | 162.2203 | 42.2201 | 102.22 | -17.7797 | -137.7799 | 1.1825 | 0.70752 | 0.54298 | 1.1739 | 0.698 | 0.53927 | -0.044689 | -163.5098 | 158.1877 | 0.18885 | -163.7096 | 159.1517

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 1.5018 | 1.4089 | 0.28828 | 1.5018 | 1.4089 | 3.3288 | 17.3408 | 16.2686 | 3.3288 | 17.3408 | 16.2686 | -0.96998 | 17.6007 | -0.67121 | 1.0132 | -16.4279 | 1.7034 | -3.7251 | 1.5359 | 13.3074 | 3.7742 | -0.20525 | -12.1362 | 105.2159 | -140.6985 | 28.5355 | -74.7841 | 39.3015 | -151.4645 | 1.1564 | 1.0188 | 0.81902 | 1.1739 | 0.94743 | 0.7533 | 0.62087 | -135.7114 | 121.423 | 0.18885 | -139.9827 | 126.5253
Line_1 | 0.14434 | 1.5848 | 1.5495 | 0.14434 | 1.5848 | 1.5495 | 1.6667 | 18.3001 | 17.8923 | 1.6667 | 18.3001 | 17.8923 | 0.61619 | -15.9633 | 2.8274 | -0.60535 | 17.2694 | -1.5788 | 1.8729 | -0.059496 | -11.9689 | -1.8606 | 1.5414 | 13.3855 | -71.7883 | 34.9169 | -150.2017 | 108.2117 | -145.0831 | 29.7983 | 1.183 | 0.87232 | 0.68735 | 1.1739 | 0.94743 | 0.7533 | -5.6252e-06 | -144.8696 | 133.0893 | 0.18885 | -139.9827 | 126.5253
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.85234 | 0.13542 | -0.40784 | -0.84151 | -0.12458 | 1.9259 | 1.3484 | 1.2616 | -1.9136 | -1.3361 | -1.2493 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1825 | 0.95714 | 0.76131 | 1.1739 | 0.94743 | 0.7533 | -0.044687 | -140.0766 | 126.0936 | 0.18885 | -139.9827 | 126.5253

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 1.5018 | 1.4089 | 0.28828 | 1.5018 | 1.4089 | 3.3288 | 17.3408 | 16.2686 | 3.3288 | 17.3408 | 16.2686 | -0.96998 | 17.6007 | -0.67121 | 1.0132 | -16.4279 | 1.7034 | -3.7251 | 1.5359 | 13.3074 | 3.7742 | -0.20525 | -12.1362 | 105.2159 | -140.6985 | 28.5355 | -74.7841 | 39.3015 | -151.4645 | 1.1564 | 1.0188 | 0.81902 | 1.1739 | 0.94743 | 0.7533 | 0.62087 | -135.7114 | 121.423 | 0.18885 | -139.9827 | 126.5253
Line_1 | 0.14434 | 1.5848 | 1.5495 | 0.14434 | 1.5848 | 1.5495 | 1.6667 | 18.3001 | 17.8923 | 1.6667 | 18.3001 | 17.8923 | 0.61619 | -15.9633 | 2.8274 | -0.60535 | 17.2694 | -1.5788 | 1.8729 | -0.059496 | -11.9689 | -1.8606 | 1.5414 | 13.3855 | -71.7883 | 34.9169 | -150.2017 | 108.2117 | -145.0831 | 29.7983 | 1.183 | 0.87232 | 0.68735 | 1.1739 | 0.94743 | 0.7533 | -5.6252e-06 | -144.8696 | 133.0893 | 0.18885 | -139.9827 | 126.5253
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.85234 | 0.13542 | -0.40784 | -0.84151 | -0.12458 | 1.9259 | 1.3484 | 1.2616 | -1.9136 | -1.3361 | -1.2493 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1825 | 0.95714 | 0.76131 | 1.1739 | 0.94743 | 0.7533 | -0.044687 | -140.0766 | 126.0936 | 0.18885 | -139.9827 | 126.5253

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.8948e-14 | 23.4155 | -0.45749 | 1.8948e-14 | -17.676 | 6.197 | 2.3685e-15 | -0.22679 | 13.7937 | -2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 7.1552e-13 | -150.1294 | 122.3252 | 7.5004e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -9.2932e-29 | -11.9365 | 11.9365 | 2.3685e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 7.4937e-13 | -180 | 180 | 7.5004e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 7.1054e-15 | -1.5722e-09 | 8.3093e-10 | -7.1054e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.3536e-13 | -161.1438 | 151.2099 | 7.5004e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.8948e-14 | 23.4155 | -0.45749 | 1.8948e-14 | -17.676 | 6.197 | 2.3685e-15 | -0.22679 | 13.7937 | -2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 7.1552e-13 | -150.1294 | 122.3252 | 7.5004e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -9.2932e-29 | -11.9365 | 11.9365 | 2.3685e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 7.4937e-13 | -180 | 180 | 7.5004e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 7.1054e-15 | -1.5722e-09 | 8.3093e-10 | -7.1054e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.3536e-13 | -161.1438 | 151.2099 | 7.5004e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.4211e-14 | 13.7181 | 1.6719 | 1.3619e-14 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 4.0225e-13 | -135.6599 | 118.3519 | 4.2311e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.7764e-15 | -10.3011 | 1.745 | -2.9606e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 4.2167e-13 | -144.4405 | 138.2821 | 4.2311e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2827e-10 | 8.1276e-10 | -1.7764e-15 | -4.2826e-10 | -8.1277e-10 | 4.2908e-30 | -9.7051e-10 | 3.0453e-10 | -1.3118e-29 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 4.1519e-13 | -139.408 | 127.3216 | 4.2311e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.4211e-14 | 13.7181 | 1.6719 | 1.3619e-14 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 4.0225e-13 | -135.6599 | 118.3519 | 4.2311e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.7764e-15 | -10.3011 | 1.745 | -2.9606e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 4.2167e-13 | -144.4405 | 138.2821 | 4.2311e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2827e-10 | 8.1276e-10 | -1.7764e-15 | -4.2826e-10 | -8.1277e-10 | 4.2908e-30 | -9.7051e-10 | 3.0453e-10 | -1.3118e-29 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 4.1519e-13 | -139.408 | 127.3216 | 4.2311e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38377 | 0.29368 | 0.2982 | 0.37886 | 0.29168 | 0.29503 | 4.4314 | 3.3911 | 3.4433 | 4.3747 | 3.368 | 3.4068 | 0.71146 | -3.6352 | 1.3787 | -0.35609 | 3.8811 | -1.3073 | 0.40027 | -5.2648 | -5.8027 | -0.21277 | 5.0562 | 5.983 | -85.1684 | -17.5405 | -132.5846 | 94.8038 | 163.3388 | 46.6884 | 0.18421 | 1.8866 | 1.7321 | 0.094824 | 1.8925 | 1.7977 | -55.8063 | -142.1646 | 150.7809 | -54.337 | -144.1713 | 149.0135
Line_1 | 0.51224 | 0.14434 | 0.14434 | 0.51732 | 0.14572 | 0.14799 | 5.9149 | 1.6667 | 1.6667 | 5.9735 | 1.6826 | 1.7089 | 2.3419e-12 | 2.1998 | -0.50894 | 0.49638 | -2.0659 | 0.50247 | -1.3552e-12 | 2.2577 | 3.0519 | 0.27284 | -2.4233 | -3.0306 | 96.9053 | 168.2117 | 48.2118 | -83.133 | -13.7226 | -130.4005 | 0 | 1.8913 | 1.8564 | 0.094824 | 1.8925 | 1.7977 | 0 | -146.0439 | 147.6794 | -54.337 | -144.1713 | 149.0135
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.13938 | 0.14634 | 0.14742 | 1.6667 | 1.6667 | 1.6667 | 1.6094 | 1.6898 | 1.7023 | 0.15444 | 1.8832 | -0.85441 | -0.14029 | -1.8152 | 0.80479 | 0.07481 | 2.5504 | 2.882 | -0.060071 | -2.6329 | -2.9525 | -77.7798 | 162.2201 | 42.2202 | 102.4827 | -19.5875 | -136.2338 | 0.10296 | 1.9022 | 1.8036 | 0.094824 | 1.8925 | 1.7977 | -51.9341 | -144.2227 | 148.7335 | -54.337 | -144.1713 | 149.0135

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38377 | 0.29368 | 0.2982 | 0.37886 | 0.29168 | 0.29503 | 4.4314 | 3.3911 | 3.4433 | 4.3747 | 3.368 | 3.4068 | 0.71146 | -3.6352 | 1.3787 | -0.35609 | 3.8811 | -1.3073 | 0.40027 | -5.2648 | -5.8027 | -0.21277 | 5.0562 | 5.983 | -85.1684 | -17.5405 | -132.5846 | 94.8038 | 163.3388 | 46.6884 | 0.18421 | 1.8866 | 1.7321 | 0.094824 | 1.8925 | 1.7977 | -55.8063 | -142.1646 | 150.7809 | -54.337 | -144.1713 | 149.0135
Line_1 | 0.51224 | 0.14434 | 0.14434 | 0.51732 | 0.14572 | 0.14799 | 5.9149 | 1.6667 | 1.6667 | 5.9735 | 1.6826 | 1.7089 | 2.3419e-12 | 2.1998 | -0.50894 | 0.49638 | -2.0659 | 0.50247 | -1.3552e-12 | 2.2577 | 3.0519 | 0.27284 | -2.4233 | -3.0306 | 96.9053 | 168.2117 | 48.2118 | -83.133 | -13.7226 | -130.4005 | 0 | 1.8913 | 1.8564 | 0.094824 | 1.8925 | 1.7977 | 0 | -146.0439 | 147.6794 | -54.337 | -144.1713 | 149.0135
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.13938 | 0.14634 | 0.14742 | 1.6667 | 1.6667 | 1.6667 | 1.6094 | 1.6898 | 1.7023 | 0.15444 | 1.8832 | -0.85441 | -0.14029 | -1.8152 | 0.80479 | 0.07481 | 2.5504 | 2.882 | -0.060071 | -2.6329 | -2.9525 | -77.7798 | 162.2201 | 42.2202 | 102.4827 | -19.5875 | -136.2338 | 0.10296 | 1.9022 | 1.8036 | 0.094824 | 1.8925 | 1.7977 | -51.9341 | -144.2227 | 148.7335 | -54.337 | -144.1713 | 149.0135

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23118 | 0.29401 | 0.29452 | 0.22739 | 0.29197 | 0.29255 | 2.6695 | 3.3949 | 3.4008 | 2.6257 | 3.3714 | 3.3781 | 0.95562 | -2.8764 | 1.0329 | -0.78279 | 3.0891 | -0.99738 | 0.68245 | -5.2338 | -4.9699 | -0.6119 | 5.1044 | 5.1437 | -68.3552 | -16.7752 | -132.8553 | 111.7432 | 163.8553 | 46.5074 | 0.43989 | 1.7591 | 1.4926 | 0.3784 | 1.7697 | 1.551 | -32.8228 | -135.568 | 148.886 | -30.2426 | -137.3263 | 147.4812
Line_1 | 0.36273 | 0.14434 | 0.14434 | 0.36665 | 0.14596 | 0.14671 | 4.1884 | 1.6667 | 1.6667 | 4.2337 | 1.6854 | 1.6941 | -0.91941 | 1.7833 | -0.38504 | 1.1968 | -1.673 | 0.36707 | -0.91986 | 2.3552 | 2.6424 | 1.065 | -2.4692 | -2.6018 | 108.1623 | 168.2117 | 48.2117 | -71.906 | -13.2065 | -130.5493 | 0.31051 | 1.7725 | 1.6022 | 0.3784 | 1.7697 | 1.551 | -26.8236 | -138.9206 | 146.5022 | -30.2426 | -137.3263 | 147.4812
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14046 | 0.1464 | 0.14623 | 1.6667 | 1.6667 | 1.6667 | 1.6219 | 1.6905 | 1.6885 | 0.43558 | 1.4662 | -0.66945 | -0.41402 | -1.4161 | 0.63031 | 0.47711 | 2.5776 | 2.5072 | -0.45306 | -2.6352 | -2.5419 | -77.7798 | 162.2201 | 42.2202 | 102.1799 | -19.074 | -136.4455 | 0.38762 | 1.7792 | 1.557 | 0.3784 | 1.7697 | 1.551 | -30.1746 | -137.4126 | 147.1697 | -30.2426 | -137.3263 | 147.4812

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23118 | 0.29401 | 0.29452 | 0.22739 | 0.29197 | 0.29255 | 2.6695 | 3.3949 | 3.4008 | 2.6257 | 3.3714 | 3.3781 | 0.95562 | -2.8764 | 1.0329 | -0.78279 | 3.0891 | -0.99738 | 0.68245 | -5.2338 | -4.9699 | -0.6119 | 5.1044 | 5.1437 | -68.3552 | -16.7752 | -132.8553 | 111.7432 | 163.8553 | 46.5074 | 0.43989 | 1.7591 | 1.4926 | 0.3784 | 1.7697 | 1.551 | -32.8228 | -135.568 | 148.886 | -30.2426 | -137.3263 | 147.4812
Line_1 | 0.36273 | 0.14434 | 0.14434 | 0.36665 | 0.14596 | 0.14671 | 4.1884 | 1.6667 | 1.6667 | 4.2337 | 1.6854 | 1.6941 | -0.91941 | 1.7833 | -0.38504 | 1.1968 | -1.673 | 0.36707 | -0.91986 | 2.3552 | 2.6424 | 1.065 | -2.4692 | -2.6018 | 108.1623 | 168.2117 | 48.2117 | -71.906 | -13.2065 | -130.5493 | 0.31051 | 1.7725 | 1.6022 | 0.3784 | 1.7697 | 1.551 | -26.8236 | -138.9206 | 146.5022 | -30.2426 | -137.3263 | 147.4812
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14046 | 0.1464 | 0.14623 | 1.6667 | 1.6667 | 1.6667 | 1.6219 | 1.6905 | 1.6885 | 0.43558 | 1.4662 | -0.66945 | -0.41402 | -1.4161 | 0.63031 | 0.47711 | 2.5776 | 2.5072 | -0.45306 | -2.6352 | -2.5419 | -77.7798 | 162.2201 | 42.2202 | 102.1799 | -19.074 | -136.4455 | 0.38762 | 1.7792 | 1.557 | 0.3784 | 1.7697 | 1.551 | -30.1746 | -137.4126 | 147.1697 | -30.2426 | -137.3263 | 147.4812

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54583 | 0.012324 | 0.012324 | 0.54183 | 0.0083183 | 0.0083183 | 6.3027 | 0.14231 | 0.14231 | 6.2565 | 0.096051 | 0.096051 | 1.8132 | 0.12595 | -0.11757 | -0.88399 | -0.08005 | 0.085067 | 0.52129 | -0.19656 | -0.15843 | -0.25729 | 0.13285 | 0.11251 | -72.7837 | -81.1016 | -81.1016 | 107.2492 | 97.025 | 97.025 | 0.29934 | 1.6404 | 1.3864 | 0.14716 | 1.6148 | 1.4685 | -56.7438 | -138.4517 | 152.3191 | -56.5228 | -141.9045 | 149.9322
Line_1 | 0.53364 | 0 | 0 | 0.53776 | 0.0042128 | 0.0042128 | 6.162 | 0 | 0 | 6.2095 | 0.048646 | 0.048646 | -5.134e-12 | -4.0526e-09 | -3.7769e-09 | 0.87764 | 0.042569 | -0.04133 | -1.8783e-12 | -2.4995e-09 | 2.6587e-09 | 0.25438 | -0.066021 | -0.058264 | 107.4077 | 0 | 0 | -72.6865 | -84.7174 | -84.7174 | 0 | 1.5965 | 1.5487 | 0.14716 | 1.6148 | 1.4685 | 0 | -145.2755 | 147.9168 | -56.5228 | -141.9045 | 149.9322
Line_2 | 0 | 0 | 0 | 0.0041094 | 0.0041094 | 0.0041094 | 0 | 0 | 0 | 0.047451 | 0.047451 | 0.047451 | 2.1792e-10 | -4.0664e-09 | -3.2466e-09 | 0.0063455 | 0.037481 | -0.043737 | -4.4563e-10 | -2.2126e-09 | 2.6859e-09 | 0.002914 | -0.066833 | -0.054244 | 0 | 0 | 0 | -81.1887 | -81.1887 | -81.1887 | 0.1459 | 1.6145 | 1.4695 | 0.14716 | 1.6148 | 1.4685 | -56.4089 | -141.9481 | 149.9002 | -56.5228 | -141.9045 | 149.9322

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54583 | 0.012324 | 0.012324 | 0.54183 | 0.0083183 | 0.0083183 | 6.3027 | 0.14231 | 0.14231 | 6.2565 | 0.096051 | 0.096051 | 1.8132 | 0.12595 | -0.11757 | -0.88399 | -0.08005 | 0.085067 | 0.52129 | -0.19656 | -0.15843 | -0.25729 | 0.13285 | 0.11251 | -72.7837 | -81.1016 | -81.1016 | 107.2492 | 97.025 | 97.025 | 0.29934 | 1.6404 | 1.3864 | 0.14716 | 1.6148 | 1.4685 | -56.7438 | -138.4517 | 152.3191 | -56.5228 | -141.9045 | 149.9322
Line_1 | 0.53364 | 0 | 0 | 0.53776 | 0.0042128 | 0.0042128 | 6.162 | 0 | 0 | 6.2095 | 0.048646 | 0.048646 | -5.134e-12 | -4.0526e-09 | -3.7769e-09 | 0.87764 | 0.042569 | -0.04133 | -1.8783e-12 | -2.4995e-09 | 2.6587e-09 | 0.25438 | -0.066021 | -0.058264 | 107.4077 | 0 | 0 | -72.6865 | -84.7174 | -84.7174 | 0 | 1.5965 | 1.5487 | 0.14716 | 1.6148 | 1.4685 | 0 | -145.2755 | 147.9168 | -56.5228 | -141.9045 | 149.9322
Line_2 | 0 | 0 | 0 | 0.0041094 | 0.0041094 | 0.0041094 | 0 | 0 | 0 | 0.047451 | 0.047451 | 0.047451 | 2.1792e-10 | -4.0664e-09 | -3.2466e-09 | 0.0063455 | 0.037481 | -0.043737 | -4.4563e-10 | -2.2126e-09 | 2.6859e-09 | 0.002914 | -0.066833 | -0.054244 | 0 | 0 | 0 | -81.1887 | -81.1887 | -81.1887 | 0.1459 | 1.6145 | 1.4695 | 0.14716 | 1.6148 | 1.4685 | -56.4089 | -141.9481 | 149.9002 | -56.5228 | -141.9045 | 149.9322

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42037 | 0.0094914 | 0.0094914 | 0.41728 | 0.0064062 | 0.0064062 | 4.854 | 0.1096 | 0.1096 | 4.8183 | 0.073973 | 0.073973 | 1.9363 | 0.085702 | -0.097139 | -1.3794 | -0.055459 | 0.06901 | 1.1759 | -0.14187 | -0.090849 | -1.0124 | 0.095617 | 0.065231 | -66.0896 | -74.4075 | -74.4075 | 113.9433 | 103.7191 | 103.7191 | 0.46671 | 1.5124 | 1.2136 | 0.35511 | 1.4943 | 1.2837 | -34.8208 | -133.2725 | 148.6761 | -29.7791 | -136.1668 | 147.1064
Line_1 | 0.41098 | 0 | 0 | 0.41415 | 0.0032445 | 0.0032445 | 4.7455 | 0 | 0 | 4.7822 | 0.037464 | 0.037464 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 1.3702 | 0.029547 | -0.03393 | -0.84451 | -1.7657e-09 | 2.1549e-09 | 1.0033 | -0.047549 | -0.034084 | 114.1018 | 0 | 0 | -65.9925 | -78.0233 | -78.0233 | 0.25167 | 1.4811 | 1.3513 | 0.35511 | 1.4943 | 1.2837 | -20.8982 | -138.975 | 145.7805 | -29.7791 | -136.1668 | 147.1064
Line_2 | 0 | 0 | 0 | 0.0031648 | 0.0031648 | 0.0031648 | 0 | 0 | 0 | 0.036544 | 0.036544 | 0.036544 | 6.6825e-10 | -2.9237e-09 | -1.8569e-09 | 0.0092217 | 0.025912 | -0.03508 | -6.4345e-10 | -1.5286e-09 | 2.1445e-09 | 0.0091306 | -0.048067 | -0.031147 | 0 | 0 | 0 | -74.4946 | -74.4946 | -74.4946 | 0.35428 | 1.494 | 1.2846 | 0.35511 | 1.4943 | 1.2837 | -29.6915 | -136.2033 | 147.0843 | -29.7791 | -136.1668 | 147.1064

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42037 | 0.0094914 | 0.0094914 | 0.41728 | 0.0064062 | 0.0064062 | 4.854 | 0.1096 | 0.1096 | 4.8183 | 0.073973 | 0.073973 | 1.9363 | 0.085702 | -0.097139 | -1.3794 | -0.055459 | 0.06901 | 1.1759 | -0.14187 | -0.090849 | -1.0124 | 0.095617 | 0.065231 | -66.0896 | -74.4075 | -74.4075 | 113.9433 | 103.7191 | 103.7191 | 0.46671 | 1.5124 | 1.2136 | 0.35511 | 1.4943 | 1.2837 | -34.8208 | -133.2725 | 148.6761 | -29.7791 | -136.1668 | 147.1064
Line_1 | 0.41098 | 0 | 0 | 0.41415 | 0.0032445 | 0.0032445 | 4.7455 | 0 | 0 | 4.7822 | 0.037464 | 0.037464 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 1.3702 | 0.029547 | -0.03393 | -0.84451 | -1.7657e-09 | 2.1549e-09 | 1.0033 | -0.047549 | -0.034084 | 114.1018 | 0 | 0 | -65.9925 | -78.0233 | -78.0233 | 0.25167 | 1.4811 | 1.3513 | 0.35511 | 1.4943 | 1.2837 | -20.8982 | -138.975 | 145.7805 | -29.7791 | -136.1668 | 147.1064
Line_2 | 0 | 0 | 0 | 0.0031648 | 0.0031648 | 0.0031648 | 0 | 0 | 0 | 0.036544 | 0.036544 | 0.036544 | 6.6825e-10 | -2.9237e-09 | -1.8569e-09 | 0.0092217 | 0.025912 | -0.03508 | -6.4345e-10 | -1.5286e-09 | 2.1445e-09 | 0.0091306 | -0.048067 | -0.031147 | 0 | 0 | 0 | -74.4946 | -74.4946 | -74.4946 | 0.35428 | 1.494 | 1.2846 | 0.35511 | 1.4943 | 1.2837 | -29.6915 | -136.2033 | 147.0843 | -29.7791 | -136.1668 | 147.1064

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29634 | 2.9475 | 2.997 | 0.29368 | 2.948 | 2.9964 | 3.4219 | 34.0347 | 34.6065 | 3.3912 | 34.041 | 34.5994 | -1.1763 | 9.6074 | 9.2641 | 1.3394 | -4.9666 | -4.6826 | -5.5746 | 7.9567 | 13.3383 | 5.5926 | -4.0445 | -6.8009 | 104.9092 | -162.3244 | 19.2379 | -75.0105 | 17.7269 | -160.8122 | 1.665 | 0.36652 | 0.46927 | 1.6958 | 0.18816 | 0.23865 | 2.9939 | -122.6934 | 74.4561 | 1.5214 | -123.116 | 74.6393
Line_1 | 0.14434 | 3.0679 | 3.1281 | 0.14702 | 3.0673 | 3.129 | 1.6667 | 35.4254 | 36.1204 | 1.6976 | 35.4176 | 36.1303 | 0.87986 | 5.0401e-11 | 3.9318e-11 | -0.81232 | 5.0543 | 5.0112 | 2.7254 | -1.5434e-11 | 3.2226e-11 | -2.7618 | 4.3433 | 7.0166 | -71.7884 | 16.2609 | -159.875 | 107.9114 | -163.7895 | 20.1735 | 1.7183 | 0 | 0 | 1.6958 | 0.18816 | 0.23865 | 0.31929 | 0 | 0 | 1.5214 | -123.116 | 74.6393
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14705 | 0.14334 | 0.14266 | 1.6667 | 1.6667 | 1.6667 | 1.698 | 1.6552 | 1.6473 | 0.53629 | 0.093234 | 0.34636 | -0.52704 | -0.087684 | -0.32864 | 2.7897 | 0.31529 | 0.22477 | -2.8308 | -0.29884 | -0.21574 | -77.78 | 162.2203 | 42.2201 | 102.0682 | -16.7632 | -138.6446 | 1.7045 | 0.19727 | 0.24774 | 1.6958 | 0.18816 | 0.23865 | 1.3382 | -124.2529 | 75.2016 | 1.5214 | -123.116 | 74.6393

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29634 | 2.9475 | 2.997 | 0.29368 | 2.948 | 2.9964 | 3.4219 | 34.0347 | 34.6065 | 3.3912 | 34.041 | 34.5994 | -1.1763 | 9.6074 | 9.2641 | 1.3394 | -4.9666 | -4.6826 | -5.5746 | 7.9567 | 13.3383 | 5.5926 | -4.0445 | -6.8009 | 104.9092 | -162.3244 | 19.2379 | -75.0105 | 17.7269 | -160.8122 | 1.665 | 0.36652 | 0.46927 | 1.6958 | 0.18816 | 0.23865 | 2.9939 | -122.6934 | 74.4561 | 1.5214 | -123.116 | 74.6393
Line_1 | 0.14434 | 3.0679 | 3.1281 | 0.14702 | 3.0673 | 3.129 | 1.6667 | 35.4254 | 36.1204 | 1.6976 | 35.4176 | 36.1303 | 0.87986 | 5.0401e-11 | 3.9318e-11 | -0.81232 | 5.0543 | 5.0112 | 2.7254 | -1.5434e-11 | 3.2226e-11 | -2.7618 | 4.3433 | 7.0166 | -71.7884 | 16.2609 | -159.875 | 107.9114 | -163.7895 | 20.1735 | 1.7183 | 0 | 0 | 1.6958 | 0.18816 | 0.23865 | 0.31929 | 0 | 0 | 1.5214 | -123.116 | 74.6393
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14705 | 0.14334 | 0.14266 | 1.6667 | 1.6667 | 1.6667 | 1.698 | 1.6552 | 1.6473 | 0.53629 | 0.093234 | 0.34636 | -0.52704 | -0.087684 | -0.32864 | 2.7897 | 0.31529 | 0.22477 | -2.8308 | -0.29884 | -0.21574 | -77.78 | 162.2203 | 42.2201 | 102.0682 | -16.7632 | -138.6446 | 1.7045 | 0.19727 | 0.24774 | 1.6958 | 0.18816 | 0.23865 | 1.3382 | -124.2529 | 75.2016 | 1.5214 | -123.116 | 74.6393

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29536 | 0.88805 | 0.91118 | 0.29303 | 0.88918 | 0.90998 | 3.4105 | 10.2543 | 10.5213 | 3.3837 | 10.2674 | 10.5076 | -1.0174 | 6.5081 | 6.4891 | 1.1593 | -6.1782 | -5.9601 | -5.3307 | 3.9638 | 7.1596 | 5.3648 | -3.8023 | -6.3556 | 105.0799 | -139.3896 | 42.453 | -74.8924 | 40.7418 | -137.6731 | 1.5912 | 0.74312 | 0.91839 | 1.6221 | 0.70655 | 0.82921 | 4.2742 | -108.0461 | 90.2654 | 2.9142 | -107.6487 | 89.1663
Line_1 | 0.14434 | 0.9744 | 1.0517 | 0.14671 | 0.97334 | 1.053 | 1.6667 | 11.2514 | 12.1436 | 1.6941 | 11.2392 | 12.1594 | 0.77304 | -5.7417 | -6.2038 | -0.71698 | 6.1927 | 6.8812 | 2.6297 | -4.7384 | -6.3656 | -2.6527 | 4.971 | 7.3695 | -71.7883 | 33.7242 | -137.9044 | 108.0388 | -146.4033 | 42.2038 | 1.6446 | 0.66165 | 0.73196 | 1.6221 | 0.70655 | 0.82921 | 1.8305 | -106.7445 | 87.8327 | 2.9142 | -107.6487 | 89.1663
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14671 | 0.14326 | 0.14307 | 1.6667 | 1.6667 | 1.6667 | 1.694 | 1.6543 | 1.652 | 0.44865 | 0.0076246 | 0.95419 | -0.44228 | -0.014526 | -0.92114 | 2.6804 | 1.1903 | 1.0215 | -2.7121 | -1.1687 | -1.0139 | -77.7799 | 162.2202 | 42.2202 | 102.1764 | -16.9366 | -138.5794 | 1.6306 | 0.71421 | 0.83869 | 1.6221 | 0.70655 | 0.82921 | 2.7181 | -108.1468 | 89.1709 | 2.9142 | -107.6487 | 89.1663

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29536 | 0.88805 | 0.91118 | 0.29303 | 0.88918 | 0.90998 | 3.4105 | 10.2543 | 10.5213 | 3.3837 | 10.2674 | 10.5076 | -1.0174 | 6.5081 | 6.4891 | 1.1593 | -6.1782 | -5.9601 | -5.3307 | 3.9638 | 7.1596 | 5.3648 | -3.8023 | -6.3556 | 105.0799 | -139.3896 | 42.453 | -74.8924 | 40.7418 | -137.6731 | 1.5912 | 0.74312 | 0.91839 | 1.6221 | 0.70655 | 0.82921 | 4.2742 | -108.0461 | 90.2654 | 2.9142 | -107.6487 | 89.1663
Line_1 | 0.14434 | 0.9744 | 1.0517 | 0.14671 | 0.97334 | 1.053 | 1.6667 | 11.2514 | 12.1436 | 1.6941 | 11.2392 | 12.1594 | 0.77304 | -5.7417 | -6.2038 | -0.71698 | 6.1927 | 6.8812 | 2.6297 | -4.7384 | -6.3656 | -2.6527 | 4.971 | 7.3695 | -71.7883 | 33.7242 | -137.9044 | 108.0388 | -146.4033 | 42.2038 | 1.6446 | 0.66165 | 0.73196 | 1.6221 | 0.70655 | 0.82921 | 1.8305 | -106.7445 | 87.8327 | 2.9142 | -107.6487 | 89.1663
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14671 | 0.14326 | 0.14307 | 1.6667 | 1.6667 | 1.6667 | 1.694 | 1.6543 | 1.652 | 0.44865 | 0.0076246 | 0.95419 | -0.44228 | -0.014526 | -0.92114 | 2.6804 | 1.1903 | 1.0215 | -2.7121 | -1.1687 | -1.0139 | -77.7799 | 162.2202 | 42.2202 | 102.1764 | -16.9366 | -138.5794 | 1.6306 | 0.71421 | 0.83869 | 1.6221 | 0.70655 | 0.82921 | 2.7181 | -108.1468 | 89.1709 | 2.9142 | -107.6487 | 89.1663

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067988 | 2.3631 | 2.4414 | 0.0045888 | 2.3637 | 2.4406 | 0.078505 | 27.2868 | 28.191 | 0.052987 | 27.2936 | 28.1812 | -0.0056588 | 10.9949 | 12.4365 | 0.0041949 | -5.5057 | -6.2017 | -0.11045 | 3.6558 | 10.021 | 0.075559 | -1.8619 | -4.9752 | 97.526 | -153.1855 | 33.9207 | -84.3475 | 26.8663 | -146.1274 | 1.4088 | 0.42463 | 0.56655 | 1.4282 | 0.21294 | 0.28213 | 4.5931 | -134.7935 | 72.7816 | 2.4748 | -134.4497 | 72.6103
Line_1 | 0 | 2.3654 | 2.4384 | 0.002324 | 2.3645 | 2.4396 | 0 | 27.3129 | 28.1562 | 0.026836 | 27.3024 | 28.1695 | -2.3827e-09 | -1.3245e-10 | -5.2444e-12 | -0.00096001 | 5.5091 | 6.195 | 4.845e-11 | -9.5123e-11 | -1.6965e-10 | -0.038314 | 1.8575 | 4.9783 | 0 | 26.9699 | -146.2224 | 93.9102 | -153.0819 | 33.825 | 1.4486 | 0 | 0 | 1.4282 | 0.21294 | 0.28213 | 0.52263 | 0 | 0 | 2.4748 | -134.4497 | 72.6103
Line_2 | 0 | 0 | 0 | 0.002267 | 0.002267 | 0.002267 | 0 | 0 | 0 | 0.026177 | 0.026177 | 0.026177 | -2.2484e-09 | 5.9104e-10 | 4.071e-10 | -0.0032349 | -0.0034403 | 0.0067026 | 2.2363e-10 | -1.9286e-10 | -7.6085e-10 | -0.037245 | 0.0043858 | -0.0031011 | 0 | 0 | 0 | 97.4388 | 97.4388 | 97.4388 | 1.4284 | 0.21326 | 0.28156 | 1.4282 | 0.21294 | 0.28213 | 2.4475 | -134.2786 | 72.5242 | 2.4748 | -134.4497 | 72.6103

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067988 | 2.3631 | 2.4414 | 0.0045888 | 2.3637 | 2.4406 | 0.078505 | 27.2868 | 28.191 | 0.052987 | 27.2936 | 28.1812 | -0.0056588 | 10.9949 | 12.4365 | 0.0041949 | -5.5057 | -6.2017 | -0.11045 | 3.6558 | 10.021 | 0.075559 | -1.8619 | -4.9752 | 97.526 | -153.1855 | 33.9207 | -84.3475 | 26.8663 | -146.1274 | 1.4088 | 0.42463 | 0.56655 | 1.4282 | 0.21294 | 0.28213 | 4.5931 | -134.7935 | 72.7816 | 2.4748 | -134.4497 | 72.6103
Line_1 | 0 | 2.3654 | 2.4384 | 0.002324 | 2.3645 | 2.4396 | 0 | 27.3129 | 28.1562 | 0.026836 | 27.3024 | 28.1695 | -2.3827e-09 | -1.3245e-10 | -5.2444e-12 | -0.00096001 | 5.5091 | 6.195 | 4.845e-11 | -9.5123e-11 | -1.6965e-10 | -0.038314 | 1.8575 | 4.9783 | 0 | 26.9699 | -146.2224 | 93.9102 | -153.0819 | 33.825 | 1.4486 | 0 | 0 | 1.4282 | 0.21294 | 0.28213 | 0.52263 | 0 | 0 | 2.4748 | -134.4497 | 72.6103
Line_2 | 0 | 0 | 0 | 0.002267 | 0.002267 | 0.002267 | 0 | 0 | 0 | 0.026177 | 0.026177 | 0.026177 | -2.2484e-09 | 5.9104e-10 | 4.071e-10 | -0.0032349 | -0.0034403 | 0.0067026 | 2.2363e-10 | -1.9286e-10 | -7.6085e-10 | -0.037245 | 0.0043858 | -0.0031011 | 0 | 0 | 0 | 97.4388 | 97.4388 | 97.4388 | 1.4284 | 0.21326 | 0.28156 | 1.4282 | 0.21294 | 0.28213 | 2.4475 | -134.2786 | 72.5242 | 2.4748 | -134.4497 | 72.6103

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0058559 | 0.86086 | 0.94908 | 0.0039524 | 0.86137 | 0.94808 | 0.067618 | 9.9403 | 10.959 | 0.045639 | 9.9463 | 10.9475 | -0.010442 | 5.1187 | 6.6411 | 0.0071378 | -4.4166 | -5.5551 | -0.090382 | 3.6917 | 6.4883 | 0.061887 | -3.7195 | -5.4682 | 101.8384 | -148.738 | 47.1627 | -80.0351 | 31.3844 | -132.9358 | 1.3455 | 0.6349 | 0.8472 | 1.365 | 0.58053 | 0.71202 | 5.2481 | -112.9388 | 91.4961 | 3.3857 | -108.5131 | 91.6126
Line_1 | 0 | 0.86282 | 0.9457 | 0.0020017 | 0.86203 | 0.94695 | 0 | 9.963 | 10.92 | 0.023114 | 9.9539 | 10.9345 | -1.957e-09 | -3.7223 | -4.4718 | -0.0026603 | 4.4279 | 5.5393 | 1.4811e-10 | -3.7223 | -4.4718 | -0.031438 | 3.7129 | 5.471 | 0 | 31.6287 | -133.1268 | 98.2225 | -148.4934 | 46.9678 | 1.3849 | 0.52837 | 0.57912 | 1.365 | 0.58053 | 0.71202 | 1.6715 | -103.3713 | 91.8732 | 3.3857 | -108.5131 | 91.6126
Line_2 | 0 | 0 | 0 | 0.0019526 | 0.0019526 | 0.0019526 | 0 | 0 | 0 | 0.022546 | 0.022546 | 0.022546 | -1.8367e-09 | 8.4965e-10 | 4.3864e-10 | -0.0044775 | -0.011305 | 0.015803 | 2.9351e-10 | 4.2571e-10 | -1.241e-09 | -0.030448 | 0.0065967 | -0.0028259 | 0 | 0 | 0 | 101.7512 | 101.7512 | 101.7512 | 1.3652 | 0.58099 | 0.71145 | 1.365 | 0.58053 | 0.71202 | 3.3615 | -108.4727 | 91.5942 | 3.3857 | -108.5131 | 91.6126

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0058559 | 0.86086 | 0.94908 | 0.0039524 | 0.86137 | 0.94808 | 0.067618 | 9.9403 | 10.959 | 0.045639 | 9.9463 | 10.9475 | -0.010442 | 5.1187 | 6.6411 | 0.0071378 | -4.4166 | -5.5551 | -0.090382 | 3.6917 | 6.4883 | 0.061887 | -3.7195 | -5.4682 | 101.8384 | -148.738 | 47.1627 | -80.0351 | 31.3844 | -132.9358 | 1.3455 | 0.6349 | 0.8472 | 1.365 | 0.58053 | 0.71202 | 5.2481 | -112.9388 | 91.4961 | 3.3857 | -108.5131 | 91.6126
Line_1 | 0 | 0.86282 | 0.9457 | 0.0020017 | 0.86203 | 0.94695 | 0 | 9.963 | 10.92 | 0.023114 | 9.9539 | 10.9345 | -1.957e-09 | -3.7223 | -4.4718 | -0.0026603 | 4.4279 | 5.5393 | 1.4811e-10 | -3.7223 | -4.4718 | -0.031438 | 3.7129 | 5.471 | 0 | 31.6287 | -133.1268 | 98.2225 | -148.4934 | 46.9678 | 1.3849 | 0.52837 | 0.57912 | 1.365 | 0.58053 | 0.71202 | 1.6715 | -103.3713 | 91.8732 | 3.3857 | -108.5131 | 91.6126
Line_2 | 0 | 0 | 0 | 0.0019526 | 0.0019526 | 0.0019526 | 0 | 0 | 0 | 0.022546 | 0.022546 | 0.022546 | -1.8367e-09 | 8.4965e-10 | 4.3864e-10 | -0.0044775 | -0.011305 | 0.015803 | 2.9351e-10 | 4.2571e-10 | -1.241e-09 | -0.030448 | 0.0065967 | -0.0028259 | 0 | 0 | 0 | 101.7512 | 101.7512 | 101.7512 | 1.3652 | 0.58099 | 0.71145 | 1.365 | 0.58053 | 0.71202 | 3.3615 | -108.4727 | 91.5942 | 3.3857 | -108.5131 | 91.6126