## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6901 | 3.6901 | 0 | 0 | 127.8288 | 127.8288 | 35.6918 | -14.4496 | 40.4738 | -16.372 | -73.4333 | 106.5667 | 0.42215 | 0.17083 | -24.8408 | -24.8643
Line_1 | 2.5081 | 2.5081 | 5.0234 | 0 | 86.8848 | 86.8848 | -1e-07 | 9.8137 | -1e-07 | 11.1347 | 106.5272 | -73.4728 | 0 | 0.17083 | 0 | -24.8643
Line_2 | 1.182 | 1.182 | 0 | 0 | 40.9441 | 40.9441 | -2.4566 | 4.6359 | -2.7645 | 5.2372 | 106.6503 | -73.3497 | 0.090325 | 0.17083 | -24.974 | -24.8643
Line_3 | 1.3262 | 1.3262 | 2.6137 | 0 | 45.941 | 45.941 | -1e-07 | 2.7437 | -1e-07 | 3.1131 | 106.4175 | -73.5825 | 0 | 0.090325 | 0 | -24.974

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6901 | 3.6901 | 0 | 0 | 127.8288 | 127.8288 | 35.6918 | -14.4496 | 40.4738 | -16.372 | -73.4333 | 106.5667 | 0.42215 | 0.17083 | -24.8408 | -24.8643
Line_1 | 2.5081 | 2.5081 | 5.0234 | 0 | 86.8848 | 86.8848 | -1e-07 | 9.8137 | -1e-07 | 11.1347 | 106.5272 | -73.4728 | 0 | 0.17083 | 0 | -24.8643
Line_2 | 1.182 | 1.182 | 0 | 0 | 40.9441 | 40.9441 | -2.4566 | 4.6359 | -2.7645 | 5.2372 | 106.6503 | -73.3497 | 0.090325 | 0.17083 | -24.974 | -24.8643
Line_3 | 1.3262 | 1.3262 | 2.6137 | 0 | 45.941 | 45.941 | -1e-07 | 2.7437 | -1e-07 | 3.1131 | 106.4175 | -73.5825 | 0 | 0.090325 | 0 | -24.974

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0704 | 1.0704 | 0 | 0 | 37.0799 | 37.0799 | 26.4613 | -24.6739 | 22.7852 | -20.7572 | -48.8653 | 131.1347 | 0.94173 | 0.86958 | -8.1343 | -8.7926
Line_1 | 0.75692 | 0.75692 | 1.5653 | 0 | 26.2205 | 26.2205 | -16.1288 | 17.0226 | -14.1551 | 15.1692 | 129.5024 | -50.4976 | 0.81842 | 0.86958 | -9.2264 | -8.7926
Line_2 | 0.31453 | 0.31453 | 0 | 0 | 10.8957 | 10.8957 | -7.497 | 7.6513 | -5.4129 | 5.588 | 135.0654 | -44.9346 | 0.84867 | 0.86958 | -9.1048 | -8.7926
Line_3 | 0.44492 | 0.44492 | 0.87717 | 0 | 15.4124 | 15.4124 | -8.888 | 9.1968 | -8.9505 | 9.3009 | 125.5729 | -54.4271 | 0.81842 | 0.84867 | -9.2264 | -9.1048

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0704 | 1.0704 | 0 | 0 | 37.0799 | 37.0799 | 26.4613 | -24.6739 | 22.7852 | -20.7572 | -48.8653 | 131.1347 | 0.94173 | 0.86958 | -8.1343 | -8.7926
Line_1 | 0.75692 | 0.75692 | 1.5653 | 0 | 26.2205 | 26.2205 | -16.1288 | 17.0226 | -14.1551 | 15.1692 | 129.5024 | -50.4976 | 0.81842 | 0.86958 | -9.2264 | -8.7926
Line_2 | 0.31453 | 0.31453 | 0 | 0 | 10.8957 | 10.8957 | -7.497 | 7.6513 | -5.4129 | 5.588 | 135.0654 | -44.9346 | 0.84867 | 0.86958 | -9.1048 | -8.7926
Line_3 | 0.44492 | 0.44492 | 0.87717 | 0 | 15.4124 | 15.4124 | -8.888 | 9.1968 | -8.9505 | 9.3009 | 125.5729 | -54.4271 | 0.81842 | 0.84867 | -9.2264 | -9.1048

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 3.2017 | 3.1963 | 0.28863 | 3.2017 | 3.1963 | 3.3328 | 36.9696 | 36.9076 | 3.3328 | 36.9696 | 36.9076 | -0.98869 | 29.6567 | -12.3052 | 1.032 | -24.3264 | 17.6176 | -3.7251 | 2.9364 | 15.4379 | 3.7742 | 3.1115 | -9.4103 | 105.4999 | -160.8503 | 13.9793 | -74.5001 | 19.1497 | -166.0207 | 1.1564 | 0.80612 | 0.5349 | 1.174 | 0.66337 | 0.54117 | 0.63546 | -155.1957 | 142.5367 | 0.20698 | -168.1391 | 165.8707
Line_1 | 0.14432 | 2.1742 | 2.1724 | 0.14432 | 2.1742 | 2.1724 | 1.6664 | 25.1055 | 25.0852 | 1.6664 | 25.1055 | 25.0852 | 0.5377 | -14.0868 | 14.3557 | -0.52687 | 16.5449 | -11.9015 | 1.8964 | 4.694 | -3.7458 | -1.8841 | -1.905 | 6.5303 | -74.1703 | 18.429 | -165.3761 | 105.8297 | -161.571 | 14.6239 | 1.1829 | 0.59144 | 0.59144 | 1.174 | 0.66337 | 0.54117 | -8.1967e-06 | 180 | 180 | 0.20698 | -168.1391 | 165.8707
Line_2 | 0.14432 | 1.028 | 1.0243 | 0.14432 | 1.028 | 1.0243 | 1.6664 | 11.8703 | 11.8274 | 1.6664 | 11.8703 | 11.8274 | 0.51597 | -7.2319 | 6.2616 | -0.50514 | 7.7815 | -5.7161 | 1.9024 | 1.83 | -2.261 | -1.8901 | -1.2065 | 2.88 | -74.8299 | 20.6741 | -167.3881 | 105.1701 | -159.3259 | 12.6119 | 1.1828 | 0.62845 | 0.56288 | 1.174 | 0.66337 | 0.54117 | -0.0049392 | -173.526 | 172.7575 | 0.20698 | -168.1391 | 165.8707
Line_3 | 0.0016614 | 1.1477 | 1.1494 | 0.0016614 | 1.1477 | 1.1494 | 0.019184 | 13.2524 | 13.2716 | 0.019184 | 13.2524 | 13.2716 | 0.021867 | -7.5184 | 7.5293 | -0.021866 | 8.2033 | -6.8424 | -0.0060645 | 2.2154 | -2.2184 | 0.0060661 | -1.4382 | 2.9978 | 15.5005 | 16.4182 | -163.5831 | -164.4995 | -163.5818 | 16.4169 | 1.1829 | 0.59144 | 0.59144 | 1.1828 | 0.62845 | 0.56288 | -8.1967e-06 | 180 | 180 | -0.0049392 | -173.526 | 172.7575

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 3.2017 | 3.1963 | 0.28863 | 3.2017 | 3.1963 | 3.3328 | 36.9696 | 36.9076 | 3.3328 | 36.9696 | 36.9076 | -0.98869 | 29.6567 | -12.3052 | 1.032 | -24.3264 | 17.6176 | -3.7251 | 2.9364 | 15.4379 | 3.7742 | 3.1115 | -9.4103 | 105.4999 | -160.8503 | 13.9793 | -74.5001 | 19.1497 | -166.0207 | 1.1564 | 0.80612 | 0.5349 | 1.174 | 0.66337 | 0.54117 | 0.63546 | -155.1957 | 142.5367 | 0.20698 | -168.1391 | 165.8707
Line_1 | 0.14432 | 2.1742 | 2.1724 | 0.14432 | 2.1742 | 2.1724 | 1.6664 | 25.1055 | 25.0852 | 1.6664 | 25.1055 | 25.0852 | 0.5377 | -14.0868 | 14.3557 | -0.52687 | 16.5449 | -11.9015 | 1.8964 | 4.694 | -3.7458 | -1.8841 | -1.905 | 6.5303 | -74.1703 | 18.429 | -165.3761 | 105.8297 | -161.571 | 14.6239 | 1.1829 | 0.59144 | 0.59144 | 1.174 | 0.66337 | 0.54117 | -8.1967e-06 | 180 | 180 | 0.20698 | -168.1391 | 165.8707
Line_2 | 0.14432 | 1.028 | 1.0243 | 0.14432 | 1.028 | 1.0243 | 1.6664 | 11.8703 | 11.8274 | 1.6664 | 11.8703 | 11.8274 | 0.51597 | -7.2319 | 6.2616 | -0.50514 | 7.7815 | -5.7161 | 1.9024 | 1.83 | -2.261 | -1.8901 | -1.2065 | 2.88 | -74.8299 | 20.6741 | -167.3881 | 105.1701 | -159.3259 | 12.6119 | 1.1828 | 0.62845 | 0.56288 | 1.174 | 0.66337 | 0.54117 | -0.0049392 | -173.526 | 172.7575 | 0.20698 | -168.1391 | 165.8707
Line_3 | 0.0016614 | 1.1477 | 1.1494 | 0.0016614 | 1.1477 | 1.1494 | 0.019184 | 13.2524 | 13.2716 | 0.019184 | 13.2524 | 13.2716 | 0.021867 | -7.5184 | 7.5293 | -0.021866 | 8.2033 | -6.8424 | -0.0060645 | 2.2154 | -2.2184 | 0.0060661 | -1.4382 | 2.9978 | 15.5005 | 16.4182 | -163.5831 | -164.4995 | -163.5818 | 16.4169 | 1.1829 | 0.59144 | 0.59144 | 1.1828 | 0.62845 | 0.56288 | -8.1967e-06 | 180 | 180 | -0.0049392 | -173.526 | 172.7575

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 1.5625 | 1.4738 | 0.28863 | 1.5625 | 1.4738 | 3.3328 | 18.0425 | 17.0177 | 3.3328 | 18.0425 | 17.0177 | -0.9887 | 18.2059 | -0.84143 | 1.032 | -16.9363 | 1.9709 | -3.7251 | 1.63 | 13.6956 | 3.7742 | -0.18948 | -12.4142 | 105.4999 | -141.4756 | 28.1405 | -74.5001 | 38.5244 | -151.8595 | 1.1564 | 1.0131 | 0.80631 | 1.174 | 0.93875 | 0.73862 | 0.63546 | -136.3596 | 121.6562 | 0.20698 | -140.8346 | 127.1615
Line_1 | 0.14432 | 1.0707 | 1.0288 | 0.14432 | 1.0707 | 1.0288 | 1.6664 | 12.363 | 11.8792 | 1.6664 | 12.363 | 11.8792 | 0.5377 | -10.9965 | 1.8118 | -0.52687 | 11.5926 | -1.2614 | 1.8964 | 0.12462 | -8.0586 | -1.8842 | 0.55171 | 8.6831 | -74.1703 | 36.4406 | -151.1043 | 105.8297 | -143.5594 | 28.8957 | 1.1829 | 0.88953 | 0.69532 | 1.174 | 0.93875 | 0.73862 | -5.8121e-06 | -144.2086 | 131.5665 | 0.20698 | -140.8346 | 127.1615
Line_2 | 0.14432 | 0.49411 | 0.4453 | 0.14432 | 0.49411 | 0.4453 | 1.6664 | 5.7055 | 5.1419 | 1.6664 | 5.7055 | 5.1419 | 0.51598 | -5.2168 | 0.81256 | -0.50515 | 5.3437 | -0.70945 | 1.9024 | 0.50628 | -3.6141 | -1.8901 | -0.36224 | 3.7311 | -74.8299 | 43.0434 | -153.6046 | 105.1701 | -136.9566 | 26.3954 | 1.1828 | 0.91864 | 0.72041 | 1.174 | 0.93875 | 0.73862 | -0.0049368 | -142.4997 | 129.0667 | 0.20698 | -140.8346 | 127.1615
Line_3 | 0.0016614 | 0.58261 | 0.58421 | 0.0016614 | 0.58261 | 0.58421 | 0.019184 | 6.7274 | 6.7459 | 0.019184 | 6.7274 | 6.7459 | 0.021867 | -5.9619 | 0.87613 | -0.021866 | 6.1384 | -0.69865 | -0.0060644 | -0.51605 | -4.608 | 0.006066 | 0.71631 | 4.8094 | 15.5003 | 30.8443 | -149.1988 | -164.4997 | -149.1557 | 30.8012 | 1.1829 | 0.88953 | 0.69532 | 1.1828 | 0.91864 | 0.72041 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0049368 | -142.4997 | 129.0667

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28863 | 1.5625 | 1.4738 | 0.28863 | 1.5625 | 1.4738 | 3.3328 | 18.0425 | 17.0177 | 3.3328 | 18.0425 | 17.0177 | -0.9887 | 18.2059 | -0.84143 | 1.032 | -16.9363 | 1.9709 | -3.7251 | 1.63 | 13.6956 | 3.7742 | -0.18948 | -12.4142 | 105.4999 | -141.4756 | 28.1405 | -74.5001 | 38.5244 | -151.8595 | 1.1564 | 1.0131 | 0.80631 | 1.174 | 0.93875 | 0.73862 | 0.63546 | -136.3596 | 121.6562 | 0.20698 | -140.8346 | 127.1615
Line_1 | 0.14432 | 1.0707 | 1.0288 | 0.14432 | 1.0707 | 1.0288 | 1.6664 | 12.363 | 11.8792 | 1.6664 | 12.363 | 11.8792 | 0.5377 | -10.9965 | 1.8118 | -0.52687 | 11.5926 | -1.2614 | 1.8964 | 0.12462 | -8.0586 | -1.8842 | 0.55171 | 8.6831 | -74.1703 | 36.4406 | -151.1043 | 105.8297 | -143.5594 | 28.8957 | 1.1829 | 0.88953 | 0.69532 | 1.174 | 0.93875 | 0.73862 | -5.8121e-06 | -144.2086 | 131.5665 | 0.20698 | -140.8346 | 127.1615
Line_2 | 0.14432 | 0.49411 | 0.4453 | 0.14432 | 0.49411 | 0.4453 | 1.6664 | 5.7055 | 5.1419 | 1.6664 | 5.7055 | 5.1419 | 0.51598 | -5.2168 | 0.81256 | -0.50515 | 5.3437 | -0.70945 | 1.9024 | 0.50628 | -3.6141 | -1.8901 | -0.36224 | 3.7311 | -74.8299 | 43.0434 | -153.6046 | 105.1701 | -136.9566 | 26.3954 | 1.1828 | 0.91864 | 0.72041 | 1.174 | 0.93875 | 0.73862 | -0.0049368 | -142.4997 | 129.0667 | 0.20698 | -140.8346 | 127.1615
Line_3 | 0.0016614 | 0.58261 | 0.58421 | 0.0016614 | 0.58261 | 0.58421 | 0.019184 | 6.7274 | 6.7459 | 0.019184 | 6.7274 | 6.7459 | 0.021867 | -5.9619 | 0.87613 | -0.021866 | 6.1384 | -0.69865 | -0.0060644 | -0.51605 | -4.608 | 0.006066 | 0.71631 | 4.8094 | 15.5003 | 30.8443 | -149.1988 | -164.4997 | -149.1557 | 30.8012 | 1.1829 | 0.88953 | 0.69532 | 1.1828 | 0.91864 | 0.72041 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0049368 | -142.4997 | 129.0667

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 2.8422e-14 | 24.6317 | -2.0295 | -2.8422e-14 | -17.851 | 8.8102 | -1.6579e-14 | -0.29866 | 13.6553 | 1.6579e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.0053e-13 | -153.068 | 126.0805 | 3.7042e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.5395e-14 | -8.8871 | 8.8871 | 1.5395e-14 | 11.9007 | -5.8735 | 9.4739e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.3989e-13 | -180 | 180 | 3.7042e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -8.2897e-15 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | -4.737e-15 | 1.8804 | -2.7709 | 6.8905e-29 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.3888e-13 | -172.2653 | 170.7242 | 3.7042e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -4.737e-15 | -4.4435 | 4.4435 | 7.1054e-15 | 5.1969 | -3.6901 | 9.4739e-15 | 2.3257 | -2.3257 | -1.4211e-14 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.3989e-13 | -180 | 180 | 3.3888e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 2.8422e-14 | 24.6317 | -2.0295 | -2.8422e-14 | -17.851 | 8.8102 | -1.6579e-14 | -0.29866 | 13.6553 | 1.6579e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.0053e-13 | -153.068 | 126.0805 | 3.7042e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.5395e-14 | -8.8871 | 8.8871 | 1.5395e-14 | 11.9007 | -5.8735 | 9.4739e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.3989e-13 | -180 | 180 | 3.7042e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -8.2897e-15 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | -4.737e-15 | 1.8804 | -2.7709 | 6.8905e-29 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.3888e-13 | -172.2653 | 170.7242 | 3.7042e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -4.737e-15 | -4.4435 | 4.4435 | 7.1054e-15 | 5.1969 | -3.6901 | 9.4739e-15 | 2.3257 | -2.3257 | -1.4211e-14 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.3989e-13 | -180 | 180 | 3.3888e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.4803e-14 | 14.2512 | 1.4266 | -1.4803e-14 | -12.3717 | 0.45296 | -9.4739e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.9755e-13 | -136.4258 | 118.7019 | 1.795e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.125e-14 | -7.4125 | 1.1373 | 1.2434e-14 | 8.2478 | -0.30197 | 9.4739e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.6214e-13 | -143.7605 | 136.2873 | 1.795e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.125e-14 | -3.9151 | 0.35982 | 9.4739e-15 | 4.1239 | -0.15099 | 9.4739e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.6103e-13 | -141.9705 | 132.2872 | 1.795e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 0 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 0 | -0.018396 | -3.1192 | 1.6642e-30 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.6214e-13 | -143.7605 | 136.2873 | 1.6103e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.4803e-14 | 14.2512 | 1.4266 | -1.4803e-14 | -12.3717 | 0.45296 | -9.4739e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.9755e-13 | -136.4258 | 118.7019 | 1.795e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.125e-14 | -7.4125 | 1.1373 | 1.2434e-14 | 8.2478 | -0.30197 | 9.4739e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.6214e-13 | -143.7605 | 136.2873 | 1.795e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.125e-14 | -3.9151 | 0.35982 | 9.4739e-15 | 4.1239 | -0.15099 | 9.4739e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.6103e-13 | -141.9705 | 132.2872 | 1.795e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 0 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 0 | -0.018396 | -3.1192 | 1.6642e-30 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.6214e-13 | -143.7605 | 136.2873 | 1.6103e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9323 | 0.28798 | 0.2968 | 2.9316 | 0.28786 | 0.29585 | 33.8591 | 3.3253 | 3.4272 | 33.8509 | 3.3239 | 3.4162 | 24.2807 | -0.61275 | -1.5066 | -9.7578 | 1.6248 | 1.3843 | 12.3608 | -3.3972 | -3.7473 | -4.9772 | 3.1081 | 4.8193 | -48.2444 | -16.2811 | -133.7687 | 131.7732 | 163.9447 | 46.1088 | 0.80469 | 1.0381 | 1.1785 | 0.32359 | 1.0551 | 1.4677 | -21.2648 | -116.5054 | 114.3293 | -21.2018 | -133.6546 | 120.083
Line_1 | 1.9955 | 0.14415 | 0.14562 | 1.9967 | 0.14389 | 0.14804 | 23.0417 | 1.6644 | 1.6815 | 23.0559 | 1.6615 | 1.7094 | 9.1014e-11 | 1.1765 | 0.63739 | 6.6101 | -0.82006 | -0.70658 | -8.6246e-11 | 1.4317 | 2.7222 | 3.4596 | -1.5494 | -2.4074 | 131.2379 | 165.2736 | 46.0436 | -48.8286 | -15.7638 | -133.5595 | 0 | 1.1133 | 1.6627 | 0.32359 | 1.0551 | 1.4677 | 0 | -144.1393 | 122.8654 | -21.2018 | -133.6546 | 120.083
Line_2 | 0.93417 | 0.14414 | 0.14571 | 0.93523 | 0.14398 | 0.14782 | 10.7869 | 1.6644 | 1.6825 | 10.7991 | 1.6625 | 1.7069 | -1.62 | 1.0004 | 0.63588 | 3.1477 | -0.80475 | -0.67767 | -0.77584 | 1.502 | 2.563 | 1.5176 | -1.5586 | -2.4119 | 133.1848 | 164.5744 | 45.4007 | -46.9421 | -16.3467 | -134.2234 | 0.16652 | 1.0843 | 1.5695 | 0.32359 | 1.0551 | 1.4677 | -21.2251 | -139.0917 | 121.467 | -21.2018 | -133.6546 | 120.083
Line_3 | 1.0617 | 0.0030661 | 0.0017087 | 1.0631 | 0.00025628 | 0.0026386 | 12.2591 | 0.035404 | 0.01973 | 12.2753 | 0.0029593 | 0.030468 | 4.9724e-11 | 0.031719 | 0.015354 | 1.7821 | -0.00028887 | -0.045507 | -4.4473e-11 | -0.023401 | -0.02899 | 1.0011 | 0.0031957 | -0.014692 | 129.5876 | -107.7208 | -175.0419 | -50.5506 | 125.7431 | -76.4256 | 0 | 1.1133 | 1.6627 | 0.16652 | 1.0843 | 1.5695 | 0 | -144.1393 | 122.8654 | -21.2251 | -139.0917 | 121.467

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9323 | 0.28798 | 0.2968 | 2.9316 | 0.28786 | 0.29585 | 33.8591 | 3.3253 | 3.4272 | 33.8509 | 3.3239 | 3.4162 | 24.2807 | -0.61275 | -1.5066 | -9.7578 | 1.6248 | 1.3843 | 12.3608 | -3.3972 | -3.7473 | -4.9772 | 3.1081 | 4.8193 | -48.2444 | -16.2811 | -133.7687 | 131.7732 | 163.9447 | 46.1088 | 0.80469 | 1.0381 | 1.1785 | 0.32359 | 1.0551 | 1.4677 | -21.2648 | -116.5054 | 114.3293 | -21.2018 | -133.6546 | 120.083
Line_1 | 1.9955 | 0.14415 | 0.14562 | 1.9967 | 0.14389 | 0.14804 | 23.0417 | 1.6644 | 1.6815 | 23.0559 | 1.6615 | 1.7094 | 9.1014e-11 | 1.1765 | 0.63739 | 6.6101 | -0.82006 | -0.70658 | -8.6246e-11 | 1.4317 | 2.7222 | 3.4596 | -1.5494 | -2.4074 | 131.2379 | 165.2736 | 46.0436 | -48.8286 | -15.7638 | -133.5595 | 0 | 1.1133 | 1.6627 | 0.32359 | 1.0551 | 1.4677 | 0 | -144.1393 | 122.8654 | -21.2018 | -133.6546 | 120.083
Line_2 | 0.93417 | 0.14414 | 0.14571 | 0.93523 | 0.14398 | 0.14782 | 10.7869 | 1.6644 | 1.6825 | 10.7991 | 1.6625 | 1.7069 | -1.62 | 1.0004 | 0.63588 | 3.1477 | -0.80475 | -0.67767 | -0.77584 | 1.502 | 2.563 | 1.5176 | -1.5586 | -2.4119 | 133.1848 | 164.5744 | 45.4007 | -46.9421 | -16.3467 | -134.2234 | 0.16652 | 1.0843 | 1.5695 | 0.32359 | 1.0551 | 1.4677 | -21.2251 | -139.0917 | 121.467 | -21.2018 | -133.6546 | 120.083
Line_3 | 1.0617 | 0.0030661 | 0.0017087 | 1.0631 | 0.00025628 | 0.0026386 | 12.2591 | 0.035404 | 0.01973 | 12.2753 | 0.0029593 | 0.030468 | 4.9724e-11 | 0.031719 | 0.015354 | 1.7821 | -0.00028887 | -0.045507 | -4.4473e-11 | -0.023401 | -0.02899 | 1.0011 | 0.0031957 | -0.014692 | 129.5876 | -107.7208 | -175.0419 | -50.5506 | 125.7431 | -76.4256 | 0 | 1.1133 | 1.6627 | 0.16652 | 1.0843 | 1.5695 | 0 | -144.1393 | 122.8654 | -21.2251 | -139.0917 | 121.467

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95875 | 0.28855 | 0.29162 | 0.95852 | 0.28849 | 0.29128 | 11.0707 | 3.3319 | 3.3674 | 11.0681 | 3.3312 | 3.3634 | 9.4374 | -0.85233 | -1.1847 | -7.6966 | 1.2674 | 1.1418 | 6.1186 | -3.5999 | -3.743 | -5.4108 | 3.5357 | 4.1678 | -39.2303 | -15.1735 | -134.184 | 140.7914 | 164.9112 | 45.7645 | 1.0159 | 1.1103 | 1.1659 | 0.85004 | 1.1275 | 1.2848 | -6.2738 | -118.4938 | 118.2531 | -4.1009 | -124.81 | 120.4436
Line_1 | 0.6778 | 0.14428 | 0.1448 | 0.67821 | 0.14423 | 0.14568 | 7.8266 | 1.666 | 1.672 | 7.8313 | 1.6654 | 1.6822 | -4.4557 | 0.7882 | 0.55693 | 5.2828 | -0.64338 | -0.58313 | -3.6687 | 1.7345 | 2.2077 | 4.0504 | -1.7642 | -2.0812 | 138.4977 | 165.6188 | 45.9222 | -41.5787 | -14.7737 | -133.904 | 0.73744 | 1.1436 | 1.3618 | 0.85004 | 1.1275 | 1.2848 | -2.0355 | -128.8193 | 121.7637 | -4.1009 | -124.81 | 120.4436
Line_2 | 0.28204 | 0.14428 | 0.14483 | 0.28229 | 0.14426 | 0.1456 | 3.2567 | 1.666 | 1.6724 | 3.2596 | 1.6658 | 1.6813 | -2.2494 | 0.70687 | 0.54655 | 2.4138 | -0.62407 | -0.55869 | -1.3021 | 1.7616 | 2.1521 | 1.3604 | -1.7715 | -2.0867 | 146.6637 | 164.9442 | 45.2698 | -33.5066 | -15.4039 | -134.5672 | 0.79809 | 1.1393 | 1.3277 | 0.85004 | 1.1275 | 1.2848 | -3.2714 | -126.9192 | 121.0199 | -4.1009 | -124.81 | 120.4436
Line_3 | 0.40039 | 0.0021932 | 0.0015028 | 0.40092 | 0.0010933 | 0.001978 | 4.6233 | 0.025325 | 0.017353 | 4.6294 | 0.012624 | 0.022839 | -2.4047 | 0.026572 | 0.019985 | 2.6557 | -0.013081 | -0.030323 | -2.4169 | -0.011517 | -0.012611 | 2.5687 | 0.0059817 | -0.00029526 | 132.8203 | -105.3867 | 154.0171 | -47.3179 | 77.6549 | -59.538 | 0.73744 | 1.1436 | 1.3618 | 0.79809 | 1.1393 | 1.3277 | -2.0355 | -128.8193 | 121.7637 | -3.2714 | -126.9192 | 121.0199

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95875 | 0.28855 | 0.29162 | 0.95852 | 0.28849 | 0.29128 | 11.0707 | 3.3319 | 3.3674 | 11.0681 | 3.3312 | 3.3634 | 9.4374 | -0.85233 | -1.1847 | -7.6966 | 1.2674 | 1.1418 | 6.1186 | -3.5999 | -3.743 | -5.4108 | 3.5357 | 4.1678 | -39.2303 | -15.1735 | -134.184 | 140.7914 | 164.9112 | 45.7645 | 1.0159 | 1.1103 | 1.1659 | 0.85004 | 1.1275 | 1.2848 | -6.2738 | -118.4938 | 118.2531 | -4.1009 | -124.81 | 120.4436
Line_1 | 0.6778 | 0.14428 | 0.1448 | 0.67821 | 0.14423 | 0.14568 | 7.8266 | 1.666 | 1.672 | 7.8313 | 1.6654 | 1.6822 | -4.4557 | 0.7882 | 0.55693 | 5.2828 | -0.64338 | -0.58313 | -3.6687 | 1.7345 | 2.2077 | 4.0504 | -1.7642 | -2.0812 | 138.4977 | 165.6188 | 45.9222 | -41.5787 | -14.7737 | -133.904 | 0.73744 | 1.1436 | 1.3618 | 0.85004 | 1.1275 | 1.2848 | -2.0355 | -128.8193 | 121.7637 | -4.1009 | -124.81 | 120.4436
Line_2 | 0.28204 | 0.14428 | 0.14483 | 0.28229 | 0.14426 | 0.1456 | 3.2567 | 1.666 | 1.6724 | 3.2596 | 1.6658 | 1.6813 | -2.2494 | 0.70687 | 0.54655 | 2.4138 | -0.62407 | -0.55869 | -1.3021 | 1.7616 | 2.1521 | 1.3604 | -1.7715 | -2.0867 | 146.6637 | 164.9442 | 45.2698 | -33.5066 | -15.4039 | -134.5672 | 0.79809 | 1.1393 | 1.3277 | 0.85004 | 1.1275 | 1.2848 | -3.2714 | -126.9192 | 121.0199 | -4.1009 | -124.81 | 120.4436
Line_3 | 0.40039 | 0.0021932 | 0.0015028 | 0.40092 | 0.0010933 | 0.001978 | 4.6233 | 0.025325 | 0.017353 | 4.6294 | 0.012624 | 0.022839 | -2.4047 | 0.026572 | 0.019985 | 2.6557 | -0.013081 | -0.030323 | -2.4169 | -0.011517 | -0.012611 | 2.5687 | 0.0059817 | -0.00029526 | 132.8203 | -105.3867 | 154.0171 | -47.3179 | 77.6549 | -59.538 | 0.73744 | 1.1436 | 1.3618 | 0.79809 | 1.1393 | 1.3277 | -2.0355 | -128.8193 | 121.7637 | -3.2714 | -126.9192 | 121.0199

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8749 | 0.0090717 | 0.0090717 | 1.8745 | 0.0080133 | 0.0080133 | 21.65 | 0.10475 | 0.10475 | 21.6448 | 0.09253 | 0.09253 | 17.7834 | 0.093761 | -0.080868 | -7.101 | -0.078278 | 0.075235 | 5.1047 | -0.023061 | -0.072286 | -2.0584 | 0.049593 | 0.095628 | -33.3065 | -105.7421 | -105.7421 | 146.7232 | 73.3071 | 73.3071 | 0.85458 | 0.92176 | 1.0355 | 0.34158 | 1.0015 | 1.315 | -17.2903 | -119.56 | 116.0506 | -17.1112 | -139.0493 | 125.1135
Line_1 | 1.2485 | 0.0014432 | 0.0014432 | 1.2493 | 0.004114 | 0.004114 | 14.417 | 0.016665 | 0.016665 | 14.4257 | 0.047504 | 0.047504 | -1.8362e-11 | -0.013631 | 0.013957 | 4.734 | 0.040242 | -0.03852 | -1.461e-12 | 0.012503 | 0.020989 | 1.3674 | -0.025375 | -0.049178 | 146.8945 | 72.9029 | 72.9029 | -33.223 | -106.8158 | -106.8158 | 0 | 1.11 | 1.5125 | 0.34158 | 1.0015 | 1.315 | 0 | -149.6253 | 129.2797 | -17.1112 | -139.0493 | 125.1135
Line_2 | 0.62449 | 0.0015506 | 0.0015506 | 0.62519 | 0.0038993 | 0.0038993 | 7.211 | 0.017905 | 0.017905 | 7.2191 | 0.045026 | 0.045026 | -1.1806 | -0.014975 | 0.014619 | 2.3671 | 0.038036 | -0.036715 | -0.34619 | 0.011387 | 0.020659 | 0.69099 | -0.024218 | -0.04645 | 146.8212 | 72.6048 | 72.6048 | -33.3845 | -106.5632 | -106.5632 | 0.17062 | 1.0507 | 1.4135 | 0.34158 | 1.0015 | 1.315 | -16.8359 | -144.6446 | 127.3193 | -17.1112 | -139.0493 | 125.1135
Line_3 | 0.62368 | 0.0014432 | 0.0014432 | 0.62449 | 0.0015506 | 0.0015506 | 7.2016 | 0.016665 | 0.016665 | 7.211 | 0.017905 | 0.017905 | -9.1745e-12 | 0.013631 | -0.013957 | 1.1806 | 0.014975 | -0.014619 | -6.9921e-13 | -0.012503 | -0.020989 | 0.34619 | -0.011387 | -0.020659 | 147.0857 | -107.0971 | -107.0971 | -33.1788 | -107.3952 | -107.3952 | 0 | 1.11 | 1.5125 | 0.17062 | 1.0507 | 1.4135 | 0 | -149.6253 | 129.2797 | -16.8359 | -144.6446 | 127.3193

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8749 | 0.0090717 | 0.0090717 | 1.8745 | 0.0080133 | 0.0080133 | 21.65 | 0.10475 | 0.10475 | 21.6448 | 0.09253 | 0.09253 | 17.7834 | 0.093761 | -0.080868 | -7.101 | -0.078278 | 0.075235 | 5.1047 | -0.023061 | -0.072286 | -2.0584 | 0.049593 | 0.095628 | -33.3065 | -105.7421 | -105.7421 | 146.7232 | 73.3071 | 73.3071 | 0.85458 | 0.92176 | 1.0355 | 0.34158 | 1.0015 | 1.315 | -17.2903 | -119.56 | 116.0506 | -17.1112 | -139.0493 | 125.1135
Line_1 | 1.2485 | 0.0014432 | 0.0014432 | 1.2493 | 0.004114 | 0.004114 | 14.417 | 0.016665 | 0.016665 | 14.4257 | 0.047504 | 0.047504 | -1.8362e-11 | -0.013631 | 0.013957 | 4.734 | 0.040242 | -0.03852 | -1.461e-12 | 0.012503 | 0.020989 | 1.3674 | -0.025375 | -0.049178 | 146.8945 | 72.9029 | 72.9029 | -33.223 | -106.8158 | -106.8158 | 0 | 1.11 | 1.5125 | 0.34158 | 1.0015 | 1.315 | 0 | -149.6253 | 129.2797 | -17.1112 | -139.0493 | 125.1135
Line_2 | 0.62449 | 0.0015506 | 0.0015506 | 0.62519 | 0.0038993 | 0.0038993 | 7.211 | 0.017905 | 0.017905 | 7.2191 | 0.045026 | 0.045026 | -1.1806 | -0.014975 | 0.014619 | 2.3671 | 0.038036 | -0.036715 | -0.34619 | 0.011387 | 0.020659 | 0.69099 | -0.024218 | -0.04645 | 146.8212 | 72.6048 | 72.6048 | -33.3845 | -106.5632 | -106.5632 | 0.17062 | 1.0507 | 1.4135 | 0.34158 | 1.0015 | 1.315 | -16.8359 | -144.6446 | 127.3193 | -17.1112 | -139.0493 | 125.1135
Line_3 | 0.62368 | 0.0014432 | 0.0014432 | 0.62449 | 0.0015506 | 0.0015506 | 7.2016 | 0.016665 | 0.016665 | 7.211 | 0.017905 | 0.017905 | -9.1745e-12 | 0.013631 | -0.013957 | 1.1806 | 0.014975 | -0.014619 | -6.9921e-13 | -0.012503 | -0.020989 | 0.34619 | -0.011387 | -0.020659 | 147.0857 | -107.0971 | -107.0971 | -33.1788 | -107.3952 | -107.3952 | 0 | 1.11 | 1.5125 | 0.17062 | 1.0507 | 1.4135 | 0 | -149.6253 | 129.2797 | -16.8359 | -144.6446 | 127.3193

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87824 | 0.0042493 | 0.0042493 | 0.87803 | 0.0037535 | 0.0037535 | 10.1411 | 0.049067 | 0.049067 | 10.1387 | 0.043342 | 0.043342 | 7.735 | 0.046901 | -0.031823 | -5.3923 | -0.040444 | 0.028617 | 4.9887 | -0.0061171 | -0.038133 | -4.3175 | 0.011429 | 0.04086 | -39.6951 | -112.1308 | -112.1308 | 140.3345 | 66.9184 | 66.9184 | 0.90762 | 0.96396 | 1.0122 | 0.68133 | 0.96969 | 1.1509 | -6.8748 | -119.5617 | 118.0231 | -0.98208 | -128.8612 | 121.9126
Line_1 | 0.58483 | 0.00067601 | 0.00067601 | 0.58519 | 0.001927 | 0.001927 | 6.7531 | 0.0078059 | 0.0078059 | 6.7572 | 0.022252 | 0.022252 | -2.5616 | -0.0071823 | 0.005218 | 3.5965 | 0.020777 | -0.014647 | -2.5673 | 0.0028124 | 0.0082005 | 2.8741 | -0.0058231 | -0.021009 | 140.5059 | 66.5143 | 66.5143 | -39.6116 | -113.2045 | -113.2045 | 0.53703 | 0.98813 | 1.2452 | 0.68133 | 0.96969 | 1.1509 | 5.5695 | -134.8699 | 124.0459 | -0.98208 | -128.8612 | 121.9126
Line_2 | 0.29252 | 0.00072633 | 0.00072633 | 0.29285 | 0.0018265 | 0.0018265 | 3.3777 | 0.008387 | 0.008387 | 3.3815 | 0.02109 | 0.02109 | -1.5386 | -0.0077894 | 0.0055035 | 1.7957 | 0.019668 | -0.01397 | -1.3617 | 0.0025492 | 0.0084076 | 1.4434 | -0.005606 | -0.019851 | 140.4326 | 66.2161 | 66.2161 | -39.7731 | -112.9519 | -112.9519 | 0.60829 | 0.97723 | 1.1981 | 0.68133 | 0.96969 | 1.1509 | 1.9413 | -131.9055 | 123.0081 | -0.98208 | -128.8612 | 121.9126
Line_3 | 0.29214 | 0.00067601 | 0.00067601 | 0.29252 | 0.00072633 | 0.00072633 | 3.3733 | 0.0078059 | 0.0078059 | 3.3777 | 0.008387 | 0.008387 | -1.2838 | 0.0071823 | -0.005218 | 1.5386 | 0.0077894 | -0.0055035 | -1.2781 | -0.0028124 | -0.0082005 | 1.3617 | -0.0025492 | -0.0084076 | 140.697 | -113.4857 | -113.4857 | -39.5674 | -113.7839 | -113.7839 | 0.53703 | 0.98813 | 1.2452 | 0.60829 | 0.97723 | 1.1981 | 5.5695 | -134.8699 | 124.0459 | 1.9413 | -131.9055 | 123.0081

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87824 | 0.0042493 | 0.0042493 | 0.87803 | 0.0037535 | 0.0037535 | 10.1411 | 0.049067 | 0.049067 | 10.1387 | 0.043342 | 0.043342 | 7.735 | 0.046901 | -0.031823 | -5.3923 | -0.040444 | 0.028617 | 4.9887 | -0.0061171 | -0.038133 | -4.3175 | 0.011429 | 0.04086 | -39.6951 | -112.1308 | -112.1308 | 140.3345 | 66.9184 | 66.9184 | 0.90762 | 0.96396 | 1.0122 | 0.68133 | 0.96969 | 1.1509 | -6.8748 | -119.5617 | 118.0231 | -0.98208 | -128.8612 | 121.9126
Line_1 | 0.58483 | 0.00067601 | 0.00067601 | 0.58519 | 0.001927 | 0.001927 | 6.7531 | 0.0078059 | 0.0078059 | 6.7572 | 0.022252 | 0.022252 | -2.5616 | -0.0071823 | 0.005218 | 3.5965 | 0.020777 | -0.014647 | -2.5673 | 0.0028124 | 0.0082005 | 2.8741 | -0.0058231 | -0.021009 | 140.5059 | 66.5143 | 66.5143 | -39.6116 | -113.2045 | -113.2045 | 0.53703 | 0.98813 | 1.2452 | 0.68133 | 0.96969 | 1.1509 | 5.5695 | -134.8699 | 124.0459 | -0.98208 | -128.8612 | 121.9126
Line_2 | 0.29252 | 0.00072633 | 0.00072633 | 0.29285 | 0.0018265 | 0.0018265 | 3.3777 | 0.008387 | 0.008387 | 3.3815 | 0.02109 | 0.02109 | -1.5386 | -0.0077894 | 0.0055035 | 1.7957 | 0.019668 | -0.01397 | -1.3617 | 0.0025492 | 0.0084076 | 1.4434 | -0.005606 | -0.019851 | 140.4326 | 66.2161 | 66.2161 | -39.7731 | -112.9519 | -112.9519 | 0.60829 | 0.97723 | 1.1981 | 0.68133 | 0.96969 | 1.1509 | 1.9413 | -131.9055 | 123.0081 | -0.98208 | -128.8612 | 121.9126
Line_3 | 0.29214 | 0.00067601 | 0.00067601 | 0.29252 | 0.00072633 | 0.00072633 | 3.3733 | 0.0078059 | 0.0078059 | 3.3777 | 0.008387 | 0.008387 | -1.2838 | 0.0071823 | -0.005218 | 1.5386 | 0.0077894 | -0.0055035 | -1.2781 | -0.0028124 | -0.0082005 | 1.3617 | -0.0025492 | -0.0084076 | 140.697 | -113.4857 | -113.4857 | -39.5674 | -113.7839 | -113.7839 | 0.53703 | 0.98813 | 1.2452 | 0.60829 | 0.97723 | 1.1981 | 5.5695 | -134.8699 | 124.0459 | 1.9413 | -131.9055 | 123.0081

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29508 | 4.0224 | 2.5975 | 0.29422 | 4.0224 | 2.597 | 3.4073 | 46.4465 | 29.993 | 3.3974 | 46.4466 | 29.9877 | -1.1802 | 30.4536 | -0.51841 | 1.6955 | -12.2579 | 0.1822 | -3.5414 | 8.122 | 16.4814 | 4.2217 | -3.3108 | -6.6281 | 105.0179 | -175.4912 | 35.4412 | -74.9491 | 4.5213 | -144.5753 | 1.0955 | 0.67859 | 0.54978 | 1.3391 | 0.27337 | 0.22111 | -3.413 | -160.5578 | 127.2428 | -6.8308 | -160.3641 | 126.9993
Line_1 | 0.14531 | 2.7274 | 1.7769 | 0.14717 | 2.727 | 1.7782 | 1.6779 | 31.4934 | 20.5177 | 1.6994 | 31.4889 | 20.5334 | 1.0271 | 5.6881e-11 | 5.2451e-11 | -0.85949 | 8.2975 | -0.10714 | 2.2978 | -6.6042e-11 | -2.0069e-11 | -2.1072 | 2.2919 | 4.5389 | -74.3397 | 4.2361 | -144.4007 | 105.3593 | -175.8054 | 35.6471 | 1.5 | 0 | 0 | 1.3391 | 0.27337 | 0.22111 | -8.4244 | 0 | 0 | -6.8308 | -160.3641 | 126.9993
Line_2 | 0.14539 | 1.2959 | 0.81764 | 0.14705 | 1.2955 | 0.81881 | 1.6788 | 14.9632 | 9.4413 | 1.698 | 14.9592 | 9.4548 | 0.92422 | -2.0456 | 0.015921 | -0.83606 | 3.9605 | -0.075064 | 2.205 | -0.54634 | -1.0795 | -2.1146 | 1.0189 | 2.0892 | -75.0099 | 5.2865 | -145.1529 | 104.7422 | -174.7909 | 34.9416 | 1.4242 | 0.1415 | 0.11435 | 1.3391 | 0.27337 | 0.22111 | -7.7507 | -159.7602 | 125.6921 | -6.8308 | -160.3641 | 126.9993
Line_3 | 0.0023116 | 1.4322 | 0.95868 | 0.0016029 | 1.4317 | 0.96024 | 0.026692 | 16.5371 | 11.0699 | 0.018508 | 16.5321 | 11.0879 | 0.026008 | 3.0416e-11 | 2.8184e-11 | -0.025018 | 2.2371 | 0.013295 | -0.030439 | -3.4199e-11 | -1.1122e-11 | -0.0083 | 0.68406 | 1.2678 | 41.0633 | 3.3253 | -143.8035 | 153.8957 | -176.7629 | 36.2929 | 1.5 | 0 | 0 | 1.4242 | 0.1415 | 0.11435 | -8.4244 | 0 | 0 | -7.7507 | -159.7602 | 125.6921

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29508 | 4.0224 | 2.5975 | 0.29422 | 4.0224 | 2.597 | 3.4073 | 46.4465 | 29.993 | 3.3974 | 46.4466 | 29.9877 | -1.1802 | 30.4536 | -0.51841 | 1.6955 | -12.2579 | 0.1822 | -3.5414 | 8.122 | 16.4814 | 4.2217 | -3.3108 | -6.6281 | 105.0179 | -175.4912 | 35.4412 | -74.9491 | 4.5213 | -144.5753 | 1.0955 | 0.67859 | 0.54978 | 1.3391 | 0.27337 | 0.22111 | -3.413 | -160.5578 | 127.2428 | -6.8308 | -160.3641 | 126.9993
Line_1 | 0.14531 | 2.7274 | 1.7769 | 0.14717 | 2.727 | 1.7782 | 1.6779 | 31.4934 | 20.5177 | 1.6994 | 31.4889 | 20.5334 | 1.0271 | 5.6881e-11 | 5.2451e-11 | -0.85949 | 8.2975 | -0.10714 | 2.2978 | -6.6042e-11 | -2.0069e-11 | -2.1072 | 2.2919 | 4.5389 | -74.3397 | 4.2361 | -144.4007 | 105.3593 | -175.8054 | 35.6471 | 1.5 | 0 | 0 | 1.3391 | 0.27337 | 0.22111 | -8.4244 | 0 | 0 | -6.8308 | -160.3641 | 126.9993
Line_2 | 0.14539 | 1.2959 | 0.81764 | 0.14705 | 1.2955 | 0.81881 | 1.6788 | 14.9632 | 9.4413 | 1.698 | 14.9592 | 9.4548 | 0.92422 | -2.0456 | 0.015921 | -0.83606 | 3.9605 | -0.075064 | 2.205 | -0.54634 | -1.0795 | -2.1146 | 1.0189 | 2.0892 | -75.0099 | 5.2865 | -145.1529 | 104.7422 | -174.7909 | 34.9416 | 1.4242 | 0.1415 | 0.11435 | 1.3391 | 0.27337 | 0.22111 | -7.7507 | -159.7602 | 125.6921 | -6.8308 | -160.3641 | 126.9993
Line_3 | 0.0023116 | 1.4322 | 0.95868 | 0.0016029 | 1.4317 | 0.96024 | 0.026692 | 16.5371 | 11.0699 | 0.018508 | 16.5321 | 11.0879 | 0.026008 | 3.0416e-11 | 2.8184e-11 | -0.025018 | 2.2371 | 0.013295 | -0.030439 | -3.4199e-11 | -1.1122e-11 | -0.0083 | 0.68406 | 1.2678 | 41.0633 | 3.3253 | -143.8035 | 153.8957 | -176.7629 | 36.2929 | 1.5 | 0 | 0 | 1.4242 | 0.1415 | 0.11435 | -8.4244 | 0 | 0 | -7.7507 | -159.7602 | 125.6921

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29138 | 1.1352 | 0.89368 | 0.29101 | 1.1354 | 0.89332 | 3.3646 | 13.1085 | 10.3194 | 3.3603 | 13.1101 | 10.3152 | -1.058 | 11.4403 | 6.5306 | 1.3319 | -9.8346 | -6.0287 | -3.6377 | 6.5388 | 7.2367 | 3.9434 | -6.7545 | -5.6998 | 105.238 | -159.9583 | 68.3383 | -74.7407 | 20.06 | -111.6705 | 1.126 | 1.0052 | 0.94461 | 1.2387 | 0.91004 | 0.80431 | -0.97848 | -130.2078 | 116.2742 | -3.4038 | -125.4583 | 111.7234
Line_1 | 0.14474 | 0.79719 | 0.63858 | 0.14553 | 0.79675 | 0.63946 | 1.6713 | 9.2052 | 7.3737 | 1.6804 | 9.2001 | 7.3838 | 0.76635 | -5.9558 | -3.9478 | -0.67707 | 6.733 | 4.189 | 2.054 | -5.0386 | -3.4574 | -1.9683 | 4.9764 | 4.2098 | -74.2597 | 18.1288 | -113.4347 | 105.5786 | -161.9267 | 66.5815 | 1.3117 | 0.84748 | 0.71168 | 1.2387 | 0.91004 | 0.80431 | -4.7201 | -121.64 | 107.777 | -3.4038 | -125.4583 | 111.7234
Line_2 | 0.14477 | 0.34068 | 0.25413 | 0.14548 | 0.34022 | 0.25491 | 1.6717 | 3.9338 | 2.9344 | 1.6799 | 3.9285 | 2.9435 | 0.7052 | -2.9633 | -1.7844 | -0.65486 | 3.1016 | 1.8397 | 2.0196 | -1.8116 | -1.348 | -1.9751 | 1.7781 | 1.4901 | -74.9251 | 24.8247 | -107.3024 | 104.9398 | -155.2833 | 72.7179 | 1.2797 | 0.8829 | 0.7621 | 1.2387 | 0.91004 | 0.80431 | -4.1728 | -123.7363 | 109.7663 | -3.4038 | -125.4583 | 111.7234
Line_3 | 0.0019321 | 0.46074 | 0.38644 | 0.0014883 | 0.46031 | 0.38739 | 0.02231 | 5.3202 | 4.4622 | 0.017185 | 5.3152 | 4.4732 | 0.024575 | -3.181 | -2.2356 | -0.021978 | 3.424 | 2.316 | -0.01589 | -3.1953 | -2.2554 | 0.00077019 | 3.2091 | 2.5015 | 28.1663 | 13.231 | -117.4764 | 177.8342 | -166.8801 | 62.5613 | 1.3117 | 0.84748 | 0.71168 | 1.2797 | 0.8829 | 0.7621 | -4.7201 | -121.64 | 107.777 | -4.1728 | -123.7363 | 109.7663

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29138 | 1.1352 | 0.89368 | 0.29101 | 1.1354 | 0.89332 | 3.3646 | 13.1085 | 10.3194 | 3.3603 | 13.1101 | 10.3152 | -1.058 | 11.4403 | 6.5306 | 1.3319 | -9.8346 | -6.0287 | -3.6377 | 6.5388 | 7.2367 | 3.9434 | -6.7545 | -5.6998 | 105.238 | -159.9583 | 68.3383 | -74.7407 | 20.06 | -111.6705 | 1.126 | 1.0052 | 0.94461 | 1.2387 | 0.91004 | 0.80431 | -0.97848 | -130.2078 | 116.2742 | -3.4038 | -125.4583 | 111.7234
Line_1 | 0.14474 | 0.79719 | 0.63858 | 0.14553 | 0.79675 | 0.63946 | 1.6713 | 9.2052 | 7.3737 | 1.6804 | 9.2001 | 7.3838 | 0.76635 | -5.9558 | -3.9478 | -0.67707 | 6.733 | 4.189 | 2.054 | -5.0386 | -3.4574 | -1.9683 | 4.9764 | 4.2098 | -74.2597 | 18.1288 | -113.4347 | 105.5786 | -161.9267 | 66.5815 | 1.3117 | 0.84748 | 0.71168 | 1.2387 | 0.91004 | 0.80431 | -4.7201 | -121.64 | 107.777 | -3.4038 | -125.4583 | 111.7234
Line_2 | 0.14477 | 0.34068 | 0.25413 | 0.14548 | 0.34022 | 0.25491 | 1.6717 | 3.9338 | 2.9344 | 1.6799 | 3.9285 | 2.9435 | 0.7052 | -2.9633 | -1.7844 | -0.65486 | 3.1016 | 1.8397 | 2.0196 | -1.8116 | -1.348 | -1.9751 | 1.7781 | 1.4901 | -74.9251 | 24.8247 | -107.3024 | 104.9398 | -155.2833 | 72.7179 | 1.2797 | 0.8829 | 0.7621 | 1.2387 | 0.91004 | 0.80431 | -4.1728 | -123.7363 | 109.7663 | -3.4038 | -125.4583 | 111.7234
Line_3 | 0.0019321 | 0.46074 | 0.38644 | 0.0014883 | 0.46031 | 0.38739 | 0.02231 | 5.3202 | 4.4622 | 0.017185 | 5.3152 | 4.4732 | 0.024575 | -3.181 | -2.2356 | -0.021978 | 3.424 | 2.316 | -0.01589 | -3.1953 | -2.2554 | 0.00077019 | 3.2091 | 2.5015 | 28.1663 | 13.231 | -117.4764 | 177.8342 | -166.8801 | 62.5613 | 1.3117 | 0.84748 | 0.71168 | 1.2797 | 0.8829 | 0.7621 | -4.7201 | -121.64 | 107.777 | -4.1728 | -123.7363 | 109.7663

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006092 | 3.0542 | 2.2472 | 0.0053812 | 3.0544 | 2.2468 | 0.070344 | 35.2667 | 25.9485 | 0.062137 | 35.2689 | 25.9436 | 0.0013229 | 26.6677 | 2.6434 | 1.7766e-05 | -10.6728 | -1.0457 | -0.068944 | 2.1414 | 12.766 | 0.074672 | -0.87977 | -5.0895 | 86.0679 | -161.389 | 39.9236 | -94.8829 | 18.6239 | -140.091 | 0.98028 | 0.75861 | 0.50241 | 1.2017 | 0.30364 | 0.20027 | -2.8328 | -156.798 | 118.2249 | -4.8965 | -156.6637 | 118.298
Line_1 | 0.00096917 | 2.0373 | 1.496 | 0.0027627 | 2.0366 | 1.4973 | 0.011191 | 23.5246 | 17.2745 | 0.031901 | 23.5164 | 17.289 | 0.000147 | -1.1007e-10 | -2.1587e-11 | 7.3124e-05 | 7.1165 | 0.69555 | 0.015104 | -9.1311e-11 | -1.0284e-10 | -0.038336 | 0.58396 | 3.3919 | -95.287 | 18.6916 | -140.1624 | 84.9942 | -161.3547 | 39.8864 | 1.3497 | 0 | 0 | 1.2017 | 0.30364 | 0.20027 | -5.8447 | 0 | 0 | -4.8965 | -156.6637 | 118.298
Line_2 | 0.0010413 | 1.0184 | 0.74841 | 0.0026185 | 1.0178 | 0.7495 | 0.012024 | 11.7596 | 8.6418 | 0.030236 | 11.7526 | 8.6545 | -4.3476e-05 | -1.7808 | -0.1709 | -9.0891e-05 | 3.5562 | 0.35018 | 0.01534 | -0.15193 | -0.84371 | -0.036336 | 0.29581 | 1.6975 | -95.5852 | 18.6631 | -140.1326 | 85.2468 | -161.4188 | 39.954 | 1.2758 | 0.15198 | 0.099613 | 1.2017 | 0.30364 | 0.20027 | -5.4228 | -156.4603 | 118.4168 | -4.8965 | -156.6637 | 118.298
Line_3 | 0.00096917 | 1.0192 | 0.74698 | 0.0010413 | 1.0184 | 0.74841 | 0.011191 | 11.7691 | 8.6254 | 0.012024 | 11.7596 | 8.6418 | -0.000147 | -5.5124e-11 | -1.0708e-11 | 4.3475e-05 | 1.7808 | 0.1709 | -0.015104 | -4.561e-11 | -5.1366e-11 | -0.01534 | 0.15193 | 0.84371 | 84.713 | 18.7662 | -140.2411 | 84.4148 | -161.3369 | 39.8674 | 1.3497 | 0 | 0 | 1.2758 | 0.15198 | 0.099613 | -5.8447 | 0 | 0 | -5.4228 | -156.4603 | 118.4168

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006092 | 3.0542 | 2.2472 | 0.0053812 | 3.0544 | 2.2468 | 0.070344 | 35.2667 | 25.9485 | 0.062137 | 35.2689 | 25.9436 | 0.0013229 | 26.6677 | 2.6434 | 1.7766e-05 | -10.6728 | -1.0457 | -0.068944 | 2.1414 | 12.766 | 0.074672 | -0.87977 | -5.0895 | 86.0679 | -161.389 | 39.9236 | -94.8829 | 18.6239 | -140.091 | 0.98028 | 0.75861 | 0.50241 | 1.2017 | 0.30364 | 0.20027 | -2.8328 | -156.798 | 118.2249 | -4.8965 | -156.6637 | 118.298
Line_1 | 0.00096917 | 2.0373 | 1.496 | 0.0027627 | 2.0366 | 1.4973 | 0.011191 | 23.5246 | 17.2745 | 0.031901 | 23.5164 | 17.289 | 0.000147 | -1.1007e-10 | -2.1587e-11 | 7.3124e-05 | 7.1165 | 0.69555 | 0.015104 | -9.1311e-11 | -1.0284e-10 | -0.038336 | 0.58396 | 3.3919 | -95.287 | 18.6916 | -140.1624 | 84.9942 | -161.3547 | 39.8864 | 1.3497 | 0 | 0 | 1.2017 | 0.30364 | 0.20027 | -5.8447 | 0 | 0 | -4.8965 | -156.6637 | 118.298
Line_2 | 0.0010413 | 1.0184 | 0.74841 | 0.0026185 | 1.0178 | 0.7495 | 0.012024 | 11.7596 | 8.6418 | 0.030236 | 11.7526 | 8.6545 | -4.3476e-05 | -1.7808 | -0.1709 | -9.0891e-05 | 3.5562 | 0.35018 | 0.01534 | -0.15193 | -0.84371 | -0.036336 | 0.29581 | 1.6975 | -95.5852 | 18.6631 | -140.1326 | 85.2468 | -161.4188 | 39.954 | 1.2758 | 0.15198 | 0.099613 | 1.2017 | 0.30364 | 0.20027 | -5.4228 | -156.4603 | 118.4168 | -4.8965 | -156.6637 | 118.298
Line_3 | 0.00096917 | 1.0192 | 0.74698 | 0.0010413 | 1.0184 | 0.74841 | 0.011191 | 11.7691 | 8.6254 | 0.012024 | 11.7596 | 8.6418 | -0.000147 | -5.5124e-11 | -1.0708e-11 | 4.3475e-05 | 1.7808 | 0.1709 | -0.015104 | -4.561e-11 | -5.1366e-11 | -0.01534 | 0.15193 | 0.84371 | 84.713 | 18.7662 | -140.2411 | 84.4148 | -161.3369 | 39.8674 | 1.3497 | 0 | 0 | 1.2758 | 0.15198 | 0.099613 | -5.8447 | 0 | 0 | -5.4228 | -156.4603 | 118.4168

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003516 | 1.1002 | 0.87806 | 0.0031058 | 1.1004 | 0.87767 | 0.0406 | 12.7035 | 10.139 | 0.035863 | 12.7058 | 10.1345 | 0.008827 | 10.0106 | 4.9711 | -0.0076351 | -7.6378 | -4.288 | -0.038939 | 5.3439 | 6.7755 | 0.038859 | -5.7882 | -5.0086 | 75.7508 | -159.3156 | 61.9733 | -105.1999 | 20.7035 | -118.0363 | 0.98344 | 0.89326 | 0.82884 | 1.1043 | 0.75425 | 0.65059 | -1.4769 | -131.2211 | 115.7062 | -4.0839 | -122.1402 | 111.396
Line_1 | 0.00055936 | 0.73445 | 0.58364 | 0.0015945 | 0.73384 | 0.58465 | 0.006459 | 8.4807 | 6.7393 | 0.018412 | 8.4737 | 6.751 | -0.0013449 | -4.045 | -2.5529 | 0.0039626 | 5.0958 | 2.8558 | 0.0075401 | -4.05 | -2.5519 | -0.019942 | 3.8576 | 3.337 | -105.6041 | 20.7992 | -118.0697 | 74.6771 | -159.2663 | 61.953 | 1.1858 | 0.67494 | 0.53561 | 1.1043 | 0.75425 | 0.65059 | -5.4907 | -114.1657 | 106.9185 | -4.0839 | -122.1402 | 111.396
Line_2 | 0.000601 | 0.36703 | 0.29214 | 0.0015113 | 0.36651 | 0.29302 | 0.0069397 | 4.2381 | 3.3733 | 0.017451 | 4.2321 | 3.3835 | -0.0015261 | -2.2853 | -1.3514 | 0.0036725 | 2.542 | 1.4322 | 0.0077977 | -1.978 | -1.4719 | -0.018917 | 1.9306 | 1.6717 | -105.9023 | 20.7591 | -118.0567 | 74.9297 | -159.3571 | 61.985 | 1.145 | 0.71316 | 0.59235 | 1.1043 | 0.75425 | 0.65059 | -4.8286 | -118.3636 | 109.3866 | -4.0839 | -122.1402 | 111.396
Line_3 | 0.00055936 | 0.36772 | 0.291 | 0.000601 | 0.36703 | 0.29214 | 0.006459 | 4.2461 | 3.3602 | 0.0069397 | 4.2381 | 3.3733 | 0.0013449 | -2.029 | -1.2721 | 0.0015261 | 2.2853 | 1.3514 | -0.0075401 | -2.024 | -1.2731 | -0.0077977 | 1.978 | 1.4719 | 74.3959 | 20.9044 | -118.1053 | 74.0977 | -159.2409 | 61.9433 | 1.1858 | 0.67494 | 0.53561 | 1.145 | 0.71316 | 0.59235 | -5.4907 | -114.1657 | 106.9185 | -4.8286 | -118.3636 | 109.3866

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003516 | 1.1002 | 0.87806 | 0.0031058 | 1.1004 | 0.87767 | 0.0406 | 12.7035 | 10.139 | 0.035863 | 12.7058 | 10.1345 | 0.008827 | 10.0106 | 4.9711 | -0.0076351 | -7.6378 | -4.288 | -0.038939 | 5.3439 | 6.7755 | 0.038859 | -5.7882 | -5.0086 | 75.7508 | -159.3156 | 61.9733 | -105.1999 | 20.7035 | -118.0363 | 0.98344 | 0.89326 | 0.82884 | 1.1043 | 0.75425 | 0.65059 | -1.4769 | -131.2211 | 115.7062 | -4.0839 | -122.1402 | 111.396
Line_1 | 0.00055936 | 0.73445 | 0.58364 | 0.0015945 | 0.73384 | 0.58465 | 0.006459 | 8.4807 | 6.7393 | 0.018412 | 8.4737 | 6.751 | -0.0013449 | -4.045 | -2.5529 | 0.0039626 | 5.0958 | 2.8558 | 0.0075401 | -4.05 | -2.5519 | -0.019942 | 3.8576 | 3.337 | -105.6041 | 20.7992 | -118.0697 | 74.6771 | -159.2663 | 61.953 | 1.1858 | 0.67494 | 0.53561 | 1.1043 | 0.75425 | 0.65059 | -5.4907 | -114.1657 | 106.9185 | -4.0839 | -122.1402 | 111.396
Line_2 | 0.000601 | 0.36703 | 0.29214 | 0.0015113 | 0.36651 | 0.29302 | 0.0069397 | 4.2381 | 3.3733 | 0.017451 | 4.2321 | 3.3835 | -0.0015261 | -2.2853 | -1.3514 | 0.0036725 | 2.542 | 1.4322 | 0.0077977 | -1.978 | -1.4719 | -0.018917 | 1.9306 | 1.6717 | -105.9023 | 20.7591 | -118.0567 | 74.9297 | -159.3571 | 61.985 | 1.145 | 0.71316 | 0.59235 | 1.1043 | 0.75425 | 0.65059 | -4.8286 | -118.3636 | 109.3866 | -4.0839 | -122.1402 | 111.396
Line_3 | 0.00055936 | 0.36772 | 0.291 | 0.000601 | 0.36703 | 0.29214 | 0.006459 | 4.2461 | 3.3602 | 0.0069397 | 4.2381 | 3.3733 | 0.0013449 | -2.029 | -1.2721 | 0.0015261 | 2.2853 | 1.3514 | -0.0075401 | -2.024 | -1.2731 | -0.0077977 | 1.978 | 1.4719 | 74.3959 | 20.9044 | -118.1053 | 74.0977 | -159.2409 | 61.9433 | 1.1858 | 0.67494 | 0.53561 | 1.145 | 0.71316 | 0.59235 | -5.4907 | -114.1657 | 106.9185 | -4.8286 | -118.3636 | 109.3866