## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.474 | 1.474 | 3.3849 | 0 | 51.0616 | 51.0616 | -1e-07 | 3.3895 | -1e-07 | 3.8458 | 109.4063 | -70.5937 | 0 | 0.10039 | 0 | -21.9852
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10039 | 0.10039 | -21.9852 | -21.9852
Line_2 | 0.7203 | 0.7203 | 0 | 0 | 24.9519 | 24.9519 | -1.6758 | 2.4851 | -1.8619 | 2.7803 | 110.0023 | -69.9977 | 0.10039 | 0.14945 | -21.9852 | -21.7896

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.474 | 1.474 | 3.3849 | 0 | 51.0616 | 51.0616 | -1e-07 | 3.3895 | -1e-07 | 3.8458 | 109.4063 | -70.5937 | 0 | 0.10039 | 0 | -21.9852
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10039 | 0.10039 | -21.9852 | -21.9852
Line_2 | 0.7203 | 0.7203 | 0 | 0 | 24.9519 | 24.9519 | -1.6758 | 2.4851 | -1.8619 | 2.7803 | 110.0023 | -69.9977 | 0.10039 | 0.14945 | -21.9852 | -21.7896

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.44882 | 0.44882 | 1.0306 | 0 | 15.5475 | 15.5475 | -10.1718 | 10.486 | -7.3697 | 7.7262 | 134.1017 | -45.8983 | 0.80791 | 0.83776 | -9.9741 | -9.5151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83776 | 0.83776 | -9.5151 | -9.5151
Line_2 | 0.21932 | 0.21932 | 0 | 0 | 7.5975 | 7.5975 | -5.1631 | 5.2382 | -3.722 | 3.8072 | 134.6977 | -45.3023 | 0.83776 | 0.85233 | -9.5151 | -9.2922

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.44882 | 0.44882 | 1.0306 | 0 | 15.5475 | 15.5475 | -10.1718 | 10.486 | -7.3697 | 7.7262 | 134.1017 | -45.8983 | 0.80791 | 0.83776 | -9.9741 | -9.5151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83776 | 0.83776 | -9.5151 | -9.5151
Line_2 | 0.21932 | 0.21932 | 0 | 0 | 7.5975 | 7.5975 | -5.1631 | 5.2382 | -3.722 | 3.8072 | 134.6977 | -45.3023 | 0.83776 | 0.85233 | -9.5151 | -9.2922

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4189 | 1.4189 | 3.1862 | 0 | 49.1527 | 49.1527 | -1e-07 | 6.0303 | -1e-07 | 3.5636 | 113.5583 | -66.4417 | 0 | 0.14251 | 0 | -35.8609
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14251 | 0.14251 | -35.8609 | -35.8609
Line_2 | 0.6883 | 0.6883 | 0 | 0 | 23.8434 | 23.8434 | -2.9712 | 4.3902 | -1.6485 | 2.487 | 115.1169 | -64.8831 | 0.14251 | 0.21162 | -35.8609 | -35.3518

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4189 | 1.4189 | 3.1862 | 0 | 49.1527 | 49.1527 | -1e-07 | 6.0303 | -1e-07 | 3.5636 | 113.5583 | -66.4417 | 0 | 0.14251 | 0 | -35.8609
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14251 | 0.14251 | -35.8609 | -35.8609
Line_2 | 0.6883 | 0.6883 | 0 | 0 | 23.8434 | 23.8434 | -2.9712 | 4.3902 | -1.6485 | 2.487 | 115.1169 | -64.8831 | 0.14251 | 0.21162 | -35.8609 | -35.3518

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.45094 | 0.45094 | 1.0126 | 0 | 15.621 | 15.621 | -9.2973 | 9.9063 | -6.2542 | 6.6141 | 136.2362 | -43.7638 | 0.71731 | 0.76252 | -9.8354 | -10.0342
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76252 | 0.76252 | -10.0342 | -10.0342
Line_2 | 0.21875 | 0.21875 | 0 | 0 | 7.5776 | 7.5776 | -4.8909 | 5.0342 | -3.0765 | 3.1612 | 137.7948 | -42.2052 | 0.76252 | 0.78449 | -10.0342 | -10.0787

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.45094 | 0.45094 | 1.0126 | 0 | 15.621 | 15.621 | -9.2973 | 9.9063 | -6.2542 | 6.6141 | 136.2362 | -43.7638 | 0.71731 | 0.76252 | -9.8354 | -10.0342
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76252 | 0.76252 | -10.0342 | -10.0342
Line_2 | 0.21875 | 0.21875 | 0 | 0 | 7.5776 | 7.5776 | -4.8909 | 5.0342 | -3.0765 | 3.1612 | 137.7948 | -42.2052 | 0.76252 | 0.78449 | -10.0342 | -10.0787

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13697 | 1.2724 | 1.1464 | 0.13697 | 1.2724 | 1.1464 | 1.5816 | 14.6928 | 13.2375 | 1.5816 | 14.6928 | 13.2375 | -1.7147 | -8.1204 | 7.2631 | 1.7245 | 8.9624 | -6.5797 | -0.42057 | 1.1458 | -1.3561 | 0.43164 | -0.19057 | 2.1315 | 168.7829 | 10.5953 | -166.8603 | -11.2171 | -169.4047 | 13.1397 | 1.1163 | 0.55816 | 0.55816 | 1.124 | 0.61012 | 0.52248 | 2.5636 | -177.4364 | -177.4364 | 2.8352 | -170.6228 | 175.1898
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0437e-10 | -1.9629e-10 | -2.0205e-10 | -1.0439e-10 | 1.9631e-10 | 2.0206e-10 | -2.2423e-10 | 1.9022e-09 | -1.7302e-09 | 2.2423e-10 | -1.9022e-09 | 1.7302e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.124 | 0.61012 | 0.52248 | 1.124 | 0.61012 | 0.52248 | 2.8352 | -170.6228 | 175.1898 | 2.8352 | -170.6228 | 175.1898
Line_2 | 0.065025 | 0.62304 | 0.56266 | 0.065025 | 0.62304 | 0.56266 | 0.75085 | 7.1942 | 6.4971 | 0.75085 | 7.1942 | 6.4971 | -0.82519 | -4.3867 | 3.2185 | 0.82739 | 4.5885 | -3.0539 | -0.17692 | 0.15391 | -1.079 | 0.17942 | 0.075117 | 1.2657 | 170.7341 | 11.3866 | -166.2774 | -9.2659 | -168.6134 | 13.7226 | 1.124 | 0.61012 | 0.52248 | 1.1275 | 0.63789 | 0.50882 | 2.8352 | -170.6228 | 175.1898 | 2.9691 | -167.6755 | 171.2103

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13697 | 1.2724 | 1.1464 | 0.13697 | 1.2724 | 1.1464 | 1.5816 | 14.6928 | 13.2375 | 1.5816 | 14.6928 | 13.2375 | -1.7147 | -8.1204 | 7.2631 | 1.7245 | 8.9624 | -6.5797 | -0.42057 | 1.1458 | -1.3561 | 0.43164 | -0.19057 | 2.1315 | 168.7829 | 10.5953 | -166.8603 | -11.2171 | -169.4047 | 13.1397 | 1.1163 | 0.55816 | 0.55816 | 1.124 | 0.61012 | 0.52248 | 2.5636 | -177.4364 | -177.4364 | 2.8352 | -170.6228 | 175.1898
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0437e-10 | -1.9629e-10 | -2.0205e-10 | -1.0439e-10 | 1.9631e-10 | 2.0206e-10 | -2.2423e-10 | 1.9022e-09 | -1.7302e-09 | 2.2423e-10 | -1.9022e-09 | 1.7302e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.124 | 0.61012 | 0.52248 | 1.124 | 0.61012 | 0.52248 | 2.8352 | -170.6228 | 175.1898 | 2.8352 | -170.6228 | 175.1898
Line_2 | 0.065025 | 0.62304 | 0.56266 | 0.065025 | 0.62304 | 0.56266 | 0.75085 | 7.1942 | 6.4971 | 0.75085 | 7.1942 | 6.4971 | -0.82519 | -4.3867 | 3.2185 | 0.82739 | 4.5885 | -3.0539 | -0.17692 | 0.15391 | -1.079 | 0.17942 | 0.075117 | 1.2657 | 170.7341 | 11.3866 | -166.2774 | -9.2659 | -168.6134 | 13.7226 | 1.124 | 0.61012 | 0.52248 | 1.1275 | 0.63789 | 0.50882 | 2.8352 | -170.6228 | 175.1898 | 2.9691 | -167.6755 | 171.2103

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.065962 | 0.61277 | 0.55208 | 0.065962 | 0.61277 | 0.55208 | 0.76166 | 7.0757 | 6.3749 | 0.76166 | 7.0757 | 6.3749 | -0.82915 | -6.2471 | 0.27992 | 0.83141 | 6.4423 | -0.12143 | 0.11372 | -0.66977 | -4.0821 | -0.11116 | 0.89132 | 4.262 | -170.8818 | 30.9306 | -146.525 | 9.1182 | -149.0694 | 33.475 | 1.0988 | 0.88795 | 0.64185 | 1.1013 | 0.91916 | 0.66883 | 1.3084 | -142.9499 | 127.3978 | 1.5032 | -141.1924 | 125.1071
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.7079e-12 | -3.5876e-10 | -1.0467e-09 | -6.721e-12 | 3.5878e-10 | 1.0467e-09 | -1.1652e-10 | 1.3402e-09 | -2.4013e-10 | 1.1652e-10 | -1.3402e-09 | 2.4013e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1013 | 0.91916 | 0.66883 | 1.1013 | 0.91916 | 0.66883 | 1.5032 | -141.1924 | 125.1071 | 1.5032 | -141.1924 | 125.1071
Line_2 | 0.031315 | 0.30004 | 0.27097 | 0.031315 | 0.30004 | 0.27097 | 0.36159 | 3.4646 | 3.1288 | 0.36159 | 3.4646 | 3.1288 | -0.39268 | -3.1602 | 0.038315 | 0.39319 | 3.207 | -0.0001353 | 0.066178 | -0.39282 | -2.0923 | -0.0656 | 0.44594 | 2.1356 | -168.9306 | 31.7219 | -145.942 | 11.0694 | -148.2781 | 34.058 | 1.1013 | 0.91916 | 0.66883 | 1.1024 | 0.93456 | 0.68256 | 1.5032 | -141.1924 | 125.1071 | 1.5973 | -140.3618 | 124.0616

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.065962 | 0.61277 | 0.55208 | 0.065962 | 0.61277 | 0.55208 | 0.76166 | 7.0757 | 6.3749 | 0.76166 | 7.0757 | 6.3749 | -0.82915 | -6.2471 | 0.27992 | 0.83141 | 6.4423 | -0.12143 | 0.11372 | -0.66977 | -4.0821 | -0.11116 | 0.89132 | 4.262 | -170.8818 | 30.9306 | -146.525 | 9.1182 | -149.0694 | 33.475 | 1.0988 | 0.88795 | 0.64185 | 1.1013 | 0.91916 | 0.66883 | 1.3084 | -142.9499 | 127.3978 | 1.5032 | -141.1924 | 125.1071
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.7079e-12 | -3.5876e-10 | -1.0467e-09 | -6.721e-12 | 3.5878e-10 | 1.0467e-09 | -1.1652e-10 | 1.3402e-09 | -2.4013e-10 | 1.1652e-10 | -1.3402e-09 | 2.4013e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1013 | 0.91916 | 0.66883 | 1.1013 | 0.91916 | 0.66883 | 1.5032 | -141.1924 | 125.1071 | 1.5032 | -141.1924 | 125.1071
Line_2 | 0.031315 | 0.30004 | 0.27097 | 0.031315 | 0.30004 | 0.27097 | 0.36159 | 3.4646 | 3.1288 | 0.36159 | 3.4646 | 3.1288 | -0.39268 | -3.1602 | 0.038315 | 0.39319 | 3.207 | -0.0001353 | 0.066178 | -0.39282 | -2.0923 | -0.0656 | 0.44594 | 2.1356 | -168.9306 | 31.7219 | -145.942 | 11.0694 | -148.2781 | 34.058 | 1.1013 | 0.91916 | 0.66883 | 1.1024 | 0.93456 | 0.68256 | 1.5032 | -141.1924 | 125.1071 | 1.5973 | -140.3618 | 124.0616

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1215 | 1.2347 | 1.1211 | 0.1215 | 1.2347 | 1.1211 | 1.403 | 14.2575 | 12.9448 | 1.403 | 14.2575 | 12.9448 | -1.4056 | -7.0484 | 6.3456 | 1.4203 | 8.5706 | -5.0909 | -0.18868 | 1.4989 | -1.5932 | 0.19739 | -0.5994 | 2.3347 | 175.2889 | 14.9398 | -162.9715 | -4.7111 | -165.0602 | 17.0285 | 1.0108 | 0.50542 | 0.50542 | 1.0221 | 0.60259 | 0.43266 | 2.9342 | -177.0658 | -177.0658 | 3.2008 | -169.0609 | 172.3918
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8643e-11 | -1.1635e-10 | -2.8174e-10 | -8.8643e-11 | 1.1635e-10 | 2.8175e-10 | -2.0924e-10 | 1.6691e-09 | -1.2568e-09 | 2.0925e-10 | -1.6691e-09 | 1.2568e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0221 | 0.60259 | 0.43266 | 1.0221 | 0.60259 | 0.43266 | 3.2008 | -169.0609 | 172.3918 | 3.2008 | -169.0609 | 172.3918
Line_2 | 0.056958 | 0.60181 | 0.54747 | 0.056958 | 0.60181 | 0.54747 | 0.6577 | 6.9492 | 6.3217 | 0.6577 | 6.9492 | 6.3217 | -0.67127 | -4.166 | 2.4571 | 0.67451 | 4.5276 | -2.1578 | -0.035794 | 0.42388 | -1.2016 | 0.037708 | -0.2102 | 1.3784 | -179.8515 | 16.7489 | -161.5479 | 0.14852 | -163.2511 | 18.4521 | 1.0221 | 0.60259 | 0.43266 | 1.0272 | 0.65224 | 0.40504 | 3.2008 | -169.0609 | 172.3918 | 3.3483 | -165.9092 | 165.8814

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1215 | 1.2347 | 1.1211 | 0.1215 | 1.2347 | 1.1211 | 1.403 | 14.2575 | 12.9448 | 1.403 | 14.2575 | 12.9448 | -1.4056 | -7.0484 | 6.3456 | 1.4203 | 8.5706 | -5.0909 | -0.18868 | 1.4989 | -1.5932 | 0.19739 | -0.5994 | 2.3347 | 175.2889 | 14.9398 | -162.9715 | -4.7111 | -165.0602 | 17.0285 | 1.0108 | 0.50542 | 0.50542 | 1.0221 | 0.60259 | 0.43266 | 2.9342 | -177.0658 | -177.0658 | 3.2008 | -169.0609 | 172.3918
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8643e-11 | -1.1635e-10 | -2.8174e-10 | -8.8643e-11 | 1.1635e-10 | 2.8175e-10 | -2.0924e-10 | 1.6691e-09 | -1.2568e-09 | 2.0925e-10 | -1.6691e-09 | 1.2568e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0221 | 0.60259 | 0.43266 | 1.0221 | 0.60259 | 0.43266 | 3.2008 | -169.0609 | 172.3918 | 3.2008 | -169.0609 | 172.3918
Line_2 | 0.056958 | 0.60181 | 0.54747 | 0.056958 | 0.60181 | 0.54747 | 0.6577 | 6.9492 | 6.3217 | 0.6577 | 6.9492 | 6.3217 | -0.67127 | -4.166 | 2.4571 | 0.67451 | 4.5276 | -2.1578 | -0.035794 | 0.42388 | -1.2016 | 0.037708 | -0.2102 | 1.3784 | -179.8515 | 16.7489 | -161.5479 | 0.14852 | -163.2511 | 18.4521 | 1.0221 | 0.60259 | 0.43266 | 1.0272 | 0.65224 | 0.40504 | 3.2008 | -169.0609 | 172.3918 | 3.3483 | -165.9092 | 165.8814

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.060188 | 0.61164 | 0.55532 | 0.060188 | 0.61164 | 0.55532 | 0.69499 | 7.0626 | 6.4123 | 0.69499 | 7.0626 | 6.4123 | -0.67593 | -5.5912 | 0.19464 | 0.67955 | 5.9647 | 0.11325 | 0.15097 | -0.28232 | -3.675 | -0.14884 | 0.50304 | 3.8569 | -165.9266 | 33.7243 | -144.187 | 14.0734 | -146.2757 | 35.813 | 0.99654 | 0.79267 | 0.57391 | 1.001 | 0.84754 | 0.60174 | 1.4827 | -143.3851 | 128.8448 | 1.7194 | -141.455 | 124.1311
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1704e-12 | -2.5843e-10 | -8.7297e-10 | -5.174e-12 | 2.5843e-10 | 8.7297e-10 | -1.1012e-10 | 1.1367e-09 | -1.5894e-10 | 1.1012e-10 | -1.1367e-09 | 1.5893e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.001 | 0.84754 | 0.60174 | 1.001 | 0.84754 | 0.60174 | 1.7194 | -141.455 | 124.1311 | 1.7194 | -141.455 | 124.1311
Line_2 | 0.028215 | 0.29811 | 0.2712 | 0.028215 | 0.29811 | 0.2712 | 0.3258 | 3.4423 | 3.1315 | 0.3258 | 3.4423 | 3.1315 | -0.3115 | -2.9135 | -0.10208 | 0.3123 | 3.0022 | 0.17551 | 0.096507 | -0.15328 | -1.8816 | -0.096037 | 0.20572 | 1.925 | -161.067 | 35.5334 | -142.7634 | 18.933 | -144.4666 | 37.2366 | 1.001 | 0.84754 | 0.60174 | 1.0029 | 0.87419 | 0.61726 | 1.7194 | -141.455 | 124.1311 | 1.8393 | -140.5468 | 122.027

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.060188 | 0.61164 | 0.55532 | 0.060188 | 0.61164 | 0.55532 | 0.69499 | 7.0626 | 6.4123 | 0.69499 | 7.0626 | 6.4123 | -0.67593 | -5.5912 | 0.19464 | 0.67955 | 5.9647 | 0.11325 | 0.15097 | -0.28232 | -3.675 | -0.14884 | 0.50304 | 3.8569 | -165.9266 | 33.7243 | -144.187 | 14.0734 | -146.2757 | 35.813 | 0.99654 | 0.79267 | 0.57391 | 1.001 | 0.84754 | 0.60174 | 1.4827 | -143.3851 | 128.8448 | 1.7194 | -141.455 | 124.1311
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1704e-12 | -2.5843e-10 | -8.7297e-10 | -5.174e-12 | 2.5843e-10 | 8.7297e-10 | -1.1012e-10 | 1.1367e-09 | -1.5894e-10 | 1.1012e-10 | -1.1367e-09 | 1.5893e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.001 | 0.84754 | 0.60174 | 1.001 | 0.84754 | 0.60174 | 1.7194 | -141.455 | 124.1311 | 1.7194 | -141.455 | 124.1311
Line_2 | 0.028215 | 0.29811 | 0.2712 | 0.028215 | 0.29811 | 0.2712 | 0.3258 | 3.4423 | 3.1315 | 0.3258 | 3.4423 | 3.1315 | -0.3115 | -2.9135 | -0.10208 | 0.3123 | 3.0022 | 0.17551 | 0.096507 | -0.15328 | -1.8816 | -0.096037 | 0.20572 | 1.925 | -161.067 | 35.5334 | -142.7634 | 18.933 | -144.4666 | 37.2366 | 1.001 | 0.84754 | 0.60174 | 1.0029 | 0.87419 | 0.61726 | 1.7194 | -141.455 | 124.1311 | 1.8393 | -140.5468 | 122.027

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4652 | 0.16056 | 0.16916 | 1.4665 | 0.16147 | 0.16871 | 16.9182 | 1.854 | 1.9533 | 16.9341 | 1.8645 | 1.9481 | 8.4265e-13 | -0.17792 | 0.24102 | 3.4713 | 0.48667 | -0.13214 | 4.5763e-11 | 1.9197 | -2.2589 | 2.3571 | -1.9645 | 1.991 | 109.9138 | 145.3133 | -156.7768 | -70.1011 | -35.0807 | 22.7633 | 0 | 1.0399 | 1.163 | 0.24778 | 1.0855 | 1.0243 | 0 | -119.3916 | 119.3133 | -35.923 | -111.1665 | 116.5603
Line_1 | 0.0011431 | 0.0011431 | 0.0011431 | 0 | 0 | 0 | 0.0132 | 0.0132 | 0.0132 | 0 | 0 | 0 | 0.0027209 | 0.010725 | -0.013442 | 5.8401e-10 | 6.3905e-12 | 2.7618e-10 | 0.001815 | -0.0095011 | -0.0014575 | -5.8575e-10 | 6.7155e-10 | -2.4771e-10 | -69.6283 | -69.6283 | -69.6283 | 0 | 0 | 0 | 0.24778 | 1.0855 | 1.0243 | 0.24759 | 1.0854 | 1.0245 | -35.923 | -111.1665 | 116.5603 | -35.9135 | -111.1757 | 116.5632
Line_2 | 0.68944 | 0.092071 | 0.12499 | 0.69045 | 0.092584 | 0.12487 | 7.961 | 1.0631 | 1.4432 | 7.9727 | 1.0691 | 1.4418 | -1.7041 | 0.40217 | -0.25222 | 2.4262 | -0.32723 | 0.28214 | -0.99349 | 1.0817 | -1.4567 | 1.5682 | -1.127 | 1.372 | 113.8353 | 179.2288 | -143.6164 | -66.1568 | -1.3165 | 35.9204 | 0.24778 | 1.0855 | 1.0243 | 0.36235 | 1.0977 | 0.97147 | -35.923 | -111.1665 | 116.5603 | -33.2798 | -107.5076 | 114.2998

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4652 | 0.16056 | 0.16916 | 1.4665 | 0.16147 | 0.16871 | 16.9182 | 1.854 | 1.9533 | 16.9341 | 1.8645 | 1.9481 | 8.4265e-13 | -0.17792 | 0.24102 | 3.4713 | 0.48667 | -0.13214 | 4.5763e-11 | 1.9197 | -2.2589 | 2.3571 | -1.9645 | 1.991 | 109.9138 | 145.3133 | -156.7768 | -70.1011 | -35.0807 | 22.7633 | 0 | 1.0399 | 1.163 | 0.24778 | 1.0855 | 1.0243 | 0 | -119.3916 | 119.3133 | -35.923 | -111.1665 | 116.5603
Line_1 | 0.0011431 | 0.0011431 | 0.0011431 | 0 | 0 | 0 | 0.0132 | 0.0132 | 0.0132 | 0 | 0 | 0 | 0.0027209 | 0.010725 | -0.013442 | 5.8401e-10 | 6.3905e-12 | 2.7618e-10 | 0.001815 | -0.0095011 | -0.0014575 | -5.8575e-10 | 6.7155e-10 | -2.4771e-10 | -69.6283 | -69.6283 | -69.6283 | 0 | 0 | 0 | 0.24778 | 1.0855 | 1.0243 | 0.24759 | 1.0854 | 1.0245 | -35.923 | -111.1665 | 116.5603 | -35.9135 | -111.1757 | 116.5632
Line_2 | 0.68944 | 0.092071 | 0.12499 | 0.69045 | 0.092584 | 0.12487 | 7.961 | 1.0631 | 1.4432 | 7.9727 | 1.0691 | 1.4418 | -1.7041 | 0.40217 | -0.25222 | 2.4262 | -0.32723 | 0.28214 | -0.99349 | 1.0817 | -1.4567 | 1.5682 | -1.127 | 1.372 | 113.8353 | 179.2288 | -143.6164 | -66.1568 | -1.3165 | 35.9204 | 0.24778 | 1.0855 | 1.0243 | 0.36235 | 1.0977 | 0.97147 | -35.923 | -111.1665 | 116.5603 | -33.2798 | -107.5076 | 114.2998

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44678 | 0.048961 | 0.051584 | 0.4472 | 0.049238 | 0.051445 | 5.1589 | 0.56536 | 0.59564 | 5.1638 | 0.56855 | 0.59403 | -3.3868 | 0.21044 | -0.20136 | 3.7122 | -0.18027 | 0.20747 | -2.4219 | 0.57433 | -0.63552 | 2.6442 | -0.58228 | 0.61124 | 134.4816 | 169.8811 | -132.209 | -45.5333 | -10.5129 | 47.3311 | 0.80708 | 1.0819 | 1.1192 | 0.88262 | 1.0721 | 1.0866 | -9.9505 | -120.2419 | 120.2106 | -10.0707 | -117.7146 | 118.5829
Line_1 | 0.00034858 | 0.00034858 | 0.00034858 | 0 | 0 | 0 | 0.004025 | 0.004025 | 0.004025 | 0 | 0 | 0 | 0.0029105 | 0.0012866 | -0.0041967 | 6.4882e-10 | 1.0616e-10 | 5.1781e-11 | 0.0020372 | -0.0041191 | 0.0012317 | -6.2239e-10 | 1.722e-10 | -1.0825e-10 | -45.0605 | -45.0605 | -45.0605 | 0 | 0 | 0 | 0.88262 | 1.0721 | 1.0866 | 0.88256 | 1.0721 | 1.0867 | -10.0707 | -117.7146 | 118.5829 | -10.0698 | -117.7178 | 118.5848
Line_2 | 0.21023 | 0.028076 | 0.038113 | 0.21054 | 0.028232 | 0.038076 | 2.4276 | 0.32419 | 0.4401 | 2.4311 | 0.32599 | 0.43966 | -1.8264 | 0.27205 | -0.25602 | 1.8961 | -0.26527 | 0.2564 | -1.1203 | 0.21631 | -0.40391 | 1.1751 | -0.22341 | 0.39764 | 138.4032 | -156.2034 | -119.0486 | -41.5889 | 23.2513 | 60.4882 | 0.88262 | 1.0721 | 1.0866 | 0.91755 | 1.0639 | 1.0761 | -10.0707 | -117.7146 | 118.5829 | -9.8013 | -116.6446 | 117.6746

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44678 | 0.048961 | 0.051584 | 0.4472 | 0.049238 | 0.051445 | 5.1589 | 0.56536 | 0.59564 | 5.1638 | 0.56855 | 0.59403 | -3.3868 | 0.21044 | -0.20136 | 3.7122 | -0.18027 | 0.20747 | -2.4219 | 0.57433 | -0.63552 | 2.6442 | -0.58228 | 0.61124 | 134.4816 | 169.8811 | -132.209 | -45.5333 | -10.5129 | 47.3311 | 0.80708 | 1.0819 | 1.1192 | 0.88262 | 1.0721 | 1.0866 | -9.9505 | -120.2419 | 120.2106 | -10.0707 | -117.7146 | 118.5829
Line_1 | 0.00034858 | 0.00034858 | 0.00034858 | 0 | 0 | 0 | 0.004025 | 0.004025 | 0.004025 | 0 | 0 | 0 | 0.0029105 | 0.0012866 | -0.0041967 | 6.4882e-10 | 1.0616e-10 | 5.1781e-11 | 0.0020372 | -0.0041191 | 0.0012317 | -6.2239e-10 | 1.722e-10 | -1.0825e-10 | -45.0605 | -45.0605 | -45.0605 | 0 | 0 | 0 | 0.88262 | 1.0721 | 1.0866 | 0.88256 | 1.0721 | 1.0867 | -10.0707 | -117.7146 | 118.5829 | -10.0698 | -117.7178 | 118.5848
Line_2 | 0.21023 | 0.028076 | 0.038113 | 0.21054 | 0.028232 | 0.038076 | 2.4276 | 0.32419 | 0.4401 | 2.4311 | 0.32599 | 0.43966 | -1.8264 | 0.27205 | -0.25602 | 1.8961 | -0.26527 | 0.2564 | -1.1203 | 0.21631 | -0.40391 | 1.1751 | -0.22341 | 0.39764 | 138.4032 | -156.2034 | -119.0486 | -41.5889 | 23.2513 | 60.4882 | 0.88262 | 1.0721 | 1.0866 | 0.91755 | 1.0639 | 1.0761 | -10.0707 | -117.7146 | 118.5829 | -9.8013 | -116.6446 | 117.6746

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2407 | 0.15387 | 0.24057 | 1.2418 | 0.15349 | 0.23962 | 14.3259 | 1.7767 | 2.7779 | 14.3395 | 1.7723 | 2.7669 | 2.509e-11 | 1.3994 | -1.129 | 4.3202 | -1.1623 | 1.182 | 3.589e-11 | 0.96165 | -2.8387 | 2.2636 | -1.2807 | 2.2687 | 118.1757 | -157.4127 | -126.6687 | -61.8474 | 22.1301 | 53.1266 | 0 | 0.95569 | 1.0997 | 0.34013 | 0.97583 | 0.92455 | 0 | -122.9167 | 121.6431 | -34.1952 | -110.0954 | 115.6073
Line_1 | 0.00087429 | 0.00087429 | 0.00087429 | 0 | 0 | 0 | 0.010095 | 0.010095 | 0.010095 | 0 | 0 | 0 | 0.0031189 | 0.0061763 | -0.0092912 | 6.0734e-10 | 3.373e-11 | 2.4502e-10 | 0.0014362 | -0.0076749 | 0.0008901 | -7.0017e-10 | 6.145e-10 | -2.5942e-10 | -58.9204 | -58.9204 | -58.9204 | 0 | 0 | 0 | 0.34013 | 0.97583 | 0.92455 | 0.33986 | 0.97571 | 0.92481 | -34.1952 | -110.0954 | 115.6073 | -34.1847 | -110.1097 | 115.6123
Line_2 | 0.55465 | 0.13104 | 0.18148 | 0.55534 | 0.13098 | 0.18126 | 6.4046 | 1.5131 | 2.0955 | 6.4125 | 1.5125 | 2.093 | -2.0303 | 1.3896 | -1.2046 | 2.7814 | -1.3077 | 1.2713 | -0.78951 | 0.49919 | -1.5174 | 1.3625 | -0.62074 | 1.3516 | 124.5553 | -129.8559 | -115.9484 | -55.4307 | 49.8402 | 63.8424 | 0.34013 | 0.97583 | 0.92455 | 0.483 | 0.95708 | 0.88654 | -34.1952 | -110.0954 | 115.6073 | -29.332 | -104.7675 | 110.5957

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2407 | 0.15387 | 0.24057 | 1.2418 | 0.15349 | 0.23962 | 14.3259 | 1.7767 | 2.7779 | 14.3395 | 1.7723 | 2.7669 | 2.509e-11 | 1.3994 | -1.129 | 4.3202 | -1.1623 | 1.182 | 3.589e-11 | 0.96165 | -2.8387 | 2.2636 | -1.2807 | 2.2687 | 118.1757 | -157.4127 | -126.6687 | -61.8474 | 22.1301 | 53.1266 | 0 | 0.95569 | 1.0997 | 0.34013 | 0.97583 | 0.92455 | 0 | -122.9167 | 121.6431 | -34.1952 | -110.0954 | 115.6073
Line_1 | 0.00087429 | 0.00087429 | 0.00087429 | 0 | 0 | 0 | 0.010095 | 0.010095 | 0.010095 | 0 | 0 | 0 | 0.0031189 | 0.0061763 | -0.0092912 | 6.0734e-10 | 3.373e-11 | 2.4502e-10 | 0.0014362 | -0.0076749 | 0.0008901 | -7.0017e-10 | 6.145e-10 | -2.5942e-10 | -58.9204 | -58.9204 | -58.9204 | 0 | 0 | 0 | 0.34013 | 0.97583 | 0.92455 | 0.33986 | 0.97571 | 0.92481 | -34.1952 | -110.0954 | 115.6073 | -34.1847 | -110.1097 | 115.6123
Line_2 | 0.55465 | 0.13104 | 0.18148 | 0.55534 | 0.13098 | 0.18126 | 6.4046 | 1.5131 | 2.0955 | 6.4125 | 1.5125 | 2.093 | -2.0303 | 1.3896 | -1.2046 | 2.7814 | -1.3077 | 1.2713 | -0.78951 | 0.49919 | -1.5174 | 1.3625 | -0.62074 | 1.3516 | 124.5553 | -129.8559 | -115.9484 | -55.4307 | 49.8402 | 63.8424 | 0.34013 | 0.97583 | 0.92455 | 0.483 | 0.95708 | 0.88654 | -34.1952 | -110.0954 | 115.6073 | -29.332 | -104.7675 | 110.5957

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40889 | 0.050711 | 0.079287 | 0.40928 | 0.050586 | 0.078972 | 4.7214 | 0.58556 | 0.91552 | 4.7259 | 0.58411 | 0.91189 | -2.8685 | 0.56203 | -0.64937 | 3.3398 | -0.53491 | 0.65171 | -1.6793 | 0.14707 | -0.67978 | 1.9279 | -0.18489 | 0.61826 | 139.7444 | -135.844 | -105.1 | -40.2788 | 43.6988 | 74.6953 | 0.70401 | 0.99214 | 1.0268 | 0.816 | 0.96893 | 0.98512 | -9.9097 | -121.1795 | 121.2106 | -10.2827 | -117.2341 | 118.1866
Line_1 | 0.00028814 | 0.00028814 | 0.00028814 | 0 | 0 | 0 | 0.0033272 | 0.0033272 | 0.0033272 | 0 | 0 | 0 | 0.0024176 | 0.00056632 | -0.0029835 | 5.0271e-10 | 1.0626e-10 | 5.1701e-11 | 0.0012355 | -0.0031737 | 0.0013572 | -5.3394e-10 | 1.7111e-10 | -1.1411e-10 | -37.3517 | -37.3517 | -37.3517 | 0 | 0 | 0 | 0.816 | 0.96893 | 0.98512 | 0.81591 | 0.96893 | 0.98519 | -10.2827 | -117.2341 | 118.1866 | -10.2811 | -117.2395 | 118.1897
Line_2 | 0.1828 | 0.043186 | 0.05981 | 0.18302 | 0.043169 | 0.059738 | 2.1108 | 0.49867 | 0.69062 | 2.1134 | 0.49847 | 0.6898 | -1.5784 | 0.47729 | -0.57337 | 1.6618 | -0.46896 | 0.57935 | -0.68937 | -0.075142 | -0.36621 | 0.75202 | 0.060158 | 0.34958 | 146.1239 | -108.2872 | -94.3797 | -33.862 | 71.4088 | 85.411 | 0.816 | 0.96893 | 0.98512 | 0.8631 | 0.9485 | 0.98094 | -10.2827 | -117.2341 | 118.1866 | -9.5139 | -115.9011 | 116.5173

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40889 | 0.050711 | 0.079287 | 0.40928 | 0.050586 | 0.078972 | 4.7214 | 0.58556 | 0.91552 | 4.7259 | 0.58411 | 0.91189 | -2.8685 | 0.56203 | -0.64937 | 3.3398 | -0.53491 | 0.65171 | -1.6793 | 0.14707 | -0.67978 | 1.9279 | -0.18489 | 0.61826 | 139.7444 | -135.844 | -105.1 | -40.2788 | 43.6988 | 74.6953 | 0.70401 | 0.99214 | 1.0268 | 0.816 | 0.96893 | 0.98512 | -9.9097 | -121.1795 | 121.2106 | -10.2827 | -117.2341 | 118.1866
Line_1 | 0.00028814 | 0.00028814 | 0.00028814 | 0 | 0 | 0 | 0.0033272 | 0.0033272 | 0.0033272 | 0 | 0 | 0 | 0.0024176 | 0.00056632 | -0.0029835 | 5.0271e-10 | 1.0626e-10 | 5.1701e-11 | 0.0012355 | -0.0031737 | 0.0013572 | -5.3394e-10 | 1.7111e-10 | -1.1411e-10 | -37.3517 | -37.3517 | -37.3517 | 0 | 0 | 0 | 0.816 | 0.96893 | 0.98512 | 0.81591 | 0.96893 | 0.98519 | -10.2827 | -117.2341 | 118.1866 | -10.2811 | -117.2395 | 118.1897
Line_2 | 0.1828 | 0.043186 | 0.05981 | 0.18302 | 0.043169 | 0.059738 | 2.1108 | 0.49867 | 0.69062 | 2.1134 | 0.49847 | 0.6898 | -1.5784 | 0.47729 | -0.57337 | 1.6618 | -0.46896 | 0.57935 | -0.68937 | -0.075142 | -0.36621 | 0.75202 | 0.060158 | 0.34958 | 146.1239 | -108.2872 | -94.3797 | -33.862 | 71.4088 | 85.411 | 0.816 | 0.96893 | 0.98512 | 0.8631 | 0.9485 | 0.98094 | -10.2827 | -117.2341 | 118.1866 | -9.5139 | -115.9011 | 116.5173

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.028677 | 1.6899 | 1.2309 | 0.027497 | 1.6904 | 1.2319 | 0.33113 | 19.513 | 14.2131 | 0.31751 | 19.5195 | 14.2249 | 0.15672 | -3.1848e-11 | -2.0873e-11 | -0.17042 | 4.2128 | 0.94229 | -0.33224 | 3.338e-11 | 2.6762e-11 | 0.26573 | 0.30895 | 3.1164 | 64.4531 | -13.0194 | -125.9625 | -117.3116 | 166.9349 | 54.0862 | 1.1094 | 0 | 0 | 0.99423 | 0.21641 | 0.22887 | -0.29285 | 0 | 0 | 5.3606 | 171.1292 | 127.2625
Line_1 | 0.0011686 | 0.0011686 | 0.0011686 | 0 | 0 | 0 | 0.013494 | 0.013494 | 0.013494 | 0 | 0 | 0 | -0.004684 | 0.001661 | 0.0030268 | 3.6764e-10 | 1.4336e-10 | 7.232e-10 | -0.012572 | 0.0024019 | 0.00061406 | 3.7409e-10 | -8.1336e-10 | 1.1645e-10 | 115.7943 | 115.7943 | 115.7943 | 0 | 0 | 0 | 0.99423 | 0.21641 | 0.22887 | 0.99437 | 0.21624 | 0.22867 | 5.3606 | 171.1292 | 127.2625 | 5.352 | 171.1588 | 127.2536
Line_2 | 0.063423 | 0.84055 | 0.55305 | 0.062956 | 0.84126 | 0.55339 | 0.73235 | 9.7058 | 6.386 | 0.72696 | 9.7141 | 6.39 | 0.40313 | -2.1004 | -0.41597 | -0.40676 | 3.12 | 0.52136 | -0.60635 | -0.0052501 | -1.4011 | 0.54657 | 0.18971 | 2.0329 | 61.7431 | -9.014 | -126.2025 | -119.0994 | 170.9348 | 53.8992 | 0.99423 | 0.21641 | 0.22887 | 0.93722 | 0.32177 | 0.32844 | 5.3606 | 171.1292 | 127.2625 | 7.5579 | 174.4144 | 129.5153

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.028677 | 1.6899 | 1.2309 | 0.027497 | 1.6904 | 1.2319 | 0.33113 | 19.513 | 14.2131 | 0.31751 | 19.5195 | 14.2249 | 0.15672 | -3.1848e-11 | -2.0873e-11 | -0.17042 | 4.2128 | 0.94229 | -0.33224 | 3.338e-11 | 2.6762e-11 | 0.26573 | 0.30895 | 3.1164 | 64.4531 | -13.0194 | -125.9625 | -117.3116 | 166.9349 | 54.0862 | 1.1094 | 0 | 0 | 0.99423 | 0.21641 | 0.22887 | -0.29285 | 0 | 0 | 5.3606 | 171.1292 | 127.2625
Line_1 | 0.0011686 | 0.0011686 | 0.0011686 | 0 | 0 | 0 | 0.013494 | 0.013494 | 0.013494 | 0 | 0 | 0 | -0.004684 | 0.001661 | 0.0030268 | 3.6764e-10 | 1.4336e-10 | 7.232e-10 | -0.012572 | 0.0024019 | 0.00061406 | 3.7409e-10 | -8.1336e-10 | 1.1645e-10 | 115.7943 | 115.7943 | 115.7943 | 0 | 0 | 0 | 0.99423 | 0.21641 | 0.22887 | 0.99437 | 0.21624 | 0.22867 | 5.3606 | 171.1292 | 127.2625 | 5.352 | 171.1588 | 127.2536
Line_2 | 0.063423 | 0.84055 | 0.55305 | 0.062956 | 0.84126 | 0.55339 | 0.73235 | 9.7058 | 6.386 | 0.72696 | 9.7141 | 6.39 | 0.40313 | -2.1004 | -0.41597 | -0.40676 | 3.12 | 0.52136 | -0.60635 | -0.0052501 | -1.4011 | 0.54657 | 0.18971 | 2.0329 | 61.7431 | -9.014 | -126.2025 | -119.0994 | 170.9348 | 53.8992 | 0.99423 | 0.21641 | 0.22887 | 0.93722 | 0.32177 | 0.32844 | 5.3606 | 171.1292 | 127.2625 | 7.5579 | 174.4144 | 129.5153

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0045597 | 0.50013 | 0.39439 | 0.0041907 | 0.50027 | 0.39471 | 0.052651 | 5.7751 | 4.5541 | 0.04839 | 5.7767 | 4.5577 | -0.00044571 | -3.7248 | -3.0445 | -0.0029949 | 4.0832 | 3.1525 | -0.058005 | -2.9332 | -1.9475 | 0.051118 | 2.9466 | 2.2489 | 90.4319 | 12.0327 | -102.8067 | -92.5529 | -168.0144 | 77.2366 | 1.1017 | 0.82096 | 0.7936 | 1.0582 | 0.87169 | 0.84965 | -0.0083129 | -129.7476 | 109.8 | 0.80009 | -132.1987 | 112.7392
Line_1 | 0.00034643 | 0.00034643 | 0.00034643 | 0 | 0 | 0 | 0.0040002 | 0.0040002 | 0.0040002 | 0 | 0 | 0 | -0.0030353 | -7.2306e-05 | 0.003108 | 1.6163e-10 | 6.5045e-10 | 7.5253e-10 | -0.0029504 | 0.0034862 | -0.0013756 | 5.9508e-11 | -7.4266e-10 | -4.3327e-10 | 136.6132 | 136.6131 | 136.6132 | 0 | 0 | 0 | 1.0582 | 0.87169 | 0.84965 | 1.0582 | 0.87167 | 0.84961 | 0.80009 | -132.1987 | 112.7392 | 0.79886 | -132.195 | 112.7363
Line_2 | 0.016912 | 0.24978 | 0.17834 | 0.016773 | 0.24997 | 0.17845 | 0.19528 | 2.8842 | 2.0592 | 0.19368 | 2.8865 | 2.0606 | 0.02911 | -2.1358 | -1.424 | -0.032029 | 2.2243 | 1.4397 | -0.20458 | -1.3263 | -1.0165 | 0.19848 | 1.3414 | 1.077 | 82.7018 | 15.9623 | -102.781 | -98.2345 | -164.0923 | 77.3109 | 1.0582 | 0.87169 | 0.84965 | 1.0381 | 0.89989 | 0.87255 | 0.80009 | -132.1987 | 112.7392 | 0.93211 | -132.999 | 114.1097

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0045597 | 0.50013 | 0.39439 | 0.0041907 | 0.50027 | 0.39471 | 0.052651 | 5.7751 | 4.5541 | 0.04839 | 5.7767 | 4.5577 | -0.00044571 | -3.7248 | -3.0445 | -0.0029949 | 4.0832 | 3.1525 | -0.058005 | -2.9332 | -1.9475 | 0.051118 | 2.9466 | 2.2489 | 90.4319 | 12.0327 | -102.8067 | -92.5529 | -168.0144 | 77.2366 | 1.1017 | 0.82096 | 0.7936 | 1.0582 | 0.87169 | 0.84965 | -0.0083129 | -129.7476 | 109.8 | 0.80009 | -132.1987 | 112.7392
Line_1 | 0.00034643 | 0.00034643 | 0.00034643 | 0 | 0 | 0 | 0.0040002 | 0.0040002 | 0.0040002 | 0 | 0 | 0 | -0.0030353 | -7.2306e-05 | 0.003108 | 1.6163e-10 | 6.5045e-10 | 7.5253e-10 | -0.0029504 | 0.0034862 | -0.0013756 | 5.9508e-11 | -7.4266e-10 | -4.3327e-10 | 136.6132 | 136.6131 | 136.6132 | 0 | 0 | 0 | 1.0582 | 0.87169 | 0.84965 | 1.0582 | 0.87167 | 0.84961 | 0.80009 | -132.1987 | 112.7392 | 0.79886 | -132.195 | 112.7363
Line_2 | 0.016912 | 0.24978 | 0.17834 | 0.016773 | 0.24997 | 0.17845 | 0.19528 | 2.8842 | 2.0592 | 0.19368 | 2.8865 | 2.0606 | 0.02911 | -2.1358 | -1.424 | -0.032029 | 2.2243 | 1.4397 | -0.20458 | -1.3263 | -1.0165 | 0.19848 | 1.3414 | 1.077 | 82.7018 | 15.9623 | -102.781 | -98.2345 | -164.0923 | 77.3109 | 1.0582 | 0.87169 | 0.84965 | 1.0381 | 0.89989 | 0.87255 | 0.80009 | -132.1987 | 112.7392 | 0.93211 | -132.999 | 114.1097

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14423 | 1.5869 | 1.0378 | 0.14302 | 1.5872 | 1.0385 | 1.6654 | 18.3238 | 11.983 | 1.6515 | 18.3272 | 11.9919 | 0.0046322 | -7.0515e-12 | -2.736e-12 | -0.15169 | 5.8912 | 0.63317 | -1.7688 | -2.784e-11 | -1.8821e-11 | 1.4656 | -0.26006 | 3.0835 | 89.4846 | -1.8914 | -129.6152 | -90.6206 | 178.0652 | 50.438 | 1.0621 | 0 | 0 | 0.89217 | 0.32176 | 0.2625 | -0.36538 | 0 | 0 | 5.2887 | 175.5376 | 128.8341
Line_1 | 0.00084077 | 0.00084077 | 0.00084077 | 0 | 0 | 0 | 0.0097084 | 0.0097084 | 0.0097084 | 0 | 0 | 0 | -0.0046402 | 0.002096 | 0.0025479 | 3.3834e-10 | 1.2969e-10 | 6.9801e-10 | -0.0073137 | 0.0023161 | 5.1264e-05 | 3.0089e-10 | -1.0636e-09 | 1.4749e-10 | 127.6815 | 127.6815 | 127.6815 | 0 | 0 | 0 | 0.89217 | 0.32176 | 0.2625 | 0.89235 | 0.32154 | 0.26224 | 5.2887 | 175.5376 | 128.8341 | 5.2765 | 175.5654 | 128.8236
Line_2 | 0.13411 | 0.78053 | 0.45015 | 0.13373 | 0.78103 | 0.45008 | 1.5486 | 9.0128 | 5.1978 | 1.5442 | 9.0185 | 5.1971 | 0.19392 | -2.8628 | -0.19609 | -0.19124 | 4.2529 | 0.13353 | -1.368 | 0.46277 | -1.3503 | 1.2378 | -0.26647 | 1.8426 | 87.2201 | 4.7202 | -132.9028 | -93.0157 | -175.3129 | 47.1821 | 0.89217 | 0.32176 | 0.2625 | 0.81111 | 0.4725 | 0.35548 | 5.2887 | 175.5376 | 128.8341 | 5.7668 | -178.8981 | 133.0373

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14423 | 1.5869 | 1.0378 | 0.14302 | 1.5872 | 1.0385 | 1.6654 | 18.3238 | 11.983 | 1.6515 | 18.3272 | 11.9919 | 0.0046322 | -7.0515e-12 | -2.736e-12 | -0.15169 | 5.8912 | 0.63317 | -1.7688 | -2.784e-11 | -1.8821e-11 | 1.4656 | -0.26006 | 3.0835 | 89.4846 | -1.8914 | -129.6152 | -90.6206 | 178.0652 | 50.438 | 1.0621 | 0 | 0 | 0.89217 | 0.32176 | 0.2625 | -0.36538 | 0 | 0 | 5.2887 | 175.5376 | 128.8341
Line_1 | 0.00084077 | 0.00084077 | 0.00084077 | 0 | 0 | 0 | 0.0097084 | 0.0097084 | 0.0097084 | 0 | 0 | 0 | -0.0046402 | 0.002096 | 0.0025479 | 3.3834e-10 | 1.2969e-10 | 6.9801e-10 | -0.0073137 | 0.0023161 | 5.1264e-05 | 3.0089e-10 | -1.0636e-09 | 1.4749e-10 | 127.6815 | 127.6815 | 127.6815 | 0 | 0 | 0 | 0.89217 | 0.32176 | 0.2625 | 0.89235 | 0.32154 | 0.26224 | 5.2887 | 175.5376 | 128.8341 | 5.2765 | 175.5654 | 128.8236
Line_2 | 0.13411 | 0.78053 | 0.45015 | 0.13373 | 0.78103 | 0.45008 | 1.5486 | 9.0128 | 5.1978 | 1.5442 | 9.0185 | 5.1971 | 0.19392 | -2.8628 | -0.19609 | -0.19124 | 4.2529 | 0.13353 | -1.368 | 0.46277 | -1.3503 | 1.2378 | -0.26647 | 1.8426 | 87.2201 | 4.7202 | -132.9028 | -93.0157 | -175.3129 | 47.1821 | 0.89217 | 0.32176 | 0.2625 | 0.81111 | 0.4725 | 0.35548 | 5.2887 | 175.5376 | 128.8341 | 5.7668 | -178.8981 | 133.0373

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.04304 | 0.49811 | 0.36005 | 0.042641 | 0.49817 | 0.36034 | 0.49698 | 5.7517 | 4.1574 | 0.49237 | 5.7524 | 4.1609 | -0.12261 | -3.5466 | -2.4055 | 0.10687 | 4.1295 | 2.5253 | -0.49107 | -2.1721 | -1.6278 | 0.45741 | 2.1091 | 1.9915 | 104.173 | 19.774 | -105.2161 | -75.9638 | -160.2728 | 74.8291 | 1.0184 | 0.72307 | 0.69864 | 0.95402 | 0.80609 | 0.77293 | 0.1543 | -128.7402 | 108.8697 | 0.88501 | -133.2173 | 113.0884
Line_1 | 0.00028051 | 0.00028051 | 0.00028051 | 0 | 0 | 0 | 0.003239 | 0.003239 | 0.003239 | 0 | 0 | 0 | -0.0024849 | 0.00034667 | 0.0021386 | 1.6017e-10 | 4.9498e-10 | 6.2304e-10 | -0.0018368 | 0.0025878 | -0.0013015 | 5.3899e-11 | -6.7547e-10 | -3.4124e-10 | 144.4127 | 144.4127 | 144.4127 | 0 | 0 | 0 | 0.95402 | 0.80609 | 0.77293 | 0.9541 | 0.80606 | 0.77287 | 0.88501 | -133.2173 | 113.0884 | 0.88279 | -133.2114 | 113.084
Line_2 | 0.042471 | 0.24704 | 0.15525 | 0.042348 | 0.24719 | 0.15526 | 0.49041 | 2.8526 | 1.7927 | 0.48899 | 2.8544 | 1.7928 | -0.094899 | -2.1582 | -1.0546 | 0.093679 | 2.3004 | 1.0563 | -0.45813 | -0.7934 | -0.89876 | 0.44389 | 0.80666 | 0.95871 | 102.5879 | 26.5984 | -107.3508 | -77.6646 | -153.4398 | 72.7316 | 0.95402 | 0.80609 | 0.77293 | 0.92777 | 0.85404 | 0.79566 | 0.88501 | -133.2173 | 113.0884 | 0.41859 | -134.116 | 114.9596

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.04304 | 0.49811 | 0.36005 | 0.042641 | 0.49817 | 0.36034 | 0.49698 | 5.7517 | 4.1574 | 0.49237 | 5.7524 | 4.1609 | -0.12261 | -3.5466 | -2.4055 | 0.10687 | 4.1295 | 2.5253 | -0.49107 | -2.1721 | -1.6278 | 0.45741 | 2.1091 | 1.9915 | 104.173 | 19.774 | -105.2161 | -75.9638 | -160.2728 | 74.8291 | 1.0184 | 0.72307 | 0.69864 | 0.95402 | 0.80609 | 0.77293 | 0.1543 | -128.7402 | 108.8697 | 0.88501 | -133.2173 | 113.0884
Line_1 | 0.00028051 | 0.00028051 | 0.00028051 | 0 | 0 | 0 | 0.003239 | 0.003239 | 0.003239 | 0 | 0 | 0 | -0.0024849 | 0.00034667 | 0.0021386 | 1.6017e-10 | 4.9498e-10 | 6.2304e-10 | -0.0018368 | 0.0025878 | -0.0013015 | 5.3899e-11 | -6.7547e-10 | -3.4124e-10 | 144.4127 | 144.4127 | 144.4127 | 0 | 0 | 0 | 0.95402 | 0.80609 | 0.77293 | 0.9541 | 0.80606 | 0.77287 | 0.88501 | -133.2173 | 113.0884 | 0.88279 | -133.2114 | 113.084
Line_2 | 0.042471 | 0.24704 | 0.15525 | 0.042348 | 0.24719 | 0.15526 | 0.49041 | 2.8526 | 1.7927 | 0.48899 | 2.8544 | 1.7928 | -0.094899 | -2.1582 | -1.0546 | 0.093679 | 2.3004 | 1.0563 | -0.45813 | -0.7934 | -0.89876 | 0.44389 | 0.80666 | 0.95871 | 102.5879 | 26.5984 | -107.3508 | -77.6646 | -153.4398 | 72.7316 | 0.95402 | 0.80609 | 0.77293 | 0.92777 | 0.85404 | 0.79566 | 0.88501 | -133.2173 | 113.0884 | 0.41859 | -134.116 | 114.9596