## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1194 | 2.1194 | 0 | 0 | 73.4178 | 73.4178 | 16.0369 | -9.0297 | 18.7255 | -10.775 | -74.2387 | 105.7613 | 0.33581 | 0.19148 | -24.8162 | -24.2025
Line_1 | 2.8115 | 2.8115 | 0 | 5.6127 | 97.392 | 97.392 | 12.3308 | -1e-07 | 13.9907 | -1e-07 | -72.811 | 107.189 | 0.19148 | 0 | -24.2025 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19148 | 0.19148 | -24.2025 | -24.2025

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1194 | 2.1194 | 0 | 0 | 73.4178 | 73.4178 | 16.0369 | -9.0297 | 18.7255 | -10.775 | -74.2387 | 105.7613 | 0.33581 | 0.19148 | -24.8162 | -24.2025
Line_1 | 2.8115 | 2.8115 | 0 | 5.6127 | 97.392 | 97.392 | 12.3308 | -1e-07 | 13.9907 | -1e-07 | -72.811 | 107.189 | 0.19148 | 0 | -24.2025 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19148 | 0.19148 | -24.2025 | -24.2025

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.84991 | 0.84991 | 0 | 0 | 29.4416 | 29.4416 | 16.5896 | -15.4627 | 17.7382 | -16.4597 | -57.2111 | 122.7889 | 0.82492 | 0.76706 | -10.2947 | -10.4223
Line_1 | 1.1274 | 1.1274 | 0 | 2.2508 | 39.0556 | 39.0556 | 21.0497 | -19.0668 | 21.3167 | -19.0668 | -55.7833 | 124.2167 | 0.76706 | 0.69041 | -10.4223 | -10.7833
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76706 | 0.76706 | -10.4223 | -10.4223

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.84991 | 0.84991 | 0 | 0 | 29.4416 | 29.4416 | 16.5896 | -15.4627 | 17.7382 | -16.4597 | -57.2111 | 122.7889 | 0.82492 | 0.76706 | -10.2947 | -10.4223
Line_1 | 1.1274 | 1.1274 | 0 | 2.2508 | 39.0556 | 39.0556 | 21.0497 | -19.0668 | 21.3167 | -19.0668 | -55.7833 | 124.2167 | 0.76706 | 0.69041 | -10.4223 | -10.7833
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76706 | 0.76706 | -10.4223 | -10.4223

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6417 | 1.6417 | 0 | 0 | 56.8697 | 56.8697 | 19.4023 | -11.3298 | 11.5948 | -6.8244 | -65.6754 | 114.3246 | 0.39745 | 0.23257 | -34.8129 | -34.6132
Line_1 | 2.3157 | 2.3157 | 0 | 4.1435 | 80.2187 | 80.2187 | 16.0618 | -1e-07 | 9.4917 | -1e-07 | -65.194 | 114.806 | 0.23257 | 0 | -34.6132 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23257 | 0.23257 | -34.6132 | -34.6132

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6417 | 1.6417 | 0 | 0 | 56.8697 | 56.8697 | 19.4023 | -11.3298 | 11.5948 | -6.8244 | -65.6754 | 114.3246 | 0.39745 | 0.23257 | -34.8129 | -34.6132
Line_1 | 2.3157 | 2.3157 | 0 | 4.1435 | 80.2187 | 80.2187 | 16.0618 | -1e-07 | 9.4917 | -1e-07 | -65.194 | 114.806 | 0.23257 | 0 | -34.6132 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23257 | 0.23257 | -34.6132 | -34.6132

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.68928 | 0.68928 | 0 | 0 | 23.8772 | 23.8772 | 13.3879 | -11.9648 | 12.1805 | -11.3396 | -53.8149 | 126.1851 | 0.75803 | 0.69039 | -11.5185 | -10.3519
Line_1 | 0.97227 | 0.97227 | 0 | 1.7397 | 33.6805 | 33.6805 | 17.0111 | -14.1797 | 15.8529 | -14.1797 | -53.3335 | 126.6665 | 0.69039 | 0.59539 | -10.3519 | -8.3335
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69039 | 0.69039 | -10.3519 | -10.3519

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.68928 | 0.68928 | 0 | 0 | 23.8772 | 23.8772 | 13.3879 | -11.9648 | 12.1805 | -11.3396 | -53.8149 | 126.1851 | 0.75803 | 0.69039 | -11.5185 | -10.3519
Line_1 | 0.97227 | 0.97227 | 0 | 1.7397 | 33.6805 | 33.6805 | 17.0111 | -14.1797 | 15.8529 | -14.1797 | -53.3335 | 126.6665 | 0.69039 | 0.59539 | -10.3519 | -8.3335
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69039 | 0.69039 | -10.3519 | -10.3519

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.079904 | 1.8089 | 1.8806 | 0.079904 | 1.8089 | 1.8806 | 0.92265 | 20.8877 | 21.7158 | 0.92265 | 20.8877 | 21.7158 | -1.0018 | 15.2502 | -7.5437 | 1.0051 | -13.5486 | 9.3829 | -0.20689 | 1.4725 | 7.638 | 0.21066 | 0.45815 | -5.5513 | 169.8453 | -163.441 | 15.4646 | -10.1547 | 16.559 | -164.5354 | 1.1087 | 0.7335 | 0.49435 | 1.1131 | 0.64901 | 0.50203 | 1.5137 | -157.926 | 150.1086 | 1.6821 | -165.3777 | 164.8543
Line_1 | 0 | 2.408 | 2.408 | 0 | 2.408 | 2.408 | 0 | 27.8055 | 27.8055 | 0 | 27.8055 | 27.8055 | 5.5236e-11 | 18.0442 | -12.0136 | -5.5246e-11 | -15.0289 | 15.0289 | -1.3177e-10 | -0.26638 | 7.1087 | 1.3177e-10 | 3.6876 | -3.6876 | 0 | -164.5319 | 15.4681 | 0 | 15.4681 | -164.5319 | 1.1131 | 0.64901 | 0.50203 | 1.1131 | 0.55653 | 0.55653 | 1.6821 | -165.3777 | 164.8543 | 1.6821 | -178.3179 | -178.3179
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5246e-11 | -2.9428e-10 | -5.113e-10 | -5.5262e-11 | 2.9428e-10 | 5.1129e-10 | -1.3177e-10 | 1.8632e-09 | -1.4281e-09 | 1.3177e-10 | -1.8631e-09 | 1.4282e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1131 | 0.64901 | 0.50203 | 1.1131 | 0.64901 | 0.50203 | 1.6821 | -165.3777 | 164.8543 | 1.6821 | -165.3777 | 164.8543

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.079904 | 1.8089 | 1.8806 | 0.079904 | 1.8089 | 1.8806 | 0.92265 | 20.8877 | 21.7158 | 0.92265 | 20.8877 | 21.7158 | -1.0018 | 15.2502 | -7.5437 | 1.0051 | -13.5486 | 9.3829 | -0.20689 | 1.4725 | 7.638 | 0.21066 | 0.45815 | -5.5513 | 169.8453 | -163.441 | 15.4646 | -10.1547 | 16.559 | -164.5354 | 1.1087 | 0.7335 | 0.49435 | 1.1131 | 0.64901 | 0.50203 | 1.5137 | -157.926 | 150.1086 | 1.6821 | -165.3777 | 164.8543
Line_1 | 0 | 2.408 | 2.408 | 0 | 2.408 | 2.408 | 0 | 27.8055 | 27.8055 | 0 | 27.8055 | 27.8055 | 5.5236e-11 | 18.0442 | -12.0136 | -5.5246e-11 | -15.0289 | 15.0289 | -1.3177e-10 | -0.26638 | 7.1087 | 1.3177e-10 | 3.6876 | -3.6876 | 0 | -164.5319 | 15.4681 | 0 | 15.4681 | -164.5319 | 1.1131 | 0.64901 | 0.50203 | 1.1131 | 0.55653 | 0.55653 | 1.6821 | -165.3777 | 164.8543 | 1.6821 | -178.3179 | -178.3179
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5246e-11 | -2.9428e-10 | -5.113e-10 | -5.5262e-11 | 2.9428e-10 | 5.1129e-10 | -1.3177e-10 | 1.8632e-09 | -1.4281e-09 | 1.3177e-10 | -1.8631e-09 | 1.4282e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1131 | 0.64901 | 0.50203 | 1.1131 | 0.64901 | 0.50203 | 1.6821 | -165.3777 | 164.8543 | 1.6821 | -165.3777 | 164.8543

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.046555 | 1.0539 | 1.0957 | 0.046555 | 1.0539 | 1.0957 | 0.53757 | 12.1698 | 12.6523 | 0.53757 | 12.1698 | 12.6523 | -0.59162 | 11.0365 | -0.9368 | 0.59275 | -10.4588 | 1.5611 | 0.01824 | 1.9509 | 8.655 | -0.016961 | -1.2956 | -7.9467 | -177.3122 | -150.5985 | 28.3071 | 2.6878 | 29.4015 | -151.6929 | 1.1011 | 0.92093 | 0.68806 | 1.1031 | 0.86598 | 0.64008 | 0.92186 | -140.5738 | 124.4846 | 1.0487 | -143.537 | 129.4213
Line_1 | 0 | 1.403 | 1.403 | 0 | 1.403 | 1.403 | 0 | 16.2004 | 16.2004 | 0 | 16.2004 | 16.2004 | 1.3291e-11 | 13.8874 | -1.9983 | -1.3294e-11 | -12.8638 | 3.0218 | -8.1429e-11 | 1.9894 | 10.1752 | 8.1429e-11 | -0.82807 | -9.0139 | 0 | -151.6894 | 28.3106 | 0 | 28.3106 | -151.6894 | 1.1031 | 0.86598 | 0.64008 | 1.1031 | 0.79569 | 0.58683 | 1.0487 | -143.537 | 129.4213 | 1.0487 | -148.0063 | 136.844
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3302e-11 | -4.5248e-10 | -1.0446e-09 | -1.3302e-11 | 4.5248e-10 | 1.0446e-09 | -8.1432e-11 | 1.3948e-09 | -4.2261e-10 | 8.1432e-11 | -1.3948e-09 | 4.2261e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1031 | 0.86598 | 0.64008 | 1.1031 | 0.86598 | 0.64008 | 1.0487 | -143.537 | 129.4213 | 1.0487 | -143.537 | 129.4213

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.046555 | 1.0539 | 1.0957 | 0.046555 | 1.0539 | 1.0957 | 0.53757 | 12.1698 | 12.6523 | 0.53757 | 12.1698 | 12.6523 | -0.59162 | 11.0365 | -0.9368 | 0.59275 | -10.4588 | 1.5611 | 0.01824 | 1.9509 | 8.655 | -0.016961 | -1.2956 | -7.9467 | -177.3122 | -150.5985 | 28.3071 | 2.6878 | 29.4015 | -151.6929 | 1.1011 | 0.92093 | 0.68806 | 1.1031 | 0.86598 | 0.64008 | 0.92186 | -140.5738 | 124.4846 | 1.0487 | -143.537 | 129.4213
Line_1 | 0 | 1.403 | 1.403 | 0 | 1.403 | 1.403 | 0 | 16.2004 | 16.2004 | 0 | 16.2004 | 16.2004 | 1.3291e-11 | 13.8874 | -1.9983 | -1.3294e-11 | -12.8638 | 3.0218 | -8.1429e-11 | 1.9894 | 10.1752 | 8.1429e-11 | -0.82807 | -9.0139 | 0 | -151.6894 | 28.3106 | 0 | 28.3106 | -151.6894 | 1.1031 | 0.86598 | 0.64008 | 1.1031 | 0.79569 | 0.58683 | 1.0487 | -143.537 | 129.4213 | 1.0487 | -148.0063 | 136.844
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3302e-11 | -4.5248e-10 | -1.0446e-09 | -1.3302e-11 | 4.5248e-10 | 1.0446e-09 | -8.1432e-11 | 1.3948e-09 | -4.2261e-10 | 8.1432e-11 | -1.3948e-09 | 4.2261e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1031 | 0.86598 | 0.64008 | 1.1031 | 0.86598 | 0.64008 | 1.0487 | -143.537 | 129.4213 | 1.0487 | -143.537 | 129.4213

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.073613 | 1.403 | 1.4673 | 0.073613 | 1.403 | 1.4673 | 0.85 | 16.2 | 16.9429 | 0.85 | 16.2 | 16.9429 | -0.85011 | 12.3426 | -2.8741 | 0.85552 | -10.3775 | 5.0236 | -0.09326 | -0.5749 | 6.1353 | 0.096457 | 1.7362 | -4.8651 | 175.5264 | -154.6802 | 23.8914 | -4.4736 | 25.3198 | -156.1086 | 1.0061 | 0.76272 | 0.39988 | 1.0129 | 0.64949 | 0.41275 | 1.7869 | -157.3471 | 138.9922 | 1.9591 | -164.1781 | 159.8099
Line_1 | 0 | 1.9821 | 1.9821 | 0 | 1.9821 | 1.9821 | 0 | 22.8869 | 22.8869 | 0 | 22.8869 | 22.8869 | 4.9957e-11 | 14.7548 | -6.9102 | -4.9957e-11 | -10.8325 | 10.8325 | -1.2697e-10 | -1.8055 | 6.4412 | 1.2696e-10 | 4.1233 | -4.1233 | 0 | -157.2017 | 22.7983 | 0 | 22.7983 | -157.2017 | 1.0129 | 0.64949 | 0.41275 | 1.0129 | 0.50643 | 0.50643 | 1.9591 | -164.1781 | 159.8099 | 1.9591 | -178.0409 | -178.0409
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9956e-11 | -1.612e-10 | -5.379e-10 | -4.9956e-11 | 1.612e-10 | 5.379e-10 | -1.2696e-10 | 1.6596e-09 | -9.6895e-10 | 1.2696e-10 | -1.6596e-09 | 9.6896e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0129 | 0.64949 | 0.41275 | 1.0129 | 0.64949 | 0.41275 | 1.9591 | -164.1781 | 159.8099 | 1.9591 | -164.1781 | 159.8099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.073613 | 1.403 | 1.4673 | 0.073613 | 1.403 | 1.4673 | 0.85 | 16.2 | 16.9429 | 0.85 | 16.2 | 16.9429 | -0.85011 | 12.3426 | -2.8741 | 0.85552 | -10.3775 | 5.0236 | -0.09326 | -0.5749 | 6.1353 | 0.096457 | 1.7362 | -4.8651 | 175.5264 | -154.6802 | 23.8914 | -4.4736 | 25.3198 | -156.1086 | 1.0061 | 0.76272 | 0.39988 | 1.0129 | 0.64949 | 0.41275 | 1.7869 | -157.3471 | 138.9922 | 1.9591 | -164.1781 | 159.8099
Line_1 | 0 | 1.9821 | 1.9821 | 0 | 1.9821 | 1.9821 | 0 | 22.8869 | 22.8869 | 0 | 22.8869 | 22.8869 | 4.9957e-11 | 14.7548 | -6.9102 | -4.9957e-11 | -10.8325 | 10.8325 | -1.2697e-10 | -1.8055 | 6.4412 | 1.2696e-10 | 4.1233 | -4.1233 | 0 | -157.2017 | 22.7983 | 0 | 22.7983 | -157.2017 | 1.0129 | 0.64949 | 0.41275 | 1.0129 | 0.50643 | 0.50643 | 1.9591 | -164.1781 | 159.8099 | 1.9591 | -178.0409 | -178.0409
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9956e-11 | -1.612e-10 | -5.379e-10 | -4.9956e-11 | 1.612e-10 | 5.379e-10 | -1.2696e-10 | 1.6596e-09 | -9.6895e-10 | 1.2696e-10 | -1.6596e-09 | 9.6896e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0129 | 0.64949 | 0.41275 | 1.0129 | 0.64949 | 0.41275 | 1.9591 | -164.1781 | 159.8099 | 1.9591 | -164.1781 | 159.8099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.044081 | 0.84013 | 0.87865 | 0.044081 | 0.84013 | 0.87865 | 0.509 | 9.7009 | 10.1458 | 0.509 | 9.7009 | 10.1458 | -0.50829 | 8.4006 | 0.14956 | 0.51023 | -7.696 | 0.62123 | 0.031598 | 0.67345 | 6.2908 | -0.030452 | -0.25702 | -5.8353 | -175.3498 | -145.5565 | 33.0151 | 4.6502 | 34.4435 | -146.9849 | 1.0005 | 0.86874 | 0.62021 | 1.0042 | 0.79376 | 0.57839 | 1.0929 | -140.9731 | 121.6532 | 1.2347 | -143.6437 | 129.092
Line_1 | 0 | 1.1869 | 1.1869 | 0 | 1.1869 | 1.1869 | 0 | 13.7053 | 13.7053 | 0 | 13.7053 | 13.7053 | 1.6329e-11 | 10.8462 | -0.9894 | -1.6329e-11 | -9.4397 | 2.3959 | -7.9339e-11 | 0.8411 | 7.865 | 7.9339e-11 | -0.0099328 | -7.0338 | 0 | -148.078 | 31.922 | 0 | 31.922 | -148.078 | 1.0042 | 0.79376 | 0.57839 | 1.0042 | 0.68876 | 0.54218 | 1.2347 | -143.6437 | 129.092 | 1.2347 | -148.0177 | 140.7321
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6328e-11 | -3.5593e-10 | -8.6749e-10 | -1.6328e-11 | 3.5593e-10 | 8.6749e-10 | -7.9339e-11 | 1.1672e-09 | -3.3512e-10 | 7.9342e-11 | -1.1672e-09 | 3.3512e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0042 | 0.79376 | 0.57839 | 1.0042 | 0.79376 | 0.57839 | 1.2347 | -143.6437 | 129.092 | 1.2347 | -143.6437 | 129.092

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.044081 | 0.84013 | 0.87865 | 0.044081 | 0.84013 | 0.87865 | 0.509 | 9.7009 | 10.1458 | 0.509 | 9.7009 | 10.1458 | -0.50829 | 8.4006 | 0.14956 | 0.51023 | -7.696 | 0.62123 | 0.031598 | 0.67345 | 6.2908 | -0.030452 | -0.25702 | -5.8353 | -175.3498 | -145.5565 | 33.0151 | 4.6502 | 34.4435 | -146.9849 | 1.0005 | 0.86874 | 0.62021 | 1.0042 | 0.79376 | 0.57839 | 1.0929 | -140.9731 | 121.6532 | 1.2347 | -143.6437 | 129.092
Line_1 | 0 | 1.1869 | 1.1869 | 0 | 1.1869 | 1.1869 | 0 | 13.7053 | 13.7053 | 0 | 13.7053 | 13.7053 | 1.6329e-11 | 10.8462 | -0.9894 | -1.6329e-11 | -9.4397 | 2.3959 | -7.9339e-11 | 0.8411 | 7.865 | 7.9339e-11 | -0.0099328 | -7.0338 | 0 | -148.078 | 31.922 | 0 | 31.922 | -148.078 | 1.0042 | 0.79376 | 0.57839 | 1.0042 | 0.68876 | 0.54218 | 1.2347 | -143.6437 | 129.092 | 1.2347 | -148.0177 | 140.7321
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6328e-11 | -3.5593e-10 | -8.6749e-10 | -1.6328e-11 | 3.5593e-10 | 8.6749e-10 | -7.9339e-11 | 1.1672e-09 | -3.3512e-10 | 7.9342e-11 | -1.1672e-09 | 3.3512e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0042 | 0.79376 | 0.57839 | 1.0042 | 0.79376 | 0.57839 | 1.2347 | -143.6437 | 129.092 | 1.2347 | -143.6437 | 129.092

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6591 | 0.24016 | 0.16277 | 1.658 | 0.24115 | 0.16373 | 19.1577 | 2.7731 | 1.8795 | 19.1453 | 2.7846 | 1.8906 | 10.1573 | -2.8176 | 1.5626 | -6.4761 | 2.7047 | -1.6496 | 5.6964 | 0.97534 | 1.2243 | -2.9523 | -1.2819 | -1.4421 | -57.372 | 83.736 | 79.5888 | 122.6366 | -96.1501 | -100.2187 | 0.60788 | 1.0752 | 1.0562 | 0.37175 | 1.0749 | 1.1589 | -28.0875 | -115.3578 | 117.6671 | -32.8558 | -121.5097 | 120.942
Line_1 | 2.3731 | 0.0019226 | 0.0019226 | 2.3716 | 0 | 0 | 27.4027 | 0.0222 | 0.0222 | 27.3845 | 0 | 0 | 8.8917 | 0.021704 | -0.020305 | -1.7423e-12 | 1.138e-10 | -1.4265e-09 | 4.9712 | -0.0099201 | -0.0158 | 4.4234e-11 | -9.8733e-10 | 2.8782e-10 | -62.0647 | -96.9459 | -96.9459 | 117.9619 | 0 | 0 | 0.37175 | 1.0749 | 1.1589 | 0 | 1.0392 | 1.3804 | -32.8558 | -121.5097 | 120.942 | 0 | -133.6249 | 122.9631
Line_2 | 0.00141 | 0.00141 | 0.00141 | 0 | 0 | 0 | 0.016281 | 0.016281 | 0.016281 | 0 | 0 | 0 | 0.0039855 | 0.013438 | -0.017418 | 7.5292e-10 | 9.7875e-11 | -2.5209e-10 | 0.0045552 | -0.011211 | -0.0072554 | -8.1262e-10 | -1.1507e-10 | 7.6863e-11 | -81.6717 | -81.6717 | -81.6717 | 0 | 0 | 0 | 0.37175 | 1.0749 | 1.1589 | 0.37154 | 1.0748 | 1.1592 | -32.8558 | -121.5097 | 120.942 | -32.8387 | -121.5211 | 120.9418

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6591 | 0.24016 | 0.16277 | 1.658 | 0.24115 | 0.16373 | 19.1577 | 2.7731 | 1.8795 | 19.1453 | 2.7846 | 1.8906 | 10.1573 | -2.8176 | 1.5626 | -6.4761 | 2.7047 | -1.6496 | 5.6964 | 0.97534 | 1.2243 | -2.9523 | -1.2819 | -1.4421 | -57.372 | 83.736 | 79.5888 | 122.6366 | -96.1501 | -100.2187 | 0.60788 | 1.0752 | 1.0562 | 0.37175 | 1.0749 | 1.1589 | -28.0875 | -115.3578 | 117.6671 | -32.8558 | -121.5097 | 120.942
Line_1 | 2.3731 | 0.0019226 | 0.0019226 | 2.3716 | 0 | 0 | 27.4027 | 0.0222 | 0.0222 | 27.3845 | 0 | 0 | 8.8917 | 0.021704 | -0.020305 | -1.7423e-12 | 1.138e-10 | -1.4265e-09 | 4.9712 | -0.0099201 | -0.0158 | 4.4234e-11 | -9.8733e-10 | 2.8782e-10 | -62.0647 | -96.9459 | -96.9459 | 117.9619 | 0 | 0 | 0.37175 | 1.0749 | 1.1589 | 0 | 1.0392 | 1.3804 | -32.8558 | -121.5097 | 120.942 | 0 | -133.6249 | 122.9631
Line_2 | 0.00141 | 0.00141 | 0.00141 | 0 | 0 | 0 | 0.016281 | 0.016281 | 0.016281 | 0 | 0 | 0 | 0.0039855 | 0.013438 | -0.017418 | 7.5292e-10 | 9.7875e-11 | -2.5209e-10 | 0.0045552 | -0.011211 | -0.0072554 | -8.1262e-10 | -1.1507e-10 | 7.6863e-11 | -81.6717 | -81.6717 | -81.6717 | 0 | 0 | 0 | 0.37175 | 1.0749 | 1.1589 | 0.37154 | 1.0748 | 1.1592 | -32.8558 | -121.5097 | 120.942 | -32.8387 | -121.5211 | 120.9418

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72287 | 0.10464 | 0.070921 | 0.72241 | 0.10507 | 0.071337 | 8.347 | 1.2082 | 0.81892 | 8.3416 | 1.2132 | 0.82373 | 5.9544 | -1.1139 | 0.7723 | -5.2535 | 1.0938 | -0.79229 | 4.4999 | 0.68445 | 0.43799 | -3.9762 | -0.74587 | -0.47893 | -47.6685 | 93.4395 | 89.2922 | 132.3401 | -86.4466 | -90.5152 | 0.89415 | 1.082 | 1.0842 | 0.78984 | 1.0912 | 1.1239 | -10.5891 | -118.1308 | 118.8507 | -10.539 | -120.7368 | 120.6372
Line_1 | 1.034 | 0.00083769 | 0.00083769 | 1.0333 | 0 | 0 | 11.9394 | 0.0096728 | 0.0096728 | 11.9315 | 0 | 0 | 7.0276 | 0.0088024 | -0.0096095 | -5.3385 | 3.6149e-11 | -5.1888e-10 | 6.2883 | -0.005825 | -0.0050836 | -5.3385 | -4.507e-10 | 2.0611e-10 | -52.3612 | -87.2424 | -87.2424 | 127.6654 | 0 | 0 | 0.78984 | 1.0912 | 1.1239 | 0.63276 | 1.0851 | 1.2155 | -10.539 | -120.7368 | 120.6372 | -7.3346 | -125.9111 | 122.4095
Line_2 | 0.00061434 | 0.00061434 | 0.00061434 | 0 | 0 | 0 | 0.0070938 | 0.0070938 | 0.0070938 | 0 | 0 | 0 | 0.0026796 | 0.0051021 | -0.0077806 | 8.4471e-10 | 3.4873e-11 | -9.9244e-11 | 0.0049207 | -0.0058216 | -0.0017399 | -5.8235e-10 | -5.7002e-11 | 5.0482e-11 | -71.9682 | -71.9682 | -71.9682 | 0 | 0 | 0 | 0.78984 | 1.0912 | 1.1239 | 0.78976 | 1.0912 | 1.124 | -10.539 | -120.7368 | 120.6372 | -10.5341 | -120.7421 | 120.638

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72287 | 0.10464 | 0.070921 | 0.72241 | 0.10507 | 0.071337 | 8.347 | 1.2082 | 0.81892 | 8.3416 | 1.2132 | 0.82373 | 5.9544 | -1.1139 | 0.7723 | -5.2535 | 1.0938 | -0.79229 | 4.4999 | 0.68445 | 0.43799 | -3.9762 | -0.74587 | -0.47893 | -47.6685 | 93.4395 | 89.2922 | 132.3401 | -86.4466 | -90.5152 | 0.89415 | 1.082 | 1.0842 | 0.78984 | 1.0912 | 1.1239 | -10.5891 | -118.1308 | 118.8507 | -10.539 | -120.7368 | 120.6372
Line_1 | 1.034 | 0.00083769 | 0.00083769 | 1.0333 | 0 | 0 | 11.9394 | 0.0096728 | 0.0096728 | 11.9315 | 0 | 0 | 7.0276 | 0.0088024 | -0.0096095 | -5.3385 | 3.6149e-11 | -5.1888e-10 | 6.2883 | -0.005825 | -0.0050836 | -5.3385 | -4.507e-10 | 2.0611e-10 | -52.3612 | -87.2424 | -87.2424 | 127.6654 | 0 | 0 | 0.78984 | 1.0912 | 1.1239 | 0.63276 | 1.0851 | 1.2155 | -10.539 | -120.7368 | 120.6372 | -7.3346 | -125.9111 | 122.4095
Line_2 | 0.00061434 | 0.00061434 | 0.00061434 | 0 | 0 | 0 | 0.0070938 | 0.0070938 | 0.0070938 | 0 | 0 | 0 | 0.0026796 | 0.0051021 | -0.0077806 | 8.4471e-10 | 3.4873e-11 | -9.9244e-11 | 0.0049207 | -0.0058216 | -0.0017399 | -5.8235e-10 | -5.7002e-11 | 5.0482e-11 | -71.9682 | -71.9682 | -71.9682 | 0 | 0 | 0 | 0.78984 | 1.0912 | 1.1239 | 0.78976 | 1.0912 | 1.124 | -10.539 | -120.7368 | 120.6372 | -10.5341 | -120.7421 | 120.638

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0997 | 0.23527 | 0.17163 | 1.0989 | 0.23603 | 0.17237 | 12.6986 | 2.7167 | 1.9818 | 12.6891 | 2.7255 | 1.9904 | 8.8783 | -2.2377 | 1.7489 | -5.9574 | 2.1578 | -1.8181 | 2.4319 | 1.3043 | 0.75766 | -0.82728 | -1.6684 | -1.0277 | -41.7087 | 95.5549 | 92.8543 | 138.3036 | -84.3519 | -87.0062 | 0.72491 | 0.95341 | 0.96171 | 0.474 | 1.0008 | 1.0493 | -26.3902 | -114.682 | 116.278 | -33.7905 | -122.0629 | 122.4723
Line_1 | 1.7338 | 0.0018692 | 0.0018692 | 1.7325 | 0 | 0 | 20.0197 | 0.021584 | 0.021584 | 20.0046 | 0 | 0 | 9.1122 | 0.019342 | -0.017821 | 2.2333e-11 | -2.014e-10 | -1.753e-09 | 2.6485 | -0.0096144 | -0.013976 | 8.6347e-12 | -1.2392e-09 | 5.1814e-10 | -49.9974 | -95.6327 | -95.6327 | 130.0468 | 0 | 0 | 0.474 | 1.0008 | 1.0493 | 0 | 0.9958 | 1.3489 | -33.7905 | -122.0629 | 122.4723 | 0 | -139.8404 | 126.0132
Line_2 | 0.0012152 | 0.0012152 | 0.0012152 | 0 | 0 | 0 | 0.014032 | 0.014032 | 0.014032 | 0 | 0 | 0 | 0.0052168 | 0.0090384 | -0.014247 | 6.2109e-10 | -4.5539e-12 | -1.9465e-10 | 0.0041255 | -0.010747 | -0.0037113 | -9.6539e-10 | -1.3329e-10 | 1.6595e-10 | -72.1282 | -72.1281 | -72.1281 | 0 | 0 | 0 | 0.474 | 1.0008 | 1.0493 | 0.47366 | 1.0006 | 1.0496 | -33.7905 | -122.0629 | 122.4723 | -33.7698 | -122.0821 | 122.4712

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0997 | 0.23527 | 0.17163 | 1.0989 | 0.23603 | 0.17237 | 12.6986 | 2.7167 | 1.9818 | 12.6891 | 2.7255 | 1.9904 | 8.8783 | -2.2377 | 1.7489 | -5.9574 | 2.1578 | -1.8181 | 2.4319 | 1.3043 | 0.75766 | -0.82728 | -1.6684 | -1.0277 | -41.7087 | 95.5549 | 92.8543 | 138.3036 | -84.3519 | -87.0062 | 0.72491 | 0.95341 | 0.96171 | 0.474 | 1.0008 | 1.0493 | -26.3902 | -114.682 | 116.278 | -33.7905 | -122.0629 | 122.4723
Line_1 | 1.7338 | 0.0018692 | 0.0018692 | 1.7325 | 0 | 0 | 20.0197 | 0.021584 | 0.021584 | 20.0046 | 0 | 0 | 9.1122 | 0.019342 | -0.017821 | 2.2333e-11 | -2.014e-10 | -1.753e-09 | 2.6485 | -0.0096144 | -0.013976 | 8.6347e-12 | -1.2392e-09 | 5.1814e-10 | -49.9974 | -95.6327 | -95.6327 | 130.0468 | 0 | 0 | 0.474 | 1.0008 | 1.0493 | 0 | 0.9958 | 1.3489 | -33.7905 | -122.0629 | 122.4723 | 0 | -139.8404 | 126.0132
Line_2 | 0.0012152 | 0.0012152 | 0.0012152 | 0 | 0 | 0 | 0.014032 | 0.014032 | 0.014032 | 0 | 0 | 0 | 0.0052168 | 0.0090384 | -0.014247 | 6.2109e-10 | -4.5539e-12 | -1.9465e-10 | 0.0041255 | -0.010747 | -0.0037113 | -9.6539e-10 | -1.3329e-10 | 1.6595e-10 | -72.1282 | -72.1281 | -72.1281 | 0 | 0 | 0 | 0.474 | 1.0008 | 1.0493 | 0.47366 | 1.0006 | 1.0496 | -33.7905 | -122.0629 | 122.4723 | -33.7698 | -122.0821 | 122.4712

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53411 | 0.11427 | 0.083357 | 0.53371 | 0.11464 | 0.083718 | 6.1674 | 1.3194 | 0.96252 | 6.1628 | 1.3237 | 0.9667 | 4.6403 | -1.0447 | 0.87173 | -3.9498 | 1.0268 | -0.89051 | 2.4752 | 0.74926 | 0.36605 | -2.0948 | -0.83742 | -0.42944 | -39.1589 | 98.1047 | 95.4042 | 140.8534 | -81.8021 | -84.4564 | 0.85274 | 0.97439 | 0.98228 | 0.72547 | 1.001 | 1.0227 | -11.0822 | -117.5426 | 118.182 | -11.2073 | -121.0004 | 121.2889
Line_1 | 0.84205 | 0.00090783 | 0.00090783 | 0.84141 | 0 | 0 | 9.7231 | 0.010483 | 0.010483 | 9.7158 | 0 | 0 | 5.6892 | 0.0092719 | -0.0088488 | -3.5399 | -1.6408e-11 | -7.1448e-10 | 4.17 | -0.0049129 | -0.0060525 | -3.5399 | -6.0629e-10 | 2.7845e-10 | -47.4475 | -93.0829 | -93.0829 | 132.5966 | 0 | 0 | 0.72547 | 1.001 | 1.0227 | 0.51526 | 0.99048 | 1.1651 | -11.2073 | -121.0004 | 121.2889 | -2.4034 | -129.61 | 123.7371
Line_2 | 0.00059018 | 0.00059018 | 0.00059018 | 0 | 0 | 0 | 0.0068148 | 0.0068148 | 0.0068148 | 0 | 0 | 0 | 0.0025927 | 0.0042538 | -0.0068446 | 6.7986e-10 | -3.8827e-12 | -8.6816e-11 | 0.0042096 | -0.0053328 | -0.001314 | -5.1643e-10 | -6.468e-11 | 8.4374e-11 | -69.5783 | -69.5783 | -69.5783 | 0 | 0 | 0 | 0.72547 | 1.001 | 1.0227 | 0.72534 | 1.0009 | 1.0229 | -11.2073 | -121.0004 | 121.2889 | -11.1967 | -121.0098 | 121.289

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53411 | 0.11427 | 0.083357 | 0.53371 | 0.11464 | 0.083718 | 6.1674 | 1.3194 | 0.96252 | 6.1628 | 1.3237 | 0.9667 | 4.6403 | -1.0447 | 0.87173 | -3.9498 | 1.0268 | -0.89051 | 2.4752 | 0.74926 | 0.36605 | -2.0948 | -0.83742 | -0.42944 | -39.1589 | 98.1047 | 95.4042 | 140.8534 | -81.8021 | -84.4564 | 0.85274 | 0.97439 | 0.98228 | 0.72547 | 1.001 | 1.0227 | -11.0822 | -117.5426 | 118.182 | -11.2073 | -121.0004 | 121.2889
Line_1 | 0.84205 | 0.00090783 | 0.00090783 | 0.84141 | 0 | 0 | 9.7231 | 0.010483 | 0.010483 | 9.7158 | 0 | 0 | 5.6892 | 0.0092719 | -0.0088488 | -3.5399 | -1.6408e-11 | -7.1448e-10 | 4.17 | -0.0049129 | -0.0060525 | -3.5399 | -6.0629e-10 | 2.7845e-10 | -47.4475 | -93.0829 | -93.0829 | 132.5966 | 0 | 0 | 0.72547 | 1.001 | 1.0227 | 0.51526 | 0.99048 | 1.1651 | -11.2073 | -121.0004 | 121.2889 | -2.4034 | -129.61 | 123.7371
Line_2 | 0.00059018 | 0.00059018 | 0.00059018 | 0 | 0 | 0 | 0.0068148 | 0.0068148 | 0.0068148 | 0 | 0 | 0 | 0.0025927 | 0.0042538 | -0.0068446 | 6.7986e-10 | -3.8827e-12 | -8.6816e-11 | 0.0042096 | -0.0053328 | -0.001314 | -5.1643e-10 | -6.468e-11 | 8.4374e-11 | -69.5783 | -69.5783 | -69.5783 | 0 | 0 | 0 | 0.72547 | 1.001 | 1.0227 | 0.72534 | 1.0009 | 1.0229 | -11.2073 | -121.0004 | 121.2889 | -11.1967 | -121.0098 | 121.289

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17365 | 2.2176 | 1.622 | 0.1742 | 2.2172 | 1.6219 | 2.0051 | 25.6068 | 18.7288 | 2.0115 | 25.6016 | 18.7278 | -0.90904 | 12.8194 | 0.6342 | 0.93303 | -7.6065 | -0.46002 | 1.8835 | 2.3276 | 9.0062 | -2.1008 | -0.51554 | -5.7295 | -113.9637 | -177.8896 | 34.9733 | 66.288 | 2.1319 | -145.0599 | 1.043 | 0.50881 | 0.48207 | 1.1427 | 0.29779 | 0.30692 | 1.7998 | -167.5985 | 120.9453 | 0.23539 | -173.9907 | 120.3497
Line_1 | 0.0016458 | 2.9521 | 2.2232 | 0 | 2.9519 | 2.2223 | 0.019004 | 34.0876 | 25.6719 | 0 | 34.0856 | 25.6604 | -0.0013213 | 10.0362 | 1.4379 | -9.9286e-10 | -1.0746e-11 | -1.6819e-11 | -0.021677 | 1.5219 | 7.7469 | -4.3891e-10 | 3.6029e-11 | 2.3407e-11 | 93.7236 | 177.3869 | 40.8644 | 0 | -2.5814 | -139.1694 | 1.1427 | 0.29779 | 0.30692 | 1.3038 | 0 | 0 | 0.23539 | -173.9907 | 120.3497 | -4.7874 | 0 | 0
Line_2 | 0.001207 | 0.001207 | 0.001207 | 0 | 0 | 0 | 0.013938 | 0.013938 | 0.013938 | 0 | 0 | 0 | -0.0051228 | 0.00093284 | 0.004194 | -1.7971e-10 | 3.8152e-10 | 8.9213e-10 | -0.015081 | 0.0040443 | 0.000842 | 1.8294e-11 | -9.7079e-10 | 7.3973e-12 | 108.9978 | 108.9978 | 108.9978 | 0 | 0 | 0 | 1.1427 | 0.29779 | 0.30692 | 1.1429 | 0.29767 | 0.30672 | 0.23539 | -173.9907 | 120.3497 | 0.22745 | -173.9578 | 120.3428

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17365 | 2.2176 | 1.622 | 0.1742 | 2.2172 | 1.6219 | 2.0051 | 25.6068 | 18.7288 | 2.0115 | 25.6016 | 18.7278 | -0.90904 | 12.8194 | 0.6342 | 0.93303 | -7.6065 | -0.46002 | 1.8835 | 2.3276 | 9.0062 | -2.1008 | -0.51554 | -5.7295 | -113.9637 | -177.8896 | 34.9733 | 66.288 | 2.1319 | -145.0599 | 1.043 | 0.50881 | 0.48207 | 1.1427 | 0.29779 | 0.30692 | 1.7998 | -167.5985 | 120.9453 | 0.23539 | -173.9907 | 120.3497
Line_1 | 0.0016458 | 2.9521 | 2.2232 | 0 | 2.9519 | 2.2223 | 0.019004 | 34.0876 | 25.6719 | 0 | 34.0856 | 25.6604 | -0.0013213 | 10.0362 | 1.4379 | -9.9286e-10 | -1.0746e-11 | -1.6819e-11 | -0.021677 | 1.5219 | 7.7469 | -4.3891e-10 | 3.6029e-11 | 2.3407e-11 | 93.7236 | 177.3869 | 40.8644 | 0 | -2.5814 | -139.1694 | 1.1427 | 0.29779 | 0.30692 | 1.3038 | 0 | 0 | 0.23539 | -173.9907 | 120.3497 | -4.7874 | 0 | 0
Line_2 | 0.001207 | 0.001207 | 0.001207 | 0 | 0 | 0 | 0.013938 | 0.013938 | 0.013938 | 0 | 0 | 0 | -0.0051228 | 0.00093284 | 0.004194 | -1.7971e-10 | 3.8152e-10 | 8.9213e-10 | -0.015081 | 0.0040443 | 0.000842 | 1.8294e-11 | -9.7079e-10 | 7.3973e-12 | 108.9978 | 108.9978 | 108.9978 | 0 | 0 | 0 | 1.1427 | 0.29779 | 0.30692 | 1.1429 | 0.29767 | 0.30672 | 0.23539 | -173.9907 | 120.3497 | 0.22745 | -173.9578 | 120.3428

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.088032 | 0.87032 | 0.72318 | 0.088323 | 0.87018 | 0.72301 | 1.0165 | 10.0496 | 8.3506 | 1.0199 | 10.048 | 8.3486 | -0.30272 | 7.4547 | 3.8753 | 0.30228 | -6.6131 | -3.724 | 1.0434 | 4.5308 | 5.928 | -1.097 | -4.3575 | -5.1999 | -105.5272 | -165.2223 | 56.5391 | 74.6893 | 14.8052 | -123.4932 | 1.0688 | 0.86805 | 0.84812 | 1.1157 | 0.78819 | 0.76611 | 0.65141 | -133.9324 | 113.3657 | 0.095636 | -131.8134 | 110.8979
Line_1 | 0.00077088 | 1.1448 | 1.0226 | 0 | 1.1448 | 1.022 | 0.0089013 | 13.2191 | 11.8085 | 0 | 13.2194 | 11.8013 | -0.0011981 | 8.1192 | 5.8422 | -4.0996e-10 | -6.5533 | -5.2227 | -0.0098585 | 6.5297 | 6.9072 | -1.8954e-10 | -6.5533 | -5.2227 | 97.025 | -170.6208 | 61.1226 | 0 | 9.4178 | -118.9028 | 1.1157 | 0.78819 | 0.76611 | 1.1929 | 0.70107 | 0.62586 | 0.095636 | -131.8134 | 110.8979 | -2.2578 | -125.5822 | 106.0972
Line_2 | 0.00056535 | 0.00056535 | 0.00056535 | 0 | 0 | 0 | 0.006528 | 0.006528 | 0.006528 | 0 | 0 | 0 | -0.0027523 | -0.0022465 | 0.0049997 | -6.4439e-11 | 8.3389e-10 | 8.9915e-10 | -0.0067431 | 0.004629 | -0.00012231 | 7.2298e-12 | -6.5045e-10 | -4.8891e-10 | 112.2992 | 112.2992 | 112.2992 | 0 | 0 | 0 | 1.1157 | 0.78819 | 0.76611 | 1.1157 | 0.78819 | 0.76602 | 0.095636 | -131.8134 | 110.8979 | 0.092032 | -131.8063 | 110.895

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.088032 | 0.87032 | 0.72318 | 0.088323 | 0.87018 | 0.72301 | 1.0165 | 10.0496 | 8.3506 | 1.0199 | 10.048 | 8.3486 | -0.30272 | 7.4547 | 3.8753 | 0.30228 | -6.6131 | -3.724 | 1.0434 | 4.5308 | 5.928 | -1.097 | -4.3575 | -5.1999 | -105.5272 | -165.2223 | 56.5391 | 74.6893 | 14.8052 | -123.4932 | 1.0688 | 0.86805 | 0.84812 | 1.1157 | 0.78819 | 0.76611 | 0.65141 | -133.9324 | 113.3657 | 0.095636 | -131.8134 | 110.8979
Line_1 | 0.00077088 | 1.1448 | 1.0226 | 0 | 1.1448 | 1.022 | 0.0089013 | 13.2191 | 11.8085 | 0 | 13.2194 | 11.8013 | -0.0011981 | 8.1192 | 5.8422 | -4.0996e-10 | -6.5533 | -5.2227 | -0.0098585 | 6.5297 | 6.9072 | -1.8954e-10 | -6.5533 | -5.2227 | 97.025 | -170.6208 | 61.1226 | 0 | 9.4178 | -118.9028 | 1.1157 | 0.78819 | 0.76611 | 1.1929 | 0.70107 | 0.62586 | 0.095636 | -131.8134 | 110.8979 | -2.2578 | -125.5822 | 106.0972
Line_2 | 0.00056535 | 0.00056535 | 0.00056535 | 0 | 0 | 0 | 0.006528 | 0.006528 | 0.006528 | 0 | 0 | 0 | -0.0027523 | -0.0022465 | 0.0049997 | -6.4439e-11 | 8.3389e-10 | 8.9915e-10 | -0.0067431 | 0.004629 | -0.00012231 | 7.2298e-12 | -6.5045e-10 | -4.8891e-10 | 112.2992 | 112.2992 | 112.2992 | 0 | 0 | 0 | 1.1157 | 0.78819 | 0.76611 | 1.1157 | 0.78819 | 0.76602 | 0.095636 | -131.8134 | 110.8979 | 0.092032 | -131.8063 | 110.895

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14997 | 1.682 | 1.2298 | 0.15035 | 1.6817 | 1.2299 | 1.7317 | 19.4226 | 14.2003 | 1.7361 | 19.419 | 14.2014 | -0.34185 | 12.5323 | 0.81593 | 0.38991 | -7.519 | -0.61779 | 1.5879 | -0.55153 | 6.5891 | -1.7834 | 1.506 | -4.6471 | -101.0083 | -164.1338 | 36.341 | 79.2004 | 15.8861 | -143.6898 | 0.93799 | 0.64587 | 0.46756 | 1.0515 | 0.39489 | 0.33011 | 1.1412 | -166.6537 | 119.282 | 1.5332 | -175.44 | 118.7377
Line_1 | 0.0014597 | 2.3803 | 1.7581 | 0 | 2.3803 | 1.7572 | 0.016856 | 27.4849 | 20.3005 | 0 | 27.4856 | 20.2905 | -0.0014722 | 10.8245 | 1.6473 | -1.2321e-09 | -1.956e-11 | -1.328e-11 | -0.017663 | -0.79254 | 6.4958 | -3.3768e-10 | -2.2612e-12 | -7.8075e-12 | 96.2977 | -171.2524 | 42.9673 | 0 | 8.7827 | -137.0709 | 1.0515 | 0.39489 | 0.33011 | 1.2633 | 0 | 0 | 1.5332 | -175.44 | 118.7377 | -4.1805 | 0 | 0
Line_2 | 0.00094897 | 0.00094897 | 0.00094897 | 0 | 0 | 0 | 0.010958 | 0.010958 | 0.010958 | 0 | 0 | 0 | -0.0054571 | 0.0018453 | 0.0036166 | -2.0079e-10 | 2.5046e-10 | 8.1017e-10 | -0.010148 | 0.0039139 | -6.7201e-05 | 1.0235e-10 | -1.1914e-09 | -2.6885e-11 | 119.8022 | 119.8022 | 119.8022 | 0 | 0 | 0 | 1.0515 | 0.39489 | 0.33011 | 1.0517 | 0.39471 | 0.32982 | 1.5332 | -175.44 | 118.7377 | 1.5207 | -175.4054 | 118.7263

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14997 | 1.682 | 1.2298 | 0.15035 | 1.6817 | 1.2299 | 1.7317 | 19.4226 | 14.2003 | 1.7361 | 19.419 | 14.2014 | -0.34185 | 12.5323 | 0.81593 | 0.38991 | -7.519 | -0.61779 | 1.5879 | -0.55153 | 6.5891 | -1.7834 | 1.506 | -4.6471 | -101.0083 | -164.1338 | 36.341 | 79.2004 | 15.8861 | -143.6898 | 0.93799 | 0.64587 | 0.46756 | 1.0515 | 0.39489 | 0.33011 | 1.1412 | -166.6537 | 119.282 | 1.5332 | -175.44 | 118.7377
Line_1 | 0.0014597 | 2.3803 | 1.7581 | 0 | 2.3803 | 1.7572 | 0.016856 | 27.4849 | 20.3005 | 0 | 27.4856 | 20.2905 | -0.0014722 | 10.8245 | 1.6473 | -1.2321e-09 | -1.956e-11 | -1.328e-11 | -0.017663 | -0.79254 | 6.4958 | -3.3768e-10 | -2.2612e-12 | -7.8075e-12 | 96.2977 | -171.2524 | 42.9673 | 0 | 8.7827 | -137.0709 | 1.0515 | 0.39489 | 0.33011 | 1.2633 | 0 | 0 | 1.5332 | -175.44 | 118.7377 | -4.1805 | 0 | 0
Line_2 | 0.00094897 | 0.00094897 | 0.00094897 | 0 | 0 | 0 | 0.010958 | 0.010958 | 0.010958 | 0 | 0 | 0 | -0.0054571 | 0.0018453 | 0.0036166 | -2.0079e-10 | 2.5046e-10 | 8.1017e-10 | -0.010148 | 0.0039139 | -6.7201e-05 | 1.0235e-10 | -1.1914e-09 | -2.6885e-11 | 119.8022 | 119.8022 | 119.8022 | 0 | 0 | 0 | 1.0515 | 0.39489 | 0.33011 | 1.0517 | 0.39471 | 0.32982 | 1.5332 | -175.44 | 118.7377 | 1.5207 | -175.4054 | 118.7263

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089752 | 0.71077 | 0.5515 | 0.089994 | 0.71066 | 0.5514 | 1.0364 | 8.2073 | 6.3681 | 1.0392 | 8.206 | 6.3671 | -0.13524 | 6.3088 | 2.5888 | 0.14243 | -5.3401 | -2.4809 | 0.98794 | 2.4185 | 4.2353 | -1.0533 | -2.3717 | -3.697 | -97.2747 | -156.9361 | 55.486 | 82.8976 | 23.0918 | -124.5505 | 0.96217 | 0.82323 | 0.77948 | 1.0228 | 0.71205 | 0.69926 | 0.52002 | -135.9616 | 114.0504 | 0.59857 | -132.9607 | 111.5851
Line_1 | 0.00079506 | 0.98842 | 0.84109 | 0 | 0.98858 | 0.84041 | 0.0091806 | 11.4133 | 9.712 | 0 | 11.4152 | 9.7042 | -0.0003876 | 6.8612 | 4.3447 | -5.6406e-10 | -4.8865 | -3.5314 | -0.0093823 | 4.3555 | 5.2196 | -2.2477e-10 | -4.8865 | -3.5314 | 92.9642 | -165.3681 | 61.3583 | 0 | 14.677 | -118.6701 | 1.0228 | 0.71205 | 0.69926 | 1.1342 | 0.60538 | 0.51464 | 0.59857 | -132.9607 | 111.5851 | -3.0983 | -120.323 | 106.3299
Line_2 | 0.00051687 | 0.00051687 | 0.00051687 | 0 | 0 | 0 | 0.0059683 | 0.0059683 | 0.0059683 | 0 | 0 | 0 | -0.0026636 | -0.0014932 | 0.0041583 | -8.6238e-11 | 6.8537e-10 | 7.4368e-10 | -0.0054928 | 0.0039788 | -0.00035529 | 3.8713e-11 | -5.8502e-10 | -3.753e-10 | 116.4688 | 116.4688 | 116.4688 | 0 | 0 | 0 | 1.0228 | 0.71205 | 0.69926 | 1.0229 | 0.71208 | 0.69911 | 0.59857 | -132.9607 | 111.5851 | 0.59137 | -132.9478 | 111.5813

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089752 | 0.71077 | 0.5515 | 0.089994 | 0.71066 | 0.5514 | 1.0364 | 8.2073 | 6.3681 | 1.0392 | 8.206 | 6.3671 | -0.13524 | 6.3088 | 2.5888 | 0.14243 | -5.3401 | -2.4809 | 0.98794 | 2.4185 | 4.2353 | -1.0533 | -2.3717 | -3.697 | -97.2747 | -156.9361 | 55.486 | 82.8976 | 23.0918 | -124.5505 | 0.96217 | 0.82323 | 0.77948 | 1.0228 | 0.71205 | 0.69926 | 0.52002 | -135.9616 | 114.0504 | 0.59857 | -132.9607 | 111.5851
Line_1 | 0.00079506 | 0.98842 | 0.84109 | 0 | 0.98858 | 0.84041 | 0.0091806 | 11.4133 | 9.712 | 0 | 11.4152 | 9.7042 | -0.0003876 | 6.8612 | 4.3447 | -5.6406e-10 | -4.8865 | -3.5314 | -0.0093823 | 4.3555 | 5.2196 | -2.2477e-10 | -4.8865 | -3.5314 | 92.9642 | -165.3681 | 61.3583 | 0 | 14.677 | -118.6701 | 1.0228 | 0.71205 | 0.69926 | 1.1342 | 0.60538 | 0.51464 | 0.59857 | -132.9607 | 111.5851 | -3.0983 | -120.323 | 106.3299
Line_2 | 0.00051687 | 0.00051687 | 0.00051687 | 0 | 0 | 0 | 0.0059683 | 0.0059683 | 0.0059683 | 0 | 0 | 0 | -0.0026636 | -0.0014932 | 0.0041583 | -8.6238e-11 | 6.8537e-10 | 7.4368e-10 | -0.0054928 | 0.0039788 | -0.00035529 | 3.8713e-11 | -5.8502e-10 | -3.753e-10 | 116.4688 | 116.4688 | 116.4688 | 0 | 0 | 0 | 1.0228 | 0.71205 | 0.69926 | 1.0229 | 0.71208 | 0.69911 | 0.59857 | -132.9607 | 111.5851 | 0.59137 | -132.9478 | 111.5813