## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3592 | 0.36279 | 0.59845 | 1.3596 | 0.36232 | 0.59798 | 15.6941 | 4.1892 | 6.9103 | 15.6996 | 4.1837 | 6.9049 | 2.1799e-10 | 3.938 | -6.5699 | 1.4867 | -3.9839 | 6.5841 | -1.5404e-10 | -1.1274 | -1.3849 | 1.5687 | 1.056 | 1.3313 | 105.5804 | -83.1108 | -89.9249 | -74.4215 | 96.8848 | 90.0671 | 0 | 0.97781 | 0.97163 | 0.13766 | 0.98512 | 0.97284 | 0 | -99.0861 | 101.9781 | -27.8837 | -97.9607 | 101.498
Line_1 | 0.68013 | 0.18086 | 0.29871 | 0.67981 | 0.18116 | 0.29899 | 7.8535 | 2.0884 | 3.4492 | 7.8498 | 2.0919 | 3.4525 | 1.1164 | -2.0019 | 3.2932 | -0.74334 | 1.9919 | -3.2921 | 1.1773 | 0.50808 | 0.65334 | -0.78435 | -0.52799 | -0.66564 | -74.4139 | 96.8413 | 90.034 | 105.5785 | -83.1152 | -89.9329 | 0.20659 | 0.98897 | 0.97338 | 0.13766 | 0.98512 | 0.97284 | -27.8919 | -97.3999 | 101.2553 | -27.8837 | -97.9607 | 101.498
Line_2 | 0.68013 | 0.18086 | 0.29871 | 0.67981 | 0.18116 | 0.29899 | 7.8535 | 2.0884 | 3.4492 | 7.8498 | 2.0919 | 3.4525 | 1.1164 | -2.0019 | 3.2932 | -0.74334 | 1.9919 | -3.2921 | 1.1773 | 0.50808 | 0.65334 | -0.78435 | -0.52799 | -0.66564 | -74.4139 | 96.8413 | 90.034 | 105.5785 | -83.1152 | -89.9329 | 0.20659 | 0.98897 | 0.97338 | 0.13766 | 0.98512 | 0.97284 | -27.8919 | -97.3999 | 101.2553 | -27.8837 | -97.9607 | 101.498

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3592 | 0.36279 | 0.59845 | 1.3596 | 0.36232 | 0.59798 | 15.6941 | 4.1892 | 6.9103 | 15.6996 | 4.1837 | 6.9049 | 2.1799e-10 | 3.938 | -6.5699 | 1.4867 | -3.9839 | 6.5841 | -1.5404e-10 | -1.1274 | -1.3849 | 1.5687 | 1.056 | 1.3313 | 105.5804 | -83.1108 | -89.9249 | -74.4215 | 96.8848 | 90.0671 | 0 | 0.97781 | 0.97163 | 0.13766 | 0.98512 | 0.97284 | 0 | -99.0861 | 101.9781 | -27.8837 | -97.9607 | 101.498
Line_1 | 0.68013 | 0.18086 | 0.29871 | 0.67981 | 0.18116 | 0.29899 | 7.8535 | 2.0884 | 3.4492 | 7.8498 | 2.0919 | 3.4525 | 1.1164 | -2.0019 | 3.2932 | -0.74334 | 1.9919 | -3.2921 | 1.1773 | 0.50808 | 0.65334 | -0.78435 | -0.52799 | -0.66564 | -74.4139 | 96.8413 | 90.034 | 105.5785 | -83.1152 | -89.9329 | 0.20659 | 0.98897 | 0.97338 | 0.13766 | 0.98512 | 0.97284 | -27.8919 | -97.3999 | 101.2553 | -27.8837 | -97.9607 | 101.498
Line_2 | 0.68013 | 0.18086 | 0.29871 | 0.67981 | 0.18116 | 0.29899 | 7.8535 | 2.0884 | 3.4492 | 7.8498 | 2.0919 | 3.4525 | 1.1164 | -2.0019 | 3.2932 | -0.74334 | 1.9919 | -3.2921 | 1.1773 | 0.50808 | 0.65334 | -0.78435 | -0.52799 | -0.66564 | -74.4139 | 96.8413 | 90.034 | 105.5785 | -83.1152 | -89.9329 | 0.20659 | 0.98897 | 0.97338 | 0.13766 | 0.98512 | 0.97284 | -27.8919 | -97.3999 | 101.2553 | -27.8837 | -97.9607 | 101.498

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23052 | 0.061533 | 0.1015 | 0.2306 | 0.061453 | 0.10142 | 2.6619 | 0.71052 | 1.172 | 2.6628 | 0.7096 | 1.1711 | -2.1064 | 0.25901 | -1.2849 | 2.1498 | -0.26019 | 1.2845 | -1.4076 | -0.69278 | 0.16806 | 1.4533 | 0.68985 | -0.16928 | 139.9008 | -48.7904 | -55.6046 | -40.1011 | 131.2052 | 124.3875 | 0.95174 | 1.0409 | 1.1057 | 0.97453 | 1.039 | 1.1063 | -6.3456 | -118.2908 | 116.9441 | -6.0419 | -118.1297 | 116.88
Line_1 | 0.11536 | 0.030675 | 0.050664 | 0.1153 | 0.030726 | 0.050712 | 1.332 | 0.35421 | 0.58501 | 1.3314 | 0.3548 | 0.58557 | 1.0862 | -0.13051 | 0.64184 | -1.0749 | 0.1301 | -0.64226 | 0.73815 | 0.34375 | -0.084581 | -0.72665 | -0.34493 | 0.084641 | -40.0935 | 131.1617 | 124.3544 | 139.8989 | -48.7948 | -55.6125 | 0.98595 | 1.0381 | 1.1066 | 0.97453 | 1.039 | 1.1063 | -5.8954 | -118.048 | 116.8472 | -6.0419 | -118.1297 | 116.88
Line_2 | 0.11536 | 0.030675 | 0.050664 | 0.1153 | 0.030726 | 0.050712 | 1.332 | 0.35421 | 0.58501 | 1.3314 | 0.3548 | 0.58557 | 1.0862 | -0.13051 | 0.64184 | -1.0749 | 0.1301 | -0.64226 | 0.73815 | 0.34375 | -0.084581 | -0.72665 | -0.34493 | 0.084641 | -40.0935 | 131.1617 | 124.3544 | 139.8989 | -48.7948 | -55.6125 | 0.98595 | 1.0381 | 1.1066 | 0.97453 | 1.039 | 1.1063 | -5.8954 | -118.048 | 116.8472 | -6.0419 | -118.1297 | 116.88

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23052 | 0.061533 | 0.1015 | 0.2306 | 0.061453 | 0.10142 | 2.6619 | 0.71052 | 1.172 | 2.6628 | 0.7096 | 1.1711 | -2.1064 | 0.25901 | -1.2849 | 2.1498 | -0.26019 | 1.2845 | -1.4076 | -0.69278 | 0.16806 | 1.4533 | 0.68985 | -0.16928 | 139.9008 | -48.7904 | -55.6046 | -40.1011 | 131.2052 | 124.3875 | 0.95174 | 1.0409 | 1.1057 | 0.97453 | 1.039 | 1.1063 | -6.3456 | -118.2908 | 116.9441 | -6.0419 | -118.1297 | 116.88
Line_1 | 0.11536 | 0.030675 | 0.050664 | 0.1153 | 0.030726 | 0.050712 | 1.332 | 0.35421 | 0.58501 | 1.3314 | 0.3548 | 0.58557 | 1.0862 | -0.13051 | 0.64184 | -1.0749 | 0.1301 | -0.64226 | 0.73815 | 0.34375 | -0.084581 | -0.72665 | -0.34493 | 0.084641 | -40.0935 | 131.1617 | 124.3544 | 139.8989 | -48.7948 | -55.6125 | 0.98595 | 1.0381 | 1.1066 | 0.97453 | 1.039 | 1.1063 | -5.8954 | -118.048 | 116.8472 | -6.0419 | -118.1297 | 116.88
Line_2 | 0.11536 | 0.030675 | 0.050664 | 0.1153 | 0.030726 | 0.050712 | 1.332 | 0.35421 | 0.58501 | 1.3314 | 0.3548 | 0.58557 | 1.0862 | -0.13051 | 0.64184 | -1.0749 | 0.1301 | -0.64226 | 0.73815 | 0.34375 | -0.084581 | -0.72665 | -0.34493 | 0.084641 | -40.0935 | 131.1617 | 124.3544 | 139.8989 | -48.7948 | -55.6125 | 0.98595 | 1.0381 | 1.1066 | 0.97453 | 1.039 | 1.1063 | -5.8954 | -118.048 | 116.8472 | -6.0419 | -118.1297 | 116.88

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2511 | 0.41506 | 0.63317 | 1.2515 | 0.41467 | 0.63278 | 14.4467 | 4.7927 | 7.3112 | 14.4512 | 4.7882 | 7.3067 | -1.0956e-10 | 3.988 | -6.3897 | 2.0607 | -3.9438 | 6.6135 | -2.957e-11 | -1.5055 | -0.6054 | 1.5419 | 1.378 | 0.47942 | 110.3569 | -78.4706 | -83.0577 | -69.6461 | 101.5299 | 96.9398 | 0 | 0.8894 | 0.87786 | 0.1781 | 0.87248 | 0.9075 | 0 | -99.1525 | 102.3547 | -32.8417 | -97.7302 | 101.086
Line_1 | 0.62595 | 0.20715 | 0.31622 | 0.62575 | 0.20733 | 0.31639 | 7.2278 | 2.392 | 3.6513 | 7.2256 | 2.3941 | 3.6533 | 1.547 | -1.9607 | 3.3614 | -1.0304 | 1.9719 | -3.3067 | 1.1569 | 0.6558 | 0.20914 | -0.77093 | -0.68901 | -0.23971 | -69.6393 | 101.5014 | 96.9185 | 110.3539 | -78.4701 | -83.0602 | 0.26726 | 0.86432 | 0.92237 | 0.1781 | 0.87248 | 0.9075 | -32.8503 | -96.9926 | 100.4788 | -32.8417 | -97.7302 | 101.086
Line_2 | 0.62595 | 0.20715 | 0.31622 | 0.62575 | 0.20733 | 0.31639 | 7.2278 | 2.392 | 3.6513 | 7.2256 | 2.3941 | 3.6533 | 1.547 | -1.9607 | 3.3614 | -1.0304 | 1.9719 | -3.3067 | 1.1569 | 0.6558 | 0.20914 | -0.77093 | -0.68901 | -0.23971 | -69.6393 | 101.5014 | 96.9185 | 110.3539 | -78.4701 | -83.0602 | 0.26726 | 0.86432 | 0.92237 | 0.1781 | 0.87248 | 0.9075 | -32.8503 | -96.9926 | 100.4788 | -32.8417 | -97.7302 | 101.086

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2511 | 0.41506 | 0.63317 | 1.2515 | 0.41467 | 0.63278 | 14.4467 | 4.7927 | 7.3112 | 14.4512 | 4.7882 | 7.3067 | -1.0956e-10 | 3.988 | -6.3897 | 2.0607 | -3.9438 | 6.6135 | -2.957e-11 | -1.5055 | -0.6054 | 1.5419 | 1.378 | 0.47942 | 110.3569 | -78.4706 | -83.0577 | -69.6461 | 101.5299 | 96.9398 | 0 | 0.8894 | 0.87786 | 0.1781 | 0.87248 | 0.9075 | 0 | -99.1525 | 102.3547 | -32.8417 | -97.7302 | 101.086
Line_1 | 0.62595 | 0.20715 | 0.31622 | 0.62575 | 0.20733 | 0.31639 | 7.2278 | 2.392 | 3.6513 | 7.2256 | 2.3941 | 3.6533 | 1.547 | -1.9607 | 3.3614 | -1.0304 | 1.9719 | -3.3067 | 1.1569 | 0.6558 | 0.20914 | -0.77093 | -0.68901 | -0.23971 | -69.6393 | 101.5014 | 96.9185 | 110.3539 | -78.4701 | -83.0602 | 0.26726 | 0.86432 | 0.92237 | 0.1781 | 0.87248 | 0.9075 | -32.8503 | -96.9926 | 100.4788 | -32.8417 | -97.7302 | 101.086
Line_2 | 0.62595 | 0.20715 | 0.31622 | 0.62575 | 0.20733 | 0.31639 | 7.2278 | 2.392 | 3.6513 | 7.2256 | 2.3941 | 3.6533 | 1.547 | -1.9607 | 3.3614 | -1.0304 | 1.9719 | -3.3067 | 1.1569 | 0.6558 | 0.20914 | -0.77093 | -0.68901 | -0.23971 | -69.6393 | 101.5014 | 96.9185 | 110.3539 | -78.4701 | -83.0602 | 0.26726 | 0.86432 | 0.92237 | 0.1781 | 0.87248 | 0.9075 | -32.8503 | -96.9926 | 100.4788 | -32.8417 | -97.7302 | 101.086

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21705 | 0.072006 | 0.10984 | 0.21711 | 0.071937 | 0.10978 | 2.5062 | 0.83145 | 1.2684 | 2.507 | 0.83066 | 1.2676 | -1.8649 | 0.231 | -1.2384 | 1.9275 | -0.22956 | 1.2445 | -1.0811 | -0.75178 | 0.29135 | 1.1279 | 0.74727 | -0.29491 | 143.5588 | -45.2686 | -49.8558 | -36.4441 | 134.7319 | 130.1417 | 0.8601 | 0.9459 | 1.003 | 0.8908 | 0.9411 | 1.009 | -6.3412 | -118.1881 | 116.9051 | -6.1093 | -118.1915 | 116.8102
Line_1 | 0.10859 | 0.035937 | 0.054858 | 0.10856 | 0.035968 | 0.054888 | 1.2539 | 0.41496 | 0.63344 | 1.2535 | 0.41533 | 0.63379 | 0.97964 | -0.11457 | 0.62365 | -0.96374 | 0.11478 | -0.62224 | 0.57562 | 0.3723 | -0.14809 | -0.56395 | -0.37363 | 0.14745 | -36.4373 | 134.7034 | 130.1205 | 143.5559 | -45.2681 | -49.8583 | 0.90617 | 0.9387 | 1.0119 | 0.8908 | 0.9411 | 1.009 | -5.9995 | -118.1919 | 116.7623 | -6.1093 | -118.1915 | 116.8102
Line_2 | 0.10859 | 0.035937 | 0.054858 | 0.10856 | 0.035968 | 0.054888 | 1.2539 | 0.41496 | 0.63344 | 1.2535 | 0.41533 | 0.63379 | 0.97964 | -0.11457 | 0.62365 | -0.96374 | 0.11478 | -0.62224 | 0.57562 | 0.3723 | -0.14809 | -0.56395 | -0.37363 | 0.14745 | -36.4373 | 134.7034 | 130.1205 | 143.5559 | -45.2681 | -49.8583 | 0.90617 | 0.9387 | 1.0119 | 0.8908 | 0.9411 | 1.009 | -5.9995 | -118.1919 | 116.7623 | -6.1093 | -118.1915 | 116.8102

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21705 | 0.072006 | 0.10984 | 0.21711 | 0.071937 | 0.10978 | 2.5062 | 0.83145 | 1.2684 | 2.507 | 0.83066 | 1.2676 | -1.8649 | 0.231 | -1.2384 | 1.9275 | -0.22956 | 1.2445 | -1.0811 | -0.75178 | 0.29135 | 1.1279 | 0.74727 | -0.29491 | 143.5588 | -45.2686 | -49.8558 | -36.4441 | 134.7319 | 130.1417 | 0.8601 | 0.9459 | 1.003 | 0.8908 | 0.9411 | 1.009 | -6.3412 | -118.1881 | 116.9051 | -6.1093 | -118.1915 | 116.8102
Line_1 | 0.10859 | 0.035937 | 0.054858 | 0.10856 | 0.035968 | 0.054888 | 1.2539 | 0.41496 | 0.63344 | 1.2535 | 0.41533 | 0.63379 | 0.97964 | -0.11457 | 0.62365 | -0.96374 | 0.11478 | -0.62224 | 0.57562 | 0.3723 | -0.14809 | -0.56395 | -0.37363 | 0.14745 | -36.4373 | 134.7034 | 130.1205 | 143.5559 | -45.2681 | -49.8583 | 0.90617 | 0.9387 | 1.0119 | 0.8908 | 0.9411 | 1.009 | -5.9995 | -118.1919 | 116.7623 | -6.1093 | -118.1915 | 116.8102
Line_2 | 0.10859 | 0.035937 | 0.054858 | 0.10856 | 0.035968 | 0.054888 | 1.2539 | 0.41496 | 0.63344 | 1.2535 | 0.41533 | 0.63379 | 0.97964 | -0.11457 | 0.62365 | -0.96374 | 0.11478 | -0.62224 | 0.57562 | 0.3723 | -0.14809 | -0.56395 | -0.37363 | 0.14745 | -36.4373 | 134.7034 | 130.1205 | 143.5559 | -45.2681 | -49.8583 | 0.90617 | 0.9387 | 1.0119 | 0.8908 | 0.9411 | 1.009 | -5.9995 | -118.1919 | 116.7623 | -6.1093 | -118.1915 | 116.8102

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77855 | 1.5434 | 1.3004 | 0.77784 | 1.5436 | 1.3009 | 8.99 | 17.8211 | 15.0157 | 8.9817 | 17.8241 | 15.021 | -0.97951 | 1.9233e-10 | 1.5936e-10 | 0.84802 | 2.3827 | 0.73589 | -4.7705 | -1.4974e-10 | -1.2879e-10 | 4.6951 | 0.96453 | 2.0214 | 105.0306 | -9.9955 | -129.1606 | -74.9659 | 169.9796 | 50.8639 | 0.54171 | 0 | 0 | 0.5312 | 0.14422 | 0.14321 | 3.4275 | 0 | 0 | 4.7958 | -167.982 | 120.8597
Line_1 | 0.38844 | 0.77215 | 0.65059 | 0.38892 | 0.77181 | 0.65043 | 4.4853 | 8.916 | 7.5124 | 4.4908 | 8.9121 | 7.5105 | 0.38934 | 1.7885 | 0.55328 | -0.42401 | -1.1913 | -0.36795 | 2.3267 | 0.72384 | 1.5171 | -2.3475 | -0.48226 | -1.0107 | -74.9881 | 169.952 | 50.906 | 105.0341 | -10.0204 | -129.1361 | 0.52596 | 0.2164 | 0.21496 | 0.5312 | 0.14422 | 0.14321 | 5.5126 | -168.0144 | 120.8694 | 4.7958 | -167.982 | 120.8597
Line_2 | 0.38844 | 0.77215 | 0.65059 | 0.38892 | 0.77181 | 0.65043 | 4.4853 | 8.916 | 7.5124 | 4.4908 | 8.9121 | 7.5105 | 0.38934 | 1.7885 | 0.55328 | -0.42401 | -1.1913 | -0.36795 | 2.3267 | 0.72384 | 1.5171 | -2.3475 | -0.48226 | -1.0107 | -74.9881 | 169.952 | 50.906 | 105.0341 | -10.0204 | -129.1361 | 0.52596 | 0.2164 | 0.21496 | 0.5312 | 0.14422 | 0.14321 | 5.5126 | -168.0144 | 120.8694 | 4.7958 | -167.982 | 120.8597

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77855 | 1.5434 | 1.3004 | 0.77784 | 1.5436 | 1.3009 | 8.99 | 17.8211 | 15.0157 | 8.9817 | 17.8241 | 15.021 | -0.97951 | 1.9233e-10 | 1.5936e-10 | 0.84802 | 2.3827 | 0.73589 | -4.7705 | -1.4974e-10 | -1.2879e-10 | 4.6951 | 0.96453 | 2.0214 | 105.0306 | -9.9955 | -129.1606 | -74.9659 | 169.9796 | 50.8639 | 0.54171 | 0 | 0 | 0.5312 | 0.14422 | 0.14321 | 3.4275 | 0 | 0 | 4.7958 | -167.982 | 120.8597
Line_1 | 0.38844 | 0.77215 | 0.65059 | 0.38892 | 0.77181 | 0.65043 | 4.4853 | 8.916 | 7.5124 | 4.4908 | 8.9121 | 7.5105 | 0.38934 | 1.7885 | 0.55328 | -0.42401 | -1.1913 | -0.36795 | 2.3267 | 0.72384 | 1.5171 | -2.3475 | -0.48226 | -1.0107 | -74.9881 | 169.952 | 50.906 | 105.0341 | -10.0204 | -129.1361 | 0.52596 | 0.2164 | 0.21496 | 0.5312 | 0.14422 | 0.14321 | 5.5126 | -168.0144 | 120.8694 | 4.7958 | -167.982 | 120.8597
Line_2 | 0.38844 | 0.77215 | 0.65059 | 0.38892 | 0.77181 | 0.65043 | 4.4853 | 8.916 | 7.5124 | 4.4908 | 8.9121 | 7.5105 | 0.38934 | 1.7885 | 0.55328 | -0.42401 | -1.1913 | -0.36795 | 2.3267 | 0.72384 | 1.5171 | -2.3475 | -0.48226 | -1.0107 | -74.9881 | 169.952 | 50.906 | 105.0341 | -10.0204 | -129.1361 | 0.52596 | 0.2164 | 0.21496 | 0.5312 | 0.14422 | 0.14321 | 5.5126 | -168.0144 | 120.8694 | 4.7958 | -167.982 | 120.8597

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10036 | 0.30366 | 0.24342 | 0.10027 | 0.30368 | 0.24345 | 1.1588 | 3.5063 | 2.8108 | 1.1579 | 3.5066 | 2.8111 | -1.046 | -3.1588 | -1.7004 | 1.043 | 3.2319 | 1.7219 | -0.6085 | -1.1415 | -1.8799 | 0.60824 | 1.1842 | 1.9347 | 148.0614 | 30.9028 | -112.3338 | -31.9292 | -149.1125 | 67.6847 | 1.0443 | 0.95789 | 0.90183 | 1.0428 | 0.98159 | 0.92133 | -1.7506 | -129.2291 | 115.536 | -1.6795 | -128.9885 | 116.016
Line_1 | 0.050079 | 0.15188 | 0.12172 | 0.050137 | 0.15184 | 0.12172 | 0.57826 | 1.7537 | 1.4055 | 0.57893 | 1.7533 | 1.4056 | 0.52025 | 1.6345 | 0.86656 | -0.52149 | -1.6159 | -0.86093 | 0.30397 | 0.60321 | 0.98074 | -0.30412 | -0.59212 | -0.96735 | -31.9407 | -149.1302 | 67.7125 | 148.0708 | 30.8875 | -112.3153 | 1.042 | 0.99345 | 0.93112 | 1.0428 | 0.98159 | 0.92133 | -1.6437 | -128.8733 | 116.2494 | -1.6795 | -128.9885 | 116.016
Line_2 | 0.050079 | 0.15188 | 0.12172 | 0.050137 | 0.15184 | 0.12172 | 0.57826 | 1.7537 | 1.4055 | 0.57893 | 1.7533 | 1.4056 | 0.52025 | 1.6345 | 0.86656 | -0.52149 | -1.6159 | -0.86093 | 0.30397 | 0.60321 | 0.98074 | -0.30412 | -0.59212 | -0.96735 | -31.9407 | -149.1302 | 67.7125 | 148.0708 | 30.8875 | -112.3153 | 1.042 | 0.99345 | 0.93112 | 1.0428 | 0.98159 | 0.92133 | -1.6437 | -128.8733 | 116.2494 | -1.6795 | -128.9885 | 116.016

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10036 | 0.30366 | 0.24342 | 0.10027 | 0.30368 | 0.24345 | 1.1588 | 3.5063 | 2.8108 | 1.1579 | 3.5066 | 2.8111 | -1.046 | -3.1588 | -1.7004 | 1.043 | 3.2319 | 1.7219 | -0.6085 | -1.1415 | -1.8799 | 0.60824 | 1.1842 | 1.9347 | 148.0614 | 30.9028 | -112.3338 | -31.9292 | -149.1125 | 67.6847 | 1.0443 | 0.95789 | 0.90183 | 1.0428 | 0.98159 | 0.92133 | -1.7506 | -129.2291 | 115.536 | -1.6795 | -128.9885 | 116.016
Line_1 | 0.050079 | 0.15188 | 0.12172 | 0.050137 | 0.15184 | 0.12172 | 0.57826 | 1.7537 | 1.4055 | 0.57893 | 1.7533 | 1.4056 | 0.52025 | 1.6345 | 0.86656 | -0.52149 | -1.6159 | -0.86093 | 0.30397 | 0.60321 | 0.98074 | -0.30412 | -0.59212 | -0.96735 | -31.9407 | -149.1302 | 67.7125 | 148.0708 | 30.8875 | -112.3153 | 1.042 | 0.99345 | 0.93112 | 1.0428 | 0.98159 | 0.92133 | -1.6437 | -128.8733 | 116.2494 | -1.6795 | -128.9885 | 116.016
Line_2 | 0.050079 | 0.15188 | 0.12172 | 0.050137 | 0.15184 | 0.12172 | 0.57826 | 1.7537 | 1.4055 | 0.57893 | 1.7533 | 1.4056 | 0.52025 | 1.6345 | 0.86656 | -0.52149 | -1.6159 | -0.86093 | 0.30397 | 0.60321 | 0.98074 | -0.30412 | -0.59212 | -0.96735 | -31.9407 | -149.1302 | 67.7125 | 148.0708 | 30.8875 | -112.3153 | 1.042 | 0.99345 | 0.93112 | 1.0428 | 0.98159 | 0.92133 | -1.6437 | -128.8733 | 116.2494 | -1.6795 | -128.9885 | 116.016

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82589 | 1.4372 | 1.1966 | 0.8253 | 1.4373 | 1.197 | 9.5365 | 16.5955 | 13.8168 | 9.5297 | 16.5971 | 13.8213 | -1.2351 | -1.108e-10 | -8.8273e-11 | 1.439 | 3.3824 | 1.0265 | -4.579 | -4.1978e-11 | -4.5657e-11 | 4.3491 | 0.84191 | 1.9145 | 109.5051 | -1.6541 | -128.3392 | -70.4893 | 178.3228 | 51.6827 | 0.49731 | 0 | 0 | 0.48071 | 0.21001 | 0.15717 | 4.4094 | 0 | 0 | 1.2028 | -167.6997 | 113.484
Line_1 | 0.41236 | 0.71889 | 0.59853 | 0.41265 | 0.71867 | 0.59848 | 4.7615 | 8.301 | 6.9112 | 4.7648 | 8.2985 | 6.9106 | 0.76859 | 2.5383 | 0.77096 | -0.71951 | -1.6912 | -0.51324 | 2.1164 | 0.63125 | 1.4368 | -2.1746 | -0.42095 | -0.95724 | -70.506 | 178.3046 | 51.7124 | 109.5107 | -1.6772 | -128.3173 | 0.47289 | 0.3151 | 0.23594 | 0.48071 | 0.21001 | 0.15717 | -0.4649 | -167.7299 | 113.496 | 1.2028 | -167.6997 | 113.484
Line_2 | 0.41236 | 0.71889 | 0.59853 | 0.41265 | 0.71867 | 0.59848 | 4.7615 | 8.301 | 6.9112 | 4.7648 | 8.2985 | 6.9106 | 0.76859 | 2.5383 | 0.77096 | -0.71951 | -1.6912 | -0.51324 | 2.1164 | 0.63125 | 1.4368 | -2.1746 | -0.42095 | -0.95724 | -70.506 | 178.3046 | 51.7124 | 109.5107 | -1.6772 | -128.3173 | 0.47289 | 0.3151 | 0.23594 | 0.48071 | 0.21001 | 0.15717 | -0.4649 | -167.7299 | 113.496 | 1.2028 | -167.6997 | 113.484

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82589 | 1.4372 | 1.1966 | 0.8253 | 1.4373 | 1.197 | 9.5365 | 16.5955 | 13.8168 | 9.5297 | 16.5971 | 13.8213 | -1.2351 | -1.108e-10 | -8.8273e-11 | 1.439 | 3.3824 | 1.0265 | -4.579 | -4.1978e-11 | -4.5657e-11 | 4.3491 | 0.84191 | 1.9145 | 109.5051 | -1.6541 | -128.3392 | -70.4893 | 178.3228 | 51.6827 | 0.49731 | 0 | 0 | 0.48071 | 0.21001 | 0.15717 | 4.4094 | 0 | 0 | 1.2028 | -167.6997 | 113.484
Line_1 | 0.41236 | 0.71889 | 0.59853 | 0.41265 | 0.71867 | 0.59848 | 4.7615 | 8.301 | 6.9112 | 4.7648 | 8.2985 | 6.9106 | 0.76859 | 2.5383 | 0.77096 | -0.71951 | -1.6912 | -0.51324 | 2.1164 | 0.63125 | 1.4368 | -2.1746 | -0.42095 | -0.95724 | -70.506 | 178.3046 | 51.7124 | 109.5107 | -1.6772 | -128.3173 | 0.47289 | 0.3151 | 0.23594 | 0.48071 | 0.21001 | 0.15717 | -0.4649 | -167.7299 | 113.496 | 1.2028 | -167.6997 | 113.484
Line_2 | 0.41236 | 0.71889 | 0.59853 | 0.41265 | 0.71867 | 0.59848 | 4.7615 | 8.301 | 6.9112 | 4.7648 | 8.2985 | 6.9106 | 0.76859 | 2.5383 | 0.77096 | -0.71951 | -1.6912 | -0.51324 | 2.1164 | 0.63125 | 1.4368 | -2.1746 | -0.42095 | -0.95724 | -70.506 | 178.3046 | 51.7124 | 109.5107 | -1.6772 | -128.3173 | 0.47289 | 0.3151 | 0.23594 | 0.48071 | 0.21001 | 0.15717 | -0.4649 | -167.7299 | 113.496 | 1.2028 | -167.6997 | 113.484

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1075 | 0.29431 | 0.23631 | 0.10743 | 0.29433 | 0.23634 | 1.2413 | 3.3984 | 2.7287 | 1.2405 | 3.3986 | 2.729 | -1.0416 | -2.8486 | -1.511 | 1.044 | 2.967 | 1.5504 | -0.54356 | -0.71225 | -1.631 | 0.54092 | 0.7526 | 1.6851 | 150.7542 | 36.6981 | -111.5452 | -29.2362 | -143.3157 | 68.471 | 0.94654 | 0.86402 | 0.81482 | 0.94786 | 0.90065 | 0.83908 | -1.688 | -129.2638 | 115.643 | -1.8459 | -129.0822 | 115.8538
Line_1 | 0.053677 | 0.14719 | 0.11816 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6996 | 1.3644 | 0.62023 | 1.6993 | 1.3645 | 0.5223 | 1.5133 | 0.78517 | -0.52198 | -1.4835 | -0.77522 | 0.26984 | 0.38654 | 0.85586 | -0.27046 | -0.3763 | -0.84254 | -29.2472 | -143.3271 | 68.4892 | 150.7638 | 36.6843 | -111.529 | 0.9485 | 0.91898 | 0.85124 | 0.94786 | 0.90065 | 0.83908 | -1.9244 | -128.9982 | 115.9557 | -1.8459 | -129.0822 | 115.8538
Line_2 | 0.053677 | 0.14719 | 0.11816 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6996 | 1.3644 | 0.62023 | 1.6993 | 1.3645 | 0.5223 | 1.5133 | 0.78517 | -0.52198 | -1.4835 | -0.77522 | 0.26984 | 0.38654 | 0.85586 | -0.27046 | -0.3763 | -0.84254 | -29.2472 | -143.3271 | 68.4892 | 150.7638 | 36.6843 | -111.529 | 0.9485 | 0.91898 | 0.85124 | 0.94786 | 0.90065 | 0.83908 | -1.9244 | -128.9982 | 115.9557 | -1.8459 | -129.0822 | 115.8538

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1075 | 0.29431 | 0.23631 | 0.10743 | 0.29433 | 0.23634 | 1.2413 | 3.3984 | 2.7287 | 1.2405 | 3.3986 | 2.729 | -1.0416 | -2.8486 | -1.511 | 1.044 | 2.967 | 1.5504 | -0.54356 | -0.71225 | -1.631 | 0.54092 | 0.7526 | 1.6851 | 150.7542 | 36.6981 | -111.5452 | -29.2362 | -143.3157 | 68.471 | 0.94654 | 0.86402 | 0.81482 | 0.94786 | 0.90065 | 0.83908 | -1.688 | -129.2638 | 115.643 | -1.8459 | -129.0822 | 115.8538
Line_1 | 0.053677 | 0.14719 | 0.11816 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6996 | 1.3644 | 0.62023 | 1.6993 | 1.3645 | 0.5223 | 1.5133 | 0.78517 | -0.52198 | -1.4835 | -0.77522 | 0.26984 | 0.38654 | 0.85586 | -0.27046 | -0.3763 | -0.84254 | -29.2472 | -143.3271 | 68.4892 | 150.7638 | 36.6843 | -111.529 | 0.9485 | 0.91898 | 0.85124 | 0.94786 | 0.90065 | 0.83908 | -1.9244 | -128.9982 | 115.9557 | -1.8459 | -129.0822 | 115.8538
Line_2 | 0.053677 | 0.14719 | 0.11816 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6996 | 1.3644 | 0.62023 | 1.6993 | 1.3645 | 0.5223 | 1.5133 | 0.78517 | -0.52198 | -1.4835 | -0.77522 | 0.26984 | 0.38654 | 0.85586 | -0.27046 | -0.3763 | -0.84254 | -29.2472 | -143.3271 | 68.4892 | 150.7638 | 36.6843 | -111.529 | 0.9485 | 0.91898 | 0.85124 | 0.94786 | 0.90065 | 0.83908 | -1.9244 | -128.9982 | 115.9557 | -1.8459 | -129.0822 | 115.8538