## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.5487 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.5487 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.5487 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.5487 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.2388 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.37371 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.37371 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.2388 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.37371 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.37371 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4838 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4838 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4838 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4838 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.6746 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36337 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36337 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.6746 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36337 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36337 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9386 | 0.55809 | 0.38208 | 3.9378 | 0.55917 | 0.38313 | 45.4786 | 6.4442 | 4.4119 | 45.4696 | 6.4568 | 4.4241 | 21.2878 | -6.0084 | 3.1496 | 2.4605e-10 | 5.7226 | -3.1532 | 16.195 | -0.15638 | 3.5783 | -2.905e-10 | -1.7368 | -4.9551 | -60.9391 | 69.5833 | 59.7548 | 119.072 | -110.4068 | -120.2031 | 0.58814 | 0.93269 | 1.0805 | 0 | 0.9262 | 1.3276 | -23.6765 | -108.9258 | 108.4008 | 0 | -127.2895 | 117.3267
Line_1 | 0.90972 | 0.28141 | 0.19331 | 0.90802 | 0.27959 | 0.19157 | 10.5045 | 3.2494 | 2.2322 | 10.485 | 3.2284 | 2.212 | 1.7481 | 3.2553 | -1.3791 | 7.4731e-11 | -2.8613 | 1.5766 | 0.5709 | -0.59654 | -2.2765 | -4.606e-11 | 0.86838 | 2.4776 | -79.0619 | -110.3514 | -120.032 | 100.9831 | 69.5932 | 59.7969 | 0.17507 | 1.0185 | 1.1924 | 0 | 0.9262 | 1.3276 | -60.976 | -120.7358 | 118.7613 | 0 | -127.2895 | 117.3267
Line_2 | 0.90972 | 0.28141 | 0.19331 | 0.90802 | 0.27959 | 0.19157 | 10.5045 | 3.2494 | 2.2322 | 10.485 | 3.2284 | 2.212 | 1.7481 | 3.2553 | -1.3791 | 7.4731e-11 | -2.8613 | 1.5766 | 0.5709 | -0.59654 | -2.2765 | -4.606e-11 | 0.86838 | 2.4776 | -79.0619 | -110.3514 | -120.032 | 100.9831 | 69.5932 | 59.7969 | 0.17507 | 1.0185 | 1.1924 | 0 | 0.9262 | 1.3276 | -60.976 | -120.7358 | 118.7613 | 0 | -127.2895 | 117.3267

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9386 | 0.55809 | 0.38208 | 3.9378 | 0.55917 | 0.38313 | 45.4786 | 6.4442 | 4.4119 | 45.4696 | 6.4568 | 4.4241 | 21.2878 | -6.0084 | 3.1496 | 2.4605e-10 | 5.7226 | -3.1532 | 16.195 | -0.15638 | 3.5783 | -2.905e-10 | -1.7368 | -4.9551 | -60.9391 | 69.5833 | 59.7548 | 119.072 | -110.4068 | -120.2031 | 0.58814 | 0.93269 | 1.0805 | 0 | 0.9262 | 1.3276 | -23.6765 | -108.9258 | 108.4008 | 0 | -127.2895 | 117.3267
Line_1 | 0.90972 | 0.28141 | 0.19331 | 0.90802 | 0.27959 | 0.19157 | 10.5045 | 3.2494 | 2.2322 | 10.485 | 3.2284 | 2.212 | 1.7481 | 3.2553 | -1.3791 | 7.4731e-11 | -2.8613 | 1.5766 | 0.5709 | -0.59654 | -2.2765 | -4.606e-11 | 0.86838 | 2.4776 | -79.0619 | -110.3514 | -120.032 | 100.9831 | 69.5932 | 59.7969 | 0.17507 | 1.0185 | 1.1924 | 0 | 0.9262 | 1.3276 | -60.976 | -120.7358 | 118.7613 | 0 | -127.2895 | 117.3267
Line_2 | 0.90972 | 0.28141 | 0.19331 | 0.90802 | 0.27959 | 0.19157 | 10.5045 | 3.2494 | 2.2322 | 10.485 | 3.2284 | 2.212 | 1.7481 | 3.2553 | -1.3791 | 7.4731e-11 | -2.8613 | 1.5766 | 0.5709 | -0.59654 | -2.2765 | -4.606e-11 | 0.86838 | 2.4776 | -79.0619 | -110.3514 | -120.032 | 100.9831 | 69.5932 | 59.7969 | 0.17507 | 1.0185 | 1.1924 | 0 | 0.9262 | 1.3276 | -60.976 | -120.7358 | 118.7613 | 0 | -127.2895 | 117.3267

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95712 | 0.13562 | 0.092851 | 0.95693 | 0.13589 | 0.093107 | 11.0519 | 1.566 | 1.0721 | 11.0497 | 1.5691 | 1.0751 | 8.4989 | -1.4895 | 0.89544 | -7.2415 | 1.4748 | -0.89803 | 6.8892 | 0.67787 | 0.77831 | -5.9302 | -0.79121 | -0.86066 | -44.4614 | 86.0609 | 76.2325 | 135.5497 | -93.9291 | -103.7254 | 0.98991 | 1.045 | 1.1066 | 0.84706 | 1.0666 | 1.157 | -5.4333 | -118.4088 | 117.2293 | -5.1355 | -122.1429 | 120.0574
Line_1 | 0.22107 | 0.068385 | 0.046978 | 0.22066 | 0.067944 | 0.046553 | 2.5527 | 0.78964 | 0.54245 | 2.548 | 0.78454 | 0.53755 | 1.2667 | 0.764 | -0.44145 | -1.1627 | -0.73738 | 0.44901 | 1.8564 | -0.38234 | -0.41997 | -1.8183 | 0.39561 | 0.43033 | -62.5842 | -93.8738 | -103.5544 | 117.4608 | 86.0709 | 76.2746 | 0.88037 | 1.0819 | 1.1232 | 0.84706 | 1.0666 | 1.157 | -6.8918 | -120.4592 | 120.0174 | -5.1355 | -122.1429 | 120.0574
Line_2 | 0.22107 | 0.068385 | 0.046978 | 0.22066 | 0.067944 | 0.046553 | 2.5527 | 0.78964 | 0.54245 | 2.548 | 0.78454 | 0.53755 | 1.2667 | 0.764 | -0.44145 | -1.1627 | -0.73738 | 0.44901 | 1.8564 | -0.38234 | -0.41997 | -1.8183 | 0.39561 | 0.43033 | -62.5842 | -93.8738 | -103.5544 | 117.4608 | 86.0709 | 76.2746 | 0.88037 | 1.0819 | 1.1232 | 0.84706 | 1.0666 | 1.157 | -6.8918 | -120.4592 | 120.0174 | -5.1355 | -122.1429 | 120.0574

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95712 | 0.13562 | 0.092851 | 0.95693 | 0.13589 | 0.093107 | 11.0519 | 1.566 | 1.0721 | 11.0497 | 1.5691 | 1.0751 | 8.4989 | -1.4895 | 0.89544 | -7.2415 | 1.4748 | -0.89803 | 6.8892 | 0.67787 | 0.77831 | -5.9302 | -0.79121 | -0.86066 | -44.4614 | 86.0609 | 76.2325 | 135.5497 | -93.9291 | -103.7254 | 0.98991 | 1.045 | 1.1066 | 0.84706 | 1.0666 | 1.157 | -5.4333 | -118.4088 | 117.2293 | -5.1355 | -122.1429 | 120.0574
Line_1 | 0.22107 | 0.068385 | 0.046978 | 0.22066 | 0.067944 | 0.046553 | 2.5527 | 0.78964 | 0.54245 | 2.548 | 0.78454 | 0.53755 | 1.2667 | 0.764 | -0.44145 | -1.1627 | -0.73738 | 0.44901 | 1.8564 | -0.38234 | -0.41997 | -1.8183 | 0.39561 | 0.43033 | -62.5842 | -93.8738 | -103.5544 | 117.4608 | 86.0709 | 76.2746 | 0.88037 | 1.0819 | 1.1232 | 0.84706 | 1.0666 | 1.157 | -6.8918 | -120.4592 | 120.0174 | -5.1355 | -122.1429 | 120.0574
Line_2 | 0.22107 | 0.068385 | 0.046978 | 0.22066 | 0.067944 | 0.046553 | 2.5527 | 0.78964 | 0.54245 | 2.548 | 0.78454 | 0.53755 | 1.2667 | 0.764 | -0.44145 | -1.1627 | -0.73738 | 0.44901 | 1.8564 | -0.38234 | -0.41997 | -1.8183 | 0.39561 | 0.43033 | -62.5842 | -93.8738 | -103.5544 | 117.4608 | 86.0709 | 76.2746 | 0.88037 | 1.0819 | 1.1232 | 0.84706 | 1.0666 | 1.157 | -6.8918 | -120.4592 | 120.0174 | -5.1355 | -122.1429 | 120.0574

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8333 | 0.54139 | 0.37721 | 2.8326 | 0.54244 | 0.37827 | 32.7156 | 6.2514 | 4.3557 | 32.7084 | 6.2635 | 4.3679 | 19.5101 | -4.5275 | 4.3262 | -9.6835e-11 | 3.4944 | -5.1073 | 9.4075 | 2.4898 | 1.0673 | 1.9259e-11 | -4.281 | -2.3736 | -49.7282 | 96.6842 | 95.8817 | 130.2912 | -83.3642 | -84.1854 | 0.66206 | 0.82653 | 1.023 | 0 | 0.88228 | 1.2894 | -23.9854 | -112.1238 | 109.7399 | 0 | -134.1408 | 120.741
Line_1 | 0.87471 | 0.27296 | 0.19089 | 0.87312 | 0.27122 | 0.18913 | 10.1003 | 3.1519 | 2.2042 | 10.0819 | 3.1318 | 2.1839 | 3.1401 | 2.542 | -2.0473 | -3.0186e-11 | -1.7472 | 2.5537 | 0.56985 | -1.8785 | -1.0135 | -3.8636e-12 | 2.1405 | 1.1868 | -68.305 | -83.4445 | -84.2928 | 111.7491 | 96.6358 | 95.8146 | 0.31597 | 1.0028 | 1.0364 | 0 | 0.88228 | 1.2894 | -58.0192 | -119.9087 | 122.0434 | 0 | -134.1408 | 120.741
Line_2 | 0.87471 | 0.27296 | 0.19089 | 0.87312 | 0.27122 | 0.18913 | 10.1003 | 3.1519 | 2.2042 | 10.0819 | 3.1318 | 2.1839 | 3.1401 | 2.542 | -2.0473 | -3.0186e-11 | -1.7472 | 2.5537 | 0.56985 | -1.8785 | -1.0135 | -3.8636e-12 | 2.1405 | 1.1868 | -68.305 | -83.4445 | -84.2928 | 111.7491 | 96.6358 | 95.8146 | 0.31597 | 1.0028 | 1.0364 | 0 | 0.88228 | 1.2894 | -58.0192 | -119.9087 | 122.0434 | 0 | -134.1408 | 120.741

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8333 | 0.54139 | 0.37721 | 2.8326 | 0.54244 | 0.37827 | 32.7156 | 6.2514 | 4.3557 | 32.7084 | 6.2635 | 4.3679 | 19.5101 | -4.5275 | 4.3262 | -9.6835e-11 | 3.4944 | -5.1073 | 9.4075 | 2.4898 | 1.0673 | 1.9259e-11 | -4.281 | -2.3736 | -49.7282 | 96.6842 | 95.8817 | 130.2912 | -83.3642 | -84.1854 | 0.66206 | 0.82653 | 1.023 | 0 | 0.88228 | 1.2894 | -23.9854 | -112.1238 | 109.7399 | 0 | -134.1408 | 120.741
Line_1 | 0.87471 | 0.27296 | 0.19089 | 0.87312 | 0.27122 | 0.18913 | 10.1003 | 3.1519 | 2.2042 | 10.0819 | 3.1318 | 2.1839 | 3.1401 | 2.542 | -2.0473 | -3.0186e-11 | -1.7472 | 2.5537 | 0.56985 | -1.8785 | -1.0135 | -3.8636e-12 | 2.1405 | 1.1868 | -68.305 | -83.4445 | -84.2928 | 111.7491 | 96.6358 | 95.8146 | 0.31597 | 1.0028 | 1.0364 | 0 | 0.88228 | 1.2894 | -58.0192 | -119.9087 | 122.0434 | 0 | -134.1408 | 120.741
Line_2 | 0.87471 | 0.27296 | 0.19089 | 0.87312 | 0.27122 | 0.18913 | 10.1003 | 3.1519 | 2.2042 | 10.0819 | 3.1318 | 2.1839 | 3.1401 | 2.542 | -2.0473 | -3.0186e-11 | -1.7472 | 2.5537 | 0.56985 | -1.8785 | -1.0135 | -3.8636e-12 | 2.1405 | 1.1868 | -68.305 | -83.4445 | -84.2928 | 111.7491 | 96.6358 | 95.8146 | 0.31597 | 1.0028 | 1.0364 | 0 | 0.88228 | 1.2894 | -58.0192 | -119.9087 | 122.0434 | 0 | -134.1408 | 120.741

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75474 | 0.14422 | 0.10048 | 0.75457 | 0.1445 | 0.10076 | 8.7149 | 1.6653 | 1.1603 | 8.713 | 1.6685 | 1.1635 | 6.4531 | -1.1362 | 1.1431 | -5.0689 | 1.0652 | -1.2007 | 4.6229 | 1.096 | 0.25891 | -3.9527 | -1.2242 | -0.3531 | -41.0791 | 105.3333 | 104.5308 | 138.9403 | -74.715 | -75.5362 | 0.91086 | 0.94799 | 1.0102 | 0.73773 | 0.9726 | 1.0756 | -5.4623 | -118.636 | 117.2923 | -3.1128 | -123.6875 | 120.8513
Line_1 | 0.23301 | 0.072714 | 0.050849 | 0.23259 | 0.072248 | 0.050382 | 2.6906 | 0.83962 | 0.58715 | 2.6857 | 0.83425 | 0.58177 | 1.3171 | 0.5923 | -0.56812 | -1.0939 | -0.53262 | 0.60035 | 1.6964 | -0.59591 | -0.1659 | -1.652 | 0.61211 | 0.17655 | -59.6558 | -74.7954 | -75.6436 | 120.3982 | 105.285 | 104.4638 | 0.79825 | 1.0007 | 1.008 | 0.73773 | 0.9726 | 1.0756 | -7.4816 | -119.9694 | 120.6346 | -3.1128 | -123.6875 | 120.8513
Line_2 | 0.23301 | 0.072714 | 0.050849 | 0.23259 | 0.072248 | 0.050382 | 2.6906 | 0.83962 | 0.58715 | 2.6857 | 0.83425 | 0.58177 | 1.3171 | 0.5923 | -0.56812 | -1.0939 | -0.53262 | 0.60035 | 1.6964 | -0.59591 | -0.1659 | -1.652 | 0.61211 | 0.17655 | -59.6558 | -74.7954 | -75.6436 | 120.3982 | 105.285 | 104.4638 | 0.79825 | 1.0007 | 1.008 | 0.73773 | 0.9726 | 1.0756 | -7.4816 | -119.9694 | 120.6346 | -3.1128 | -123.6875 | 120.8513

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75474 | 0.14422 | 0.10048 | 0.75457 | 0.1445 | 0.10076 | 8.7149 | 1.6653 | 1.1603 | 8.713 | 1.6685 | 1.1635 | 6.4531 | -1.1362 | 1.1431 | -5.0689 | 1.0652 | -1.2007 | 4.6229 | 1.096 | 0.25891 | -3.9527 | -1.2242 | -0.3531 | -41.0791 | 105.3333 | 104.5308 | 138.9403 | -74.715 | -75.5362 | 0.91086 | 0.94799 | 1.0102 | 0.73773 | 0.9726 | 1.0756 | -5.4623 | -118.636 | 117.2923 | -3.1128 | -123.6875 | 120.8513
Line_1 | 0.23301 | 0.072714 | 0.050849 | 0.23259 | 0.072248 | 0.050382 | 2.6906 | 0.83962 | 0.58715 | 2.6857 | 0.83425 | 0.58177 | 1.3171 | 0.5923 | -0.56812 | -1.0939 | -0.53262 | 0.60035 | 1.6964 | -0.59591 | -0.1659 | -1.652 | 0.61211 | 0.17655 | -59.6558 | -74.7954 | -75.6436 | 120.3982 | 105.285 | 104.4638 | 0.79825 | 1.0007 | 1.008 | 0.73773 | 0.9726 | 1.0756 | -7.4816 | -119.9694 | 120.6346 | -3.1128 | -123.6875 | 120.8513
Line_2 | 0.23301 | 0.072714 | 0.050849 | 0.23259 | 0.072248 | 0.050382 | 2.6906 | 0.83962 | 0.58715 | 2.6857 | 0.83425 | 0.58177 | 1.3171 | 0.5923 | -0.56812 | -1.0939 | -0.53262 | 0.60035 | 1.6964 | -0.59591 | -0.1659 | -1.652 | 0.61211 | 0.17655 | -59.6558 | -74.7954 | -75.6436 | 120.3982 | 105.285 | 104.4638 | 0.79825 | 1.0007 | 1.008 | 0.73773 | 0.9726 | 1.0756 | -7.4816 | -119.9694 | 120.6346 | -3.1128 | -123.6875 | 120.8513

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48247 | 4.8794 | 3.0868 | 0.48339 | 4.8794 | 3.0861 | 5.5711 | 56.3425 | 35.6437 | 5.5817 | 56.342 | 35.6356 | -2.2735 | 29.6901 | -0.85685 | 2.7628 | 2.1025e-10 | 1.5392e-10 | 4.55 | 9.3206 | 15.3727 | -6.1626 | -1.5832e-10 | -5.9718e-11 | -121.8559 | 175.4401 | 39.3719 | 58.2059 | -4.5475 | -140.6427 | 0.91299 | 0.55231 | 0.43196 | 1.2099 | 0 | 0 | -5.3054 | -167.1312 | 132.5622 | -7.6467 | 0 | 0
Line_1 | 0.24319 | 0.90499 | 0.78818 | 0.24169 | 0.90421 | 0.78671 | 2.8081 | 10.4499 | 9.1011 | 2.7908 | 10.4409 | 9.0841 | 1.5833 | 1.4333 | 0.87261 | -1.3814 | 4.671e-11 | 3.2634e-11 | -2.7779 | -0.29004 | 1.3264 | 3.0813 | -1.4037e-11 | -2.6577e-11 | 58.4336 | 155.0984 | 57.3833 | -121.7941 | -24.8004 | -122.6887 | 1.1387 | 0.13994 | 0.17445 | 1.2099 | 0 | 0 | -1.8851 | 143.6584 | 114.0424 | -7.6467 | 0 | 0
Line_2 | 0.24319 | 0.90499 | 0.78818 | 0.24169 | 0.90421 | 0.78671 | 2.8081 | 10.4499 | 9.1011 | 2.7908 | 10.4409 | 9.0841 | 1.5833 | 1.4333 | 0.87261 | -1.3814 | 4.671e-11 | 3.2634e-11 | -2.7779 | -0.29004 | 1.3264 | 3.0813 | -1.4037e-11 | -2.6577e-11 | 58.4336 | 155.0984 | 57.3833 | -121.7941 | -24.8004 | -122.6887 | 1.1387 | 0.13994 | 0.17445 | 1.2099 | 0 | 0 | -1.8851 | 143.6584 | 114.0424 | -7.6467 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48247 | 4.8794 | 3.0868 | 0.48339 | 4.8794 | 3.0861 | 5.5711 | 56.3425 | 35.6437 | 5.5817 | 56.342 | 35.6356 | -2.2735 | 29.6901 | -0.85685 | 2.7628 | 2.1025e-10 | 1.5392e-10 | 4.55 | 9.3206 | 15.3727 | -6.1626 | -1.5832e-10 | -5.9718e-11 | -121.8559 | 175.4401 | 39.3719 | 58.2059 | -4.5475 | -140.6427 | 0.91299 | 0.55231 | 0.43196 | 1.2099 | 0 | 0 | -5.3054 | -167.1312 | 132.5622 | -7.6467 | 0 | 0
Line_1 | 0.24319 | 0.90499 | 0.78818 | 0.24169 | 0.90421 | 0.78671 | 2.8081 | 10.4499 | 9.1011 | 2.7908 | 10.4409 | 9.0841 | 1.5833 | 1.4333 | 0.87261 | -1.3814 | 4.671e-11 | 3.2634e-11 | -2.7779 | -0.29004 | 1.3264 | 3.0813 | -1.4037e-11 | -2.6577e-11 | 58.4336 | 155.0984 | 57.3833 | -121.7941 | -24.8004 | -122.6887 | 1.1387 | 0.13994 | 0.17445 | 1.2099 | 0 | 0 | -1.8851 | 143.6584 | 114.0424 | -7.6467 | 0 | 0
Line_2 | 0.24319 | 0.90499 | 0.78818 | 0.24169 | 0.90421 | 0.78671 | 2.8081 | 10.4499 | 9.1011 | 2.7908 | 10.4409 | 9.0841 | 1.5833 | 1.4333 | 0.87261 | -1.3814 | 4.671e-11 | 3.2634e-11 | -2.7779 | -0.29004 | 1.3264 | 3.0813 | -1.4037e-11 | -2.6577e-11 | 58.4336 | 155.0984 | 57.3833 | -121.7941 | -24.8004 | -122.6887 | 1.1387 | 0.13994 | 0.17445 | 1.2099 | 0 | 0 | -1.8851 | 143.6584 | 114.0424 | -7.6467 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13039 | 1.095 | 0.8947 | 0.13062 | 1.095 | 0.89448 | 1.5056 | 12.6437 | 10.3311 | 1.5083 | 12.6442 | 10.3285 | -0.56901 | 10.1762 | 5.9081 | 0.5961 | -8.6868 | -5.6591 | 1.4803 | 7.378 | 7.566 | -1.59 | -7.1446 | -6.302 | -112.4402 | -164.637 | 64.5435 | 67.6108 | 15.3763 | -115.4647 | 1.0533 | 0.99413 | 0.92918 | 1.1259 | 0.88953 | 0.82006 | -1.4144 | -128.694 | 116.5578 | -1.8384 | -125.1874 | 112.6124
Line_1 | 0.065689 | 0.18909 | 0.22467 | 0.06531 | 0.18898 | 0.22427 | 0.75851 | 2.1834 | 2.5942 | 0.75414 | 2.1821 | 2.5896 | 0.31194 | 0.98958 | 1.7335 | -0.29805 | -0.93175 | -1.6538 | -0.77923 | 1.6775 | 1.4227 | 0.79502 | -1.7028 | -1.3323 | 67.8015 | 173.3706 | 73.8027 | -112.3892 | -6.501 | -106.2424 | 1.1066 | 0.89204 | 0.86446 | 1.1259 | 0.88953 | 0.82006 | -0.38126 | -127.1659 | 113.178 | -1.8384 | -125.1874 | 112.6124
Line_2 | 0.065689 | 0.18909 | 0.22467 | 0.06531 | 0.18898 | 0.22427 | 0.75851 | 2.1834 | 2.5942 | 0.75414 | 2.1821 | 2.5896 | 0.31194 | 0.98958 | 1.7335 | -0.29805 | -0.93175 | -1.6538 | -0.77923 | 1.6775 | 1.4227 | 0.79502 | -1.7028 | -1.3323 | 67.8015 | 173.3706 | 73.8027 | -112.3892 | -6.501 | -106.2424 | 1.1066 | 0.89204 | 0.86446 | 1.1259 | 0.88953 | 0.82006 | -0.38126 | -127.1659 | 113.178 | -1.8384 | -125.1874 | 112.6124

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13039 | 1.095 | 0.8947 | 0.13062 | 1.095 | 0.89448 | 1.5056 | 12.6437 | 10.3311 | 1.5083 | 12.6442 | 10.3285 | -0.56901 | 10.1762 | 5.9081 | 0.5961 | -8.6868 | -5.6591 | 1.4803 | 7.378 | 7.566 | -1.59 | -7.1446 | -6.302 | -112.4402 | -164.637 | 64.5435 | 67.6108 | 15.3763 | -115.4647 | 1.0533 | 0.99413 | 0.92918 | 1.1259 | 0.88953 | 0.82006 | -1.4144 | -128.694 | 116.5578 | -1.8384 | -125.1874 | 112.6124
Line_1 | 0.065689 | 0.18909 | 0.22467 | 0.06531 | 0.18898 | 0.22427 | 0.75851 | 2.1834 | 2.5942 | 0.75414 | 2.1821 | 2.5896 | 0.31194 | 0.98958 | 1.7335 | -0.29805 | -0.93175 | -1.6538 | -0.77923 | 1.6775 | 1.4227 | 0.79502 | -1.7028 | -1.3323 | 67.8015 | 173.3706 | 73.8027 | -112.3892 | -6.501 | -106.2424 | 1.1066 | 0.89204 | 0.86446 | 1.1259 | 0.88953 | 0.82006 | -0.38126 | -127.1659 | 113.178 | -1.8384 | -125.1874 | 112.6124
Line_2 | 0.065689 | 0.18909 | 0.22467 | 0.06531 | 0.18898 | 0.22427 | 0.75851 | 2.1834 | 2.5942 | 0.75414 | 2.1821 | 2.5896 | 0.31194 | 0.98958 | 1.7335 | -0.29805 | -0.93175 | -1.6538 | -0.77923 | 1.6775 | 1.4227 | 0.79502 | -1.7028 | -1.3323 | 67.8015 | 173.3706 | 73.8027 | -112.3892 | -6.501 | -106.2424 | 1.1066 | 0.89204 | 0.86446 | 1.1259 | 0.88953 | 0.82006 | -0.38126 | -127.1659 | 113.178 | -1.8384 | -125.1874 | 112.6124

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36161 | 3.8268 | 2.6185 | 0.36261 | 3.827 | 2.6179 | 4.1755 | 44.1881 | 30.2364 | 4.1871 | 44.1904 | 30.2288 | 0.18878 | 28.2825 | 0.58636 | -0.3206 | -1.315e-10 | -4.0043e-11 | 3.6873 | 3.1403 | 11.9429 | -4.9907 | -1.1275e-10 | -1.1218e-10 | -92.7624 | -171.6652 | 38.0058 | 87.2372 | 8.3496 | -142.0109 | 0.88423 | 0.64398 | 0.39546 | 1.1944 | 0 | 0 | -5.6934 | -165.3293 | 125.195 | -6.4384 | 0 | 0
Line_1 | 0.18285 | 0.94612 | 0.64485 | 0.18131 | 0.94547 | 0.6436 | 2.1114 | 10.9248 | 7.4461 | 2.0935 | 10.9174 | 7.4316 | 0.19621 | 2.7342 | 1.0054 | 0.1603 | -1.8231e-11 | -1.9843e-11 | -2.2085 | -0.78564 | 1.669 | 2.4954 | -3.8718e-11 | -2.1536e-11 | 87.3315 | 164.0879 | 61.087 | -92.7628 | -15.8253 | -118.9976 | 1.0501 | 0.2604 | 0.26168 | 1.1944 | 0 | 0 | 2.4084 | 148.0563 | 120.0217 | -6.4384 | 0 | 0
Line_2 | 0.18285 | 0.94612 | 0.64485 | 0.18131 | 0.94547 | 0.6436 | 2.1114 | 10.9248 | 7.4461 | 2.0935 | 10.9174 | 7.4316 | 0.19621 | 2.7342 | 1.0054 | 0.1603 | -1.8231e-11 | -1.9843e-11 | -2.2085 | -0.78564 | 1.669 | 2.4954 | -3.8718e-11 | -2.1536e-11 | 87.3315 | 164.0879 | 61.087 | -92.7628 | -15.8253 | -118.9976 | 1.0501 | 0.2604 | 0.26168 | 1.1944 | 0 | 0 | 2.4084 | 148.0563 | 120.0217 | -6.4384 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36161 | 3.8268 | 2.6185 | 0.36261 | 3.827 | 2.6179 | 4.1755 | 44.1881 | 30.2364 | 4.1871 | 44.1904 | 30.2288 | 0.18878 | 28.2825 | 0.58636 | -0.3206 | -1.315e-10 | -4.0043e-11 | 3.6873 | 3.1403 | 11.9429 | -4.9907 | -1.1275e-10 | -1.1218e-10 | -92.7624 | -171.6652 | 38.0058 | 87.2372 | 8.3496 | -142.0109 | 0.88423 | 0.64398 | 0.39546 | 1.1944 | 0 | 0 | -5.6934 | -165.3293 | 125.195 | -6.4384 | 0 | 0
Line_1 | 0.18285 | 0.94612 | 0.64485 | 0.18131 | 0.94547 | 0.6436 | 2.1114 | 10.9248 | 7.4461 | 2.0935 | 10.9174 | 7.4316 | 0.19621 | 2.7342 | 1.0054 | 0.1603 | -1.8231e-11 | -1.9843e-11 | -2.2085 | -0.78564 | 1.669 | 2.4954 | -3.8718e-11 | -2.1536e-11 | 87.3315 | 164.0879 | 61.087 | -92.7628 | -15.8253 | -118.9976 | 1.0501 | 0.2604 | 0.26168 | 1.1944 | 0 | 0 | 2.4084 | 148.0563 | 120.0217 | -6.4384 | 0 | 0
Line_2 | 0.18285 | 0.94612 | 0.64485 | 0.18131 | 0.94547 | 0.6436 | 2.1114 | 10.9248 | 7.4461 | 2.0935 | 10.9174 | 7.4316 | 0.19621 | 2.7342 | 1.0054 | 0.1603 | -1.8231e-11 | -1.9843e-11 | -2.2085 | -0.78564 | 1.669 | 2.4954 | -3.8718e-11 | -2.1536e-11 | 87.3315 | 164.0879 | 61.087 | -92.7628 | -15.8253 | -118.9976 | 1.0501 | 0.2604 | 0.26168 | 1.1944 | 0 | 0 | 2.4084 | 148.0563 | 120.0217 | -6.4384 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12034 | 0.90259 | 0.75186 | 0.12063 | 0.90272 | 0.75159 | 1.3896 | 10.4222 | 8.6817 | 1.3929 | 10.4237 | 8.6786 | 0.026329 | 8.3232 | 4.4048 | -0.046038 | -6.7071 | -4.009 | 1.3357 | 4.7004 | 5.9108 | -1.4605 | -4.8234 | -4.7549 | -90.4069 | -158.2967 | 63.0458 | 89.5831 | 21.7198 | -116.9627 | 0.96143 | 0.91715 | 0.84909 | 1.049 | 0.79256 | 0.71664 | -1.5362 | -128.8416 | 116.3519 | -2.2223 | -122.5587 | 112.9025
Line_1 | 0.060767 | 0.21451 | 0.21352 | 0.060315 | 0.2144 | 0.21309 | 0.70168 | 2.4769 | 2.4655 | 0.69646 | 2.4756 | 2.4605 | 0.013301 | 0.9809 | 1.5627 | 0.023019 | -0.83408 | -1.4193 | -0.70799 | 1.6997 | 1.1883 | 0.73024 | -1.776 | -1.0463 | 89.6361 | 172.4805 | 76.5468 | -90.4169 | -7.4015 | -103.4954 | 1.0092 | 0.79229 | 0.79628 | 1.049 | 0.79256 | 0.71664 | 0.71243 | -127.5092 | 113.7951 | -2.2223 | -122.5587 | 112.9025
Line_2 | 0.060767 | 0.21451 | 0.21352 | 0.060315 | 0.2144 | 0.21309 | 0.70168 | 2.4769 | 2.4655 | 0.69646 | 2.4756 | 2.4605 | 0.013301 | 0.9809 | 1.5627 | 0.023019 | -0.83408 | -1.4193 | -0.70799 | 1.6997 | 1.1883 | 0.73024 | -1.776 | -1.0463 | 89.6361 | 172.4805 | 76.5468 | -90.4169 | -7.4015 | -103.4954 | 1.0092 | 0.79229 | 0.79628 | 1.049 | 0.79256 | 0.71664 | 0.71243 | -127.5092 | 113.7951 | -2.2223 | -122.5587 | 112.9025

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12034 | 0.90259 | 0.75186 | 0.12063 | 0.90272 | 0.75159 | 1.3896 | 10.4222 | 8.6817 | 1.3929 | 10.4237 | 8.6786 | 0.026329 | 8.3232 | 4.4048 | -0.046038 | -6.7071 | -4.009 | 1.3357 | 4.7004 | 5.9108 | -1.4605 | -4.8234 | -4.7549 | -90.4069 | -158.2967 | 63.0458 | 89.5831 | 21.7198 | -116.9627 | 0.96143 | 0.91715 | 0.84909 | 1.049 | 0.79256 | 0.71664 | -1.5362 | -128.8416 | 116.3519 | -2.2223 | -122.5587 | 112.9025
Line_1 | 0.060767 | 0.21451 | 0.21352 | 0.060315 | 0.2144 | 0.21309 | 0.70168 | 2.4769 | 2.4655 | 0.69646 | 2.4756 | 2.4605 | 0.013301 | 0.9809 | 1.5627 | 0.023019 | -0.83408 | -1.4193 | -0.70799 | 1.6997 | 1.1883 | 0.73024 | -1.776 | -1.0463 | 89.6361 | 172.4805 | 76.5468 | -90.4169 | -7.4015 | -103.4954 | 1.0092 | 0.79229 | 0.79628 | 1.049 | 0.79256 | 0.71664 | 0.71243 | -127.5092 | 113.7951 | -2.2223 | -122.5587 | 112.9025
Line_2 | 0.060767 | 0.21451 | 0.21352 | 0.060315 | 0.2144 | 0.21309 | 0.70168 | 2.4769 | 2.4655 | 0.69646 | 2.4756 | 2.4605 | 0.013301 | 0.9809 | 1.5627 | 0.023019 | -0.83408 | -1.4193 | -0.70799 | 1.6997 | 1.1883 | 0.73024 | -1.776 | -1.0463 | 89.6361 | 172.4805 | 76.5468 | -90.4169 | -7.4015 | -103.4954 | 1.0092 | 0.79229 | 0.79628 | 1.049 | 0.79256 | 0.71664 | 0.71243 | -127.5092 | 113.7951 | -2.2223 | -122.5587 | 112.9025