## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3335 | 3.3335 | 0 | 0 | 115.4757 | 115.4757 | 37.4821 | -20.1471 | 43.2438 | -23.5752 | -71.1341 | 108.8659 | 0.49558 | 0.26855 | -22.0516 | -21.6509
Line_1 | 3.943 | 3.943 | 7.6252 | 0 | 136.59 | 136.59 | -1e-07 | 24.2539 | -1e-07 | 27.5188 | 109.7407 | -70.2593 | 0 | 0.26855 | 0 | -21.6509
Line_2 | 0.61203 | 0.61203 | 0 | 0 | 21.2012 | 21.2012 | 4.6911 | -4.1068 | 4.6066 | -3.9436 | -65.4896 | 114.5104 | 0.31011 | 0.26855 | -21.0105 | -21.6509

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3335 | 3.3335 | 0 | 0 | 115.4757 | 115.4757 | 37.4821 | -20.1471 | 43.2438 | -23.5752 | -71.1341 | 108.8659 | 0.49558 | 0.26855 | -22.0516 | -21.6509
Line_1 | 3.943 | 3.943 | 7.6252 | 0 | 136.59 | 136.59 | -1e-07 | 24.2539 | -1e-07 | 27.5188 | 109.7407 | -70.2593 | 0 | 0.26855 | 0 | -21.6509
Line_2 | 0.61203 | 0.61203 | 0 | 0 | 21.2012 | 21.2012 | 4.6911 | -4.1068 | 4.6066 | -3.9436 | -65.4896 | 114.5104 | 0.31011 | 0.26855 | -21.0105 | -21.6509

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93124 | 0.93124 | 0 | 0 | 32.2591 | 32.2591 | 21.4053 | -20.0525 | 22.082 | -20.547 | -52.3294 | 127.6706 | 0.95334 | 0.88999 | -6.4379 | -6.6315
Line_1 | 1.1015 | 1.1015 | 2.1302 | 0 | 38.1575 | 38.1575 | -22.1945 | 24.0873 | -21.7914 | 23.939 | 128.5454 | -51.4546 | 0.81515 | 0.88999 | -6.9796 | -6.6315
Line_2 | 0.17097 | 0.17097 | 0 | 0 | 5.9227 | 5.9227 | 4.0804 | -4.0348 | 3.4437 | -3.392 | -46.6849 | 133.3151 | 0.90151 | 0.88999 | -6.5214 | -6.6315

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93124 | 0.93124 | 0 | 0 | 32.2591 | 32.2591 | 21.4053 | -20.0525 | 22.082 | -20.547 | -52.3294 | 127.6706 | 0.95334 | 0.88999 | -6.4379 | -6.6315
Line_1 | 1.1015 | 1.1015 | 2.1302 | 0 | 38.1575 | 38.1575 | -22.1945 | 24.0873 | -21.7914 | 23.939 | 128.5454 | -51.4546 | 0.81515 | 0.88999 | -6.9796 | -6.6315
Line_2 | 0.17097 | 0.17097 | 0 | 0 | 5.9227 | 5.9227 | 4.0804 | -4.0348 | 3.4437 | -3.392 | -46.6849 | 133.3151 | 0.90151 | 0.88999 | -6.5214 | -6.6315

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15358 | 2.8317 | 2.9656 | 0.15358 | 2.8317 | 2.9656 | 1.7734 | 32.6982 | 34.2437 | 1.7734 | 32.6982 | 34.2437 | -1.922 | 26.6301 | -8.5445 | 1.9343 | -22.4603 | 13.1178 | -0.4021 | 4.6792 | 16.5919 | 0.41602 | 0.051901 | -11.403 | 169.7339 | -160.1463 | 18.3646 | -10.2661 | 19.8537 | -161.6354 | 1.1073 | 0.8269 | 0.545 | 1.1157 | 0.6869 | 0.50757 | 1.5502 | -150.1806 | 135.6121 | 1.872 | -160.2787 | 157.3648
Line_1 | 0.091755 | 3.3594 | 3.4357 | 0.091755 | 3.3594 | 3.4357 | 1.0595 | 38.7909 | 39.6726 | 1.0595 | 38.7909 | 39.6726 | 1.136 | -20.7759 | 21.3439 | -1.1316 | 26.6443 | -15.2056 | 0.34653 | 6.4101 | -6.2369 | -0.34157 | 0.24834 | 13.2014 | -14.9237 | 19.1873 | -161.6708 | 165.0763 | -160.8127 | 18.3292 | 1.121 | 0.5605 | 0.5605 | 1.1157 | 0.6869 | 0.50757 | 2.0403 | -177.9597 | -177.9597 | 1.872 | -160.2787 | 157.3648
Line_2 | 0.062572 | 0.52886 | 0.47016 | 0.062572 | 0.52886 | 0.47016 | 0.72252 | 6.1068 | 5.429 | 0.72252 | 6.1068 | 5.429 | 0.80469 | 4.3294 | -1.9729 | -0.80265 | -4.184 | 2.0878 | 0.076762 | 0.46526 | 1.9288 | -0.074452 | -0.30024 | -1.7984 | -3.4275 | -164.3831 | 18.1058 | 176.5725 | 15.6169 | -161.8942 | 1.1188 | 0.71304 | 0.50822 | 1.1157 | 0.6869 | 0.50757 | 2.0217 | -158.2494 | 153.7525 | 1.872 | -160.2787 | 157.3648

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15358 | 2.8317 | 2.9656 | 0.15358 | 2.8317 | 2.9656 | 1.7734 | 32.6982 | 34.2437 | 1.7734 | 32.6982 | 34.2437 | -1.922 | 26.6301 | -8.5445 | 1.9343 | -22.4603 | 13.1178 | -0.4021 | 4.6792 | 16.5919 | 0.41602 | 0.051901 | -11.403 | 169.7339 | -160.1463 | 18.3646 | -10.2661 | 19.8537 | -161.6354 | 1.1073 | 0.8269 | 0.545 | 1.1157 | 0.6869 | 0.50757 | 1.5502 | -150.1806 | 135.6121 | 1.872 | -160.2787 | 157.3648
Line_1 | 0.091755 | 3.3594 | 3.4357 | 0.091755 | 3.3594 | 3.4357 | 1.0595 | 38.7909 | 39.6726 | 1.0595 | 38.7909 | 39.6726 | 1.136 | -20.7759 | 21.3439 | -1.1316 | 26.6443 | -15.2056 | 0.34653 | 6.4101 | -6.2369 | -0.34157 | 0.24834 | 13.2014 | -14.9237 | 19.1873 | -161.6708 | 165.0763 | -160.8127 | 18.3292 | 1.121 | 0.5605 | 0.5605 | 1.1157 | 0.6869 | 0.50757 | 2.0403 | -177.9597 | -177.9597 | 1.872 | -160.2787 | 157.3648
Line_2 | 0.062572 | 0.52886 | 0.47016 | 0.062572 | 0.52886 | 0.47016 | 0.72252 | 6.1068 | 5.429 | 0.72252 | 6.1068 | 5.429 | 0.80469 | 4.3294 | -1.9729 | -0.80265 | -4.184 | 2.0878 | 0.076762 | 0.46526 | 1.9288 | -0.074452 | -0.30024 | -1.7984 | -3.4275 | -164.3831 | 18.1058 | 176.5725 | 15.6169 | -161.8942 | 1.1188 | 0.71304 | 0.50822 | 1.1157 | 0.6869 | 0.50757 | 2.0217 | -158.2494 | 153.7525 | 1.872 | -160.2787 | 157.3648

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068683 | 1.2664 | 1.3263 | 0.068683 | 1.2664 | 1.3263 | 0.79309 | 14.6233 | 15.3145 | 0.79309 | 14.6233 | 15.3145 | -0.86881 | 14.4848 | 1.0401 | 0.87126 | -13.6509 | -0.12545 | 0.073563 | 2.9236 | 12.7405 | -0.07078 | -1.9773 | -11.7026 | -174.4448 | -144.325 | 34.1859 | 5.5552 | 35.675 | -145.8141 | 1.0994 | 1.0105 | 0.83469 | 1.1022 | 0.94324 | 0.7642 | 0.71549 | -132.9139 | 119.5186 | 0.91084 | -136.083 | 123.5717
Line_1 | 0.041035 | 1.5024 | 1.5365 | 0.041035 | 1.5024 | 1.5365 | 0.47383 | 17.3481 | 17.7424 | 0.47383 | 17.3481 | 17.7424 | 0.52312 | -14.9923 | 1.0907 | -0.52225 | 16.1661 | 0.13696 | 0.001114 | -1.2022 | -12.1651 | -0.00012049 | 2.534 | 13.558 | 0.89762 | 35.0086 | -145.8495 | -179.1024 | -144.9914 | 34.1505 | 1.104 | 0.86698 | 0.6884 | 1.1022 | 0.94324 | 0.7642 | 1.0196 | -140.4067 | 129.274 | 0.91084 | -136.083 | 123.5717
Line_2 | 0.027983 | 0.23652 | 0.21027 | 0.027983 | 0.23652 | 0.21027 | 0.32312 | 2.7311 | 2.4279 | 0.32312 | 2.7311 | 2.4279 | 0.34942 | 2.5443 | 0.034498 | -0.34902 | -2.5152 | -0.011508 | -0.070438 | 0.58964 | 1.8815 | 0.0709 | -0.55663 | -1.8554 | 12.3938 | -148.5618 | 33.9271 | -167.6062 | 31.4382 | -146.0729 | 1.1031 | 0.9563 | 0.77506 | 1.1022 | 0.94324 | 0.7642 | 0.99665 | -135.514 | 122.8767 | 0.91084 | -136.083 | 123.5717

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068683 | 1.2664 | 1.3263 | 0.068683 | 1.2664 | 1.3263 | 0.79309 | 14.6233 | 15.3145 | 0.79309 | 14.6233 | 15.3145 | -0.86881 | 14.4848 | 1.0401 | 0.87126 | -13.6509 | -0.12545 | 0.073563 | 2.9236 | 12.7405 | -0.07078 | -1.9773 | -11.7026 | -174.4448 | -144.325 | 34.1859 | 5.5552 | 35.675 | -145.8141 | 1.0994 | 1.0105 | 0.83469 | 1.1022 | 0.94324 | 0.7642 | 0.71549 | -132.9139 | 119.5186 | 0.91084 | -136.083 | 123.5717
Line_1 | 0.041035 | 1.5024 | 1.5365 | 0.041035 | 1.5024 | 1.5365 | 0.47383 | 17.3481 | 17.7424 | 0.47383 | 17.3481 | 17.7424 | 0.52312 | -14.9923 | 1.0907 | -0.52225 | 16.1661 | 0.13696 | 0.001114 | -1.2022 | -12.1651 | -0.00012049 | 2.534 | 13.558 | 0.89762 | 35.0086 | -145.8495 | -179.1024 | -144.9914 | 34.1505 | 1.104 | 0.86698 | 0.6884 | 1.1022 | 0.94324 | 0.7642 | 1.0196 | -140.4067 | 129.274 | 0.91084 | -136.083 | 123.5717
Line_2 | 0.027983 | 0.23652 | 0.21027 | 0.027983 | 0.23652 | 0.21027 | 0.32312 | 2.7311 | 2.4279 | 0.32312 | 2.7311 | 2.4279 | 0.34942 | 2.5443 | 0.034498 | -0.34902 | -2.5152 | -0.011508 | -0.070438 | 0.58964 | 1.8815 | 0.0709 | -0.55663 | -1.8554 | 12.3938 | -148.5618 | 33.9271 | -167.6062 | 31.4382 | -146.0729 | 1.1031 | 0.9563 | 0.77506 | 1.1022 | 0.94324 | 0.7642 | 0.99665 | -135.514 | 122.8767 | 0.91084 | -136.083 | 123.5717

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.3683 | 0.61654 | 0.47237 | 2.3677 | 0.61714 | 0.47295 | 27.3465 | 7.1192 | 5.4545 | 27.3396 | 7.1261 | 5.4612 | 15.6458 | -6.9885 | 4.6281 | -9.1868 | 7.155 | -4.5036 | 13.6963 | 1.3614 | 3.5874 | -7.2285 | -2.3767 | -4.4043 | -55.4325 | 77.9975 | 75.2702 | 124.5736 | -101.9785 | -104.6951 | 0.76038 | 1.0001 | 1.0735 | 0.42757 | 1.058 | 1.1535 | -14.2337 | -113.0262 | 113.0509 | -17.2295 | -120.3534 | 119.6664
Line_1 | 2.9204 | 0.52046 | 0.43463 | 2.9219 | 0.51869 | 0.43288 | 33.7221 | 6.0098 | 5.0187 | 33.7388 | 5.9893 | 4.9985 | 1.2797e-10 | 6.2002 | -3.7276 | 10.9975 | -6.1922 | 3.7198 | -1.3355e-10 | -2.5846 | -5.4712 | 9.3358 | 1.3458 | 4.4051 | 122.464 | -108.0459 | -110.0917 | -57.5576 | 71.9083 | 69.8451 | 0 | 1.1177 | 1.3191 | 0.42757 | 1.058 | 1.1535 | 0 | -130.6749 | 125.6409 | -17.2295 | -120.3534 | 119.6664
Line_2 | 0.56376 | 0.11649 | 0.05983 | 0.56275 | 0.11547 | 0.058853 | 6.5097 | 1.3451 | 0.69085 | 6.4981 | 1.3333 | 0.67957 | 2.4196 | 1.0668 | -0.74714 | -1.8107 | -0.96287 | 0.78386 | 2.4165 | -0.99638 | 0.0061449 | -2.1073 | 1.0309 | -0.00072258 | -66.5802 | -73.4402 | -60.5816 | 113.4407 | 106.6013 | 119.7192 | 0.52532 | 1.0852 | 1.0815 | 0.42757 | 1.058 | 1.1535 | -21.6164 | -116.4852 | 118.9471 | -17.2295 | -120.3534 | 119.6664

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.3683 | 0.61654 | 0.47237 | 2.3677 | 0.61714 | 0.47295 | 27.3465 | 7.1192 | 5.4545 | 27.3396 | 7.1261 | 5.4612 | 15.6458 | -6.9885 | 4.6281 | -9.1868 | 7.155 | -4.5036 | 13.6963 | 1.3614 | 3.5874 | -7.2285 | -2.3767 | -4.4043 | -55.4325 | 77.9975 | 75.2702 | 124.5736 | -101.9785 | -104.6951 | 0.76038 | 1.0001 | 1.0735 | 0.42757 | 1.058 | 1.1535 | -14.2337 | -113.0262 | 113.0509 | -17.2295 | -120.3534 | 119.6664
Line_1 | 2.9204 | 0.52046 | 0.43463 | 2.9219 | 0.51869 | 0.43288 | 33.7221 | 6.0098 | 5.0187 | 33.7388 | 5.9893 | 4.9985 | 1.2797e-10 | 6.2002 | -3.7276 | 10.9975 | -6.1922 | 3.7198 | -1.3355e-10 | -2.5846 | -5.4712 | 9.3358 | 1.3458 | 4.4051 | 122.464 | -108.0459 | -110.0917 | -57.5576 | 71.9083 | 69.8451 | 0 | 1.1177 | 1.3191 | 0.42757 | 1.058 | 1.1535 | 0 | -130.6749 | 125.6409 | -17.2295 | -120.3534 | 119.6664
Line_2 | 0.56376 | 0.11649 | 0.05983 | 0.56275 | 0.11547 | 0.058853 | 6.5097 | 1.3451 | 0.69085 | 6.4981 | 1.3333 | 0.67957 | 2.4196 | 1.0668 | -0.74714 | -1.8107 | -0.96287 | 0.78386 | 2.4165 | -0.99638 | 0.0061449 | -2.1073 | 1.0309 | -0.00072258 | -66.5802 | -73.4402 | -60.5816 | 113.4407 | 106.6013 | 119.7192 | 0.52532 | 1.0852 | 1.0815 | 0.42757 | 1.058 | 1.1535 | -21.6164 | -116.4852 | 118.9471 | -17.2295 | -120.3534 | 119.6664

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7623 | 0.19845 | 0.15205 | 0.7621 | 0.19864 | 0.15223 | 8.8022 | 2.2915 | 1.7557 | 8.8 | 2.2937 | 1.7578 | 7.1391 | -2.0844 | 1.7021 | -6.4689 | 2.1025 | -1.6911 | 5.2291 | 1.2351 | 0.914 | -4.5574 | -1.3419 | -0.99857 | -41.1898 | 92.2403 | 89.5129 | 138.8164 | -87.7357 | -90.4523 | 1.0053 | 1.0573 | 1.1004 | 0.89921 | 1.0874 | 1.1172 | -4.9686 | -118.4074 | 117.7479 | -6.0185 | -120.2826 | 120.1096
Line_1 | 0.94002 | 0.16753 | 0.1399 | 0.94048 | 0.16696 | 0.13933 | 10.8544 | 1.9344 | 1.6154 | 10.8598 | 1.9278 | 1.6089 | -6.6276 | 1.8816 | -1.4596 | 7.7684 | -1.8772 | 1.4538 | -4.9449 | -1.0653 | -1.1688 | 5.9171 | 0.93322 | 1.0571 | 136.7068 | -93.8032 | -95.849 | -43.3148 | 86.1511 | 84.0879 | 0.76181 | 1.1178 | 1.1575 | 0.89921 | 1.0874 | 1.1172 | -6.566 | -123.3194 | 122.8374 | -6.0185 | -120.2826 | 120.1096
Line_2 | 0.18146 | 0.037495 | 0.019258 | 0.18114 | 0.037166 | 0.018943 | 2.0953 | 0.43296 | 0.22237 | 2.0916 | 0.42916 | 0.21874 | 1.3641 | 0.23745 | -0.23637 | -1.2995 | -0.22535 | 0.23727 | 1.3942 | -0.40767 | 0.059207 | -1.3597 | 0.40867 | -0.058509 | -52.3374 | -59.1974 | -46.3389 | 127.6835 | 120.8441 | 133.9619 | 0.93089 | 1.0897 | 1.0958 | 0.89921 | 1.0874 | 1.1172 | -6.7127 | -118.9785 | 119.5985 | -6.0185 | -120.2826 | 120.1096

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7623 | 0.19845 | 0.15205 | 0.7621 | 0.19864 | 0.15223 | 8.8022 | 2.2915 | 1.7557 | 8.8 | 2.2937 | 1.7578 | 7.1391 | -2.0844 | 1.7021 | -6.4689 | 2.1025 | -1.6911 | 5.2291 | 1.2351 | 0.914 | -4.5574 | -1.3419 | -0.99857 | -41.1898 | 92.2403 | 89.5129 | 138.8164 | -87.7357 | -90.4523 | 1.0053 | 1.0573 | 1.1004 | 0.89921 | 1.0874 | 1.1172 | -4.9686 | -118.4074 | 117.7479 | -6.0185 | -120.2826 | 120.1096
Line_1 | 0.94002 | 0.16753 | 0.1399 | 0.94048 | 0.16696 | 0.13933 | 10.8544 | 1.9344 | 1.6154 | 10.8598 | 1.9278 | 1.6089 | -6.6276 | 1.8816 | -1.4596 | 7.7684 | -1.8772 | 1.4538 | -4.9449 | -1.0653 | -1.1688 | 5.9171 | 0.93322 | 1.0571 | 136.7068 | -93.8032 | -95.849 | -43.3148 | 86.1511 | 84.0879 | 0.76181 | 1.1178 | 1.1575 | 0.89921 | 1.0874 | 1.1172 | -6.566 | -123.3194 | 122.8374 | -6.0185 | -120.2826 | 120.1096
Line_2 | 0.18146 | 0.037495 | 0.019258 | 0.18114 | 0.037166 | 0.018943 | 2.0953 | 0.43296 | 0.22237 | 2.0916 | 0.42916 | 0.21874 | 1.3641 | 0.23745 | -0.23637 | -1.2995 | -0.22535 | 0.23727 | 1.3942 | -0.40767 | 0.059207 | -1.3597 | 0.40867 | -0.058509 | -52.3374 | -59.1974 | -46.3389 | 127.6835 | 120.8441 | 133.9619 | 0.93089 | 1.0897 | 1.0958 | 0.89921 | 1.0874 | 1.1172 | -6.7127 | -118.9785 | 119.5985 | -6.0185 | -120.2826 | 120.1096

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5525 | 0.58937 | 0.46802 | 1.552 | 0.58988 | 0.46853 | 17.9267 | 6.8055 | 5.4042 | 17.9211 | 6.8114 | 5.4102 | 11.1512 | -5.351 | 5.1637 | -6.8456 | 5.6255 | -5.0463 | 8.1548 | 3.0089 | 1.4878 | -4.4885 | -3.9209 | -2.2403 | -48.5542 | 95.1252 | 97.3796 | 131.4534 | -84.8633 | -82.6084 | 0.77063 | 0.90205 | 0.99436 | 0.45677 | 1.0067 | 1.0205 | -12.3766 | -114.224 | 113.4531 | -15.2948 | -119.7392 | 121.3306
Line_1 | 2.0041 | 0.56227 | 0.48568 | 2.0055 | 0.56058 | 0.48397 | 23.1416 | 6.4926 | 5.6081 | 23.1574 | 6.473 | 5.5884 | -4.2854e-11 | 6.0032 | -4.7034 | 8.6777 | -5.8899 | 4.7008 | 4.4767e-12 | -4.263 | -4.5212 | 6.0486 | 2.788 | 3.2294 | 129.8567 | -94.386 | -93.136 | -50.1726 | 85.5911 | 86.8419 | 0 | 1.134 | 1.1633 | 0.45677 | 1.0067 | 1.0205 | 0 | -129.7658 | 130.7326 | -15.2948 | -119.7392 | 121.3306
Line_2 | 0.45702 | 0.10062 | 0.089107 | 0.45623 | 0.10008 | 0.088906 | 5.2772 | 1.1619 | 1.0289 | 5.2681 | 1.1556 | 1.0266 | 2.5521 | -0.13282 | -0.27072 | -1.8321 | 0.26442 | 0.34554 | 1.8973 | -1.1686 | 0.91732 | -1.5601 | 1.1329 | -0.98906 | -55.7252 | -16.9312 | 11.5802 | 124.2882 | 163.3981 | -167.9266 | 0.6026 | 1.0123 | 0.92955 | 0.45677 | 1.0067 | 1.0205 | -19.0972 | -113.4155 | 118.023 | -15.2948 | -119.7392 | 121.3306

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5525 | 0.58937 | 0.46802 | 1.552 | 0.58988 | 0.46853 | 17.9267 | 6.8055 | 5.4042 | 17.9211 | 6.8114 | 5.4102 | 11.1512 | -5.351 | 5.1637 | -6.8456 | 5.6255 | -5.0463 | 8.1548 | 3.0089 | 1.4878 | -4.4885 | -3.9209 | -2.2403 | -48.5542 | 95.1252 | 97.3796 | 131.4534 | -84.8633 | -82.6084 | 0.77063 | 0.90205 | 0.99436 | 0.45677 | 1.0067 | 1.0205 | -12.3766 | -114.224 | 113.4531 | -15.2948 | -119.7392 | 121.3306
Line_1 | 2.0041 | 0.56227 | 0.48568 | 2.0055 | 0.56058 | 0.48397 | 23.1416 | 6.4926 | 5.6081 | 23.1574 | 6.473 | 5.5884 | -4.2854e-11 | 6.0032 | -4.7034 | 8.6777 | -5.8899 | 4.7008 | 4.4767e-12 | -4.263 | -4.5212 | 6.0486 | 2.788 | 3.2294 | 129.8567 | -94.386 | -93.136 | -50.1726 | 85.5911 | 86.8419 | 0 | 1.134 | 1.1633 | 0.45677 | 1.0067 | 1.0205 | 0 | -129.7658 | 130.7326 | -15.2948 | -119.7392 | 121.3306
Line_2 | 0.45702 | 0.10062 | 0.089107 | 0.45623 | 0.10008 | 0.088906 | 5.2772 | 1.1619 | 1.0289 | 5.2681 | 1.1556 | 1.0266 | 2.5521 | -0.13282 | -0.27072 | -1.8321 | 0.26442 | 0.34554 | 1.8973 | -1.1686 | 0.91732 | -1.5601 | 1.1329 | -0.98906 | -55.7252 | -16.9312 | 11.5802 | 124.2882 | 163.3981 | -167.9266 | 0.6026 | 1.0123 | 0.92955 | 0.45677 | 1.0067 | 1.0205 | -19.0972 | -113.4155 | 118.023 | -15.2948 | -119.7392 | 121.3306

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55873 | 0.21211 | 0.16844 | 0.55856 | 0.21229 | 0.16862 | 6.4517 | 2.4492 | 1.9449 | 6.4497 | 2.4514 | 1.9471 | 5.0665 | -1.6495 | 1.9321 | -4.508 | 1.6856 | -1.9183 | 3.1898 | 1.6672 | 0.2936 | -2.7138 | -1.7867 | -0.39091 | -36.9039 | 106.7754 | 109.0298 | 143.1037 | -73.213 | -70.9581 | 0.92798 | 0.95758 | 1.0048 | 0.81583 | 1.002 | 1.0055 | -4.7095 | -118.5311 | 117.6704 | -5.8481 | -119.8798 | 120.5599
Line_1 | 0.72127 | 0.20236 | 0.17479 | 0.72176 | 0.20175 | 0.17418 | 8.3285 | 2.3366 | 2.0183 | 8.3342 | 2.3296 | 2.0112 | -4.5976 | 1.8789 | -1.879 | 5.7233 | -1.8613 | 1.8741 | -2.8829 | -1.6034 | -0.92779 | 3.6706 | 1.4088 | 0.75975 | 141.507 | -82.7357 | -81.4857 | -38.5223 | 97.2414 | 98.4922 | 0.65159 | 1.0571 | 1.0383 | 0.81583 | 1.002 | 1.0055 | -6.4039 | -123.2133 | 124.7929 | -5.8481 | -119.8798 | 120.5599
Line_2 | 0.16448 | 0.036213 | 0.032069 | 0.16419 | 0.036018 | 0.031997 | 1.8992 | 0.41815 | 0.3703 | 1.896 | 0.41589 | 0.36947 | 1.3101 | -0.15803 | -0.036605 | -1.2153 | 0.17565 | 0.044219 | 1.002 | -0.3846 | 0.36009 | -0.95682 | 0.37792 | -0.36884 | -44.075 | -5.2809 | 23.2305 | 135.9385 | 175.0483 | -156.2764 | 0.86843 | 0.99439 | 0.97744 | 0.81583 | 1.002 | 1.0055 | -6.6643 | -117.6185 | 119.0349 | -5.8481 | -119.8798 | 120.5599

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55873 | 0.21211 | 0.16844 | 0.55856 | 0.21229 | 0.16862 | 6.4517 | 2.4492 | 1.9449 | 6.4497 | 2.4514 | 1.9471 | 5.0665 | -1.6495 | 1.9321 | -4.508 | 1.6856 | -1.9183 | 3.1898 | 1.6672 | 0.2936 | -2.7138 | -1.7867 | -0.39091 | -36.9039 | 106.7754 | 109.0298 | 143.1037 | -73.213 | -70.9581 | 0.92798 | 0.95758 | 1.0048 | 0.81583 | 1.002 | 1.0055 | -4.7095 | -118.5311 | 117.6704 | -5.8481 | -119.8798 | 120.5599
Line_1 | 0.72127 | 0.20236 | 0.17479 | 0.72176 | 0.20175 | 0.17418 | 8.3285 | 2.3366 | 2.0183 | 8.3342 | 2.3296 | 2.0112 | -4.5976 | 1.8789 | -1.879 | 5.7233 | -1.8613 | 1.8741 | -2.8829 | -1.6034 | -0.92779 | 3.6706 | 1.4088 | 0.75975 | 141.507 | -82.7357 | -81.4857 | -38.5223 | 97.2414 | 98.4922 | 0.65159 | 1.0571 | 1.0383 | 0.81583 | 1.002 | 1.0055 | -6.4039 | -123.2133 | 124.7929 | -5.8481 | -119.8798 | 120.5599
Line_2 | 0.16448 | 0.036213 | 0.032069 | 0.16419 | 0.036018 | 0.031997 | 1.8992 | 0.41815 | 0.3703 | 1.896 | 0.41589 | 0.36947 | 1.3101 | -0.15803 | -0.036605 | -1.2153 | 0.17565 | 0.044219 | 1.002 | -0.3846 | 0.36009 | -0.95682 | 0.37792 | -0.36884 | -44.075 | -5.2809 | 23.2305 | 135.9385 | 175.0483 | -156.2764 | 0.86843 | 0.99439 | 0.97744 | 0.81583 | 1.002 | 1.0055 | -6.6643 | -117.6185 | 119.0349 | -5.8481 | -119.8798 | 120.5599

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48355 | 3.39 | 2.5689 | 0.48396 | 3.3899 | 2.5687 | 5.5836 | 39.1446 | 29.6628 | 5.5883 | 39.1433 | 29.661 | -2.2347 | 26.1664 | 0.29188 | 2.6111 | -14.5264 | -0.17737 | 5.0385 | 9.8733 | 16.3212 | -5.6994 | -4.5014 | -9.5029 | -114.7176 | -172.7438 | 34.6502 | 65.3277 | 7.2655 | -145.3617 | 0.98715 | 0.71446 | 0.55031 | 1.1218 | 0.38852 | 0.32044 | -0.79965 | -152.071 | 123.6257 | -0.058509 | -155.5174 | 123.569
Line_1 | 0.41692 | 4.0245 | 3.0522 | 0.41553 | 4.0245 | 3.0531 | 4.8142 | 46.4714 | 35.244 | 4.7981 | 46.4705 | 35.2544 | 2.4672 | 8.9041e-11 | 9.675e-11 | -2.2539 | 17.0156 | 0.803 | -5.7602 | -1.11e-10 | -4.3961e-11 | 4.888 | 6.0363 | 11.2683 | 65.2841 | 4.9727 | -142.3788 | -114.8131 | -175.0495 | 37.6451 | 1.3016 | 0 | 0 | 1.1218 | 0.38852 | 0.32044 | -1.5297 | 0 | 0 | -0.058509 | -155.5174 | 123.569
Line_2 | 0.06909 | 0.65225 | 0.5067 | 0.068439 | 0.65186 | 0.5062 | 0.79778 | 7.5316 | 5.8509 | 0.79027 | 7.5271 | 5.8451 | 0.37349 | 3.0705 | 0.81059 | -0.35718 | -2.4892 | -0.62563 | -0.77459 | 1.5136 | 2.2672 | 0.8114 | -1.5348 | -1.7654 | 66.6779 | 172.7554 | 53.1647 | -113.8177 | -7.175 | -126.9177 | 1.0779 | 0.45453 | 0.41151 | 1.1218 | 0.38852 | 0.32044 | 2.4204 | -161.0037 | 123.4909 | -0.058509 | -155.5174 | 123.569

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48355 | 3.39 | 2.5689 | 0.48396 | 3.3899 | 2.5687 | 5.5836 | 39.1446 | 29.6628 | 5.5883 | 39.1433 | 29.661 | -2.2347 | 26.1664 | 0.29188 | 2.6111 | -14.5264 | -0.17737 | 5.0385 | 9.8733 | 16.3212 | -5.6994 | -4.5014 | -9.5029 | -114.7176 | -172.7438 | 34.6502 | 65.3277 | 7.2655 | -145.3617 | 0.98715 | 0.71446 | 0.55031 | 1.1218 | 0.38852 | 0.32044 | -0.79965 | -152.071 | 123.6257 | -0.058509 | -155.5174 | 123.569
Line_1 | 0.41692 | 4.0245 | 3.0522 | 0.41553 | 4.0245 | 3.0531 | 4.8142 | 46.4714 | 35.244 | 4.7981 | 46.4705 | 35.2544 | 2.4672 | 8.9041e-11 | 9.675e-11 | -2.2539 | 17.0156 | 0.803 | -5.7602 | -1.11e-10 | -4.3961e-11 | 4.888 | 6.0363 | 11.2683 | 65.2841 | 4.9727 | -142.3788 | -114.8131 | -175.0495 | 37.6451 | 1.3016 | 0 | 0 | 1.1218 | 0.38852 | 0.32044 | -1.5297 | 0 | 0 | -0.058509 | -155.5174 | 123.569
Line_2 | 0.06909 | 0.65225 | 0.5067 | 0.068439 | 0.65186 | 0.5062 | 0.79778 | 7.5316 | 5.8509 | 0.79027 | 7.5271 | 5.8451 | 0.37349 | 3.0705 | 0.81059 | -0.35718 | -2.4892 | -0.62563 | -0.77459 | 1.5136 | 2.2672 | 0.8114 | -1.5348 | -1.7654 | 66.6779 | 172.7554 | 53.1647 | -113.8177 | -7.175 | -126.9177 | 1.0779 | 0.45453 | 0.41151 | 1.1218 | 0.38852 | 0.32044 | 2.4204 | -161.0037 | 123.4909 | -0.058509 | -155.5174 | 123.569

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17593 | 0.9599 | 0.76788 | 0.17608 | 0.95988 | 0.76777 | 2.0314 | 11.084 | 8.8667 | 2.0332 | 11.0838 | 8.8654 | -0.40595 | 9.6967 | 4.5871 | 0.44614 | -8.672 | -4.5276 | 2.1141 | 5.5339 | 7.0544 | -2.2017 | -5.1888 | -6.3132 | -101.5769 | -157.7479 | 59.7865 | 78.4633 | 22.2638 | -120.2259 | 1.0597 | 1.0073 | 0.94902 | 1.1049 | 0.91176 | 0.87631 | -0.70738 | -128.0345 | 116.7525 | -0.081693 | -126.8425 | 114.1275
Line_1 | 0.15072 | 1.1356 | 0.9309 | 0.15021 | 1.1355 | 0.93134 | 1.7403 | 13.113 | 10.7492 | 1.7345 | 13.112 | 10.7541 | 0.45064 | -8.4752 | -5.6604 | -0.43056 | 9.9567 | 5.8716 | -1.9831 | -6.2863 | -6.1426 | 1.8675 | 6.6173 | 7.3712 | 77.0204 | 19.5767 | -117.3541 | -103.0648 | -160.4508 | 62.6669 | 1.1686 | 0.80471 | 0.77707 | 1.1049 | 0.91176 | 0.87631 | -0.17729 | -123.8578 | 109.9853 | -0.081693 | -126.8425 | 114.1275
Line_2 | 0.026495 | 0.1826 | 0.16928 | 0.026227 | 0.18248 | 0.16904 | 0.30593 | 2.1085 | 1.9546 | 0.30284 | 2.1071 | 1.952 | 0.017681 | 1.3345 | 1.3775 | -0.015584 | -1.2847 | -1.344 | -0.33191 | 1.4218 | 1.1133 | 0.33424 | -1.4285 | -1.058 | 87.5893 | -174.9664 | 75.9877 | -92.7512 | 5.1235 | -104.0824 | 1.0865 | 0.92481 | 0.90612 | 1.1049 | 0.91176 | 0.87631 | 0.63862 | -128.1513 | 114.9316 | -0.081693 | -126.8425 | 114.1275

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17593 | 0.9599 | 0.76788 | 0.17608 | 0.95988 | 0.76777 | 2.0314 | 11.084 | 8.8667 | 2.0332 | 11.0838 | 8.8654 | -0.40595 | 9.6967 | 4.5871 | 0.44614 | -8.672 | -4.5276 | 2.1141 | 5.5339 | 7.0544 | -2.2017 | -5.1888 | -6.3132 | -101.5769 | -157.7479 | 59.7865 | 78.4633 | 22.2638 | -120.2259 | 1.0597 | 1.0073 | 0.94902 | 1.1049 | 0.91176 | 0.87631 | -0.70738 | -128.0345 | 116.7525 | -0.081693 | -126.8425 | 114.1275
Line_1 | 0.15072 | 1.1356 | 0.9309 | 0.15021 | 1.1355 | 0.93134 | 1.7403 | 13.113 | 10.7492 | 1.7345 | 13.112 | 10.7541 | 0.45064 | -8.4752 | -5.6604 | -0.43056 | 9.9567 | 5.8716 | -1.9831 | -6.2863 | -6.1426 | 1.8675 | 6.6173 | 7.3712 | 77.0204 | 19.5767 | -117.3541 | -103.0648 | -160.4508 | 62.6669 | 1.1686 | 0.80471 | 0.77707 | 1.1049 | 0.91176 | 0.87631 | -0.17729 | -123.8578 | 109.9853 | -0.081693 | -126.8425 | 114.1275
Line_2 | 0.026495 | 0.1826 | 0.16928 | 0.026227 | 0.18248 | 0.16904 | 0.30593 | 2.1085 | 1.9546 | 0.30284 | 2.1071 | 1.952 | 0.017681 | 1.3345 | 1.3775 | -0.015584 | -1.2847 | -1.344 | -0.33191 | 1.4218 | 1.1133 | 0.33424 | -1.4285 | -1.058 | 87.5893 | -174.9664 | 75.9877 | -92.7512 | 5.1235 | -104.0824 | 1.0865 | 0.92481 | 0.90612 | 1.1049 | 0.91176 | 0.87631 | 0.63862 | -128.1513 | 114.9316 | -0.081693 | -126.8425 | 114.1275

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42987 | 2.48 | 2.1666 | 0.43024 | 2.48 | 2.1664 | 4.9637 | 28.6369 | 25.0177 | 4.968 | 28.6371 | 25.0158 | -0.74612 | 22.7137 | 4.2778 | 1.0896 | -12.9283 | -2.2201 | 4.4462 | 3.0458 | 12.5614 | -4.9935 | -0.71951 | -7.6658 | -100.2527 | -156.7111 | 42.538 | 79.7768 | 23.2988 | -137.4725 | 0.90826 | 0.80026 | 0.53042 | 1.0288 | 0.45215 | 0.31903 | -0.72651 | -149.0736 | 113.7318 | 2.0856 | -153.5157 | 116.3761
Line_1 | 0.42482 | 3.0604 | 2.5836 | 0.42348 | 3.06 | 2.5845 | 4.9054 | 35.3384 | 29.8334 | 4.8899 | 35.3344 | 29.8437 | 1.585 | -1.0517e-10 | -4.5096e-11 | -1.3384 | 15.867 | 2.9599 | -5.7957 | -6.0077e-11 | -9.2633e-11 | 4.8494 | 1.867 | 9.0492 | 76.7188 | 19.7991 | -135.536 | -103.3428 | -160.2265 | 44.4884 | 1.2249 | 0 | 0 | 1.0288 | 0.45215 | 0.31903 | 2.0143 | 0 | 0 | 2.0856 | -153.5157 | 116.3761
Line_2 | 0.024751 | 0.60452 | 0.42616 | 0.024201 | 0.60426 | 0.42587 | 0.2858 | 6.9804 | 4.9208 | 0.27945 | 6.9773 | 4.9176 | -0.22708 | 3.7904 | 0.8897 | 0.24878 | -2.9387 | -0.73983 | -0.15153 | 1.0139 | 1.9128 | 0.1441 | -1.1475 | -1.3834 | 151.1785 | -174.9013 | 54.5921 | -27.9953 | 5.1553 | -125.4871 | 0.95518 | 0.5621 | 0.4287 | 1.0288 | 0.45215 | 0.31903 | 4.8934 | -159.9257 | 119.6475 | 2.0856 | -153.5157 | 116.3761

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42987 | 2.48 | 2.1666 | 0.43024 | 2.48 | 2.1664 | 4.9637 | 28.6369 | 25.0177 | 4.968 | 28.6371 | 25.0158 | -0.74612 | 22.7137 | 4.2778 | 1.0896 | -12.9283 | -2.2201 | 4.4462 | 3.0458 | 12.5614 | -4.9935 | -0.71951 | -7.6658 | -100.2527 | -156.7111 | 42.538 | 79.7768 | 23.2988 | -137.4725 | 0.90826 | 0.80026 | 0.53042 | 1.0288 | 0.45215 | 0.31903 | -0.72651 | -149.0736 | 113.7318 | 2.0856 | -153.5157 | 116.3761
Line_1 | 0.42482 | 3.0604 | 2.5836 | 0.42348 | 3.06 | 2.5845 | 4.9054 | 35.3384 | 29.8334 | 4.8899 | 35.3344 | 29.8437 | 1.585 | -1.0517e-10 | -4.5096e-11 | -1.3384 | 15.867 | 2.9599 | -5.7957 | -6.0077e-11 | -9.2633e-11 | 4.8494 | 1.867 | 9.0492 | 76.7188 | 19.7991 | -135.536 | -103.3428 | -160.2265 | 44.4884 | 1.2249 | 0 | 0 | 1.0288 | 0.45215 | 0.31903 | 2.0143 | 0 | 0 | 2.0856 | -153.5157 | 116.3761
Line_2 | 0.024751 | 0.60452 | 0.42616 | 0.024201 | 0.60426 | 0.42587 | 0.2858 | 6.9804 | 4.9208 | 0.27945 | 6.9773 | 4.9176 | -0.22708 | 3.7904 | 0.8897 | 0.24878 | -2.9387 | -0.73983 | -0.15153 | 1.0139 | 1.9128 | 0.1441 | -1.1475 | -1.3834 | 151.1785 | -174.9013 | 54.5921 | -27.9953 | 5.1553 | -125.4871 | 0.95518 | 0.5621 | 0.4287 | 1.0288 | 0.45215 | 0.31903 | 4.8934 | -159.9257 | 119.6475 | 2.0856 | -153.5157 | 116.3761

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17495 | 0.75687 | 0.64092 | 0.1751 | 0.75688 | 0.64083 | 2.0201 | 8.7396 | 7.4007 | 2.0219 | 8.7397 | 7.3997 | 0.16063 | 7.724 | 3.5501 | -0.11416 | -6.7033 | -3.4134 | 1.9405 | 2.7851 | 5.3784 | -2.0331 | -2.6047 | -4.8406 | -86.0804 | -147.7699 | 59.8045 | 93.9445 | 32.2433 | -120.209 | 0.96388 | 0.93949 | 0.87078 | 1.0071 | 0.82286 | 0.80045 | -0.81258 | -127.9414 | 116.3774 | 0.73078 | -126.5221 | 114.6015
Line_1 | 0.17316 | 0.93845 | 0.77401 | 0.17261 | 0.93831 | 0.77443 | 1.9995 | 10.8362 | 8.9375 | 1.9931 | 10.8347 | 8.9424 | 0.091554 | -6.3739 | -4.1599 | -0.061512 | 8.0619 | 4.4177 | -2.1659 | -3.7263 | -4.5971 | 2.0064 | 3.8066 | 5.632 | 89.0258 | 28.2366 | -117.3165 | -91.0253 | -151.7972 | 62.7118 | 1.0842 | 0.68134 | 0.69369 | 1.0071 | 0.82286 | 0.80045 | 1.4463 | -121.452 | 110.5418 | 0.73078 | -126.5221 | 114.6015
Line_2 | 0.01547 | 0.19103 | 0.13851 | 0.01528 | 0.19091 | 0.13834 | 0.17863 | 2.2058 | 1.5993 | 0.17643 | 2.2045 | 1.5975 | -0.17124 | 1.4583 | 1.0337 | 0.17567 | -1.3587 | -1.0044 | -0.030426 | 1.1834 | 0.85716 | 0.026725 | -1.2019 | -0.7914 | 171.4017 | -168.0896 | 76.4498 | -7.9196 | 11.9814 | -103.6357 | 0.97363 | 0.85141 | 0.83964 | 1.0071 | 0.82286 | 0.80045 | 1.4769 | -129.0288 | 116.1152 | 0.73078 | -126.5221 | 114.6015

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17495 | 0.75687 | 0.64092 | 0.1751 | 0.75688 | 0.64083 | 2.0201 | 8.7396 | 7.4007 | 2.0219 | 8.7397 | 7.3997 | 0.16063 | 7.724 | 3.5501 | -0.11416 | -6.7033 | -3.4134 | 1.9405 | 2.7851 | 5.3784 | -2.0331 | -2.6047 | -4.8406 | -86.0804 | -147.7699 | 59.8045 | 93.9445 | 32.2433 | -120.209 | 0.96388 | 0.93949 | 0.87078 | 1.0071 | 0.82286 | 0.80045 | -0.81258 | -127.9414 | 116.3774 | 0.73078 | -126.5221 | 114.6015
Line_1 | 0.17316 | 0.93845 | 0.77401 | 0.17261 | 0.93831 | 0.77443 | 1.9995 | 10.8362 | 8.9375 | 1.9931 | 10.8347 | 8.9424 | 0.091554 | -6.3739 | -4.1599 | -0.061512 | 8.0619 | 4.4177 | -2.1659 | -3.7263 | -4.5971 | 2.0064 | 3.8066 | 5.632 | 89.0258 | 28.2366 | -117.3165 | -91.0253 | -151.7972 | 62.7118 | 1.0842 | 0.68134 | 0.69369 | 1.0071 | 0.82286 | 0.80045 | 1.4463 | -121.452 | 110.5418 | 0.73078 | -126.5221 | 114.6015
Line_2 | 0.01547 | 0.19103 | 0.13851 | 0.01528 | 0.19091 | 0.13834 | 0.17863 | 2.2058 | 1.5993 | 0.17643 | 2.2045 | 1.5975 | -0.17124 | 1.4583 | 1.0337 | 0.17567 | -1.3587 | -1.0044 | -0.030426 | 1.1834 | 0.85716 | 0.026725 | -1.2019 | -0.7914 | 171.4017 | -168.0896 | 76.4498 | -7.9196 | 11.9814 | -103.6357 | 0.97363 | 0.85141 | 0.83964 | 1.0071 | 0.82286 | 0.80045 | 1.4769 | -129.0288 | 116.1152 | 0.73078 | -126.5221 | 114.6015