## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4771 | 0.82654 | 0.74004 | 1.4797 | 0.82915 | 0.74259 | 17.0563 | 9.544 | 8.5453 | 17.0857 | 9.5742 | 8.5747 | 6.2826e-11 | -1.2501 | 13.3584 | 5.9247 | 4.2854 | -10.71 | -7.7281e-11 | 12.8278 | 3.2867 | 2.5583 | -11.6391 | -2.3603 | 121.0583 | 118.7037 | 120.9705 | -59.0054 | -61.4028 | -59.1563 | 0 | 1.3504 | 1.6099 | 0.37771 | 1.2955 | 1.279 | 0 | -145.7302 | 134.7929 | -35.6502 | -131.1894 | 133.2722
Line_1 | 0.74192 | 0.41667 | 0.37338 | 0.73983 | 0.41457 | 0.3713 | 8.5669 | 4.8113 | 4.3114 | 8.5429 | 4.7871 | 4.2874 | 4.4602 | 2.9167 | -4.7057 | -2.9623 | -2.1427 | 5.355 | 1.9269 | -5.5381 | -0.94888 | -1.2792 | 5.8195 | 1.1802 | -59.0387 | -61.4499 | -59.2215 | 120.9946 | 118.5972 | 120.8437 | 0.56714 | 1.3009 | 1.1134 | 0.37771 | 1.2955 | 1.279 | -35.6737 | -123.6756 | 132.1789 | -35.6502 | -131.1894 | 133.2722
Line_2 | 0.74192 | 0.41667 | 0.37338 | 0.73983 | 0.41457 | 0.3713 | 8.5669 | 4.8113 | 4.3114 | 8.5429 | 4.7871 | 4.2874 | 4.4602 | 2.9167 | -4.7057 | -2.9623 | -2.1427 | 5.355 | 1.9269 | -5.5381 | -0.94888 | -1.2792 | 5.8195 | 1.1802 | -59.0387 | -61.4499 | -59.2215 | 120.9946 | 118.5972 | 120.8437 | 0.56714 | 1.3009 | 1.1134 | 0.37771 | 1.2955 | 1.279 | -35.6737 | -123.6756 | 132.1789 | -35.6502 | -131.1894 | 133.2722

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4771 | 0.82654 | 0.74004 | 1.4797 | 0.82915 | 0.74259 | 17.0563 | 9.544 | 8.5453 | 17.0857 | 9.5742 | 8.5747 | 6.2826e-11 | -1.2501 | 13.3584 | 5.9247 | 4.2854 | -10.71 | -7.7281e-11 | 12.8278 | 3.2867 | 2.5583 | -11.6391 | -2.3603 | 121.0583 | 118.7037 | 120.9705 | -59.0054 | -61.4028 | -59.1563 | 0 | 1.3504 | 1.6099 | 0.37771 | 1.2955 | 1.279 | 0 | -145.7302 | 134.7929 | -35.6502 | -131.1894 | 133.2722
Line_1 | 0.74192 | 0.41667 | 0.37338 | 0.73983 | 0.41457 | 0.3713 | 8.5669 | 4.8113 | 4.3114 | 8.5429 | 4.7871 | 4.2874 | 4.4602 | 2.9167 | -4.7057 | -2.9623 | -2.1427 | 5.355 | 1.9269 | -5.5381 | -0.94888 | -1.2792 | 5.8195 | 1.1802 | -59.0387 | -61.4499 | -59.2215 | 120.9946 | 118.5972 | 120.8437 | 0.56714 | 1.3009 | 1.1134 | 0.37771 | 1.2955 | 1.279 | -35.6737 | -123.6756 | 132.1789 | -35.6502 | -131.1894 | 133.2722
Line_2 | 0.74192 | 0.41667 | 0.37338 | 0.73983 | 0.41457 | 0.3713 | 8.5669 | 4.8113 | 4.3114 | 8.5429 | 4.7871 | 4.2874 | 4.4602 | 2.9167 | -4.7057 | -2.9623 | -2.1427 | 5.355 | 1.9269 | -5.5381 | -0.94888 | -1.2792 | 5.8195 | 1.1802 | -59.0387 | -61.4499 | -59.2215 | 120.9946 | 118.5972 | 120.8437 | 0.56714 | 1.3009 | 1.1134 | 0.37771 | 1.2955 | 1.279 | -35.6737 | -123.6756 | 132.1789 | -35.6502 | -131.1894 | 133.2722

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51037 | 0.28558 | 0.2557 | 0.51125 | 0.28649 | 0.25658 | 5.8933 | 3.2976 | 2.9525 | 5.9034 | 3.308 | 2.9627 | -3.3901 | -0.60888 | 3.618 | 4.1003 | 0.97714 | -3.3105 | -2.703 | 3.9136 | -0.39833 | 3.0169 | -3.7784 | 0.50715 | 134.5244 | 132.1698 | 134.4366 | -45.5393 | -47.9367 | -45.6902 | 0.73572 | 1.2011 | 1.2328 | 0.8623 | 1.1798 | 1.1304 | -6.9094 | -128.987 | 128.1539 | -9.1945 | -123.4369 | 125.6003
Line_1 | 0.25635 | 0.14397 | 0.12901 | 0.25563 | 0.14324 | 0.12829 | 2.96 | 1.6624 | 1.4897 | 2.9517 | 1.654 | 1.4814 | 2.2329 | 0.58314 | -1.5839 | -2.0501 | -0.48857 | 1.6553 | 1.5906 | -1.8614 | 0.28223 | -1.5084 | 1.8892 | -0.25357 | -45.5726 | -47.9838 | -45.7554 | 134.4607 | 132.0633 | 134.3098 | 0.92618 | 1.1734 | 1.08 | 0.8623 | 1.1798 | 1.1304 | -10.1094 | -120.5894 | 124.1413 | -9.1945 | -123.4369 | 125.6003
Line_2 | 0.25635 | 0.14397 | 0.12901 | 0.25563 | 0.14324 | 0.12829 | 2.96 | 1.6624 | 1.4897 | 2.9517 | 1.654 | 1.4814 | 2.2329 | 0.58314 | -1.5839 | -2.0501 | -0.48857 | 1.6553 | 1.5906 | -1.8614 | 0.28223 | -1.5084 | 1.8892 | -0.25357 | -45.5726 | -47.9838 | -45.7554 | 134.4607 | 132.0633 | 134.3098 | 0.92618 | 1.1734 | 1.08 | 0.8623 | 1.1798 | 1.1304 | -10.1094 | -120.5894 | 124.1413 | -9.1945 | -123.4369 | 125.6003

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51037 | 0.28558 | 0.2557 | 0.51125 | 0.28649 | 0.25658 | 5.8933 | 3.2976 | 2.9525 | 5.9034 | 3.308 | 2.9627 | -3.3901 | -0.60888 | 3.618 | 4.1003 | 0.97714 | -3.3105 | -2.703 | 3.9136 | -0.39833 | 3.0169 | -3.7784 | 0.50715 | 134.5244 | 132.1698 | 134.4366 | -45.5393 | -47.9367 | -45.6902 | 0.73572 | 1.2011 | 1.2328 | 0.8623 | 1.1798 | 1.1304 | -6.9094 | -128.987 | 128.1539 | -9.1945 | -123.4369 | 125.6003
Line_1 | 0.25635 | 0.14397 | 0.12901 | 0.25563 | 0.14324 | 0.12829 | 2.96 | 1.6624 | 1.4897 | 2.9517 | 1.654 | 1.4814 | 2.2329 | 0.58314 | -1.5839 | -2.0501 | -0.48857 | 1.6553 | 1.5906 | -1.8614 | 0.28223 | -1.5084 | 1.8892 | -0.25357 | -45.5726 | -47.9838 | -45.7554 | 134.4607 | 132.0633 | 134.3098 | 0.92618 | 1.1734 | 1.08 | 0.8623 | 1.1798 | 1.1304 | -10.1094 | -120.5894 | 124.1413 | -9.1945 | -123.4369 | 125.6003
Line_2 | 0.25635 | 0.14397 | 0.12901 | 0.25563 | 0.14324 | 0.12829 | 2.96 | 1.6624 | 1.4897 | 2.9517 | 1.654 | 1.4814 | 2.2329 | 0.58314 | -1.5839 | -2.0501 | -0.48857 | 1.6553 | 1.5906 | -1.8614 | 0.28223 | -1.5084 | 1.8892 | -0.25357 | -45.5726 | -47.9838 | -45.7554 | 134.4607 | 132.0633 | 134.3098 | 0.92618 | 1.1734 | 1.08 | 0.8623 | 1.1798 | 1.1304 | -10.1094 | -120.5894 | 124.1413 | -9.1945 | -123.4369 | 125.6003

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0941 | 0.57863 | 0.51317 | 1.0958 | 0.58039 | 0.51484 | 12.6337 | 6.6814 | 5.9255 | 12.6534 | 6.7017 | 5.9449 | -2.4117e-11 | 2.7778 | 9.3671 | 6.0729 | 0.15309 | -6.8411 | 6.0908e-12 | 8.3063 | -0.52886 | 1.3989 | -7.713 | 0.93914 | 139.1814 | 137.8439 | 140.0901 | -40.9354 | -42.3726 | -40.1614 | 0 | 1.3109 | 1.5833 | 0.49251 | 1.1511 | 1.1616 | 0 | -150.647 | 136.8587 | -27.9634 | -131.2355 | 132.022
Line_1 | 0.54928 | 0.29158 | 0.25878 | 0.54791 | 0.29019 | 0.25742 | 6.3425 | 3.3668 | 2.9882 | 6.3267 | 3.3509 | 2.9724 | 4.57 | 0.81676 | -2.7946 | -3.0365 | -0.076543 | 3.4206 | 1.0541 | -3.7166 | 0.57767 | -0.69946 | 3.8565 | -0.46957 | -40.9941 | -42.4765 | -40.2902 | 139.0646 | 137.6274 | 139.8386 | 0.73946 | 1.1302 | 0.95498 | 0.49251 | 1.1511 | 1.1616 | -28.0054 | -120.0821 | 128.0306 | -27.9634 | -131.2355 | 132.022
Line_2 | 0.54928 | 0.29158 | 0.25878 | 0.54791 | 0.29019 | 0.25742 | 6.3425 | 3.3668 | 2.9882 | 6.3267 | 3.3509 | 2.9724 | 4.57 | 0.81676 | -2.7946 | -3.0365 | -0.076543 | 3.4206 | 1.0541 | -3.7166 | 0.57767 | -0.69946 | 3.8565 | -0.46957 | -40.9941 | -42.4765 | -40.2902 | 139.0646 | 137.6274 | 139.8386 | 0.73946 | 1.1302 | 0.95498 | 0.49251 | 1.1511 | 1.1616 | -28.0054 | -120.0821 | 128.0306 | -27.9634 | -131.2355 | 132.022

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0941 | 0.57863 | 0.51317 | 1.0958 | 0.58039 | 0.51484 | 12.6337 | 6.6814 | 5.9255 | 12.6534 | 6.7017 | 5.9449 | -2.4117e-11 | 2.7778 | 9.3671 | 6.0729 | 0.15309 | -6.8411 | 6.0908e-12 | 8.3063 | -0.52886 | 1.3989 | -7.713 | 0.93914 | 139.1814 | 137.8439 | 140.0901 | -40.9354 | -42.3726 | -40.1614 | 0 | 1.3109 | 1.5833 | 0.49251 | 1.1511 | 1.1616 | 0 | -150.647 | 136.8587 | -27.9634 | -131.2355 | 132.022
Line_1 | 0.54928 | 0.29158 | 0.25878 | 0.54791 | 0.29019 | 0.25742 | 6.3425 | 3.3668 | 2.9882 | 6.3267 | 3.3509 | 2.9724 | 4.57 | 0.81676 | -2.7946 | -3.0365 | -0.076543 | 3.4206 | 1.0541 | -3.7166 | 0.57767 | -0.69946 | 3.8565 | -0.46957 | -40.9941 | -42.4765 | -40.2902 | 139.0646 | 137.6274 | 139.8386 | 0.73946 | 1.1302 | 0.95498 | 0.49251 | 1.1511 | 1.1616 | -28.0054 | -120.0821 | 128.0306 | -27.9634 | -131.2355 | 132.022
Line_2 | 0.54928 | 0.29158 | 0.25878 | 0.54791 | 0.29019 | 0.25742 | 6.3425 | 3.3668 | 2.9882 | 6.3267 | 3.3509 | 2.9724 | 4.57 | 0.81676 | -2.7946 | -3.0365 | -0.076543 | 3.4206 | 1.0541 | -3.7166 | 0.57767 | -0.69946 | 3.8565 | -0.46957 | -40.9941 | -42.4765 | -40.2902 | 139.0646 | 137.6274 | 139.8386 | 0.73946 | 1.1302 | 0.95498 | 0.49251 | 1.1511 | 1.1616 | -28.0054 | -120.0821 | 128.0306 | -27.9634 | -131.2355 | 132.022

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43182 | 0.22837 | 0.20253 | 0.43249 | 0.22907 | 0.2032 | 4.9862 | 2.637 | 2.3387 | 4.994 | 2.645 | 2.3463 | -2.5157 | 0.28944 | 2.7229 | 3.4622 | 0.17358 | -2.3364 | -1.6839 | 2.8884 | -0.72947 | 1.9095 | -2.8003 | 0.78991 | 143.4381 | 142.1007 | 144.3469 | -36.6786 | -38.1158 | -35.9047 | 0.60712 | 1.1008 | 1.2054 | 0.79172 | 1.0607 | 1.0512 | -2.7658 | -133.6217 | 129.3497 | -7.8 | -124.5689 | 125.4157
Line_1 | 0.21679 | 0.11508 | 0.10214 | 0.21625 | 0.11453 | 0.1016 | 2.5032 | 1.3288 | 1.1794 | 2.497 | 1.3225 | 1.1731 | 1.9722 | 0.2039 | -1.0748 | -1.7311 | -0.086788 | 1.1682 | 1.0134 | -1.382 | 0.41206 | -0.95476 | 1.4002 | -0.39496 | -36.7374 | -38.2197 | -36.0334 | 143.3214 | 141.8842 | 144.0953 | 0.8858 | 1.0513 | 0.97602 | 0.79172 | 1.0607 | 1.0512 | -9.5413 | -119.8268 | 122.9903 | -7.8 | -124.5689 | 125.4157
Line_2 | 0.21679 | 0.11508 | 0.10214 | 0.21625 | 0.11453 | 0.1016 | 2.5032 | 1.3288 | 1.1794 | 2.497 | 1.3225 | 1.1731 | 1.9722 | 0.2039 | -1.0748 | -1.7311 | -0.086788 | 1.1682 | 1.0134 | -1.382 | 0.41206 | -0.95476 | 1.4002 | -0.39496 | -36.7374 | -38.2197 | -36.0334 | 143.3214 | 141.8842 | 144.0953 | 0.8858 | 1.0513 | 0.97602 | 0.79172 | 1.0607 | 1.0512 | -9.5413 | -119.8268 | 122.9903 | -7.8 | -124.5689 | 125.4157

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43182 | 0.22837 | 0.20253 | 0.43249 | 0.22907 | 0.2032 | 4.9862 | 2.637 | 2.3387 | 4.994 | 2.645 | 2.3463 | -2.5157 | 0.28944 | 2.7229 | 3.4622 | 0.17358 | -2.3364 | -1.6839 | 2.8884 | -0.72947 | 1.9095 | -2.8003 | 0.78991 | 143.4381 | 142.1007 | 144.3469 | -36.6786 | -38.1158 | -35.9047 | 0.60712 | 1.1008 | 1.2054 | 0.79172 | 1.0607 | 1.0512 | -2.7658 | -133.6217 | 129.3497 | -7.8 | -124.5689 | 125.4157
Line_1 | 0.21679 | 0.11508 | 0.10214 | 0.21625 | 0.11453 | 0.1016 | 2.5032 | 1.3288 | 1.1794 | 2.497 | 1.3225 | 1.1731 | 1.9722 | 0.2039 | -1.0748 | -1.7311 | -0.086788 | 1.1682 | 1.0134 | -1.382 | 0.41206 | -0.95476 | 1.4002 | -0.39496 | -36.7374 | -38.2197 | -36.0334 | 143.3214 | 141.8842 | 144.0953 | 0.8858 | 1.0513 | 0.97602 | 0.79172 | 1.0607 | 1.0512 | -9.5413 | -119.8268 | 122.9903 | -7.8 | -124.5689 | 125.4157
Line_2 | 0.21679 | 0.11508 | 0.10214 | 0.21625 | 0.11453 | 0.1016 | 2.5032 | 1.3288 | 1.1794 | 2.497 | 1.3225 | 1.1731 | 1.9722 | 0.2039 | -1.0748 | -1.7311 | -0.086788 | 1.1682 | 1.0134 | -1.382 | 0.41206 | -0.95476 | 1.4002 | -0.39496 | -36.7374 | -38.2197 | -36.0334 | 143.3214 | 141.8842 | 144.0953 | 0.8858 | 1.0513 | 0.97602 | 0.79172 | 1.0607 | 1.0512 | -9.5413 | -119.8268 | 122.9903 | -7.8 | -124.5689 | 125.4157

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4125 | 1.7205 | 1.0588 | 0.4144 | 1.7211 | 1.0603 | 4.7631 | 19.8671 | 12.226 | 4.7851 | 19.8738 | 12.2433 | 2.9688 | 4.2297e-11 | 2.4078e-11 | -2.1034 | 4.9573 | 0.62863 | 6.4924 | -2.3324e-11 | -1.7106e-11 | -5.9568 | 0.12721 | 2.9926 | -66.9727 | -10.6566 | -125.0818 | 112.9478 | 169.28 | 54.9892 | 1.4988 | 0 | 0 | 1.3202 | 0.24952 | 0.24976 | -1.5463 | 0 | 0 | 3.4994 | 170.7499 | 133.1261
Line_1 | 0.20859 | 0.86142 | 0.5308 | 0.2072 | 0.86056 | 0.53015 | 2.4086 | 9.9469 | 6.1291 | 2.3926 | 9.9369 | 6.1217 | -0.84031 | 3.7247 | 0.47792 | 1.0517 | -2.4786 | -0.31432 | -2.8543 | 0.097713 | 2.2485 | 2.9784 | -0.063603 | -1.4963 | 112.9776 | 169.2069 | 55.1228 | -67.0522 | -10.72 | -125.0108 | 1.2353 | 0.37459 | 0.37505 | 1.3202 | 0.24952 | 0.24976 | 6.573 | 170.7097 | 133.1231 | 3.4994 | 170.7499 | 133.1261
Line_2 | 0.20859 | 0.86142 | 0.5308 | 0.2072 | 0.86056 | 0.53015 | 2.4086 | 9.9469 | 6.1291 | 2.3926 | 9.9369 | 6.1217 | -0.84031 | 3.7247 | 0.47792 | 1.0517 | -2.4786 | -0.31432 | -2.8543 | 0.097713 | 2.2485 | 2.9784 | -0.063603 | -1.4963 | 112.9776 | 169.2069 | 55.1228 | -67.0522 | -10.72 | -125.0108 | 1.2353 | 0.37459 | 0.37505 | 1.3202 | 0.24952 | 0.24976 | 6.573 | 170.7097 | 133.1231 | 3.4994 | 170.7499 | 133.1261

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4125 | 1.7205 | 1.0588 | 0.4144 | 1.7211 | 1.0603 | 4.7631 | 19.8671 | 12.226 | 4.7851 | 19.8738 | 12.2433 | 2.9688 | 4.2297e-11 | 2.4078e-11 | -2.1034 | 4.9573 | 0.62863 | 6.4924 | -2.3324e-11 | -1.7106e-11 | -5.9568 | 0.12721 | 2.9926 | -66.9727 | -10.6566 | -125.0818 | 112.9478 | 169.28 | 54.9892 | 1.4988 | 0 | 0 | 1.3202 | 0.24952 | 0.24976 | -1.5463 | 0 | 0 | 3.4994 | 170.7499 | 133.1261
Line_1 | 0.20859 | 0.86142 | 0.5308 | 0.2072 | 0.86056 | 0.53015 | 2.4086 | 9.9469 | 6.1291 | 2.3926 | 9.9369 | 6.1217 | -0.84031 | 3.7247 | 0.47792 | 1.0517 | -2.4786 | -0.31432 | -2.8543 | 0.097713 | 2.2485 | 2.9784 | -0.063603 | -1.4963 | 112.9776 | 169.2069 | 55.1228 | -67.0522 | -10.72 | -125.0108 | 1.2353 | 0.37459 | 0.37505 | 1.3202 | 0.24952 | 0.24976 | 6.573 | 170.7097 | 133.1231 | 3.4994 | 170.7499 | 133.1261
Line_2 | 0.20859 | 0.86142 | 0.5308 | 0.2072 | 0.86056 | 0.53015 | 2.4086 | 9.9469 | 6.1291 | 2.3926 | 9.9369 | 6.1217 | -0.84031 | 3.7247 | 0.47792 | 1.0517 | -2.4786 | -0.31432 | -2.8543 | 0.097713 | 2.2485 | 2.9784 | -0.063603 | -1.4963 | 112.9776 | 169.2069 | 55.1228 | -67.0522 | -10.72 | -125.0108 | 1.2353 | 0.37459 | 0.37505 | 1.3202 | 0.24952 | 0.24976 | 6.573 | 170.7097 | 133.1231 | 3.4994 | 170.7499 | 133.1261

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21664 | 0.42839 | 0.41699 | 0.21745 | 0.42866 | 0.41786 | 2.5016 | 4.9466 | 4.8149 | 2.5109 | 4.9497 | 4.8251 | 1.8826 | -1.7281 | -4.0004 | -1.669 | 2.1955 | 4.3556 | 2.5682 | -3.8604 | -0.29167 | -2.4655 | 3.8024 | 0.70896 | -53.9923 | -5.0079 | -80.4337 | 125.9163 | 174.8803 | 99.573 | 1.2729 | 0.85504 | 0.83305 | 1.1858 | 0.88706 | 0.91459 | -0.23532 | -119.1228 | 103.7363 | 1.8202 | -125.1213 | 108.8179
Line_1 | 0.10934 | 0.21472 | 0.20949 | 0.10872 | 0.21433 | 0.20893 | 1.2626 | 2.4794 | 2.419 | 1.2554 | 2.4749 | 2.4125 | -0.78436 | 1.2145 | 2.2715 | 0.83452 | -1.0977 | -2.1778 | -1.2109 | 1.8911 | 0.45751 | 1.2328 | -1.9012 | -0.35448 | 125.9049 | 174.7526 | 99.6424 | -54.0837 | -5.1197 | -80.427 | 1.1427 | 0.90649 | 0.95787 | 1.1858 | 0.88706 | 0.91459 | 2.9713 | -127.9575 | 111.0302 | 1.8202 | -125.1213 | 108.8179
Line_2 | 0.10934 | 0.21472 | 0.20949 | 0.10872 | 0.21433 | 0.20893 | 1.2626 | 2.4794 | 2.419 | 1.2554 | 2.4749 | 2.4125 | -0.78436 | 1.2145 | 2.2715 | 0.83452 | -1.0977 | -2.1778 | -1.2109 | 1.8911 | 0.45751 | 1.2328 | -1.9012 | -0.35448 | 125.9049 | 174.7526 | 99.6424 | -54.0837 | -5.1197 | -80.427 | 1.1427 | 0.90649 | 0.95787 | 1.1858 | 0.88706 | 0.91459 | 2.9713 | -127.9575 | 111.0302 | 1.8202 | -125.1213 | 108.8179

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21664 | 0.42839 | 0.41699 | 0.21745 | 0.42866 | 0.41786 | 2.5016 | 4.9466 | 4.8149 | 2.5109 | 4.9497 | 4.8251 | 1.8826 | -1.7281 | -4.0004 | -1.669 | 2.1955 | 4.3556 | 2.5682 | -3.8604 | -0.29167 | -2.4655 | 3.8024 | 0.70896 | -53.9923 | -5.0079 | -80.4337 | 125.9163 | 174.8803 | 99.573 | 1.2729 | 0.85504 | 0.83305 | 1.1858 | 0.88706 | 0.91459 | -0.23532 | -119.1228 | 103.7363 | 1.8202 | -125.1213 | 108.8179
Line_1 | 0.10934 | 0.21472 | 0.20949 | 0.10872 | 0.21433 | 0.20893 | 1.2626 | 2.4794 | 2.419 | 1.2554 | 2.4749 | 2.4125 | -0.78436 | 1.2145 | 2.2715 | 0.83452 | -1.0977 | -2.1778 | -1.2109 | 1.8911 | 0.45751 | 1.2328 | -1.9012 | -0.35448 | 125.9049 | 174.7526 | 99.6424 | -54.0837 | -5.1197 | -80.427 | 1.1427 | 0.90649 | 0.95787 | 1.1858 | 0.88706 | 0.91459 | 2.9713 | -127.9575 | 111.0302 | 1.8202 | -125.1213 | 108.8179
Line_2 | 0.10934 | 0.21472 | 0.20949 | 0.10872 | 0.21433 | 0.20893 | 1.2626 | 2.4794 | 2.419 | 1.2554 | 2.4749 | 2.4125 | -0.78436 | 1.2145 | 2.2715 | 0.83452 | -1.0977 | -2.1778 | -1.2109 | 1.8911 | 0.45751 | 1.2328 | -1.9012 | -0.35448 | 125.9049 | 174.7526 | 99.6424 | -54.0837 | -5.1197 | -80.427 | 1.1427 | 0.90649 | 0.95787 | 1.1858 | 0.88706 | 0.91459 | 2.9713 | -127.9575 | 111.0302 | 1.8202 | -125.1213 | 108.8179

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.218 | 1.5801 | 0.85165 | 0.21942 | 1.5802 | 0.85274 | 2.5172 | 18.2455 | 9.834 | 2.5337 | 18.2464 | 9.8466 | 2.2854 | -2.3795e-11 | -8.3178e-12 | -1.717 | 6.3105 | -0.07858 | 2.7152 | -2.5629e-11 | -1.7205e-11 | -2.4341 | -0.45688 | 2.5927 | -51.4359 | 3.328 | -134.0393 | 128.3252 | -176.7334 | 46.0476 | 1.4099 | 0 | 0 | 1.1757 | 0.34675 | 0.26343 | -1.5239 | 0 | 0 | 3.1266 | 179.1256 | 137.7836
Line_1 | 0.1106 | 0.79057 | 0.42652 | 0.10971 | 0.79009 | 0.42637 | 1.2771 | 9.1288 | 4.9251 | 1.2668 | 9.1232 | 4.9233 | -0.72028 | 4.7385 | -0.054358 | 0.8585 | -3.1552 | 0.03929 | -1.1495 | -0.34255 | 1.9479 | 1.2171 | 0.22844 | -1.2963 | 128.3066 | -176.7877 | 46.1657 | -51.6748 | 3.2666 | -133.9524 | 1.0622 | 0.52042 | 0.39565 | 1.1757 | 0.34675 | 0.26343 | 6.2358 | 179.0775 | 137.7642 | 3.1266 | 179.1256 | 137.7836
Line_2 | 0.1106 | 0.79057 | 0.42652 | 0.10971 | 0.79009 | 0.42637 | 1.2771 | 9.1288 | 4.9251 | 1.2668 | 9.1232 | 4.9233 | -0.72028 | 4.7385 | -0.054358 | 0.8585 | -3.1552 | 0.03929 | -1.1495 | -0.34255 | 1.9479 | 1.2171 | 0.22844 | -1.2963 | 128.3066 | -176.7877 | 46.1657 | -51.6748 | 3.2666 | -133.9524 | 1.0622 | 0.52042 | 0.39565 | 1.1757 | 0.34675 | 0.26343 | 6.2358 | 179.0775 | 137.7642 | 3.1266 | 179.1256 | 137.7836

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.218 | 1.5801 | 0.85165 | 0.21942 | 1.5802 | 0.85274 | 2.5172 | 18.2455 | 9.834 | 2.5337 | 18.2464 | 9.8466 | 2.2854 | -2.3795e-11 | -8.3178e-12 | -1.717 | 6.3105 | -0.07858 | 2.7152 | -2.5629e-11 | -1.7205e-11 | -2.4341 | -0.45688 | 2.5927 | -51.4359 | 3.328 | -134.0393 | 128.3252 | -176.7334 | 46.0476 | 1.4099 | 0 | 0 | 1.1757 | 0.34675 | 0.26343 | -1.5239 | 0 | 0 | 3.1266 | 179.1256 | 137.7836
Line_1 | 0.1106 | 0.79057 | 0.42652 | 0.10971 | 0.79009 | 0.42637 | 1.2771 | 9.1288 | 4.9251 | 1.2668 | 9.1232 | 4.9233 | -0.72028 | 4.7385 | -0.054358 | 0.8585 | -3.1552 | 0.03929 | -1.1495 | -0.34255 | 1.9479 | 1.2171 | 0.22844 | -1.2963 | 128.3066 | -176.7877 | 46.1657 | -51.6748 | 3.2666 | -133.9524 | 1.0622 | 0.52042 | 0.39565 | 1.1757 | 0.34675 | 0.26343 | 6.2358 | 179.0775 | 137.7642 | 3.1266 | 179.1256 | 137.7836
Line_2 | 0.1106 | 0.79057 | 0.42652 | 0.10971 | 0.79009 | 0.42637 | 1.2771 | 9.1288 | 4.9251 | 1.2668 | 9.1232 | 4.9233 | -0.72028 | 4.7385 | -0.054358 | 0.8585 | -3.1552 | 0.03929 | -1.1495 | -0.34255 | 1.9479 | 1.2171 | 0.22844 | -1.2963 | 128.3066 | -176.7877 | 46.1657 | -51.6748 | 3.2666 | -133.9524 | 1.0622 | 0.52042 | 0.39565 | 1.1757 | 0.34675 | 0.26343 | 6.2358 | 179.0775 | 137.7642 | 3.1266 | 179.1256 | 137.7836

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1583 | 0.39599 | 0.33173 | 0.15895 | 0.39592 | 0.3326 | 1.8279 | 4.5725 | 3.8305 | 1.8354 | 4.5717 | 3.8405 | 1.6369 | -2.0242 | -2.733 | -1.4024 | 2.6329 | 3.1254 | 1.4788 | -2.9436 | -0.020894 | -1.4045 | 2.7301 | 0.4625 | -43.7603 | 8.9331 | -78.992 | 136.0285 | -171.193 | 100.9901 | 1.2069 | 0.78128 | 0.71352 | 1.0814 | 0.82965 | 0.82267 | -1.6643 | -115.5826 | 101.446 | 1.0726 | -125.1548 | 109.4077
Line_1 | 0.079925 | 0.19816 | 0.16672 | 0.079474 | 0.19796 | 0.1663 | 0.9229 | 2.2882 | 1.9251 | 0.91768 | 2.2859 | 1.9203 | -0.64486 | 1.4693 | 1.6641 | 0.70119 | -1.3165 | -1.5627 | -0.68535 | 1.3146 | 0.34065 | 0.70227 | -1.3651 | -0.23125 | 135.9617 | -171.3133 | 101.0529 | -43.9715 | 8.807 | -79.0099 | 1.0197 | 0.86163 | 0.88233 | 1.0814 | 0.82965 | 0.82267 | 2.7051 | -129.4951 | 112.6219 | 1.0726 | -125.1548 | 109.4077
Line_2 | 0.079925 | 0.19816 | 0.16672 | 0.079474 | 0.19796 | 0.1663 | 0.9229 | 2.2882 | 1.9251 | 0.91768 | 2.2859 | 1.9203 | -0.64486 | 1.4693 | 1.6641 | 0.70119 | -1.3165 | -1.5627 | -0.68535 | 1.3146 | 0.34065 | 0.70227 | -1.3651 | -0.23125 | 135.9617 | -171.3133 | 101.0529 | -43.9715 | 8.807 | -79.0099 | 1.0197 | 0.86163 | 0.88233 | 1.0814 | 0.82965 | 0.82267 | 2.7051 | -129.4951 | 112.6219 | 1.0726 | -125.1548 | 109.4077

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1583 | 0.39599 | 0.33173 | 0.15895 | 0.39592 | 0.3326 | 1.8279 | 4.5725 | 3.8305 | 1.8354 | 4.5717 | 3.8405 | 1.6369 | -2.0242 | -2.733 | -1.4024 | 2.6329 | 3.1254 | 1.4788 | -2.9436 | -0.020894 | -1.4045 | 2.7301 | 0.4625 | -43.7603 | 8.9331 | -78.992 | 136.0285 | -171.193 | 100.9901 | 1.2069 | 0.78128 | 0.71352 | 1.0814 | 0.82965 | 0.82267 | -1.6643 | -115.5826 | 101.446 | 1.0726 | -125.1548 | 109.4077
Line_1 | 0.079925 | 0.19816 | 0.16672 | 0.079474 | 0.19796 | 0.1663 | 0.9229 | 2.2882 | 1.9251 | 0.91768 | 2.2859 | 1.9203 | -0.64486 | 1.4693 | 1.6641 | 0.70119 | -1.3165 | -1.5627 | -0.68535 | 1.3146 | 0.34065 | 0.70227 | -1.3651 | -0.23125 | 135.9617 | -171.3133 | 101.0529 | -43.9715 | 8.807 | -79.0099 | 1.0197 | 0.86163 | 0.88233 | 1.0814 | 0.82965 | 0.82267 | 2.7051 | -129.4951 | 112.6219 | 1.0726 | -125.1548 | 109.4077
Line_2 | 0.079925 | 0.19816 | 0.16672 | 0.079474 | 0.19796 | 0.1663 | 0.9229 | 2.2882 | 1.9251 | 0.91768 | 2.2859 | 1.9203 | -0.64486 | 1.4693 | 1.6641 | 0.70119 | -1.3165 | -1.5627 | -0.68535 | 1.3146 | 0.34065 | 0.70227 | -1.3651 | -0.23125 | 135.9617 | -171.3133 | 101.0529 | -43.9715 | 8.807 | -79.0099 | 1.0197 | 0.86163 | 0.88233 | 1.0814 | 0.82965 | 0.82267 | 2.7051 | -129.4951 | 112.6219 | 1.0726 | -125.1548 | 109.4077