## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14741 | 0.14741 | -21.4832 | -21.4832

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.4429 | 1.4429 | 3.6121 | 0 | 49.9825 | 49.9825 | -1e-07 | 3.2477 | -1e-07 | 3.6849 | 109.9084 | -70.0916 | 0 | 0.098271 | 0 | -21.4832
Line_1 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_2 | 0.72143 | 0.72143 | 0 | 0 | 24.9912 | 24.9912 | 2.4358 | -1.6239 | 2.7637 | -1.8425 | -70.0916 | 109.9084 | 0.14741 | 0.098271 | -21.4832 | -21.4832
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14741 | 0.14741 | -21.4832 | -21.4832

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93609 | 0.93609 | -7.1528 | -7.1528

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30987 | 0.30987 | 0.77573 | 0 | 10.7343 | 10.7343 | -8.3062 | 8.456 | -5.0547 | 5.2247 | 140.949 | -39.051 | 0.90582 | 0.92599 | -7.7285 | -7.3405
Line_1 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_2 | 0.15494 | 0.15494 | 0 | 0 | 5.3671 | 5.3671 | 4.2654 | -4.228 | 2.6548 | -2.6123 | -39.051 | 140.949 | 0.93609 | 0.92599 | -7.1528 | -7.3405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93609 | 0.93609 | -7.1528 | -7.1528

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4945e-15 | 8.2479e-15 | -3.1259e-15 | -5.3021e-15 | 1.4639e-14 | -9.4968e-15 | 5.1096e-15 | -1.0515e-14 | 1.0308e-14 | -1.9241e-16 | 2.9902e-15 | 1.6225e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12 | 0.63085 | 0.50847 | 1.12 | 0.63085 | 0.50847 | 2.0784 | -168.4556 | 170.3047 | 2.0784 | -168.4556 | 170.3047

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15666 | 1.2571 | 1.1123 | 0.15666 | 1.2571 | 1.1123 | 1.809 | 14.5155 | 12.8433 | 1.809 | 14.5155 | 12.8433 | -1.9631 | -7.9243 | 6.9428 | 1.9758 | 8.746 | -6.2995 | -0.3979 | 1.3354 | -1.5343 | 0.41239 | -0.40301 | 2.2642 | 170.1256 | 11.1492 | -165.9544 | -9.8744 | -168.8508 | 14.0456 | 1.1072 | 0.55362 | 0.55362 | 1.1158 | 0.60317 | 0.52121 | 1.5839 | -178.4161 | -178.4161 | 1.9148 | -171.4891 | 174.2757
Line_1 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_2 | 0.078332 | 0.62854 | 0.55613 | 0.078332 | 0.62854 | 0.55613 | 0.9045 | 7.2578 | 6.4217 | 0.9045 | 7.2578 | 6.4217 | 0.99111 | 4.5785 | -2.9889 | -0.98792 | -4.373 | 3.1497 | 0.20981 | 0.031582 | 1.3146 | -0.20619 | 0.20151 | -1.1321 | -9.8744 | -168.8508 | 14.0456 | 170.1256 | 11.1492 | -165.9544 | 1.12 | 0.63085 | 0.50847 | 1.1158 | 0.60317 | 0.52121 | 2.0784 | -168.4556 | 170.3047 | 1.9148 | -171.4891 | 174.2757
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4945e-15 | 8.2479e-15 | -3.1259e-15 | -5.3021e-15 | 1.4639e-14 | -9.4968e-15 | 5.1096e-15 | -1.0515e-14 | 1.0308e-14 | -1.9241e-16 | 2.9902e-15 | 1.6225e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12 | 0.63085 | 0.50847 | 1.12 | 0.63085 | 0.50847 | 2.0784 | -168.4556 | 170.3047 | 2.0784 | -168.4556 | 170.3047

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6044e-15 | -8.3787e-16 | 6.0004e-15 | -6.5111e-15 | -8.2595e-15 | 1.7851e-15 | 3.8785e-17 | -8.2297e-16 | -2.9641e-15 | -9.6964e-17 | 5.057e-15 | 1.1751e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 0.99172 | 0.7837 | 1.0997 | 0.99172 | 0.7837 | 0.85319 | -135.514 | 120.0215 | 0.85319 | -135.514 | 120.0215

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.057064 | 0.45788 | 0.40513 | 0.057064 | 0.45788 | 0.40513 | 0.65892 | 5.2872 | 4.6781 | 0.65892 | 5.2872 | 4.6781 | -0.69404 | -5.045 | -0.55581 | 0.69573 | 5.154 | 0.64116 | 0.2026 | -0.41812 | -3.4566 | -0.20068 | 0.54182 | 3.5535 | -163.1487 | 37.8749 | -139.2287 | 16.8513 | -142.1251 | 40.7713 | 1.0973 | 0.95747 | 0.74839 | 1.0989 | 0.98019 | 0.77186 | 0.57819 | -137.3873 | 121.6367 | 0.76166 | -136.1239 | 120.5435
Line_1 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_2 | 0.028532 | 0.22894 | 0.20257 | 0.028532 | 0.22894 | 0.20257 | 0.32946 | 2.6436 | 2.339 | 0.32946 | 2.6436 | 2.339 | 0.34829 | 2.6043 | 0.34192 | -0.34787 | -2.577 | -0.32058 | -0.099858 | 0.30183 | 1.8009 | 0.10034 | -0.27091 | -1.7767 | 16.8513 | -142.1251 | 40.7713 | -163.1487 | 37.8749 | -139.2287 | 1.0997 | 0.99172 | 0.7837 | 1.0989 | 0.98019 | 0.77186 | 0.85319 | -135.514 | 120.0215 | 0.76166 | -136.1239 | 120.5435
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6044e-15 | -8.3787e-16 | 6.0004e-15 | -6.5111e-15 | -8.2595e-15 | 1.7851e-15 | 3.8785e-17 | -8.2297e-16 | -2.9641e-15 | -9.6964e-17 | 5.057e-15 | 1.1751e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 0.99172 | 0.7837 | 1.0997 | 0.99172 | 0.7837 | 0.85319 | -135.514 | 120.0215 | 0.85319 | -135.514 | 120.0215

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6726e-15 | 0 | 8.4844e-16 | -9.4798e-15 | 7.7903e-16 | 2.8925e-15 | 3.8572e-16 | 0 | -4.252e-15 | -5.222e-15 | 3.3178e-15 | 3.2299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6726e-15 | 0 | 8.4844e-16 | -9.4798e-15 | 7.7903e-16 | 2.8925e-15 | 3.8572e-16 | 0 | -4.252e-15 | -5.222e-15 | 3.3178e-15 | 3.2299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4977e-15 | -8.2477e-15 | 2.0359e-16 | -2.2215e-15 | -1.8994e-15 | 2.0359e-16 | 1.2274e-15 | 7.2014e-15 | -3.7321e-16 | -3.7554e-17 | 4.2602e-15 | -3.7321e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4977e-15 | -8.2477e-15 | 2.0359e-16 | -2.2215e-15 | -1.8994e-15 | 2.0359e-16 | 1.2274e-15 | 7.2014e-15 | -3.7321e-16 | -3.7554e-17 | 4.2602e-15 | -3.7321e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3591 | 0.36284 | 0.59847 | 1.3596 | 0.36236 | 0.59801 | 15.6934 | 4.1897 | 6.9106 | 15.6988 | 4.1842 | 6.9052 | 2.18e-10 | 3.9381 | -6.5705 | 1.4864 | -3.984 | 6.5846 | -1.54e-10 | -1.129 | -1.3834 | 1.568 | 1.0579 | 1.3301 | 105.5745 | -83.0888 | -89.9113 | -74.4274 | 96.9069 | 90.0807 | 0 | 0.97782 | 0.97163 | 0.13762 | 0.98514 | 0.97283 | 0 | -99.0861 | 101.9783 | -27.8976 | -97.9635 | 101.5012
Line_1 | 0.6801 | 0.18088 | 0.29872 | 0.67978 | 0.18118 | 0.299 | 7.8531 | 2.0886 | 3.4493 | 7.8494 | 2.0921 | 3.4526 | 1.1161 | -2.0019 | 3.2934 | -0.7432 | 1.992 | -3.2923 | 1.1767 | 0.50908 | 0.65284 | -0.78398 | -0.52893 | -0.66506 | -74.4198 | 96.8634 | 90.0476 | 105.5726 | -83.0931 | -89.9193 | 0.20653 | 0.989 | 0.97337 | 0.13762 | 0.98514 | 0.97283 | -27.9058 | -97.4041 | 101.2599 | -27.8976 | -97.9635 | 101.5012
Line_2 | 0.6801 | 0.18088 | 0.29872 | 0.67978 | 0.18118 | 0.299 | 7.8531 | 2.0886 | 3.4493 | 7.8494 | 2.0921 | 3.4526 | 1.1161 | -2.0019 | 3.2934 | -0.7432 | 1.992 | -3.2923 | 1.1767 | 0.50908 | 0.65284 | -0.78398 | -0.52893 | -0.66506 | -74.4198 | 96.8634 | 90.0476 | 105.5726 | -83.0931 | -89.9193 | 0.20653 | 0.989 | 0.97337 | 0.13762 | 0.98514 | 0.97283 | -27.9058 | -97.4041 | 101.2599 | -27.8976 | -97.9635 | 101.5012
Line_3 | 0.00015054 | 0.00015054 | 0.00015054 | 0.00015054 | 0.00015054 | 0.00015054 | 0.0017383 | 0.0017383 | 0.0017383 | 0.0017383 | 0.0017383 | 0.0017383 | 0.00033777 | 0.0011122 | -0.00145 | 0.00033777 | 0.0011122 | -0.00145 | 0.00012166 | -0.001311 | 0.00087212 | 0.00012166 | -0.001311 | 0.00087212 | -47.714 | -47.714 | -47.714 | -47.714 | -47.714 | -47.714 | 0.20653 | 0.989 | 0.97337 | 0.20653 | 0.989 | 0.97337 | -27.9058 | -97.4041 | 101.2599 | -27.9058 | -97.4041 | 101.2599

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3591 | 0.36284 | 0.59847 | 1.3596 | 0.36236 | 0.59801 | 15.6934 | 4.1897 | 6.9106 | 15.6988 | 4.1842 | 6.9052 | 2.18e-10 | 3.9381 | -6.5705 | 1.4864 | -3.984 | 6.5846 | -1.54e-10 | -1.129 | -1.3834 | 1.568 | 1.0579 | 1.3301 | 105.5745 | -83.0888 | -89.9113 | -74.4274 | 96.9069 | 90.0807 | 0 | 0.97782 | 0.97163 | 0.13762 | 0.98514 | 0.97283 | 0 | -99.0861 | 101.9783 | -27.8976 | -97.9635 | 101.5012
Line_1 | 0.6801 | 0.18088 | 0.29872 | 0.67978 | 0.18118 | 0.299 | 7.8531 | 2.0886 | 3.4493 | 7.8494 | 2.0921 | 3.4526 | 1.1161 | -2.0019 | 3.2934 | -0.7432 | 1.992 | -3.2923 | 1.1767 | 0.50908 | 0.65284 | -0.78398 | -0.52893 | -0.66506 | -74.4198 | 96.8634 | 90.0476 | 105.5726 | -83.0931 | -89.9193 | 0.20653 | 0.989 | 0.97337 | 0.13762 | 0.98514 | 0.97283 | -27.9058 | -97.4041 | 101.2599 | -27.8976 | -97.9635 | 101.5012
Line_2 | 0.6801 | 0.18088 | 0.29872 | 0.67978 | 0.18118 | 0.299 | 7.8531 | 2.0886 | 3.4493 | 7.8494 | 2.0921 | 3.4526 | 1.1161 | -2.0019 | 3.2934 | -0.7432 | 1.992 | -3.2923 | 1.1767 | 0.50908 | 0.65284 | -0.78398 | -0.52893 | -0.66506 | -74.4198 | 96.8634 | 90.0476 | 105.5726 | -83.0931 | -89.9193 | 0.20653 | 0.989 | 0.97337 | 0.13762 | 0.98514 | 0.97283 | -27.9058 | -97.4041 | 101.2599 | -27.8976 | -97.9635 | 101.5012
Line_3 | 0.00015054 | 0.00015054 | 0.00015054 | 0.00015054 | 0.00015054 | 0.00015054 | 0.0017383 | 0.0017383 | 0.0017383 | 0.0017383 | 0.0017383 | 0.0017383 | 0.00033777 | 0.0011122 | -0.00145 | 0.00033777 | 0.0011122 | -0.00145 | 0.00012166 | -0.001311 | 0.00087212 | 0.00012166 | -0.001311 | 0.00087212 | -47.714 | -47.714 | -47.714 | -47.714 | -47.714 | -47.714 | 0.20653 | 0.989 | 0.97337 | 0.20653 | 0.989 | 0.97337 | -27.9058 | -97.4041 | 101.2599 | -27.9058 | -97.4041 | 101.2599

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23051 | 0.06154 | 0.10151 | 0.23059 | 0.06146 | 0.10143 | 2.6617 | 0.71061 | 1.1721 | 2.6627 | 0.70968 | 1.1712 | -2.1061 | 0.25878 | -1.285 | 2.1496 | -0.25996 | 1.2845 | -1.4078 | -0.69296 | 0.16837 | 1.4534 | 0.69004 | -0.16959 | 139.8951 | -48.7681 | -55.5907 | -40.1068 | 131.2276 | 124.4014 | 0.95174 | 1.0409 | 1.1057 | 0.97452 | 1.039 | 1.1063 | -6.3456 | -118.2907 | 116.9441 | -6.0423 | -118.1297 | 116.8804
Line_1 | 0.11535 | 0.030679 | 0.050666 | 0.1153 | 0.03073 | 0.050714 | 1.332 | 0.35425 | 0.58504 | 1.3313 | 0.35484 | 0.58559 | 1.0861 | -0.13039 | 0.64184 | -1.0748 | 0.12998 | -0.64227 | 0.7382 | 0.34384 | -0.084733 | -0.72671 | -0.34502 | 0.084796 | -40.0991 | 131.184 | 124.3683 | 139.8932 | -48.7724 | -55.5986 | 0.98594 | 1.0381 | 1.1066 | 0.97452 | 1.039 | 1.1063 | -5.896 | -118.0482 | 116.8479 | -6.0423 | -118.1297 | 116.8804
Line_2 | 0.11535 | 0.030679 | 0.050666 | 0.1153 | 0.03073 | 0.050714 | 1.332 | 0.35425 | 0.58504 | 1.3313 | 0.35484 | 0.58559 | 1.0861 | -0.13039 | 0.64184 | -1.0748 | 0.12998 | -0.64227 | 0.7382 | 0.34384 | -0.084733 | -0.72671 | -0.34502 | 0.084796 | -40.0991 | 131.184 | 124.3683 | 139.8932 | -48.7724 | -55.5986 | 0.98594 | 1.0381 | 1.1066 | 0.97452 | 1.039 | 1.1063 | -5.896 | -118.0482 | 116.8479 | -6.0423 | -118.1297 | 116.8804
Line_3 | 2.5533e-05 | 2.5533e-05 | 2.5533e-05 | 2.5533e-05 | 2.5533e-05 | 2.5533e-05 | 0.00029483 | 0.00029483 | 0.00029483 | 0.00029483 | 0.00029483 | 0.00029483 | 0.0002882 | -7.7432e-05 | -0.00021077 | 0.0002882 | -7.7432e-05 | -0.00021077 | 3.7929e-05 | -0.0002961 | 0.00024905 | 3.7929e-05 | -0.0002961 | 0.00024905 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | 0.98594 | 1.0381 | 1.1066 | 0.98594 | 1.0381 | 1.1066 | -5.896 | -118.0482 | 116.8479 | -5.896 | -118.0482 | 116.8479

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23051 | 0.06154 | 0.10151 | 0.23059 | 0.06146 | 0.10143 | 2.6617 | 0.71061 | 1.1721 | 2.6627 | 0.70968 | 1.1712 | -2.1061 | 0.25878 | -1.285 | 2.1496 | -0.25996 | 1.2845 | -1.4078 | -0.69296 | 0.16837 | 1.4534 | 0.69004 | -0.16959 | 139.8951 | -48.7681 | -55.5907 | -40.1068 | 131.2276 | 124.4014 | 0.95174 | 1.0409 | 1.1057 | 0.97452 | 1.039 | 1.1063 | -6.3456 | -118.2907 | 116.9441 | -6.0423 | -118.1297 | 116.8804
Line_1 | 0.11535 | 0.030679 | 0.050666 | 0.1153 | 0.03073 | 0.050714 | 1.332 | 0.35425 | 0.58504 | 1.3313 | 0.35484 | 0.58559 | 1.0861 | -0.13039 | 0.64184 | -1.0748 | 0.12998 | -0.64227 | 0.7382 | 0.34384 | -0.084733 | -0.72671 | -0.34502 | 0.084796 | -40.0991 | 131.184 | 124.3683 | 139.8932 | -48.7724 | -55.5986 | 0.98594 | 1.0381 | 1.1066 | 0.97452 | 1.039 | 1.1063 | -5.896 | -118.0482 | 116.8479 | -6.0423 | -118.1297 | 116.8804
Line_2 | 0.11535 | 0.030679 | 0.050666 | 0.1153 | 0.03073 | 0.050714 | 1.332 | 0.35425 | 0.58504 | 1.3313 | 0.35484 | 0.58559 | 1.0861 | -0.13039 | 0.64184 | -1.0748 | 0.12998 | -0.64227 | 0.7382 | 0.34384 | -0.084733 | -0.72671 | -0.34502 | 0.084796 | -40.0991 | 131.184 | 124.3683 | 139.8932 | -48.7724 | -55.5986 | 0.98594 | 1.0381 | 1.1066 | 0.97452 | 1.039 | 1.1063 | -5.896 | -118.0482 | 116.8479 | -6.0423 | -118.1297 | 116.8804
Line_3 | 2.5533e-05 | 2.5533e-05 | 2.5533e-05 | 2.5533e-05 | 2.5533e-05 | 2.5533e-05 | 0.00029483 | 0.00029483 | 0.00029483 | 0.00029483 | 0.00029483 | 0.00029483 | 0.0002882 | -7.7432e-05 | -0.00021077 | 0.0002882 | -7.7432e-05 | -0.00021077 | 3.7929e-05 | -0.0002961 | 0.00024905 | 3.7929e-05 | -0.0002961 | 0.00024905 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | -13.3933 | 0.98594 | 1.0381 | 1.1066 | 0.98594 | 1.0381 | 1.1066 | -5.896 | -118.0482 | 116.8479 | -5.896 | -118.0482 | 116.8479

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2511 | 0.41504 | 0.63315 | 1.2515 | 0.41465 | 0.63275 | 14.4468 | 4.7925 | 7.311 | 14.4513 | 4.7879 | 7.3064 | -1.0956e-10 | 3.9876 | -6.3895 | 2.0609 | -3.9435 | 6.6131 | -2.9567e-11 | -1.5059 | -0.60486 | 1.5415 | 1.3786 | 0.47908 | 110.3542 | -78.4634 | -83.0532 | -69.6488 | 101.5372 | 96.9443 | 0 | 0.8894 | 0.87786 | 0.17809 | 0.87251 | 0.90748 | 0 | -99.1524 | 102.3546 | -32.8528 | -97.7316 | 101.0878
Line_1 | 0.62596 | 0.20714 | 0.3162 | 0.62576 | 0.20732 | 0.31638 | 7.2279 | 2.3919 | 3.6512 | 7.2257 | 2.394 | 3.6532 | 1.5471 | -1.9606 | 3.3612 | -1.0304 | 1.9718 | -3.3065 | 1.1566 | 0.65613 | 0.20902 | -0.77075 | -0.6893 | -0.23954 | -69.642 | 101.5087 | 96.923 | 110.3512 | -78.4628 | -83.0557 | 0.26725 | 0.86436 | 0.92234 | 0.17809 | 0.87251 | 0.90748 | -32.8615 | -96.9948 | 100.4815 | -32.8528 | -97.7316 | 101.0878
Line_2 | 0.62596 | 0.20714 | 0.3162 | 0.62576 | 0.20732 | 0.31638 | 7.2279 | 2.3919 | 3.6512 | 7.2257 | 2.394 | 3.6532 | 1.5471 | -1.9606 | 3.3612 | -1.0304 | 1.9718 | -3.3065 | 1.1566 | 0.65613 | 0.20902 | -0.77075 | -0.6893 | -0.23954 | -69.642 | 101.5087 | 96.923 | 110.3512 | -78.4628 | -83.0557 | 0.26725 | 0.86436 | 0.92234 | 0.17809 | 0.87251 | 0.90748 | -32.8615 | -96.9948 | 100.4815 | -32.8528 | -97.7316 | 101.0878
Line_3 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.00027237 | 0.00030066 | -0.00057303 | 0.00027237 | 0.00030066 | -0.00057303 | -2.8748e-05 | -0.00083323 | 0.00075172 | -2.8748e-05 | -0.00083323 | 0.00075172 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | 0.26725 | 0.86436 | 0.92234 | 0.26725 | 0.86436 | 0.92234 | -32.8615 | -96.9948 | 100.4815 | -32.8615 | -96.9948 | 100.4815

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2511 | 0.41504 | 0.63315 | 1.2515 | 0.41465 | 0.63275 | 14.4468 | 4.7925 | 7.311 | 14.4513 | 4.7879 | 7.3064 | -1.0956e-10 | 3.9876 | -6.3895 | 2.0609 | -3.9435 | 6.6131 | -2.9567e-11 | -1.5059 | -0.60486 | 1.5415 | 1.3786 | 0.47908 | 110.3542 | -78.4634 | -83.0532 | -69.6488 | 101.5372 | 96.9443 | 0 | 0.8894 | 0.87786 | 0.17809 | 0.87251 | 0.90748 | 0 | -99.1524 | 102.3546 | -32.8528 | -97.7316 | 101.0878
Line_1 | 0.62596 | 0.20714 | 0.3162 | 0.62576 | 0.20732 | 0.31638 | 7.2279 | 2.3919 | 3.6512 | 7.2257 | 2.394 | 3.6532 | 1.5471 | -1.9606 | 3.3612 | -1.0304 | 1.9718 | -3.3065 | 1.1566 | 0.65613 | 0.20902 | -0.77075 | -0.6893 | -0.23954 | -69.642 | 101.5087 | 96.923 | 110.3512 | -78.4628 | -83.0557 | 0.26725 | 0.86436 | 0.92234 | 0.17809 | 0.87251 | 0.90748 | -32.8615 | -96.9948 | 100.4815 | -32.8528 | -97.7316 | 101.0878
Line_2 | 0.62596 | 0.20714 | 0.3162 | 0.62576 | 0.20732 | 0.31638 | 7.2279 | 2.3919 | 3.6512 | 7.2257 | 2.394 | 3.6532 | 1.5471 | -1.9606 | 3.3612 | -1.0304 | 1.9718 | -3.3065 | 1.1566 | 0.65613 | 0.20902 | -0.77075 | -0.6893 | -0.23954 | -69.642 | 101.5087 | 96.923 | 110.3512 | -78.4628 | -83.0557 | 0.26725 | 0.86436 | 0.92234 | 0.17809 | 0.87251 | 0.90748 | -32.8615 | -96.9948 | 100.4815 | -32.8528 | -97.7316 | 101.0878
Line_3 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 8.8752e-05 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.0010248 | 0.00027237 | 0.00030066 | -0.00057303 | 0.00027237 | 0.00030066 | -0.00057303 | -2.8748e-05 | -0.00083323 | 0.00075172 | -2.8748e-05 | -0.00083323 | 0.00075172 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | -26.8364 | 0.26725 | 0.86436 | 0.92234 | 0.26725 | 0.86436 | 0.92234 | -32.8615 | -96.9948 | 100.4815 | -32.8615 | -96.9948 | 100.4815

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21705 | 0.072002 | 0.10984 | 0.21712 | 0.071934 | 0.10977 | 2.5062 | 0.83141 | 1.2683 | 2.507 | 0.83062 | 1.2675 | -1.8649 | 0.23089 | -1.2383 | 1.9274 | -0.22945 | 1.2444 | -1.0812 | -0.75177 | 0.29144 | 1.128 | 0.74727 | -0.29499 | 143.5563 | -45.2613 | -49.8511 | -36.4467 | 134.7393 | 130.1464 | 0.8601 | 0.9459 | 1.003 | 0.89079 | 0.94111 | 1.009 | -6.3412 | -118.1881 | 116.9051 | -6.1097 | -118.1914 | 116.8104
Line_1 | 0.10859 | 0.035935 | 0.054856 | 0.10856 | 0.035967 | 0.054886 | 1.2539 | 0.41495 | 0.63342 | 1.2535 | 0.41531 | 0.63376 | 0.97963 | -0.11452 | 0.62362 | -0.96372 | 0.11473 | -0.6222 | 0.57566 | 0.3723 | -0.14813 | -0.56399 | -0.37363 | 0.14749 | -36.4399 | 134.7108 | 130.1251 | 143.5533 | -45.2607 | -49.8536 | 0.90617 | 0.93871 | 1.0119 | 0.89079 | 0.94111 | 1.009 | -6.0001 | -118.1918 | 116.7626 | -6.1097 | -118.1914 | 116.8104
Line_2 | 0.10859 | 0.035935 | 0.054856 | 0.10856 | 0.035967 | 0.054886 | 1.2539 | 0.41495 | 0.63342 | 1.2535 | 0.41531 | 0.63376 | 0.97963 | -0.11452 | 0.62362 | -0.96372 | 0.11473 | -0.6222 | 0.57566 | 0.3723 | -0.14813 | -0.56399 | -0.37363 | 0.14749 | -36.4399 | 134.7108 | 130.1251 | 143.5533 | -45.2607 | -49.8536 | 0.90617 | 0.93871 | 1.0119 | 0.89079 | 0.94111 | 1.009 | -6.0001 | -118.1918 | 116.7626 | -6.1097 | -118.1914 | 116.8104
Line_3 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00015737 | -9.4665e-05 | -6.2701e-05 | 0.00015737 | -9.4665e-05 | -6.2701e-05 | -3.4501e-05 | -0.00013744 | 0.00016863 | -3.4501e-05 | -0.00013744 | 0.00016863 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 0.90617 | 0.93871 | 1.0119 | 0.90617 | 0.93871 | 1.0119 | -6.0001 | -118.1918 | 116.7626 | -6.0001 | -118.1918 | 116.7626

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21705 | 0.072002 | 0.10984 | 0.21712 | 0.071934 | 0.10977 | 2.5062 | 0.83141 | 1.2683 | 2.507 | 0.83062 | 1.2675 | -1.8649 | 0.23089 | -1.2383 | 1.9274 | -0.22945 | 1.2444 | -1.0812 | -0.75177 | 0.29144 | 1.128 | 0.74727 | -0.29499 | 143.5563 | -45.2613 | -49.8511 | -36.4467 | 134.7393 | 130.1464 | 0.8601 | 0.9459 | 1.003 | 0.89079 | 0.94111 | 1.009 | -6.3412 | -118.1881 | 116.9051 | -6.1097 | -118.1914 | 116.8104
Line_1 | 0.10859 | 0.035935 | 0.054856 | 0.10856 | 0.035967 | 0.054886 | 1.2539 | 0.41495 | 0.63342 | 1.2535 | 0.41531 | 0.63376 | 0.97963 | -0.11452 | 0.62362 | -0.96372 | 0.11473 | -0.6222 | 0.57566 | 0.3723 | -0.14813 | -0.56399 | -0.37363 | 0.14749 | -36.4399 | 134.7108 | 130.1251 | 143.5533 | -45.2607 | -49.8536 | 0.90617 | 0.93871 | 1.0119 | 0.89079 | 0.94111 | 1.009 | -6.0001 | -118.1918 | 116.7626 | -6.1097 | -118.1914 | 116.8104
Line_2 | 0.10859 | 0.035935 | 0.054856 | 0.10856 | 0.035967 | 0.054886 | 1.2539 | 0.41495 | 0.63342 | 1.2535 | 0.41531 | 0.63376 | 0.97963 | -0.11452 | 0.62362 | -0.96372 | 0.11473 | -0.6222 | 0.57566 | 0.3723 | -0.14813 | -0.56399 | -0.37363 | 0.14749 | -36.4399 | 134.7108 | 130.1251 | 143.5533 | -45.2607 | -49.8536 | 0.90617 | 0.93871 | 1.0119 | 0.89079 | 0.94111 | 1.009 | -6.0001 | -118.1918 | 116.7626 | -6.1097 | -118.1914 | 116.8104
Line_3 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 1.5397e-05 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00017779 | 0.00015737 | -9.4665e-05 | -6.2701e-05 | 0.00015737 | -9.4665e-05 | -6.2701e-05 | -3.4501e-05 | -0.00013744 | 0.00016863 | -3.4501e-05 | -0.00013744 | 0.00016863 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 6.3657 | 0.90617 | 0.93871 | 1.0119 | 0.90617 | 0.93871 | 1.0119 | -6.0001 | -118.1918 | 116.7626 | -6.0001 | -118.1918 | 116.7626

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77864 | 1.5431 | 1.3005 | 0.77792 | 1.5434 | 1.301 | 8.991 | 17.8184 | 15.0171 | 8.9827 | 17.8214 | 15.0224 | -0.98066 | 1.923e-10 | 1.5938e-10 | 0.84916 | 2.381 | 0.7366 | -4.7708 | -1.4972e-10 | -1.2877e-10 | 4.6962 | 0.96383 | 2.021 | 105.0449 | -9.9959 | -129.1695 | -74.9516 | 169.9792 | 50.855 | 0.54172 | 0 | 0 | 0.53128 | 0.14414 | 0.14319 | 3.4293 | 0 | 0 | 4.799 | -167.983 | 120.8295
Line_1 | 0.38848 | 0.77203 | 0.65065 | 0.38896 | 0.77169 | 0.65049 | 4.4858 | 8.9146 | 7.5131 | 4.4913 | 8.9107 | 7.5112 | 0.3899 | 1.7873 | 0.55381 | -0.42458 | -1.1905 | -0.3683 | 2.3275 | 0.72331 | 1.5168 | -2.3481 | -0.48192 | -1.0105 | -74.9738 | 169.9516 | 50.8971 | 105.0484 | -10.0208 | -129.145 | 0.52608 | 0.21629 | 0.21492 | 0.53128 | 0.14414 | 0.14319 | 5.5162 | -168.0155 | 120.8392 | 4.799 | -167.983 | 120.8295
Line_2 | 0.38848 | 0.77203 | 0.65065 | 0.38896 | 0.77169 | 0.65049 | 4.4858 | 8.9146 | 7.5131 | 4.4913 | 8.9107 | 7.5112 | 0.3899 | 1.7873 | 0.55381 | -0.42458 | -1.1905 | -0.3683 | 2.3275 | 0.72331 | 1.5168 | -2.3481 | -0.48192 | -1.0105 | -74.9738 | 169.9516 | 50.8971 | 105.0484 | -10.0208 | -129.145 | 0.52608 | 0.21629 | 0.21492 | 0.53128 | 0.14414 | 0.14319 | 5.5162 | -168.0155 | 120.8392 | 4.799 | -167.983 | 120.8295
Line_3 | 0.00022883 | 0.00022883 | 0.00022883 | 0.00022883 | 0.00022883 | 0.00022883 | 0.0026423 | 0.0026423 | 0.0026423 | 0.0026423 | 0.0026423 | 0.0026423 | -0.00085148 | 0.00029695 | 0.00055453 | -0.00085148 | 0.00029695 | 0.00055453 | -0.0010987 | 0.00048828 | -0.00012244 | -0.0010987 | 0.00048828 | -0.00012244 | 133.2904 | 133.2904 | 133.2904 | 133.2904 | 133.2904 | 133.2904 | 0.52608 | 0.21629 | 0.21492 | 0.52608 | 0.21629 | 0.21492 | 5.5162 | -168.0155 | 120.8392 | 5.5162 | -168.0155 | 120.8392

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77864 | 1.5431 | 1.3005 | 0.77792 | 1.5434 | 1.301 | 8.991 | 17.8184 | 15.0171 | 8.9827 | 17.8214 | 15.0224 | -0.98066 | 1.923e-10 | 1.5938e-10 | 0.84916 | 2.381 | 0.7366 | -4.7708 | -1.4972e-10 | -1.2877e-10 | 4.6962 | 0.96383 | 2.021 | 105.0449 | -9.9959 | -129.1695 | -74.9516 | 169.9792 | 50.855 | 0.54172 | 0 | 0 | 0.53128 | 0.14414 | 0.14319 | 3.4293 | 0 | 0 | 4.799 | -167.983 | 120.8295
Line_1 | 0.38848 | 0.77203 | 0.65065 | 0.38896 | 0.77169 | 0.65049 | 4.4858 | 8.9146 | 7.5131 | 4.4913 | 8.9107 | 7.5112 | 0.3899 | 1.7873 | 0.55381 | -0.42458 | -1.1905 | -0.3683 | 2.3275 | 0.72331 | 1.5168 | -2.3481 | -0.48192 | -1.0105 | -74.9738 | 169.9516 | 50.8971 | 105.0484 | -10.0208 | -129.145 | 0.52608 | 0.21629 | 0.21492 | 0.53128 | 0.14414 | 0.14319 | 5.5162 | -168.0155 | 120.8392 | 4.799 | -167.983 | 120.8295
Line_2 | 0.38848 | 0.77203 | 0.65065 | 0.38896 | 0.77169 | 0.65049 | 4.4858 | 8.9146 | 7.5131 | 4.4913 | 8.9107 | 7.5112 | 0.3899 | 1.7873 | 0.55381 | -0.42458 | -1.1905 | -0.3683 | 2.3275 | 0.72331 | 1.5168 | -2.3481 | -0.48192 | -1.0105 | -74.9738 | 169.9516 | 50.8971 | 105.0484 | -10.0208 | -129.145 | 0.52608 | 0.21629 | 0.21492 | 0.53128 | 0.14414 | 0.14319 | 5.5162 | -168.0155 | 120.8392 | 4.799 | -167.983 | 120.8295
Line_3 | 0.00022883 | 0.00022883 | 0.00022883 | 0.00022883 | 0.00022883 | 0.00022883 | 0.0026423 | 0.0026423 | 0.0026423 | 0.0026423 | 0.0026423 | 0.0026423 | -0.00085148 | 0.00029695 | 0.00055453 | -0.00085148 | 0.00029695 | 0.00055453 | -0.0010987 | 0.00048828 | -0.00012244 | -0.0010987 | 0.00048828 | -0.00012244 | 133.2904 | 133.2904 | 133.2904 | 133.2904 | 133.2904 | 133.2904 | 0.52608 | 0.21629 | 0.21492 | 0.52608 | 0.21629 | 0.21492 | 5.5162 | -168.0155 | 120.8392 | 5.5162 | -168.0155 | 120.8392

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10037 | 0.30363 | 0.24344 | 0.10029 | 0.30365 | 0.24347 | 1.159 | 3.506 | 2.811 | 1.158 | 3.5063 | 2.8113 | -1.0463 | -3.1585 | -1.7004 | 1.0433 | 3.2316 | 1.7219 | -0.60835 | -1.1413 | -1.8801 | 0.60811 | 1.1841 | 1.935 | 148.0741 | 30.9031 | -112.3378 | -31.9164 | -149.1121 | 67.6807 | 1.0443 | 0.95789 | 0.90183 | 1.0428 | 0.98158 | 0.92134 | -1.7506 | -129.2292 | 115.536 | -1.679 | -128.9885 | 116.0155
Line_1 | 0.050086 | 0.15186 | 0.12173 | 0.050144 | 0.15183 | 0.12173 | 0.57834 | 1.7536 | 1.4057 | 0.57901 | 1.7531 | 1.4057 | 0.52039 | 1.6343 | 0.86659 | -0.52163 | -1.6158 | -0.86095 | 0.30391 | 0.60314 | 0.98088 | -0.30405 | -0.59205 | -0.96749 | -31.9279 | -149.1299 | 67.7085 | 148.0836 | 30.8879 | -112.3193 | 1.042 | 0.99344 | 0.93113 | 1.0428 | 0.98158 | 0.92134 | -1.643 | -128.8734 | 116.2486 | -1.679 | -128.9885 | 116.0155
Line_2 | 0.050086 | 0.15186 | 0.12173 | 0.050144 | 0.15183 | 0.12173 | 0.57834 | 1.7536 | 1.4057 | 0.57901 | 1.7531 | 1.4057 | 0.52039 | 1.6343 | 0.86659 | -0.52163 | -1.6158 | -0.86095 | 0.30391 | 0.60314 | 0.98088 | -0.30405 | -0.59205 | -0.96749 | -31.9279 | -149.1299 | 67.7085 | 148.0836 | 30.8879 | -112.3193 | 1.042 | 0.99344 | 0.93113 | 1.0428 | 0.98158 | 0.92134 | -1.643 | -128.8734 | 116.2486 | -1.679 | -128.9885 | 116.0155
Line_3 | 2.6751e-05 | 2.6751e-05 | 2.6751e-05 | 2.6751e-05 | 2.6751e-05 | 2.6751e-05 | 0.0003089 | 0.0003089 | 0.0003089 | 0.0003089 | 0.0003089 | 0.0003089 | -0.00031743 | 0.00014265 | 0.00017478 | -0.00031743 | 0.00014265 | 0.00017478 | -5.3288e-05 | 0.0002717 | -0.00022843 | -5.3288e-05 | 0.0002717 | -0.00022843 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 1.042 | 0.99344 | 0.93113 | 1.042 | 0.99344 | 0.93113 | -1.643 | -128.8734 | 116.2486 | -1.643 | -128.8734 | 116.2486

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10037 | 0.30363 | 0.24344 | 0.10029 | 0.30365 | 0.24347 | 1.159 | 3.506 | 2.811 | 1.158 | 3.5063 | 2.8113 | -1.0463 | -3.1585 | -1.7004 | 1.0433 | 3.2316 | 1.7219 | -0.60835 | -1.1413 | -1.8801 | 0.60811 | 1.1841 | 1.935 | 148.0741 | 30.9031 | -112.3378 | -31.9164 | -149.1121 | 67.6807 | 1.0443 | 0.95789 | 0.90183 | 1.0428 | 0.98158 | 0.92134 | -1.7506 | -129.2292 | 115.536 | -1.679 | -128.9885 | 116.0155
Line_1 | 0.050086 | 0.15186 | 0.12173 | 0.050144 | 0.15183 | 0.12173 | 0.57834 | 1.7536 | 1.4057 | 0.57901 | 1.7531 | 1.4057 | 0.52039 | 1.6343 | 0.86659 | -0.52163 | -1.6158 | -0.86095 | 0.30391 | 0.60314 | 0.98088 | -0.30405 | -0.59205 | -0.96749 | -31.9279 | -149.1299 | 67.7085 | 148.0836 | 30.8879 | -112.3193 | 1.042 | 0.99344 | 0.93113 | 1.0428 | 0.98158 | 0.92134 | -1.643 | -128.8734 | 116.2486 | -1.679 | -128.9885 | 116.0155
Line_2 | 0.050086 | 0.15186 | 0.12173 | 0.050144 | 0.15183 | 0.12173 | 0.57834 | 1.7536 | 1.4057 | 0.57901 | 1.7531 | 1.4057 | 0.52039 | 1.6343 | 0.86659 | -0.52163 | -1.6158 | -0.86095 | 0.30391 | 0.60314 | 0.98088 | -0.30405 | -0.59205 | -0.96749 | -31.9279 | -149.1299 | 67.7085 | 148.0836 | 30.8879 | -112.3193 | 1.042 | 0.99344 | 0.93113 | 1.0428 | 0.98158 | 0.92134 | -1.643 | -128.8734 | 116.2486 | -1.679 | -128.9885 | 116.0155
Line_3 | 2.6751e-05 | 2.6751e-05 | 2.6751e-05 | 2.6751e-05 | 2.6751e-05 | 2.6751e-05 | 0.0003089 | 0.0003089 | 0.0003089 | 0.0003089 | 0.0003089 | 0.0003089 | -0.00031743 | 0.00014265 | 0.00017478 | -0.00031743 | 0.00014265 | 0.00017478 | -5.3288e-05 | 0.0002717 | -0.00022843 | -5.3288e-05 | 0.0002717 | -0.00022843 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 168.8273 | 1.042 | 0.99344 | 0.93113 | 1.042 | 0.99344 | 0.93113 | -1.643 | -128.8734 | 116.2486 | -1.643 | -128.8734 | 116.2486

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82587 | 1.4371 | 1.1967 | 0.82528 | 1.4373 | 1.197 | 9.5363 | 16.5946 | 13.8178 | 9.5295 | 16.5962 | 13.8222 | -1.2355 | -1.108e-10 | -8.8283e-11 | 1.4391 | 3.3815 | 1.0273 | -4.5787 | -4.1978e-11 | -4.5664e-11 | 4.3494 | 0.84134 | 1.9145 | 109.5106 | -1.6561 | -128.3406 | -70.4839 | 178.3208 | 51.6814 | 0.49731 | 0 | 0 | 0.48075 | 0.20996 | 0.15719 | 4.4101 | 0 | 0 | 1.2078 | -167.7075 | 113.4655
Line_1 | 0.41235 | 0.71886 | 0.59857 | 0.41264 | 0.71864 | 0.59852 | 4.7614 | 8.3006 | 6.9117 | 4.7648 | 8.2981 | 6.9111 | 0.76858 | 2.5377 | 0.77154 | -0.71956 | -1.6908 | -0.51363 | 2.1166 | 0.63083 | 1.4369 | -2.1747 | -0.42067 | -0.95727 | -70.5006 | 178.3026 | 51.7111 | 109.5161 | -1.6792 | -128.3186 | 0.47294 | 0.31503 | 0.23596 | 0.48075 | 0.20996 | 0.15719 | -0.45739 | -167.7377 | 113.4776 | 1.2078 | -167.7075 | 113.4655
Line_2 | 0.41235 | 0.71886 | 0.59857 | 0.41264 | 0.71864 | 0.59852 | 4.7614 | 8.3006 | 6.9117 | 4.7648 | 8.2981 | 6.9111 | 0.76858 | 2.5377 | 0.77154 | -0.71956 | -1.6908 | -0.51363 | 2.1166 | 0.63083 | 1.4369 | -2.1747 | -0.42067 | -0.95727 | -70.5006 | 178.3026 | 51.7111 | 109.5161 | -1.6792 | -128.3186 | 0.47294 | 0.31503 | 0.23596 | 0.48075 | 0.20996 | 0.15719 | -0.45739 | -167.7377 | 113.4776 | 1.2078 | -167.7075 | 113.4655
Line_3 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | -0.00065916 | 0.0003821 | 0.00027705 | -0.00065916 | 0.0003821 | 0.00027705 | -0.00031496 | 0.00030133 | -0.00023684 | -0.00031496 | 0.00030133 | -0.00023684 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 0.47294 | 0.31503 | 0.23596 | 0.47294 | 0.31503 | 0.23596 | -0.45739 | -167.7377 | 113.4776 | -0.45739 | -167.7377 | 113.4776

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82587 | 1.4371 | 1.1967 | 0.82528 | 1.4373 | 1.197 | 9.5363 | 16.5946 | 13.8178 | 9.5295 | 16.5962 | 13.8222 | -1.2355 | -1.108e-10 | -8.8283e-11 | 1.4391 | 3.3815 | 1.0273 | -4.5787 | -4.1978e-11 | -4.5664e-11 | 4.3494 | 0.84134 | 1.9145 | 109.5106 | -1.6561 | -128.3406 | -70.4839 | 178.3208 | 51.6814 | 0.49731 | 0 | 0 | 0.48075 | 0.20996 | 0.15719 | 4.4101 | 0 | 0 | 1.2078 | -167.7075 | 113.4655
Line_1 | 0.41235 | 0.71886 | 0.59857 | 0.41264 | 0.71864 | 0.59852 | 4.7614 | 8.3006 | 6.9117 | 4.7648 | 8.2981 | 6.9111 | 0.76858 | 2.5377 | 0.77154 | -0.71956 | -1.6908 | -0.51363 | 2.1166 | 0.63083 | 1.4369 | -2.1747 | -0.42067 | -0.95727 | -70.5006 | 178.3026 | 51.7111 | 109.5161 | -1.6792 | -128.3186 | 0.47294 | 0.31503 | 0.23596 | 0.48075 | 0.20996 | 0.15719 | -0.45739 | -167.7377 | 113.4776 | 1.2078 | -167.7075 | 113.4655
Line_2 | 0.41235 | 0.71886 | 0.59857 | 0.41264 | 0.71864 | 0.59852 | 4.7614 | 8.3006 | 6.9117 | 4.7648 | 8.2981 | 6.9111 | 0.76858 | 2.5377 | 0.77154 | -0.71956 | -1.6908 | -0.51363 | 2.1166 | 0.63083 | 1.4369 | -2.1747 | -0.42067 | -0.95727 | -70.5006 | 178.3026 | 51.7111 | 109.5161 | -1.6792 | -128.3186 | 0.47294 | 0.31503 | 0.23596 | 0.48075 | 0.20996 | 0.15719 | -0.45739 | -167.7377 | 113.4776 | 1.2078 | -167.7075 | 113.4655
Line_3 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.00013377 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | 0.0015447 | -0.00065916 | 0.0003821 | 0.00027705 | -0.00065916 | 0.0003821 | 0.00027705 | -0.00031496 | 0.00030133 | -0.00023684 | -0.00031496 | 0.00030133 | -0.00023684 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 154.0031 | 0.47294 | 0.31503 | 0.23596 | 0.47294 | 0.31503 | 0.23596 | -0.45739 | -167.7377 | 113.4776 | -0.45739 | -167.7377 | 113.4776

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1075 | 0.2943 | 0.23632 | 0.10743 | 0.29432 | 0.23635 | 1.2412 | 3.3983 | 2.7288 | 1.2404 | 3.3985 | 2.7291 | -1.0416 | -2.8485 | -1.511 | 1.044 | 2.9669 | 1.5505 | -0.54346 | -0.71228 | -1.6311 | 0.54082 | 0.75262 | 1.6852 | 150.7596 | 36.6971 | -111.5453 | -29.2308 | -143.3167 | 68.4709 | 0.94654 | 0.86402 | 0.81482 | 0.94786 | 0.90065 | 0.83909 | -1.688 | -129.2639 | 115.643 | -1.8455 | -129.0825 | 115.8535
Line_1 | 0.053676 | 0.14718 | 0.11817 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6995 | 1.3645 | 0.62022 | 1.6992 | 1.3646 | 0.52232 | 1.5132 | 0.78521 | -0.522 | -1.4834 | -0.77527 | 0.2698 | 0.38655 | 0.8559 | -0.27041 | -0.37631 | -0.84258 | -29.2418 | -143.3281 | 68.4891 | 150.7692 | 36.6833 | -111.5291 | 0.94851 | 0.91897 | 0.85125 | 0.94786 | 0.90065 | 0.83909 | -1.9238 | -128.9985 | 115.9554 | -1.8455 | -129.0825 | 115.8535
Line_2 | 0.053676 | 0.14718 | 0.11817 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6995 | 1.3645 | 0.62022 | 1.6992 | 1.3646 | 0.52232 | 1.5132 | 0.78521 | -0.522 | -1.4834 | -0.77527 | 0.2698 | 0.38655 | 0.8559 | -0.27041 | -0.37631 | -0.84258 | -29.2418 | -143.3281 | 68.4891 | 150.7692 | 36.6833 | -111.5291 | 0.94851 | 0.91897 | 0.85125 | 0.94786 | 0.90065 | 0.83909 | -1.9238 | -128.9985 | 115.9554 | -1.8455 | -129.0825 | 115.8535
Line_3 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | -0.00017388 | 0.00012637 | 4.7506e-05 | -0.00017388 | 0.00012637 | 4.7506e-05 | 3.2098e-05 | 0.00011566 | -0.00015141 | 3.2098e-05 | 0.00011566 | -0.00015141 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | 0.94851 | 0.91897 | 0.85125 | 0.94851 | 0.91897 | 0.85125 | -1.9238 | -128.9985 | 115.9554 | -1.9238 | -128.9985 | 115.9554

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1075 | 0.2943 | 0.23632 | 0.10743 | 0.29432 | 0.23635 | 1.2412 | 3.3983 | 2.7288 | 1.2404 | 3.3985 | 2.7291 | -1.0416 | -2.8485 | -1.511 | 1.044 | 2.9669 | 1.5505 | -0.54346 | -0.71228 | -1.6311 | 0.54082 | 0.75262 | 1.6852 | 150.7596 | 36.6971 | -111.5453 | -29.2308 | -143.3167 | 68.4709 | 0.94654 | 0.86402 | 0.81482 | 0.94786 | 0.90065 | 0.83909 | -1.688 | -129.2639 | 115.643 | -1.8455 | -129.0825 | 115.8535
Line_1 | 0.053676 | 0.14718 | 0.11817 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6995 | 1.3645 | 0.62022 | 1.6992 | 1.3646 | 0.52232 | 1.5132 | 0.78521 | -0.522 | -1.4834 | -0.77527 | 0.2698 | 0.38655 | 0.8559 | -0.27041 | -0.37631 | -0.84258 | -29.2418 | -143.3281 | 68.4891 | 150.7692 | 36.6833 | -111.5291 | 0.94851 | 0.91897 | 0.85125 | 0.94786 | 0.90065 | 0.83909 | -1.9238 | -128.9985 | 115.9554 | -1.8455 | -129.0825 | 115.8535
Line_2 | 0.053676 | 0.14718 | 0.11817 | 0.053713 | 0.14716 | 0.11817 | 0.6198 | 1.6995 | 1.3645 | 0.62022 | 1.6992 | 1.3646 | 0.52232 | 1.5132 | 0.78521 | -0.522 | -1.4834 | -0.77527 | 0.2698 | 0.38655 | 0.8559 | -0.27041 | -0.37631 | -0.84258 | -29.2418 | -143.3281 | 68.4891 | 150.7692 | 36.6833 | -111.5291 | 0.94851 | 0.91897 | 0.85125 | 0.94786 | 0.90065 | 0.83909 | -1.9238 | -128.9985 | 115.9554 | -1.8455 | -129.0825 | 115.8535
Line_3 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 1.6144e-05 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | 0.00018641 | -0.00017388 | 0.00012637 | 4.7506e-05 | -0.00017388 | 0.00012637 | 4.7506e-05 | 3.2098e-05 | 0.00011566 | -0.00015141 | 3.2098e-05 | 0.00011566 | -0.00015141 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | -171.4647 | 0.94851 | 0.91897 | 0.85125 | 0.94851 | 0.91897 | 0.85125 | -1.9238 | -128.9985 | 115.9554 | -1.9238 | -128.9985 | 115.9554