## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.1865 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87726 | 0.87726 | -7.0807 | -7.0807

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.1865 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87726 | 0.87726 | -7.0807 | -7.0807

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5955e-14 | 2.2688e-14 | 5.401e-15 | 5.3183e-15 | -8.8547e-15 | -2.9758e-16 | -6.0919e-16 | -3.3135e-15 | 1.0058e-14 | 2.0306e-16 | 4.7008e-15 | -1.0207e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 0.58698 | 0.53892 | 1.1236 | 0.58698 | 0.53892 | 2.1866 | -174.273 | 178.33 | 2.1866 | -174.273 | 178.33

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5955e-14 | 2.2688e-14 | 5.401e-15 | 5.3183e-15 | -8.8547e-15 | -2.9758e-16 | -6.0919e-16 | -3.3135e-15 | 1.0058e-14 | 2.0306e-16 | 4.7008e-15 | -1.0207e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 0.58698 | 0.53892 | 1.1236 | 0.58698 | 0.53892 | 2.1866 | -174.273 | 178.33 | 2.1866 | -174.273 | 178.33

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3968e-15 | 5.7106e-15 | -8.9918e-16 | -2.6568e-15 | -5.3969e-15 | 5.6362e-15 | -5.1995e-15 | 5.1617e-15 | -4.8174e-15 | 2.5655e-15 | 1.051e-15 | 1.0165e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1026 | 0.92858 | 0.73154 | 1.1026 | 0.92858 | 0.73154 | 1.0008 | -137.8902 | 124.4274 | 1.0008 | -137.8902 | 124.4274

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3968e-15 | 5.7106e-15 | -8.9918e-16 | -2.6568e-15 | -5.3969e-15 | 5.6362e-15 | -5.1995e-15 | 5.1617e-15 | -4.8174e-15 | 2.5655e-15 | 1.051e-15 | 1.0165e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1026 | 0.92858 | 0.73154 | 1.1026 | 0.92858 | 0.73154 | 1.0008 | -137.8902 | 124.4274 | 1.0008 | -137.8902 | 124.4274

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8358e-15 | -2.6561e-15 | 2.4152e-15 | -2.0313e-15 | 3.9841e-15 | -2.0423e-16 | 9.6335e-15 | -3.0325e-16 | 4.3198e-15 | -9.8347e-15 | 4.5488e-16 | -4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8358e-15 | -2.6561e-15 | 2.4152e-15 | -2.0313e-15 | 3.9841e-15 | -2.0423e-16 | 9.6335e-15 | -3.0325e-16 | 4.3198e-15 | -9.8347e-15 | 4.5488e-16 | -4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7642e-15 | 6.0407e-16 | 2.0792e-15 | -4.8105e-15 | 8.5395e-16 | -1.1551e-15 | 9.2727e-17 | -2.1246e-15 | -2.8951e-15 | 2.2894e-15 | 3.4576e-15 | 1.6084e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7642e-15 | 6.0407e-16 | 2.0792e-15 | -4.8105e-15 | 8.5395e-16 | -1.1551e-15 | 9.2727e-17 | -2.1246e-15 | -2.8951e-15 | 2.2894e-15 | 3.4576e-15 | 1.6084e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9384 | 0.55751 | 0.38167 | 3.9376 | 0.5586 | 0.38273 | 45.4769 | 6.4376 | 4.4072 | 45.4679 | 6.4501 | 4.4193 | 21.2935 | -6.0023 | 3.1393 | 2.459e-10 | 5.7188 | -3.1402 | 16.1962 | -0.1624 | 3.5806 | -2.9044e-10 | -1.7305 | -4.9569 | -60.9309 | 69.519 | 59.6482 | 119.0803 | -110.4709 | -120.3095 | 0.58828 | 0.93273 | 1.0805 | 0 | 0.92632 | 1.3278 | -23.6735 | -108.9312 | 108.4054 | 0 | -127.3064 | 117.3361
Line_1 | 0.90913 | 0.28112 | 0.19311 | 0.90744 | 0.2793 | 0.19136 | 10.4977 | 3.2461 | 2.2298 | 10.4782 | 3.2251 | 2.2097 | 1.7455 | 3.2525 | -1.3733 | 7.4659e-11 | -2.8594 | 1.5701 | 0.56964 | -0.59375 | -2.2776 | -4.6013e-11 | 0.86524 | 2.4785 | -79.0667 | -110.4151 | -120.1372 | 100.9783 | 69.5291 | 59.6905 | 0.1749 | 1.0185 | 1.1927 | 0 | 0.92632 | 1.3278 | -60.9923 | -120.7606 | 118.7738 | 0 | -127.3064 | 117.3361
Line_2 | 0.90913 | 0.28112 | 0.19311 | 0.90744 | 0.2793 | 0.19136 | 10.4977 | 3.2461 | 2.2298 | 10.4782 | 3.2251 | 2.2097 | 1.7455 | 3.2525 | -1.3733 | 7.4659e-11 | -2.8594 | 1.5701 | 0.56964 | -0.59375 | -2.2776 | -4.6013e-11 | 0.86524 | 2.4785 | -79.0667 | -110.4151 | -120.1372 | 100.9783 | 69.5291 | 59.6905 | 0.1749 | 1.0185 | 1.1927 | 0 | 0.92632 | 1.3278 | -60.9923 | -120.7606 | 118.7738 | 0 | -127.3064 | 117.3361
Line_3 | 0.00083355 | 0.00083355 | 0.00083355 | 0.00083355 | 0.00083355 | 0.00083355 | 0.009625 | 0.009625 | 0.009625 | 0.009625 | 0.009625 | 0.009625 | 0.0014581 | 0.0085086 | -0.0099667 | 0.0014581 | 0.0085086 | -0.0099667 | 0.00084134 | -0.0048695 | -0.0056968 | 0.00084134 | -0.0048695 | -0.0056968 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | 0.1749 | 1.0185 | 1.1927 | 0.1749 | 1.0185 | 1.1927 | -60.9923 | -120.7606 | 118.7738 | -60.9923 | -120.7606 | 118.7738

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9384 | 0.55751 | 0.38167 | 3.9376 | 0.5586 | 0.38273 | 45.4769 | 6.4376 | 4.4072 | 45.4679 | 6.4501 | 4.4193 | 21.2935 | -6.0023 | 3.1393 | 2.459e-10 | 5.7188 | -3.1402 | 16.1962 | -0.1624 | 3.5806 | -2.9044e-10 | -1.7305 | -4.9569 | -60.9309 | 69.519 | 59.6482 | 119.0803 | -110.4709 | -120.3095 | 0.58828 | 0.93273 | 1.0805 | 0 | 0.92632 | 1.3278 | -23.6735 | -108.9312 | 108.4054 | 0 | -127.3064 | 117.3361
Line_1 | 0.90913 | 0.28112 | 0.19311 | 0.90744 | 0.2793 | 0.19136 | 10.4977 | 3.2461 | 2.2298 | 10.4782 | 3.2251 | 2.2097 | 1.7455 | 3.2525 | -1.3733 | 7.4659e-11 | -2.8594 | 1.5701 | 0.56964 | -0.59375 | -2.2776 | -4.6013e-11 | 0.86524 | 2.4785 | -79.0667 | -110.4151 | -120.1372 | 100.9783 | 69.5291 | 59.6905 | 0.1749 | 1.0185 | 1.1927 | 0 | 0.92632 | 1.3278 | -60.9923 | -120.7606 | 118.7738 | 0 | -127.3064 | 117.3361
Line_2 | 0.90913 | 0.28112 | 0.19311 | 0.90744 | 0.2793 | 0.19136 | 10.4977 | 3.2461 | 2.2298 | 10.4782 | 3.2251 | 2.2097 | 1.7455 | 3.2525 | -1.3733 | 7.4659e-11 | -2.8594 | 1.5701 | 0.56964 | -0.59375 | -2.2776 | -4.6013e-11 | 0.86524 | 2.4785 | -79.0667 | -110.4151 | -120.1372 | 100.9783 | 69.5291 | 59.6905 | 0.1749 | 1.0185 | 1.1927 | 0 | 0.92632 | 1.3278 | -60.9923 | -120.7606 | 118.7738 | 0 | -127.3064 | 117.3361
Line_3 | 0.00083355 | 0.00083355 | 0.00083355 | 0.00083355 | 0.00083355 | 0.00083355 | 0.009625 | 0.009625 | 0.009625 | 0.009625 | 0.009625 | 0.009625 | 0.0014581 | 0.0085086 | -0.0099667 | 0.0014581 | 0.0085086 | -0.0099667 | 0.00084134 | -0.0048695 | -0.0056968 | 0.00084134 | -0.0048695 | -0.0056968 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | 0.1749 | 1.0185 | 1.1927 | 0.1749 | 1.0185 | 1.1927 | -60.9923 | -120.7606 | 118.7738 | -60.9923 | -120.7606 | 118.7738

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95726 | 0.13551 | 0.092768 | 0.95707 | 0.13577 | 0.093024 | 11.0535 | 1.5647 | 1.0712 | 11.0513 | 1.5678 | 1.0741 | 8.5004 | -1.4891 | 0.8931 | -7.2422 | 1.4745 | -0.89553 | 6.8898 | 0.67548 | 0.77938 | -5.9304 | -0.78884 | -0.86173 | -44.4592 | 85.9907 | 76.1198 | 135.5519 | -93.9993 | -103.8378 | 0.98992 | 1.045 | 1.1066 | 0.84701 | 1.0666 | 1.157 | -5.4334 | -118.409 | 117.2298 | -5.1349 | -122.1463 | 120.0601
Line_1 | 0.22097 | 0.068328 | 0.046936 | 0.22056 | 0.067886 | 0.046512 | 2.5515 | 0.78898 | 0.54198 | 2.5468 | 0.78388 | 0.53707 | 1.2656 | 0.76382 | -0.44024 | -1.1617 | -0.73723 | 0.44777 | 1.8556 | -0.38118 | -0.42051 | -1.8176 | 0.39442 | 0.43086 | -62.5951 | -93.9434 | -103.6655 | 117.45 | 86.0007 | 76.1622 | 0.88028 | 1.082 | 1.1233 | 0.84701 | 1.0666 | 1.157 | -6.8909 | -120.4645 | 120.0215 | -5.1349 | -122.1463 | 120.0601
Line_2 | 0.22097 | 0.068328 | 0.046936 | 0.22056 | 0.067886 | 0.046512 | 2.5515 | 0.78898 | 0.54198 | 2.5468 | 0.78388 | 0.53707 | 1.2656 | 0.76382 | -0.44024 | -1.1617 | -0.73723 | 0.44777 | 1.8556 | -0.38118 | -0.42051 | -1.8176 | 0.39442 | 0.43086 | -62.5951 | -93.9434 | -103.6655 | 117.45 | 86.0007 | 76.1622 | 0.88028 | 1.082 | 1.1233 | 0.84701 | 1.0666 | 1.157 | -6.8909 | -120.4645 | 120.0215 | -5.1349 | -122.1463 | 120.0601
Line_3 | 0.0002026 | 0.0002026 | 0.0002026 | 0.0002026 | 0.0002026 | 0.0002026 | 0.0023394 | 0.0023394 | 0.0023394 | 0.0023394 | 0.0023394 | 0.0023394 | 0.00078424 | 0.0017596 | -0.0025439 | 0.00078424 | 0.0017596 | -0.0025439 | 0.0019042 | -0.0018195 | -0.0006592 | 0.0019042 | -0.0018195 | -0.0006592 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | 0.88028 | 1.082 | 1.1233 | 0.88028 | 1.082 | 1.1233 | -6.8909 | -120.4645 | 120.0215 | -6.8909 | -120.4645 | 120.0215

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.95726 | 0.13551 | 0.092768 | 0.95707 | 0.13577 | 0.093024 | 11.0535 | 1.5647 | 1.0712 | 11.0513 | 1.5678 | 1.0741 | 8.5004 | -1.4891 | 0.8931 | -7.2422 | 1.4745 | -0.89553 | 6.8898 | 0.67548 | 0.77938 | -5.9304 | -0.78884 | -0.86173 | -44.4592 | 85.9907 | 76.1198 | 135.5519 | -93.9993 | -103.8378 | 0.98992 | 1.045 | 1.1066 | 0.84701 | 1.0666 | 1.157 | -5.4334 | -118.409 | 117.2298 | -5.1349 | -122.1463 | 120.0601
Line_1 | 0.22097 | 0.068328 | 0.046936 | 0.22056 | 0.067886 | 0.046512 | 2.5515 | 0.78898 | 0.54198 | 2.5468 | 0.78388 | 0.53707 | 1.2656 | 0.76382 | -0.44024 | -1.1617 | -0.73723 | 0.44777 | 1.8556 | -0.38118 | -0.42051 | -1.8176 | 0.39442 | 0.43086 | -62.5951 | -93.9434 | -103.6655 | 117.45 | 86.0007 | 76.1622 | 0.88028 | 1.082 | 1.1233 | 0.84701 | 1.0666 | 1.157 | -6.8909 | -120.4645 | 120.0215 | -5.1349 | -122.1463 | 120.0601
Line_2 | 0.22097 | 0.068328 | 0.046936 | 0.22056 | 0.067886 | 0.046512 | 2.5515 | 0.78898 | 0.54198 | 2.5468 | 0.78388 | 0.53707 | 1.2656 | 0.76382 | -0.44024 | -1.1617 | -0.73723 | 0.44777 | 1.8556 | -0.38118 | -0.42051 | -1.8176 | 0.39442 | 0.43086 | -62.5951 | -93.9434 | -103.6655 | 117.45 | 86.0007 | 76.1622 | 0.88028 | 1.082 | 1.1233 | 0.84701 | 1.0666 | 1.157 | -6.8909 | -120.4645 | 120.0215 | -5.1349 | -122.1463 | 120.0601
Line_3 | 0.0002026 | 0.0002026 | 0.0002026 | 0.0002026 | 0.0002026 | 0.0002026 | 0.0023394 | 0.0023394 | 0.0023394 | 0.0023394 | 0.0023394 | 0.0023394 | 0.00078424 | 0.0017596 | -0.0025439 | 0.00078424 | 0.0017596 | -0.0025439 | 0.0019042 | -0.0018195 | -0.0006592 | 0.0019042 | -0.0018195 | -0.0006592 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | 0.88028 | 1.082 | 1.1233 | 0.88028 | 1.082 | 1.1233 | -6.8909 | -120.4645 | 120.0215 | -6.8909 | -120.4645 | 120.0215

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8328 | 0.54103 | 0.37692 | 2.8322 | 0.54208 | 0.37797 | 32.7101 | 6.2473 | 4.3523 | 32.703 | 6.2594 | 4.3644 | 19.5087 | -4.5269 | 4.3214 | -9.6818e-11 | 3.4959 | -5.1003 | 9.4083 | 2.4849 | 1.0718 | 1.9314e-11 | -4.2771 | -2.379 | -49.7226 | 96.637 | 95.8134 | 130.2968 | -83.4113 | -84.2535 | 0.66214 | 0.8266 | 1.023 | 0 | 0.88252 | 1.2895 | -23.9764 | -112.1267 | 109.7436 | 0 | -134.1505 | 120.7526
Line_1 | 0.87429 | 0.27279 | 0.19074 | 0.8727 | 0.27104 | 0.18899 | 10.0954 | 3.1499 | 2.2025 | 10.0771 | 3.1297 | 2.1822 | 3.1368 | 2.5417 | -2.0447 | -3.0176e-11 | -1.748 | 2.5502 | 0.56871 | -1.8767 | -1.0161 | -3.8542e-12 | 2.1386 | 1.1895 | -68.3174 | -83.4914 | -84.3604 | 111.7366 | 96.5887 | 95.7465 | 0.31578 | 1.003 | 1.0367 | 0 | 0.88252 | 1.2895 | -58.0413 | -119.9319 | 122.064 | 0 | -134.1505 | 120.7526
Line_2 | 0.87429 | 0.27279 | 0.19074 | 0.8727 | 0.27104 | 0.18899 | 10.0954 | 3.1499 | 2.2025 | 10.0771 | 3.1297 | 2.1822 | 3.1368 | 2.5417 | -2.0447 | -3.0176e-11 | -1.748 | 2.5502 | 0.56871 | -1.8767 | -1.0161 | -3.8542e-12 | 2.1386 | 1.1895 | -68.3174 | -83.4914 | -84.3604 | 111.7366 | 96.5887 | 95.7465 | 0.31578 | 1.003 | 1.0367 | 0 | 0.88252 | 1.2895 | -58.0413 | -119.9319 | 122.064 | 0 | -134.1505 | 120.7526
Line_3 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.0026671 | 0.0060841 | -0.0087512 | 0.0026671 | 0.0060841 | -0.0087512 | 0.00074689 | -0.0063547 | -0.002468 | 0.00074689 | -0.0063547 | -0.002468 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | 0.31578 | 1.003 | 1.0367 | 0.31578 | 1.003 | 1.0367 | -58.0413 | -119.9319 | 122.064 | -58.0413 | -119.9319 | 122.064

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8328 | 0.54103 | 0.37692 | 2.8322 | 0.54208 | 0.37797 | 32.7101 | 6.2473 | 4.3523 | 32.703 | 6.2594 | 4.3644 | 19.5087 | -4.5269 | 4.3214 | -9.6818e-11 | 3.4959 | -5.1003 | 9.4083 | 2.4849 | 1.0718 | 1.9314e-11 | -4.2771 | -2.379 | -49.7226 | 96.637 | 95.8134 | 130.2968 | -83.4113 | -84.2535 | 0.66214 | 0.8266 | 1.023 | 0 | 0.88252 | 1.2895 | -23.9764 | -112.1267 | 109.7436 | 0 | -134.1505 | 120.7526
Line_1 | 0.87429 | 0.27279 | 0.19074 | 0.8727 | 0.27104 | 0.18899 | 10.0954 | 3.1499 | 2.2025 | 10.0771 | 3.1297 | 2.1822 | 3.1368 | 2.5417 | -2.0447 | -3.0176e-11 | -1.748 | 2.5502 | 0.56871 | -1.8767 | -1.0161 | -3.8542e-12 | 2.1386 | 1.1895 | -68.3174 | -83.4914 | -84.3604 | 111.7366 | 96.5887 | 95.7465 | 0.31578 | 1.003 | 1.0367 | 0 | 0.88252 | 1.2895 | -58.0413 | -119.9319 | 122.064 | 0 | -134.1505 | 120.7526
Line_2 | 0.87429 | 0.27279 | 0.19074 | 0.8727 | 0.27104 | 0.18899 | 10.0954 | 3.1499 | 2.2025 | 10.0771 | 3.1297 | 2.1822 | 3.1368 | 2.5417 | -2.0447 | -3.0176e-11 | -1.748 | 2.5502 | 0.56871 | -1.8767 | -1.0161 | -3.8542e-12 | 2.1386 | 1.1895 | -68.3174 | -83.4914 | -84.3604 | 111.7366 | 96.5887 | 95.7465 | 0.31578 | 1.003 | 1.0367 | 0 | 0.88252 | 1.2895 | -58.0413 | -119.9319 | 122.064 | 0 | -134.1505 | 120.7526
Line_3 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.0026671 | 0.0060841 | -0.0087512 | 0.0026671 | 0.0060841 | -0.0087512 | 0.00074689 | -0.0063547 | -0.002468 | 0.00074689 | -0.0063547 | -0.002468 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | 0.31578 | 1.003 | 1.0367 | 0.31578 | 1.003 | 1.0367 | -58.0413 | -119.9319 | 122.064 | -58.0413 | -119.9319 | 122.064

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75478 | 0.14416 | 0.10043 | 0.75462 | 0.14444 | 0.10071 | 8.7155 | 1.6646 | 1.1596 | 8.7136 | 1.6678 | 1.1629 | 6.4539 | -1.1366 | 1.1422 | -5.0692 | 1.0658 | -1.1996 | 4.6227 | 1.0946 | 0.26015 | -3.9521 | -1.2229 | -0.35444 | -41.0743 | 105.2853 | 104.4618 | 138.9451 | -74.763 | -75.6052 | 0.91087 | 0.948 | 1.0102 | 0.73767 | 0.97266 | 1.0757 | -5.462 | -118.6359 | 117.2927 | -3.1134 | -123.6907 | 120.8552
Line_1 | 0.23295 | 0.072684 | 0.050822 | 0.23253 | 0.072218 | 0.050354 | 2.6899 | 0.83928 | 0.58684 | 2.685 | 0.8339 | 0.58144 | 1.3163 | 0.59254 | -0.56763 | -1.0931 | -0.5329 | 0.5998 | 1.6961 | -0.59527 | -0.16656 | -1.6517 | 0.61147 | 0.17722 | -59.6691 | -74.8431 | -75.7121 | 120.3849 | 105.237 | 104.3948 | 0.79814 | 1.0008 | 1.008 | 0.73767 | 0.97266 | 1.0757 | -7.4829 | -119.9751 | 120.641 | -3.1134 | -123.6907 | 120.8552
Line_2 | 0.23295 | 0.072684 | 0.050822 | 0.23253 | 0.072218 | 0.050354 | 2.6899 | 0.83928 | 0.58684 | 2.685 | 0.8339 | 0.58144 | 1.3163 | 0.59254 | -0.56763 | -1.0931 | -0.5329 | 0.5998 | 1.6961 | -0.59527 | -0.16656 | -1.6517 | 0.61147 | 0.17722 | -59.6691 | -74.8431 | -75.7121 | 120.3849 | 105.237 | 104.3948 | 0.79814 | 1.0008 | 1.008 | 0.73767 | 0.97266 | 1.0757 | -7.4829 | -119.9751 | 120.641 | -3.1134 | -123.6907 | 120.8552
Line_3 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.0010007 | 0.0013435 | -0.0023442 | 0.0010007 | 0.0013435 | -0.0023442 | 0.0015741 | -0.0019143 | -0.00023308 | 0.0015741 | -0.0019143 | -0.00023308 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | 0.79814 | 1.0008 | 1.008 | 0.79814 | 1.0008 | 1.008 | -7.4829 | -119.9751 | 120.641 | -7.4829 | -119.9751 | 120.641

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75478 | 0.14416 | 0.10043 | 0.75462 | 0.14444 | 0.10071 | 8.7155 | 1.6646 | 1.1596 | 8.7136 | 1.6678 | 1.1629 | 6.4539 | -1.1366 | 1.1422 | -5.0692 | 1.0658 | -1.1996 | 4.6227 | 1.0946 | 0.26015 | -3.9521 | -1.2229 | -0.35444 | -41.0743 | 105.2853 | 104.4618 | 138.9451 | -74.763 | -75.6052 | 0.91087 | 0.948 | 1.0102 | 0.73767 | 0.97266 | 1.0757 | -5.462 | -118.6359 | 117.2927 | -3.1134 | -123.6907 | 120.8552
Line_1 | 0.23295 | 0.072684 | 0.050822 | 0.23253 | 0.072218 | 0.050354 | 2.6899 | 0.83928 | 0.58684 | 2.685 | 0.8339 | 0.58144 | 1.3163 | 0.59254 | -0.56763 | -1.0931 | -0.5329 | 0.5998 | 1.6961 | -0.59527 | -0.16656 | -1.6517 | 0.61147 | 0.17722 | -59.6691 | -74.8431 | -75.7121 | 120.3849 | 105.237 | 104.3948 | 0.79814 | 1.0008 | 1.008 | 0.73767 | 0.97266 | 1.0757 | -7.4829 | -119.9751 | 120.641 | -3.1134 | -123.6907 | 120.8552
Line_2 | 0.23295 | 0.072684 | 0.050822 | 0.23253 | 0.072218 | 0.050354 | 2.6899 | 0.83928 | 0.58684 | 2.685 | 0.8339 | 0.58144 | 1.3163 | 0.59254 | -0.56763 | -1.0931 | -0.5329 | 0.5998 | 1.6961 | -0.59527 | -0.16656 | -1.6517 | 0.61147 | 0.17722 | -59.6691 | -74.8431 | -75.7121 | 120.3849 | 105.237 | 104.3948 | 0.79814 | 1.0008 | 1.008 | 0.73767 | 0.97266 | 1.0757 | -7.4829 | -119.9751 | 120.641 | -3.1134 | -123.6907 | 120.8552
Line_3 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.0010007 | 0.0013435 | -0.0023442 | 0.0010007 | 0.0013435 | -0.0023442 | 0.0015741 | -0.0019143 | -0.00023308 | 0.0015741 | -0.0019143 | -0.00023308 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | 0.79814 | 1.0008 | 1.008 | 0.79814 | 1.0008 | 1.008 | -7.4829 | -119.9751 | 120.641 | -7.4829 | -119.9751 | 120.641

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48213 | 4.8795 | 3.0866 | 0.48305 | 4.8794 | 3.0859 | 5.5672 | 56.3434 | 35.641 | 5.5777 | 56.3429 | 35.6329 | -2.2802 | 29.6946 | -0.85947 | 2.7721 | 2.1023e-10 | 1.5379e-10 | 4.5434 | 9.3203 | 15.3725 | -6.1547 | -1.5827e-10 | -5.963e-11 | -121.952 | 175.4431 | 39.3695 | 58.11 | -4.5445 | -140.6451 | 0.91312 | 0.55238 | 0.43199 | 1.2102 | 0 | 0 | -5.3011 | -167.1312 | 132.5696 | -7.6427 | 0 | 0
Line_1 | 0.24302 | 0.90449 | 0.7879 | 0.24152 | 0.90371 | 0.78642 | 2.8061 | 10.4441 | 9.0978 | 2.7889 | 10.4351 | 9.0808 | 1.5872 | 1.4304 | 0.87125 | -1.3861 | 4.6671e-11 | 3.2617e-11 | -2.7744 | -0.29001 | 1.3247 | 3.0774 | -1.4037e-11 | -2.6515e-11 | 58.3386 | 155.1193 | 57.3427 | -121.89 | -24.7795 | -122.7294 | 1.1391 | 0.13974 | 0.17428 | 1.2102 | 0 | 0 | -1.8875 | 143.6577 | 114.0101 | -7.6427 | 0 | 0
Line_2 | 0.24302 | 0.90449 | 0.7879 | 0.24152 | 0.90371 | 0.78642 | 2.8061 | 10.4441 | 9.0978 | 2.7889 | 10.4351 | 9.0808 | 1.5872 | 1.4304 | 0.87125 | -1.3861 | 4.6671e-11 | 3.2617e-11 | -2.7744 | -0.29001 | 1.3247 | 3.0774 | -1.4037e-11 | -2.6515e-11 | 58.3386 | 155.1193 | 57.3427 | -121.89 | -24.7795 | -122.7294 | 1.1391 | 0.13974 | 0.17428 | 1.2102 | 0 | 0 | -1.8875 | 143.6577 | 114.0101 | -7.6427 | 0 | 0
Line_3 | 0.0008057 | 0.0008057 | 0.0008057 | 0.0008057 | 0.0008057 | 0.0008057 | 0.0093034 | 0.0093034 | 0.0093034 | 0.0093034 | 0.0093034 | 0.0093034 | -0.002559 | 0.00097263 | 0.0015864 | -0.002559 | 0.00097263 | 0.0015864 | -0.010284 | 0.00086267 | 0.00033499 | -0.010284 | 0.00086267 | 0.00033499 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 1.1391 | 0.13974 | 0.17428 | 1.1391 | 0.13974 | 0.17428 | -1.8875 | 143.6577 | 114.0101 | -1.8875 | 143.6577 | 114.0101

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48213 | 4.8795 | 3.0866 | 0.48305 | 4.8794 | 3.0859 | 5.5672 | 56.3434 | 35.641 | 5.5777 | 56.3429 | 35.6329 | -2.2802 | 29.6946 | -0.85947 | 2.7721 | 2.1023e-10 | 1.5379e-10 | 4.5434 | 9.3203 | 15.3725 | -6.1547 | -1.5827e-10 | -5.963e-11 | -121.952 | 175.4431 | 39.3695 | 58.11 | -4.5445 | -140.6451 | 0.91312 | 0.55238 | 0.43199 | 1.2102 | 0 | 0 | -5.3011 | -167.1312 | 132.5696 | -7.6427 | 0 | 0
Line_1 | 0.24302 | 0.90449 | 0.7879 | 0.24152 | 0.90371 | 0.78642 | 2.8061 | 10.4441 | 9.0978 | 2.7889 | 10.4351 | 9.0808 | 1.5872 | 1.4304 | 0.87125 | -1.3861 | 4.6671e-11 | 3.2617e-11 | -2.7744 | -0.29001 | 1.3247 | 3.0774 | -1.4037e-11 | -2.6515e-11 | 58.3386 | 155.1193 | 57.3427 | -121.89 | -24.7795 | -122.7294 | 1.1391 | 0.13974 | 0.17428 | 1.2102 | 0 | 0 | -1.8875 | 143.6577 | 114.0101 | -7.6427 | 0 | 0
Line_2 | 0.24302 | 0.90449 | 0.7879 | 0.24152 | 0.90371 | 0.78642 | 2.8061 | 10.4441 | 9.0978 | 2.7889 | 10.4351 | 9.0808 | 1.5872 | 1.4304 | 0.87125 | -1.3861 | 4.6671e-11 | 3.2617e-11 | -2.7744 | -0.29001 | 1.3247 | 3.0774 | -1.4037e-11 | -2.6515e-11 | 58.3386 | 155.1193 | 57.3427 | -121.89 | -24.7795 | -122.7294 | 1.1391 | 0.13974 | 0.17428 | 1.2102 | 0 | 0 | -1.8875 | 143.6577 | 114.0101 | -7.6427 | 0 | 0
Line_3 | 0.0008057 | 0.0008057 | 0.0008057 | 0.0008057 | 0.0008057 | 0.0008057 | 0.0093034 | 0.0093034 | 0.0093034 | 0.0093034 | 0.0093034 | 0.0093034 | -0.002559 | 0.00097263 | 0.0015864 | -0.002559 | 0.00097263 | 0.0015864 | -0.010284 | 0.00086267 | 0.00033499 | -0.010284 | 0.00086267 | 0.00033499 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 1.1391 | 0.13974 | 0.17428 | 1.1391 | 0.13974 | 0.17428 | -1.8875 | 143.6577 | 114.0101 | -1.8875 | 143.6577 | 114.0101

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13034 | 1.0951 | 0.89472 | 0.13057 | 1.0951 | 0.89449 | 1.505 | 12.6448 | 10.3313 | 1.5077 | 12.6454 | 10.3287 | -0.571 | 10.1765 | 5.9094 | 0.59826 | -8.6863 | -5.6603 | 1.4789 | 7.3796 | 7.5651 | -1.5886 | -7.1463 | -6.3007 | -112.5254 | -164.6421 | 64.5525 | 67.5259 | 15.3712 | -115.4558 | 1.0534 | 0.99413 | 0.92918 | 1.1259 | 0.88951 | 0.82003 | -1.4138 | -128.6941 | 116.5577 | -1.8384 | -125.1844 | 112.6092
Line_1 | 0.065663 | 0.18899 | 0.22462 | 0.065285 | 0.18888 | 0.22422 | 0.75821 | 2.1823 | 2.5937 | 0.75384 | 2.1811 | 2.5891 | 0.31299 | 0.98941 | 1.7326 | -0.29913 | -0.9317 | -1.6528 | -0.77854 | 1.6764 | 1.423 | 0.79431 | -1.7017 | -1.3326 | 67.7172 | 173.3882 | 73.7766 | -112.4741 | -6.4832 | -106.2686 | 1.1067 | 0.892 | 0.86441 | 1.1259 | 0.88951 | 0.82003 | -0.38181 | -127.1607 | 113.1731 | -1.8384 | -125.1844 | 112.6092
Line_2 | 0.065663 | 0.18899 | 0.22462 | 0.065285 | 0.18888 | 0.22422 | 0.75821 | 2.1823 | 2.5937 | 0.75384 | 2.1811 | 2.5891 | 0.31299 | 0.98941 | 1.7326 | -0.29913 | -0.9317 | -1.6528 | -0.77854 | 1.6764 | 1.423 | 0.79431 | -1.7017 | -1.3326 | 67.7172 | 173.3882 | 73.7766 | -112.4741 | -6.4832 | -106.2686 | 1.1067 | 0.892 | 0.86441 | 1.1259 | 0.88951 | 0.82003 | -0.38181 | -127.1607 | 113.1731 | -1.8384 | -125.1844 | 112.6092
Line_3 | 0.00019813 | 0.00019813 | 0.00019813 | 0.00019813 | 0.00019813 | 0.00019813 | 0.0022879 | 0.0022879 | 0.0022879 | 0.0022879 | 0.0022879 | 0.0022879 | -0.00082157 | -0.0011496 | 0.0019712 | -0.00082157 | -0.0011496 | 0.0019712 | -0.0023949 | 0.0016861 | 0.00015931 | -0.0023949 | 0.0016861 | 0.00015931 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 1.1067 | 0.892 | 0.86441 | 1.1067 | 0.892 | 0.86441 | -0.38181 | -127.1607 | 113.1731 | -0.38181 | -127.1607 | 113.1731

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13034 | 1.0951 | 0.89472 | 0.13057 | 1.0951 | 0.89449 | 1.505 | 12.6448 | 10.3313 | 1.5077 | 12.6454 | 10.3287 | -0.571 | 10.1765 | 5.9094 | 0.59826 | -8.6863 | -5.6603 | 1.4789 | 7.3796 | 7.5651 | -1.5886 | -7.1463 | -6.3007 | -112.5254 | -164.6421 | 64.5525 | 67.5259 | 15.3712 | -115.4558 | 1.0534 | 0.99413 | 0.92918 | 1.1259 | 0.88951 | 0.82003 | -1.4138 | -128.6941 | 116.5577 | -1.8384 | -125.1844 | 112.6092
Line_1 | 0.065663 | 0.18899 | 0.22462 | 0.065285 | 0.18888 | 0.22422 | 0.75821 | 2.1823 | 2.5937 | 0.75384 | 2.1811 | 2.5891 | 0.31299 | 0.98941 | 1.7326 | -0.29913 | -0.9317 | -1.6528 | -0.77854 | 1.6764 | 1.423 | 0.79431 | -1.7017 | -1.3326 | 67.7172 | 173.3882 | 73.7766 | -112.4741 | -6.4832 | -106.2686 | 1.1067 | 0.892 | 0.86441 | 1.1259 | 0.88951 | 0.82003 | -0.38181 | -127.1607 | 113.1731 | -1.8384 | -125.1844 | 112.6092
Line_2 | 0.065663 | 0.18899 | 0.22462 | 0.065285 | 0.18888 | 0.22422 | 0.75821 | 2.1823 | 2.5937 | 0.75384 | 2.1811 | 2.5891 | 0.31299 | 0.98941 | 1.7326 | -0.29913 | -0.9317 | -1.6528 | -0.77854 | 1.6764 | 1.423 | 0.79431 | -1.7017 | -1.3326 | 67.7172 | 173.3882 | 73.7766 | -112.4741 | -6.4832 | -106.2686 | 1.1067 | 0.892 | 0.86441 | 1.1259 | 0.88951 | 0.82003 | -0.38181 | -127.1607 | 113.1731 | -1.8384 | -125.1844 | 112.6092
Line_3 | 0.00019813 | 0.00019813 | 0.00019813 | 0.00019813 | 0.00019813 | 0.00019813 | 0.0022879 | 0.0022879 | 0.0022879 | 0.0022879 | 0.0022879 | 0.0022879 | -0.00082157 | -0.0011496 | 0.0019712 | -0.00082157 | -0.0011496 | 0.0019712 | -0.0023949 | 0.0016861 | 0.00015931 | -0.0023949 | 0.0016861 | 0.00015931 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 1.1067 | 0.892 | 0.86441 | 1.1067 | 0.892 | 0.86441 | -0.38181 | -127.1607 | 113.1731 | -0.38181 | -127.1607 | 113.1731

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36144 | 3.8267 | 2.6185 | 0.36244 | 3.8269 | 2.6179 | 4.1735 | 44.187 | 30.2363 | 4.1851 | 44.1893 | 30.2287 | 0.18271 | 28.2835 | 0.58395 | -0.31232 | -1.3147e-10 | -4.005e-11 | 3.686 | 3.1405 | 11.9425 | -4.9895 | -1.1274e-10 | -1.1218e-10 | -92.8492 | -171.6624 | 38.0012 | 87.1507 | 8.3523 | -142.0154 | 0.88427 | 0.64402 | 0.39544 | 1.1945 | 0 | 0 | -5.687 | -165.3265 | 125.2019 | -6.4311 | 0 | 0
Line_1 | 0.18276 | 0.9457 | 0.64487 | 0.18122 | 0.94506 | 0.64361 | 2.1104 | 10.92 | 7.4463 | 2.0926 | 10.9126 | 7.4318 | 0.19963 | 2.7302 | 1.0048 | 0.15616 | -1.8219e-11 | -1.9831e-11 | -2.208 | -0.78563 | 1.668 | 2.4948 | -3.8695e-11 | -2.1547e-11 | 87.2459 | 164.092 | 61.0474 | -92.8493 | -15.8211 | -119.0373 | 1.0505 | 0.26017 | 0.26151 | 1.1945 | 0 | 0 | 2.412 | 148.0386 | 119.982 | -6.4311 | 0 | 0
Line_2 | 0.18276 | 0.9457 | 0.64487 | 0.18122 | 0.94506 | 0.64361 | 2.1104 | 10.92 | 7.4463 | 2.0926 | 10.9126 | 7.4318 | 0.19963 | 2.7302 | 1.0048 | 0.15616 | -1.8219e-11 | -1.9831e-11 | -2.208 | -0.78563 | 1.668 | 2.4948 | -3.8695e-11 | -2.1547e-11 | 87.2459 | 164.092 | 61.0474 | -92.8493 | -15.8211 | -119.0373 | 1.0505 | 0.26017 | 0.26151 | 1.1945 | 0 | 0 | 2.412 | 148.0386 | 119.982 | -6.4311 | 0 | 0
Line_3 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | -0.0037898 | 0.0017748 | 0.002015 | -0.0037898 | 0.0017748 | 0.002015 | -0.007153 | 0.00093221 | -1.2159e-05 | -0.007153 | 0.00093221 | -1.2159e-05 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 1.0505 | 0.26017 | 0.26151 | 1.0505 | 0.26017 | 0.26151 | 2.412 | 148.0386 | 119.982 | 2.412 | 148.0386 | 119.982

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36144 | 3.8267 | 2.6185 | 0.36244 | 3.8269 | 2.6179 | 4.1735 | 44.187 | 30.2363 | 4.1851 | 44.1893 | 30.2287 | 0.18271 | 28.2835 | 0.58395 | -0.31232 | -1.3147e-10 | -4.005e-11 | 3.686 | 3.1405 | 11.9425 | -4.9895 | -1.1274e-10 | -1.1218e-10 | -92.8492 | -171.6624 | 38.0012 | 87.1507 | 8.3523 | -142.0154 | 0.88427 | 0.64402 | 0.39544 | 1.1945 | 0 | 0 | -5.687 | -165.3265 | 125.2019 | -6.4311 | 0 | 0
Line_1 | 0.18276 | 0.9457 | 0.64487 | 0.18122 | 0.94506 | 0.64361 | 2.1104 | 10.92 | 7.4463 | 2.0926 | 10.9126 | 7.4318 | 0.19963 | 2.7302 | 1.0048 | 0.15616 | -1.8219e-11 | -1.9831e-11 | -2.208 | -0.78563 | 1.668 | 2.4948 | -3.8695e-11 | -2.1547e-11 | 87.2459 | 164.092 | 61.0474 | -92.8493 | -15.8211 | -119.0373 | 1.0505 | 0.26017 | 0.26151 | 1.1945 | 0 | 0 | 2.412 | 148.0386 | 119.982 | -6.4311 | 0 | 0
Line_2 | 0.18276 | 0.9457 | 0.64487 | 0.18122 | 0.94506 | 0.64361 | 2.1104 | 10.92 | 7.4463 | 2.0926 | 10.9126 | 7.4318 | 0.19963 | 2.7302 | 1.0048 | 0.15616 | -1.8219e-11 | -1.9831e-11 | -2.208 | -0.78563 | 1.668 | 2.4948 | -3.8695e-11 | -2.1547e-11 | 87.2459 | 164.092 | 61.0474 | -92.8493 | -15.8211 | -119.0373 | 1.0505 | 0.26017 | 0.26151 | 1.1945 | 0 | 0 | 2.412 | 148.0386 | 119.982 | -6.4311 | 0 | 0
Line_3 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | -0.0037898 | 0.0017748 | 0.002015 | -0.0037898 | 0.0017748 | 0.002015 | -0.007153 | 0.00093221 | -1.2159e-05 | -0.007153 | 0.00093221 | -1.2159e-05 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 1.0505 | 0.26017 | 0.26151 | 1.0505 | 0.26017 | 0.26151 | 2.412 | 148.0386 | 119.982 | 2.412 | 148.0386 | 119.982

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12032 | 0.90266 | 0.75182 | 0.12061 | 0.90279 | 0.75155 | 1.3893 | 10.4231 | 8.6812 | 1.3927 | 10.4246 | 8.6781 | 0.024835 | 8.3238 | 4.4051 | -0.044391 | -6.707 | -4.0095 | 1.3355 | 4.701 | 5.9101 | -1.4604 | -4.824 | -4.7539 | -90.4701 | -158.2979 | 63.0508 | 89.5201 | 21.7187 | -116.9577 | 0.96144 | 0.91715 | 0.84909 | 1.0491 | 0.79252 | 0.71663 | -1.5355 | -128.8417 | 116.352 | -2.221 | -122.5559 | 112.8982
Line_1 | 0.060756 | 0.21443 | 0.21351 | 0.060304 | 0.21432 | 0.21309 | 0.70155 | 2.476 | 2.4654 | 0.69633 | 2.4747 | 2.4605 | 0.014086 | 0.98037 | 1.5624 | 0.022196 | -0.83373 | -1.419 | -0.70793 | 1.699 | 1.1886 | 0.73018 | -1.7752 | -1.0467 | 89.5737 | 172.4829 | 76.5255 | -90.4799 | -7.399 | -103.5167 | 1.0093 | 0.79222 | 0.79625 | 1.0491 | 0.79252 | 0.71663 | 0.71357 | -127.5039 | 113.7881 | -2.221 | -122.5559 | 112.8982
Line_2 | 0.060756 | 0.21443 | 0.21351 | 0.060304 | 0.21432 | 0.21309 | 0.70155 | 2.476 | 2.4654 | 0.69633 | 2.4747 | 2.4605 | 0.014086 | 0.98037 | 1.5624 | 0.022196 | -0.83373 | -1.419 | -0.70793 | 1.699 | 1.1886 | 0.73018 | -1.7752 | -1.0467 | 89.5737 | 172.4829 | 76.5255 | -90.4799 | -7.399 | -103.5167 | 1.0093 | 0.79222 | 0.79625 | 1.0491 | 0.79252 | 0.71663 | 0.71357 | -127.5039 | 113.7881 | -2.221 | -122.5559 | 112.8982
Line_3 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | -0.0010588 | -0.00071392 | 0.0017727 | -0.0010588 | -0.00071392 | 0.0017727 | -0.0019914 | 0.0016199 | -0.00015274 | -0.0019914 | 0.0016199 | -0.00015274 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 1.0093 | 0.79222 | 0.79625 | 1.0093 | 0.79222 | 0.79625 | 0.71357 | -127.5039 | 113.7881 | 0.71357 | -127.5039 | 113.7881

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12032 | 0.90266 | 0.75182 | 0.12061 | 0.90279 | 0.75155 | 1.3893 | 10.4231 | 8.6812 | 1.3927 | 10.4246 | 8.6781 | 0.024835 | 8.3238 | 4.4051 | -0.044391 | -6.707 | -4.0095 | 1.3355 | 4.701 | 5.9101 | -1.4604 | -4.824 | -4.7539 | -90.4701 | -158.2979 | 63.0508 | 89.5201 | 21.7187 | -116.9577 | 0.96144 | 0.91715 | 0.84909 | 1.0491 | 0.79252 | 0.71663 | -1.5355 | -128.8417 | 116.352 | -2.221 | -122.5559 | 112.8982
Line_1 | 0.060756 | 0.21443 | 0.21351 | 0.060304 | 0.21432 | 0.21309 | 0.70155 | 2.476 | 2.4654 | 0.69633 | 2.4747 | 2.4605 | 0.014086 | 0.98037 | 1.5624 | 0.022196 | -0.83373 | -1.419 | -0.70793 | 1.699 | 1.1886 | 0.73018 | -1.7752 | -1.0467 | 89.5737 | 172.4829 | 76.5255 | -90.4799 | -7.399 | -103.5167 | 1.0093 | 0.79222 | 0.79625 | 1.0491 | 0.79252 | 0.71663 | 0.71357 | -127.5039 | 113.7881 | -2.221 | -122.5559 | 112.8982
Line_2 | 0.060756 | 0.21443 | 0.21351 | 0.060304 | 0.21432 | 0.21309 | 0.70155 | 2.476 | 2.4654 | 0.69633 | 2.4747 | 2.4605 | 0.014086 | 0.98037 | 1.5624 | 0.022196 | -0.83373 | -1.419 | -0.70793 | 1.699 | 1.1886 | 0.73018 | -1.7752 | -1.0467 | 89.5737 | 172.4829 | 76.5255 | -90.4799 | -7.399 | -103.5167 | 1.0093 | 0.79222 | 0.79625 | 1.0491 | 0.79252 | 0.71663 | 0.71357 | -127.5039 | 113.7881 | -2.221 | -122.5559 | 112.8982
Line_3 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | -0.0010588 | -0.00071392 | 0.0017727 | -0.0010588 | -0.00071392 | 0.0017727 | -0.0019914 | 0.0016199 | -0.00015274 | -0.0019914 | 0.0016199 | -0.00015274 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 1.0093 | 0.79222 | 0.79625 | 1.0093 | 0.79222 | 0.79625 | 0.71357 | -127.5039 | 113.7881 | 0.71357 | -127.5039 | 113.7881