## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6473 | 3.6473 | 0 | 0 | 126.3464 | 126.3464 | 35.9247 | -15.1722 | 40.9065 | -17.3604 | -73.1767 | 106.8233 | 0.43089 | 0.18248 | -24.4668 | -24.3287
Line_1 | 2.6793 | 2.6793 | 5.3365 | 0 | 92.8137 | 92.8137 | -1e-07 | 11.1987 | -1e-07 | 12.7062 | 107.0629 | -72.9371 | 0 | 0.18248 | 0 | -24.3287
Line_2 | 0.96809 | 0.96809 | 0 | 0 | 33.5358 | 33.5358 | -2.5115 | 3.9735 | -2.9954 | 4.6542 | 106.1604 | -73.8396 | 0.11656 | 0.18248 | -23.8181 | -24.3287
Line_3 | 1.7114 | 1.7114 | 3.4087 | 0 | 59.2845 | 59.2845 | -1e-07 | 4.569 | -1e-07 | 5.1841 | 107.5734 | -72.4266 | 0 | 0.11656 | 0 | -23.8181

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6473 | 3.6473 | 0 | 0 | 126.3464 | 126.3464 | 35.9247 | -15.1722 | 40.9065 | -17.3604 | -73.1767 | 106.8233 | 0.43089 | 0.18248 | -24.4668 | -24.3287
Line_1 | 2.6793 | 2.6793 | 5.3365 | 0 | 92.8137 | 92.8137 | -1e-07 | 11.1987 | -1e-07 | 12.7062 | 107.0629 | -72.9371 | 0 | 0.18248 | 0 | -24.3287
Line_2 | 0.96809 | 0.96809 | 0 | 0 | 33.5358 | 33.5358 | -2.5115 | 3.9735 | -2.9954 | 4.6542 | 106.1604 | -73.8396 | 0.11656 | 0.18248 | -23.8181 | -24.3287
Line_3 | 1.7114 | 1.7114 | 3.4087 | 0 | 59.2845 | 59.2845 | -1e-07 | 4.569 | -1e-07 | 5.1841 | 107.5734 | -72.4266 | 0 | 0.11656 | 0 | -23.8181

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.95594 | 0.95594 | 0 | 0 | 33.1147 | 33.1147 | 21.9414 | -20.5158 | 22.5228 | -20.9053 | -52.3773 | 127.6227 | 0.94954 | 0.88451 | -6.6281 | -6.8385
Line_1 | 0.70223 | 0.70223 | 1.3987 | 0 | 24.326 | 24.326 | -14.3657 | 15.1349 | -14.421 | 15.2938 | 127.8623 | -52.1377 | 0.83677 | 0.88451 | -7.0275 | -6.8385
Line_2 | 0.25373 | 0.25373 | 0 | 0 | 8.7895 | 8.7895 | -5.2804 | 5.3809 | -5.4975 | 5.6115 | 126.9598 | -53.0402 | 0.86725 | 0.88451 | -6.8864 | -6.8385
Line_3 | 0.44855 | 0.44855 | 0.8934 | 0 | 15.5381 | 15.5381 | -9.2577 | 9.5716 | -9.1293 | 9.4854 | 128.3728 | -51.6272 | 0.83677 | 0.86725 | -7.0275 | -6.8864

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.95594 | 0.95594 | 0 | 0 | 33.1147 | 33.1147 | 21.9414 | -20.5158 | 22.5228 | -20.9053 | -52.3773 | 127.6227 | 0.94954 | 0.88451 | -6.6281 | -6.8385
Line_1 | 0.70223 | 0.70223 | 1.3987 | 0 | 24.326 | 24.326 | -14.3657 | 15.1349 | -14.421 | 15.2938 | 127.8623 | -52.1377 | 0.83677 | 0.88451 | -7.0275 | -6.8385
Line_2 | 0.25373 | 0.25373 | 0 | 0 | 8.7895 | 8.7895 | -5.2804 | 5.3809 | -5.4975 | 5.6115 | 126.9598 | -53.0402 | 0.86725 | 0.88451 | -6.8864 | -6.8385
Line_3 | 0.44855 | 0.44855 | 0.8934 | 0 | 15.5381 | 15.5381 | -9.2577 | 9.5716 | -9.1293 | 9.4854 | 128.3728 | -51.6272 | 0.83677 | 0.86725 | -7.0275 | -6.8864

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16767 | 3.0916 | 3.2377 | 0.16767 | 3.0916 | 3.2377 | 1.9361 | 35.6989 | 37.3862 | 1.9361 | 35.6989 | 37.3862 | -2.0827 | 27.9998 | -10.9539 | 2.0973 | -23.0296 | 16.405 | -0.52411 | 4.3805 | 15.7348 | 0.5407 | 1.2588 | -9.5499 | 167.548 | -162.3322 | 16.1787 | -12.452 | 17.6678 | -163.8213 | 1.1092 | 0.79387 | 0.51281 | 1.1187 | 0.64607 | 0.50773 | 1.6735 | -153.4406 | 141.0226 | 2.0047 | -165.4608 | 165.9736
Line_1 | 0.085685 | 2.2727 | 2.3472 | 0.085685 | 2.2727 | 2.3472 | 0.9894 | 26.2428 | 27.1034 | 0.9894 | 26.2428 | 27.1034 | 1.0722 | -14.2537 | 14.7898 | -1.0684 | 16.9395 | -11.9249 | 0.29329 | 3.7641 | -3.6175 | -0.28895 | -0.7167 | 6.8681 | -13.1289 | 16.9619 | -164.0868 | 166.8711 | -163.0381 | 15.9132 | 1.1235 | 0.56177 | 0.56177 | 1.1187 | 0.64607 | 0.50773 | 2.1688 | -177.8312 | -177.8312 | 2.0047 | -165.4608 | 165.9736
Line_2 | 0.082 | 0.81957 | 0.89061 | 0.082 | 0.81957 | 0.89061 | 0.94685 | 9.4636 | 10.2839 | 0.94685 | 9.4636 | 10.2839 | 1.0323 | -5.7408 | 4.8926 | -1.0289 | 6.0901 | -4.4801 | 0.25571 | 0.93837 | -2.2138 | -0.25175 | -0.54207 | 2.6818 | -11.7447 | 19.6256 | -163.1216 | 168.2553 | -160.3744 | 16.8784 | 1.1232 | 0.61467 | 0.52219 | 1.1187 | 0.64607 | 0.50773 | 2.1675 | -169.6577 | 172.5323 | 2.0047 | -165.4608 | 165.9736
Line_3 | 0.0042047 | 1.4545 | 1.4568 | 0.0042047 | 1.4545 | 1.4568 | 0.048552 | 16.7952 | 16.8219 | 0.048552 | 16.7952 | 16.8219 | 0.039633 | -9.1822 | 9.202 | -0.039624 | 10.2823 | -8.0984 | 0.037482 | 2.1693 | -2.1506 | -0.037472 | -0.92111 | 3.4027 | -41.2335 | 15.4613 | -164.6769 | 138.7665 | -164.5387 | 15.3231 | 1.1235 | 0.56177 | 0.56177 | 1.1232 | 0.61467 | 0.52219 | 2.1688 | -177.8312 | -177.8312 | 2.1675 | -169.6577 | 172.5323

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16767 | 3.0916 | 3.2377 | 0.16767 | 3.0916 | 3.2377 | 1.9361 | 35.6989 | 37.3862 | 1.9361 | 35.6989 | 37.3862 | -2.0827 | 27.9998 | -10.9539 | 2.0973 | -23.0296 | 16.405 | -0.52411 | 4.3805 | 15.7348 | 0.5407 | 1.2588 | -9.5499 | 167.548 | -162.3322 | 16.1787 | -12.452 | 17.6678 | -163.8213 | 1.1092 | 0.79387 | 0.51281 | 1.1187 | 0.64607 | 0.50773 | 1.6735 | -153.4406 | 141.0226 | 2.0047 | -165.4608 | 165.9736
Line_1 | 0.085685 | 2.2727 | 2.3472 | 0.085685 | 2.2727 | 2.3472 | 0.9894 | 26.2428 | 27.1034 | 0.9894 | 26.2428 | 27.1034 | 1.0722 | -14.2537 | 14.7898 | -1.0684 | 16.9395 | -11.9249 | 0.29329 | 3.7641 | -3.6175 | -0.28895 | -0.7167 | 6.8681 | -13.1289 | 16.9619 | -164.0868 | 166.8711 | -163.0381 | 15.9132 | 1.1235 | 0.56177 | 0.56177 | 1.1187 | 0.64607 | 0.50773 | 2.1688 | -177.8312 | -177.8312 | 2.0047 | -165.4608 | 165.9736
Line_2 | 0.082 | 0.81957 | 0.89061 | 0.082 | 0.81957 | 0.89061 | 0.94685 | 9.4636 | 10.2839 | 0.94685 | 9.4636 | 10.2839 | 1.0323 | -5.7408 | 4.8926 | -1.0289 | 6.0901 | -4.4801 | 0.25571 | 0.93837 | -2.2138 | -0.25175 | -0.54207 | 2.6818 | -11.7447 | 19.6256 | -163.1216 | 168.2553 | -160.3744 | 16.8784 | 1.1232 | 0.61467 | 0.52219 | 1.1187 | 0.64607 | 0.50773 | 2.1675 | -169.6577 | 172.5323 | 2.0047 | -165.4608 | 165.9736
Line_3 | 0.0042047 | 1.4545 | 1.4568 | 0.0042047 | 1.4545 | 1.4568 | 0.048552 | 16.7952 | 16.8219 | 0.048552 | 16.7952 | 16.8219 | 0.039633 | -9.1822 | 9.202 | -0.039624 | 10.2823 | -8.0984 | 0.037482 | 2.1693 | -2.1506 | -0.037472 | -0.92111 | 3.4027 | -41.2335 | 15.4613 | -164.6769 | 138.7665 | -164.5387 | 15.3231 | 1.1235 | 0.56177 | 0.56177 | 1.1232 | 0.61467 | 0.52219 | 2.1688 | -177.8312 | -177.8312 | 2.1675 | -169.6577 | 172.5323

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.071598 | 1.3201 | 1.3825 | 0.071598 | 1.3201 | 1.3825 | 0.82674 | 15.2438 | 15.9643 | 0.82674 | 15.2438 | 15.9643 | -0.90611 | 15.0577 | 0.99002 | 0.90878 | -14.1515 | 0.0039296 | 0.071765 | 2.9587 | 13.1075 | -0.06874 | -1.9304 | -11.9797 | -174.7256 | -144.6058 | 33.905 | 5.2744 | 35.3942 | -146.095 | 1.0994 | 1.0067 | 0.82339 | 1.1024 | 0.93694 | 0.75041 | 0.74599 | -133.4895 | 119.5857 | 0.94877 | -136.8379 | 123.9238
Line_1 | 0.036588 | 0.97046 | 1.0023 | 0.036588 | 0.97046 | 1.0023 | 0.42248 | 11.2059 | 11.5734 | 0.42248 | 11.2059 | 11.5734 | 0.46549 | -9.895 | 0.56547 | -0.46479 | 10.3847 | -0.043093 | -0.028849 | -0.99149 | -8.092 | 0.029639 | 1.5471 | 8.6847 | 4.5975 | 34.6883 | -146.3605 | -175.4025 | -145.3117 | 33.6395 | 1.1039 | 0.88743 | 0.70089 | 1.1024 | 0.93694 | 0.75041 | 1.051 | -139.5897 | 127.6369 | 0.94877 | -136.8379 | 123.9238
Line_2 | 0.035015 | 0.34997 | 0.3803 | 0.035015 | 0.34997 | 0.3803 | 0.40431 | 4.041 | 4.3913 | 0.40431 | 4.041 | 4.3913 | 0.44463 | -3.7031 | 0.036043 | -0.44399 | 3.7668 | 0.039163 | -0.038378 | -0.31102 | -3.2097 | 0.039101 | 0.38328 | 3.2951 | 5.9817 | 37.352 | -145.3952 | -174.0183 | -142.648 | 34.6048 | 1.1038 | 0.9196 | 0.73097 | 1.1024 | 0.93694 | 0.75041 | 1.0485 | -137.847 | 125.2482 | 0.94877 | -136.8379 | 123.9238
Line_3 | 0.0017955 | 0.62109 | 0.62207 | 0.0017955 | 0.62109 | 0.62207 | 0.020732 | 7.1717 | 7.1831 | 0.020732 | 7.1717 | 7.1831 | 0.020816 | -6.3139 | 0.40267 | -0.020814 | 6.5145 | -0.20144 | 0.0095119 | -0.80016 | -5.0185 | -0.00951 | 1.0278 | 5.2468 | -23.5071 | 33.1877 | -146.9505 | 156.4929 | -146.8123 | 33.0495 | 1.1039 | 0.88743 | 0.70089 | 1.1038 | 0.9196 | 0.73097 | 1.051 | -139.5897 | 127.6369 | 1.0485 | -137.847 | 125.2482

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.071598 | 1.3201 | 1.3825 | 0.071598 | 1.3201 | 1.3825 | 0.82674 | 15.2438 | 15.9643 | 0.82674 | 15.2438 | 15.9643 | -0.90611 | 15.0577 | 0.99002 | 0.90878 | -14.1515 | 0.0039296 | 0.071765 | 2.9587 | 13.1075 | -0.06874 | -1.9304 | -11.9797 | -174.7256 | -144.6058 | 33.905 | 5.2744 | 35.3942 | -146.095 | 1.0994 | 1.0067 | 0.82339 | 1.1024 | 0.93694 | 0.75041 | 0.74599 | -133.4895 | 119.5857 | 0.94877 | -136.8379 | 123.9238
Line_1 | 0.036588 | 0.97046 | 1.0023 | 0.036588 | 0.97046 | 1.0023 | 0.42248 | 11.2059 | 11.5734 | 0.42248 | 11.2059 | 11.5734 | 0.46549 | -9.895 | 0.56547 | -0.46479 | 10.3847 | -0.043093 | -0.028849 | -0.99149 | -8.092 | 0.029639 | 1.5471 | 8.6847 | 4.5975 | 34.6883 | -146.3605 | -175.4025 | -145.3117 | 33.6395 | 1.1039 | 0.88743 | 0.70089 | 1.1024 | 0.93694 | 0.75041 | 1.051 | -139.5897 | 127.6369 | 0.94877 | -136.8379 | 123.9238
Line_2 | 0.035015 | 0.34997 | 0.3803 | 0.035015 | 0.34997 | 0.3803 | 0.40431 | 4.041 | 4.3913 | 0.40431 | 4.041 | 4.3913 | 0.44463 | -3.7031 | 0.036043 | -0.44399 | 3.7668 | 0.039163 | -0.038378 | -0.31102 | -3.2097 | 0.039101 | 0.38328 | 3.2951 | 5.9817 | 37.352 | -145.3952 | -174.0183 | -142.648 | 34.6048 | 1.1038 | 0.9196 | 0.73097 | 1.1024 | 0.93694 | 0.75041 | 1.0485 | -137.847 | 125.2482 | 0.94877 | -136.8379 | 123.9238
Line_3 | 0.0017955 | 0.62109 | 0.62207 | 0.0017955 | 0.62109 | 0.62207 | 0.020732 | 7.1717 | 7.1831 | 0.020732 | 7.1717 | 7.1831 | 0.020816 | -6.3139 | 0.40267 | -0.020814 | 6.5145 | -0.20144 | 0.0095119 | -0.80016 | -5.0185 | -0.00951 | 1.0278 | 5.2468 | -23.5071 | 33.1877 | -146.9505 | 156.4929 | -146.8123 | 33.0495 | 1.1039 | 0.88743 | 0.70089 | 1.1038 | 0.9196 | 0.73097 | 1.051 | -139.5897 | 127.6369 | 1.0485 | -137.847 | 125.2482

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7873 | 0.72969 | 0.5629 | 2.7867 | 0.73035 | 0.56354 | 32.1852 | 8.4258 | 6.4998 | 32.1782 | 8.4334 | 6.5072 | 16.9044 | -8.1259 | 5.2872 | -7.851 | 8.479 | -4.9951 | 15.2521 | 0.60565 | 4.5895 | -6.0763 | -2.074 | -5.7724 | -57.0303 | 73.2191 | 69.766 | 122.9768 | -106.7623 | -110.2059 | 0.70741 | 0.96709 | 1.0772 | 0.30852 | 1.0351 | 1.1731 | -14.9717 | -111.0434 | 110.725 | -19.285 | -120.5073 | 118.9235
Line_1 | 2.117 | 0.39714 | 0.31239 | 2.1185 | 0.39537 | 0.31064 | 24.4453 | 4.5858 | 3.6071 | 24.4619 | 4.5654 | 3.587 | 9.5063e-11 | 4.6288 | -2.6424 | 5.7335 | -4.6271 | 2.6317 | -1.1897e-10 | -1.6338 | -3.8412 | 4.9077 | 0.95905 | 3.2834 | 120.1819 | -108.745 | -112.2775 | -59.8477 | 71.2026 | 67.6357 | 0 | 1.0704 | 1.2925 | 0.30852 | 1.0351 | 1.1731 | 0 | -128.186 | 123.1977 | -19.285 | -120.5073 | 118.9235
Line_2 | 0.67778 | 0.33695 | 0.25479 | 0.6789 | 0.33552 | 0.25339 | 7.8263 | 3.8907 | 2.942 | 7.8392 | 3.8743 | 2.9259 | -1.7154 | 4.0587 | -2.2395 | 2.1175 | -3.8519 | 2.3634 | -0.46348 | -1.2426 | -2.5945 | 1.1686 | 1.115 | 2.489 | 131.9038 | -104.2973 | -107.4537 | -48.1778 | 75.636 | 72.4405 | 0.22704 | 1.091 | 1.165 | 0.30852 | 1.0351 | 1.1731 | -32.9764 | -121.3196 | 121.7472 | -19.285 | -120.5073 | 118.9235
Line_3 | 1.4591 | 0.067128 | 0.062871 | 1.4608 | 0.065583 | 0.061337 | 16.8486 | 0.77513 | 0.72597 | 16.8683 | 0.75728 | 0.70825 | 7.2948e-11 | 0.82843 | -0.24203 | 3.2379 | -0.81079 | 0.21752 | -7.5468e-11 | 0.045984 | -0.90659 | 2.0453 | -0.15866 | 0.7959 | 114.7812 | -131.363 | -131.8549 | -65.2559 | 47.6082 | 47.0326 | 0 | 1.0704 | 1.2925 | 0.22704 | 1.091 | 1.165 | 0 | -128.186 | 123.1977 | -32.9764 | -121.3196 | 121.7472

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7873 | 0.72969 | 0.5629 | 2.7867 | 0.73035 | 0.56354 | 32.1852 | 8.4258 | 6.4998 | 32.1782 | 8.4334 | 6.5072 | 16.9044 | -8.1259 | 5.2872 | -7.851 | 8.479 | -4.9951 | 15.2521 | 0.60565 | 4.5895 | -6.0763 | -2.074 | -5.7724 | -57.0303 | 73.2191 | 69.766 | 122.9768 | -106.7623 | -110.2059 | 0.70741 | 0.96709 | 1.0772 | 0.30852 | 1.0351 | 1.1731 | -14.9717 | -111.0434 | 110.725 | -19.285 | -120.5073 | 118.9235
Line_1 | 2.117 | 0.39714 | 0.31239 | 2.1185 | 0.39537 | 0.31064 | 24.4453 | 4.5858 | 3.6071 | 24.4619 | 4.5654 | 3.587 | 9.5063e-11 | 4.6288 | -2.6424 | 5.7335 | -4.6271 | 2.6317 | -1.1897e-10 | -1.6338 | -3.8412 | 4.9077 | 0.95905 | 3.2834 | 120.1819 | -108.745 | -112.2775 | -59.8477 | 71.2026 | 67.6357 | 0 | 1.0704 | 1.2925 | 0.30852 | 1.0351 | 1.1731 | 0 | -128.186 | 123.1977 | -19.285 | -120.5073 | 118.9235
Line_2 | 0.67778 | 0.33695 | 0.25479 | 0.6789 | 0.33552 | 0.25339 | 7.8263 | 3.8907 | 2.942 | 7.8392 | 3.8743 | 2.9259 | -1.7154 | 4.0587 | -2.2395 | 2.1175 | -3.8519 | 2.3634 | -0.46348 | -1.2426 | -2.5945 | 1.1686 | 1.115 | 2.489 | 131.9038 | -104.2973 | -107.4537 | -48.1778 | 75.636 | 72.4405 | 0.22704 | 1.091 | 1.165 | 0.30852 | 1.0351 | 1.1731 | -32.9764 | -121.3196 | 121.7472 | -19.285 | -120.5073 | 118.9235
Line_3 | 1.4591 | 0.067128 | 0.062871 | 1.4608 | 0.065583 | 0.061337 | 16.8486 | 0.77513 | 0.72597 | 16.8683 | 0.75728 | 0.70825 | 7.2948e-11 | 0.82843 | -0.24203 | 3.2379 | -0.81079 | 0.21752 | -7.5468e-11 | 0.045984 | -0.90659 | 2.0453 | -0.15866 | 0.7959 | 114.7812 | -131.363 | -131.8549 | -65.2559 | 47.6082 | 47.0326 | 0 | 1.0704 | 1.2925 | 0.22704 | 1.091 | 1.165 | 0 | -128.186 | 123.1977 | -32.9764 | -121.3196 | 121.7472

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80601 | 0.21101 | 0.16277 | 0.80583 | 0.2112 | 0.16296 | 9.307 | 2.4365 | 1.8795 | 9.305 | 2.4387 | 1.8817 | 7.5847 | -2.2524 | 1.7792 | -6.8269 | 2.283 | -1.7567 | 5.4435 | 1.2024 | 1.0721 | -4.6746 | -1.3268 | -1.1712 | -40.522 | 89.7274 | 86.2743 | 139.4852 | -90.254 | -93.6976 | 1.0031 | 1.0479 | 1.1052 | 0.88919 | 1.0828 | 1.122 | -4.8552 | -118.3676 | 117.3465 | -6.1142 | -120.417 | 119.9938
Line_1 | 0.61218 | 0.11484 | 0.090333 | 0.6126 | 0.11433 | 0.089829 | 7.0689 | 1.3261 | 1.0431 | 7.0737 | 1.3202 | 1.0373 | -4.5276 | 1.2641 | -0.94892 | 5.0084 | -1.2606 | 0.94334 | -3.39 | -0.73378 | -0.72943 | 3.805 | 0.6739 | 0.68161 | 136.6903 | -92.2366 | -95.7692 | -43.3394 | 87.7109 | 84.1441 | 0.80015 | 1.1022 | 1.1475 | 0.88919 | 1.0828 | 1.122 | -6.4861 | -122.3702 | 121.7801 | -6.1142 | -120.417 | 119.9938
Line_2 | 0.19599 | 0.097435 | 0.073677 | 0.19632 | 0.097023 | 0.073272 | 2.2631 | 1.1251 | 0.85075 | 2.2669 | 1.1203 | 0.84607 | -1.7833 | 1.042 | -0.8069 | 1.8185 | -1.0224 | 0.81333 | -0.80696 | -0.66673 | -0.4988 | 0.86953 | 0.65287 | 0.48957 | 148.4122 | -87.789 | -90.9453 | -31.6695 | 92.1444 | 88.9488 | 0.86488 | 1.0995 | 1.115 | 0.88919 | 1.0828 | 1.122 | -7.24 | -120.4029 | 120.778 | -6.1142 | -120.417 | 119.9938
Line_3 | 0.42194 | 0.019412 | 0.01818 | 0.42243 | 0.018965 | 0.017737 | 4.8721 | 0.22414 | 0.20993 | 4.8778 | 0.21898 | 0.20481 | -2.8868 | 0.24494 | -0.13075 | 3.1593 | -0.24003 | 0.12358 | -2.6199 | -0.032314 | -0.20231 | 2.7958 | 0.018972 | 0.19204 | 131.2895 | -114.8547 | -115.3466 | -48.7476 | 64.1165 | 63.5409 | 0.80015 | 1.1022 | 1.1475 | 0.86488 | 1.0995 | 1.115 | -6.4861 | -122.3702 | 121.7801 | -7.24 | -120.4029 | 120.778

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80601 | 0.21101 | 0.16277 | 0.80583 | 0.2112 | 0.16296 | 9.307 | 2.4365 | 1.8795 | 9.305 | 2.4387 | 1.8817 | 7.5847 | -2.2524 | 1.7792 | -6.8269 | 2.283 | -1.7567 | 5.4435 | 1.2024 | 1.0721 | -4.6746 | -1.3268 | -1.1712 | -40.522 | 89.7274 | 86.2743 | 139.4852 | -90.254 | -93.6976 | 1.0031 | 1.0479 | 1.1052 | 0.88919 | 1.0828 | 1.122 | -4.8552 | -118.3676 | 117.3465 | -6.1142 | -120.417 | 119.9938
Line_1 | 0.61218 | 0.11484 | 0.090333 | 0.6126 | 0.11433 | 0.089829 | 7.0689 | 1.3261 | 1.0431 | 7.0737 | 1.3202 | 1.0373 | -4.5276 | 1.2641 | -0.94892 | 5.0084 | -1.2606 | 0.94334 | -3.39 | -0.73378 | -0.72943 | 3.805 | 0.6739 | 0.68161 | 136.6903 | -92.2366 | -95.7692 | -43.3394 | 87.7109 | 84.1441 | 0.80015 | 1.1022 | 1.1475 | 0.88919 | 1.0828 | 1.122 | -6.4861 | -122.3702 | 121.7801 | -6.1142 | -120.417 | 119.9938
Line_2 | 0.19599 | 0.097435 | 0.073677 | 0.19632 | 0.097023 | 0.073272 | 2.2631 | 1.1251 | 0.85075 | 2.2669 | 1.1203 | 0.84607 | -1.7833 | 1.042 | -0.8069 | 1.8185 | -1.0224 | 0.81333 | -0.80696 | -0.66673 | -0.4988 | 0.86953 | 0.65287 | 0.48957 | 148.4122 | -87.789 | -90.9453 | -31.6695 | 92.1444 | 88.9488 | 0.86488 | 1.0995 | 1.115 | 0.88919 | 1.0828 | 1.122 | -7.24 | -120.4029 | 120.778 | -6.1142 | -120.417 | 119.9938
Line_3 | 0.42194 | 0.019412 | 0.01818 | 0.42243 | 0.018965 | 0.017737 | 4.8721 | 0.22414 | 0.20993 | 4.8778 | 0.21898 | 0.20481 | -2.8868 | 0.24494 | -0.13075 | 3.1593 | -0.24003 | 0.12358 | -2.6199 | -0.032314 | -0.20231 | 2.7958 | 0.018972 | 0.19204 | 131.2895 | -114.8547 | -115.3466 | -48.7476 | 64.1165 | 63.5409 | 0.80015 | 1.1022 | 1.1475 | 0.86488 | 1.0995 | 1.115 | -6.4861 | -122.3702 | 121.7801 | -7.24 | -120.4029 | 120.778

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.887 | 0.72553 | 0.57758 | 1.8865 | 0.72614 | 0.57819 | 21.7893 | 8.3777 | 6.6693 | 21.783 | 8.3848 | 6.6764 | 12.7698 | -6.5968 | 6.3979 | -6.4114 | 7.0872 | -6.1513 | 9.1176 | 3.1152 | 1.9496 | -3.5569 | -4.5201 | -3.1151 | -49.7811 | 92.5557 | 94.5449 | 130.2278 | -87.4364 | -85.4473 | 0.72011 | 0.8708 | 1.0029 | 0.33659 | 1.0025 | 1.0328 | -14.2544 | -112.7221 | 111.4918 | -20.7518 | -119.9655 | 121.4112
Line_1 | 1.5075 | 0.40436 | 0.32774 | 1.5089 | 0.40265 | 0.32603 | 17.407 | 4.6691 | 3.7845 | 17.4231 | 4.6494 | 3.7647 | -4.0043e-11 | 4.055 | -3.3992 | 4.9448 | -4.127 | 3.2727 | 8.7751e-12 | -2.9081 | -2.7133 | 3.1529 | 2.1665 | 2.099 | 126.7641 | -92.2535 | -91.2515 | -53.274 | 87.7327 | 88.7367 | 0 | 1.0687 | 1.1493 | 0.33659 | 1.0025 | 1.0328 | 0 | -127.8998 | 127.3453 | -20.7518 | -119.9655 | 121.4112
Line_2 | 0.39035 | 0.328 | 0.2573 | 0.3914 | 0.32669 | 0.25598 | 4.5074 | 3.7874 | 2.971 | 4.5195 | 3.7723 | 2.9558 | -1.3806 | 3.309 | -2.6538 | 1.4666 | -2.9602 | 2.8785 | 0.007521 | -2.447 | -1.1062 | 0.404 | 2.3535 | 1.0161 | 143.9649 | -81.4471 | -78.009 | -36.1531 | 98.5214 | 101.9683 | 0.3063 | 1.0866 | 0.96772 | 0.33659 | 1.0025 | 1.0328 | -36.3472 | -117.9296 | 124.6198 | -20.7518 | -119.9655 | 121.4112
Line_3 | 1.1397 | 0.10298 | 0.097548 | 1.1414 | 0.10174 | 0.096292 | 13.1605 | 1.1891 | 1.1264 | 13.1796 | 1.1748 | 1.1119 | -3.079e-11 | 1.2707 | -0.32306 | 3.7234 | -1.2509 | 0.30404 | 3.5387e-12 | 0.017853 | -1.2535 | 1.5598 | -0.25459 | 1.0321 | 120.9598 | -128.7047 | -128.2032 | -59.0766 | 50.5664 | 51.0333 | 0 | 1.0687 | 1.1493 | 0.3063 | 1.0866 | 0.96772 | 0 | -127.8998 | 127.3453 | -36.3472 | -117.9296 | 124.6198

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.887 | 0.72553 | 0.57758 | 1.8865 | 0.72614 | 0.57819 | 21.7893 | 8.3777 | 6.6693 | 21.783 | 8.3848 | 6.6764 | 12.7698 | -6.5968 | 6.3979 | -6.4114 | 7.0872 | -6.1513 | 9.1176 | 3.1152 | 1.9496 | -3.5569 | -4.5201 | -3.1151 | -49.7811 | 92.5557 | 94.5449 | 130.2278 | -87.4364 | -85.4473 | 0.72011 | 0.8708 | 1.0029 | 0.33659 | 1.0025 | 1.0328 | -14.2544 | -112.7221 | 111.4918 | -20.7518 | -119.9655 | 121.4112
Line_1 | 1.5075 | 0.40436 | 0.32774 | 1.5089 | 0.40265 | 0.32603 | 17.407 | 4.6691 | 3.7845 | 17.4231 | 4.6494 | 3.7647 | -4.0043e-11 | 4.055 | -3.3992 | 4.9448 | -4.127 | 3.2727 | 8.7751e-12 | -2.9081 | -2.7133 | 3.1529 | 2.1665 | 2.099 | 126.7641 | -92.2535 | -91.2515 | -53.274 | 87.7327 | 88.7367 | 0 | 1.0687 | 1.1493 | 0.33659 | 1.0025 | 1.0328 | 0 | -127.8998 | 127.3453 | -20.7518 | -119.9655 | 121.4112
Line_2 | 0.39035 | 0.328 | 0.2573 | 0.3914 | 0.32669 | 0.25598 | 4.5074 | 3.7874 | 2.971 | 4.5195 | 3.7723 | 2.9558 | -1.3806 | 3.309 | -2.6538 | 1.4666 | -2.9602 | 2.8785 | 0.007521 | -2.447 | -1.1062 | 0.404 | 2.3535 | 1.0161 | 143.9649 | -81.4471 | -78.009 | -36.1531 | 98.5214 | 101.9683 | 0.3063 | 1.0866 | 0.96772 | 0.33659 | 1.0025 | 1.0328 | -36.3472 | -117.9296 | 124.6198 | -20.7518 | -119.9655 | 121.4112
Line_3 | 1.1397 | 0.10298 | 0.097548 | 1.1414 | 0.10174 | 0.096292 | 13.1605 | 1.1891 | 1.1264 | 13.1796 | 1.1748 | 1.1119 | -3.079e-11 | 1.2707 | -0.32306 | 3.7234 | -1.2509 | 0.30404 | 3.5387e-12 | 0.017853 | -1.2535 | 1.5598 | -0.25459 | 1.0321 | 120.9598 | -128.7047 | -128.2032 | -59.0766 | 50.5664 | 51.0333 | 0 | 1.0687 | 1.1493 | 0.3063 | 1.0866 | 0.96772 | 0 | -127.8998 | 127.3453 | -36.3472 | -117.9296 | 124.6198

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59706 | 0.22957 | 0.18275 | 0.59689 | 0.22976 | 0.18294 | 6.8943 | 2.6508 | 2.1102 | 6.8923 | 2.653 | 2.1125 | 5.4341 | -1.79 | 2.1028 | -4.7967 | 1.8398 | -2.0797 | 3.3179 | 1.7721 | 0.34201 | -2.7598 | -1.9141 | -0.45865 | -36.1889 | 106.1478 | 108.137 | 143.8199 | -73.8443 | -71.8552 | 0.9235 | 0.9502 | 1.0096 | 0.80292 | 1.0007 | 1.0081 | -4.7823 | -118.5648 | 117.3748 | -6.2659 | -119.9786 | 120.5817
Line_1 | 0.47698 | 0.12794 | 0.1037 | 0.47742 | 0.1274 | 0.10316 | 5.5077 | 1.4774 | 1.1974 | 5.5128 | 1.4711 | 1.1912 | -3.1981 | 1.1015 | -1.1574 | 3.6946 | -1.1059 | 1.1405 | -2.1179 | -1.0493 | -0.43833 | 2.4376 | 0.9717 | 0.37613 | 140.3562 | -78.6614 | -77.6594 | -39.6819 | 101.3248 | 102.3288 | 0.69643 | 1.0297 | 1.0336 | 0.80292 | 1.0007 | 1.0081 | -6.1292 | -122.2718 | 123.0829 | -6.2659 | -119.9786 | 120.5817
Line_2 | 0.12351 | 0.10378 | 0.081411 | 0.12384 | 0.10337 | 0.080994 | 1.4262 | 1.1984 | 0.94005 | 1.43 | 1.1936 | 0.93524 | -1.0915 | 0.77015 | -0.92007 | 1.1021 | -0.73387 | 0.93923 | -0.27825 | -0.95485 | -0.091186 | 0.32216 | 0.94243 | 0.082523 | 157.557 | -67.8549 | -64.4169 | -22.561 | 112.1135 | 115.5604 | 0.78979 | 1.0237 | 0.98354 | 0.80292 | 1.0007 | 1.0081 | -8.1413 | -118.9666 | 121.2431 | -6.2659 | -119.9786 | 120.5817
Line_3 | 0.36062 | 0.032585 | 0.030865 | 0.36114 | 0.032191 | 0.030468 | 4.1641 | 0.37626 | 0.3564 | 4.1701 | 0.37171 | 0.35181 | -2.2435 | 0.38443 | -0.19687 | 2.6184 | -0.37994 | 0.19039 | -1.8376 | -0.048286 | -0.31134 | 1.9978 | 0.020744 | 0.28893 | 134.5519 | -115.1126 | -114.6111 | -45.4845 | 64.1585 | 64.6254 | 0.69643 | 1.0297 | 1.0336 | 0.78979 | 1.0237 | 0.98354 | -6.1292 | -122.2718 | 123.0829 | -8.1413 | -118.9666 | 121.2431

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59706 | 0.22957 | 0.18275 | 0.59689 | 0.22976 | 0.18294 | 6.8943 | 2.6508 | 2.1102 | 6.8923 | 2.653 | 2.1125 | 5.4341 | -1.79 | 2.1028 | -4.7967 | 1.8398 | -2.0797 | 3.3179 | 1.7721 | 0.34201 | -2.7598 | -1.9141 | -0.45865 | -36.1889 | 106.1478 | 108.137 | 143.8199 | -73.8443 | -71.8552 | 0.9235 | 0.9502 | 1.0096 | 0.80292 | 1.0007 | 1.0081 | -4.7823 | -118.5648 | 117.3748 | -6.2659 | -119.9786 | 120.5817
Line_1 | 0.47698 | 0.12794 | 0.1037 | 0.47742 | 0.1274 | 0.10316 | 5.5077 | 1.4774 | 1.1974 | 5.5128 | 1.4711 | 1.1912 | -3.1981 | 1.1015 | -1.1574 | 3.6946 | -1.1059 | 1.1405 | -2.1179 | -1.0493 | -0.43833 | 2.4376 | 0.9717 | 0.37613 | 140.3562 | -78.6614 | -77.6594 | -39.6819 | 101.3248 | 102.3288 | 0.69643 | 1.0297 | 1.0336 | 0.80292 | 1.0007 | 1.0081 | -6.1292 | -122.2718 | 123.0829 | -6.2659 | -119.9786 | 120.5817
Line_2 | 0.12351 | 0.10378 | 0.081411 | 0.12384 | 0.10337 | 0.080994 | 1.4262 | 1.1984 | 0.94005 | 1.43 | 1.1936 | 0.93524 | -1.0915 | 0.77015 | -0.92007 | 1.1021 | -0.73387 | 0.93923 | -0.27825 | -0.95485 | -0.091186 | 0.32216 | 0.94243 | 0.082523 | 157.557 | -67.8549 | -64.4169 | -22.561 | 112.1135 | 115.5604 | 0.78979 | 1.0237 | 0.98354 | 0.80292 | 1.0007 | 1.0081 | -8.1413 | -118.9666 | 121.2431 | -6.2659 | -119.9786 | 120.5817
Line_3 | 0.36062 | 0.032585 | 0.030865 | 0.36114 | 0.032191 | 0.030468 | 4.1641 | 0.37626 | 0.3564 | 4.1701 | 0.37171 | 0.35181 | -2.2435 | 0.38443 | -0.19687 | 2.6184 | -0.37994 | 0.19039 | -1.8376 | -0.048286 | -0.31134 | 1.9978 | 0.020744 | 0.28893 | 134.5519 | -115.1126 | -114.6111 | -45.4845 | 64.1585 | 64.6254 | 0.69643 | 1.0297 | 1.0336 | 0.78979 | 1.0237 | 0.98354 | -6.1292 | -122.2718 | 123.0829 | -8.1413 | -118.9666 | 121.2431

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.60498 | 3.8304 | 2.7295 | 0.60548 | 3.8304 | 2.7293 | 6.9857 | 44.2302 | 31.5177 | 6.9915 | 44.2294 | 31.5147 | -2.7414 | 27.9617 | -0.65358 | 3.3839 | -12.0264 | 0.046 | 6.0351 | 10.5813 | 15.6859 | -7.0832 | -3.5071 | -7.2637 | -116.6719 | -176.0065 | 35.1161 | 63.3646 | 4.0029 | -144.896 | 0.94887 | 0.67594 | 0.49812 | 1.1228 | 0.28324 | 0.23049 | -2.2419 | -155.2788 | 127.5021 | -1.1 | -159.7396 | 125.4669
Line_1 | 0.33244 | 2.7975 | 2.0565 | 0.331 | 2.7975 | 2.0575 | 3.8387 | 32.3031 | 23.7465 | 3.8221 | 32.3028 | 23.7579 | 2.0672 | 9.3313e-11 | 8.5153e-11 | -1.9193 | 8.6586 | 0.19276 | -4.3675 | -7.9581e-11 | -2.5693e-11 | 3.8383 | 2.956 | 5.4726 | 62.4663 | 1.4444 | -142.5522 | -117.667 | -178.5891 | 37.4842 | 1.2587 | 0 | 0 | 1.1228 | 0.28324 | 0.23049 | -2.2044 | 0 | 0 | -1.1 | -159.7396 | 125.4669
Line_2 | 0.2757 | 1.0435 | 0.6785 | 0.2746 | 1.0434 | 0.67894 | 3.1836 | 12.0491 | 7.8346 | 3.1708 | 12.0485 | 7.8397 | 1.6382 | -2.1946 | 0.065892 | -1.4646 | 3.3678 | -0.23876 | -3.3158 | 0.29302 | -1.5271 | 3.2449 | 0.55109 | 1.7911 | 64.7642 | 11.0405 | -152.2328 | -115.3919 | -169.0329 | 27.874 | 1.1617 | 0.18376 | 0.1951 | 1.1228 | 0.28324 | 0.23049 | 1.0566 | -176.5645 | 120.2379 | -1.1 | -159.7396 | 125.4669
Line_3 | 0.058503 | 1.777 | 1.392 | 0.057191 | 1.7772 | 1.3931 | 0.67553 | 20.5188 | 16.0732 | 0.66038 | 20.5215 | 16.0859 | 0.49688 | 6.3918e-11 | 5.6028e-11 | -0.49506 | 3.7375 | 0.64931 | -0.69005 | -4.4531e-11 | -2.2029e-11 | 0.58605 | 0.50145 | 3.0704 | 52.0393 | -4.1498 | -137.8782 | -129.1326 | 175.7938 | 42.1786 | 1.2587 | 0 | 0 | 1.1617 | 0.18376 | 0.1951 | -2.2044 | 0 | 0 | 1.0566 | -176.5645 | 120.2379

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.60498 | 3.8304 | 2.7295 | 0.60548 | 3.8304 | 2.7293 | 6.9857 | 44.2302 | 31.5177 | 6.9915 | 44.2294 | 31.5147 | -2.7414 | 27.9617 | -0.65358 | 3.3839 | -12.0264 | 0.046 | 6.0351 | 10.5813 | 15.6859 | -7.0832 | -3.5071 | -7.2637 | -116.6719 | -176.0065 | 35.1161 | 63.3646 | 4.0029 | -144.896 | 0.94887 | 0.67594 | 0.49812 | 1.1228 | 0.28324 | 0.23049 | -2.2419 | -155.2788 | 127.5021 | -1.1 | -159.7396 | 125.4669
Line_1 | 0.33244 | 2.7975 | 2.0565 | 0.331 | 2.7975 | 2.0575 | 3.8387 | 32.3031 | 23.7465 | 3.8221 | 32.3028 | 23.7579 | 2.0672 | 9.3313e-11 | 8.5153e-11 | -1.9193 | 8.6586 | 0.19276 | -4.3675 | -7.9581e-11 | -2.5693e-11 | 3.8383 | 2.956 | 5.4726 | 62.4663 | 1.4444 | -142.5522 | -117.667 | -178.5891 | 37.4842 | 1.2587 | 0 | 0 | 1.1228 | 0.28324 | 0.23049 | -2.2044 | 0 | 0 | -1.1 | -159.7396 | 125.4669
Line_2 | 0.2757 | 1.0435 | 0.6785 | 0.2746 | 1.0434 | 0.67894 | 3.1836 | 12.0491 | 7.8346 | 3.1708 | 12.0485 | 7.8397 | 1.6382 | -2.1946 | 0.065892 | -1.4646 | 3.3678 | -0.23876 | -3.3158 | 0.29302 | -1.5271 | 3.2449 | 0.55109 | 1.7911 | 64.7642 | 11.0405 | -152.2328 | -115.3919 | -169.0329 | 27.874 | 1.1617 | 0.18376 | 0.1951 | 1.1228 | 0.28324 | 0.23049 | 1.0566 | -176.5645 | 120.2379 | -1.1 | -159.7396 | 125.4669
Line_3 | 0.058503 | 1.777 | 1.392 | 0.057191 | 1.7772 | 1.3931 | 0.67553 | 20.5188 | 16.0732 | 0.66038 | 20.5215 | 16.0859 | 0.49688 | 6.3918e-11 | 5.6028e-11 | -0.49506 | 3.7375 | 0.64931 | -0.69005 | -4.4531e-11 | -2.2029e-11 | 0.58605 | 0.50145 | 3.0704 | 52.0393 | -4.1498 | -137.8782 | -129.1326 | 175.7938 | 42.1786 | 1.2587 | 0 | 0 | 1.1617 | 0.18376 | 0.1951 | -2.2044 | 0 | 0 | 1.0566 | -176.5645 | 120.2379

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19231 | 1.0051 | 0.77899 | 0.19247 | 1.0051 | 0.77886 | 2.2206 | 11.6063 | 8.995 | 2.2225 | 11.6063 | 8.9935 | -0.49125 | 10.1225 | 4.7727 | 0.5476 | -8.9507 | -4.7388 | 2.2899 | 5.9052 | 6.9932 | -2.3948 | -5.5159 | -6.1907 | -103.2549 | -158.4113 | 61.194 | 76.7779 | 21.5998 | -118.817 | 1.0547 | 1.0097 | 0.94126 | 1.1054 | 0.90587 | 0.86687 | -1.1467 | -128.1532 | 116.8815 | -0.3424 | -126.7565 | 113.7502
Line_1 | 0.10539 | 0.72998 | 0.5951 | 0.10494 | 0.72992 | 0.5955 | 1.2169 | 8.4291 | 6.8716 | 1.2117 | 8.4284 | 6.8762 | 0.33658 | -5.6705 | -3.6872 | -0.32585 | 6.2929 | 3.7723 | -1.3549 | -4.1811 | -4.1042 | 1.2992 | 4.3235 | 4.6153 | 75.6948 | 18.7919 | -117.0189 | -104.4226 | -161.2471 | 63.0108 | 1.1472 | 0.83582 | 0.80289 | 1.1054 | 0.90587 | 0.86687 | -0.35458 | -124.8052 | 111.0446 | -0.3424 | -126.7565 | 113.7502
Line_2 | 0.087935 | 0.27856 | 0.18441 | 0.087584 | 0.27849 | 0.18465 | 1.0154 | 3.2165 | 2.1294 | 1.0113 | 3.2157 | 2.1322 | 0.23688 | -2.5684 | -0.9781 | -0.22175 | 2.6578 | 0.96653 | -1.1064 | -1.1337 | -1.5458 | 1.0957 | 1.1925 | 1.5755 | 78.3543 | 29.1627 | -124.8242 | -101.7837 | -150.9205 | 55.2789 | 1.1143 | 0.87282 | 0.85904 | 1.1054 | 0.90587 | 0.86687 | 0.43903 | -127.0213 | 112.8517 | -0.3424 | -126.7565 | 113.7502
Line_3 | 0.018167 | 0.45868 | 0.413 | 0.017761 | 0.4587 | 0.41343 | 0.20977 | 5.2964 | 4.7689 | 0.20508 | 5.2966 | 4.7739 | 0.10736 | -3.256 | -2.7258 | -0.1088 | 3.5152 | 2.8295 | -0.21538 | -2.9993 | -2.689 | 0.20096 | 3.0025 | 2.9684 | 63.1511 | 12.544 | -113.5662 | -117.9927 | -167.5236 | 66.4796 | 1.1472 | 0.83582 | 0.80289 | 1.1143 | 0.87282 | 0.85904 | -0.35458 | -124.8052 | 111.0446 | 0.43903 | -127.0213 | 112.8517

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19231 | 1.0051 | 0.77899 | 0.19247 | 1.0051 | 0.77886 | 2.2206 | 11.6063 | 8.995 | 2.2225 | 11.6063 | 8.9935 | -0.49125 | 10.1225 | 4.7727 | 0.5476 | -8.9507 | -4.7388 | 2.2899 | 5.9052 | 6.9932 | -2.3948 | -5.5159 | -6.1907 | -103.2549 | -158.4113 | 61.194 | 76.7779 | 21.5998 | -118.817 | 1.0547 | 1.0097 | 0.94126 | 1.1054 | 0.90587 | 0.86687 | -1.1467 | -128.1532 | 116.8815 | -0.3424 | -126.7565 | 113.7502
Line_1 | 0.10539 | 0.72998 | 0.5951 | 0.10494 | 0.72992 | 0.5955 | 1.2169 | 8.4291 | 6.8716 | 1.2117 | 8.4284 | 6.8762 | 0.33658 | -5.6705 | -3.6872 | -0.32585 | 6.2929 | 3.7723 | -1.3549 | -4.1811 | -4.1042 | 1.2992 | 4.3235 | 4.6153 | 75.6948 | 18.7919 | -117.0189 | -104.4226 | -161.2471 | 63.0108 | 1.1472 | 0.83582 | 0.80289 | 1.1054 | 0.90587 | 0.86687 | -0.35458 | -124.8052 | 111.0446 | -0.3424 | -126.7565 | 113.7502
Line_2 | 0.087935 | 0.27856 | 0.18441 | 0.087584 | 0.27849 | 0.18465 | 1.0154 | 3.2165 | 2.1294 | 1.0113 | 3.2157 | 2.1322 | 0.23688 | -2.5684 | -0.9781 | -0.22175 | 2.6578 | 0.96653 | -1.1064 | -1.1337 | -1.5458 | 1.0957 | 1.1925 | 1.5755 | 78.3543 | 29.1627 | -124.8242 | -101.7837 | -150.9205 | 55.2789 | 1.1143 | 0.87282 | 0.85904 | 1.1054 | 0.90587 | 0.86687 | 0.43903 | -127.0213 | 112.8517 | -0.3424 | -126.7565 | 113.7502
Line_3 | 0.018167 | 0.45868 | 0.413 | 0.017761 | 0.4587 | 0.41343 | 0.20977 | 5.2964 | 4.7689 | 0.20508 | 5.2966 | 4.7739 | 0.10736 | -3.256 | -2.7258 | -0.1088 | 3.5152 | 2.8295 | -0.21538 | -2.9993 | -2.689 | 0.20096 | 3.0025 | 2.9684 | 63.1511 | 12.544 | -113.5662 | -117.9927 | -167.5236 | 66.4796 | 1.1472 | 0.83582 | 0.80289 | 1.1143 | 0.87282 | 0.85904 | -0.35458 | -124.8052 | 111.0446 | 0.43903 | -127.0213 | 112.8517

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55129 | 2.865 | 2.3515 | 0.55178 | 2.865 | 2.3513 | 6.3658 | 33.0821 | 27.153 | 6.3714 | 33.0824 | 27.1504 | -0.63322 | 24.7632 | 3.1412 | 1.2078 | -10.8308 | -1.5822 | 5.5734 | 3.609 | 12.3012 | -6.503 | -0.15332 | -6.2511 | -98.6344 | -161.1319 | 40.3762 | 81.3888 | 18.8788 | -139.6357 | 0.88116 | 0.75645 | 0.46757 | 1.0381 | 0.32742 | 0.2375 | -2.1525 | -152.84 | 116.0515 | 1.9106 | -160.3102 | 116.1605
Line_1 | 0.31509 | 2.1444 | 1.7773 | 0.31367 | 2.1442 | 1.7782 | 3.6384 | 24.7619 | 20.5228 | 3.6219 | 24.7591 | 20.5333 | 1.0068 | -7.4694e-11 | -3.085e-11 | -0.9365 | 8.0734 | 1.385 | -4.1893 | -5.2542e-11 | -6.9706e-11 | 3.6414 | 0.73367 | 4.6759 | 77.5701 | 14.5368 | -137.3785 | -102.5121 | -165.5027 | 42.6598 | 1.1842 | 0 | 0 | 1.0381 | 0.32742 | 0.2375 | 1.0836 | 0 | 0 | 1.9106 | -160.3102 | 116.1605
Line_2 | 0.24085 | 0.74554 | 0.57863 | 0.23979 | 0.74531 | 0.57889 | 2.7811 | 8.6087 | 6.6814 | 2.7689 | 8.6061 | 6.6844 | 0.49299 | -1.779 | -0.19529 | -0.27132 | 2.7574 | 0.19722 | -2.8896 | 1.2514 | -1.6315 | 2.8616 | -0.58035 | 1.5753 | 86.6057 | 31.6624 | -146.8146 | -93.5057 | -148.4246 | 33.2968 | 1.054 | 0.25266 | 0.24593 | 1.0381 | 0.32742 | 0.2375 | 6.2877 | 176.5384 | 116.3596 | 1.9106 | -160.3102 | 116.1605
Line_3 | 0.086264 | 1.4485 | 1.21 | 0.085249 | 1.4486 | 1.211 | 0.99609 | 16.7254 | 13.9722 | 0.98438 | 16.7272 | 13.9829 | 0.74586 | -4.4509e-11 | -2.4636e-11 | -0.73659 | 4.1714 | 1.2205 | -0.91382 | -4.2707e-11 | -4.5676e-11 | 0.73073 | -0.67888 | 3.2149 | 51.8621 | 5.844 | -132.911 | -128.9412 | -174.2179 | 47.1494 | 1.1842 | 0 | 0 | 1.054 | 0.25266 | 0.24593 | 1.0836 | 0 | 0 | 6.2877 | 176.5384 | 116.3596

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55129 | 2.865 | 2.3515 | 0.55178 | 2.865 | 2.3513 | 6.3658 | 33.0821 | 27.153 | 6.3714 | 33.0824 | 27.1504 | -0.63322 | 24.7632 | 3.1412 | 1.2078 | -10.8308 | -1.5822 | 5.5734 | 3.609 | 12.3012 | -6.503 | -0.15332 | -6.2511 | -98.6344 | -161.1319 | 40.3762 | 81.3888 | 18.8788 | -139.6357 | 0.88116 | 0.75645 | 0.46757 | 1.0381 | 0.32742 | 0.2375 | -2.1525 | -152.84 | 116.0515 | 1.9106 | -160.3102 | 116.1605
Line_1 | 0.31509 | 2.1444 | 1.7773 | 0.31367 | 2.1442 | 1.7782 | 3.6384 | 24.7619 | 20.5228 | 3.6219 | 24.7591 | 20.5333 | 1.0068 | -7.4694e-11 | -3.085e-11 | -0.9365 | 8.0734 | 1.385 | -4.1893 | -5.2542e-11 | -6.9706e-11 | 3.6414 | 0.73367 | 4.6759 | 77.5701 | 14.5368 | -137.3785 | -102.5121 | -165.5027 | 42.6598 | 1.1842 | 0 | 0 | 1.0381 | 0.32742 | 0.2375 | 1.0836 | 0 | 0 | 1.9106 | -160.3102 | 116.1605
Line_2 | 0.24085 | 0.74554 | 0.57863 | 0.23979 | 0.74531 | 0.57889 | 2.7811 | 8.6087 | 6.6814 | 2.7689 | 8.6061 | 6.6844 | 0.49299 | -1.779 | -0.19529 | -0.27132 | 2.7574 | 0.19722 | -2.8896 | 1.2514 | -1.6315 | 2.8616 | -0.58035 | 1.5753 | 86.6057 | 31.6624 | -146.8146 | -93.5057 | -148.4246 | 33.2968 | 1.054 | 0.25266 | 0.24593 | 1.0381 | 0.32742 | 0.2375 | 6.2877 | 176.5384 | 116.3596 | 1.9106 | -160.3102 | 116.1605
Line_3 | 0.086264 | 1.4485 | 1.21 | 0.085249 | 1.4486 | 1.211 | 0.99609 | 16.7254 | 13.9722 | 0.98438 | 16.7272 | 13.9829 | 0.74586 | -4.4509e-11 | -2.4636e-11 | -0.73659 | 4.1714 | 1.2205 | -0.91382 | -4.2707e-11 | -4.5676e-11 | 0.73073 | -0.67888 | 3.2149 | 51.8621 | 5.844 | -132.911 | -128.9412 | -174.2179 | 47.1494 | 1.1842 | 0 | 0 | 1.054 | 0.25266 | 0.24593 | 1.0836 | 0 | 0 | 6.2877 | 176.5384 | 116.3596

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19398 | 0.79998 | 0.65213 | 0.19416 | 0.8 | 0.65203 | 2.2399 | 9.2374 | 7.5301 | 2.2419 | 9.2376 | 7.5289 | 0.22813 | 8.1122 | 3.6137 | -0.16624 | -6.9285 | -3.5158 | 2.1402 | 3.0465 | 5.402 | -2.2552 | -2.8227 | -4.8257 | -85.1559 | -148.6888 | 60.1665 | 94.8639 | 31.3244 | -119.8469 | 0.96089 | 0.93807 | 0.8631 | 1.0086 | 0.80988 | 0.79302 | -1.2401 | -128.1055 | 116.386 | 0.64796 | -126.5096 | 114.0774
Line_1 | 0.11037 | 0.59801 | 0.50204 | 0.10987 | 0.59791 | 0.50243 | 1.2744 | 6.9053 | 5.7971 | 1.2687 | 6.9041 | 5.8015 | 0.0023596 | -4.2931 | -2.747 | 0.0011849 | 4.9757 | 2.8812 | -1.3489 | -2.5365 | -3.1383 | 1.2796 | 2.551 | 3.5868 | 90.7681 | 26.395 | -117.1883 | -89.299 | -153.6535 | 62.8513 | 1.0584 | 0.72212 | 0.71945 | 1.0086 | 0.80988 | 0.79302 | 0.86829 | -123.0291 | 111.6162 | 0.64796 | -126.5096 | 114.0774
Line_2 | 0.085324 | 0.21093 | 0.15187 | 0.084951 | 0.21083 | 0.15201 | 0.98523 | 2.4356 | 1.7536 | 0.98093 | 2.4344 | 1.7553 | -0.14001 | -1.8665 | -0.64108 | 0.16506 | 1.9528 | 0.63462 | -0.9825 | -0.21185 | -1.2443 | 0.97554 | 0.27166 | 1.2389 | 100.3439 | 45.6747 | -128.9386 | -79.7489 | -134.4295 | 51.2017 | 1.0073 | 0.77124 | 0.79821 | 1.0086 | 0.80988 | 0.79302 | 2.2336 | -127.8497 | 113.8039 | 0.64796 | -126.5096 | 114.0774
Line_3 | 0.029921 | 0.40487 | 0.3546 | 0.029567 | 0.40492 | 0.35499 | 0.3455 | 4.675 | 4.0945 | 0.34141 | 4.6756 | 4.0991 | 0.17245 | -2.569 | -2.125 | -0.17346 | 2.9282 | 2.2745 | -0.32248 | -2.1903 | -2.0402 | 0.29695 | 2.1046 | 2.352 | 62.7323 | 16.5207 | -112.2167 | -118.0562 | -163.5556 | 67.8436 | 1.0584 | 0.72212 | 0.71945 | 1.0073 | 0.77124 | 0.79821 | 0.86829 | -123.0291 | 111.6162 | 2.2336 | -127.8497 | 113.8039

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19398 | 0.79998 | 0.65213 | 0.19416 | 0.8 | 0.65203 | 2.2399 | 9.2374 | 7.5301 | 2.2419 | 9.2376 | 7.5289 | 0.22813 | 8.1122 | 3.6137 | -0.16624 | -6.9285 | -3.5158 | 2.1402 | 3.0465 | 5.402 | -2.2552 | -2.8227 | -4.8257 | -85.1559 | -148.6888 | 60.1665 | 94.8639 | 31.3244 | -119.8469 | 0.96089 | 0.93807 | 0.8631 | 1.0086 | 0.80988 | 0.79302 | -1.2401 | -128.1055 | 116.386 | 0.64796 | -126.5096 | 114.0774
Line_1 | 0.11037 | 0.59801 | 0.50204 | 0.10987 | 0.59791 | 0.50243 | 1.2744 | 6.9053 | 5.7971 | 1.2687 | 6.9041 | 5.8015 | 0.0023596 | -4.2931 | -2.747 | 0.0011849 | 4.9757 | 2.8812 | -1.3489 | -2.5365 | -3.1383 | 1.2796 | 2.551 | 3.5868 | 90.7681 | 26.395 | -117.1883 | -89.299 | -153.6535 | 62.8513 | 1.0584 | 0.72212 | 0.71945 | 1.0086 | 0.80988 | 0.79302 | 0.86829 | -123.0291 | 111.6162 | 0.64796 | -126.5096 | 114.0774
Line_2 | 0.085324 | 0.21093 | 0.15187 | 0.084951 | 0.21083 | 0.15201 | 0.98523 | 2.4356 | 1.7536 | 0.98093 | 2.4344 | 1.7553 | -0.14001 | -1.8665 | -0.64108 | 0.16506 | 1.9528 | 0.63462 | -0.9825 | -0.21185 | -1.2443 | 0.97554 | 0.27166 | 1.2389 | 100.3439 | 45.6747 | -128.9386 | -79.7489 | -134.4295 | 51.2017 | 1.0073 | 0.77124 | 0.79821 | 1.0086 | 0.80988 | 0.79302 | 2.2336 | -127.8497 | 113.8039 | 0.64796 | -126.5096 | 114.0774
Line_3 | 0.029921 | 0.40487 | 0.3546 | 0.029567 | 0.40492 | 0.35499 | 0.3455 | 4.675 | 4.0945 | 0.34141 | 4.6756 | 4.0991 | 0.17245 | -2.569 | -2.125 | -0.17346 | 2.9282 | 2.2745 | -0.32248 | -2.1903 | -2.0402 | 0.29695 | 2.1046 | 2.352 | 62.7323 | 16.5207 | -112.2167 | -118.0562 | -163.5556 | 67.8436 | 1.0584 | 0.72212 | 0.71945 | 1.0073 | 0.77124 | 0.79821 | 0.86829 | -123.0291 | 111.6162 | 2.2336 | -127.8497 | 113.8039