## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.1865 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87726 | 0.87726 | -7.0807 | -7.0807

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.1865 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87726 | 0.87726 | -7.0807 | -7.0807

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5955e-14 | -9.6791e-15 | -1.0505e-14 | 2.0306e-16 | 1.6322e-14 | 2.9758e-16 | -6.0919e-16 | -1.4943e-14 | -9.9094e-15 | -5.3183e-15 | 4.4314e-15 | 1.0207e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 0.58698 | 0.53892 | 1.1236 | 0.58698 | 0.53892 | 2.1866 | -174.273 | 178.33 | 2.1866 | -174.273 | 178.33

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5955e-14 | -9.6791e-15 | -1.0505e-14 | 2.0306e-16 | 1.6322e-14 | 2.9758e-16 | -6.0919e-16 | -1.4943e-14 | -9.9094e-15 | -5.3183e-15 | 4.4314e-15 | 1.0207e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 0.58698 | 0.53892 | 1.1236 | 0.58698 | 0.53892 | 2.1866 | -174.273 | 178.33 | 2.1866 | -174.273 | 178.33

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6568e-15 | 4.5811e-15 | 9.7957e-16 | -5.2679e-15 | -1.0043e-15 | 3.7575e-15 | -2.5655e-15 | -1.7884e-15 | -1.4292e-15 | 2.5199e-15 | 1.0951e-14 | 6.7766e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1026 | 0.92858 | 0.73154 | 1.1026 | 0.92858 | 0.73154 | 1.0008 | -137.8902 | 124.4274 | 1.0008 | -137.8902 | 124.4274

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6568e-15 | 4.5811e-15 | 9.7957e-16 | -5.2679e-15 | -1.0043e-15 | 3.7575e-15 | -2.5655e-15 | -1.7884e-15 | -1.4292e-15 | 2.5199e-15 | 1.0951e-14 | 6.7766e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1026 | 0.92858 | 0.73154 | 1.1026 | 0.92858 | 0.73154 | 1.0008 | -137.8902 | 124.4274 | 1.0008 | -137.8902 | 124.4274

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5996e-15 | 2.0423e-16 | -5.0682e-15 | -1.0248e-15 | 1.8025e-15 | 0 | -1.5947e-15 | 4.4219e-15 | 4.6659e-15 | -2.8077e-15 | -8.946e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5996e-15 | 2.0423e-16 | -5.0682e-15 | -1.0248e-15 | 1.8025e-15 | 0 | -1.5947e-15 | 4.4219e-15 | 4.6659e-15 | -2.8077e-15 | -8.946e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0703e-15 | 1.0935e-15 | -2.3424e-15 | -3.0703e-15 | -2.3016e-15 | 2.3102e-16 | -4.7062e-15 | 9.9981e-16 | -2.1698e-15 | 4.7062e-15 | 3.2493e-15 | -3.2168e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0703e-15 | 1.0935e-15 | -2.3424e-15 | -3.0703e-15 | -2.3016e-15 | 2.3102e-16 | -4.7062e-15 | 9.9981e-16 | -2.1698e-15 | 4.7062e-15 | 3.2493e-15 | -3.2168e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.8474 | 0.54953 | 0.36834 | 3.8465 | 0.55069 | 0.36947 | 44.4259 | 6.3454 | 4.2532 | 44.4152 | 6.3589 | 4.2663 | 20.0472 | -6.1293 | 3.2626 | 2.9082e-10 | 5.6465 | -3.477 | 15.0747 | 0.45889 | 3.1637 | -2.3212e-10 | -2.1595 | -4.3958 | -62.4772 | 73.8751 | 66.4678 | 117.5334 | -106.1121 | -113.49 | 0.56459 | 0.96864 | 1.0685 | 0 | 0.9507 | 1.3137 | -25.5355 | -110.4065 | 110.5866 | 0 | -127.041 | 118.1669
Line_1 | 0.90936 | 0.27718 | 0.18653 | 0.90763 | 0.27535 | 0.18474 | 10.5003 | 3.2006 | 2.1539 | 10.4804 | 3.1794 | 2.1332 | 1.7489 | 3.2208 | -1.5345 | 8.1144e-11 | -2.8233 | 1.7385 | 0.61131 | -0.82517 | -2.0197 | -3.3538e-11 | 1.0797 | 2.1979 | -78.6472 | -106.0694 | -113.3547 | 101.3947 | 73.8879 | 66.51 | 0.17644 | 1.0388 | 1.1777 | 0 | 0.9507 | 1.3137 | -59.3813 | -120.4397 | 119.4188 | 0 | -127.041 | 118.1669
Line_2 | 0.90936 | 0.27718 | 0.18653 | 0.90763 | 0.27535 | 0.18474 | 10.5003 | 3.2006 | 2.1539 | 10.4804 | 3.1794 | 2.1332 | 1.7489 | 3.2208 | -1.5345 | 8.1144e-11 | -2.8233 | 1.7385 | 0.61131 | -0.82517 | -2.0197 | -3.3538e-11 | 1.0797 | 2.1979 | -78.6472 | -106.0694 | -113.3547 | 101.3947 | 73.8879 | 66.51 | 0.17644 | 1.0388 | 1.1777 | 0 | 0.9507 | 1.3137 | -59.3813 | -120.4397 | 119.4188 | 0 | -127.041 | 118.1669
Line_3 | 0.00083744 | 0.00083744 | 0.00083744 | 0.00083744 | 0.00083744 | 0.00083744 | 0.0096699 | 0.0096699 | 0.0096699 | 0.0096699 | 0.0096699 | 0.0096699 | 0.0014865 | 0.00855 | -0.010036 | 0.0014865 | 0.00855 | -0.010036 | 0.00083751 | -0.0052725 | -0.0053809 | 0.00083751 | -0.0052725 | -0.0053809 | -88.7788 | -88.7788 | -88.7788 | -88.7788 | -88.7788 | -88.7788 | 0.17644 | 1.0388 | 1.1777 | 0.17644 | 1.0388 | 1.1777 | -59.3813 | -120.4397 | 119.4188 | -59.3813 | -120.4397 | 119.4188

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.8474 | 0.54953 | 0.36834 | 3.8465 | 0.55069 | 0.36947 | 44.4259 | 6.3454 | 4.2532 | 44.4152 | 6.3589 | 4.2663 | 20.0472 | -6.1293 | 3.2626 | 2.9082e-10 | 5.6465 | -3.477 | 15.0747 | 0.45889 | 3.1637 | -2.3212e-10 | -2.1595 | -4.3958 | -62.4772 | 73.8751 | 66.4678 | 117.5334 | -106.1121 | -113.49 | 0.56459 | 0.96864 | 1.0685 | 0 | 0.9507 | 1.3137 | -25.5355 | -110.4065 | 110.5866 | 0 | -127.041 | 118.1669
Line_1 | 0.90936 | 0.27718 | 0.18653 | 0.90763 | 0.27535 | 0.18474 | 10.5003 | 3.2006 | 2.1539 | 10.4804 | 3.1794 | 2.1332 | 1.7489 | 3.2208 | -1.5345 | 8.1144e-11 | -2.8233 | 1.7385 | 0.61131 | -0.82517 | -2.0197 | -3.3538e-11 | 1.0797 | 2.1979 | -78.6472 | -106.0694 | -113.3547 | 101.3947 | 73.8879 | 66.51 | 0.17644 | 1.0388 | 1.1777 | 0 | 0.9507 | 1.3137 | -59.3813 | -120.4397 | 119.4188 | 0 | -127.041 | 118.1669
Line_2 | 0.90936 | 0.27718 | 0.18653 | 0.90763 | 0.27535 | 0.18474 | 10.5003 | 3.2006 | 2.1539 | 10.4804 | 3.1794 | 2.1332 | 1.7489 | 3.2208 | -1.5345 | 8.1144e-11 | -2.8233 | 1.7385 | 0.61131 | -0.82517 | -2.0197 | -3.3538e-11 | 1.0797 | 2.1979 | -78.6472 | -106.0694 | -113.3547 | 101.3947 | 73.8879 | 66.51 | 0.17644 | 1.0388 | 1.1777 | 0 | 0.9507 | 1.3137 | -59.3813 | -120.4397 | 119.4188 | 0 | -127.041 | 118.1669
Line_3 | 0.00083744 | 0.00083744 | 0.00083744 | 0.00083744 | 0.00083744 | 0.00083744 | 0.0096699 | 0.0096699 | 0.0096699 | 0.0096699 | 0.0096699 | 0.0096699 | 0.0014865 | 0.00855 | -0.010036 | 0.0014865 | 0.00855 | -0.010036 | 0.00083751 | -0.0052725 | -0.0053809 | 0.00083751 | -0.0052725 | -0.0053809 | -88.7788 | -88.7788 | -88.7788 | -88.7788 | -88.7788 | -88.7788 | 0.17644 | 1.0388 | 1.1777 | 0.17644 | 1.0388 | 1.1777 | -59.3813 | -120.4397 | 119.4188 | -59.3813 | -120.4397 | 119.4188

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.94623 | 0.13515 | 0.090589 | 0.94601 | 0.13544 | 0.090869 | 10.9262 | 1.5606 | 1.046 | 10.9235 | 1.5639 | 1.0493 | 8.3033 | -1.4312 | 0.95604 | -7.0901 | 1.4041 | -0.97169 | 6.8307 | 0.81247 | 0.64558 | -5.9161 | -0.91723 | -0.72095 | -45.2819 | 91.0704 | 83.6631 | 134.7288 | -88.9167 | -96.2946 | 0.98405 | 1.0546 | 1.1028 | 0.84535 | 1.0724 | 1.1531 | -5.8395 | -118.5116 | 117.6929 | -5.4289 | -122.0711 | 120.2791
Line_1 | 0.22365 | 0.068171 | 0.045876 | 0.22322 | 0.067719 | 0.045435 | 2.5825 | 0.78717 | 0.52973 | 2.5776 | 0.78195 | 0.52463 | 1.3258 | 0.72935 | -0.47775 | -1.219 | -0.70206 | 0.48584 | 1.8473 | -0.44624 | -0.351 | -1.806 | 0.45861 | 0.36047 | -61.4519 | -88.8741 | -96.1594 | 118.59 | 91.0833 | 83.7054 | 0.8805 | 1.0862 | 1.1191 | 0.84535 | 1.0724 | 1.1531 | -7.1189 | -120.3337 | 120.1452 | -5.4289 | -122.0711 | 120.2791
Line_2 | 0.22365 | 0.068171 | 0.045876 | 0.22322 | 0.067719 | 0.045435 | 2.5825 | 0.78717 | 0.52973 | 2.5776 | 0.78195 | 0.52463 | 1.3258 | 0.72935 | -0.47775 | -1.219 | -0.70206 | 0.48584 | 1.8473 | -0.44624 | -0.351 | -1.806 | 0.45861 | 0.36047 | -61.4519 | -88.8741 | -96.1594 | 118.59 | 91.0833 | 83.7054 | 0.8805 | 1.0862 | 1.1191 | 0.84535 | 1.0724 | 1.1531 | -7.1189 | -120.3337 | 120.1452 | -5.4289 | -122.0711 | 120.2791
Line_3 | 0.00020596 | 0.00020596 | 0.00020596 | 0.00020596 | 0.00020596 | 0.00020596 | 0.0023782 | 0.0023782 | 0.0023782 | 0.0023782 | 0.0023782 | 0.0023782 | 0.00090267 | 0.0017032 | -0.0026059 | 0.00090267 | 0.0017032 | -0.0026059 | 0.0018895 | -0.0019422 | -0.00054102 | 0.0018895 | -0.0019422 | -0.00054102 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | 0.8805 | 1.0862 | 1.1191 | 0.8805 | 1.0862 | 1.1191 | -7.1189 | -120.3337 | 120.1452 | -7.1189 | -120.3337 | 120.1452

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.94623 | 0.13515 | 0.090589 | 0.94601 | 0.13544 | 0.090869 | 10.9262 | 1.5606 | 1.046 | 10.9235 | 1.5639 | 1.0493 | 8.3033 | -1.4312 | 0.95604 | -7.0901 | 1.4041 | -0.97169 | 6.8307 | 0.81247 | 0.64558 | -5.9161 | -0.91723 | -0.72095 | -45.2819 | 91.0704 | 83.6631 | 134.7288 | -88.9167 | -96.2946 | 0.98405 | 1.0546 | 1.1028 | 0.84535 | 1.0724 | 1.1531 | -5.8395 | -118.5116 | 117.6929 | -5.4289 | -122.0711 | 120.2791
Line_1 | 0.22365 | 0.068171 | 0.045876 | 0.22322 | 0.067719 | 0.045435 | 2.5825 | 0.78717 | 0.52973 | 2.5776 | 0.78195 | 0.52463 | 1.3258 | 0.72935 | -0.47775 | -1.219 | -0.70206 | 0.48584 | 1.8473 | -0.44624 | -0.351 | -1.806 | 0.45861 | 0.36047 | -61.4519 | -88.8741 | -96.1594 | 118.59 | 91.0833 | 83.7054 | 0.8805 | 1.0862 | 1.1191 | 0.84535 | 1.0724 | 1.1531 | -7.1189 | -120.3337 | 120.1452 | -5.4289 | -122.0711 | 120.2791
Line_2 | 0.22365 | 0.068171 | 0.045876 | 0.22322 | 0.067719 | 0.045435 | 2.5825 | 0.78717 | 0.52973 | 2.5776 | 0.78195 | 0.52463 | 1.3258 | 0.72935 | -0.47775 | -1.219 | -0.70206 | 0.48584 | 1.8473 | -0.44624 | -0.351 | -1.806 | 0.45861 | 0.36047 | -61.4519 | -88.8741 | -96.1594 | 118.59 | 91.0833 | 83.7054 | 0.8805 | 1.0862 | 1.1191 | 0.84535 | 1.0724 | 1.1531 | -7.1189 | -120.3337 | 120.1452 | -5.4289 | -122.0711 | 120.2791
Line_3 | 0.00020596 | 0.00020596 | 0.00020596 | 0.00020596 | 0.00020596 | 0.00020596 | 0.0023782 | 0.0023782 | 0.0023782 | 0.0023782 | 0.0023782 | 0.0023782 | 0.00090267 | 0.0017032 | -0.0026059 | 0.00090267 | 0.0017032 | -0.0026059 | 0.0018895 | -0.0019422 | -0.00054102 | 0.0018895 | -0.0019422 | -0.00054102 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | -71.5834 | 0.8805 | 1.0862 | 1.1191 | 0.8805 | 1.0862 | 1.1191 | -7.1189 | -120.3337 | 120.1452 | -7.1189 | -120.3337 | 120.1452

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8067 | 0.5351 | 0.37175 | 2.8059 | 0.5362 | 0.37284 | 32.4084 | 6.1788 | 4.2926 | 32.4001 | 6.1915 | 4.3052 | 19.0228 | -4.5045 | 4.2355 | -8.3465e-11 | 3.3759 | -5.1086 | 8.9123 | 2.7622 | 0.90912 | -3.9509e-12 | -4.376 | -2.067 | -50.9322 | 98.7171 | 99.1183 | 129.0867 | -81.3294 | -80.9498 | 0.6482 | 0.85517 | 1.0092 | 0 | 0.89265 | 1.2801 | -25.8288 | -112.7994 | 111.2326 | 0 | -133.6809 | 121.0787
Line_1 | 0.87147 | 0.26983 | 0.18815 | 0.86988 | 0.2681 | 0.18642 | 10.0629 | 3.1158 | 2.1726 | 10.0445 | 3.0957 | 2.1526 | 3.1132 | 2.4739 | -2.0521 | -2.4355e-11 | -1.6879 | 2.5543 | 0.60039 | -1.9436 | -0.88238 | -8.8245e-12 | 2.188 | 1.0335 | -68.1727 | -81.417 | -81.079 | 111.8798 | 98.6706 | 99.0502 | 0.31507 | 1.0097 | 1.0282 | 0 | 0.89265 | 1.2801 | -57.2568 | -119.5726 | 122.1886 | 0 | -133.6809 | 121.0787
Line_2 | 0.87147 | 0.26983 | 0.18815 | 0.86988 | 0.2681 | 0.18642 | 10.0629 | 3.1158 | 2.1726 | 10.0445 | 3.0957 | 2.1526 | 3.1132 | 2.4739 | -2.0521 | -2.4355e-11 | -1.6879 | 2.5543 | 0.60039 | -1.9436 | -0.88238 | -8.8245e-12 | 2.188 | 1.0335 | -68.1727 | -81.417 | -81.079 | 111.8798 | 98.6706 | 99.0502 | 0.31507 | 1.0097 | 1.0282 | 0 | 0.89265 | 1.2801 | -57.2568 | -119.5726 | 122.1886 | 0 | -133.6809 | 121.0787
Line_3 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0026538 | 0.0060288 | -0.0086826 | 0.0026538 | 0.0060288 | -0.0086826 | 0.00073209 | -0.006441 | -0.002305 | 0.00073209 | -0.006441 | -0.002305 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | 0.31507 | 1.0097 | 1.0282 | 0.31507 | 1.0097 | 1.0282 | -57.2568 | -119.5726 | 122.1886 | -57.2568 | -119.5726 | 122.1886

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8067 | 0.5351 | 0.37175 | 2.8059 | 0.5362 | 0.37284 | 32.4084 | 6.1788 | 4.2926 | 32.4001 | 6.1915 | 4.3052 | 19.0228 | -4.5045 | 4.2355 | -8.3465e-11 | 3.3759 | -5.1086 | 8.9123 | 2.7622 | 0.90912 | -3.9509e-12 | -4.376 | -2.067 | -50.9322 | 98.7171 | 99.1183 | 129.0867 | -81.3294 | -80.9498 | 0.6482 | 0.85517 | 1.0092 | 0 | 0.89265 | 1.2801 | -25.8288 | -112.7994 | 111.2326 | 0 | -133.6809 | 121.0787
Line_1 | 0.87147 | 0.26983 | 0.18815 | 0.86988 | 0.2681 | 0.18642 | 10.0629 | 3.1158 | 2.1726 | 10.0445 | 3.0957 | 2.1526 | 3.1132 | 2.4739 | -2.0521 | -2.4355e-11 | -1.6879 | 2.5543 | 0.60039 | -1.9436 | -0.88238 | -8.8245e-12 | 2.188 | 1.0335 | -68.1727 | -81.417 | -81.079 | 111.8798 | 98.6706 | 99.0502 | 0.31507 | 1.0097 | 1.0282 | 0 | 0.89265 | 1.2801 | -57.2568 | -119.5726 | 122.1886 | 0 | -133.6809 | 121.0787
Line_2 | 0.87147 | 0.26983 | 0.18815 | 0.86988 | 0.2681 | 0.18642 | 10.0629 | 3.1158 | 2.1726 | 10.0445 | 3.0957 | 2.1526 | 3.1132 | 2.4739 | -2.0521 | -2.4355e-11 | -1.6879 | 2.5543 | 0.60039 | -1.9436 | -0.88238 | -8.8245e-12 | 2.188 | 1.0335 | -68.1727 | -81.417 | -81.079 | 111.8798 | 98.6706 | 99.0502 | 0.31507 | 1.0097 | 1.0282 | 0 | 0.89265 | 1.2801 | -57.2568 | -119.5726 | 122.1886 | 0 | -133.6809 | 121.0787
Line_3 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.00075668 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0087374 | 0.0026538 | 0.0060288 | -0.0086826 | 0.0026538 | 0.0060288 | -0.0086826 | 0.00073209 | -0.006441 | -0.002305 | 0.00073209 | -0.006441 | -0.002305 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | -72.6793 | 0.31507 | 1.0097 | 1.0282 | 0.31507 | 1.0097 | 1.0282 | -57.2568 | -119.5726 | 122.1886 | -57.2568 | -119.5726 | 122.1886

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75111 | 0.1432 | 0.099486 | 0.75092 | 0.1435 | 0.099778 | 8.6731 | 1.6536 | 1.1488 | 8.6708 | 1.6569 | 1.1521 | 6.3687 | -1.0862 | 1.1409 | -5.0064 | 1.0077 | -1.2058 | 4.6131 | 1.1476 | 0.18876 | -3.9721 | -1.2646 | -0.27304 | -41.7644 | 107.885 | 108.2861 | 138.2546 | -72.1615 | -71.7819 | 0.9067 | 0.95563 | 1.0067 | 0.73704 | 0.97589 | 1.0731 | -5.8473 | -118.6895 | 117.68 | -3.3165 | -123.6094 | 120.9771
Line_1 | 0.23322 | 0.072212 | 0.050352 | 0.23279 | 0.071748 | 0.049889 | 2.693 | 0.83383 | 0.58142 | 2.6881 | 0.82847 | 0.57607 | 1.3418 | 0.56337 | -0.57068 | -1.1183 | -0.50387 | 0.60289 | 1.6824 | -0.61726 | -0.12724 | -1.6354 | 0.63228 | 0.13652 | -59.0048 | -72.2491 | -71.9111 | 121.0476 | 107.8385 | 108.2181 | 0.7991 | 1.0022 | 1.0056 | 0.73704 | 0.97589 | 1.0731 | -7.5784 | -119.8626 | 120.6576 | -3.3165 | -123.6094 | 120.9771
Line_2 | 0.23322 | 0.072212 | 0.050352 | 0.23279 | 0.071748 | 0.049889 | 2.693 | 0.83383 | 0.58142 | 2.6881 | 0.82847 | 0.57607 | 1.3418 | 0.56337 | -0.57068 | -1.1183 | -0.50387 | 0.60289 | 1.6824 | -0.61726 | -0.12724 | -1.6354 | 0.63228 | 0.13652 | -59.0048 | -72.2491 | -71.9111 | 121.0476 | 107.8385 | 108.2181 | 0.7991 | 1.0022 | 1.0056 | 0.73704 | 0.97589 | 1.0731 | -7.5784 | -119.8626 | 120.6576 | -3.3165 | -123.6094 | 120.9771
Line_3 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0010467 | 0.0012985 | -0.0023452 | 0.0010467 | 0.0012985 | -0.0023452 | 0.0015479 | -0.0019509 | -0.00017095 | 0.0015479 | -0.0019509 | -0.00017095 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | 0.7991 | 1.0022 | 1.0056 | 0.7991 | 1.0022 | 1.0056 | -7.5784 | -119.8626 | 120.6576 | -7.5784 | -119.8626 | 120.6576

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75111 | 0.1432 | 0.099486 | 0.75092 | 0.1435 | 0.099778 | 8.6731 | 1.6536 | 1.1488 | 8.6708 | 1.6569 | 1.1521 | 6.3687 | -1.0862 | 1.1409 | -5.0064 | 1.0077 | -1.2058 | 4.6131 | 1.1476 | 0.18876 | -3.9721 | -1.2646 | -0.27304 | -41.7644 | 107.885 | 108.2861 | 138.2546 | -72.1615 | -71.7819 | 0.9067 | 0.95563 | 1.0067 | 0.73704 | 0.97589 | 1.0731 | -5.8473 | -118.6895 | 117.68 | -3.3165 | -123.6094 | 120.9771
Line_1 | 0.23322 | 0.072212 | 0.050352 | 0.23279 | 0.071748 | 0.049889 | 2.693 | 0.83383 | 0.58142 | 2.6881 | 0.82847 | 0.57607 | 1.3418 | 0.56337 | -0.57068 | -1.1183 | -0.50387 | 0.60289 | 1.6824 | -0.61726 | -0.12724 | -1.6354 | 0.63228 | 0.13652 | -59.0048 | -72.2491 | -71.9111 | 121.0476 | 107.8385 | 108.2181 | 0.7991 | 1.0022 | 1.0056 | 0.73704 | 0.97589 | 1.0731 | -7.5784 | -119.8626 | 120.6576 | -3.3165 | -123.6094 | 120.9771
Line_2 | 0.23322 | 0.072212 | 0.050352 | 0.23279 | 0.071748 | 0.049889 | 2.693 | 0.83383 | 0.58142 | 2.6881 | 0.82847 | 0.57607 | 1.3418 | 0.56337 | -0.57068 | -1.1183 | -0.50387 | 0.60289 | 1.6824 | -0.61726 | -0.12724 | -1.6354 | 0.63228 | 0.13652 | -59.0048 | -72.2491 | -71.9111 | 121.0476 | 107.8385 | 108.2181 | 0.7991 | 1.0022 | 1.0056 | 0.73704 | 0.97589 | 1.0731 | -7.5784 | -119.8626 | 120.6576 | -3.3165 | -123.6094 | 120.9771
Line_3 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0002025 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0023383 | 0.0010467 | 0.0012985 | -0.0023452 | 0.0010467 | 0.0012985 | -0.0023452 | 0.0015479 | -0.0019509 | -0.00017095 | 0.0015479 | -0.0019509 | -0.00017095 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | -63.5114 | 0.7991 | 1.0022 | 1.0056 | 0.7991 | 1.0022 | 1.0056 | -7.5784 | -119.8626 | 120.6576 | -7.5784 | -119.8626 | 120.6576

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45894 | 4.7616 | 3.1923 | 0.45991 | 4.7615 | 3.1916 | 5.2994 | 54.9825 | 36.8611 | 5.3106 | 54.981 | 36.8533 | -2.1566 | 27.4508 | 0.044209 | 2.4123 | 1.6166e-10 | 1.413e-10 | 4.4734 | 8.1436 | 15.7557 | -5.9493 | -2.0225e-10 | -9.8766e-11 | -118.7367 | 175.094 | 38.2759 | 61.3346 | -4.8926 | -141.7403 | 0.93712 | 0.52077 | 0.42744 | 1.2089 | 0 | 0 | -2.9983 | -168.3825 | 128.1151 | -6.594 | 0 | 0
Line_1 | 0.23148 | 0.90749 | 0.78551 | 0.22996 | 0.90668 | 0.78406 | 2.6729 | 10.4787 | 9.0703 | 2.6553 | 10.4695 | 9.0535 | 1.4065 | 1.4471 | 0.84955 | -1.2061 | 4.1971e-11 | 2.4913e-11 | -2.6956 | -0.27302 | 1.3283 | 2.9746 | -2.5869e-11 | -3.4248e-11 | 61.5601 | 155.292 | 57.347 | -118.6654 | -24.6079 | -122.7272 | 1.1375 | 0.14054 | 0.17384 | 1.2089 | 0 | 0 | -0.88564 | 144.608 | 114.7457 | -6.594 | 0 | 0
Line_2 | 0.23148 | 0.90749 | 0.78551 | 0.22996 | 0.90668 | 0.78406 | 2.6729 | 10.4787 | 9.0703 | 2.6553 | 10.4695 | 9.0535 | 1.4065 | 1.4471 | 0.84955 | -1.2061 | 4.1971e-11 | 2.4913e-11 | -2.6956 | -0.27302 | 1.3283 | 2.9746 | -2.5869e-11 | -3.4248e-11 | 61.5601 | 155.292 | 57.347 | -118.6654 | -24.6079 | -122.7272 | 1.1375 | 0.14054 | 0.17384 | 1.2089 | 0 | 0 | -0.88564 | 144.608 | 114.7457 | -6.594 | 0 | 0
Line_3 | 0.0008048 | 0.0008048 | 0.0008048 | 0.0008048 | 0.0008048 | 0.0008048 | 0.0092931 | 0.0092931 | 0.0092931 | 0.0092931 | 0.0092931 | 0.0092931 | -0.002561 | 0.00097857 | 0.0015824 | -0.002561 | 0.00097857 | 0.0015824 | -0.010256 | 0.00086494 | 0.00032514 | -0.010256 | 0.00086494 | 0.00032514 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 1.1375 | 0.14054 | 0.17384 | 1.1375 | 0.14054 | 0.17384 | -0.88564 | 144.608 | 114.7457 | -0.88564 | 144.608 | 114.7457

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45894 | 4.7616 | 3.1923 | 0.45991 | 4.7615 | 3.1916 | 5.2994 | 54.9825 | 36.8611 | 5.3106 | 54.981 | 36.8533 | -2.1566 | 27.4508 | 0.044209 | 2.4123 | 1.6166e-10 | 1.413e-10 | 4.4734 | 8.1436 | 15.7557 | -5.9493 | -2.0225e-10 | -9.8766e-11 | -118.7367 | 175.094 | 38.2759 | 61.3346 | -4.8926 | -141.7403 | 0.93712 | 0.52077 | 0.42744 | 1.2089 | 0 | 0 | -2.9983 | -168.3825 | 128.1151 | -6.594 | 0 | 0
Line_1 | 0.23148 | 0.90749 | 0.78551 | 0.22996 | 0.90668 | 0.78406 | 2.6729 | 10.4787 | 9.0703 | 2.6553 | 10.4695 | 9.0535 | 1.4065 | 1.4471 | 0.84955 | -1.2061 | 4.1971e-11 | 2.4913e-11 | -2.6956 | -0.27302 | 1.3283 | 2.9746 | -2.5869e-11 | -3.4248e-11 | 61.5601 | 155.292 | 57.347 | -118.6654 | -24.6079 | -122.7272 | 1.1375 | 0.14054 | 0.17384 | 1.2089 | 0 | 0 | -0.88564 | 144.608 | 114.7457 | -6.594 | 0 | 0
Line_2 | 0.23148 | 0.90749 | 0.78551 | 0.22996 | 0.90668 | 0.78406 | 2.6729 | 10.4787 | 9.0703 | 2.6553 | 10.4695 | 9.0535 | 1.4065 | 1.4471 | 0.84955 | -1.2061 | 4.1971e-11 | 2.4913e-11 | -2.6956 | -0.27302 | 1.3283 | 2.9746 | -2.5869e-11 | -3.4248e-11 | 61.5601 | 155.292 | 57.347 | -118.6654 | -24.6079 | -122.7272 | 1.1375 | 0.14054 | 0.17384 | 1.2089 | 0 | 0 | -0.88564 | 144.608 | 114.7457 | -6.594 | 0 | 0
Line_3 | 0.0008048 | 0.0008048 | 0.0008048 | 0.0008048 | 0.0008048 | 0.0008048 | 0.0092931 | 0.0092931 | 0.0092931 | 0.0092931 | 0.0092931 | 0.0092931 | -0.002561 | 0.00097857 | 0.0015824 | -0.002561 | 0.00097857 | 0.0015824 | -0.010256 | 0.00086494 | 0.00032514 | -0.010256 | 0.00086494 | 0.00032514 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 103.1349 | 1.1375 | 0.14054 | 0.17384 | 1.1375 | 0.14054 | 0.17384 | -0.88564 | 144.608 | 114.7457 | -0.88564 | 144.608 | 114.7457

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12567 | 1.0786 | 0.90451 | 0.12592 | 1.0786 | 0.90428 | 1.4511 | 12.4542 | 10.4443 | 1.454 | 12.4545 | 10.4417 | -0.44741 | 9.9378 | 5.9539 | 0.4598 | -8.5317 | -5.6748 | 1.4698 | 7.1934 | 7.71 | -1.5728 | -6.9831 | -6.4571 | -107.9119 | -164.5694 | 63.7159 | 72.1477 | 15.4454 | -116.2946 | 1.0588 | 0.98505 | 0.93269 | 1.127 | 0.88523 | 0.82327 | -0.98135 | -128.6709 | 116.0395 | -1.5568 | -125.2547 | 112.3952
Line_1 | 0.06335 | 0.19384 | 0.2233 | 0.062958 | 0.19371 | 0.2229 | 0.7315 | 2.2383 | 2.5785 | 0.72698 | 2.2368 | 2.5739 | 0.24373 | 1.0211 | 1.7596 | -0.2299 | -0.9584 | -1.6811 | -0.7717 | 1.7086 | 1.3816 | 0.78642 | -1.7327 | -1.2899 | 72.3368 | 173.5676 | 74.9446 | -107.8523 | -6.3067 | -105.1042 | 1.1063 | 0.88928 | 0.86762 | 1.127 | 0.88523 | 0.82327 | -0.13542 | -127.296 | 113.0827 | -1.5568 | -125.2547 | 112.3952
Line_2 | 0.06335 | 0.19384 | 0.2233 | 0.062958 | 0.19371 | 0.2229 | 0.7315 | 2.2383 | 2.5785 | 0.72698 | 2.2368 | 2.5739 | 0.24373 | 1.0211 | 1.7596 | -0.2299 | -0.9584 | -1.6811 | -0.7717 | 1.7086 | 1.3816 | 0.78642 | -1.7327 | -1.2899 | 72.3368 | 173.5676 | 74.9446 | -107.8523 | -6.3067 | -105.1042 | 1.1063 | 0.88928 | 0.86762 | 1.127 | 0.88523 | 0.82327 | -0.13542 | -127.296 | 113.0827 | -1.5568 | -125.2547 | 112.3952
Line_3 | 0.00020113 | 0.00020113 | 0.00020113 | 0.00020113 | 0.00020113 | 0.00020113 | 0.0023224 | 0.0023224 | 0.0023224 | 0.0023224 | 0.0023224 | 0.0023224 | -0.00093422 | -0.0010797 | 0.0020139 | -0.00093422 | -0.0010797 | 0.0020139 | -0.0023935 | 0.0017606 | 6.6688e-05 | -0.0023935 | 0.0017606 | 6.6688e-05 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 1.1063 | 0.88928 | 0.86762 | 1.1063 | 0.88928 | 0.86762 | -0.13542 | -127.296 | 113.0827 | -0.13542 | -127.296 | 113.0827

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12567 | 1.0786 | 0.90451 | 0.12592 | 1.0786 | 0.90428 | 1.4511 | 12.4542 | 10.4443 | 1.454 | 12.4545 | 10.4417 | -0.44741 | 9.9378 | 5.9539 | 0.4598 | -8.5317 | -5.6748 | 1.4698 | 7.1934 | 7.71 | -1.5728 | -6.9831 | -6.4571 | -107.9119 | -164.5694 | 63.7159 | 72.1477 | 15.4454 | -116.2946 | 1.0588 | 0.98505 | 0.93269 | 1.127 | 0.88523 | 0.82327 | -0.98135 | -128.6709 | 116.0395 | -1.5568 | -125.2547 | 112.3952
Line_1 | 0.06335 | 0.19384 | 0.2233 | 0.062958 | 0.19371 | 0.2229 | 0.7315 | 2.2383 | 2.5785 | 0.72698 | 2.2368 | 2.5739 | 0.24373 | 1.0211 | 1.7596 | -0.2299 | -0.9584 | -1.6811 | -0.7717 | 1.7086 | 1.3816 | 0.78642 | -1.7327 | -1.2899 | 72.3368 | 173.5676 | 74.9446 | -107.8523 | -6.3067 | -105.1042 | 1.1063 | 0.88928 | 0.86762 | 1.127 | 0.88523 | 0.82327 | -0.13542 | -127.296 | 113.0827 | -1.5568 | -125.2547 | 112.3952
Line_2 | 0.06335 | 0.19384 | 0.2233 | 0.062958 | 0.19371 | 0.2229 | 0.7315 | 2.2383 | 2.5785 | 0.72698 | 2.2368 | 2.5739 | 0.24373 | 1.0211 | 1.7596 | -0.2299 | -0.9584 | -1.6811 | -0.7717 | 1.7086 | 1.3816 | 0.78642 | -1.7327 | -1.2899 | 72.3368 | 173.5676 | 74.9446 | -107.8523 | -6.3067 | -105.1042 | 1.1063 | 0.88928 | 0.86762 | 1.127 | 0.88523 | 0.82327 | -0.13542 | -127.296 | 113.0827 | -1.5568 | -125.2547 | 112.3952
Line_3 | 0.00020113 | 0.00020113 | 0.00020113 | 0.00020113 | 0.00020113 | 0.00020113 | 0.0023224 | 0.0023224 | 0.0023224 | 0.0023224 | 0.0023224 | 0.0023224 | -0.00093422 | -0.0010797 | 0.0020139 | -0.00093422 | -0.0010797 | 0.0020139 | -0.0023935 | 0.0017606 | 6.6688e-05 | -0.0023935 | 0.0017606 | 6.6688e-05 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 111.1861 | 1.1063 | 0.88928 | 0.86762 | 1.1063 | 0.88928 | 0.86762 | -0.13542 | -127.296 | 113.0827 | -0.13542 | -127.296 | 113.0827

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35173 | 3.7854 | 2.6664 | 0.35277 | 3.7855 | 2.6658 | 4.0615 | 43.7098 | 30.7889 | 4.0734 | 43.7114 | 30.7816 | 0.18704 | 27.187 | 1.3203 | -0.4169 | -1.434e-10 | -5.6667e-11 | 3.6234 | 2.5633 | 12.3283 | -4.8327 | -9.1814e-11 | -1.067e-10 | -91.0989 | -172.0256 | 38.0089 | 88.9055 | 7.9899 | -142.0087 | 0.89332 | 0.62475 | 0.4027 | 1.1908 | 0 | 0 | -4.054 | -166.6393 | 121.896 | -6.0249 | 0 | 0
Line_1 | 0.17793 | 0.94569 | 0.64415 | 0.17638 | 0.94504 | 0.64291 | 2.0545 | 10.9199 | 7.438 | 2.0367 | 10.9124 | 7.4237 | 0.14241 | 2.7317 | 0.98852 | 0.20845 | -2.3554e-11 | -2.2589e-11 | -2.1465 | -0.77139 | 1.6667 | 2.4164 | -3.5387e-11 | -1.8405e-11 | 88.9913 | 164.1813 | 60.9327 | -91.0945 | -15.7323 | -119.1528 | 1.0471 | 0.25994 | 0.26053 | 1.1908 | 0 | 0 | 2.787 | 148.4123 | 120.261 | -6.0249 | 0 | 0
Line_2 | 0.17793 | 0.94569 | 0.64415 | 0.17638 | 0.94504 | 0.64291 | 2.0545 | 10.9199 | 7.438 | 2.0367 | 10.9124 | 7.4237 | 0.14241 | 2.7317 | 0.98852 | 0.20845 | -2.3554e-11 | -2.2589e-11 | -2.1465 | -0.77139 | 1.6667 | 2.4164 | -3.5387e-11 | -1.8405e-11 | 88.9913 | 164.1813 | 60.9327 | -91.0945 | -15.7323 | -119.1528 | 1.0471 | 0.25994 | 0.26053 | 1.1908 | 0 | 0 | 2.787 | 148.4123 | 120.261 | -6.0249 | 0 | 0
Line_3 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | -0.0037694 | 0.0017682 | 0.0020012 | -0.0037694 | 0.0017682 | 0.0020012 | -0.0071051 | 0.00092749 | -1.6516e-05 | -0.0071051 | 0.00092749 | -1.6516e-05 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 1.0471 | 0.25994 | 0.26053 | 1.0471 | 0.25994 | 0.26053 | 2.787 | 148.4123 | 120.261 | 2.787 | 148.4123 | 120.261

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35173 | 3.7854 | 2.6664 | 0.35277 | 3.7855 | 2.6658 | 4.0615 | 43.7098 | 30.7889 | 4.0734 | 43.7114 | 30.7816 | 0.18704 | 27.187 | 1.3203 | -0.4169 | -1.434e-10 | -5.6667e-11 | 3.6234 | 2.5633 | 12.3283 | -4.8327 | -9.1814e-11 | -1.067e-10 | -91.0989 | -172.0256 | 38.0089 | 88.9055 | 7.9899 | -142.0087 | 0.89332 | 0.62475 | 0.4027 | 1.1908 | 0 | 0 | -4.054 | -166.6393 | 121.896 | -6.0249 | 0 | 0
Line_1 | 0.17793 | 0.94569 | 0.64415 | 0.17638 | 0.94504 | 0.64291 | 2.0545 | 10.9199 | 7.438 | 2.0367 | 10.9124 | 7.4237 | 0.14241 | 2.7317 | 0.98852 | 0.20845 | -2.3554e-11 | -2.2589e-11 | -2.1465 | -0.77139 | 1.6667 | 2.4164 | -3.5387e-11 | -1.8405e-11 | 88.9913 | 164.1813 | 60.9327 | -91.0945 | -15.7323 | -119.1528 | 1.0471 | 0.25994 | 0.26053 | 1.1908 | 0 | 0 | 2.787 | 148.4123 | 120.261 | -6.0249 | 0 | 0
Line_2 | 0.17793 | 0.94569 | 0.64415 | 0.17638 | 0.94504 | 0.64291 | 2.0545 | 10.9199 | 7.438 | 2.0367 | 10.9124 | 7.4237 | 0.14241 | 2.7317 | 0.98852 | 0.20845 | -2.3554e-11 | -2.2589e-11 | -2.1465 | -0.77139 | 1.6667 | 2.4164 | -3.5387e-11 | -1.8405e-11 | 88.9913 | 164.1813 | 60.9327 | -91.0945 | -15.7323 | -119.1528 | 1.0471 | 0.25994 | 0.26053 | 1.1908 | 0 | 0 | 2.787 | 148.4123 | 120.261 | -6.0249 | 0 | 0
Line_3 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.00066524 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | 0.0076815 | -0.0037694 | 0.0017682 | 0.0020012 | -0.0037694 | 0.0017682 | 0.0020012 | -0.0071051 | 0.00092749 | -1.6516e-05 | -0.0071051 | 0.00092749 | -1.6516e-05 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 120.7339 | 1.0471 | 0.25994 | 0.26053 | 1.0471 | 0.25994 | 0.26053 | 2.787 | 148.4123 | 120.261 | 2.787 | 148.4123 | 120.261

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11746 | 0.89391 | 0.75936 | 0.11776 | 0.89403 | 0.75909 | 1.3563 | 10.322 | 8.7683 | 1.3597 | 10.3233 | 8.7652 | 0.073546 | 8.1734 | 4.4759 | -0.10227 | -6.6205 | -4.0416 | 1.3068 | 4.629 | 5.9875 | -1.4229 | -4.767 | -4.8322 | -87.9305 | -158.3967 | 62.7091 | 92.0635 | 21.6213 | -117.3013 | 0.96506 | 0.91001 | 0.85256 | 1.0492 | 0.79026 | 0.7187 | -1.1517 | -128.8716 | 115.9291 | -2.0472 | -122.6232 | 112.7904
Line_1 | 0.059332 | 0.21643 | 0.21189 | 0.058878 | 0.21631 | 0.21146 | 0.6851 | 2.4991 | 2.4467 | 0.67987 | 2.4977 | 2.4418 | -0.015398 | 1.0035 | 1.5631 | 0.051133 | -0.8532 | -1.4227 | -0.69059 | 1.705 | 1.1693 | 0.71147 | -1.7799 | -1.0274 | 92.1091 | 172.871 | 77.0004 | -87.9365 | -7.0125 | -103.0439 | 1.0083 | 0.79165 | 0.79782 | 1.0492 | 0.79026 | 0.7187 | 0.83178 | -127.6093 | 113.8004 | -2.0472 | -122.6232 | 112.7904
Line_2 | 0.059332 | 0.21643 | 0.21189 | 0.058878 | 0.21631 | 0.21146 | 0.6851 | 2.4991 | 2.4467 | 0.67987 | 2.4977 | 2.4418 | -0.015398 | 1.0035 | 1.5631 | 0.051133 | -0.8532 | -1.4227 | -0.69059 | 1.705 | 1.1693 | 0.71147 | -1.7799 | -1.0274 | 92.1091 | 172.871 | 77.0004 | -87.9365 | -7.0125 | -103.0439 | 1.0083 | 0.79165 | 0.79782 | 1.0492 | 0.79026 | 0.7187 | 0.83178 | -127.6093 | 113.8004 | -2.0472 | -122.6232 | 112.7904
Line_3 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | -0.0010999 | -0.00067253 | 0.0017724 | -0.0010999 | -0.00067253 | 0.0017724 | -0.0019666 | 0.0016364 | -0.00019407 | -0.0019666 | 0.0016364 | -0.00019407 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 1.0083 | 0.79165 | 0.79782 | 1.0083 | 0.79165 | 0.79782 | 0.83178 | -127.6093 | 113.8004 | 0.83178 | -127.6093 | 113.8004

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11746 | 0.89391 | 0.75936 | 0.11776 | 0.89403 | 0.75909 | 1.3563 | 10.322 | 8.7683 | 1.3597 | 10.3233 | 8.7652 | 0.073546 | 8.1734 | 4.4759 | -0.10227 | -6.6205 | -4.0416 | 1.3068 | 4.629 | 5.9875 | -1.4229 | -4.767 | -4.8322 | -87.9305 | -158.3967 | 62.7091 | 92.0635 | 21.6213 | -117.3013 | 0.96506 | 0.91001 | 0.85256 | 1.0492 | 0.79026 | 0.7187 | -1.1517 | -128.8716 | 115.9291 | -2.0472 | -122.6232 | 112.7904
Line_1 | 0.059332 | 0.21643 | 0.21189 | 0.058878 | 0.21631 | 0.21146 | 0.6851 | 2.4991 | 2.4467 | 0.67987 | 2.4977 | 2.4418 | -0.015398 | 1.0035 | 1.5631 | 0.051133 | -0.8532 | -1.4227 | -0.69059 | 1.705 | 1.1693 | 0.71147 | -1.7799 | -1.0274 | 92.1091 | 172.871 | 77.0004 | -87.9365 | -7.0125 | -103.0439 | 1.0083 | 0.79165 | 0.79782 | 1.0492 | 0.79026 | 0.7187 | 0.83178 | -127.6093 | 113.8004 | -2.0472 | -122.6232 | 112.7904
Line_2 | 0.059332 | 0.21643 | 0.21189 | 0.058878 | 0.21631 | 0.21146 | 0.6851 | 2.4991 | 2.4467 | 0.67987 | 2.4977 | 2.4418 | -0.015398 | 1.0035 | 1.5631 | 0.051133 | -0.8532 | -1.4227 | -0.69059 | 1.705 | 1.1693 | 0.71147 | -1.7799 | -1.0274 | 92.1091 | 172.871 | 77.0004 | -87.9365 | -7.0125 | -103.0439 | 1.0083 | 0.79165 | 0.79782 | 1.0492 | 0.79026 | 0.7187 | 0.83178 | -127.6093 | 113.8004 | -2.0472 | -122.6232 | 112.7904
Line_3 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.00019354 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | 0.0022349 | -0.0010999 | -0.00067253 | 0.0017724 | -0.0010999 | -0.00067253 | 0.0017724 | -0.0019666 | 0.0016364 | -0.00019407 | -0.0019666 | 0.0016364 | -0.00019407 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 120.0491 | 1.0083 | 0.79165 | 0.79782 | 1.0083 | 0.79165 | 0.79782 | 0.83178 | -127.6093 | 113.8004 | 0.83178 | -127.6093 | 113.8004