## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_2 | 0.78635 | 0.78635 | 0 | 1.6637 | 27.2398 | 27.2398 | 0.96461 | -1e-07 | 1.0945 | -1e-07 | -72.1353 | 107.8647 | 0.053557 | 0 | -23.5269 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.053557 | 0.053557 | -23.5269 | -23.5269

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.1865 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87726 | 0.87726 | -7.0807 | -7.0807

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0335 | 1.0335 | 0 | 2.1865 | 35.8013 | 35.8013 | 22.9639 | -21.2976 | 24.3455 | -22.4549 | -53.7095 | 126.2905 | 0.9348 | 0.86445 | -7.0367 | -7.1943
Line_1 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_2 | 0.18975 | 0.18975 | 0 | 0.40145 | 6.5731 | 6.5731 | 4.3529 | -4.2967 | 3.7818 | -3.7181 | -48.065 | 131.935 | 0.87726 | 0.86445 | -7.0807 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87726 | 0.87726 | -7.0807 | -7.0807

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.9783e-15 | -5.2523e-15 | -5.3183e-15 | 2.2117e-15 | 5.2523e-15 | 0 | -6.0881e-15 | -4.9547e-15 | -2.0306e-16 | 5.8107e-15 | 4.9547e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 0.58698 | 0.53892 | 1.1236 | 0.58698 | 0.53892 | 2.1866 | -174.273 | 178.33 | 2.1866 | -174.273 | 178.33

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16904 | 3.6325 | 3.7862 | 0.16904 | 3.6325 | 3.7862 | 1.952 | 41.9444 | 43.7187 | 1.952 | 41.9444 | 43.7187 | -2.1001 | 29.9127 | -16.6546 | 2.115 | -23.0513 | 24.1088 | -0.52717 | 3.407 | 12.5637 | 0.54403 | 4.3781 | -4.1061 | 167.5964 | -167.2244 | 11.6872 | -12.4036 | 12.7756 | -168.3128 | 1.1093 | 0.71776 | 0.47719 | 1.1188 | 0.55939 | 0.55939 | 1.6876 | -160.7266 | 154.6575 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.084522 | 0.67821 | 0.60008 | 0.084522 | 0.67821 | 0.60008 | 0.97598 | 7.8313 | 6.9291 | 0.97598 | 7.8313 | 6.9291 | 1.0612 | 4.5909 | -3.6358 | -1.0575 | -4.3518 | 3.823 | 0.27623 | -0.232 | 0.85185 | -0.27202 | 0.50338 | -0.63939 | -12.4036 | -171.3801 | 11.5164 | 167.5964 | 8.6199 | -168.4836 | 1.1236 | 0.58698 | 0.53892 | 1.1188 | 0.55939 | 0.55939 | 2.1866 | -174.273 | 178.33 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.9783e-15 | -5.2523e-15 | -5.3183e-15 | 2.2117e-15 | 5.2523e-15 | 0 | -6.0881e-15 | -4.9547e-15 | -2.0306e-16 | 5.8107e-15 | 4.9547e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1236 | 0.58698 | 0.53892 | 1.1236 | 0.58698 | 0.53892 | 2.1866 | -174.273 | 178.33 | 2.1866 | -174.273 | 178.33

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.008e-15 | 1.4748e-15 | 4.7371e-15 | 1.3968e-15 | 1.0951e-14 | 0 | 5.1539e-15 | -1.6316e-15 | 5.3474e-15 | -5.1995e-15 | 1.0043e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1026 | 0.92858 | 0.73154 | 1.1026 | 0.92858 | 0.73154 | 1.0008 | -137.8902 | 124.4274 | 1.0008 | -137.8902 | 124.4274

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06764 | 1.4535 | 1.515 | 0.06764 | 1.4535 | 1.515 | 0.78104 | 16.7833 | 17.4932 | 0.78104 | 16.7833 | 17.4932 | -0.85077 | 16.2829 | 0.53583 | 0.85314 | -15.1844 | 0.65762 | 0.11259 | 3.3836 | 13.9285 | -0.10989 | -2.1372 | -12.5744 | -171.7585 | -146.5792 | 32.3323 | 8.2415 | 33.4208 | -147.6677 | 1.0988 | 0.99091 | 0.79681 | 1.1013 | 0.91365 | 0.7198 | 0.70258 | -134.8402 | 120.1292 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.03382 | 0.27137 | 0.24011 | 0.03382 | 0.27137 | 0.24011 | 0.39052 | 3.1335 | 2.7726 | 0.39052 | 3.1335 | 2.7726 | 0.42717 | 2.8369 | -0.08019 | -0.42657 | -2.7987 | 0.11017 | -0.054272 | 0.64687 | 2.0267 | 0.054947 | -0.60342 | -1.9926 | 8.2415 | -150.7349 | 32.1615 | -171.7585 | 29.2651 | -147.8385 | 1.1026 | 0.92858 | 0.73154 | 1.1013 | 0.91365 | 0.7198 | 1.0008 | -137.8902 | 124.4274 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.008e-15 | 1.4748e-15 | 4.7371e-15 | 1.3968e-15 | 1.0951e-14 | 0 | 5.1539e-15 | -1.6316e-15 | 5.3474e-15 | -5.1995e-15 | 1.0043e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1026 | 0.92858 | 0.73154 | 1.1026 | 0.92858 | 0.73154 | 1.0008 | -137.8902 | 124.4274 | 1.0008 | -137.8902 | 124.4274

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4335e-15 | 4.2874e-15 | -2.4152e-15 | -2.2324e-15 | -1.0248e-15 | 2.0423e-16 | -1.0057e-16 | -2.2012e-15 | -4.3198e-15 | -4.9676e-15 | -2.8077e-15 | 4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4335e-15 | 4.2874e-15 | -2.4152e-15 | -2.2324e-15 | -1.0248e-15 | 2.0423e-16 | -1.0057e-16 | -2.2012e-15 | -4.3198e-15 | -4.9676e-15 | -2.8077e-15 | 4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8329e-15 | 1.0935e-15 | 0 | -1.7866e-15 | -3.645e-16 | 9.2407e-16 | -2.3473e-15 | 9.9981e-16 | 0 | -3.4773e-17 | -3.3327e-16 | -1.2867e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8329e-15 | 1.0935e-15 | 0 | -1.7866e-15 | -3.645e-16 | 9.2407e-16 | -2.3473e-15 | 9.9981e-16 | 0 | -3.4773e-17 | -3.3327e-16 | -1.2867e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1481 | 0.94125 | 0.81827 | 2.1454 | 0.94397 | 0.82092 | 24.8043 | 10.8687 | 9.4486 | 24.7727 | 10.9 | 9.4791 | 3.3401 | -6.891 | 11.8181 | 1.2627e-10 | 6.9698 | -11.8601 | 2.7497 | 12.218 | 5.0445 | -9.03e-11 | -11.7259 | -4.6564 | -75.1736 | 106.0619 | 110.1392 | 104.8472 | -73.9889 | -69.9325 | 0.17442 | 1.2906 | 1.36 | 0 | 1.2515 | 1.3442 | -35.7114 | -134.5151 | 133.254 | 0 | -133.262 | 131.5028
Line_1 | 0.9641 | 0.47452 | 0.41295 | 0.96157 | 0.47198 | 0.41046 | 11.1325 | 5.4792 | 4.7683 | 11.1033 | 5.45 | 4.7396 | 2.3569 | 4.5507 | -5.055 | 5.6121e-11 | -3.4849 | 5.9301 | 1.1069 | -5.4908 | -2.0753 | -4.1127e-11 | 5.8629 | 2.3282 | -74.5135 | -74.0446 | -70.0212 | 105.5126 | 106.0111 | 110.0675 | 0.2339 | 1.3015 | 1.146 | 0 | 1.2515 | 1.3442 | -49.3567 | -124.3929 | 132.2992 | 0 | -133.262 | 131.5028
Line_2 | 0.9641 | 0.47452 | 0.41295 | 0.96157 | 0.47198 | 0.41046 | 11.1325 | 5.4792 | 4.7683 | 11.1033 | 5.45 | 4.7396 | 2.3569 | 4.5507 | -5.055 | 5.6121e-11 | -3.4849 | 5.9301 | 1.1069 | -5.4908 | -2.0753 | -4.1127e-11 | 5.8629 | 2.3282 | -74.5135 | -74.0446 | -70.0212 | 105.5126 | 106.0111 | 110.0675 | 0.2339 | 1.3015 | 1.146 | 0 | 1.2515 | 1.3442 | -49.3567 | -124.3929 | 132.2992 | 0 | -133.262 | 131.5028
Line_3 | 0.0011657 | 0.0011657 | 0.0011657 | 0.0011657 | 0.0011657 | 0.0011657 | 0.013461 | 0.013461 | 0.013461 | 0.013461 | 0.013461 | 0.013461 | 0.0028755 | 0.011025 | -0.013901 | 0.0028755 | 0.011025 | -0.013901 | 0.0012823 | -0.013616 | -0.0066873 | 0.0012823 | -0.013616 | -0.0066873 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | 0.2339 | 1.3015 | 1.146 | 0.2339 | 1.3015 | 1.146 | -49.3567 | -124.3929 | 132.2992 | -49.3567 | -124.3929 | 132.2992

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1481 | 0.94125 | 0.81827 | 2.1454 | 0.94397 | 0.82092 | 24.8043 | 10.8687 | 9.4486 | 24.7727 | 10.9 | 9.4791 | 3.3401 | -6.891 | 11.8181 | 1.2627e-10 | 6.9698 | -11.8601 | 2.7497 | 12.218 | 5.0445 | -9.03e-11 | -11.7259 | -4.6564 | -75.1736 | 106.0619 | 110.1392 | 104.8472 | -73.9889 | -69.9325 | 0.17442 | 1.2906 | 1.36 | 0 | 1.2515 | 1.3442 | -35.7114 | -134.5151 | 133.254 | 0 | -133.262 | 131.5028
Line_1 | 0.9641 | 0.47452 | 0.41295 | 0.96157 | 0.47198 | 0.41046 | 11.1325 | 5.4792 | 4.7683 | 11.1033 | 5.45 | 4.7396 | 2.3569 | 4.5507 | -5.055 | 5.6121e-11 | -3.4849 | 5.9301 | 1.1069 | -5.4908 | -2.0753 | -4.1127e-11 | 5.8629 | 2.3282 | -74.5135 | -74.0446 | -70.0212 | 105.5126 | 106.0111 | 110.0675 | 0.2339 | 1.3015 | 1.146 | 0 | 1.2515 | 1.3442 | -49.3567 | -124.3929 | 132.2992 | 0 | -133.262 | 131.5028
Line_2 | 0.9641 | 0.47452 | 0.41295 | 0.96157 | 0.47198 | 0.41046 | 11.1325 | 5.4792 | 4.7683 | 11.1033 | 5.45 | 4.7396 | 2.3569 | 4.5507 | -5.055 | 5.6121e-11 | -3.4849 | 5.9301 | 1.1069 | -5.4908 | -2.0753 | -4.1127e-11 | 5.8629 | 2.3282 | -74.5135 | -74.0446 | -70.0212 | 105.5126 | 106.0111 | 110.0675 | 0.2339 | 1.3015 | 1.146 | 0 | 1.2515 | 1.3442 | -49.3567 | -124.3929 | 132.2992 | 0 | -133.262 | 131.5028
Line_3 | 0.0011657 | 0.0011657 | 0.0011657 | 0.0011657 | 0.0011657 | 0.0011657 | 0.013461 | 0.013461 | 0.013461 | 0.013461 | 0.013461 | 0.013461 | 0.0028755 | 0.011025 | -0.013901 | 0.0028755 | 0.011025 | -0.013901 | 0.0012823 | -0.013616 | -0.0066873 | 0.0012823 | -0.013616 | -0.0066873 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | 0.2339 | 1.3015 | 1.146 | 0.2339 | 1.3015 | 1.146 | -49.3567 | -124.3929 | 132.2992 | -49.3567 | -124.3929 | 132.2992

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67729 | 0.29677 | 0.258 | 0.67643 | 0.29763 | 0.25883 | 7.8207 | 3.4268 | 2.9791 | 7.8108 | 3.4367 | 2.9887 | 4.6506 | -1.3408 | 3.3742 | -4.3146 | 1.3529 | -3.3865 | 4.6427 | 3.8254 | -0.29805 | -4.3623 | -3.7834 | 0.33645 | -54.3609 | 126.8745 | 130.9518 | 125.6598 | -53.1763 | -49.1199 | 0.84026 | 1.1829 | 1.137 | 0.78553 | 1.1691 | 1.1387 | -9.4094 | -123.8097 | 125.904 | -9.0257 | -123.5004 | 125.2064
Line_1 | 0.30398 | 0.14961 | 0.1302 | 0.30318 | 0.14882 | 0.12942 | 3.51 | 1.7276 | 1.5034 | 3.5008 | 1.7184 | 1.4944 | 2.195 | 0.78544 | -1.6136 | -1.9564 | -0.67643 | 1.6933 | 2.0486 | -1.8614 | 0.19407 | -1.9326 | 1.8917 | -0.16823 | -53.7009 | -53.232 | -49.2085 | 126.3252 | 126.8237 | 130.8801 | 0.8554 | 1.1695 | 1.081 | 0.78553 | 1.1691 | 1.1387 | -10.6763 | -120.3543 | 123.9332 | -9.0257 | -123.5004 | 125.2064
Line_2 | 0.30398 | 0.14961 | 0.1302 | 0.30318 | 0.14882 | 0.12942 | 3.51 | 1.7276 | 1.5034 | 3.5008 | 1.7184 | 1.4944 | 2.195 | 0.78544 | -1.6136 | -1.9564 | -0.67643 | 1.6933 | 2.0486 | -1.8614 | 0.19407 | -1.9326 | 1.8917 | -0.16823 | -53.7009 | -53.232 | -49.2085 | 126.3252 | 126.8237 | 130.8801 | 0.8554 | 1.1695 | 1.081 | 0.78553 | 1.1691 | 1.1387 | -10.6763 | -120.3543 | 123.9332 | -9.0257 | -123.5004 | 125.2064
Line_3 | 0.00036755 | 0.00036755 | 0.00036755 | 0.00036755 | 0.00036755 | 0.00036755 | 0.0042441 | 0.0042441 | 0.0042441 | 0.0042441 | 0.0042441 | 0.0042441 | 0.002702 | 0.0018773 | -0.0045794 | 0.002702 | 0.0018773 | -0.0045794 | 0.0024246 | -0.0045946 | 0.00027909 | 0.0024246 | -0.0045946 | 0.00027909 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | 0.8554 | 1.1695 | 1.081 | 0.8554 | 1.1695 | 1.081 | -10.6763 | -120.3543 | 123.9332 | -10.6763 | -120.3543 | 123.9332

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67729 | 0.29677 | 0.258 | 0.67643 | 0.29763 | 0.25883 | 7.8207 | 3.4268 | 2.9791 | 7.8108 | 3.4367 | 2.9887 | 4.6506 | -1.3408 | 3.3742 | -4.3146 | 1.3529 | -3.3865 | 4.6427 | 3.8254 | -0.29805 | -4.3623 | -3.7834 | 0.33645 | -54.3609 | 126.8745 | 130.9518 | 125.6598 | -53.1763 | -49.1199 | 0.84026 | 1.1829 | 1.137 | 0.78553 | 1.1691 | 1.1387 | -9.4094 | -123.8097 | 125.904 | -9.0257 | -123.5004 | 125.2064
Line_1 | 0.30398 | 0.14961 | 0.1302 | 0.30318 | 0.14882 | 0.12942 | 3.51 | 1.7276 | 1.5034 | 3.5008 | 1.7184 | 1.4944 | 2.195 | 0.78544 | -1.6136 | -1.9564 | -0.67643 | 1.6933 | 2.0486 | -1.8614 | 0.19407 | -1.9326 | 1.8917 | -0.16823 | -53.7009 | -53.232 | -49.2085 | 126.3252 | 126.8237 | 130.8801 | 0.8554 | 1.1695 | 1.081 | 0.78553 | 1.1691 | 1.1387 | -10.6763 | -120.3543 | 123.9332 | -9.0257 | -123.5004 | 125.2064
Line_2 | 0.30398 | 0.14961 | 0.1302 | 0.30318 | 0.14882 | 0.12942 | 3.51 | 1.7276 | 1.5034 | 3.5008 | 1.7184 | 1.4944 | 2.195 | 0.78544 | -1.6136 | -1.9564 | -0.67643 | 1.6933 | 2.0486 | -1.8614 | 0.19407 | -1.9326 | 1.8917 | -0.16823 | -53.7009 | -53.232 | -49.2085 | 126.3252 | 126.8237 | 130.8801 | 0.8554 | 1.1695 | 1.081 | 0.78553 | 1.1691 | 1.1387 | -10.6763 | -120.3543 | 123.9332 | -9.0257 | -123.5004 | 125.2064
Line_3 | 0.00036755 | 0.00036755 | 0.00036755 | 0.00036755 | 0.00036755 | 0.00036755 | 0.0042441 | 0.0042441 | 0.0042441 | 0.0042441 | 0.0042441 | 0.0042441 | 0.002702 | 0.0018773 | -0.0045794 | 0.002702 | 0.0018773 | -0.0045794 | 0.0024246 | -0.0045946 | 0.00027909 | 0.0024246 | -0.0045946 | 0.00027909 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | 0.8554 | 1.1695 | 1.081 | 0.8554 | 1.1695 | 1.081 | -10.6763 | -120.3543 | 123.9332 | -10.6763 | -120.3543 | 123.9332

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7807 | 0.78221 | 0.67397 | 1.7785 | 0.78439 | 0.676 | 20.5622 | 9.0322 | 7.7824 | 20.5359 | 9.0573 | 7.8058 | 4.4523 | -2.1227 | 9.953 | -5.1857e-11 | 2.2083 | -9.9814 | 1.4443 | 10.3251 | 1.1542 | -1.5145e-12 | -9.7592 | -0.67388 | -62.8705 | 121.2745 | 126.6102 | 117.1729 | -58.8356 | -53.5342 | 0.22764 | 1.167 | 1.2875 | 0 | 1.1047 | 1.2816 | -44.8977 | -137.1084 | 133.2252 | 0 | -136.0854 | 130.3283
Line_1 | 0.86925 | 0.39417 | 0.33988 | 0.86721 | 0.39219 | 0.338 | 10.0372 | 4.5515 | 3.9246 | 10.0136 | 4.5287 | 3.9029 | 3.5436 | 2.5587 | -3.7888 | -2.5265e-11 | -1.1042 | 4.9907 | 1.0217 | -4.663 | -0.26117 | -1.2762e-12 | 4.8796 | 0.33694 | -64.0912 | -58.9623 | -53.7111 | 115.9542 | 121.1644 | 126.4658 | 0.36742 | 1.1686 | 0.96768 | 0 | 1.1047 | 1.2816 | -48.0077 | -120.2074 | 130.2321 | 0 | -136.0854 | 130.3283
Line_2 | 0.86925 | 0.39417 | 0.33988 | 0.86721 | 0.39219 | 0.338 | 10.0372 | 4.5515 | 3.9246 | 10.0136 | 4.5287 | 3.9029 | 3.5436 | 2.5587 | -3.7888 | -2.5265e-11 | -1.1042 | 4.9907 | 1.0217 | -4.663 | -0.26117 | -1.2762e-12 | 4.8796 | 0.33694 | -64.0912 | -58.9623 | -53.7111 | 115.9542 | 121.1644 | 126.4658 | 0.36742 | 1.1686 | 0.96768 | 0 | 1.1047 | 1.2816 | -48.0077 | -120.2074 | 130.2321 | 0 | -136.0854 | 130.3283
Line_3 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.0037904 | 0.0062563 | -0.010047 | 0.0037904 | 0.0062563 | -0.010047 | 0.00084896 | -0.010653 | -0.0019282 | 0.00084896 | -0.010653 | -0.0019282 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | 0.36742 | 1.1686 | 0.96768 | 0.36742 | 1.1686 | 0.96768 | -48.0077 | -120.2074 | 130.2321 | -48.0077 | -120.2074 | 130.2321

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7807 | 0.78221 | 0.67397 | 1.7785 | 0.78439 | 0.676 | 20.5622 | 9.0322 | 7.7824 | 20.5359 | 9.0573 | 7.8058 | 4.4523 | -2.1227 | 9.953 | -5.1857e-11 | 2.2083 | -9.9814 | 1.4443 | 10.3251 | 1.1542 | -1.5145e-12 | -9.7592 | -0.67388 | -62.8705 | 121.2745 | 126.6102 | 117.1729 | -58.8356 | -53.5342 | 0.22764 | 1.167 | 1.2875 | 0 | 1.1047 | 1.2816 | -44.8977 | -137.1084 | 133.2252 | 0 | -136.0854 | 130.3283
Line_1 | 0.86925 | 0.39417 | 0.33988 | 0.86721 | 0.39219 | 0.338 | 10.0372 | 4.5515 | 3.9246 | 10.0136 | 4.5287 | 3.9029 | 3.5436 | 2.5587 | -3.7888 | -2.5265e-11 | -1.1042 | 4.9907 | 1.0217 | -4.663 | -0.26117 | -1.2762e-12 | 4.8796 | 0.33694 | -64.0912 | -58.9623 | -53.7111 | 115.9542 | 121.1644 | 126.4658 | 0.36742 | 1.1686 | 0.96768 | 0 | 1.1047 | 1.2816 | -48.0077 | -120.2074 | 130.2321 | 0 | -136.0854 | 130.3283
Line_2 | 0.86925 | 0.39417 | 0.33988 | 0.86721 | 0.39219 | 0.338 | 10.0372 | 4.5515 | 3.9246 | 10.0136 | 4.5287 | 3.9029 | 3.5436 | 2.5587 | -3.7888 | -2.5265e-11 | -1.1042 | 4.9907 | 1.0217 | -4.663 | -0.26117 | -1.2762e-12 | 4.8796 | 0.33694 | -64.0912 | -58.9623 | -53.7111 | 115.9542 | 121.1644 | 126.4658 | 0.36742 | 1.1686 | 0.96768 | 0 | 1.1047 | 1.2816 | -48.0077 | -120.2074 | 130.2321 | 0 | -136.0854 | 130.3283
Line_3 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.0037904 | 0.0062563 | -0.010047 | 0.0037904 | 0.0062563 | -0.010047 | 0.00084896 | -0.010653 | -0.0019282 | 0.00084896 | -0.010653 | -0.0019282 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | 0.36742 | 1.1686 | 0.96768 | 0.36742 | 1.1686 | 0.96768 | -48.0077 | -120.2074 | 130.2321 | -48.0077 | -120.2074 | 130.2321

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57151 | 0.25104 | 0.2163 | 0.57078 | 0.25174 | 0.21695 | 6.5992 | 2.8988 | 2.4977 | 6.5908 | 2.9068 | 2.5052 | 3.7113 | -0.57634 | 2.5874 | -3.2509 | 0.58996 | -2.5969 | 3.3387 | 3.0325 | -0.61089 | -3.1834 | -2.979 | 0.65861 | -50.2647 | 133.8802 | 139.216 | 129.7786 | -46.2299 | -40.9284 | 0.75646 | 1.0648 | 1.0644 | 0.69036 | 1.0447 | 1.0694 | -8.2902 | -125.3587 | 125.9316 | -5.8231 | -125.028 | 124.8404
Line_1 | 0.27898 | 0.1265 | 0.10908 | 0.27832 | 0.12587 | 0.10848 | 3.2213 | 1.4607 | 1.2596 | 3.2138 | 1.4534 | 1.2526 | 1.9192 | 0.4479 | -1.1801 | -1.5518 | -0.29498 | 1.2984 | 1.6958 | -1.4717 | 0.3367 | -1.5856 | 1.4895 | -0.32931 | -51.4855 | -46.3565 | -41.1054 | 128.5599 | 133.7701 | 139.0716 | 0.79505 | 1.0532 | 0.97433 | 0.69036 | 1.0447 | 1.0694 | -10.0216 | -119.4296 | 122.9708 | -5.8231 | -125.028 | 124.8404
Line_2 | 0.27898 | 0.1265 | 0.10908 | 0.27832 | 0.12587 | 0.10848 | 3.2213 | 1.4607 | 1.2596 | 3.2138 | 1.4534 | 1.2526 | 1.9192 | 0.4479 | -1.1801 | -1.5518 | -0.29498 | 1.2984 | 1.6958 | -1.4717 | 0.3367 | -1.5856 | 1.4895 | -0.32931 | -51.4855 | -46.3565 | -41.1054 | 128.5599 | 133.7701 | 139.0716 | 0.79505 | 1.0532 | 0.97433 | 0.69036 | 1.0447 | 1.0694 | -10.0216 | -119.4296 | 122.9708 | -5.8231 | -125.028 | 124.8404
Line_3 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0021255 | 0.0011395 | -0.003265 | 0.0021255 | 0.0011395 | -0.003265 | 0.0016609 | -0.0033866 | 0.00051729 | 0.0016609 | -0.0033866 | 0.00051729 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | 0.79505 | 1.0532 | 0.97433 | 0.79505 | 1.0532 | 0.97433 | -10.0216 | -119.4296 | 122.9708 | -10.0216 | -119.4296 | 122.9708

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57151 | 0.25104 | 0.2163 | 0.57078 | 0.25174 | 0.21695 | 6.5992 | 2.8988 | 2.4977 | 6.5908 | 2.9068 | 2.5052 | 3.7113 | -0.57634 | 2.5874 | -3.2509 | 0.58996 | -2.5969 | 3.3387 | 3.0325 | -0.61089 | -3.1834 | -2.979 | 0.65861 | -50.2647 | 133.8802 | 139.216 | 129.7786 | -46.2299 | -40.9284 | 0.75646 | 1.0648 | 1.0644 | 0.69036 | 1.0447 | 1.0694 | -8.2902 | -125.3587 | 125.9316 | -5.8231 | -125.028 | 124.8404
Line_1 | 0.27898 | 0.1265 | 0.10908 | 0.27832 | 0.12587 | 0.10848 | 3.2213 | 1.4607 | 1.2596 | 3.2138 | 1.4534 | 1.2526 | 1.9192 | 0.4479 | -1.1801 | -1.5518 | -0.29498 | 1.2984 | 1.6958 | -1.4717 | 0.3367 | -1.5856 | 1.4895 | -0.32931 | -51.4855 | -46.3565 | -41.1054 | 128.5599 | 133.7701 | 139.0716 | 0.79505 | 1.0532 | 0.97433 | 0.69036 | 1.0447 | 1.0694 | -10.0216 | -119.4296 | 122.9708 | -5.8231 | -125.028 | 124.8404
Line_2 | 0.27898 | 0.1265 | 0.10908 | 0.27832 | 0.12587 | 0.10848 | 3.2213 | 1.4607 | 1.2596 | 3.2138 | 1.4534 | 1.2526 | 1.9192 | 0.4479 | -1.1801 | -1.5518 | -0.29498 | 1.2984 | 1.6958 | -1.4717 | 0.3367 | -1.5856 | 1.4895 | -0.32931 | -51.4855 | -46.3565 | -41.1054 | 128.5599 | 133.7701 | 139.0716 | 0.79505 | 1.0532 | 0.97433 | 0.69036 | 1.0447 | 1.0694 | -10.0216 | -119.4296 | 122.9708 | -5.8231 | -125.028 | 124.8404
Line_3 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0021255 | 0.0011395 | -0.003265 | 0.0021255 | 0.0011395 | -0.003265 | 0.0016609 | -0.0033866 | 0.00051729 | 0.0016609 | -0.0033866 | 0.00051729 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | 0.79505 | 1.0532 | 0.97433 | 0.79505 | 1.0532 | 0.97433 | -10.0216 | -119.4296 | 122.9708 | -10.0216 | -119.4296 | 122.9708

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61199 | 3.6991 | 3.7767 | 0.61421 | 3.6992 | 3.776 | 7.0667 | 42.7141 | 43.6091 | 7.0923 | 42.715 | 43.6018 | 1.3065 | 7.4532 | 7.3902 | -1.319 | 1.1102e-10 | 1.5344e-10 | 9.8008 | 6.847 | 9.7136 | -9.6583 | -1.0445e-10 | 4.9658e-12 | -81.3737 | -174.9649 | 19.257 | 98.6055 | 5.0696 | -160.7754 | 1.3992 | 0.23694 | 0.27988 | 1.3744 | 0 | 0 | 1.0333 | -132.3923 | 71.9928 | 0.82888 | 0 | 0
Line_1 | 0.30912 | 0.95047 | 0.76796 | 0.3071 | 0.94933 | 0.76643 | 3.5694 | 10.9751 | 8.8676 | 3.5461 | 10.962 | 8.85 | -0.17796 | 1.7907 | 0.77747 | 0.65951 | 3.8038e-11 | 2.4719e-11 | -4.5778 | -0.20466 | 1.4761 | 4.8291 | -9.1336e-12 | -1.8975e-11 | 98.6122 | 155.2165 | 58.6876 | -81.3945 | -24.683 | -121.4113 | 1.2835 | 0.16422 | 0.18813 | 1.3744 | 0 | 0 | 6.386 | 148.6964 | 120.911 | 0.82888 | 0 | 0
Line_2 | 0.30912 | 0.95047 | 0.76796 | 0.3071 | 0.94933 | 0.76643 | 3.5694 | 10.9751 | 8.8676 | 3.5461 | 10.962 | 8.85 | -0.17796 | 1.7907 | 0.77747 | 0.65951 | 3.8038e-11 | 2.4719e-11 | -4.5778 | -0.20466 | 1.4761 | 4.8291 | -9.1336e-12 | -1.8975e-11 | 98.6122 | 155.2165 | 58.6876 | -81.3945 | -24.683 | -121.4113 | 1.2835 | 0.16422 | 0.18813 | 1.3744 | 0 | 0 | 6.386 | 148.6964 | 120.911 | 0.82888 | 0 | 0
Line_3 | 0.00091505 | 0.00091505 | 0.00091505 | 0.00091505 | 0.00091505 | 0.00091505 | 0.010566 | 0.010566 | 0.010566 | 0.010566 | 0.010566 | 0.010566 | -0.0033202 | 0.0013647 | 0.0019555 | -0.0033202 | 0.0013647 | 0.0019555 | -0.013149 | 0.0010716 | 0.00035724 | -0.013149 | 0.0010716 | 0.00035724 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 1.2835 | 0.16422 | 0.18813 | 1.2835 | 0.16422 | 0.18813 | 6.386 | 148.6964 | 120.911 | 6.386 | 148.6964 | 120.911

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61199 | 3.6991 | 3.7767 | 0.61421 | 3.6992 | 3.776 | 7.0667 | 42.7141 | 43.6091 | 7.0923 | 42.715 | 43.6018 | 1.3065 | 7.4532 | 7.3902 | -1.319 | 1.1102e-10 | 1.5344e-10 | 9.8008 | 6.847 | 9.7136 | -9.6583 | -1.0445e-10 | 4.9658e-12 | -81.3737 | -174.9649 | 19.257 | 98.6055 | 5.0696 | -160.7754 | 1.3992 | 0.23694 | 0.27988 | 1.3744 | 0 | 0 | 1.0333 | -132.3923 | 71.9928 | 0.82888 | 0 | 0
Line_1 | 0.30912 | 0.95047 | 0.76796 | 0.3071 | 0.94933 | 0.76643 | 3.5694 | 10.9751 | 8.8676 | 3.5461 | 10.962 | 8.85 | -0.17796 | 1.7907 | 0.77747 | 0.65951 | 3.8038e-11 | 2.4719e-11 | -4.5778 | -0.20466 | 1.4761 | 4.8291 | -9.1336e-12 | -1.8975e-11 | 98.6122 | 155.2165 | 58.6876 | -81.3945 | -24.683 | -121.4113 | 1.2835 | 0.16422 | 0.18813 | 1.3744 | 0 | 0 | 6.386 | 148.6964 | 120.911 | 0.82888 | 0 | 0
Line_2 | 0.30912 | 0.95047 | 0.76796 | 0.3071 | 0.94933 | 0.76643 | 3.5694 | 10.9751 | 8.8676 | 3.5461 | 10.962 | 8.85 | -0.17796 | 1.7907 | 0.77747 | 0.65951 | 3.8038e-11 | 2.4719e-11 | -4.5778 | -0.20466 | 1.4761 | 4.8291 | -9.1336e-12 | -1.8975e-11 | 98.6122 | 155.2165 | 58.6876 | -81.3945 | -24.683 | -121.4113 | 1.2835 | 0.16422 | 0.18813 | 1.3744 | 0 | 0 | 6.386 | 148.6964 | 120.911 | 0.82888 | 0 | 0
Line_3 | 0.00091505 | 0.00091505 | 0.00091505 | 0.00091505 | 0.00091505 | 0.00091505 | 0.010566 | 0.010566 | 0.010566 | 0.010566 | 0.010566 | 0.010566 | -0.0033202 | 0.0013647 | 0.0019555 | -0.0033202 | 0.0013647 | 0.0019555 | -0.013149 | 0.0010716 | 0.00035724 | -0.013149 | 0.0010716 | 0.00035724 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 1.2835 | 0.16422 | 0.18813 | 1.2835 | 0.16422 | 0.18813 | 6.386 | 148.6964 | 120.911 | 6.386 | 148.6964 | 120.911

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23935 | 0.88934 | 0.95447 | 0.24016 | 0.88944 | 0.95407 | 2.7638 | 10.2692 | 11.0212 | 2.7732 | 10.2703 | 11.0167 | 1.5358 | 7.7001 | 5.1715 | -1.5395 | -7.2726 | -4.6664 | 2.9466 | 4.6023 | 8.6676 | -2.9275 | -4.24 | -8.0119 | -60.7754 | -153.8997 | 47.9495 | 119.1907 | 26.1527 | -132.0937 | 1.2022 | 0.87355 | 0.91579 | 1.1927 | 0.81968 | 0.84162 | 1.6947 | -123.0332 | 107.1275 | 1.4518 | -123.6048 | 107.6884
Line_1 | 0.12082 | 0.26516 | 0.2573 | 0.12008 | 0.26468 | 0.25663 | 1.3951 | 3.0618 | 2.9711 | 1.3866 | 3.0563 | 2.9633 | -0.7014 | 1.0182 | 2.5246 | 0.76976 | -0.84283 | -2.3889 | -1.4366 | 2.3447 | 0.87176 | 1.4638 | -2.3592 | -0.71615 | 119.171 | 165.932 | 91.0706 | -60.8093 | -13.9449 | -88.9992 | 1.1459 | 0.83487 | 0.89897 | 1.1927 | 0.81968 | 0.84162 | 3.1469 | -127.5404 | 110.1206 | 1.4518 | -123.6048 | 107.6884
Line_2 | 0.12082 | 0.26516 | 0.2573 | 0.12008 | 0.26468 | 0.25663 | 1.3951 | 3.0618 | 2.9711 | 1.3866 | 3.0563 | 2.9633 | -0.7014 | 1.0182 | 2.5246 | 0.76976 | -0.84283 | -2.3889 | -1.4366 | 2.3447 | 0.87176 | 1.4638 | -2.3592 | -0.71615 | 119.171 | 165.932 | 91.0706 | -60.8093 | -13.9449 | -88.9992 | 1.1459 | 0.83487 | 0.89897 | 1.1927 | 0.81968 | 0.84162 | 3.1469 | -127.5404 | 110.1206 | 1.4518 | -123.6048 | 107.6884
Line_3 | 0.00033657 | 0.00033657 | 0.00033657 | 0.00033657 | 0.00033657 | 0.00033657 | 0.0038863 | 0.0038863 | 0.0038863 | 0.0038863 | 0.0038863 | 0.0038863 | -0.0024751 | -0.00086962 | 0.0033447 | -0.0024751 | -0.00086962 | 0.0033447 | -0.003702 | 0.0031259 | -0.0010093 | -0.003702 | 0.0031259 | -0.0010093 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 1.1459 | 0.83487 | 0.89897 | 1.1459 | 0.83487 | 0.89897 | 3.1469 | -127.5404 | 110.1206 | 3.1469 | -127.5404 | 110.1206

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23935 | 0.88934 | 0.95447 | 0.24016 | 0.88944 | 0.95407 | 2.7638 | 10.2692 | 11.0212 | 2.7732 | 10.2703 | 11.0167 | 1.5358 | 7.7001 | 5.1715 | -1.5395 | -7.2726 | -4.6664 | 2.9466 | 4.6023 | 8.6676 | -2.9275 | -4.24 | -8.0119 | -60.7754 | -153.8997 | 47.9495 | 119.1907 | 26.1527 | -132.0937 | 1.2022 | 0.87355 | 0.91579 | 1.1927 | 0.81968 | 0.84162 | 1.6947 | -123.0332 | 107.1275 | 1.4518 | -123.6048 | 107.6884
Line_1 | 0.12082 | 0.26516 | 0.2573 | 0.12008 | 0.26468 | 0.25663 | 1.3951 | 3.0618 | 2.9711 | 1.3866 | 3.0563 | 2.9633 | -0.7014 | 1.0182 | 2.5246 | 0.76976 | -0.84283 | -2.3889 | -1.4366 | 2.3447 | 0.87176 | 1.4638 | -2.3592 | -0.71615 | 119.171 | 165.932 | 91.0706 | -60.8093 | -13.9449 | -88.9992 | 1.1459 | 0.83487 | 0.89897 | 1.1927 | 0.81968 | 0.84162 | 3.1469 | -127.5404 | 110.1206 | 1.4518 | -123.6048 | 107.6884
Line_2 | 0.12082 | 0.26516 | 0.2573 | 0.12008 | 0.26468 | 0.25663 | 1.3951 | 3.0618 | 2.9711 | 1.3866 | 3.0563 | 2.9633 | -0.7014 | 1.0182 | 2.5246 | 0.76976 | -0.84283 | -2.3889 | -1.4366 | 2.3447 | 0.87176 | 1.4638 | -2.3592 | -0.71615 | 119.171 | 165.932 | 91.0706 | -60.8093 | -13.9449 | -88.9992 | 1.1459 | 0.83487 | 0.89897 | 1.1927 | 0.81968 | 0.84162 | 3.1469 | -127.5404 | 110.1206 | 1.4518 | -123.6048 | 107.6884
Line_3 | 0.00033657 | 0.00033657 | 0.00033657 | 0.00033657 | 0.00033657 | 0.00033657 | 0.0038863 | 0.0038863 | 0.0038863 | 0.0038863 | 0.0038863 | 0.0038863 | -0.0024751 | -0.00086962 | 0.0033447 | -0.0024751 | -0.00086962 | 0.0033447 | -0.003702 | 0.0031259 | -0.0010093 | -0.003702 | 0.0031259 | -0.0010093 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 1.1459 | 0.83487 | 0.89897 | 1.1459 | 0.83487 | 0.89897 | 3.1469 | -127.5404 | 110.1206 | 3.1469 | -127.5404 | 110.1206

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46036 | 3.1349 | 3.1471 | 0.46224 | 3.1353 | 3.1463 | 5.3158 | 36.1989 | 36.3395 | 5.3375 | 36.2031 | 36.33 | 3.0618 | 9.8781 | 10.2584 | -3.1185 | -1.0756e-10 | -1.5738e-11 | 6.1684 | 3.9503 | 7.6627 | -6.0201 | -8.2705e-11 | -1.367e-10 | -63.0971 | -166.4583 | 27.0873 | 116.8013 | 13.5785 | -152.9468 | 1.2955 | 0.2939 | 0.35235 | 1.2702 | 0 | 0 | 0.50502 | -144.6618 | 63.8459 | -0.58344 | 0 | 0
Line_1 | 0.23275 | 0.96415 | 0.62176 | 0.23112 | 0.96334 | 0.62055 | 2.6876 | 11.1331 | 7.1794 | 2.6688 | 11.1237 | 7.1654 | -0.94823 | 3.0361 | 0.82989 | 1.5593 | -1.6893e-11 | -1.7488e-11 | -2.8224 | -0.69688 | 1.7433 | 3.0101 | -3.8112e-11 | -2.0753e-11 | 116.7111 | 164.9555 | 60.7121 | -63.1987 | -14.9577 | -119.394 | 1.1078 | 0.2798 | 0.26893 | 1.2702 | 0 | 0 | 8.1405 | 152.0283 | 125.2554 | -0.58344 | 0 | 0
Line_2 | 0.23275 | 0.96415 | 0.62176 | 0.23112 | 0.96334 | 0.62055 | 2.6876 | 11.1331 | 7.1794 | 2.6688 | 11.1237 | 7.1654 | -0.94823 | 3.0361 | 0.82989 | 1.5593 | -1.6893e-11 | -1.7488e-11 | -2.8224 | -0.69688 | 1.7433 | 3.0101 | -3.8112e-11 | -2.0753e-11 | 116.7111 | 164.9555 | 60.7121 | -63.1987 | -14.9577 | -119.394 | 1.1078 | 0.2798 | 0.26893 | 1.2702 | 0 | 0 | 8.1405 | 152.0283 | 125.2554 | -0.58344 | 0 | 0
Line_3 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | -0.0042665 | 0.0020632 | 0.0022033 | -0.0042665 | 0.0020632 | 0.0022033 | -0.0080123 | 0.00099975 | -3.5376e-05 | -0.0080123 | 0.00099975 | -3.5376e-05 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 1.1078 | 0.2798 | 0.26893 | 1.1078 | 0.2798 | 0.26893 | 8.1405 | 152.0283 | 125.2554 | 8.1405 | 152.0283 | 125.2554

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46036 | 3.1349 | 3.1471 | 0.46224 | 3.1353 | 3.1463 | 5.3158 | 36.1989 | 36.3395 | 5.3375 | 36.2031 | 36.33 | 3.0618 | 9.8781 | 10.2584 | -3.1185 | -1.0756e-10 | -1.5738e-11 | 6.1684 | 3.9503 | 7.6627 | -6.0201 | -8.2705e-11 | -1.367e-10 | -63.0971 | -166.4583 | 27.0873 | 116.8013 | 13.5785 | -152.9468 | 1.2955 | 0.2939 | 0.35235 | 1.2702 | 0 | 0 | 0.50502 | -144.6618 | 63.8459 | -0.58344 | 0 | 0
Line_1 | 0.23275 | 0.96415 | 0.62176 | 0.23112 | 0.96334 | 0.62055 | 2.6876 | 11.1331 | 7.1794 | 2.6688 | 11.1237 | 7.1654 | -0.94823 | 3.0361 | 0.82989 | 1.5593 | -1.6893e-11 | -1.7488e-11 | -2.8224 | -0.69688 | 1.7433 | 3.0101 | -3.8112e-11 | -2.0753e-11 | 116.7111 | 164.9555 | 60.7121 | -63.1987 | -14.9577 | -119.394 | 1.1078 | 0.2798 | 0.26893 | 1.2702 | 0 | 0 | 8.1405 | 152.0283 | 125.2554 | -0.58344 | 0 | 0
Line_2 | 0.23275 | 0.96415 | 0.62176 | 0.23112 | 0.96334 | 0.62055 | 2.6876 | 11.1331 | 7.1794 | 2.6688 | 11.1237 | 7.1654 | -0.94823 | 3.0361 | 0.82989 | 1.5593 | -1.6893e-11 | -1.7488e-11 | -2.8224 | -0.69688 | 1.7433 | 3.0101 | -3.8112e-11 | -2.0753e-11 | 116.7111 | 164.9555 | 60.7121 | -63.1987 | -14.9577 | -119.394 | 1.1078 | 0.2798 | 0.26893 | 1.2702 | 0 | 0 | 8.1405 | 152.0283 | 125.2554 | -0.58344 | 0 | 0
Line_3 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | -0.0042665 | 0.0020632 | 0.0022033 | -0.0042665 | 0.0020632 | 0.0022033 | -0.0080123 | 0.00099975 | -3.5376e-05 | -0.0080123 | 0.00099975 | -3.5376e-05 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 1.1078 | 0.2798 | 0.26893 | 1.1078 | 0.2798 | 0.26893 | 8.1405 | 152.0283 | 125.2554 | 8.1405 | 152.0283 | 125.2554

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19234 | 0.75952 | 0.81596 | 0.19302 | 0.75978 | 0.81546 | 2.221 | 8.7702 | 9.4219 | 2.2289 | 8.7732 | 9.4161 | 1.4794 | 6.2591 | 4.3618 | -1.4853 | -5.7082 | -3.6055 | 1.965 | 3.3874 | 6.3964 | -1.9417 | -3.2095 | -5.8434 | -52.3314 | -150.5201 | 50.7302 | 127.5638 | 29.5347 | -129.311 | 1.1075 | 0.81149 | 0.82171 | 1.0968 | 0.74645 | 0.7292 | 0.69356 | -122.0977 | 106.4398 | 0.15003 | -121.1179 | 109.0137
Line_1 | 0.097114 | 0.26466 | 0.22032 | 0.096512 | 0.26435 | 0.21974 | 1.1214 | 3.0561 | 2.5441 | 1.1144 | 3.0524 | 2.5374 | -0.64628 | 1.1463 | 1.9251 | 0.74264 | -0.86041 | -1.7421 | -0.95043 | 2.031 | 0.81697 | 0.97085 | -2.1098 | -0.62317 | 127.4592 | 170.9513 | 89.3917 | -52.4362 | -8.9312 | -90.6689 | 1.0249 | 0.76312 | 0.82202 | 1.0968 | 0.74645 | 0.7292 | 3.2442 | -128.4895 | 112.3871 | 0.15003 | -121.1179 | 109.0137
Line_2 | 0.097114 | 0.26466 | 0.22032 | 0.096512 | 0.26435 | 0.21974 | 1.1214 | 3.0561 | 2.5441 | 1.1144 | 3.0524 | 2.5374 | -0.64628 | 1.1463 | 1.9251 | 0.74264 | -0.86041 | -1.7421 | -0.95043 | 2.031 | 0.81697 | 0.97085 | -2.1098 | -0.62317 | 127.4592 | 170.9513 | 89.3917 | -52.4362 | -8.9312 | -90.6689 | 1.0249 | 0.76312 | 0.82202 | 1.0968 | 0.74645 | 0.7292 | 3.2442 | -128.4895 | 112.3871 | 0.15003 | -121.1179 | 109.0137
Line_3 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | -0.002022 | -0.00033998 | 0.002362 | -0.002022 | -0.00033998 | 0.002362 | -0.0024155 | 0.0023206 | -0.00089669 | -0.0024155 | 0.0023206 | -0.00089669 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 1.0249 | 0.76312 | 0.82202 | 1.0249 | 0.76312 | 0.82202 | 3.2442 | -128.4895 | 112.3871 | 3.2442 | -128.4895 | 112.3871

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19234 | 0.75952 | 0.81596 | 0.19302 | 0.75978 | 0.81546 | 2.221 | 8.7702 | 9.4219 | 2.2289 | 8.7732 | 9.4161 | 1.4794 | 6.2591 | 4.3618 | -1.4853 | -5.7082 | -3.6055 | 1.965 | 3.3874 | 6.3964 | -1.9417 | -3.2095 | -5.8434 | -52.3314 | -150.5201 | 50.7302 | 127.5638 | 29.5347 | -129.311 | 1.1075 | 0.81149 | 0.82171 | 1.0968 | 0.74645 | 0.7292 | 0.69356 | -122.0977 | 106.4398 | 0.15003 | -121.1179 | 109.0137
Line_1 | 0.097114 | 0.26466 | 0.22032 | 0.096512 | 0.26435 | 0.21974 | 1.1214 | 3.0561 | 2.5441 | 1.1144 | 3.0524 | 2.5374 | -0.64628 | 1.1463 | 1.9251 | 0.74264 | -0.86041 | -1.7421 | -0.95043 | 2.031 | 0.81697 | 0.97085 | -2.1098 | -0.62317 | 127.4592 | 170.9513 | 89.3917 | -52.4362 | -8.9312 | -90.6689 | 1.0249 | 0.76312 | 0.82202 | 1.0968 | 0.74645 | 0.7292 | 3.2442 | -128.4895 | 112.3871 | 0.15003 | -121.1179 | 109.0137
Line_2 | 0.097114 | 0.26466 | 0.22032 | 0.096512 | 0.26435 | 0.21974 | 1.1214 | 3.0561 | 2.5441 | 1.1144 | 3.0524 | 2.5374 | -0.64628 | 1.1463 | 1.9251 | 0.74264 | -0.86041 | -1.7421 | -0.95043 | 2.031 | 0.81697 | 0.97085 | -2.1098 | -0.62317 | 127.4592 | 170.9513 | 89.3917 | -52.4362 | -8.9312 | -90.6689 | 1.0249 | 0.76312 | 0.82202 | 1.0968 | 0.74645 | 0.7292 | 3.2442 | -128.4895 | 112.3871 | 0.15003 | -121.1179 | 109.0137
Line_3 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | -0.002022 | -0.00033998 | 0.002362 | -0.002022 | -0.00033998 | 0.002362 | -0.0024155 | 0.0023206 | -0.00089669 | -0.0024155 | 0.0023206 | -0.00089669 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 1.0249 | 0.76312 | 0.82202 | 1.0249 | 0.76312 | 0.82202 | 3.2442 | -128.4895 | 112.3871 | 3.2442 | -128.4895 | 112.3871