## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -4.6896e-14 | 30.1766 | -15.8685 | 3.6475e-14 | -23.0225 | 23.0225 | -2.6053e-14 | 3.131 | 13.1032 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.7421e-13 | -161.8563 | 152.6723 | 5.7349e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.3027e-14 | -5.2106e-15 | -1.5632e-14 | 2.8659e-14 | 1.1188e-21 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.7273e-13 | -180 | 180 | 5.7349e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.3027e-14 | -5.2106e-15 | -5.2106e-15 | 1.8237e-14 | 1.1188e-21 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.747e-13 | -180 | 180 | 5.7349e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -4.6896e-14 | 30.1766 | -15.8685 | 3.6475e-14 | -23.0225 | 23.0225 | -2.6053e-14 | 3.131 | 13.1032 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.7421e-13 | -161.8563 | 152.6723 | 5.7349e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.3027e-14 | -5.2106e-15 | -1.5632e-14 | 2.8659e-14 | 1.1188e-21 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.7273e-13 | -180 | 180 | 5.7349e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.3027e-14 | -5.2106e-15 | -5.2106e-15 | 1.8237e-14 | 1.1188e-21 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.747e-13 | -180 | 180 | 5.7349e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.0843e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | -1.0421e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.397e-13 | -138.0936 | 121.2196 | 2.3948e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.0421e-14 | -4.7339e-10 | -1.0337e-09 | 2.1728e-29 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3892e-13 | -142.8673 | 128.239 | 2.3948e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7338e-10 | 1.0337e-09 | -2.6053e-15 | -4.7337e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.4065e-13 | -142.8673 | 128.239 | 2.3948e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.0843e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | -1.0421e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.397e-13 | -138.0936 | 121.2196 | 2.3948e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.0421e-14 | -4.7339e-10 | -1.0337e-09 | 2.1728e-29 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3892e-13 | -142.8673 | 128.239 | 2.3948e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7338e-10 | 1.0337e-09 | -2.6053e-15 | -4.7337e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.4065e-13 | -142.8673 | 128.239 | 2.3948e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.3685e-15 | 26.5997 | -7.1734 | 2.3685e-15 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 2.0867e-29 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2926e-13 | -160.7833 | 141.207 | 5.0479e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1123e-29 | -1.1841e-15 | 2.3686e-15 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.9741e-13 | -180 | 180 | 5.0479e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5528e-15 | 2.3686e-15 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.8683e-13 | -180 | 180 | 5.0479e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.3685e-15 | 26.5997 | -7.1734 | 2.3685e-15 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 2.0867e-29 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2926e-13 | -160.7833 | 141.207 | 5.0479e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1123e-29 | -1.1841e-15 | 2.3686e-15 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.9741e-13 | -180 | 180 | 5.0479e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5528e-15 | 2.3686e-15 | -2.3685e-15 | 2.3685e-15 | -1.4429e-20 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.8683e-13 | -180 | 180 | 5.0479e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.9212e-16 | 15.3932 | 0.73601 | -2.3685e-15 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3372e-13 | -138.1765 | 119.7467 | 2.2209e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.798e-10 | 8.2616e-10 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | 4.5479e-30 | -1.0532e-09 | 4.5325e-10 | 4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.2004e-13 | -142.5584 | 131.6989 | 2.2209e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2616e-10 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.1327e-13 | -142.5584 | 131.6989 | 2.2209e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.9212e-16 | 15.3932 | 0.73601 | -2.3685e-15 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3372e-13 | -138.1765 | 119.7467 | 2.2209e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.798e-10 | 8.2616e-10 | -2.3685e-15 | -4.798e-10 | -8.2616e-10 | 4.5479e-30 | -1.0532e-09 | 4.5325e-10 | 4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.2004e-13 | -142.5584 | 131.6989 | 2.2209e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2616e-10 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.1327e-13 | -142.5584 | 131.6989 | 2.2209e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1527 | 0.0062643 | 0.0062643 | 4.152 | 0.004959 | 0.004959 | 47.9509 | 0.072334 | 0.072334 | 47.9427 | 0.057262 | 0.057262 | 27.2554 | 0.065986 | -0.054891 | 3.0947e-10 | -0.047336 | 0.047301 | 15.1909 | 0.0066287 | -0.059567 | -3.6799e-10 | 0.015879 | 0.07016 | -57.3393 | -118.7062 | -118.7062 | 122.6759 | 60.1629 | 60.1629 | 0.65073 | 0.91683 | 1.1198 | 0 | 0.87192 | 1.4777 | -28.206 | -112.9697 | 108.633 | 0 | -138.3815 | 116.1751
Line_1 | 0 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 0 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 2.4396e-13 | 5.5022e-10 | -2.0622e-09 | -2.8025e-13 | 0.023668 | -0.023651 | 1.7049e-12 | -1.1096e-09 | -3.9864e-10 | -6.2522e-14 | -0.0079395 | -0.03508 | 0 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.00042703 | 0.8716 | 1.478 | 0 | 0.87192 | 1.4777 | 81.8346 | -138.3996 | 116.1658 | 0 | -138.3815 | 116.1751
Line_2 | 0 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 0 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 2.4395e-13 | 5.5022e-10 | -2.0621e-09 | -2.8025e-13 | 0.023668 | -0.023651 | 1.7049e-12 | -1.1096e-09 | -3.9866e-10 | -6.2522e-14 | -0.0079395 | -0.03508 | 0 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.00042703 | 0.8716 | 1.478 | 0 | 0.87192 | 1.4777 | 81.8346 | -138.3996 | 116.1658 | 0 | -138.3815 | 116.1751

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1527 | 0.0062643 | 0.0062643 | 4.152 | 0.004959 | 0.004959 | 47.9509 | 0.072334 | 0.072334 | 47.9427 | 0.057262 | 0.057262 | 27.2554 | 0.065986 | -0.054891 | 3.0947e-10 | -0.047336 | 0.047301 | 15.1909 | 0.0066287 | -0.059567 | -3.6799e-10 | 0.015879 | 0.07016 | -57.3393 | -118.7062 | -118.7062 | 122.6759 | 60.1629 | 60.1629 | 0.65073 | 0.91683 | 1.1198 | 0 | 0.87192 | 1.4777 | -28.206 | -112.9697 | 108.633 | 0 | -138.3815 | 116.1751
Line_1 | 0 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 0 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 2.4396e-13 | 5.5022e-10 | -2.0622e-09 | -2.8025e-13 | 0.023668 | -0.023651 | 1.7049e-12 | -1.1096e-09 | -3.9864e-10 | -6.2522e-14 | -0.0079395 | -0.03508 | 0 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.00042703 | 0.8716 | 1.478 | 0 | 0.87192 | 1.4777 | 81.8346 | -138.3996 | 116.1658 | 0 | -138.3815 | 116.1751
Line_2 | 0 | 0 | 0 | 0.0024795 | 0.0024795 | 0.0024795 | 0 | 0 | 0 | 0.028631 | 0.028631 | 0.028631 | 2.4395e-13 | 5.5022e-10 | -2.0621e-09 | -2.8025e-13 | 0.023668 | -0.023651 | 1.7049e-12 | -1.1096e-09 | -3.9866e-10 | -6.2522e-14 | -0.0079395 | -0.03508 | 0 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.00042703 | 0.8716 | 1.478 | 0 | 0.87192 | 1.4777 | 81.8346 | -138.3996 | 116.1658 | 0 | -138.3815 | 116.1751

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2606 | 0.0019016 | 0.0019016 | 1.2604 | 0.0015054 | 0.0015054 | 14.5563 | 0.021958 | 0.021958 | 14.5538 | 0.017383 | 0.017383 | 10.4411 | 0.022548 | -0.016731 | -7.9302 | -0.017457 | 0.013405 | 9.3504 | -0.0033599 | -0.017765 | -7.947 | 0.0043487 | 0.016363 | -48.7729 | -110.1398 | -110.1398 | 131.2423 | 68.7293 | 68.7293 | 0.96288 | 1.0382 | 1.1113 | 0.77141 | 1.035 | 1.2169 | -6.9273 | -118.6152 | 116.5772 | -3.697 | -125.2589 | 119.4039
Line_1 | 0 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 0 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | 9.23e-10 | 2.2956e-10 | -5.2248e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -2.0009e-10 | -3.8287e-10 | -5.1321e-11 | 0.0063917 | -0.0021744 | -0.0081817 | 0 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.7714 | 1.0349 | 1.217 | 0.77141 | 1.035 | 1.2169 | -3.6874 | -125.263 | 119.401 | -3.697 | -125.2589 | 119.4039
Line_2 | 0 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 0 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | 9.23e-10 | 2.2955e-10 | -5.2248e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -2.0009e-10 | -3.8287e-10 | -5.132e-11 | 0.0063917 | -0.0021744 | -0.0081817 | 0 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.7714 | 1.0349 | 1.217 | 0.77141 | 1.035 | 1.2169 | -3.6874 | -125.263 | 119.401 | -3.697 | -125.2589 | 119.4039

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2606 | 0.0019016 | 0.0019016 | 1.2604 | 0.0015054 | 0.0015054 | 14.5563 | 0.021958 | 0.021958 | 14.5538 | 0.017383 | 0.017383 | 10.4411 | 0.022548 | -0.016731 | -7.9302 | -0.017457 | 0.013405 | 9.3504 | -0.0033599 | -0.017765 | -7.947 | 0.0043487 | 0.016363 | -48.7729 | -110.1398 | -110.1398 | 131.2423 | 68.7293 | 68.7293 | 0.96288 | 1.0382 | 1.1113 | 0.77141 | 1.035 | 1.2169 | -6.9273 | -118.6152 | 116.5772 | -3.697 | -125.2589 | 119.4039
Line_1 | 0 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 0 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | 9.23e-10 | 2.2956e-10 | -5.2248e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -2.0009e-10 | -3.8287e-10 | -5.1321e-11 | 0.0063917 | -0.0021744 | -0.0081817 | 0 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.7714 | 1.0349 | 1.217 | 0.77141 | 1.035 | 1.2169 | -3.6874 | -125.263 | 119.401 | -3.697 | -125.2589 | 119.4039
Line_2 | 0 | 0 | 0 | 0.0007527 | 0.0007527 | 0.0007527 | 0 | 0 | 0 | 0.0086914 | 0.0086914 | 0.0086914 | 9.23e-10 | 2.2955e-10 | -5.2248e-10 | -0.0020243 | 0.0087286 | -0.0067027 | -2.0009e-10 | -3.8287e-10 | -5.132e-11 | 0.0063917 | -0.0021744 | -0.0081817 | 0 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.7714 | 1.0349 | 1.217 | 0.77141 | 1.035 | 1.2169 | -3.6874 | -125.263 | 119.401 | -3.697 | -125.2589 | 119.4039

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8299 | 0.0074751 | 0.0074751 | 2.8294 | 0.0059593 | 0.0059593 | 32.6772 | 0.086315 | 0.086315 | 32.6716 | 0.068812 | 0.068812 | 24.3023 | 0.073013 | -0.062898 | -9.756e-11 | -0.053903 | 0.053808 | 6.9944 | -0.0036636 | -0.065947 | 1.249e-11 | 0.036611 | 0.087635 | -40.3824 | -114.6203 | -114.6203 | 139.6468 | 64.6526 | 64.6526 | 0.7739 | 0.84695 | 1.0558 | 0 | 0.94694 | 1.4945 | -24.3261 | -117.4928 | 111.7352 | 0 | -149.5321 | 123.1025
Line_1 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0779e-13 | -2.6566e-10 | -2.722e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.9419e-10 | 9.5829e-14 | -0.018306 | -0.043818 | 0 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.00093492 | 0.94629 | 1.4951 | 0 | 0.94694 | 1.4945 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025
Line_2 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0779e-13 | -2.6564e-10 | -2.722e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.942e-10 | 9.5829e-14 | -0.018306 | -0.043818 | 0 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.00093492 | 0.94629 | 1.4951 | 0 | 0.94694 | 1.4945 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8299 | 0.0074751 | 0.0074751 | 2.8294 | 0.0059593 | 0.0059593 | 32.6772 | 0.086315 | 0.086315 | 32.6716 | 0.068812 | 0.068812 | 24.3023 | 0.073013 | -0.062898 | -9.756e-11 | -0.053903 | 0.053808 | 6.9944 | -0.0036636 | -0.065947 | 1.249e-11 | 0.036611 | 0.087635 | -40.3824 | -114.6203 | -114.6203 | 139.6468 | 64.6526 | 64.6526 | 0.7739 | 0.84695 | 1.0558 | 0 | 0.94694 | 1.4945 | -24.3261 | -117.4928 | 111.7352 | 0 | -149.5321 | 123.1025
Line_1 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0779e-13 | -2.6566e-10 | -2.722e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.9419e-10 | 9.5829e-14 | -0.018306 | -0.043818 | 0 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.00093492 | 0.94629 | 1.4951 | 0 | 0.94694 | 1.4945 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025
Line_2 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0779e-13 | -2.6564e-10 | -2.722e-09 | 3.9305e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.942e-10 | 9.5829e-14 | -0.018306 | -0.043818 | 0 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.00093492 | 0.94629 | 1.4951 | 0 | 0.94694 | 1.4945 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0368 | 0.0027386 | 0.0027386 | 1.0366 | 0.0021832 | 0.0021832 | 11.9717 | 0.031623 | 0.031623 | 11.9696 | 0.02521 | 0.02521 | 8.6189 | 0.029861 | -0.01866 | -5.3588 | -0.023229 | 0.015192 | 6.3231 | -0.00070754 | -0.026117 | -5.3807 | 0.004883 | 0.025629 | -43.4024 | -117.6403 | -117.6403 | 136.6268 | 61.6326 | 61.6326 | 0.89291 | 0.94457 | 1.015 | 0.63444 | 0.94156 | 1.1818 | -7.1372 | -118.9976 | 116.8153 | 1.7434 | -130.2389 | 120.974
Line_1 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1977e-11 | -6.1396e-10 | 7.2742e-11 | 0.0069179 | -0.0024415 | -0.012815 | 0 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.63455 | 0.94125 | 1.1821 | 0.63444 | 0.94156 | 1.1818 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974
Line_2 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1978e-11 | -6.1396e-10 | 7.2749e-11 | 0.0069179 | -0.0024415 | -0.012815 | 0 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.63455 | 0.94125 | 1.1821 | 0.63444 | 0.94156 | 1.1818 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0368 | 0.0027386 | 0.0027386 | 1.0366 | 0.0021832 | 0.0021832 | 11.9717 | 0.031623 | 0.031623 | 11.9696 | 0.02521 | 0.02521 | 8.6189 | 0.029861 | -0.01866 | -5.3588 | -0.023229 | 0.015192 | 6.3231 | -0.00070754 | -0.026117 | -5.3807 | 0.004883 | 0.025629 | -43.4024 | -117.6403 | -117.6403 | 136.6268 | 61.6326 | 61.6326 | 0.89291 | 0.94457 | 1.015 | 0.63444 | 0.94156 | 1.1818 | -7.1372 | -118.9976 | 116.8153 | 1.7434 | -130.2389 | 120.974
Line_1 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1977e-11 | -6.1396e-10 | 7.2742e-11 | 0.0069179 | -0.0024415 | -0.012815 | 0 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.63455 | 0.94125 | 1.1821 | 0.63444 | 0.94156 | 1.1818 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974
Line_2 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1978e-11 | -6.1396e-10 | 7.2749e-11 | 0.0069179 | -0.0024415 | -0.012815 | 0 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.63455 | 0.94125 | 1.1821 | 0.63444 | 0.94156 | 1.1818 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054752 | 5.0281 | 2.9716 | 0.0043343 | 5.0281 | 2.9707 | 0.063222 | 58.0593 | 34.313 | 0.050049 | 58.0599 | 34.3032 | 0.0034349 | 31.9649 | -0.25078 | -2.6043e-05 | 2.3501e-10 | 1.5555e-10 | -0.061726 | 7.9425 | 16.0371 | 0.065727 | -1.5157e-10 | -5.2147e-11 | 78.5589 | 175.5985 | 41.1679 | -102.572 | -4.3885 | -138.8468 | 0.97785 | 0.5673 | 0.46743 | 1.3133 | 0 | 0 | -8.256 | -170.4474 | 132.0638 | -12.5493 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 0 | 0 | 0.025024 | 0.025024 | 0.025024 | -1.1546e-09 | 1.1677e-12 | -1.4068e-12 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -1.1524e-09 | 9.494e-13 | 5.3703e-13 | -0.032863 | -1.0956e-13 | 9.7809e-14 | 0 | 0 | 0 | 77.428 | 77.428 | 77.428 | 1.3134 | 0.00037323 | 0.00037323 | 1.3133 | 0 | 0 | -12.5644 | -80.9003 | -80.9003 | -12.5493 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 0 | 0 | 0.025024 | 0.025024 | 0.025024 | -1.1546e-09 | 1.1677e-12 | -1.4068e-12 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -1.1524e-09 | 9.494e-13 | 5.3703e-13 | -0.032863 | -1.0956e-13 | 9.7809e-14 | 0 | 0 | 0 | 77.428 | 77.428 | 77.428 | 1.3134 | 0.00037323 | 0.00037323 | 1.3133 | 0 | 0 | -12.5644 | -80.9003 | -80.9003 | -12.5493 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054752 | 5.0281 | 2.9716 | 0.0043343 | 5.0281 | 2.9707 | 0.063222 | 58.0593 | 34.313 | 0.050049 | 58.0599 | 34.3032 | 0.0034349 | 31.9649 | -0.25078 | -2.6043e-05 | 2.3501e-10 | 1.5555e-10 | -0.061726 | 7.9425 | 16.0371 | 0.065727 | -1.5157e-10 | -5.2147e-11 | 78.5589 | 175.5985 | 41.1679 | -102.572 | -4.3885 | -138.8468 | 0.97785 | 0.5673 | 0.46743 | 1.3133 | 0 | 0 | -8.256 | -170.4474 | 132.0638 | -12.5493 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 0 | 0 | 0.025024 | 0.025024 | 0.025024 | -1.1546e-09 | 1.1677e-12 | -1.4068e-12 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -1.1524e-09 | 9.494e-13 | 5.3703e-13 | -0.032863 | -1.0956e-13 | 9.7809e-14 | 0 | 0 | 0 | 77.428 | 77.428 | 77.428 | 1.3134 | 0.00037323 | 0.00037323 | 1.3133 | 0 | 0 | -12.5644 | -80.9003 | -80.9003 | -12.5493 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021672 | 0.0021672 | 0.0021672 | 0 | 0 | 0 | 0.025024 | 0.025024 | 0.025024 | -1.1546e-09 | 1.1677e-12 | -1.4068e-12 | 1.3021e-05 | -5.0245e-14 | -6.8976e-14 | -1.1524e-09 | 9.494e-13 | 5.3703e-13 | -0.032863 | -1.0956e-13 | 9.7809e-14 | 0 | 0 | 0 | 77.428 | 77.428 | 77.428 | 1.3134 | 0.00037323 | 0.00037323 | 1.3133 | 0 | 0 | -12.5644 | -80.9003 | -80.9003 | -12.5493 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001815 | 1.3821 | 1.1779 | 0.0014368 | 1.3823 | 1.1776 | 0.020958 | 15.9595 | 13.6016 | 0.016591 | 15.961 | 13.5973 | 0.0047454 | 11.9751 | 7.7499 | -0.0036912 | -9.5488 | -6.9262 | -0.021583 | 9.5633 | 9.2993 | 0.018869 | -9.5666 | -6.9237 | 75.2134 | -169.8408 | 65.5794 | -105.9175 | 10.174 | -114.425 | 1.0544 | 0.96025 | 0.88999 | 1.1588 | 0.84685 | 0.72024 | -2.3867 | -131.23 | 115.7723 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0 | 0 | 0 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 0 | 0 | 0.0082956 | 0.0082956 | 0.0082956 | -2.668e-10 | 7.7405e-10 | 9.6378e-10 | 0.0018456 | -0.0066482 | 0.004804 | -3.9558e-10 | -2.8389e-10 | -4.7602e-10 | -0.0094343 | 0.0022703 | 0.0035525 | 0 | 0 | 0 | 74.0825 | 74.0825 | 74.0825 | 1.1588 | 0.84694 | 0.72012 | 1.1588 | 0.84685 | 0.72024 | -4.8548 | -124.7671 | 110.5672 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0 | 0 | 0 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 0 | 0 | 0.0082956 | 0.0082956 | 0.0082956 | -2.668e-10 | 7.7404e-10 | 9.6379e-10 | 0.0018456 | -0.0066482 | 0.004804 | -3.9557e-10 | -2.839e-10 | -4.7602e-10 | -0.0094343 | 0.0022703 | 0.0035525 | 0 | 0 | 0 | 74.0825 | 74.0825 | 74.0825 | 1.1588 | 0.84694 | 0.72012 | 1.1588 | 0.84685 | 0.72024 | -4.8548 | -124.7671 | 110.5672 | -4.8488 | -124.7726 | 110.5646

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001815 | 1.3821 | 1.1779 | 0.0014368 | 1.3823 | 1.1776 | 0.020958 | 15.9595 | 13.6016 | 0.016591 | 15.961 | 13.5973 | 0.0047454 | 11.9751 | 7.7499 | -0.0036912 | -9.5488 | -6.9262 | -0.021583 | 9.5633 | 9.2993 | 0.018869 | -9.5666 | -6.9237 | 75.2134 | -169.8408 | 65.5794 | -105.9175 | 10.174 | -114.425 | 1.0544 | 0.96025 | 0.88999 | 1.1588 | 0.84685 | 0.72024 | -2.3867 | -131.23 | 115.7723 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0 | 0 | 0 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 0 | 0 | 0.0082956 | 0.0082956 | 0.0082956 | -2.668e-10 | 7.7405e-10 | 9.6378e-10 | 0.0018456 | -0.0066482 | 0.004804 | -3.9558e-10 | -2.8389e-10 | -4.7602e-10 | -0.0094343 | 0.0022703 | 0.0035525 | 0 | 0 | 0 | 74.0825 | 74.0825 | 74.0825 | 1.1588 | 0.84694 | 0.72012 | 1.1588 | 0.84685 | 0.72024 | -4.8548 | -124.7671 | 110.5672 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0 | 0 | 0 | 0.00071842 | 0.00071842 | 0.00071842 | 0 | 0 | 0 | 0.0082956 | 0.0082956 | 0.0082956 | -2.668e-10 | 7.7404e-10 | 9.6379e-10 | 0.0018456 | -0.0066482 | 0.004804 | -3.9557e-10 | -2.839e-10 | -4.7602e-10 | -0.0094343 | 0.0022703 | 0.0035525 | 0 | 0 | 0 | 74.0825 | 74.0825 | 74.0825 | 1.1588 | 0.84694 | 0.72012 | 1.1588 | 0.84685 | 0.72024 | -4.8548 | -124.7671 | 110.5672 | -4.8488 | -124.7726 | 110.5646

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00545 | 3.9226 | 2.4904 | 0.0043448 | 3.9229 | 2.4897 | 0.062931 | 45.2941 | 28.7571 | 0.05017 | 45.2975 | 28.7485 | 0.0021943 | 30.34 | -0.11431 | -5.0242e-05 | -1.6984e-10 | -2.5876e-11 | -0.059921 | 1.8331 | 12.1337 | 0.066045 | -1.9371e-10 | -1.6157e-10 | 81.7197 | -170.3056 | 37.2235 | -99.0075 | 9.71 | -142.7952 | 0.9528 | 0.67106 | 0.42195 | 1.3164 | 0 | 0 | -6.1832 | -166.8481 | 127.7633 | -8.9639 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -7.546e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4657e-14 | 8.6147e-14 | 0 | 0 | 0 | 80.9925 | 80.9925 | 80.9925 | 1.3166 | 0.00068164 | 0.00068164 | 1.3164 | 0 | 0 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2217e-12 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -7.5461e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4657e-14 | 8.6147e-14 | 0 | 0 | 0 | 80.9925 | 80.9925 | 80.9925 | 1.3166 | 0.00068164 | 0.00068164 | 1.3164 | 0 | 0 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00545 | 3.9226 | 2.4904 | 0.0043448 | 3.9229 | 2.4897 | 0.062931 | 45.2941 | 28.7571 | 0.05017 | 45.2975 | 28.7485 | 0.0021943 | 30.34 | -0.11431 | -5.0242e-05 | -1.6984e-10 | -2.5876e-11 | -0.059921 | 1.8331 | 12.1337 | 0.066045 | -1.9371e-10 | -1.6157e-10 | 81.7197 | -170.3056 | 37.2235 | -99.0075 | 9.71 | -142.7952 | 0.9528 | 0.67106 | 0.42195 | 1.3164 | 0 | 0 | -6.1832 | -166.8481 | 127.7633 | -8.9639 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -7.546e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4657e-14 | 8.6147e-14 | 0 | 0 | 0 | 80.9925 | 80.9925 | 80.9925 | 1.3166 | 0.00068164 | 0.00068164 | 1.3164 | 0 | 0 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2217e-12 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -7.5461e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4657e-14 | 8.6147e-14 | 0 | 0 | 0 | 80.9925 | 80.9925 | 80.9925 | 1.3166 | 0.00068164 | 0.00068164 | 1.3164 | 0 | 0 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024496 | 1.2103 | 0.96782 | 0.0019529 | 1.2106 | 0.96733 | 0.028286 | 13.9751 | 11.1754 | 0.02255 | 13.9783 | 11.1697 | 0.0083193 | 10.4505 | 5.6921 | -0.00643 | -7.3248 | -4.6699 | -0.026092 | 6.614 | 7.0663 | 0.024413 | -7.3438 | -4.6684 | 69.9296 | -164.1843 | 64.7098 | -110.7976 | 15.8354 | -115.2943 | 0.96821 | 0.88497 | 0.81194 | 1.1195 | 0.74202 | 0.59117 | -2.3861 | -131.8552 | 115.8573 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1353e-10 | 7.0103e-10 | 8.5153e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3583e-11 | -3.87e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | 0 | 0 | 69.2024 | 69.2024 | 69.2024 | 1.1195 | 0.74231 | 0.5909 | 1.1195 | 0.74202 | 0.59117 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1354e-10 | 7.0103e-10 | 8.5152e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3586e-11 | -3.8699e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | 0 | 0 | 69.2024 | 69.2024 | 69.2024 | 1.1195 | 0.74231 | 0.5909 | 1.1195 | 0.74202 | 0.59117 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024496 | 1.2103 | 0.96782 | 0.0019529 | 1.2106 | 0.96733 | 0.028286 | 13.9751 | 11.1754 | 0.02255 | 13.9783 | 11.1697 | 0.0083193 | 10.4505 | 5.6921 | -0.00643 | -7.3248 | -4.6699 | -0.026092 | 6.614 | 7.0663 | 0.024413 | -7.3438 | -4.6684 | 69.9296 | -164.1843 | 64.7098 | -110.7976 | 15.8354 | -115.2943 | 0.96821 | 0.88497 | 0.81194 | 1.1195 | 0.74202 | 0.59117 | -2.3861 | -131.8552 | 115.8573 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1353e-10 | 7.0103e-10 | 8.5153e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3583e-11 | -3.87e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | 0 | 0 | 69.2024 | 69.2024 | 69.2024 | 1.1195 | 0.74231 | 0.5909 | 1.1195 | 0.74202 | 0.59117 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1354e-10 | 7.0103e-10 | 8.5152e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3586e-11 | -3.8699e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | 0 | 0 | 69.2024 | 69.2024 | 69.2024 | 1.1195 | 0.74231 | 0.5909 | 1.1195 | 0.74202 | 0.59117 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966