## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03539 | 0.03539 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03539 | 0.03539 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95853 | 0.95853 | -11.0659 | -11.0659

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95853 | 0.95853 | -11.0659 | -11.0659

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.565e-15 | 1.5115e-14 | -4.8254e-15 | -5.8796e-15 | 2.8649e-15 | 1.1308e-14 | 5.7747e-15 | -2.3102e-14 | 1.1308e-14 | -1.1235e-14 | 2.9866e-15 | 4.8254e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 0.61777 | 0.58035 | 1.1971 | 0.61777 | 0.58035 | -1.0595 | -178.8087 | 176.5444 | -1.0595 | -178.8087 | 176.5444

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.565e-15 | 1.5115e-14 | -4.8254e-15 | -5.8796e-15 | 2.8649e-15 | 1.1308e-14 | 5.7747e-15 | -2.3102e-14 | 1.1308e-14 | -1.1235e-14 | 2.9866e-15 | 4.8254e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 0.61777 | 0.58035 | 1.1971 | 0.61777 | 0.58035 | -1.0595 | -178.8087 | 176.5444 | -1.0595 | -178.8087 | 176.5444

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3572e-15 | 1.2553e-14 | -7.2072e-15 | -1.0132e-14 | -5.7117e-15 | -1.8621e-15 | 5.5912e-15 | 3.7753e-15 | -2.1551e-15 | -1.1156e-14 | -4.5498e-15 | 3.1381e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 1.0277 | 0.77032 | 1.1971 | 1.0277 | 0.77032 | -1.0595 | -141.4596 | 120.684 | -1.0595 | -141.4596 | 120.684

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3572e-15 | 1.2553e-14 | -7.2072e-15 | -1.0132e-14 | -5.7117e-15 | -1.8621e-15 | 5.5912e-15 | 3.7753e-15 | -2.1551e-15 | -1.1156e-14 | -4.5498e-15 | 3.1381e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 1.0277 | 0.77032 | 1.1971 | 1.0277 | 0.77032 | -1.0595 | -141.4596 | 120.684 | -1.0595 | -141.4596 | 120.684

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 2.6053e-14 | -7.1054e-15 | -4.737e-15 | -2.3684e-14 | 1.4212e-14 | -3.7896e-14 | 4.7631e-09 | -4.7631e-09 | 3.3159e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1563e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -2.3682e-15 | -7.1051e-15 | 1.6579e-14 | 4.7367e-15 | 9.4737e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6586e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -2.3682e-15 | -1.1842e-14 | 1.6579e-14 | 4.7367e-15 | 1.8948e-14 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6712e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 4.737e-15 | 0 | -2.3685e-15 | -4.737e-15 | 9.4739e-15 | 7.1054e-15 | 4.737e-15 | 0 | -4.737e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6586e-13 | -180 | 180 | 6.6712e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 2.6053e-14 | -7.1054e-15 | -4.737e-15 | -2.3684e-14 | 1.4212e-14 | -3.7896e-14 | 4.7631e-09 | -4.7631e-09 | 3.3159e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1563e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -2.3682e-15 | -7.1051e-15 | 1.6579e-14 | 4.7367e-15 | 9.4737e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6586e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -2.3682e-15 | -1.1842e-14 | 1.6579e-14 | 4.7367e-15 | 1.8948e-14 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6712e-13 | -180 | 180 | 6.7842e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 4.737e-15 | 0 | -2.3685e-15 | -4.737e-15 | 9.4739e-15 | 7.1054e-15 | 4.737e-15 | 0 | -4.737e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6586e-13 | -180 | 180 | 6.6712e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | -8.0025e-10 | -2.5674e-09 | 8.8818e-16 | 8.0025e-10 | 2.5674e-09 | -1.1842e-14 | 3.4014e-09 | -3.4064e-10 | 1.1842e-14 | -3.4014e-09 | 3.4063e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.952e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 2.6674e-10 | 8.558e-10 | 2.9606e-15 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6462e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 2.6674e-10 | 8.558e-10 | 6.5133e-15 | -2.6674e-10 | -8.5581e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6549e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | 2.0997e-15 | -2.8057e-16 | -2.9606e-15 | 7.188e-17 | -3.8974e-15 | 1.9143e-29 | -3.4408e-15 | -5.0324e-15 | 2.3685e-15 | -2.4988e-15 | 5.7202e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6462e-13 | -141.4824 | 122.8363 | 2.6549e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | -8.0025e-10 | -2.5674e-09 | 8.8818e-16 | 8.0025e-10 | 2.5674e-09 | -1.1842e-14 | 3.4014e-09 | -3.4064e-10 | 1.1842e-14 | -3.4014e-09 | 3.4063e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.952e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 2.6674e-10 | 8.558e-10 | 2.9606e-15 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6462e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 2.6674e-10 | 8.558e-10 | 6.5133e-15 | -2.6674e-10 | -8.5581e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6549e-13 | -141.4824 | 122.8363 | 2.7411e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | 2.0997e-15 | -2.8057e-16 | -2.9606e-15 | 7.188e-17 | -3.8974e-15 | 1.9143e-29 | -3.4408e-15 | -5.0324e-15 | 2.3685e-15 | -2.4988e-15 | 5.7202e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6462e-13 | -141.4824 | 122.8363 | 2.6549e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34428 | 0.34746 | 0.3475 | 0.34481 | 0.3472 | 0.34723 | 3.9754 | 4.0122 | 4.0126 | 3.9815 | 4.0091 | 4.0094 | 7.9901e-11 | 1.3241 | -1.6539 | 0.059724 | -1.2536 | 1.7109 | -2.9101e-11 | -3.9238 | -3.738 | 0.069548 | 3.9922 | 3.8105 | 92.6756 | -27.6348 | -147.0249 | -87.325 | 152.4415 | 32.8995 | 0 | 1.0322 | 1.0187 | 0.023025 | 1.0437 | 1.0418 | 0 | -98.9872 | 99.1072 | -37.9792 | -100.125 | 98.7189
Line_1 | 0.17294 | 0.17334 | 0.17334 | 0.1724 | 0.1736 | 0.17361 | 1.9969 | 2.0015 | 2.0016 | 1.9908 | 2.0046 | 2.0047 | 0.045187 | -0.60466 | 0.86479 | -0.029862 | 0.62682 | -0.85547 | 0.052424 | 2.0122 | 1.9226 | -0.034774 | -1.9961 | -1.9052 | -87.3269 | 152.5949 | 32.748 | 92.675 | -27.5585 | -147.1005 | 0.034659 | 1.0498 | 1.0532 | 0.023025 | 1.0437 | 1.0418 | -38.0869 | -100.6801 | 98.5292 | -37.9792 | -100.125 | 98.7189
Line_2 | 0.17294 | 0.17334 | 0.17334 | 0.1724 | 0.1736 | 0.17361 | 1.9969 | 2.0015 | 2.0016 | 1.9908 | 2.0046 | 2.0047 | 0.045187 | -0.60466 | 0.86479 | -0.029862 | 0.62682 | -0.85547 | 0.052424 | 2.0122 | 1.9226 | -0.034774 | -1.9961 | -1.9052 | -87.3269 | 152.5949 | 32.748 | 92.675 | -27.5585 | -147.1005 | 0.034659 | 1.0498 | 1.0532 | 0.023025 | 1.0437 | 1.0418 | -38.0869 | -100.6801 | 98.5292 | -37.9792 | -100.125 | 98.7189
Line_3 | 0.00026703 | 0.00026703 | 0.00026703 | 0.00026703 | 0.00026703 | 0.00026703 | 0.0030834 | 0.0030834 | 0.0030834 | 0.0030834 | 0.0030834 | 0.0030834 | 6.8839e-05 | 0.0031577 | -0.0032265 | 6.8839e-05 | 0.0031577 | -0.0032265 | 8.1739e-05 | -0.00071143 | -0.00036833 | 8.1739e-05 | -0.00071143 | -0.00036833 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | 0.034659 | 1.0498 | 1.0532 | 0.034659 | 1.0498 | 1.0532 | -38.0869 | -100.6801 | 98.5292 | -38.0869 | -100.6801 | 98.5292

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34428 | 0.34746 | 0.3475 | 0.34481 | 0.3472 | 0.34723 | 3.9754 | 4.0122 | 4.0126 | 3.9815 | 4.0091 | 4.0094 | 7.9901e-11 | 1.3241 | -1.6539 | 0.059724 | -1.2536 | 1.7109 | -2.9101e-11 | -3.9238 | -3.738 | 0.069548 | 3.9922 | 3.8105 | 92.6756 | -27.6348 | -147.0249 | -87.325 | 152.4415 | 32.8995 | 0 | 1.0322 | 1.0187 | 0.023025 | 1.0437 | 1.0418 | 0 | -98.9872 | 99.1072 | -37.9792 | -100.125 | 98.7189
Line_1 | 0.17294 | 0.17334 | 0.17334 | 0.1724 | 0.1736 | 0.17361 | 1.9969 | 2.0015 | 2.0016 | 1.9908 | 2.0046 | 2.0047 | 0.045187 | -0.60466 | 0.86479 | -0.029862 | 0.62682 | -0.85547 | 0.052424 | 2.0122 | 1.9226 | -0.034774 | -1.9961 | -1.9052 | -87.3269 | 152.5949 | 32.748 | 92.675 | -27.5585 | -147.1005 | 0.034659 | 1.0498 | 1.0532 | 0.023025 | 1.0437 | 1.0418 | -38.0869 | -100.6801 | 98.5292 | -37.9792 | -100.125 | 98.7189
Line_2 | 0.17294 | 0.17334 | 0.17334 | 0.1724 | 0.1736 | 0.17361 | 1.9969 | 2.0015 | 2.0016 | 1.9908 | 2.0046 | 2.0047 | 0.045187 | -0.60466 | 0.86479 | -0.029862 | 0.62682 | -0.85547 | 0.052424 | 2.0122 | 1.9226 | -0.034774 | -1.9961 | -1.9052 | -87.3269 | 152.5949 | 32.748 | 92.675 | -27.5585 | -147.1005 | 0.034659 | 1.0498 | 1.0532 | 0.023025 | 1.0437 | 1.0418 | -38.0869 | -100.6801 | 98.5292 | -37.9792 | -100.125 | 98.7189
Line_3 | 0.00026703 | 0.00026703 | 0.00026703 | 0.00026703 | 0.00026703 | 0.00026703 | 0.0030834 | 0.0030834 | 0.0030834 | 0.0030834 | 0.0030834 | 0.0030834 | 6.8839e-05 | 0.0031577 | -0.0032265 | 6.8839e-05 | 0.0031577 | -0.0032265 | 8.1739e-05 | -0.00071143 | -0.00036833 | 8.1739e-05 | -0.00071143 | -0.00036833 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | -87.9834 | 0.034659 | 1.0498 | 1.0532 | 0.034659 | 1.0498 | 1.0532 | -38.0869 | -100.6801 | 98.5292 | -38.0869 | -100.6801 | 98.5292

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34605 | 0.3468 | 0.34638 | 0.34614 | 0.3467 | 0.34639 | 3.9959 | 4.0045 | 3.9996 | 3.9969 | 4.0034 | 3.9997 | -0.71592 | -0.050492 | -0.5659 | 0.77881 | 0.11401 | 0.6267 | -3.8679 | -4.3775 | -4.6778 | 3.9392 | 4.4472 | 4.7493 | 92.6319 | -27.3591 | -147.2569 | -87.358 | 152.6486 | 32.7254 | 0.98442 | 1.0932 | 1.1781 | 1.0046 | 1.1112 | 1.1977 | -7.8544 | -118.02 | 115.8453 | -8.5417 | -118.8199 | 115.2083
Line_1 | 0.17316 | 0.17325 | 0.1732 | 0.17307 | 0.17335 | 0.17319 | 1.9995 | 2.0006 | 2 | 1.9985 | 2.0017 | 1.9999 | 0.40585 | 0.073252 | 0.32746 | -0.3894 | -0.057005 | -0.31335 | 1.9881 | 2.24 | 2.3927 | -1.9696 | -2.2236 | -2.3747 | -87.338 | 152.6642 | 32.6898 | 92.642 | -27.3514 | -147.2746 | 1.0148 | 1.1203 | 1.2075 | 1.0046 | 1.1112 | 1.1977 | -8.8757 | -119.2088 | 114.8968 | -8.5417 | -118.8199 | 115.2083
Line_2 | 0.17316 | 0.17325 | 0.1732 | 0.17307 | 0.17335 | 0.17319 | 1.9995 | 2.0006 | 2 | 1.9985 | 2.0017 | 1.9999 | 0.40585 | 0.073252 | 0.32746 | -0.3894 | -0.057005 | -0.31335 | 1.9881 | 2.24 | 2.3927 | -1.9696 | -2.2236 | -2.3747 | -87.338 | 152.6642 | 32.6898 | 92.642 | -27.3514 | -147.2746 | 1.0148 | 1.1203 | 1.2075 | 1.0046 | 1.1112 | 1.1977 | -8.8757 | -119.2088 | 114.8968 | -8.5417 | -118.8199 | 115.2083
Line_3 | 5.3938e-05 | 5.3938e-05 | 5.3938e-05 | 5.3938e-05 | 5.3938e-05 | 5.3938e-05 | 0.00062282 | 0.00062282 | 0.00062282 | 0.00062282 | 0.00062282 | 0.00062282 | 0.00045167 | 0.00028441 | -0.00073607 | 0.00045167 | 0.00028441 | -0.00073607 | 0.00044212 | -0.00063714 | 0.0001543 | 0.00044212 | -0.00063714 | 0.0001543 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | 1.0148 | 1.1203 | 1.2075 | 1.0148 | 1.1203 | 1.2075 | -8.8757 | -119.2088 | 114.8968 | -8.8757 | -119.2088 | 114.8968

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34605 | 0.3468 | 0.34638 | 0.34614 | 0.3467 | 0.34639 | 3.9959 | 4.0045 | 3.9996 | 3.9969 | 4.0034 | 3.9997 | -0.71592 | -0.050492 | -0.5659 | 0.77881 | 0.11401 | 0.6267 | -3.8679 | -4.3775 | -4.6778 | 3.9392 | 4.4472 | 4.7493 | 92.6319 | -27.3591 | -147.2569 | -87.358 | 152.6486 | 32.7254 | 0.98442 | 1.0932 | 1.1781 | 1.0046 | 1.1112 | 1.1977 | -7.8544 | -118.02 | 115.8453 | -8.5417 | -118.8199 | 115.2083
Line_1 | 0.17316 | 0.17325 | 0.1732 | 0.17307 | 0.17335 | 0.17319 | 1.9995 | 2.0006 | 2 | 1.9985 | 2.0017 | 1.9999 | 0.40585 | 0.073252 | 0.32746 | -0.3894 | -0.057005 | -0.31335 | 1.9881 | 2.24 | 2.3927 | -1.9696 | -2.2236 | -2.3747 | -87.338 | 152.6642 | 32.6898 | 92.642 | -27.3514 | -147.2746 | 1.0148 | 1.1203 | 1.2075 | 1.0046 | 1.1112 | 1.1977 | -8.8757 | -119.2088 | 114.8968 | -8.5417 | -118.8199 | 115.2083
Line_2 | 0.17316 | 0.17325 | 0.1732 | 0.17307 | 0.17335 | 0.17319 | 1.9995 | 2.0006 | 2 | 1.9985 | 2.0017 | 1.9999 | 0.40585 | 0.073252 | 0.32746 | -0.3894 | -0.057005 | -0.31335 | 1.9881 | 2.24 | 2.3927 | -1.9696 | -2.2236 | -2.3747 | -87.338 | 152.6642 | 32.6898 | 92.642 | -27.3514 | -147.2746 | 1.0148 | 1.1203 | 1.2075 | 1.0046 | 1.1112 | 1.1977 | -8.8757 | -119.2088 | 114.8968 | -8.5417 | -118.8199 | 115.2083
Line_3 | 5.3938e-05 | 5.3938e-05 | 5.3938e-05 | 5.3938e-05 | 5.3938e-05 | 5.3938e-05 | 0.00062282 | 0.00062282 | 0.00062282 | 0.00062282 | 0.00062282 | 0.00062282 | 0.00045167 | 0.00028441 | -0.00073607 | 0.00045167 | 0.00028441 | -0.00073607 | 0.00044212 | -0.00063714 | 0.0001543 | 0.00044212 | -0.00063714 | 0.0001543 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | -53.264 | 1.0148 | 1.1203 | 1.2075 | 1.0148 | 1.1203 | 1.2075 | -8.8757 | -119.2088 | 114.8968 | -8.8757 | -119.2088 | 114.8968

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017924 | 0.0017924 | 0.0017924 | 0.0013448 | 0.0013448 | 0.0013448 | 0.020697 | 0.020697 | 0.020697 | 0.015528 | 0.015528 | 0.015528 | 1.67e-13 | 0.017945 | -0.017884 | 1.4967e-05 | -0.013453 | 0.01343 | 1.4473e-13 | -0.0033869 | -0.0022214 | 3.1057e-06 | 0.0025195 | 0.0016944 | -88.1368 | -88.1367 | -88.1367 | 91.7579 | 91.758 | 91.758 | 0 | 0.88235 | 0.87074 | 0.00098436 | 0.88144 | 0.87172 | 0 | -98.8251 | 98.9437 | 103.4809 | -98.8494 | 98.9489
Line_1 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.0012657 | 0.88118 | 0.872 | 0.00098436 | 0.88144 | 0.87172 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_2 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.0012657 | 0.88118 | 0.872 | 0.00098436 | 0.88144 | 0.87172 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_3 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | -3.2075e-06 | 0.0022424 | -0.0022392 | -3.2075e-06 | 0.0022424 | -0.0022392 | -6.6801e-07 | -0.00041788 | -0.00028488 | -6.6801e-07 | -0.00041788 | -0.00028488 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | 0.0012657 | 0.88118 | 0.872 | 0.0012657 | 0.88118 | 0.872 | 103.4643 | -98.8563 | 98.9503 | 103.4643 | -98.8563 | 98.9503

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0017924 | 0.0017924 | 0.0017924 | 0.0013448 | 0.0013448 | 0.0013448 | 0.020697 | 0.020697 | 0.020697 | 0.015528 | 0.015528 | 0.015528 | 1.67e-13 | 0.017945 | -0.017884 | 1.4967e-05 | -0.013453 | 0.01343 | 1.4473e-13 | -0.0033869 | -0.0022214 | 3.1057e-06 | 0.0025195 | 0.0016944 | -88.1368 | -88.1367 | -88.1367 | 91.7579 | 91.758 | 91.758 | 0 | 0.88235 | 0.87074 | 0.00098436 | 0.88144 | 0.87172 | 0 | -98.8251 | 98.9437 | 103.4809 | -98.8494 | 98.9489
Line_1 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.0012657 | 0.88118 | 0.872 | 0.00098436 | 0.88144 | 0.87172 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_2 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0006724 | 0.0006724 | 0.0006724 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0077642 | 0.0077642 | 0.0077642 | 3.2075e-06 | -0.0022424 | 0.0022392 | -7.4833e-06 | 0.0067267 | -0.0067149 | 6.6801e-07 | 0.00041788 | 0.00028488 | -1.5528e-06 | -0.0012598 | -0.00084721 | 91.6998 | 91.6999 | 91.6999 | -88.2421 | -88.2421 | -88.2421 | 0.0012657 | 0.88118 | 0.872 | 0.00098436 | 0.88144 | 0.87172 | 103.4643 | -98.8563 | 98.9503 | 103.4809 | -98.8494 | 98.9489
Line_3 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.00022418 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | 0.0025886 | -3.2075e-06 | 0.0022424 | -0.0022392 | -3.2075e-06 | 0.0022424 | -0.0022392 | -6.6801e-07 | -0.00041788 | -0.00028488 | -6.6801e-07 | -0.00041788 | -0.00028488 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | -88.3002 | 0.0012657 | 0.88118 | 0.872 | 0.0012657 | 0.88118 | 0.872 | 103.4643 | -98.8563 | 98.9503 | 103.4643 | -98.8563 | 98.9503

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00037545 | 0.00037545 | 0.00037545 | 0.00028169 | 0.00028169 | 0.00028169 | 0.0043353 | 0.0043353 | 0.0043353 | 0.0032527 | 0.0032527 | 0.0032527 | 0.0025333 | 0.0017629 | -0.0042935 | -0.0018965 | -0.001327 | 0.0032231 | 0.002589 | -0.003637 | 0.00080194 | -0.0019459 | 0.0027265 | -0.00059563 | -53.7608 | -53.7607 | -53.7607 | 126.1339 | 126.134 | 126.134 | 0.83553 | 0.93229 | 1.0075 | 0.83536 | 0.93224 | 1.0077 | -8.1377 | -117.9013 | 115.6595 | -8.1297 | -117.9136 | 115.6639
Line_1 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83531 | 0.93223 | 1.0077 | 0.83536 | 0.93224 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_2 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83531 | 0.93223 | 1.0077 | 0.83536 | 0.93224 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_3 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00032469 | -0.0004543 | 9.874e-05 | 0.00032469 | -0.0004543 | 9.874e-05 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | 0.83531 | 0.93223 | 1.0077 | 0.83531 | 0.93223 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1275 | -117.9171 | 115.6652

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00037545 | 0.00037545 | 0.00037545 | 0.00028169 | 0.00028169 | 0.00028169 | 0.0043353 | 0.0043353 | 0.0043353 | 0.0032527 | 0.0032527 | 0.0032527 | 0.0025333 | 0.0017629 | -0.0042935 | -0.0018965 | -0.001327 | 0.0032231 | 0.002589 | -0.003637 | 0.00080194 | -0.0019459 | 0.0027265 | -0.00059563 | -53.7608 | -53.7607 | -53.7607 | 126.1339 | 126.134 | 126.134 | 0.83553 | 0.93229 | 1.0075 | 0.83536 | 0.93224 | 1.0077 | -8.1377 | -117.9013 | 115.6595 | -8.1297 | -117.9136 | 115.6639
Line_1 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83531 | 0.93223 | 1.0077 | 0.83536 | 0.93224 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_2 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00014085 | 0.00014085 | 0.00014085 | 0.00054223 | 0.00054223 | 0.00054223 | 0.0016264 | 0.0016264 | 0.0016264 | -0.00031579 | -0.00022164 | 0.00053743 | 0.00094824 | 0.00066351 | -0.0016116 | -0.00032469 | 0.0004543 | -9.8741e-05 | 0.00097293 | -0.0013633 | 0.00029781 | 126.0758 | 126.0759 | 126.0759 | -53.8661 | -53.866 | -53.866 | 0.83531 | 0.93223 | 1.0077 | 0.83536 | 0.93224 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1297 | -117.9136 | 115.6639
Line_3 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 4.6959e-05 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00054223 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00031579 | 0.00022164 | -0.00053743 | 0.00032469 | -0.0004543 | 9.874e-05 | 0.00032469 | -0.0004543 | 9.874e-05 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | -53.9241 | 0.83531 | 0.93223 | 1.0077 | 0.83531 | 0.93223 | 1.0077 | -8.1275 | -117.9171 | 115.6652 | -8.1275 | -117.9171 | 115.6652

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34976 | 0.3448 | 0.34469 | 0.34892 | 0.34521 | 0.34512 | 4.0386 | 3.9815 | 3.9802 | 4.029 | 3.9861 | 3.9851 | -0.027111 | 6.3471e-11 | 6.365e-11 | 0.093772 | 0.059542 | 0.061092 | -2.0433 | -2.2763e-11 | -2.1836e-11 | 2.1111 | 0.072731 | 0.066952 | 92.6615 | -26.8411 | -147.8044 | -87.3363 | 153.0371 | 32.3152 | 0.50597 | 0 | 0 | 0.5245 | 0.023581 | 0.022744 | 1.9013 | 0 | 0 | 0.12036 | -156.2689 | 79.9356
Line_1 | 0.17362 | 0.173 | 0.17299 | 0.17446 | 0.1726 | 0.17256 | 2.0048 | 1.9977 | 1.9975 | 2.0145 | 1.993 | 1.9925 | 0.062939 | 0.044861 | 0.046211 | -0.046886 | -0.029771 | -0.030546 | 1.0684 | 0.05459 | 0.050574 | -1.0556 | -0.036365 | -0.033476 | -87.3309 | 152.7935 | 32.5534 | 92.6637 | -26.9629 | -147.6848 | 0.53386 | 0.03537 | 0.034296 | 0.5245 | 0.023581 | 0.022744 | -0.70215 | -156.619 | 80.134 | 0.12036 | -156.2689 | 79.9356
Line_2 | 0.17362 | 0.173 | 0.17299 | 0.17446 | 0.1726 | 0.17256 | 2.0048 | 1.9977 | 1.9975 | 2.0145 | 1.993 | 1.9925 | 0.062939 | 0.044861 | 0.046211 | -0.046886 | -0.029771 | -0.030546 | 1.0684 | 0.05459 | 0.050574 | -1.0556 | -0.036365 | -0.033476 | -87.3309 | 152.7935 | 32.5534 | 92.6637 | -26.9629 | -147.6848 | 0.53386 | 0.03537 | 0.034296 | 0.5245 | 0.023581 | 0.022744 | -0.70215 | -156.619 | 80.134 | 0.12036 | -156.2689 | 79.9356
Line_3 | 0.00041859 | 0.00041859 | 0.00041859 | 0.00041859 | 0.00041859 | 0.00041859 | 0.0048335 | 0.0048335 | 0.0048335 | 0.0048335 | 0.0048335 | 0.0048335 | -9.8788e-05 | -6.3736e-05 | 0.00016252 | -9.8788e-05 | -6.3736e-05 | 0.00016252 | -0.0025785 | 0.00015864 | -3.2646e-05 | -0.0025785 | 0.00015864 | -3.2646e-05 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 0.53386 | 0.03537 | 0.034296 | 0.53386 | 0.03537 | 0.034296 | -0.70215 | -156.619 | 80.134 | -0.70215 | -156.619 | 80.134

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34976 | 0.3448 | 0.34469 | 0.34892 | 0.34521 | 0.34512 | 4.0386 | 3.9815 | 3.9802 | 4.029 | 3.9861 | 3.9851 | -0.027111 | 6.3471e-11 | 6.365e-11 | 0.093772 | 0.059542 | 0.061092 | -2.0433 | -2.2763e-11 | -2.1836e-11 | 2.1111 | 0.072731 | 0.066952 | 92.6615 | -26.8411 | -147.8044 | -87.3363 | 153.0371 | 32.3152 | 0.50597 | 0 | 0 | 0.5245 | 0.023581 | 0.022744 | 1.9013 | 0 | 0 | 0.12036 | -156.2689 | 79.9356
Line_1 | 0.17362 | 0.173 | 0.17299 | 0.17446 | 0.1726 | 0.17256 | 2.0048 | 1.9977 | 1.9975 | 2.0145 | 1.993 | 1.9925 | 0.062939 | 0.044861 | 0.046211 | -0.046886 | -0.029771 | -0.030546 | 1.0684 | 0.05459 | 0.050574 | -1.0556 | -0.036365 | -0.033476 | -87.3309 | 152.7935 | 32.5534 | 92.6637 | -26.9629 | -147.6848 | 0.53386 | 0.03537 | 0.034296 | 0.5245 | 0.023581 | 0.022744 | -0.70215 | -156.619 | 80.134 | 0.12036 | -156.2689 | 79.9356
Line_2 | 0.17362 | 0.173 | 0.17299 | 0.17446 | 0.1726 | 0.17256 | 2.0048 | 1.9977 | 1.9975 | 2.0145 | 1.993 | 1.9925 | 0.062939 | 0.044861 | 0.046211 | -0.046886 | -0.029771 | -0.030546 | 1.0684 | 0.05459 | 0.050574 | -1.0556 | -0.036365 | -0.033476 | -87.3309 | 152.7935 | 32.5534 | 92.6637 | -26.9629 | -147.6848 | 0.53386 | 0.03537 | 0.034296 | 0.5245 | 0.023581 | 0.022744 | -0.70215 | -156.619 | 80.134 | 0.12036 | -156.2689 | 79.9356
Line_3 | 0.00041859 | 0.00041859 | 0.00041859 | 0.00041859 | 0.00041859 | 0.00041859 | 0.0048335 | 0.0048335 | 0.0048335 | 0.0048335 | 0.0048335 | 0.0048335 | -9.8788e-05 | -6.3736e-05 | 0.00016252 | -9.8788e-05 | -6.3736e-05 | 0.00016252 | -0.0025785 | 0.00015864 | -3.2646e-05 | -0.0025785 | 0.00015864 | -3.2646e-05 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 91.4919 | 0.53386 | 0.03537 | 0.034296 | 0.53386 | 0.03537 | 0.034296 | -0.70215 | -156.619 | 80.134 | -0.70215 | -156.619 | 80.134

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34678 | 0.34599 | 0.34646 | 0.34669 | 0.34609 | 0.34645 | 4.0042 | 3.9951 | 4.0006 | 4.0032 | 3.9964 | 4.0005 | -0.42338 | -0.98922 | -0.52539 | 0.48518 | 1.0508 | 0.58917 | -4.3734 | -3.8452 | -3.6519 | 4.4436 | 3.9172 | 3.722 | 92.7172 | -27.2979 | -147.4034 | -87.2942 | 152.6947 | 32.6154 | 1.0973 | 0.99381 | 0.92223 | 1.1166 | 1.0149 | 0.94197 | -2.8123 | -131.725 | 114.4097 | -3.5254 | -132.322 | 113.6204
Line_1 | 0.17325 | 0.17315 | 0.17321 | 0.17334 | 0.17305 | 0.17322 | 2.0005 | 1.9994 | 2.0001 | 2.0016 | 1.9982 | 2.0002 | 0.25724 | 0.54074 | 0.31142 | -0.24259 | -0.52542 | -0.29459 | 2.2385 | 1.9776 | 1.8783 | -2.2218 | -1.9586 | -1.861 | -87.3167 | 152.6796 | 32.6531 | 92.7058 | -27.3053 | -147.3846 | 1.1263 | 1.0254 | 0.95192 | 1.1166 | 1.0149 | 0.94197 | -3.8721 | -132.6129 | 113.2391 | -3.5254 | -132.322 | 113.6204
Line_2 | 0.17325 | 0.17315 | 0.17321 | 0.17334 | 0.17305 | 0.17322 | 2.0005 | 1.9994 | 2.0001 | 2.0016 | 1.9982 | 2.0002 | 0.25724 | 0.54074 | 0.31142 | -0.24259 | -0.52542 | -0.29459 | 2.2385 | 1.9776 | 1.8783 | -2.2218 | -1.9586 | -1.861 | -87.3167 | 152.6796 | 32.6531 | 92.7058 | -27.3053 | -147.3846 | 1.1263 | 1.0254 | 0.95192 | 1.1166 | 1.0149 | 0.94197 | -3.8721 | -132.6129 | 113.2391 | -3.5254 | -132.322 | 113.6204
Line_3 | 5.7375e-05 | 5.7375e-05 | 5.7375e-05 | 5.7375e-05 | 5.7375e-05 | 5.7375e-05 | 0.00066251 | 0.00066251 | 0.00066251 | 0.00066251 | 0.00066251 | 0.00066251 | -0.00050975 | -9.6548e-05 | 0.00060629 | -0.00050975 | -9.6548e-05 | 0.00060629 | -0.00054494 | 0.00067246 | -0.0001736 | -0.00054494 | 0.00067246 | -0.0001736 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 1.1263 | 1.0254 | 0.95192 | 1.1263 | 1.0254 | 0.95192 | -3.8721 | -132.6129 | 113.2391 | -3.8721 | -132.6129 | 113.2391

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34678 | 0.34599 | 0.34646 | 0.34669 | 0.34609 | 0.34645 | 4.0042 | 3.9951 | 4.0006 | 4.0032 | 3.9964 | 4.0005 | -0.42338 | -0.98922 | -0.52539 | 0.48518 | 1.0508 | 0.58917 | -4.3734 | -3.8452 | -3.6519 | 4.4436 | 3.9172 | 3.722 | 92.7172 | -27.2979 | -147.4034 | -87.2942 | 152.6947 | 32.6154 | 1.0973 | 0.99381 | 0.92223 | 1.1166 | 1.0149 | 0.94197 | -2.8123 | -131.725 | 114.4097 | -3.5254 | -132.322 | 113.6204
Line_1 | 0.17325 | 0.17315 | 0.17321 | 0.17334 | 0.17305 | 0.17322 | 2.0005 | 1.9994 | 2.0001 | 2.0016 | 1.9982 | 2.0002 | 0.25724 | 0.54074 | 0.31142 | -0.24259 | -0.52542 | -0.29459 | 2.2385 | 1.9776 | 1.8783 | -2.2218 | -1.9586 | -1.861 | -87.3167 | 152.6796 | 32.6531 | 92.7058 | -27.3053 | -147.3846 | 1.1263 | 1.0254 | 0.95192 | 1.1166 | 1.0149 | 0.94197 | -3.8721 | -132.6129 | 113.2391 | -3.5254 | -132.322 | 113.6204
Line_2 | 0.17325 | 0.17315 | 0.17321 | 0.17334 | 0.17305 | 0.17322 | 2.0005 | 1.9994 | 2.0001 | 2.0016 | 1.9982 | 2.0002 | 0.25724 | 0.54074 | 0.31142 | -0.24259 | -0.52542 | -0.29459 | 2.2385 | 1.9776 | 1.8783 | -2.2218 | -1.9586 | -1.861 | -87.3167 | 152.6796 | 32.6531 | 92.7058 | -27.3053 | -147.3846 | 1.1263 | 1.0254 | 0.95192 | 1.1166 | 1.0149 | 0.94197 | -3.8721 | -132.6129 | 113.2391 | -3.5254 | -132.322 | 113.6204
Line_3 | 5.7375e-05 | 5.7375e-05 | 5.7375e-05 | 5.7375e-05 | 5.7375e-05 | 5.7375e-05 | 0.00066251 | 0.00066251 | 0.00066251 | 0.00066251 | 0.00066251 | 0.00066251 | -0.00050975 | -9.6548e-05 | 0.00060629 | -0.00050975 | -9.6548e-05 | 0.00060629 | -0.00054494 | 0.00067246 | -0.0001736 | -0.00054494 | 0.00067246 | -0.0001736 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 129.2167 | 1.1263 | 1.0254 | 0.95192 | 1.1263 | 1.0254 | 0.95192 | -3.8721 | -132.6129 | 113.2391 | -3.8721 | -132.6129 | 113.2391

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028209 | 0.0028209 | 0.0028209 | 0.0021165 | 0.0021165 | 0.0021165 | 0.032573 | 0.032573 | 0.032573 | 0.024439 | 0.024439 | 0.024439 | 0.00015094 | -8.4141e-14 | 2.8752e-13 | -9.5334e-05 | 3.7071e-05 | 3.7071e-05 | -0.013891 | 2.8151e-13 | -6.837e-14 | 0.01043 | 7.6925e-06 | 7.6925e-06 | 91.3333 | 91.3333 | 91.3333 | -88.772 | -88.772 | -88.772 | 0.42649 | 0 | 0 | 0.42679 | 0.0015492 | 0.0015492 | 1.9559 | 0 | 0 | 1.7517 | -77.049 | -77.049
Line_1 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.42688 | 0.0019919 | 0.0019919 | 0.42679 | 0.0015492 | 0.0015492 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_2 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.42688 | 0.0019919 | 0.0019919 | 0.42679 | 0.0015492 | 0.0015492 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_3 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 0.42688 | 0.0019919 | 0.0019919 | 0.42688 | 0.0019919 | 0.0019919 | 1.6934 | -77.0656 | -77.0656 | 1.6934 | -77.0656 | -77.0656

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028209 | 0.0028209 | 0.0028209 | 0.0021165 | 0.0021165 | 0.0021165 | 0.032573 | 0.032573 | 0.032573 | 0.024439 | 0.024439 | 0.024439 | 0.00015094 | -8.4141e-14 | 2.8752e-13 | -9.5334e-05 | 3.7071e-05 | 3.7071e-05 | -0.013891 | 2.8151e-13 | -6.837e-14 | 0.01043 | 7.6925e-06 | 7.6925e-06 | 91.3333 | 91.3333 | 91.3333 | -88.772 | -88.772 | -88.772 | 0.42649 | 0 | 0 | 0.42679 | 0.0015492 | 0.0015492 | 1.9559 | 0 | 0 | 1.7517 | -77.049 | -77.049
Line_1 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.42688 | 0.0019919 | 0.0019919 | 0.42679 | 0.0015492 | 0.0015492 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_2 | 0.00035282 | 0.00035282 | 0.00035282 | 0.0010582 | 0.0010582 | 0.0010582 | 0.004074 | 0.004074 | 0.004074 | 0.012219 | 0.012219 | 0.012219 | -1.5889e-05 | 7.9447e-06 | 7.9447e-06 | 4.7668e-05 | -1.8536e-05 | -1.8536e-05 | 0.001739 | 1.6546e-06 | 1.6546e-06 | -0.0052149 | -3.8463e-06 | -3.8463e-06 | -88.8301 | -88.8301 | -88.8301 | 91.228 | 91.228 | 91.228 | 0.42688 | 0.0019919 | 0.0019919 | 0.42679 | 0.0015492 | 0.0015492 | 1.6934 | -77.0656 | -77.0656 | 1.7517 | -77.049 | -77.049
Line_3 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.00035282 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 0.004074 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | 1.5889e-05 | -7.9447e-06 | -7.9447e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | -0.001739 | -1.6546e-06 | -1.6546e-06 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 91.1699 | 0.42688 | 0.0019919 | 0.0019919 | 0.42688 | 0.0019919 | 0.0019919 | 1.6934 | -77.0656 | -77.0656 | 1.6934 | -77.0656 | -77.0656

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0004006 | 0.0004006 | 0.0004006 | 0.00030056 | 0.00030056 | 0.00030056 | 0.0046257 | 0.0046257 | 0.0046257 | 0.0034706 | 0.0034706 | 0.0034706 | -0.0028811 | -0.00061158 | 0.0034957 | 0.0021579 | 0.00046492 | -0.0026233 | -0.0032277 | 0.0038545 | -0.00090699 | 0.0024258 | -0.002891 | 0.00067584 | 128.8145 | 128.8144 | 128.8144 | -51.2908 | -51.2909 | -51.2909 | 0.93531 | 0.84371 | 0.78073 | 0.93549 | 0.8437 | 0.78053 | -2.938 | -132.1699 | 114.2693 | -2.9461 | -132.155 | 114.2621
Line_1 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.93554 | 0.84369 | 0.78048 | 0.93549 | 0.8437 | 0.78053 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_2 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.93554 | 0.84369 | 0.78048 | 0.93549 | 0.8437 | 0.78053 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_3 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00040476 | 0.00048185 | -0.00011223 | -0.00040476 | 0.00048185 | -0.00011223 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 0.93554 | 0.84369 | 0.78048 | 0.93554 | 0.84369 | 0.78048 | -2.9484 | -132.1507 | 114.2601 | -2.9484 | -132.1507 | 114.2601

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0004006 | 0.0004006 | 0.0004006 | 0.00030056 | 0.00030056 | 0.00030056 | 0.0046257 | 0.0046257 | 0.0046257 | 0.0034706 | 0.0034706 | 0.0034706 | -0.0028811 | -0.00061158 | 0.0034957 | 0.0021579 | 0.00046492 | -0.0026233 | -0.0032277 | 0.0038545 | -0.00090699 | 0.0024258 | -0.002891 | 0.00067584 | 128.8145 | 128.8144 | 128.8144 | -51.2908 | -51.2909 | -51.2909 | 0.93531 | 0.84371 | 0.78073 | 0.93549 | 0.8437 | 0.78053 | -2.938 | -132.1699 | 114.2693 | -2.9461 | -132.155 | 114.2621
Line_1 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.93554 | 0.84369 | 0.78048 | 0.93549 | 0.8437 | 0.78053 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_2 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00015028 | 0.00015028 | 0.00015028 | 0.00057856 | 0.00057856 | 0.00057856 | 0.0017353 | 0.0017353 | 0.0017353 | 0.00035936 | 7.8028e-05 | -0.00043738 | -0.001079 | -0.00023246 | 0.0013116 | 0.00040476 | -0.00048185 | 0.00011223 | -0.0012129 | 0.0014455 | -0.00033792 | -51.3489 | -51.349 | -51.349 | 128.7091 | 128.7091 | 128.7091 | 0.93554 | 0.84369 | 0.78048 | 0.93549 | 0.8437 | 0.78053 | -2.9484 | -132.1507 | 114.2601 | -2.9461 | -132.155 | 114.2621
Line_3 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 5.0105e-05 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | 0.00057856 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00035936 | -7.8027e-05 | 0.00043738 | -0.00040476 | 0.00048185 | -0.00011223 | -0.00040476 | 0.00048185 | -0.00011223 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 128.651 | 0.93554 | 0.84369 | 0.78048 | 0.93554 | 0.84369 | 0.78048 | -2.9484 | -132.1507 | 114.2601 | -2.9484 | -132.1507 | 114.2601