## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -29.1714 | -29.1714

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -29.1714 | -29.1714

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.5412 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.878 | 0.878 | -9.7884 | -9.7884

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.5412 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.878 | 0.878 | -9.7884 | -9.7884

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7288e-20 | 0 | 6.3228e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2669e-14 | 8.7353e-15 | -2.235e-16 | -3.4031e-14 | 1.707e-14 | -1.1044e-14 | -1.1471e-14 | -1.4234e-14 | -1.1267e-14 | 1.1525e-14 | 1.1628e-14 | 1.1491e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.60464 | 0.59477 | 1.1993 | 0.60464 | 0.59477 | -0.27472 | -179.4271 | 178.8636 | -0.27472 | -179.4271 | 178.8636

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2669e-14 | 8.7353e-15 | -2.235e-16 | -3.4031e-14 | 1.707e-14 | -1.1044e-14 | -1.1471e-14 | -1.4234e-14 | -1.1267e-14 | 1.1525e-14 | 1.1628e-14 | 1.1491e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.60464 | 0.59477 | 1.1993 | 0.60464 | 0.59477 | -0.27472 | -179.4271 | 178.8636 | -0.27472 | -179.4271 | 178.8636

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6945e-15 | -1.0288e-14 | -1.2425e-15 | 2.8132e-15 | 4.8891e-15 | 3.9692e-15 | -2.8132e-15 | -4.9611e-15 | -9.6646e-15 | -5.6945e-15 | 1.2112e-14 | 1.177e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.94576 | 0.72728 | 1.1993 | 0.94576 | 0.72728 | -0.27471 | -142.9457 | 127.6744 | -0.27471 | -142.9457 | 127.6744

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6945e-15 | -1.0288e-14 | -1.2425e-15 | 2.8132e-15 | 4.8891e-15 | 3.9692e-15 | -2.8132e-15 | -4.9611e-15 | -9.6646e-15 | -5.6945e-15 | 1.2112e-14 | 1.177e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1993 | 0.94576 | 0.72728 | 1.1993 | 0.94576 | 0.72728 | -0.27471 | -142.9457 | 127.6744 | -0.27471 | -142.9457 | 127.6744

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.6053e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 1.4228e-12 | -160.7833 | 141.207 | 1.4263e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7369e-15 | 7.1055e-15 | -4.737e-15 | 1.1842e-14 | -4.737e-15 | 0 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.3921e-12 | -180 | 180 | 1.4263e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7369e-15 | 2.3686e-15 | 2.3584e-28 | 1.1842e-14 | -1.4484e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4006e-12 | -180 | 180 | 1.4263e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.151e-28 | 7.1054e-15 | 2.3685e-15 | -4.737e-15 | -1.3389e-25 | -2.3685e-15 | -4.737e-15 | 4.737e-15 | 4.737e-15 | 4.737e-15 | 2.3685e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.3921e-12 | -180 | 180 | 1.4006e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.6053e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 1.4228e-12 | -160.7833 | 141.207 | 1.4263e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7369e-15 | 7.1055e-15 | -4.737e-15 | 1.1842e-14 | -4.737e-15 | 0 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.3921e-12 | -180 | 180 | 1.4263e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7369e-15 | 2.3686e-15 | 2.3584e-28 | 1.1842e-14 | -1.4484e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4006e-12 | -180 | 180 | 1.4263e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.151e-28 | 7.1054e-15 | 2.3685e-15 | -4.737e-15 | -1.3389e-25 | -2.3685e-15 | -4.737e-15 | 4.737e-15 | 4.737e-15 | 4.737e-15 | 2.3685e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.3921e-12 | -180 | 180 | 1.4006e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -9.4739e-15 | 15.3932 | 0.73601 | 8.8818e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 6.7024e-13 | -138.1765 | 119.7467 | 6.722e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5527e-13 | -142.5584 | 131.6989 | 6.722e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5886e-13 | -142.5584 | 131.6989 | 6.722e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 4.6201e-15 | -9.5059e-16 | -2.9606e-15 | 3.2122e-15 | -9.6051e-16 | -2.3685e-15 | -9.2927e-16 | -7.6154e-15 | -3.4045e-29 | -2.0074e-15 | 1.0781e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5527e-13 | -142.5584 | 131.6989 | 6.5886e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -9.4739e-15 | 15.3932 | 0.73601 | 8.8818e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 6.7024e-13 | -138.1765 | 119.7467 | 6.722e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5527e-13 | -142.5584 | 131.6989 | 6.722e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5886e-13 | -142.5584 | 131.6989 | 6.722e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 4.6201e-15 | -9.5059e-16 | -2.9606e-15 | 3.2122e-15 | -9.6051e-16 | -2.3685e-15 | -9.2927e-16 | -7.6154e-15 | -3.4045e-29 | -2.0074e-15 | 1.0781e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5527e-13 | -142.5584 | 131.6989 | 6.5886e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35944 | 0.35387 | 0.36066 | 0.35422 | 0.35179 | 0.35718 | 4.1504 | 4.0861 | 4.1645 | 4.0902 | 4.0621 | 4.1244 | 0.33573 | -4.3476 | 1.9916 | 9.8902e-13 | 4.6598 | -1.8695 | 0.18466 | -6.5081 | -7.3628 | -5.903e-13 | 6.2678 | 7.6101 | -91.6355 | -21.023 | -135.2408 | 88.299 | 159.7556 | 44.1357 | 0.09232 | 1.9154 | 1.8315 | 0 | 1.9227 | 1.9 | -62.8242 | -144.7675 | 149.8954 | 0 | -146.8732 | 147.9374
Line_1 | 0.1706 | 0.17406 | 0.17498 | 0.1654 | 0.17589 | 0.17859 | 1.9699 | 2.0099 | 2.0205 | 1.9099 | 2.031 | 2.0622 | 0.011867 | 2.411 | -0.98059 | 3.7826e-13 | -2.3299 | 0.93474 | 0.016762 | 3.0495 | 3.7282 | -3.8231e-13 | -3.1339 | -3.8051 | -77.6009 | 161.3899 | 42.8716 | 102.7724 | -20.2444 | -135.8643 | 0.010426 | 1.9342 | 1.9079 | 0 | 1.9227 | 1.9 | -22.8973 | -146.9405 | 147.6079 | 0 | -146.8732 | 147.9374
Line_2 | 0.1706 | 0.17406 | 0.17498 | 0.1654 | 0.17589 | 0.17859 | 1.9699 | 2.0099 | 2.0205 | 1.9099 | 2.031 | 2.0622 | 0.011867 | 2.411 | -0.98059 | 3.7826e-13 | -2.3299 | 0.93474 | 0.016762 | 3.0495 | 3.7282 | -3.8231e-13 | -3.1339 | -3.8051 | -77.6009 | 161.3899 | 42.8716 | 102.7724 | -20.2444 | -135.8643 | 0.010426 | 1.9342 | 1.9079 | 0 | 1.9227 | 1.9 | -22.8973 | -146.9405 | 147.6079 | 0 | -146.8732 | 147.9374
Line_3 | 0.0026586 | 0.0026586 | 0.0026586 | 0.0026586 | 0.0026586 | 0.0026586 | 0.030699 | 0.030699 | 0.030699 | 0.030699 | 0.030699 | 0.030699 | 0.00012791 | 0.031816 | -0.031944 | 0.00012791 | 0.031816 | -0.031944 | 0.00029339 | -0.050133 | -0.049094 | 0.00029339 | -0.050133 | -0.049094 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | 0.010426 | 1.9342 | 1.9079 | 0.010426 | 1.9342 | 1.9079 | -22.8973 | -146.9405 | 147.6079 | -22.8973 | -146.9405 | 147.6079

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35944 | 0.35387 | 0.36066 | 0.35422 | 0.35179 | 0.35718 | 4.1504 | 4.0861 | 4.1645 | 4.0902 | 4.0621 | 4.1244 | 0.33573 | -4.3476 | 1.9916 | 9.8902e-13 | 4.6598 | -1.8695 | 0.18466 | -6.5081 | -7.3628 | -5.903e-13 | 6.2678 | 7.6101 | -91.6355 | -21.023 | -135.2408 | 88.299 | 159.7556 | 44.1357 | 0.09232 | 1.9154 | 1.8315 | 0 | 1.9227 | 1.9 | -62.8242 | -144.7675 | 149.8954 | 0 | -146.8732 | 147.9374
Line_1 | 0.1706 | 0.17406 | 0.17498 | 0.1654 | 0.17589 | 0.17859 | 1.9699 | 2.0099 | 2.0205 | 1.9099 | 2.031 | 2.0622 | 0.011867 | 2.411 | -0.98059 | 3.7826e-13 | -2.3299 | 0.93474 | 0.016762 | 3.0495 | 3.7282 | -3.8231e-13 | -3.1339 | -3.8051 | -77.6009 | 161.3899 | 42.8716 | 102.7724 | -20.2444 | -135.8643 | 0.010426 | 1.9342 | 1.9079 | 0 | 1.9227 | 1.9 | -22.8973 | -146.9405 | 147.6079 | 0 | -146.8732 | 147.9374
Line_2 | 0.1706 | 0.17406 | 0.17498 | 0.1654 | 0.17589 | 0.17859 | 1.9699 | 2.0099 | 2.0205 | 1.9099 | 2.031 | 2.0622 | 0.011867 | 2.411 | -0.98059 | 3.7826e-13 | -2.3299 | 0.93474 | 0.016762 | 3.0495 | 3.7282 | -3.8231e-13 | -3.1339 | -3.8051 | -77.6009 | 161.3899 | 42.8716 | 102.7724 | -20.2444 | -135.8643 | 0.010426 | 1.9342 | 1.9079 | 0 | 1.9227 | 1.9 | -22.8973 | -146.9405 | 147.6079 | 0 | -146.8732 | 147.9374
Line_3 | 0.0026586 | 0.0026586 | 0.0026586 | 0.0026586 | 0.0026586 | 0.0026586 | 0.030699 | 0.030699 | 0.030699 | 0.030699 | 0.030699 | 0.030699 | 0.00012791 | 0.031816 | -0.031944 | 0.00012791 | 0.031816 | -0.031944 | 0.00029339 | -0.050133 | -0.049094 | 0.00029339 | -0.050133 | -0.049094 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | 0.010426 | 1.9342 | 1.9079 | 0.010426 | 1.9342 | 1.9079 | -22.8973 | -146.9405 | 147.6079 | -22.8973 | -146.9405 | 147.6079

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19852 | 0.35466 | 0.35515 | 0.1945 | 0.35248 | 0.35304 | 2.2923 | 4.0953 | 4.101 | 2.2459 | 4.07 | 4.0766 | 0.70976 | -3.3595 | 1.6012 | -0.55684 | 3.6357 | -1.5356 | 0.52065 | -6.54 | -6.2064 | -0.46458 | 6.3983 | 6.4428 | -69.7147 | -20.102 | -135.5079 | 110.4408 | 160.4514 | 43.9321 | 0.384 | 1.7953 | 1.563 | 0.3229 | 1.8081 | 1.6247 | -33.4522 | -137.2908 | 148.9589 | -29.7204 | -139.1549 | 147.3382
Line_1 | 0.17114 | 0.1742 | 0.17429 | 0.16702 | 0.17624 | 0.17652 | 1.9762 | 2.0114 | 2.0126 | 1.9286 | 2.035 | 2.0383 | 0.43943 | 1.8788 | -0.80453 | -0.41667 | -1.8178 | 0.76781 | 0.49103 | 3.1408 | 3.1856 | -0.4628 | -3.1991 | -3.2214 | -77.7609 | 161.6235 | 42.798 | 102.2771 | -19.5486 | -136.0679 | 0.33344 | 1.8195 | 1.6325 | 0.3229 | 1.8081 | 1.6247 | -29.5866 | -139.2637 | 146.9719 | -29.7204 | -139.1549 | 147.3382
Line_2 | 0.17114 | 0.1742 | 0.17429 | 0.16702 | 0.17624 | 0.17652 | 1.9762 | 2.0114 | 2.0126 | 1.9286 | 2.035 | 2.0383 | 0.43943 | 1.8788 | -0.80453 | -0.41667 | -1.8178 | 0.76781 | 0.49103 | 3.1408 | 3.1856 | -0.4628 | -3.1991 | -3.2214 | -77.7609 | 161.6235 | 42.798 | 102.2771 | -19.5486 | -136.0679 | 0.33344 | 1.8195 | 1.6325 | 0.3229 | 1.8081 | 1.6247 | -29.5866 | -139.2637 | 146.9719 | -29.7204 | -139.1549 | 147.3382
Line_3 | 0.0020629 | 0.0020629 | 0.0020629 | 0.0020629 | 0.0020629 | 0.0020629 | 0.02382 | 0.02382 | 0.02382 | 0.02382 | 0.02382 | 0.02382 | 0.0051307 | 0.021726 | -0.026857 | 0.0051307 | 0.021726 | -0.026857 | 0.0060631 | -0.037503 | -0.028124 | 0.0060631 | -0.037503 | -0.028124 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | 0.33344 | 1.8195 | 1.6325 | 0.33344 | 1.8195 | 1.6325 | -29.5866 | -139.2637 | 146.9719 | -29.5866 | -139.2637 | 146.9719

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19852 | 0.35466 | 0.35515 | 0.1945 | 0.35248 | 0.35304 | 2.2923 | 4.0953 | 4.101 | 2.2459 | 4.07 | 4.0766 | 0.70976 | -3.3595 | 1.6012 | -0.55684 | 3.6357 | -1.5356 | 0.52065 | -6.54 | -6.2064 | -0.46458 | 6.3983 | 6.4428 | -69.7147 | -20.102 | -135.5079 | 110.4408 | 160.4514 | 43.9321 | 0.384 | 1.7953 | 1.563 | 0.3229 | 1.8081 | 1.6247 | -33.4522 | -137.2908 | 148.9589 | -29.7204 | -139.1549 | 147.3382
Line_1 | 0.17114 | 0.1742 | 0.17429 | 0.16702 | 0.17624 | 0.17652 | 1.9762 | 2.0114 | 2.0126 | 1.9286 | 2.035 | 2.0383 | 0.43943 | 1.8788 | -0.80453 | -0.41667 | -1.8178 | 0.76781 | 0.49103 | 3.1408 | 3.1856 | -0.4628 | -3.1991 | -3.2214 | -77.7609 | 161.6235 | 42.798 | 102.2771 | -19.5486 | -136.0679 | 0.33344 | 1.8195 | 1.6325 | 0.3229 | 1.8081 | 1.6247 | -29.5866 | -139.2637 | 146.9719 | -29.7204 | -139.1549 | 147.3382
Line_2 | 0.17114 | 0.1742 | 0.17429 | 0.16702 | 0.17624 | 0.17652 | 1.9762 | 2.0114 | 2.0126 | 1.9286 | 2.035 | 2.0383 | 0.43943 | 1.8788 | -0.80453 | -0.41667 | -1.8178 | 0.76781 | 0.49103 | 3.1408 | 3.1856 | -0.4628 | -3.1991 | -3.2214 | -77.7609 | 161.6235 | 42.798 | 102.2771 | -19.5486 | -136.0679 | 0.33344 | 1.8195 | 1.6325 | 0.3229 | 1.8081 | 1.6247 | -29.5866 | -139.2637 | 146.9719 | -29.7204 | -139.1549 | 147.3382
Line_3 | 0.0020629 | 0.0020629 | 0.0020629 | 0.0020629 | 0.0020629 | 0.0020629 | 0.02382 | 0.02382 | 0.02382 | 0.02382 | 0.02382 | 0.02382 | 0.0051307 | 0.021726 | -0.026857 | 0.0051307 | 0.021726 | -0.026857 | 0.0060631 | -0.037503 | -0.028124 | 0.0060631 | -0.037503 | -0.028124 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | 0.33344 | 1.8195 | 1.6325 | 0.33344 | 1.8195 | 1.6325 | -29.5866 | -139.2637 | 146.9719 | -29.5866 | -139.2637 | 146.9719

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58152 | 0.017672 | 0.017672 | 0.57719 | 0.013334 | 0.013334 | 6.7148 | 0.20405 | 0.20405 | 6.6648 | 0.15396 | 0.15396 | 1.0582 | 0.19402 | -0.15918 | -5.4346e-12 | -0.13373 | 0.13289 | 0.29744 | -0.2751 | -0.26224 | -2.978e-12 | 0.20982 | 0.20474 | -80.3562 | -87.915 | -87.915 | 99.6778 | 91.0924 | 91.0924 | 0.16369 | 1.6497 | 1.5034 | 0 | 1.6161 | 1.5853 | -64.6559 | -142.7204 | 150.8282 | 0 | -146.3957 | 148.1056
Line_1 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0066668 | 0.0066668 | 0.0066668 | 0.025666 | 0.025666 | 0.025666 | 0.076981 | 0.076981 | 0.076981 | 7.0099e-05 | -0.022259 | 0.022188 | 5.6933e-14 | 0.066866 | -0.066445 | 1.4525e-05 | 0.034969 | 0.034167 | 4.3382e-14 | -0.10491 | -0.10237 | 91.0343 | 91.0343 | 91.0343 | -88.9076 | -88.9076 | -88.9076 | 0.0027893 | 1.6151 | 1.5873 | 0 | 1.6161 | 1.5853 | 102.7406 | -146.4882 | 148.0339 | 0 | -146.3957 | 148.1056
Line_2 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0066668 | 0.0066668 | 0.0066668 | 0.025666 | 0.025666 | 0.025666 | 0.076981 | 0.076981 | 0.076981 | 7.0099e-05 | -0.022259 | 0.022188 | 5.6933e-14 | 0.066866 | -0.066445 | 1.4525e-05 | 0.034969 | 0.034167 | 4.3382e-14 | -0.10491 | -0.10237 | 91.0343 | 91.0343 | 91.0343 | -88.9076 | -88.9076 | -88.9076 | 0.0027893 | 1.6151 | 1.5873 | 0 | 1.6161 | 1.5853 | 102.7406 | -146.4882 | 148.0339 | 0 | -146.3957 | 148.1056
Line_3 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | -7.0099e-05 | 0.022259 | -0.022188 | -7.0099e-05 | 0.022259 | -0.022188 | -1.4525e-05 | -0.034969 | -0.034167 | -1.4525e-05 | -0.034969 | -0.034167 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | 0.0027893 | 1.6151 | 1.5873 | 0.0027893 | 1.6151 | 1.5873 | 102.7406 | -146.4882 | 148.0339 | 102.7406 | -146.4882 | 148.0339

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58152 | 0.017672 | 0.017672 | 0.57719 | 0.013334 | 0.013334 | 6.7148 | 0.20405 | 0.20405 | 6.6648 | 0.15396 | 0.15396 | 1.0582 | 0.19402 | -0.15918 | -5.4346e-12 | -0.13373 | 0.13289 | 0.29744 | -0.2751 | -0.26224 | -2.978e-12 | 0.20982 | 0.20474 | -80.3562 | -87.915 | -87.915 | 99.6778 | 91.0924 | 91.0924 | 0.16369 | 1.6497 | 1.5034 | 0 | 1.6161 | 1.5853 | -64.6559 | -142.7204 | 150.8282 | 0 | -146.3957 | 148.1056
Line_1 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0066668 | 0.0066668 | 0.0066668 | 0.025666 | 0.025666 | 0.025666 | 0.076981 | 0.076981 | 0.076981 | 7.0099e-05 | -0.022259 | 0.022188 | 5.6933e-14 | 0.066866 | -0.066445 | 1.4525e-05 | 0.034969 | 0.034167 | 4.3382e-14 | -0.10491 | -0.10237 | 91.0343 | 91.0343 | 91.0343 | -88.9076 | -88.9076 | -88.9076 | 0.0027893 | 1.6151 | 1.5873 | 0 | 1.6161 | 1.5853 | 102.7406 | -146.4882 | 148.0339 | 0 | -146.3957 | 148.1056
Line_2 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0066668 | 0.0066668 | 0.0066668 | 0.025666 | 0.025666 | 0.025666 | 0.076981 | 0.076981 | 0.076981 | 7.0099e-05 | -0.022259 | 0.022188 | 5.6933e-14 | 0.066866 | -0.066445 | 1.4525e-05 | 0.034969 | 0.034167 | 4.3382e-14 | -0.10491 | -0.10237 | 91.0343 | 91.0343 | 91.0343 | -88.9076 | -88.9076 | -88.9076 | 0.0027893 | 1.6151 | 1.5873 | 0 | 1.6161 | 1.5853 | 102.7406 | -146.4882 | 148.0339 | 0 | -146.3957 | 148.1056
Line_3 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | -7.0099e-05 | 0.022259 | -0.022188 | -7.0099e-05 | 0.022259 | -0.022188 | -1.4525e-05 | -0.034969 | -0.034167 | -1.4525e-05 | -0.034969 | -0.034167 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | 0.0027893 | 1.6151 | 1.5873 | 0.0027893 | 1.6151 | 1.5873 | 102.7406 | -146.4882 | 148.0339 | 102.7406 | -146.4882 | 148.0339

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44808 | 0.013617 | 0.013617 | 0.44474 | 0.010274 | 0.010274 | 5.174 | 0.15723 | 0.15723 | 5.1354 | 0.11863 | 0.11863 | 1.5979 | 0.13141 | -0.13602 | -0.96298 | -0.092133 | 0.11029 | 1.1542 | -0.20191 | -0.15045 | -0.9698 | 0.15346 | 0.11814 | -71.5495 | -79.1083 | -79.1083 | 108.4845 | 99.8991 | 99.8991 | 0.38098 | 1.5322 | 1.29 | 0.26613 | 1.5088 | 1.3623 | -35.7064 | -136.0511 | 148.7757 | -26.3133 | -139.1221 | 146.8682
Line_1 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0051369 | 0.0051369 | 0.0051369 | 0.019776 | 0.019776 | 0.019776 | 0.059316 | 0.059316 | 0.059316 | -0.0030634 | -0.015343 | 0.018406 | 0.0093259 | 0.046066 | -0.055143 | -0.0042409 | 0.025576 | 0.019721 | 0.012736 | -0.076732 | -0.05907 | 99.841 | 99.841 | 99.841 | -80.1009 | -80.1009 | -80.1009 | 0.26454 | 1.5081 | 1.3641 | 0.26613 | 1.5088 | 1.3623 | -26.001 | -139.1991 | 146.816 | -26.3133 | -139.1221 | 146.8682
Line_2 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0051369 | 0.0051369 | 0.0051369 | 0.019776 | 0.019776 | 0.019776 | 0.059316 | 0.059316 | 0.059316 | -0.0030634 | -0.015343 | 0.018406 | 0.0093259 | 0.046066 | -0.055143 | -0.0042409 | 0.025576 | 0.019721 | 0.012736 | -0.076732 | -0.05907 | 99.841 | 99.841 | 99.841 | -80.1009 | -80.1009 | -80.1009 | 0.26454 | 1.5081 | 1.3641 | 0.26613 | 1.5088 | 1.3623 | -26.001 | -139.1991 | 146.816 | -26.3133 | -139.1221 | 146.8682
Line_3 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.0030634 | 0.015343 | -0.018406 | 0.0030634 | 0.015343 | -0.018406 | 0.0042409 | -0.025576 | -0.019721 | 0.0042409 | -0.025576 | -0.019721 | -80.159 | -80.159 | -80.159 | -80.159 | -80.159 | -80.159 | 0.26454 | 1.5081 | 1.3641 | 0.26454 | 1.5081 | 1.3641 | -26.001 | -139.1991 | 146.816 | -26.001 | -139.1991 | 146.816

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44808 | 0.013617 | 0.013617 | 0.44474 | 0.010274 | 0.010274 | 5.174 | 0.15723 | 0.15723 | 5.1354 | 0.11863 | 0.11863 | 1.5979 | 0.13141 | -0.13602 | -0.96298 | -0.092133 | 0.11029 | 1.1542 | -0.20191 | -0.15045 | -0.9698 | 0.15346 | 0.11814 | -71.5495 | -79.1083 | -79.1083 | 108.4845 | 99.8991 | 99.8991 | 0.38098 | 1.5322 | 1.29 | 0.26613 | 1.5088 | 1.3623 | -35.7064 | -136.0511 | 148.7757 | -26.3133 | -139.1221 | 146.8682
Line_1 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0051369 | 0.0051369 | 0.0051369 | 0.019776 | 0.019776 | 0.019776 | 0.059316 | 0.059316 | 0.059316 | -0.0030634 | -0.015343 | 0.018406 | 0.0093259 | 0.046066 | -0.055143 | -0.0042409 | 0.025576 | 0.019721 | 0.012736 | -0.076732 | -0.05907 | 99.841 | 99.841 | 99.841 | -80.1009 | -80.1009 | -80.1009 | 0.26454 | 1.5081 | 1.3641 | 0.26613 | 1.5088 | 1.3623 | -26.001 | -139.1991 | 146.816 | -26.3133 | -139.1221 | 146.8682
Line_2 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0051369 | 0.0051369 | 0.0051369 | 0.019776 | 0.019776 | 0.019776 | 0.059316 | 0.059316 | 0.059316 | -0.0030634 | -0.015343 | 0.018406 | 0.0093259 | 0.046066 | -0.055143 | -0.0042409 | 0.025576 | 0.019721 | 0.012736 | -0.076732 | -0.05907 | 99.841 | 99.841 | 99.841 | -80.1009 | -80.1009 | -80.1009 | 0.26454 | 1.5081 | 1.3641 | 0.26613 | 1.5088 | 1.3623 | -26.001 | -139.1991 | 146.816 | -26.3133 | -139.1221 | 146.8682
Line_3 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.0030634 | 0.015343 | -0.018406 | 0.0030634 | 0.015343 | -0.018406 | 0.0042409 | -0.025576 | -0.019721 | 0.0042409 | -0.025576 | -0.019721 | -80.159 | -80.159 | -80.159 | -80.159 | -80.159 | -80.159 | 0.26454 | 1.5081 | 1.3641 | 0.26454 | 1.5081 | 1.3641 | -26.001 | -139.1991 | 146.816 | -26.001 | -139.1991 | 146.816

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3576 | 3.6831 | 3.7353 | 0.35482 | 3.6835 | 3.7348 | 4.1292 | 42.5284 | 43.1321 | 4.0972 | 42.5338 | 43.1263 | -1.228 | 7.2735 | 7.0497 | 1.4463 | 4.4073e-11 | 1.9983e-11 | -6.927 | 6.4181 | 9.8422 | 6.9674 | 1.8839e-12 | 3.6627e-11 | 101.8536 | -168.0857 | 12.5217 | -78.0706 | 11.9576 | -167.5209 | 1.7037 | 0.22809 | 0.28068 | 1.7368 | 0 | 0 | 1.8008 | -126.6604 | 66.9085 | 0.20212 | 0 | 0
Line_1 | 0.17461 | 0.17277 | 0.17225 | 0.17741 | 0.17193 | 0.17035 | 2.0162 | 1.995 | 1.9889 | 2.0486 | 1.9853 | 1.9671 | 0.74088 | 0.014456 | 0.014731 | -0.72317 | 1.7682e-12 | 1.6012e-12 | 3.4444 | 0.01906 | 0.015853 | -3.4837 | 1.055e-12 | 1.0286e-12 | -77.8786 | 162.6728 | 41.8663 | 101.9294 | -16.416 | -138.8535 | 1.7475 | 0.011991 | 0.01088 | 1.7368 | 0 | 0 | -0.017707 | -144.5059 | 88.9665 | 0.20212 | 0 | 0
Line_2 | 0.17461 | 0.17277 | 0.17225 | 0.17741 | 0.17193 | 0.17035 | 2.0162 | 1.995 | 1.9889 | 2.0486 | 1.9853 | 1.9671 | 0.74088 | 0.014456 | 0.014731 | -0.72317 | 1.7682e-12 | 1.6012e-12 | 3.4444 | 0.01906 | 0.015853 | -3.4837 | 1.055e-12 | 1.0286e-12 | -77.8786 | 162.6728 | 41.8663 | 101.9294 | -16.416 | -138.8535 | 1.7475 | 0.011991 | 0.01088 | 1.7368 | 0 | 0 | -0.017707 | -144.5059 | 88.9665 | 0.20212 | 0 | 0
Line_3 | 0.0014337 | 0.0014337 | 0.0014337 | 0.0014337 | 0.0014337 | 0.0014337 | 0.016555 | 0.016555 | 0.016555 | 0.016555 | 0.016555 | 0.016555 | -6.5142e-05 | -0.00011495 | 0.00018009 | -6.5142e-05 | -0.00011495 | 0.00018009 | -0.02893 | 0.00016185 | -3.5987e-06 | -0.02893 | 0.00016185 | -3.5987e-06 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 1.7475 | 0.011991 | 0.01088 | 1.7475 | 0.011991 | 0.01088 | -0.017707 | -144.5059 | 88.9665 | -0.017707 | -144.5059 | 88.9665

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3576 | 3.6831 | 3.7353 | 0.35482 | 3.6835 | 3.7348 | 4.1292 | 42.5284 | 43.1321 | 4.0972 | 42.5338 | 43.1263 | -1.228 | 7.2735 | 7.0497 | 1.4463 | 4.4073e-11 | 1.9983e-11 | -6.927 | 6.4181 | 9.8422 | 6.9674 | 1.8839e-12 | 3.6627e-11 | 101.8536 | -168.0857 | 12.5217 | -78.0706 | 11.9576 | -167.5209 | 1.7037 | 0.22809 | 0.28068 | 1.7368 | 0 | 0 | 1.8008 | -126.6604 | 66.9085 | 0.20212 | 0 | 0
Line_1 | 0.17461 | 0.17277 | 0.17225 | 0.17741 | 0.17193 | 0.17035 | 2.0162 | 1.995 | 1.9889 | 2.0486 | 1.9853 | 1.9671 | 0.74088 | 0.014456 | 0.014731 | -0.72317 | 1.7682e-12 | 1.6012e-12 | 3.4444 | 0.01906 | 0.015853 | -3.4837 | 1.055e-12 | 1.0286e-12 | -77.8786 | 162.6728 | 41.8663 | 101.9294 | -16.416 | -138.8535 | 1.7475 | 0.011991 | 0.01088 | 1.7368 | 0 | 0 | -0.017707 | -144.5059 | 88.9665 | 0.20212 | 0 | 0
Line_2 | 0.17461 | 0.17277 | 0.17225 | 0.17741 | 0.17193 | 0.17035 | 2.0162 | 1.995 | 1.9889 | 2.0486 | 1.9853 | 1.9671 | 0.74088 | 0.014456 | 0.014731 | -0.72317 | 1.7682e-12 | 1.6012e-12 | 3.4444 | 0.01906 | 0.015853 | -3.4837 | 1.055e-12 | 1.0286e-12 | -77.8786 | 162.6728 | 41.8663 | 101.9294 | -16.416 | -138.8535 | 1.7475 | 0.011991 | 0.01088 | 1.7368 | 0 | 0 | -0.017707 | -144.5059 | 88.9665 | 0.20212 | 0 | 0
Line_3 | 0.0014337 | 0.0014337 | 0.0014337 | 0.0014337 | 0.0014337 | 0.0014337 | 0.016555 | 0.016555 | 0.016555 | 0.016555 | 0.016555 | 0.016555 | -6.5142e-05 | -0.00011495 | 0.00018009 | -6.5142e-05 | -0.00011495 | 0.00018009 | -0.02893 | 0.00016185 | -3.5987e-06 | -0.02893 | 0.00016185 | -3.5987e-06 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 1.7475 | 0.011991 | 0.01088 | 1.7475 | 0.011991 | 0.01088 | -0.017707 | -144.5059 | 88.9665 | -0.017707 | -144.5059 | 88.9665

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35629 | 0.95561 | 0.95977 | 0.35385 | 0.957 | 0.95841 | 4.1141 | 11.0344 | 11.0825 | 4.0859 | 11.0505 | 11.0668 | -1.0084 | 7.178 | 6.8602 | 1.1998 | -6.8273 | -6.2572 | -6.6269 | 4.192 | 7.0933 | 6.6872 | -3.9897 | -6.2064 | 102.068 | -137.0677 | 42.2164 | -77.9063 | 43.0531 | -137.9052 | 1.6293 | 0.75332 | 0.8904 | 1.6628 | 0.71559 | 0.79636 | 3.4161 | -106.7824 | 88.1735 | 1.9223 | -106.6456 | 86.8613
Line_1 | 0.17444 | 0.1727 | 0.17248 | 0.17692 | 0.17172 | 0.17104 | 2.0143 | 1.9942 | 1.9916 | 2.0429 | 1.9828 | 1.9749 | 0.61365 | -0.0043856 | 1.137 | -0.59989 | -0.00012635 | -1.0993 | 3.3142 | 1.4456 | 1.1371 | -3.3436 | -1.4189 | -1.1247 | -77.8228 | 162.598 | 41.8853 | 102.0937 | -16.6405 | -138.793 | 1.6733 | 0.72493 | 0.80739 | 1.6628 | 0.71559 | 0.79636 | 1.6873 | -107.2282 | 86.8878 | 1.9223 | -106.6456 | 86.8613
Line_2 | 0.17444 | 0.1727 | 0.17248 | 0.17692 | 0.17172 | 0.17104 | 2.0143 | 1.9942 | 1.9916 | 2.0429 | 1.9828 | 1.9749 | 0.61365 | -0.0043856 | 1.137 | -0.59989 | -0.00012635 | -1.0993 | 3.3142 | 1.4456 | 1.1371 | -3.3436 | -1.4189 | -1.1247 | -77.8228 | 162.598 | 41.8853 | 102.0937 | -16.6405 | -138.793 | 1.6733 | 0.72493 | 0.80739 | 1.6628 | 0.71559 | 0.79636 | 1.6873 | -107.2282 | 86.8878 | 1.9223 | -106.6456 | 86.8613
Line_3 | 0.0012462 | 0.0012462 | 0.0012462 | 0.0012462 | 0.0012462 | 0.0012462 | 0.014389 | 0.014389 | 0.014389 | 0.014389 | 0.014389 | 0.014389 | -0.0018934 | -0.0095715 | 0.011465 | -0.0018934 | -0.0095715 | 0.011465 | -0.024003 | 0.004147 | -0.0018794 | -0.024003 | 0.004147 | -0.0018794 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 1.6733 | 0.72493 | 0.80739 | 1.6733 | 0.72493 | 0.80739 | 1.6873 | -107.2282 | 86.8878 | 1.6873 | -107.2282 | 86.8878

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35629 | 0.95561 | 0.95977 | 0.35385 | 0.957 | 0.95841 | 4.1141 | 11.0344 | 11.0825 | 4.0859 | 11.0505 | 11.0668 | -1.0084 | 7.178 | 6.8602 | 1.1998 | -6.8273 | -6.2572 | -6.6269 | 4.192 | 7.0933 | 6.6872 | -3.9897 | -6.2064 | 102.068 | -137.0677 | 42.2164 | -77.9063 | 43.0531 | -137.9052 | 1.6293 | 0.75332 | 0.8904 | 1.6628 | 0.71559 | 0.79636 | 3.4161 | -106.7824 | 88.1735 | 1.9223 | -106.6456 | 86.8613
Line_1 | 0.17444 | 0.1727 | 0.17248 | 0.17692 | 0.17172 | 0.17104 | 2.0143 | 1.9942 | 1.9916 | 2.0429 | 1.9828 | 1.9749 | 0.61365 | -0.0043856 | 1.137 | -0.59989 | -0.00012635 | -1.0993 | 3.3142 | 1.4456 | 1.1371 | -3.3436 | -1.4189 | -1.1247 | -77.8228 | 162.598 | 41.8853 | 102.0937 | -16.6405 | -138.793 | 1.6733 | 0.72493 | 0.80739 | 1.6628 | 0.71559 | 0.79636 | 1.6873 | -107.2282 | 86.8878 | 1.9223 | -106.6456 | 86.8613
Line_2 | 0.17444 | 0.1727 | 0.17248 | 0.17692 | 0.17172 | 0.17104 | 2.0143 | 1.9942 | 1.9916 | 2.0429 | 1.9828 | 1.9749 | 0.61365 | -0.0043856 | 1.137 | -0.59989 | -0.00012635 | -1.0993 | 3.3142 | 1.4456 | 1.1371 | -3.3436 | -1.4189 | -1.1247 | -77.8228 | 162.598 | 41.8853 | 102.0937 | -16.6405 | -138.793 | 1.6733 | 0.72493 | 0.80739 | 1.6628 | 0.71559 | 0.79636 | 1.6873 | -107.2282 | 86.8878 | 1.9223 | -106.6456 | 86.8613
Line_3 | 0.0012462 | 0.0012462 | 0.0012462 | 0.0012462 | 0.0012462 | 0.0012462 | 0.014389 | 0.014389 | 0.014389 | 0.014389 | 0.014389 | 0.014389 | -0.0018934 | -0.0095715 | 0.011465 | -0.0018934 | -0.0095715 | 0.011465 | -0.024003 | 0.004147 | -0.0018794 | -0.024003 | 0.004147 | -0.0018794 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 1.6733 | 0.72493 | 0.80739 | 1.6733 | 0.72493 | 0.80739 | 1.6873 | -107.2282 | 86.8878 | 1.6873 | -107.2282 | 86.8878

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095718 | 3.09 | 3.1562 | 0.0072221 | 3.0906 | 3.1555 | 0.11053 | 35.6806 | 36.445 | 0.083393 | 35.6868 | 36.4361 | 0.0038793 | 9.5009 | 10.1956 | -0.0002468 | -1.3471e-10 | 2.9463e-11 | -0.15941 | 3.5409 | 8.0005 | 0.12162 | -1.3572e-10 | -1.9408e-10 | 91.2036 | -162.6184 | 23.2119 | -89.789 | 17.4241 | -156.8285 | 1.4427 | 0.28417 | 0.3556 | 1.4584 | 0 | 0 | 2.5977 | -142.1784 | 61.3331 | 0.3273 | 0 | 0
Line_1 | 0.0012039 | 0.0012039 | 0.0012039 | 0.003611 | 0.003611 | 0.003611 | 0.013902 | 0.013902 | 0.013902 | 0.041697 | 0.041697 | 0.041697 | -4.1134e-05 | 2.0566e-05 | 2.0566e-05 | 0.0001234 | -1.9805e-13 | 1.9135e-13 | 0.020279 | 4.2614e-06 | 4.2614e-06 | -0.060812 | 1.0341e-13 | 1.1769e-13 | -89.8471 | -89.8471 | -89.8471 | 90.211 | 90.211 | 90.211 | 1.4587 | 0.0015108 | 0.0015108 | 1.4584 | 0 | 0 | 0.26916 | -78.1407 | -78.1407 | 0.3273 | 0 | 0
Line_2 | 0.0012039 | 0.0012039 | 0.0012039 | 0.003611 | 0.003611 | 0.003611 | 0.013902 | 0.013902 | 0.013902 | 0.041697 | 0.041697 | 0.041697 | -4.1134e-05 | 2.0566e-05 | 2.0566e-05 | 0.0001234 | -1.9805e-13 | 1.9135e-13 | 0.020279 | 4.2614e-06 | 4.2614e-06 | -0.060812 | 1.0341e-13 | 1.1769e-13 | -89.8471 | -89.8471 | -89.8471 | 90.211 | 90.211 | 90.211 | 1.4587 | 0.0015108 | 0.0015108 | 1.4584 | 0 | 0 | 0.26916 | -78.1407 | -78.1407 | 0.3273 | 0 | 0
Line_3 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 4.1132e-05 | -2.0566e-05 | -2.0566e-05 | 4.1132e-05 | -2.0566e-05 | -2.0566e-05 | -0.020279 | -4.2614e-06 | -4.2614e-06 | -0.020279 | -4.2614e-06 | -4.2614e-06 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 1.4587 | 0.0015108 | 0.0015108 | 1.4587 | 0.0015108 | 0.0015108 | 0.26916 | -78.1407 | -78.1407 | 0.26916 | -78.1407 | -78.1407

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095718 | 3.09 | 3.1562 | 0.0072221 | 3.0906 | 3.1555 | 0.11053 | 35.6806 | 36.445 | 0.083393 | 35.6868 | 36.4361 | 0.0038793 | 9.5009 | 10.1956 | -0.0002468 | -1.3471e-10 | 2.9463e-11 | -0.15941 | 3.5409 | 8.0005 | 0.12162 | -1.3572e-10 | -1.9408e-10 | 91.2036 | -162.6184 | 23.2119 | -89.789 | 17.4241 | -156.8285 | 1.4427 | 0.28417 | 0.3556 | 1.4584 | 0 | 0 | 2.5977 | -142.1784 | 61.3331 | 0.3273 | 0 | 0
Line_1 | 0.0012039 | 0.0012039 | 0.0012039 | 0.003611 | 0.003611 | 0.003611 | 0.013902 | 0.013902 | 0.013902 | 0.041697 | 0.041697 | 0.041697 | -4.1134e-05 | 2.0566e-05 | 2.0566e-05 | 0.0001234 | -1.9805e-13 | 1.9135e-13 | 0.020279 | 4.2614e-06 | 4.2614e-06 | -0.060812 | 1.0341e-13 | 1.1769e-13 | -89.8471 | -89.8471 | -89.8471 | 90.211 | 90.211 | 90.211 | 1.4587 | 0.0015108 | 0.0015108 | 1.4584 | 0 | 0 | 0.26916 | -78.1407 | -78.1407 | 0.3273 | 0 | 0
Line_2 | 0.0012039 | 0.0012039 | 0.0012039 | 0.003611 | 0.003611 | 0.003611 | 0.013902 | 0.013902 | 0.013902 | 0.041697 | 0.041697 | 0.041697 | -4.1134e-05 | 2.0566e-05 | 2.0566e-05 | 0.0001234 | -1.9805e-13 | 1.9135e-13 | 0.020279 | 4.2614e-06 | 4.2614e-06 | -0.060812 | 1.0341e-13 | 1.1769e-13 | -89.8471 | -89.8471 | -89.8471 | 90.211 | 90.211 | 90.211 | 1.4587 | 0.0015108 | 0.0015108 | 1.4584 | 0 | 0 | 0.26916 | -78.1407 | -78.1407 | 0.3273 | 0 | 0
Line_3 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 4.1132e-05 | -2.0566e-05 | -2.0566e-05 | 4.1132e-05 | -2.0566e-05 | -2.0566e-05 | -0.020279 | -4.2614e-06 | -4.2614e-06 | -0.020279 | -4.2614e-06 | -4.2614e-06 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 1.4587 | 0.0015108 | 0.0015108 | 1.4587 | 0.0015108 | 0.0015108 | 0.26916 | -78.1407 | -78.1407 | 0.26916 | -78.1407 | -78.1407

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082759 | 0.94584 | 1.0562 | 0.0062443 | 0.94654 | 1.055 | 0.095562 | 10.9217 | 12.1959 | 0.072103 | 10.9297 | 12.1826 | -0.0064465 | 5.2724 | 6.9352 | 0.0067055 | -4.4647 | -5.5708 | -0.13148 | 4.5032 | 6.7464 | 0.10033 | -4.5187 | -5.5193 | 96.6594 | -150.4587 | 44.3682 | -84.3332 | 29.6572 | -135.7227 | 1.3775 | 0.63486 | 0.79332 | 1.3946 | 0.5812 | 0.6437 | 3.8525 | -109.9577 | 88.5778 | 1.8431 | -104.9984 | 89.0113
Line_1 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0031222 | 0.0031222 | 0.0031222 | 0.01202 | 0.01202 | 0.01202 | 0.036052 | 0.036052 | 0.036052 | 0.0011162 | 0.0065542 | -0.0076705 | -0.0033528 | -0.019605 | 0.02305 | 0.01673 | -0.0024555 | 0.00089211 | -0.050165 | 0.0073945 | -0.0026896 | -84.3913 | -84.3913 | -84.3913 | 95.6668 | 95.6668 | 95.6668 | 1.3949 | 0.5823 | 0.64246 | 1.3946 | 0.5812 | 0.6437 | 1.7914 | -104.9297 | 88.9747 | 1.8431 | -104.9984 | 89.0113
Line_2 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0031222 | 0.0031222 | 0.0031222 | 0.01202 | 0.01202 | 0.01202 | 0.036052 | 0.036052 | 0.036052 | 0.0011162 | 0.0065542 | -0.0076705 | -0.0033528 | -0.019605 | 0.02305 | 0.01673 | -0.0024555 | 0.00089211 | -0.050165 | 0.0073945 | -0.0026896 | -84.3913 | -84.3913 | -84.3913 | 95.6668 | 95.6668 | 95.6668 | 1.3949 | 0.5823 | 0.64246 | 1.3946 | 0.5812 | 0.6437 | 1.7914 | -104.9297 | 88.9747 | 1.8431 | -104.9984 | 89.0113
Line_3 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | -0.0011162 | -0.0065542 | 0.0076705 | -0.0011162 | -0.0065542 | 0.0076705 | -0.01673 | 0.0024555 | -0.00089211 | -0.01673 | 0.0024555 | -0.00089211 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 1.3949 | 0.5823 | 0.64246 | 1.3949 | 0.5823 | 0.64246 | 1.7914 | -104.9297 | 88.9747 | 1.7914 | -104.9297 | 88.9747

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082759 | 0.94584 | 1.0562 | 0.0062443 | 0.94654 | 1.055 | 0.095562 | 10.9217 | 12.1959 | 0.072103 | 10.9297 | 12.1826 | -0.0064465 | 5.2724 | 6.9352 | 0.0067055 | -4.4647 | -5.5708 | -0.13148 | 4.5032 | 6.7464 | 0.10033 | -4.5187 | -5.5193 | 96.6594 | -150.4587 | 44.3682 | -84.3332 | 29.6572 | -135.7227 | 1.3775 | 0.63486 | 0.79332 | 1.3946 | 0.5812 | 0.6437 | 3.8525 | -109.9577 | 88.5778 | 1.8431 | -104.9984 | 89.0113
Line_1 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0031222 | 0.0031222 | 0.0031222 | 0.01202 | 0.01202 | 0.01202 | 0.036052 | 0.036052 | 0.036052 | 0.0011162 | 0.0065542 | -0.0076705 | -0.0033528 | -0.019605 | 0.02305 | 0.01673 | -0.0024555 | 0.00089211 | -0.050165 | 0.0073945 | -0.0026896 | -84.3913 | -84.3913 | -84.3913 | 95.6668 | 95.6668 | 95.6668 | 1.3949 | 0.5823 | 0.64246 | 1.3946 | 0.5812 | 0.6437 | 1.7914 | -104.9297 | 88.9747 | 1.8431 | -104.9984 | 89.0113
Line_2 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0031222 | 0.0031222 | 0.0031222 | 0.01202 | 0.01202 | 0.01202 | 0.036052 | 0.036052 | 0.036052 | 0.0011162 | 0.0065542 | -0.0076705 | -0.0033528 | -0.019605 | 0.02305 | 0.01673 | -0.0024555 | 0.00089211 | -0.050165 | 0.0073945 | -0.0026896 | -84.3913 | -84.3913 | -84.3913 | 95.6668 | 95.6668 | 95.6668 | 1.3949 | 0.5823 | 0.64246 | 1.3946 | 0.5812 | 0.6437 | 1.7914 | -104.9297 | 88.9747 | 1.8431 | -104.9984 | 89.0113
Line_3 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | -0.0011162 | -0.0065542 | 0.0076705 | -0.0011162 | -0.0065542 | 0.0076705 | -0.01673 | 0.0024555 | -0.00089211 | -0.01673 | 0.0024555 | -0.00089211 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 1.3949 | 0.5823 | 0.64246 | 1.3949 | 0.5823 | 0.64246 | 1.7914 | -104.9297 | 88.9747 | 1.7914 | -104.9297 | 88.9747