## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80101 | 0.80101 | 0 | 0 | 27.7477 | 27.7477 | 3.3465 | -2.3456 | 24.4742 | -23.3385 | 67.0064 | -112.9936 | 0.89023 | 0.84533 | 149.2202 | 151.2672

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80817 | 0.80817 | 0 | 0 | 27.996 | 27.996 | 3.5204 | -2.5015 | 26.0454 | -24.8894 | 66.9596 | -113.0404 | 0.93879 | 0.89351 | 149.262 | 151.2204

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00068539 | 0.00068539 | 0 | 0 | 0.023743 | 0.023743 | 0.017619 | -0.017618 | 0.017634 | -0.017633 | 104.9698 | -75.0302 | 1.0499 | 1.0499 | 149.995 | 149.9948

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00071801 | 0.00071801 | 0 | 0 | 0.024873 | 0.024873 | 0.019336 | -0.019335 | 0.019353 | -0.019353 | 104.9686 | -75.0314 | 1.0999 | 1.0998 | 149.995 | 149.9948

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.68891 | 0.68891 | 0 | 0 | 23.8646 | 23.8646 | 3.244 | -1.8225 | 18.9732 | -18.1332 | 68.6461 | -111.3539 | 0.80658 | 0.76367 | 148.9437 | 152.9069

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.65265 | 0.65265 | 0 | 0 | 22.6085 | 22.6085 | 2.9115 | -1.6357 | 17.0286 | -16.2747 | 68.6461 | -111.3539 | 0.76412 | 0.72347 | 148.9437 | 152.9069

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00062009 | 0.00062009 | 0 | 0 | 0.02148 | 0.02148 | 0.014422 | -0.014421 | 0.014434 | -0.014434 | 104.9694 | -75.0306 | 0.9499 | 0.94984 | 149.9947 | 149.9957

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00058745 | 0.00058745 | 0 | 0 | 0.02035 | 0.02035 | 0.012944 | -0.012943 | 0.012955 | -0.012954 | 104.9694 | -75.0306 | 0.89991 | 0.89985 | 149.9947 | 149.9957

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4005 | 0.4005 | 0.80101 | 0.4005 | 0.4005 | 0.80101 | 4.6246 | 4.6246 | 9.2492 | 4.6246 | 4.6246 | 9.2492 | -3.895 | 4.4528 | 1.1155 | 3.9784 | -4.3694 | -0.78187 | 2.5525 | 1.5266 | 8.1581 | -2.4578 | -1.4319 | -7.7795 | 7.0064 | 7.0064 | -172.9936 | -172.9936 | -172.9936 | 7.0064 | 1.007 | 1.0179 | 0.89023 | 1.0112 | 0.99424 | 0.84533 | 153.7688 | 25.9298 | -90.7798 | 155.2989 | 25.1513 | -88.7328

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40409 | 0.40409 | 0.80817 | 0.40409 | 0.40409 | 0.80817 | 4.666 | 4.666 | 9.332 | 4.666 | 4.666 | 9.332 | -4.1188 | 4.7056 | 1.1735 | 4.2038 | -4.6207 | -0.83383 | 2.709 | 1.6319 | 8.6818 | -2.6127 | -1.5355 | -8.2965 | 6.9596 | 6.9596 | -173.0404 | -173.0404 | -173.0404 | 6.9596 | 1.0566 | 1.0674 | 0.93879 | 1.0608 | 1.0435 | 0.89351 | 153.6259 | 26.0858 | -90.738 | 155.0979 | 25.3421 | -88.7796

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00068493 | 0.00068493 | 0.0013699 | 0.00068493 | 0.00068493 | 0.0013699 | 0.0079089 | 0.0079089 | 0.015818 | 0.0079089 | 0.0079089 | 0.015818 | -0.0021578 | 0.0080236 | 0.011732 | 0.0021581 | -0.0080234 | -0.011731 | 0.008018 | -0.002142 | 0.011752 | -0.0080178 | 0.0021422 | -0.011751 | 44.9397 | 44.9397 | -135.0603 | -135.0603 | -135.0603 | 44.9397 | 1.0499 | 1.05 | 1.0498 | 1.0498 | 1.05 | 1.0497 | 150.0023 | 29.9927 | -90.0101 | 150.0044 | 29.9904 | -90.0104

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00071751 | 0.00071751 | 0.001435 | 0.00071751 | 0.00071751 | 0.001435 | 0.0082851 | 0.0082851 | 0.01657 | 0.0082851 | 0.0082851 | 0.01657 | -0.0023685 | 0.0088056 | 0.012874 | 0.0023687 | -0.0088053 | -0.012873 | 0.0087993 | -0.0023503 | 0.012898 | -0.008799 | 0.0023506 | -0.012897 | 44.9373 | 44.9373 | -135.0627 | -135.0627 | -135.0627 | 44.9373 | 1.0999 | 1.1 | 1.0998 | 1.0998 | 1.1 | 1.0997 | 150.0023 | 29.9927 | -90.0101 | 150.0044 | 29.9904 | -90.0104

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34446 | 0.34446 | 0.68891 | 0.34446 | 0.34446 | 0.68891 | 3.9774 | 3.9774 | 7.9549 | 3.9774 | 3.9774 | 7.9549 | -2.9648 | 3.5055 | 1.0813 | 3.0833 | -3.387 | -0.60749 | 2.073 | 1.0892 | 6.3244 | -2.003 | -1.0192 | -6.0444 | 8.6461 | 8.6461 | -171.3539 | -171.3539 | -171.3539 | 8.6461 | 0.90955 | 0.9229 | 0.80658 | 0.92441 | 0.88927 | 0.76367 | 153.6843 | 25.9065 | -91.0563 | 155.6365 | 25.3929 | -87.0931

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32633 | 0.32633 | 0.65265 | 0.32633 | 0.32633 | 0.65265 | 3.7681 | 3.7681 | 7.5362 | 3.7681 | 3.7681 | 7.5362 | -2.6609 | 3.1462 | 0.9705 | 2.7673 | -3.0399 | -0.54522 | 1.8606 | 0.97754 | 5.6762 | -1.7977 | -0.91471 | -5.4249 | 8.6461 | 8.6461 | -171.3539 | -171.3539 | -171.3539 | 8.6461 | 0.86168 | 0.87433 | 0.76412 | 0.87576 | 0.84247 | 0.72347 | 153.6843 | 25.9065 | -91.0563 | 155.6365 | 25.3929 | -87.0931

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00061964 | 0.00061964 | 0.0012393 | 0.00061964 | 0.00061964 | 0.0012393 | 0.007155 | 0.007155 | 0.01431 | 0.007155 | 0.007155 | 0.01431 | -0.0017663 | 0.0065674 | 0.0096023 | 0.0017667 | -0.0065671 | -0.0096007 | 0.0065628 | -0.0017532 | 0.0096192 | -0.0065626 | 0.0017534 | -0.0096183 | 44.9389 | 44.9389 | -135.0611 | -135.0611 | -135.0611 | 44.9389 | 0.94988 | 0.95003 | 0.94981 | 0.94986 | 0.94998 | 0.94969 | 150.0024 | 29.9923 | -90.0105 | 150.006 | 29.9897 | -90.0086

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058703 | 0.00058703 | 0.0011741 | 0.00058703 | 0.00058703 | 0.0011741 | 0.0067784 | 0.0067784 | 0.013557 | 0.0067784 | 0.0067784 | 0.013557 | -0.0015853 | 0.0058943 | 0.0086181 | 0.0015856 | -0.005894 | -0.0086167 | 0.0058902 | -0.0015735 | 0.0086333 | -0.00589 | 0.0015737 | -0.0086325 | 44.9389 | 44.9389 | -135.0611 | -135.0611 | -135.0611 | 44.9389 | 0.89988 | 0.90003 | 0.89982 | 0.89987 | 0.89998 | 0.8997 | 150.0024 | 29.9923 | -90.0105 | 150.006 | 29.9897 | -90.0086

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49462 | 0.49462 | 0 | 0.49462 | 0.49462 | 0 | 5.7114 | 5.7114 | 0 | 5.7114 | 5.7114 | 0 | 3.5528 | -2.4039 | 5.0292e-15 | -3.4256 | 2.5312 | -4.8001e-15 | 4.247 | 4.9408 | -1.0654e-15 | -4.1027 | -4.7964 | 1.59e-15 | 96.6427 | -83.3573 | 0 | -83.3573 | 96.6427 | 0 |  | 0.96948 | 0.96203 | 1.05 | 0.93581 | 0.94956 | 1.05 | 146.7293 | 32.5881 | -90 | 146.7825 | 34.4641 | -90

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49777 | 0.49777 | 0 | 0.49777 | 0.49777 | 0 | 5.7477 | 5.7477 | 0 | 5.7477 | 5.7477 | 0 | 3.7436 | -2.5369 | 1.4141e-15 | -3.6147 | 2.6658 | -1.8537e-15 | 4.5034 | 5.2308 | -2.0694e-16 | -4.3572 | -5.0847 | 7.0987e-16 | 96.6071 | -83.3929 | 0 | -83.3929 | 96.6071 | 0 |  | 1.0189 | 1.0115 | 1.1 | 0.98498 | 0.99885 | 1.1 | 146.871 | 32.4803 | -90 | 146.928 | 34.2742 | -90

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00039573 | 0.00039573 | 0 | 0.00039573 | 0.00039573 | 0 | 0.0045695 | 0.0045695 | 0 | 0.0045695 | 0.0045695 | 0 | 0.0046339 | 0.0012395 | 3.2495e-18 | -0.0046338 | -0.0012394 | -3.4474e-18 | 0.0012437 | 0.0046348 | -2.8908e-18 | -0.0012437 | -0.0046347 | 1.8081e-18 | 134.9716 | -45.0284 | 0 | -45.0284 | 134.9716 | 0 |  | 1.05 | 1.0499 | 1.05 | 1.05 | 1.0499 | 1.05 | 149.9959 | 29.9991 | -90 | 149.9951 | 29.9997 | -90

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00041457 | 0.00041457 | 0 | 0.00041457 | 0.00041457 | 0 | 0.004787 | 0.004787 | 0 | 0.004787 | 0.004787 | 0 | 0.0050855 | 0.0013602 | 1.2378e-18 | -0.0050854 | -0.0013601 | -5.0199e-19 | 0.0013651 | 0.0050866 | -9.8202e-19 | -0.001365 | -0.0050865 | -8.4714e-20 | 134.9704 | -45.0296 | 0 | -45.0296 | 134.9704 | 0 |  | 1.1 | 1.0999 | 1.1 | 1.1 | 1.0999 | 1.1 | 149.9959 | 29.9991 | -90 | 149.9951 | 29.9997 | -90

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42568 | 0.42568 | 0 | 0.42568 | 0.42568 | 0 | 4.9153 | 4.9153 | 0 | 4.9153 | 4.9153 | 0 | 2.8419 | -1.7843 | 3.1321e-15 | -2.661 | 1.9652 | -2.9504e-15 | 3.2512 | 3.8859 | -4.6569e-16 | -3.1443 | -3.779 | 3.5813e-16 | 97.8128 | -82.1872 | 0 | -82.1872 | 97.8128 | 0 |  | 0.87851 | 0.86993 | 0.95 | 0.83802 | 0.86657 | 0.95 | 146.6554 | 32.4757 | -90 | 147.5713 | 35.2884 | -90

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40327 | 0.40327 | 0 | 0.40327 | 0.40327 | 0 | 4.6566 | 4.6566 | 0 | 4.6566 | 4.6566 | 0 | 2.5506 | -1.6014 | 3.237e-15 | -2.3883 | 1.7638 | -3.4243e-15 | 2.9179 | 3.4877 | -1.2328e-15 | -2.822 | -3.3917 | 1.2343e-15 | 97.8128 | -82.1872 | 0 | -82.1872 | 97.8128 | 0 |  | 0.83228 | 0.82415 | 0.9 | 0.79392 | 0.82096 | 0.9 | 146.6554 | 32.4757 | -90 | 147.5713 | 35.2884 | -90

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00035803 | 0.00035803 | 0 | 0.00035803 | 0.00035803 | 0 | 0.0041341 | 0.0041341 | 0 | 0.0041341 | 0.0041341 | 0 | 0.0037931 | 0.0010146 | 2.3396e-18 | -0.003793 | -0.0010144 | -2.5698e-18 | 0.0010181 | 0.0037938 | -2.5091e-18 | -0.001018 | -0.0037937 | 2.3093e-18 | 134.9709 | -45.0291 | 0 | -45.0291 | 134.9709 | 0 |  | 0.94998 | 0.94993 | 0.95 | 0.94994 | 0.9499 | 0.95 | 149.9957 | 29.999 | -90 | 149.9951 | 30.0006 | -90

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00033918 | 0.00033918 | 0 | 0.00033918 | 0.00033918 | 0 | 0.0039166 | 0.0039166 | 0 | 0.0039166 | 0.0039166 | 0 | 0.0034043 | 0.00091057 | 1.7536e-18 | -0.0034042 | -0.00091045 | -1.8643e-18 | 0.00091376 | 0.003405 | -1.8933e-18 | -0.0009137 | -0.0034049 | 2.4806e-18 | 134.9709 | -45.0291 | 0 | -45.0291 | 134.9709 | 0 |  | 0.89998 | 0.89993 | 0.9 | 0.89995 | 0.89991 | 0.9 | 149.9957 | 29.999 | -90 | 149.9951 | 30.0006 | -90

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48368 | 0.47764 | 0.80101 | 0.48368 | 0.47764 | 0.80101 | 5.5851 | 5.5153 | 9.2492 | 5.5851 | 5.5153 | 9.2492 | -1.9986 | 3.1463 | 1.1155 | 2.1203 | -3.0277 | -0.78187 | 4.9823 | 4.3191 | 8.1581 | -4.8442 | -4.1845 | -7.7795 | 40.3354 | -26.8007 | -172.9936 | -139.6646 | 153.1993 | 7.0064 |  | 0.96117 | 0.96888 | 0.89023 | 0.9468 | 0.93649 | 0.84533 | 152.1936 | 27.1274 | -90.7798 | 153.974 | 27.3119 | -88.7328

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48708 | 0.48121 | 0.80817 | 0.48708 | 0.48121 | 0.80817 | 5.6244 | 5.5566 | 9.332 | 5.6244 | 5.5566 | 9.332 | -2.126 | 3.3315 | 1.1735 | 2.2494 | -3.2111 | -0.83383 | 5.2716 | 4.5737 | 8.6818 | -5.1317 | -4.437 | -8.2965 | 40.1532 | -26.6924 | -173.0404 | -139.8468 | 153.3076 | 6.9596 |  | 1.0106 | 1.0183 | 0.93879 | 0.9962 | 0.98569 | 0.89351 | 152.1171 | 27.2377 | -90.738 | 153.8227 | 27.4144 | -88.7796

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00039571 | 0.00039573 | 0.00068539 | 0.00039571 | 0.00039573 | 0.00068539 | 0.0045693 | 0.0045695 | 0.0079143 | 0.0045693 | 0.0045695 | 0.0079143 | 0.0012395 | 0.0046338 | 0.0058729 | -0.0012395 | -0.0046337 | -0.0058726 | 0.0046345 | 0.001244 | 0.005878 | -0.0046344 | -0.0012439 | -0.0058778 | 74.973 | 14.9684 | -135.0302 | -105.027 | -165.0316 | 44.9698 |  | 1.0499 | 1.05 | 1.0499 | 1.0499 | 1.05 | 1.0499 | 149.9991 | 29.9959 | -90.005 | 149.9997 | 29.9951 | -90.0052

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00041454 | 0.00041457 | 0.00071801 | 0.00041454 | 0.00041457 | 0.00071801 | 0.0047867 | 0.004787 | 0.0082909 | 0.0047867 | 0.004787 | 0.0082909 | 0.0013603 | 0.0050855 | 0.0064452 | -0.0013602 | -0.0050854 | -0.006445 | 0.0050863 | 0.0013654 | 0.0064512 | -0.0050862 | -0.0013653 | -0.0064509 | 74.9718 | 14.9672 | -135.0314 | -105.0282 | -165.0328 | 44.9686 |  | 1.0999 | 1.1 | 1.0999 | 1.0999 | 1.1 | 1.0998 | 149.9991 | 29.9959 | -90.005 | 149.9997 | 29.9951 | -90.0052

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41947 | 0.40755 | 0.68891 | 0.41947 | 0.40755 | 0.68891 | 4.8436 | 4.7059 | 7.9549 | 4.8436 | 4.7059 | 7.9549 | -1.4657 | 2.5132 | 1.0813 | 1.6414 | -2.3473 | -0.60749 | 3.9434 | 3.2829 | 6.3244 | -3.8396 | -3.1849 | -6.0444 | 41.6926 | -25.4979 | -171.3539 | -138.3074 | 154.5021 | 8.6461 |  | 0.86855 | 0.87856 | 0.80658 | 0.86209 | 0.84075 | 0.76367 | 152.0818 | 27.067 | -91.0563 | 154.8386 | 28.1113 | -87.0931

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39739 | 0.3861 | 0.65265 | 0.39739 | 0.3861 | 0.65265 | 4.5887 | 4.4583 | 7.5362 | 4.5887 | 4.4583 | 7.5362 | -1.3155 | 2.2556 | 0.9705 | 1.4731 | -2.1068 | -0.54522 | 3.5392 | 2.9465 | 5.6762 | -3.446 | -2.8585 | -5.4249 | 41.6926 | -25.4979 | -171.3539 | -138.3074 | 154.5021 | 8.6461 |  | 0.82284 | 0.83232 | 0.76412 | 0.81672 | 0.7965 | 0.72347 | 152.0818 | 27.067 | -91.0563 | 154.8386 | 28.1113 | -87.0931

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00035801 | 0.00035803 | 0.00062009 | 0.00035801 | 0.00035803 | 0.00062009 | 0.0041339 | 0.0041341 | 0.0071602 | 0.0041339 | 0.0041341 | 0.0071602 | 0.0010146 | 0.003793 | 0.0048072 | -0.0010145 | -0.0037929 | -0.0048068 | 0.0037936 | 0.0010183 | 0.0048115 | -0.0037935 | -0.0010183 | -0.0048113 | 74.9729 | 14.9674 | -135.0306 | -105.0271 | -165.0326 | 44.9694 |  | 0.94993 | 0.94998 | 0.9499 | 0.9499 | 0.94994 | 0.94984 | 149.999 | 29.9957 | -90.0053 | 150.0006 | 29.9951 | -90.0043

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00033917 | 0.00033918 | 0.00058745 | 0.00033917 | 0.00033918 | 0.00058745 | 0.0039164 | 0.0039165 | 0.0067833 | 0.0039164 | 0.0039165 | 0.0067833 | 0.00091064 | 0.0034042 | 0.0043145 | -0.00091053 | -0.0034041 | -0.0043142 | 0.0034048 | 0.00091396 | 0.0043183 | -0.0034047 | -0.0009139 | -0.0043181 | 74.9729 | 14.9674 | -135.0306 | -105.0271 | -165.0326 | 44.9694 |  | 0.89993 | 0.89998 | 0.89991 | 0.89991 | 0.89995 | 0.89985 | 149.999 | 29.9957 | -90.0053 | 150.0006 | 29.9951 | -90.0043