## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -0.015988 | 0.14599 | -0.46766 | 0.61516 | 95.7106 | -84.2894 | 0.046793 | 0.063224 | 3.7526 | -7.6398
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072049 | 0.072049 | -11.3174 | -11.3174

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -0.015988 | 0.14599 | -0.46766 | 0.61516 | 95.7106 | -84.2894 | 0.046793 | 0.063224 | 3.7526 | -7.6398
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.10549 | -0.072994 | 0.34445 | -0.30758 | -84.2894 | 95.7106 | 0.072049 | 0.063224 | -11.3174 | -7.6398
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072049 | 0.072049 | -11.3174 | -11.3174

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -2.1473 | 2.2773 | -3.9333 | 4.0808 | 95.7106 | -84.2894 | 0.44812 | 0.46732 | -22.9213 | -23.4537
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47693 | 0.47693 | -23.7038 | -23.7038

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0 | 0 | 10 | 10 | -2.1473 | 2.2773 | -3.9333 | 4.0808 | 95.7106 | -84.2894 | 0.44812 | 0.46732 | -22.9213 | -23.4537
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1712 | -1.1387 | 2.0773 | -2.0404 | -84.2894 | 95.7106 | 0.47693 | 0.46732 | -23.7038 | -23.4537
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47693 | 0.47693 | -23.7038 | -23.7038

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37381 | -1.6931 | 1.4982 | 0.41715 | 1.7364 | -1.4549 | -3.8408 | -0.91755 | -1.2367 | 3.89 | 0.96672 | 1.2859 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.1577 | 0.57772 | 0.5828 | 1.1737 | 0.59622 | 0.58249 | 0.15156 | -175.8341 | 176.1723 | -0.41033 | -175.1831 | 174.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1128e-14 | -7.5077e-15 | -4.8348e-15 | -1.1262e-14 | 3.2705e-14 | -5.4814e-15 | 5.7314e-15 | 1.9484e-14 | 6.128e-15 | -5.4635e-15 | -1.1464e-14 | 6.4662e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1817 | 0.60549 | 0.58259 | 1.1817 | 0.60549 | 0.58259 | -0.68556 | -174.8726 | 173.2721 | -0.68556 | -174.8726 | 173.2721

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37381 | -1.6931 | 1.4982 | 0.41715 | 1.7364 | -1.4549 | -3.8408 | -0.91755 | -1.2367 | 3.89 | 0.96672 | 1.2859 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.1577 | 0.57772 | 0.5828 | 1.1737 | 0.59622 | 0.58249 | 0.15156 | -175.8341 | 176.1723 | -0.41033 | -175.1831 | 174.239
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.87904 | -0.71659 | -0.20857 | -0.86821 | 0.72743 | 1.9573 | 0.49565 | 0.65522 | -1.945 | -0.48336 | -0.64293 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1817 | 0.60549 | 0.58259 | 1.1737 | 0.59622 | 0.58249 | -0.68556 | -174.8726 | 173.2721 | -0.41033 | -175.1831 | 174.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1128e-14 | -7.5077e-15 | -4.8348e-15 | -1.1262e-14 | 3.2705e-14 | -5.4814e-15 | 5.7314e-15 | 1.9484e-14 | 6.128e-15 | -5.4635e-15 | -1.1464e-14 | 6.4662e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1817 | 0.60549 | 0.58259 | 1.1817 | 0.60549 | 0.58259 | -0.68556 | -174.8726 | 173.2721 | -0.68556 | -174.8726 | 173.2721

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37382 | -1.7791 | 0.85368 | 0.41715 | 1.8224 | -0.81035 | -3.8408 | -1.6121 | -1.5095 | 3.89 | 1.6613 | 1.5587 | 95.7105 | -24.2892 | -144.2894 | -84.2895 | 155.7108 | 35.7106 | 1.1577 | 0.72025 | 0.52025 | 1.1737 | 0.73979 | 0.52702 | 0.15156 | -162.1077 | 155.2002 | -0.41033 | -161.9373 | 153.1802
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6977e-17 | -2.0131e-14 | 0 | -1.1195e-14 | 2.6879e-14 | -4.2024e-15 | -5.5974e-15 | 1.5822e-14 | 0 | 1.3395e-16 | -1.361e-14 | 1.3584e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1817 | 0.74957 | 0.53064 | 1.1817 | 0.74957 | 0.53064 | -0.68556 | -161.8554 | 152.1901 | -0.68556 | -161.8554 | 152.1901

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.37382 | -1.7791 | 0.85368 | 0.41715 | 1.8224 | -0.81035 | -3.8408 | -1.6121 | -1.5095 | 3.89 | 1.6613 | 1.5587 | 95.7105 | -24.2892 | -144.2894 | -84.2895 | 155.7108 | 35.7106 | 1.1577 | 0.72025 | 0.52025 | 1.1737 | 0.73979 | 0.52702 | 0.15156 | -162.1077 | 155.2002 | -0.41033 | -161.9373 | 153.1802
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.21941 | 0.92204 | -0.39434 | -0.20857 | -0.9112 | 0.40517 | 1.9573 | 0.84293 | 0.79163 | -1.945 | -0.83064 | -0.77934 | -84.2895 | 155.7108 | 35.7106 | 95.7105 | -24.2892 | -144.2894 | 1.1817 | 0.74957 | 0.53064 | 1.1737 | 0.73979 | 0.52702 | -0.68556 | -161.8554 | 152.1901 | -0.41033 | -161.9373 | 153.1802
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6977e-17 | -2.0131e-14 | 0 | -1.1195e-14 | 2.6879e-14 | -4.2024e-15 | -5.5974e-15 | 1.5822e-14 | 0 | 1.3395e-16 | -1.361e-14 | 1.3584e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1817 | 0.74957 | 0.53064 | 1.1817 | 0.74957 | 0.53064 | -0.68556 | -161.8554 | 152.1901 | -0.68556 | -161.8554 | 152.1901

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 1.3027e-14 | 9.4738e-15 | -1.8948e-14 | -1.1842e-14 | -4.7362e-15 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.4455e-13 | -180 | 180 | 6.3604e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.0658e-14 | 3.3631e-19 | 1.4211e-14 | 1.1842e-14 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0887e-13 | -180 | 180 | 6.3604e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -5.9209e-15 | -4.7366e-15 | 1.8948e-14 | 7.1052e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0674e-13 | -180 | 180 | 6.3604e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.737e-15 | -4.737e-15 | 1.1842e-15 | 2.3685e-15 | 0 | 7.1054e-15 | -1.0034e-24 | -5.0162e-29 | -7.1054e-15 | -5.017e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0887e-13 | -180 | 180 | 6.0674e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 1.3027e-14 | 9.4738e-15 | -1.8948e-14 | -1.1842e-14 | -4.7362e-15 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.4455e-13 | -180 | 180 | 6.3604e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.0658e-14 | 3.3631e-19 | 1.4211e-14 | 1.1842e-14 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0887e-13 | -180 | 180 | 6.3604e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -5.9209e-15 | -4.7366e-15 | 1.8948e-14 | 7.1052e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0674e-13 | -180 | 180 | 6.3604e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.737e-15 | -4.737e-15 | 1.1842e-15 | 2.3685e-15 | 0 | 7.1054e-15 | -1.0034e-24 | -5.0162e-29 | -7.1054e-15 | -5.017e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0887e-13 | -180 | 180 | 6.0674e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | -5.5594e-10 | -1.5515e-09 | -1.8948e-14 | 5.5595e-10 | 1.5515e-09 | -1.6579e-14 | 4.8332e-09 | -3.1089e-09 | 1.4211e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4641e-13 | -166.2936 | 160.6236 | 5.2204e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 1.8532e-10 | 5.1716e-10 | 1.1842e-14 | -1.8532e-10 | -5.1716e-10 | 4.737e-15 | -1.6111e-09 | 1.0363e-09 | -9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 4.9636e-13 | -166.2936 | 160.6236 | 5.2204e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.8532e-10 | 5.1716e-10 | 1.6579e-14 | -1.8531e-10 | -5.1716e-10 | 1.1842e-14 | -1.6111e-09 | 1.0363e-09 | -1.4211e-14 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 4.938e-13 | -166.2936 | 160.6236 | 5.2204e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 8.6301e-15 | 1.3644e-15 | -4.737e-15 | -3.8205e-15 | -1.3644e-15 | -7.1054e-15 | -1.7158e-14 | 3.8796e-15 | 2.3685e-15 | 3.5135e-15 | -3.8796e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 4.9636e-13 | -166.2936 | 160.6236 | 4.938e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | -5.5594e-10 | -1.5515e-09 | -1.8948e-14 | 5.5595e-10 | 1.5515e-09 | -1.6579e-14 | 4.8332e-09 | -3.1089e-09 | 1.4211e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4641e-13 | -166.2936 | 160.6236 | 5.2204e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 1.8532e-10 | 5.1716e-10 | 1.1842e-14 | -1.8532e-10 | -5.1716e-10 | 4.737e-15 | -1.6111e-09 | 1.0363e-09 | -9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 4.9636e-13 | -166.2936 | 160.6236 | 5.2204e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.8532e-10 | 5.1716e-10 | 1.6579e-14 | -1.8531e-10 | -5.1716e-10 | 1.1842e-14 | -1.6111e-09 | 1.0363e-09 | -1.4211e-14 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 4.938e-13 | -166.2936 | 160.6236 | 5.2204e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 8.6301e-15 | 1.3644e-15 | -4.737e-15 | -3.8205e-15 | -1.3644e-15 | -7.1054e-15 | -1.7158e-14 | 3.8796e-15 | 2.3685e-15 | 3.5135e-15 | -3.8796e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 4.9636e-13 | -166.2936 | 160.6236 | 4.938e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28147 | 0.2917 | 0.293 | 0.28327 | 0.29093 | 0.29191 | 3.2501 | 3.3683 | 3.3832 | 3.2709 | 3.3593 | 3.3707 | -0.0065621 | -0.27093 | -0.47294 | 0.042227 | 0.34011 | 0.49854 | -0.16139 | -3.8809 | -3.877 | 0.20868 | 3.9142 | 3.9211 | 95.8651 | -25.5907 | -143.1423 | -84.1732 | 154.7312 | 36.5739 | 0.049699 | 1.155 | 1.1545 | 0.065091 | 1.1696 | 1.1727 | 3.5367 | -119.5842 | 119.9028 | -5.613 | -120.2348 | 119.328
Line_1 | 0.14344 | 0.14471 | 0.14487 | 0.14163 | 0.14546 | 0.14595 | 1.6563 | 1.6709 | 1.6729 | 1.6354 | 1.6797 | 1.6853 | 0.031016 | 0.20282 | 0.23914 | -0.021114 | -0.17006 | -0.24927 | 0.11762 | 1.9566 | 1.9617 | -0.10434 | -1.9571 | -1.9605 | -84.2509 | 155.3822 | 36.0005 | 95.8268 | -25.2688 | -143.4261 | 0.073446 | 1.1772 | 1.1813 | 0.065091 | 1.1696 | 1.1727 | -9.0229 | -120.5361 | 119.0502 | -5.613 | -120.2348 | 119.328
Line_2 | 0.14344 | 0.14471 | 0.14487 | 0.14163 | 0.14546 | 0.14595 | 1.6563 | 1.6709 | 1.6729 | 1.6354 | 1.6797 | 1.6853 | 0.031016 | 0.20282 | 0.23914 | -0.021114 | -0.17006 | -0.24927 | 0.11762 | 1.9566 | 1.9617 | -0.10434 | -1.9571 | -1.9605 | -84.2509 | 155.3822 | 36.0005 | 95.8268 | -25.2688 | -143.4261 | 0.073446 | 1.1772 | 1.1813 | 0.065091 | 1.1696 | 1.1727 | -9.0229 | -120.5361 | 119.0502 | -5.613 | -120.2348 | 119.328
Line_3 | 0.00090685 | 0.00090685 | 0.00090685 | 0.00090685 | 0.00090685 | 0.00090685 | 0.010471 | 0.010471 | 0.010471 | 0.010471 | 0.010471 | 0.010471 | 0.0001156 | 0.010659 | -0.010774 | 0.0001156 | 0.010659 | -0.010774 | 0.00076034 | -0.0061929 | -0.006078 | 0.00076034 | -0.0061929 | -0.006078 | -90.3783 | -90.3783 | -90.3783 | -90.3783 | -90.3783 | -90.3783 | 0.073446 | 1.1772 | 1.1813 | 0.073446 | 1.1772 | 1.1813 | -9.0229 | -120.5361 | 119.0502 | -9.0229 | -120.5361 | 119.0502

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28147 | 0.2917 | 0.293 | 0.28327 | 0.29093 | 0.29191 | 3.2501 | 3.3683 | 3.3832 | 3.2709 | 3.3593 | 3.3707 | -0.0065621 | -0.27093 | -0.47294 | 0.042227 | 0.34011 | 0.49854 | -0.16139 | -3.8809 | -3.877 | 0.20868 | 3.9142 | 3.9211 | 95.8651 | -25.5907 | -143.1423 | -84.1732 | 154.7312 | 36.5739 | 0.049699 | 1.155 | 1.1545 | 0.065091 | 1.1696 | 1.1727 | 3.5367 | -119.5842 | 119.9028 | -5.613 | -120.2348 | 119.328
Line_1 | 0.14344 | 0.14471 | 0.14487 | 0.14163 | 0.14546 | 0.14595 | 1.6563 | 1.6709 | 1.6729 | 1.6354 | 1.6797 | 1.6853 | 0.031016 | 0.20282 | 0.23914 | -0.021114 | -0.17006 | -0.24927 | 0.11762 | 1.9566 | 1.9617 | -0.10434 | -1.9571 | -1.9605 | -84.2509 | 155.3822 | 36.0005 | 95.8268 | -25.2688 | -143.4261 | 0.073446 | 1.1772 | 1.1813 | 0.065091 | 1.1696 | 1.1727 | -9.0229 | -120.5361 | 119.0502 | -5.613 | -120.2348 | 119.328
Line_2 | 0.14344 | 0.14471 | 0.14487 | 0.14163 | 0.14546 | 0.14595 | 1.6563 | 1.6709 | 1.6729 | 1.6354 | 1.6797 | 1.6853 | 0.031016 | 0.20282 | 0.23914 | -0.021114 | -0.17006 | -0.24927 | 0.11762 | 1.9566 | 1.9617 | -0.10434 | -1.9571 | -1.9605 | -84.2509 | 155.3822 | 36.0005 | 95.8268 | -25.2688 | -143.4261 | 0.073446 | 1.1772 | 1.1813 | 0.065091 | 1.1696 | 1.1727 | -9.0229 | -120.5361 | 119.0502 | -5.613 | -120.2348 | 119.328
Line_3 | 0.00090685 | 0.00090685 | 0.00090685 | 0.00090685 | 0.00090685 | 0.00090685 | 0.010471 | 0.010471 | 0.010471 | 0.010471 | 0.010471 | 0.010471 | 0.0001156 | 0.010659 | -0.010774 | 0.0001156 | 0.010659 | -0.010774 | 0.00076034 | -0.0061929 | -0.006078 | 0.00076034 | -0.0061929 | -0.006078 | -90.3783 | -90.3783 | -90.3783 | -90.3783 | -90.3783 | -90.3783 | 0.073446 | 1.1772 | 1.1813 | 0.073446 | 1.1772 | 1.1813 | -9.0229 | -120.5361 | 119.0502 | -9.0229 | -120.5361 | 119.0502

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28372 | 0.29174 | 0.29063 | 0.28496 | 0.29097 | 0.29014 | 3.2762 | 3.3687 | 3.3559 | 3.2904 | 3.3598 | 3.3502 | -0.70068 | -0.31372 | -0.45007 | 0.74287 | 0.37342 | 0.4784 | -1.299 | -3.8783 | -3.8543 | 1.3505 | 3.9144 | 3.9035 | 95.5802 | -25.0682 | -143.3803 | -84.3861 | 155.1242 | 36.3936 | 0.45051 | 1.155 | 1.1563 | 0.46842 | 1.1704 | 1.1739 | -22.7615 | -119.693 | 119.9594 | -23.2004 | -120.3251 | 119.4064
Line_1 | 0.14372 | 0.14472 | 0.14458 | 0.14248 | 0.14548 | 0.14507 | 1.6595 | 1.6711 | 1.6695 | 1.6452 | 1.6799 | 1.6751 | 0.38559 | 0.2104 | 0.23387 | -0.37143 | -0.18671 | -0.2392 | 0.69257 | 1.9576 | 1.96 | -0.67523 | -1.9572 | -1.9517 | -84.3212 | 155.5139 | 35.939 | 95.6139 | -24.8758 | -143.6064 | 0.47766 | 1.1782 | 1.1823 | 0.46842 | 1.1704 | 1.1739 | -23.4279 | -120.6207 | 119.1345 | -23.2004 | -120.3251 | 119.4064
Line_2 | 0.14372 | 0.14472 | 0.14458 | 0.14248 | 0.14548 | 0.14507 | 1.6595 | 1.6711 | 1.6695 | 1.6452 | 1.6799 | 1.6751 | 0.38559 | 0.2104 | 0.23387 | -0.37143 | -0.18671 | -0.2392 | 0.69257 | 1.9576 | 1.96 | -0.67523 | -1.9572 | -1.9517 | -84.3212 | 155.5139 | 35.939 | 95.6139 | -24.8758 | -143.6064 | 0.47766 | 1.1782 | 1.1823 | 0.46842 | 1.1704 | 1.1739 | -23.4279 | -120.6207 | 119.1345 | -23.2004 | -120.3251 | 119.4064
Line_3 | 0.00062456 | 0.00062456 | 0.00062456 | 0.00062456 | 0.00062456 | 0.00062456 | 0.0072118 | 0.0072118 | 0.0072118 | 0.0072118 | 0.0072118 | 0.0072118 | 0.0020485 | 0.006145 | -0.0081935 | 0.0020485 | 0.006145 | -0.0081935 | 0.0027695 | -0.0058685 | -0.0023609 | 0.0027695 | -0.0058685 | -0.0023609 | -76.9393 | -76.9393 | -76.9393 | -76.9393 | -76.9393 | -76.9393 | 0.47766 | 1.1782 | 1.1823 | 0.47766 | 1.1782 | 1.1823 | -23.4279 | -120.6207 | 119.1345 | -23.4279 | -120.6207 | 119.1345

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28372 | 0.29174 | 0.29063 | 0.28496 | 0.29097 | 0.29014 | 3.2762 | 3.3687 | 3.3559 | 3.2904 | 3.3598 | 3.3502 | -0.70068 | -0.31372 | -0.45007 | 0.74287 | 0.37342 | 0.4784 | -1.299 | -3.8783 | -3.8543 | 1.3505 | 3.9144 | 3.9035 | 95.5802 | -25.0682 | -143.3803 | -84.3861 | 155.1242 | 36.3936 | 0.45051 | 1.155 | 1.1563 | 0.46842 | 1.1704 | 1.1739 | -22.7615 | -119.693 | 119.9594 | -23.2004 | -120.3251 | 119.4064
Line_1 | 0.14372 | 0.14472 | 0.14458 | 0.14248 | 0.14548 | 0.14507 | 1.6595 | 1.6711 | 1.6695 | 1.6452 | 1.6799 | 1.6751 | 0.38559 | 0.2104 | 0.23387 | -0.37143 | -0.18671 | -0.2392 | 0.69257 | 1.9576 | 1.96 | -0.67523 | -1.9572 | -1.9517 | -84.3212 | 155.5139 | 35.939 | 95.6139 | -24.8758 | -143.6064 | 0.47766 | 1.1782 | 1.1823 | 0.46842 | 1.1704 | 1.1739 | -23.4279 | -120.6207 | 119.1345 | -23.2004 | -120.3251 | 119.4064
Line_2 | 0.14372 | 0.14472 | 0.14458 | 0.14248 | 0.14548 | 0.14507 | 1.6595 | 1.6711 | 1.6695 | 1.6452 | 1.6799 | 1.6751 | 0.38559 | 0.2104 | 0.23387 | -0.37143 | -0.18671 | -0.2392 | 0.69257 | 1.9576 | 1.96 | -0.67523 | -1.9572 | -1.9517 | -84.3212 | 155.5139 | 35.939 | 95.6139 | -24.8758 | -143.6064 | 0.47766 | 1.1782 | 1.1823 | 0.46842 | 1.1704 | 1.1739 | -23.4279 | -120.6207 | 119.1345 | -23.2004 | -120.3251 | 119.4064
Line_3 | 0.00062456 | 0.00062456 | 0.00062456 | 0.00062456 | 0.00062456 | 0.00062456 | 0.0072118 | 0.0072118 | 0.0072118 | 0.0072118 | 0.0072118 | 0.0072118 | 0.0020485 | 0.006145 | -0.0081935 | 0.0020485 | 0.006145 | -0.0081935 | 0.0027695 | -0.0058685 | -0.0023609 | 0.0027695 | -0.0058685 | -0.0023609 | -76.9393 | -76.9393 | -76.9393 | -76.9393 | -76.9393 | -76.9393 | 0.47766 | 1.1782 | 1.1823 | 0.47766 | 1.1782 | 1.1823 | -23.4279 | -120.6207 | 119.1345 | -23.4279 | -120.6207 | 119.1345

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065195 | 0.0065195 | 0.0065195 | 0.0048915 | 0.0048915 | 0.0048915 | 0.075281 | 0.075281 | 0.075281 | 0.056482 | 0.056482 | 0.056482 | -2.4188e-06 | 0.065596 | -0.064787 | 0.00020011 | -0.049068 | 0.048755 | 0.00020218 | -0.036532 | -0.037869 | -0.0001106 | 0.02736 | 0.028543 | -90.5876 | -90.5876 | -90.5876 | 89.3071 | 89.3071 | 89.3071 | 0.0026858 | 0.99737 | 0.99684 | 0.0040479 | 0.99466 | 1.0002 | 0.097822 | -119.7022 | 119.7195 | 60.3778 | -119.8368 | 119.6537
Line_1 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0024457 | 0.0024457 | 0.0024457 | 0.0094157 | 0.0094157 | 0.0094157 | 0.028241 | 0.028241 | 0.028241 | 4.2811e-05 | -0.0081749 | 0.0081321 | -0.00010005 | 0.024534 | -0.024377 | -1.6448e-05 | 0.0045546 | 0.0047684 | 5.5299e-05 | -0.01368 | -0.014272 | 89.249 | 89.249 | 89.249 | -90.6929 | -90.6929 | -90.6929 | 0.0048708 | 0.99389 | 1.0012 | 0.0040479 | 0.99466 | 1.0002 | 68.2319 | -119.8753 | 119.635 | 60.3778 | -119.8368 | 119.6537
Line_2 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0024457 | 0.0024457 | 0.0024457 | 0.0094157 | 0.0094157 | 0.0094157 | 0.028241 | 0.028241 | 0.028241 | 4.2811e-05 | -0.0081749 | 0.0081321 | -0.00010005 | 0.024534 | -0.024377 | -1.6448e-05 | 0.0045546 | 0.0047684 | 5.5299e-05 | -0.01368 | -0.014272 | 89.249 | 89.249 | 89.249 | -90.6929 | -90.6929 | -90.6929 | 0.0048708 | 0.99389 | 1.0012 | 0.0040479 | 0.99466 | 1.0002 | 68.2319 | -119.8753 | 119.635 | 60.3778 | -119.8368 | 119.6537
Line_3 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | -4.2811e-05 | 0.0081749 | -0.0081321 | -4.2811e-05 | 0.0081749 | -0.0081321 | 1.6448e-05 | -0.0045546 | -0.0047684 | 1.6448e-05 | -0.0045546 | -0.0047684 | -90.751 | -90.751 | -90.751 | -90.751 | -90.751 | -90.751 | 0.0048708 | 0.99389 | 1.0012 | 0.0048708 | 0.99389 | 1.0012 | 68.2319 | -119.8753 | 119.635 | 68.2319 | -119.8753 | 119.635

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065195 | 0.0065195 | 0.0065195 | 0.0048915 | 0.0048915 | 0.0048915 | 0.075281 | 0.075281 | 0.075281 | 0.056482 | 0.056482 | 0.056482 | -2.4188e-06 | 0.065596 | -0.064787 | 0.00020011 | -0.049068 | 0.048755 | 0.00020218 | -0.036532 | -0.037869 | -0.0001106 | 0.02736 | 0.028543 | -90.5876 | -90.5876 | -90.5876 | 89.3071 | 89.3071 | 89.3071 | 0.0026858 | 0.99737 | 0.99684 | 0.0040479 | 0.99466 | 1.0002 | 0.097822 | -119.7022 | 119.7195 | 60.3778 | -119.8368 | 119.6537
Line_1 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0024457 | 0.0024457 | 0.0024457 | 0.0094157 | 0.0094157 | 0.0094157 | 0.028241 | 0.028241 | 0.028241 | 4.2811e-05 | -0.0081749 | 0.0081321 | -0.00010005 | 0.024534 | -0.024377 | -1.6448e-05 | 0.0045546 | 0.0047684 | 5.5299e-05 | -0.01368 | -0.014272 | 89.249 | 89.249 | 89.249 | -90.6929 | -90.6929 | -90.6929 | 0.0048708 | 0.99389 | 1.0012 | 0.0040479 | 0.99466 | 1.0002 | 68.2319 | -119.8753 | 119.635 | 60.3778 | -119.8368 | 119.6537
Line_2 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0024457 | 0.0024457 | 0.0024457 | 0.0094157 | 0.0094157 | 0.0094157 | 0.028241 | 0.028241 | 0.028241 | 4.2811e-05 | -0.0081749 | 0.0081321 | -0.00010005 | 0.024534 | -0.024377 | -1.6448e-05 | 0.0045546 | 0.0047684 | 5.5299e-05 | -0.01368 | -0.014272 | 89.249 | 89.249 | 89.249 | -90.6929 | -90.6929 | -90.6929 | 0.0048708 | 0.99389 | 1.0012 | 0.0040479 | 0.99466 | 1.0002 | 68.2319 | -119.8753 | 119.635 | 60.3778 | -119.8368 | 119.6537
Line_3 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | -4.2811e-05 | 0.0081749 | -0.0081321 | -4.2811e-05 | 0.0081749 | -0.0081321 | 1.6448e-05 | -0.0045546 | -0.0047684 | 1.6448e-05 | -0.0045546 | -0.0047684 | -90.751 | -90.751 | -90.751 | -90.751 | -90.751 | -90.751 | 0.0048708 | 0.99389 | 1.0012 | 0.0048708 | 0.99389 | 1.0012 | 68.2319 | -119.8753 | 119.635 | 68.2319 | -119.8753 | 119.635

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046739 | 0.0046739 | 0.0046739 | 0.0035068 | 0.0035068 | 0.0035068 | 0.05397 | 0.05397 | 0.05397 | 0.040493 | 0.040493 | 0.040493 | 0.011349 | 0.040299 | -0.051234 | -0.0083932 | -0.030183 | 0.038518 | 0.014261 | -0.035684 | -0.016713 | -0.010694 | 0.026739 | 0.012631 | -78.2906 | -78.2906 | -78.2906 | 101.6041 | 101.6041 | 101.6041 | 0.3377 | 0.99736 | 0.99853 | 0.33573 | 0.99582 | 1.0011 | -26.8025 | -119.8146 | 119.7761 | -26.5217 | -119.9328 | 119.7596
Line_1 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0017534 | 0.0017534 | 0.0017534 | 0.0067502 | 0.0067502 | 0.0067502 | 0.020246 | 0.020246 | 0.020246 | -0.0013925 | -0.0050313 | 0.0064238 | 0.0041966 | 0.015092 | -0.019259 | -0.0017832 | 0.0044533 | 0.0021131 | 0.0053472 | -0.013369 | -0.0063155 | 101.546 | 101.546 | 101.546 | -78.3959 | -78.3959 | -78.3959 | 0.33517 | 0.99539 | 1.0018 | 0.33573 | 0.99582 | 1.0011 | -26.4407 | -119.9666 | 119.7548 | -26.5217 | -119.9328 | 119.7596
Line_2 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0017534 | 0.0017534 | 0.0017534 | 0.0067502 | 0.0067502 | 0.0067502 | 0.020246 | 0.020246 | 0.020246 | -0.0013925 | -0.0050313 | 0.0064238 | 0.0041966 | 0.015092 | -0.019259 | -0.0017832 | 0.0044533 | 0.0021131 | 0.0053472 | -0.013369 | -0.0063155 | 101.546 | 101.546 | 101.546 | -78.3959 | -78.3959 | -78.3959 | 0.33517 | 0.99539 | 1.0018 | 0.33573 | 0.99582 | 1.0011 | -26.4407 | -119.9666 | 119.7548 | -26.5217 | -119.9328 | 119.7596
Line_3 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0013925 | 0.0050313 | -0.0064238 | 0.0013925 | 0.0050313 | -0.0064238 | 0.0017832 | -0.0044533 | -0.0021131 | 0.0017832 | -0.0044533 | -0.0021131 | -78.454 | -78.454 | -78.454 | -78.454 | -78.454 | -78.454 | 0.33517 | 0.99539 | 1.0018 | 0.33517 | 0.99539 | 1.0018 | -26.4407 | -119.9666 | 119.7548 | -26.4407 | -119.9666 | 119.7548

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046739 | 0.0046739 | 0.0046739 | 0.0035068 | 0.0035068 | 0.0035068 | 0.05397 | 0.05397 | 0.05397 | 0.040493 | 0.040493 | 0.040493 | 0.011349 | 0.040299 | -0.051234 | -0.0083932 | -0.030183 | 0.038518 | 0.014261 | -0.035684 | -0.016713 | -0.010694 | 0.026739 | 0.012631 | -78.2906 | -78.2906 | -78.2906 | 101.6041 | 101.6041 | 101.6041 | 0.3377 | 0.99736 | 0.99853 | 0.33573 | 0.99582 | 1.0011 | -26.8025 | -119.8146 | 119.7761 | -26.5217 | -119.9328 | 119.7596
Line_1 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0017534 | 0.0017534 | 0.0017534 | 0.0067502 | 0.0067502 | 0.0067502 | 0.020246 | 0.020246 | 0.020246 | -0.0013925 | -0.0050313 | 0.0064238 | 0.0041966 | 0.015092 | -0.019259 | -0.0017832 | 0.0044533 | 0.0021131 | 0.0053472 | -0.013369 | -0.0063155 | 101.546 | 101.546 | 101.546 | -78.3959 | -78.3959 | -78.3959 | 0.33517 | 0.99539 | 1.0018 | 0.33573 | 0.99582 | 1.0011 | -26.4407 | -119.9666 | 119.7548 | -26.5217 | -119.9328 | 119.7596
Line_2 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0017534 | 0.0017534 | 0.0017534 | 0.0067502 | 0.0067502 | 0.0067502 | 0.020246 | 0.020246 | 0.020246 | -0.0013925 | -0.0050313 | 0.0064238 | 0.0041966 | 0.015092 | -0.019259 | -0.0017832 | 0.0044533 | 0.0021131 | 0.0053472 | -0.013369 | -0.0063155 | 101.546 | 101.546 | 101.546 | -78.3959 | -78.3959 | -78.3959 | 0.33517 | 0.99539 | 1.0018 | 0.33573 | 0.99582 | 1.0011 | -26.4407 | -119.9666 | 119.7548 | -26.5217 | -119.9328 | 119.7596
Line_3 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0013925 | 0.0050313 | -0.0064238 | 0.0013925 | 0.0050313 | -0.0064238 | 0.0017832 | -0.0044533 | -0.0021131 | 0.0017832 | -0.0044533 | -0.0021131 | -78.454 | -78.454 | -78.454 | -78.454 | -78.454 | -78.454 | 0.33517 | 0.99539 | 1.0018 | 0.33517 | 0.99539 | 1.0018 | -26.4407 | -119.9666 | 119.7548 | -26.4407 | -119.9666 | 119.7548

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29591 | 0.2858 | 0.28446 | 0.2941 | 0.28651 | 0.2855 | 3.4168 | 3.3001 | 3.2847 | 3.396 | 3.3083 | 3.2966 | -0.37003 | -0.017731 | 0.005831 | 0.42137 | 0.055606 | 0.035399 | -3.9178 | -0.15793 | -0.15911 | 3.9458 | 0.21163 | 0.20198 | 95.5629 | -22.9574 | -145.474 | -84.402 | 156.7079 | 34.8257 | 1.1517 | 0.048157 | 0.048474 | 1.1685 | 0.06614 | 0.062202 | 0.16736 | -119.3631 | 126.6247 | -0.49744 | -128.0142 | 114.885
Line_1 | 0.14524 | 0.14397 | 0.1438 | 0.14705 | 0.14325 | 0.14275 | 1.6771 | 1.6624 | 1.6605 | 1.698 | 1.6541 | 1.6483 | 0.22253 | 0.036841 | 0.029357 | -0.21069 | -0.027803 | -0.017699 | 1.961 | 0.11959 | 0.11284 | -1.9729 | -0.10581 | -0.10099 | -84.3276 | 156.0416 | 35.4178 | 95.598 | -23.2921 | -145.1743 | 1.1768 | 0.075274 | 0.070217 | 1.1685 | 0.06614 | 0.062202 | -0.80154 | -131.08 | 110.8344 | -0.49744 | -128.0142 | 114.885
Line_2 | 0.14524 | 0.14397 | 0.1438 | 0.14705 | 0.14325 | 0.14275 | 1.6771 | 1.6624 | 1.6605 | 1.698 | 1.6541 | 1.6483 | 0.22253 | 0.036841 | 0.029357 | -0.21069 | -0.027803 | -0.017699 | 1.961 | 0.11959 | 0.11284 | -1.9729 | -0.10581 | -0.10099 | -84.3276 | 156.0416 | 35.4178 | 95.598 | -23.2921 | -145.1743 | 1.1768 | 0.075274 | 0.070217 | 1.1685 | 0.06614 | 0.062202 | -0.80154 | -131.08 | 110.8344 | -0.49744 | -128.0142 | 114.885
Line_3 | 0.00090935 | 0.00090935 | 0.00090935 | 0.00090935 | 0.00090935 | 0.00090935 | 0.0105 | 0.0105 | 0.0105 | 0.0105 | 0.0105 | 0.0105 | -8.7914e-05 | -0.00059935 | 0.00068727 | -8.7914e-05 | -0.00059935 | 0.00068727 | -0.012356 | 0.00051527 | 0.00026696 | -0.012356 | 0.00051527 | 0.00026696 | 89.6061 | 89.6061 | 89.6061 | 89.6061 | 89.6061 | 89.6061 | 1.1768 | 0.075274 | 0.070217 | 1.1768 | 0.075274 | 0.070217 | -0.80154 | -131.08 | 110.8344 | -0.80154 | -131.08 | 110.8344

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29591 | 0.2858 | 0.28446 | 0.2941 | 0.28651 | 0.2855 | 3.4168 | 3.3001 | 3.2847 | 3.396 | 3.3083 | 3.2966 | -0.37003 | -0.017731 | 0.005831 | 0.42137 | 0.055606 | 0.035399 | -3.9178 | -0.15793 | -0.15911 | 3.9458 | 0.21163 | 0.20198 | 95.5629 | -22.9574 | -145.474 | -84.402 | 156.7079 | 34.8257 | 1.1517 | 0.048157 | 0.048474 | 1.1685 | 0.06614 | 0.062202 | 0.16736 | -119.3631 | 126.6247 | -0.49744 | -128.0142 | 114.885
Line_1 | 0.14524 | 0.14397 | 0.1438 | 0.14705 | 0.14325 | 0.14275 | 1.6771 | 1.6624 | 1.6605 | 1.698 | 1.6541 | 1.6483 | 0.22253 | 0.036841 | 0.029357 | -0.21069 | -0.027803 | -0.017699 | 1.961 | 0.11959 | 0.11284 | -1.9729 | -0.10581 | -0.10099 | -84.3276 | 156.0416 | 35.4178 | 95.598 | -23.2921 | -145.1743 | 1.1768 | 0.075274 | 0.070217 | 1.1685 | 0.06614 | 0.062202 | -0.80154 | -131.08 | 110.8344 | -0.49744 | -128.0142 | 114.885
Line_2 | 0.14524 | 0.14397 | 0.1438 | 0.14705 | 0.14325 | 0.14275 | 1.6771 | 1.6624 | 1.6605 | 1.698 | 1.6541 | 1.6483 | 0.22253 | 0.036841 | 0.029357 | -0.21069 | -0.027803 | -0.017699 | 1.961 | 0.11959 | 0.11284 | -1.9729 | -0.10581 | -0.10099 | -84.3276 | 156.0416 | 35.4178 | 95.598 | -23.2921 | -145.1743 | 1.1768 | 0.075274 | 0.070217 | 1.1685 | 0.06614 | 0.062202 | -0.80154 | -131.08 | 110.8344 | -0.49744 | -128.0142 | 114.885
Line_3 | 0.00090935 | 0.00090935 | 0.00090935 | 0.00090935 | 0.00090935 | 0.00090935 | 0.0105 | 0.0105 | 0.0105 | 0.0105 | 0.0105 | 0.0105 | -8.7914e-05 | -0.00059935 | 0.00068727 | -8.7914e-05 | -0.00059935 | 0.00068727 | -0.012356 | 0.00051527 | 0.00026696 | -0.012356 | 0.00051527 | 0.00026696 | 89.6061 | 89.6061 | 89.6061 | 89.6061 | 89.6061 | 89.6061 | 1.1768 | 0.075274 | 0.070217 | 1.1768 | 0.075274 | 0.070217 | -0.80154 | -131.08 | 110.8344 | -0.80154 | -131.08 | 110.8344

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29364 | 0.28566 | 0.28679 | 0.2924 | 0.28641 | 0.28725 | 3.3906 | 3.2985 | 3.3116 | 3.3763 | 3.3072 | 3.3169 | -0.39003 | -0.73411 | -0.68228 | 0.43466 | 0.77076 | 0.73122 | -3.8921 | -1.2917 | -1.3183 | 3.9281 | 1.3485 | 1.3621 | 95.8371 | -23.4926 | -145.2125 | -84.1948 | 156.3073 | 35.0194 | 1.1536 | 0.45041 | 0.44824 | 1.1705 | 0.46966 | 0.46608 | 0.11447 | -143.1045 | 97.4238 | -0.50913 | -143.4429 | 96.7905
Line_1 | 0.14496 | 0.14396 | 0.1441 | 0.1462 | 0.14321 | 0.14363 | 1.6738 | 1.6623 | 1.6639 | 1.6882 | 1.6536 | 1.6585 | 0.22486 | 0.39292 | 0.38306 | -0.21733 | -0.38538 | -0.36561 | 1.9603 | 0.69309 | 0.69189 | -1.964 | -0.67427 | -0.68103 | -84.2578 | 155.9086 | 35.4809 | 95.8052 | -23.6927 | -144.9806 | 1.1788 | 0.47929 | 0.4753 | 1.1705 | 0.46966 | 0.46608 | -0.80147 | -143.6405 | 96.5102 | -0.50913 | -143.4429 | 96.7905
Line_2 | 0.14496 | 0.14396 | 0.1441 | 0.1462 | 0.14321 | 0.14363 | 1.6738 | 1.6623 | 1.6639 | 1.6882 | 1.6536 | 1.6585 | 0.22486 | 0.39292 | 0.38306 | -0.21733 | -0.38538 | -0.36561 | 1.9603 | 0.69309 | 0.69189 | -1.964 | -0.67427 | -0.68103 | -84.2578 | 155.9086 | 35.4809 | 95.8052 | -23.6927 | -144.9806 | 1.1788 | 0.47929 | 0.4753 | 1.1705 | 0.46966 | 0.46608 | -0.80147 | -143.6405 | 96.5102 | -0.50913 | -143.4429 | 96.7905
Line_3 | 0.00062575 | 0.00062575 | 0.00062575 | 0.00062575 | 0.00062575 | 0.00062575 | 0.0072255 | 0.0072255 | 0.0072255 | 0.0072255 | 0.0072255 | 0.0072255 | -0.0020428 | -0.0013689 | 0.0034117 | -0.0020428 | -0.0013689 | 0.0034117 | -0.0082689 | 0.003181 | -0.00039266 | -0.0082689 | 0.003181 | -0.00039266 | 103.0755 | 103.0755 | 103.0755 | 103.0755 | 103.0755 | 103.0755 | 1.1788 | 0.47929 | 0.4753 | 1.1788 | 0.47929 | 0.4753 | -0.80147 | -143.6405 | 96.5102 | -0.80147 | -143.6405 | 96.5102

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29364 | 0.28566 | 0.28679 | 0.2924 | 0.28641 | 0.28725 | 3.3906 | 3.2985 | 3.3116 | 3.3763 | 3.3072 | 3.3169 | -0.39003 | -0.73411 | -0.68228 | 0.43466 | 0.77076 | 0.73122 | -3.8921 | -1.2917 | -1.3183 | 3.9281 | 1.3485 | 1.3621 | 95.8371 | -23.4926 | -145.2125 | -84.1948 | 156.3073 | 35.0194 | 1.1536 | 0.45041 | 0.44824 | 1.1705 | 0.46966 | 0.46608 | 0.11447 | -143.1045 | 97.4238 | -0.50913 | -143.4429 | 96.7905
Line_1 | 0.14496 | 0.14396 | 0.1441 | 0.1462 | 0.14321 | 0.14363 | 1.6738 | 1.6623 | 1.6639 | 1.6882 | 1.6536 | 1.6585 | 0.22486 | 0.39292 | 0.38306 | -0.21733 | -0.38538 | -0.36561 | 1.9603 | 0.69309 | 0.69189 | -1.964 | -0.67427 | -0.68103 | -84.2578 | 155.9086 | 35.4809 | 95.8052 | -23.6927 | -144.9806 | 1.1788 | 0.47929 | 0.4753 | 1.1705 | 0.46966 | 0.46608 | -0.80147 | -143.6405 | 96.5102 | -0.50913 | -143.4429 | 96.7905
Line_2 | 0.14496 | 0.14396 | 0.1441 | 0.1462 | 0.14321 | 0.14363 | 1.6738 | 1.6623 | 1.6639 | 1.6882 | 1.6536 | 1.6585 | 0.22486 | 0.39292 | 0.38306 | -0.21733 | -0.38538 | -0.36561 | 1.9603 | 0.69309 | 0.69189 | -1.964 | -0.67427 | -0.68103 | -84.2578 | 155.9086 | 35.4809 | 95.8052 | -23.6927 | -144.9806 | 1.1788 | 0.47929 | 0.4753 | 1.1705 | 0.46966 | 0.46608 | -0.80147 | -143.6405 | 96.5102 | -0.50913 | -143.4429 | 96.7905
Line_3 | 0.00062575 | 0.00062575 | 0.00062575 | 0.00062575 | 0.00062575 | 0.00062575 | 0.0072255 | 0.0072255 | 0.0072255 | 0.0072255 | 0.0072255 | 0.0072255 | -0.0020428 | -0.0013689 | 0.0034117 | -0.0020428 | -0.0013689 | 0.0034117 | -0.0082689 | 0.003181 | -0.00039266 | -0.0082689 | 0.003181 | -0.00039266 | 103.0755 | 103.0755 | 103.0755 | 103.0755 | 103.0755 | 103.0755 | 1.1788 | 0.47929 | 0.4753 | 1.1788 | 0.47929 | 0.4753 | -0.80147 | -143.6405 | 96.5102 | -0.80147 | -143.6405 | 96.5102

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00654 | 0.00654 | 0.00654 | 0.0049068 | 0.0049068 | 0.0049068 | 0.075517 | 0.075517 | 0.075517 | 0.056659 | 0.056659 | 0.056659 | 0.00081619 | -2.434e-06 | -2.434e-06 | -0.00051665 | 0.00020136 | 0.00020136 | -0.075072 | 0.00020345 | 0.00020345 | 0.056366 | -0.00011129 | -0.00011129 | 89.3947 | 89.3947 | 89.3947 | -90.7106 | -90.7106 | -90.7106 | 0.99417 | 0.0026943 | 0.0026943 | 0.99486 | 0.0040606 | 0.0040606 | 0.017615 | -179.9199 | -179.9199 | -0.18544 | -119.6399 | -119.6399
Line_1 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0024534 | 0.0024534 | 0.0024534 | 0.0094452 | 0.0094452 | 0.0094452 | 0.02833 | 0.02833 | 0.02833 | -8.616e-05 | 4.308e-05 | 4.308e-05 | 0.00025832 | -0.00010068 | -0.00010068 | 0.0093981 | -1.6552e-05 | -1.6552e-05 | -0.028183 | 5.5646e-05 | 5.5646e-05 | -90.7687 | -90.7687 | -90.7687 | 89.2894 | 89.2894 | 89.2894 | 0.99506 | 0.0048861 | 0.0048861 | 0.99486 | 0.0040606 | 0.0040606 | -0.24343 | -111.7858 | -111.7858 | -0.18544 | -119.6399 | -119.6399
Line_2 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0024534 | 0.0024534 | 0.0024534 | 0.0094452 | 0.0094452 | 0.0094452 | 0.02833 | 0.02833 | 0.02833 | -8.616e-05 | 4.308e-05 | 4.308e-05 | 0.00025832 | -0.00010068 | -0.00010068 | 0.0093981 | -1.6552e-05 | -1.6552e-05 | -0.028183 | 5.5646e-05 | 5.5646e-05 | -90.7687 | -90.7687 | -90.7687 | 89.2894 | 89.2894 | 89.2894 | 0.99506 | 0.0048861 | 0.0048861 | 0.99486 | 0.0040606 | 0.0040606 | -0.24343 | -111.7858 | -111.7858 | -0.18544 | -119.6399 | -119.6399
Line_3 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 8.616e-05 | -4.308e-05 | -4.308e-05 | 8.616e-05 | -4.308e-05 | -4.308e-05 | -0.0093981 | 1.6552e-05 | 1.6552e-05 | -0.0093981 | 1.6552e-05 | 1.6552e-05 | 89.2313 | 89.2313 | 89.2313 | 89.2313 | 89.2313 | 89.2313 | 0.99506 | 0.0048861 | 0.0048861 | 0.99506 | 0.0048861 | 0.0048861 | -0.24343 | -111.7858 | -111.7858 | -0.24343 | -111.7858 | -111.7858

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00654 | 0.00654 | 0.00654 | 0.0049068 | 0.0049068 | 0.0049068 | 0.075517 | 0.075517 | 0.075517 | 0.056659 | 0.056659 | 0.056659 | 0.00081619 | -2.434e-06 | -2.434e-06 | -0.00051665 | 0.00020136 | 0.00020136 | -0.075072 | 0.00020345 | 0.00020345 | 0.056366 | -0.00011129 | -0.00011129 | 89.3947 | 89.3947 | 89.3947 | -90.7106 | -90.7106 | -90.7106 | 0.99417 | 0.0026943 | 0.0026943 | 0.99486 | 0.0040606 | 0.0040606 | 0.017615 | -179.9199 | -179.9199 | -0.18544 | -119.6399 | -119.6399
Line_1 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0024534 | 0.0024534 | 0.0024534 | 0.0094452 | 0.0094452 | 0.0094452 | 0.02833 | 0.02833 | 0.02833 | -8.616e-05 | 4.308e-05 | 4.308e-05 | 0.00025832 | -0.00010068 | -0.00010068 | 0.0093981 | -1.6552e-05 | -1.6552e-05 | -0.028183 | 5.5646e-05 | 5.5646e-05 | -90.7687 | -90.7687 | -90.7687 | 89.2894 | 89.2894 | 89.2894 | 0.99506 | 0.0048861 | 0.0048861 | 0.99486 | 0.0040606 | 0.0040606 | -0.24343 | -111.7858 | -111.7858 | -0.18544 | -119.6399 | -119.6399
Line_2 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0024534 | 0.0024534 | 0.0024534 | 0.0094452 | 0.0094452 | 0.0094452 | 0.02833 | 0.02833 | 0.02833 | -8.616e-05 | 4.308e-05 | 4.308e-05 | 0.00025832 | -0.00010068 | -0.00010068 | 0.0093981 | -1.6552e-05 | -1.6552e-05 | -0.028183 | 5.5646e-05 | 5.5646e-05 | -90.7687 | -90.7687 | -90.7687 | 89.2894 | 89.2894 | 89.2894 | 0.99506 | 0.0048861 | 0.0048861 | 0.99486 | 0.0040606 | 0.0040606 | -0.24343 | -111.7858 | -111.7858 | -0.18544 | -119.6399 | -119.6399
Line_3 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 8.616e-05 | -4.308e-05 | -4.308e-05 | 8.616e-05 | -4.308e-05 | -4.308e-05 | -0.0093981 | 1.6552e-05 | 1.6552e-05 | -0.0093981 | 1.6552e-05 | 1.6552e-05 | 89.2313 | 89.2313 | 89.2313 | 89.2313 | 89.2313 | 89.2313 | 0.99506 | 0.0048861 | 0.0048861 | 0.99506 | 0.0048861 | 0.0048861 | -0.24343 | -111.7858 | -111.7858 | -0.24343 | -111.7858 | -111.7858

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046844 | 0.0046844 | 0.0046844 | 0.0035146 | 0.0035146 | 0.0035146 | 0.054091 | 0.054091 | 0.054091 | 0.040583 | 0.040583 | 0.040583 | -0.010982 | -0.0065562 | 0.017955 | 0.0082691 | 0.0050448 | -0.013372 | -0.052736 | 0.01705 | -0.002621 | 0.039603 | -0.012762 | 0.001963 | 101.7245 | 101.7245 | 101.7245 | -78.3808 | -78.3809 | -78.3809 | 0.99587 | 0.33772 | 0.33545 | 0.9969 | 0.33815 | 0.33303 | -0.038988 | -147.2429 | 93.419 | -0.1747 | -146.8128 | 93.2682
Line_1 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | 0.0067653 | 0.0067653 | 0.0067653 | 0.020292 | 0.020292 | 0.020292 | 0.0013767 | 0.000848 | -0.0022247 | -0.0041346 | -0.0025224 | 0.0066862 | 0.0066044 | -0.0021257 | 0.00032598 | -0.019802 | 0.0063812 | -0.00098148 | -78.4389 | -78.4389 | -78.439 | 101.6192 | 101.6192 | 101.6192 | 0.99719 | 0.33828 | 0.33234 | 0.9969 | 0.33815 | 0.33303 | -0.21346 | -146.6902 | 93.2248 | -0.1747 | -146.8128 | 93.2682
Line_2 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | 0.0067653 | 0.0067653 | 0.0067653 | 0.020292 | 0.020292 | 0.020292 | 0.0013767 | 0.000848 | -0.0022247 | -0.0041346 | -0.0025224 | 0.0066862 | 0.0066044 | -0.0021257 | 0.00032598 | -0.019802 | 0.0063812 | -0.00098148 | -78.4389 | -78.4389 | -78.439 | 101.6192 | 101.6192 | 101.6192 | 0.99719 | 0.33828 | 0.33234 | 0.9969 | 0.33815 | 0.33303 | -0.21346 | -146.6902 | 93.2248 | -0.1747 | -146.8128 | 93.2682
Line_3 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | -0.0013767 | -0.000848 | 0.0022247 | -0.0013767 | -0.000848 | 0.0022247 | -0.0066044 | 0.0021257 | -0.00032598 | -0.0066044 | 0.0021257 | -0.00032598 | 101.5611 | 101.5611 | 101.5611 | 101.5611 | 101.5611 | 101.5611 | 0.99719 | 0.33828 | 0.33234 | 0.99719 | 0.33828 | 0.33234 | -0.21346 | -146.6902 | 93.2248 | -0.21346 | -146.6902 | 93.2248

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046844 | 0.0046844 | 0.0046844 | 0.0035146 | 0.0035146 | 0.0035146 | 0.054091 | 0.054091 | 0.054091 | 0.040583 | 0.040583 | 0.040583 | -0.010982 | -0.0065562 | 0.017955 | 0.0082691 | 0.0050448 | -0.013372 | -0.052736 | 0.01705 | -0.002621 | 0.039603 | -0.012762 | 0.001963 | 101.7245 | 101.7245 | 101.7245 | -78.3808 | -78.3809 | -78.3809 | 0.99587 | 0.33772 | 0.33545 | 0.9969 | 0.33815 | 0.33303 | -0.038988 | -147.2429 | 93.419 | -0.1747 | -146.8128 | 93.2682
Line_1 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | 0.0067653 | 0.0067653 | 0.0067653 | 0.020292 | 0.020292 | 0.020292 | 0.0013767 | 0.000848 | -0.0022247 | -0.0041346 | -0.0025224 | 0.0066862 | 0.0066044 | -0.0021257 | 0.00032598 | -0.019802 | 0.0063812 | -0.00098148 | -78.4389 | -78.4389 | -78.439 | 101.6192 | 101.6192 | 101.6192 | 0.99719 | 0.33828 | 0.33234 | 0.9969 | 0.33815 | 0.33303 | -0.21346 | -146.6902 | 93.2248 | -0.1747 | -146.8128 | 93.2682
Line_2 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | 0.0067653 | 0.0067653 | 0.0067653 | 0.020292 | 0.020292 | 0.020292 | 0.0013767 | 0.000848 | -0.0022247 | -0.0041346 | -0.0025224 | 0.0066862 | 0.0066044 | -0.0021257 | 0.00032598 | -0.019802 | 0.0063812 | -0.00098148 | -78.4389 | -78.4389 | -78.439 | 101.6192 | 101.6192 | 101.6192 | 0.99719 | 0.33828 | 0.33234 | 0.9969 | 0.33815 | 0.33303 | -0.21346 | -146.6902 | 93.2248 | -0.1747 | -146.8128 | 93.2682
Line_3 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | -0.0013767 | -0.000848 | 0.0022247 | -0.0013767 | -0.000848 | 0.0022247 | -0.0066044 | 0.0021257 | -0.00032598 | -0.0066044 | 0.0021257 | -0.00032598 | 101.5611 | 101.5611 | 101.5611 | 101.5611 | 101.5611 | 101.5611 | 0.99719 | 0.33828 | 0.33234 | 0.99719 | 0.33828 | 0.33234 | -0.21346 | -146.6902 | 93.2248 | -0.21346 | -146.6902 | 93.2248