## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | 0 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 0 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 0 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_4 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 0 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | 0 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 0 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 0 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_4 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 0 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | 0 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 0 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 0 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_4 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 0 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | 0 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 0 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 0 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_4 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 0 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | 0 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 0 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 0 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_4 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 0 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | 0 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 0 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 0 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_4 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 0 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | 0 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 0 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 0 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_4 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 0 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | 0 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 0 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 0 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_4 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 0 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -6.2528e-14 | 28.4108 | -10.6145 | 5.2106e-14 | -23.0719 | 15.9534 | -1.0421e-14 | 4.32 | 15.8719 | 2.0843e-14 | 1.7376 | -9.8143 | 0 | 0 | 0 | 0 | 16.4893 | -163.5107 | 1.0583 | 0.41999 | 0.88495 | 0.99093 | 0.168 | 0.92042 | 4.8563e-13 | -154.8648 | 140.2623 | 5.0385e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 3.1264e-14 | -13.0085 | 13.0085 | -3.6475e-14 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -3.2075e-28 | -1.1584 | 6.5429 | 0 | 0 | 0 | 0 | -163.5107 | 16.4893 | 0.95263 | 0 | 0.95263 | 0.99093 | 0.168 | 0.92042 | 5.1174e-13 | 180 | -180 | 5.0385e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 5.2106e-15 | -7.0974 | 5.911 | -1.5632e-14 | 7.6906 | -5.3178 | 1.5632e-14 | 1.2523 | -2.5984 | -1.0421e-14 | -0.57919 | 3.2714 | 0 | 0 | 0 | 0 | -163.5107 | 16.4893 | 0.97106 | 0.083999 | 0.93572 | 0.99093 | 0.168 | 0.92042 | 5.0274e-13 | -173.5168 | 172.7598 | 5.0385e-13 | -167.8176 | 164.89
Line_4 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.6053e-14 | -6.5042 | 6.5042 | -3.1264e-14 | 7.0974 | -5.911 | -1.0421e-14 | 1.9253 | -1.9253 | 1.0421e-14 | -1.2523 | 2.5984 | 0 | 0 | 0 | 0 | -163.5107 | 16.4893 | 0.95263 | 0 | 0.95263 | 0.97106 | 0.083999 | 0.93572 | 5.1174e-13 | 180 | -180 | 5.0274e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -6.2528e-14 | 28.4108 | -10.6145 | 5.2106e-14 | -23.0719 | 15.9534 | -1.0421e-14 | 4.32 | 15.8719 | 2.0843e-14 | 1.7376 | -9.8143 | 0 | 0 | 0 | 0 | 16.4893 | -163.5107 | 1.0583 | 0.41999 | 0.88495 | 0.99093 | 0.168 | 0.92042 | 4.8563e-13 | -154.8648 | 140.2623 | 5.0385e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | 3.1264e-14 | -13.0085 | 13.0085 | -3.6475e-14 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -3.2075e-28 | -1.1584 | 6.5429 | 0 | 0 | 0 | 0 | -163.5107 | 16.4893 | 0.95263 | 0 | 0.95263 | 0.99093 | 0.168 | 0.92042 | 5.1174e-13 | 180 | -180 | 5.0385e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 5.2106e-15 | -7.0974 | 5.911 | -1.5632e-14 | 7.6906 | -5.3178 | 1.5632e-14 | 1.2523 | -2.5984 | -1.0421e-14 | -0.57919 | 3.2714 | 0 | 0 | 0 | 0 | -163.5107 | 16.4893 | 0.97106 | 0.083999 | 0.93572 | 0.99093 | 0.168 | 0.92042 | 5.0274e-13 | -173.5168 | 172.7598 | 5.0385e-13 | -167.8176 | 164.89
Line_4 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 2.6053e-14 | -6.5042 | 6.5042 | -3.1264e-14 | 7.0974 | -5.911 | -1.0421e-14 | 1.9253 | -1.9253 | 1.0421e-14 | -1.2523 | 2.5984 | 0 | 0 | 0 | 0 | -163.5107 | 16.4893 | 0.95263 | 0 | 0.95263 | 0.97106 | 0.083999 | 0.93572 | 5.1174e-13 | 180 | -180 | 5.0274e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -3.1264e-14 | 17.8002 | 0.06044 | 2.6053e-14 | -16.4209 | 1.3189 | -1.5632e-14 | 3.9189 | 14.5607 | 1.5632e-14 | -2.3539 | -12.9957 | 0 | 0 | 0 | 0 | 30.9589 | -149.0411 | 1.1104 | 0.78899 | 0.9451 | 1.0792 | 0.66107 | 0.93217 | 2.2528e-13 | -136.625 | 120.7211 | 2.2643e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 7.816e-15 | -10.3342 | 1.4923 | -1.3027e-14 | 10.9473 | -0.87927 | 2.6053e-15 | -0.87368 | -7.9682 | -2.6053e-15 | 1.5692 | 8.6638 | 0 | 0 | 0 | 0 | -149.0411 | 30.9589 | 1.0599 | 0.57582 | 0.92591 | 1.0792 | 0.66107 | 0.93217 | 2.2774e-13 | -144.2087 | 131.5665 | 2.2643e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -1.0421e-14 | 5.4736 | -0.43963 | 5.2106e-15 | -0.61073 | -4.158 | -5.2106e-15 | 0.78462 | 4.3319 | 0 | 0 | 0 | 0 | -149.0411 | 30.9589 | 1.0694 | 0.61844 | 0.9288 | 1.0792 | 0.66107 | 0.93217 | 2.2322e-13 | -142.4927 | 129.0741 | 2.2643e-13 | -140.8835 | 126.7539
Line_4 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | -2.6053e-15 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 0 | 0 | 0 | -149.0411 | 30.9589 | 1.0599 | 0.57582 | 0.92591 | 1.0694 | 0.61844 | 0.9288 | 2.2774e-13 | -144.2087 | 131.5665 | 2.2322e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -3.1264e-14 | 17.8002 | 0.06044 | 2.6053e-14 | -16.4209 | 1.3189 | -1.5632e-14 | 3.9189 | 14.5607 | 1.5632e-14 | -2.3539 | -12.9957 | 0 | 0 | 0 | 0 | 30.9589 | -149.0411 | 1.1104 | 0.78899 | 0.9451 | 1.0792 | 0.66107 | 0.93217 | 2.2528e-13 | -136.625 | 120.7211 | 2.2643e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 7.816e-15 | -10.3342 | 1.4923 | -1.3027e-14 | 10.9473 | -0.87927 | 2.6053e-15 | -0.87368 | -7.9682 | -2.6053e-15 | 1.5692 | 8.6638 | 0 | 0 | 0 | 0 | -149.0411 | 30.9589 | 1.0599 | 0.57582 | 0.92591 | 1.0792 | 0.66107 | 0.93217 | 2.2774e-13 | -144.2087 | 131.5665 | 2.2643e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.3204 | 0.59289 | -1.0421e-14 | 5.4736 | -0.43963 | 5.2106e-15 | -0.61073 | -4.158 | -5.2106e-15 | 0.78462 | 4.3319 | 0 | 0 | 0 | 0 | -149.0411 | 30.9589 | 1.0694 | 0.61844 | 0.9288 | 1.0792 | 0.66107 | 0.93217 | 2.2322e-13 | -142.4927 | 129.0741 | 2.2643e-13 | -140.8835 | 126.7539
Line_4 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 2.6053e-15 | -5.1671 | 0.74615 | -5.2106e-15 | 5.3204 | -0.59289 | -2.6053e-15 | -0.43684 | -3.9841 | 2.6053e-15 | 0.61073 | 4.158 | 0 | 0 | 0 | 0 | -149.0411 | 30.9589 | 1.0599 | 0.57582 | 0.92591 | 1.0694 | 0.61844 | 0.9288 | 2.2774e-13 | -144.2087 | 131.5665 | 2.2322e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | -1.8948e-14 | 24.6317 | -2.0295 | 1.7764e-14 | -17.851 | 8.8102 | 9.4739e-15 | -0.29866 | 13.6553 | -9.4739e-15 | 4.3057 | -9.6483 | 0 | 0 | 0 | 0 | 27.6267 | -152.3733 | 1.0214 | 0.50371 | 0.76394 | 0.92308 | 0.20148 | 0.81745 | 4.5898e-13 | -153.068 | 126.0805 | 4.7774e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | 9.4739e-15 | -8.8871 | 8.8871 | -8.2897e-15 | 11.9007 | -5.8735 | 2.3685e-15 | 4.6513 | -4.6513 | -6.912e-29 | -2.8704 | 6.4322 | 0 | 0 | 0 | 0 | -152.3733 | 27.6267 | 0.86603 | 0 | 0.86603 | 0.92308 | 0.20148 | 0.81745 | 4.6386e-13 | -180 | 180 | 4.7774e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 2.3685e-15 | -5.1969 | 3.6901 | -5.9212e-15 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 0 | 0 | 0 | -152.3733 | 27.6267 | 0.89359 | 0.10074 | 0.84058 | 0.92308 | 0.20148 | 0.81745 | 4.6641e-13 | -172.2653 | 170.7242 | 4.7774e-13 | -165.934 | 160.0269
Line_4 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 7.1054e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | 5.7525e-29 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 0 | 0 | 0 | -152.3733 | 27.6267 | 0.86603 | 0 | 0.86603 | 0.89359 | 0.10074 | 0.84058 | 4.6386e-13 | -180 | 180 | 4.6641e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | -1.8948e-14 | 24.6317 | -2.0295 | 1.7764e-14 | -17.851 | 8.8102 | 9.4739e-15 | -0.29866 | 13.6553 | -9.4739e-15 | 4.3057 | -9.6483 | 0 | 0 | 0 | 0 | 27.6267 | -152.3733 | 1.0214 | 0.50371 | 0.76394 | 0.92308 | 0.20148 | 0.81745 | 4.5898e-13 | -153.068 | 126.0805 | 4.7774e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | 9.4739e-15 | -8.8871 | 8.8871 | -8.2897e-15 | 11.9007 | -5.8735 | 2.3685e-15 | 4.6513 | -4.6513 | -6.912e-29 | -2.8704 | 6.4322 | 0 | 0 | 0 | 0 | -152.3733 | 27.6267 | 0.86603 | 0 | 0.86603 | 0.92308 | 0.20148 | 0.81745 | 4.6386e-13 | -180 | 180 | 4.7774e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 2.3685e-15 | -5.1969 | 3.6901 | -5.9212e-15 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 0 | 0 | 0 | -152.3733 | 27.6267 | 0.89359 | 0.10074 | 0.84058 | 0.92308 | 0.20148 | 0.81745 | 4.6641e-13 | -172.2653 | 170.7242 | 4.7774e-13 | -165.934 | 160.0269
Line_4 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 7.1054e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | 5.7525e-29 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 0 | 0 | 0 | -152.3733 | 27.6267 | 0.86603 | 0 | 0.86603 | 0.89359 | 0.10074 | 0.84058 | 4.6386e-13 | -180 | 180 | 4.6641e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -8.8818e-15 | 14.2512 | 1.4266 | 8.2897e-15 | -12.3717 | 0.45296 | 7.1054e-15 | 1.9064 | 11.2087 | -9.4739e-15 | -0.79565 | -10.098 | 0 | 0 | 0 | 0 | 35.9551 | -144.0449 | 1.0228 | 0.74487 | 0.85511 | 0.96911 | 0.58843 | 0.8567 | 2.2178e-13 | -136.4258 | 118.7019 | 2.3514e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | 1.1842e-15 | -7.4125 | 1.1373 | -2.3685e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -4.737e-15 | 0.53044 | 6.732 | 0 | 0 | 0 | 0 | -144.0449 | 35.9551 | 0.93535 | 0.4851 | 0.86185 | 0.96911 | 0.58843 | 0.8567 | 2.2957e-13 | -143.7605 | 136.2873 | 2.3514e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 5.9212e-16 | -3.9151 | 0.35982 | -1.7764e-15 | 4.1239 | -0.15099 | -2.3685e-15 | -0.14181 | -3.2426 | -7.2903e-30 | 0.26522 | 3.366 | 0 | 0 | 0 | 0 | -144.0449 | 35.9551 | 0.95201 | 0.53663 | 0.85887 | 0.96911 | 0.58843 | 0.8567 | 2.3068e-13 | -141.9705 | 132.2872 | 2.3514e-13 | -140.3651 | 128.5235
Line_4 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | -5.9212e-16 | 3.9151 | -0.35982 | 4.737e-15 | -0.018396 | -3.1192 | -7.1054e-15 | 0.14181 | 3.2426 | 0 | 0 | 0 | 0 | -144.0449 | 35.9551 | 0.93535 | 0.4851 | 0.86185 | 0.95201 | 0.53663 | 0.85887 | 2.2957e-13 | -143.7605 | 136.2873 | 2.3068e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -8.8818e-15 | 14.2512 | 1.4266 | 8.2897e-15 | -12.3717 | 0.45296 | 7.1054e-15 | 1.9064 | 11.2087 | -9.4739e-15 | -0.79565 | -10.098 | 0 | 0 | 0 | 0 | 35.9551 | -144.0449 | 1.0228 | 0.74487 | 0.85511 | 0.96911 | 0.58843 | 0.8567 | 2.2178e-13 | -136.4258 | 118.7019 | 2.3514e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | 1.1842e-15 | -7.4125 | 1.1373 | -2.3685e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -4.737e-15 | 0.53044 | 6.732 | 0 | 0 | 0 | 0 | -144.0449 | 35.9551 | 0.93535 | 0.4851 | 0.86185 | 0.96911 | 0.58843 | 0.8567 | 2.2957e-13 | -143.7605 | 136.2873 | 2.3514e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 5.9212e-16 | -3.9151 | 0.35982 | -1.7764e-15 | 4.1239 | -0.15099 | -2.3685e-15 | -0.14181 | -3.2426 | -7.2903e-30 | 0.26522 | 3.366 | 0 | 0 | 0 | 0 | -144.0449 | 35.9551 | 0.95201 | 0.53663 | 0.85887 | 0.96911 | 0.58843 | 0.8567 | 2.3068e-13 | -141.9705 | 132.2872 | 2.3514e-13 | -140.3651 | 128.5235
Line_4 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.9212e-16 | -3.7062 | 0.56866 | -5.9212e-16 | 3.9151 | -0.35982 | 4.737e-15 | -0.018396 | -3.1192 | -7.1054e-15 | 0.14181 | 3.2426 | 0 | 0 | 0 | 0 | -144.0449 | 35.9551 | 0.93535 | 0.4851 | 0.86185 | 0.95201 | 0.53663 | 0.85887 | 2.2957e-13 | -143.7605 | 136.2873 | 2.3068e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9699 | 0.0083554 | 0.0083554 | 2.9692 | 0.0073111 | 0.0073111 | 34.2938 | 0.09648 | 0.09648 | 34.2858 | 0.084422 | 0.084422 | 23.2397 | 0.094592 | -0.078614 | -9.2799 | -0.077041 | 0.073189 | 12.9411 | -0.012817 | -0.074375 | -5.1842 | 0.032435 | 0.089899 | 0 | 0 | 0 | 129.4799 | 69.068 | 69.068 | 0.76096 | 1.1 | 1.0159 | 0.66101 | 1.1 | 0.93909 | -21.4243 | -117.282 | 113.8476 | -21.3302 | -133.7637 | 119.918
Line_1 | 1.9777 | 0.0013116 | 0.0013116 | 1.9789 | 0.0037484 | 0.0037484 | 22.8368 | 0.015145 | 0.015145 | 22.8507 | 0.043282 | 0.043282 | 1.0277e-10 | -0.013206 | 0.013638 | 6.1865 | 0.039554 | -0.037367 | -9.9598e-11 | 0.0084537 | 0.019036 | 3.4521 | -0.016495 | -0.046217 | 0 | 0 | 0 | -50.4919 | -111.1263 | -111.1263 | 0.59775 | 1.1 | 0.89271 | 0.66101 | 1.1 | 0.93909 | 0 | -144.1393 | 122.8654 | -21.3302 | -133.7637 | 119.918
Line_2 | 0.98922 | 0.0014046 | 0.0014046 | 0.99031 | 0.0035628 | 0.0035628 | 11.4225 | 0.016219 | 0.016219 | 11.4352 | 0.04114 | 0.04114 | -1.5429 | -0.014559 | 0.014092 | 3.0934 | 0.037486 | -0.035822 | -0.86519 | 0.0074474 | 0.019021 | 1.7321 | -0.01594 | -0.043681 | 0 | 0 | 0 | -50.5764 | -110.7276 | -110.7276 | 0.62898 | 1.1 | 0.91537 | 0.66101 | 1.1 | 0.93909 | -21.1863 | -139.0858 | 121.4706 | -21.3302 | -133.7637 | 119.918
Line_4 | 0.98791 | 0.0013116 | 0.0013116 | 0.98922 | 0.0014046 | 0.0014046 | 11.4074 | 0.015145 | 0.015145 | 11.4225 | 0.016219 | 0.016219 | 5.125e-11 | 0.013206 | -0.013638 | 1.5429 | 0.014559 | -0.014092 | -4.9841e-11 | -0.0084537 | -0.019036 | 0.86519 | -0.0074474 | -0.019021 | 0 | 0 | 0 | -50.4688 | -111.9953 | -111.9953 | 0.59775 | 1.1 | 0.89271 | 0.62898 | 1.1 | 0.91537 | 0 | -144.1393 | 122.8654 | -21.1863 | -139.0858 | 121.4706

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9699 | 0.0083554 | 0.0083554 | 2.9692 | 0.0073111 | 0.0073111 | 34.2938 | 0.09648 | 0.09648 | 34.2858 | 0.084422 | 0.084422 | 23.2397 | 0.094592 | -0.078614 | -9.2799 | -0.077041 | 0.073189 | 12.9411 | -0.012817 | -0.074375 | -5.1842 | 0.032435 | 0.089899 | 0 | 0 | 0 | 129.4799 | 69.068 | 69.068 | 0.76096 | 1.1 | 1.0159 | 0.66101 | 1.1 | 0.93909 | -21.4243 | -117.282 | 113.8476 | -21.3302 | -133.7637 | 119.918
Line_1 | 1.9777 | 0.0013116 | 0.0013116 | 1.9789 | 0.0037484 | 0.0037484 | 22.8368 | 0.015145 | 0.015145 | 22.8507 | 0.043282 | 0.043282 | 1.0277e-10 | -0.013206 | 0.013638 | 6.1865 | 0.039554 | -0.037367 | -9.9598e-11 | 0.0084537 | 0.019036 | 3.4521 | -0.016495 | -0.046217 | 0 | 0 | 0 | -50.4919 | -111.1263 | -111.1263 | 0.59775 | 1.1 | 0.89271 | 0.66101 | 1.1 | 0.93909 | 0 | -144.1393 | 122.8654 | -21.3302 | -133.7637 | 119.918
Line_2 | 0.98922 | 0.0014046 | 0.0014046 | 0.99031 | 0.0035628 | 0.0035628 | 11.4225 | 0.016219 | 0.016219 | 11.4352 | 0.04114 | 0.04114 | -1.5429 | -0.014559 | 0.014092 | 3.0934 | 0.037486 | -0.035822 | -0.86519 | 0.0074474 | 0.019021 | 1.7321 | -0.01594 | -0.043681 | 0 | 0 | 0 | -50.5764 | -110.7276 | -110.7276 | 0.62898 | 1.1 | 0.91537 | 0.66101 | 1.1 | 0.93909 | -21.1863 | -139.0858 | 121.4706 | -21.3302 | -133.7637 | 119.918
Line_4 | 0.98791 | 0.0013116 | 0.0013116 | 0.98922 | 0.0014046 | 0.0014046 | 11.4074 | 0.015145 | 0.015145 | 11.4225 | 0.016219 | 0.016219 | 5.125e-11 | 0.013206 | -0.013638 | 1.5429 | 0.014559 | -0.014092 | -4.9841e-11 | -0.0084537 | -0.019036 | 0.86519 | -0.0074474 | -0.019021 | 0 | 0 | 0 | -50.4688 | -111.9953 | -111.9953 | 0.59775 | 1.1 | 0.89271 | 0.62898 | 1.1 | 0.91537 | 0 | -144.1393 | 122.8654 | -21.1863 | -139.0858 | 121.4706

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1215 | 0.0031551 | 0.0031551 | 1.1212 | 0.0027608 | 0.0027608 | 12.9498 | 0.036432 | 0.036432 | 12.9468 | 0.031879 | 0.031879 | 9.5781 | 0.037524 | -0.029131 | -7.5878 | -0.032154 | 0.02575 | 8.14 | -0.0086438 | -0.028013 | -7.0308 | 0.010086 | 0.028421 | 0 | 0 | 0 | 132.8417 | 72.4298 | 72.4298 | 0.97296 | 1.1 | 1.0634 | 0.93396 | 1.1 | 1.0291 | -6.8143 | -119.1754 | 117.6762 | -4.3407 | -124.9855 | 120.2528
Line_1 | 0.74681 | 0.00049528 | 0.00049528 | 0.74727 | 0.0014154 | 0.0014154 | 8.6235 | 0.005719 | 0.005719 | 8.6287 | 0.016344 | 0.016344 | -4.1792 | -0.0056906 | 0.0046633 | 5.0594 | 0.016503 | -0.013152 | -4.1841 | 0.0021464 | 0.0055413 | 4.6833 | -0.005115 | -0.014616 | 0 | 0 | 0 | -47.1302 | -107.7645 | -107.7645 | 0.90822 | 1.1 | 1.0067 | 0.93396 | 1.1 | 1.0291 | -2.0355 | -128.8193 | 121.7637 | -4.3407 | -124.9855 | 120.2528
Line_2 | 0.37354 | 0.00053038 | 0.00053038 | 0.37396 | 0.0013454 | 0.0013454 | 4.3133 | 0.0061243 | 0.0061243 | 4.3181 | 0.015535 | 0.015535 | -2.309 | -0.0061616 | 0.0048952 | 2.5284 | 0.015651 | -0.012597 | -2.2175 | 0.0020354 | 0.0057636 | 2.3474 | -0.0049708 | -0.013805 | 0 | 0 | 0 | -47.2146 | -107.3658 | -107.3658 | 0.92106 | 1.1 | 1.0178 | 0.93396 | 1.1 | 1.0291 | -3.2639 | -126.9138 | 121.0243 | -4.3407 | -124.9855 | 120.2528
Line_4 | 0.37305 | 0.00049528 | 0.00049528 | 0.37354 | 0.00053038 | 0.00053038 | 4.3076 | 0.005719 | 0.005719 | 4.3133 | 0.0061243 | 0.0061243 | -2.0912 | 0.0056906 | -0.0046633 | 2.309 | 0.0061616 | -0.0048952 | -2.0864 | -0.0021464 | -0.0055413 | 2.2175 | -0.0020354 | -0.0057636 | 0 | 0 | 0 | -47.1071 | -108.6335 | -108.6335 | 0.90822 | 1.1 | 1.0067 | 0.92106 | 1.1 | 1.0178 | -2.0355 | -128.8193 | 121.7637 | -3.2639 | -126.9138 | 121.0243

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1215 | 0.0031551 | 0.0031551 | 1.1212 | 0.0027608 | 0.0027608 | 12.9498 | 0.036432 | 0.036432 | 12.9468 | 0.031879 | 0.031879 | 9.5781 | 0.037524 | -0.029131 | -7.5878 | -0.032154 | 0.02575 | 8.14 | -0.0086438 | -0.028013 | -7.0308 | 0.010086 | 0.028421 | 0 | 0 | 0 | 132.8417 | 72.4298 | 72.4298 | 0.97296 | 1.1 | 1.0634 | 0.93396 | 1.1 | 1.0291 | -6.8143 | -119.1754 | 117.6762 | -4.3407 | -124.9855 | 120.2528
Line_1 | 0.74681 | 0.00049528 | 0.00049528 | 0.74727 | 0.0014154 | 0.0014154 | 8.6235 | 0.005719 | 0.005719 | 8.6287 | 0.016344 | 0.016344 | -4.1792 | -0.0056906 | 0.0046633 | 5.0594 | 0.016503 | -0.013152 | -4.1841 | 0.0021464 | 0.0055413 | 4.6833 | -0.005115 | -0.014616 | 0 | 0 | 0 | -47.1302 | -107.7645 | -107.7645 | 0.90822 | 1.1 | 1.0067 | 0.93396 | 1.1 | 1.0291 | -2.0355 | -128.8193 | 121.7637 | -4.3407 | -124.9855 | 120.2528
Line_2 | 0.37354 | 0.00053038 | 0.00053038 | 0.37396 | 0.0013454 | 0.0013454 | 4.3133 | 0.0061243 | 0.0061243 | 4.3181 | 0.015535 | 0.015535 | -2.309 | -0.0061616 | 0.0048952 | 2.5284 | 0.015651 | -0.012597 | -2.2175 | 0.0020354 | 0.0057636 | 2.3474 | -0.0049708 | -0.013805 | 0 | 0 | 0 | -47.2146 | -107.3658 | -107.3658 | 0.92106 | 1.1 | 1.0178 | 0.93396 | 1.1 | 1.0291 | -3.2639 | -126.9138 | 121.0243 | -4.3407 | -124.9855 | 120.2528
Line_4 | 0.37305 | 0.00049528 | 0.00049528 | 0.37354 | 0.00053038 | 0.00053038 | 4.3076 | 0.005719 | 0.005719 | 4.3133 | 0.0061243 | 0.0061243 | -2.0912 | 0.0056906 | -0.0046633 | 2.309 | 0.0061616 | -0.0048952 | -2.0864 | -0.0021464 | -0.0055413 | 2.2175 | -0.0020354 | -0.0057636 | 0 | 0 | 0 | -47.1071 | -108.6335 | -108.6335 | 0.90822 | 1.1 | 1.0067 | 0.92106 | 1.1 | 1.0178 | -2.0355 | -128.8193 | 121.7637 | -3.2639 | -126.9138 | 121.0243

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8749 | 0.0090717 | 0.0090717 | 1.8745 | 0.0080133 | 0.0080133 | 21.65 | 0.10475 | 0.10475 | 21.6448 | 0.09253 | 0.09253 | 17.7834 | 0.093761 | -0.080868 | -7.101 | -0.078278 | 0.075235 | 5.1047 | -0.023061 | -0.072286 | -2.0584 | 0.049593 | 0.095628 | 0 | 0 | 0 | 146.7232 | 73.3071 | 73.3071 | 0.7989 | 1 | 1.0029 | 0.70274 | 1 | 0.92303 | -17.2903 | -119.56 | 116.0506 | -17.1112 | -139.0493 | 125.1135
Line_1 | 1.2485 | 0.0014432 | 0.0014432 | 1.2493 | 0.004114 | 0.004114 | 14.417 | 0.016665 | 0.016665 | 14.4257 | 0.047504 | 0.047504 | -1.8354e-11 | -0.013631 | 0.013957 | 4.734 | 0.040242 | -0.03852 | -1.4605e-12 | 0.012503 | 0.020989 | 1.3674 | -0.025375 | -0.049178 | 0 | 0 | 0 | -33.223 | -106.8158 | -106.8158 | 0.64083 | 1 | 0.87326 | 0.70274 | 1 | 0.92303 | 0 | -149.6253 | 129.2797 | -17.1112 | -139.0493 | 125.1135
Line_2 | 0.62449 | 0.0015506 | 0.0015506 | 0.62519 | 0.0038993 | 0.0038993 | 7.211 | 0.017905 | 0.017905 | 7.2191 | 0.045026 | 0.045026 | -1.1806 | -0.014975 | 0.014619 | 2.3671 | 0.038036 | -0.036715 | -0.34619 | 0.011387 | 0.020659 | 0.69099 | -0.024218 | -0.04645 | 0 | 0 | 0 | -33.3845 | -106.5632 | -106.5632 | 0.67152 | 1 | 0.89776 | 0.70274 | 1 | 0.92303 | -16.8359 | -144.6446 | 127.3193 | -17.1112 | -139.0493 | 125.1135
Line_4 | 0.62368 | 0.0014432 | 0.0014432 | 0.62449 | 0.0015506 | 0.0015506 | 7.2016 | 0.016665 | 0.016665 | 7.211 | 0.017905 | 0.017905 | -9.1708e-12 | 0.013631 | -0.013957 | 1.1806 | 0.014975 | -0.014619 | -6.9895e-13 | -0.012503 | -0.020989 | 0.34619 | -0.011387 | -0.020659 | 0 | 0 | 0 | -33.1788 | -107.3952 | -107.3952 | 0.64083 | 1 | 0.87326 | 0.67152 | 1 | 0.89776 | 0 | -149.6253 | 129.2797 | -16.8359 | -144.6446 | 127.3193

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8749 | 0.0090717 | 0.0090717 | 1.8745 | 0.0080133 | 0.0080133 | 21.65 | 0.10475 | 0.10475 | 21.6448 | 0.09253 | 0.09253 | 17.7834 | 0.093761 | -0.080868 | -7.101 | -0.078278 | 0.075235 | 5.1047 | -0.023061 | -0.072286 | -2.0584 | 0.049593 | 0.095628 | 0 | 0 | 0 | 146.7232 | 73.3071 | 73.3071 | 0.7989 | 1 | 1.0029 | 0.70274 | 1 | 0.92303 | -17.2903 | -119.56 | 116.0506 | -17.1112 | -139.0493 | 125.1135
Line_1 | 1.2485 | 0.0014432 | 0.0014432 | 1.2493 | 0.004114 | 0.004114 | 14.417 | 0.016665 | 0.016665 | 14.4257 | 0.047504 | 0.047504 | -1.8354e-11 | -0.013631 | 0.013957 | 4.734 | 0.040242 | -0.03852 | -1.4605e-12 | 0.012503 | 0.020989 | 1.3674 | -0.025375 | -0.049178 | 0 | 0 | 0 | -33.223 | -106.8158 | -106.8158 | 0.64083 | 1 | 0.87326 | 0.70274 | 1 | 0.92303 | 0 | -149.6253 | 129.2797 | -17.1112 | -139.0493 | 125.1135
Line_2 | 0.62449 | 0.0015506 | 0.0015506 | 0.62519 | 0.0038993 | 0.0038993 | 7.211 | 0.017905 | 0.017905 | 7.2191 | 0.045026 | 0.045026 | -1.1806 | -0.014975 | 0.014619 | 2.3671 | 0.038036 | -0.036715 | -0.34619 | 0.011387 | 0.020659 | 0.69099 | -0.024218 | -0.04645 | 0 | 0 | 0 | -33.3845 | -106.5632 | -106.5632 | 0.67152 | 1 | 0.89776 | 0.70274 | 1 | 0.92303 | -16.8359 | -144.6446 | 127.3193 | -17.1112 | -139.0493 | 125.1135
Line_4 | 0.62368 | 0.0014432 | 0.0014432 | 0.62449 | 0.0015506 | 0.0015506 | 7.2016 | 0.016665 | 0.016665 | 7.211 | 0.017905 | 0.017905 | -9.1708e-12 | 0.013631 | -0.013957 | 1.1806 | 0.014975 | -0.014619 | -6.9895e-13 | -0.012503 | -0.020989 | 0.34619 | -0.011387 | -0.020659 | 0 | 0 | 0 | -33.1788 | -107.3952 | -107.3952 | 0.64083 | 1 | 0.87326 | 0.67152 | 1 | 0.89776 | 0 | -149.6253 | 129.2797 | -16.8359 | -144.6446 | 127.3193

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87824 | 0.0042493 | 0.0042493 | 0.87803 | 0.0037535 | 0.0037535 | 10.1411 | 0.049067 | 0.049067 | 10.1387 | 0.043342 | 0.043342 | 7.735 | 0.046901 | -0.031823 | -5.3923 | -0.040444 | 0.028617 | 4.9887 | -0.0061171 | -0.038133 | -4.3175 | 0.011429 | 0.04086 | 0 | 0 | 0 | 140.3345 | 66.9184 | 66.9184 | 0.89961 | 1 | 0.98313 | 0.85942 | 1 | 0.9382 | -6.8748 | -119.5617 | 118.0231 | -0.98208 | -128.8612 | 121.9126
Line_1 | 0.58483 | 0.00067601 | 0.00067601 | 0.58519 | 0.001927 | 0.001927 | 6.7531 | 0.0078059 | 0.0078059 | 6.7572 | 0.022252 | 0.022252 | -2.5616 | -0.0071823 | 0.005218 | 3.5965 | 0.020777 | -0.014647 | -2.5673 | 0.0028124 | 0.0082005 | 2.8741 | -0.0058231 | -0.021009 | 0 | 0 | 0 | -39.6116 | -113.2045 | -113.2045 | 0.83327 | 1 | 0.90858 | 0.85942 | 1 | 0.9382 | 5.5695 | -134.8699 | 124.0459 | -0.98208 | -128.8612 | 121.9126
Line_2 | 0.29252 | 0.00072633 | 0.00072633 | 0.29285 | 0.0018265 | 0.0018265 | 3.3777 | 0.008387 | 0.008387 | 3.3815 | 0.02109 | 0.02109 | -1.5386 | -0.0077894 | 0.0055035 | 1.7957 | 0.019668 | -0.01397 | -1.3617 | 0.0025492 | 0.0084076 | 1.4434 | -0.005606 | -0.019851 | 0 | 0 | 0 | -39.7731 | -112.9519 | -112.9519 | 0.84628 | 1 | 0.92335 | 0.85942 | 1 | 0.9382 | 1.9413 | -131.9055 | 123.0081 | -0.98208 | -128.8612 | 121.9126
Line_4 | 0.29214 | 0.00067601 | 0.00067601 | 0.29252 | 0.00072633 | 0.00072633 | 3.3733 | 0.0078059 | 0.0078059 | 3.3777 | 0.008387 | 0.008387 | -1.2838 | 0.0071823 | -0.005218 | 1.5386 | 0.0077894 | -0.0055035 | -1.2781 | -0.0028124 | -0.0082005 | 1.3617 | -0.0025492 | -0.0084076 | 0 | 0 | 0 | -39.5674 | -113.7839 | -113.7839 | 0.83327 | 1 | 0.90858 | 0.84628 | 1 | 0.92335 | 5.5695 | -134.8699 | 124.0459 | 1.9413 | -131.9055 | 123.0081

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87824 | 0.0042493 | 0.0042493 | 0.87803 | 0.0037535 | 0.0037535 | 10.1411 | 0.049067 | 0.049067 | 10.1387 | 0.043342 | 0.043342 | 7.735 | 0.046901 | -0.031823 | -5.3923 | -0.040444 | 0.028617 | 4.9887 | -0.0061171 | -0.038133 | -4.3175 | 0.011429 | 0.04086 | 0 | 0 | 0 | 140.3345 | 66.9184 | 66.9184 | 0.89961 | 1 | 0.98313 | 0.85942 | 1 | 0.9382 | -6.8748 | -119.5617 | 118.0231 | -0.98208 | -128.8612 | 121.9126
Line_1 | 0.58483 | 0.00067601 | 0.00067601 | 0.58519 | 0.001927 | 0.001927 | 6.7531 | 0.0078059 | 0.0078059 | 6.7572 | 0.022252 | 0.022252 | -2.5616 | -0.0071823 | 0.005218 | 3.5965 | 0.020777 | -0.014647 | -2.5673 | 0.0028124 | 0.0082005 | 2.8741 | -0.0058231 | -0.021009 | 0 | 0 | 0 | -39.6116 | -113.2045 | -113.2045 | 0.83327 | 1 | 0.90858 | 0.85942 | 1 | 0.9382 | 5.5695 | -134.8699 | 124.0459 | -0.98208 | -128.8612 | 121.9126
Line_2 | 0.29252 | 0.00072633 | 0.00072633 | 0.29285 | 0.0018265 | 0.0018265 | 3.3777 | 0.008387 | 0.008387 | 3.3815 | 0.02109 | 0.02109 | -1.5386 | -0.0077894 | 0.0055035 | 1.7957 | 0.019668 | -0.01397 | -1.3617 | 0.0025492 | 0.0084076 | 1.4434 | -0.005606 | -0.019851 | 0 | 0 | 0 | -39.7731 | -112.9519 | -112.9519 | 0.84628 | 1 | 0.92335 | 0.85942 | 1 | 0.9382 | 1.9413 | -131.9055 | 123.0081 | -0.98208 | -128.8612 | 121.9126
Line_4 | 0.29214 | 0.00067601 | 0.00067601 | 0.29252 | 0.00072633 | 0.00072633 | 3.3733 | 0.0078059 | 0.0078059 | 3.3777 | 0.008387 | 0.008387 | -1.2838 | 0.0071823 | -0.005218 | 1.5386 | 0.0077894 | -0.0055035 | -1.2781 | -0.0028124 | -0.0082005 | 1.3617 | -0.0025492 | -0.0084076 | 0 | 0 | 0 | -39.5674 | -113.7839 | -113.7839 | 0.83327 | 1 | 0.90858 | 0.84628 | 1 | 0.92335 | 5.5695 | -134.8699 | 124.0459 | 1.9413 | -131.9055 | 123.0081

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064203 | 3.9953 | 2.6802 | 0.0056179 | 3.9953 | 2.6797 | 0.074135 | 46.1337 | 30.948 | 0.064869 | 46.1336 | 30.943 | 0.0021459 | 29.0431 | 0.23179 | 3.426e-05 | -11.6134 | -0.086477 | -0.077382 | 8.7667 | 16.5389 | 0.081343 | -3.5235 | -6.6021 | 0 | 0 | 0 | -96.9407 | 3.2667 | -143.5713 | 0.96212 | 0.41999 | 0.83424 | 0.86194 | 0.168 | 0.81249 | -3.9856 | -159.9485 | 125.6405 | -6.9649 | -159.8555 | 125.6783
Line_1 | 0.0010078 | 2.664 | 1.7846 | 0.0028802 | 2.6637 | 1.7859 | 0.011638 | 30.7612 | 20.607 | 0.033258 | 30.7574 | 20.6219 | 0.00025505 | 7.8181e-11 | 7.2413e-11 | 0.00012385 | 7.7435 | 0.056066 | 0.016231 | -8.7181e-11 | -2.8382e-11 | -0.041704 | 2.3467 | 4.3999 | 0 | 0 | 0 | 82.865 | -176.715 | 36.4083 | 0.80534 | 0 | 0.80534 | 0.86194 | 0.168 | 0.81249 | -8.4243 | 0 | 0 | -6.9649 | -159.8555 | 125.6783
Line_2 | 0.0010793 | 1.3319 | 0.89272 | 0.0027377 | 1.3316 | 0.89383 | 0.012462 | 15.3793 | 10.3082 | 0.031612 | 15.3762 | 10.3211 | -7.4233e-05 | -1.9351 | -0.012449 | -0.00015811 | 3.87 | 0.03041 | 0.016505 | -0.59103 | -1.0966 | -0.039639 | 1.1769 | 2.2021 | 0 | 0 | 0 | 83.2637 | -176.77 | 36.4694 | 0.83248 | 0.083999 | 0.80816 | 0.86194 | 0.168 | 0.81249 | -7.7463 | -159.7157 | 125.7404 | -6.9649 | -159.8555 | 125.6783
Line_4 | 0.0010078 | 1.3323 | 0.89126 | 0.0010793 | 1.3319 | 0.89272 | 0.011638 | 15.3839 | 10.2914 | 0.012462 | 15.3793 | 10.3082 | -0.00025505 | 3.905e-11 | 3.6181e-11 | 7.4231e-05 | 1.9351 | 0.012449 | -0.016231 | -4.3644e-11 | -1.413e-11 | -0.016505 | 0.59103 | 1.0966 | 0 | 0 | 0 | 81.996 | -176.6996 | 36.3908 | 0.80534 | 0 | 0.80534 | 0.83248 | 0.083999 | 0.80816 | -8.4243 | 0 | 0 | -7.7463 | -159.7157 | 125.7404

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064203 | 3.9953 | 2.6802 | 0.0056179 | 3.9953 | 2.6797 | 0.074135 | 46.1337 | 30.948 | 0.064869 | 46.1336 | 30.943 | 0.0021459 | 29.0431 | 0.23179 | 3.426e-05 | -11.6134 | -0.086477 | -0.077382 | 8.7667 | 16.5389 | 0.081343 | -3.5235 | -6.6021 | 0 | 0 | 0 | -96.9407 | 3.2667 | -143.5713 | 0.96212 | 0.41999 | 0.83424 | 0.86194 | 0.168 | 0.81249 | -3.9856 | -159.9485 | 125.6405 | -6.9649 | -159.8555 | 125.6783
Line_1 | 0.0010078 | 2.664 | 1.7846 | 0.0028802 | 2.6637 | 1.7859 | 0.011638 | 30.7612 | 20.607 | 0.033258 | 30.7574 | 20.6219 | 0.00025505 | 7.8181e-11 | 7.2413e-11 | 0.00012385 | 7.7435 | 0.056066 | 0.016231 | -8.7181e-11 | -2.8382e-11 | -0.041704 | 2.3467 | 4.3999 | 0 | 0 | 0 | 82.865 | -176.715 | 36.4083 | 0.80534 | 0 | 0.80534 | 0.86194 | 0.168 | 0.81249 | -8.4243 | 0 | 0 | -6.9649 | -159.8555 | 125.6783
Line_2 | 0.0010793 | 1.3319 | 0.89272 | 0.0027377 | 1.3316 | 0.89383 | 0.012462 | 15.3793 | 10.3082 | 0.031612 | 15.3762 | 10.3211 | -7.4233e-05 | -1.9351 | -0.012449 | -0.00015811 | 3.87 | 0.03041 | 0.016505 | -0.59103 | -1.0966 | -0.039639 | 1.1769 | 2.2021 | 0 | 0 | 0 | 83.2637 | -176.77 | 36.4694 | 0.83248 | 0.083999 | 0.80816 | 0.86194 | 0.168 | 0.81249 | -7.7463 | -159.7157 | 125.7404 | -6.9649 | -159.8555 | 125.6783
Line_4 | 0.0010078 | 1.3323 | 0.89126 | 0.0010793 | 1.3319 | 0.89272 | 0.011638 | 15.3839 | 10.2914 | 0.012462 | 15.3793 | 10.3082 | -0.00025505 | 3.905e-11 | 3.6181e-11 | 7.4231e-05 | 1.9351 | 0.012449 | -0.016231 | -4.3644e-11 | -1.413e-11 | -0.016505 | 0.59103 | 1.0966 | 0 | 0 | 0 | 81.996 | -176.6996 | 36.3908 | 0.80534 | 0 | 0.80534 | 0.83248 | 0.083999 | 0.80816 | -8.4243 | 0 | 0 | -7.7463 | -159.7157 | 125.7404

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028379 | 1.2858 | 1.0835 | 0.0024832 | 1.2859 | 1.0831 | 0.03277 | 14.8474 | 12.5107 | 0.028674 | 14.8484 | 12.507 | 0.0053668 | 11.5303 | 6.8369 | -0.0047303 | -9.5695 | -6.2455 | -0.034718 | 8.4109 | 9.0076 | 0.032934 | -8.3396 | -7.1105 | 0 | 0 | 0 | -101.7475 | 13.2598 | -117.1879 | 1.0602 | 0.90192 | 0.97512 | 1.0217 | 0.81741 | 0.94228 | -1.5933 | -130.6466 | 115.6215 | -3.574 | -125.6689 | 111.5177
Line_1 | 0.00044549 | 0.85778 | 0.72092 | 0.0012731 | 0.85743 | 0.72172 | 0.0051441 | 9.9048 | 8.3245 | 0.014701 | 9.9008 | 8.3337 | -0.00083106 | -5.5171 | -3.8963 | 0.0024824 | 6.3831 | 4.1608 | 0.0062196 | -5.5223 | -3.895 | -0.016877 | 5.5581 | 4.7385 | 0 | 0 | 0 | 78.0583 | -166.7169 | 62.8037 | 0.99659 | 0.76108 | 0.92083 | 1.0217 | 0.81741 | 0.94228 | -4.7201 | -121.64 | 107.777 | -3.574 | -125.6689 | 111.5177
Line_2 | 0.00047706 | 0.42878 | 0.36071 | 0.0012101 | 0.42848 | 0.36141 | 0.0055086 | 4.9511 | 4.1651 | 0.013973 | 4.9477 | 4.1732 | -0.00098513 | -2.9747 | -2.014 | 0.0022479 | 3.1864 | 2.0846 | 0.0064812 | -2.7708 | -2.1582 | -0.016057 | 2.7814 | 2.372 | 0 | 0 | 0 | 78.4569 | -166.7868 | 62.8289 | 1.0091 | 0.78924 | 0.93151 | 1.0217 | 0.81741 | 0.94228 | -4.1681 | -123.7295 | 109.7745 | -3.574 | -125.6689 | 111.5177
Line_4 | 0.00044549 | 0.42918 | 0.35982 | 0.00047706 | 0.42878 | 0.36071 | 0.0051441 | 4.9558 | 4.1548 | 0.0055086 | 4.9511 | 4.1651 | 0.00083106 | -2.7643 | -1.9437 | 0.00098513 | 2.9747 | 2.014 | -0.0062196 | -2.7591 | -1.945 | -0.0064812 | 2.7708 | 2.1582 | 0 | 0 | 0 | 77.1893 | -166.6972 | 62.7959 | 0.99659 | 0.76108 | 0.92083 | 1.0091 | 0.78924 | 0.93151 | -4.7201 | -121.64 | 107.777 | -4.1681 | -123.7295 | 109.7745

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028379 | 1.2858 | 1.0835 | 0.0024832 | 1.2859 | 1.0831 | 0.03277 | 14.8474 | 12.5107 | 0.028674 | 14.8484 | 12.507 | 0.0053668 | 11.5303 | 6.8369 | -0.0047303 | -9.5695 | -6.2455 | -0.034718 | 8.4109 | 9.0076 | 0.032934 | -8.3396 | -7.1105 | 0 | 0 | 0 | -101.7475 | 13.2598 | -117.1879 | 1.0602 | 0.90192 | 0.97512 | 1.0217 | 0.81741 | 0.94228 | -1.5933 | -130.6466 | 115.6215 | -3.574 | -125.6689 | 111.5177
Line_1 | 0.00044549 | 0.85778 | 0.72092 | 0.0012731 | 0.85743 | 0.72172 | 0.0051441 | 9.9048 | 8.3245 | 0.014701 | 9.9008 | 8.3337 | -0.00083106 | -5.5171 | -3.8963 | 0.0024824 | 6.3831 | 4.1608 | 0.0062196 | -5.5223 | -3.895 | -0.016877 | 5.5581 | 4.7385 | 0 | 0 | 0 | 78.0583 | -166.7169 | 62.8037 | 0.99659 | 0.76108 | 0.92083 | 1.0217 | 0.81741 | 0.94228 | -4.7201 | -121.64 | 107.777 | -3.574 | -125.6689 | 111.5177
Line_2 | 0.00047706 | 0.42878 | 0.36071 | 0.0012101 | 0.42848 | 0.36141 | 0.0055086 | 4.9511 | 4.1651 | 0.013973 | 4.9477 | 4.1732 | -0.00098513 | -2.9747 | -2.014 | 0.0022479 | 3.1864 | 2.0846 | 0.0064812 | -2.7708 | -2.1582 | -0.016057 | 2.7814 | 2.372 | 0 | 0 | 0 | 78.4569 | -166.7868 | 62.8289 | 1.0091 | 0.78924 | 0.93151 | 1.0217 | 0.81741 | 0.94228 | -4.1681 | -123.7295 | 109.7745 | -3.574 | -125.6689 | 111.5177
Line_4 | 0.00044549 | 0.42918 | 0.35982 | 0.00047706 | 0.42878 | 0.36071 | 0.0051441 | 4.9558 | 4.1548 | 0.0055086 | 4.9511 | 4.1651 | 0.00083106 | -2.7643 | -1.9437 | 0.00098513 | 2.9747 | 2.014 | -0.0062196 | -2.7591 | -1.945 | -0.0064812 | 2.7708 | 2.1582 | 0 | 0 | 0 | 77.1893 | -166.6972 | 62.7959 | 0.99659 | 0.76108 | 0.92083 | 1.0091 | 0.78924 | 0.93151 | -4.7201 | -121.64 | 107.777 | -4.1681 | -123.7295 | 109.7745

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006092 | 3.0542 | 2.2472 | 0.0053812 | 3.0544 | 2.2468 | 0.070344 | 35.2667 | 25.9485 | 0.062137 | 35.2689 | 25.9436 | 0.0013229 | 26.6677 | 2.6434 | 1.7766e-05 | -10.6728 | -1.0457 | -0.068944 | 2.1414 | 12.766 | 0.074672 | -0.87977 | -5.0895 | 0 | 0 | 0 | -94.8829 | 18.6239 | -140.091 | 0.97857 | 0.50371 | 0.75752 | 0.85231 | 0.20148 | 0.76328 | -2.8328 | -156.798 | 118.2249 | -4.8965 | -156.6637 | 118.298
Line_1 | 0.00096917 | 2.0373 | 1.496 | 0.0027627 | 2.0366 | 1.4973 | 0.011191 | 23.5246 | 17.2745 | 0.031901 | 23.5164 | 17.289 | 0.000147 | -1.1007e-10 | -2.1595e-11 | 7.3124e-05 | 7.1165 | 0.69555 | 0.015104 | -9.1293e-11 | -1.0285e-10 | -0.038336 | 0.58396 | 3.3919 | 0 | 0 | 0 | 84.9942 | -161.3547 | 39.8864 | 0.77925 | 0 | 0.77925 | 0.85231 | 0.20148 | 0.76328 | -5.8447 | 0 | 0 | -4.8965 | -156.6637 | 118.298
Line_2 | 0.0010413 | 1.0184 | 0.74841 | 0.0026185 | 1.0178 | 0.7495 | 0.012024 | 11.7596 | 8.6418 | 0.030236 | 11.7526 | 8.6545 | -4.3476e-05 | -1.7808 | -0.1709 | -9.0891e-05 | 3.5562 | 0.35018 | 0.01534 | -0.15193 | -0.84371 | -0.036336 | 0.29581 | 1.6975 | 0 | 0 | 0 | 85.2468 | -161.4188 | 39.954 | 0.81446 | 0.10074 | 0.77008 | 0.85231 | 0.20148 | 0.76328 | -5.4228 | -156.4603 | 118.4168 | -4.8965 | -156.6637 | 118.298
Line_4 | 0.00096917 | 1.0192 | 0.74698 | 0.0010413 | 1.0184 | 0.74841 | 0.011191 | 11.7691 | 8.6254 | 0.012024 | 11.7596 | 8.6418 | -0.000147 | -5.5126e-11 | -1.0712e-11 | 4.3475e-05 | 1.7808 | 0.1709 | -0.015104 | -4.5601e-11 | -5.1371e-11 | -0.01534 | 0.15193 | 0.84371 | 0 | 0 | 0 | 84.4148 | -161.3369 | 39.8674 | 0.77925 | 0 | 0.77925 | 0.81446 | 0.10074 | 0.77008 | -5.8447 | 0 | 0 | -5.4228 | -156.4603 | 118.4168

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006092 | 3.0542 | 2.2472 | 0.0053812 | 3.0544 | 2.2468 | 0.070344 | 35.2667 | 25.9485 | 0.062137 | 35.2689 | 25.9436 | 0.0013229 | 26.6677 | 2.6434 | 1.7766e-05 | -10.6728 | -1.0457 | -0.068944 | 2.1414 | 12.766 | 0.074672 | -0.87977 | -5.0895 | 0 | 0 | 0 | -94.8829 | 18.6239 | -140.091 | 0.97857 | 0.50371 | 0.75752 | 0.85231 | 0.20148 | 0.76328 | -2.8328 | -156.798 | 118.2249 | -4.8965 | -156.6637 | 118.298
Line_1 | 0.00096917 | 2.0373 | 1.496 | 0.0027627 | 2.0366 | 1.4973 | 0.011191 | 23.5246 | 17.2745 | 0.031901 | 23.5164 | 17.289 | 0.000147 | -1.1007e-10 | -2.1595e-11 | 7.3124e-05 | 7.1165 | 0.69555 | 0.015104 | -9.1293e-11 | -1.0285e-10 | -0.038336 | 0.58396 | 3.3919 | 0 | 0 | 0 | 84.9942 | -161.3547 | 39.8864 | 0.77925 | 0 | 0.77925 | 0.85231 | 0.20148 | 0.76328 | -5.8447 | 0 | 0 | -4.8965 | -156.6637 | 118.298
Line_2 | 0.0010413 | 1.0184 | 0.74841 | 0.0026185 | 1.0178 | 0.7495 | 0.012024 | 11.7596 | 8.6418 | 0.030236 | 11.7526 | 8.6545 | -4.3476e-05 | -1.7808 | -0.1709 | -9.0891e-05 | 3.5562 | 0.35018 | 0.01534 | -0.15193 | -0.84371 | -0.036336 | 0.29581 | 1.6975 | 0 | 0 | 0 | 85.2468 | -161.4188 | 39.954 | 0.81446 | 0.10074 | 0.77008 | 0.85231 | 0.20148 | 0.76328 | -5.4228 | -156.4603 | 118.4168 | -4.8965 | -156.6637 | 118.298
Line_4 | 0.00096917 | 1.0192 | 0.74698 | 0.0010413 | 1.0184 | 0.74841 | 0.011191 | 11.7691 | 8.6254 | 0.012024 | 11.7596 | 8.6418 | -0.000147 | -5.5126e-11 | -1.0712e-11 | 4.3475e-05 | 1.7808 | 0.1709 | -0.015104 | -4.5601e-11 | -5.1371e-11 | -0.01534 | 0.15193 | 0.84371 | 0 | 0 | 0 | 84.4148 | -161.3369 | 39.8674 | 0.77925 | 0 | 0.77925 | 0.81446 | 0.10074 | 0.77008 | -5.8447 | 0 | 0 | -5.4228 | -156.4603 | 118.4168

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003516 | 1.1002 | 0.87806 | 0.0031058 | 1.1004 | 0.87767 | 0.0406 | 12.7035 | 10.139 | 0.035863 | 12.7058 | 10.1345 | 0.008827 | 10.0106 | 4.9711 | -0.0076351 | -7.6378 | -4.288 | -0.038939 | 5.3439 | 6.7755 | 0.038859 | -5.7882 | -5.0086 | 0 | 0 | 0 | -105.1999 | 20.7035 | -118.0363 | 0.98122 | 0.8297 | 0.89422 | 0.92588 | 0.72467 | 0.8681 | -1.4769 | -131.2211 | 115.7062 | -4.0839 | -122.1402 | 111.396
Line_1 | 0.00055936 | 0.73445 | 0.58364 | 0.0015945 | 0.73384 | 0.58465 | 0.006459 | 8.4807 | 6.7393 | 0.018412 | 8.4737 | 6.751 | -0.0013449 | -4.045 | -2.5529 | 0.0039626 | 5.0958 | 2.8558 | 0.0075401 | -4.05 | -2.5519 | -0.019942 | 3.8576 | 3.337 | 0 | 0 | 0 | 74.6771 | -159.2663 | 61.953 | 0.88962 | 0.65508 | 0.85192 | 0.92588 | 0.72467 | 0.8681 | -5.4907 | -114.1657 | 106.9185 | -4.0839 | -122.1402 | 111.396
Line_2 | 0.000601 | 0.36703 | 0.29214 | 0.0015113 | 0.36651 | 0.29302 | 0.0069397 | 4.2381 | 3.3733 | 0.017451 | 4.2321 | 3.3835 | -0.0015261 | -2.2853 | -1.3514 | 0.0036725 | 2.542 | 1.4322 | 0.0077977 | -1.978 | -1.4719 | -0.018917 | 1.9306 | 1.6717 | 0 | 0 | 0 | 74.9297 | -159.3571 | 61.985 | 0.90768 | 0.68982 | 0.85988 | 0.92588 | 0.72467 | 0.8681 | -4.8286 | -118.3636 | 109.3866 | -4.0839 | -122.1402 | 111.396
Line_4 | 0.00055936 | 0.36772 | 0.291 | 0.000601 | 0.36703 | 0.29214 | 0.006459 | 4.2461 | 3.3602 | 0.0069397 | 4.2381 | 3.3733 | 0.0013449 | -2.029 | -1.2721 | 0.0015261 | 2.2853 | 1.3514 | -0.0075401 | -2.024 | -1.2731 | -0.0077977 | 1.978 | 1.4719 | 0 | 0 | 0 | 74.0977 | -159.2409 | 61.9433 | 0.88962 | 0.65508 | 0.85192 | 0.90768 | 0.68982 | 0.85988 | -5.4907 | -114.1657 | 106.9185 | -4.8286 | -118.3636 | 109.3866

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003516 | 1.1002 | 0.87806 | 0.0031058 | 1.1004 | 0.87767 | 0.0406 | 12.7035 | 10.139 | 0.035863 | 12.7058 | 10.1345 | 0.008827 | 10.0106 | 4.9711 | -0.0076351 | -7.6378 | -4.288 | -0.038939 | 5.3439 | 6.7755 | 0.038859 | -5.7882 | -5.0086 | 0 | 0 | 0 | -105.1999 | 20.7035 | -118.0363 | 0.98122 | 0.8297 | 0.89422 | 0.92588 | 0.72467 | 0.8681 | -1.4769 | -131.2211 | 115.7062 | -4.0839 | -122.1402 | 111.396
Line_1 | 0.00055936 | 0.73445 | 0.58364 | 0.0015945 | 0.73384 | 0.58465 | 0.006459 | 8.4807 | 6.7393 | 0.018412 | 8.4737 | 6.751 | -0.0013449 | -4.045 | -2.5529 | 0.0039626 | 5.0958 | 2.8558 | 0.0075401 | -4.05 | -2.5519 | -0.019942 | 3.8576 | 3.337 | 0 | 0 | 0 | 74.6771 | -159.2663 | 61.953 | 0.88962 | 0.65508 | 0.85192 | 0.92588 | 0.72467 | 0.8681 | -5.4907 | -114.1657 | 106.9185 | -4.0839 | -122.1402 | 111.396
Line_2 | 0.000601 | 0.36703 | 0.29214 | 0.0015113 | 0.36651 | 0.29302 | 0.0069397 | 4.2381 | 3.3733 | 0.017451 | 4.2321 | 3.3835 | -0.0015261 | -2.2853 | -1.3514 | 0.0036725 | 2.542 | 1.4322 | 0.0077977 | -1.978 | -1.4719 | -0.018917 | 1.9306 | 1.6717 | 0 | 0 | 0 | 74.9297 | -159.3571 | 61.985 | 0.90768 | 0.68982 | 0.85988 | 0.92588 | 0.72467 | 0.8681 | -4.8286 | -118.3636 | 109.3866 | -4.0839 | -122.1402 | 111.396
Line_4 | 0.00055936 | 0.36772 | 0.291 | 0.000601 | 0.36703 | 0.29214 | 0.006459 | 4.2461 | 3.3602 | 0.0069397 | 4.2381 | 3.3733 | 0.0013449 | -2.029 | -1.2721 | 0.0015261 | 2.2853 | 1.3514 | -0.0075401 | -2.024 | -1.2731 | -0.0077977 | 1.978 | 1.4719 | 0 | 0 | 0 | 74.0977 | -159.2409 | 61.9433 | 0.88962 | 0.65508 | 0.85192 | 0.90768 | 0.68982 | 0.85988 | -5.4907 | -114.1657 | 106.9185 | -4.8286 | -118.3636 | 109.3866