## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 95.7106 | -84.2894 | 0 | 0.023593 | 0 | -35.6809
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | -0.0936 | 0.1404 | -0.1062 | 0.1593 | 95.7106 | -84.2894 | 0.023593 | 0.03539 | -35.6809 | -35.6809
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023593 | 0.023593 | -35.6809 | -35.6809

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 95.7106 | -84.2894 | 0 | 0.023593 | 0 | -35.6809
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | -0.0936 | 0.1404 | -0.1062 | 0.1593 | 95.7106 | -84.2894 | 0.023593 | 0.03539 | -35.6809 | -35.6809
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023593 | 0.023593 | -35.6809 | -35.6809

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -3.3935 | 3.5807 | -9.0264 | 9.2388 | 95.7106 | -84.2894 | 0.8036 | 0.8257 | -14.8932 | -15.4743
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | -1.7903 | 1.8371 | -4.6194 | 4.6725 | 95.7106 | -84.2894 | 0.8257 | 0.83678 | -15.4743 | -15.7533
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8257 | 0.8257 | -15.4743 | -15.4743

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -3.3935 | 3.5807 | -9.0264 | 9.2388 | 95.7106 | -84.2894 | 0.8036 | 0.8257 | -14.8932 | -15.4743
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | -1.7903 | 1.8371 | -4.6194 | 4.6725 | 95.7106 | -84.2894 | 0.8257 | 0.83678 | -15.4743 | -15.7533
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8257 | 0.8257 | -15.4743 | -15.4743

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7534e-20 | 0 | -1.3413e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7534e-20 | 0 | -1.3413e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9608e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.9608e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.49034 | -2.2459 | 2.0007 | 0.55274 | 2.3083 | -1.9383 | -4.9035 | -1.0135 | -1.4382 | 4.9743 | 1.0843 | 1.509 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.232 | 0.616 | 0.616 | 1.2512 | 0.63757 | 0.61411 | -1.411e-05 | 180 | 180 | -0.63018 | -179.1268 | 177.809
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.27637 | -1.1541 | 0.96916 | 0.29197 | 1.1697 | -0.95356 | -2.4872 | -0.54217 | -0.75451 | 2.5049 | 0.55987 | 0.77221 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.2512 | 0.63757 | 0.61411 | 1.2609 | 0.64841 | 0.61351 | -0.63018 | -179.1268 | 177.809 | -0.93803 | -178.7121 | 176.7093
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9418e-10 | 1.7093e-10 | 6.3276e-11 | -6.9419e-10 | -1.7092e-10 | -6.3276e-11 | 5.5492e-11 | 2.2072e-09 | -2.0962e-09 | -5.5509e-11 | -2.2072e-09 | 2.0962e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2512 | 0.63757 | 0.61411 | 1.2512 | 0.63757 | 0.61411 | -0.63018 | -179.1268 | 177.809 | -0.63018 | -179.1268 | 177.809

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.49034 | -2.2459 | 2.0007 | 0.55274 | 2.3083 | -1.9383 | -4.9035 | -1.0135 | -1.4382 | 4.9743 | 1.0843 | 1.509 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.232 | 0.616 | 0.616 | 1.2512 | 0.63757 | 0.61411 | -1.411e-05 | 180 | 180 | -0.63018 | -179.1268 | 177.809
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.27637 | -1.1541 | 0.96916 | 0.29197 | 1.1697 | -0.95356 | -2.4872 | -0.54217 | -0.75451 | 2.5049 | 0.55987 | 0.77221 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.2512 | 0.63757 | 0.61411 | 1.2609 | 0.64841 | 0.61351 | -0.63018 | -179.1268 | 177.809 | -0.93803 | -178.7121 | 176.7093
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9418e-10 | 1.7093e-10 | 6.3276e-11 | -6.9419e-10 | -1.7092e-10 | -6.3276e-11 | 5.5492e-11 | 2.2072e-09 | -2.0962e-09 | -5.5509e-11 | -2.2072e-09 | 2.0962e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2512 | 0.63757 | 0.61411 | 1.2512 | 0.63757 | 0.61411 | -0.63018 | -179.1268 | 177.809 | -0.63018 | -179.1268 | 177.809

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.49035 | -2.1608 | 0.29768 | 0.55275 | 2.2232 | -0.23528 | -4.9035 | -3.0292 | -2.5197 | 4.9743 | 3.1 | 2.5905 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.232 | 0.93022 | 0.63431 | 1.2512 | 0.95369 | 0.6503 | -1.0957e-05 | -149.7905 | 132.4483 | -0.63017 | -149.936 | 130.9002
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.27637 | -1.1116 | 0.11764 | 0.29197 | 1.1272 | -0.10204 | -2.4872 | -1.55 | -1.2953 | 2.5049 | 1.5677 | 1.313 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.2512 | 0.95369 | 0.6503 | 1.2609 | 0.96543 | 0.65846 | -0.63017 | -149.936 | 130.9002 | -0.93802 | -150.006 | 130.1546
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9416e-10 | 1.5666e-12 | -1.025e-09 | -6.9417e-10 | -1.5515e-12 | 1.025e-09 | 5.5504e-11 | 1.9196e-09 | -4.9598e-10 | -5.5507e-11 | -1.9196e-09 | 4.9598e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2512 | 0.95369 | 0.6503 | 1.2512 | 0.95369 | 0.6503 | -0.63017 | -149.936 | 130.9002 | -0.63017 | -149.936 | 130.9002

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.49035 | -2.1608 | 0.29768 | 0.55275 | 2.2232 | -0.23528 | -4.9035 | -3.0292 | -2.5197 | 4.9743 | 3.1 | 2.5905 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.232 | 0.93022 | 0.63431 | 1.2512 | 0.95369 | 0.6503 | -1.0957e-05 | -149.7905 | 132.4483 | -0.63017 | -149.936 | 130.9002
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.27637 | -1.1116 | 0.11764 | 0.29197 | 1.1272 | -0.10204 | -2.4872 | -1.55 | -1.2953 | 2.5049 | 1.5677 | 1.313 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.2512 | 0.95369 | 0.6503 | 1.2609 | 0.96543 | 0.65846 | -0.63017 | -149.936 | 130.9002 | -0.93802 | -150.006 | 130.1546
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9416e-10 | 1.5666e-12 | -1.025e-09 | -6.9417e-10 | -1.5515e-12 | 1.025e-09 | 5.5504e-11 | 1.9196e-09 | -4.9598e-10 | -5.5507e-11 | -1.9196e-09 | 4.9598e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2512 | 0.95369 | 0.6503 | 1.2512 | 0.95369 | 0.6503 | -0.63017 | -149.936 | 130.9002 | -0.63017 | -149.936 | 130.9002

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7446e-29 | -1.7303e-21 | 1.8948e-14 | -2.3685e-15 | 1.1849e-15 | -1.6579e-14 | -4.737e-15 | 4.7632e-09 | -4.7631e-09 | -4.737e-15 | -4.7632e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9483e-13 | -180 | 180 | 6.1997e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1845e-15 | 4.7367e-15 | -5.0957e-29 | 3.026e-19 | 3.0278e-19 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1997e-13 | -180 | 180 | 6.1635e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -1.1845e-15 | 4.7367e-15 | -7.1054e-15 | 3.026e-19 | -4.7366e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1997e-13 | -180 | 180 | 6.1925e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7446e-29 | -1.7303e-21 | 1.8948e-14 | -2.3685e-15 | 1.1849e-15 | -1.6579e-14 | -4.737e-15 | 4.7632e-09 | -4.7631e-09 | -4.737e-15 | -4.7632e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9483e-13 | -180 | 180 | 6.1997e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1845e-15 | 4.7367e-15 | -5.0957e-29 | 3.026e-19 | 3.0278e-19 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1997e-13 | -180 | 180 | 6.1635e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -1.1845e-15 | 4.7367e-15 | -7.1054e-15 | 3.026e-19 | -4.7366e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1997e-13 | -180 | 180 | 6.1925e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | -9.1817e-10 | -2.5622e-09 | 1.1842e-15 | 9.1818e-10 | 2.5622e-09 | 2.3685e-15 | 4.2643e-09 | -1.4167e-09 | -2.3685e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.1596e-13 | -151.709 | 135.0798 | 3.6138e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | -3.0605e-10 | -8.5406e-10 | -3.5527e-15 | 3.0606e-10 | 8.5407e-10 | -7.1054e-15 | 1.4214e-09 | -4.7225e-10 | 4.737e-15 | -1.4214e-09 | 4.7225e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 3.6138e-13 | -151.709 | 135.0798 | 3.6137e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-15 | -3.0605e-10 | -8.5407e-10 | -5.9212e-15 | 3.0605e-10 | 8.5406e-10 | -9.4739e-15 | 1.4214e-09 | -4.7225e-10 | 7.1054e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 3.6138e-13 | -151.709 | 135.0798 | 3.603e-13 | -151.709 | 135.0798

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | -9.1817e-10 | -2.5622e-09 | 1.1842e-15 | 9.1818e-10 | 2.5622e-09 | 2.3685e-15 | 4.2643e-09 | -1.4167e-09 | -2.3685e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.1596e-13 | -151.709 | 135.0798 | 3.6138e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | -3.0605e-10 | -8.5406e-10 | -3.5527e-15 | 3.0606e-10 | 8.5407e-10 | -7.1054e-15 | 1.4214e-09 | -4.7225e-10 | 4.737e-15 | -1.4214e-09 | 4.7225e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 3.6138e-13 | -151.709 | 135.0798 | 3.6137e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-15 | -3.0605e-10 | -8.5407e-10 | -5.9212e-15 | 3.0605e-10 | 8.5406e-10 | -9.4739e-15 | 1.4214e-09 | -4.7225e-10 | 7.1054e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 3.6138e-13 | -151.709 | 135.0798 | 3.603e-13 | -151.709 | 135.0798

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34031 | 0.34895 | 0.35004 | 0.34235 | 0.34809 | 0.34883 | 3.9296 | 4.0294 | 4.0419 | 3.9531 | 4.0194 | 4.0279 | -4.0319e-12 | -0.42354 | -0.55874 | 0.055056 | 0.51578 | 0.59893 | 1.4682e-11 | -4.95 | -4.9538 | 0.068017 | 5.0024 | 5.0167 | 95.8174 | -25.2086 | -143.477 | -84.218 | 155.0958 | 36.254 | 0 | 1.233 | 1.2334 | 0.022136 | 1.2511 | 1.2543 | 0 | -120.0991 | 120.0879 | -33.2066 | -120.7909 | 119.4458
Line_1 | 0.17117 | 0.17405 | 0.17441 | 0.17321 | 0.17321 | 0.1732 | 1.9765 | 2.0097 | 2.014 | 2 | 2 | 2 | -0.027528 | -0.25789 | -0.29947 | 0.042734 | 0.29943 | 0.28953 | -0.034008 | -2.5012 | -2.5084 | 0.051956 | 2.5034 | 2.5121 | 95.782 | -24.9042 | -143.746 | -84.2893 | 155.7105 | 35.7106 | 0.022136 | 1.2511 | 1.2543 | 0.033637 | 1.2606 | 1.2643 | -33.2066 | -120.7909 | 119.4458 | -33.7268 | -121.1102 | 119.136
Line_2 | 0.0020439 | 0.0020439 | 0.0020439 | 0 | 0 | 0 | 0.023601 | 0.023601 | 0.023601 | 0 | 0 | 0 | 0.00028404 | 0.025438 | -0.02571 | 7.2435e-11 | -6.9275e-10 | -7.1185e-10 | 0.00043849 | -0.014995 | -0.014676 | -4.7575e-11 | -7.0756e-11 | -4.9149e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.022136 | 1.2511 | 1.2543 | 0.02185 | 1.2509 | 1.2547 | -33.2066 | -120.7909 | 119.4458 | -32.672 | -120.8037 | 119.4436

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34031 | 0.34895 | 0.35004 | 0.34235 | 0.34809 | 0.34883 | 3.9296 | 4.0294 | 4.0419 | 3.9531 | 4.0194 | 4.0279 | -4.0319e-12 | -0.42354 | -0.55874 | 0.055056 | 0.51578 | 0.59893 | 1.4682e-11 | -4.95 | -4.9538 | 0.068017 | 5.0024 | 5.0167 | 95.8174 | -25.2086 | -143.477 | -84.218 | 155.0958 | 36.254 | 0 | 1.233 | 1.2334 | 0.022136 | 1.2511 | 1.2543 | 0 | -120.0991 | 120.0879 | -33.2066 | -120.7909 | 119.4458
Line_1 | 0.17117 | 0.17405 | 0.17441 | 0.17321 | 0.17321 | 0.1732 | 1.9765 | 2.0097 | 2.014 | 2 | 2 | 2 | -0.027528 | -0.25789 | -0.29947 | 0.042734 | 0.29943 | 0.28953 | -0.034008 | -2.5012 | -2.5084 | 0.051956 | 2.5034 | 2.5121 | 95.782 | -24.9042 | -143.746 | -84.2893 | 155.7105 | 35.7106 | 0.022136 | 1.2511 | 1.2543 | 0.033637 | 1.2606 | 1.2643 | -33.2066 | -120.7909 | 119.4458 | -33.7268 | -121.1102 | 119.136
Line_2 | 0.0020439 | 0.0020439 | 0.0020439 | 0 | 0 | 0 | 0.023601 | 0.023601 | 0.023601 | 0 | 0 | 0 | 0.00028404 | 0.025438 | -0.02571 | 7.2435e-11 | -6.9275e-10 | -7.1185e-10 | 0.00043849 | -0.014995 | -0.014676 | -4.7575e-11 | -7.0756e-11 | -4.9149e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.022136 | 1.2511 | 1.2543 | 0.02185 | 1.2509 | 1.2547 | -33.2066 | -120.7909 | 119.4458 | -32.672 | -120.8037 | 119.4436

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34405 | 0.34828 | 0.34692 | 0.34483 | 0.34765 | 0.34675 | 3.9727 | 4.0216 | 4.0059 | 3.9818 | 4.0144 | 4.0039 | -1.1165 | -0.47239 | -0.52198 | 1.1812 | 0.54439 | 0.57254 | -2.9884 | -4.9349 | -4.9083 | 3.0631 | 4.9956 | 4.9805 | 95.5795 | -24.5613 | -143.8864 | -84.3764 | 155.5287 | 35.9794 | 0.80301 | 1.2327 | 1.2322 | 0.82449 | 1.2518 | 1.2521 | -14.9072 | -120.0293 | 120.0432 | -15.4644 | -120.6904 | 119.4217
Line_1 | 0.17242 | 0.17383 | 0.17337 | 0.17321 | 0.17321 | 0.1732 | 1.9909 | 2.0072 | 2.0019 | 2 | 2 | 2 | -0.5906 | -0.27219 | -0.28627 | 0.61102 | 0.29498 | 0.28986 | -1.5315 | -2.4978 | -2.4903 | 1.5552 | 2.5056 | 2.5071 | 95.6236 | -24.4713 | -144.0206 | -84.2894 | 155.7105 | 35.7106 | 0.82449 | 1.2518 | 1.2521 | 0.83544 | 1.2614 | 1.2619 | -15.4644 | -120.6904 | 119.4217 | -15.7392 | -121.004 | 119.1156
Line_2 | 0.00083055 | 0.00083055 | 0.00083055 | 0 | 0 | 0 | 0.0095904 | 0.0095904 | 0.0095904 | 0 | 0 | 0 | 0.0050363 | 0.006922 | -0.011956 | 7.1286e-10 | -6.9691e-10 | -6.9929e-10 | 0.0060958 | -0.0098086 | -0.001114 | -8.8629e-10 | -6.1403e-11 | -5.0817e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.82449 | 1.2518 | 1.2521 | 0.82436 | 1.2518 | 1.2522 | -15.4644 | -120.6904 | 119.4217 | -15.4596 | -120.6968 | 119.4236

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34405 | 0.34828 | 0.34692 | 0.34483 | 0.34765 | 0.34675 | 3.9727 | 4.0216 | 4.0059 | 3.9818 | 4.0144 | 4.0039 | -1.1165 | -0.47239 | -0.52198 | 1.1812 | 0.54439 | 0.57254 | -2.9884 | -4.9349 | -4.9083 | 3.0631 | 4.9956 | 4.9805 | 95.5795 | -24.5613 | -143.8864 | -84.3764 | 155.5287 | 35.9794 | 0.80301 | 1.2327 | 1.2322 | 0.82449 | 1.2518 | 1.2521 | -14.9072 | -120.0293 | 120.0432 | -15.4644 | -120.6904 | 119.4217
Line_1 | 0.17242 | 0.17383 | 0.17337 | 0.17321 | 0.17321 | 0.1732 | 1.9909 | 2.0072 | 2.0019 | 2 | 2 | 2 | -0.5906 | -0.27219 | -0.28627 | 0.61102 | 0.29498 | 0.28986 | -1.5315 | -2.4978 | -2.4903 | 1.5552 | 2.5056 | 2.5071 | 95.6236 | -24.4713 | -144.0206 | -84.2894 | 155.7105 | 35.7106 | 0.82449 | 1.2518 | 1.2521 | 0.83544 | 1.2614 | 1.2619 | -15.4644 | -120.6904 | 119.4217 | -15.7392 | -121.004 | 119.1156
Line_2 | 0.00083055 | 0.00083055 | 0.00083055 | 0 | 0 | 0 | 0.0095904 | 0.0095904 | 0.0095904 | 0 | 0 | 0 | 0.0050363 | 0.006922 | -0.011956 | 7.1286e-10 | -6.9691e-10 | -6.9929e-10 | 0.0060958 | -0.0098086 | -0.001114 | -8.8629e-10 | -6.1403e-11 | -5.0817e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.82449 | 1.2518 | 1.2521 | 0.82436 | 1.2518 | 1.2522 | -15.4644 | -120.6904 | 119.4217 | -15.4596 | -120.6968 | 119.4236

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5451e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2551e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0 | 1.0009 | 1.0013 | 0.0026036 | 0.99892 | 1.0037 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.2609e-12 | 5.354e-12 | -1.5579e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4772e-11 | 2.7035e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.2609e-12 | 5.3563e-12 | -1.5573e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4779e-11 | 2.6931e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5451e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2551e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0 | 1.0009 | 1.0013 | 0.0026036 | 0.99892 | 1.0037 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.2609e-12 | 5.354e-12 | -1.5579e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4772e-11 | 2.7035e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.2609e-12 | 5.3563e-12 | -1.5573e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4779e-11 | 2.6931e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.62026 | 1.0007 | 1.0002 | 0.61938 | 1.0002 | 1.0014 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7181e-13 | -5.815e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9064e-12 | 3.7645e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7172e-13 | -5.8145e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2866e-10 | -6.9038e-12 | 3.7616e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.62026 | 1.0007 | 1.0002 | 0.61938 | 1.0002 | 1.0014 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7181e-13 | -5.815e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9064e-12 | 3.7645e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7172e-13 | -5.8145e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2866e-10 | -6.9038e-12 | 3.7616e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3525 | 0.34396 | 0.34286 | 0.35047 | 0.34477 | 0.34403 | 4.0703 | 3.9717 | 3.959 | 4.0469 | 3.981 | 3.9725 | -0.49192 | -1.1978e-11 | -1.2361e-11 | 0.56186 | 0.057909 | 0.059638 | -4.9999 | 7.2456e-12 | 6.7036e-12 | 5.0445 | 0.074724 | 0.064127 | 95.6078 | -23.3587 | -145.1174 | -84.3589 | 156.3301 | 35.1606 | 1.2343 | 0 | 0 | 1.2542 | 0.023747 | 0.022045 | -0.011183 | 0 | 0 | -0.71436 | -151.4444 | 82.2377
Line_1 | 0.17523 | 0.17238 | 0.17202 | 0.1732 | 0.1732 | 0.17321 | 2.0234 | 1.9905 | 1.9863 | 2 | 2 | 2 | -0.28093 | -0.028954 | -0.029819 | 0.29697 | 0.043782 | 0.045761 | -2.5222 | -0.037362 | -0.032064 | 2.5106 | 0.056043 | 0.049015 | 95.6411 | -23.6699 | -144.8394 | -84.2895 | 155.7107 | 35.7105 | 1.2542 | 0.023747 | 0.022045 | 1.264 | 0.035559 | 0.033528 | -0.71436 | -151.4444 | 82.2377 | -1.0356 | -152.2869 | 82.6771
Line_2 | 0.0020401 | 0.0020401 | 0.0020401 | 0 | 0 | 0 | 0.023557 | 0.023557 | 0.023557 | 0 | 0 | 0 | -0.00023369 | -0.00026963 | 0.00051486 | -7.1034e-10 | 8.0522e-11 | 6.7159e-11 | -0.029545 | 0.00049012 | -6.7793e-05 | -6.4346e-11 | -4.8857e-11 | -5.4237e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.2542 | 0.023747 | 0.022045 | 1.2544 | 0.023793 | 0.021739 | -0.71436 | -151.4444 | 82.2377 | -0.72923 | -150.6049 | 81.7863

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3525 | 0.34396 | 0.34286 | 0.35047 | 0.34477 | 0.34403 | 4.0703 | 3.9717 | 3.959 | 4.0469 | 3.981 | 3.9725 | -0.49192 | -1.1978e-11 | -1.2361e-11 | 0.56186 | 0.057909 | 0.059638 | -4.9999 | 7.2456e-12 | 6.7036e-12 | 5.0445 | 0.074724 | 0.064127 | 95.6078 | -23.3587 | -145.1174 | -84.3589 | 156.3301 | 35.1606 | 1.2343 | 0 | 0 | 1.2542 | 0.023747 | 0.022045 | -0.011183 | 0 | 0 | -0.71436 | -151.4444 | 82.2377
Line_1 | 0.17523 | 0.17238 | 0.17202 | 0.1732 | 0.1732 | 0.17321 | 2.0234 | 1.9905 | 1.9863 | 2 | 2 | 2 | -0.28093 | -0.028954 | -0.029819 | 0.29697 | 0.043782 | 0.045761 | -2.5222 | -0.037362 | -0.032064 | 2.5106 | 0.056043 | 0.049015 | 95.6411 | -23.6699 | -144.8394 | -84.2895 | 155.7107 | 35.7105 | 1.2542 | 0.023747 | 0.022045 | 1.264 | 0.035559 | 0.033528 | -0.71436 | -151.4444 | 82.2377 | -1.0356 | -152.2869 | 82.6771
Line_2 | 0.0020401 | 0.0020401 | 0.0020401 | 0 | 0 | 0 | 0.023557 | 0.023557 | 0.023557 | 0 | 0 | 0 | -0.00023369 | -0.00026963 | 0.00051486 | -7.1034e-10 | 8.0522e-11 | 6.7159e-11 | -0.029545 | 0.00049012 | -6.7793e-05 | -6.4346e-11 | -4.8857e-11 | -5.4237e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.2542 | 0.023747 | 0.022045 | 1.2544 | 0.023793 | 0.021739 | -0.71436 | -151.4444 | 82.2377 | -0.72923 | -150.6049 | 81.7863

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34877 | 0.34455 | 0.34592 | 0.34799 | 0.34517 | 0.34608 | 4.0273 | 3.9785 | 3.9943 | 4.0182 | 3.9857 | 3.9962 | -0.50399 | -1.1372 | -1.1105 | 0.56414 | 1.1942 | 1.1806 | -4.9396 | -2.9861 | -3.0111 | 5.0017 | 3.0646 | 3.0781 | 95.8397 | -24.0147 | -144.6933 | -84.2033 | 155.8937 | 35.4414 | 1.2329 | 0.80314 | 0.80348 | 1.2527 | 0.82522 | 0.82497 | 0.013922 | -134.8639 | 105.0636 | -0.63854 | -135.3965 | 104.4578
Line_1 | 0.17399 | 0.17259 | 0.17304 | 0.1732 | 0.1732 | 0.17321 | 2.0091 | 1.9928 | 1.9981 | 2 | 2 | 2 | -0.28207 | -0.59711 | -0.59028 | 0.29287 | 0.60967 | 0.61373 | -2.5008 | -1.5323 | -1.5391 | 2.5078 | 1.5575 | 1.5552 | 95.7967 | -24.1063 | -144.5586 | -84.2895 | 155.7106 | 35.7106 | 1.2527 | 0.82522 | 0.82497 | 1.2624 | 0.83629 | 0.83594 | -0.63854 | -135.3965 | 104.4578 | -0.95043 | -135.6669 | 104.1743
Line_2 | 0.00082994 | 0.00082994 | 0.00082994 | 0 | 0 | 0 | 0.0095834 | 0.0095834 | 0.0095834 | 0 | 0 | 0 | -0.0050208 | -0.002772 | 0.0077947 | -7.02e-10 | 7.1215e-10 | 7.1045e-10 | -0.010904 | 0.0074066 | -0.0013221 | -5.6713e-11 | -8.8311e-10 | -8.9172e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.2527 | 0.82522 | 0.82497 | 1.2528 | 0.82522 | 0.82485 | -0.63854 | -135.3965 | 104.4578 | -0.64305 | -135.3866 | 104.4527

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34877 | 0.34455 | 0.34592 | 0.34799 | 0.34517 | 0.34608 | 4.0273 | 3.9785 | 3.9943 | 4.0182 | 3.9857 | 3.9962 | -0.50399 | -1.1372 | -1.1105 | 0.56414 | 1.1942 | 1.1806 | -4.9396 | -2.9861 | -3.0111 | 5.0017 | 3.0646 | 3.0781 | 95.8397 | -24.0147 | -144.6933 | -84.2033 | 155.8937 | 35.4414 | 1.2329 | 0.80314 | 0.80348 | 1.2527 | 0.82522 | 0.82497 | 0.013922 | -134.8639 | 105.0636 | -0.63854 | -135.3965 | 104.4578
Line_1 | 0.17399 | 0.17259 | 0.17304 | 0.1732 | 0.1732 | 0.17321 | 2.0091 | 1.9928 | 1.9981 | 2 | 2 | 2 | -0.28207 | -0.59711 | -0.59028 | 0.29287 | 0.60967 | 0.61373 | -2.5008 | -1.5323 | -1.5391 | 2.5078 | 1.5575 | 1.5552 | 95.7967 | -24.1063 | -144.5586 | -84.2895 | 155.7106 | 35.7106 | 1.2527 | 0.82522 | 0.82497 | 1.2624 | 0.83629 | 0.83594 | -0.63854 | -135.3965 | 104.4578 | -0.95043 | -135.6669 | 104.1743
Line_2 | 0.00082994 | 0.00082994 | 0.00082994 | 0 | 0 | 0 | 0.0095834 | 0.0095834 | 0.0095834 | 0 | 0 | 0 | -0.0050208 | -0.002772 | 0.0077947 | -7.02e-10 | 7.1215e-10 | 7.1045e-10 | -0.010904 | 0.0074066 | -0.0013221 | -5.6713e-11 | -8.8311e-10 | -8.9172e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.2527 | 0.82522 | 0.82497 | 1.2528 | 0.82522 | 0.82485 | -0.63854 | -135.3965 | 104.4578 | -0.64305 | -135.3866 | 104.4527

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.493e-13 | 1.2365e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3106e-14 | 1.0172e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 1.0021 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0129e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2056e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0131e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5319e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.493e-13 | 1.2365e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3106e-14 | 1.0172e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 1.0021 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0129e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2056e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0131e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5319e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 1.0009 | 0.6204 | 0.62069 | 1.0016 | 0.62059 | 0.61962 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1681e-12 | 7.754e-10 | 7.738e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1406e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1663e-12 | 7.754e-10 | 7.7379e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1406e-12 | -6.2641e-10 | -6.3506e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 1.0009 | 0.6204 | 0.62069 | 1.0016 | 0.62059 | 0.61962 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1681e-12 | 7.754e-10 | 7.738e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1406e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1663e-12 | 7.754e-10 | 7.7379e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1406e-12 | -6.2641e-10 | -6.3506e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627