## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1881 | 2.1881 | 0 | 0 | 75.7989 | 75.7989 | 15.578 | -8.1089 | 17.5738 | -9.0993 | -74.796 | 105.204 | 0.30982 | 0.1608 | -26.3508 | -26.5021
Line_1 | 2.3609 | 2.3609 | 0 | 4.7798 | 81.7833 | 81.7833 | 8.6951 | -1e-07 | 9.8655 | -1e-07 | -75.1106 | 104.8894 | 0.1608 | 0 | -26.5021 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1608 | 0.1608 | -26.5021 | -26.5021

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.1881 | 2.1881 | 0 | 0 | 75.7989 | 75.7989 | 15.578 | -8.1089 | 17.5738 | -9.0993 | -74.796 | 105.204 | 0.30982 | 0.1608 | -26.3508 | -26.5021
Line_1 | 2.3609 | 2.3609 | 0 | 4.7798 | 81.7833 | 81.7833 | 8.6951 | -1e-07 | 9.8655 | -1e-07 | -75.1106 | 104.8894 | 0.1608 | 0 | -26.5021 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1608 | 0.1608 | -26.5021 | -26.5021

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85569 | 0.85569 | 0 | 0 | 29.642 | 29.642 | 19.5389 | -18.3966 | 15.7381 | -14.4421 | -51.0434 | 128.9566 | 0.8464 | 0.78902 | -12.1927 | -12.9099
Line_1 | 1.0118 | 1.0118 | 0 | 2.0992 | 35.0512 | 35.0512 | 20.3088 | -18.7116 | 18.7729 | -16.9608 | -55.6595 | 124.3405 | 0.78902 | 0.7205 | -12.9099 | -13.4694
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78902 | 0.78902 | -12.9099 | -12.9099

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85569 | 0.85569 | 0 | 0 | 29.642 | 29.642 | 19.5389 | -18.3966 | 15.7381 | -14.4421 | -51.0434 | 128.9566 | 0.8464 | 0.78902 | -12.1927 | -12.9099
Line_1 | 1.0118 | 1.0118 | 0 | 2.0992 | 35.0512 | 35.0512 | 20.3088 | -18.7116 | 18.7729 | -16.9608 | -55.6595 | 124.3405 | 0.78902 | 0.7205 | -12.9099 | -13.4694
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78902 | 0.78902 | -12.9099 | -12.9099

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7386 | 1.7386 | 0 | 0 | 60.2284 | 60.2284 | 18.1083 | -9.0542 | 10.701 | -5.3505 | -67.9403 | 112.0597 | 0.34923 | 0.17462 | -37.3595 | -37.3595
Line_1 | 1.7386 | 1.7386 | 0 | 3.2224 | 60.2284 | 60.2284 | 9.0542 | -1e-07 | 5.3505 | -1e-07 | -67.9403 | 112.0597 | 0.17462 | 0 | -37.3595 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17462 | 0.17462 | -37.3595 | -37.3595

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.85923 | 0.85923 | 0 | 0 | 29.7644 | 29.7644 | 15.4965 | -13.2853 | 13.6875 | -12.3807 | -56.1059 | 123.8941 | 0.69465 | 0.61012 | -14.653 | -13.1242
Line_1 | 0.85923 | 0.85923 | 0 | 1.5925 | 29.7644 | 29.7644 | 13.2853 | -11.074 | 12.3807 | -11.074 | -56.1059 | 123.8941 | 0.61012 | 0.52617 | -13.1242 | -11.1059
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61012 | 0.61012 | -13.1242 | -13.1242

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3462 | 1.9098 | 1.8959 | 0.3462 | 1.9098 | 1.8959 | 3.9976 | 22.0522 | 21.8922 | 3.9976 | 22.0522 | 21.8922 | -1.0342 | 17.0939 | -9.822 | 1.0966 | -15.1973 | 11.6912 | -4.8111 | -0.50604 | 6.8874 | 4.8818 | 2.6579 | -4.7667 | 102.9007 | -159.5998 | 9.9698 | -77.0993 | 20.4002 | -170.0302 | 1.231 | 0.7755 | 0.54797 | 1.2516 | 0.69961 | 0.57671 | 0.76854 | -161.2955 | 154.9308 | 0.24096 | -169.5202 | 167.7884
Line_1 | 0.1732 | 2.0464 | 2.0464 | 0.1732 | 2.0464 | 2.0464 | 2 | 23.63 | 23.63 | 2 | 23.63 | 23.63 | -0.63303 | 16.4143 | -12.3833 | 0.64863 | -14.2367 | 14.561 | -2.4219 | -1.9675 | 5.6893 | 2.4396 | 4.4383 | -3.2185 | 104.8893 | -162.6851 | 12.464 | -75.1107 | 17.3149 | -167.536 | 1.2516 | 0.69961 | 0.57671 | 1.2622 | 0.63108 | 0.63108 | 0.24096 | -169.5202 | 167.7884 | -1.4255e-05 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9586e-10 | -3.7145e-11 | -3.433e-10 | -6.9587e-10 | 3.7152e-11 | 3.4329e-10 | -2.1234e-11 | 2.1463e-09 | -1.7229e-09 | 2.124e-11 | -2.1463e-09 | 1.7229e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2516 | 0.69961 | 0.57671 | 1.2516 | 0.69961 | 0.57671 | 0.24096 | -169.5202 | 167.7884 | 0.24096 | -169.5202 | 167.7884

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3462 | 1.9098 | 1.8959 | 0.3462 | 1.9098 | 1.8959 | 3.9976 | 22.0522 | 21.8922 | 3.9976 | 22.0522 | 21.8922 | -1.0342 | 17.0939 | -9.822 | 1.0966 | -15.1973 | 11.6912 | -4.8111 | -0.50604 | 6.8874 | 4.8818 | 2.6579 | -4.7667 | 102.9007 | -159.5998 | 9.9698 | -77.0993 | 20.4002 | -170.0302 | 1.231 | 0.7755 | 0.54797 | 1.2516 | 0.69961 | 0.57671 | 0.76854 | -161.2955 | 154.9308 | 0.24096 | -169.5202 | 167.7884
Line_1 | 0.1732 | 2.0464 | 2.0464 | 0.1732 | 2.0464 | 2.0464 | 2 | 23.63 | 23.63 | 2 | 23.63 | 23.63 | -0.63303 | 16.4143 | -12.3833 | 0.64863 | -14.2367 | 14.561 | -2.4219 | -1.9675 | 5.6893 | 2.4396 | 4.4383 | -3.2185 | 104.8893 | -162.6851 | 12.464 | -75.1107 | 17.3149 | -167.536 | 1.2516 | 0.69961 | 0.57671 | 1.2622 | 0.63108 | 0.63108 | 0.24096 | -169.5202 | 167.7884 | -1.4255e-05 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9586e-10 | -3.7145e-11 | -3.433e-10 | -6.9587e-10 | 3.7152e-11 | 3.4329e-10 | -2.1234e-11 | 2.1463e-09 | -1.7229e-09 | 2.124e-11 | -2.1463e-09 | 1.7229e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2516 | 0.69961 | 0.57671 | 1.2516 | 0.69961 | 0.57671 | 0.24096 | -169.5202 | 167.7884 | 0.24096 | -169.5202 | 167.7884

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3462 | 1.1771 | 1.0774 | 0.3462 | 1.1771 | 1.0774 | 3.9976 | 13.5921 | 12.4402 | 3.9976 | 13.5921 | 12.4402 | -1.0342 | 13.2487 | -2.6497 | 1.0966 | -12.5282 | 3.2532 | -4.8111 | -0.44738 | 8.4339 | 4.8818 | 1.2649 | -7.7491 | 102.9007 | -142.0749 | 20.9966 | -77.0993 | 37.9251 | -159.0034 | 1.231 | 0.97529 | 0.71063 | 1.2516 | 0.92641 | 0.67558 | 0.76854 | -144.0089 | 128.4375 | 0.24096 | -147.8401 | 133.7701
Line_1 | 0.1732 | 1.2797 | 1.2416 | 0.1732 | 1.2797 | 1.2416 | 2 | 14.7766 | 14.3368 | 2 | 14.7766 | 14.3368 | -0.63303 | 13.688 | -3.3206 | 0.64863 | -12.8364 | 4.1222 | -2.4219 | 0.18004 | 9.0986 | 2.4396 | 0.78614 | -8.1891 | 104.8894 | -148.5937 | 23.7203 | -75.1106 | 31.4063 | -156.2797 | 1.2516 | 0.92641 | 0.67558 | 1.2622 | 0.87033 | 0.63948 | 0.24096 | -147.8401 | 133.7701 | -1.1656e-05 | -152.0983 | 140.44
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9586e-10 | -1.5716e-10 | -9.7303e-10 | -6.9588e-10 | 1.5717e-10 | 9.7303e-10 | -2.124e-11 | 1.745e-09 | -6.4858e-10 | 2.1237e-11 | -1.745e-09 | 6.4859e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2516 | 0.92641 | 0.67558 | 1.2516 | 0.92641 | 0.67558 | 0.24096 | -147.8401 | 133.7701 | 0.24096 | -147.8401 | 133.7701

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3462 | 1.1771 | 1.0774 | 0.3462 | 1.1771 | 1.0774 | 3.9976 | 13.5921 | 12.4402 | 3.9976 | 13.5921 | 12.4402 | -1.0342 | 13.2487 | -2.6497 | 1.0966 | -12.5282 | 3.2532 | -4.8111 | -0.44738 | 8.4339 | 4.8818 | 1.2649 | -7.7491 | 102.9007 | -142.0749 | 20.9966 | -77.0993 | 37.9251 | -159.0034 | 1.231 | 0.97529 | 0.71063 | 1.2516 | 0.92641 | 0.67558 | 0.76854 | -144.0089 | 128.4375 | 0.24096 | -147.8401 | 133.7701
Line_1 | 0.1732 | 1.2797 | 1.2416 | 0.1732 | 1.2797 | 1.2416 | 2 | 14.7766 | 14.3368 | 2 | 14.7766 | 14.3368 | -0.63303 | 13.688 | -3.3206 | 0.64863 | -12.8364 | 4.1222 | -2.4219 | 0.18004 | 9.0986 | 2.4396 | 0.78614 | -8.1891 | 104.8894 | -148.5937 | 23.7203 | -75.1106 | 31.4063 | -156.2797 | 1.2516 | 0.92641 | 0.67558 | 1.2622 | 0.87033 | 0.63948 | 0.24096 | -147.8401 | 133.7701 | -1.1656e-05 | -152.0983 | 140.44
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9586e-10 | -1.5716e-10 | -9.7303e-10 | -6.9588e-10 | 1.5717e-10 | 9.7303e-10 | -2.124e-11 | 1.745e-09 | -6.4858e-10 | 2.1237e-11 | -1.745e-09 | 6.4859e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2516 | 0.92641 | 0.67558 | 1.2516 | 0.92641 | 0.67558 | 0.24096 | -147.8401 | 133.7701 | 0.24096 | -147.8401 | 133.7701

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 2.3685e-15 | 12.5839 | -3.5297 | -4.737e-15 | -10.3204 | 5.7933 | -4.737e-15 | -0.58968 | 5.9402 | 4.737e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.0165e-13 | -160.6232 | 142.7791 | 4.2422e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -9.4739e-15 | 10.3204 | -5.7933 | 7.1054e-15 | -8.0568 | 8.0568 | 1.4211e-14 | -1.9273 | 4.6026 | -9.4739e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 4.2422e-13 | -168.5183 | 163.5938 | 4.218e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.2959e-10 | -4.6606e-10 | -4.737e-15 | 1.296e-10 | 4.6607e-10 | 4.737e-15 | 1.6587e-09 | -1.076e-09 | -3.498e-29 | -1.6587e-09 | 1.076e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 4.2422e-13 | -168.5183 | 163.5938 | 4.231e-13 | -168.5183 | 163.5938

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | 2.3685e-15 | 12.5839 | -3.5297 | -4.737e-15 | -10.3204 | 5.7933 | -4.737e-15 | -0.58968 | 5.9402 | 4.737e-15 | 1.9273 | -4.6026 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.72457 | 0.39742 | 1 | 0.60385 | 0.42556 | 5.0165e-13 | -160.6232 | 142.7791 | 4.2422e-13 | -168.5183 | 163.5938
Line_1 | 0 | 1.5057 | 1.5057 | 0 | 1.5057 | 1.5057 | 0 | 17.3865 | 17.3865 | 0 | 17.3865 | 17.3865 | -9.4739e-15 | 10.3204 | -5.7933 | 7.1054e-15 | -8.0568 | 8.0568 | 1.4211e-14 | -1.9273 | 4.6026 | -9.4739e-15 | 3.2649 | -3.2649 | 0 | -157.9403 | 22.0597 | 0 | 22.0597 | -157.9403 | 1 | 0.60385 | 0.42556 | 1 | 0.5 | 0.5 | 4.2422e-13 | -168.5183 | 163.5938 | 4.218e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.2959e-10 | -4.6606e-10 | -4.737e-15 | 1.296e-10 | 4.6607e-10 | 4.737e-15 | 1.6587e-09 | -1.076e-09 | -3.498e-29 | -1.6587e-09 | 1.076e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60385 | 0.42556 | 1 | 0.60385 | 0.42556 | 4.2422e-13 | -168.5183 | 163.5938 | 4.231e-13 | -168.5183 | 163.5938

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 4.737e-15 | 9.5076 | -0.501 | -4.737e-15 | -8.5078 | 1.5008 | -2.3685e-15 | 0.79768 | 6.573 | -2.1614e-29 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.1003e-13 | -145.2178 | 124.345 | 2.6143e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -2.3685e-15 | 8.5078 | -1.5008 | 1.1842e-15 | -7.5079 | 2.5007 | -1.0807e-29 | 0.20683 | 5.9821 | -4.737e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 2.6143e-13 | -148.6211 | 134.0705 | 2.6028e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -3.8164e-10 | -8.5377e-10 | 1.1842e-15 | 3.8164e-10 | 8.5377e-10 | -1.3509e-29 | 1.2935e-09 | -4.7578e-10 | -4.737e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 2.6143e-13 | -148.6211 | 134.0705 | 2.6041e-13 | -148.6211 | 134.0705

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | 4.737e-15 | 9.5076 | -0.501 | -4.737e-15 | -8.5078 | 1.5008 | -2.3685e-15 | 0.79768 | 6.573 | -2.1614e-29 | -0.20683 | -5.9821 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.82568 | 0.57047 | 1 | 0.73648 | 0.53374 | 3.1003e-13 | -145.2178 | 124.345 | 2.6143e-13 | -148.6211 | 134.0705
Line_1 | 0 | 1.0007 | 1.0007 | 0 | 1.0007 | 1.0007 | 0 | 11.5554 | 11.5554 | 0 | 11.5554 | 11.5554 | -2.3685e-15 | 8.5078 | -1.5008 | 1.1842e-15 | -7.5079 | 2.5007 | -1.0807e-29 | 0.20683 | 5.9821 | -4.737e-15 | 0.38403 | -5.3913 | 0 | -150.0137 | 29.9863 | 0 | 29.9863 | -150.0137 | 1 | 0.73648 | 0.53374 | 1 | 0.65058 | 0.51431 | 2.6143e-13 | -148.6211 | 134.0705 | 2.6028e-13 | -152.9418 | 144.8701
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -3.8164e-10 | -8.5377e-10 | 1.1842e-15 | 3.8164e-10 | 8.5377e-10 | -1.3509e-29 | 1.2935e-09 | -4.7578e-10 | -4.737e-15 | -1.2935e-09 | 4.7578e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73648 | 0.53374 | 1 | 0.73648 | 0.53374 | 2.6143e-13 | -148.6211 | 134.0705 | 2.6041e-13 | -148.6211 | 134.0705

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7206 | 0.34757 | 0.35092 | 1.7192 | 0.3469 | 0.34992 | 19.8679 | 4.0134 | 4.052 | 19.8511 | 4.0057 | 4.0405 | 10.8667 | -0.96194 | -1.1013 | -5.5217 | 1.745 | 1.1124 | 5.1959 | -4.8491 | -4.8715 | -2.6483 | 4.5571 | 5.7238 | -56.1837 | -18.1173 | -136.4087 | 123.8418 | 162.1308 | 43.3774 | 0.60625 | 1.2318 | 1.2326 | 0.30849 | 1.2182 | 1.4431 | -30.6289 | -119.3376 | 120.8523 | -30.5346 | -128.822 | 122.3792
Line_1 | 1.8782 | 0.17337 | 0.1754 | 1.8763 | 0.17321 | 0.1732 | 21.6876 | 2.0019 | 2.0253 | 21.6658 | 2 | 2 | 5.9268 | -0.94696 | -0.6563 | 9.5545e-12 | 1.3358 | 0.6343 | 3.104 | -2.2473 | -2.8481 | 3.7443e-11 | 2.0594 | 3.2247 | -58.1768 | -15.9728 | -134.6445 | 121.8785 | 164.8893 | 44.8895 | 0.30849 | 1.2182 | 1.4431 | 0 | 1.2273 | 1.6432 | -30.5346 | -128.822 | 122.3792 | 0 | -138.0784 | 123.7615
Line_2 | 0.0021054 | 0.0021054 | 0.0021054 | 0 | 0 | 0 | 0.024311 | 0.024311 | 0.024311 | 0 | 0 | 0 | 0.003221 | 0.024632 | -0.027841 | 7.2294e-10 | -5.8532e-10 | -1.8229e-09 | 0.0067727 | -0.016441 | -0.021347 | -6.3076e-10 | -7.546e-10 | 2.4128e-10 | -95.0998 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.30849 | 1.2182 | 1.4431 | 0.30823 | 1.218 | 1.4435 | -30.5346 | -128.822 | 122.3792 | -30.4888 | -128.836 | 122.3753

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7206 | 0.34757 | 0.35092 | 1.7192 | 0.3469 | 0.34992 | 19.8679 | 4.0134 | 4.052 | 19.8511 | 4.0057 | 4.0405 | 10.8667 | -0.96194 | -1.1013 | -5.5217 | 1.745 | 1.1124 | 5.1959 | -4.8491 | -4.8715 | -2.6483 | 4.5571 | 5.7238 | -56.1837 | -18.1173 | -136.4087 | 123.8418 | 162.1308 | 43.3774 | 0.60625 | 1.2318 | 1.2326 | 0.30849 | 1.2182 | 1.4431 | -30.6289 | -119.3376 | 120.8523 | -30.5346 | -128.822 | 122.3792
Line_1 | 1.8782 | 0.17337 | 0.1754 | 1.8763 | 0.17321 | 0.1732 | 21.6876 | 2.0019 | 2.0253 | 21.6658 | 2 | 2 | 5.9268 | -0.94696 | -0.6563 | 9.5545e-12 | 1.3358 | 0.6343 | 3.104 | -2.2473 | -2.8481 | 3.7443e-11 | 2.0594 | 3.2247 | -58.1768 | -15.9728 | -134.6445 | 121.8785 | 164.8893 | 44.8895 | 0.30849 | 1.2182 | 1.4431 | 0 | 1.2273 | 1.6432 | -30.5346 | -128.822 | 122.3792 | 0 | -138.0784 | 123.7615
Line_2 | 0.0021054 | 0.0021054 | 0.0021054 | 0 | 0 | 0 | 0.024311 | 0.024311 | 0.024311 | 0 | 0 | 0 | 0.003221 | 0.024632 | -0.027841 | 7.2294e-10 | -5.8532e-10 | -1.8229e-09 | 0.0067727 | -0.016441 | -0.021347 | -6.3076e-10 | -7.546e-10 | 2.4128e-10 | -95.0998 | -95.0998 | -95.0998 | 0 | 0 | 0 | 0.30849 | 1.2182 | 1.4431 | 0.30823 | 1.218 | 1.4435 | -30.5346 | -128.822 | 122.3792 | -30.4888 | -128.836 | 122.3753

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73662 | 0.34727 | 0.34829 | 0.73594 | 0.34684 | 0.34788 | 8.5057 | 4.0099 | 4.0218 | 8.4979 | 4.005 | 4.017 | 6.8148 | -1.0002 | -1.0708 | -5.6896 | 1.4451 | 1.0553 | 3.7729 | -4.836 | -4.8364 | -3.3877 | 4.7656 | 5.2964 | -41.0832 | -17.5971 | -136.7006 | 138.9546 | 162.5211 | 43.1805 | 0.9158 | 1.2315 | 1.2317 | 0.77923 | 1.2434 | 1.3444 | -12.1127 | -119.2825 | 120.8154 | -10.2752 | -124.3482 | 121.9116
Line_1 | 0.87803 | 0.17345 | 0.17422 | 0.87713 | 0.17321 | 0.1732 | 10.1387 | 2.0028 | 2.0117 | 10.1282 | 2 | 2 | 6.2508 | -0.80287 | -0.62032 | -4.8696 | 1.018 | 0.59135 | 4.8314 | -2.3574 | -2.6325 | -4.1752 | 2.2925 | 2.833 | -47.9767 | -15.5405 | -134.829 | 132.0863 | 164.8894 | 44.8895 | 0.77923 | 1.2434 | 1.3444 | 0.63333 | 1.2542 | 1.447 | -10.2752 | -124.3482 | 121.9116 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.001066 | 0.001066 | 0.001066 | 0 | 0 | 0 | 0.012309 | 0.012309 | 0.012309 | 0 | 0 | 0 | 0.0020618 | 0.012306 | -0.014364 | 8.6638e-10 | -6.679e-10 | -1.2091e-09 | 0.0093674 | -0.009101 | -0.0082178 | -5.5994e-10 | -3.8082e-10 | 1.8081e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.77923 | 1.2434 | 1.3444 | 0.77913 | 1.2433 | 1.3446 | -10.2752 | -124.3482 | 121.9116 | -10.264 | -124.3554 | 121.9105

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73662 | 0.34727 | 0.34829 | 0.73594 | 0.34684 | 0.34788 | 8.5057 | 4.0099 | 4.0218 | 8.4979 | 4.005 | 4.017 | 6.8148 | -1.0002 | -1.0708 | -5.6896 | 1.4451 | 1.0553 | 3.7729 | -4.836 | -4.8364 | -3.3877 | 4.7656 | 5.2964 | -41.0832 | -17.5971 | -136.7006 | 138.9546 | 162.5211 | 43.1805 | 0.9158 | 1.2315 | 1.2317 | 0.77923 | 1.2434 | 1.3444 | -12.1127 | -119.2825 | 120.8154 | -10.2752 | -124.3482 | 121.9116
Line_1 | 0.87803 | 0.17345 | 0.17422 | 0.87713 | 0.17321 | 0.1732 | 10.1387 | 2.0028 | 2.0117 | 10.1282 | 2 | 2 | 6.2508 | -0.80287 | -0.62032 | -4.8696 | 1.018 | 0.59135 | 4.8314 | -2.3574 | -2.6325 | -4.1752 | 2.2925 | 2.833 | -47.9767 | -15.5405 | -134.829 | 132.0863 | 164.8894 | 44.8895 | 0.77923 | 1.2434 | 1.3444 | 0.63333 | 1.2542 | 1.447 | -10.2752 | -124.3482 | 121.9116 | -7.3036 | -129.0554 | 123.0991
Line_2 | 0.001066 | 0.001066 | 0.001066 | 0 | 0 | 0 | 0.012309 | 0.012309 | 0.012309 | 0 | 0 | 0 | 0.0020618 | 0.012306 | -0.014364 | 8.6638e-10 | -6.679e-10 | -1.2091e-09 | 0.0093674 | -0.009101 | -0.0082178 | -5.5994e-10 | -3.8082e-10 | 1.8081e-10 | -87.8622 | -87.8622 | -87.8622 | 0 | 0 | 0 | 0.77923 | 1.2434 | 1.3444 | 0.77913 | 1.2433 | 1.3446 | -10.2752 | -124.3482 | 121.9116 | -10.264 | -124.3554 | 121.9105

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9672e-11 | -4.9669e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0422e-11 | -1.5995e-09 | 6.1487e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0726e-11 | -9.3536e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0186e-10 | -8.0729e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2283 | 0.0052684 | 0.0052684 | 1.2273 | 0.0040837 | 0.0040837 | 14.183 | 0.060834 | 0.060834 | 14.1714 | 0.047154 | 0.047154 | 9.1511 | 0.05543 | -0.049418 | -4.5603 | -0.039444 | 0.040992 | 2.6486 | -0.025174 | -0.035636 | -1.3302 | 0.025402 | 0.039562 | -45.7222 | -95.698 | -95.698 | 134.3114 | 80.0157 | 80.0157 | 0.6717 | 1.0007 | 1.0015 | 0.33521 | 0.99495 | 1.2082 | -29.5804 | -120.1238 | 120.0979 | -29.4271 | -132.7656 | 123.9988
Line_1 | 1.2262 | 0.0023352 | 0.0023352 | 1.2249 | 0 | 0 | 14.1584 | 0.026965 | 0.026965 | 14.1439 | 0 | 0 | 4.5576 | 0.023322 | -0.022159 | 1.9672e-11 | -4.9669e-10 | -2.2022e-09 | 1.324 | -0.013261 | -0.02388 | 1.0422e-11 | -1.5995e-09 | 6.1487e-10 | -45.6256 | -103.1419 | -103.1419 | 134.4665 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0 | 1.0379 | 1.4169 | -29.4271 | -132.7656 | 123.9988 | 0 | -144.854 | 126.797
Line_2 | 0.0017567 | 0.0017567 | 0.0017567 | 0 | 0 | 0 | 0.020284 | 0.020284 | 0.020284 | 0 | 0 | 0 | 0.0027267 | 0.016122 | -0.018833 | 6.5909e-10 | -7.0726e-11 | -9.3536e-10 | 0.0062288 | -0.01214 | -0.015682 | -6.0186e-10 | -8.0729e-10 | 3.0809e-10 | -95.7852 | -95.7852 | -95.7852 | 0 | 0 | 0 | 0.33521 | 0.99495 | 1.2082 | 0.33489 | 0.99459 | 1.2086 | -29.4271 | -132.7656 | 123.9988 | -29.3501 | -132.7894 | 123.9865

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1445e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0875e-12 | -4.8941e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4982e-10 | -4.6153e-10 | 1.7776e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70184 | 0.0030104 | 0.0030104 | 0.70127 | 0.0023334 | 0.0023334 | 8.1042 | 0.034761 | 0.034761 | 8.0976 | 0.026944 | 0.026944 | 5.4359 | 0.031619 | -0.028315 | -3.9364 | -0.023692 | 0.022301 | 3.329 | -0.014477 | -0.020216 | -2.8951 | 0.012347 | 0.020255 | -45.4935 | -95.4694 | -95.4694 | 134.5401 | 80.2443 | 80.2443 | 0.78654 | 1.0004 | 1.0009 | 0.60344 | 0.99156 | 1.1181 | -14.0099 | -120.0707 | 120.0562 | -9.127 | -127.2822 | 122.4916
Line_1 | 0.70063 | 0.0013344 | 0.0013344 | 0.69991 | 0 | 0 | 8.0902 | 0.015408 | 0.015408 | 8.0819 | 0 | 0 | 3.936 | 0.013917 | -0.012096 | -2.4494 | -1.1353e-10 | -1.083e-09 | 2.8881 | -0.0063038 | -0.012268 | -2.4494 | -9.1445e-10 | 3.5474e-10 | -45.397 | -102.9132 | -102.9132 | 134.6952 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.42861 | 0.99934 | 1.2359 | -9.127 | -127.2822 | 122.4916 | -0.30484 | -134.4516 | 124.4896
Line_2 | 0.0010038 | 0.0010038 | 0.0010038 | 0 | 0 | 0 | 0.011591 | 0.011591 | 0.011591 | 0 | 0 | 0 | 0.00043558 | 0.0097755 | -0.010206 | 8.4966e-10 | 2.0875e-12 | -4.8941e-10 | 0.0069807 | -0.0060435 | -0.0079874 | -3.4982e-10 | -4.6153e-10 | 1.7776e-10 | -95.5565 | -95.5565 | -95.5565 | 0 | 0 | 0 | 0.60344 | 0.99156 | 1.1181 | 0.60336 | 0.99133 | 1.1184 | -9.127 | -127.2822 | 122.4916 | -9.0982 | -127.2947 | 122.4845

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35123 | 2.3244 | 1.642 | 0.34991 | 2.324 | 1.6415 | 4.0557 | 26.8396 | 18.9596 | 4.0404 | 26.8356 | 18.9545 | -1.0414 | 12.785 | 0.89581 | 1.566 | -6.5242 | -0.50859 | -4.8908 | 1.6858 | 8.9484 | 5.3779 | -0.92915 | -4.5527 | 102.7864 | -179.1253 | 35.7132 | -77.2262 | 0.90624 | -144.3303 | 1.2329 | 0.48047 | 0.47433 | 1.3863 | 0.24557 | 0.24169 | 0.76617 | -171.6139 | 119.9965 | -3.4617 | -170.9884 | 119.2954
Line_1 | 0.17522 | 2.4873 | 1.8132 | 0.1732 | 2.4874 | 1.8119 | 2.0232 | 28.7214 | 20.9368 | 2 | 28.722 | 20.9218 | -0.87379 | 6.9577 | 0.60162 | 1.1251 | -1.3104e-11 | -1.3473e-11 | -2.6652 | 1.1557 | 5.0242 | 2.8548 | 1.2967e-11 | 4.567e-12 | 104.6898 | 179.5809 | 36.1237 | -75.1106 | -0.37071 | -143.9286 | 1.3863 | 0.24557 | 0.24169 | 1.5343 | 0 | 0 | -3.4617 | -170.9884 | 119.2954 | -6.62 | 0 | 0
Line_2 | 0.0016944 | 0.0016944 | 0.0016944 | 0 | 0 | 0 | 0.019566 | 0.019566 | 0.019566 | 0 | 0 | 0 | -0.0039573 | -0.00034219 | 0.0043075 | -1.4665e-09 | 4.0317e-10 | 7.5989e-10 | -0.026834 | 0.0047925 | 0.001951 | -3.3865e-10 | -7.6862e-10 | -1.1908e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 1.3863 | 0.24557 | 0.24169 | 1.3864 | 0.24548 | 0.24139 | -3.4617 | -170.9884 | 119.2954 | -3.4722 | -170.9234 | 119.2987

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35123 | 2.3244 | 1.642 | 0.34991 | 2.324 | 1.6415 | 4.0557 | 26.8396 | 18.9596 | 4.0404 | 26.8356 | 18.9545 | -1.0414 | 12.785 | 0.89581 | 1.566 | -6.5242 | -0.50859 | -4.8908 | 1.6858 | 8.9484 | 5.3779 | -0.92915 | -4.5527 | 102.7864 | -179.1253 | 35.7132 | -77.2262 | 0.90624 | -144.3303 | 1.2329 | 0.48047 | 0.47433 | 1.3863 | 0.24557 | 0.24169 | 0.76617 | -171.6139 | 119.9965 | -3.4617 | -170.9884 | 119.2954
Line_1 | 0.17522 | 2.4873 | 1.8132 | 0.1732 | 2.4874 | 1.8119 | 2.0232 | 28.7214 | 20.9368 | 2 | 28.722 | 20.9218 | -0.87379 | 6.9577 | 0.60162 | 1.1251 | -1.3104e-11 | -1.3473e-11 | -2.6652 | 1.1557 | 5.0242 | 2.8548 | 1.2967e-11 | 4.567e-12 | 104.6898 | 179.5809 | 36.1237 | -75.1106 | -0.37071 | -143.9286 | 1.3863 | 0.24557 | 0.24169 | 1.5343 | 0 | 0 | -3.4617 | -170.9884 | 119.2954 | -6.62 | 0 | 0
Line_2 | 0.0016944 | 0.0016944 | 0.0016944 | 0 | 0 | 0 | 0.019566 | 0.019566 | 0.019566 | 0 | 0 | 0 | -0.0039573 | -0.00034219 | 0.0043075 | -1.4665e-09 | 4.0317e-10 | 7.5989e-10 | -0.026834 | 0.0047925 | 0.001951 | -3.3865e-10 | -7.6862e-10 | -1.1908e-11 | 94.9276 | 94.9276 | 94.9276 | 0 | 0 | 0 | 1.3863 | 0.24557 | 0.24169 | 1.3864 | 0.24548 | 0.24139 | -3.4617 | -170.9884 | 119.2954 | -3.4722 | -170.9234 | 119.2987

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34902 | 0.89675 | 0.70686 | 0.34828 | 0.89676 | 0.70632 | 4.0301 | 10.3547 | 8.1621 | 4.0216 | 10.3549 | 8.1559 | -1.0395 | 8.2658 | 4.8531 | 1.3494 | -7.2864 | -4.5032 | -4.8553 | 3.9271 | 5.221 | 5.1654 | -4.1565 | -4.2161 | 102.8528 | -160.8344 | 64.3956 | -77.1583 | 19.2128 | -115.6458 | 1.2321 | 0.88377 | 0.87333 | 1.3275 | 0.81011 | 0.75636 | 0.76898 | -135.4221 | 111.4868 | -1.7986 | -131.0846 | 107.4688
Line_1 | 0.17434 | 1.0384 | 0.86722 | 0.1732 | 1.0386 | 0.86621 | 2.0131 | 11.9899 | 10.0138 | 2 | 11.993 | 10.0021 | -0.76299 | 7.8991 | 5.0969 | 0.90564 | -6.6134 | -4.6688 | -2.5612 | 5.6522 | 5.6025 | 2.6799 | -5.7549 | -4.2847 | 104.7907 | -166.6702 | 59.7634 | -75.1106 | 13.3926 | -120.2757 | 1.3275 | 0.81011 | 0.75636 | 1.4144 | 0.73099 | 0.63356 | -1.7986 | -131.0846 | 107.4688 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.00094334 | 0.00094334 | 0.00094334 | 0 | 0 | 0 | 0.010893 | 0.010893 | 0.010893 | 0 | 0 | 0 | -0.0021945 | -0.0059029 | 0.0080998 | -1.1106e-09 | 8.0016e-10 | 8.8058e-10 | -0.014293 | 0.0065592 | 0.0015069 | -1.6862e-10 | -6.2763e-10 | -6.6188e-10 | 96.9302 | 96.9302 | 96.9302 | 0 | 0 | 0 | 1.3275 | 0.81011 | 0.75636 | 1.3276 | 0.81016 | 0.7562 | -1.7986 | -131.0846 | 107.4688 | -1.8047 | -131.0739 | 107.4664

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34902 | 0.89675 | 0.70686 | 0.34828 | 0.89676 | 0.70632 | 4.0301 | 10.3547 | 8.1621 | 4.0216 | 10.3549 | 8.1559 | -1.0395 | 8.2658 | 4.8531 | 1.3494 | -7.2864 | -4.5032 | -4.8553 | 3.9271 | 5.221 | 5.1654 | -4.1565 | -4.2161 | 102.8528 | -160.8344 | 64.3956 | -77.1583 | 19.2128 | -115.6458 | 1.2321 | 0.88377 | 0.87333 | 1.3275 | 0.81011 | 0.75636 | 0.76898 | -135.4221 | 111.4868 | -1.7986 | -131.0846 | 107.4688
Line_1 | 0.17434 | 1.0384 | 0.86722 | 0.1732 | 1.0386 | 0.86621 | 2.0131 | 11.9899 | 10.0138 | 2 | 11.993 | 10.0021 | -0.76299 | 7.8991 | 5.0969 | 0.90564 | -6.6134 | -4.6688 | -2.5612 | 5.6522 | 5.6025 | 2.6799 | -5.7549 | -4.2847 | 104.7907 | -166.6702 | 59.7634 | -75.1106 | 13.3926 | -120.2757 | 1.3275 | 0.81011 | 0.75636 | 1.4144 | 0.73099 | 0.63356 | -1.7986 | -131.0846 | 107.4688 | -3.7829 | -125.5778 | 102.2677
Line_2 | 0.00094334 | 0.00094334 | 0.00094334 | 0 | 0 | 0 | 0.010893 | 0.010893 | 0.010893 | 0 | 0 | 0 | -0.0021945 | -0.0059029 | 0.0080998 | -1.1106e-09 | 8.0016e-10 | 8.8058e-10 | -0.014293 | 0.0065592 | 0.0015069 | -1.6862e-10 | -6.2763e-10 | -6.6188e-10 | 96.9302 | 96.9302 | 96.9302 | 0 | 0 | 0 | 1.3275 | 0.81011 | 0.75636 | 1.3276 | 0.81016 | 0.7562 | -1.7986 | -131.0846 | 107.4688 | -1.8047 | -131.0739 | 107.4664

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6154e-11 | -1.2597e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1403e-11 | -1.7193e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.2591e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6457e-10 | -7.9773e-10 | -5.175e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0038311 | 1.7911 | 1.3143 | 0.0029696 | 1.7909 | 1.314 | 0.044238 | 20.6816 | 15.1766 | 0.03429 | 20.6799 | 15.1732 | -0.004296 | 11.6967 | 1.4119 | 0.0033351 | -5.8458 | -0.69929 | -0.044103 | -0.11628 | 6.4112 | 0.039179 | 0.044578 | -3.194 | 95.5633 | -170.0041 | 38.6073 | -88.7229 | 10.0242 | -141.4298 | 1.0017 | 0.56559 | 0.43256 | 1.1467 | 0.28269 | 0.21549 | -0.00024388 | -170.5736 | 116.1876 | -3.5885 | -170.4127 | 116.2209
Line_1 | 0.0016982 | 1.791 | 1.3133 | 0 | 1.7914 | 1.3122 | 0.019609 | 20.681 | 15.1652 | 0 | 20.6851 | 15.1525 | -0.00067018 | 5.8461 | 0.69632 | -1.4272e-09 | -2.6154e-11 | -1.2597e-11 | -0.022476 | -0.048737 | 3.1929 | -5.2071e-10 | -1.1403e-11 | -1.7193e-11 | 88.1195 | -169.935 | 38.5235 | 0 | 10.1181 | -141.5329 | 1.1467 | 0.28269 | 0.21549 | 1.2946 | 0 | 0 | -3.5885 | -170.4127 | 116.2209 | -6.2976 | 0 | 0
Line_2 | 0.0012774 | 0.0012774 | 0.0012774 | 0 | 0 | 0 | 0.014751 | 0.014751 | 0.014751 | 0 | 0 | 0 | -0.0026649 | -0.00029894 | 0.0029725 | -6.2591e-10 | 3.6862e-10 | 6.1734e-10 | -0.016704 | 0.0041591 | 0.0011259 | -2.6457e-10 | -7.9773e-10 | -5.175e-11 | 95.4762 | 95.4762 | 95.4762 | 0 | 0 | 0 | 1.1467 | 0.28269 | 0.21549 | 1.1469 | 0.28264 | 0.21509 | -3.5885 | -170.4127 | 116.2209 | -3.6072 | -170.3321 | 116.2378

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.179e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.8261e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.4669e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5297e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024889 | 0.87739 | 0.71196 | 0.0019292 | 0.87738 | 0.71158 | 0.028739 | 10.1312 | 8.221 | 0.022277 | 10.1311 | 8.2166 | -0.00089639 | 6.8402 | 3.4555 | 0.00011138 | -5.3431 | -2.9871 | -0.028756 | 3.2741 | 4.8156 | 0.024322 | -3.5698 | -3.6656 | 91.7812 | -164.5235 | 56.8083 | -92.5051 | 15.5146 | -123.2273 | 1.0011 | 0.74852 | 0.72097 | 1.0918 | 0.63428 | 0.57549 | -0.0042269 | -138.9452 | 111.1459 | -2.7674 | -130.7377 | 107.5964
Line_1 | 0.0011032 | 0.87758 | 0.7109 | 0 | 0.87798 | 0.70992 | 0.012739 | 10.1334 | 8.2087 | 0 | 10.138 | 8.1974 | 0.00070253 | 5.3476 | 2.9818 | -8.179e-10 | -3.8542 | -2.5199 | -0.013891 | 3.5657 | 3.6641 | -3.8261e-10 | -3.8542 | -2.5199 | 84.3374 | -164.4328 | 56.7344 | 0 | 15.6344 | -123.3069 | 1.0918 | 0.63428 | 0.57549 | 1.1844 | 0.53765 | 0.43474 | -2.7674 | -130.7377 | 107.5964 | -5.0542 | -119.3656 | 101.6931
Line_2 | 0.0008299 | 0.0008299 | 0.0008299 | 0 | 0 | 0 | 0.0095828 | 0.0095828 | 0.0095828 | 0 | 0 | 0 | -0.00081391 | -0.0044862 | 0.0053038 | -3.7274e-10 | 8.0982e-10 | 8.4669e-10 | -0.010431 | 0.004101 | 0.0015111 | -1.9422e-10 | -4.3265e-10 | -4.5297e-10 | 91.6941 | 91.6941 | 91.6941 | 0 | 0 | 0 | 1.0918 | 0.63428 | 0.57549 | 1.0919 | 0.63443 | 0.57523 | -2.7674 | -130.7377 | 107.5964 | -2.7806 | -130.7186 | 107.5983