## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -1.1842e-15 | 4.7369e-15 | -1.1842e-14 | 8.2904e-15 | -2.3678e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2628e-13 | -180 | 180 | 7.2489e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.8869e-29 | -1.1839e-15 | -4.7366e-15 | -2.3685e-15 | 3.5525e-15 | 7.1052e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -2.9965e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1204e-13 | -180 | 180 | 7.2489e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -1.1839e-15 | 3.0472e-19 | -9.4739e-15 | 3.5525e-15 | 7.1052e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1004e-13 | -180 | 180 | 7.2489e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -1.1842e-15 | 4.7369e-15 | -1.1842e-14 | 8.2904e-15 | -2.3678e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2628e-13 | -180 | 180 | 7.2489e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.8869e-29 | -1.1839e-15 | -4.7366e-15 | -2.3685e-15 | 3.5525e-15 | 7.1052e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -2.9965e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1204e-13 | -180 | 180 | 7.2489e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -1.1839e-15 | 3.0472e-19 | -9.4739e-15 | 3.5525e-15 | 7.1052e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1004e-13 | -180 | 180 | 7.2489e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4015e-15 | -8.0025e-10 | -2.5674e-09 | -7.4015e-15 | 8.0026e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8781e-13 | -141.4824 | 122.8363 | 2.8696e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6675e-10 | 8.558e-10 | 5.9212e-16 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8146e-13 | -141.4824 | 122.8363 | 2.8696e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.6676e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 5.9312e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8236e-13 | -141.4824 | 122.8363 | 2.8696e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4015e-15 | -8.0025e-10 | -2.5674e-09 | -7.4015e-15 | 8.0026e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8781e-13 | -141.4824 | 122.8363 | 2.8696e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | 2.6675e-10 | 8.558e-10 | 5.9212e-16 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8146e-13 | -141.4824 | 122.8363 | 2.8696e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.6676e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 5.9312e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8236e-13 | -141.4824 | 122.8363 | 2.8696e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34481 | 0.3472 | 0.34722 | 0.34534 | 0.34694 | 0.34695 | 3.9815 | 4.0091 | 4.0094 | 3.9877 | 4.0061 | 4.0063 | 8.003e-11 | 1.318 | -1.6478 | 0.060503 | -1.248 | 1.7045 | -2.9144e-11 | -3.9226 | -3.7371 | 0.069918 | 3.9913 | 3.8089 | 92.6742 | -27.5578 | -147.1004 | -87.3264 | 152.5185 | 32.8238 | 0 | 1.0322 | 1.0187 | 0.023187 | 1.0439 | 1.0416 | 0 | -98.9856 | 99.1056 | -38.1971 | -100.1178 | 98.7148
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17267 | 0.17347 | 0.17348 | 2 | 2 | 2 | 1.9938 | 2.003 | 2.0031 | 0.045773 | -0.60198 | 0.86152 | -0.030251 | 0.62401 | -0.85227 | 0.052702 | 2.0119 | 1.9216 | -0.034959 | -1.9956 | -1.9045 | -87.3279 | 152.6718 | 32.672 | 92.6736 | -27.4815 | -147.1762 | 0.034902 | 1.05 | 1.053 | 0.023187 | 1.0439 | 1.0416 | -38.303 | -100.6701 | 98.5237 | -38.1971 | -100.1178 | 98.7148
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17267 | 0.17347 | 0.17348 | 2 | 2 | 2 | 1.9938 | 2.003 | 2.0031 | 0.045773 | -0.60198 | 0.86152 | -0.030251 | 0.62401 | -0.85227 | 0.052702 | 2.0119 | 1.9216 | -0.034959 | -1.9956 | -1.9045 | -87.3279 | 152.6718 | 32.672 | 92.6736 | -27.4815 | -147.1762 | 0.034902 | 1.05 | 1.053 | 0.023187 | 1.0439 | 1.0416 | -38.303 | -100.6701 | 98.5237 | -38.1971 | -100.1178 | 98.7148

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34481 | 0.3472 | 0.34722 | 0.34534 | 0.34694 | 0.34695 | 3.9815 | 4.0091 | 4.0094 | 3.9877 | 4.0061 | 4.0063 | 8.003e-11 | 1.318 | -1.6478 | 0.060503 | -1.248 | 1.7045 | -2.9144e-11 | -3.9226 | -3.7371 | 0.069918 | 3.9913 | 3.8089 | 92.6742 | -27.5578 | -147.1004 | -87.3264 | 152.5185 | 32.8238 | 0 | 1.0322 | 1.0187 | 0.023187 | 1.0439 | 1.0416 | 0 | -98.9856 | 99.1056 | -38.1971 | -100.1178 | 98.7148
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17267 | 0.17347 | 0.17348 | 2 | 2 | 2 | 1.9938 | 2.003 | 2.0031 | 0.045773 | -0.60198 | 0.86152 | -0.030251 | 0.62401 | -0.85227 | 0.052702 | 2.0119 | 1.9216 | -0.034959 | -1.9956 | -1.9045 | -87.3279 | 152.6718 | 32.672 | 92.6736 | -27.4815 | -147.1762 | 0.034902 | 1.05 | 1.053 | 0.023187 | 1.0439 | 1.0416 | -38.303 | -100.6701 | 98.5237 | -38.1971 | -100.1178 | 98.7148
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17267 | 0.17347 | 0.17348 | 2 | 2 | 2 | 1.9938 | 2.003 | 2.0031 | 0.045773 | -0.60198 | 0.86152 | -0.030251 | 0.62401 | -0.85227 | 0.052702 | 2.0119 | 1.9216 | -0.034959 | -1.9956 | -1.9045 | -87.3279 | 152.6718 | 32.672 | 92.6736 | -27.4815 | -147.1762 | 0.034902 | 1.05 | 1.053 | 0.023187 | 1.0439 | 1.0416 | -38.303 | -100.6701 | 98.5237 | -38.1971 | -100.1178 | 98.7148

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34614 | 0.3467 | 0.34639 | 0.34623 | 0.3466 | 0.34639 | 3.9969 | 4.0034 | 3.9997 | 3.9979 | 4.0022 | 3.9998 | -0.71678 | -0.051073 | -0.56447 | 0.77977 | 0.11443 | 0.62531 | -3.8688 | -4.3763 | -4.6781 | 3.9402 | 4.4459 | 4.7495 | 92.6419 | -27.3512 | -147.2747 | -87.348 | 152.6565 | 32.7075 | 0.98443 | 1.0932 | 1.1781 | 1.0047 | 1.1112 | 1.1977 | -7.8542 | -118.0199 | 115.8451 | -8.5424 | -118.8179 | 115.2071
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17312 | 0.1733 | 0.1732 | 2 | 2 | 2 | 1.999 | 2.0011 | 1.9999 | 0.40636 | 0.073422 | 0.32678 | -0.38989 | -0.057216 | -0.31266 | 1.9886 | 2.2394 | 2.3928 | -1.9701 | -2.2229 | -2.3747 | -87.328 | 152.672 | 32.672 | 92.652 | -27.3435 | -147.2925 | 1.0149 | 1.1203 | 1.2075 | 1.0047 | 1.1112 | 1.1977 | -8.8768 | -119.2059 | 114.8952 | -8.5424 | -118.8179 | 115.2071
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17312 | 0.1733 | 0.1732 | 2 | 2 | 2 | 1.999 | 2.0011 | 1.9999 | 0.40636 | 0.073422 | 0.32678 | -0.38989 | -0.057216 | -0.31266 | 1.9886 | 2.2394 | 2.3928 | -1.9701 | -2.2229 | -2.3747 | -87.328 | 152.672 | 32.672 | 92.652 | -27.3435 | -147.2925 | 1.0149 | 1.1203 | 1.2075 | 1.0047 | 1.1112 | 1.1977 | -8.8768 | -119.2059 | 114.8952 | -8.5424 | -118.8179 | 115.2071

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34614 | 0.3467 | 0.34639 | 0.34623 | 0.3466 | 0.34639 | 3.9969 | 4.0034 | 3.9997 | 3.9979 | 4.0022 | 3.9998 | -0.71678 | -0.051073 | -0.56447 | 0.77977 | 0.11443 | 0.62531 | -3.8688 | -4.3763 | -4.6781 | 3.9402 | 4.4459 | 4.7495 | 92.6419 | -27.3512 | -147.2747 | -87.348 | 152.6565 | 32.7075 | 0.98443 | 1.0932 | 1.1781 | 1.0047 | 1.1112 | 1.1977 | -7.8542 | -118.0199 | 115.8451 | -8.5424 | -118.8179 | 115.2071
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17312 | 0.1733 | 0.1732 | 2 | 2 | 2 | 1.999 | 2.0011 | 1.9999 | 0.40636 | 0.073422 | 0.32678 | -0.38989 | -0.057216 | -0.31266 | 1.9886 | 2.2394 | 2.3928 | -1.9701 | -2.2229 | -2.3747 | -87.328 | 152.672 | 32.672 | 92.652 | -27.3435 | -147.2925 | 1.0149 | 1.1203 | 1.2075 | 1.0047 | 1.1112 | 1.1977 | -8.8768 | -119.2059 | 114.8952 | -8.5424 | -118.8179 | 115.2071
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17312 | 0.1733 | 0.1732 | 2 | 2 | 2 | 1.999 | 2.0011 | 1.9999 | 0.40636 | 0.073422 | 0.32678 | -0.38989 | -0.057216 | -0.31266 | 1.9886 | 2.2394 | 2.3928 | -1.9701 | -2.2229 | -2.3747 | -87.328 | 152.672 | 32.672 | 92.652 | -27.3435 | -147.2925 | 1.0149 | 1.1203 | 1.2075 | 1.0047 | 1.1112 | 1.1977 | -8.8768 | -119.2059 | 114.8952 | -8.5424 | -118.8179 | 115.2071

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 0.0008956 | 0.0008956 | 0.0008956 | 0.015507 | 0.015507 | 0.015507 | 0.010342 | 0.010342 | 0.010342 | 1.2557e-13 | 0.013435 | -0.013406 | 7.1126e-06 | -0.0089551 | 0.0089459 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.4749e-06 | 0.0017159 | 0.0010889 | -87.9068 | -87.9067 | -87.9067 | 92.0061 | 92.0061 | 92.0061 | 0 | 0.88234 | 0.87073 | 0.0007024 | 0.88169 | 0.87143 | 0 | -98.8235 | 98.9421 | 103.7212 | -98.841 | 98.9459
Line_1 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3523e-13 | 1.6498e-10 | 1.9709e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459
Line_2 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3524e-13 | 1.6498e-10 | 1.9709e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 0.0008956 | 0.0008956 | 0.0008956 | 0.015507 | 0.015507 | 0.015507 | 0.010342 | 0.010342 | 0.010342 | 1.2557e-13 | 0.013435 | -0.013406 | 7.1126e-06 | -0.0089551 | 0.0089459 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.4749e-06 | 0.0017159 | 0.0010889 | -87.9068 | -87.9067 | -87.9067 | 92.0061 | 92.0061 | 92.0061 | 0 | 0.88234 | 0.87073 | 0.0007024 | 0.88169 | 0.87143 | 0 | -98.8235 | 98.9421 | 103.7212 | -98.841 | 98.9459
Line_1 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3523e-13 | 1.6498e-10 | 1.9709e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459
Line_2 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3524e-13 | 1.6498e-10 | 1.9709e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.00084291 | 0.88157 | 0.87157 | 0.0007024 | 0.88169 | 0.87143 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 0.0001876 | 0.0001876 | 0.0001876 | 0.0032483 | 0.0032483 | 0.0032483 | 0.0021662 | 0.0021662 | 0.0021662 | 0.0019059 | 0.0013099 | -0.0032145 | -0.0012687 | -0.00087599 | 0.0021446 | 0.0019322 | -0.0027304 | 0.00061379 | -0.0012904 | 0.0018195 | -0.000406 | -53.5306 | -53.5306 | -53.5306 | 126.3822 | 126.3823 | 126.3823 | 0.83553 | 0.93229 | 1.0075 | 0.83541 | 0.93225 | 1.0076 | -8.1375 | -117.9012 | 115.6593 | -8.1319 | -117.91 | 115.6625
Line_1 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2933e-10 | -3.8861e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625
Line_2 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2934e-10 | -3.8861e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 0.0001876 | 0.0001876 | 0.0001876 | 0.0032483 | 0.0032483 | 0.0032483 | 0.0021662 | 0.0021662 | 0.0021662 | 0.0019059 | 0.0013099 | -0.0032145 | -0.0012687 | -0.00087599 | 0.0021446 | 0.0019322 | -0.0027304 | 0.00061379 | -0.0012904 | 0.0018195 | -0.000406 | -53.5306 | -53.5306 | -53.5306 | 126.3822 | 126.3823 | 126.3823 | 0.83553 | 0.93229 | 1.0075 | 0.83541 | 0.93225 | 1.0076 | -8.1375 | -117.9012 | 115.6593 | -8.1319 | -117.91 | 115.6625
Line_1 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2933e-10 | -3.8861e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625
Line_2 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2934e-10 | -3.8861e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83538 | 0.93224 | 1.0077 | 0.83541 | 0.93225 | 1.0076 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34892 | 0.3452 | 0.34513 | 0.34808 | 0.3456 | 0.34555 | 4.0289 | 3.986 | 3.9852 | 4.0193 | 3.9907 | 3.9901 | -0.027159 | 6.3598e-11 | 6.3689e-11 | 0.09257 | 0.060338 | 0.061498 | -2.0381 | -2.2656e-11 | -2.1997e-11 | 2.1053 | 0.072201 | 0.068046 | 92.6649 | -26.964 | -147.685 | -87.333 | 152.9146 | 32.4343 | 0.5059 | 0 | 0 | 0.52432 | 0.023578 | 0.022987 | 1.9015 | 0 | 0 | 0.14942 | -156.971 | 80.3277
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17404 | 0.1728 | 0.17278 | 2 | 2 | 2 | 2.0097 | 1.9953 | 1.995 | 0.062022 | 0.045463 | 0.04652 | -0.046285 | -0.030169 | -0.030749 | 1.0654 | 0.054195 | 0.051395 | -1.0527 | -0.0361 | -0.034023 | -87.3281 | 152.672 | 32.672 | 92.667 | -27.0854 | -147.5657 | 0.53361 | 0.03537 | 0.034661 | 0.52432 | 0.023578 | 0.022987 | -0.6597 | -157.3208 | 80.5223 | 0.14942 | -156.971 | 80.3277
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17404 | 0.1728 | 0.17278 | 2 | 2 | 2 | 2.0097 | 1.9953 | 1.995 | 0.062022 | 0.045463 | 0.04652 | -0.046285 | -0.030169 | -0.030749 | 1.0654 | 0.054195 | 0.051395 | -1.0527 | -0.0361 | -0.034023 | -87.3281 | 152.672 | 32.672 | 92.667 | -27.0854 | -147.5657 | 0.53361 | 0.03537 | 0.034661 | 0.52432 | 0.023578 | 0.022987 | -0.6597 | -157.3208 | 80.5223 | 0.14942 | -156.971 | 80.3277

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34892 | 0.3452 | 0.34513 | 0.34808 | 0.3456 | 0.34555 | 4.0289 | 3.986 | 3.9852 | 4.0193 | 3.9907 | 3.9901 | -0.027159 | 6.3598e-11 | 6.3689e-11 | 0.09257 | 0.060338 | 0.061498 | -2.0381 | -2.2656e-11 | -2.1997e-11 | 2.1053 | 0.072201 | 0.068046 | 92.6649 | -26.964 | -147.685 | -87.333 | 152.9146 | 32.4343 | 0.5059 | 0 | 0 | 0.52432 | 0.023578 | 0.022987 | 1.9015 | 0 | 0 | 0.14942 | -156.971 | 80.3277
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17404 | 0.1728 | 0.17278 | 2 | 2 | 2 | 2.0097 | 1.9953 | 1.995 | 0.062022 | 0.045463 | 0.04652 | -0.046285 | -0.030169 | -0.030749 | 1.0654 | 0.054195 | 0.051395 | -1.0527 | -0.0361 | -0.034023 | -87.3281 | 152.672 | 32.672 | 92.667 | -27.0854 | -147.5657 | 0.53361 | 0.03537 | 0.034661 | 0.52432 | 0.023578 | 0.022987 | -0.6597 | -157.3208 | 80.5223 | 0.14942 | -156.971 | 80.3277
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17404 | 0.1728 | 0.17278 | 2 | 2 | 2 | 2.0097 | 1.9953 | 1.995 | 0.062022 | 0.045463 | 0.04652 | -0.046285 | -0.030169 | -0.030749 | 1.0654 | 0.054195 | 0.051395 | -1.0527 | -0.0361 | -0.034023 | -87.3281 | 152.672 | 32.672 | 92.667 | -27.0854 | -147.5657 | 0.53361 | 0.03537 | 0.034661 | 0.52432 | 0.023578 | 0.022987 | -0.6597 | -157.3208 | 80.5223 | 0.14942 | -156.971 | 80.3277

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34669 | 0.34609 | 0.34645 | 0.34659 | 0.3462 | 0.34644 | 4.0032 | 3.9964 | 4.0005 | 4.0021 | 3.9976 | 4.0003 | -0.42242 | -0.98902 | -0.52656 | 0.48411 | 1.0508 | 0.59029 | -4.3723 | -3.8465 | -3.6516 | 4.4424 | 3.9186 | 3.7218 | 92.7059 | -27.3055 | -147.3845 | -87.3054 | 152.687 | 32.6343 | 1.0973 | 0.99381 | 0.92223 | 1.1166 | 1.0149 | 0.942 | -2.8125 | -131.7251 | 114.41 | -3.5247 | -132.3243 | 113.6221
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1733 | 0.1731 | 0.17322 | 2 | 2 | 2 | 2.0011 | 1.9988 | 2.0002 | 0.25667 | 0.54077 | 0.31196 | -0.24206 | -0.5254 | -0.29514 | 2.2378 | 1.9783 | 1.8782 | -2.2212 | -1.9593 | -1.8609 | -87.328 | 152.672 | 32.672 | 92.6946 | -27.313 | -147.3657 | 1.1263 | 1.0254 | 0.95197 | 1.1166 | 1.0149 | 0.942 | -3.871 | -132.6162 | 113.2415 | -3.5247 | -132.3243 | 113.6221
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1733 | 0.1731 | 0.17322 | 2 | 2 | 2 | 2.0011 | 1.9988 | 2.0002 | 0.25667 | 0.54077 | 0.31196 | -0.24206 | -0.5254 | -0.29514 | 2.2378 | 1.9783 | 1.8782 | -2.2212 | -1.9593 | -1.8609 | -87.328 | 152.672 | 32.672 | 92.6946 | -27.313 | -147.3657 | 1.1263 | 1.0254 | 0.95197 | 1.1166 | 1.0149 | 0.942 | -3.871 | -132.6162 | 113.2415 | -3.5247 | -132.3243 | 113.6221

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34669 | 0.34609 | 0.34645 | 0.34659 | 0.3462 | 0.34644 | 4.0032 | 3.9964 | 4.0005 | 4.0021 | 3.9976 | 4.0003 | -0.42242 | -0.98902 | -0.52656 | 0.48411 | 1.0508 | 0.59029 | -4.3723 | -3.8465 | -3.6516 | 4.4424 | 3.9186 | 3.7218 | 92.7059 | -27.3055 | -147.3845 | -87.3054 | 152.687 | 32.6343 | 1.0973 | 0.99381 | 0.92223 | 1.1166 | 1.0149 | 0.942 | -2.8125 | -131.7251 | 114.41 | -3.5247 | -132.3243 | 113.6221
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1733 | 0.1731 | 0.17322 | 2 | 2 | 2 | 2.0011 | 1.9988 | 2.0002 | 0.25667 | 0.54077 | 0.31196 | -0.24206 | -0.5254 | -0.29514 | 2.2378 | 1.9783 | 1.8782 | -2.2212 | -1.9593 | -1.8609 | -87.328 | 152.672 | 32.672 | 92.6946 | -27.313 | -147.3657 | 1.1263 | 1.0254 | 0.95197 | 1.1166 | 1.0149 | 0.942 | -3.871 | -132.6162 | 113.2415 | -3.5247 | -132.3243 | 113.6221
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1733 | 0.1731 | 0.17322 | 2 | 2 | 2 | 2.0011 | 1.9988 | 2.0002 | 0.25667 | 0.54077 | 0.31196 | -0.24206 | -0.5254 | -0.29514 | 2.2378 | 1.9783 | 1.8782 | -2.2212 | -1.9593 | -1.8609 | -87.328 | 152.672 | 32.672 | 92.6946 | -27.313 | -147.3657 | 1.1263 | 1.0254 | 0.95197 | 1.1166 | 1.0149 | 0.942 | -3.871 | -132.6162 | 113.2415 | -3.5247 | -132.3243 | 113.6221

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0014096 | 0.0014096 | 0.0014096 | 0.024407 | 0.024407 | 0.024407 | 0.016276 | 0.016276 | 0.016276 | 7.1355e-05 | -6.2226e-14 | 2.1526e-13 | -4.0522e-05 | 1.7619e-05 | 1.7619e-05 | -0.010408 | 2.112e-13 | -5.2101e-14 | 0.0069441 | 3.6535e-06 | 3.6535e-06 | 91.5634 | 91.5633 | 91.5633 | -88.5238 | -88.5238 | -88.5238 | 0.42643 | 0 | 0 | 0.42665 | 0.0011055 | 0.0011055 | 1.9562 | 0 | 0 | 1.8106 | -76.8087 | -76.8087
Line_1 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8642e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087
Line_2 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.9621e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8638e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0014096 | 0.0014096 | 0.0014096 | 0.024407 | 0.024407 | 0.024407 | 0.016276 | 0.016276 | 0.016276 | 7.1355e-05 | -6.2226e-14 | 2.1526e-13 | -4.0522e-05 | 1.7619e-05 | 1.7619e-05 | -0.010408 | 2.112e-13 | -5.2101e-14 | 0.0069441 | 3.6535e-06 | 3.6535e-06 | 91.5634 | 91.5633 | 91.5633 | -88.5238 | -88.5238 | -88.5238 | 0.42643 | 0 | 0 | 0.42665 | 0.0011055 | 0.0011055 | 1.9562 | 0 | 0 | 1.8106 | -76.8087 | -76.8087
Line_1 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8642e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087
Line_2 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.9621e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8638e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.42669 | 0.0013266 | 0.0013266 | 0.42665 | 0.0011055 | 0.0011055 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.00020017 | 0.00020017 | 0.00020017 | 0.0034659 | 0.0034659 | 0.0034659 | 0.0023113 | 0.0023113 | 0.0023113 | -0.0021684 | -0.00044662 | 0.0026164 | 0.001444 | 0.00030113 | -0.0017452 | -0.0024097 | 0.0028899 | -0.00069008 | 0.0016092 | -0.0019267 | 0.00045762 | 129.0448 | 129.0447 | 129.0447 | -51.0424 | -51.0424 | -51.0424 | 0.93531 | 0.84371 | 0.78073 | 0.93544 | 0.8437 | 0.78059 | -2.9382 | -132.17 | 114.2695 | -2.944 | -132.1593 | 114.2644
Line_1 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5149e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644
Line_2 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5149e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.00020017 | 0.00020017 | 0.00020017 | 0.0034659 | 0.0034659 | 0.0034659 | 0.0023113 | 0.0023113 | 0.0023113 | -0.0021684 | -0.00044662 | 0.0026164 | 0.001444 | 0.00030113 | -0.0017452 | -0.0024097 | 0.0028899 | -0.00069008 | 0.0016092 | -0.0019267 | 0.00045762 | 129.0448 | 129.0447 | 129.0447 | -51.0424 | -51.0424 | -51.0424 | 0.93531 | 0.84371 | 0.78073 | 0.93544 | 0.8437 | 0.78059 | -2.9382 | -132.17 | 114.2695 | -2.944 | -132.1593 | 114.2644
Line_1 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5149e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644
Line_2 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5149e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.93546 | 0.8437 | 0.78056 | 0.93544 | 0.8437 | 0.78059 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644