## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4264 | 3.4264 | 0 | 0 | 118.6925 | 118.6925 | 37.6639 | -19.3497 | 42.5019 | -21.7223 | -71.4859 | 108.5141 | 0.47845 | 0.24509 | -23.0323 | -23.1798
Line_1 | 3.5986 | 3.5986 | 6.9734 | 0 | 124.6581 | 124.6581 | -1e-07 | 20.2015 | -1e-07 | 22.921 | 108.2117 | -71.7883 | 0 | 0.24509 | 0 | -23.1798
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.89866 | -0.85186 | 1.2518 | -1.1987 | -77.7798 | 102.2202 | 0.25683 | 0.24509 | -23.4545 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4264 | 3.4264 | 0 | 0 | 118.6925 | 118.6925 | 37.6639 | -19.3497 | 42.5019 | -21.7223 | -71.4859 | 108.5141 | 0.47845 | 0.24509 | -23.0323 | -23.1798
Line_1 | 3.5986 | 3.5986 | 6.9734 | 0 | 124.6581 | 124.6581 | -1e-07 | 20.2015 | -1e-07 | 22.921 | 108.2117 | -71.7883 | 0 | 0.24509 | 0 | -23.1798
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.89866 | -0.85186 | 1.2518 | -1.1987 | -77.7798 | 102.2202 | 0.25683 | 0.24509 | -23.4545 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0054 | 1.0054 | 0 | 0 | 34.8298 | 34.8298 | 25.7529 | -24.1758 | 21.0654 | -19.276 | -47.1014 | 132.8986 | 0.95525 | 0.88774 | -7.8189 | -8.5351
Line_1 | 1.1578 | 1.1578 | 2.2969 | 0 | 40.107 | 40.107 | -23.9723 | 26.0634 | -21.8842 | 24.2568 | 128.521 | -51.479 | 0.80931 | 0.88774 | -9.0862 | -8.5351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.9344 | -1.8876 | 5.0339 | -4.9808 | -77.7798 | 102.2202 | 0.89879 | 0.88774 | -8.8001 | -8.5351

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0054 | 1.0054 | 0 | 0 | 34.8298 | 34.8298 | 25.7529 | -24.1758 | 21.0654 | -19.276 | -47.1014 | 132.8986 | 0.95525 | 0.88774 | -7.8189 | -8.5351
Line_1 | 1.1578 | 1.1578 | 2.2969 | 0 | 40.107 | 40.107 | -23.9723 | 26.0634 | -21.8842 | 24.2568 | 128.521 | -51.479 | 0.80931 | 0.88774 | -9.0862 | -8.5351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.9344 | -1.8876 | 5.0339 | -4.9808 | -77.7798 | 102.2202 | 0.89879 | 0.88774 | -8.8001 | -8.5351

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 2.9823 | 2.9624 | 0.34594 | 2.9823 | 2.9624 | 3.9945 | 34.4363 | 34.2068 | 3.9945 | 34.4363 | 34.2068 | -1.1661 | 28.8237 | -10.5748 | 1.2283 | -24.1989 | 15.1382 | -4.5162 | 2.8768 | 16.1161 | 4.5868 | 2.3706 | -10.9384 | 105.2158 | -158.1665 | 15.1723 | -74.7842 | 21.8335 | -164.8277 | 1.1677 | 0.84117 | 0.56351 | 1.1887 | 0.70608 | 0.54599 | 0.73784 | -152.4669 | 138.4437 | 0.2238 | -163.7616 | 159.3217
Line_1 | 0.1732 | 3.1177 | 3.1177 | 0.1732 | 3.1177 | 3.1177 | 2 | 35.9996 | 35.9996 | 2 | 35.9996 | 35.9996 | 0.7498 | -20.3151 | 20.69 | -0.7342 | 25.3693 | -15.6357 | 2.279 | 7.3153 | -6.1758 | -2.2613 | -1.5806 | 11.9105 | -71.7884 | 19.8035 | -163.38 | 108.2116 | -160.1965 | 16.62 | 1.1996 | 0.59979 | 0.59979 | 1.1887 | 0.70608 | 0.54599 | -7.9887e-06 | 180 | 180 | 0.2238 | -163.7616 | 159.3217
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.1861 | -0.48187 | -0.49415 | -1.1705 | 0.49747 | 2.3432 | 0.80774 | 0.98978 | -2.3255 | -0.79004 | -0.97208 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.199 | 0.7175 | 0.55042 | 1.1887 | 0.70608 | 0.54599 | -0.052887 | -163.5243 | 158.1791 | 0.2238 | -163.7616 | 159.3217

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 2.9823 | 2.9624 | 0.34594 | 2.9823 | 2.9624 | 3.9945 | 34.4363 | 34.2068 | 3.9945 | 34.4363 | 34.2068 | -1.1661 | 28.8237 | -10.5748 | 1.2283 | -24.1989 | 15.1382 | -4.5162 | 2.8768 | 16.1161 | 4.5868 | 2.3706 | -10.9384 | 105.2158 | -158.1665 | 15.1723 | -74.7842 | 21.8335 | -164.8277 | 1.1677 | 0.84117 | 0.56351 | 1.1887 | 0.70608 | 0.54599 | 0.73784 | -152.4669 | 138.4437 | 0.2238 | -163.7616 | 159.3217
Line_1 | 0.1732 | 3.1177 | 3.1177 | 0.1732 | 3.1177 | 3.1177 | 2 | 35.9996 | 35.9996 | 2 | 35.9996 | 35.9996 | 0.7498 | -20.3151 | 20.69 | -0.7342 | 25.3693 | -15.6357 | 2.279 | 7.3153 | -6.1758 | -2.2613 | -1.5806 | 11.9105 | -71.7884 | 19.8035 | -163.38 | 108.2116 | -160.1965 | 16.62 | 1.1996 | 0.59979 | 0.59979 | 1.1887 | 0.70608 | 0.54599 | -7.9887e-06 | 180 | 180 | 0.2238 | -163.7616 | 159.3217
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.1861 | -0.48187 | -0.49415 | -1.1705 | 0.49747 | 2.3432 | 0.80774 | 0.98978 | -2.3255 | -0.79004 | -0.97208 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.199 | 0.7175 | 0.55042 | 1.1887 | 0.70608 | 0.54599 | -0.052887 | -163.5243 | 158.1791 | 0.2238 | -163.7616 | 159.3217

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 1.492 | 1.3774 | 0.34594 | 1.492 | 1.3774 | 3.9945 | 17.2282 | 15.9048 | 3.9945 | 17.2282 | 15.9048 | -1.1661 | 17.6754 | -0.84689 | 1.2284 | -16.5178 | 1.8335 | -4.5162 | 1.0407 | 13.1039 | 4.5868 | 0.27267 | -11.9845 | 105.2159 | -139.0308 | 27.8954 | -74.7841 | 40.9692 | -152.1046 | 1.1677 | 1.0277 | 0.82561 | 1.1887 | 0.9589 | 0.76228 | 0.73784 | -135.6612 | 121.5932 | 0.2238 | -139.9766 | 126.5934
Line_1 | 0.1732 | 1.5888 | 1.5458 | 0.1732 | 1.5888 | 1.5458 | 2 | 18.3456 | 17.8495 | 2 | 18.3456 | 17.8495 | 0.7498 | -16.2271 | 2.9265 | -0.7342 | 17.5397 | -1.684 | 2.279 | 0.13907 | -12.0919 | -2.2613 | 1.3502 | 13.5017 | -71.7883 | 35.6215 | -150.516 | 108.2117 | -144.3785 | 29.484 | 1.1996 | 0.88455 | 0.69699 | 1.1887 | 0.9589 | 0.76228 | -5.6252e-06 | -144.8696 | 133.0893 | 0.2238 | -139.9766 | 126.5934
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.0375 | 0.16508 | -0.49415 | -1.0219 | -0.14948 | 2.3432 | 1.6406 | 1.5349 | -2.3255 | -1.6229 | -1.5172 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.199 | 0.97054 | 0.77188 | 1.1887 | 0.9589 | 0.76228 | -0.052885 | -140.0878 | 126.0816 | 0.2238 | -139.9766 | 126.5934

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 1.492 | 1.3774 | 0.34594 | 1.492 | 1.3774 | 3.9945 | 17.2282 | 15.9048 | 3.9945 | 17.2282 | 15.9048 | -1.1661 | 17.6754 | -0.84689 | 1.2284 | -16.5178 | 1.8335 | -4.5162 | 1.0407 | 13.1039 | 4.5868 | 0.27267 | -11.9845 | 105.2159 | -139.0308 | 27.8954 | -74.7841 | 40.9692 | -152.1046 | 1.1677 | 1.0277 | 0.82561 | 1.1887 | 0.9589 | 0.76228 | 0.73784 | -135.6612 | 121.5932 | 0.2238 | -139.9766 | 126.5934
Line_1 | 0.1732 | 1.5888 | 1.5458 | 0.1732 | 1.5888 | 1.5458 | 2 | 18.3456 | 17.8495 | 2 | 18.3456 | 17.8495 | 0.7498 | -16.2271 | 2.9265 | -0.7342 | 17.5397 | -1.684 | 2.279 | 0.13907 | -12.0919 | -2.2613 | 1.3502 | 13.5017 | -71.7883 | 35.6215 | -150.516 | 108.2117 | -144.3785 | 29.484 | 1.1996 | 0.88455 | 0.69699 | 1.1887 | 0.9589 | 0.76228 | -5.6252e-06 | -144.8696 | 133.0893 | 0.2238 | -139.9766 | 126.5934
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.0375 | 0.16508 | -0.49415 | -1.0219 | -0.14948 | 2.3432 | 1.6406 | 1.5349 | -2.3255 | -1.6229 | -1.5172 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.199 | 0.97054 | 0.77188 | 1.1887 | 0.9589 | 0.76228 | -0.052885 | -140.0878 | 126.0816 | 0.2238 | -139.9766 | 126.5934

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 7.1054e-15 | 23.4155 | -0.45749 | -8.2897e-15 | -17.676 | 6.197 | -9.4739e-15 | -0.22679 | 13.7937 | 9.4739e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.8053e-13 | -150.1294 | 122.3252 | 3.7913e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.3685e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -9.4739e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 3.654e-13 | -180 | 180 | 3.7913e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-15 | 2.4223e-10 | 6.7019e-10 | -4.737e-15 | -2.4222e-10 | -6.7019e-10 | 3.8095e-29 | -1.5722e-09 | 8.3094e-10 | -3.1345e-29 | 1.5722e-09 | -8.3094e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 3.6863e-13 | -161.1438 | 151.2099 | 3.7913e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 7.1054e-15 | 23.4155 | -0.45749 | -8.2897e-15 | -17.676 | 6.197 | -9.4739e-15 | -0.22679 | 13.7937 | 9.4739e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.8053e-13 | -150.1294 | 122.3252 | 3.7913e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.3685e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -9.4739e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 3.654e-13 | -180 | 180 | 3.7913e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-15 | 2.4223e-10 | 6.7019e-10 | -4.737e-15 | -2.4222e-10 | -6.7019e-10 | 3.8095e-29 | -1.5722e-09 | 8.3094e-10 | -3.1345e-29 | 1.5722e-09 | -8.3094e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 3.6863e-13 | -161.1438 | 151.2099 | 3.7913e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 2.9606e-15 | 13.7181 | 1.6719 | -3.5527e-15 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 1.9558e-13 | -135.6599 | 118.3519 | 1.9256e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.5326e-29 | -10.3011 | 1.745 | 2.3685e-15 | 12.0096 | -0.036546 | 4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 1.8538e-13 | -144.4405 | 138.2821 | 1.9256e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.2827e-10 | 8.1277e-10 | -1.1842e-15 | -4.2827e-10 | -8.1276e-10 | 2.3685e-15 | -9.7052e-10 | 3.0453e-10 | -3.98e-30 | 9.7052e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 1.8732e-13 | -139.408 | 127.3216 | 1.9256e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 2.9606e-15 | 13.7181 | 1.6719 | -3.5527e-15 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 1.9558e-13 | -135.6599 | 118.3519 | 1.9256e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.5326e-29 | -10.3011 | 1.745 | 2.3685e-15 | 12.0096 | -0.036546 | 4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 1.8538e-13 | -144.4405 | 138.2821 | 1.9256e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 4.2827e-10 | 8.1277e-10 | -1.1842e-15 | -4.2827e-10 | -8.1276e-10 | 2.3685e-15 | -9.7052e-10 | 3.0453e-10 | -3.98e-30 | 9.7052e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 1.8732e-13 | -139.408 | 127.3216 | 1.9256e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6271 | 0.34555 | 0.35068 | 2.6267 | 0.34553 | 0.34989 | 30.3354 | 3.9901 | 4.0493 | 30.3301 | 3.9898 | 4.0401 | 24.0641 | -0.74469 | -1.8383 | -12.1921 | 1.8865 | 1.6416 | 11.7145 | -4.0166 | -4.5075 | -5.9094 | 3.7749 | 5.6709 | -43.4472 | -15.6509 | -134.4174 | 136.5704 | 164.5023 | 45.5062 | 0.88227 | 1.0238 | 1.2021 | 0.44671 | 1.0577 | 1.4613 | -17.4902 | -116.1543 | 113.3949 | -17.5706 | -132.0514 | 119.3619
Line_1 | 2.7696 | 0.17321 | 0.1732 | 2.7706 | 0.1728 | 0.17562 | 31.9803 | 2 | 2 | 31.9924 | 1.9953 | 2.0279 | 6.6118e-11 | 1.6062 | 0.86024 | 12.6363 | -1.0367 | -0.97177 | -1.2929e-10 | 1.657 | 3.3316 | 6.6757 | -1.8382 | -2.7994 | 134.6307 | 168.2116 | 48.2117 | -45.418 | -12.6312 | -131.4945 | 0 | 1.1539 | 1.7204 | 0.44671 | 1.0577 | 1.4613 | 0 | -145.8969 | 123.7339 | -17.5706 | -132.0514 | 119.3619
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17172 | 0.17316 | 0.17475 | 2 | 2 | 2 | 1.9829 | 1.9995 | 2.0178 | 0.45889 | 0.88537 | 0.66636 | -0.44418 | -0.84984 | -0.66979 | 0.79315 | 1.9456 | 2.8674 | -0.76633 | -1.9366 | -2.8714 | -77.7798 | 162.2201 | 42.2201 | 102.527 | -18.3583 | -137.5082 | 0.45817 | 1.0688 | 1.4719 | 0.44671 | 1.0577 | 1.4613 | -17.8318 | -132.2489 | 119.1372 | -17.5706 | -132.0514 | 119.3619

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6271 | 0.34555 | 0.35068 | 2.6267 | 0.34553 | 0.34989 | 30.3354 | 3.9901 | 4.0493 | 30.3301 | 3.9898 | 4.0401 | 24.0641 | -0.74469 | -1.8383 | -12.1921 | 1.8865 | 1.6416 | 11.7145 | -4.0166 | -4.5075 | -5.9094 | 3.7749 | 5.6709 | -43.4472 | -15.6509 | -134.4174 | 136.5704 | 164.5023 | 45.5062 | 0.88227 | 1.0238 | 1.2021 | 0.44671 | 1.0577 | 1.4613 | -17.4902 | -116.1543 | 113.3949 | -17.5706 | -132.0514 | 119.3619
Line_1 | 2.7696 | 0.17321 | 0.1732 | 2.7706 | 0.1728 | 0.17562 | 31.9803 | 2 | 2 | 31.9924 | 1.9953 | 2.0279 | 6.6118e-11 | 1.6062 | 0.86024 | 12.6363 | -1.0367 | -0.97177 | -1.2929e-10 | 1.657 | 3.3316 | 6.6757 | -1.8382 | -2.7994 | 134.6307 | 168.2116 | 48.2117 | -45.418 | -12.6312 | -131.4945 | 0 | 1.1539 | 1.7204 | 0.44671 | 1.0577 | 1.4613 | 0 | -145.8969 | 123.7339 | -17.5706 | -132.0514 | 119.3619
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17172 | 0.17316 | 0.17475 | 2 | 2 | 2 | 1.9829 | 1.9995 | 2.0178 | 0.45889 | 0.88537 | 0.66636 | -0.44418 | -0.84984 | -0.66979 | 0.79315 | 1.9456 | 2.8674 | -0.76633 | -1.9366 | -2.8714 | -77.7798 | 162.2201 | 42.2201 | 102.527 | -18.3583 | -137.5082 | 0.45817 | 1.0688 | 1.4719 | 0.44671 | 1.0577 | 1.4613 | -17.8318 | -132.2489 | 119.1372 | -17.5706 | -132.0514 | 119.3619

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88762 | 0.34581 | 0.34782 | 0.88748 | 0.3458 | 0.34751 | 10.2493 | 3.9931 | 4.0163 | 10.2477 | 3.9929 | 4.0126 | 9.313 | -0.99927 | -1.4346 | -7.7607 | 1.4966 | 1.3841 | 5.2653 | -4.3147 | -4.5184 | -4.708 | 4.2649 | 5.0217 | -34.9741 | -15.1319 | -134.6297 | 145.0481 | 164.9294 | 45.3382 | 1.0438 | 1.1091 | 1.1804 | 0.88577 | 1.132 | 1.2981 | -5.4916 | -118.1714 | 117.7552 | -3.7093 | -124.4076 | 119.9294
Line_1 | 1.0207 | 0.17321 | 0.1732 | 1.021 | 0.17306 | 0.17417 | 11.7856 | 2 | 2 | 11.79 | 1.9983 | 2.0111 | -6.418 | 1.0981 | 0.7858 | 8.2488 | -0.85762 | -0.82438 | -5.5259 | 2.0363 | 2.702 | 6.4045 | -2.0931 | -2.4771 | 138.5181 | 168.2117 | 48.2117 | -41.5359 | -12.1269 | -131.6632 | 0.71859 | 1.1568 | 1.407 | 0.88577 | 1.132 | 1.2981 | -0.75341 | -130.1254 | 121.996 | -3.7093 | -124.4076 | 119.9294
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.1726 | 0.1732 | 0.17382 | 2 | 2 | 2 | 1.993 | 1.9999 | 2.0071 | 0.50157 | 0.66351 | 0.56843 | -0.48802 | -0.63901 | -0.55967 | 1.7212 | 2.1867 | 2.5547 | -1.6966 | -2.1718 | -2.5446 | -77.7798 | 162.2201 | 42.2202 | 102.3387 | -18.0119 | -137.6663 | 0.89642 | 1.1426 | 1.3086 | 0.88577 | 1.132 | 1.2981 | -4.0258 | -124.6591 | 119.6759 | -3.7093 | -124.4076 | 119.9294

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88762 | 0.34581 | 0.34782 | 0.88748 | 0.3458 | 0.34751 | 10.2493 | 3.9931 | 4.0163 | 10.2477 | 3.9929 | 4.0126 | 9.313 | -0.99927 | -1.4346 | -7.7607 | 1.4966 | 1.3841 | 5.2653 | -4.3147 | -4.5184 | -4.708 | 4.2649 | 5.0217 | -34.9741 | -15.1319 | -134.6297 | 145.0481 | 164.9294 | 45.3382 | 1.0438 | 1.1091 | 1.1804 | 0.88577 | 1.132 | 1.2981 | -5.4916 | -118.1714 | 117.7552 | -3.7093 | -124.4076 | 119.9294
Line_1 | 1.0207 | 0.17321 | 0.1732 | 1.021 | 0.17306 | 0.17417 | 11.7856 | 2 | 2 | 11.79 | 1.9983 | 2.0111 | -6.418 | 1.0981 | 0.7858 | 8.2488 | -0.85762 | -0.82438 | -5.5259 | 2.0363 | 2.702 | 6.4045 | -2.0931 | -2.4771 | 138.5181 | 168.2117 | 48.2117 | -41.5359 | -12.1269 | -131.6632 | 0.71859 | 1.1568 | 1.407 | 0.88577 | 1.132 | 1.2981 | -0.75341 | -130.1254 | 121.996 | -3.7093 | -124.4076 | 119.9294
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.1726 | 0.1732 | 0.17382 | 2 | 2 | 2 | 1.993 | 1.9999 | 2.0071 | 0.50157 | 0.66351 | 0.56843 | -0.48802 | -0.63901 | -0.55967 | 1.7212 | 2.1867 | 2.5547 | -1.6966 | -2.1718 | -2.5446 | -77.7798 | 162.2201 | 42.2202 | 102.3387 | -18.0119 | -137.6663 | 0.89642 | 1.1426 | 1.3086 | 0.88577 | 1.132 | 1.2981 | -4.0258 | -124.6591 | 119.6759 | -3.7093 | -124.4076 | 119.9294

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6315 | 0.0051528 | 0.0051528 | 1.6312 | 0.0042793 | 0.0042793 | 18.8385 | 0.059499 | 0.059499 | 18.8353 | 0.049413 | 0.049413 | 16.1395 | 0.052266 | -0.04736 | -8.0605 | -0.041904 | 0.040555 | 4.6749 | -0.013887 | -0.040247 | -2.3511 | 0.025268 | 0.04819 | -29.8844 | -104.8203 | -104.8203 | 150.1448 | 74.465 | 74.465 | 0.89195 | 0.90892 | 1.0446 | 0.44578 | 0.99028 | 1.2746 | -13.7305 | -119.7 | 115.5379 | -13.5943 | -136.6247 | 124.382
Line_1 | 1.6301 | 0 | 0 | 1.6307 | 0.0025613 | 0.0025613 | 18.8231 | 0 | 0 | 18.8302 | 0.029575 | 0.029575 | -2.389e-11 | -1.1596e-09 | -3.0216e-09 | 8.0607 | 0.025191 | -0.024061 | 7.9323e-12 | -2.0915e-09 | 1.0165e-09 | 2.3422 | -0.014939 | -0.029021 | 150.2905 | 0 | 0 | -29.7969 | -105.9559 | -105.9559 | 0 | 1.1433 | 1.524 | 0.44578 | 0.99028 | 1.2746 | 0 | -149.9304 | 130.4806 | -13.5943 | -136.6247 | 124.382
Line_2 | 0 | 0 | 0 | 0.0017181 | 0.0017181 | 0.0017181 | 0 | 0 | 0 | 0.019839 | 0.019839 | 0.019839 | 8.6052e-10 | -1.1539e-10 | -1.2996e-09 | -0.00020267 | 0.016712 | -0.016494 | -3.8221e-10 | -1.0397e-09 | 3.5601e-10 | 0.0088415 | -0.010329 | -0.019169 | 0 | 0 | 0 | -104.9075 | -104.9075 | -104.9075 | 0.44568 | 0.98988 | 1.2751 | 0.44578 | 0.99028 | 1.2746 | -13.5262 | -136.6461 | 124.3672 | -13.5943 | -136.6247 | 124.382

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6315 | 0.0051528 | 0.0051528 | 1.6312 | 0.0042793 | 0.0042793 | 18.8385 | 0.059499 | 0.059499 | 18.8353 | 0.049413 | 0.049413 | 16.1395 | 0.052266 | -0.04736 | -8.0605 | -0.041904 | 0.040555 | 4.6749 | -0.013887 | -0.040247 | -2.3511 | 0.025268 | 0.04819 | -29.8844 | -104.8203 | -104.8203 | 150.1448 | 74.465 | 74.465 | 0.89195 | 0.90892 | 1.0446 | 0.44578 | 0.99028 | 1.2746 | -13.7305 | -119.7 | 115.5379 | -13.5943 | -136.6247 | 124.382
Line_1 | 1.6301 | 0 | 0 | 1.6307 | 0.0025613 | 0.0025613 | 18.8231 | 0 | 0 | 18.8302 | 0.029575 | 0.029575 | -2.389e-11 | -1.1596e-09 | -3.0216e-09 | 8.0607 | 0.025191 | -0.024061 | 7.9323e-12 | -2.0915e-09 | 1.0165e-09 | 2.3422 | -0.014939 | -0.029021 | 150.2905 | 0 | 0 | -29.7969 | -105.9559 | -105.9559 | 0 | 1.1433 | 1.524 | 0.44578 | 0.99028 | 1.2746 | 0 | -149.9304 | 130.4806 | -13.5943 | -136.6247 | 124.382
Line_2 | 0 | 0 | 0 | 0.0017181 | 0.0017181 | 0.0017181 | 0 | 0 | 0 | 0.019839 | 0.019839 | 0.019839 | 8.6052e-10 | -1.1539e-10 | -1.2996e-09 | -0.00020267 | 0.016712 | -0.016494 | -3.8221e-10 | -1.0397e-09 | 3.5601e-10 | 0.0088415 | -0.010329 | -0.019169 | 0 | 0 | 0 | -104.9075 | -104.9075 | -104.9075 | 0.44568 | 0.98988 | 1.2751 | 0.44578 | 0.99028 | 1.2746 | -13.5262 | -136.6461 | 124.3672 | -13.5943 | -136.6247 | 124.382

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82377 | 0.0026018 | 0.0026018 | 0.82363 | 0.0021607 | 0.0021607 | 9.5121 | 0.030043 | 0.030043 | 9.5104 | 0.02495 | 0.02495 | 7.4946 | 0.028468 | -0.019621 | -5.436 | -0.023258 | 0.01647 | 4.5924 | -0.0035113 | -0.02339 | -3.9976 | 0.0062608 | 0.023266 | -37.5229 | -112.4588 | -112.4588 | 142.5063 | 66.8265 | 66.8265 | 0.92406 | 0.95477 | 1.0162 | 0.70951 | 0.96537 | 1.1425 | -6.0247 | -119.4902 | 117.5494 | -1.163 | -128.2399 | 121.5325
Line_1 | 0.8231 | 0 | 0 | 0.8234 | 0.0012933 | 0.0012933 | 9.5043 | 0 | 0 | 9.5079 | 0.014933 | 0.014933 | -3.3874 | -1.4696e-10 | -1.2874e-09 | 5.4386 | 0.013948 | -0.0097553 | -3.3874 | -1.0444e-09 | 3.8599e-10 | 3.991 | -0.003645 | -0.013998 | 142.652 | 0 | 0 | -37.4354 | -113.5944 | -113.5944 | 0.50404 | 0.99859 | 1.2725 | 0.70951 | 0.96537 | 1.1425 | 7.652 | -136.5738 | 124.7454 | -1.163 | -128.2399 | 121.5325
Line_2 | 0 | 0 | 0 | 0.00086753 | 0.00086753 | 0.00086753 | 0 | 0 | 0 | 0.010017 | 0.010017 | 0.010017 | 7.5514e-10 | 8.6813e-11 | -5.9951e-10 | -0.0025913 | 0.0093099 | -0.0067146 | -5.1825e-11 | -5.0763e-10 | 1.1138e-10 | 0.0066181 | -0.0026158 | -0.0092685 | 0 | 0 | 0 | -112.546 | -112.546 | -112.546 | 0.70955 | 0.96513 | 1.1427 | 0.70951 | 0.96537 | 1.1425 | -1.1413 | -128.2473 | 121.5233 | -1.163 | -128.2399 | 121.5325

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82377 | 0.0026018 | 0.0026018 | 0.82363 | 0.0021607 | 0.0021607 | 9.5121 | 0.030043 | 0.030043 | 9.5104 | 0.02495 | 0.02495 | 7.4946 | 0.028468 | -0.019621 | -5.436 | -0.023258 | 0.01647 | 4.5924 | -0.0035113 | -0.02339 | -3.9976 | 0.0062608 | 0.023266 | -37.5229 | -112.4588 | -112.4588 | 142.5063 | 66.8265 | 66.8265 | 0.92406 | 0.95477 | 1.0162 | 0.70951 | 0.96537 | 1.1425 | -6.0247 | -119.4902 | 117.5494 | -1.163 | -128.2399 | 121.5325
Line_1 | 0.8231 | 0 | 0 | 0.8234 | 0.0012933 | 0.0012933 | 9.5043 | 0 | 0 | 9.5079 | 0.014933 | 0.014933 | -3.3874 | -1.4696e-10 | -1.2874e-09 | 5.4386 | 0.013948 | -0.0097553 | -3.3874 | -1.0444e-09 | 3.8599e-10 | 3.991 | -0.003645 | -0.013998 | 142.652 | 0 | 0 | -37.4354 | -113.5944 | -113.5944 | 0.50404 | 0.99859 | 1.2725 | 0.70951 | 0.96537 | 1.1425 | 7.652 | -136.5738 | 124.7454 | -1.163 | -128.2399 | 121.5325
Line_2 | 0 | 0 | 0 | 0.00086753 | 0.00086753 | 0.00086753 | 0 | 0 | 0 | 0.010017 | 0.010017 | 0.010017 | 7.5514e-10 | 8.6813e-11 | -5.9951e-10 | -0.0025913 | 0.0093099 | -0.0067146 | -5.1825e-11 | -5.0763e-10 | 1.1138e-10 | 0.0066181 | -0.0026158 | -0.0092685 | 0 | 0 | 0 | -112.546 | -112.546 | -112.546 | 0.70955 | 0.96513 | 1.1427 | 0.70951 | 0.96537 | 1.1425 | -1.1413 | -128.2473 | 121.5233 | -1.163 | -128.2399 | 121.5325

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34961 | 3.7239 | 2.3748 | 0.34894 | 3.724 | 2.3744 | 4.037 | 43.0002 | 27.4216 | 4.0293 | 43.0013 | 27.417 | -1.4562 | 31.0849 | -0.88119 | 1.9711 | -15.7745 | 0.35502 | -4.2036 | 8.8915 | 16.0085 | 4.9754 | -4.5608 | -8.1245 | 104.9905 | -172.0729 | 35.2586 | -74.9803 | 7.9377 | -144.7551 | 1.102 | 0.75189 | 0.58467 | 1.3282 | 0.38186 | 0.29661 | -4.1161 | -156.1102 | 128.4093 | -6.592 | -155.9363 | 127.747
Line_1 | 0.1732 | 3.8815 | 2.5442 | 0.17495 | 3.8811 | 2.5455 | 2 | 44.8202 | 29.3782 | 2.0201 | 44.8148 | 29.3933 | 1.3723 | 8.7054e-11 | 6.2204e-11 | -1.1141 | 16.3463 | -0.31203 | 2.768 | -4.2492e-11 | 5.7316e-12 | -2.4409 | 5.0653 | 8.7129 | -71.7883 | 6.8744 | -144.3358 | 107.9408 | -173.1532 | 35.696 | 1.5448 | 0 | 0 | 1.3282 | 0.38186 | 0.29661 | -8.1592 | 0 | 0 | -6.592 | -155.9363 | 127.747
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17445 | 0.17293 | 0.17224 | 2 | 2 | 2 | 2.0144 | 1.9968 | 1.9889 | 0.87264 | 0.5843 | 0.061669 | -0.85703 | -0.57179 | -0.042995 | 2.5322 | 0.52755 | 0.60872 | -2.5345 | -0.50445 | -0.58836 | -77.7799 | 162.2203 | 42.2201 | 102.0904 | -17.3565 | -138.0734 | 1.3392 | 0.39361 | 0.30592 | 1.3282 | 0.38186 | 0.29661 | -6.7947 | -155.7015 | 126.4352 | -6.592 | -155.9363 | 127.747

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34961 | 3.7239 | 2.3748 | 0.34894 | 3.724 | 2.3744 | 4.037 | 43.0002 | 27.4216 | 4.0293 | 43.0013 | 27.417 | -1.4562 | 31.0849 | -0.88119 | 1.9711 | -15.7745 | 0.35502 | -4.2036 | 8.8915 | 16.0085 | 4.9754 | -4.5608 | -8.1245 | 104.9905 | -172.0729 | 35.2586 | -74.9803 | 7.9377 | -144.7551 | 1.102 | 0.75189 | 0.58467 | 1.3282 | 0.38186 | 0.29661 | -4.1161 | -156.1102 | 128.4093 | -6.592 | -155.9363 | 127.747
Line_1 | 0.1732 | 3.8815 | 2.5442 | 0.17495 | 3.8811 | 2.5455 | 2 | 44.8202 | 29.3782 | 2.0201 | 44.8148 | 29.3933 | 1.3723 | 8.7054e-11 | 6.2204e-11 | -1.1141 | 16.3463 | -0.31203 | 2.768 | -4.2492e-11 | 5.7316e-12 | -2.4409 | 5.0653 | 8.7129 | -71.7883 | 6.8744 | -144.3358 | 107.9408 | -173.1532 | 35.696 | 1.5448 | 0 | 0 | 1.3282 | 0.38186 | 0.29661 | -8.1592 | 0 | 0 | -6.592 | -155.9363 | 127.747
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17445 | 0.17293 | 0.17224 | 2 | 2 | 2 | 2.0144 | 1.9968 | 1.9889 | 0.87264 | 0.5843 | 0.061669 | -0.85703 | -0.57179 | -0.042995 | 2.5322 | 0.52755 | 0.60872 | -2.5345 | -0.50445 | -0.58836 | -77.7799 | 162.2203 | 42.2201 | 102.0904 | -17.3565 | -138.0734 | 1.3392 | 0.39361 | 0.30592 | 1.3282 | 0.38186 | 0.29661 | -6.7947 | -155.7015 | 126.4352 | -6.592 | -155.9363 | 127.747

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3476 | 1.0835 | 0.80669 | 0.34729 | 1.0837 | 0.80637 | 4.0137 | 12.5111 | 9.3149 | 4.0102 | 12.513 | 9.3112 | -1.2797 | 11.5479 | 5.9867 | 1.5934 | -10.1002 | -5.5874 | -4.3534 | 5.7877 | 6.5875 | 4.7288 | -6.0049 | -5.2807 | 105.0765 | -156.6619 | 69.622 | -74.9037 | 23.3532 | -110.3836 | 1.1305 | 1.0325 | 0.95562 | 1.2444 | 0.93906 | 0.82568 | -1.3042 | -130.0425 | 117.3576 | -3.5256 | -125.9138 | 112.9999
Line_1 | 0.1732 | 1.2202 | 0.96195 | 0.17398 | 1.2198 | 0.96285 | 2 | 14.0901 | 11.1077 | 2.009 | 14.0845 | 11.118 | 1.0698 | -8.8874 | -5.6635 | -0.91938 | 10.6909 | 6.1262 | 2.4765 | -7.8356 | -5.1864 | -2.3247 | 7.787 | 6.8367 | -71.7883 | 18.054 | -115.148 | 108.0524 | -161.9826 | 64.8628 | 1.3488 | 0.8409 | 0.69136 | 1.2444 | 0.93906 | 0.82568 | -5.1526 | -120.5446 | 107.334 | -3.5256 | -125.9138 | 112.9999
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17377 | 0.17314 | 0.1727 | 2 | 2 | 2 | 2.0066 | 1.9993 | 1.9942 | 0.69117 | 0.60005 | 0.55911 | -0.67407 | -0.5907 | -0.53876 | 2.413 | 1.8027 | 1.5768 | -2.4042 | -1.7821 | -1.5559 | -77.7799 | 162.2202 | 42.2201 | 102.1366 | -17.5753 | -137.9009 | 1.255 | 0.94998 | 0.83651 | 1.2444 | 0.93906 | 0.82568 | -3.7634 | -126.1901 | 112.6967 | -3.5256 | -125.9138 | 112.9999

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3476 | 1.0835 | 0.80669 | 0.34729 | 1.0837 | 0.80637 | 4.0137 | 12.5111 | 9.3149 | 4.0102 | 12.513 | 9.3112 | -1.2797 | 11.5479 | 5.9867 | 1.5934 | -10.1002 | -5.5874 | -4.3534 | 5.7877 | 6.5875 | 4.7288 | -6.0049 | -5.2807 | 105.0765 | -156.6619 | 69.622 | -74.9037 | 23.3532 | -110.3836 | 1.1305 | 1.0325 | 0.95562 | 1.2444 | 0.93906 | 0.82568 | -1.3042 | -130.0425 | 117.3576 | -3.5256 | -125.9138 | 112.9999
Line_1 | 0.1732 | 1.2202 | 0.96195 | 0.17398 | 1.2198 | 0.96285 | 2 | 14.0901 | 11.1077 | 2.009 | 14.0845 | 11.118 | 1.0698 | -8.8874 | -5.6635 | -0.91938 | 10.6909 | 6.1262 | 2.4765 | -7.8356 | -5.1864 | -2.3247 | 7.787 | 6.8367 | -71.7883 | 18.054 | -115.148 | 108.0524 | -161.9826 | 64.8628 | 1.3488 | 0.8409 | 0.69136 | 1.2444 | 0.93906 | 0.82568 | -5.1526 | -120.5446 | 107.334 | -3.5256 | -125.9138 | 112.9999
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17377 | 0.17314 | 0.1727 | 2 | 2 | 2 | 2.0066 | 1.9993 | 1.9942 | 0.69117 | 0.60005 | 0.55911 | -0.67407 | -0.5907 | -0.53876 | 2.413 | 1.8027 | 1.5768 | -2.4042 | -1.7821 | -1.5559 | -77.7799 | 162.2202 | 42.2201 | 102.1366 | -17.5753 | -137.9009 | 1.255 | 0.94998 | 0.83651 | 1.2444 | 0.93906 | 0.82568 | -3.7634 | -126.1901 | 112.6967 | -3.5256 | -125.9138 | 112.9999

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0033945 | 2.7781 | 2.0875 | 0.0028191 | 2.7784 | 2.0872 | 0.039196 | 32.0792 | 24.1048 | 0.032552 | 32.0818 | 24.1003 | 0.00028036 | 25.7367 | 3.076 | 8.2689e-05 | -12.8751 | -1.527 | -0.038381 | 2.4886 | 12.4416 | 0.038065 | -1.264 | -6.2057 | 86.3164 | -158.0202 | 41.6973 | -94.3983 | 21.9908 | -138.3145 | 0.97922 | 0.80603 | 0.53169 | 1.1694 | 0.40325 | 0.26518 | -3.2651 | -152.4972 | 117.8101 | -4.5227 | -152.4021 | 117.8622
Line_1 | 0 | 2.7796 | 2.0851 | 0.0016873 | 2.7789 | 2.0863 | 0 | 32.0962 | 24.0769 | 0.019484 | 32.0874 | 24.091 | -1.8146e-09 | -1.4919e-10 | -2.5963e-11 | 0.00011788 | 12.8778 | 1.524 | -4.6655e-10 | -1.238e-10 | -1.4312e-10 | -0.022783 | 1.2595 | 6.2039 | 0 | 22.0429 | -138.3682 | 85.1808 | -157.9882 | 41.6637 | 1.3596 | 0 | 0 | 1.1694 | 0.40325 | 0.26518 | -5.37 | 0 | 0 | -4.5227 | -152.4021 | 117.8622
Line_2 | 0 | 0 | 0 | 0.0011319 | 0.0011319 | 0.0011319 | 0 | 0 | 0 | 0.013069 | 0.013069 | 0.013069 | -7.4004e-10 | 6.5281e-10 | 7.1325e-10 | -0.00020057 | -0.0027434 | 0.0029508 | -3.3939e-10 | -7.9151e-10 | -3.5779e-11 | -0.015282 | 0.0045 | 0.0018177 | 0 | 0 | 0 | 86.2292 | 86.2292 | 86.2292 | 1.1694 | 0.40337 | 0.26484 | 1.1694 | 0.40325 | 0.26518 | -4.5397 | -152.3546 | 117.8885 | -4.5227 | -152.4021 | 117.8622

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0033945 | 2.7781 | 2.0875 | 0.0028191 | 2.7784 | 2.0872 | 0.039196 | 32.0792 | 24.1048 | 0.032552 | 32.0818 | 24.1003 | 0.00028036 | 25.7367 | 3.076 | 8.2689e-05 | -12.8751 | -1.527 | -0.038381 | 2.4886 | 12.4416 | 0.038065 | -1.264 | -6.2057 | 86.3164 | -158.0202 | 41.6973 | -94.3983 | 21.9908 | -138.3145 | 0.97922 | 0.80603 | 0.53169 | 1.1694 | 0.40325 | 0.26518 | -3.2651 | -152.4972 | 117.8101 | -4.5227 | -152.4021 | 117.8622
Line_1 | 0 | 2.7796 | 2.0851 | 0.0016873 | 2.7789 | 2.0863 | 0 | 32.0962 | 24.0769 | 0.019484 | 32.0874 | 24.091 | -1.8146e-09 | -1.4919e-10 | -2.5963e-11 | 0.00011788 | 12.8778 | 1.524 | -4.6655e-10 | -1.238e-10 | -1.4312e-10 | -0.022783 | 1.2595 | 6.2039 | 0 | 22.0429 | -138.3682 | 85.1808 | -157.9882 | 41.6637 | 1.3596 | 0 | 0 | 1.1694 | 0.40325 | 0.26518 | -5.37 | 0 | 0 | -4.5227 | -152.4021 | 117.8622
Line_2 | 0 | 0 | 0 | 0.0011319 | 0.0011319 | 0.0011319 | 0 | 0 | 0 | 0.013069 | 0.013069 | 0.013069 | -7.4004e-10 | 6.5281e-10 | 7.1325e-10 | -0.00020057 | -0.0027434 | 0.0029508 | -3.3939e-10 | -7.9151e-10 | -3.5779e-11 | -0.015282 | 0.0045 | 0.0018177 | 0 | 0 | 0 | 86.2292 | 86.2292 | 86.2292 | 1.1694 | 0.40337 | 0.26484 | 1.1694 | 0.40325 | 0.26518 | -4.5397 | -152.3546 | 117.8885 | -4.5227 | -152.4021 | 117.8622

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002101 | 1.0622 | 0.83662 | 0.0017449 | 1.0624 | 0.83628 | 0.024261 | 12.2658 | 9.6604 | 0.020148 | 12.2681 | 9.6565 | 0.0050614 | 9.9907 | 4.5934 | -0.0041707 | -7.8204 | -4.0373 | -0.023246 | 4.9831 | 6.5814 | 0.021625 | -5.324 | -5.0318 | 75.8793 | -157.4048 | 61.4027 | -104.8353 | 22.6113 | -118.6048 | 0.98063 | 0.91021 | 0.8308 | 1.0931 | 0.77116 | 0.66807 | -1.8374 | -130.8958 | 116.4902 | -3.9192 | -123.1423 | 112.6535
Line_1 | 0 | 1.0635 | 0.83458 | 0.0010444 | 1.0629 | 0.8356 | 0 | 12.2803 | 9.6369 | 0.012059 | 12.2729 | 9.6487 | -9.354e-10 | -5.6552 | -3.4827 | 0.0025913 | 7.8263 | 4.0329 | -4.2938e-10 | -5.6552 | -3.4827 | -0.012925 | 5.322 | 5.0286 | 0 | 22.6859 | -118.6333 | 74.7438 | -157.3585 | 61.3832 | 1.2067 | 0.65126 | 0.51108 | 1.0931 | 0.77116 | 0.66807 | -5.5691 | -112.3141 | 106.3667 | -3.9192 | -123.1423 | 112.6535
Line_2 | 0 | 0 | 0 | 0.00070056 | 0.00070056 | 0.00070056 | 0 | 0 | 0 | 0.0080894 | 0.0080894 | 0.0080894 | -3.8259e-10 | 6.4247e-10 | 7.9328e-10 | 0.0015793 | -0.0059007 | 0.0043239 | -2.7475e-10 | -1.5463e-10 | -3.128e-10 | -0.0087004 | 0.0020242 | 0.0032419 | 0 | 0 | 0 | 75.7922 | 75.7922 | 75.7922 | 1.0931 | 0.77135 | 0.66787 | 1.0931 | 0.77116 | 0.66807 | -3.9307 | -123.134 | 112.6615 | -3.9192 | -123.1423 | 112.6535

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002101 | 1.0622 | 0.83662 | 0.0017449 | 1.0624 | 0.83628 | 0.024261 | 12.2658 | 9.6604 | 0.020148 | 12.2681 | 9.6565 | 0.0050614 | 9.9907 | 4.5934 | -0.0041707 | -7.8204 | -4.0373 | -0.023246 | 4.9831 | 6.5814 | 0.021625 | -5.324 | -5.0318 | 75.8793 | -157.4048 | 61.4027 | -104.8353 | 22.6113 | -118.6048 | 0.98063 | 0.91021 | 0.8308 | 1.0931 | 0.77116 | 0.66807 | -1.8374 | -130.8958 | 116.4902 | -3.9192 | -123.1423 | 112.6535
Line_1 | 0 | 1.0635 | 0.83458 | 0.0010444 | 1.0629 | 0.8356 | 0 | 12.2803 | 9.6369 | 0.012059 | 12.2729 | 9.6487 | -9.354e-10 | -5.6552 | -3.4827 | 0.0025913 | 7.8263 | 4.0329 | -4.2938e-10 | -5.6552 | -3.4827 | -0.012925 | 5.322 | 5.0286 | 0 | 22.6859 | -118.6333 | 74.7438 | -157.3585 | 61.3832 | 1.2067 | 0.65126 | 0.51108 | 1.0931 | 0.77116 | 0.66807 | -5.5691 | -112.3141 | 106.3667 | -3.9192 | -123.1423 | 112.6535
Line_2 | 0 | 0 | 0 | 0.00070056 | 0.00070056 | 0.00070056 | 0 | 0 | 0 | 0.0080894 | 0.0080894 | 0.0080894 | -3.8259e-10 | 6.4247e-10 | 7.9328e-10 | 0.0015793 | -0.0059007 | 0.0043239 | -2.7475e-10 | -1.5463e-10 | -3.128e-10 | -0.0087004 | 0.0020242 | 0.0032419 | 0 | 0 | 0 | 75.7922 | 75.7922 | 75.7922 | 1.0931 | 0.77135 | 0.66787 | 1.0931 | 0.77116 | 0.66807 | -3.9307 | -123.134 | 112.6615 | -3.9192 | -123.1423 | 112.6535