## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0 | 0 | 12 | 12 | -0.023022 | 0.21022 | -0.67342 | 0.88582 | 95.7106 | -84.2894 | 0.056151 | 0.075869 | 3.7526 | -7.6398
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.15191 | -0.10511 | 0.49601 | -0.44291 | -84.2894 | 95.7106 | 0.086459 | 0.075869 | -11.3174 | -7.6398
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.15191 | -0.10511 | 0.49601 | -0.44291 | -84.2894 | 95.7106 | 0.086459 | 0.075869 | -11.3174 | -7.6398

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0 | 0 | 12 | 12 | -0.023022 | 0.21022 | -0.67342 | 0.88582 | 95.7106 | -84.2894 | 0.056151 | 0.075869 | 3.7526 | -7.6398
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.15191 | -0.10511 | 0.49601 | -0.44291 | -84.2894 | 95.7106 | 0.086459 | 0.075869 | -11.3174 | -7.6398
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.15191 | -0.10511 | 0.49601 | -0.44291 | -84.2894 | 95.7106 | 0.086459 | 0.075869 | -11.3174 | -7.6398

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0 | 0 | 12 | 12 | -2.5857 | 2.7729 | -4.8404 | 5.0528 | 95.7106 | -84.2894 | 0.45731 | 0.4803 | -22.4001 | -23.0467
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.4332 | -1.3864 | 2.5795 | -2.5264 | -84.2894 | 95.7106 | 0.49182 | 0.4803 | -23.3473 | -23.0467
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.4332 | -1.3864 | 2.5795 | -2.5264 | -84.2894 | 95.7106 | 0.49182 | 0.4803 | -23.3473 | -23.0467

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0 | 0 | 12 | 12 | -2.5857 | 2.7729 | -4.8404 | 5.0528 | 95.7106 | -84.2894 | 0.45731 | 0.4803 | -22.4001 | -23.0467
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.4332 | -1.3864 | 2.5795 | -2.5264 | -84.2894 | 95.7106 | 0.49182 | 0.4803 | -23.3473 | -23.0467
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.4332 | -1.3864 | 2.5795 | -2.5264 | -84.2894 | 95.7106 | 0.49182 | 0.4803 | -23.3473 | -23.0467

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.45073 | -2.037 | 1.8001 | 0.51313 | 2.0994 | -1.7377 | -4.6552 | -1.1403 | -1.524 | 4.726 | 1.2111 | 1.5948 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.1692 | 0.58361 | 0.58965 | 1.1884 | 0.60592 | 0.58965 | 0.18008 | -175.0496 | 175.4587 | -0.48629 | -174.3097 | 173.166
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.27217 | 1.0653 | -0.85326 | -0.25657 | -1.0497 | 0.86886 | 2.3807 | 0.62324 | 0.8151 | -2.363 | -0.60554 | -0.7974 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1981 | 0.61711 | 0.59001 | 1.1884 | 0.60592 | 0.58965 | -0.81144 | -173.9598 | 172.0206 | -0.48629 | -174.3097 | 173.166
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.27217 | 1.0653 | -0.85326 | -0.25657 | -1.0497 | 0.86886 | 2.3807 | 0.62324 | 0.8151 | -2.363 | -0.60554 | -0.7974 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1981 | 0.61711 | 0.59001 | 1.1884 | 0.60592 | 0.58965 | -0.81144 | -173.9598 | 172.0206 | -0.48629 | -174.3097 | 173.166

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.45073 | -2.037 | 1.8001 | 0.51313 | 2.0994 | -1.7377 | -4.6552 | -1.1403 | -1.524 | 4.726 | 1.2111 | 1.5948 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.1692 | 0.58361 | 0.58965 | 1.1884 | 0.60592 | 0.58965 | 0.18008 | -175.0496 | 175.4587 | -0.48629 | -174.3097 | 173.166
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.27217 | 1.0653 | -0.85326 | -0.25657 | -1.0497 | 0.86886 | 2.3807 | 0.62324 | 0.8151 | -2.363 | -0.60554 | -0.7974 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1981 | 0.61711 | 0.59001 | 1.1884 | 0.60592 | 0.58965 | -0.81144 | -173.9598 | 172.0206 | -0.48629 | -174.3097 | 173.166
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.27217 | 1.0653 | -0.85326 | -0.25657 | -1.0497 | 0.86886 | 2.3807 | 0.62324 | 0.8151 | -2.363 | -0.60554 | -0.7974 | -84.2895 | 155.7108 | 35.7105 | 95.7105 | -24.2892 | -144.2895 | 1.1981 | 0.61711 | 0.59001 | 1.1884 | 0.60592 | 0.58965 | -0.81144 | -173.9598 | 172.0206 | -0.48629 | -174.3097 | 173.166

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.45073 | -2.1404 | 1.0252 | 0.51313 | 2.2028 | -0.96278 | -4.6552 | -1.9754 | -1.852 | 4.726 | 2.0462 | 1.9228 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.1692 | 0.72816 | 0.52921 | 1.1884 | 0.75163 | 0.5376 | 0.18008 | -161.5845 | 154.6768 | -0.48629 | -161.3995 | 152.3079
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.27217 | 1.117 | -0.46579 | -0.25657 | -1.1014 | 0.48139 | 2.3807 | 1.0408 | 0.97912 | -2.363 | -1.0231 | -0.96142 | -84.2895 | 155.7107 | 35.7106 | 95.7105 | -24.2893 | -144.2894 | 1.1981 | 0.76337 | 0.54213 | 1.1884 | 0.75163 | 0.5376 | -0.81144 | -161.3113 | 151.152 | -0.48629 | -161.3995 | 152.3079
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.27217 | 1.117 | -0.46579 | -0.25657 | -1.1014 | 0.48139 | 2.3807 | 1.0408 | 0.97912 | -2.363 | -1.0231 | -0.96142 | -84.2895 | 155.7107 | 35.7106 | 95.7105 | -24.2893 | -144.2894 | 1.1981 | 0.76337 | 0.54213 | 1.1884 | 0.75163 | 0.5376 | -0.81144 | -161.3113 | 151.152 | -0.48629 | -161.3995 | 152.3079

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.45073 | -2.1404 | 1.0252 | 0.51313 | 2.2028 | -0.96278 | -4.6552 | -1.9754 | -1.852 | 4.726 | 2.0462 | 1.9228 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.1692 | 0.72816 | 0.52921 | 1.1884 | 0.75163 | 0.5376 | 0.18008 | -161.5845 | 154.6768 | -0.48629 | -161.3995 | 152.3079
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.27217 | 1.117 | -0.46579 | -0.25657 | -1.1014 | 0.48139 | 2.3807 | 1.0408 | 0.97912 | -2.363 | -1.0231 | -0.96142 | -84.2895 | 155.7107 | 35.7106 | 95.7105 | -24.2893 | -144.2894 | 1.1981 | 0.76337 | 0.54213 | 1.1884 | 0.75163 | 0.5376 | -0.81144 | -161.3113 | 151.152 | -0.48629 | -161.3995 | 152.3079
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.27217 | 1.117 | -0.46579 | -0.25657 | -1.1014 | 0.48139 | 2.3807 | 1.0408 | 0.97912 | -2.363 | -1.0231 | -0.96142 | -84.2895 | 155.7107 | 35.7106 | 95.7105 | -24.2893 | -144.2894 | 1.1981 | 0.76337 | 0.54213 | 1.1884 | 0.75163 | 0.5376 | -0.81144 | -161.3113 | 151.152 | -0.48629 | -161.3995 | 152.3079

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -8.2898e-15 | -2.3686e-15 | 1.7407e-28 | 8.2904e-15 | 4.7377e-15 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9618e-13 | -180 | 180 | 7.0184e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -3.5524e-15 | 2.3688e-15 | -7.1054e-15 | 3.5525e-15 | -2.6081e-19 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -8.7037e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8733e-13 | -180 | 180 | 7.0184e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | -3.5524e-15 | 2.3688e-15 | -1.4211e-14 | 3.5525e-15 | -2.6081e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.7407e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8698e-13 | -180 | 180 | 7.0184e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -8.2898e-15 | -2.3686e-15 | 1.7407e-28 | 8.2904e-15 | 4.7377e-15 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9618e-13 | -180 | 180 | 7.0184e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -3.5524e-15 | 2.3688e-15 | -7.1054e-15 | 3.5525e-15 | -2.6081e-19 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -8.7037e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8733e-13 | -180 | 180 | 7.0184e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | -3.5524e-15 | 2.3688e-15 | -1.4211e-14 | 3.5525e-15 | -2.6081e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.7407e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8698e-13 | -180 | 180 | 7.0184e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4493e-28 | -5.5597e-10 | -1.5515e-09 | -2.3685e-15 | 5.5597e-10 | 1.5515e-09 | 1.4211e-14 | 4.8332e-09 | -3.1089e-09 | -1.8948e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8433e-13 | -166.2936 | 160.6236 | 5.8379e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0229e-29 | 1.8532e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1715e-10 | -7.1054e-15 | -1.611e-09 | 1.0363e-09 | 4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.663e-13 | -166.2936 | 160.6236 | 5.8379e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3649e-29 | 1.8532e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.721e-13 | -166.2936 | 160.6236 | 5.8379e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4493e-28 | -5.5597e-10 | -1.5515e-09 | -2.3685e-15 | 5.5597e-10 | 1.5515e-09 | 1.4211e-14 | 4.8332e-09 | -3.1089e-09 | -1.8948e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8433e-13 | -166.2936 | 160.6236 | 5.8379e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0229e-29 | 1.8532e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1715e-10 | -7.1054e-15 | -1.611e-09 | 1.0363e-09 | 4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.663e-13 | -166.2936 | 160.6236 | 5.8379e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3649e-29 | 1.8532e-10 | 5.1715e-10 | -2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.721e-13 | -166.2936 | 160.6236 | 5.8379e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.341 | 0.34867 | 0.34963 | 0.3428 | 0.34791 | 0.34855 | 3.9375 | 4.0261 | 4.0371 | 3.9583 | 4.0173 | 4.0247 | -0.0090968 | -0.36403 | -0.5333 | 0.064891 | 0.45182 | 0.57715 | -0.23267 | -4.6822 | -4.6766 | 0.30223 | 4.7375 | 4.7412 | 95.8044 | -25.1058 | -143.5667 | -84.2267 | 155.1647 | 36.1938 | 0.059136 | 1.1665 | 1.1659 | 0.078092 | 1.1846 | 1.1867 | 3.5654 | -119.5515 | 119.9276 | -6.3447 | -120.2831 | 119.2533
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.1714 | 0.17395 | 0.17428 | 2 | 2 | 2 | 1.9792 | 2.0086 | 2.0124 | 0.047619 | 0.26344 | 0.28268 | -0.032446 | -0.22591 | -0.28857 | 0.17027 | 2.3736 | 2.3767 | -0.15111 | -2.3688 | -2.3706 | -84.2893 | 155.7105 | 35.7106 | 95.7733 | -24.8353 | -143.8062 | 0.088402 | 1.1941 | 1.1967 | 0.078092 | 1.1846 | 1.1867 | -9.9138 | -120.6227 | 118.9278 | -6.3447 | -120.2831 | 119.2533
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.1714 | 0.17395 | 0.17428 | 2 | 2 | 2 | 1.9792 | 2.0086 | 2.0124 | 0.047619 | 0.26344 | 0.28268 | -0.032446 | -0.22591 | -0.28857 | 0.17027 | 2.3736 | 2.3767 | -0.15111 | -2.3688 | -2.3706 | -84.2893 | 155.7105 | 35.7106 | 95.7733 | -24.8353 | -143.8062 | 0.088402 | 1.1941 | 1.1967 | 0.078092 | 1.1846 | 1.1867 | -9.9138 | -120.6227 | 118.9278 | -6.3447 | -120.2831 | 119.2533

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.341 | 0.34867 | 0.34963 | 0.3428 | 0.34791 | 0.34855 | 3.9375 | 4.0261 | 4.0371 | 3.9583 | 4.0173 | 4.0247 | -0.0090968 | -0.36403 | -0.5333 | 0.064891 | 0.45182 | 0.57715 | -0.23267 | -4.6822 | -4.6766 | 0.30223 | 4.7375 | 4.7412 | 95.8044 | -25.1058 | -143.5667 | -84.2267 | 155.1647 | 36.1938 | 0.059136 | 1.1665 | 1.1659 | 0.078092 | 1.1846 | 1.1867 | 3.5654 | -119.5515 | 119.9276 | -6.3447 | -120.2831 | 119.2533
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.1714 | 0.17395 | 0.17428 | 2 | 2 | 2 | 1.9792 | 2.0086 | 2.0124 | 0.047619 | 0.26344 | 0.28268 | -0.032446 | -0.22591 | -0.28857 | 0.17027 | 2.3736 | 2.3767 | -0.15111 | -2.3688 | -2.3706 | -84.2893 | 155.7105 | 35.7106 | 95.7733 | -24.8353 | -143.8062 | 0.088402 | 1.1941 | 1.1967 | 0.078092 | 1.1846 | 1.1867 | -9.9138 | -120.6227 | 118.9278 | -6.3447 | -120.2831 | 119.2533
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.1714 | 0.17395 | 0.17428 | 2 | 2 | 2 | 1.9792 | 2.0086 | 2.0124 | 0.047619 | 0.26344 | 0.28268 | -0.032446 | -0.22591 | -0.28857 | 0.17027 | 2.3736 | 2.3767 | -0.15111 | -2.3688 | -2.3706 | -84.2893 | 155.7105 | 35.7106 | 95.7733 | -24.8353 | -143.8062 | 0.088402 | 1.1941 | 1.1967 | 0.078092 | 1.1846 | 1.1867 | -9.9138 | -120.6227 | 118.9278 | -6.3447 | -120.2831 | 119.2533

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34269 | 0.34871 | 0.34786 | 0.34393 | 0.34794 | 0.34737 | 3.9571 | 4.0265 | 4.0167 | 3.9714 | 4.0176 | 4.0111 | -0.85051 | -0.39991 | -0.51444 | 0.91252 | 0.4782 | 0.56144 | -1.6083 | -4.6799 | -4.6625 | 1.682 | 4.7377 | 4.7326 | 95.6283 | -24.7777 | -143.7188 | -84.3438 | 155.384 | 36.0915 | 0.45977 | 1.1665 | 1.1678 | 0.48184 | 1.1852 | 1.1881 | -22.2422 | -119.662 | 119.985 | -22.8249 | -120.3797 | 119.3261
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17197 | 0.17397 | 0.17369 | 2 | 2 | 2 | 1.9857 | 2.0088 | 2.0056 | 0.47558 | 0.26746 | 0.27985 | -0.45626 | -0.2391 | -0.28072 | 0.8641 | 2.3745 | 2.3797 | -0.84099 | -2.3689 | -2.3663 | -84.2893 | 155.7105 | 35.7106 | 95.6562 | -24.616 | -143.9085 | 0.49317 | 1.1948 | 1.198 | 0.48184 | 1.1852 | 1.1881 | -23.1165 | -120.7159 | 119.0034 | -22.8249 | -120.3797 | 119.3261
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17197 | 0.17397 | 0.17369 | 2 | 2 | 2 | 1.9857 | 2.0088 | 2.0056 | 0.47558 | 0.26746 | 0.27985 | -0.45626 | -0.2391 | -0.28072 | 0.8641 | 2.3745 | 2.3797 | -0.84099 | -2.3689 | -2.3663 | -84.2893 | 155.7105 | 35.7106 | 95.6562 | -24.616 | -143.9085 | 0.49317 | 1.1948 | 1.198 | 0.48184 | 1.1852 | 1.1881 | -23.1165 | -120.7159 | 119.0034 | -22.8249 | -120.3797 | 119.3261

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34269 | 0.34871 | 0.34786 | 0.34393 | 0.34794 | 0.34737 | 3.9571 | 4.0265 | 4.0167 | 3.9714 | 4.0176 | 4.0111 | -0.85051 | -0.39991 | -0.51444 | 0.91252 | 0.4782 | 0.56144 | -1.6083 | -4.6799 | -4.6625 | 1.682 | 4.7377 | 4.7326 | 95.6283 | -24.7777 | -143.7188 | -84.3438 | 155.384 | 36.0915 | 0.45977 | 1.1665 | 1.1678 | 0.48184 | 1.1852 | 1.1881 | -22.2422 | -119.662 | 119.985 | -22.8249 | -120.3797 | 119.3261
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17197 | 0.17397 | 0.17369 | 2 | 2 | 2 | 1.9857 | 2.0088 | 2.0056 | 0.47558 | 0.26746 | 0.27985 | -0.45626 | -0.2391 | -0.28072 | 0.8641 | 2.3745 | 2.3797 | -0.84099 | -2.3689 | -2.3663 | -84.2893 | 155.7105 | 35.7106 | 95.6562 | -24.616 | -143.9085 | 0.49317 | 1.1948 | 1.198 | 0.48184 | 1.1852 | 1.1881 | -23.1165 | -120.7159 | 119.0034 | -22.8249 | -120.3797 | 119.3261
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17197 | 0.17397 | 0.17369 | 2 | 2 | 2 | 1.9857 | 2.0088 | 2.0056 | 0.47558 | 0.26746 | 0.27985 | -0.45626 | -0.2391 | -0.28072 | 0.8641 | 2.3745 | 2.3797 | -0.84099 | -2.3689 | -2.3663 | -84.2893 | 155.7105 | 35.7106 | 95.6562 | -24.616 | -143.9085 | 0.49317 | 1.1948 | 1.198 | 0.48184 | 1.1852 | 1.1881 | -23.1165 | -120.7159 | 119.0034 | -22.8249 | -120.3797 | 119.3261

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048841 | 0.0048841 | 0.0048841 | 0.0032571 | 0.0032571 | 0.0032571 | 0.056397 | 0.056397 | 0.056397 | 0.03761 | 0.03761 | 0.03761 | -1.143e-06 | 0.049031 | -0.048649 | 9.4992e-05 | -0.032632 | 0.032508 | 0.00015525 | -0.027558 | -0.028166 | -8.4023e-05 | 0.018348 | 0.018852 | -90.3567 | -90.3566 | -90.3566 | 89.5562 | 89.5562 | 89.5562 | 0.0027529 | 0.99731 | 0.99677 | 0.003372 | 0.99538 | 0.99919 | 0.065193 | -119.6951 | 119.7129 | 48.0626 | -119.7915 | 119.6666
Line_1 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8484e-12 | 1.8225e-11 | 1.1241e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.2052e-11 | -2.1927e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666
Line_2 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.8227e-11 | 1.1218e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.205e-11 | -2.1923e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048841 | 0.0048841 | 0.0048841 | 0.0032571 | 0.0032571 | 0.0032571 | 0.056397 | 0.056397 | 0.056397 | 0.03761 | 0.03761 | 0.03761 | -1.143e-06 | 0.049031 | -0.048649 | 9.4992e-05 | -0.032632 | 0.032508 | 0.00015525 | -0.027558 | -0.028166 | -8.4023e-05 | 0.018348 | 0.018852 | -90.3567 | -90.3566 | -90.3566 | 89.5562 | 89.5562 | 89.5562 | 0.0027529 | 0.99731 | 0.99677 | 0.003372 | 0.99538 | 0.99919 | 0.065193 | -119.6951 | 119.7129 | 48.0626 | -119.7915 | 119.6666
Line_1 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8484e-12 | 1.8225e-11 | 1.1241e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.2052e-11 | -2.1927e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666
Line_2 | 0 | 0 | 0 | 0.0016286 | 0.0016286 | 0.0016286 | 0 | 0 | 0 | 0.018805 | 0.018805 | 0.018805 | 7.8483e-12 | 1.8227e-11 | 1.1218e-12 | -4.7496e-05 | 0.016316 | -0.016254 | 1.1035e-11 | 1.205e-11 | -2.1923e-11 | 4.2011e-05 | -0.0091739 | -0.0094262 | 0 | 0 | 0 | -90.4438 | -90.4438 | -90.4438 | 0.0037011 | 0.995 | 0.99968 | 0.003372 | 0.99538 | 0.99919 | 54.4062 | -119.8108 | 119.6573 | 48.0626 | -119.7915 | 119.6666

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035014 | 0.0035014 | 0.0035014 | 0.002335 | 0.002335 | 0.002335 | 0.040431 | 0.040431 | 0.040431 | 0.026962 | 0.026962 | 0.026962 | 0.0085452 | 0.030082 | -0.038431 | -0.0056395 | -0.02004 | 0.025665 | 0.010652 | -0.02685 | -0.012361 | -0.0071019 | 0.017885 | 0.0082922 | -78.0589 | -78.0588 | -78.0588 | 101.854 | 101.854 | 101.854 | 0.33775 | 0.9973 | 0.9985 | 0.33635 | 0.99621 | 1.0003 | -26.7973 | -119.8102 | 119.7709 | -26.5983 | -119.8947 | 119.7595
Line_1 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.881e-10 | 1.4627e-11 | -2.5466e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5095e-10 | 5.6314e-12 | -1.5547e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595
Line_2 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.881e-10 | 1.4627e-11 | -2.5435e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6314e-12 | -1.5545e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035014 | 0.0035014 | 0.0035014 | 0.002335 | 0.002335 | 0.002335 | 0.040431 | 0.040431 | 0.040431 | 0.026962 | 0.026962 | 0.026962 | 0.0085452 | 0.030082 | -0.038431 | -0.0056395 | -0.02004 | 0.025665 | 0.010652 | -0.02685 | -0.012361 | -0.0071019 | 0.017885 | 0.0082922 | -78.0589 | -78.0588 | -78.0588 | 101.854 | 101.854 | 101.854 | 0.33775 | 0.9973 | 0.9985 | 0.33635 | 0.99621 | 1.0003 | -26.7973 | -119.8102 | 119.7709 | -26.5983 | -119.8947 | 119.7595
Line_1 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.881e-10 | 1.4627e-11 | -2.5466e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5095e-10 | 5.6314e-12 | -1.5547e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595
Line_2 | 0 | 0 | 0 | 0.0011675 | 0.0011675 | 0.0011675 | 0 | 0 | 0 | 0.013481 | 0.013481 | 0.013481 | 6.881e-10 | 1.4627e-11 | -2.5435e-12 | 0.0028197 | 0.01002 | -0.012832 | -5.5094e-10 | 5.6314e-12 | -1.5545e-11 | 0.003551 | -0.0089426 | -0.0041461 | 0 | 0 | 0 | -78.146 | -78.146 | -78.146 | 0.33606 | 0.99599 | 1.0007 | 0.33635 | 0.99621 | 1.0003 | -26.5582 | -119.9116 | 119.7572 | -26.5983 | -119.8947 | 119.7595

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35184 | 0.34422 | 0.34324 | 0.35003 | 0.34494 | 0.34429 | 4.0627 | 3.9747 | 3.9634 | 4.0418 | 3.9831 | 3.9755 | -0.44656 | -0.021784 | 0.0050045 | 0.51576 | 0.07911 | 0.055906 | -4.7042 | -0.22767 | -0.22931 | 4.7531 | 0.30255 | 0.29487 | 95.6192 | -23.46 | -145.0275 | -84.3512 | 156.2628 | 35.2202 | 1.1631 | 0.057542 | 0.05787 | 1.1829 | 0.078513 | 0.075494 | 0.19634 | -118.9256 | 126.2228 | -0.54414 | -128.3907 | 114.4845
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17501 | 0.17247 | 0.17214 | 2 | 2 | 2 | 2.0209 | 1.9915 | 1.9877 | 0.27395 | 0.053409 | 0.04484 | -0.25788 | -0.039555 | -0.027953 | 2.3695 | 0.17043 | 0.16519 | -2.3765 | -0.15127 | -0.14744 | -84.2895 | 155.7107 | 35.7105 | 95.6488 | -23.7372 | -144.7798 | 1.1927 | 0.089302 | 0.085584 | 1.1829 | 0.078513 | 0.075494 | -0.88427 | -131.6889 | 110.524 | -0.54414 | -128.3907 | 114.4845
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17501 | 0.17247 | 0.17214 | 2 | 2 | 2 | 2.0209 | 1.9915 | 1.9877 | 0.27395 | 0.053409 | 0.04484 | -0.25788 | -0.039555 | -0.027953 | 2.3695 | 0.17043 | 0.16519 | -2.3765 | -0.15127 | -0.14744 | -84.2895 | 155.7107 | 35.7105 | 95.6488 | -23.7372 | -144.7798 | 1.1927 | 0.089302 | 0.085584 | 1.1829 | 0.078513 | 0.075494 | -0.88427 | -131.6889 | 110.524 | -0.54414 | -128.3907 | 114.4845

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35184 | 0.34422 | 0.34324 | 0.35003 | 0.34494 | 0.34429 | 4.0627 | 3.9747 | 3.9634 | 4.0418 | 3.9831 | 3.9755 | -0.44656 | -0.021784 | 0.0050045 | 0.51576 | 0.07911 | 0.055906 | -4.7042 | -0.22767 | -0.22931 | 4.7531 | 0.30255 | 0.29487 | 95.6192 | -23.46 | -145.0275 | -84.3512 | 156.2628 | 35.2202 | 1.1631 | 0.057542 | 0.05787 | 1.1829 | 0.078513 | 0.075494 | 0.19634 | -118.9256 | 126.2228 | -0.54414 | -128.3907 | 114.4845
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17501 | 0.17247 | 0.17214 | 2 | 2 | 2 | 2.0209 | 1.9915 | 1.9877 | 0.27395 | 0.053409 | 0.04484 | -0.25788 | -0.039555 | -0.027953 | 2.3695 | 0.17043 | 0.16519 | -2.3765 | -0.15127 | -0.14744 | -84.2895 | 155.7107 | 35.7105 | 95.6488 | -23.7372 | -144.7798 | 1.1927 | 0.089302 | 0.085584 | 1.1829 | 0.078513 | 0.075494 | -0.88427 | -131.6889 | 110.524 | -0.54414 | -128.3907 | 114.4845
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17501 | 0.17247 | 0.17214 | 2 | 2 | 2 | 2.0209 | 1.9915 | 1.9877 | 0.27395 | 0.053409 | 0.04484 | -0.25788 | -0.039555 | -0.027953 | 2.3695 | 0.17043 | 0.16519 | -2.3765 | -0.15127 | -0.14744 | -84.2895 | 155.7107 | 35.7105 | 95.6488 | -23.7372 | -144.7798 | 1.1927 | 0.089302 | 0.085584 | 1.1829 | 0.078513 | 0.075494 | -0.88427 | -131.6889 | 110.524 | -0.54414 | -128.3907 | 114.4845

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35013 | 0.34413 | 0.345 | 0.34889 | 0.34489 | 0.34546 | 4.043 | 3.9737 | 3.9837 | 4.0287 | 3.9824 | 3.989 | -0.46366 | -0.87973 | -0.83262 | 0.52651 | 0.93588 | 0.90093 | -4.6875 | -1.6007 | -1.621 | 4.7445 | 1.6791 | 1.6871 | 95.7915 | -23.7937 | -144.8659 | -84.2356 | 156.0406 | 35.3268 | 1.1651 | 0.45964 | 0.45745 | 1.1849 | 0.48269 | 0.47946 | 0.14256 | -142.587 | 97.9467 | -0.568 | -143.0936 | 97.224
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17445 | 0.17245 | 0.17273 | 2 | 2 | 2 | 2.0143 | 1.9912 | 1.9945 | 0.27514 | 0.48037 | 0.47295 | -0.26326 | -0.46794 | -0.45046 | 2.3735 | 0.86385 | 0.86009 | -2.3722 | -0.83954 | -0.84355 | -84.2895 | 155.7107 | 35.7106 | 95.7644 | -23.9594 | -144.6732 | 1.1947 | 0.49422 | 0.49077 | 1.1849 | 0.48269 | 0.47946 | -0.90183 | -143.3667 | 96.9047 | -0.568 | -143.0936 | 97.224
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17445 | 0.17245 | 0.17273 | 2 | 2 | 2 | 2.0143 | 1.9912 | 1.9945 | 0.27514 | 0.48037 | 0.47295 | -0.26326 | -0.46794 | -0.45046 | 2.3735 | 0.86385 | 0.86009 | -2.3722 | -0.83954 | -0.84355 | -84.2895 | 155.7107 | 35.7106 | 95.7644 | -23.9594 | -144.6732 | 1.1947 | 0.49422 | 0.49077 | 1.1849 | 0.48269 | 0.47946 | -0.90183 | -143.3667 | 96.9047 | -0.568 | -143.0936 | 97.224

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35013 | 0.34413 | 0.345 | 0.34889 | 0.34489 | 0.34546 | 4.043 | 3.9737 | 3.9837 | 4.0287 | 3.9824 | 3.989 | -0.46366 | -0.87973 | -0.83262 | 0.52651 | 0.93588 | 0.90093 | -4.6875 | -1.6007 | -1.621 | 4.7445 | 1.6791 | 1.6871 | 95.7915 | -23.7937 | -144.8659 | -84.2356 | 156.0406 | 35.3268 | 1.1651 | 0.45964 | 0.45745 | 1.1849 | 0.48269 | 0.47946 | 0.14256 | -142.587 | 97.9467 | -0.568 | -143.0936 | 97.224
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17445 | 0.17245 | 0.17273 | 2 | 2 | 2 | 2.0143 | 1.9912 | 1.9945 | 0.27514 | 0.48037 | 0.47295 | -0.26326 | -0.46794 | -0.45046 | 2.3735 | 0.86385 | 0.86009 | -2.3722 | -0.83954 | -0.84355 | -84.2895 | 155.7107 | 35.7106 | 95.7644 | -23.9594 | -144.6732 | 1.1947 | 0.49422 | 0.49077 | 1.1849 | 0.48269 | 0.47946 | -0.90183 | -143.3667 | 96.9047 | -0.568 | -143.0936 | 97.224
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17445 | 0.17245 | 0.17273 | 2 | 2 | 2 | 2.0143 | 1.9912 | 1.9945 | 0.27514 | 0.48037 | 0.47295 | -0.26326 | -0.46794 | -0.45046 | 2.3735 | 0.86385 | 0.86009 | -2.3722 | -0.83954 | -0.84355 | -84.2895 | 155.7107 | 35.7106 | 95.7644 | -23.9594 | -144.6732 | 1.1947 | 0.49422 | 0.49077 | 1.1849 | 0.48269 | 0.47946 | -0.90183 | -143.3667 | 96.9047 | -0.568 | -143.0936 | 97.224

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048998 | 0.0048998 | 0.0048998 | 0.0032675 | 0.0032675 | 0.0032675 | 0.056578 | 0.056578 | 0.056578 | 0.03773 | 0.03773 | 0.03773 | 0.00038575 | -1.1504e-06 | -1.1504e-06 | -0.00021962 | 9.5602e-05 | 9.5602e-05 | -0.056239 | 0.00015625 | 0.00015624 | 0.037524 | -8.4562e-05 | -8.4562e-05 | 89.6252 | 89.6252 | 89.6252 | -90.4619 | -90.462 | -90.462 | 0.99403 | 0.0027617 | 0.0027617 | 0.99454 | 0.0033828 | 0.0033828 | 0.018195 | -179.953 | -179.953 | -0.12661 | -131.9555 | -131.9556
Line_1 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9538e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.9002e-12 | -1.3314e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556
Line_2 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9552e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.9097e-12 | -1.3314e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048998 | 0.0048998 | 0.0048998 | 0.0032675 | 0.0032675 | 0.0032675 | 0.056578 | 0.056578 | 0.056578 | 0.03773 | 0.03773 | 0.03773 | 0.00038575 | -1.1504e-06 | -1.1504e-06 | -0.00021962 | 9.5602e-05 | 9.5602e-05 | -0.056239 | 0.00015625 | 0.00015624 | 0.037524 | -8.4562e-05 | -8.4562e-05 | 89.6252 | 89.6252 | 89.6252 | -90.4619 | -90.462 | -90.462 | 0.99403 | 0.0027617 | 0.0027617 | 0.99454 | 0.0033828 | 0.0033828 | 0.018195 | -179.953 | -179.953 | -0.12661 | -131.9555 | -131.9556
Line_1 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9538e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.9002e-12 | -1.3314e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556
Line_2 | 0 | 0 | 0 | 0.0016338 | 0.0016338 | 0.0016338 | 0 | 0 | 0 | 0.018865 | 0.018865 | 0.018865 | 1.9552e-11 | 1.3498e-11 | -5.672e-12 | 0.00010981 | -4.7801e-05 | -4.7801e-05 | -9.9097e-12 | -1.3314e-12 | 1.2399e-11 | -0.018762 | 4.2281e-05 | 4.2281e-05 | 0 | 0 | 0 | 89.5381 | 89.538 | 89.538 | 0.99464 | 0.0037129 | 0.0037129 | 0.99454 | 0.0033828 | 0.0033828 | -0.15557 | -125.6119 | -125.6119 | -0.12661 | -131.9555 | -131.9556

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035094 | 0.0035094 | 0.0035094 | 0.0023404 | 0.0023404 | 0.0023404 | 0.040523 | 0.040523 | 0.040523 | 0.027024 | 0.027024 | 0.027024 | -0.0083871 | -0.0048596 | 0.013443 | 0.0056017 | 0.0033023 | -0.0089186 | -0.039471 | 0.012796 | -0.0020155 | 0.026341 | -0.0085184 | 0.0013405 | 101.9565 | 101.9565 | 101.9565 | -78.1307 | -78.1307 | -78.1307 | 0.99578 | 0.33778 | 0.33545 | 0.99651 | 0.33807 | 0.33373 | -0.039798 | -147.2482 | 93.4298 | -0.13649 | -146.9411 | 93.3212
Line_1 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2181e-11 | 6.8665e-10 | 6.8453e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9381e-12 | -5.6055e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212
Line_2 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2185e-11 | 6.8664e-10 | 6.8453e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9334e-12 | -5.6055e-10 | -5.4927e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035094 | 0.0035094 | 0.0035094 | 0.0023404 | 0.0023404 | 0.0023404 | 0.040523 | 0.040523 | 0.040523 | 0.027024 | 0.027024 | 0.027024 | -0.0083871 | -0.0048596 | 0.013443 | 0.0056017 | 0.0033023 | -0.0089186 | -0.039471 | 0.012796 | -0.0020155 | 0.026341 | -0.0085184 | 0.0013405 | 101.9565 | 101.9565 | 101.9565 | -78.1307 | -78.1307 | -78.1307 | 0.99578 | 0.33778 | 0.33545 | 0.99651 | 0.33807 | 0.33373 | -0.039798 | -147.2482 | 93.4298 | -0.13649 | -146.9411 | 93.3212
Line_1 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2181e-11 | 6.8665e-10 | 6.8453e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9381e-12 | -5.6055e-10 | -5.4926e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212
Line_2 | 0 | 0 | 0 | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 1.2185e-11 | 6.8664e-10 | 6.8453e-10 | -0.0028009 | -0.0016511 | 0.0044593 | -9.9334e-12 | -5.6055e-10 | -5.4927e-10 | -0.01317 | 0.0042592 | -0.00067027 | 0 | 0 | 0 | 101.8693 | 101.8693 | 101.8693 | 0.99666 | 0.33813 | 0.33339 | 0.99651 | 0.33807 | 0.33373 | -0.15582 | -146.8797 | 93.2994 | -0.13649 | -146.9411 | 93.3212