## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.3955 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1058 | 1.1058 | 0 | 2.3955 | 38.3069 | 38.3069 | 28.1124 | -26.2047 | 22.5619 | -20.3974 | -47.4264 | 132.5736 | 0.94099 | 0.86688 | -8.6773 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297
Line_2 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9742 | -1.9274 | 4.8841 | -4.831 | -77.7798 | 102.2202 | 0.878 | 0.86688 | -9.7884 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.4907e-10 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 4.4907e-10 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 3.7132 | 3.7132 | 0.34641 | 3.7132 | 3.7132 | 4 | 42.8763 | 42.8763 | 4 | 42.8763 | 42.8763 | -0.94426 | 31.8026 | -17.9666 | 1.0067 | -24.633 | 25.1363 | -4.5773 | 1.5834 | 12.3622 | 4.6481 | 6.5514 | -4.2274 | 102.22 | -165.1063 | 9.5466 | -77.78 | 14.8937 | -170.4534 | 1.1684 | 0.74265 | 0.50864 | 1.189 | 0.59448 | 0.59448 | 0.56392 | -162.256 | 155.0161 | -8.1315e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.1478 | -0.86492 | -0.50333 | -1.1322 | 0.88052 | 2.3417 | 0.38076 | 0.81667 | -2.3241 | -0.36306 | -0.79897 | -77.78 | 162.2204 | 42.2201 | 102.22 | -17.7796 | -137.7799 | 1.1993 | 0.60464 | 0.59477 | 1.189 | 0.59448 | 0.59448 | -0.27472 | -179.4271 | 178.8636 | -8.1315e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.6929 | 1.5687 | 0.34641 | 1.6929 | 1.5687 | 4 | 19.5479 | 18.1138 | 4 | 19.5479 | 18.1138 | -0.94426 | 19.7408 | -1.1597 | 1.0067 | -18.2505 | 2.4393 | -4.5773 | 1.1548 | 14.2245 | 4.6481 | 0.53608 | -12.7726 | 102.2201 | -141.1848 | 27.4267 | -77.7799 | 38.8152 | -152.5733 | 1.1684 | 1.0116 | 0.78789 | 1.189 | 0.93403 | 0.71787 | 0.56393 | -137.8369 | 122.0876 | -5.5203e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.51893 | 1.0894 | 0.11528 | -0.50333 | -1.0738 | -0.099682 | 2.3418 | 1.5463 | 1.45 | -2.3241 | -1.5286 | -1.4323 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1993 | 0.94576 | 0.72728 | 1.189 | 0.93403 | 0.71787 | -0.27471 | -142.9457 | 127.6744 | -5.5203e-06 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.3685e-15 | 26.5997 | -7.1734 | -4.737e-15 | -16.8865 | 16.8865 | 9.4739e-15 | -0.51586 | 11.9957 | -4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.4191e-13 | -160.7833 | 141.207 | 5.391e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3686e-15 | 4.737e-15 | -4.737e-15 | 2.3685e-15 | -2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.1964e-13 | -180 | 180 | 5.391e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -2.3684e-15 | 9.474e-15 | -1.1842e-14 | 7.1054e-15 | -2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.2405e-13 | -180 | 180 | 5.391e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.3685e-15 | 26.5997 | -7.1734 | -4.737e-15 | -16.8865 | 16.8865 | 9.4739e-15 | -0.51586 | 11.9957 | -4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.4191e-13 | -160.7833 | 141.207 | 5.391e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3686e-15 | 4.737e-15 | -4.737e-15 | 2.3685e-15 | -2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.1964e-13 | -180 | 180 | 5.391e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -2.3684e-15 | 9.474e-15 | -1.1842e-14 | 7.1054e-15 | -2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.2405e-13 | -180 | 180 | 5.391e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 6.5133e-15 | 15.3932 | 0.73601 | -5.9212e-15 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3913e-13 | -138.1765 | 119.7467 | 2.3448e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.798e-10 | 8.2615e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | 0 | -1.0532e-09 | 4.5325e-10 | 4.8465e-30 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.2304e-13 | -142.5584 | 131.6989 | 2.3448e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 4.798e-10 | 8.2616e-10 | -3.5527e-15 | -4.798e-10 | -8.2616e-10 | 1.4142e-29 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.2807e-13 | -142.5584 | 131.6989 | 2.3448e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 6.5133e-15 | 15.3932 | 0.73601 | -5.9212e-15 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -7.1054e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3913e-13 | -138.1765 | 119.7467 | 2.3448e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.798e-10 | 8.2615e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | 0 | -1.0532e-09 | 4.5325e-10 | 4.8465e-30 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.2304e-13 | -142.5584 | 131.6989 | 2.3448e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 4.798e-10 | 8.2616e-10 | -3.5527e-15 | -4.798e-10 | -8.2616e-10 | 1.4142e-29 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.2807e-13 | -142.5584 | 131.6989 | 2.3448e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.984 | 0.34566 | 0.35283 | 3.983 | 0.34564 | 0.35149 | 46.0028 | 3.9913 | 4.0741 | 45.9917 | 3.9911 | 4.0587 | 26.6011 | -0.38037 | -1.6955 | 3.1806e-10 | 1.952 | 1.6187 | 13.8339 | -4.0629 | -4.4861 | -2.3041e-10 | 3.4524 | 6.2074 | -56.8378 | -18.9287 | -137.3324 | 123.1795 | 161.3261 | 42.5445 | 0.65177 | 1.0224 | 1.1771 | 0 | 0.99372 | 1.5806 | -29.361 | -114.2772 | 111.9633 | 0 | -138.158 | 117.9293
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17108 | 0.17282 | 0.17575 | 2 | 2 | 2 | 1.9755 | 1.9955 | 2.0293 | 0.014701 | 1.0209 | 0.79659 | 1.6254e-11 | -0.976 | -0.80934 | 0.017974 | 1.7314 | 3.0816 | -4.517e-12 | -1.7262 | -3.1037 | -77.7797 | 162.22 | 42.2202 | 102.79 | -18.6739 | -137.4555 | 0.01161 | 1.005 | 1.5915 | 0 | 0.99372 | 1.5806 | -27.0613 | -138.3049 | 117.7267 | 0 | -138.158 | 117.9293
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17108 | 0.17282 | 0.17575 | 2 | 2 | 2 | 1.9755 | 1.9955 | 2.0293 | 0.014701 | 1.0209 | 0.79659 | 1.6254e-11 | -0.976 | -0.80934 | 0.017974 | 1.7314 | 3.0816 | -4.517e-12 | -1.7262 | -3.1037 | -77.7797 | 162.22 | 42.2202 | 102.79 | -18.6739 | -137.4555 | 0.01161 | 1.005 | 1.5915 | 0 | 0.99372 | 1.5806 | -27.0613 | -138.3049 | 117.7267 | 0 | -138.158 | 117.9293

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.984 | 0.34566 | 0.35283 | 3.983 | 0.34564 | 0.35149 | 46.0028 | 3.9913 | 4.0741 | 45.9917 | 3.9911 | 4.0587 | 26.6011 | -0.38037 | -1.6955 | 3.1806e-10 | 1.952 | 1.6187 | 13.8339 | -4.0629 | -4.4861 | -2.3041e-10 | 3.4524 | 6.2074 | -56.8378 | -18.9287 | -137.3324 | 123.1795 | 161.3261 | 42.5445 | 0.65177 | 1.0224 | 1.1771 | 0 | 0.99372 | 1.5806 | -29.361 | -114.2772 | 111.9633 | 0 | -138.158 | 117.9293
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17108 | 0.17282 | 0.17575 | 2 | 2 | 2 | 1.9755 | 1.9955 | 2.0293 | 0.014701 | 1.0209 | 0.79659 | 1.6254e-11 | -0.976 | -0.80934 | 0.017974 | 1.7314 | 3.0816 | -4.517e-12 | -1.7262 | -3.1037 | -77.7797 | 162.22 | 42.2202 | 102.79 | -18.6739 | -137.4555 | 0.01161 | 1.005 | 1.5915 | 0 | 0.99372 | 1.5806 | -27.0613 | -138.3049 | 117.7267 | 0 | -138.158 | 117.9293
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17108 | 0.17282 | 0.17575 | 2 | 2 | 2 | 1.9755 | 1.9955 | 2.0293 | 0.014701 | 1.0209 | 0.79659 | 1.6254e-11 | -0.976 | -0.80934 | 0.017974 | 1.7314 | 3.0816 | -4.517e-12 | -1.7262 | -3.1037 | -77.7797 | 162.22 | 42.2202 | 102.79 | -18.6739 | -137.4555 | 0.01161 | 1.005 | 1.5915 | 0 | 0.99372 | 1.5806 | -27.0613 | -138.3049 | 117.7267 | 0 | -138.158 | 117.9293

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.056 | 0.34651 | 0.34825 | 1.0557 | 0.34643 | 0.34788 | 12.1934 | 4.0012 | 4.0213 | 12.1905 | 4.0003 | 4.0169 | 10.2603 | -0.7941 | -1.1856 | -8.1254 | 1.3564 | 1.1208 | 6.7459 | -4.4009 | -4.5827 | -5.9112 | 4.3294 | 5.1511 | -40.2152 | -18.1403 | -137.587 | 139.807 | 161.9382 | 42.3633 | 1.007 | 1.1177 | 1.1771 | 0.82426 | 1.1342 | 1.3124 | -6.8911 | -118.3687 | 117.908 | -4.1571 | -125.457 | 120.0875
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17246 | 0.17322 | 0.17394 | 2 | 2 | 2 | 1.9914 | 2.0001 | 2.0085 | 0.48013 | 0.70449 | 0.56743 | -0.46664 | -0.67818 | -0.56042 | 1.5994 | 2.1786 | 2.584 | -1.5737 | -2.1647 | -2.5756 | -77.7798 | 162.2201 | 42.2202 | 102.359 | -18.0618 | -137.6367 | 0.83494 | 1.1449 | 1.3228 | 0.82426 | 1.1342 | 1.3124 | -4.4894 | -125.6992 | 119.835 | -4.1571 | -125.457 | 120.0875
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17246 | 0.17322 | 0.17394 | 2 | 2 | 2 | 1.9914 | 2.0001 | 2.0085 | 0.48013 | 0.70449 | 0.56743 | -0.46664 | -0.67818 | -0.56042 | 1.5994 | 2.1786 | 2.584 | -1.5737 | -2.1647 | -2.5756 | -77.7798 | 162.2201 | 42.2202 | 102.359 | -18.0618 | -137.6367 | 0.83494 | 1.1449 | 1.3228 | 0.82426 | 1.1342 | 1.3124 | -4.4894 | -125.6992 | 119.835 | -4.1571 | -125.457 | 120.0875

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.056 | 0.34651 | 0.34825 | 1.0557 | 0.34643 | 0.34788 | 12.1934 | 4.0012 | 4.0213 | 12.1905 | 4.0003 | 4.0169 | 10.2603 | -0.7941 | -1.1856 | -8.1254 | 1.3564 | 1.1208 | 6.7459 | -4.4009 | -4.5827 | -5.9112 | 4.3294 | 5.1511 | -40.2152 | -18.1403 | -137.587 | 139.807 | 161.9382 | 42.3633 | 1.007 | 1.1177 | 1.1771 | 0.82426 | 1.1342 | 1.3124 | -6.8911 | -118.3687 | 117.908 | -4.1571 | -125.457 | 120.0875
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17246 | 0.17322 | 0.17394 | 2 | 2 | 2 | 1.9914 | 2.0001 | 2.0085 | 0.48013 | 0.70449 | 0.56743 | -0.46664 | -0.67818 | -0.56042 | 1.5994 | 2.1786 | 2.584 | -1.5737 | -2.1647 | -2.5756 | -77.7798 | 162.2201 | 42.2202 | 102.359 | -18.0618 | -137.6367 | 0.83494 | 1.1449 | 1.3228 | 0.82426 | 1.1342 | 1.3124 | -4.4894 | -125.6992 | 119.835 | -4.1571 | -125.457 | 120.0875
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.17246 | 0.17322 | 0.17394 | 2 | 2 | 2 | 1.9914 | 2.0001 | 2.0085 | 0.48013 | 0.70449 | 0.56743 | -0.46664 | -0.67818 | -0.56042 | 1.5994 | 2.1786 | 2.584 | -1.5737 | -2.1647 | -2.5756 | -77.7798 | 162.2201 | 42.2202 | 102.359 | -18.0618 | -137.6367 | 0.83494 | 1.1449 | 1.3228 | 0.82426 | 1.1342 | 1.3124 | -4.4894 | -125.6992 | 119.835 | -4.1571 | -125.457 | 120.0875

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7502 | 0.0074969 | 0.0074969 | 2.7495 | 0.0059403 | 0.0059403 | 31.7565 | 0.086566 | 0.086566 | 31.7489 | 0.068592 | 0.068592 | 22.9567 | 0.076477 | -0.06246 | -7.0646e-11 | -0.054549 | 0.054455 | 6.6059 | -0.0081748 | -0.064546 | -1.7417e-11 | 0.038101 | 0.085355 | -41.8914 | -112.0841 | -112.0841 | 138.1382 | 66.5627 | 66.5627 | 0.75223 | 0.88848 | 1.0376 | 0 | 0.97004 | 1.4761 | -25.838 | -118.1855 | 113.8571 | 0 | -148.3706 | 124.0257
Line_1 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.9413e-13 | -3.1934e-10 | -2.5943e-09 | 6.2697e-15 | 0.027274 | -0.027227 | 3.3453e-12 | -1.6912e-09 | 3.7768e-10 | 7.8348e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257
Line_2 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.9411e-13 | -3.1934e-10 | -2.5944e-09 | 6.2697e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.7769e-10 | 7.8348e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7502 | 0.0074969 | 0.0074969 | 2.7495 | 0.0059403 | 0.0059403 | 31.7565 | 0.086566 | 0.086566 | 31.7489 | 0.068592 | 0.068592 | 22.9567 | 0.076477 | -0.06246 | -7.0646e-11 | -0.054549 | 0.054455 | 6.6059 | -0.0081748 | -0.064546 | -1.7417e-11 | 0.038101 | 0.085355 | -41.8914 | -112.0841 | -112.0841 | 138.1382 | 66.5627 | 66.5627 | 0.75223 | 0.88848 | 1.0376 | 0 | 0.97004 | 1.4761 | -25.838 | -118.1855 | 113.8571 | 0 | -148.3706 | 124.0257
Line_1 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.9413e-13 | -3.1934e-10 | -2.5943e-09 | 6.2697e-15 | 0.027274 | -0.027227 | 3.3453e-12 | -1.6912e-09 | 3.7768e-10 | 7.8348e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257
Line_2 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.9411e-13 | -3.1934e-10 | -2.5944e-09 | 6.2697e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.7769e-10 | 7.8348e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0256 | 0.0027957 | 0.0027957 | 1.0253 | 0.0022152 | 0.0022152 | 11.8425 | 0.032282 | 0.032282 | 11.8396 | 0.025579 | 0.025579 | 8.4333 | 0.030824 | -0.020205 | -5.2423 | -0.023609 | 0.016386 | 6.1864 | -0.0027825 | -0.025637 | -5.2638 | 0.0062244 | 0.025283 | -43.9335 | -114.1263 | -114.1263 | 136.096 | 64.5205 | 64.5205 | 0.88318 | 0.95872 | 1.0112 | 0.62746 | 0.95452 | 1.1779 | -7.6708 | -119.2845 | 117.6309 | 1.2135 | -130.249 | 121.5734
Line_1 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5648e-10 | 1.0429e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9962e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734
Line_2 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5647e-10 | 1.0429e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9964e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0256 | 0.0027957 | 0.0027957 | 1.0253 | 0.0022152 | 0.0022152 | 11.8425 | 0.032282 | 0.032282 | 11.8396 | 0.025579 | 0.025579 | 8.4333 | 0.030824 | -0.020205 | -5.2423 | -0.023609 | 0.016386 | 6.1864 | -0.0027825 | -0.025637 | -5.2638 | 0.0062244 | 0.025283 | -43.9335 | -114.1263 | -114.1263 | 136.096 | 64.5205 | 64.5205 | 0.88318 | 0.95872 | 1.0112 | 0.62746 | 0.95452 | 1.1779 | -7.6708 | -119.2845 | 117.6309 | 1.2135 | -130.249 | 121.5734
Line_1 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5648e-10 | 1.0429e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9962e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734
Line_2 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5647e-10 | 1.0429e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9964e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.352 | 4.9488 | 2.9818 | 0.35072 | 4.9487 | 2.9809 | 4.0645 | 57.1434 | 34.4306 | 4.0497 | 57.1431 | 34.4205 | -1.2618 | 31.1196 | -0.12762 | 2.2374 | 1.403e-10 | 1.1282e-10 | -4.1391 | 6.2063 | 16.4172 | 5.2942 | -1.869e-10 | -8.2734e-11 | 101.8645 | 176.3678 | 39.1793 | -78.0818 | -3.6169 | -140.8397 | 1.0646 | 0.55531 | 0.47683 | 1.4193 | 0 | 0 | -5.0891 | -172.3535 | 129.6247 | -10.9913 | 0 | 0
Line_1 | 0.1732 | 0.17321 | 0.17321 | 0.17536 | 0.17294 | 0.17133 | 2 | 2 | 2 | 2.0249 | 1.997 | 1.9784 | 1.1351 | 0.015216 | 0.015178 | -1.1187 | 6.2828e-12 | 6.2632e-12 | 2.6264 | 0.018409 | 0.017013 | -2.6471 | -5.2184e-12 | -5.0436e-12 | -77.7799 | 162.2203 | 42.2201 | 101.9182 | -17.0092 | -138.2487 | 1.4306 | 0.011942 | 0.0114 | 1.4193 | 0 | 0 | -11.1537 | -147.3543 | 90.4824 | -10.9913 | 0 | 0
Line_2 | 0.1732 | 0.17321 | 0.17321 | 0.17536 | 0.17294 | 0.17133 | 2 | 2 | 2 | 2.0249 | 1.997 | 1.9784 | 1.1351 | 0.015216 | 0.015178 | -1.1187 | 6.2828e-12 | 6.2632e-12 | 2.6264 | 0.018409 | 0.017013 | -2.6471 | -5.2184e-12 | -5.0436e-12 | -77.7799 | 162.2203 | 42.2201 | 101.9182 | -17.0092 | -138.2487 | 1.4306 | 0.011942 | 0.0114 | 1.4193 | 0 | 0 | -11.1537 | -147.3543 | 90.4824 | -10.9913 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.352 | 4.9488 | 2.9818 | 0.35072 | 4.9487 | 2.9809 | 4.0645 | 57.1434 | 34.4306 | 4.0497 | 57.1431 | 34.4205 | -1.2618 | 31.1196 | -0.12762 | 2.2374 | 1.403e-10 | 1.1282e-10 | -4.1391 | 6.2063 | 16.4172 | 5.2942 | -1.869e-10 | -8.2734e-11 | 101.8645 | 176.3678 | 39.1793 | -78.0818 | -3.6169 | -140.8397 | 1.0646 | 0.55531 | 0.47683 | 1.4193 | 0 | 0 | -5.0891 | -172.3535 | 129.6247 | -10.9913 | 0 | 0
Line_1 | 0.1732 | 0.17321 | 0.17321 | 0.17536 | 0.17294 | 0.17133 | 2 | 2 | 2 | 2.0249 | 1.997 | 1.9784 | 1.1351 | 0.015216 | 0.015178 | -1.1187 | 6.2828e-12 | 6.2632e-12 | 2.6264 | 0.018409 | 0.017013 | -2.6471 | -5.2184e-12 | -5.0436e-12 | -77.7799 | 162.2203 | 42.2201 | 101.9182 | -17.0092 | -138.2487 | 1.4306 | 0.011942 | 0.0114 | 1.4193 | 0 | 0 | -11.1537 | -147.3543 | 90.4824 | -10.9913 | 0 | 0
Line_2 | 0.1732 | 0.17321 | 0.17321 | 0.17536 | 0.17294 | 0.17133 | 2 | 2 | 2 | 2.0249 | 1.997 | 1.9784 | 1.1351 | 0.015216 | 0.015178 | -1.1187 | 6.2828e-12 | 6.2632e-12 | 2.6264 | 0.018409 | 0.017013 | -2.6471 | -5.2184e-12 | -5.0436e-12 | -77.7799 | 162.2203 | 42.2201 | 101.9182 | -17.0092 | -138.2487 | 1.4306 | 0.011942 | 0.0114 | 1.4193 | 0 | 0 | -11.1537 | -147.3543 | 90.4824 | -10.9913 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34832 | 1.1831 | 0.96893 | 0.34788 | 1.1833 | 0.96849 | 4.022 | 13.6611 | 11.1882 | 4.0169 | 13.6631 | 11.1831 | -1.0471 | 11.7086 | 7.7508 | 1.4315 | -9.8602 | -6.98 | -4.4253 | 7.0743 | 7.1581 | 4.8579 | -7.465 | -5.2732 | 102.0893 | -161.7603 | 72.7808 | -77.8901 | 18.2601 | -107.2254 | 1.1306 | 1.0014 | 0.943 | 1.2608 | 0.90516 | 0.78225 | -1.2231 | -130.62 | 115.5042 | -4.3089 | -124.611 | 109.8444
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17394 | 0.17313 | 0.17255 | 2 | 2 | 2 | 2.0085 | 1.9991 | 1.9924 | 0.73325 | 0.53966 | 0.61102 | -0.71574 | -0.53198 | -0.5894 | 2.435 | 1.7507 | 1.4642 | -2.4289 | -1.7296 | -1.4428 | -77.7799 | 162.2202 | 42.2201 | 102.1099 | -17.5141 | -137.9353 | 1.2715 | 0.916 | 0.79327 | 1.2608 | 0.90516 | 0.78225 | -4.5385 | -124.9117 | 109.5686 | -4.3089 | -124.611 | 109.8444
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17394 | 0.17313 | 0.17255 | 2 | 2 | 2 | 2.0085 | 1.9991 | 1.9924 | 0.73325 | 0.53966 | 0.61102 | -0.71574 | -0.53198 | -0.5894 | 2.435 | 1.7507 | 1.4642 | -2.4289 | -1.7296 | -1.4428 | -77.7799 | 162.2202 | 42.2201 | 102.1099 | -17.5141 | -137.9353 | 1.2715 | 0.916 | 0.79327 | 1.2608 | 0.90516 | 0.78225 | -4.5385 | -124.9117 | 109.5686 | -4.3089 | -124.611 | 109.8444

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34832 | 1.1831 | 0.96893 | 0.34788 | 1.1833 | 0.96849 | 4.022 | 13.6611 | 11.1882 | 4.0169 | 13.6631 | 11.1831 | -1.0471 | 11.7086 | 7.7508 | 1.4315 | -9.8602 | -6.98 | -4.4253 | 7.0743 | 7.1581 | 4.8579 | -7.465 | -5.2732 | 102.0893 | -161.7603 | 72.7808 | -77.8901 | 18.2601 | -107.2254 | 1.1306 | 1.0014 | 0.943 | 1.2608 | 0.90516 | 0.78225 | -1.2231 | -130.62 | 115.5042 | -4.3089 | -124.611 | 109.8444
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17394 | 0.17313 | 0.17255 | 2 | 2 | 2 | 2.0085 | 1.9991 | 1.9924 | 0.73325 | 0.53966 | 0.61102 | -0.71574 | -0.53198 | -0.5894 | 2.435 | 1.7507 | 1.4642 | -2.4289 | -1.7296 | -1.4428 | -77.7799 | 162.2202 | 42.2201 | 102.1099 | -17.5141 | -137.9353 | 1.2715 | 0.916 | 0.79327 | 1.2608 | 0.90516 | 0.78225 | -4.5385 | -124.9117 | 109.5686 | -4.3089 | -124.611 | 109.8444
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17394 | 0.17313 | 0.17255 | 2 | 2 | 2 | 2.0085 | 1.9991 | 1.9924 | 0.73325 | 0.53966 | 0.61102 | -0.71574 | -0.53198 | -0.5894 | 2.435 | 1.7507 | 1.4642 | -2.4289 | -1.7296 | -1.4428 | -77.7799 | 162.2202 | 42.2201 | 102.1099 | -17.5141 | -137.9353 | 1.2715 | 0.916 | 0.79327 | 1.2608 | 0.90516 | 0.78225 | -4.5385 | -124.9117 | 109.5686 | -4.3089 | -124.611 | 109.8444

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054592 | 3.8697 | 2.5479 | 0.0043257 | 3.8699 | 2.5472 | 0.063037 | 44.6835 | 29.4208 | 0.049949 | 44.6861 | 29.4126 | 0.0027723 | 28.9895 | 0.61625 | -4.9801e-05 | -1.8832e-10 | -4.3941e-11 | -0.06058 | 1.2928 | 12.531 | 0.065466 | -1.7631e-10 | -1.6431e-10 | 82.9975 | -170.6425 | 37.127 | -98.3557 | 9.374 | -142.893 | 0.96203 | 0.64942 | 0.42644 | 1.3107 | 0 | 0 | -4.3823 | -168.0891 | 124.3116 | -8.3121 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2249e-12 | 2.49e-05 | -1.2591e-13 | 1.2445e-13 | -6.9722e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0242e-14 | 7.3275e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5445e-09 | 2.0779e-12 | -2.2249e-12 | 2.49e-05 | -1.2591e-13 | 1.2445e-13 | -6.9722e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0242e-14 | 7.3275e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054592 | 3.8697 | 2.5479 | 0.0043257 | 3.8699 | 2.5472 | 0.063037 | 44.6835 | 29.4208 | 0.049949 | 44.6861 | 29.4126 | 0.0027723 | 28.9895 | 0.61625 | -4.9801e-05 | -1.8832e-10 | -4.3941e-11 | -0.06058 | 1.2928 | 12.531 | 0.065466 | -1.7631e-10 | -1.6431e-10 | 82.9975 | -170.6425 | 37.127 | -98.3557 | 9.374 | -142.893 | 0.96203 | 0.64942 | 0.42644 | 1.3107 | 0 | 0 | -4.3823 | -168.0891 | 124.3116 | -8.3121 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2249e-12 | 2.49e-05 | -1.2591e-13 | 1.2445e-13 | -6.9722e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0242e-14 | 7.3275e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5445e-09 | 2.0779e-12 | -2.2249e-12 | 2.49e-05 | -1.2591e-13 | 1.2445e-13 | -6.9722e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0242e-14 | 7.3275e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024847 | 1.1986 | 0.97487 | 0.0019688 | 1.1988 | 0.97436 | 0.028691 | 13.8403 | 11.2568 | 0.022734 | 13.8431 | 11.251 | 0.0074221 | 10.2059 | 5.791 | -0.0057053 | -7.1831 | -4.7386 | -0.02701 | 6.4669 | 7.1233 | 0.024888 | -7.2026 | -4.7362 | 72.8928 | -164.1415 | 64.1579 | -108.4604 | 15.8805 | -115.8494 | 0.97631 | 0.87298 | 0.81553 | 1.1232 | 0.73482 | 0.59548 | -1.7422 | -131.7813 | 115.0478 | -5.549 | -119.0419 | 109.1357
Line_1 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2659e-10 | 7.1361e-10 | 8.4441e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5494e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357
Line_2 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.4441e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5496e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024847 | 1.1986 | 0.97487 | 0.0019688 | 1.1988 | 0.97436 | 0.028691 | 13.8403 | 11.2568 | 0.022734 | 13.8431 | 11.251 | 0.0074221 | 10.2059 | 5.791 | -0.0057053 | -7.1831 | -4.7386 | -0.02701 | 6.4669 | 7.1233 | 0.024888 | -7.2026 | -4.7362 | 72.8928 | -164.1415 | 64.1579 | -108.4604 | 15.8805 | -115.8494 | 0.97631 | 0.87298 | 0.81553 | 1.1232 | 0.73482 | 0.59548 | -1.7422 | -131.7813 | 115.0478 | -5.549 | -119.0419 | 109.1357
Line_1 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2659e-10 | 7.1361e-10 | 8.4441e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5494e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357
Line_2 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.4441e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5496e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357