## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 4.283 | 0 | 9.2778 | 0 | 148.3662 | 6.297e-19 | -1e-07 | -4.9284e-19 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 0 | 0
Line_1 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0
Line_2 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 4.283 | 0 | 9.2778 | 0 | 148.3662 | 6.297e-19 | -1e-07 | -4.9284e-19 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 0 | 0
Line_1 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0
Line_2 | 3.4587 | 0 | 6.7756 | 0 | 119.8128 | 0 | -1e-07 | 1.6014e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.3097 | 0 | 2.8371 | 0 | 45.3689 | -6.0676e-09 | -25.7292 | 5.5265e-09 | -25.7292 | -54.5297 | 125.4703 | 0.87234 | 0.80202 | -10.051 | -9.5297
Line_1 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09 | -54.5297 | 0 | 0.74213 | 0.80202 | -9.0862 | -9.5297
Line_2 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09 | -54.5297 | 0 | 0.74213 | 0.80202 | -9.0862 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.3097 | 0 | 2.8371 | 0 | 45.3689 | -6.0676e-09 | -25.7292 | 5.5265e-09 | -25.7292 | -54.5297 | 125.4703 | 0.87234 | 0.80202 | -10.051 | -9.5297
Line_1 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09 | -54.5297 | 0 | 0.74213 | 0.80202 | -9.0862 | -9.5297
Line_2 | 1.2119 | 0 | 2.3741 | 0 | 41.9813 | 0 | -22.0304 | -2.495e-09 | -22.0304 | 1.6066e-09 | -54.5297 | 0 | 0.74213 | 0.80202 | -9.0862 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 3.6016 | 0 | 6.8381 | 0 | 124.7634 | 7.2789e-20 | -1e-07 | 2.6702e-19 | -1e-07 | -69.6723 | 110.3277 | 0 | 0 | 0 | 0
Line_1 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0
Line_2 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 3.6016 | 0 | 6.8381 | 0 | 124.7634 | 7.2789e-20 | -1e-07 | 2.6702e-19 | -1e-07 | -69.6723 | 110.3277 | 0 | 0 | 0 | 0
Line_1 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0
Line_2 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7283e-20 | -1e-07 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.1462 | 0 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6774e-09 | -19.7082 | -52.6343 | 127.3657 | 0.78485 | 0.70193 | -10.4046 | -7.6343
Line_1 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343
Line_2 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.1462 | 0 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6774e-09 | -19.7082 | -52.6343 | 127.3657 | 0.78485 | 0.70193 | -10.4046 | -7.6343
Line_1 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343
Line_2 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.7092 | 3.7092 | 0 | 0 | 0 | 0 | 42.8296 | 42.8296 | -6.7738e-14 | 5.2106e-15 | -2.0843e-14 | 4.1685e-14 | -23.0225 | 23.0225 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.7075e-13 | 180 | -180 | 5.0462e-13 | 180 | -180
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | -1.0421e-14 | -18.0699 | 18.0699 | 5.2106e-15 | 1.3027e-14 | -5.2106e-15 | -1.0421e-14 | 5.9452 | -5.9452 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 4.6338e-13 | 180 | -180 | 5.0462e-13 | 180 | -180
Line_2 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | -5.2106e-15 | -18.0699 | 18.0699 | 0 | 1.3027e-14 | -5.2106e-15 | -5.2106e-15 | 5.9452 | -5.9452 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 3.633e-13 | 180 | -180 | 5.0462e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.7092 | 3.7092 | 0 | 0 | 0 | 0 | 42.8296 | 42.8296 | -6.7738e-14 | 5.2106e-15 | -2.0843e-14 | 4.1685e-14 | -23.0225 | 23.0225 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.7075e-13 | 180 | -180 | 5.0462e-13 | 180 | -180
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | -1.0421e-14 | -18.0699 | 18.0699 | 5.2106e-15 | 1.3027e-14 | -5.2106e-15 | -1.0421e-14 | 5.9452 | -5.9452 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 4.6338e-13 | 180 | -180 | 5.0462e-13 | 180 | -180
Line_2 | 0 | 2.9953 | 2.9953 | 0 | 0 | 0 | 0 | 34.587 | 34.587 | 0 | 0 | 0 | -5.2106e-15 | -18.0699 | 18.0699 | 0 | 1.3027e-14 | -5.2106e-15 | -5.2106e-15 | 5.9452 | -5.9452 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 3.633e-13 | 180 | -180 | 5.0462e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.7631 | 1.7631 | 0 | 0 | 0 | 0 | 20.3584 | 20.3584 | -1.8237e-14 | -9.5548e-10 | -3.0749e-09 | 1.3027e-14 | -17.4596 | 1.9173 | -9.5322e-29 | 4.0277e-09 | -3.5664e-10 | 7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1075 | 0.71098 | 0.91717 | 1.0759 | 0.62335 | 0.92294 | 2.9947e-13 | -140.8543 | 122.4159 | 2.8282e-13 | -142.8673 | 128.239
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -7.816e-15 | -14.6611 | 2.3562 | 5.2106e-15 | -4.7339e-10 | -1.0337e-09 | -2.6053e-15 | -0.96958 | -11.3353 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0531 | 0.55464 | 0.92719 | 1.0759 | 0.62335 | 0.92294 | 2.3188e-13 | -144.8696 | 133.0893 | 2.8282e-13 | -142.8673 | 128.239
Line_2 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -5.2106e-15 | -14.6611 | 2.3562 | -1.286e-29 | -4.7338e-10 | -1.0337e-09 | 5.2106e-15 | -0.96958 | -11.3353 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0531 | 0.55464 | 0.92719 | 1.0759 | 0.62335 | 0.92294 | 2.4879e-13 | -144.8696 | 133.0893 | 2.8282e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.7631 | 1.7631 | 0 | 0 | 0 | 0 | 20.3584 | 20.3584 | -1.8237e-14 | -9.5548e-10 | -3.0749e-09 | 1.3027e-14 | -17.4596 | 1.9173 | -9.5322e-29 | 4.0277e-09 | -3.5664e-10 | 7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1075 | 0.71098 | 0.91717 | 1.0759 | 0.62335 | 0.92294 | 2.9947e-13 | -140.8543 | 122.4159 | 2.8282e-13 | -142.8673 | 128.239
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -7.816e-15 | -14.6611 | 2.3562 | 5.2106e-15 | -4.7339e-10 | -1.0337e-09 | -2.6053e-15 | -0.96958 | -11.3353 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0531 | 0.55464 | 0.92719 | 1.0759 | 0.62335 | 0.92294 | 2.3188e-13 | -144.8696 | 133.0893 | 2.8282e-13 | -142.8673 | 128.239
Line_2 | 0 | 1.5688 | 1.5688 | 0 | 0 | 0 | 0 | 18.1144 | 18.1144 | 0 | 0 | 0 | -5.2106e-15 | -14.6611 | 2.3562 | -1.286e-29 | -4.7338e-10 | -1.0337e-09 | 5.2106e-15 | -0.96958 | -11.3353 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0531 | 0.55464 | 0.92719 | 1.0759 | 0.62335 | 0.92294 | 2.4879e-13 | -144.8696 | 133.0893 | 2.8282e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 4.7369e-15 | 1.1842e-14 | 2.3685e-15 | -16.8865 | 16.8865 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 9.8732e-13 | -180 | 180 | 6.1738e-13 | -180 | 180
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | 2.3685e-15 | -11.9365 | 11.9365 | -1.6579e-14 | 7.1054e-15 | 2.3685e-15 | 2.3685e-15 | 7.0103 | -7.0103 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.0963e-13 | -180 | 180 | 6.1738e-13 | -180 | 180
Line_2 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -4.737e-15 | -11.9365 | 11.9365 | 1.5313e-28 | 7.1054e-15 | 7.1054e-15 | 7.1054e-15 | 7.0103 | -7.0103 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.9462e-13 | -180 | 180 | 6.1738e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | -1.1842e-14 | 4.7369e-15 | 1.1842e-14 | 2.3685e-15 | -16.8865 | 16.8865 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 9.8732e-13 | -180 | 180 | 6.1738e-13 | -180 | 180
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | 2.3685e-15 | -11.9365 | 11.9365 | -1.6579e-14 | 7.1054e-15 | 2.3685e-15 | 2.3685e-15 | 7.0103 | -7.0103 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.0963e-13 | -180 | 180 | 6.1738e-13 | -180 | 180
Line_2 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -4.737e-15 | -11.9365 | 11.9365 | 1.5313e-28 | 7.1054e-15 | 7.1054e-15 | 7.1054e-15 | 7.0103 | -7.0103 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.9462e-13 | -180 | 180 | 6.1738e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | -2.6645e-15 | -8.0026e-10 | -2.5674e-09 | 5.3291e-15 | -13.0917 | 1.5655 | -2.3685e-15 | 3.4014e-09 | -3.4064e-10 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0057 | 0.63489 | 0.83074 | 0.95734 | 0.5368 | 0.85298 | 3.3412e-13 | -141.4824 | 122.8363 | 2.7408e-13 | -142.5584 | 131.6989
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -5.9212e-16 | -10.3011 | 1.745 | -3.5527e-15 | -4.798e-10 | -8.2616e-10 | -2.2446e-30 | 0.27863 | -8.8347 | -1.6995e-29 | 1.0532e-09 | -4.5326e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 2.1719e-13 | -144.4405 | 138.2821 | 2.7408e-13 | -142.5584 | 131.6989
Line_2 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -3.5527e-15 | -10.3011 | 1.745 | 5.9212e-16 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | 0.27863 | -8.8347 | 2.8325e-30 | 1.0532e-09 | -4.5326e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 2.028e-13 | -144.4405 | 138.2821 | 2.7408e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | -2.6645e-15 | -8.0026e-10 | -2.5674e-09 | 5.3291e-15 | -13.0917 | 1.5655 | -2.3685e-15 | 3.4014e-09 | -3.4064e-10 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0057 | 0.63489 | 0.83074 | 0.95734 | 0.5368 | 0.85298 | 3.3412e-13 | -141.4824 | 122.8363 | 2.7408e-13 | -142.5584 | 131.6989
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -5.9212e-16 | -10.3011 | 1.745 | -3.5527e-15 | -4.798e-10 | -8.2616e-10 | -2.2446e-30 | 0.27863 | -8.8347 | -1.6995e-29 | 1.0532e-09 | -4.5326e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 2.1719e-13 | -144.4405 | 138.2821 | 2.7408e-13 | -142.5584 | 131.6989
Line_2 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -3.5527e-15 | -10.3011 | 1.745 | 5.9212e-16 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | 0.27863 | -8.8347 | 2.8325e-30 | 1.0532e-09 | -4.5326e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 2.028e-13 | -144.4405 | 138.2821 | 2.7408e-13 | -142.5584 | 131.6989

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080002 | 0.0080002 | 0.0080002 | 0.0053 | 3.6894 | 3.7373 | 0.092378 | 0.092378 | 0.092378 | 0.0612 | 42.6018 | 43.155 | 0.00053243 | -4.8412e-14 | -4.2192e-14 | -3.8944e-05 | 7.8029e-11 | 8.2548e-11 | -0.14909 | -8.2972e-14 | 7.9684e-14 | 0.098279 | -4.8019e-11 | 3.3593e-11 | 0 | -170.4493 | 14.857 | -89.8131 | 9.4695 | -165.0644 | 0.93182 | 0 | 0.93182 | 0.92715 | 0 | 0.92715 | 0.058101 | 0 | 0 | 0.2096 | 0 | 0
Line_1 | 0 | 2.9719 | 3.0278 | 0.00265 | 0.00265 | 0.00265 | 0 | 34.3161 | 34.9617 | 0.0306 | 0.0306 | 0.0306 | -2.9165e-09 | 6.7408e-11 | 7.8364e-11 | 1.9471e-05 | -2.4999e-14 | -3.7936e-14 | 3.5896e-11 | -4.9295e-11 | 2.3969e-11 | -0.049139 | -6.0876e-14 | 5.0539e-14 | 0 | -170.4493 | 14.857 | 90.1869 | 90.1869 | 90.1869 | 0.92249 | 0 | 0.92249 | 0.92715 | 0 | 0.92715 | 0.31929 | 0 | 0 | 0.2096 | 0 | 0
Line_2 | 0 | 2.9719 | 3.0278 | 0.00265 | 0.00265 | 0.00265 | 0 | 34.3161 | 34.9617 | 0.0306 | 0.0306 | 0.0306 | -2.9165e-09 | 6.7423e-11 | 7.832e-11 | 1.9471e-05 | -2.4999e-14 | -3.7936e-14 | 3.5911e-11 | -4.9311e-11 | 2.3899e-11 | -0.049139 | -6.0876e-14 | 5.0539e-14 | 0 | -170.4493 | 14.857 | 90.1869 | 90.1869 | 90.1869 | 0.92249 | 0 | 0.92249 | 0.92715 | 0 | 0.92715 | 0.31929 | 0 | 0 | 0.2096 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080002 | 0.0080002 | 0.0080002 | 0.0053 | 3.6894 | 3.7373 | 0.092378 | 0.092378 | 0.092378 | 0.0612 | 42.6018 | 43.155 | 0.00053243 | -4.8412e-14 | -4.2192e-14 | -3.8944e-05 | 7.8029e-11 | 8.2548e-11 | -0.14909 | -8.2972e-14 | 7.9684e-14 | 0.098279 | -4.8019e-11 | 3.3593e-11 | 0 | -170.4493 | 14.857 | -89.8131 | 9.4695 | -165.0644 | 0.93182 | 0 | 0.93182 | 0.92715 | 0 | 0.92715 | 0.058101 | 0 | 0 | 0.2096 | 0 | 0
Line_1 | 0 | 2.9719 | 3.0278 | 0.00265 | 0.00265 | 0.00265 | 0 | 34.3161 | 34.9617 | 0.0306 | 0.0306 | 0.0306 | -2.9165e-09 | 6.7408e-11 | 7.8364e-11 | 1.9471e-05 | -2.4999e-14 | -3.7936e-14 | 3.5896e-11 | -4.9295e-11 | 2.3969e-11 | -0.049139 | -6.0876e-14 | 5.0539e-14 | 0 | -170.4493 | 14.857 | 90.1869 | 90.1869 | 90.1869 | 0.92249 | 0 | 0.92249 | 0.92715 | 0 | 0.92715 | 0.31929 | 0 | 0 | 0.2096 | 0 | 0
Line_2 | 0 | 2.9719 | 3.0278 | 0.00265 | 0.00265 | 0.00265 | 0 | 34.3161 | 34.9617 | 0.0306 | 0.0306 | 0.0306 | -2.9165e-09 | 6.7423e-11 | 7.832e-11 | 1.9471e-05 | -2.4999e-14 | -3.7936e-14 | 3.5911e-11 | -4.9311e-11 | 2.3899e-11 | -0.049139 | -6.0876e-14 | 5.0539e-14 | 0 | -170.4493 | 14.857 | 90.1869 | 90.1869 | 90.1869 | 0.92249 | 0 | 0.92249 | 0.92715 | 0 | 0.92715 | 0.31929 | 0 | 0 | 0.2096 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069515 | 0.0069515 | 0.0069515 | 0.0045932 | 1.0786 | 1.2072 | 0.080269 | 0.080269 | 0.080269 | 0.053038 | 12.4548 | 13.9401 | -0.010444 | -0.052575 | 0.063421 | 0.0063159 | -5.8032 | -7.2935 | -0.1235 | 0.023173 | -0.012244 | 0.081229 | -5.8492 | -7.2485 | 0 | -151.7945 | 41.9824 | -83.5932 | 27.9789 | -137.8403 | 1.0976 | 0.87234 | 0.96053 | 1.0725 | 0.80202 | 0.94995 | 2.0938 | -106.8583 | 86.0011 | 1.9607 | -106.7945 | 86.9824
Line_1 | 0 | 1.0047 | 1.1114 | 0.0022966 | 0.0022966 | 0.0022966 | 0 | 11.601 | 12.8339 | 0.026519 | 0.026519 | 0.026519 | -2.4101e-09 | -5.0469 | -6.1765 | -0.003158 | -0.016125 | 0.019297 | 1.97e-10 | -5.0469 | -6.1765 | -0.040614 | 0.0069115 | -0.0032031 | 0 | -151.7945 | 41.9824 | 96.4068 | 96.4068 | 96.4068 | 1.0514 | 0.74213 | 0.94105 | 1.0725 | 0.80202 | 0.94995 | 1.8305 | -106.7445 | 87.8327 | 1.9607 | -106.7945 | 86.9824
Line_2 | 0 | 1.0047 | 1.1114 | 0.0022966 | 0.0022966 | 0.0022966 | 0 | 11.601 | 12.8339 | 0.026519 | 0.026519 | 0.026519 | -2.4101e-09 | -5.0469 | -6.1765 | -0.003158 | -0.016125 | 0.019297 | 1.9703e-10 | -5.0469 | -6.1765 | -0.040614 | 0.0069115 | -0.0032031 | 0 | -151.7945 | 41.9824 | 96.4068 | 96.4068 | 96.4068 | 1.0514 | 0.74213 | 0.94105 | 1.0725 | 0.80202 | 0.94995 | 1.8305 | -106.7445 | 87.8327 | 1.9607 | -106.7945 | 86.9824

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069515 | 0.0069515 | 0.0069515 | 0.0045932 | 1.0786 | 1.2072 | 0.080269 | 0.080269 | 0.080269 | 0.053038 | 12.4548 | 13.9401 | -0.010444 | -0.052575 | 0.063421 | 0.0063159 | -5.8032 | -7.2935 | -0.1235 | 0.023173 | -0.012244 | 0.081229 | -5.8492 | -7.2485 | 0 | -151.7945 | 41.9824 | -83.5932 | 27.9789 | -137.8403 | 1.0976 | 0.87234 | 0.96053 | 1.0725 | 0.80202 | 0.94995 | 2.0938 | -106.8583 | 86.0011 | 1.9607 | -106.7945 | 86.9824
Line_1 | 0 | 1.0047 | 1.1114 | 0.0022966 | 0.0022966 | 0.0022966 | 0 | 11.601 | 12.8339 | 0.026519 | 0.026519 | 0.026519 | -2.4101e-09 | -5.0469 | -6.1765 | -0.003158 | -0.016125 | 0.019297 | 1.97e-10 | -5.0469 | -6.1765 | -0.040614 | 0.0069115 | -0.0032031 | 0 | -151.7945 | 41.9824 | 96.4068 | 96.4068 | 96.4068 | 1.0514 | 0.74213 | 0.94105 | 1.0725 | 0.80202 | 0.94995 | 1.8305 | -106.7445 | 87.8327 | 1.9607 | -106.7945 | 86.9824
Line_2 | 0 | 1.0047 | 1.1114 | 0.0022966 | 0.0022966 | 0.0022966 | 0 | 11.601 | 12.8339 | 0.026519 | 0.026519 | 0.026519 | -2.4101e-09 | -5.0469 | -6.1765 | -0.003158 | -0.016125 | 0.019297 | 1.9703e-10 | -5.0469 | -6.1765 | -0.040614 | 0.0069115 | -0.0032031 | 0 | -151.7945 | 41.9824 | 96.4068 | 96.4068 | 96.4068 | 1.0514 | 0.74213 | 0.94105 | 1.0725 | 0.80202 | 0.94995 | 1.8305 | -106.7445 | 87.8327 | 1.9607 | -106.7945 | 86.9824

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072653 | 0.0072653 | 0.0072653 | 0.0048104 | 3.0903 | 3.1559 | 0.083893 | 0.083893 | 0.083893 | 0.055546 | 35.6832 | 36.4409 | 0.00084308 | -7.9513e-14 | 8.5002e-14 | -6.1589e-05 | -1.3521e-10 | 2.9691e-11 | -0.12296 | 4.9679e-14 | 4.1655e-14 | 0.08096 | -1.3613e-10 | -1.9404e-10 | 0 | -162.5102 | 23.1095 | -89.703 | 17.4046 | -156.81 | 0.84625 | 0 | 0.84625 | 0.8415 | 0 | 0.8415 | 0.061852 | 0 | 0 | 0.34056 | 0 | 0
Line_1 | 0 | 2.3654 | 2.4384 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 27.3129 | 28.1562 | 0.027773 | 0.027773 | 0.027773 | -2.3827e-09 | -1.3268e-10 | -4.9288e-12 | 3.0794e-05 | -1.3222e-13 | 1.2744e-13 | 4.8436e-11 | -9.5779e-11 | -1.6903e-10 | -0.04048 | 6.9415e-14 | 7.8377e-14 | 0 | -162.5102 | 23.1095 | 90.297 | 90.297 | 90.297 | 0.83633 | 0 | 0.83633 | 0.8415 | 0 | 0.8415 | 0.52263 | 0 | 0 | 0.34056 | 0 | 0
Line_2 | 0 | 2.3654 | 2.4384 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 27.3129 | 28.1562 | 0.027773 | 0.027773 | 0.027773 | -2.3827e-09 | -1.3267e-10 | -4.9206e-12 | 3.0794e-05 | -1.3222e-13 | 1.2744e-13 | 4.8423e-11 | -9.5735e-11 | -1.6911e-10 | -0.04048 | 6.9415e-14 | 7.8377e-14 | 0 | -162.5102 | 23.1095 | 90.297 | 90.297 | 90.297 | 0.83633 | 0 | 0.83633 | 0.8415 | 0 | 0.8415 | 0.52263 | 0 | 0 | 0.34056 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072653 | 0.0072653 | 0.0072653 | 0.0048104 | 3.0903 | 3.1559 | 0.083893 | 0.083893 | 0.083893 | 0.055546 | 35.6832 | 36.4409 | 0.00084308 | -7.9513e-14 | 8.5002e-14 | -6.1589e-05 | -1.3521e-10 | 2.9691e-11 | -0.12296 | 4.9679e-14 | 4.1655e-14 | 0.08096 | -1.3613e-10 | -1.9404e-10 | 0 | -162.5102 | 23.1095 | -89.703 | 17.4046 | -156.81 | 0.84625 | 0 | 0.84625 | 0.8415 | 0 | 0.8415 | 0.061852 | 0 | 0 | 0.34056 | 0 | 0
Line_1 | 0 | 2.3654 | 2.4384 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 27.3129 | 28.1562 | 0.027773 | 0.027773 | 0.027773 | -2.3827e-09 | -1.3268e-10 | -4.9288e-12 | 3.0794e-05 | -1.3222e-13 | 1.2744e-13 | 4.8436e-11 | -9.5779e-11 | -1.6903e-10 | -0.04048 | 6.9415e-14 | 7.8377e-14 | 0 | -162.5102 | 23.1095 | 90.297 | 90.297 | 90.297 | 0.83633 | 0 | 0.83633 | 0.8415 | 0 | 0.8415 | 0.52263 | 0 | 0 | 0.34056 | 0 | 0
Line_2 | 0 | 2.3654 | 2.4384 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 27.3129 | 28.1562 | 0.027773 | 0.027773 | 0.027773 | -2.3827e-09 | -1.3267e-10 | -4.9206e-12 | 3.0794e-05 | -1.3222e-13 | 1.2744e-13 | 4.8423e-11 | -9.5735e-11 | -1.6911e-10 | -0.04048 | 6.9415e-14 | 7.8377e-14 | 0 | -162.5102 | 23.1095 | 90.297 | 90.297 | 90.297 | 0.83633 | 0 | 0.83633 | 0.8415 | 0 | 0.8415 | 0.52263 | 0 | 0 | 0.34056 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063139 | 0.0063139 | 0.0063139 | 0.0041472 | 0.94659 | 1.0551 | 0.072907 | 0.072907 | 0.072907 | 0.047888 | 10.9302 | 12.1837 | -0.0082775 | -0.042897 | 0.051812 | 0.0046518 | -4.4701 | -5.5701 | -0.10191 | 0.019125 | -0.01008 | 0.066525 | -4.506 | -5.5359 | 0 | -150.1483 | 44.1314 | -84.1132 | 29.6223 | -135.6918 | 0.99694 | 0.78485 | 0.86907 | 0.95747 | 0.70193 | 0.86956 | 2.0899 | -107.2957 | 85.7242 | 1.8869 | -105.1483 | 89.1314
Line_1 | 0 | 0.86282 | 0.9457 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 9.963 | 10.92 | 0.023944 | 0.023944 | 0.023944 | -1.957e-09 | -3.7223 | -4.4718 | -0.0023259 | -0.012977 | 0.015326 | 1.4811e-10 | -3.7223 | -4.4718 | -0.033262 | 0.0049907 | -0.0018155 | 0 | -150.1483 | 44.1314 | 95.8868 | 95.8868 | 95.8868 | 0.92684 | 0.63377 | 0.86777 | 0.95747 | 0.70193 | 0.86956 | 1.6715 | -103.3713 | 91.8732 | 1.8869 | -105.1483 | 89.1314
Line_2 | 0 | 0.86282 | 0.9457 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 9.963 | 10.92 | 0.023944 | 0.023944 | 0.023944 | -1.9569e-09 | -3.7223 | -4.4718 | -0.0023259 | -0.012977 | 0.015326 | 1.4812e-10 | -3.7223 | -4.4718 | -0.033262 | 0.0049907 | -0.0018155 | 0 | -150.1483 | 44.1314 | 95.8868 | 95.8868 | 95.8868 | 0.92684 | 0.63377 | 0.86777 | 0.95747 | 0.70193 | 0.86956 | 1.6715 | -103.3713 | 91.8732 | 1.8869 | -105.1483 | 89.1314

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063139 | 0.0063139 | 0.0063139 | 0.0041472 | 0.94659 | 1.0551 | 0.072907 | 0.072907 | 0.072907 | 0.047888 | 10.9302 | 12.1837 | -0.0082775 | -0.042897 | 0.051812 | 0.0046518 | -4.4701 | -5.5701 | -0.10191 | 0.019125 | -0.01008 | 0.066525 | -4.506 | -5.5359 | 0 | -150.1483 | 44.1314 | -84.1132 | 29.6223 | -135.6918 | 0.99694 | 0.78485 | 0.86907 | 0.95747 | 0.70193 | 0.86956 | 2.0899 | -107.2957 | 85.7242 | 1.8869 | -105.1483 | 89.1314
Line_1 | 0 | 0.86282 | 0.9457 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 9.963 | 10.92 | 0.023944 | 0.023944 | 0.023944 | -1.957e-09 | -3.7223 | -4.4718 | -0.0023259 | -0.012977 | 0.015326 | 1.4811e-10 | -3.7223 | -4.4718 | -0.033262 | 0.0049907 | -0.0018155 | 0 | -150.1483 | 44.1314 | 95.8868 | 95.8868 | 95.8868 | 0.92684 | 0.63377 | 0.86777 | 0.95747 | 0.70193 | 0.86956 | 1.6715 | -103.3713 | 91.8732 | 1.8869 | -105.1483 | 89.1314
Line_2 | 0 | 0.86282 | 0.9457 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 9.963 | 10.92 | 0.023944 | 0.023944 | 0.023944 | -1.9569e-09 | -3.7223 | -4.4718 | -0.0023259 | -0.012977 | 0.015326 | 1.4812e-10 | -3.7223 | -4.4718 | -0.033262 | 0.0049907 | -0.0018155 | 0 | -150.1483 | 44.1314 | 95.8868 | 95.8868 | 95.8868 | 0.92684 | 0.63377 | 0.86777 | 0.95747 | 0.70193 | 0.86956 | 1.6715 | -103.3713 | 91.8732 | 1.8869 | -105.1483 | 89.1314

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015016 | 0.015016 | 0.015016 | 0.65177 | 0.0098121 | 0.0098121 | 0.17339 | 0.17339 | 0.17339 | 7.526 | 0.1133 | 0.1133 | -3.1147e-13 | 0.16612 | -0.16424 | 1.2354e-11 | -0.10799 | 0.10786 | 9.0936e-14 | -0.26268 | -0.2626 | -4.836e-12 | 0.16984 | 0.167 | -84.7938 | 0 | 0 | 95.1392 | 90.7534 | 90.7534 | 1.0349 | 1.1 | 1.0313 | 1.0256 | 1.1 | 1.013 | 0 | -147.6772 | 147.9898 | 0 | -146.7967 | 147.897
Line_1 | 0.60849 | 0 | 0 | 0.004906 | 0.004906 | 0.004906 | 7.0263 | 0 | 0 | 0.05665 | 0.05665 | 0.05665 | 1.0461e-11 | -4.9678e-09 | -4.7603e-09 | -9.5506e-14 | 0.053995 | -0.053928 | -5.0004e-12 | -3.1144e-09 | 3.2342e-09 | 2.9183e-14 | -0.084919 | -0.0835 | -84.7938 | 0 | 0 | -89.2466 | -89.2466 | -89.2466 | 1.0154 | 1.1 | 0.99663 | 1.0256 | 1.1 | 1.013 | 0 | -146.0439 | 147.6794 | 0 | -146.7967 | 147.897
Line_2 | 0.60849 | 0 | 0 | 0.004906 | 0.004906 | 0.004906 | 7.0263 | 0 | 0 | 0.05665 | 0.05665 | 0.05665 | 1.0459e-11 | -4.9678e-09 | -4.7603e-09 | -9.5506e-14 | 0.053995 | -0.053928 | -5.0065e-12 | -3.1143e-09 | 3.2342e-09 | 2.9183e-14 | -0.084919 | -0.0835 | -84.7938 | 0 | 0 | -89.2466 | -89.2466 | -89.2466 | 1.0154 | 1.1 | 0.99663 | 1.0256 | 1.1 | 1.013 | 0 | -146.0439 | 147.6794 | 0 | -146.7967 | 147.897

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015016 | 0.015016 | 0.015016 | 0.65177 | 0.0098121 | 0.0098121 | 0.17339 | 0.17339 | 0.17339 | 7.526 | 0.1133 | 0.1133 | -3.1147e-13 | 0.16612 | -0.16424 | 1.2354e-11 | -0.10799 | 0.10786 | 9.0936e-14 | -0.26268 | -0.2626 | -4.836e-12 | 0.16984 | 0.167 | -84.7938 | 0 | 0 | 95.1392 | 90.7534 | 90.7534 | 1.0349 | 1.1 | 1.0313 | 1.0256 | 1.1 | 1.013 | 0 | -147.6772 | 147.9898 | 0 | -146.7967 | 147.897
Line_1 | 0.60849 | 0 | 0 | 0.004906 | 0.004906 | 0.004906 | 7.0263 | 0 | 0 | 0.05665 | 0.05665 | 0.05665 | 1.0461e-11 | -4.9678e-09 | -4.7603e-09 | -9.5506e-14 | 0.053995 | -0.053928 | -5.0004e-12 | -3.1144e-09 | 3.2342e-09 | 2.9183e-14 | -0.084919 | -0.0835 | -84.7938 | 0 | 0 | -89.2466 | -89.2466 | -89.2466 | 1.0154 | 1.1 | 0.99663 | 1.0256 | 1.1 | 1.013 | 0 | -146.0439 | 147.6794 | 0 | -146.7967 | 147.897
Line_2 | 0.60849 | 0 | 0 | 0.004906 | 0.004906 | 0.004906 | 7.0263 | 0 | 0 | 0.05665 | 0.05665 | 0.05665 | 1.0459e-11 | -4.9678e-09 | -4.7603e-09 | -9.5506e-14 | 0.053995 | -0.053928 | -5.0065e-12 | -3.1143e-09 | 3.2342e-09 | 2.9183e-14 | -0.084919 | -0.0835 | -84.7938 | 0 | 0 | -89.2466 | -89.2466 | -89.2466 | 1.0154 | 1.1 | 0.99663 | 1.0256 | 1.1 | 1.013 | 0 | -146.0439 | 147.6794 | 0 | -146.7967 | 147.897

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011596 | 0.011596 | 0.011596 | 0.50331 | 0.0075771 | 0.0075771 | 0.1339 | 0.1339 | 0.1339 | 5.8117 | 0.087492 | 0.087492 | 0.030184 | 0.11032 | -0.13938 | -1.2461 | -0.073243 | 0.09043 | 0.030415 | -0.198 | -0.14567 | -1.2491 | 0.12632 | 0.094724 | -74.6197 | 0 | 0 | 105.3134 | 100.9275 | 100.9275 | 1.0437 | 1.1 | 1.054 | 1.0349 | 1.1 | 1.0392 | -32.9462 | -139.0401 | 148.1004 | -29.6197 | -138.9672 | 147.2559
Line_1 | 0.4715 | 0 | 0 | 0.0037885 | 0.0037885 | 0.0037885 | 5.4444 | 0 | 0 | 0.043746 | 0.043746 | 0.043746 | -1.1116 | -3.6718e-09 | -2.761e-09 | 0.0086335 | 0.036621 | -0.045215 | -1.1116 | -2.1555e-09 | 2.6814e-09 | 0.010092 | -0.063162 | -0.047362 | -74.6197 | 0 | 0 | -79.0725 | -79.0725 | -79.0725 | 1.026 | 1.1 | 1.0259 | 1.0349 | 1.1 | 1.0392 | -26.8236 | -138.9206 | 146.5022 | -29.6197 | -138.9672 | 147.2559
Line_2 | 0.4715 | 0 | 0 | 0.0037885 | 0.0037885 | 0.0037885 | 5.4444 | 0 | 0 | 0.043746 | 0.043746 | 0.043746 | -1.1116 | -3.6718e-09 | -2.761e-09 | 0.0086335 | 0.036621 | -0.045215 | -1.1116 | -2.1555e-09 | 2.6814e-09 | 0.010092 | -0.063162 | -0.047362 | -74.6197 | 0 | 0 | -79.0725 | -79.0725 | -79.0725 | 1.026 | 1.1 | 1.0259 | 1.0349 | 1.1 | 1.0392 | -26.8236 | -138.9206 | 146.5022 | -29.6197 | -138.9672 | 147.2559

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011596 | 0.011596 | 0.011596 | 0.50331 | 0.0075771 | 0.0075771 | 0.1339 | 0.1339 | 0.1339 | 5.8117 | 0.087492 | 0.087492 | 0.030184 | 0.11032 | -0.13938 | -1.2461 | -0.073243 | 0.09043 | 0.030415 | -0.198 | -0.14567 | -1.2491 | 0.12632 | 0.094724 | -74.6197 | 0 | 0 | 105.3134 | 100.9275 | 100.9275 | 1.0437 | 1.1 | 1.054 | 1.0349 | 1.1 | 1.0392 | -32.9462 | -139.0401 | 148.1004 | -29.6197 | -138.9672 | 147.2559
Line_1 | 0.4715 | 0 | 0 | 0.0037885 | 0.0037885 | 0.0037885 | 5.4444 | 0 | 0 | 0.043746 | 0.043746 | 0.043746 | -1.1116 | -3.6718e-09 | -2.761e-09 | 0.0086335 | 0.036621 | -0.045215 | -1.1116 | -2.1555e-09 | 2.6814e-09 | 0.010092 | -0.063162 | -0.047362 | -74.6197 | 0 | 0 | -79.0725 | -79.0725 | -79.0725 | 1.026 | 1.1 | 1.0259 | 1.0349 | 1.1 | 1.0392 | -26.8236 | -138.9206 | 146.5022 | -29.6197 | -138.9672 | 147.2559
Line_2 | 0.4715 | 0 | 0 | 0.0037885 | 0.0037885 | 0.0037885 | 5.4444 | 0 | 0 | 0.043746 | 0.043746 | 0.043746 | -1.1116 | -3.6718e-09 | -2.761e-09 | 0.0086335 | 0.036621 | -0.045215 | -1.1116 | -2.1555e-09 | 2.6814e-09 | 0.010092 | -0.063162 | -0.047362 | -74.6197 | 0 | 0 | -79.0725 | -79.0725 | -79.0725 | 1.026 | 1.1 | 1.0259 | 1.0349 | 1.1 | 1.0392 | -26.8236 | -138.9206 | 146.5022 | -29.6197 | -138.9672 | 147.2559

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013599 | 0.013599 | 0.013599 | 0.58462 | 0.008866 | 0.008866 | 0.15703 | 0.15703 | 0.15703 | 6.7506 | 0.10238 | 0.10238 | 1.2322e-13 | 0.13747 | -0.13451 | -5.5861e-12 | -0.088745 | 0.088536 | 1.0282e-13 | -0.21502 | -0.21578 | -3.1878e-12 | 0.13938 | 0.13563 | -80.2788 | 0 | 0 | 99.5926 | 91.2119 | 91.2119 | 0.93833 | 1 | 0.93491 | 0.93186 | 1 | 0.91344 | 0 | -147.5696 | 147.9007 | 0 | -146.3033 | 148.077
Line_1 | 0.53364 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 6.162 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -4.9218e-12 | -4.0526e-09 | -3.7769e-09 | 3.8383e-14 | 0.044373 | -0.044268 | -1.9406e-12 | -2.4995e-09 | 2.6587e-09 | 3.0088e-14 | -0.069692 | -0.067817 | -80.2788 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.92177 | 1 | 0.89416 | 0.93186 | 1 | 0.91344 | 0 | -145.2755 | 147.9168 | 0 | -146.3033 | 148.077
Line_2 | 0.53364 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 6.162 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -4.9245e-12 | -4.0526e-09 | -3.7769e-09 | 3.8383e-14 | 0.044373 | -0.044268 | -1.9397e-12 | -2.4995e-09 | 2.6587e-09 | 3.0088e-14 | -0.069692 | -0.067817 | -80.2788 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.92177 | 1 | 0.89416 | 0.93186 | 1 | 0.91344 | 0 | -145.2755 | 147.9168 | 0 | -146.3033 | 148.077

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013599 | 0.013599 | 0.013599 | 0.58462 | 0.008866 | 0.008866 | 0.15703 | 0.15703 | 0.15703 | 6.7506 | 0.10238 | 0.10238 | 1.2322e-13 | 0.13747 | -0.13451 | -5.5861e-12 | -0.088745 | 0.088536 | 1.0282e-13 | -0.21502 | -0.21578 | -3.1878e-12 | 0.13938 | 0.13563 | -80.2788 | 0 | 0 | 99.5926 | 91.2119 | 91.2119 | 0.93833 | 1 | 0.93491 | 0.93186 | 1 | 0.91344 | 0 | -147.5696 | 147.9007 | 0 | -146.3033 | 148.077
Line_1 | 0.53364 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 6.162 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -4.9218e-12 | -4.0526e-09 | -3.7769e-09 | 3.8383e-14 | 0.044373 | -0.044268 | -1.9406e-12 | -2.4995e-09 | 2.6587e-09 | 3.0088e-14 | -0.069692 | -0.067817 | -80.2788 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.92177 | 1 | 0.89416 | 0.93186 | 1 | 0.91344 | 0 | -145.2755 | 147.9168 | 0 | -146.3033 | 148.077
Line_2 | 0.53364 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 6.162 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -4.9245e-12 | -4.0526e-09 | -3.7769e-09 | 3.8383e-14 | 0.044373 | -0.044268 | -1.9397e-12 | -2.4995e-09 | 2.6587e-09 | 3.0088e-14 | -0.069692 | -0.067817 | -80.2788 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.92177 | 1 | 0.89416 | 0.93186 | 1 | 0.91344 | 0 | -145.2755 | 147.9168 | 0 | -146.3033 | 148.077

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010512 | 0.010512 | 0.010512 | 0.44837 | 0.0067997 | 0.0067997 | 0.12138 | 0.12138 | 0.12138 | 5.1773 | 0.078517 | 0.078517 | 0.024707 | 0.091491 | -0.11443 | -0.98788 | -0.060671 | 0.073176 | 0.025071 | -0.1624 | -0.12006 | -0.99232 | 0.10146 | 0.077379 | -71.2924 | 0 | 0 | 108.579 | 100.1983 | 100.1983 | 0.94663 | 1 | 0.95636 | 0.94045 | 1 | 0.93832 | -32.9634 | -138.9869 | 147.9932 | -26.2924 | -138.9228 | 146.7976
Line_1 | 0.41098 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 4.7455 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 0.0063141 | 0.030335 | -0.036588 | -0.84451 | -1.7658e-09 | 2.1549e-09 | 0.0085359 | -0.050729 | -0.03869 | -71.2924 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.93233 | 1 | 0.92215 | 0.94045 | 1 | 0.93832 | -20.8982 | -138.975 | 145.7805 | -26.2924 | -138.9228 | 146.7976
Line_2 | 0.41098 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 4.7455 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 0.0063141 | 0.030335 | -0.036588 | -0.84451 | -1.7658e-09 | 2.1549e-09 | 0.0085359 | -0.050729 | -0.03869 | -71.2924 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.93233 | 1 | 0.92215 | 0.94045 | 1 | 0.93832 | -20.8982 | -138.975 | 145.7805 | -26.2924 | -138.9228 | 146.7976

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010512 | 0.010512 | 0.010512 | 0.44837 | 0.0067997 | 0.0067997 | 0.12138 | 0.12138 | 0.12138 | 5.1773 | 0.078517 | 0.078517 | 0.024707 | 0.091491 | -0.11443 | -0.98788 | -0.060671 | 0.073176 | 0.025071 | -0.1624 | -0.12006 | -0.99232 | 0.10146 | 0.077379 | -71.2924 | 0 | 0 | 108.579 | 100.1983 | 100.1983 | 0.94663 | 1 | 0.95636 | 0.94045 | 1 | 0.93832 | -32.9634 | -138.9869 | 147.9932 | -26.2924 | -138.9228 | 146.7976
Line_1 | 0.41098 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 4.7455 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 0.0063141 | 0.030335 | -0.036588 | -0.84451 | -1.7658e-09 | 2.1549e-09 | 0.0085359 | -0.050729 | -0.03869 | -71.2924 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.93233 | 1 | 0.92215 | 0.94045 | 1 | 0.93832 | -20.8982 | -138.975 | 145.7805 | -26.2924 | -138.9228 | 146.7976
Line_2 | 0.41098 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 4.7455 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 0.0063141 | 0.030335 | -0.036588 | -0.84451 | -1.7658e-09 | 2.1549e-09 | 0.0085359 | -0.050729 | -0.03869 | -71.2924 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.93233 | 1 | 0.92215 | 0.94045 | 1 | 0.93832 | -20.8982 | -138.975 | 145.7805 | -26.2924 | -138.9228 | 146.7976