## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | -0.0057555 | 0.052555 | -0.16836 | 0.22146 | 0 | -84.2894 | 0.028076 | 0.037934 | 3.7526 | -7.6398
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.099355 | -0.052555 | 0.27456 | -0.22146 | 0 | 95.7106 | 0.048663 | 0.037934 | -14.1834 | -7.6398
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.037934 | 0.037934 | -7.6398 | -7.6398

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | -0.0057555 | 0.052555 | -0.16836 | 0.22146 | 0 | -84.2894 | 0.028076 | 0.037934 | 3.7526 | -7.6398
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.099355 | -0.052555 | 0.27456 | -0.22146 | 0 | 95.7106 | 0.048663 | 0.037934 | -14.1834 | -7.6398
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.037934 | 0.037934 | -7.6398 | -7.6398

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | -1.2795 | 1.3263 | -2.2395 | 2.2926 | 0 | -84.2894 | 0.42987 | 0.44143 | -24.0302 | -24.3394
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3731 | -1.3263 | 2.3457 | -2.2926 | 0 | 95.7106 | 0.453 | 0.44143 | -24.6328 | -24.3394
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44143 | 0.44143 | -24.3394 | -24.3394

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | -1.2795 | 1.3263 | -2.2395 | 2.2926 | 0 | -84.2894 | 0.42987 | 0.44143 | -24.0302 | -24.3394
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3731 | -1.3263 | 2.3457 | -2.2926 | 0 | 95.7106 | 0.453 | 0.44143 | -24.6328 | -24.3394
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44143 | 0.44143 | -24.3394 | -24.3394

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.22213 | -1.0106 | 0.89662 | 0.23773 | 1.0262 | -0.88102 | -2.2583 | -0.51131 | -0.70203 | 2.276 | 0.52901 | 0.71973 | 0 | 0 | 0 | -84.2895 | 155.7108 | 35.7105 | 0.98181 | 0.028076 | 0.9836 | 0.99353 | 0.037935 | 0.98865 | 0.092787 | -177.4514 | 177.6503 | -0.25254 | -177.0171 | 176.464
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.25333 | 1.0418 | -0.86542 | -0.23773 | -1.0262 | 0.88102 | 2.2937 | 0.54671 | 0.73743 | -2.276 | -0.52901 | -0.71973 | 0 | 0 | 0 | 95.7105 | -24.2892 | -144.2895 | 1.0053 | 0.048663 | 0.99382 | 0.99353 | 0.037935 | 0.98865 | -0.59211 | -176.599 | 175.2758 | -0.25254 | -177.0171 | 176.464
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8553e-10 | 4.567e-11 | 8.1125e-11 | 1.8552e-10 | -4.5645e-11 | -8.1115e-11 | -2.0337e-11 | -1.953e-09 | 1.9123e-09 | 2.0342e-11 | 1.953e-09 | -1.9123e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.037935 | 0.98865 | 0.99353 | 0.037935 | 0.98865 | -0.25254 | -177.0171 | 176.464 | -0.25254 | -177.0171 | 176.464

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.22213 | -1.0106 | 0.89662 | 0.23773 | 1.0262 | -0.88102 | -2.2583 | -0.51131 | -0.70203 | 2.276 | 0.52901 | 0.71973 | 0 | 0 | 0 | -84.2895 | 155.7108 | 35.7105 | 0.98181 | 0.028076 | 0.9836 | 0.99353 | 0.037935 | 0.98865 | 0.092787 | -177.4514 | 177.6503 | -0.25254 | -177.0171 | 176.464
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.25333 | 1.0418 | -0.86542 | -0.23773 | -1.0262 | 0.88102 | 2.2937 | 0.54671 | 0.73743 | -2.276 | -0.52901 | -0.71973 | 0 | 0 | 0 | 95.7105 | -24.2892 | -144.2895 | 1.0053 | 0.048663 | 0.99382 | 0.99353 | 0.037935 | 0.98865 | -0.59211 | -176.599 | 175.2758 | -0.25254 | -177.0171 | 176.464
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8553e-10 | 4.567e-11 | 8.1125e-11 | 1.8552e-10 | -4.5645e-11 | -8.1115e-11 | -2.0337e-11 | -1.953e-09 | 1.9123e-09 | 2.0342e-11 | 1.953e-09 | -1.9123e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99353 | 0.037935 | 0.98865 | 0.99353 | 0.037935 | 0.98865 | -0.25254 | -177.0171 | 176.464 | -0.25254 | -177.0171 | 176.464

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.22214 | -1.0619 | 0.51144 | 0.23774 | 1.0775 | -0.49584 | -2.2583 | -0.9264 | -0.86507 | 2.276 | 0.9441 | 0.88277 | 0 | 0 | 0 | -84.2895 | 155.7107 | 35.7106 | 1.0512 | 0.26494 | 0.92793 | 1.0628 | 0.27664 | 0.93415 | 0.092787 | -163.1892 | 156.3027 | -0.25254 | -163.0659 | 155.033
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.25334 | 1.0931 | -0.48024 | -0.23774 | -1.0775 | 0.49584 | 2.2937 | 0.9618 | 0.90048 | -2.276 | -0.9441 | -0.88277 | 0 | 0 | 0 | 95.7105 | -24.2893 | -144.2894 | 1.0743 | 0.28834 | 0.94047 | 1.0628 | 0.27664 | 0.93415 | -0.59211 | -162.9466 | 153.7826 | -0.25254 | -163.0659 | 155.033
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8554e-10 | 2.293e-10 | 7.3221e-10 | 1.8553e-10 | -2.2929e-10 | -7.3221e-10 | -2.0331e-11 | -1.9728e-09 | 1.1721e-09 | 2.0332e-11 | 1.9728e-09 | -1.1721e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0628 | 0.27664 | 0.93415 | 1.0628 | 0.27664 | 0.93415 | -0.25254 | -163.0659 | 155.033 | -0.25254 | -163.0659 | 155.033

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.22214 | -1.0619 | 0.51144 | 0.23774 | 1.0775 | -0.49584 | -2.2583 | -0.9264 | -0.86507 | 2.276 | 0.9441 | 0.88277 | 0 | 0 | 0 | -84.2895 | 155.7107 | 35.7106 | 1.0512 | 0.26494 | 0.92793 | 1.0628 | 0.27664 | 0.93415 | 0.092787 | -163.1892 | 156.3027 | -0.25254 | -163.0659 | 155.033
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.25334 | 1.0931 | -0.48024 | -0.23774 | -1.0775 | 0.49584 | 2.2937 | 0.9618 | 0.90048 | -2.276 | -0.9441 | -0.88277 | 0 | 0 | 0 | 95.7105 | -24.2893 | -144.2894 | 1.0743 | 0.28834 | 0.94047 | 1.0628 | 0.27664 | 0.93415 | -0.59211 | -162.9466 | 153.7826 | -0.25254 | -163.0659 | 155.033
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8554e-10 | 2.293e-10 | 7.3221e-10 | 1.8553e-10 | -2.2929e-10 | -7.3221e-10 | -2.0331e-11 | -1.9728e-09 | 1.1721e-09 | 2.0332e-11 | 1.9728e-09 | -1.1721e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0628 | 0.27664 | 0.93415 | 1.0628 | 0.27664 | 0.93415 | -0.25254 | -163.0659 | 155.033 | -0.25254 | -163.0659 | 155.033

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | 3.5526e-15 | 9.4738e-15 | -1.6579e-14 | 2.3693e-15 | -2.3677e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.7606e-13 | -180 | 180 | 6.8029e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.117e-28 | -1.1839e-15 | 4.7373e-15 | -4.737e-15 | 7.1052e-15 | 2.3682e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -5.6243e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.7553e-13 | -180 | 180 | 6.8029e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0955e-28 | -5.9209e-15 | 3.3631e-19 | -2.3685e-15 | 7.1052e-15 | 7.1052e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.6256e-13 | -180 | 180 | 6.8029e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | 3.5526e-15 | 9.4738e-15 | -1.6579e-14 | 2.3693e-15 | -2.3677e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.7606e-13 | -180 | 180 | 6.8029e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.117e-28 | -1.1839e-15 | 4.7373e-15 | -4.737e-15 | 7.1052e-15 | 2.3682e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -5.6243e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.7553e-13 | -180 | 180 | 6.8029e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0955e-28 | -5.9209e-15 | 3.3631e-19 | -2.3685e-15 | 7.1052e-15 | 7.1052e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.6256e-13 | -180 | 180 | 6.8029e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-14 | -5.5595e-10 | -1.5515e-09 | -1.6579e-14 | 5.5595e-10 | 1.5515e-09 | -4.737e-15 | 4.8331e-09 | -3.1089e-09 | 2.3685e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 5.6017e-13 | -166.2936 | 160.6236 | 5.6227e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 1.8532e-10 | 5.1715e-10 | 7.1054e-15 | -1.8531e-10 | -5.1715e-10 | 7.1054e-15 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 5.6093e-13 | -166.2936 | 160.6236 | 5.6227e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 1.8532e-10 | 5.1716e-10 | -4.737e-15 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 5.4722e-13 | -166.2936 | 160.6236 | 5.6227e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-14 | -5.5595e-10 | -1.5515e-09 | -1.6579e-14 | 5.5595e-10 | 1.5515e-09 | -4.737e-15 | 4.8331e-09 | -3.1089e-09 | 2.3685e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 5.6017e-13 | -166.2936 | 160.6236 | 5.6227e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 1.8532e-10 | 5.1715e-10 | 7.1054e-15 | -1.8531e-10 | -5.1715e-10 | 7.1054e-15 | -1.6111e-09 | 1.0363e-09 | -7.1054e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 5.6093e-13 | -166.2936 | 160.6236 | 5.6227e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 1.8532e-10 | 5.1716e-10 | -4.737e-15 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 5.4722e-13 | -166.2936 | 160.6236 | 5.6227e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17321 | 0.17321 | 0.1732 | 0.17321 | 0.17321 | 0.1732 | 2 | 2 | 2 | 2 | 2 | 2 | -0.075327 | 0.45029 | -0.82116 | 0.090927 | -0.43469 | 0.83676 | -0.79019 | -1.9549 | -1.8277 | 0.80789 | 1.9726 | 1.8454 | 0 | 0 | 0 | -84.2893 | 155.7105 | 35.7106 | 0.66419 | 1.1346 | 0.66242 | 0.66934 | 1.1442 | 0.67413 | 0.26528 | -101.318 | 101.5171 | -0.71085 | -101.862 | 101.3199
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17321 | 0.17321 | 0.1732 | 2 | 2 | 2 | 2 | 2 | 2 | 0.10653 | -0.41909 | 0.85236 | -0.090927 | 0.43469 | -0.83676 | 0.82559 | 1.9903 | 1.8631 | -0.80789 | -1.9726 | -1.8454 | 0 | 0 | 0 | 95.7107 | -24.2895 | -144.2894 | 0.67465 | 1.1538 | 0.68584 | 0.66934 | 1.1442 | 0.67413 | -1.6416 | -102.3984 | 101.127 | -0.71085 | -101.862 | 101.3199
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0335e-09 | 1.3105e-10 | 1.0742e-10 | -1.0335e-09 | -1.3106e-10 | -1.0741e-10 | -2.0334e-11 | 1.2681e-09 | -1.3088e-09 | 2.0335e-11 | -1.2681e-09 | 1.3088e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66934 | 1.1442 | 0.67413 | 0.66934 | 1.1442 | 0.67413 | -0.71085 | -101.862 | 101.3199 | -0.71085 | -101.862 | 101.3199

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17321 | 0.17321 | 0.1732 | 0.17321 | 0.17321 | 0.1732 | 2 | 2 | 2 | 2 | 2 | 2 | -0.075327 | 0.45029 | -0.82116 | 0.090927 | -0.43469 | 0.83676 | -0.79019 | -1.9549 | -1.8277 | 0.80789 | 1.9726 | 1.8454 | 0 | 0 | 0 | -84.2893 | 155.7105 | 35.7106 | 0.66419 | 1.1346 | 0.66242 | 0.66934 | 1.1442 | 0.67413 | 0.26528 | -101.318 | 101.5171 | -0.71085 | -101.862 | 101.3199
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17321 | 0.17321 | 0.1732 | 2 | 2 | 2 | 2 | 2 | 2 | 0.10653 | -0.41909 | 0.85236 | -0.090927 | 0.43469 | -0.83676 | 0.82559 | 1.9903 | 1.8631 | -0.80789 | -1.9726 | -1.8454 | 0 | 0 | 0 | 95.7107 | -24.2895 | -144.2894 | 0.67465 | 1.1538 | 0.68584 | 0.66934 | 1.1442 | 0.67413 | -1.6416 | -102.3984 | 101.127 | -0.71085 | -101.862 | 101.3199
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0335e-09 | 1.3105e-10 | 1.0742e-10 | -1.0335e-09 | -1.3106e-10 | -1.0741e-10 | -2.0334e-11 | 1.2681e-09 | -1.3088e-09 | 2.0335e-11 | -1.2681e-09 | 1.3088e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66934 | 1.1442 | 0.67413 | 0.66934 | 1.1442 | 0.67413 | -0.71085 | -101.862 | 101.3199 | -0.71085 | -101.862 | 101.3199

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17321 | 0.17321 | 0.1732 | 0.17321 | 0.17321 | 0.1732 | 2 | 2 | 2 | 2 | 2 | 2 | -0.35838 | 0.18023 | -0.69263 | 0.37398 | -0.16463 | 0.70823 | -1.2504 | -1.9474 | -2.0653 | 1.2681 | 1.9651 | 2.083 | 0 | 0 | 0 | -84.2893 | 155.7105 | 35.7106 | 0.72388 | 1.1346 | 0.86844 | 0.73215 | 1.1442 | 0.87982 | -10.2818 | -109.0017 | 107.1714 | -10.7203 | -109.5004 | 106.9328
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17321 | 0.17321 | 0.1732 | 2 | 2 | 2 | 2 | 2 | 2 | 0.38958 | -0.14903 | 0.72383 | -0.37398 | 0.16463 | -0.70823 | 1.2858 | 1.9828 | 2.1007 | -1.2681 | -1.9651 | -2.083 | 0 | 0 | 0 | 95.7107 | -24.2895 | -144.2894 | 0.74052 | 1.1538 | 0.8912 | 0.73215 | 1.1442 | 0.87982 | -11.1449 | -109.991 | 106.6988 | -10.7203 | -109.5004 | 106.9328
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0174e-09 | 3.4564e-10 | -1.1522e-10 | -1.0174e-09 | -3.4564e-10 | 1.1523e-10 | -4.9597e-10 | 7.2468e-10 | -1.0032e-09 | 4.9598e-10 | -7.2468e-10 | 1.0032e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73215 | 1.1442 | 0.87982 | 0.73215 | 1.1442 | 0.87982 | -10.7203 | -109.5004 | 106.9328 | -10.7203 | -109.5004 | 106.9328

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17321 | 0.17321 | 0.1732 | 0.17321 | 0.17321 | 0.1732 | 2 | 2 | 2 | 2 | 2 | 2 | -0.35838 | 0.18023 | -0.69263 | 0.37398 | -0.16463 | 0.70823 | -1.2504 | -1.9474 | -2.0653 | 1.2681 | 1.9651 | 2.083 | 0 | 0 | 0 | -84.2893 | 155.7105 | 35.7106 | 0.72388 | 1.1346 | 0.86844 | 0.73215 | 1.1442 | 0.87982 | -10.2818 | -109.0017 | 107.1714 | -10.7203 | -109.5004 | 106.9328
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17321 | 0.17321 | 0.1732 | 2 | 2 | 2 | 2 | 2 | 2 | 0.38958 | -0.14903 | 0.72383 | -0.37398 | 0.16463 | -0.70823 | 1.2858 | 1.9828 | 2.1007 | -1.2681 | -1.9651 | -2.083 | 0 | 0 | 0 | 95.7107 | -24.2895 | -144.2894 | 0.74052 | 1.1538 | 0.8912 | 0.73215 | 1.1442 | 0.87982 | -11.1449 | -109.991 | 106.6988 | -10.7203 | -109.5004 | 106.9328
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0174e-09 | 3.4564e-10 | -1.1522e-10 | -1.0174e-09 | -3.4564e-10 | 1.1523e-10 | -4.9597e-10 | 7.2468e-10 | -1.0032e-09 | 4.9598e-10 | -7.2468e-10 | 1.0032e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73215 | 1.1442 | 0.87982 | 0.73215 | 1.1442 | 0.87982 | -10.7203 | -109.5004 | 106.9328 | -10.7203 | -109.5004 | 106.9328

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.111e-10 | -6.1111e-10 | 2.4444e-09 | 6.111e-10 | 6.1111e-10 | -7.8985e-16 | -3.1754e-09 | 3.1754e-09 | 1.1848e-15 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 1 | 0.57735 | 0.57735 | 1 | 0.57735 | 8.3019e-09 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.0371e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | 2.3687e-15 | 1.0585e-09 | -1.0585e-09 | -1.9739e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 1 | 0.57735 | 0.57735 | 1 | 0.57735 | 1.5739e-08 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.0371e-10 | 7.8972e-16 | 1.0585e-09 | -1.0585e-09 | -3.9494e-16 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 1 | 0.57735 | 0.57735 | 1 | 0.57735 | 1.5739e-08 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.111e-10 | -6.1111e-10 | 2.4444e-09 | 6.111e-10 | 6.1111e-10 | -7.8985e-16 | -3.1754e-09 | 3.1754e-09 | 1.1848e-15 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 1 | 0.57735 | 0.57735 | 1 | 0.57735 | 8.3019e-09 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.0371e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | 2.3687e-15 | 1.0585e-09 | -1.0585e-09 | -1.9739e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 1 | 0.57735 | 0.57735 | 1 | 0.57735 | 1.5739e-08 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.0371e-10 | 7.8972e-16 | 1.0585e-09 | -1.0585e-09 | -3.9494e-16 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 1 | 0.57735 | 0.57735 | 1 | 0.57735 | 1.5739e-08 | -100.8934 | 100.8934 | 1.388e-08 | -100.8934 | 100.8934

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6248e-09 | -1.1402e-09 | -1.7218e-10 | 2.6248e-09 | 1.1402e-09 | 1.7218e-10 | 1.1178e-09 | -1.9471e-09 | 2.5059e-09 | -1.1178e-09 | 1.9471e-09 | -2.5059e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61843 | 1 | 0.7473 | 0.61843 | 1 | 0.7473 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.7393e-11 | -8.7492e-10 | -3.8006e-10 | -5.7393e-11 | -3.726e-10 | 6.4901e-10 | -8.3531e-10 | 3.7259e-10 | -6.4901e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61843 | 1 | 0.7473 | 0.61843 | 1 | 0.7473 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.7392e-11 | -8.7492e-10 | -3.8007e-10 | -5.7391e-11 | -3.7259e-10 | 6.4903e-10 | -8.3531e-10 | 3.7259e-10 | -6.4902e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61843 | 1 | 0.7473 | 0.61843 | 1 | 0.7473 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6248e-09 | -1.1402e-09 | -1.7218e-10 | 2.6248e-09 | 1.1402e-09 | 1.7218e-10 | 1.1178e-09 | -1.9471e-09 | 2.5059e-09 | -1.1178e-09 | 1.9471e-09 | -2.5059e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61843 | 1 | 0.7473 | 0.61843 | 1 | 0.7473 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.7393e-11 | -8.7492e-10 | -3.8006e-10 | -5.7393e-11 | -3.726e-10 | 6.4901e-10 | -8.3531e-10 | 3.7259e-10 | -6.4901e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61843 | 1 | 0.7473 | 0.61843 | 1 | 0.7473 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8007e-10 | 5.7392e-11 | -8.7492e-10 | -3.8007e-10 | -5.7391e-11 | -3.7259e-10 | 6.4903e-10 | -8.3531e-10 | 3.7259e-10 | -6.4902e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61843 | 1 | 0.7473 | 0.61843 | 1 | 0.7473 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.14873 | -0.67435 | 0.5971 | 0.16433 | 0.68995 | -0.5815 | -1.5243 | -0.35958 | -0.48673 | 1.542 | 0.37728 | 0.50443 | 0 | 0 | 0 | -84.2895 | 155.7107 | 35.7105 | 0.66242 | 0.028076 | 0.66419 | 0.67413 | 0.037935 | 0.66934 | 0.13748 | -176.2215 | 176.5255 | -0.37268 | -175.6183 | 174.7704
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.17993 | 0.70555 | -0.5659 | -0.16433 | -0.68995 | 0.5815 | 1.5597 | 0.39498 | 0.52213 | -1.542 | -0.37728 | -0.50443 | 0 | 0 | 0 | 95.7105 | -24.2893 | -144.2895 | 0.68584 | 0.048663 | 0.67465 | 0.67413 | 0.037935 | 0.66934 | -0.87033 | -175.0483 | 173.0146 | -0.37268 | -175.6183 | 174.7704
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2291e-10 | 3.2868e-10 | 3.5231e-10 | -9.2292e-10 | -3.2868e-10 | -3.5232e-10 | -2.0338e-11 | -1.3088e-09 | 1.2681e-09 | 2.0342e-11 | 1.3088e-09 | -1.2681e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67413 | 0.037935 | 0.66934 | 0.67413 | 0.037935 | 0.66934 | -0.37268 | -175.6183 | 174.7704 | -0.37268 | -175.6183 | 174.7704

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.14873 | -0.67435 | 0.5971 | 0.16433 | 0.68995 | -0.5815 | -1.5243 | -0.35958 | -0.48673 | 1.542 | 0.37728 | 0.50443 | 0 | 0 | 0 | -84.2895 | 155.7107 | 35.7105 | 0.66242 | 0.028076 | 0.66419 | 0.67413 | 0.037935 | 0.66934 | 0.13748 | -176.2215 | 176.5255 | -0.37268 | -175.6183 | 174.7704
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.17993 | 0.70555 | -0.5659 | -0.16433 | -0.68995 | 0.5815 | 1.5597 | 0.39498 | 0.52213 | -1.542 | -0.37728 | -0.50443 | 0 | 0 | 0 | 95.7105 | -24.2893 | -144.2895 | 0.68584 | 0.048663 | 0.67465 | 0.67413 | 0.037935 | 0.66934 | -0.87033 | -175.0483 | 173.0146 | -0.37268 | -175.6183 | 174.7704
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2291e-10 | 3.2868e-10 | 3.5231e-10 | -9.2292e-10 | -3.2868e-10 | -3.5232e-10 | -2.0338e-11 | -1.3088e-09 | 1.2681e-09 | 2.0342e-11 | 1.3088e-09 | -1.2681e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67413 | 0.037935 | 0.66934 | 0.67413 | 0.037935 | 0.66934 | -0.37268 | -175.6183 | 174.7704 | -0.37268 | -175.6183 | 174.7704

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.29026 | -0.82887 | 0.043994 | 0.30586 | 0.84447 | -0.028394 | -1.7544 | -1.0575 | -0.93948 | 1.7721 | 1.0752 | 0.95718 | 0 | 0 | 0 | -84.2895 | 155.7107 | 35.7106 | 0.86844 | 0.42987 | 0.72388 | 0.87981 | 0.44143 | 0.73215 | -3.6837 | -152.3798 | 128.3917 | -4.0821 | -152.4367 | 127.4097
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.32146 | 0.86007 | -0.012794 | -0.30586 | -0.84447 | 0.028394 | 1.7898 | 1.0929 | 0.97488 | -1.7721 | -1.0752 | -0.95718 | 0 | 0 | 0 | 95.7105 | -24.2893 | -144.2894 | 0.8912 | 0.453 | 0.74052 | 0.87981 | 0.44143 | 0.73215 | -4.4716 | -152.4917 | 126.4625 | -4.0821 | -152.4367 | 127.4097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.53e-10 | 6.1361e-10 | 1.0745e-09 | -6.53e-10 | -6.1359e-10 | -1.0744e-09 | -2.5817e-10 | -1.4788e-09 | 2.4904e-10 | 2.5817e-10 | 1.4788e-09 | -2.4904e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87981 | 0.44143 | 0.73215 | 0.87981 | 0.44143 | 0.73215 | -4.0821 | -152.4367 | 127.4097 | -4.0821 | -152.4367 | 127.4097

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.29026 | -0.82887 | 0.043994 | 0.30586 | 0.84447 | -0.028394 | -1.7544 | -1.0575 | -0.93948 | 1.7721 | 1.0752 | 0.95718 | 0 | 0 | 0 | -84.2895 | 155.7107 | 35.7106 | 0.86844 | 0.42987 | 0.72388 | 0.87981 | 0.44143 | 0.73215 | -3.6837 | -152.3798 | 128.3917 | -4.0821 | -152.4367 | 127.4097
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.32146 | 0.86007 | -0.012794 | -0.30586 | -0.84447 | 0.028394 | 1.7898 | 1.0929 | 0.97488 | -1.7721 | -1.0752 | -0.95718 | 0 | 0 | 0 | 95.7105 | -24.2893 | -144.2894 | 0.8912 | 0.453 | 0.74052 | 0.87981 | 0.44143 | 0.73215 | -4.4716 | -152.4917 | 126.4625 | -4.0821 | -152.4367 | 127.4097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.53e-10 | 6.1361e-10 | 1.0745e-09 | -6.53e-10 | -6.1359e-10 | -1.0744e-09 | -2.5817e-10 | -1.4788e-09 | 2.4904e-10 | 2.5817e-10 | 1.4788e-09 | -2.4904e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87981 | 0.44143 | 0.73215 | 0.87981 | 0.44143 | 0.73215 | -4.0821 | -152.4367 | 127.4097 | -4.0821 | -152.4367 | 127.4097

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.111e-10 | -6.1111e-10 | 2.4444e-09 | 6.111e-10 | 6.1111e-10 | -6.3159e-15 | 3.1754e-09 | -3.1754e-09 | 3.158e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 0 | 0.57735 | 0.57735 | 0 | 0.57735 | -3.6531e-11 | -180 | 180 | 1.3579e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | -3.1579e-15 | -1.0585e-09 | 1.0585e-09 | 3.1579e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 0 | 0.57735 | 0.57735 | 0 | 0.57735 | 1.8227e-09 | -180 | 180 | 1.3579e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | 3.158e-15 | -1.0585e-09 | 1.0585e-09 | -9.4739e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 0 | 0.57735 | 0.57735 | 0 | 0.57735 | 1.8227e-09 | -180 | 180 | 1.3579e-09 | -180 | 180

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.111e-10 | -6.1111e-10 | 2.4444e-09 | 6.111e-10 | 6.1111e-10 | -6.3159e-15 | 3.1754e-09 | -3.1754e-09 | 3.158e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 0 | 0.57735 | 0.57735 | 0 | 0.57735 | -3.6531e-11 | -180 | 180 | 1.3579e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | -3.1579e-15 | -1.0585e-09 | 1.0585e-09 | 3.1579e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 0 | 0.57735 | 0.57735 | 0 | 0.57735 | 1.8227e-09 | -180 | 180 | 1.3579e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | 3.158e-15 | -1.0585e-09 | 1.0585e-09 | -9.4739e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57735 | 0 | 0.57735 | 0.57735 | 0 | 0.57735 | 1.8227e-09 | -180 | 180 | 1.3579e-09 | -180 | 180

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9417e-09 | -1.5383e-09 | -2.5064e-09 | 1.9417e-09 | 1.5383e-09 | 2.5064e-09 | 5.5889e-10 | 3.6237e-09 | -8.2928e-10 | -5.5888e-10 | -3.6237e-09 | 8.2928e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7473 | 0.33546 | 0.61843 | 0.7473 | 0.33546 | 0.61843 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1278e-10 | 8.3546e-10 | -6.4723e-10 | -5.1277e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7643e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7473 | 0.33546 | 0.61843 | 0.7473 | 0.33546 | 0.61843 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1278e-10 | 8.3546e-10 | -6.4722e-10 | -5.1278e-10 | -8.3545e-10 | -1.863e-10 | -1.2079e-09 | 2.7642e-10 | 1.863e-10 | 1.2079e-09 | -2.7642e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7473 | 0.33546 | 0.61843 | 0.7473 | 0.33546 | 0.61843 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9417e-09 | -1.5383e-09 | -2.5064e-09 | 1.9417e-09 | 1.5383e-09 | 2.5064e-09 | 5.5889e-10 | 3.6237e-09 | -8.2928e-10 | -5.5888e-10 | -3.6237e-09 | 8.2928e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7473 | 0.33546 | 0.61843 | 0.7473 | 0.33546 | 0.61843 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1278e-10 | 8.3546e-10 | -6.4723e-10 | -5.1277e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7643e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7473 | 0.33546 | 0.61843 | 0.7473 | 0.33546 | 0.61843 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1278e-10 | 8.3546e-10 | -6.4722e-10 | -5.1278e-10 | -8.3545e-10 | -1.863e-10 | -1.2079e-09 | 2.7642e-10 | 1.863e-10 | 1.2079e-09 | -2.7642e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7473 | 0.33546 | 0.61843 | 0.7473 | 0.33546 | 0.61843 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657