## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.17321 | 0.17321 | 0.24495 | 0 | 6 | 6 | -1e-07 | 0.0468 | -1e-07 | 0.0531 | 0 | -87.328 | 0 | 0.011797 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.0936 | -0.0468 | 0.1062 | -0.0531 | 0 | 92.672 | 0.023593 | 0.011797 | -38.7195 | -38.7195
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.17321 | 0.17321 | 0.24495 | 0 | 6 | 6 | -1e-07 | 0.0468 | -1e-07 | 0.0531 | 0 | -87.328 | 0 | 0.011797 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.0936 | -0.0468 | 0.1062 | -0.0531 | 0 | 92.672 | 0.023593 | 0.011797 | -38.7195 | -38.7195
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.1732 | 0.1732 | 0.24495 | 0 | 6 | 6 | -1.1891 | 1.2359 | -5.2664 | 5.3195 | 0 | -87.328 | 0.89983 | 0.9102 | -10.051 | -10.4073
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.2827 | -1.2359 | 5.3726 | -5.3195 | 0 | 92.672 | 0.92061 | 0.9102 | -10.7555 | -10.4073
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9102 | 0.9102 | -10.4073 | -10.4073

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.1732 | 0.1732 | 0.24495 | 0 | 6 | 6 | -1.1891 | 1.2359 | -5.2664 | 5.3195 | 0 | -87.328 | 0.89983 | 0.9102 | -10.051 | -10.4073
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.2827 | -1.2359 | 5.3726 | -5.3195 | 0 | 92.672 | 0.92061 | 0.9102 | -10.7555 | -10.4073
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9102 | 0.9102 | -10.4073 | -10.4073

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 1.3472e-09 | 0 | 0 | 0 | 7.2798e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 1.3472e-09 | 0 | 0 | 0 | 7.2798e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 3.6175e-10 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 3.6175e-10 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.10579 | -1.008 | 0.95513 | 0.12139 | 1.0236 | -0.93953 | -2.2669 | -0.5209 | -0.61253 | 2.2846 | 0.5386 | 0.63023 | 0 | 0 | 0 | -87.3281 | 152.6722 | 32.6719 | 0.98265 | 0 | 0.98265 | 0.99431 | 0.011797 | 0.98699 | -3.9404e-06 | 180 | 180 | -0.36961 | -179.5758 | 178.8188
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.13699 | 1.0392 | -0.92393 | -0.12139 | -1.0236 | 0.93953 | 2.3023 | 0.5563 | 0.64793 | -2.2846 | -0.5386 | -0.63023 | 0 | 0 | 0 | 92.6719 | -27.3278 | -147.3281 | 1.006 | 0.023593 | 0.99145 | 0.99431 | 0.011797 | 0.98699 | -0.73328 | -179.1675 | 177.6312 | -0.36961 | -179.5758 | 178.8188
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.842e-10 | -4.5192e-11 | 8.0085e-12 | 1.8419e-10 | 4.5203e-11 | -8.0191e-12 | -2.9763e-11 | -2.0114e-09 | 1.9519e-09 | 2.9763e-11 | 2.0114e-09 | -1.9519e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99431 | 0.011797 | 0.98699 | 0.99431 | 0.011797 | 0.98699 | -0.36961 | -179.5758 | 178.8188 | -0.36961 | -179.5758 | 178.8188

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.10579 | -1.008 | 0.95513 | 0.12139 | 1.0236 | -0.93953 | -2.2669 | -0.5209 | -0.61253 | 2.2846 | 0.5386 | 0.63023 | 0 | 0 | 0 | -87.3281 | 152.6722 | 32.6719 | 0.98265 | 0 | 0.98265 | 0.99431 | 0.011797 | 0.98699 | -3.9404e-06 | 180 | 180 | -0.36961 | -179.5758 | 178.8188
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.13699 | 1.0392 | -0.92393 | -0.12139 | -1.0236 | 0.93953 | 2.3023 | 0.5563 | 0.64793 | -2.2846 | -0.5386 | -0.63023 | 0 | 0 | 0 | 92.6719 | -27.3278 | -147.3281 | 1.006 | 0.023593 | 0.99145 | 0.99431 | 0.011797 | 0.98699 | -0.73328 | -179.1675 | 177.6312 | -0.36961 | -179.5758 | 178.8188
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.842e-10 | -4.5192e-11 | 8.0085e-12 | 1.8419e-10 | 4.5203e-11 | -8.0191e-12 | -2.9763e-11 | -2.0114e-09 | 1.9519e-09 | 2.9763e-11 | 2.0114e-09 | -1.9519e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99431 | 0.011797 | 0.98699 | 0.99431 | 0.011797 | 0.98699 | -0.36961 | -179.5758 | 178.8188 | -0.36961 | -179.5758 | 178.8188

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.10579 | -0.77 | -0.0064477 | 0.12139 | 0.7856 | 0.022048 | -2.2669 | -1.7687 | -1.4425 | 2.2846 | 1.7864 | 1.4602 | 0 | 0 | 0 | -87.3281 | 152.672 | 32.672 | 1.1424 | 0.73338 | 0.94607 | 1.153 | 0.74432 | 0.95417 | -2.2943e-06 | -140.8543 | 122.4159 | -0.36961 | -141.0668 | 121.807
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.13699 | 0.8012 | 0.037648 | -0.12139 | -0.7856 | -0.022048 | 2.3023 | 1.8041 | 1.4779 | -2.2846 | -1.7864 | -1.4602 | 0 | 0 | 0 | 92.6719 | -27.328 | -147.328 | 1.1635 | 0.75528 | 0.96234 | 1.153 | 0.74432 | 0.95417 | -0.73328 | -141.2745 | 121.2128 | -0.36961 | -141.0668 | 121.807
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.842e-10 | 1.8152e-10 | 9.8864e-10 | 1.8419e-10 | -1.8151e-10 | -9.8863e-10 | -2.9761e-11 | -1.4146e-09 | 9.2869e-11 | 2.9761e-11 | 1.4146e-09 | -9.2869e-11 | 0 | 0 | 0 | 0 | 0 | 0 | 1.153 | 0.74432 | 0.95417 | 1.153 | 0.74432 | 0.95417 | -0.36961 | -141.0668 | 121.807 | -0.36961 | -141.0668 | 121.807

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.10579 | -0.77 | -0.0064477 | 0.12139 | 0.7856 | 0.022048 | -2.2669 | -1.7687 | -1.4425 | 2.2846 | 1.7864 | 1.4602 | 0 | 0 | 0 | -87.3281 | 152.672 | 32.672 | 1.1424 | 0.73338 | 0.94607 | 1.153 | 0.74432 | 0.95417 | -2.2943e-06 | -140.8543 | 122.4159 | -0.36961 | -141.0668 | 121.807
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.13699 | 0.8012 | 0.037648 | -0.12139 | -0.7856 | -0.022048 | 2.3023 | 1.8041 | 1.4779 | -2.2846 | -1.7864 | -1.4602 | 0 | 0 | 0 | 92.6719 | -27.328 | -147.328 | 1.1635 | 0.75528 | 0.96234 | 1.153 | 0.74432 | 0.95417 | -0.73328 | -141.2745 | 121.2128 | -0.36961 | -141.0668 | 121.807
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.842e-10 | 1.8152e-10 | 9.8864e-10 | 1.8419e-10 | -1.8151e-10 | -9.8863e-10 | -2.9761e-11 | -1.4146e-09 | 9.2869e-11 | 2.9761e-11 | 1.4146e-09 | -9.2869e-11 | 0 | 0 | 0 | 0 | 0 | 0 | 1.153 | 0.74432 | 0.95417 | 1.153 | 0.74432 | 0.95417 | -0.36961 | -141.0668 | 121.807 | -0.36961 | -141.0668 | 121.807

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 8.2897e-15 | -8.1204e-21 | -2.1316e-14 | -8.289e-15 | 2.3692e-15 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.147e-13 | -180 | 180 | 7.0995e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1839e-15 | 9.4742e-15 | -7.1054e-15 | 1.184e-15 | -2.3687e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.099e-13 | -180 | 180 | 7.0995e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7169e-28 | -5.9209e-15 | 4.7373e-15 | -7.1054e-15 | 5.921e-15 | -2.3687e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -8.8043e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.9223e-13 | -180 | 180 | 7.0995e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 8.2897e-15 | -8.1204e-21 | -2.1316e-14 | -8.289e-15 | 2.3692e-15 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.147e-13 | -180 | 180 | 7.0995e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1839e-15 | 9.4742e-15 | -7.1054e-15 | 1.184e-15 | -2.3687e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.099e-13 | -180 | 180 | 7.0995e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7169e-28 | -5.9209e-15 | 4.7373e-15 | -7.1054e-15 | 5.921e-15 | -2.3687e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -8.8043e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.9223e-13 | -180 | 180 | 7.0995e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5857e-15 | -8.0024e-10 | -2.5674e-09 | -8.8818e-15 | 8.0024e-10 | 2.5674e-09 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.8443e-13 | -141.4824 | 122.8363 | 2.7526e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.5581e-10 | -2.9606e-16 | -2.6675e-10 | -8.558e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.7403e-13 | -141.4824 | 122.8363 | 2.7526e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6675e-10 | 8.5581e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | -4.1513e-30 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.678e-13 | -141.4824 | 122.8363 | 2.7526e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5857e-15 | -8.0024e-10 | -2.5674e-09 | -8.8818e-15 | 8.0024e-10 | 2.5674e-09 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.8443e-13 | -141.4824 | 122.8363 | 2.7526e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.5581e-10 | -2.9606e-16 | -2.6675e-10 | -8.558e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.7403e-13 | -141.4824 | 122.8363 | 2.7526e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6675e-10 | 8.5581e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | -4.1513e-30 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 2.678e-13 | -141.4824 | 122.8363 | 2.7526e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17165 | 0.17398 | 0.174 | 0.17217 | 0.17372 | 0.17373 | 1.9821 | 2.0089 | 2.0091 | 1.9881 | 2.0059 | 2.0061 | 3.9995e-11 | 0.64799 | -0.808 | 0.014682 | -0.62587 | 0.81802 | -1.4551e-11 | -1.9048 | -1.8142 | 0.017273 | 1.921 | 1.832 | 0 | 0 | 0 | -87.3249 | 152.3747 | 32.9662 | 0.57826 | 1.1347 | 0.5707 | 0.57843 | 1.1439 | 0.58223 | 0 | -98.9856 | 99.1056 | -37.6888 | -99.579 | 98.9052
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17269 | 0.17346 | 0.17347 | 2 | 2 | 2 | 1.994 | 2.003 | 2.003 | 0.030203 | -0.59835 | 0.82177 | -0.014726 | 0.61998 | -0.81208 | 0.035013 | 1.9361 | 1.8485 | -0.017325 | -1.9197 | -1.8313 | 0 | 0 | 0 | 92.6736 | -27.477 | -147.1807 | 0.57885 | 1.1532 | 0.59378 | 0.57843 | 1.1439 | 0.58223 | -38.1094 | -100.1544 | 98.7042 | -37.6888 | -99.579 | 98.9052
Line_2 | 0 | 0 | 0 | 0.00051756 | 0.00051756 | 0.00051756 | 0 | 0 | 0 | 0.0059763 | 0.0059763 | 0.0059763 | 3.578e-11 | 8.7776e-11 | 9.5576e-11 | 4.3681e-05 | 0.005893 | -0.005936 | -2.7789e-11 | 1.4171e-09 | -1.4519e-09 | 5.2307e-05 | -0.0012263 | -0.00070037 | 0 | 0 | 0 | -87.8239 | -87.8238 | -87.8238 | 0.57843 | 1.1439 | 0.58223 | 0.57843 | 1.1439 | 0.58223 | -37.4739 | -99.5818 | 98.9066 | -37.6888 | -99.579 | 98.9052

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17165 | 0.17398 | 0.174 | 0.17217 | 0.17372 | 0.17373 | 1.9821 | 2.0089 | 2.0091 | 1.9881 | 2.0059 | 2.0061 | 3.9995e-11 | 0.64799 | -0.808 | 0.014682 | -0.62587 | 0.81802 | -1.4551e-11 | -1.9048 | -1.8142 | 0.017273 | 1.921 | 1.832 | 0 | 0 | 0 | -87.3249 | 152.3747 | 32.9662 | 0.57826 | 1.1347 | 0.5707 | 0.57843 | 1.1439 | 0.58223 | 0 | -98.9856 | 99.1056 | -37.6888 | -99.579 | 98.9052
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17269 | 0.17346 | 0.17347 | 2 | 2 | 2 | 1.994 | 2.003 | 2.003 | 0.030203 | -0.59835 | 0.82177 | -0.014726 | 0.61998 | -0.81208 | 0.035013 | 1.9361 | 1.8485 | -0.017325 | -1.9197 | -1.8313 | 0 | 0 | 0 | 92.6736 | -27.477 | -147.1807 | 0.57885 | 1.1532 | 0.59378 | 0.57843 | 1.1439 | 0.58223 | -38.1094 | -100.1544 | 98.7042 | -37.6888 | -99.579 | 98.9052
Line_2 | 0 | 0 | 0 | 0.00051756 | 0.00051756 | 0.00051756 | 0 | 0 | 0 | 0.0059763 | 0.0059763 | 0.0059763 | 3.578e-11 | 8.7776e-11 | 9.5576e-11 | 4.3681e-05 | 0.005893 | -0.005936 | -2.7789e-11 | 1.4171e-09 | -1.4519e-09 | 5.2307e-05 | -0.0012263 | -0.00070037 | 0 | 0 | 0 | -87.8239 | -87.8238 | -87.8238 | 0.57843 | 1.1439 | 0.58223 | 0.57843 | 1.1439 | 0.58223 | -37.4739 | -99.5818 | 98.9066 | -37.6888 | -99.579 | 98.9052

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17295 | 0.17349 | 0.17318 | 0.17303 | 0.17339 | 0.17319 | 1.997 | 2.0033 | 1.9997 | 1.998 | 2.0022 | 1.9998 | -0.34658 | -0.023992 | -0.27584 | 0.36287 | 0.040319 | 0.29003 | -1.8759 | -2.125 | -2.2693 | 1.8942 | 2.1415 | 2.2874 | 0 | 0 | 0 | -87.3669 | 152.6419 | 32.741 | 0.95507 | 1.1347 | 1.0694 | 0.96441 | 1.1439 | 1.0797 | -7.8542 | -118.0199 | 115.8451 | -8.2113 | -118.4367 | 115.5149
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17312 | 0.1733 | 0.1732 | 2 | 2 | 2 | 1.999 | 2.0011 | 1.9999 | 0.3801 | 0.057032 | 0.30288 | -0.36369 | -0.040858 | -0.28866 | 1.9136 | 2.1569 | 2.3057 | -1.8951 | -2.1403 | -2.2877 | 0 | 0 | 0 | 92.6526 | -27.3431 | -147.2935 | 0.9738 | 1.1532 | 1.0899 | 0.96441 | 1.1439 | 1.0797 | -8.5627 | -118.8427 | 115.1884 | -8.2113 | -118.4367 | 115.5149
Line_2 | 0 | 0 | 0 | 0.00010454 | 0.00010454 | 0.00010454 | 0 | 0 | 0 | 0.0012071 | 0.0012071 | 0.0012071 | 4.3688e-10 | 1.1691e-10 | -2.3825e-10 | 0.0008255 | 0.00053897 | -0.0013644 | -5.5603e-10 | 1.1764e-10 | -3.6362e-10 | 0.00082243 | -0.0011735 | 0.00027464 | 0 | 0 | 0 | -53.1044 | -53.1044 | -53.1043 | 0.96441 | 1.1439 | 1.0797 | 0.96441 | 1.1439 | 1.0797 | -8.2109 | -118.4376 | 115.5154 | -8.2113 | -118.4367 | 115.5149

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17295 | 0.17349 | 0.17318 | 0.17303 | 0.17339 | 0.17319 | 1.997 | 2.0033 | 1.9997 | 1.998 | 2.0022 | 1.9998 | -0.34658 | -0.023992 | -0.27584 | 0.36287 | 0.040319 | 0.29003 | -1.8759 | -2.125 | -2.2693 | 1.8942 | 2.1415 | 2.2874 | 0 | 0 | 0 | -87.3669 | 152.6419 | 32.741 | 0.95507 | 1.1347 | 1.0694 | 0.96441 | 1.1439 | 1.0797 | -7.8542 | -118.0199 | 115.8451 | -8.2113 | -118.4367 | 115.5149
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17312 | 0.1733 | 0.1732 | 2 | 2 | 2 | 1.999 | 2.0011 | 1.9999 | 0.3801 | 0.057032 | 0.30288 | -0.36369 | -0.040858 | -0.28866 | 1.9136 | 2.1569 | 2.3057 | -1.8951 | -2.1403 | -2.2877 | 0 | 0 | 0 | 92.6526 | -27.3431 | -147.2935 | 0.9738 | 1.1532 | 1.0899 | 0.96441 | 1.1439 | 1.0797 | -8.5627 | -118.8427 | 115.1884 | -8.2113 | -118.4367 | 115.5149
Line_2 | 0 | 0 | 0 | 0.00010454 | 0.00010454 | 0.00010454 | 0 | 0 | 0 | 0.0012071 | 0.0012071 | 0.0012071 | 4.3688e-10 | 1.1691e-10 | -2.3825e-10 | 0.0008255 | 0.00053897 | -0.0013644 | -5.5603e-10 | 1.1764e-10 | -3.6362e-10 | 0.00082243 | -0.0011735 | 0.00027464 | 0 | 0 | 0 | -53.1044 | -53.1044 | -53.1043 | 0.96441 | 1.1439 | 1.0797 | 0.96441 | 1.1439 | 1.0797 | -8.2109 | -118.4376 | 115.5154 | -8.2113 | -118.4367 | 115.5149

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 0.0008956 | 0.0008956 | 0.0008956 | 0.015507 | 0.015507 | 0.015507 | 0.010342 | 0.010342 | 0.010342 | 1.2557e-13 | 0.013435 | -0.013406 | 7.1126e-06 | -0.0089551 | 0.0089459 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.4749e-06 | 0.0017159 | 0.0010889 | 0 | 0 | 0 | 92.0061 | 92.0061 | 92.0061 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 0 | -98.8235 | 98.9421 | 103.7212 | -98.841 | 98.9459
Line_1 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3524e-13 | 1.6498e-10 | 1.9709e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459
Line_2 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3524e-13 | 1.6497e-10 | 1.9709e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 0.0008956 | 0.0008956 | 0.0008956 | 0.015507 | 0.015507 | 0.015507 | 0.010342 | 0.010342 | 0.010342 | 1.2557e-13 | 0.013435 | -0.013406 | 7.1126e-06 | -0.0089551 | 0.0089459 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.4749e-06 | 0.0017159 | 0.0010889 | 0 | 0 | 0 | 92.0061 | 92.0061 | 92.0061 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 0 | -98.8235 | 98.9421 | 103.7212 | -98.841 | 98.9459
Line_1 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3524e-13 | 1.6498e-10 | 1.9709e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459
Line_2 | 0 | 0 | 0 | 0.0004478 | 0.0004478 | 0.0004478 | 0 | 0 | 0 | 0.0051708 | 0.0051708 | 0.0051708 | -7.3524e-13 | 1.6497e-10 | 1.9709e-10 | -3.5563e-06 | 0.0044776 | -0.0044729 | 3.0026e-12 | 1.1666e-09 | -1.148e-09 | -7.3745e-07 | -0.00085796 | -0.00054444 | 0 | 0 | 0 | -87.9939 | -87.9939 | -87.9939 | 0.50942 | 1 | 0.50272 | 0.50942 | 1 | 0.50272 | 103.7125 | -98.8444 | 98.9467 | 103.7212 | -98.841 | 98.9459

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 0.0001876 | 0.0001876 | 0.0001876 | 0.0032483 | 0.0032483 | 0.0032483 | 0.0021662 | 0.0021662 | 0.0021662 | 0.0019059 | 0.0013099 | -0.0032145 | -0.0012687 | -0.00087599 | 0.0021446 | 0.0019322 | -0.0027304 | 0.00061379 | -0.0012904 | 0.0018195 | -0.000406 | 0 | 0 | 0 | 126.3822 | 126.3823 | 126.3823 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1375 | -117.9012 | 115.6593 | -8.1319 | -117.91 | 115.6625
Line_1 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7345e-10 | 2.2933e-10 | -3.8859e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2455e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625
Line_2 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2934e-10 | -3.8858e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 0.0001876 | 0.0001876 | 0.0001876 | 0.0032483 | 0.0032483 | 0.0032483 | 0.0021662 | 0.0021662 | 0.0021662 | 0.0019059 | 0.0013099 | -0.0032145 | -0.0012687 | -0.00087599 | 0.0021446 | 0.0019322 | -0.0027304 | 0.00061379 | -0.0012904 | 0.0018195 | -0.000406 | 0 | 0 | 0 | 126.3822 | 126.3823 | 126.3823 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1375 | -117.9012 | 115.6593 | -8.1319 | -117.91 | 115.6625
Line_1 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7345e-10 | 2.2933e-10 | -3.8859e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2455e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625
Line_2 | 0 | 0 | 0 | 9.3799e-05 | 9.3799e-05 | 9.3799e-05 | 0 | 0 | 0 | 0.0010831 | 0.0010831 | 0.0010831 | 4.7344e-10 | 2.2934e-10 | -3.8858e-11 | 0.00063436 | 0.000438 | -0.0010723 | -4.3322e-10 | 1.2456e-10 | -2.794e-10 | 0.00064521 | -0.00090977 | 0.000203 | 0 | 0 | 0 | -53.6178 | -53.6177 | -53.6177 | 0.83548 | 1 | 0.93979 | 0.83548 | 1 | 0.93979 | -8.1308 | -117.9118 | 115.6631 | -8.1319 | -117.91 | 115.6625

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17564 | 0.17204 | 0.17197 | 0.17483 | 0.17242 | 0.17237 | 2.0281 | 1.9865 | 1.9857 | 2.0187 | 1.991 | 1.9904 | -0.013153 | 3.2027e-11 | 3.22e-11 | 0.030224 | 0.014606 | 0.015168 | -0.99551 | -1.1636e-11 | -1.0916e-11 | 1.0093 | 0.018382 | 0.016366 | 0 | 0 | 0 | -87.3375 | 153.1438 | 32.2097 | 0.28342 | 0 | 0.28342 | 0.29503 | 0.011797 | 0.28755 | 1.9015 | 0 | 0 | 0.94718 | -155.3256 | 79.3846
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17402 | 0.17281 | 0.17279 | 2 | 2 | 2 | 2.0094 | 1.9955 | 1.9952 | 0.045971 | 0.029903 | 0.030928 | -0.030167 | -0.014562 | -0.015271 | 1.0177 | 0.036462 | 0.033746 | -1.0046 | -0.018484 | -0.016344 | 0 | 0 | 0 | 92.6672 | -27.0926 | -147.5586 | 0.30664 | 0.023593 | 0.2921 | 0.29503 | 0.011797 | 0.28755 | 0.085606 | -156.6833 | 80.1663 | 0.94718 | -155.3256 | 79.3846
Line_2 | 0 | 0 | 0 | 0.00081136 | 0.00081136 | 0.00081136 | 0 | 0 | 0 | 0.0093688 | 0.0093688 | 0.0093688 | 1.0998e-09 | 3.8631e-11 | 3.3313e-11 | -5.7603e-05 | -4.3208e-05 | 0.00010263 | 3.2843e-11 | -2.7049e-11 | -2.937e-11 | -0.0046858 | 0.00010168 | -2.2316e-05 | 0 | 0 | 0 | 91.6515 | 91.6515 | 91.6515 | 0.29503 | 0.011797 | 0.28755 | 0.29503 | 0.011797 | 0.28755 | 0.93238 | -154.6471 | 78.9817 | 0.94718 | -155.3256 | 79.3846

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17564 | 0.17204 | 0.17197 | 0.17483 | 0.17242 | 0.17237 | 2.0281 | 1.9865 | 1.9857 | 2.0187 | 1.991 | 1.9904 | -0.013153 | 3.2027e-11 | 3.22e-11 | 0.030224 | 0.014606 | 0.015168 | -0.99551 | -1.1636e-11 | -1.0916e-11 | 1.0093 | 0.018382 | 0.016366 | 0 | 0 | 0 | -87.3375 | 153.1438 | 32.2097 | 0.28342 | 0 | 0.28342 | 0.29503 | 0.011797 | 0.28755 | 1.9015 | 0 | 0 | 0.94718 | -155.3256 | 79.3846
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17402 | 0.17281 | 0.17279 | 2 | 2 | 2 | 2.0094 | 1.9955 | 1.9952 | 0.045971 | 0.029903 | 0.030928 | -0.030167 | -0.014562 | -0.015271 | 1.0177 | 0.036462 | 0.033746 | -1.0046 | -0.018484 | -0.016344 | 0 | 0 | 0 | 92.6672 | -27.0926 | -147.5586 | 0.30664 | 0.023593 | 0.2921 | 0.29503 | 0.011797 | 0.28755 | 0.085606 | -156.6833 | 80.1663 | 0.94718 | -155.3256 | 79.3846
Line_2 | 0 | 0 | 0 | 0.00081136 | 0.00081136 | 0.00081136 | 0 | 0 | 0 | 0.0093688 | 0.0093688 | 0.0093688 | 1.0998e-09 | 3.8631e-11 | 3.3313e-11 | -5.7603e-05 | -4.3208e-05 | 0.00010263 | 3.2843e-11 | -2.7049e-11 | -2.937e-11 | -0.0046858 | 0.00010168 | -2.2316e-05 | 0 | 0 | 0 | 91.6515 | 91.6515 | 91.6515 | 0.29503 | 0.011797 | 0.28755 | 0.29503 | 0.011797 | 0.28755 | 0.93238 | -154.6471 | 78.9817 | 0.94718 | -155.3256 | 79.3846

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17347 | 0.1729 | 0.17324 | 0.17338 | 0.173 | 0.17323 | 2.0031 | 1.9965 | 2.0005 | 2.0021 | 1.9976 | 2.0003 | -0.20628 | -0.48013 | -0.25386 | 0.2211 | 0.49534 | 0.27064 | -2.1228 | -1.8645 | -1.7721 | 2.1397 | 1.8834 | 1.7894 | 0 | 0 | 0 | -87.2841 | 152.7011 | 32.5989 | 1.0573 | 0.89983 | 0.96718 | 1.0675 | 0.9102 | 0.97656 | -2.8124 | -131.7251 | 114.41 | -3.1836 | -132.0343 | 113.998
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17329 | 0.1731 | 0.17322 | 2 | 2 | 2 | 2.001 | 1.9988 | 2.0002 | 0.23485 | 0.51053 | 0.2885 | -0.22016 | -0.49515 | -0.27176 | 2.1554 | 1.9035 | 1.8064 | -2.1387 | -1.8846 | -1.789 | 0 | 0 | 0 | 92.6939 | -27.3134 | -147.3645 | 1.0778 | 0.92061 | 0.98599 | 1.0675 | 0.9102 | 0.97656 | -3.5465 | -132.3413 | 113.5979 | -3.1836 | -132.0343 | 113.998
Line_2 | 0 | 0 | 0 | 0.0001112 | 0.0001112 | 0.0001112 | 0 | 0 | 0 | 0.0012841 | 0.0012841 | 0.0012841 | 9.3993e-11 | 3.6093e-10 | 6.2784e-10 | -0.00093315 | -0.00018695 | 0.0011201 | -2.4071e-10 | -8.1972e-10 | -3.8159e-10 | -0.0010162 | 0.0012378 | -0.00030808 | 0 | 0 | 0 | 129.3765 | 129.3765 | 129.3765 | 1.0675 | 0.9102 | 0.97656 | 1.0675 | 0.9102 | 0.97656 | -3.1841 | -132.0332 | 113.9973 | -3.1836 | -132.0343 | 113.998

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17347 | 0.1729 | 0.17324 | 0.17338 | 0.173 | 0.17323 | 2.0031 | 1.9965 | 2.0005 | 2.0021 | 1.9976 | 2.0003 | -0.20628 | -0.48013 | -0.25386 | 0.2211 | 0.49534 | 0.27064 | -2.1228 | -1.8645 | -1.7721 | 2.1397 | 1.8834 | 1.7894 | 0 | 0 | 0 | -87.2841 | 152.7011 | 32.5989 | 1.0573 | 0.89983 | 0.96718 | 1.0675 | 0.9102 | 0.97656 | -2.8124 | -131.7251 | 114.41 | -3.1836 | -132.0343 | 113.998
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17329 | 0.1731 | 0.17322 | 2 | 2 | 2 | 2.001 | 1.9988 | 2.0002 | 0.23485 | 0.51053 | 0.2885 | -0.22016 | -0.49515 | -0.27176 | 2.1554 | 1.9035 | 1.8064 | -2.1387 | -1.8846 | -1.789 | 0 | 0 | 0 | 92.6939 | -27.3134 | -147.3645 | 1.0778 | 0.92061 | 0.98599 | 1.0675 | 0.9102 | 0.97656 | -3.5465 | -132.3413 | 113.5979 | -3.1836 | -132.0343 | 113.998
Line_2 | 0 | 0 | 0 | 0.0001112 | 0.0001112 | 0.0001112 | 0 | 0 | 0 | 0.0012841 | 0.0012841 | 0.0012841 | 9.3993e-11 | 3.6093e-10 | 6.2784e-10 | -0.00093315 | -0.00018695 | 0.0011201 | -2.4071e-10 | -8.1972e-10 | -3.8159e-10 | -0.0010162 | 0.0012378 | -0.00030808 | 0 | 0 | 0 | 129.3765 | 129.3765 | 129.3765 | 1.0675 | 0.9102 | 0.97656 | 1.0675 | 0.9102 | 0.97656 | -3.1841 | -132.0332 | 113.9973 | -3.1836 | -132.0343 | 113.998

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0014096 | 0.0014096 | 0.0014096 | 0.024407 | 0.024407 | 0.024407 | 0.016276 | 0.016276 | 0.016276 | 7.1355e-05 | -6.2223e-14 | 2.1526e-13 | -4.0522e-05 | 1.7619e-05 | 1.7619e-05 | -0.010408 | 2.1121e-13 | -5.2112e-14 | 0.0069441 | 3.6535e-06 | 3.6535e-06 | 0 | 0 | 0 | -88.5238 | -88.5238 | -88.5238 | 0.2462 | 0 | 0.2462 | 0.2462 | 0 | 0.2462 | 1.9562 | 0 | 0 | 1.8106 | -76.8087 | -76.8087
Line_1 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8636e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.2462 | 0 | 0.2462 | 0.2462 | 0 | 0.2462 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087
Line_2 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6628e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8634e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.2462 | 0 | 0.2462 | 0.2462 | 0 | 0.2462 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0014096 | 0.0014096 | 0.0014096 | 0.024407 | 0.024407 | 0.024407 | 0.016276 | 0.016276 | 0.016276 | 7.1355e-05 | -6.2223e-14 | 2.1526e-13 | -4.0522e-05 | 1.7619e-05 | 1.7619e-05 | -0.010408 | 2.1121e-13 | -5.2112e-14 | 0.0069441 | 3.6535e-06 | 3.6535e-06 | 0 | 0 | 0 | -88.5238 | -88.5238 | -88.5238 | 0.2462 | 0 | 0.2462 | 0.2462 | 0 | 0.2462 | 1.9562 | 0 | 0 | 1.8106 | -76.8087 | -76.8087
Line_1 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6627e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8636e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.2462 | 0 | 0.2462 | 0.2462 | 0 | 0.2462 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087
Line_2 | 0 | 0 | 0 | 0.00070479 | 0.00070479 | 0.00070479 | 0 | 0 | 0 | 0.0081382 | 0.0081382 | 0.0081382 | 8.962e-10 | 3.5405e-12 | -4.6628e-12 | 2.0262e-05 | -8.8093e-06 | -8.8093e-06 | 4.8634e-11 | 3.3288e-12 | 1.4074e-12 | -0.0034721 | -1.8267e-06 | -1.8267e-06 | 0 | 0 | 0 | 91.4762 | 91.4762 | 91.4762 | 0.2462 | 0 | 0.2462 | 0.2462 | 0 | 0.2462 | 1.7815 | -76.8175 | -76.8175 | 1.8106 | -76.8087 | -76.8087

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.00020017 | 0.00020017 | 0.00020017 | 0.0034659 | 0.0034659 | 0.0034659 | 0.0023113 | 0.0023113 | 0.0023113 | -0.0021684 | -0.00044662 | 0.0026164 | 0.001444 | 0.00030113 | -0.0017452 | -0.0024097 | 0.0028899 | -0.00069008 | 0.0016092 | -0.0019267 | 0.00045762 | 0 | 0 | 0 | -51.0424 | -51.0424 | -51.0424 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9382 | -132.17 | 114.2695 | -2.944 | -132.1593 | 114.2644
Line_1 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5149e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644
Line_2 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5149e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.00020017 | 0.00020017 | 0.00020017 | 0.0034659 | 0.0034659 | 0.0034659 | 0.0023113 | 0.0023113 | 0.0023113 | -0.0021684 | -0.00044662 | 0.0026164 | 0.001444 | 0.00030113 | -0.0017452 | -0.0024097 | 0.0028899 | -0.00069008 | 0.0016092 | -0.0019267 | 0.00045762 | 0 | 0 | 0 | -51.0424 | -51.0424 | -51.0424 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9382 | -132.17 | 114.2695 | -2.944 | -132.1593 | 114.2644
Line_1 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5149e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644
Line_2 | 0 | 0 | 0 | 0.00010008 | 0.00010008 | 0.00010008 | 0 | 0 | 0 | 0.0011557 | 0.0011557 | 0.0011557 | 2.1684e-10 | 4.1415e-10 | 6.1371e-10 | -0.00072198 | -0.00015056 | 0.00087259 | -1.7623e-10 | -6.5149e-10 | -2.8608e-10 | -0.00080461 | 0.00096334 | -0.00022881 | 0 | 0 | 0 | 128.9576 | 128.9576 | 128.9576 | 0.92823 | 0.78485 | 0.84697 | 0.92823 | 0.78485 | 0.84697 | -2.9451 | -132.1572 | 114.2634 | -2.944 | -132.1593 | 114.2644