## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | 0 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 0 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | 0 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 0 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1088 | 1.1088 | 0 | 0 | 38.4111 | 38.4111 | 25.9838 | -24.0658 | 24.4896 | -22.3133 | 0 | 128.6362 | 0.92957 | 0.8544 | -8.0595 | -8.5277
Line_1 | 1.1088 | 1.1088 | 2.1722 | 0 | 38.4111 | 38.4111 | -22.1477 | 24.0658 | -20.1371 | 22.3133 | 0 | -51.3638 | 0.7793 | 0.8544 | -9.0862 | -8.5277
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8544 | 0.8544 | -8.5277 | -8.5277

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1088 | 1.1088 | 0 | 0 | 38.4111 | 38.4111 | 25.9838 | -24.0658 | 24.4896 | -22.3133 | 0 | 128.6362 | 0.92957 | 0.8544 | -8.0595 | -8.5277
Line_1 | 1.1088 | 1.1088 | 2.1722 | 0 | 38.4111 | 38.4111 | -22.1477 | 24.0658 | -20.1371 | 22.3133 | 0 | -51.3638 | 0.7793 | 0.8544 | -9.0862 | -8.5277
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8544 | 0.8544 | -8.5277 | -8.5277

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | 0 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 0 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | 0 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 0 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | 0 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 0 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | 0 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 0 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 2.9966 | 2.9966 | 0.1732 | 2.9966 | 2.9966 | 2 | 34.6014 | 34.6014 | 2 | 34.6014 | 34.6014 | -0.69079 | 28.133 | -9.8167 | 0.70639 | -23.4637 | 14.486 | -2.159 | 3.8042 | 16.29 | 2.1767 | 1.4937 | -10.9922 | 0 | 0 | 0 | -71.7884 | 19.8678 | -163.4444 | 1.0975 | 0.47113 | 0.91296 | 1.0434 | 0.23557 | 0.95032 | 0.46945 | -152.4312 | 137.6297 | 0.2325 | -163.7746 | 159.364
Line_1 | 0.1732 | 2.9966 | 2.9966 | 0.1732 | 2.9966 | 2.9966 | 2 | 34.6014 | 34.6014 | 2 | 34.6014 | 34.6014 | 0.72199 | -18.7944 | 19.1553 | -0.70639 | 23.4637 | -14.486 | 2.1944 | 6.7915 | -5.6943 | -2.1767 | -1.4937 | 10.9922 | 0 | 0 | 0 | 108.2116 | -160.1322 | 16.5556 | 1.0003 | 0 | 1.0003 | 1.0434 | 0.23557 | 0.95032 | -4.1911e-06 | 180 | 180 | 0.2325 | -163.7746 | 159.364
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8571e-10 | 2.8598e-10 | 6.2608e-10 | 1.8569e-10 | -2.8597e-10 | -6.261e-10 | 1.8738e-11 | -1.896e-09 | 1.3444e-09 | -1.8732e-11 | 1.896e-09 | -1.3444e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0434 | 0.23557 | 0.95032 | 1.0434 | 0.23557 | 0.95032 | 0.2325 | -163.7746 | 159.364 | 0.2325 | -163.7746 | 159.364

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 2.9966 | 2.9966 | 0.1732 | 2.9966 | 2.9966 | 2 | 34.6014 | 34.6014 | 2 | 34.6014 | 34.6014 | -0.69079 | 28.133 | -9.8167 | 0.70639 | -23.4637 | 14.486 | -2.159 | 3.8042 | 16.29 | 2.1767 | 1.4937 | -10.9922 | 0 | 0 | 0 | -71.7884 | 19.8678 | -163.4444 | 1.0975 | 0.47113 | 0.91296 | 1.0434 | 0.23557 | 0.95032 | 0.46945 | -152.4312 | 137.6297 | 0.2325 | -163.7746 | 159.364
Line_1 | 0.1732 | 2.9966 | 2.9966 | 0.1732 | 2.9966 | 2.9966 | 2 | 34.6014 | 34.6014 | 2 | 34.6014 | 34.6014 | 0.72199 | -18.7944 | 19.1553 | -0.70639 | 23.4637 | -14.486 | 2.1944 | 6.7915 | -5.6943 | -2.1767 | -1.4937 | 10.9922 | 0 | 0 | 0 | 108.2116 | -160.1322 | 16.5556 | 1.0003 | 0 | 1.0003 | 1.0434 | 0.23557 | 0.95032 | -4.1911e-06 | 180 | 180 | 0.2325 | -163.7746 | 159.364
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8571e-10 | 2.8598e-10 | 6.2608e-10 | 1.8569e-10 | -2.8597e-10 | -6.261e-10 | 1.8738e-11 | -1.896e-09 | 1.3444e-09 | -1.8732e-11 | 1.896e-09 | -1.3444e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0434 | 0.23557 | 0.95032 | 1.0434 | 0.23557 | 0.95032 | 0.2325 | -163.7746 | 159.364 | 0.2325 | -163.7746 | 159.364

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.5255 | 1.4824 | 0.1732 | 1.5255 | 1.4824 | 2 | 17.6152 | 17.1174 | 2 | 17.6152 | 17.1174 | -0.69079 | 17.423 | -0.43252 | 0.70639 | -16.2129 | 1.5752 | -2.159 | 2.571 | 13.7552 | 2.1767 | -1.198 | -12.4587 | 0 | 0 | 0 | -71.7883 | 35.7991 | -150.5957 | 1.1434 | 0.81799 | 0.97682 | 1.1231 | 0.70015 | 0.97353 | 0.46946 | -135.8067 | 121.2053 | 0.23251 | -139.975 | 126.6103
Line_1 | 0.1732 | 1.5255 | 1.4824 | 0.1732 | 1.5255 | 1.4824 | 2 | 17.6152 | 17.1174 | 2 | 17.6152 | 17.1174 | 0.72199 | -15.0027 | 2.718 | -0.70639 | 16.2129 | -1.5752 | 2.1944 | 0.17509 | -11.1621 | -2.1767 | 1.198 | 12.4587 | 0 | 0 | 0 | 108.2117 | -144.2009 | 29.4043 | 1.1059 | 0.58241 | 0.97363 | 1.1231 | 0.70015 | 0.97353 | -3.1256e-06 | -144.8696 | 133.0893 | 0.23251 | -139.975 | 126.6103
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.857e-10 | 3.7535e-10 | 9.6585e-10 | 1.857e-10 | -3.7534e-10 | -9.6584e-10 | 1.8722e-11 | -1.2716e-09 | 3.4061e-10 | -1.8724e-11 | 1.2716e-09 | -3.4061e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1231 | 0.70015 | 0.97353 | 1.1231 | 0.70015 | 0.97353 | 0.23251 | -139.975 | 126.6103 | 0.23251 | -139.975 | 126.6103

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.5255 | 1.4824 | 0.1732 | 1.5255 | 1.4824 | 2 | 17.6152 | 17.1174 | 2 | 17.6152 | 17.1174 | -0.69079 | 17.423 | -0.43252 | 0.70639 | -16.2129 | 1.5752 | -2.159 | 2.571 | 13.7552 | 2.1767 | -1.198 | -12.4587 | 0 | 0 | 0 | -71.7883 | 35.7991 | -150.5957 | 1.1434 | 0.81799 | 0.97682 | 1.1231 | 0.70015 | 0.97353 | 0.46946 | -135.8067 | 121.2053 | 0.23251 | -139.975 | 126.6103
Line_1 | 0.1732 | 1.5255 | 1.4824 | 0.1732 | 1.5255 | 1.4824 | 2 | 17.6152 | 17.1174 | 2 | 17.6152 | 17.1174 | 0.72199 | -15.0027 | 2.718 | -0.70639 | 16.2129 | -1.5752 | 2.1944 | 0.17509 | -11.1621 | -2.1767 | 1.198 | 12.4587 | 0 | 0 | 0 | 108.2117 | -144.2009 | 29.4043 | 1.1059 | 0.58241 | 0.97363 | 1.1231 | 0.70015 | 0.97353 | -3.1256e-06 | -144.8696 | 133.0893 | 0.23251 | -139.975 | 126.6103
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.857e-10 | 3.7535e-10 | 9.6585e-10 | 1.857e-10 | -3.7534e-10 | -9.6584e-10 | 1.8722e-11 | -1.2716e-09 | 3.4061e-10 | -1.8724e-11 | 1.2716e-09 | -3.4061e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1231 | 0.70015 | 0.97353 | 1.1231 | 0.70015 | 0.97353 | 0.23251 | -139.975 | 126.6103 | 0.23251 | -139.975 | 126.6103

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 9.4739e-15 | 23.4155 | -0.45749 | -1.0658e-14 | -17.676 | 6.197 | -4.737e-15 | -0.22679 | 13.7937 | 4.737e-15 | 3.6185 | -10.402 | 0 | 0 | 0 | 0 | 30.4256 | -149.5744 | 1.0299 | 0.55611 | 0.77063 | 0.9413 | 0.27805 | 0.80784 | 3.786e-13 | -150.1294 | 122.3252 | 3.6473e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | -7.4226e-30 | 7.0103 | -7.0103 | -7.5386e-30 | -3.6185 | 10.402 | 0 | 0 | 0 | 0 | -149.5744 | 30.4256 | 0.86603 | 0 | 0.86603 | 0.9413 | 0.27805 | 0.80784 | 3.5912e-13 | -180 | 180 | 3.6473e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 2.4221e-10 | 6.7019e-10 | -1.1842e-15 | -2.4221e-10 | -6.7018e-10 | 2.3685e-15 | -1.5722e-09 | 8.3092e-10 | -2.3685e-15 | 1.5722e-09 | -8.3092e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9413 | 0.27805 | 0.80784 | 0.9413 | 0.27805 | 0.80784 | 3.508e-13 | -161.1438 | 151.2099 | 3.6473e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 9.4739e-15 | 23.4155 | -0.45749 | -1.0658e-14 | -17.676 | 6.197 | -4.737e-15 | -0.22679 | 13.7937 | 4.737e-15 | 3.6185 | -10.402 | 0 | 0 | 0 | 0 | 30.4256 | -149.5744 | 1.0299 | 0.55611 | 0.77063 | 0.9413 | 0.27805 | 0.80784 | 3.786e-13 | -150.1294 | 122.3252 | 3.6473e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | -7.4226e-30 | 7.0103 | -7.0103 | -7.5386e-30 | -3.6185 | 10.402 | 0 | 0 | 0 | 0 | -149.5744 | 30.4256 | 0.86603 | 0 | 0.86603 | 0.9413 | 0.27805 | 0.80784 | 3.5912e-13 | -180 | 180 | 3.6473e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 2.4221e-10 | 6.7019e-10 | -1.1842e-15 | -2.4221e-10 | -6.7018e-10 | 2.3685e-15 | -1.5722e-09 | 8.3092e-10 | -2.3685e-15 | 1.5722e-09 | -8.3092e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9413 | 0.27805 | 0.80784 | 0.9413 | 0.27805 | 0.80784 | 3.508e-13 | -161.1438 | 151.2099 | 3.6473e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 7.1054e-15 | 13.7181 | 1.6719 | -7.6975e-15 | -12.0096 | 0.036546 | -7.1054e-15 | 1.7406 | 10.8539 | 4.737e-15 | -0.73098 | -9.8443 | 0 | 0 | 0 | 0 | 37.1089 | -142.8911 | 1.0243 | 0.76011 | 0.86006 | 0.97369 | 0.61059 | 0.85927 | 1.9075e-13 | -135.6599 | 118.3519 | 1.8296e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.7764e-15 | -10.3011 | 1.745 | 1.1842e-15 | 12.0096 | -0.036546 | -2.3685e-15 | 0.27863 | -8.8347 | 3.7815e-30 | 0.73098 | 9.8443 | 0 | 0 | 0 | 0 | -142.8911 | 37.1089 | 0.92653 | 0.4625 | 0.86515 | 0.97369 | 0.61059 | 0.85927 | 1.7872e-13 | -144.4405 | 138.2821 | 1.8296e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.2826e-10 | 8.1276e-10 | 1.5126e-29 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7052e-10 | -3.0454e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97369 | 0.61059 | 0.85927 | 0.97369 | 0.61059 | 0.85927 | 1.7543e-13 | -139.408 | 127.3216 | 1.8296e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 7.1054e-15 | 13.7181 | 1.6719 | -7.6975e-15 | -12.0096 | 0.036546 | -7.1054e-15 | 1.7406 | 10.8539 | 4.737e-15 | -0.73098 | -9.8443 | 0 | 0 | 0 | 0 | 37.1089 | -142.8911 | 1.0243 | 0.76011 | 0.86006 | 0.97369 | 0.61059 | 0.85927 | 1.9075e-13 | -135.6599 | 118.3519 | 1.8296e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.7764e-15 | -10.3011 | 1.745 | 1.1842e-15 | 12.0096 | -0.036546 | -2.3685e-15 | 0.27863 | -8.8347 | 3.7815e-30 | 0.73098 | 9.8443 | 0 | 0 | 0 | 0 | -142.8911 | 37.1089 | 0.92653 | 0.4625 | 0.86515 | 0.97369 | 0.61059 | 0.85927 | 1.7872e-13 | -144.4405 | 138.2821 | 1.8296e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.2826e-10 | 8.1276e-10 | 1.5126e-29 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7052e-10 | -3.0454e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97369 | 0.61059 | 0.85927 | 0.97369 | 0.61059 | 0.85927 | 1.7543e-13 | -139.408 | 127.3216 | 1.8296e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6633 | 0.1726 | 0.17789 | 2.6629 | 0.17262 | 0.17709 | 30.7534 | 1.9931 | 2.0541 | 30.7481 | 1.9932 | 2.0449 | 23.397 | -0.44721 | -1.0373 | -11.6851 | 0.98042 | 0.95215 | 12.3191 | -1.9312 | -2.1615 | -6.1672 | 1.7766 | 2.7143 | 0 | 0 | 0 | 134.6108 | 166.8453 | 48.6989 | 0.81479 | 1.1334 | 1.0668 | 0.72655 | 1.1443 | 1.0077 | -17.6377 | -116.4879 | 113.1932 | -17.5649 | -132.0467 | 119.3687
Line_1 | 2.6611 | 0.17321 | 0.1732 | 2.6621 | 0.17281 | 0.17553 | 30.7279 | 2 | 2 | 30.7396 | 1.9954 | 2.0269 | 7.2391e-11 | 1.5466 | 0.82834 | 11.6854 | -0.9987 | -0.93416 | -1.3896e-10 | 1.5955 | 3.2081 | 6.1588 | -1.769 | -2.6937 | 0 | 0 | 0 | -45.3566 | -12.5998 | -131.5053 | 0.64147 | 1.1551 | 0.95647 | 0.72655 | 1.1443 | 1.0077 | 0 | -145.8969 | 123.7339 | -17.5649 | -132.0467 | 119.3687
Line_2 | 0 | 0 | 0 | 0.0016839 | 0.0016839 | 0.0016839 | 0 | 0 | 0 | 0.019444 | 0.019444 | 0.019444 | 9.7556e-10 | 2.1605e-10 | -1.5837e-09 | -0.00028181 | 0.018281 | -0.017992 | -5.2187e-10 | -8.5761e-10 | -6.3049e-11 | 0.0083504 | -0.0075907 | -0.0206 | 0 | 0 | 0 | -109.4978 | -109.4978 | -109.4978 | 0.72655 | 1.1443 | 1.0077 | 0.72655 | 1.1443 | 1.0077 | -17.5285 | -132.0581 | 119.3633 | -17.5649 | -132.0467 | 119.3687

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6633 | 0.1726 | 0.17789 | 2.6629 | 0.17262 | 0.17709 | 30.7534 | 1.9931 | 2.0541 | 30.7481 | 1.9932 | 2.0449 | 23.397 | -0.44721 | -1.0373 | -11.6851 | 0.98042 | 0.95215 | 12.3191 | -1.9312 | -2.1615 | -6.1672 | 1.7766 | 2.7143 | 0 | 0 | 0 | 134.6108 | 166.8453 | 48.6989 | 0.81479 | 1.1334 | 1.0668 | 0.72655 | 1.1443 | 1.0077 | -17.6377 | -116.4879 | 113.1932 | -17.5649 | -132.0467 | 119.3687
Line_1 | 2.6611 | 0.17321 | 0.1732 | 2.6621 | 0.17281 | 0.17553 | 30.7279 | 2 | 2 | 30.7396 | 1.9954 | 2.0269 | 7.2391e-11 | 1.5466 | 0.82834 | 11.6854 | -0.9987 | -0.93416 | -1.3896e-10 | 1.5955 | 3.2081 | 6.1588 | -1.769 | -2.6937 | 0 | 0 | 0 | -45.3566 | -12.5998 | -131.5053 | 0.64147 | 1.1551 | 0.95647 | 0.72655 | 1.1443 | 1.0077 | 0 | -145.8969 | 123.7339 | -17.5649 | -132.0467 | 119.3687
Line_2 | 0 | 0 | 0 | 0.0016839 | 0.0016839 | 0.0016839 | 0 | 0 | 0 | 0.019444 | 0.019444 | 0.019444 | 9.7556e-10 | 2.1605e-10 | -1.5837e-09 | -0.00028181 | 0.018281 | -0.017992 | -5.2187e-10 | -8.5761e-10 | -6.3049e-11 | 0.0083504 | -0.0075907 | -0.0206 | 0 | 0 | 0 | -109.4978 | -109.4978 | -109.4978 | 0.72655 | 1.1443 | 1.0077 | 0.72655 | 1.1443 | 1.0077 | -17.5285 | -132.0581 | 119.3633 | -17.5649 | -132.0467 | 119.3687

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97807 | 0.17299 | 0.17506 | 0.9779 | 0.17299 | 0.17475 | 11.2938 | 1.9975 | 2.0215 | 11.2918 | 1.9975 | 2.0179 | 9.31 | -0.59325 | -0.8287 | -7.6183 | 0.81754 | 0.79935 | 6.6817 | -2.0678 | -2.1631 | -5.8845 | 2.017 | 2.3915 | 0 | 0 | 0 | 138.6173 | 167.6633 | 48.4197 | 1.0056 | 1.1334 | 1.0981 | 0.9768 | 1.1443 | 1.0752 | -5.7342 | -118.463 | 117.5136 | -3.6995 | -124.4002 | 119.9373
Line_1 | 0.97728 | 0.17321 | 0.1732 | 0.97763 | 0.17306 | 0.17413 | 11.2846 | 2 | 2 | 11.2887 | 1.9983 | 2.0107 | -5.9341 | 1.0574 | 0.75666 | 7.62 | -0.82571 | -0.79287 | -5.0751 | 1.9608 | 2.6018 | 5.8781 | -2.0147 | -2.3842 | 0 | 0 | 0 | -41.3463 | -12.1143 | -131.6679 | 0.94821 | 1.1551 | 1.0533 | 0.9768 | 1.1443 | 1.0752 | -0.75341 | -130.1254 | 121.996 | -3.6995 | -124.4002 | 119.9373
Line_2 | 0 | 0 | 0 | 0.00067538 | 0.00067538 | 0.00067538 | 0 | 0 | 0 | 0.0077986 | 0.0077986 | 0.0077986 | 7.6652e-10 | 2.9062e-11 | -6.8599e-10 | -0.001684 | 0.0081668 | -0.0064815 | -2.2139e-10 | -3.3742e-10 | -5.7314e-12 | 0.0064315 | -0.0023461 | -0.0072772 | 0 | 0 | 0 | -108.3725 | -108.3725 | -108.3725 | 0.9768 | 1.1443 | 1.0752 | 0.9768 | 1.1443 | 1.0752 | -3.6918 | -124.4039 | 119.9349 | -3.6995 | -124.4002 | 119.9373

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97807 | 0.17299 | 0.17506 | 0.9779 | 0.17299 | 0.17475 | 11.2938 | 1.9975 | 2.0215 | 11.2918 | 1.9975 | 2.0179 | 9.31 | -0.59325 | -0.8287 | -7.6183 | 0.81754 | 0.79935 | 6.6817 | -2.0678 | -2.1631 | -5.8845 | 2.017 | 2.3915 | 0 | 0 | 0 | 138.6173 | 167.6633 | 48.4197 | 1.0056 | 1.1334 | 1.0981 | 0.9768 | 1.1443 | 1.0752 | -5.7342 | -118.463 | 117.5136 | -3.6995 | -124.4002 | 119.9373
Line_1 | 0.97728 | 0.17321 | 0.1732 | 0.97763 | 0.17306 | 0.17413 | 11.2846 | 2 | 2 | 11.2887 | 1.9983 | 2.0107 | -5.9341 | 1.0574 | 0.75666 | 7.62 | -0.82571 | -0.79287 | -5.0751 | 1.9608 | 2.6018 | 5.8781 | -2.0147 | -2.3842 | 0 | 0 | 0 | -41.3463 | -12.1143 | -131.6679 | 0.94821 | 1.1551 | 1.0533 | 0.9768 | 1.1443 | 1.0752 | -0.75341 | -130.1254 | 121.996 | -3.6995 | -124.4002 | 119.9373
Line_2 | 0 | 0 | 0 | 0.00067538 | 0.00067538 | 0.00067538 | 0 | 0 | 0 | 0.0077986 | 0.0077986 | 0.0077986 | 7.6652e-10 | 2.9062e-11 | -6.8599e-10 | -0.001684 | 0.0081668 | -0.0064815 | -2.2139e-10 | -3.3742e-10 | -5.7314e-12 | 0.0064315 | -0.0023461 | -0.0072772 | 0 | 0 | 0 | -108.3725 | -108.3725 | -108.3725 | 0.9768 | 1.1443 | 1.0752 | 0.9768 | 1.1443 | 1.0752 | -3.6918 | -124.4039 | 119.9349 | -3.6995 | -124.4002 | 119.9373

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6315 | 0.0051528 | 0.0051528 | 1.6312 | 0.0042793 | 0.0042793 | 18.8385 | 0.059499 | 0.059499 | 18.8353 | 0.049413 | 0.049413 | 16.1395 | 0.052266 | -0.04736 | -8.0605 | -0.041904 | 0.040555 | 4.6749 | -0.013887 | -0.040247 | -2.3511 | 0.025268 | 0.04819 | 0 | 0 | 0 | 150.1448 | 74.465 | 74.465 | 0.83022 | 1 | 1.011 | 0.744 | 1 | 0.94298 | -13.7305 | -119.7 | 115.5379 | -13.5943 | -136.6247 | 124.382
Line_1 | 1.6301 | 0 | 0 | 1.6307 | 0.0025613 | 0.0025613 | 18.8231 | 0 | 0 | 18.8302 | 0.029575 | 0.029575 | -2.389e-11 | -1.1596e-09 | -3.0216e-09 | 8.0607 | 0.025191 | -0.024061 | 7.9318e-12 | -2.0915e-09 | 1.0165e-09 | 2.3422 | -0.014939 | -0.029021 | 0 | 0 | 0 | -29.7969 | -105.9559 | -105.9559 | 0.66006 | 1 | 0.8799 | 0.744 | 1 | 0.94298 | 0 | -149.9304 | 130.4806 | -13.5943 | -136.6247 | 124.382
Line_2 | 0 | 0 | 0 | 0.0017181 | 0.0017181 | 0.0017181 | 0 | 0 | 0 | 0.019839 | 0.019839 | 0.019839 | 8.6052e-10 | -1.1538e-10 | -1.2996e-09 | -0.00020267 | 0.016712 | -0.016494 | -3.8221e-10 | -1.0397e-09 | 3.5601e-10 | 0.0088415 | -0.010329 | -0.019169 | 0 | 0 | 0 | -104.9075 | -104.9075 | -104.9075 | 0.744 | 1 | 0.94298 | 0.744 | 1 | 0.94298 | -13.5262 | -136.6461 | 124.3672 | -13.5943 | -136.6247 | 124.382

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6315 | 0.0051528 | 0.0051528 | 1.6312 | 0.0042793 | 0.0042793 | 18.8385 | 0.059499 | 0.059499 | 18.8353 | 0.049413 | 0.049413 | 16.1395 | 0.052266 | -0.04736 | -8.0605 | -0.041904 | 0.040555 | 4.6749 | -0.013887 | -0.040247 | -2.3511 | 0.025268 | 0.04819 | 0 | 0 | 0 | 150.1448 | 74.465 | 74.465 | 0.83022 | 1 | 1.011 | 0.744 | 1 | 0.94298 | -13.7305 | -119.7 | 115.5379 | -13.5943 | -136.6247 | 124.382
Line_1 | 1.6301 | 0 | 0 | 1.6307 | 0.0025613 | 0.0025613 | 18.8231 | 0 | 0 | 18.8302 | 0.029575 | 0.029575 | -2.389e-11 | -1.1596e-09 | -3.0216e-09 | 8.0607 | 0.025191 | -0.024061 | 7.9318e-12 | -2.0915e-09 | 1.0165e-09 | 2.3422 | -0.014939 | -0.029021 | 0 | 0 | 0 | -29.7969 | -105.9559 | -105.9559 | 0.66006 | 1 | 0.8799 | 0.744 | 1 | 0.94298 | 0 | -149.9304 | 130.4806 | -13.5943 | -136.6247 | 124.382
Line_2 | 0 | 0 | 0 | 0.0017181 | 0.0017181 | 0.0017181 | 0 | 0 | 0 | 0.019839 | 0.019839 | 0.019839 | 8.6052e-10 | -1.1538e-10 | -1.2996e-09 | -0.00020267 | 0.016712 | -0.016494 | -3.8221e-10 | -1.0397e-09 | 3.5601e-10 | 0.0088415 | -0.010329 | -0.019169 | 0 | 0 | 0 | -104.9075 | -104.9075 | -104.9075 | 0.744 | 1 | 0.94298 | 0.744 | 1 | 0.94298 | -13.5262 | -136.6461 | 124.3672 | -13.5943 | -136.6247 | 124.382

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82377 | 0.0026018 | 0.0026018 | 0.82363 | 0.0021607 | 0.0021607 | 9.5121 | 0.030043 | 0.030043 | 9.5104 | 0.02495 | 0.02495 | 7.4946 | 0.028468 | -0.019621 | -5.436 | -0.023258 | 0.01647 | 4.5924 | -0.0035113 | -0.02339 | -3.9976 | 0.0062608 | 0.023266 | 0 | 0 | 0 | 142.5063 | 66.8265 | 66.8265 | 0.90703 | 1 | 0.98745 | 0.86818 | 1 | 0.94596 | -6.0247 | -119.4902 | 117.5494 | -1.163 | -128.2399 | 121.5325
Line_1 | 0.8231 | 0 | 0 | 0.8234 | 0.0012933 | 0.0012933 | 9.5043 | 0 | 0 | 9.5079 | 0.014933 | 0.014933 | -3.3874 | -1.4696e-10 | -1.2874e-09 | 5.4386 | 0.013948 | -0.0097553 | -3.3874 | -1.0444e-09 | 3.86e-10 | 3.991 | -0.003645 | -0.013998 | 0 | 0 | 0 | -37.4354 | -113.5944 | -113.5944 | 0.83026 | 1 | 0.90509 | 0.86818 | 1 | 0.94596 | 7.652 | -136.5738 | 124.7454 | -1.163 | -128.2399 | 121.5325
Line_2 | 0 | 0 | 0 | 0.00086753 | 0.00086753 | 0.00086753 | 0 | 0 | 0 | 0.010017 | 0.010017 | 0.010017 | 7.5514e-10 | 8.6814e-11 | -5.995e-10 | -0.0025913 | 0.0093099 | -0.0067146 | -5.182e-11 | -5.0763e-10 | 1.1138e-10 | 0.0066181 | -0.0026158 | -0.0092685 | 0 | 0 | 0 | -112.546 | -112.546 | -112.546 | 0.86818 | 1 | 0.94596 | 0.86818 | 1 | 0.94596 | -1.1413 | -128.2473 | 121.5233 | -1.163 | -128.2399 | 121.5325

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.82377 | 0.0026018 | 0.0026018 | 0.82363 | 0.0021607 | 0.0021607 | 9.5121 | 0.030043 | 0.030043 | 9.5104 | 0.02495 | 0.02495 | 7.4946 | 0.028468 | -0.019621 | -5.436 | -0.023258 | 0.01647 | 4.5924 | -0.0035113 | -0.02339 | -3.9976 | 0.0062608 | 0.023266 | 0 | 0 | 0 | 142.5063 | 66.8265 | 66.8265 | 0.90703 | 1 | 0.98745 | 0.86818 | 1 | 0.94596 | -6.0247 | -119.4902 | 117.5494 | -1.163 | -128.2399 | 121.5325
Line_1 | 0.8231 | 0 | 0 | 0.8234 | 0.0012933 | 0.0012933 | 9.5043 | 0 | 0 | 9.5079 | 0.014933 | 0.014933 | -3.3874 | -1.4696e-10 | -1.2874e-09 | 5.4386 | 0.013948 | -0.0097553 | -3.3874 | -1.0444e-09 | 3.86e-10 | 3.991 | -0.003645 | -0.013998 | 0 | 0 | 0 | -37.4354 | -113.5944 | -113.5944 | 0.83026 | 1 | 0.90509 | 0.86818 | 1 | 0.94596 | 7.652 | -136.5738 | 124.7454 | -1.163 | -128.2399 | 121.5325
Line_2 | 0 | 0 | 0 | 0.00086753 | 0.00086753 | 0.00086753 | 0 | 0 | 0 | 0.010017 | 0.010017 | 0.010017 | 7.5514e-10 | 8.6814e-11 | -5.995e-10 | -0.0025913 | 0.0093099 | -0.0067146 | -5.182e-11 | -5.0763e-10 | 1.1138e-10 | 0.0066181 | -0.0026158 | -0.0092685 | 0 | 0 | 0 | -112.546 | -112.546 | -112.546 | 0.86818 | 1 | 0.94596 | 0.86818 | 1 | 0.94596 | -1.1413 | -128.2473 | 121.5233 | -1.163 | -128.2399 | 121.5325

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17667 | 3.7307 | 2.4461 | 0.17604 | 3.7308 | 2.4457 | 2.0401 | 43.0786 | 28.2449 | 2.0327 | 43.0795 | 28.2404 | -0.82103 | 30.2345 | -0.58061 | 1.0726 | -15.1153 | 0.29609 | -2.0239 | 9.32 | 16.1255 | 2.3672 | -4.6758 | -8.0498 | 0 | 0 | 0 | -72.2115 | 6.8594 | -144.3143 | 1.0115 | 0.47113 | 0.87425 | 0.92693 | 0.23557 | 0.86141 | -4.3582 | -156.0184 | 127.7604 | -6.5864 | -155.9514 | 127.7922
Line_1 | 0.1732 | 3.7315 | 2.4436 | 0.17488 | 3.7311 | 2.4449 | 2 | 43.0878 | 28.2163 | 2.0194 | 43.0826 | 28.2309 | 1.3214 | 9.9994e-11 | 7.6795e-11 | -1.0722 | 15.1179 | -0.29912 | 2.6654 | -6.4201e-11 | -1.9633e-12 | -2.3487 | 4.6712 | 8.047 | 0 | 0 | 0 | 107.9507 | -173.1216 | 35.6634 | 0.8588 | 0 | 0.8588 | 0.92693 | 0.23557 | 0.86141 | -8.1592 | 0 | 0 | -6.5864 | -155.9514 | 127.7922
Line_2 | 0 | 0 | 0 | 0.0012594 | 0.0012594 | 0.0012594 | 0 | 0 | 0 | 0.014543 | 0.014543 | 0.014543 | -8.7148e-10 | 7.0508e-10 | 8.4108e-10 | -0.00039993 | -0.0026222 | 0.0030265 | -5.9233e-10 | -8.6906e-10 | 1.5618e-10 | -0.018589 | 0.0046532 | 0.0028368 | 0 | 0 | 0 | 84.6461 | 84.6461 | 84.6461 | 0.92693 | 0.23557 | 0.86141 | 0.92693 | 0.23557 | 0.86141 | -6.5954 | -155.9179 | 127.8082 | -6.5864 | -155.9514 | 127.7922

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17667 | 3.7307 | 2.4461 | 0.17604 | 3.7308 | 2.4457 | 2.0401 | 43.0786 | 28.2449 | 2.0327 | 43.0795 | 28.2404 | -0.82103 | 30.2345 | -0.58061 | 1.0726 | -15.1153 | 0.29609 | -2.0239 | 9.32 | 16.1255 | 2.3672 | -4.6758 | -8.0498 | 0 | 0 | 0 | -72.2115 | 6.8594 | -144.3143 | 1.0115 | 0.47113 | 0.87425 | 0.92693 | 0.23557 | 0.86141 | -4.3582 | -156.0184 | 127.7604 | -6.5864 | -155.9514 | 127.7922
Line_1 | 0.1732 | 3.7315 | 2.4436 | 0.17488 | 3.7311 | 2.4449 | 2 | 43.0878 | 28.2163 | 2.0194 | 43.0826 | 28.2309 | 1.3214 | 9.9994e-11 | 7.6795e-11 | -1.0722 | 15.1179 | -0.29912 | 2.6654 | -6.4201e-11 | -1.9633e-12 | -2.3487 | 4.6712 | 8.047 | 0 | 0 | 0 | 107.9507 | -173.1216 | 35.6634 | 0.8588 | 0 | 0.8588 | 0.92693 | 0.23557 | 0.86141 | -8.1592 | 0 | 0 | -6.5864 | -155.9514 | 127.7922
Line_2 | 0 | 0 | 0 | 0.0012594 | 0.0012594 | 0.0012594 | 0 | 0 | 0 | 0.014543 | 0.014543 | 0.014543 | -8.7148e-10 | 7.0508e-10 | 8.4108e-10 | -0.00039993 | -0.0026222 | 0.0030265 | -5.9233e-10 | -8.6906e-10 | 1.5618e-10 | -0.018589 | 0.0046532 | 0.0028368 | 0 | 0 | 0 | 84.6461 | 84.6461 | 84.6461 | 0.92693 | 0.23557 | 0.86141 | 0.92693 | 0.23557 | 0.86141 | -6.5954 | -155.9179 | 127.8082 | -6.5864 | -155.9514 | 127.7922

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17476 | 1.1685 | 0.92187 | 0.17447 | 1.1687 | 0.92157 | 2.018 | 13.4929 | 10.6449 | 2.0146 | 13.4944 | 10.6414 | -0.73886 | 11.5361 | 6.0821 | 0.88359 | -9.8739 | -5.6557 | -2.0886 | 7.1032 | 7.8049 | 2.2456 | -7.1596 | -6.2863 | 0 | 0 | 0 | -72.0396 | 18.1485 | -115.0142 | 1.0941 | 0.92957 | 1.0078 | 1.0664 | 0.8544 | 0.98596 | -1.5643 | -130.2436 | 117.0638 | -3.5185 | -125.9056 | 113.0087
Line_1 | 0.1732 | 1.1694 | 0.92013 | 0.17395 | 1.169 | 0.92099 | 2 | 13.5033 | 10.6247 | 2.0087 | 13.4979 | 10.6347 | 1.0302 | -8.2211 | -5.2259 | -0.88479 | 9.8796 | 5.6512 | 2.3846 | -7.2084 | -4.7665 | -2.2374 | 7.1571 | 6.2832 | 0 | 0 | 0 | 108.0583 | -161.8261 | 64.9773 | 1.04 | 0.7793 | 0.96463 | 1.0664 | 0.8544 | 0.98596 | -5.1526 | -120.5446 | 107.334 | -3.5185 | -125.9056 | 113.0087
Line_2 | 0 | 0 | 0 | 0.0005983 | 0.0005983 | 0.0005983 | 0 | 0 | 0 | 0.0069086 | 0.0069086 | 0.0069086 | -4.3877e-10 | 6.3064e-10 | 8.6609e-10 | 0.0011958 | -0.0057008 | 0.004506 | -2.9691e-10 | -3.7481e-10 | -3.8997e-10 | -0.0081883 | 0.0025475 | 0.0031359 | 0 | 0 | 0 | 78.173 | 78.173 | 78.173 | 1.0664 | 0.8544 | 0.98596 | 1.0664 | 0.8544 | 0.98596 | -3.5233 | -125.9009 | 113.0104 | -3.5185 | -125.9056 | 113.0087

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17476 | 1.1685 | 0.92187 | 0.17447 | 1.1687 | 0.92157 | 2.018 | 13.4929 | 10.6449 | 2.0146 | 13.4944 | 10.6414 | -0.73886 | 11.5361 | 6.0821 | 0.88359 | -9.8739 | -5.6557 | -2.0886 | 7.1032 | 7.8049 | 2.2456 | -7.1596 | -6.2863 | 0 | 0 | 0 | -72.0396 | 18.1485 | -115.0142 | 1.0941 | 0.92957 | 1.0078 | 1.0664 | 0.8544 | 0.98596 | -1.5643 | -130.2436 | 117.0638 | -3.5185 | -125.9056 | 113.0087
Line_1 | 0.1732 | 1.1694 | 0.92013 | 0.17395 | 1.169 | 0.92099 | 2 | 13.5033 | 10.6247 | 2.0087 | 13.4979 | 10.6347 | 1.0302 | -8.2211 | -5.2259 | -0.88479 | 9.8796 | 5.6512 | 2.3846 | -7.2084 | -4.7665 | -2.2374 | 7.1571 | 6.2832 | 0 | 0 | 0 | 108.0583 | -161.8261 | 64.9773 | 1.04 | 0.7793 | 0.96463 | 1.0664 | 0.8544 | 0.98596 | -5.1526 | -120.5446 | 107.334 | -3.5185 | -125.9056 | 113.0087
Line_2 | 0 | 0 | 0 | 0.0005983 | 0.0005983 | 0.0005983 | 0 | 0 | 0 | 0.0069086 | 0.0069086 | 0.0069086 | -4.3877e-10 | 6.3064e-10 | 8.6609e-10 | 0.0011958 | -0.0057008 | 0.004506 | -2.9691e-10 | -3.7481e-10 | -3.8997e-10 | -0.0081883 | 0.0025475 | 0.0031359 | 0 | 0 | 0 | 78.173 | 78.173 | 78.173 | 1.0664 | 0.8544 | 0.98596 | 1.0664 | 0.8544 | 0.98596 | -3.5233 | -125.9009 | 113.0104 | -3.5185 | -125.9056 | 113.0087

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0033945 | 2.7781 | 2.0875 | 0.0028191 | 2.7784 | 2.0872 | 0.039196 | 32.0792 | 24.1048 | 0.032552 | 32.0818 | 24.1003 | 0.00028036 | 25.7367 | 3.076 | 8.2689e-05 | -12.8751 | -1.527 | -0.038381 | 2.4886 | 12.4416 | 0.038065 | -1.264 | -6.2057 | 0 | 0 | 0 | -94.3983 | 21.9908 | -138.3145 | 0.99414 | 0.55611 | 0.77007 | 0.88106 | 0.27805 | 0.7681 | -3.2651 | -152.4972 | 117.8101 | -4.5227 | -152.4021 | 117.8622
Line_1 | 0 | 2.7796 | 2.0851 | 0.0016873 | 2.7789 | 2.0863 | 0 | 32.0962 | 24.0769 | 0.019484 | 32.0874 | 24.091 | -1.8146e-09 | -1.492e-10 | -2.5952e-11 | 0.00011788 | 12.8778 | 1.524 | -4.6655e-10 | -1.2381e-10 | -1.4313e-10 | -0.022783 | 1.2595 | 6.2039 | 0 | 0 | 0 | 85.1808 | -157.9882 | 41.6637 | 0.78497 | 0 | 0.78497 | 0.88106 | 0.27805 | 0.7681 | -5.37 | 0 | 0 | -4.5227 | -152.4021 | 117.8622
Line_2 | 0 | 0 | 0 | 0.0011319 | 0.0011319 | 0.0011319 | 0 | 0 | 0 | 0.013069 | 0.013069 | 0.013069 | -7.4004e-10 | 6.5282e-10 | 7.1324e-10 | -0.00020057 | -0.0027434 | 0.0029508 | -3.3939e-10 | -7.9151e-10 | -3.5775e-11 | -0.015282 | 0.0045 | 0.0018177 | 0 | 0 | 0 | 86.2292 | 86.2292 | 86.2292 | 0.88106 | 0.27805 | 0.7681 | 0.88106 | 0.27805 | 0.7681 | -4.5397 | -152.3546 | 117.8885 | -4.5227 | -152.4021 | 117.8622

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0033945 | 2.7781 | 2.0875 | 0.0028191 | 2.7784 | 2.0872 | 0.039196 | 32.0792 | 24.1048 | 0.032552 | 32.0818 | 24.1003 | 0.00028036 | 25.7367 | 3.076 | 8.2689e-05 | -12.8751 | -1.527 | -0.038381 | 2.4886 | 12.4416 | 0.038065 | -1.264 | -6.2057 | 0 | 0 | 0 | -94.3983 | 21.9908 | -138.3145 | 0.99414 | 0.55611 | 0.77007 | 0.88106 | 0.27805 | 0.7681 | -3.2651 | -152.4972 | 117.8101 | -4.5227 | -152.4021 | 117.8622
Line_1 | 0 | 2.7796 | 2.0851 | 0.0016873 | 2.7789 | 2.0863 | 0 | 32.0962 | 24.0769 | 0.019484 | 32.0874 | 24.091 | -1.8146e-09 | -1.492e-10 | -2.5952e-11 | 0.00011788 | 12.8778 | 1.524 | -4.6655e-10 | -1.2381e-10 | -1.4313e-10 | -0.022783 | 1.2595 | 6.2039 | 0 | 0 | 0 | 85.1808 | -157.9882 | 41.6637 | 0.78497 | 0 | 0.78497 | 0.88106 | 0.27805 | 0.7681 | -5.37 | 0 | 0 | -4.5227 | -152.4021 | 117.8622
Line_2 | 0 | 0 | 0 | 0.0011319 | 0.0011319 | 0.0011319 | 0 | 0 | 0 | 0.013069 | 0.013069 | 0.013069 | -7.4004e-10 | 6.5282e-10 | 7.1324e-10 | -0.00020057 | -0.0027434 | 0.0029508 | -3.3939e-10 | -7.9151e-10 | -3.5775e-11 | -0.015282 | 0.0045 | 0.0018177 | 0 | 0 | 0 | 86.2292 | 86.2292 | 86.2292 | 0.88106 | 0.27805 | 0.7681 | 0.88106 | 0.27805 | 0.7681 | -4.5397 | -152.3546 | 117.8885 | -4.5227 | -152.4021 | 117.8622

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002101 | 1.0622 | 0.83662 | 0.0017449 | 1.0624 | 0.83628 | 0.024261 | 12.2658 | 9.6604 | 0.020148 | 12.2681 | 9.6565 | 0.0050614 | 9.9907 | 4.5934 | -0.0041707 | -7.8204 | -4.0373 | -0.023246 | 4.9831 | 6.5814 | 0.021625 | -5.324 | -5.0318 | 0 | 0 | 0 | -104.8353 | 22.6113 | -118.6048 | 0.98573 | 0.83671 | 0.89908 | 0.93321 | 0.7349 | 0.87455 | -1.8374 | -130.8958 | 116.4902 | -3.9192 | -123.1423 | 112.6535
Line_1 | 0 | 1.0635 | 0.83458 | 0.0010444 | 1.0629 | 0.8356 | 0 | 12.2803 | 9.6369 | 0.012059 | 12.2729 | 9.6487 | -9.354e-10 | -5.6552 | -3.4827 | 0.0025913 | 7.8263 | 4.0329 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012925 | 5.322 | 5.0286 | 0 | 0 | 0 | 74.7438 | -157.3585 | 61.3832 | 0.88187 | 0.63377 | 0.85207 | 0.93321 | 0.7349 | 0.87455 | -5.5691 | -112.3141 | 106.3667 | -3.9192 | -123.1423 | 112.6535
Line_2 | 0 | 0 | 0 | 0.00070056 | 0.00070056 | 0.00070056 | 0 | 0 | 0 | 0.0080894 | 0.0080894 | 0.0080894 | -3.826e-10 | 6.4246e-10 | 7.9327e-10 | 0.0015793 | -0.0059007 | 0.0043239 | -2.7475e-10 | -1.5463e-10 | -3.128e-10 | -0.0087004 | 0.0020242 | 0.0032419 | 0 | 0 | 0 | 75.7922 | 75.7922 | 75.7922 | 0.93321 | 0.7349 | 0.87455 | 0.93321 | 0.7349 | 0.87455 | -3.9307 | -123.134 | 112.6615 | -3.9192 | -123.1423 | 112.6535

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002101 | 1.0622 | 0.83662 | 0.0017449 | 1.0624 | 0.83628 | 0.024261 | 12.2658 | 9.6604 | 0.020148 | 12.2681 | 9.6565 | 0.0050614 | 9.9907 | 4.5934 | -0.0041707 | -7.8204 | -4.0373 | -0.023246 | 4.9831 | 6.5814 | 0.021625 | -5.324 | -5.0318 | 0 | 0 | 0 | -104.8353 | 22.6113 | -118.6048 | 0.98573 | 0.83671 | 0.89908 | 0.93321 | 0.7349 | 0.87455 | -1.8374 | -130.8958 | 116.4902 | -3.9192 | -123.1423 | 112.6535
Line_1 | 0 | 1.0635 | 0.83458 | 0.0010444 | 1.0629 | 0.8356 | 0 | 12.2803 | 9.6369 | 0.012059 | 12.2729 | 9.6487 | -9.354e-10 | -5.6552 | -3.4827 | 0.0025913 | 7.8263 | 4.0329 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012925 | 5.322 | 5.0286 | 0 | 0 | 0 | 74.7438 | -157.3585 | 61.3832 | 0.88187 | 0.63377 | 0.85207 | 0.93321 | 0.7349 | 0.87455 | -5.5691 | -112.3141 | 106.3667 | -3.9192 | -123.1423 | 112.6535
Line_2 | 0 | 0 | 0 | 0.00070056 | 0.00070056 | 0.00070056 | 0 | 0 | 0 | 0.0080894 | 0.0080894 | 0.0080894 | -3.826e-10 | 6.4246e-10 | 7.9327e-10 | 0.0015793 | -0.0059007 | 0.0043239 | -2.7475e-10 | -1.5463e-10 | -3.128e-10 | -0.0087004 | 0.0020242 | 0.0032419 | 0 | 0 | 0 | 75.7922 | 75.7922 | 75.7922 | 0.93321 | 0.7349 | 0.87455 | 0.93321 | 0.7349 | 0.87455 | -3.9307 | -123.134 | 112.6615 | -3.9192 | -123.1423 | 112.6535