## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.17321 | 4.283 | 0.24495 | 9.2778 | 6 | 148.3662 | -1e-07 | -1e-07 | -1e-07 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 0 | 0
Line_1 | 3.4587 | 0.17321 | 6.7756 | 0.24495 | 119.8128 | 6 | -1e-07 | -1e-07 | -1e-07 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 0 | 0
Line_2 | 3.5986 | 0 | 6.9734 | 0 | 124.6581 | 0 | -1e-07 | 1.6021e-19 | -1e-07 | -1.2515e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.17321 | 4.283 | 0.24495 | 9.2778 | 6 | 148.3662 | -1e-07 | -1e-07 | -1e-07 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 0 | 0
Line_1 | 3.4587 | 0.17321 | 6.7756 | 0.24495 | 119.8128 | 6 | -1e-07 | -1e-07 | -1e-07 | -1e-07 | -77.7798 | 102.2202 | 0 | 0 | 0 | 0
Line_2 | 3.5986 | 0 | 6.9734 | 0 | 124.6581 | 0 | -1e-07 | 1.6019e-19 | -1e-07 | -1.2512e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.1732 | 1.2055 | 0.24495 | 2.6113 | 6 | 41.7581 | -1.1891 | -25.997 | -5.2664 | -23.202 | -54.5297 | 128.7218 | 0.89983 | 0.83445 | -10.051 | -9.5297
Line_1 | 1.1088 | 0.1732 | 2.1722 | 0.24495 | 38.4111 | 6 | -22.1477 | -1.8553 | -20.1371 | -4.6503 | -54.5297 | 102.2202 | 0.7793 | 0.83445 | -9.0862 | -9.5297
Line_2 | 1.2609 | 0 | 2.4434 | 0 | 43.6791 | 0 | -23.8483 | -2.2981e-09 | -23.8483 | 1.6716e-09 | -54.5297 | 0 | 0.77214 | 0.83445 | -9.0862 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.1732 | 1.2055 | 0.24495 | 2.6113 | 6 | 41.7581 | -1.1891 | -25.997 | -5.2664 | -23.202 | -54.5297 | 128.7218 | 0.89983 | 0.83445 | -10.051 | -9.5297
Line_1 | 1.1088 | 0.1732 | 2.1722 | 0.24495 | 38.4111 | 6 | -22.1477 | -1.8553 | -20.1371 | -4.6503 | -54.5297 | 102.2202 | 0.7793 | 0.83445 | -9.0862 | -9.5297
Line_2 | 1.2609 | 0 | 2.4434 | 0 | 43.6791 | 0 | -23.8483 | -2.2981e-09 | -23.8483 | 1.6716e-09 | -54.5297 | 0 | 0.77214 | 0.83445 | -9.0862 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 3.6016 | 1.3472e-09 | 6.8381 | 0 | 124.7634 | 7.2798e-20 | -1e-07 | 2.6704e-19 | -1e-07 | -69.6723 | 110.3277 | 0 | 0 | 0 | 0
Line_1 | 2.7686 | 0 | 4.6525 | 4.4908e-10 | 95.9057 | 0 | -1e-07 | 1.7288e-20 | -1e-07 | 6.3225e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0
Line_2 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7288e-20 | -1e-07 | 6.3224e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 3.6016 | 1.3472e-09 | 6.8381 | 0 | 124.7634 | 7.2812e-20 | -1e-07 | 2.6701e-19 | -1e-07 | -69.6723 | 110.3277 | 0 | 0 | 0 | 0
Line_1 | 2.7686 | 0 | 4.6525 | 4.4907e-10 | 95.9057 | 0 | -1e-07 | 1.7288e-20 | -1e-07 | 6.3215e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0
Line_2 | 2.7686 | 0 | 4.6525 | 0 | 95.9057 | 0 | -1e-07 | 1.7288e-20 | -1e-07 | 6.3216e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.1462 | 3.6175e-10 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6775e-09 | -19.7082 | -52.6343 | 127.3657 | 0.78485 | 0.70193 | -10.4046 | -7.6343
Line_1 | 1.0349 | 0 | 1.7392 | 1.4292e-10 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343
Line_2 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 1.1462 | 3.6175e-10 | 2.1763 | 0 | 39.7072 | -5.1465e-09 | -19.7082 | 4.6775e-09 | -19.7082 | -52.6343 | 127.3657 | 0.78485 | 0.70193 | -10.4046 | -7.6343
Line_1 | 1.0349 | 0 | 1.7392 | 1.4292e-10 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343
Line_2 | 1.0349 | 0 | 1.7392 | 0 | 35.8516 | 0 | -16.0667 | -2.233e-09 | -16.0667 | 1.0258e-09 | -52.6343 | 0 | 0.63377 | 0.70193 | -5.3977 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 3.7102 | 3.7102 | 2 | 2 | 2 | 2 | 42.8413 | 42.8413 | -0.10579 | -1.008 | 0.95513 | 0.4845 | -23.8325 | 24.0747 | -2.2669 | -0.5209 | -0.61253 | 2.2371 | 5.747 | -4.6285 | 0 | -167.7798 | 12.2202 | -77.78 | 13.5577 | -169.1174 | 0.98265 | 0 | 0.98265 | 0.99115 | 0 | 0.99115 | -3.9404e-06 | 180 | 180 | -4.0658e-06 | 180 | 180
Line_1 | 0.1732 | 2.9966 | 2.9966 | 0.1732 | 0.1732 | 0.17321 | 2 | 34.6014 | 34.6014 | 2 | 2 | 2 | 0.72199 | -18.7944 | 19.1553 | -0.4845 | -1.0898 | 0.84757 | 2.1944 | 6.7915 | -5.6943 | -2.2371 | -0.34948 | -0.76907 | 0 | -167.7798 | 12.2202 | 102.22 | -17.7797 | -137.7799 | 1.0003 | 0 | 1.0003 | 0.99115 | 0 | 0.99115 | -4.1911e-06 | 180 | 180 | -4.0658e-06 | 180 | 180
Line_2 | 0 | 3.1165 | 3.1165 | 0 | 0 | 0 | 0 | 35.9857 | 35.9857 | 0 | 0 | 0 | -1.867e-10 | -19.561 | 19.561 | 1.867e-10 | 4.6689e-11 | 4.6656e-11 | 1.0855e-14 | 6.4358 | -6.4358 | -3.2541e-14 | 1.9988e-09 | -1.9988e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.99115 | 0 | 0.99115 | 0.99115 | 0 | 0.99115 | -3.7976e-06 | 180 | 180 | -4.0658e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 3.7102 | 3.7102 | 2 | 2 | 2 | 2 | 42.8413 | 42.8413 | -0.10579 | -1.008 | 0.95513 | 0.4845 | -23.8325 | 24.0747 | -2.2669 | -0.5209 | -0.61253 | 2.2371 | 5.747 | -4.6285 | 0 | -167.7798 | 12.2202 | -77.78 | 13.5577 | -169.1174 | 0.98265 | 0 | 0.98265 | 0.99115 | 0 | 0.99115 | -3.9404e-06 | 180 | 180 | -4.0658e-06 | 180 | 180
Line_1 | 0.1732 | 2.9966 | 2.9966 | 0.1732 | 0.1732 | 0.17321 | 2 | 34.6014 | 34.6014 | 2 | 2 | 2 | 0.72199 | -18.7944 | 19.1553 | -0.4845 | -1.0898 | 0.84757 | 2.1944 | 6.7915 | -5.6943 | -2.2371 | -0.34948 | -0.76907 | 0 | -167.7798 | 12.2202 | 102.22 | -17.7797 | -137.7799 | 1.0003 | 0 | 1.0003 | 0.99115 | 0 | 0.99115 | -4.1911e-06 | 180 | 180 | -4.0658e-06 | 180 | 180
Line_2 | 0 | 3.1165 | 3.1165 | 0 | 0 | 0 | 0 | 35.9857 | 35.9857 | 0 | 0 | 0 | -1.867e-10 | -19.561 | 19.561 | 1.867e-10 | 4.6689e-11 | 4.6656e-11 | 1.0855e-14 | 6.4358 | -6.4358 | -3.2541e-14 | 1.9988e-09 | -1.9988e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.99115 | 0 | 0.99115 | 0.99115 | 0 | 0.99115 | -3.7976e-06 | 180 | 180 | -4.0658e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 1.723 | 1.6654 | 2 | 2 | 2 | 2 | 19.8953 | 19.2309 | -0.10579 | -0.77 | -0.0064477 | 0.4845 | -17.8667 | 2.1714 | -2.2669 | -1.7687 | -1.4425 | 2.2371 | -0.86458 | -13.1102 | 0 | -149.913 | 30.087 | -77.7799 | 34.3623 | -151.1655 | 1.1424 | 0.73338 | 0.94607 | 1.1194 | 0.64855 | 0.96027 | -2.2943e-06 | -140.8543 | 122.4159 | -2.7602e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 1.5255 | 1.4824 | 0.1732 | 0.1732 | 0.17321 | 2 | 17.6152 | 17.1174 | 2 | 2 | 2 | 0.72199 | -15.0027 | 2.718 | -0.4845 | -1.0336 | -0.095952 | 2.1944 | 0.17509 | -11.1621 | -2.2371 | -1.4714 | -1.3787 | 0 | -149.913 | 30.087 | 102.2201 | -17.7798 | -137.7799 | 1.1059 | 0.58241 | 0.97363 | 1.1194 | 0.64855 | 0.96027 | -3.1256e-06 | -144.8696 | 133.0893 | -2.7602e-06 | -142.8673 | 128.239
Line_2 | 0 | 1.6322 | 1.6322 | 0 | 0 | 0 | 0 | 18.8469 | 18.8469 | 0 | 0 | 0 | -1.8668e-10 | -15.8709 | 2.5506 | 1.8668e-10 | -3.7732e-10 | -1.0075e-09 | -2.7025e-15 | -1.0496 | -12.2707 | 2.7017e-15 | 1.4092e-09 | -3.9939e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0957 | 0.57707 | 0.96469 | 1.1194 | 0.64855 | 0.96027 | -2.4996e-06 | -144.8696 | 133.0893 | -2.7602e-06 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 1.723 | 1.6654 | 2 | 2 | 2 | 2 | 19.8953 | 19.2309 | -0.10579 | -0.77 | -0.0064477 | 0.4845 | -17.8667 | 2.1714 | -2.2669 | -1.7687 | -1.4425 | 2.2371 | -0.86458 | -13.1102 | 0 | -149.913 | 30.087 | -77.7799 | 34.3623 | -151.1655 | 1.1424 | 0.73338 | 0.94607 | 1.1194 | 0.64855 | 0.96027 | -2.2943e-06 | -140.8543 | 122.4159 | -2.7602e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 1.5255 | 1.4824 | 0.1732 | 0.1732 | 0.17321 | 2 | 17.6152 | 17.1174 | 2 | 2 | 2 | 0.72199 | -15.0027 | 2.718 | -0.4845 | -1.0336 | -0.095952 | 2.1944 | 0.17509 | -11.1621 | -2.2371 | -1.4714 | -1.3787 | 0 | -149.913 | 30.087 | 102.2201 | -17.7798 | -137.7799 | 1.1059 | 0.58241 | 0.97363 | 1.1194 | 0.64855 | 0.96027 | -3.1256e-06 | -144.8696 | 133.0893 | -2.7602e-06 | -142.8673 | 128.239
Line_2 | 0 | 1.6322 | 1.6322 | 0 | 0 | 0 | 0 | 18.8469 | 18.8469 | 0 | 0 | 0 | -1.8668e-10 | -15.8709 | 2.5506 | 1.8668e-10 | -3.7732e-10 | -1.0075e-09 | -2.7025e-15 | -1.0496 | -12.2707 | 2.7017e-15 | 1.4092e-09 | -3.9939e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.0957 | 0.57707 | 0.96469 | 1.1194 | 0.64855 | 0.96027 | -2.4996e-06 | -144.8696 | 133.0893 | -2.7602e-06 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | 1.6579e-14 | 8.2897e-15 | -8.1204e-21 | -1.6579e-14 | -16.8865 | 16.8865 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.147e-13 | -180 | 180 | 5.1407e-13 | -180 | 180
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -1.1842e-15 | -11.9365 | 11.9365 | 2.3685e-15 | 4.7369e-15 | -1.4431e-20 | -7.4226e-30 | 7.0103 | -7.0103 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.5912e-13 | -180 | 180 | 5.1407e-13 | -180 | 180
Line_2 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -2.3685e-15 | -11.9365 | 11.9365 | -2.3685e-15 | 4.7369e-15 | -1.4431e-20 | 7.1054e-15 | 7.0103 | -7.0103 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.4933e-13 | -180 | 180 | 5.1407e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 3.1191 | 3.1191 | 0 | 0 | 0 | 0 | 36.0161 | 36.0161 | 1.6579e-14 | 8.2897e-15 | -8.1204e-21 | -1.6579e-14 | -16.8865 | 16.8865 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.147e-13 | -180 | 180 | 5.1407e-13 | -180 | 180
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -1.1842e-15 | -11.9365 | 11.9365 | 2.3685e-15 | 4.7369e-15 | -1.4431e-20 | -7.4226e-30 | 7.0103 | -7.0103 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.5912e-13 | -180 | 180 | 5.1407e-13 | -180 | 180
Line_2 | 0 | 2.3976 | 2.3976 | 0 | 0 | 0 | 0 | 27.6856 | 27.6856 | 0 | 0 | 0 | -2.3685e-15 | -11.9365 | 11.9365 | -2.3685e-15 | 4.7369e-15 | -1.4431e-20 | 7.1054e-15 | 7.0103 | -7.0103 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 3.4933e-13 | -180 | 180 | 5.1407e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | 8.5857e-15 | -8.0024e-10 | -2.5674e-09 | -9.4739e-15 | -13.0917 | 1.5655 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0057 | 0.63489 | 0.83074 | 0.95734 | 0.5368 | 0.85298 | 2.8443e-13 | -141.4824 | 122.8363 | 2.2331e-13 | -142.5584 | 131.6989
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -1.7764e-15 | -10.3011 | 1.745 | 0 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | 0.27863 | -8.8347 | 0 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 1.7872e-13 | -144.4405 | 138.2821 | 2.2331e-13 | -142.5584 | 131.6989
Line_2 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | 1.7764e-15 | -10.3011 | 1.745 | 9.231e-30 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 1.7145e-13 | -144.4405 | 138.2821 | 2.2331e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 1.5183 | 1.5183 | 0 | 0 | 0 | 0 | 17.5318 | 17.5318 | 8.5857e-15 | -8.0024e-10 | -2.5674e-09 | -9.4739e-15 | -13.0917 | 1.5655 | -9.4739e-15 | 3.4014e-09 | -3.4064e-10 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0057 | 0.63489 | 0.83074 | 0.95734 | 0.5368 | 0.85298 | 2.8443e-13 | -141.4824 | 122.8363 | 2.2331e-13 | -142.5584 | 131.6989
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | -1.7764e-15 | -10.3011 | 1.745 | 0 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | 0.27863 | -8.8347 | 0 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 1.7872e-13 | -144.4405 | 138.2821 | 2.2331e-13 | -142.5584 | 131.6989
Line_2 | 0 | 1.3081 | 1.3081 | 0 | 0 | 0 | 0 | 15.105 | 15.105 | 0 | 0 | 0 | 1.7764e-15 | -10.3011 | 1.745 | 9.231e-30 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.92653 | 0.4625 | 0.86515 | 0.95734 | 0.5368 | 0.85298 | 1.7145e-13 | -144.4405 | 138.2821 | 2.2331e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17165 | 0.17398 | 0.174 | 4.158 | 0.1722 | 0.17812 | 1.9821 | 2.0089 | 2.0091 | 48.0127 | 1.9884 | 2.0568 | 3.9995e-11 | 0.64799 | -0.808 | 2.9166e-10 | 0.87239 | 0.90108 | -1.4551e-11 | -1.9048 | -1.8142 | -3.5985e-10 | 1.5789 | 3.0311 | -57.2634 | 0 | 0 | 123.51 | 160.5409 | 42.7315 | 0.57826 | 1.1347 | 0.5707 | 0.52376 | 1.1445 | 0.88765 | 0 | -98.9856 | 99.1056 | 0 | -138.3815 | 116.1751
Line_1 | 2.6611 | 0.17321 | 0.1732 | 0.1713 | 0.17268 | 0.17566 | 30.7279 | 2 | 2 | 1.978 | 1.994 | 2.0284 | 7.2391e-11 | 1.5466 | 0.82834 | 1.6482e-11 | -0.89801 | -0.87548 | -1.3896e-10 | 1.5955 | 3.2081 | -9.6172e-12 | -1.5703 | -2.9931 | -57.2634 | 0 | 0 | 102.7983 | -18.6171 | -137.5206 | 0.64147 | 1.1551 | 0.95647 | 0.52376 | 1.1445 | 0.88765 | 0 | -145.8969 | 123.7339 | 0 | -138.3815 | 116.1751
Line_2 | 2.7914 | 0 | 0 | 0.0025798 | 0.0025798 | 0.0025798 | 32.2318 | 0 | 0 | 0.029789 | 0.029789 | 0.029789 | 7.9592e-11 | -4.4938e-10 | -3.2728e-09 | -2.8072e-13 | 0.025621 | -0.025602 | -1.4198e-10 | -1.9392e-09 | 4.3114e-10 | -6.1577e-14 | -0.0085947 | -0.037974 | -57.2634 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.63559 | 1.1445 | 0.94769 | 0.52376 | 1.1445 | 0.88765 | 0 | -145.8969 | 123.7339 | 0 | -138.3815 | 116.1751

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17165 | 0.17398 | 0.174 | 4.158 | 0.1722 | 0.17812 | 1.9821 | 2.0089 | 2.0091 | 48.0127 | 1.9884 | 2.0568 | 3.9995e-11 | 0.64799 | -0.808 | 2.9166e-10 | 0.87239 | 0.90108 | -1.4551e-11 | -1.9048 | -1.8142 | -3.5985e-10 | 1.5789 | 3.0311 | -57.2634 | 0 | 0 | 123.51 | 160.5409 | 42.7315 | 0.57826 | 1.1347 | 0.5707 | 0.52376 | 1.1445 | 0.88765 | 0 | -98.9856 | 99.1056 | 0 | -138.3815 | 116.1751
Line_1 | 2.6611 | 0.17321 | 0.1732 | 0.1713 | 0.17268 | 0.17566 | 30.7279 | 2 | 2 | 1.978 | 1.994 | 2.0284 | 7.2391e-11 | 1.5466 | 0.82834 | 1.6482e-11 | -0.89801 | -0.87548 | -1.3896e-10 | 1.5955 | 3.2081 | -9.6172e-12 | -1.5703 | -2.9931 | -57.2634 | 0 | 0 | 102.7983 | -18.6171 | -137.5206 | 0.64147 | 1.1551 | 0.95647 | 0.52376 | 1.1445 | 0.88765 | 0 | -145.8969 | 123.7339 | 0 | -138.3815 | 116.1751
Line_2 | 2.7914 | 0 | 0 | 0.0025798 | 0.0025798 | 0.0025798 | 32.2318 | 0 | 0 | 0.029789 | 0.029789 | 0.029789 | 7.9592e-11 | -4.4938e-10 | -3.2728e-09 | -2.8072e-13 | 0.025621 | -0.025602 | -1.4198e-10 | -1.9392e-09 | 4.3114e-10 | -6.1577e-14 | -0.0085947 | -0.037974 | -57.2634 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.63559 | 1.1445 | 0.94769 | 0.52376 | 1.1445 | 0.88765 | 0 | -145.8969 | 123.7339 | 0 | -138.3815 | 116.1751

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17295 | 0.17349 | 0.17318 | 1.163 | 0.17312 | 0.17461 | 1.997 | 2.0033 | 1.9997 | 13.4286 | 1.999 | 2.0162 | -0.34658 | -0.023992 | -0.27584 | -8.1443 | 0.62796 | 0.57623 | -1.8759 | -2.125 | -2.2693 | -7.0591 | 2.0589 | 2.4869 | -48.697 | 0 | 0 | 135.3859 | 161.7027 | 42.4496 | 0.95507 | 1.1347 | 1.0694 | 0.95017 | 1.1445 | 1.0579 | -7.8542 | -118.0199 | 115.8451 | -3.697 | -125.2589 | 119.4039
Line_1 | 0.97728 | 0.17321 | 0.1732 | 0.17255 | 0.17316 | 0.17391 | 11.2846 | 2 | 2 | 1.9925 | 1.9995 | 2.0081 | -5.9341 | 1.0574 | 0.75666 | -0.44241 | -0.63741 | -0.56897 | -5.0751 | 1.9608 | 2.6018 | -1.5367 | -2.0566 | -2.478 | -48.697 | 0 | 0 | 102.3637 | -18.0385 | -137.6647 | 0.94821 | 1.1551 | 1.0533 | 0.95017 | 1.1445 | 1.0579 | -0.75341 | -130.1254 | 121.996 | -3.697 | -125.2589 | 119.4039
Line_2 | 1.1196 | 0 | 0 | 0.00078314 | 0.00078314 | 0.00078314 | 12.9277 | 0 | 0 | 0.0090429 | 0.0090429 | 0.0090429 | -6.2672 | -8.4061e-11 | -1.1961e-09 | -0.0021914 | 0.0094489 | -0.0072558 | -6.2672 | -7.8256e-10 | 1.8857e-10 | 0.0069191 | -0.0023538 | -0.0088568 | -48.697 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.93951 | 1.1445 | 1.0437 | 0.95017 | 1.1445 | 1.0579 | -0.75341 | -130.1254 | 121.996 | -3.697 | -125.2589 | 119.4039

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17295 | 0.17349 | 0.17318 | 1.163 | 0.17312 | 0.17461 | 1.997 | 2.0033 | 1.9997 | 13.4286 | 1.999 | 2.0162 | -0.34658 | -0.023992 | -0.27584 | -8.1443 | 0.62796 | 0.57623 | -1.8759 | -2.125 | -2.2693 | -7.0591 | 2.0589 | 2.4869 | -48.697 | 0 | 0 | 135.3859 | 161.7027 | 42.4496 | 0.95507 | 1.1347 | 1.0694 | 0.95017 | 1.1445 | 1.0579 | -7.8542 | -118.0199 | 115.8451 | -3.697 | -125.2589 | 119.4039
Line_1 | 0.97728 | 0.17321 | 0.1732 | 0.17255 | 0.17316 | 0.17391 | 11.2846 | 2 | 2 | 1.9925 | 1.9995 | 2.0081 | -5.9341 | 1.0574 | 0.75666 | -0.44241 | -0.63741 | -0.56897 | -5.0751 | 1.9608 | 2.6018 | -1.5367 | -2.0566 | -2.478 | -48.697 | 0 | 0 | 102.3637 | -18.0385 | -137.6647 | 0.94821 | 1.1551 | 1.0533 | 0.95017 | 1.1445 | 1.0579 | -0.75341 | -130.1254 | 121.996 | -3.697 | -125.2589 | 119.4039
Line_2 | 1.1196 | 0 | 0 | 0.00078314 | 0.00078314 | 0.00078314 | 12.9277 | 0 | 0 | 0.0090429 | 0.0090429 | 0.0090429 | -6.2672 | -8.4061e-11 | -1.1961e-09 | -0.0021914 | 0.0094489 | -0.0072558 | -6.2672 | -7.8256e-10 | 1.8857e-10 | 0.0069191 | -0.0023538 | -0.0088568 | -48.697 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.93951 | 1.1445 | 1.0437 | 0.95017 | 1.1445 | 1.0579 | -0.75341 | -130.1254 | 121.996 | -3.697 | -125.2589 | 119.4039

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 2.8294 | 0.0059593 | 0.0059593 | 0.015507 | 0.015507 | 0.015507 | 32.6716 | 0.068812 | 0.068812 | 1.2557e-13 | 0.013435 | -0.013406 | -9.7552e-11 | -0.053903 | 0.053808 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.2481e-11 | 0.036611 | 0.087635 | -40.2366 | 0 | 0 | 139.6468 | 64.6526 | 64.6526 | 0.50942 | 1 | 0.50272 | 0.54672 | 1 | 0.86283 | 0 | -98.8235 | 98.9421 | 0 | -149.5321 | 123.1025
Line_1 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.389e-11 | -1.1596e-09 | -3.0216e-09 | 3.9294e-14 | 0.026951 | -0.026904 | 7.9318e-12 | -2.0915e-09 | 1.0165e-09 | 9.5823e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.66006 | 1 | 0.8799 | 0.54672 | 1 | 0.86283 | 0 | -149.9304 | 130.4806 | 0 | -149.5321 | 123.1025
Line_2 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.3893e-11 | -1.1596e-09 | -3.0216e-09 | 3.9294e-14 | 0.026951 | -0.026904 | 7.9337e-12 | -2.0916e-09 | 1.0165e-09 | 9.5823e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.66006 | 1 | 0.8799 | 0.54672 | 1 | 0.86283 | 0 | -149.9304 | 130.4806 | 0 | -149.5321 | 123.1025

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.001343 | 0.001343 | 0.001343 | 2.8294 | 0.0059593 | 0.0059593 | 0.015507 | 0.015507 | 0.015507 | 32.6716 | 0.068812 | 0.068812 | 1.2557e-13 | 0.013435 | -0.013406 | -9.7552e-11 | -0.053903 | 0.053808 | 1.0793e-13 | -0.0025913 | -0.0016102 | 1.2481e-11 | 0.036611 | 0.087635 | -40.2366 | 0 | 0 | 139.6468 | 64.6526 | 64.6526 | 0.50942 | 1 | 0.50272 | 0.54672 | 1 | 0.86283 | 0 | -98.8235 | 98.9421 | 0 | -149.5321 | 123.1025
Line_1 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.389e-11 | -1.1596e-09 | -3.0216e-09 | 3.9294e-14 | 0.026951 | -0.026904 | 7.9318e-12 | -2.0915e-09 | 1.0165e-09 | 9.5823e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.66006 | 1 | 0.8799 | 0.54672 | 1 | 0.86283 | 0 | -149.9304 | 130.4806 | 0 | -149.5321 | 123.1025
Line_2 | 1.6301 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 18.8231 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | -2.3893e-11 | -1.1596e-09 | -3.0216e-09 | 3.9294e-14 | 0.026951 | -0.026904 | 7.9337e-12 | -2.0916e-09 | 1.0165e-09 | 9.5823e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.66006 | 1 | 0.8799 | 0.54672 | 1 | 0.86283 | 0 | -149.9304 | 130.4806 | 0 | -149.5321 | 123.1025

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 1.0366 | 0.0021832 | 0.0021832 | 0.0032483 | 0.0032483 | 0.0032483 | 11.9696 | 0.02521 | 0.02521 | 0.0019059 | 0.0013099 | -0.0032145 | -5.3588 | -0.023229 | 0.015192 | 0.0019322 | -0.0027304 | 0.00061379 | -5.3807 | 0.004883 | 0.025629 | -43.2566 | 0 | 0 | 136.6268 | 61.6326 | 61.6326 | 0.83548 | 1 | 0.93979 | 0.83431 | 1 | 0.91861 | -8.1375 | -117.9012 | 115.6593 | 1.7434 | -130.2389 | 120.974
Line_1 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83026 | 1 | 0.90509 | 0.83431 | 1 | 0.91861 | 7.652 | -136.5738 | 124.7454 | 1.7434 | -130.2389 | 120.974
Line_2 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83026 | 1 | 0.90509 | 0.83431 | 1 | 0.91861 | 7.652 | -136.5738 | 124.7454 | 1.7434 | -130.2389 | 120.974

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00028131 | 0.00028131 | 0.00028131 | 1.0366 | 0.0021832 | 0.0021832 | 0.0032483 | 0.0032483 | 0.0032483 | 11.9696 | 0.02521 | 0.02521 | 0.0019059 | 0.0013099 | -0.0032145 | -5.3588 | -0.023229 | 0.015192 | 0.0019322 | -0.0027304 | 0.00061379 | -5.3807 | 0.004883 | 0.025629 | -43.2566 | 0 | 0 | 136.6268 | 61.6326 | 61.6326 | 0.83548 | 1 | 0.93979 | 0.83431 | 1 | 0.91861 | -8.1375 | -117.9012 | 115.6593 | 1.7434 | -130.2389 | 120.974
Line_1 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83026 | 1 | 0.90509 | 0.83431 | 1 | 0.91861 | 7.652 | -136.5738 | 124.7454 | 1.7434 | -130.2389 | 120.974
Line_2 | 0.8231 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 9.5043 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | -3.3874 | -1.4696e-10 | -1.2874e-09 | -0.0040119 | 0.011615 | -0.0075962 | -3.3874 | -1.0444e-09 | 3.86e-10 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83026 | 1 | 0.90509 | 0.83431 | 1 | 0.91861 | 7.652 | -136.5738 | 124.7454 | 1.7434 | -130.2389 | 120.974

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17564 | 0.17204 | 0.17197 | 0.17731 | 5.0631 | 2.9177 | 2.0281 | 1.9865 | 1.9857 | 2.0474 | 58.4641 | 33.6908 | -0.013153 | 3.2027e-11 | 3.22e-11 | 1.1449 | 2.1008e-10 | 1.3517e-10 | -0.99551 | -1.1636e-11 | -1.0916e-11 | 2.5525 | -1.3046e-10 | -4.1425e-11 | 0 | 175.6604 | 41.1037 | -78.391 | -3.9346 | -138.9101 | 0.28342 | 0 | 0.28342 | 0.78888 | 0 | 0.78888 | 1.9015 | 0 | 0 | -12.5493 | 0 | 0
Line_1 | 0.1732 | 3.7315 | 2.4436 | 0.17525 | 0.17301 | 0.17137 | 2 | 43.0878 | 28.2163 | 2.0237 | 1.9978 | 1.9788 | 1.3214 | 9.9994e-11 | 7.6795e-11 | -1.1449 | 8.0023e-12 | 7.9089e-12 | 2.6654 | -6.4201e-11 | -1.9633e-12 | -2.5169 | -2.7146e-12 | -2.5293e-12 | 0 | 175.6604 | 41.1037 | 101.911 | -17.0361 | -138.2146 | 0.8588 | 0 | 0.8588 | 0.78888 | 0 | 0.78888 | -8.1592 | 0 | 0 | -12.5493 | 0 | 0
Line_2 | 0 | 3.8602 | 2.5889 | 0.0022548 | 0.0022548 | 0.0022548 | 0 | 44.574 | 29.8945 | 0.026036 | 0.026036 | 0.026036 | -2.0804e-09 | 1.0396e-10 | 8.0687e-11 | 1.4095e-05 | -4.3388e-14 | -6.5176e-14 | -8.4363e-10 | -6.384e-11 | -2.7593e-12 | -0.035575 | -1.0122e-13 | 8.7685e-14 | 0 | 175.6604 | 41.1037 | 77.428 | 77.428 | 77.428 | 0.85092 | 0 | 0.85092 | 0.78888 | 0 | 0.78888 | -8.1592 | 0 | 0 | -12.5493 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17564 | 0.17204 | 0.17197 | 0.17731 | 5.0631 | 2.9177 | 2.0281 | 1.9865 | 1.9857 | 2.0474 | 58.4641 | 33.6908 | -0.013153 | 3.2027e-11 | 3.22e-11 | 1.1449 | 2.1008e-10 | 1.3517e-10 | -0.99551 | -1.1636e-11 | -1.0916e-11 | 2.5525 | -1.3046e-10 | -4.1425e-11 | 0 | 175.6604 | 41.1037 | -78.391 | -3.9346 | -138.9101 | 0.28342 | 0 | 0.28342 | 0.78888 | 0 | 0.78888 | 1.9015 | 0 | 0 | -12.5493 | 0 | 0
Line_1 | 0.1732 | 3.7315 | 2.4436 | 0.17525 | 0.17301 | 0.17137 | 2 | 43.0878 | 28.2163 | 2.0237 | 1.9978 | 1.9788 | 1.3214 | 9.9994e-11 | 7.6795e-11 | -1.1449 | 8.0023e-12 | 7.9089e-12 | 2.6654 | -6.4201e-11 | -1.9633e-12 | -2.5169 | -2.7146e-12 | -2.5293e-12 | 0 | 175.6604 | 41.1037 | 101.911 | -17.0361 | -138.2146 | 0.8588 | 0 | 0.8588 | 0.78888 | 0 | 0.78888 | -8.1592 | 0 | 0 | -12.5493 | 0 | 0
Line_2 | 0 | 3.8602 | 2.5889 | 0.0022548 | 0.0022548 | 0.0022548 | 0 | 44.574 | 29.8945 | 0.026036 | 0.026036 | 0.026036 | -2.0804e-09 | 1.0396e-10 | 8.0687e-11 | 1.4095e-05 | -4.3388e-14 | -6.5176e-14 | -8.4363e-10 | -6.384e-11 | -2.7593e-12 | -0.035575 | -1.0122e-13 | 8.7685e-14 | 0 | 175.6604 | 41.1037 | 77.428 | 77.428 | 77.428 | 0.85092 | 0 | 0.85092 | 0.78888 | 0 | 0.78888 | -8.1592 | 0 | 0 | -12.5493 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17347 | 0.1729 | 0.17324 | 0.17452 | 1.2877 | 1.0684 | 2.0031 | 1.9965 | 2.0005 | 2.0152 | 14.8694 | 12.3366 | -0.20628 | -0.48013 | -0.25386 | 0.70379 | -9.8217 | -6.9446 | -2.1228 | -1.8645 | -1.7721 | 2.3256 | -8.6707 | -6.102 | 0 | -169.7726 | 65.5646 | -78.0113 | 13.7888 | -110.7402 | 1.0573 | 0.89983 | 0.96718 | 1.0472 | 0.83445 | 0.96448 | -2.8124 | -131.7251 | 114.41 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0.1732 | 1.1694 | 0.92013 | 0.17386 | 0.17318 | 0.17257 | 2 | 13.5033 | 10.6247 | 2.0076 | 1.9997 | 1.9927 | 1.0302 | -8.2211 | -5.2259 | -0.70579 | -0.5222 | -0.54787 | 2.3846 | -7.2084 | -4.7665 | -2.3154 | -1.6828 | -1.3891 | 0 | -169.7726 | 65.5646 | 102.104 | -17.5326 | -137.9109 | 1.04 | 0.7793 | 0.96463 | 1.0472 | 0.83445 | 0.96448 | -5.1526 | -120.5446 | 107.334 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0 | 1.3101 | 1.0771 | 0.00074747 | 0.00074747 | 0.00074747 | 0 | 15.128 | 12.4378 | 0.0086311 | 0.0086311 | 0.0086311 | -9.0291e-10 | -8.5821 | -5.8012 | 0.0019979 | -0.0071967 | 0.0052004 | -4.6616e-10 | -8.5821 | -5.8012 | -0.010213 | 0.0024577 | 0.0038456 | 0 | -169.7726 | 65.5646 | 74.0825 | 74.0825 | 74.0825 | 1.0304 | 0.77214 | 0.95578 | 1.0472 | 0.83445 | 0.96448 | -5.1526 | -120.5446 | 107.334 | -4.8488 | -124.7726 | 110.5646

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17347 | 0.1729 | 0.17324 | 0.17452 | 1.2877 | 1.0684 | 2.0031 | 1.9965 | 2.0005 | 2.0152 | 14.8694 | 12.3366 | -0.20628 | -0.48013 | -0.25386 | 0.70379 | -9.8217 | -6.9446 | -2.1228 | -1.8645 | -1.7721 | 2.3256 | -8.6707 | -6.102 | 0 | -169.7726 | 65.5646 | -78.0113 | 13.7888 | -110.7402 | 1.0573 | 0.89983 | 0.96718 | 1.0472 | 0.83445 | 0.96448 | -2.8124 | -131.7251 | 114.41 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0.1732 | 1.1694 | 0.92013 | 0.17386 | 0.17318 | 0.17257 | 2 | 13.5033 | 10.6247 | 2.0076 | 1.9997 | 1.9927 | 1.0302 | -8.2211 | -5.2259 | -0.70579 | -0.5222 | -0.54787 | 2.3846 | -7.2084 | -4.7665 | -2.3154 | -1.6828 | -1.3891 | 0 | -169.7726 | 65.5646 | 102.104 | -17.5326 | -137.9109 | 1.04 | 0.7793 | 0.96463 | 1.0472 | 0.83445 | 0.96448 | -5.1526 | -120.5446 | 107.334 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0 | 1.3101 | 1.0771 | 0.00074747 | 0.00074747 | 0.00074747 | 0 | 15.128 | 12.4378 | 0.0086311 | 0.0086311 | 0.0086311 | -9.0291e-10 | -8.5821 | -5.8012 | 0.0019979 | -0.0071967 | 0.0052004 | -4.6616e-10 | -8.5821 | -5.8012 | -0.010213 | 0.0024577 | 0.0038456 | 0 | -169.7726 | 65.5646 | 74.0825 | 74.0825 | 74.0825 | 1.0304 | 0.77214 | 0.95578 | 1.0472 | 0.83445 | 0.96448 | -5.1526 | -120.5446 | 107.334 | -4.8488 | -124.7726 | 110.5646

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0043448 | 3.9229 | 2.4897 | 0.024407 | 0.024407 | 0.024407 | 0.05017 | 45.2975 | 28.7485 | 7.1355e-05 | -6.2223e-14 | 2.1526e-13 | -5.0242e-05 | -1.6985e-10 | -2.5876e-11 | -0.010408 | 2.1121e-13 | -5.2112e-14 | 0.066045 | -1.937e-10 | -1.6157e-10 | 0 | -170.2299 | 37.1355 | -99.0075 | 9.71 | -142.7952 | 0.2462 | 0 | 0.2462 | 0.76005 | 0 | 0.76005 | 1.9562 | 0 | 0 | -8.9639 | 0 | 0
Line_1 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8146e-09 | -1.492e-10 | -2.5952e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6655e-10 | -1.2381e-10 | -1.4313e-10 | -0.033023 | 5.4664e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.78497 | 0 | 0.78497 | 0.76005 | 0 | 0.76005 | -5.37 | 0 | 0 | -8.9639 | 0 | 0
Line_2 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8146e-09 | -1.4917e-10 | -2.5967e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6656e-10 | -1.2382e-10 | -1.4312e-10 | -0.033023 | 5.4664e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.78497 | 0 | 0.78497 | 0.76005 | 0 | 0.76005 | -5.37 | 0 | 0 | -8.9639 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021137 | 0.0021137 | 0.0021137 | 0.0043448 | 3.9229 | 2.4897 | 0.024407 | 0.024407 | 0.024407 | 0.05017 | 45.2975 | 28.7485 | 7.1355e-05 | -6.2223e-14 | 2.1526e-13 | -5.0242e-05 | -1.6985e-10 | -2.5876e-11 | -0.010408 | 2.1121e-13 | -5.2112e-14 | 0.066045 | -1.937e-10 | -1.6157e-10 | 0 | -170.2299 | 37.1355 | -99.0075 | 9.71 | -142.7952 | 0.2462 | 0 | 0.2462 | 0.76005 | 0 | 0.76005 | 1.9562 | 0 | 0 | -8.9639 | 0 | 0
Line_1 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8146e-09 | -1.492e-10 | -2.5952e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6655e-10 | -1.2381e-10 | -1.4313e-10 | -0.033023 | 5.4664e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.78497 | 0 | 0.78497 | 0.76005 | 0 | 0.76005 | -5.37 | 0 | 0 | -8.9639 | 0 | 0
Line_2 | 0 | 2.7796 | 2.0851 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 32.0962 | 24.0769 | 0.025085 | 0.025085 | 0.025085 | -1.8146e-09 | -1.4917e-10 | -2.5967e-11 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -4.6656e-10 | -1.2382e-10 | -1.4312e-10 | -0.033023 | 5.4664e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.78497 | 0 | 0.78497 | 0.76005 | 0 | 0.76005 | -5.37 | 0 | 0 | -8.9639 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.0019529 | 1.2106 | 0.96733 | 0.0034659 | 0.0034659 | 0.0034659 | 0.02255 | 13.9783 | 11.1697 | -0.0021684 | -0.00044662 | 0.0026164 | -0.00643 | -7.3248 | -4.6699 | -0.0024097 | 0.0028899 | -0.00069008 | 0.024413 | -7.3438 | -4.6684 | 0 | -164.0905 | 64.6966 | -110.7976 | 15.8354 | -115.2943 | 0.92823 | 0.78485 | 0.84697 | 0.90451 | 0.70193 | 0.85199 | -2.9382 | -132.17 | 114.2695 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.354e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.88187 | 0.63377 | 0.85207 | 0.90451 | 0.70193 | 0.85199 | -5.5691 | -112.3141 | 106.3667 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.3539e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.88187 | 0.63377 | 0.85207 | 0.90451 | 0.70193 | 0.85199 | -5.5691 | -112.3141 | 106.3667 | -6.0417 | -119.0905 | 109.6966

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00030015 | 0.00030016 | 0.00030015 | 0.0019529 | 1.2106 | 0.96733 | 0.0034659 | 0.0034659 | 0.0034659 | 0.02255 | 13.9783 | 11.1697 | -0.0021684 | -0.00044662 | 0.0026164 | -0.00643 | -7.3248 | -4.6699 | -0.0024097 | 0.0028899 | -0.00069008 | 0.024413 | -7.3438 | -4.6684 | 0 | -164.0905 | 64.6966 | -110.7976 | 15.8354 | -115.2943 | 0.92823 | 0.78485 | 0.84697 | 0.90451 | 0.70193 | 0.85199 | -2.9382 | -132.17 | 114.2695 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.354e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.88187 | 0.63377 | 0.85207 | 0.90451 | 0.70193 | 0.85199 | -5.5691 | -112.3141 | 106.3667 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 1.0635 | 0.83458 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 12.2803 | 9.6369 | 0.011275 | 0.011275 | 0.011275 | -9.3539e-10 | -5.6552 | -3.4827 | 0.003215 | -0.0082787 | 0.0050688 | -4.2939e-10 | -5.6552 | -3.4827 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.88187 | 0.63377 | 0.85207 | 0.90451 | 0.70193 | 0.85199 | -5.5691 | -112.3141 | 106.3667 | -6.0417 | -119.0905 | 109.6966