## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2511e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.17321 | 0.17321 | 0 | 0.24495 | 6 | 6 | 0.0468 | -1e-07 | 0.0531 | -1e-07 | -77.7798 | 102.2202 | 0.011797 | 0 | -29.1714 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2511e-19 | -77.7798 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2055 | 1.2055 | 0 | 2.6113 | 41.7581 | 41.7581 | 28.2638 | -25.997 | 25.774 | -23.202 | -54.5297 | 128.7218 | 0.91602 | 0.83445 | -8.9163 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9021 | -1.8553 | 4.7034 | -4.6503 | -54.5297 | 102.2202 | 0.84557 | 0.83445 | -9.7984 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2981e-09 | 0 | 1.6716e-09 | -54.5297 | 0 | 0.83445 | 0.83445 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2055 | 1.2055 | 0 | 2.6113 | 41.7581 | 41.7581 | 28.2638 | -25.997 | 25.774 | -23.202 | -54.5297 | 128.7218 | 0.91602 | 0.83445 | -8.9163 | -9.5297
Line_1 | 0.1732 | 0.1732 | 0 | 0.24495 | 6 | 6 | 1.9021 | -1.8553 | 4.7034 | -4.6503 | -54.5297 | 102.2202 | 0.84557 | 0.83445 | -9.7984 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2981e-09 | 0 | 1.6716e-09 | -54.5297 | 0 | 0.83445 | 0.83445 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | -69.6723 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | -52.6343 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | -52.6343 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 1.4292e-10 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | -52.6343 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | -52.6343 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 3.7102 | 3.7102 | 0.1732 | 3.7102 | 3.7102 | 2 | 42.8413 | 42.8413 | 2 | 42.8413 | 42.8413 | -0.4689 | 30.9904 | -16.9167 | 0.4845 | -23.8325 | 24.0747 | -2.2194 | 2.3745 | 12.75 | 2.2371 | 5.747 | -4.6285 | 0 | -167.7798 | 12.2202 | -77.78 | 13.5577 | -169.1174 | 1.0616 | 0.29171 | 0.91932 | 0.99115 | 0 | 0.99115 | 0.29047 | -162.0609 | 153.8775 | -4.0658e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.5001 | 1.1054 | -0.83197 | -0.4845 | -1.0898 | 0.84757 | 2.2548 | 0.36718 | 0.78677 | -2.2371 | -0.34948 | -0.76907 | 0 | -167.7798 | 12.2202 | 102.22 | -17.7797 | -137.7799 | 1.0029 | 0.011797 | 0.99725 | 0.99115 | 0 | 0.99115 | -0.28529 | -179.4052 | 178.8195 | -4.0658e-06 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8672e-10 | -4.6689e-11 | -4.6678e-11 | 1.867e-10 | 4.6689e-11 | 4.6656e-11 | 1.6277e-14 | -1.9988e-09 | 1.9988e-09 | -3.2541e-14 | 1.9988e-09 | -1.9988e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.99115 | 0 | 0.99115 | 0.99115 | 0 | 0.99115 | -4.0658e-06 | 180 | 180 | -4.0658e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 3.7102 | 3.7102 | 0.1732 | 3.7102 | 3.7102 | 2 | 42.8413 | 42.8413 | 2 | 42.8413 | 42.8413 | -0.4689 | 30.9904 | -16.9167 | 0.4845 | -23.8325 | 24.0747 | -2.2194 | 2.3745 | 12.75 | 2.2371 | 5.747 | -4.6285 | 0 | -167.7798 | 12.2202 | -77.78 | 13.5577 | -169.1174 | 1.0616 | 0.29171 | 0.91932 | 0.99115 | 0 | 0.99115 | 0.29047 | -162.0609 | 153.8775 | -4.0658e-06 | 180 | 180
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.5001 | 1.1054 | -0.83197 | -0.4845 | -1.0898 | 0.84757 | 2.2548 | 0.36718 | 0.78677 | -2.2371 | -0.34948 | -0.76907 | 0 | -167.7798 | 12.2202 | 102.22 | -17.7797 | -137.7799 | 1.0029 | 0.011797 | 0.99725 | 0.99115 | 0 | 0.99115 | -0.28529 | -179.4052 | 178.8195 | -4.0658e-06 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8672e-10 | -4.6689e-11 | -4.6678e-11 | 1.867e-10 | 4.6689e-11 | 4.6656e-11 | 1.6277e-14 | -1.9988e-09 | 1.9988e-09 | -3.2541e-14 | 1.9988e-09 | -1.9988e-09 | 0 | -167.7798 | 12.2202 | 0 | 0 | 0 | 0.99115 | 0 | 0.99115 | 0.99115 | 0 | 0.99115 | -4.0658e-06 | 180 | 180 | -4.0658e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.723 | 1.6654 | 0.1732 | 1.723 | 1.6654 | 2 | 19.8953 | 19.2309 | 2 | 19.8953 | 19.2309 | -0.4689 | 19.4104 | -0.7291 | 0.4845 | -17.8667 | 2.1714 | -2.2194 | 2.6161 | 14.7467 | 2.2371 | -0.86458 | -13.1102 | 0 | -149.913 | 30.087 | -77.7799 | 34.3623 | -151.1655 | 1.1433 | 0.78119 | 0.96308 | 1.1194 | 0.64855 | 0.96027 | 0.29047 | -137.9617 | 121.665 | -2.7602e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.5001 | 1.0492 | 0.11155 | -0.4845 | -1.0336 | -0.095952 | 2.2548 | 1.4891 | 1.3964 | -2.2371 | -1.4714 | -1.3787 | 0 | -149.913 | 30.087 | 102.2201 | -17.7798 | -137.7799 | 1.1307 | 0.65999 | 0.96932 | 1.1194 | 0.64855 | 0.96027 | -0.28529 | -142.9488 | 127.6527 | -2.7602e-06 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8668e-10 | 3.7734e-10 | 1.0075e-09 | 1.8668e-10 | -3.7732e-10 | -1.0075e-09 | -5.4124e-15 | -1.4092e-09 | 3.994e-10 | 2.7017e-15 | 1.4092e-09 | -3.9939e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.1194 | 0.64855 | 0.96027 | 1.1194 | 0.64855 | 0.96027 | -2.7602e-06 | -142.8673 | 128.239 | -2.7602e-06 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.723 | 1.6654 | 0.1732 | 1.723 | 1.6654 | 2 | 19.8953 | 19.2309 | 2 | 19.8953 | 19.2309 | -0.4689 | 19.4104 | -0.7291 | 0.4845 | -17.8667 | 2.1714 | -2.2194 | 2.6161 | 14.7467 | 2.2371 | -0.86458 | -13.1102 | 0 | -149.913 | 30.087 | -77.7799 | 34.3623 | -151.1655 | 1.1433 | 0.78119 | 0.96308 | 1.1194 | 0.64855 | 0.96027 | 0.29047 | -137.9617 | 121.665 | -2.7602e-06 | -142.8673 | 128.239
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.5001 | 1.0492 | 0.11155 | -0.4845 | -1.0336 | -0.095952 | 2.2548 | 1.4891 | 1.3964 | -2.2371 | -1.4714 | -1.3787 | 0 | -149.913 | 30.087 | 102.2201 | -17.7798 | -137.7799 | 1.1307 | 0.65999 | 0.96932 | 1.1194 | 0.64855 | 0.96027 | -0.28529 | -142.9488 | 127.6527 | -2.7602e-06 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8668e-10 | 3.7734e-10 | 1.0075e-09 | 1.8668e-10 | -3.7732e-10 | -1.0075e-09 | -5.4124e-15 | -1.4092e-09 | 3.994e-10 | 2.7017e-15 | 1.4092e-09 | -3.9939e-10 | 0 | -149.913 | 30.087 | 0 | 0 | 0 | 1.1194 | 0.64855 | 0.96027 | 1.1194 | 0.64855 | 0.96027 | -2.7602e-06 | -142.8673 | 128.239 | -2.7602e-06 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.6579e-14 | 26.5997 | -7.1734 | -1.6579e-14 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.99007 | 0.36172 | 0.76497 | 0.86603 | 0 | 0.86603 | 5.2733e-13 | -160.7833 | 141.207 | 5.1407e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7369e-15 | 8.9934e-20 | 2.3685e-15 | 4.7369e-15 | -1.4431e-20 | -2.1059e-29 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.0944e-13 | -180 | 180 | 5.1407e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -4.7369e-15 | 4.737e-15 | -2.3685e-15 | 4.7369e-15 | -1.4431e-20 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 4.9615e-13 | -180 | 180 | 5.1407e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.6579e-14 | 26.5997 | -7.1734 | -1.6579e-14 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.99007 | 0.36172 | 0.76497 | 0.86603 | 0 | 0.86603 | 5.2733e-13 | -160.7833 | 141.207 | 5.1407e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7369e-15 | 8.9934e-20 | 2.3685e-15 | 4.7369e-15 | -1.4431e-20 | -2.1059e-29 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.0944e-13 | -180 | 180 | 5.1407e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -4.7369e-15 | 4.737e-15 | -2.3685e-15 | 4.7369e-15 | -1.4431e-20 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -159.6723 | 20.3277 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 4.9615e-13 | -180 | 180 | 5.1407e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 8.2897e-15 | 15.3932 | 0.73601 | -9.4739e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0184 | 0.70869 | 0.84493 | 0.95734 | 0.5368 | 0.85298 | 2.3179e-13 | -138.1765 | 119.7467 | 2.2331e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2165e-30 | 4.798e-10 | 8.2616e-10 | 0 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 0 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.95734 | 0.5368 | 0.85298 | 0.95734 | 0.5368 | 0.85298 | 2.2296e-13 | -142.5584 | 131.6989 | 2.2331e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.798e-10 | 8.2615e-10 | 9.231e-30 | -4.798e-10 | -8.2615e-10 | 0 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.95734 | 0.5368 | 0.85298 | 0.95734 | 0.5368 | 0.85298 | 2.1451e-13 | -142.5584 | 131.6989 | 2.2331e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 8.2897e-15 | 15.3932 | 0.73601 | -9.4739e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0184 | 0.70869 | 0.84493 | 0.95734 | 0.5368 | 0.85298 | 2.3179e-13 | -138.1765 | 119.7467 | 2.2331e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2165e-30 | 4.798e-10 | 8.2616e-10 | 0 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 0 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.95734 | 0.5368 | 0.85298 | 0.95734 | 0.5368 | 0.85298 | 2.2296e-13 | -142.5584 | 131.6989 | 2.2331e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.798e-10 | 8.2615e-10 | 9.231e-30 | -4.798e-10 | -8.2615e-10 | 0 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | -146.7238 | 33.2762 | 0 | 0 | 0 | 0.95734 | 0.5368 | 0.85298 | 0.95734 | 0.5368 | 0.85298 | 2.1451e-13 | -142.5584 | 131.6989 | 2.2331e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1587 | 0.17209 | 0.17938 | 4.158 | 0.1722 | 0.17812 | 48.021 | 1.9871 | 2.0713 | 48.0127 | 1.9884 | 2.0568 | 28.1231 | -0.086305 | -0.97547 | 2.9166e-10 | 0.87239 | 0.90108 | 15.1535 | -1.8747 | -2.1819 | -3.5985e-10 | 1.5789 | 3.0311 | -57.2634 | 0 | 0 | 123.51 | 160.5409 | 42.7315 | 0.63533 | 1.1342 | 0.98265 | 0.52376 | 1.1445 | 0.88765 | -28.1889 | -112.547 | 108.8121 | 0 | -138.3815 | 116.1751
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.1713 | 0.17268 | 0.17566 | 2 | 2 | 2 | 1.978 | 1.994 | 2.0284 | 0.014767 | 0.93938 | 0.86616 | 1.6482e-11 | -0.89801 | -0.87548 | 0.01801 | 1.5785 | 2.9734 | -9.6172e-12 | -1.5703 | -2.9931 | -57.2634 | 0 | 0 | 102.7983 | -18.6171 | -137.5206 | 0.53275 | 1.1548 | 0.89941 | 0.52376 | 1.1445 | 0.88765 | -27.1301 | -138.5372 | 115.979 | 0 | -138.3815 | 116.1751
Line_2 | 0 | 0 | 0 | 0.0025798 | 0.0025798 | 0.0025798 | 0 | 0 | 0 | 0.029789 | 0.029789 | 0.029789 | 2.5379e-13 | 4.5528e-10 | -2.4826e-09 | -2.8072e-13 | 0.025621 | -0.025602 | 1.7738e-12 | -1.1545e-09 | -4.1475e-10 | -6.1577e-14 | -0.0085947 | -0.037974 | -57.2634 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.52376 | 1.1445 | 0.88765 | 0.52376 | 1.1445 | 0.88765 | 81.8346 | -138.3997 | 116.1658 | 0 | -138.3815 | 116.1751

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.1587 | 0.17209 | 0.17938 | 4.158 | 0.1722 | 0.17812 | 48.021 | 1.9871 | 2.0713 | 48.0127 | 1.9884 | 2.0568 | 28.1231 | -0.086305 | -0.97547 | 2.9166e-10 | 0.87239 | 0.90108 | 15.1535 | -1.8747 | -2.1819 | -3.5985e-10 | 1.5789 | 3.0311 | -57.2634 | 0 | 0 | 123.51 | 160.5409 | 42.7315 | 0.63533 | 1.1342 | 0.98265 | 0.52376 | 1.1445 | 0.88765 | -28.1889 | -112.547 | 108.8121 | 0 | -138.3815 | 116.1751
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.1713 | 0.17268 | 0.17566 | 2 | 2 | 2 | 1.978 | 1.994 | 2.0284 | 0.014767 | 0.93938 | 0.86616 | 1.6482e-11 | -0.89801 | -0.87548 | 0.01801 | 1.5785 | 2.9734 | -9.6172e-12 | -1.5703 | -2.9931 | -57.2634 | 0 | 0 | 102.7983 | -18.6171 | -137.5206 | 0.53275 | 1.1548 | 0.89941 | 0.52376 | 1.1445 | 0.88765 | -27.1301 | -138.5372 | 115.979 | 0 | -138.3815 | 116.1751
Line_2 | 0 | 0 | 0 | 0.0025798 | 0.0025798 | 0.0025798 | 0 | 0 | 0 | 0.029789 | 0.029789 | 0.029789 | 2.5379e-13 | 4.5528e-10 | -2.4826e-09 | -2.8072e-13 | 0.025621 | -0.025602 | 1.7738e-12 | -1.1545e-09 | -4.1475e-10 | -6.1577e-14 | -0.0085947 | -0.037974 | -57.2634 | 0 | 0 | -119.8371 | -119.8371 | -119.8371 | 0.52376 | 1.1445 | 0.88765 | 0.52376 | 1.1445 | 0.88765 | 81.8346 | -138.3997 | 116.1658 | 0 | -138.3815 | 116.1751

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1632 | 0.17313 | 0.17496 | 1.163 | 0.17312 | 0.17461 | 13.4309 | 1.9992 | 2.0203 | 13.4286 | 1.999 | 2.0162 | 10.4928 | -0.36631 | -0.62581 | -8.1443 | 0.62796 | 0.57623 | 8.1869 | -2.1076 | -2.2283 | -7.0591 | 2.0589 | 2.4869 | -48.697 | 0 | 0 | 135.3859 | 161.7027 | 42.4496 | 0.9846 | 1.1342 | 1.0875 | 0.95017 | 1.1445 | 1.0579 | -6.6691 | -118.294 | 116.8335 | -3.697 | -125.2589 | 119.4039
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17255 | 0.17316 | 0.17391 | 2 | 2 | 2 | 1.9925 | 1.9995 | 2.0081 | 0.45556 | 0.66255 | 0.57749 | -0.44241 | -0.63741 | -0.56897 | 1.5614 | 2.0717 | 2.4871 | -1.5367 | -2.0566 | -2.478 | -48.697 | 0 | 0 | 102.3637 | -18.0385 | -137.6647 | 0.96047 | 1.1548 | 1.0689 | 0.95017 | 1.1445 | 1.0579 | -4.0449 | -125.5149 | 119.1477 | -3.697 | -125.2589 | 119.4039
Line_2 | 0 | 0 | 0 | 0.00078314 | 0.00078314 | 0.00078314 | 0 | 0 | 0 | 0.0090429 | 0.0090429 | 0.0090429 | 8.6852e-10 | 7.3612e-11 | -7.7211e-10 | -0.0021914 | 0.0094489 | -0.0072558 | -2.0818e-10 | -3.9835e-10 | -5.3397e-11 | 0.0069191 | -0.0023538 | -0.0088568 | -48.697 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.95017 | 1.1445 | 1.0579 | 0.95017 | 1.1445 | 1.0579 | -3.6873 | -125.263 | 119.401 | -3.697 | -125.2589 | 119.4039

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1632 | 0.17313 | 0.17496 | 1.163 | 0.17312 | 0.17461 | 13.4309 | 1.9992 | 2.0203 | 13.4286 | 1.999 | 2.0162 | 10.4928 | -0.36631 | -0.62581 | -8.1443 | 0.62796 | 0.57623 | 8.1869 | -2.1076 | -2.2283 | -7.0591 | 2.0589 | 2.4869 | -48.697 | 0 | 0 | 135.3859 | 161.7027 | 42.4496 | 0.9846 | 1.1342 | 1.0875 | 0.95017 | 1.1445 | 1.0579 | -6.6691 | -118.294 | 116.8335 | -3.697 | -125.2589 | 119.4039
Line_1 | 0.17321 | 0.17321 | 0.1732 | 0.17255 | 0.17316 | 0.17391 | 2 | 2 | 2 | 1.9925 | 1.9995 | 2.0081 | 0.45556 | 0.66255 | 0.57749 | -0.44241 | -0.63741 | -0.56897 | 1.5614 | 2.0717 | 2.4871 | -1.5367 | -2.0566 | -2.478 | -48.697 | 0 | 0 | 102.3637 | -18.0385 | -137.6647 | 0.96047 | 1.1548 | 1.0689 | 0.95017 | 1.1445 | 1.0579 | -4.0449 | -125.5149 | 119.1477 | -3.697 | -125.2589 | 119.4039
Line_2 | 0 | 0 | 0 | 0.00078314 | 0.00078314 | 0.00078314 | 0 | 0 | 0 | 0.0090429 | 0.0090429 | 0.0090429 | 8.6852e-10 | 7.3612e-11 | -7.7211e-10 | -0.0021914 | 0.0094489 | -0.0072558 | -2.0818e-10 | -3.9835e-10 | -5.3397e-11 | 0.0069191 | -0.0023538 | -0.0088568 | -48.697 | 0 | 0 | -111.2707 | -111.2707 | -111.2707 | 0.95017 | 1.1445 | 1.0579 | 0.95017 | 1.1445 | 1.0579 | -3.6873 | -125.263 | 119.401 | -3.697 | -125.2589 | 119.4039

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8299 | 0.0074751 | 0.0074751 | 2.8294 | 0.0059593 | 0.0059593 | 32.6772 | 0.086315 | 0.086315 | 32.6716 | 0.068812 | 0.068812 | 24.3023 | 0.073013 | -0.062898 | -9.7552e-11 | -0.053903 | 0.053808 | 6.9944 | -0.0036636 | -0.065947 | 1.2481e-11 | 0.036611 | 0.087635 | -40.2366 | 0 | 0 | 139.6468 | 64.6526 | 64.6526 | 0.68036 | 1 | 0.98156 | 0.54672 | 1 | 0.86283 | -24.3261 | -117.4928 | 111.7352 | 0 | -149.5321 | 123.1025
Line_1 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.078e-13 | -2.6564e-10 | -2.7221e-09 | 3.9294e-14 | 0.026951 | -0.026904 | 3.3308e-12 | -1.7124e-09 | 2.942e-10 | 9.5823e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.54672 | 1 | 0.86283 | 0.54672 | 1 | 0.86283 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025
Line_2 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0779e-13 | -2.6565e-10 | -2.722e-09 | 3.9294e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.9419e-10 | 9.5823e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.54672 | 1 | 0.86283 | 0.54672 | 1 | 0.86283 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8299 | 0.0074751 | 0.0074751 | 2.8294 | 0.0059593 | 0.0059593 | 32.6772 | 0.086315 | 0.086315 | 32.6716 | 0.068812 | 0.068812 | 24.3023 | 0.073013 | -0.062898 | -9.7552e-11 | -0.053903 | 0.053808 | 6.9944 | -0.0036636 | -0.065947 | 1.2481e-11 | 0.036611 | 0.087635 | -40.2366 | 0 | 0 | 139.6468 | 64.6526 | 64.6526 | 0.68036 | 1 | 0.98156 | 0.54672 | 1 | 0.86283 | -24.3261 | -117.4928 | 111.7352 | 0 | -149.5321 | 123.1025
Line_1 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.078e-13 | -2.6564e-10 | -2.7221e-09 | 3.9294e-14 | 0.026951 | -0.026904 | 3.3308e-12 | -1.7124e-09 | 2.942e-10 | 9.5823e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.54672 | 1 | 0.86283 | 0.54672 | 1 | 0.86283 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025
Line_2 | 0 | 0 | 0 | 0.0029796 | 0.0029796 | 0.0029796 | 0 | 0 | 0 | 0.034406 | 0.034406 | 0.034406 | 8.0779e-13 | -2.6565e-10 | -2.722e-09 | 3.9294e-14 | 0.026951 | -0.026904 | 3.3307e-12 | -1.7124e-09 | 2.9419e-10 | 9.5823e-14 | -0.018306 | -0.043818 | -40.2366 | 0 | 0 | -115.3474 | -115.3474 | -115.3474 | 0.54672 | 1 | 0.86283 | 0.54672 | 1 | 0.86283 | 76.3154 | -149.5727 | 123.0764 | 0 | -149.5321 | 123.1025

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0368 | 0.0027386 | 0.0027386 | 1.0366 | 0.0021832 | 0.0021832 | 11.9717 | 0.031623 | 0.031623 | 11.9696 | 0.02521 | 0.02521 | 8.6189 | 0.029861 | -0.01866 | -5.3588 | -0.023229 | 0.015192 | 6.3231 | -0.00070754 | -0.026117 | -5.3807 | 0.004883 | 0.025629 | -43.2566 | 0 | 0 | 136.6268 | 61.6326 | 61.6326 | 0.87894 | 1 | 0.97297 | 0.83431 | 1 | 0.91861 | -7.1372 | -118.9976 | 116.8153 | 1.7434 | -130.2389 | 120.974
Line_1 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4918e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1973e-11 | -6.1396e-10 | 7.2743e-11 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83431 | 1 | 0.91861 | 0.83431 | 1 | 0.91861 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974
Line_2 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1974e-11 | -6.1396e-10 | 7.2749e-11 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83431 | 1 | 0.91861 | 0.83431 | 1 | 0.91861 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0368 | 0.0027386 | 0.0027386 | 1.0366 | 0.0021832 | 0.0021832 | 11.9717 | 0.031623 | 0.031623 | 11.9696 | 0.02521 | 0.02521 | 8.6189 | 0.029861 | -0.01866 | -5.3588 | -0.023229 | 0.015192 | 6.3231 | -0.00070754 | -0.026117 | -5.3807 | 0.004883 | 0.025629 | -43.2566 | 0 | 0 | 136.6268 | 61.6326 | 61.6326 | 0.87894 | 1 | 0.97297 | 0.83431 | 1 | 0.91861 | -7.1372 | -118.9976 | 116.8153 | 1.7434 | -130.2389 | 120.974
Line_1 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4918e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1973e-11 | -6.1396e-10 | 7.2743e-11 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83431 | 1 | 0.91861 | 0.83431 | 1 | 0.91861 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974
Line_2 | 0 | 0 | 0 | 0.0010916 | 0.0010916 | 0.0010916 | 0 | 0 | 0 | 0.012605 | 0.012605 | 0.012605 | 8.4917e-10 | 1.4771e-10 | -7.897e-10 | -0.0040119 | 0.011615 | -0.0075962 | 7.1974e-11 | -6.1396e-10 | 7.2749e-11 | 0.0069179 | -0.0024415 | -0.012815 | -43.2566 | 0 | 0 | -118.3674 | -118.3674 | -118.3674 | 0.83431 | 1 | 0.91861 | 0.83431 | 1 | 0.91861 | 1.7727 | -130.2472 | 120.9617 | 1.7434 | -130.2389 | 120.974

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17844 | 5.0631 | 2.9186 | 0.17731 | 5.0631 | 2.9177 | 2.0604 | 58.4633 | 33.701 | 2.0474 | 58.4641 | 33.6908 | -0.69225 | 32.9873 | -0.53114 | 1.1449 | 2.1008e-10 | 1.3517e-10 | -1.9546 | 7.6625 | 16.0844 | 2.5525 | -1.3046e-10 | -4.1425e-11 | 0 | 175.6604 | 41.1037 | -78.391 | -3.9346 | -138.9101 | 0.90599 | 0.29171 | 0.81403 | 0.78888 | 0 | 0.78888 | -8.0163 | -170.8708 | 132.9968 | -12.5493 | 0 | 0
Line_1 | 0.1732 | 0.17321 | 0.17321 | 0.17525 | 0.17301 | 0.17137 | 2 | 2 | 2 | 2.0237 | 1.9978 | 1.9788 | 1.1613 | 0.015249 | 0.015176 | -1.1449 | 8.0023e-12 | 7.9089e-12 | 2.499 | 0.018393 | 0.01705 | -2.5169 | -2.7146e-12 | -2.5293e-12 | 0 | 175.6604 | 41.1037 | 101.911 | -17.0361 | -138.2146 | 0.80036 | 0.011797 | 0.79702 | 0.78888 | 0 | 0.78888 | -12.7046 | -147.4408 | 90.5481 | -12.5493 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0022548 | 0.0022548 | 0.0022548 | 0 | 0 | 0 | 0.026036 | 0.026036 | 0.026036 | -1.4674e-09 | 1.2149e-12 | -1.4637e-12 | 1.4095e-05 | -4.3388e-14 | -6.5176e-14 | -1.199e-09 | 9.8779e-13 | 5.5876e-13 | -0.035575 | -1.0122e-13 | 8.7685e-14 | 0 | 175.6604 | 41.1037 | 77.428 | 77.428 | 77.428 | 0.78888 | 0 | 0.78888 | 0.78888 | 0 | 0.78888 | -12.5644 | -80.9003 | -80.9003 | -12.5493 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17844 | 5.0631 | 2.9186 | 0.17731 | 5.0631 | 2.9177 | 2.0604 | 58.4633 | 33.701 | 2.0474 | 58.4641 | 33.6908 | -0.69225 | 32.9873 | -0.53114 | 1.1449 | 2.1008e-10 | 1.3517e-10 | -1.9546 | 7.6625 | 16.0844 | 2.5525 | -1.3046e-10 | -4.1425e-11 | 0 | 175.6604 | 41.1037 | -78.391 | -3.9346 | -138.9101 | 0.90599 | 0.29171 | 0.81403 | 0.78888 | 0 | 0.78888 | -8.0163 | -170.8708 | 132.9968 | -12.5493 | 0 | 0
Line_1 | 0.1732 | 0.17321 | 0.17321 | 0.17525 | 0.17301 | 0.17137 | 2 | 2 | 2 | 2.0237 | 1.9978 | 1.9788 | 1.1613 | 0.015249 | 0.015176 | -1.1449 | 8.0023e-12 | 7.9089e-12 | 2.499 | 0.018393 | 0.01705 | -2.5169 | -2.7146e-12 | -2.5293e-12 | 0 | 175.6604 | 41.1037 | 101.911 | -17.0361 | -138.2146 | 0.80036 | 0.011797 | 0.79702 | 0.78888 | 0 | 0.78888 | -12.7046 | -147.4408 | 90.5481 | -12.5493 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0022548 | 0.0022548 | 0.0022548 | 0 | 0 | 0 | 0.026036 | 0.026036 | 0.026036 | -1.4674e-09 | 1.2149e-12 | -1.4637e-12 | 1.4095e-05 | -4.3388e-14 | -6.5176e-14 | -1.199e-09 | 9.8779e-13 | 5.5876e-13 | -0.035575 | -1.0122e-13 | 8.7685e-14 | 0 | 175.6604 | 41.1037 | 77.428 | 77.428 | 77.428 | 0.78888 | 0 | 0.78888 | 0.78888 | 0 | 0.78888 | -12.5644 | -80.9003 | -80.9003 | -12.5493 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17489 | 1.2876 | 1.0688 | 0.17452 | 1.2877 | 1.0684 | 2.0195 | 14.8676 | 12.3411 | 2.0152 | 14.8694 | 12.3366 | -0.53252 | 12.0004 | 7.7296 | 0.70379 | -9.8217 | -6.9446 | -2.1286 | 8.4678 | 8.237 | 2.3256 | -8.6707 | -6.102 | 0 | -169.7726 | 65.5646 | -78.0113 | 13.7888 | -110.7402 | 1.0809 | 0.91602 | 0.99297 | 1.0472 | 0.83445 | 0.96448 | -2.1064 | -131.0193 | 116.0837 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17386 | 0.17318 | 0.17257 | 2 | 2 | 2 | 2.0076 | 1.9997 | 1.9927 | 0.72364 | 0.5305 | 0.56852 | -0.70579 | -0.5222 | -0.54787 | 2.3228 | 1.7032 | 1.4104 | -2.3154 | -1.6828 | -1.3891 | 0 | -169.7726 | 65.5646 | 102.104 | -17.5326 | -137.9109 | 1.0583 | 0.84557 | 0.97467 | 1.0472 | 0.83445 | 0.96448 | -5.0836 | -125.0802 | 110.2669 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0 | 0 | 0 | 0.00074747 | 0.00074747 | 0.00074747 | 0 | 0 | 0 | 0.0086311 | 0.0086311 | 0.0086311 | -4.8478e-10 | 6.9468e-10 | 9.2275e-10 | 0.0019979 | -0.0071967 | 0.0052004 | -4.1156e-10 | -2.9537e-10 | -4.9527e-10 | -0.010213 | 0.0024577 | 0.0038456 | 0 | -169.7726 | 65.5646 | 74.0825 | 74.0825 | 74.0825 | 1.0472 | 0.83445 | 0.96448 | 1.0472 | 0.83445 | 0.96448 | -4.8548 | -124.7671 | 110.5672 | -4.8488 | -124.7726 | 110.5646

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17489 | 1.2876 | 1.0688 | 0.17452 | 1.2877 | 1.0684 | 2.0195 | 14.8676 | 12.3411 | 2.0152 | 14.8694 | 12.3366 | -0.53252 | 12.0004 | 7.7296 | 0.70379 | -9.8217 | -6.9446 | -2.1286 | 8.4678 | 8.237 | 2.3256 | -8.6707 | -6.102 | 0 | -169.7726 | 65.5646 | -78.0113 | 13.7888 | -110.7402 | 1.0809 | 0.91602 | 0.99297 | 1.0472 | 0.83445 | 0.96448 | -2.1064 | -131.0193 | 116.0837 | -4.8488 | -124.7726 | 110.5646
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.17386 | 0.17318 | 0.17257 | 2 | 2 | 2 | 2.0076 | 1.9997 | 1.9927 | 0.72364 | 0.5305 | 0.56852 | -0.70579 | -0.5222 | -0.54787 | 2.3228 | 1.7032 | 1.4104 | -2.3154 | -1.6828 | -1.3891 | 0 | -169.7726 | 65.5646 | 102.104 | -17.5326 | -137.9109 | 1.0583 | 0.84557 | 0.97467 | 1.0472 | 0.83445 | 0.96448 | -5.0836 | -125.0802 | 110.2669 | -4.8488 | -124.7726 | 110.5646
Line_2 | 0 | 0 | 0 | 0.00074747 | 0.00074747 | 0.00074747 | 0 | 0 | 0 | 0.0086311 | 0.0086311 | 0.0086311 | -4.8478e-10 | 6.9468e-10 | 9.2275e-10 | 0.0019979 | -0.0071967 | 0.0052004 | -4.1156e-10 | -2.9537e-10 | -4.9527e-10 | -0.010213 | 0.0024577 | 0.0038456 | 0 | -169.7726 | 65.5646 | 74.0825 | 74.0825 | 74.0825 | 1.0472 | 0.83445 | 0.96448 | 1.0472 | 0.83445 | 0.96448 | -4.8548 | -124.7671 | 110.5672 | -4.8488 | -124.7726 | 110.5646

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00545 | 3.9226 | 2.4904 | 0.0043448 | 3.9229 | 2.4897 | 0.062931 | 45.2941 | 28.7571 | 0.05017 | 45.2975 | 28.7485 | 0.0021943 | 30.34 | -0.11431 | -5.0242e-05 | -1.6985e-10 | -2.5876e-11 | -0.059921 | 1.8331 | 12.1337 | 0.066045 | -1.937e-10 | -1.6157e-10 | 0 | -170.2299 | 37.1355 | -99.0075 | 9.71 | -142.7952 | 0.92463 | 0.36172 | 0.74025 | 0.76005 | 0 | 0.76005 | -6.1832 | -166.8481 | 127.7633 | -8.9639 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -7.546e-10 | 1.3486e-12 | 1.1481e-12 | -0.033023 | 5.4664e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.76005 | 0 | 0.76005 | 0.76005 | 0 | 0.76005 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -7.546e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4664e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.76005 | 0 | 0.76005 | 0.76005 | 0 | 0.76005 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00545 | 3.9226 | 2.4904 | 0.0043448 | 3.9229 | 2.4897 | 0.062931 | 45.2941 | 28.7571 | 0.05017 | 45.2975 | 28.7485 | 0.0021943 | 30.34 | -0.11431 | -5.0242e-05 | -1.6985e-10 | -2.5876e-11 | -0.059921 | 1.8331 | 12.1337 | 0.066045 | -1.937e-10 | -1.6157e-10 | 0 | -170.2299 | 37.1355 | -99.0075 | 9.71 | -142.7952 | 0.92463 | 0.36172 | 0.74025 | 0.76005 | 0 | 0.76005 | -6.1832 | -166.8481 | 127.7633 | -8.9639 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -7.546e-10 | 1.3486e-12 | 1.1481e-12 | -0.033023 | 5.4664e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.76005 | 0 | 0.76005 | 0.76005 | 0 | 0.76005 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021724 | 0.0021724 | 0.0021724 | 0 | 0 | 0 | 0.025085 | 0.025085 | 0.025085 | -1.5876e-09 | 2.1026e-12 | -2.2218e-12 | 2.512e-05 | -1.3178e-13 | 1.1385e-13 | -7.546e-10 | 1.3486e-12 | 1.148e-12 | -0.033023 | 5.4664e-14 | 8.6147e-14 | 0 | -170.2299 | 37.1355 | 80.9925 | 80.9925 | 80.9925 | 0.76005 | 0 | 0.76005 | 0.76005 | 0 | 0.76005 | -8.993 | -87.3447 | -87.3447 | -8.9639 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024496 | 1.2103 | 0.96782 | 0.0019529 | 1.2106 | 0.96733 | 0.028286 | 13.9751 | 11.1754 | 0.02255 | 13.9783 | 11.1697 | 0.0083193 | 10.4505 | 5.6921 | -0.00643 | -7.3248 | -4.6699 | -0.026092 | 6.614 | 7.0663 | 0.024413 | -7.3438 | -4.6684 | 0 | -164.0905 | 64.6966 | -110.7976 | 15.8354 | -115.2943 | 0.9678 | 0.81393 | 0.88331 | 0.90451 | 0.70193 | 0.85199 | -2.3861 | -131.8552 | 115.8573 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1354e-10 | 7.0102e-10 | 8.5152e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3588e-11 | -3.87e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.90451 | 0.70193 | 0.85199 | 0.90451 | 0.70193 | 0.85199 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1353e-10 | 7.0103e-10 | 8.5152e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3589e-11 | -3.87e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.90451 | 0.70193 | 0.85199 | 0.90451 | 0.70193 | 0.85199 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024496 | 1.2103 | 0.96782 | 0.0019529 | 1.2106 | 0.96733 | 0.028286 | 13.9751 | 11.1754 | 0.02255 | 13.9783 | 11.1697 | 0.0083193 | 10.4505 | 5.6921 | -0.00643 | -7.3248 | -4.6699 | -0.026092 | 6.614 | 7.0663 | 0.024413 | -7.3438 | -4.6684 | 0 | -164.0905 | 64.6966 | -110.7976 | 15.8354 | -115.2943 | 0.9678 | 0.81393 | 0.88331 | 0.90451 | 0.70193 | 0.85199 | -2.3861 | -131.8552 | 115.8573 | -6.0417 | -119.0905 | 109.6966
Line_1 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1354e-10 | 7.0102e-10 | 8.5152e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3588e-11 | -3.87e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.90451 | 0.70193 | 0.85199 | 0.90451 | 0.70193 | 0.85199 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966
Line_2 | 0 | 0 | 0 | 0.00097643 | 0.00097643 | 0.00097643 | 0 | 0 | 0 | 0.011275 | 0.011275 | 0.011275 | -5.1353e-10 | 7.0103e-10 | 8.5152e-10 | 0.003215 | -0.0082787 | 0.0050688 | -4.3317e-10 | 4.3589e-11 | -3.87e-10 | -0.012206 | 0.0012067 | 0.0043283 | 0 | -164.0905 | 64.6966 | 69.2024 | 69.2024 | 69.2024 | 0.90451 | 0.70193 | 0.85199 | 0.90451 | 0.70193 | 0.85199 | -6.0574 | -119.0824 | 109.7109 | -6.0417 | -119.0905 | 109.6966