## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2789e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2789e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6774e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6774e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 5.2106e-15 | -2.0843e-14 | 6.2528e-14 | 1.0422e-14 | 1.0422e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.7075e-13 | 180 | -180 | 6.7735e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1379e-29 | -5.2105e-15 | 1.0421e-14 | -5.2106e-15 | 2.0842e-14 | -2.0843e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.7492e-13 | -180 | 180 | 6.7735e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -5.2105e-15 | -1.0421e-14 | 1.0421e-14 | 2.0842e-14 | -1.4251e-19 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.7837e-13 | -180 | 180 | 6.7735e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 5.2106e-15 | -2.0843e-14 | 6.2528e-14 | 1.0422e-14 | 1.0422e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.7075e-13 | 180 | -180 | 6.7735e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1379e-29 | -5.2105e-15 | 1.0421e-14 | -5.2106e-15 | 2.0842e-14 | -2.0843e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.7492e-13 | -180 | 180 | 6.7735e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -5.2105e-15 | -1.0421e-14 | 1.0421e-14 | 2.0842e-14 | -1.4251e-19 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 6.7837e-13 | -180 | 180 | 6.7735e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | -9.5548e-10 | -3.0749e-09 | 1.5632e-14 | 9.5549e-10 | 3.0749e-09 | -9.5322e-29 | 4.0277e-09 | -3.5664e-10 | 8.0815e-29 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 2.9947e-13 | -140.8543 | 122.4159 | 2.9621e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0177e-29 | 3.1849e-10 | 1.025e-09 | -2.6053e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1888e-10 | 5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 2.9452e-13 | -140.8543 | 122.4159 | 2.9621e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.1849e-10 | 1.025e-09 | -7.816e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 2.9733e-13 | -140.8543 | 122.4159 | 2.9621e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | -9.5548e-10 | -3.0749e-09 | 1.5632e-14 | 9.5549e-10 | 3.0749e-09 | -9.5322e-29 | 4.0277e-09 | -3.5664e-10 | 8.0815e-29 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 2.9947e-13 | -140.8543 | 122.4159 | 2.9621e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0177e-29 | 3.1849e-10 | 1.025e-09 | -2.6053e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1888e-10 | 5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 2.9452e-13 | -140.8543 | 122.4159 | 2.9621e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.1849e-10 | 1.025e-09 | -7.816e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 2.9733e-13 | -140.8543 | 122.4159 | 2.9621e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 4.7369e-15 | 1.1842e-14 | 1.1842e-14 | -4.7363e-15 | -9.4732e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 9.8732e-13 | -180 | 180 | 9.688e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -9.4736e-15 | -2.3682e-15 | -9.4739e-15 | 1.4211e-14 | 4.7367e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.6019e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 9.7076e-13 | -180 | 180 | 9.688e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7366e-15 | 2.3688e-15 | 2.3685e-15 | 4.7367e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 9.5089e-13 | -180 | 180 | 9.688e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 4.7369e-15 | 1.1842e-14 | 1.1842e-14 | -4.7363e-15 | -9.4732e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 9.8732e-13 | -180 | 180 | 9.688e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -9.4736e-15 | -2.3682e-15 | -9.4739e-15 | 1.4211e-14 | 4.7367e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.6019e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 9.7076e-13 | -180 | 180 | 9.688e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7366e-15 | 2.3688e-15 | 2.3685e-15 | 4.7367e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 9.5089e-13 | -180 | 180 | 9.688e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | -8.0026e-10 | -2.5674e-09 | 8.8818e-16 | 8.0026e-10 | 2.5674e-09 | -2.3685e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.3412e-13 | -141.4824 | 122.8363 | 3.134e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 2.6674e-10 | 8.558e-10 | -3.2567e-15 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -1.7813e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.1367e-13 | -141.4824 | 122.8363 | 3.134e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6674e-10 | 8.558e-10 | 5.9212e-16 | -2.6675e-10 | -8.5579e-10 | -4.7405e-30 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.058e-13 | -141.4824 | 122.8363 | 3.134e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | -8.0026e-10 | -2.5674e-09 | 8.8818e-16 | 8.0026e-10 | 2.5674e-09 | -2.3685e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.3412e-13 | -141.4824 | 122.8363 | 3.134e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 2.6674e-10 | 8.558e-10 | -3.2567e-15 | -2.6674e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -1.7813e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.1367e-13 | -141.4824 | 122.8363 | 3.134e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6674e-10 | 8.558e-10 | 5.9212e-16 | -2.6675e-10 | -8.5579e-10 | -4.7405e-30 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.058e-13 | -141.4824 | 122.8363 | 3.134e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015016 | 0.015016 | 0.015016 | 0.010014 | 0.010014 | 0.010014 | 0.17339 | 0.17339 | 0.17339 | 0.11563 | 0.11563 | 0.11563 | -3.1147e-13 | 0.16612 | -0.16424 | 0.00046314 | -0.11046 | 0.10985 | 9.0936e-14 | -0.26268 | -0.2626 | 0.0001843 | 0.17527 | 0.17539 | 0 | 0 | 0 | 89.9681 | 89.9681 | 89.9681 | 1.0349 | 1.1 | 1.0313 | 1.0349 | 1.1 | 1.0313 | 0 | -147.6772 | 147.9898 | 111.667 | -147.8127 | 147.9081
Line_1 | 0 | 0 | 0 | 0.005007 | 0.005007 | 0.005007 | 0 | 0 | 0 | 0.057816 | 0.057816 | 0.057816 | -7.8001e-12 | -5.3786e-09 | -5.3718e-09 | -0.00023157 | 0.055228 | -0.054927 | 1.9391e-11 | -3.3744e-09 | 3.3783e-09 | -9.2149e-05 | -0.087635 | -0.087696 | 0 | 0 | 0 | -90.0319 | -90.0319 | -90.0319 | 1.0349 | 1.1 | 1.0313 | 1.0349 | 1.1 | 1.0313 | 111.6625 | -147.8398 | 147.8917 | 111.667 | -147.8127 | 147.9081
Line_2 | 0 | 0 | 0 | 0.005007 | 0.005007 | 0.005007 | 0 | 0 | 0 | 0.057816 | 0.057816 | 0.057816 | -7.7999e-12 | -5.3786e-09 | -5.3719e-09 | -0.00023157 | 0.055228 | -0.054927 | 1.9391e-11 | -3.3743e-09 | 3.3783e-09 | -9.2149e-05 | -0.087635 | -0.087696 | 0 | 0 | 0 | -90.0319 | -90.0319 | -90.0319 | 1.0349 | 1.1 | 1.0313 | 1.0349 | 1.1 | 1.0313 | 111.6625 | -147.8398 | 147.8917 | 111.667 | -147.8127 | 147.9081

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015016 | 0.015016 | 0.015016 | 0.010014 | 0.010014 | 0.010014 | 0.17339 | 0.17339 | 0.17339 | 0.11563 | 0.11563 | 0.11563 | -3.1147e-13 | 0.16612 | -0.16424 | 0.00046314 | -0.11046 | 0.10985 | 9.0936e-14 | -0.26268 | -0.2626 | 0.0001843 | 0.17527 | 0.17539 | 0 | 0 | 0 | 89.9681 | 89.9681 | 89.9681 | 1.0349 | 1.1 | 1.0313 | 1.0349 | 1.1 | 1.0313 | 0 | -147.6772 | 147.9898 | 111.667 | -147.8127 | 147.9081
Line_1 | 0 | 0 | 0 | 0.005007 | 0.005007 | 0.005007 | 0 | 0 | 0 | 0.057816 | 0.057816 | 0.057816 | -7.8001e-12 | -5.3786e-09 | -5.3718e-09 | -0.00023157 | 0.055228 | -0.054927 | 1.9391e-11 | -3.3744e-09 | 3.3783e-09 | -9.2149e-05 | -0.087635 | -0.087696 | 0 | 0 | 0 | -90.0319 | -90.0319 | -90.0319 | 1.0349 | 1.1 | 1.0313 | 1.0349 | 1.1 | 1.0313 | 111.6625 | -147.8398 | 147.8917 | 111.667 | -147.8127 | 147.9081
Line_2 | 0 | 0 | 0 | 0.005007 | 0.005007 | 0.005007 | 0 | 0 | 0 | 0.057816 | 0.057816 | 0.057816 | -7.7999e-12 | -5.3786e-09 | -5.3719e-09 | -0.00023157 | 0.055228 | -0.054927 | 1.9391e-11 | -3.3743e-09 | 3.3783e-09 | -9.2149e-05 | -0.087635 | -0.087696 | 0 | 0 | 0 | -90.0319 | -90.0319 | -90.0319 | 1.0349 | 1.1 | 1.0313 | 1.0349 | 1.1 | 1.0313 | 111.6625 | -147.8398 | 147.8917 | 111.667 | -147.8127 | 147.9081

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011596 | 0.011596 | 0.011596 | 0.0077334 | 0.0077334 | 0.0077334 | 0.1339 | 0.1339 | 0.1339 | 0.089297 | 0.089297 | 0.089297 | 0.030184 | 0.11032 | -0.13938 | -0.019837 | -0.073395 | 0.093149 | 0.030415 | -0.198 | -0.14567 | -0.020189 | 0.13209 | 0.09733 | 0 | 0 | 0 | 101.7902 | 101.7902 | 101.7902 | 1.0437 | 1.1 | 1.054 | 1.0437 | 1.1 | 1.054 | -32.9462 | -139.0401 | 148.1004 | -32.7056 | -139.1519 | 148.0478
Line_1 | 0 | 0 | 0 | 0.0038667 | 0.0038667 | 0.0038667 | 0 | 0 | 0 | 0.044649 | 0.044649 | 0.044649 | 7.0729e-10 | -4.0529e-09 | -2.9795e-09 | 0.0099183 | 0.036698 | -0.046575 | -6.885e-10 | -2.2417e-09 | 2.8614e-09 | 0.010094 | -0.066047 | -0.048665 | 0 | 0 | 0 | -78.2098 | -78.2098 | -78.2098 | 1.0437 | 1.1 | 1.054 | 1.0437 | 1.1 | 1.054 | -32.6569 | -139.1743 | 148.0373 | -32.7056 | -139.1519 | 148.0478
Line_2 | 0 | 0 | 0 | 0.0038667 | 0.0038667 | 0.0038667 | 0 | 0 | 0 | 0.044649 | 0.044649 | 0.044649 | 7.0729e-10 | -4.0529e-09 | -2.9795e-09 | 0.0099183 | 0.036698 | -0.046575 | -6.885e-10 | -2.2416e-09 | 2.8614e-09 | 0.010094 | -0.066047 | -0.048665 | 0 | 0 | 0 | -78.2098 | -78.2098 | -78.2098 | 1.0437 | 1.1 | 1.054 | 1.0437 | 1.1 | 1.054 | -32.6569 | -139.1743 | 148.0373 | -32.7056 | -139.1519 | 148.0478

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011596 | 0.011596 | 0.011596 | 0.0077334 | 0.0077334 | 0.0077334 | 0.1339 | 0.1339 | 0.1339 | 0.089297 | 0.089297 | 0.089297 | 0.030184 | 0.11032 | -0.13938 | -0.019837 | -0.073395 | 0.093149 | 0.030415 | -0.198 | -0.14567 | -0.020189 | 0.13209 | 0.09733 | 0 | 0 | 0 | 101.7902 | 101.7902 | 101.7902 | 1.0437 | 1.1 | 1.054 | 1.0437 | 1.1 | 1.054 | -32.9462 | -139.0401 | 148.1004 | -32.7056 | -139.1519 | 148.0478
Line_1 | 0 | 0 | 0 | 0.0038667 | 0.0038667 | 0.0038667 | 0 | 0 | 0 | 0.044649 | 0.044649 | 0.044649 | 7.0729e-10 | -4.0529e-09 | -2.9795e-09 | 0.0099183 | 0.036698 | -0.046575 | -6.885e-10 | -2.2417e-09 | 2.8614e-09 | 0.010094 | -0.066047 | -0.048665 | 0 | 0 | 0 | -78.2098 | -78.2098 | -78.2098 | 1.0437 | 1.1 | 1.054 | 1.0437 | 1.1 | 1.054 | -32.6569 | -139.1743 | 148.0373 | -32.7056 | -139.1519 | 148.0478
Line_2 | 0 | 0 | 0 | 0.0038667 | 0.0038667 | 0.0038667 | 0 | 0 | 0 | 0.044649 | 0.044649 | 0.044649 | 7.0729e-10 | -4.0529e-09 | -2.9795e-09 | 0.0099183 | 0.036698 | -0.046575 | -6.885e-10 | -2.2416e-09 | 2.8614e-09 | 0.010094 | -0.066047 | -0.048665 | 0 | 0 | 0 | -78.2098 | -78.2098 | -78.2098 | 1.0437 | 1.1 | 1.054 | 1.0437 | 1.1 | 1.054 | -32.6569 | -139.1743 | 148.0373 | -32.7056 | -139.1519 | 148.0478

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013599 | 0.013599 | 0.013599 | 0.0090689 | 0.0090689 | 0.0090689 | 0.15703 | 0.15703 | 0.15703 | 0.10472 | 0.10472 | 0.10472 | 1.2322e-13 | 0.13747 | -0.13451 | 0.0007293 | -0.091162 | 0.090214 | 1.0282e-13 | -0.21502 | -0.21578 | 0.00015123 | 0.1434 | 0.14419 | 0 | 0 | 0 | 89.7516 | 89.7516 | 89.7516 | 0.93833 | 1 | 0.93491 | 0.93833 | 1 | 0.93491 | 0 | -147.5696 | 147.9007 | 101.4666 | -147.8041 | 147.7189
Line_1 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4842e-12 | -4.3898e-09 | -4.4077e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0673e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.93833 | 1 | 0.93491 | 0.93833 | 1 | 0.93491 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189
Line_2 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4077e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.93833 | 1 | 0.93491 | 0.93833 | 1 | 0.93491 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013599 | 0.013599 | 0.013599 | 0.0090689 | 0.0090689 | 0.0090689 | 0.15703 | 0.15703 | 0.15703 | 0.10472 | 0.10472 | 0.10472 | 1.2322e-13 | 0.13747 | -0.13451 | 0.0007293 | -0.091162 | 0.090214 | 1.0282e-13 | -0.21502 | -0.21578 | 0.00015123 | 0.1434 | 0.14419 | 0 | 0 | 0 | 89.7516 | 89.7516 | 89.7516 | 0.93833 | 1 | 0.93491 | 0.93833 | 1 | 0.93491 | 0 | -147.5696 | 147.9007 | 101.4666 | -147.8041 | 147.7189
Line_1 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4842e-12 | -4.3898e-09 | -4.4077e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0673e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.93833 | 1 | 0.93491 | 0.93833 | 1 | 0.93491 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189
Line_2 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4077e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.93833 | 1 | 0.93491 | 0.93833 | 1 | 0.93491 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010512 | 0.010512 | 0.010512 | 0.0070099 | 0.0070099 | 0.0070099 | 0.12138 | 0.12138 | 0.12138 | 0.080943 | 0.080943 | 0.080943 | 0.024707 | 0.091491 | -0.11443 | -0.016015 | -0.060742 | 0.076626 | 0.025071 | -0.1624 | -0.12006 | -0.016654 | 0.1083 | 0.080274 | 0 | 0 | 0 | 101.5305 | 101.5305 | 101.5305 | 0.94663 | 1 | 0.95636 | 0.94663 | 1 | 0.95636 | -32.9634 | -138.9869 | 147.9932 | -32.3496 | -139.1824 | 147.8622
Line_1 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8575e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.94663 | 1 | 0.95636 | 0.94663 | 1 | 0.95636 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622
Line_2 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8575e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.94663 | 1 | 0.95636 | 0.94663 | 1 | 0.95636 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010512 | 0.010512 | 0.010512 | 0.0070099 | 0.0070099 | 0.0070099 | 0.12138 | 0.12138 | 0.12138 | 0.080943 | 0.080943 | 0.080943 | 0.024707 | 0.091491 | -0.11443 | -0.016015 | -0.060742 | 0.076626 | 0.025071 | -0.1624 | -0.12006 | -0.016654 | 0.1083 | 0.080274 | 0 | 0 | 0 | 101.5305 | 101.5305 | 101.5305 | 0.94663 | 1 | 0.95636 | 0.94663 | 1 | 0.95636 | -32.9634 | -138.9869 | 147.9932 | -32.3496 | -139.1824 | 147.8622
Line_1 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8575e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.94663 | 1 | 0.95636 | 0.94663 | 1 | 0.95636 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622
Line_2 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8575e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.94663 | 1 | 0.95636 | 0.94663 | 1 | 0.95636 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080002 | 0.0080002 | 0.0080002 | 0.0053351 | 0.0053351 | 0.0053351 | 0.092378 | 0.092378 | 0.092378 | 0.061605 | 0.061605 | 0.061605 | 0.00053243 | -4.8412e-14 | -4.2192e-14 | -0.00030238 | 0.00013146 | 0.00013146 | -0.14909 | -8.2972e-14 | 7.9684e-14 | 0.099479 | 5.231e-05 | 5.231e-05 | 0 | 0 | 0 | -90.1919 | -90.1919 | -90.1919 | 0.93182 | 0 | 0.93182 | 0.93182 | 0 | 0.93182 | 0.058101 | 0 | 0 | -0.017744 | -68.493 | -68.493
Line_1 | 0 | 0 | 0 | 0.0026676 | 0.0026676 | 0.0026676 | 0 | 0 | 0 | 0.030802 | 0.030802 | 0.030802 | -3.0495e-09 | 6.8916e-12 | -1.1022e-11 | 0.00015119 | -6.5729e-05 | -6.5729e-05 | -3.7565e-12 | 8.6997e-12 | 1.6426e-12 | -0.049739 | -2.6155e-05 | -2.6155e-05 | 0 | 0 | 0 | 89.8081 | 89.8081 | 89.8081 | 0.93182 | 0 | 0.93182 | 0.93182 | 0 | 0.93182 | -0.032909 | -68.4975 | -68.4975 | -0.017744 | -68.493 | -68.493
Line_2 | 0 | 0 | 0 | 0.0026676 | 0.0026676 | 0.0026676 | 0 | 0 | 0 | 0.030802 | 0.030802 | 0.030802 | -3.0495e-09 | 6.8917e-12 | -1.1022e-11 | 0.00015119 | -6.5729e-05 | -6.5729e-05 | -3.7718e-12 | 8.6998e-12 | 1.6426e-12 | -0.049739 | -2.6155e-05 | -2.6155e-05 | 0 | 0 | 0 | 89.8081 | 89.8081 | 89.8081 | 0.93182 | 0 | 0.93182 | 0.93182 | 0 | 0.93182 | -0.032909 | -68.4975 | -68.4975 | -0.017744 | -68.493 | -68.493

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080002 | 0.0080002 | 0.0080002 | 0.0053351 | 0.0053351 | 0.0053351 | 0.092378 | 0.092378 | 0.092378 | 0.061605 | 0.061605 | 0.061605 | 0.00053243 | -4.8412e-14 | -4.2192e-14 | -0.00030238 | 0.00013146 | 0.00013146 | -0.14909 | -8.2972e-14 | 7.9684e-14 | 0.099479 | 5.231e-05 | 5.231e-05 | 0 | 0 | 0 | -90.1919 | -90.1919 | -90.1919 | 0.93182 | 0 | 0.93182 | 0.93182 | 0 | 0.93182 | 0.058101 | 0 | 0 | -0.017744 | -68.493 | -68.493
Line_1 | 0 | 0 | 0 | 0.0026676 | 0.0026676 | 0.0026676 | 0 | 0 | 0 | 0.030802 | 0.030802 | 0.030802 | -3.0495e-09 | 6.8916e-12 | -1.1022e-11 | 0.00015119 | -6.5729e-05 | -6.5729e-05 | -3.7565e-12 | 8.6997e-12 | 1.6426e-12 | -0.049739 | -2.6155e-05 | -2.6155e-05 | 0 | 0 | 0 | 89.8081 | 89.8081 | 89.8081 | 0.93182 | 0 | 0.93182 | 0.93182 | 0 | 0.93182 | -0.032909 | -68.4975 | -68.4975 | -0.017744 | -68.493 | -68.493
Line_2 | 0 | 0 | 0 | 0.0026676 | 0.0026676 | 0.0026676 | 0 | 0 | 0 | 0.030802 | 0.030802 | 0.030802 | -3.0495e-09 | 6.8917e-12 | -1.1022e-11 | 0.00015119 | -6.5729e-05 | -6.5729e-05 | -3.7718e-12 | 8.6998e-12 | 1.6426e-12 | -0.049739 | -2.6155e-05 | -2.6155e-05 | 0 | 0 | 0 | 89.8081 | 89.8081 | 89.8081 | 0.93182 | 0 | 0.93182 | 0.93182 | 0 | 0.93182 | -0.032909 | -68.4975 | -68.4975 | -0.017744 | -68.493 | -68.493

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069515 | 0.0069515 | 0.0069515 | 0.0046358 | 0.0046358 | 0.0046358 | 0.080269 | 0.080269 | 0.080269 | 0.05353 | 0.05353 | 0.05353 | -0.010444 | -0.052575 | 0.063421 | 0.0069991 | 0.035172 | -0.042201 | -0.1235 | 0.023173 | -0.012244 | 0.082403 | -0.015386 | 0.008171 | 0 | 0 | 0 | -83.1175 | -83.1175 | -83.1175 | 1.0976 | 0.87234 | 0.96053 | 1.0976 | 0.87234 | 0.96053 | 2.0938 | -106.8583 | 86.0011 | 2.0276 | -106.7447 | 85.9244
Line_1 | 0 | 0 | 0 | 0.0023179 | 0.0023179 | 0.0023179 | 0 | 0 | 0 | 0.026765 | 0.026765 | 0.026765 | -2.5256e-09 | 9.2898e-10 | 3.187e-10 | -0.0034996 | -0.017586 | 0.021101 | 2.1905e-10 | 6.6464e-10 | -1.8146e-09 | -0.041202 | 0.0076931 | -0.0040855 | 0 | 0 | 0 | 96.8825 | 96.8825 | 96.8825 | 1.0976 | 0.87234 | 0.96053 | 1.0976 | 0.87234 | 0.96053 | 2.0143 | -106.7221 | 85.9091 | 2.0276 | -106.7447 | 85.9244
Line_2 | 0 | 0 | 0 | 0.0023179 | 0.0023179 | 0.0023179 | 0 | 0 | 0 | 0.026765 | 0.026765 | 0.026765 | -2.5256e-09 | 9.2898e-10 | 3.187e-10 | -0.0034996 | -0.017586 | 0.021101 | 2.1905e-10 | 6.6463e-10 | -1.8146e-09 | -0.041202 | 0.0076931 | -0.0040855 | 0 | 0 | 0 | 96.8825 | 96.8825 | 96.8825 | 1.0976 | 0.87234 | 0.96053 | 1.0976 | 0.87234 | 0.96053 | 2.0143 | -106.7221 | 85.9091 | 2.0276 | -106.7447 | 85.9244

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069515 | 0.0069515 | 0.0069515 | 0.0046358 | 0.0046358 | 0.0046358 | 0.080269 | 0.080269 | 0.080269 | 0.05353 | 0.05353 | 0.05353 | -0.010444 | -0.052575 | 0.063421 | 0.0069991 | 0.035172 | -0.042201 | -0.1235 | 0.023173 | -0.012244 | 0.082403 | -0.015386 | 0.008171 | 0 | 0 | 0 | -83.1175 | -83.1175 | -83.1175 | 1.0976 | 0.87234 | 0.96053 | 1.0976 | 0.87234 | 0.96053 | 2.0938 | -106.8583 | 86.0011 | 2.0276 | -106.7447 | 85.9244
Line_1 | 0 | 0 | 0 | 0.0023179 | 0.0023179 | 0.0023179 | 0 | 0 | 0 | 0.026765 | 0.026765 | 0.026765 | -2.5256e-09 | 9.2898e-10 | 3.187e-10 | -0.0034996 | -0.017586 | 0.021101 | 2.1905e-10 | 6.6464e-10 | -1.8146e-09 | -0.041202 | 0.0076931 | -0.0040855 | 0 | 0 | 0 | 96.8825 | 96.8825 | 96.8825 | 1.0976 | 0.87234 | 0.96053 | 1.0976 | 0.87234 | 0.96053 | 2.0143 | -106.7221 | 85.9091 | 2.0276 | -106.7447 | 85.9244
Line_2 | 0 | 0 | 0 | 0.0023179 | 0.0023179 | 0.0023179 | 0 | 0 | 0 | 0.026765 | 0.026765 | 0.026765 | -2.5256e-09 | 9.2898e-10 | 3.187e-10 | -0.0034996 | -0.017586 | 0.021101 | 2.1905e-10 | 6.6463e-10 | -1.8146e-09 | -0.041202 | 0.0076931 | -0.0040855 | 0 | 0 | 0 | 96.8825 | 96.8825 | 96.8825 | 1.0976 | 0.87234 | 0.96053 | 1.0976 | 0.87234 | 0.96053 | 2.0143 | -106.7221 | 85.9091 | 2.0276 | -106.7447 | 85.9244

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072653 | 0.0072653 | 0.0072653 | 0.0048451 | 0.0048451 | 0.0048451 | 0.083893 | 0.083893 | 0.083893 | 0.055946 | 0.055946 | 0.055946 | 0.00084308 | -7.9513e-14 | 8.5002e-14 | -0.0004788 | 0.00020816 | 0.00020816 | -0.12296 | 4.9679e-14 | 4.1655e-14 | 0.082043 | 4.3165e-05 | 4.3165e-05 | 0 | 0 | 0 | -90.4181 | -90.4181 | -90.4181 | 0.84625 | 0 | 0.84625 | 0.84625 | 0 | 0.84625 | 0.061852 | 0 | 0 | -0.083764 | -78.7031 | -78.7031
Line_1 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5912e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0625e-11 | 1.1033e-11 | 5.3639e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 0.84625 | 0 | 0.84625 | 0.84625 | 0 | 0.84625 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031
Line_2 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5913e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3639e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 0.84625 | 0 | 0.84625 | 0.84625 | 0 | 0.84625 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072653 | 0.0072653 | 0.0072653 | 0.0048451 | 0.0048451 | 0.0048451 | 0.083893 | 0.083893 | 0.083893 | 0.055946 | 0.055946 | 0.055946 | 0.00084308 | -7.9513e-14 | 8.5002e-14 | -0.0004788 | 0.00020816 | 0.00020816 | -0.12296 | 4.9679e-14 | 4.1655e-14 | 0.082043 | 4.3165e-05 | 4.3165e-05 | 0 | 0 | 0 | -90.4181 | -90.4181 | -90.4181 | 0.84625 | 0 | 0.84625 | 0.84625 | 0 | 0.84625 | 0.061852 | 0 | 0 | -0.083764 | -78.7031 | -78.7031
Line_1 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5912e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0625e-11 | 1.1033e-11 | 5.3639e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 0.84625 | 0 | 0.84625 | 0.84625 | 0 | 0.84625 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031
Line_2 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5913e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3639e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 0.84625 | 0 | 0.84625 | 0.84625 | 0 | 0.84625 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063139 | 0.0063139 | 0.0063139 | 0.0042106 | 0.0042106 | 0.0042106 | 0.072907 | 0.072907 | 0.072907 | 0.04862 | 0.04862 | 0.04862 | -0.0082775 | -0.042897 | 0.051812 | 0.0055739 | 0.028784 | -0.034405 | -0.10191 | 0.019125 | -0.01008 | 0.068004 | -0.012678 | 0.0067019 | 0 | 0 | 0 | -83.3538 | -83.3538 | -83.3538 | 0.99694 | 0.78485 | 0.86907 | 0.99694 | 0.78485 | 0.86907 | 2.0899 | -107.2957 | 85.7242 | 1.9604 | -107.1252 | 85.6232
Line_1 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7373e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 0.99694 | 0.78485 | 0.86907 | 0.99694 | 0.78485 | 0.86907 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232
Line_2 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7697e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7373e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 0.99694 | 0.78485 | 0.86907 | 0.99694 | 0.78485 | 0.86907 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063139 | 0.0063139 | 0.0063139 | 0.0042106 | 0.0042106 | 0.0042106 | 0.072907 | 0.072907 | 0.072907 | 0.04862 | 0.04862 | 0.04862 | -0.0082775 | -0.042897 | 0.051812 | 0.0055739 | 0.028784 | -0.034405 | -0.10191 | 0.019125 | -0.01008 | 0.068004 | -0.012678 | 0.0067019 | 0 | 0 | 0 | -83.3538 | -83.3538 | -83.3538 | 0.99694 | 0.78485 | 0.86907 | 0.99694 | 0.78485 | 0.86907 | 2.0899 | -107.2957 | 85.7242 | 1.9604 | -107.1252 | 85.6232
Line_1 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7373e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 0.99694 | 0.78485 | 0.86907 | 0.99694 | 0.78485 | 0.86907 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232
Line_2 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7697e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7373e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 0.99694 | 0.78485 | 0.86907 | 0.99694 | 0.78485 | 0.86907 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232