## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.39214 | 0.39214 | 0 | 0.5722 | 0.27168 | 0.27168 | 0.23596 | -1e-07 | 0.15942 | -1e-07 | -34.1631 | 145.8369 | 1.0482 | 0 | -0.11967 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.9237e-22 | 0 | 3.7174e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.9237e-22 | 0 | 3.7174e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.41078 | 0.41078 | 0 | 0.5994 | 0.28459 | 0.28459 | 0.25893 | -1e-07 | 0.17493 | -1e-07 | -34.1688 | 145.8312 | 1.098 | 0 | -0.12536 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 1.2628e-22 | 0 | 3.4029e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 1.2628e-22 | 0 | 3.4029e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.031577 | 0.031577 | 0 | 0.046076 | 0.021877 | 0.021877 | 0.016486 | -0.014956 | 0.01599 | -0.014956 | -44.1325 | 135.8675 | 1.0498 | 0.96684 | -0.0080847 | 0.86748
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | -8.8318e-10 | 0 | -1.6907e-10 | 0 | 0 | 0 | 0.96684 | 0.96684 | 0.86748 | 0.86748
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | -8.8318e-10 | 0 | -1.6907e-10 | 0 | 0 | 0 | 0.96684 | 0.96684 | 0.86748 | 0.86748

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.03308 | 0.03308 | 0 | 0.04827 | 0.022919 | 0.022919 | 0.018094 | -0.016414 | 0.017549 | -0.016414 | -44.1329 | 135.8671 | 1.0998 | 1.0129 | -0.0084696 | 0.86709
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | -9.6938e-10 | 0 | -1.8547e-10 | 0 | 0 | 0 | 1.0129 | 1.0129 | 0.86709 | 0.86709
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | -9.6938e-10 | 0 | -1.8547e-10 | 0 | 0 | 0 | 1.0129 | 1.0129 | 0.86709 | 0.86709

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.21057 | 0.21057 | 0 | 0.3038 | 0.14589 | 0.14589 | 0.13063 | -1e-07 | 0.045967 | -1e-07 | -19.4806 | 160.5194 | 0.94926 | 0 | -0.094619 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 6.613e-23 | 0 | 1.7615e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 6.613e-23 | 0 | 1.7615e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.19949 | 0.19949 | 0 | 0.28783 | 0.13821 | 0.13821 | 0.11725 | -1e-07 | 0.041259 | -1e-07 | -19.4756 | 160.5244 | 0.89934 | 0 | -0.089643 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 7.2542e-23 | 0 | 1.5924e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 7.2542e-23 | 0 | 1.5924e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.027342 | 0.027342 | 0 | 0.039449 | 0.018943 | 0.018943 | 0.013417 | -0.011214 | 0.011989 | -0.011214 | -41.7931 | 138.2069 | 0.94983 | 0.83719 | -0.0091668 | 3.2069
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.0252e-09 | 0 | -4.8942e-10 | 0 | 0 | 0 | 0.83719 | 0.83719 | 3.2069 | 3.2069
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.0252e-09 | 0 | -4.8942e-10 | 0 | 0 | 0 | 0.83719 | 0.83719 | 3.2069 | 3.2069

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.025904 | 0.025904 | 0 | 0.037373 | 0.017947 | 0.017947 | 0.012042 | -0.010065 | 0.010761 | -0.010065 | -41.7926 | 138.2074 | 0.89985 | 0.79313 | -0.0086845 | 3.2074
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | -9.2006e-10 | 0 | -4.3932e-10 | 0 | 0 | 0 | 0.79313 | 0.79313 | 3.2074 | 3.2074
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | -9.2006e-10 | 0 | -4.3932e-10 | 0 | 0 | 0 | 0.79313 | 0.79313 | 3.2074 | 3.2074

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.3396 | 0.3396 | 0 | 0.3396 | 0.3396 | 0 | 0.078428 | 0.078428 | 0 | 0.078428 | 0.078428 | -2.4286e-18 | 0.082112 | 0.035869 | 4.8572e-18 | -0.023122 | 0.023122 | -1.4572e-17 | 0.0057854 | 0.073924 | 1.4572e-17 | 0.03407 | -0.03407 | 0 | -124.1631 | 55.8369 | 0 | 55.8369 | -124.1631 | 1.05 | 1.0496 | 1.0477 | 1.05 | 0.525 | 0.525 | 1.1811e-15 | -120.1329 | 119.9535 | 2.5395e-14 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4286e-18 | -4.1286e-17 | 4.3715e-17 | 2.4286e-18 | 1.4912e-16 | 6.776e-17 | -1.0764e-33 | 1.7505e-09 | -1.7505e-09 | 2.4286e-18 | -1.7505e-09 | 1.7505e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.525 | 0.525 | 1.05 | 0.525 | 0.525 | 2.5395e-14 | -180 | 180 | 8.2439e-15 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4286e-18 | -2.7929e-17 | 2.4286e-17 | 2.4286e-18 | 9.0685e-17 | 3.4827e-17 | -1.0764e-33 | 1.7505e-09 | -1.7505e-09 | 9.8542e-34 | -1.7505e-09 | 1.7505e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.525 | 0.525 | 1.05 | 0.525 | 0.525 | 2.5395e-14 | -180 | 180 | 2.3248e-14 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.35574 | 0.35574 | 0 | 0.35574 | 0.35574 | 0 | 0.082155 | 0.082155 | 0 | 0.082155 | 0.082155 | -1.2721e-17 | 0.09011 | 0.039354 | 1.2721e-17 | -0.025378 | 0.025378 | 2.5443e-18 | 0.0063478 | 0.08112 | -2.5443e-18 | 0.037386 | -0.037386 | 0 | -124.1688 | 55.8312 | 0 | 55.8312 | -124.1688 | 1.1 | 1.0995 | 1.0975 | 1.1 | 0.55 | 0.55 | 1.2731e-15 | -120.1392 | 119.9513 | 2.9373e-15 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5443e-18 | -5.0885e-17 | 5.0885e-17 | 2.5443e-18 | 1.6663e-16 | 6.8673e-17 | -1.0177e-17 | 1.9211e-09 | -1.9211e-09 | 1.0177e-17 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.9373e-15 | -180 | 180 | -7.8158e-15 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0885e-18 | -3.0531e-17 | 2.0354e-17 | -7.1044e-35 | 1.0837e-16 | 4.4766e-17 | -5.0885e-18 | 1.9211e-09 | -1.9211e-09 | 5.0885e-18 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.9373e-15 | -180 | 180 | 7.9995e-16 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.050669 | 0.050669 | 0 | 0.050669 | 0.050669 | 0 | 0.011702 | 0.011702 | 0 | 0.011702 | 0.011702 | 6.0715e-19 | 0.011952 | 0.0035113 | -6.0715e-19 | -0.010639 | -0.0021981 | -1.5179e-18 | 0.0028416 | 0.01177 | 1.5179e-18 | -0.0019543 | -0.010883 | 0 | -133.3925 | 46.6075 | 0 | 46.6075 | -133.3925 | 1.05 | 1.0499 | 1.0496 | 1.05 | 0.9244 | 0.94879 | 2.0679e-16 | -120.019 | 119.9962 | -4.1022e-15 | -122.9835 | 125.1886
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0715e-19 | -4.209e-10 | -3.3712e-10 | -6.0715e-19 | 4.209e-10 | 3.3712e-10 | -9.1073e-19 | 1.8524e-10 | -3.3035e-10 | 9.1073e-19 | -1.8524e-10 | 3.3035e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.9244 | 0.94879 | 1.05 | 0.9244 | 0.94879 | -4.1022e-15 | -122.9835 | 125.1886 | -6.3543e-15 | -122.9835 | 125.1886
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0715e-19 | -4.209e-10 | -3.3712e-10 | 6.0715e-19 | 4.209e-10 | 3.3712e-10 | -6.0715e-19 | 1.8524e-10 | -3.3035e-10 | 6.0715e-19 | -1.8524e-10 | 3.3035e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.9244 | 0.94879 | 1.05 | 0.9244 | 0.94879 | -4.1022e-15 | -122.9835 | 125.1886 | -4.8719e-15 | -122.9835 | 125.1886

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.053082 | 0.053082 | 0 | 0.053082 | 0.053082 | 0 | 0.012259 | 0.012259 | 0 | 0.012259 | 0.012259 | 6.3607e-19 | 0.013117 | 0.0038534 | -6.3607e-19 | -0.011676 | -0.0024122 | -6.3607e-19 | 0.0031185 | 0.012917 | 6.3607e-19 | -0.0021448 | -0.011943 | 0 | -133.3932 | 46.6068 | 0 | 46.6068 | -133.3932 | 1.1 | 1.0999 | 1.0996 | 1.1 | 0.96841 | 0.99396 | 2.1969e-16 | -120.0199 | 119.996 | 1.3665e-15 | -122.9844 | 125.1885
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.5852e-36 | -4.6195e-10 | -3.7005e-10 | 0 | 4.6195e-10 | 3.7005e-10 | 3.1803e-19 | 2.0336e-10 | -3.6254e-10 | 0 | -2.0336e-10 | 3.6254e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.96841 | 0.99396 | 1.1 | 0.96841 | 0.99396 | 1.3665e-15 | -122.9844 | 125.1885 | 5.7155e-16 | -122.9844 | 125.1885
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.3607e-19 | -4.6195e-10 | -3.7005e-10 | -6.3607e-19 | 4.6195e-10 | 3.7005e-10 | 6.3607e-19 | 2.0336e-10 | -3.6254e-10 | -6.6816e-36 | -2.0336e-10 | 3.6254e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.96841 | 0.99396 | 1.1 | 0.96841 | 0.99396 | 1.3665e-15 | -122.9844 | 125.1885 | 6.0187e-16 | -122.9844 | 125.1885

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.18236 | 0.18236 | 0 | 0.18236 | 0.18236 | 0 | 0.042113 | 0.042113 | 0 | 0.042113 | 0.042113 | -2.7466e-18 | 0.039329 | 0.025987 | 2.7466e-18 | -0.0066711 | 0.0066711 | -2.1973e-18 | -0.007367 | 0.030351 | 2.1973e-18 | 0.018859 | -0.018859 | 0 | -109.4806 | 70.5194 | 0 | 70.5194 | -109.4806 | 0.95 | 0.95013 | 0.94877 | 0.95 | 0.475 | 0.475 | 5.3018e-16 | -120.0902 | 119.9483 | 1.3903e-14 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4882e-17 | 3.296e-17 | 0 | 2.0108e-16 | 1.3516e-16 | 0 | 1.4329e-09 | -1.4329e-09 | 0 | -1.4329e-09 | 1.4329e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.475 | 0.475 | 0.95 | 0.475 | 0.475 | 1.3903e-14 | -180 | 180 | 9.0259e-15 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.332e-34 | -2.0875e-17 | 1.648e-17 | 0 | 1.2361e-16 | 8.0767e-17 | 2.1973e-18 | 1.4329e-09 | -1.4329e-09 | 0 | -1.4329e-09 | 1.4329e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.475 | 0.475 | 0.95 | 0.475 | 0.475 | 1.3903e-14 | -180 | 180 | 2.013e-14 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.17277 | 0.17277 | 0 | 0.17277 | 0.17277 | 0 | 0.039899 | 0.039899 | 0 | 0.039899 | 0.039899 | 1.0408e-18 | 0.035299 | 0.023327 | -1.0408e-18 | -0.0059861 | 0.0059861 | -8.3267e-18 | -0.0066123 | 0.027242 | 8.3267e-18 | 0.016927 | -0.016927 | 0 | -109.4756 | 70.5244 | 0 | 70.5244 | -109.4756 | 0.9 | 0.90011 | 0.89889 | 0.9 | 0.45 | 0.45 | 5.0661e-16 | -120.0854 | 119.951 | -3.5783e-14 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6001e-33 | -3.1225e-17 | 3.0184e-17 | 5.1067e-33 | 1.8136e-16 | 1.2073e-16 | -4.1633e-18 | 1.286e-09 | -1.286e-09 | 4.1633e-18 | -1.286e-09 | 1.286e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.45 | 0.45 | 0.9 | 0.45 | 0.45 | -3.5783e-14 | -180 | 180 | -7.0278e-14 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0408e-18 | -1.8735e-17 | 1.9776e-17 | 1.0408e-18 | 1.0793e-16 | 7.1503e-17 | -2.0817e-18 | 1.286e-09 | -1.286e-09 | 2.0817e-18 | -1.286e-09 | 1.286e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.45 | 0.45 | 0.9 | 0.45 | 0.45 | -3.5783e-14 | -180 | 180 | -2.9596e-14 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.042239 | 0.042239 | 0 | 0.042239 | 0.042239 | 0 | 0.0097546 | 0.0097546 | 0 | 0.0097546 | 0.0097546 | -5.4933e-19 | 0.0091454 | 0.0032793 | 5.4933e-19 | -0.0073933 | -0.0015272 | -2.7466e-19 | 0.0014899 | 0.0086637 | 2.7466e-19 | -0.00087334 | -0.0080472 | 0 | -129.273 | 50.727 | 0 | 50.727 | -129.273 | 0.95 | 0.94991 | 0.94966 | 0.95 | 0.7632 | 0.83969 | 2.0421e-16 | -120.0202 | 119.9946 | 3.3522e-15 | -122.5361 | 129.981
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2399e-19 | -5.2014e-10 | -2.9537e-10 | 5.4933e-19 | 5.2014e-10 | 2.9537e-10 | -2.7466e-19 | 1.1764e-10 | -5.0695e-10 | 2.7466e-19 | -1.1764e-10 | 5.0695e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.7632 | 0.83969 | 0.95 | 0.7632 | 0.83969 | 3.3522e-15 | -122.5361 | 129.981 | 2.5815e-15 | -122.5361 | 129.981
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4933e-19 | -5.2014e-10 | -2.9537e-10 | 5.4933e-19 | 5.2014e-10 | 2.9537e-10 | 1.0987e-18 | 1.1764e-10 | -5.0695e-10 | -5.4933e-19 | -1.1764e-10 | 5.0695e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.7632 | 0.83969 | 0.95 | 0.7632 | 0.83969 | 3.3522e-15 | -122.5361 | 129.981 | 4.6962e-15 | -122.5361 | 129.981

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.040016 | 0.040016 | 0 | 0.040016 | 0.040016 | 0 | 0.0092413 | 0.0092413 | 0 | 0.0092413 | 0.0092413 | -7.8063e-19 | 0.0082082 | 0.0029434 | 7.8063e-19 | -0.0066356 | -0.0013708 | -7.8063e-19 | 0.0013372 | 0.007776 | 7.8063e-19 | -0.00078386 | -0.0072226 | 0 | -129.2721 | 50.7279 | 0 | 50.7279 | -129.2721 | 0.9 | 0.89992 | 0.8997 | 0.9 | 0.72303 | 0.79551 | 1.9741e-16 | -120.0192 | 119.9949 | -3.4197e-15 | -122.5351 | 129.9812
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6021e-19 | -4.6683e-10 | -2.6506e-10 | 2.6021e-19 | 4.6683e-10 | 2.6506e-10 | -1.0408e-18 | 1.0553e-10 | -4.5501e-10 | 7.8063e-19 | -1.0553e-10 | 4.5501e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.72303 | 0.79551 | 0.9 | 0.72303 | 0.79551 | -3.4197e-15 | -122.5351 | 129.9812 | -8.1505e-15 | -122.5351 | 129.9812
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1061e-35 | -4.6683e-10 | -2.6506e-10 | 5.2042e-19 | 4.6683e-10 | 2.6506e-10 | 5.2042e-19 | 1.0553e-10 | -4.5501e-10 | -5.2042e-19 | -1.0553e-10 | 4.5501e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.72303 | 0.79551 | 0.9 | 0.72303 | 0.79551 | -3.4197e-15 | -122.5351 | 129.9812 | -2.0847e-15 | -122.5351 | 129.9812

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.196 | 0.00035993 | 0.00035993 | 0.19597 | 0.0003132 | 0.0003132 | 0.045263 | 8.3122e-05 | 8.3122e-05 | 0.045257 | 7.2331e-05 | 7.2331e-05 | 0.039391 | 7.5701e-05 | -7.5467e-05 | -5.238e-18 | -6.5827e-05 | 6.5717e-05 | 0.026517 | -4.3436e-05 | -4.3842e-05 | 1.5714e-15 | 7.5813e-05 | 7.6188e-05 | -34.0073 | -90.1538 | -90.1538 | 146.004 | 89.8369 | 89.8369 |  | 1.0491 | 1.05 | 1.05 | 0 | 1.3881 | 1.391 | -0.059897 | -120.0001 | 120.0001 | 0 | -139.196 | 139.0572
Line_1_3-2ph | 0.00019578 | 0.00019578 | 0.00019578 | 0 | 0 | 0 | 4.5213e-05 | 4.5213e-05 | 4.5213e-05 | 0 | 0 | 0 | 1.3071e-18 | 4.1156e-05 | -4.1071e-05 | -3.0929e-12 | -2.0188e-09 | -2.0416e-09 | -8.6943e-19 | -4.7383e-05 | -4.7631e-05 | 4.6083e-12 | -1.7622e-09 | 1.749e-09 | -90.1751 | -90.1727 | -90.1727 | 0 | 0 | 0 |  | 0 | 1.3881 | 1.391 | 0.0014404 | 1.3879 | 1.3924 | 0 | -139.196 | 139.0572 | 123.8031 | -139.255 | 139.0416
Line_2_3-2ph | 0.00011742 | 0.00011742 | 0.00011742 | 0 | 0 | 0 | 2.7118e-05 | 2.7118e-05 | 2.7118e-05 | 0 | 0 | 0 | 7.8372e-19 | 2.467e-05 | -2.4648e-05 | -1.1126e-12 | -2.0183e-09 | -2.0361e-09 | -5.2185e-19 | -2.8432e-05 | -2.8555e-05 | 1.6566e-12 | -1.759e-09 | 1.7488e-09 | -90.1471 | -90.143 | -90.143 | 0 | 0 | 0 |  | 0 | 1.3881 | 1.391 | 0.00051818 | 1.3881 | 1.3915 | 0 | -139.196 | 139.0572 | 123.8609 | -139.2172 | 139.0516

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.20532 | 0.00037706 | 0.00037706 | 0.20529 | 0.00032811 | 0.00032811 | 0.047417 | 8.7078e-05 | 8.7078e-05 | 0.04741 | 7.5773e-05 | 7.5773e-05 | 0.043229 | 8.3082e-05 | -8.2823e-05 | 8.4625e-17 | -7.2244e-05 | 7.2123e-05 | 0.0291 | -4.7669e-05 | -4.8117e-05 | 1.7195e-15 | 8.3201e-05 | 8.3615e-05 | -34.0102 | -90.155 | -90.155 | 146.0012 | 89.8355 | 89.8355 |  | 1.099 | 1.1 | 1.1 | 0 | 1.4542 | 1.4573 | -0.062747 | -120.0001 | 120.0001 | 0 | -139.1962 | 139.0558
Line_1_3-2ph | 0.0002051 | 0.0002051 | 0.0002051 | 0 | 0 | 0 | 4.7365e-05 | 4.7365e-05 | 4.7365e-05 | 0 | 0 | 0 | 1.3801e-18 | 4.5168e-05 | -4.5074e-05 | -3.3943e-12 | -2.2154e-09 | -2.2406e-09 | -1.0264e-18 | -5.2e-05 | -5.2274e-05 | 5.0576e-12 | -1.934e-09 | 1.9194e-09 | -90.1765 | -90.1741 | -90.1741 | 0 | 0 | 0 |  | 0 | 1.4542 | 1.4573 | 0.001509 | 1.454 | 1.4587 | 0 | -139.1962 | 139.0558 | 123.8017 | -139.2552 | 139.0402
Line_2_3-2ph | 0.00012301 | 0.00012301 | 0.00012301 | 0 | 0 | 0 | 2.8409e-05 | 2.8409e-05 | 2.8409e-05 | 0 | 0 | 0 | 8.2745e-19 | 2.7074e-05 | -2.7051e-05 | -1.221e-12 | -2.2149e-09 | -2.2345e-09 | -6.1604e-19 | -3.1203e-05 | -3.1339e-05 | 1.8182e-12 | -1.9305e-09 | 1.9191e-09 | -90.1485 | -90.1444 | -90.1444 | 0 | 0 | 0 |  | 0 | 1.4542 | 1.4573 | 0.00054285 | 1.4541 | 1.4578 | 0 | -139.1962 | 139.0558 | 123.8594 | -139.2174 | 139.0502

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.029281 | 5.3772e-05 | 5.3772e-05 | 0.029277 | 4.6791e-05 | 4.6791e-05 | 0.0067621 | 1.2418e-05 | 1.2418e-05 | 0.0067612 | 1.0806e-05 | 1.0806e-05 | 0.0051551 | 1.222e-05 | -1.0048e-05 | -0.0042762 | -1.0633e-05 | 8.7438e-06 | 0.0048809 | -4.5474e-06 | -8.3093e-06 | -0.0042876 | 4.8041e-06 | 8.0807e-06 | -43.4422 | -99.5886 | -99.5886 | 136.5691 | 80.4021 | 80.4021 |  | 1.0498 | 1.05 | 1.05 | 0.89563 | 1.0798 | 1.1018 | -0.0076033 | -120 | 120 | 1.6453 | -123.9113 | 123.1451
Line_1_3-2ph | 2.9248e-05 | 2.9248e-05 | 2.9248e-05 | 0 | 0 | 0 | 6.7546e-06 | 6.7546e-06 | 6.7546e-06 | 0 | 0 | 0 | -1.1808e-06 | 6.6472e-06 | -5.4648e-06 | 5.0574e-10 | -1.2723e-10 | -2.1658e-10 | 5.9333e-06 | -3.0018e-06 | -5.0521e-06 | 9.9755e-11 | -2.8424e-10 | 2.3266e-10 | -99.61 | -99.6075 | -99.6075 | 0 | 0 | 0 |  | 0.89563 | 1.0798 | 1.1018 | 0.89554 | 1.0797 | 1.102 | 1.6453 | -123.9113 | 123.1451 | 1.658 | -123.921 | 123.1434
Line_2_3-2ph | 1.7543e-05 | 1.7543e-05 | 1.7543e-05 | 0 | 0 | 0 | 4.0513e-06 | 4.0513e-06 | 4.0513e-06 | 0 | 0 | 0 | -7.0646e-07 | 3.9859e-06 | -3.2792e-06 | 5.0561e-10 | -1.2749e-10 | -2.1601e-10 | 3.559e-06 | -1.8025e-06 | -3.0284e-06 | 9.9272e-11 | -2.8381e-10 | 2.3271e-10 | -99.5819 | -99.5779 | -99.5779 | 0 | 0 | 0 |  | 0.89563 | 1.0798 | 1.1018 | 0.8956 | 1.0798 | 1.1019 | 1.6453 | -123.9113 | 123.1451 | 1.6498 | -123.9148 | 123.1445

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.030675 | 5.6333e-05 | 5.6333e-05 | 0.030671 | 4.902e-05 | 4.902e-05 | 0.0070841 | 1.301e-05 | 1.301e-05 | 0.0070832 | 1.1321e-05 | 1.1321e-05 | 0.0056577 | 1.3412e-05 | -1.1028e-05 | -0.0046931 | -1.167e-05 | 9.5967e-06 | 0.0053567 | -4.9912e-06 | -9.1194e-06 | -0.0047056 | 5.2728e-06 | 8.8686e-06 | -43.4426 | -99.5874 | -99.5874 | 136.5688 | 80.4031 | 80.4031 |  | 1.0998 | 1.1 | 1.1 | 0.93827 | 1.1312 | 1.1543 | -0.0079653 | -120 | 120 | 1.6449 | -123.9113 | 123.1451
Line_1_3-2ph | 3.0642e-05 | 3.0642e-05 | 3.0642e-05 | 0 | 0 | 0 | 7.0764e-06 | 7.0764e-06 | 7.0764e-06 | 0 | 0 | 0 | -1.2957e-06 | 7.2954e-06 | -5.9978e-06 | 5.5507e-10 | -1.3963e-10 | -2.377e-10 | 6.5119e-06 | -3.2947e-06 | -5.5446e-06 | 1.0946e-10 | -3.1196e-10 | 2.5534e-10 | -99.6089 | -99.6065 | -99.6065 | 0 | 0 | 0 |  | 0.93827 | 1.1312 | 1.1543 | 0.93818 | 1.1311 | 1.1545 | 1.6449 | -123.9113 | 123.1451 | 1.6576 | -123.921 | 123.1434
Line_2_3-2ph | 1.8378e-05 | 1.8378e-05 | 1.8378e-05 | 0 | 0 | 0 | 4.2443e-06 | 4.2443e-06 | 4.2443e-06 | 0 | 0 | 0 | -7.7525e-07 | 4.3746e-06 | -3.5991e-06 | 5.5493e-10 | -1.3992e-10 | -2.3707e-10 | 3.9061e-06 | -1.9784e-06 | -3.3237e-06 | 1.0893e-10 | -3.1148e-10 | 2.554e-10 | -99.5809 | -99.5768 | -99.5768 | 0 | 0 | 0 |  | 0.93827 | 1.1312 | 1.1543 | 0.93824 | 1.1312 | 1.1544 | 1.6449 | -123.9113 | 123.1451 | 1.6495 | -123.9148 | 123.1445

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.10519 | 0.00032572 | 0.00032572 | 0.10517 | 0.00028345 | 0.00028345 | 0.024292 | 7.5223e-05 | 7.5223e-05 | 0.024289 | 6.546e-05 | 6.546e-05 | 0.021784 | 6.2047e-05 | -6.1727e-05 | 8.5912e-18 | -5.3937e-05 | 5.3772e-05 | 0.0075913 | -3.5453e-05 | -3.6008e-05 | 4.0095e-16 | 6.1994e-05 | 6.2501e-05 | -19.2599 | -90.2567 | -90.2567 | 160.7619 | 89.7304 | 89.7304 |  | 0.94963 | 0.95 | 0.95 | 0 | 1.2553 | 1.2595 | -0.047333 | -120.0001 | 120.0001 | 0 | -139.2451 | 139.0234
Line_1_3-2ph | 0.00017718 | 0.00017718 | 0.00017718 | 0 | 0 | 0 | 4.0918e-05 | 4.0918e-05 | 4.0918e-05 | 0 | 0 | 0 | 6.3417e-19 | 3.3729e-05 | -3.3598e-05 | -2.5099e-12 | -1.6473e-09 | -1.6792e-09 | -2.3299e-19 | -3.8739e-05 | -3.908e-05 | 7.2426e-12 | -1.4471e-09 | 1.4286e-09 | -90.2925 | -90.29 | -90.29 | 0 | 0 | 0 |  | 0 | 1.2553 | 1.2595 | 0.0021989 | 1.2545 | 1.2614 | 0 | -139.2451 | 139.0234 | 108.988 | -139.3383 | 138.9734
Line_2_3-2ph | 0.00010627 | 0.00010627 | 0.00010627 | 0 | 0 | 0 | 2.4542e-05 | 2.4542e-05 | 2.4542e-05 | 0 | 0 | 0 | 3.8022e-19 | 2.0206e-05 | -2.0176e-05 | -9.0405e-13 | -1.6488e-09 | -1.6728e-09 | -1.4012e-19 | -2.3256e-05 | -2.3419e-05 | 2.6036e-12 | -1.4434e-09 | 1.4296e-09 | -90.2356 | -90.2316 | -90.2316 | 0 | 0 | 0 |  | 0 | 1.2553 | 1.2595 | 0.00079101 | 1.255 | 1.2602 | 0 | -139.2451 | 139.0234 | 109.1033 | -139.2786 | 139.0055

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.099654 | 0.00030858 | 0.00030858 | 0.099641 | 0.00026853 | 0.00026853 | 0.023014 | 7.1264e-05 | 7.1264e-05 | 0.023011 | 6.2015e-05 | 6.2015e-05 | 0.019552 | 5.5688e-05 | -5.5402e-05 | -1.3731e-17 | -4.8409e-05 | 4.8261e-05 | 0.0068135 | -3.1821e-05 | -3.2317e-05 | 3.9606e-16 | 5.5642e-05 | 5.6095e-05 | -19.2574 | -90.2556 | -90.2556 | 160.7644 | 89.7316 | 89.7316 |  | 0.89967 | 0.9 | 0.9 | 0 | 1.1893 | 1.1932 | -0.044843 | -120.0001 | 120.0001 | 0 | -139.2446 | 139.0244
Line_1_3-2ph | 0.00016786 | 0.00016786 | 0.00016786 | 0 | 0 | 0 | 3.8765e-05 | 3.8765e-05 | 3.8765e-05 | 0 | 0 | 0 | 6.3857e-19 | 3.0272e-05 | -3.0155e-05 | -2.2528e-12 | -1.4785e-09 | -1.5071e-09 | -1.9473e-19 | -3.477e-05 | -3.5075e-05 | 6.5003e-12 | -1.2987e-09 | 1.2823e-09 | -90.2912 | -90.2888 | -90.2888 | 0 | 0 | 0 |  | 0 | 1.1893 | 1.1932 | 0.0020831 | 1.1885 | 1.195 | 0 | -139.2446 | 139.0244 | 108.9893 | -139.3379 | 138.9744
Line_2_3-2ph | 0.00010068 | 0.00010068 | 0.00010068 | 0 | 0 | 0 | 2.325e-05 | 2.325e-05 | 2.325e-05 | 0 | 0 | 0 | 3.8289e-19 | 1.8135e-05 | -1.8108e-05 | -8.1145e-13 | -1.48e-09 | -1.5013e-09 | -1.1717e-19 | -2.0873e-05 | -2.1019e-05 | 2.3368e-12 | -1.2954e-09 | 1.2831e-09 | -90.2344 | -90.2303 | -90.2303 | 0 | 0 | 0 |  | 0 | 1.1893 | 1.1932 | 0.00074938 | 1.189 | 1.1939 | 0 | -139.2446 | 139.0244 | 109.1046 | -139.2782 | 139.0065

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.024414 | 7.56e-05 | 7.56e-05 | 0.024411 | 6.5788e-05 | 6.5788e-05 | 0.0056381 | 1.7459e-05 | 1.7459e-05 | 0.0056374 | 1.5193e-05 | 1.5193e-05 | 0.0041419 | 1.6351e-05 | -1.0585e-05 | -0.0029692 | -1.4226e-05 | 9.2119e-06 | 0.0033949 | -2.7819e-06 | -1.277e-05 | -0.0029844 | 4.0959e-06 | 1.2793e-05 | -39.3475 | -110.3444 | -110.3444 | 140.6742 | 69.6427 | 69.6427 |  | 0.94986 | 0.95 | 0.95 | 0.74677 | 0.97439 | 1.0376 | -0.0085585 | -120 | 120 | 5.8204 | -126.4193 | 123.885
Line_1_3-2ph | 4.1123e-05 | 4.1123e-05 | 4.1123e-05 | 0 | 0 | 0 | 9.497e-06 | 9.4969e-06 | 9.4969e-06 | 0 | 0 | 0 | -3.1312e-06 | 8.8934e-06 | -5.7554e-06 | 5.4276e-10 | -1.07e-10 | -3.432e-10 | 6.3634e-06 | -2.5571e-06 | -7.9985e-06 | 2.6557e-10 | -3.8033e-10 | 2.4396e-10 | -110.3801 | -110.3777 | -110.3777 | 0 | 0 | 0 |  | 0.74677 | 0.97439 | 1.0376 | 0.74683 | 0.97397 | 1.038 | 5.8204 | -126.4193 | 123.885 | 5.8593 | -126.4366 | 123.8688
Line_2_3-2ph | 2.4665e-05 | 2.4665e-05 | 2.4665e-05 | 0 | 0 | 0 | 5.6961e-06 | 5.6961e-06 | 5.6961e-06 | 0 | 0 | 0 | -1.8743e-06 | 5.3325e-06 | -3.4569e-06 | 5.4296e-10 | -1.079e-10 | -3.4214e-10 | 3.8185e-06 | -1.5392e-06 | -4.7938e-06 | 2.6443e-10 | -3.7978e-10 | 2.4455e-10 | -110.3233 | -110.3193 | -110.3193 | 0 | 0 | 0 |  | 0.74677 | 0.97439 | 1.0376 | 0.74679 | 0.97424 | 1.0377 | 5.8204 | -126.4193 | 123.885 | 5.8344 | -126.4255 | 123.8792

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.023129 | 7.1621e-05 | 7.1621e-05 | 0.023126 | 6.2325e-05 | 6.2325e-05 | 0.0053414 | 1.654e-05 | 1.654e-05 | 0.0053407 | 1.4393e-05 | 1.4393e-05 | 0.0037175 | 1.4675e-05 | -9.4997e-06 | -0.0026649 | -1.2768e-05 | 8.2676e-06 | 0.003047 | -2.4965e-06 | -1.1461e-05 | -0.0026786 | 3.6759e-06 | 1.1481e-05 | -39.3471 | -110.3454 | -110.3454 | 140.6747 | 69.6419 | 69.6419 |  | 0.89987 | 0.9 | 0.9 | 0.70747 | 0.92311 | 0.98298 | -0.0081081 | -120 | 120 | 5.8208 | -126.4193 | 123.885
Line_1_3-2ph | 3.8959e-05 | 3.8959e-05 | 3.8959e-05 | 0 | 0 | 0 | 8.9971e-06 | 8.9971e-06 | 8.9971e-06 | 0 | 0 | 0 | -2.8104e-06 | 7.9819e-06 | -5.1654e-06 | 4.8712e-10 | -9.6033e-11 | -3.0802e-10 | 5.7111e-06 | -2.2949e-06 | -7.1787e-06 | 2.3837e-10 | -3.4135e-10 | 2.1896e-10 | -110.3809 | -110.3785 | -110.3785 | 0 | 0 | 0 |  | 0.70747 | 0.92311 | 0.98298 | 0.70753 | 0.92271 | 0.98338 | 5.8208 | -126.4193 | 123.885 | 5.8597 | -126.4367 | 123.8689
Line_2_3-2ph | 2.3367e-05 | 2.3367e-05 | 2.3367e-05 | 0 | 0 | 0 | 5.3963e-06 | 5.3963e-06 | 5.3963e-06 | 0 | 0 | 0 | -1.6823e-06 | 4.786e-06 | -3.1025e-06 | 4.873e-10 | -9.6849e-11 | -3.0707e-10 | 3.4271e-06 | -1.3813e-06 | -4.3025e-06 | 2.3735e-10 | -3.4086e-10 | 2.1949e-10 | -110.3241 | -110.3201 | -110.3201 | 0 | 0 | 0 |  | 0.70747 | 0.92311 | 0.98298 | 0.70749 | 0.92296 | 0.98312 | 5.8208 | -126.4193 | 123.885 | 5.8348 | -126.4256 | 123.8792

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00023984 | 0.346 | 0.34567 | 0.0002087 | 0.34602 | 0.34564 | 5.5388e-05 | 0.079906 | 0.079829 | 4.8198e-05 | 0.079911 | 0.079822 | 7.3927e-08 | 0.081002 | 0.050117 | -4.9132e-08 | -1.4625e-15 | -4.1683e-15 | -5.8158e-05 | 0.02159 | 0.066972 | 6.7493e-05 | 9.0838e-16 | 1.3717e-16 | 89.9272 | -135.053 | 66.7375 | -90.0821 | 44.9506 | -113.2645 |  | 1.05 | 1.0491 | 1.0478 | 1.4003 | 0 | 0 | -9.5937e-06 | -120.1285 | 119.9291 | -0.040432 | 0 | 0
Line_1_3-2ph | 0.00013046 | 0.00013047 | 0.00013044 | 0 | 0 | 0 | 3.0128e-05 | 3.0131e-05 | 3.0124e-05 | 0 | 0 | 0 | 3.7774e-08 | -1.4822e-19 | 1.4258e-18 | -1.8022e-09 | 1.6233e-12 | -3.6902e-12 | -4.2189e-05 | 6.3201e-19 | -6.6659e-19 | -6.8722e-12 | 3.3183e-12 | -2.5033e-13 | 89.9083 | 89.9071 | 89.907 | 0 | 0 | 0 |  | 1.4003 | 0 | 0 | 1.4009 | 0.00095989 | 0.00095981 | -0.040432 | 0 | 0 | -0.073007 | -56.1155 | -56.1156
Line_2_3-2ph | 7.8246e-05 | 7.826e-05 | 7.8231e-05 | 0 | 0 | 0 | 1.807e-05 | 1.8073e-05 | 1.8067e-05 | 0 | 0 | 0 | 9.5588e-09 | -8.8712e-20 | 8.5492e-19 | -1.8e-09 | 5.8356e-13 | -1.3266e-12 | -2.5304e-05 | 3.7914e-19 | -4.0021e-19 | -4.9073e-12 | 1.1943e-12 | -9.1396e-14 | 89.9379 | 89.9359 | 89.9359 | 0 | 0 | 0 |  | 1.4003 | 0 | 0 | 1.4005 | 0.00034532 | 0.00034527 | -0.040432 | 0 | 0 | -0.052145 | -56.0575 | -56.0575

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00025126 | 0.36245 | 0.36209 | 0.00021864 | 0.36248 | 0.36206 | 5.8026e-05 | 0.083705 | 0.083622 | 5.0493e-05 | 0.083711 | 0.083615 | 8.1458e-08 | 0.088891 | 0.054991 | -5.3921e-08 | 1.3157e-16 | -2.5299e-15 | -6.3828e-05 | 0.023693 | 0.07349 | 7.4073e-05 | -1.4445e-16 | 4.7835e-16 | 89.9269 | -135.0592 | 66.7326 | -90.0826 | 44.9445 | -113.2695 |  | 1.1 | 1.099 | 1.0976 | 1.467 | 0 | 0 | -1.0051e-05 | -120.1346 | 119.9258 | -0.040907 | 0 | 0
Line_1_3-2ph | 0.00013667 | 0.00013668 | 0.00013665 | 0 | 0 | 0 | 3.1562e-05 | 3.1566e-05 | 3.1559e-05 | 0 | 0 | 0 | 4.1457e-08 | -3.3845e-21 | 8.0674e-19 | -1.9779e-09 | 1.7817e-12 | -4.0499e-12 | -4.6302e-05 | -7.36e-20 | -5.4176e-19 | -7.5914e-12 | 3.6418e-12 | -2.7471e-13 | 89.9078 | 89.9066 | 89.9066 | 0 | 0 | 0 |  | 1.467 | 0 | 0 | 1.4676 | 0.0010056 | 0.0010055 | -0.040907 | 0 | 0 | -0.073482 | -56.116 | -56.116
Line_2_3-2ph | 8.1971e-05 | 8.1986e-05 | 8.1956e-05 | 0 | 0 | 0 | 1.893e-05 | 1.8934e-05 | 1.8927e-05 | 0 | 0 | 0 | 1.0491e-08 | -2.0523e-21 | 4.8367e-19 | -1.9755e-09 | 6.4047e-13 | -1.4559e-12 | -2.7771e-05 | -4.4146e-20 | -3.2516e-19 | -5.4348e-12 | 1.3108e-12 | -1.0029e-13 | 89.9374 | 89.9354 | 89.9354 | 0 | 0 | 0 |  | 1.467 | 0 | 0 | 1.4672 | 0.00036176 | 0.00036171 | -0.040907 | 0 | 0 | -0.05262 | -56.0579 | -56.058

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 5.0075e-05 | 0.030833 | 0.03029 | 4.3575e-05 | 0.030836 | 0.030284 | 1.1564e-05 | 0.0071206 | 0.0069952 | 1.0063e-05 | 0.0071213 | 0.0069937 | 1.8823e-06 | 0.0056938 | 0.0049754 | -1.6386e-06 | -0.0047517 | -0.00458 | -1.1996e-05 | 0.004844 | 0.0054015 | 1.1174e-05 | -0.0047635 | -0.004578 | 81.0823 | -160.3981 | 72.6411 | -98.927 | 19.6125 | -107.3607 |  | 1.05 | 1.0498 | 1.0498 | 1.1223 | 0.9448 | 0.92593 | -5.0201e-06 | -120.0085 | 119.9928 | -0.58458 | -115.3164 | 117.6272
Line_1_3-2ph | 2.7238e-05 | 2.7239e-05 | 2.7237e-05 | 0 | 0 | 0 | 6.2903e-06 | 6.2906e-06 | 6.29e-06 | 0 | 0 | 0 | 1.0254e-06 | -5.7022e-06 | 4.6778e-06 | -2.9814e-10 | 3.5184e-10 | 4.1877e-10 | -6.9847e-06 | 1.6759e-06 | 3.4696e-06 | -4.4783e-11 | 2.9764e-10 | -1.4752e-10 | 81.0634 | 81.0622 | 81.0622 | 0 | 0 | 0 |  | 1.1223 | 0.9448 | 0.92593 | 1.1224 | 0.94493 | 0.92573 | -0.58458 | -115.3164 | 117.6272 | -0.5938 | -115.3071 | 117.6277
Line_2_3-2ph | 1.6337e-05 | 1.6338e-05 | 1.6336e-05 | 0 | 0 | 0 | 3.7728e-06 | 3.7731e-06 | 3.7725e-06 | 0 | 0 | 0 | 6.1287e-07 | -3.4196e-06 | 2.8066e-06 | -2.9789e-10 | 3.5213e-10 | 4.184e-10 | -4.1896e-06 | 1.0069e-06 | 2.0795e-06 | -4.4336e-11 | 2.9724e-10 | -1.4757e-10 | 81.0931 | 81.091 | 81.0911 | 0 | 0 | 0 |  | 1.1223 | 0.9448 | 0.92593 | 1.1223 | 0.94485 | 0.92585 | -0.58458 | -115.3164 | 117.6272 | -0.5879 | -115.3131 | 117.6274

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 5.2461e-05 | 0.032301 | 0.031732 | 4.565e-05 | 0.032304 | 0.031726 | 1.2115e-05 | 0.0074596 | 0.0073283 | 1.0542e-05 | 0.0074604 | 0.0073267 | 2.0656e-06 | 0.0062488 | 0.0054604 | -1.7982e-06 | -0.0052149 | -0.0050264 | -1.3166e-05 | 0.0053162 | 0.0059281 | 1.2264e-05 | -0.0052279 | -0.0050243 | 81.0836 | -160.3985 | 72.6407 | -98.9259 | 19.6121 | -107.3611 |  | 1.1 | 1.0998 | 1.0998 | 1.1757 | 0.98979 | 0.97001 | -5.2588e-06 | -120.0089 | 119.9924 | -0.5846 | -115.3168 | 117.6268
Line_1_3-2ph | 2.8535e-05 | 2.8537e-05 | 2.8534e-05 | 0 | 0 | 0 | 6.5899e-06 | 6.5902e-06 | 6.5897e-06 | 0 | 0 | 0 | 1.1253e-06 | -6.2582e-06 | 5.1341e-06 | -3.2721e-10 | 3.8618e-10 | 4.5963e-10 | -7.6659e-06 | 1.8395e-06 | 3.8078e-06 | -4.9152e-11 | 3.2664e-10 | -1.6193e-10 | 81.0645 | 81.0632 | 81.0633 | 0 | 0 | 0 |  | 1.1757 | 0.98979 | 0.97001 | 1.1758 | 0.98992 | 0.9698 | -0.5846 | -115.3168 | 117.6268 | -0.59382 | -115.3075 | 117.6274
Line_2_3-2ph | 1.7115e-05 | 1.7116e-05 | 1.7114e-05 | 0 | 0 | 0 | 3.9525e-06 | 3.9528e-06 | 3.9522e-06 | 0 | 0 | 0 | 6.7255e-07 | -3.7531e-06 | 3.0804e-06 | -3.2693e-10 | 3.8649e-10 | 4.5922e-10 | -4.5982e-06 | 1.1052e-06 | 2.2822e-06 | -4.866e-11 | 3.2619e-10 | -1.6198e-10 | 81.0942 | 81.0921 | 81.0922 | 0 | 0 | 0 |  | 1.1757 | 0.98979 | 0.97001 | 1.1758 | 0.98983 | 0.96993 | -0.5846 | -115.3168 | 117.6268 | -0.58792 | -115.3135 | 117.627

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00021701 | 0.18581 | 0.18559 | 0.00018884 | 0.18583 | 0.18556 | 5.0116e-05 | 0.042911 | 0.04286 | 4.3611e-05 | 0.042916 | 0.042854 | 1.0594e-07 | 0.040758 | 0.031821 | -7.3164e-08 | 4.6989e-16 | -4.3699e-16 | -4.761e-05 | 0.00019203 | 0.02533 | 5.5259e-05 | -5.0059e-16 | 1.2166e-16 | 89.8725 | -120.3616 | 81.4134 | -90.1404 | 59.6427 | -98.5879 |  | 0.95 | 0.94984 | 0.94893 | 1.2671 | 0 | 0 | -1.0953e-05 | -120.0917 | 119.934 | -0.064552 | 0 | 0
Line_1_3-2ph | 0.00011804 | 0.00011806 | 0.00011803 | 0 | 0 | 0 | 2.7261e-05 | 2.7264e-05 | 2.7258e-05 | 0 | 0 | 0 | 5.8021e-08 | 9.8063e-20 | 2.6361e-19 | -1.4759e-09 | 3.3322e-12 | -5.0188e-12 | -3.4542e-05 | -4.25e-19 | -1.1728e-19 | -9.7941e-12 | 3.8583e-12 | 9.6335e-13 | 89.8392 | 89.838 | 89.838 | 0 | 0 | 0 |  | 1.2671 | 0 | 0 | 1.2676 | 0.001465 | 0.0014649 | -0.064552 | 0 | 0 | -0.12709 | -70.8823 | -70.8823
Line_2_3-2ph | 7.08e-05 | 7.0813e-05 | 7.0787e-05 | 0 | 0 | 0 | 1.6351e-05 | 1.6354e-05 | 1.6348e-05 | 0 | 0 | 0 | 1.367e-08 | 5.8564e-20 | 1.5803e-19 | -1.4742e-09 | 1.1977e-12 | -1.8043e-12 | -2.0717e-05 | -2.5499e-19 | -7.0495e-20 | -6.7059e-12 | 1.3904e-12 | 3.4291e-13 | 89.8976 | 89.8956 | 89.8956 | 0 | 0 | 0 |  | 1.2671 | 0 | 0 | 1.2673 | 0.00052703 | 0.00052696 | -0.064552 | 0 | 0 | -0.08704 | -70.7667 | -70.7667

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00020559 | 0.17603 | 0.17583 | 0.0001789 | 0.17606 | 0.1758 | 4.7479e-05 | 0.040653 | 0.040606 | 4.1316e-05 | 0.040659 | 0.0406 | 9.4889e-08 | 0.036582 | 0.028563 | -6.5666e-08 | 4.4159e-16 | -4.6227e-16 | -4.2731e-05 | 0.00017215 | 0.022736 | 4.9596e-05 | -2.9852e-16 | 2.5389e-16 | 89.8728 | -120.3565 | 81.418 | -90.14 | 59.6479 | -98.5833 |  | 0.9 | 0.89986 | 0.89904 | 1.2004 | 0 | 0 | -1.0376e-05 | -120.0869 | 119.9375 | -0.064136 | 0 | 0
Line_1_3-2ph | 0.00011183 | 0.00011184 | 0.00011182 | 0 | 0 | 0 | 2.5826e-05 | 2.5829e-05 | 2.5823e-05 | 0 | 0 | 0 | 5.2075e-08 | 1.4711e-19 | 2.672e-19 | -1.3247e-09 | 2.9906e-12 | -4.5045e-12 | -3.1002e-05 | -3.0499e-19 | -2.028e-19 | -8.7615e-12 | 3.4628e-12 | 8.6459e-13 | 89.8396 | 89.8384 | 89.8384 | 0 | 0 | 0 |  | 1.2004 | 0 | 0 | 1.2009 | 0.0013879 | 0.0013878 | -0.064136 | 0 | 0 | -0.12668 | -70.8819 | -70.8819
Line_2_3-2ph | 6.7074e-05 | 6.7086e-05 | 6.7062e-05 | 0 | 0 | 0 | 1.549e-05 | 1.5493e-05 | 1.5487e-05 | 0 | 0 | 0 | 1.2269e-08 | 8.8055e-20 | 1.6013e-19 | -1.3231e-09 | 1.075e-12 | -1.6194e-12 | -1.8594e-05 | -1.8303e-19 | -1.2179e-19 | -5.9898e-12 | 1.2479e-12 | 3.0775e-13 | 89.8981 | 89.896 | 89.896 | 0 | 0 | 0 |  | 1.2004 | 0 | 0 | 1.2006 | 0.0004993 | 0.00049923 | -0.064136 | 0 | 0 | -0.086624 | -70.7663 | -70.7663

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 6.8128e-05 | 0.026866 | 0.025341 | 5.9286e-05 | 0.026872 | 0.025332 | 1.5734e-05 | 0.0062044 | 0.0058522 | 1.3691e-05 | 0.0062058 | 0.0058501 | 4.6793e-06 | 0.0047735 | 0.0038537 | -4.0719e-06 | -0.00361 | -0.0032007 | -1.4196e-05 | 0.0034561 | 0.0040059 | 1.3715e-05 | -0.0036217 | -0.0032013 | 71.7561 | -155.9148 | 73.8825 | -108.2568 | 24.0991 | -106.1168 |  | 0.95 | 0.94985 | 0.94984 | 1.0449 | 0.824 | 0.77381 | -1.3725e-05 | -120.01 | 119.9922 | -1.7208 | -110.8076 | 118.8882
Line_1_3-2ph | 3.7059e-05 | 3.706e-05 | 3.7057e-05 | 0 | 0 | 0 | 8.5583e-06 | 8.5587e-06 | 8.5579e-06 | 0 | 0 | 0 | 2.5484e-06 | -7.0455e-06 | 4.5023e-06 | -3.6554e-10 | 3.4261e-10 | 5.003e-10 | -8.5721e-06 | 3.1119e-07 | 4.8563e-06 | -1.1091e-10 | 4.5935e-10 | -5.1524e-11 | 71.7228 | 71.7214 | 71.7218 | 0 | 0 | 0 |  | 1.0449 | 0.824 | 0.77381 | 1.045 | 0.82443 | 0.77341 | -1.7208 | -110.8076 | 118.8882 | -1.746 | -110.7957 | 118.9041
Line_2_3-2ph | 2.2227e-05 | 2.2229e-05 | 2.2225e-05 | 0 | 0 | 0 | 5.1331e-06 | 5.1335e-06 | 5.1327e-06 | 0 | 0 | 0 | 1.5232e-06 | -4.2257e-06 | 2.7032e-06 | -3.6546e-10 | 3.4338e-10 | 4.9972e-10 | -5.143e-06 | 1.9089e-07 | 2.9099e-06 | -1.0988e-10 | 4.5883e-10 | -5.2023e-11 | 71.7813 | 71.7789 | 71.7795 | 0 | 0 | 0 |  | 1.0449 | 0.824 | 0.77381 | 1.0449 | 0.82416 | 0.77367 | -1.7208 | -110.8076 | 118.8882 | -1.7299 | -110.8033 | 118.8939

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 6.4542e-05 | 0.025452 | 0.024007 | 5.6165e-05 | 0.025458 | 0.023999 | 1.4905e-05 | 0.0058779 | 0.0055442 | 1.2971e-05 | 0.0058792 | 0.0055423 | 4.1999e-06 | 0.0042843 | 0.0034588 | -3.6548e-06 | -0.00324 | -0.0028727 | -1.274e-05 | 0.0031019 | 0.0035954 | 1.2309e-05 | -0.0032506 | -0.0028732 | 71.7551 | -155.9143 | 73.8829 | -108.2576 | 24.0997 | -106.1164 |  | 0.9 | 0.89987 | 0.89985 | 0.98994 | 0.78064 | 0.73309 | -1.3003e-05 | -120.0094 | 119.9926 | -1.7208 | -110.8071 | 118.8886
Line_1_3-2ph | 3.5108e-05 | 3.511e-05 | 3.5106e-05 | 0 | 0 | 0 | 8.1078e-06 | 8.1082e-06 | 8.1075e-06 | 0 | 0 | 0 | 2.2873e-06 | -6.3234e-06 | 4.0407e-06 | -3.2808e-10 | 3.0748e-10 | 4.4901e-10 | -7.6935e-06 | 2.7915e-07 | 4.3587e-06 | -9.9536e-11 | 4.123e-10 | -4.6226e-11 | 71.722 | 71.7206 | 71.721 | 0 | 0 | 0 |  | 0.98994 | 0.78064 | 0.73309 | 0.98997 | 0.78105 | 0.73271 | -1.7208 | -110.8071 | 118.8886 | -1.746 | -110.7952 | 118.9045
Line_2_3-2ph | 2.1057e-05 | 2.1059e-05 | 2.1056e-05 | 0 | 0 | 0 | 4.8629e-06 | 4.8633e-06 | 4.8626e-06 | 0 | 0 | 0 | 1.3672e-06 | -3.7926e-06 | 2.4261e-06 | -3.28e-10 | 3.0817e-10 | 4.4849e-10 | -4.6158e-06 | 1.7124e-07 | 2.6117e-06 | -9.8616e-11 | 4.1183e-10 | -4.6673e-11 | 71.7804 | 71.7781 | 71.7787 | 0 | 0 | 0 |  | 0.98994 | 0.78064 | 0.73309 | 0.98995 | 0.78079 | 0.73295 | -1.7208 | -110.8071 | 118.8886 | -1.7298 | -110.8028 | 118.8943