## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80101 | 0.80101 | 0 | 0 | 27.7477 | 27.7477 | 3.3465 | -2.3456 | 24.4742 | -23.3385 | -82.9936 | 97.0064 | 0.89023 | 0.84533 | -0.7798 | 1.2672

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80817 | 0.80817 | 0 | 0 | 27.996 | 27.996 | 3.5204 | -2.5015 | 26.0454 | -24.8894 | -83.0404 | 96.9596 | 0.93879 | 0.89351 | -0.73804 | 1.2204

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00068539 | 0.00068539 | 0 | 0 | 0.023743 | 0.023743 | 0.017619 | -0.017618 | 0.017634 | -0.017633 | -45.0302 | 134.9698 | 1.0499 | 1.0499 | -0.0050378 | -0.005197

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00071801 | 0.00071801 | 0 | 0 | 0.024873 | 0.024873 | 0.019336 | -0.019335 | 0.019353 | -0.019353 | -45.0314 | 134.9686 | 1.0999 | 1.0998 | -0.0050376 | -0.0051967

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.68891 | 0.68891 | 0 | 0 | 23.8646 | 23.8646 | 3.244 | -1.8225 | 18.9732 | -18.1332 | -81.3539 | 98.6461 | 0.80658 | 0.76367 | -1.0563 | 2.9069

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.65265 | 0.65265 | 0 | 0 | 22.6085 | 22.6085 | 2.9115 | -1.6357 | 17.0286 | -16.2747 | -81.3539 | 98.6461 | 0.76412 | 0.72347 | -1.0563 | 2.9069

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00062009 | 0.00062009 | 0 | 0 | 0.02148 | 0.02148 | 0.014422 | -0.014421 | 0.014434 | -0.014434 | -45.0306 | 134.9694 | 0.9499 | 0.94984 | -0.0052672 | -0.0043302

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00058745 | 0.00058745 | 0 | 0 | 0.02035 | 0.02035 | 0.012944 | -0.012943 | 0.012955 | -0.012954 | -45.0306 | 134.9694 | 0.89991 | 0.89985 | -0.0052672 | -0.0043302

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.69369 | 0.69369 | 0 | 0.69369 | 0.69369 | 0 | 8.0101 | 8.0101 | 0 | 8.0101 | 8.0101 | -1.2434e-15 | 5.0105 | -3.3373 | -4.638e-29 | -4.7603 | 3.5875 | 1.8652e-15 | 5.6056 | 6.6315 | -1.8652e-15 | -5.3217 | -6.3476 | 0 | -172.9936 | 7.0064 | 0 | 7.0064 | -172.9936 | 1.05 | 0.93863 | 0.92682 | 1.05 | 0.89139 | 0.91026 | -1.4249e-12 | -124.7854 | 123.7199 | -1.4247e-12 | -124.8066 | 126.4803

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.6999 | 0.6999 | 0 | 0.6999 | 0.6999 | 0 | 8.0817 | 8.0817 | 0 | 8.0817 | 8.0817 | -3.908e-15 | 5.2923 | -3.5321 | 2.6053e-15 | -5.0376 | 3.7868 | 2.6053e-15 | 5.9728 | 7.05 | -2.6053e-15 | -5.6837 | -6.7609 | 0 | -173.0404 | 6.9596 | 0 | 6.9596 | -173.0404 | 1.1 | 0.98743 | 0.97569 | 1.1 | 0.93976 | 0.95885 | -6.2186e-13 | -124.5837 | 123.571 | -6.2181e-13 | -124.5914 | 126.213

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.0011863 | 0.0011863 | 0 | 0.0011863 | 0.0011863 | 0 | 0.013699 | 0.013699 | 0 | 0.013699 | 0.013699 | 1.2143e-17 | 0.013889 | 0.003708 | -2.4286e-18 | -0.013889 | -0.0037072 | -4.9345e-34 | 0.0037341 | 0.013894 | 2.4286e-18 | -0.0037333 | -0.013893 | 0 | -135.0603 | 44.9397 | 0 | 44.9397 | -135.0603 | 1.05 | 1.0499 | 1.0498 | 1.05 | 1.0499 | 1.0497 | -2.3283e-15 | -120.0123 | 119.9972 | -2.3316e-15 | -120.0148 | 119.9992

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.0012428 | 0.0012428 | 0 | 0.0012428 | 0.0012428 | 0 | 0.01435 | 0.01435 | 0 | 0.01435 | 0.01435 | 3.8164e-18 | 0.015243 | 0.0040687 | -6.3607e-18 | -0.015242 | -0.0040679 | 7.6328e-18 | 0.0040986 | 0.015248 | -2.5443e-18 | -0.0040977 | -0.015247 | 0 | -135.0627 | 44.9373 | 0 | 44.9373 | -135.0627 | 1.1 | 1.0999 | 1.0998 | 1.1 | 1.0999 | 1.0997 | -6.6013e-16 | -120.0123 | 119.9972 | -6.5559e-16 | -120.0148 | 119.9992

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.59661 | 0.59661 | 0 | 0.59661 | 0.59661 | 0 | 6.8891 | 6.8891 | 0 | 6.8891 | 6.8891 | -1.125e-15 | 4.0461 | -2.4241 | 1.125e-15 | -3.6908 | 2.7795 | 2.8126e-15 | 4.2514 | 5.2352 | -3.9376e-15 | -4.0414 | -5.0252 | 0 | -171.3539 | 8.6461 | 0 | 8.6461 | -171.3539 | 0.95 | 0.85193 | 0.83745 | 0.95 | 0.79445 | 0.83359 | 3.7557e-12 | -124.9369 | 123.4923 | 3.7607e-12 | -123.7576 | 127.5937

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.56521 | 0.56521 | 0 | 0.56521 | 0.56521 | 0 | 6.5265 | 6.5265 | 0 | 6.5265 | 6.5265 | 5.3291e-16 | 3.6314 | -2.1757 | 1.0658e-15 | -3.3125 | 2.4946 | 2.1316e-15 | 3.8156 | 4.6987 | -2.1316e-15 | -3.6272 | -4.5102 | 0 | -171.3539 | 8.6461 | 0 | 8.6461 | -171.3539 | 0.9 | 0.80709 | 0.79337 | 0.9 | 0.75264 | 0.78972 | -2.2123e-12 | -124.9369 | 123.4923 | -2.2083e-12 | -123.7576 | 127.5937

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.0010732 | 0.0010732 | 0 | 0.0010732 | 0.0010732 | 0 | 0.012393 | 0.012393 | 0 | 0.012393 | 0.012393 | -8.2399e-19 | 0.011369 | 0.0030348 | 2.1973e-18 | -0.011367 | -0.0030337 | -2.1973e-18 | 0.0030564 | 0.011372 | -4.3946e-18 | -0.0030558 | -0.011372 | 0 | -135.0611 | 44.9389 | 0 | 44.9389 | -135.0611 | 0.95 | 0.94993 | 0.94978 | 0.95 | 0.94983 | 0.9497 | -4.778e-15 | -120.0129 | 119.9971 | -4.7782e-15 | -120.0147 | 120.0017

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.0010168 | 0.0010168 | 0 | 0.0010168 | 0.0010168 | 0 | 0.011741 | 0.011741 | 0 | 0.011741 | 0.011741 | 7.8063e-19 | 0.010203 | 0.0027238 | 0 | -0.010202 | -0.0027228 | -1.0408e-18 | 0.0027432 | 0.010207 | 0 | -0.0027426 | -0.010206 | 0 | -135.0611 | 44.9389 | 0 | 44.9389 | -135.0611 | 0.9 | 0.89993 | 0.89979 | 0.9 | 0.89984 | 0.89972 | 3.3748e-15 | -120.0129 | 119.9971 | 3.376e-15 | -120.0147 | 120.0017

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80951 | 0.00025507 | 0.00025507 | 0.80937 | 0 | 0 | 9.3474 | 0.0029453 | 0.0029453 | 9.3458 | 0 | 0 | 1.8309 | 0.0028717 | -0.00085393 | -0.79828 | 7.333e-10 | -7.6143e-10 | 8.5229 | 0.00092408 | -0.0029246 | -7.9428 | -3.4816e-10 | -5.1482e-10 | -78.9704 | -135.9311 | -135.9311 | 101.0447 | 0 | 0 |  | 0.93259 | 1.0242 | 1.0344 | 0.85416 | 0.98159 | 1.1114 | -1.0943 | -118.0934 | 117.7922 | 5.3055 | -121.7598 | 117.7016

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81656 | 0.00025729 | 0.00025729 | 0.81642 | 0 | 0 | 9.4288 | 0.002971 | 0.002971 | 9.4272 | 0 | 0 | 1.9015 | 0.0030355 | -0.00088744 | -0.85092 | 7.7861e-10 | -8.0031e-10 | 9.0569 | 0.00098439 | -0.0030962 | -8.4666 | -3.6502e-10 | -5.4658e-10 | -79.1681 | -136.1287 | -136.1287 | 100.8471 | 0 | 0 |  | 0.9815 | 1.0741 | 1.0841 | 0.90263 | 1.0309 | 1.1618 | -1.025 | -118.1613 | 117.8781 | 5.1079 | -121.6769 | 117.7717

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00068549 | 0 | 0 | 0.00068538 | 0 | 0 | 0.0079154 | 0 | 0 | 0.007914 | 0 | 0 | 0.0058725 | 2.4906e-06 | -1.9461e-06 | -0.0058723 | 3.9432e-13 | -7.3468e-13 | 0.0058804 | -8.0908e-07 | -1.7524e-06 | -0.0058774 | -6.206e-13 | -3.1228e-14 | -45.0422 | 0 | 0 | 134.9729 | 0 | 0 |  | 1.0499 | 1.05 | 1.05 | 1.0498 | 1.05 | 1.0501 | -0.0037155 | -119.9994 | 119.9981 | -0.0021174 | -120.0029 | 119.9999

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00071812 | 0 | 0 | 0.00071799 | 0 | 0 | 0.0082921 | 0 | 0 | 0.0082907 | 0 | 0 | 0.0064448 | 2.7334e-06 | -2.1358e-06 | -0.0064446 | 4.3277e-13 | -8.063e-13 | 0.0064538 | -8.8789e-07 | -1.9232e-06 | -0.0064505 | -6.8109e-13 | -3.4288e-14 | -45.0434 | 0 | 0 | 134.9717 | 0 | 0 |  | 1.0999 | 1.1 | 1.1 | 1.0998 | 1.1 | 1.1001 | -0.0037154 | -119.9994 | 119.9981 | -0.0021172 | -120.0029 | 119.9999

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6857 | 0.00036747 | 0.00036747 | 0.68558 | 0 | 0 | 7.9177 | 0.0042431 | 0.0042431 | 7.9164 | 0 | 0 | 2.0239 | 0.0034948 | -0.00048406 | -0.60162 | 8.604e-10 | -1.3066e-09 | 6.4018 | 0.0017815 | -0.0039556 | -5.9861 | -7.3603e-10 | -5.1508e-10 | -74.1076 | -145.2575 | -145.2575 | 105.9215 | 0 | 0 |  | 0.84798 | 0.92448 | 0.93919 | 0.75997 | 0.85532 | 1.0609 | -1.6516 | -118.2467 | 117.7657 | 10.1823 | -124.7235 | 117.3371

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64961 | 0.00034813 | 0.00034813 | 0.64949 | 0 | 0 | 7.501 | 0.0040198 | 0.0040198 | 7.4997 | 0 | 0 | 1.8164 | 0.0031366 | -0.00043445 | -0.53996 | 7.7222e-10 | -1.1727e-09 | 5.7456 | 0.0015989 | -0.0035502 | -5.3725 | -6.6059e-10 | -4.6229e-10 | -74.1076 | -145.2575 | -145.2575 | 105.9215 | 0 | 0 |  | 0.80335 | 0.87583 | 0.88976 | 0.71997 | 0.81031 | 1.0051 | -1.6516 | -118.2467 | 117.7657 | 10.1823 | -124.7235 | 117.3371

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00062015 | 0 | 0 | 0.00062005 | 0 | 0 | 0.0071609 | 0 | 0 | 0.0071597 | 0 | 0 | 0.0048058 | 3.6375e-06 | -2.028e-06 | -0.0048062 | 4.828e-13 | -1.1334e-12 | 0.0048142 | -2.413e-07 | -3.0296e-06 | -0.0048106 | -1.0298e-12 | 9.6663e-14 | -45.0542 | 0 | 0 | 134.9748 | 0 | 0 |  | 0.94993 | 0.94997 | 0.95001 | 0.94978 | 0.94995 | 0.95011 | -0.0038774 | -119.9993 | 119.9979 | 0.0010556 | -120.0059 | 120.0006

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058751 | 0 | 0 | 0.00058741 | 0 | 0 | 0.006784 | 0 | 0 | 0.0067829 | 0 | 0 | 0.0043132 | 3.2647e-06 | -1.8201e-06 | -0.0043136 | 4.3331e-13 | -1.0172e-12 | 0.0043208 | -2.1657e-07 | -2.7191e-06 | -0.0043176 | -9.2423e-13 | 8.6754e-14 | -45.0542 | 0 | 0 | 134.9748 | 0 | 0 |  | 0.89993 | 0.89997 | 0.90001 | 0.89979 | 0.89996 | 0.9001 | -0.0038774 | -119.9993 | 119.9979 | 0.0010556 | -120.0059 | 120.0006

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00025646 | 0.85237 | 0.75313 | 0 | 0.85246 | 0.75287 | 0.0029613 | 9.8424 | 8.6964 | 0 | 9.8434 | 8.6934 | 0.0019704 | 1.8596 | 1.0888 | -2.843e-11 | -0.88555 | -0.69073 | -0.0022409 | 8.7678 | 7.8751 | -8.7235e-10 | -8.8111 | -6.8727 | 48.1716 | 158.7945 | 39.3523 | 0 | -21.1894 | -140.6507 |  | 1.0077 | 0.91064 | 0.91417 | 1.0497 | 0.89964 | 0.79454 | -0.50389 | -123.1803 | 121.4805 | -4.126 | -116.9285 | 123.6101

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00025872 | 0.85821 | 0.76184 | 0 | 0.85831 | 0.76158 | 0.0029875 | 9.9098 | 8.7969 | 0 | 9.9109 | 8.794 | 0.0021015 | 1.9272 | 1.1503 | -2.1929e-11 | -0.94048 | -0.74045 | -0.0023578 | 9.3104 | 8.391 | -9.2174e-10 | -9.3576 | -7.3674 | 47.8203 | 158.6642 | 39.2346 | 0 | -21.3197 | -140.7683 |  | 1.0572 | 0.95943 | 0.96277 | 1.0992 | 0.94894 | 0.842 | -0.47029 | -123.0304 | 121.4288 | -3.974 | -117.0588 | 123.4925

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.00068532 | 0.00068557 | 0 | 0.00068542 | 0.00068535 | 0 | 0.0079134 | 0.0079163 | 0 | 0.0079145 | 0.0079138 | 5.4439e-07 | 0.0058711 | 0.0058743 | -3.4035e-13 | -0.005873 | -0.0058719 | -2.5615e-06 | 0.0058789 | 0.0058796 | -6.5179e-13 | -0.0058781 | -0.0058771 | 0 | -165.0433 | 74.9709 | 0 | 14.9728 | -105.03 |  | 1.05 | 1.0499 | 1.0499 | 1.05 | 1.0499 | 1.0498 | -0.0013223 | -120.0057 | 119.9969 | -0.0030793 | -120.0023 | 119.995

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.00071793 | 0.0007182 | 0 | 0.00071804 | 0.00071797 | 0 | 0.00829 | 0.008293 | 0 | 0.0082912 | 0.0082904 | 5.9751e-07 | 0.0064433 | 0.0064467 | -3.7351e-13 | -0.0064454 | -0.0064442 | -2.8111e-06 | 0.0064521 | 0.0064528 | -7.1534e-13 | -0.0064513 | -0.0064501 | 0 | -165.0445 | 74.9697 | 0 | 14.9716 | -105.0312 |  | 1.1 | 1.0999 | 1.0999 | 1.1 | 1.0999 | 1.0998 | -0.0013222 | -120.0057 | 119.9969 | -0.0030792 | -120.0023 | 119.995

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00036003 | 0.7536 | 0.60806 | 0 | 0.75378 | 0.6077 | 0.0041572 | 8.7018 | 7.0213 | 0 | 8.7039 | 7.0171 | 0.0027978 | 2.0648 | 0.98603 | -4.2831e-10 | -0.72728 | -0.4727 | -0.0025751 | 6.8755 | 5.7507 | -1.201e-09 | -7.2364 | -4.7033 | 41.8352 | 163.0525 | 41.0158 | 0 | -16.9241 | -138.9847 |  | 0.91466 | 0.82498 | 0.83099 | 0.98309 | 0.83558 | 0.67364 | -0.7913 | -123.6636 | 121.2863 | -6.7134 | -112.6633 | 125.2761

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00034108 | 0.71393 | 0.57606 | 0 | 0.71411 | 0.57572 | 0.0039384 | 8.2438 | 6.6517 | 0 | 8.2458 | 6.6478 | 0.002511 | 1.8532 | 0.88497 | -3.8441e-10 | -0.65274 | -0.42425 | -0.0023112 | 6.1708 | 5.1613 | -1.0779e-09 | -6.4947 | -4.2213 | 41.8352 | 163.0525 | 41.0158 | 0 | -16.9241 | -138.9847 |  | 0.86652 | 0.78156 | 0.78726 | 0.93135 | 0.7916 | 0.63819 | -0.7913 | -123.6636 | 121.2863 | -6.7134 | -112.6633 | 125.2761

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.0006199 | 0.00062034 | 0 | 0.00062012 | 0.00062002 | 0 | 0.007158 | 0.0071631 | 0 | 0.0071605 | 0.0071593 | 1.6093e-06 | 0.0048046 | 0.0048085 | -6.5052e-13 | -0.0048073 | -0.0048058 | -3.2709e-06 | 0.0048116 | 0.0048141 | -9.33e-13 | -0.0048117 | -0.0048102 | 0 | -165.0477 | 74.9629 | 0 | 14.9754 | -105.0311 |  | 0.94997 | 0.94994 | 0.9499 | 0.95006 | 0.94989 | 0.94974 | -0.0013899 | -120.0059 | 119.9968 | -0.0053844 | -119.9984 | 119.9951

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0.00058727 | 0.00058769 | 0 | 0.00058748 | 0.00058738 | 0 | 0.0067812 | 0.0067861 | 0 | 0.0067836 | 0.0067825 | 1.4443e-06 | 0.0043121 | 0.0043156 | -5.8385e-13 | -0.0043146 | -0.0043132 | -2.9356e-06 | 0.0043184 | 0.0043207 | -8.3737e-13 | -0.0043186 | -0.0043171 | 0 | -165.0477 | 74.9629 | 0 | 14.9754 | -105.0311 |  | 0.89998 | 0.89994 | 0.8999 | 0.90006 | 0.8999 | 0.89975 | -0.0013899 | -120.0059 | 119.9968 | -0.0053844 | -119.9984 | 119.9951