## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80101 | 0.80101 | 0 | 0 | 27.7477 | 27.7477 | 3.3465 | -2.3456 | 24.4742 | -23.3385 | 67.0064 | -112.9936 | 0.89023 | 0.84533 | 149.2202 | 151.2672

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80817 | 0.80817 | 0 | 0 | 27.996 | 27.996 | 3.5204 | -2.5015 | 26.0454 | -24.8894 | 66.9596 | -113.0404 | 0.93879 | 0.89351 | 149.262 | 151.2204

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00068539 | 0.00068539 | 0 | 0 | 0.023743 | 0.023743 | 0.017619 | -0.017618 | 0.017634 | -0.017633 | 104.9698 | -75.0302 | 1.0499 | 1.0499 | 149.995 | 149.9948

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00071801 | 0.00071801 | 0 | 0 | 0.024873 | 0.024873 | 0.019336 | -0.019335 | 0.019353 | -0.019353 | 104.9686 | -75.0314 | 1.0999 | 1.0998 | 149.995 | 149.9948

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.68891 | 0.68891 | 0 | 0 | 23.8646 | 23.8646 | 3.244 | -1.8225 | 18.9732 | -18.1332 | 68.6461 | -111.3539 | 0.80658 | 0.76367 | 148.9437 | 152.9069

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.65265 | 0.65265 | 0 | 0 | 22.6085 | 22.6085 | 2.9115 | -1.6357 | 17.0286 | -16.2747 | 68.6461 | -111.3539 | 0.76412 | 0.72347 | 148.9437 | 152.9069

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00062009 | 0.00062009 | 0 | 0 | 0.02148 | 0.02148 | 0.014422 | -0.014421 | 0.014434 | -0.014434 | 104.9694 | -75.0306 | 0.9499 | 0.94984 | 149.9947 | 149.9957

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.00058745 | 0.00058745 | 0 | 0 | 0.02035 | 0.02035 | 0.012944 | -0.012943 | 0.012955 | -0.012954 | 104.9694 | -75.0306 | 0.89991 | 0.89985 | 149.9947 | 149.9957

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4005 | 0.4005 | 0.80101 | 0.4005 | 0.4005 | 0.80101 | 4.6246 | 4.6246 | 9.2492 | 4.6246 | 4.6246 | 9.2492 | -3.895 | 4.4528 | 1.1155 | 3.9784 | -4.3694 | -0.78187 | 2.5525 | 1.5266 | 8.1581 | -2.4578 | -1.4319 | -7.7795 | 7.0064 | 7.0064 | -172.9936 | -172.9936 | -172.9936 | 7.0064 | 1.007 | 1.0179 | 0.89023 | 1.0112 | 0.99424 | 0.84533 | 153.7688 | 25.9298 | -90.7798 | 155.2989 | 25.1513 | -88.7328

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40409 | 0.40409 | 0.80817 | 0.40409 | 0.40409 | 0.80817 | 4.666 | 4.666 | 9.332 | 4.666 | 4.666 | 9.332 | -4.1188 | 4.7056 | 1.1735 | 4.2038 | -4.6207 | -0.83383 | 2.709 | 1.6319 | 8.6818 | -2.6127 | -1.5355 | -8.2965 | 6.9596 | 6.9596 | -173.0404 | -173.0404 | -173.0404 | 6.9596 | 1.0566 | 1.0674 | 0.93879 | 1.0608 | 1.0435 | 0.89351 | 153.6259 | 26.0858 | -90.738 | 155.0979 | 25.3421 | -88.7796

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00068493 | 0.00068493 | 0.0013699 | 0.00068493 | 0.00068493 | 0.0013699 | 0.0079089 | 0.0079089 | 0.015818 | 0.0079089 | 0.0079089 | 0.015818 | -0.0021578 | 0.0080236 | 0.011732 | 0.0021581 | -0.0080234 | -0.011731 | 0.008018 | -0.002142 | 0.011752 | -0.0080178 | 0.0021422 | -0.011751 | 44.9397 | 44.9397 | -135.0603 | -135.0603 | -135.0603 | 44.9397 | 1.0499 | 1.05 | 1.0498 | 1.0498 | 1.05 | 1.0497 | 150.0023 | 29.9927 | -90.0101 | 150.0044 | 29.9904 | -90.0104

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00071751 | 0.00071751 | 0.001435 | 0.00071751 | 0.00071751 | 0.001435 | 0.0082851 | 0.0082851 | 0.01657 | 0.0082851 | 0.0082851 | 0.01657 | -0.0023685 | 0.0088056 | 0.012874 | 0.0023687 | -0.0088053 | -0.012873 | 0.0087993 | -0.0023503 | 0.012898 | -0.008799 | 0.0023506 | -0.012897 | 44.9373 | 44.9373 | -135.0627 | -135.0627 | -135.0627 | 44.9373 | 1.0999 | 1.1 | 1.0998 | 1.0998 | 1.1 | 1.0997 | 150.0023 | 29.9927 | -90.0101 | 150.0044 | 29.9904 | -90.0104

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34446 | 0.34446 | 0.68891 | 0.34446 | 0.34446 | 0.68891 | 3.9774 | 3.9774 | 7.9549 | 3.9774 | 3.9774 | 7.9549 | -2.9648 | 3.5055 | 1.0813 | 3.0833 | -3.387 | -0.60748 | 2.073 | 1.0892 | 6.3244 | -2.003 | -1.0192 | -6.0444 | 8.6461 | 8.6461 | -171.3539 | -171.3539 | -171.3539 | 8.6461 | 0.90955 | 0.9229 | 0.80658 | 0.92441 | 0.88927 | 0.76367 | 153.6843 | 25.9065 | -91.0563 | 155.6365 | 25.3929 | -87.0931

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32633 | 0.32633 | 0.65265 | 0.32633 | 0.32633 | 0.65265 | 3.7681 | 3.7681 | 7.5362 | 3.7681 | 3.7681 | 7.5362 | -2.6609 | 3.1462 | 0.9705 | 2.7673 | -3.0399 | -0.54522 | 1.8606 | 0.97754 | 5.6762 | -1.7977 | -0.91471 | -5.4249 | 8.6461 | 8.6461 | -171.3539 | -171.3539 | -171.3539 | 8.6461 | 0.86168 | 0.87433 | 0.76412 | 0.87576 | 0.84247 | 0.72347 | 153.6843 | 25.9065 | -91.0563 | 155.6365 | 25.3929 | -87.0931

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00061964 | 0.00061964 | 0.0012393 | 0.00061964 | 0.00061964 | 0.0012393 | 0.007155 | 0.007155 | 0.01431 | 0.007155 | 0.007155 | 0.01431 | -0.0017663 | 0.0065674 | 0.0096023 | 0.0017667 | -0.0065671 | -0.0096007 | 0.0065628 | -0.0017532 | 0.0096192 | -0.0065626 | 0.0017534 | -0.0096183 | 44.9389 | 44.9389 | -135.0611 | -135.0611 | -135.0611 | 44.9389 | 0.94988 | 0.95003 | 0.94981 | 0.94986 | 0.94998 | 0.94969 | 150.0024 | 29.9923 | -90.0105 | 150.006 | 29.9897 | -90.0086

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058703 | 0.00058703 | 0.0011741 | 0.00058703 | 0.00058703 | 0.0011741 | 0.0067784 | 0.0067784 | 0.013557 | 0.0067784 | 0.0067784 | 0.013557 | -0.0015853 | 0.0058943 | 0.0086181 | 0.0015856 | -0.005894 | -0.0086167 | 0.0058902 | -0.0015735 | 0.0086333 | -0.00589 | 0.0015737 | -0.0086325 | 44.9389 | 44.9389 | -135.0611 | -135.0611 | -135.0611 | 44.9389 | 0.89988 | 0.90003 | 0.89982 | 0.89987 | 0.89998 | 0.8997 | 150.0024 | 29.9923 | -90.0105 | 150.006 | 29.9897 | -90.0086

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1223e-08 | 2.1223e-08 | -1.1077e-19 | -2.1223e-08 | -2.1223e-08 | 2.302e-24 | -1.2253e-08 | 1.2253e-08 | -4.1913e-16 | 1.2253e-08 | -1.2253e-08 | 4.192e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 150 | 30 | -90 | 150 | 30 | -90

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3293e-08 | 2.3293e-08 | 1.792e-15 | -2.3293e-08 | -2.3293e-08 | -1.7923e-15 | -1.3448e-08 | 1.3448e-08 | 7.2778e-16 | 1.3448e-08 | -1.3448e-08 | -7.281e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 150 | 30 | -90 | 150 | 30 | -90

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1223e-08 | 2.1223e-08 | -1.1115e-19 | -2.1223e-08 | -2.1223e-08 | 3.8356e-22 | -1.2253e-08 | 1.2253e-08 | -4.1914e-16 | 1.2253e-08 | -1.2253e-08 | 4.1922e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 150 | 30 | -90 | 150 | 30 | -90

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3292e-08 | 2.3292e-08 | 1.792e-15 | -2.3292e-08 | -2.3292e-08 | -1.7923e-15 | -1.3448e-08 | 1.3448e-08 | 7.2778e-16 | 1.3448e-08 | -1.3448e-08 | -7.281e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 150 | 30 | -90 | 150 | 30 | -90

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7373e-08 | 1.7373e-08 | 5.6454e-16 | -1.7373e-08 | -1.7373e-08 | -5.6406e-16 | -1.003e-08 | 1.003e-08 | -7.0032e-17 | 1.003e-08 | -1.003e-08 | 7.0507e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 150 | 30 | -90 | 150 | 30 | -90

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5592e-08 | 1.5593e-08 | 5.0668e-16 | -1.5592e-08 | -1.5593e-08 | -5.0625e-16 | -9.0023e-09 | 9.0023e-09 | -6.2855e-17 | 9.0023e-09 | -9.0023e-09 | 6.3281e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 150 | 30 | -90 | 150 | 30 | -90

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7373e-08 | 1.7373e-08 | 5.6453e-16 | -1.7373e-08 | -1.7373e-08 | -5.6405e-16 | -1.003e-08 | 1.003e-08 | -7.0034e-17 | 1.003e-08 | -1.003e-08 | 7.0509e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 150 | 30 | -90 | 150 | 30 | -90

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5592e-08 | 1.5592e-08 | 5.0667e-16 | -1.5592e-08 | -1.5592e-08 | -5.0624e-16 | -9.0022e-09 | 9.0024e-09 | -6.2856e-17 | 9.0022e-09 | -9.0024e-09 | 6.3282e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 150 | 30 | -90 | 150 | 30 | -90

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4005 | 0.4005 | 0.80101 | 0.4005 | 0.4005 | 0.80101 | 4.6246 | 4.6246 | 9.2492 | 4.6246 | 4.6246 | 9.2492 | -3.895 | 4.4528 | 1.1155 | 3.9784 | -4.3694 | -0.78187 | 2.5525 | 1.5266 | 8.1581 | -2.4578 | -1.4319 | -7.7795 | 7.0064 | 7.0064 | -172.9936 | -172.9936 | -172.9936 | 7.0064 |  | 1.007 | 1.0179 | 0.89023 | 1.0112 | 0.99424 | 0.84533 | 153.7688 | 25.9298 | -90.7798 | 155.2989 | 25.1513 | -88.7328

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40409 | 0.40409 | 0.80817 | 0.40409 | 0.40409 | 0.80817 | 4.666 | 4.666 | 9.332 | 4.666 | 4.666 | 9.332 | -4.1188 | 4.7056 | 1.1735 | 4.2038 | -4.6207 | -0.83383 | 2.709 | 1.6319 | 8.6818 | -2.6127 | -1.5355 | -8.2965 | 6.9596 | 6.9596 | -173.0404 | -173.0404 | -173.0404 | 6.9596 |  | 1.0566 | 1.0674 | 0.93879 | 1.0608 | 1.0435 | 0.89351 | 153.6259 | 26.0858 | -90.738 | 155.0979 | 25.3421 | -88.7796

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0003427 | 0.0003427 | 0.00068539 | 0.0003427 | 0.0003427 | 0.00068539 | 0.0039571 | 0.0039571 | 0.0079143 | 0.0039571 | 0.0039571 | 0.0079143 | -0.0010775 | 0.004014 | 0.0058729 | 0.0010776 | -0.0040139 | -0.0058726 | 0.0040126 | -0.0010735 | 0.005878 | -0.0040125 | 0.0010736 | -0.0058778 | 44.9699 | 44.9698 | -135.0302 | -135.0301 | -135.0302 | 44.9698 |  | 1.0499 | 1.05 | 1.0499 | 1.0499 | 1.05 | 1.0499 | 150.0011 | 29.9963 | -90.005 | 150.0022 | 29.9952 | -90.0052

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00035901 | 0.00035901 | 0.00071801 | 0.00035901 | 0.00035901 | 0.00071801 | 0.0041455 | 0.0041455 | 0.0082909 | 0.0041455 | 0.0041455 | 0.0082909 | -0.0011826 | 0.0044053 | 0.0064452 | 0.0011827 | -0.0044052 | -0.006445 | 0.0044037 | -0.0011781 | 0.0064512 | -0.0044036 | 0.0011782 | -0.0064509 | 44.9687 | 44.9686 | -135.0314 | -135.0313 | -135.0314 | 44.9686 |  | 1.0999 | 1.1 | 1.0999 | 1.0999 | 1.1 | 1.0998 | 150.0011 | 29.9963 | -90.005 | 150.0022 | 29.9952 | -90.0052

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34446 | 0.34446 | 0.68891 | 0.34446 | 0.34446 | 0.68891 | 3.9774 | 3.9774 | 7.9549 | 3.9774 | 3.9774 | 7.9549 | -2.9648 | 3.5055 | 1.0813 | 3.0833 | -3.387 | -0.60749 | 2.073 | 1.0892 | 6.3244 | -2.003 | -1.0192 | -6.0444 | 8.6461 | 8.6461 | -171.3539 | -171.3539 | -171.3539 | 8.6461 |  | 0.90955 | 0.9229 | 0.80658 | 0.92441 | 0.88927 | 0.76367 | 153.6843 | 25.9065 | -91.0563 | 155.6365 | 25.3929 | -87.0931

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32633 | 0.32633 | 0.65265 | 0.32633 | 0.32633 | 0.65265 | 3.7681 | 3.7681 | 7.5362 | 3.7681 | 3.7681 | 7.5362 | -2.6609 | 3.1462 | 0.9705 | 2.7673 | -3.0399 | -0.54522 | 1.8606 | 0.97754 | 5.6762 | -1.7977 | -0.91471 | -5.4249 | 8.6461 | 8.6461 | -171.3539 | -171.3539 | -171.3539 | 8.6461 |  | 0.86168 | 0.87433 | 0.76412 | 0.87576 | 0.84247 | 0.72347 | 153.6843 | 25.9065 | -91.0563 | 155.6365 | 25.3929 | -87.0931

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00031004 | 0.00031004 | 0.00062009 | 0.00031004 | 0.00031004 | 0.00062009 | 0.0035801 | 0.0035801 | 0.0071602 | 0.0035801 | 0.0035801 | 0.0071602 | -0.00088202 | 0.0032856 | 0.0048072 | 0.00088212 | -0.0032856 | -0.0048068 | 0.0032845 | -0.00087874 | 0.0048115 | -0.0032844 | 0.0008788 | -0.0048113 | 44.9695 | 44.9694 | -135.0306 | -135.0305 | -135.0306 | 44.9694 |  | 0.94994 | 0.95001 | 0.9499 | 0.94993 | 0.94999 | 0.94984 | 150.0012 | 29.9962 | -90.0053 | 150.003 | 29.9948 | -90.0043

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00029373 | 0.00029373 | 0.00058745 | 0.00029373 | 0.00029373 | 0.00058745 | 0.0033916 | 0.0033917 | 0.0067833 | 0.0033916 | 0.0033917 | 0.0067833 | -0.00079162 | 0.0029489 | 0.0043145 | 0.00079171 | -0.0029488 | -0.0043142 | 0.0029478 | -0.00078867 | 0.0043183 | -0.0029478 | 0.00078873 | -0.0043181 | 44.9695 | 44.9694 | -135.0306 | -135.0305 | -135.0306 | 44.9694 |  | 0.89994 | 0.90001 | 0.89991 | 0.89993 | 0.89999 | 0.89985 | 150.0012 | 29.9962 | -90.0053 | 150.003 | 29.9948 | -90.0043